## Data Issues - Distribution
Project title: Network information requirements review - regulatory information instrument
Distribution - Issues raised in submissions to the Preliminary Order
Issue Number | Raised by | Date Raised | Workbook / Reference | Topic of issue raised | RIN table / Specific reference | Detailed comments of issue raised | AER response
22 | AusNet | 2023-03-31 | Data category 04 Customer numbers | Customers (STPIS) by feeder | AR.3.6.8 AR6.2.4 | The change (i.e. split between start and end of year counts) are practical and doable. | Noted
23 | AusNet | 2023-03-31 | Data category 03 Network metrics | Definitions & Length > Length of high voltage distribution lines (overhead and underground) | AR3.6.8 | With respect to the existing Overhead and Underground feeder length requirement in AR3.6.8, the reported (HV only) lengths are used to derive the Feeder Classification. In this case, we need confirmation from the AER that what's required in this new template under "Length" tab, table LENGTH OF HIGH VOLTAGE DISTRIBUTION LINES (row 43) is consistent with the DRMG where it means the "3-year average feeder route length". | The table is consistent with the current AR RIN reporting, and the data should be consistent with requirements in the DRMG.
24 | AusNet | 2023-03-31 | Data category 03 Network metrics | Length > Service area factors | EB3.7.3 | Ok. No changes to the current requirement in EB3.7.3 | Noted
25 | AusNet | 2023-03-31 | Data category 03 Network metrics | Length > Terrain factors - maintenance spans | EB3.7.3 | Please check again existing EB3.7.3. There is currently no requirement to report Total length of maintenance spans in km. TERRAIN FACTORS is currently under EB3.7.2 but there is no requirement for length of maintenance spans. This is likely a new requirement. | Currently data on maintenance spans by zone is collected in the CA RIN (2.7.1), and aggregate data in the EB RIN. We have consolidated the reporting requirement, and updated the current RIN references to refer to both CA2.7.1. and EB 3.7.2 for specific data requirements.
26 | AusNet | 2023-03-31 | Data category 03 Network metrics | Length > Length data - selected asset characteristics (all sub tables) | CA2.2.2 | Please clarify if this includes both HV and LV lengths | All conductors and cables are included, unless the row description specifies otherwise.
27 | AusNet | 2023-03-31 | Data category 02 Operational outputs | Definitions & Demand > Maximum demand by feeder | AR3.6.8 | A comment has been made next to the "Maximum demand" definition. Comment is as follows: If this 'Maximum Demand' requirement for distribution feeders is the same as the current requirement under AR3.6.8, we need confirmation from the AER that this represents the 3-year average maximum demand of the feeder as per DRMG definition for Urban feeder 'Classification' which states "is a feeder which is not a CBD feeder and has a 3-year average maximum demand over the 3-year average feeder route length greater than 0.3 MVA/km". If this is the case, I suggest the DRWG reference is added in the description in column C (i.e. the definition) to avoid any doubts. | We have added a new term 'Maximum demand (DRMG)' which is defined by reference to the DRMG.
28 | AusNet | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | Can the AER consider pushing back the commencement of the RIOs by one year (i.e. the first reporting period would commence on 1 July 2024) so that AusNet can ensure it has the appropriate reporting systems and processes to ensure compliance with new data requirements under the RIO. Also delay the initial submission from by on month as our External Auditors have raised concerns about having sufficient staff to perform audits. | Orders amended - see Explanatory statement
29 | AusNet | 2023-03-31 | Order | 4.2 Policies and procedures | 4.2.1 | Plans and Strategies - Can the AER consider this request for providing strategies and plans? This would include many documents in varying formats. Also, the RIO information is historical, plans and strategies are generally forward looking. Could the AER through its analysis of submitted RIO’s send a list of queries and NSP’s response could include plans/strategies to support the response. | Requirements amended to focus on core policy documents.
30 | AusNet | 2023-03-31 | Order | 4.2 Policies and procedures | 4.2.2 | Plans and Strategies - Could the AER please reconsider this. In line with item 29 above this is an onerous task, involving many resources and time. Organisations have many internal plans, polices and strategies and describe the change and its impact is not practical | Requirements amended to focus on core policy documents.
31 | AusNet | 2023-03-31 | Order | 4.6 Allocation of revenues and expenditures to service segments | 4.6.1 4.6.2 | Can the AER provide definitions for causal and non-causal allocators? | Glossary updated
32 | AusNet | 2023-03-31 | Order | 4.14 Related party information | 4.14.1 | Could the AER please elaborate on ‘supporting documents’ Is the expectation that we have a formal contract, statement of works. AusNet tends to record intercompany transactions within its ERP system. | Section 4.14 has been amended.
33 | AusNet | 2023-03-31 | Order | Appendix C - Basis of Preparation | Basis of Preparation | Can the AER please reconsider have the Basis of Prep in excel. It is a clumsy tool to use for such a document and may look untidy in the public domain, given that this is information that uses AusNet’s templates. Recommend using ‘ Microsoft Word’ | The Orders do not mandate using excel to submit the basis of preparation. We will amend section 5.2.3 to clarify the template set out in Appendix C can be submitted as excel, word or text searchable PDF files. New section 5.2.3: Appendix C contains a template of the table which must be used by the TNSP to meet the requirements of section 5 of this Order. The required tables may be submitted as an excel, word, text searchable PDF file or in another format as agreed by the AER.
34 | AusNet | 2023-03-31 | Order | 6.6 Audit of actual financial information | 6.6.1(b) | Can the AER please review the wording from ASA 805? Suggest the AER change to ASA 805 under the compliance framework as opposed to the fair presentation framework. | The AER is maintaining the fair presentation framework for the Orders. It is consistent with the audit standards already applying. We note the fair presentation framework adds an element of judgement to the preparation and audit/review of the information. The Orders allow for additional information to be included, to facilitate the fair presentation framework. (Additional information can be in provided in the basis of preparation or other supplementary material, as required.)
35 | AusNet | 2023-03-31 | Order | 6.6 Audit of actual financial information | 6.6.2 | Suggest the AER include 'Economic benchmarking categories" as exempt from the audit | Audit obligations have been set with regard to the type of data, previous data requirements and audit standards and the AER use case. Economic benchmarking categories are not exempt.
36 | AusNet | 2023-03-31 | Order | Appendix B - definitions | audited statutory accounts | Could the AER please insert a definition for 'audited statutory accounts' | Glossary updated
37 | AusNet | 2023-03-31 | Order | Appendix B - definitions | materiality | Definition of "materiality" references AASB 1031 which has been discontinued and replaced by AASB's conceptual framework | The definition has been updated: Information is material if its omission, misstatement or non-disclosure has the potential, individually or collectively to influence the economic decisions of users (including the AER) taken on the basis of the information provided in accordance with the Order. This definition is based on the definition of materiality in the AASB conceptual framework which provides context for the interpretation of this definition of materiality.
38 | AusNet | 2023-03-31 | Data category 06 Operating expenditure | New data collections > Total opex - 2014 CAM basis | 2014 CAM basis | Could the AER advise why we need to report data going back to 2014 when DNSP’s are required to data for 7 years. Is this an error in the template and should not be 2014? Replace with the current year? Also we note that there is no definition in the workbook. | The 2014 CAM basis data requirements have been removed from the Orders.
39 | AusNet | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities | CA2.2 | The unit of measure noted in the workbook for overhead conductors, underground cables and service lines in the workbook is “number”. AusNet report these volumes as length, hence the unit of measure should be “KM” as this is consistent with the current CA RIN 2.2. | Workbook updated for overhead conductors and underground cables. We have retained the units of measure "number of assets' for service lines.
40 | AusNet | 2023-03-31 | Data category 03 Network metrics | Network assets - volume > Asset age profile | CA5.2.1 | Could the AER please check Asset Age cell L54 ' 1900-01…' - can the AER please define what this means and what should be populated in this section | Asset age profile data is required for 90 years, similar to current CA RIN requirements, where the data is requested for all years back to 1900-01. The data to be reported is the number of assets in service by year installed. The ellipses have been removed. We will list each year in the final data requirements workbook.
41 | AusNet | 2023-03-31 | Data category 03 Network metrics | Safety | Safety | AusNet's main concern is being able to classify incidents. For example, a Major Safety Incident as defined is listed as: “Incidents that have occurred on the NSP's network that resulted in loss of life, permanent disability, permanent life changing injuries, or life-threatening injuries to workers or members of the public.” For us in some instances we do not know the outcome for the member of public, if they end up with life threating injuries etc. We would therefore suggest changing this to potential as really we should all be focusing on not the actual outcome but potential outcome. Therefore, the wording would be: “Incidents that have occurred on the NSP's network that had the potential to result in loss of life, permanent disability, permanent life changing injuries, or life-threatening injuries to workers or members of the public.” This would also need to apply to Safety incidents that should be changed to: “An incident that has occurred on the NSP's network that does not meet the criteria for a major safety incident, but had the potential to lead to a worker or member of the public (a) being admitted as an in-patient in a hospital, and/or (b) receiving treatment from a registered healthcare practitioner and being unable to attend work for a full shift or more (not including the shift during which the incident occurred).” Additionally AusNet is not often aware of the number of people involved in an incident, say a car crash into a pole that results in wires down hence we suggest that this measure should not be required for public related incident. This data is also reported to ESV hence this will be additional reporting of similar data to another government department. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
42 | AusNet | 2023-03-31 | Data category 05 Service performance | Other services measures > Instances where GSL not met – indicative data | AR6.9.1 | AusNet note that as the GSL indicative data is due to the AER on 30 Sept and not as part of the RIN submission in October, this has the potential to conflict with the statutory declaration (as AusNet would report no data (null) in this table as part of the Oct submission given it was previously submitted in Sept). Can the AER therefore consider removing the GSL indicative data table from the workbook and request this data as part of a separate information request? | This requirement has been removed from the Orders
43 | AusNet | 2023-03-31 | Data category 05 Service performance | Definition & Interruptions > Interruptions to supply | reason for interruption | AusNet note that the definition and validation of “reason for interruption” does not include ‘DRMG 3.3.8’ – will this be included in the definition? | Glossary updated
44 | AusNet | 2023-03-31 | Data category 05 Service performance | Other service measures > Energy not supplied > Energy not supplied (unplanned) & Definitions | EB3.6.2 | Can the AER please clarify the following term: “exclusive of the effect of exclusions” which is used in the "Energy not supplied (unplanned)" definition. AusNet reports the "Energy not supplied (unplanned)" measure based on the EB RIN Instructions and Definitions - Nov 2013 issue whereby this document indicates only excluding STPIS exclusions 3.3(a), which is equivalent to the DRMG3.3 (1 to 8) only. Effect from Major Event Days (MEDs) are still reported. Hence, does this new RIO requirement/definition cover all of the DRMG 3.3 exclusions (i.e. 1 to 8, MEDs) OR remains the same from previous reporting periods? | Major event days should NOT be excluded from the Energy not supplied (unplanned) data. This is consistent with previous reporting requirements under the EB RIN. We have amended the instructions and definitions to clarify the requirements.
45 | AusNet | 2023-03-31 | Data category 05 Service performance | Definitions | CA6.3 | Duration of interruption AusNet note that in the current category analysis RIN template 3.6, the ‘average duration of sustained customer (minutes)” is being rounded to the nearest minute for interruption durations less than or equal to 3 minutes. For any interruptions less than or equal to three minutes, the duration is set to “0” (i.e. momentary interruptions”). Can the AER please confirm if this meets the new reporting requirements in terms of a valid value entry? | The data being collected in the Interruptions table should NOT be rounded. The interruptions data requirements must align with the distribution STPIS that applies in the reporting year. We expect all interruptions with a duration greater than the threshold specified in the STPIS to be reported. We also required reliability outcomes to be reported consistent with the requirements of the economic benchmarking RIN. We have introduced a new worksheet Service Outcomes, on which to report STPIS outcomes associated with the Distribution STPIS V1 - where the sustained interruptions threshold was set at 1 minute.
46 | AusNet | 2023-03-31 | Data category 05 Service performance | Validations | Restoration stage | The validation needs clarification with the AER. AusNet captures stage-level date/ time /feeder /customer /duration outage information. Simple multi-staged interruptions normally have the same start date/time, feeder ID but different customer count and duration. However, there are many complex multi-staged cases where an incident (or fault) will have different start date/time, feeder id. Below are typical complex cases: • A multi-staged incident (or fault) that resulted to subtransmission or zone sub black which will impact multiple feeders. • A multi-staged incident (or fault) that extends the next day where multiple feeders are progressively restored (staged restoration). Some stages can be short/momentary of the same incident to allow transfers or isolations. The condition "must all match against an interruption where restoration stage=1" is not always valid, hence, needs a rethink. | All interruptions must be reported against a feeder. Any staged restoration must relate to an identified interruption, which is specific to a feeder. Where multiple feeders are impacted multiple interruptions should be reported.
47 | AusNet | 2023-03-31 | Data category 05 Service performance | Interruptions | CA6.3 | Major event day 1. The current CA RIN 6.3 has a ‘MED’ column which allows filtering of incidents impacted by major event days (MEDs). This new workbook does not have a MED column – how will the AER be able to identify MED-related events (for STPIS exclusion)? 2. Can the AER add a column for DNSP incident reference number? | We have added a column to allow NSPs to identify major event days. We have added a column to allow NSPs to report an incident reference number (NULL will be a valid response). The term incident reference number is defined as: A reference number created by the NSP to assist in its internal reporting systems and processes.
48 | AusNet | 2023-03-31 | Data category 06 Operating expenditure | New data collections | abnormal costs affecting the Opex | Can the AER please consider including and table, similar to the Elec Dist. - EB RIN Opex Consistency Table, when DNSP's can list abnormal costs affecting the Opex. This will help the AER and DNSPs identify these costs that could be excluded for benchmarking purposes. | The Opex category tables allow for the DNSP to use row descriptor relevant to their business, and in doing so they may identify abnormal costs. (While the current workbooks only show 3 rows, we will allow for more rows to be used in the data collection tools.)
49 | Ausgrid | 2023-03-31 | Data category 10 Prices | Connections and public lighting > Connections | CA2.5.2 | Connections table > Subdivision > Average connections costs (units = $/LOT) Ausgrid queries whether this information request (i.e. Cost per lot) is "data" or a "calculation". As a "calculation" done outside of the RIO template, there is a risk that electricity distributors will report this information on a different basis (assumptions etc). | We have updated the instructions to set out a calculation method: Cost per lot should be calculated as: total subdivisions connections expenditure /number of subdivision lots connected
50 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Standard control > Income statement > Total Revenue | AR8.1.1 | 1) In the old template, TUOS revenue and Cross boundary revenue were disclosed separately and placed at the same level of the hierarchy. Cross boundary revenue was always nil for Ausgrid historically. 2) These rows are missing in the new template: "Capital contribution", "Interest income", "Profit from sale of fixed assets", "Recoverable works" | For standard control services we do not need to disaggregate TUOS revenues, (although it is disaggregated for the distribution business). We have updated the disaggregation of other revenues to require reporting of contributions and profit from sale of fixed assets, while still allowing discretionary row descriptors for other components of "other revenue". Please note in workbook 09 the TOUS revenue row is incorrectly shaded - it should be an input cell not a formula., and this error will be corrected in the final Orders.
51 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Standard control > Profitability - tax data > Tax related information | NEW IR | Tax rate should be a formula linking to cell K42 ("Flow-through blended tax rate") Confirm that we no longer need to report tax losses used during the year. We note that the AER has changed it treats tax losses in the calculation of return on regulated equity however had not had time to properly review and assess. | We have updated the flow through blended tax rate to be a formula, not an input. Tax losses are not required to be reported.
52 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Standard control > Disaggregated revenue > Revenue grouping by chargeable quantity | EB3.1.1 | Can the AER confirm that the revenue reported in this table for all categories except "other charges" is Ausgrid's revenue recovered through DUOS and that "other charges" line item is where we report our TUOS revenue? | We expect the total revenue for standard control services reported under Disaggregated revenue - revenue grouping by chargeable quantity to equal the Income statement total revenue for standard control services, which includes Ausgrid's TUOS revenues. Consistent with current reporting, Ausgrid's TUOS revenues (from its dual function assets) should be reported as revenue from other sources.
53 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Standard control > Disaggregated revenue > Revenue rewards and penalties - incentive schemes | EB3.1.3 | Should DMIA and DMIS have their own rows? | We have included new schemes (CSIS, SSIS, DMIS/DMIA/DMIAM) in the table, but note any other relevant incentive scheme rewards or penalties can be reported as 'Other'.
54 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Alternative control > Income statement > Total revenue | AR8.1.1 | 1) The AER's definitions should define "energy efficient" and "non-energy efficient" 2) There is no definition for "smart meters". It is also difficult to see how "smart meters" would be a distribution service or ACS given that advanced metering is an unregulated metering in NSW. Please clarify that "smart meters" is limited to AMI in Victoria 3) The following rows are missing in the new template: "Capital contribution", "Interest income", "Profit from sale of fixed assets". 4) Can the AER clarify the definition of "other ACS revenue" 5) The "metering service" column should include metering related ancillary network services to reflect how we have reported the total revenue from metering services in our RIN responses to date. | We have provided definitions for energy efficient and non-energy efficient public lighting; and for smart meters and legacy meters. We have amended the validation rules to allow NULL responses to energy efficient and non-energy efficient public lighting - if only total public lighting revenues and expenditures is able to be reported. We have amended the validation rules to allow NULL responses to smart meters and legacy meters - if only total metering services revenues and expenditures is able to be reported. 'Other ACS revenue' allows for the reporting of all other revenues not included in the distribution revenue category. (Including capital contributions, interest income, and profit from sale of fixed assets) 'Other expenditure' allows for the reporting of all other expenditures, not included as maintenance or operating expenditure. Any Ancillary networks services data should be reported under fee-based or quoted services.
55 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Alternative control > Income statement > Expenditure | AR8.1.1.2 | These rows are missing in the new template: "Depreciation" and "Finance charges". | Expenditure on depreciation and finance charges should be included in the 'Other expenditure' category.
56 | Ausgrid | 2023-03-31 | Data category 09 Revenue and financial statements | Other services > Income statements | AR8.1.1 AR8.1.1.2 | Ausgrid does not provide negotiated distribution services | Valid responses to the reqwuirement include '0'. Ausgrid should report 0 if it does not provide negotiated services.
57 | Ausgrid | 2023-03-31 | Data category 08 Asset base values | Standard control > Asset base values > Benchmarking asset base | EB3.3.1 | We recommend that the values in this table are treated as a 'calculation', as they are the sum of the individual asset classes below | We have amended the workbooks to show the benchmarking asset base value as the sum of the disaggregated benchmarking asset base values.
58 | Ausgrid | 2023-03-31 | Data category 08 Asset base values | Standard control > Asset base values > Indicative total regulatory asset base roll forward (within period) & Indicative total tax asset base roll forward (within period) | Dual function assets | Please advise how the separate dual function asset base data will be used, noting that it hasn't needed to be provided before | Dual function assets provide standard control services but have a separate regulated asset base. The within period asset base roll forward has not been reported previously for any of the assets, and will be used to inform performance reporting, and within period analysis of asset base changes.
59 | Ausgrid | 2023-03-31 | Data category 08 Asset base values | Alternative control > Asset base values | EB3.3.1 | We recommend that the values in this table are treated as a 'calculation', as they are the sum of the individual asset classes below | We have amended the workbooks to show the benchmarking asset base value as the sum of the disaggregated benchmarking asset base values.
60 | Ausgrid | 2023-03-31 | Data category 08 Asset base values | Network services > Asset base values | EB3.3.1 | Closing value should be a total? Also note comments in SCS and ACS sheets that all rows here can be a sum calculation of the categories below | We have amended the workbooks to show the benchmarking asset base value as the sum of the disaggregated benchmarking asset base values. We have also amended the Closing value to be a formula.
61 | Ausgrid | 2023-03-31 | Data categories 06 & 07 Expenditure | Distribution business > Overheads expenditure | CA2.1 CA2.10A New CA/AR2.10 | Ausgrid does not provide negotiated services and is not aware of any other electricity distributor providing them. | While negotiated services are an element of the service classification guideline it will be retained in the data requirements. If not relevant to the DNSP a '0' response is required. We note the requirement to report negotiated services expenditure has been moved to the 'Other services' worksheet.
62 | Ausgrid | 2023-03-31 | Data category 07 Capital expenditure | Standard control > Connections > New connections - SCS (all sub tables) | New CA AR2.5.2 | The AER's instructions should confirm that "New Connections - SCS" includes Capcon. If it does, then are they Type 1 or Type 2 capital contributions? | Table headings have been updated to clarify the treatment of capital contributions. Where capital contributions are limited to type 1 capital contribution that is identified. If all capital contributions are required to be reported then the term capital contributions is used.
63 | Ausgrid | 2023-03-31 | Data category 06 Operating expenditure | Alternative control > Opex category > operating | AR8.4.1 AR8.4.2 | The split of public lighting into energy efficient and non-energy efficient is a new requirement and not readily available. We do not have the accounting systems in place to identify the split between direct and indirect costs for alternative control services. | Public lighting: Disaggregation is being managed consistently across data categories - however, validations have been updated to allow NULL response for Energy efficient and non-energy efficient public lighting. Direct/indirect expenditure: Where systems are not in place an estimation method may be used to disaggregate total expenditures into direct and indirect expenditures.
64 | Ausgrid | 2023-03-31 | Data category 04 Customer numbers | Total customers > Customers (distribution services) by NMI status & Definitions | un-energised connection points | The AER should define what it means by "un-energised connection points". | The definition of unenergised connection points is included on the definitions worksheet.
65 | Ausgrid | 2023-03-31 | Data categories 02 & 04 outputs & customers | Data category 04: Customers - other > Customer (tariffs) numbers & Data category 02: Energy delivered / received > Energy delivered - small business customers (tariff) & Definitions | Small business Small business customer | The following definitions do not align: - Small business = A small customer that is not a residential customer, whose tariff is classified as a small business tariff, or otherwise identified as a small business in the NSPs customer database. - Small customer = A customer, usually residential or small business, whose annual usage falls under the relevant jurisdictional threshold (generally 100MWh). For Ausgrid we would have to include the following tariffs EA050, EA051, EA225, EA251, EA255, EA256 and potentially some portion of EA302. We also may have customers whose consumption is higher than 100 MWh in the small business tariffs. | The concept of a small customer is taken from the NERL, and applies to the NER. We understand that some apportionment may be required for some tariffs. The apportionment method should be documented in the basis of preparation and applied consistently.
66 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Network assets - Volume > asset age profile | CA5.2.1 | Ausgrid wishes to confirm that "staking of a wooden pole" is not required to be reported as it has been in the past. | Staking of a wooden pole information is required within the operational data requirements (workbook 2) - we require information on the number of poles staked in a reporting period. We also require network asset volumes data and the asset age profile for staked wooden poles - set out in Workbook 03. The workbooks and instructions have been updated to clarify our requirements.
67 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Network assets - Volume > asset age profile > Overhead conductors by & Underground cables by | CA5.2.1 | The units should be "km" rather than "number" | Workbook updated
68 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Network assets - Volume > asset age profile > Underground cables by | CA5.2.1 | Ausgrid suggests that the AER adds a new category for underground equipment which supports the cable network e.g. pillars, pits, cable tunnel etc | Ausgrid can include details of additional asset categories in the 'Other by business specified categories' requirements. Where additional categories are added relating to asset volumes, the equivalent categories must also be added to operation outcomes - asset replacement, failures, maintenance and inspections.
69 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Length > Length data - selected asset characteristics (Overhead by feeder type & Underground by feeder type) Versus Length > Length data > Circuit length | CA2.2.2 Versus EB3.5.1.1 EB3.5.1.2 | We wish to note that based on our understand of how we report against the RIO requirements the reported amounts in this table will not coincide with totals in circuit capacity lengths above. This is because our subtransmission/transmission feeders are not assigned a feeder category as listed in this table, nor does cable/conductor portions with no customers (non-feeders). | We have amended the data requirements to include 'feeders other', to allow for reconciliation between the two data reporting requirements. We note this is a change from current reporting obligations.
70 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Capacity > Capacity data > Transformer capacities | 3.4.7 (instructions) | We note that reference in Appendix A to "Transformer owned by HVC" is no longer available to report on in this template. We request that the AER confirms that this has been left out of this template and that the reference to "Transformer owned by HVC" in Appendix A should be removed. | The instructions have been amended to delete paragraph 3.4.7.
71 | Ausgrid | 2023-03-31 | Data category 03 Network metrics | Safety > Safety incidents | Safety | Further engagement required | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
72 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Energy delivered by tariff (both CR tab and NCR tab) not sure if they mean just the residential customers table or all tables on both sheets | replaces AR P1 | The population of this table would require a significant level of estimation e.g. in Ausgrid's case it is likely that we'd have to assume that the consumption per customer is same for different meter types. It should also be noted that some tariffs have customers with different meter types. | The AER has revised the data requirement to meter type; and tariff, reflecting current reporting requirements in the annual reporting RIN.
73 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Energy delivered / received > Energy delivered / received - other > Energy delivered by time of delivery | EB3.4.1.1 | We consider it necessary for the AER to confirm how networks should report the charging and discharging of batteries. In particular, the RIO instructions should clarify whether the discharge from a battery should be counted as energy received and delivered. If we include battery discharge, the stored energy may be double counted. Note that our understanding is that energy delivered = Energy delivered to (residential customers + non-residential low voltage customers + non-residential high voltage customers) | Energy delivered is measured at the customer connection point. If the battery receives energy from the network, for which it is charged as a customer, it should be counted as energy delivered. We note energy delivered to other customers may include energy discharged from the battery.
74 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Connections > New connections - standard control services | AR2.5.2 CA2.5.2 NEW | The instructions should confirm whether 'standard control services' includes capital contributions | The service classification should not be impacted by the source of funding. SCS Connection services and activities should only include services funded by capital contributions where the service is a standard control service. The treatment of capital contributions is covered in the Appendix A Instructions, relating to capital expenditure.
75 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Connections > New connections - excluding standard control services | AR2.5.2 CA2.5.2 NEW | The AER's "Data workbook instructions" should clarify what "new connections - excluding SCS" means. Our current interpretation is that this refers to capital contributions. | New connections excluding SCS refers to all non-SCS connection activities, including services funded via capital contributions.
76 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Connections > Other connection activities | CA2.5.1 | The workbook instructions should clarify if the data in this section is inclusive or exclusive of capital contributions | Consistent with current reporting requirements, 'other connection activities' relates to all connection services, including those funded by capital contributions.
77 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities > Pole top structures by highest operating voltage | CA2.2.1 | We recommend that the AER moves the "Pole Top structure" asset group to be after "Staked Pole Replaced with New Pole" asset group. This is necessary so the table order is consistent with the replacement expenditure table in file 07 - Capital expenditure. | We have set out a consistent table structure for replacement capex and activities, impacting workbooks 02, 03, and 07. It includes staking of/staked wooden poles as a stand-alone asset category.
78 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities > Staking wooden poles by highest operating voltage | CA2.2.1 | The AER's written instructions should clarify what "staking of wooden poles" means. In particular, the use of the present tense "staking" indicates that the AER is asking for data on the number of failures that have occurred in the process of "staking" (i.e. reinforcing) the pole. Alternatively, if the wording was past tense (i.e. "staked") then we consider the AER would be seeking information on failures relating to poles that have already been staked at an earlier point in time. Is a "staked" poles different to "staking" poles (see rows 152-158)?. If so, can the AER clarify the difference? | We have amended the data requirements, and the instructions to clarify the information required on staked wooden poles relating to replacement capex and activities.
79 | Ausgrid | 2023-03-31 | Data categories 02 & 03 outputs & metrics | Data category 02: Other outputs > Asset replacement and maintenance activities > Service lines by connection voltage, customer type and connection complexity Data category 03: Network Assets - Volume > Asset age profile | CA2.2.1 CA5.2.1 CA2.5 | The AER's written instructions should clarify what "simple" and "complex" connections mean. For example, does "simple" correspond to "overhead" while "complex" means "underground" connections? | The Current CA RIN uses the terms 'simple type' and 'complex type' in relation to service lines. For Asset replacement and maintenance activities (CA 2.2) in data category 02 and Asset age profile (CA 5.2) in data category 03, we have amended the terms to 'Overhead conductor' and 'Underground cable'. For detailed connections data (CA2.5) in data categoty 02 we have retained the existing terms 'Simple connection LV' and 'Complex connection HV', which are defined in the glossary.
80 | Ausgrid | 2023-03-31 | Data categories 02 & 03 outputs & metrics | Data category 02: Other outputs > Asset replacement and maintenance activities > Transformers by mounting type, highest operating voltage, ampere rating, number of phases (at LV) Data category 03: Network Assets - Volume > Asset age profile | CA2.2.1 CA5.2.1 | The AER's written instructions should clarify how 33kV/415V transformers should be allocated to pole, kiosk and ground mounted asset classes. | Consistent with current reporting obligations, any asset category that does not fit within the prescribed categories should be reported against 'Other' in the specific Asset group (i.e. transformers - Other)
81 | Ausgrid | 2023-03-31 | Data categories 02 & 03 outputs & metrics | Data category 02: Other outputs > Asset replacement and maintenance activities > Switchgear by highest operating voltage and switch function Data category 03: Network Assets - Volume > Asset age profile | CA2.2.1 CA5.2.1 | 1. We recommend that the AER adds a new RIN category for "> 11 kV & < = 22 kV ; FUSE" & "> 22 kV & < = 33 kV ; FUSE". Our reasoning is set out in more detail in Appendix C of our written submission 2. Based on significant asset cost differential and potential difference of asset life, Ausgrid would support splitting "˂ = 11 kV ; Switch" into Overhead & Ground mounted categories. | The AER has not amended the existing asset categories, as they reflect current reporting and detailed replacement capital expenditure modelling requirements. Where specific assets categories are not listed or reported they should be added to 'Other' in the specific asset group. The basis of preparation can be used to set out the methodology used to manage similar assets with significant cost or asset life characteristics.
82 | Ausgrid | 2023-03-31 | Data categories 02 & 03 outputs & metrics | Data category 02: Other outputs > Asset replacement and maintenance activities > SCADA, network control and protection systems by function Data category 03: Network Assets - Volume > Asset age profile | CA2.2.1 CA5.2.1 | 1. We recommend that the AER expands the SCADA definitions at the lower category levels (e.g. Field Devices). 2. Based on significant asset cost differential and potential difference of asset life, Ausgrid would support splitting Field Devices (e.g. microprocessors based relays/SCADA equipment, electro-mechanical relays, substation batteries) | The AER has not amended the existing asset categories, as they reflect current reporting requirements. Where specific assets categories are not listed or reported they should be added to 'Other' in the specific asset group. The basis of preparation can be used to set out the methodology used to manage similar assets with significant cost or asset life characteristics.
83 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities > Other by business specified categories | CA2.2.1 | Ausgrid currently has new assets that has been rolled out into the network such as stand-alone Power Systems (SAPS). The AER's written instructions may consider providing guidance on where these asset classes should be reported so that electricity distributors across the NEM report on a common basis. | Please include these assets in the Other business specified categories.
84 | CPU | 2023-04-11 | Order | 1.5 Annual response date | 1.5.1(a) | RIO reporting should not commence any earlier than 1 July 2024 | Orders updated - see Explanatory statement
85 | CPU | 2023-04-11 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | The annual response date should be extended to reflect the increasing volume and complexity of requirements. We strongly support the ENA position that an extension of one month is required for the annual response date taking it to 30 November (5 months after the end of the annual reporting period). | Orders updated - see Explanatory statement
86 | CPU | 2023-04-11 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | We note the earlier GSL cut off in the Service Performance Workbook 5. While this does not need to be audited, we wish to highlight this will be challenging to comply with given internal reporting timeframes. It would be preferable for a single annual response date at 30 November. | Orders updated - indicative GSL data no longer required.
87 | CPU | 2023-04-11 | Data workbooks - all | Use cases | Use cases | upon reviewing AER use cases, we believe the AER could go further to scrutinise the data requested … There remains data with ‘potential’ or ‘indirect’ uses as well as ‘possible future use’. All reporting costs are ultimately borne by customers. The AER should take this review opportunity to critically assess whether it really requires all the information it seeks to perform its duties and whether the audit requirements remain essential. | The AER has reviewed and addressed its data use cases, as we worked through the review. We will continue to do so.
88 | CPU | 2023-04-11 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities | Unit of measure | We request clarification on the unit for Column I and J? is it a volume of assets maintained? If so, where an asset is inspected twice within the reporting period, is this counted as two inspections, or one asset that has been inspected? | The units of measure have been amended to number of activities. If the same asset is inspected twice, it would be reported as 2. The exception is overhead conductors and underground cables, both of which are measured in kms.
89 | CPU | 2023-04-11 | Instructions | 3.5 Asset metrics | 3.5.2 - Estimated service life of new assets | We request a definition for ‘effective service’. | We have amended paragraph 3.5.2 and 3.5.3 to refer to the defined term ' estimated service life of new assets'. We have not defined the concept of effective service, and it should be interpreted consistent with prior years' reporting.
90 | CPU | 2023-04-11 | Data category 03 Network metrics | Safety | Safety | Safety incident reporting data should not be included. While we understand the AER has interest in the safety expenditure of networks, it is not clear that the AER has established a use case for the data. We ask that the AER consider if it is appropriate or necessary to separately collect safety information as an economic regulator. Comparison between networks across jurisdictions will not be suitable or reasonable given the jurisdiction-based differences in requirements such as bushfire requirements and alike. If the AER is interested in examining safety-based data, we suggest that AER approach state regulators for that information to avoid duplicative or potentially contradictory demands on networks. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
91 | CPU | 2023-04-11 | Data category 04 Customer numbers | Customers - other | Column description | The subcategories in the customers other tab show the reporting period as 30 June – end of year. Does this mean that DNSPs require to report the full year (1 July 2023 to 30 June 2024) or half year? | The worksheets have been amended to show the column heading 'as at 30 June'. 30 June is the end of the reporting period. The phase '- end of year' is simply describing the relevance of the 30 June date.
92 | CPU | 2023-04-11 | Data category 05 Service performance | Definitions | Isolated networks | We would like to clarify what is required on “Isolated networks” the definition provided is “An electricity distribution network that is not connected to another electricity network.” We are concerned we may be unable to accurately report against this definition. If the export service is not connected to our network we will not necessarily have any knowledge of it existing and will be unable to report export capacity etc. | Many NSPs own and operate isolated networks (sometimes referred to a stand-alone power systems). These networks are used to provide direct control services to customers, despite being isolated. NSPs are not expected to report on networks that they do not own or operate.
93 | CPU | 2023-04-11 | Data category 05 Service performance | Interruptions > Interruptions to supply | Restoration stage | Why do we need the detailed breakdown of restoration of outages? Some outages will be complex and this introduces the possibility of the AER over counting ‘customers Interrupted per event’ and therefore incorrectly calculating SAIFI. During an event for the purposes of reporting of ‘Total Customers Interrupted’ we only report the total number of customers once, even though they may go off and on multiple times. We suggest as an alternative that DNSPs provide “Customer Minutes Off Supply” per event which eliminates the need for the AER to manually calculate it using ‘Customers Interrupted’ and ‘Duration’. | Many DNSPs currently report multiple stages of restoration work, but we have no way of identifying the stages. By asking for restoration stage we can exclude stages 2 (or greater) from the SAIFI calculations. We prefer to collect underlying data rather than calculated data to help minimise the number of iterations of data corrections, associated with detailed review of outcomes submitted by NSPs.
94 | CPU | 2023-04-11 | Data category 08 Asset base values | Definitions | Gross capex Capex adjustment | The definition of gross capex in our AER final determinations is capex incurred and cash rebates paid for gifted assets. If type 2 customer contributions are included in gross capex, then it includes value of gifted assets and rebates paid for gifted assets which does not make sense. We ask that the AER clarify the treatment of gifted assets and rebates. We ask the AER to clarify why benchmark asset bases and indicative asset base roll forward will be different in Victoria, other than the treatment of gifted assets. We support the removal of reporting Asset lives (currently RIN 3.3.4 Asset lives). We suggest a line could be included for the 5th year of the regulatory period capex adjustment within the reporting of the asset base. | The benchmarking asset base uses actual straight-line depreciation; not forecast straight-line depreciation. Actual straight-line depreciation is derived using actual capex. Forecast straight-line depreciation is derived using forecast capex. We have included definitions of Actual straight-line depreciation and forecast straight-line depreciation. The definition of Gross capex has been amended: Capital expenditure including type 1 capital contributions but net movement in provisions. The definition of capital contributions has been amended: Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
95 | CPU | 2023-04-11 | Data category 09 Revenue and financial statements | Distribution business > Demand management | DMIS | We suggest that reporting of DMIS should be included in the ‘Revenue rewards and penalties – incentive schemes’ section in Standard Control. | We have included new schemes (CSIS, SSIS, DMIS/DMIA/DMIAM) in the table, but note any other relevant incentive scheme rewards or penalties can be reported as 'Other'.
96 | EQL | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | Revoking the existing RINs, a year before expiry, and adopting a Final Order is administratively onerous with no demonstrated benefit. As such, Ergon Energy and Energex recommend the AER delay the commencement of the final Order by 1 year. | Orders updated - see Explanatory statement
97 | EQL | 2023-03-31 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | Ergon Energy and Energex recommend an additional month to be provided on initial lodgement, therefore making it due 5 months (30 November) after the end of the reporting period. | Orders updated - see Explanatory statement
98 | EQL | 2023-03-31 | Data category 06 Operating expenditure | New data collections | Total opex - 2014 CAM basis | We consider backcasting Opex on a ‘current CAM’ basis would be of more relevance than a ‘2014 CAM basis’ if there are material changes to the CAM in the future. This approach would also align with the AER’s Reset RIN requirements and drive process efficiencies. Ergon Energy and Energex support the option of moving from benchmarking on the frozen 2014 CAMs to reflecting current CAMs, as noted in the AER Draft Guidance Note – How the AER will assess the impact of capitalisation differences on benchmarking. | The 2014 CAM basis data requirements have been removed from the Orders.
99 | EQL | 2023-03-31 | Data workbooks - all | Reporting | Visibility over AER calculations | While the AER is moving to incorporate Power BI in the reporting of performance, such as STPIS, its importance that we do not lose the ability to validate output through tracing data and calculations. The AER should establish a process to facilitate the ability to validate the data and calculation outputs from the power BI dashboard. Simple exports are not sufficient to allow cross checking of calculations. | Agreed. The AER is working to streamline its reporting and use of models, but we intend for models to be made available. Our digital transformation process should facilitate that outcome, and in the interim, we will work with NSPs to keep our models as transparent as possible.
100 | EQL | 2023-03-31 | Data workbooks - all | Reporting | Supplementary information | Limiting its focus on collecting information at the data level, removes the ability to validate the meaning behind the information that DNSPs are submitting. Data only becomes meaningful when the AER ingests the data and commences reviewing the information. DNSP written reports in support, if not collected as part of the Order, will be requested later as seen through information requests related to network performance report and benchmarking for example. DNSPs would benefit if the AER engaged early to advise how data is being applied in order to comply with regulatory schemes or measures prior to commencing an annual review process. | We agree - and hence the shift to raw data where possible. We also strongly support sharing models and analysis where appropriate.
101 | EQL | 2023-03-31 | Order | Reporting | 2.1.1(d) | Section 2.1.1(d) of the preliminary Order provides for information required in the data workbooks to be submitted in a form agreed with the AER. Ergon Energy and Energex are engaged stakeholders on the AER’s Future technology platforms consultation and note the timing of the AER’s Horizon for transitional arrangements to explore creative solutions for data sharing is December 2025. While we support the AER’s key priority to centralize data storage to enable timely sharing of information publicly, it would be remiss to progress with costly automated technologies such as Application Programme Interfaces (API), until the AER’s consultation progresses further. | The Orders are crafted to be technology neutral, and are not predicated on a specific technology platform being introduced. As such they allow for all businesses to work with the AER on appropriate submission tools, including mirroring the existing process of transferring excel files.
102 | EQL | 2023-03-31 | Order | Resubmission of information | 2.4.3 | Despite section 2.4.3 of the preliminary Order, Ergon Energy and Energex seek clarification from the AER on the timing of resubmissions and whether they will continue to accept resubmissions throughout the year, and in the event, assurance is required if requested by the AER, the audit or review report can be provided at the next years RIN response date. This would promote an efficient audit engagement process, allowing DNSPs to bundle resubmission work into annual RIN audit process, rather than managing ad hoc audit engagements. | The Orders do not restrict the provision of revised material at any time. The AER considers the existing process of including audit or review of material data revisions in the audit or review process for the following reporting period works well. Where we request revised material to be audited or reviewed we will also specify the timing of the assurance process.
103 | EQL | 2023-03-31 | Data category 01 Reference data | Reference data | Reference data | Ergon Energy and Energex seek clarification from the AER if the final Order will include Workbook 1 – General Information. The preliminary Order does not include Workbook 1 to collate General Information from businesses, including, Business name / ABN, Address, Sector, Segment, Jurisdiction, and resubmission information. The AER note reference data does not change very often and does not need to be collected as part of the annual process. If it does not form part of the Final Order, please confirm if the AER agree to meaningful descriptions in file names indicating that the file is a resubmission of information. | The submission process will enable the clear identification of the relevant business, and will be linked to our reference/master data. While we hope to drive down the volume of resubmissions in the future, we will ensure the submission process enables resubmitted data to be identified as such.
104 | EQL | 2023-03-31 | Data categories 06 & 07 Expenditure | Distribution business > Overheads expenditure > Unregulated services column | CA2.1 CA2.10A New CA/AR2.10 | It is not clear how reporting of ‘unregulated services’ is reasonably necessary to assist the AER to perform its powers and functions under the NEL and NER as these services are not subject to economic regulation. On this basis, Ergon Energy and Energex request additional information from the AER on why this is required to be reported separately. | Information on unregulated services is no longer covered in the data workbooks. We note that where revenues or expenditures on unregulated services are included in the audited statutory accounts, it may be necessary to report a regulatory adjustment. Details of regulatory adjustments are required in response to ection 4 of the Orders.
105 | EQL | 2023-03-31 | Data category 09 Revenue and financial statements | Other services > Unregulated revenue earned with shared assets | Reset 7.4.1 | The preliminary Order requires reporting of Unregulated revenue earned from shared assets in Workbook 9 – Revenue and Financial Statements, which hasn’t been reported annually before. Ergon Energy and Energex seek clarification from the AER please on the purpose of reporting this information annually and whether this is linked to assessing a DNSP’s compliance with the AER’s Shared Asset Guideline? | This data has previously been collected as part of the regulatory proposal - Reset RIN submissions. As it relates to historical actual expenditure we have included it in the annual data collection. We will use it to analyse forecast and actual shared asset revenues, and it will inform future work on development of the shared asset guideline. We will update the definition to include terms relating to shared assets information.
106 | EQL | 2023-03-31 | Order | Appendix C - Basis of Preparation | 5.1.1(a) | Section 5.1.1(a) of the preliminary Order states that the basis of preparation must enable auditors to clearly understand how the electricity distributor has complied with the requirements of the Order. In our view, the Audit and Review reports demonstrate that a distributor has complied with an Order rather than a basis of preparation. Based on the current drafting it does appear that auditors are required to take this into consideration, as such, we recommend that the AER consider rewording this section | Section amended: 5.1.1 Electricity distributors must prepare and submit a basis of preparation with each annual response to this Order. The basis of preparation must: (a) enable auditors, assurance practitioners and the AER to clearly understand how the electricity distributor has compiled with the information requirements required of under this Order. (b) identify any policy or operating instructions that are used to direct the compilation and preparation of information required to respond to the Order.
107 | EQL | 2023-03-31 | Instructions | Zone substation transformer capacity | 3.4.9 | Section 3.4.9: We consider that a more accurate title is ‘Zone substation capacity’ as opposed to ‘Zone substation transformer capacity’ as feeder line capacity restraints are also taken into account as well as transformer capacity. Furthermore, transformations, starting from the transmission and sub-transmission network to the distribution network level, can be progressed through multiple steps. On this basis we recommend that section 3.4.9 should instead read: Zone substation capacity. The electricity distributor must report transformer capacity used for intermediate level transformation capacity in either single or multiple steps. For example, transformations from high voltages such as 132 kV, 66 kV or 33kV at the transmission and subtransmission level to the distribution level of 22 kV, 11 kV or 6kV. Furthermore, consideration must also be taken into account for any capacity limitations resulting from feeder exits. | The AER will maintain the existing requirements. This is to maintain consistency with our historical data series, which is an input to our economic benchmarking model. We note the changes recommended by EQL would produce an alternative measure of network capacity, but we are not convinced that the costs of implementing the alternative measure are justified.
108 | EQL | 2023-03-31 | Instructions | Zone substation transformer capacity | 3.4.10 | Section 3.4.10: We consider that as there is an additional capacity restraint by considering zone substation feeder capacities, the title should not refer to ‘zone substation transformer capacities’ as this is a misnomer. As such, it would be more accurate to describe this as ‘zone substation capacities’. On this basis we recommend that section 3.4.10 should instead read: Zone substation capacity. The electricity distributor must report zone substation capacities as the summation of the transformer's normal assigned continuous capacity / rating (with forced cooling or other capacity improving factors included) and include both energised transformers and cold spare capacity as well as taking consideration and comparison of feeder exit capacity constraints. The electricity distributor must report the assigned rating determined from results of temperature rise calculations from testing. If the assigned rating is not available, the electricity distributor must report the nameplate rating. For zone substations where the thermal capacity of exit feeders is a constraint, the electricity distributor must report thermal capacity of exit feeders instead of transformer capacity. | The AER will maintain the existing requirements. This is to maintain consistency with our historical data series, which is an input to our economic benchmarking model. We note the changes recommended by EQL would produce an alternative measure of network capacity, but we are not convinced that the costs of implementing the alternative measure are justified.
109 | EQL | 2023-03-31 | Instructions | Zone substation transformer capacity | 3.4.11 | Section 3.4.11: The wording as currently drafted is incorrect and needs aligning with paragraph 3.4.10 with respect to feeder capacity restraints. The first step transformation does not reach distribution level (i.e.: less than 33 kV such as 22 kV, 11 kV or 6 kV etc.). As such, no distribution voltages could be reached (i.e.: 22 kV or 11 kV cannot not be part of the transformation). Secondly, as there can be multiple transformation steps prior to reaching the final transformation to the distribution level, all of these steps should be counted as 'first step' transformations. In other words, first step transformations process all transmission and subtransmission transformations without reaching the distribution network level (i.e., the second step transformation). Furthermore, the associated feeder capacity constraint (for the network tier) needs to be considered and compared to the transformer capacity and reporting the most limiting constraint. As such, we recommend amendments to section 3.4.11 such that it reads: Zone substation capacity. The electricity distributor must report total installed capacity for first step transformation where there are two (or more) steps to reach distribution voltage, as: (a) "Total installed capacity for first step transformation where there are two (or more) steps to reach distribution voltage" (EB RIN reference: DPA0601) includes, for example, 132 kV or 110 kV to 66 kV or 33 kV. There can be multiple 'first step transformations' prior to accompanying and finalising 'second step transformation' and reaching the distribution voltage. This variable is only relevant where the electricity distributor has more than one step of transformation overall to reach the distribution network level and precedes the final 'second step transformation'. If this is not the case the electricity distributor must enter ‘0’ for this variable. Furthermore, the associated feeder thermal limit capacity will be considered for this network tier; compared to the transformer capacity, with the most limiting constraint reported. | The AER will maintain the existing requirements. This is to maintain consistency with our historical data series, which is an input to our economic benchmarking model. We note the changes recommended by EQL would produce an alternative measure of network capacity, but we are not convinced that the costs of implementing the alternative measure are justified.
110 | EQL | 2023-03-31 | Instructions | Zone substation transformer capacity | 3.4.12 | Section 3.4.12: The section needs clarification and alignment with section 3.4.10 with respect to feeder capacity restraints. The second step transformation reaches the distribution level (i.e. less than 33 kV such as 22 kV or 11 kV), that is, a second step transformation finalises the series of transformations from a first step transformations process from previous transmission and sub-transmission transformation(s) and the final transformation from this level to the distribution network level. Furthermore, the associated feeder capacity constraint (for the network tier) needs to be considered and compared to the transformer capacity to report the limiting constraint. As such, we recommend amendments to section 3.4.12 such that it reads: Zone substation capacity. 3.4.12 The electricity distributor must report total installed capacity for second step transformation where there are two (or more) steps to reach distribution voltage as: (a) "Total installed capacity for second step transformation where there are two (or more) steps to reach distribution voltage” (EB RIN reference: DPA0602) report total installed capacity where the second or final step transformation applied reaches the distribution voltage. For example: 66 kV or 33 kV to 22 kV or 11 kV, where there has already been a previous first step of transformation prior to this step at higher voltages within the electricity distributor’s system (i.e., a first step transformation has occurred previously in the series of transformations). The 'second step transformation' is only relevant where the electricity distributor has more than one step of transformation and occurs once as the last of a series of transformations to the distribution level. If this is not the case the electricity distributor must enter ‘0’ for this variable. Furthermore, the associated feeder thermal limit capacity will be considered for this network tier; compared to the transformer capacity, with the most limiting constraint reported. | The AER will maintain the existing requirements. This is to maintain consistency with our historical data series, which is an input to our economic benchmarking model. We note the changes recommended by EQL would produce an alternative measure of network capacity, but we are not convinced that the costs of implementing the alternative measure are justified.
111 | EQL | 2023-03-31 | Instructions | Zone substation transformer capacity | 3.4.13 | Section 3.4.13: This section needs additional clarification and should align with recommended changes to section 3.4.10 with respect to feeder capacity restraints. Furthermore, the associated feeder capacity constraint (for the network tier) needs to be considered and compared to the transformer capacity and report the most limiting constraint. It is also assumed that once the distribution level is reached, no further transformations are considered. That is, further transformations within the distribution level are not considered further such as 22 kV or less, since the targeted distribution level has already been reached. Finally, transformations that climb up the network levels (e.g., from the distribution level to transmission or sub-transmission level) are disregarded, as they are initiated from the distribution level. As such, we recommend amendments to section 3.4.13 such that it reads: The electricity distributor must report total zone substation transformer capacity where there is only a single transformation to reach distribution voltage as: (a) "Total zone substation transformer capacity where there is only a single transformation to reach distribution voltage" (EB RIN reference: DPA0603) report total installed capacity where only a single step of transformation is applied before reaching the distribution voltage (from either transmission or sub-transmission voltage). This variable is only relevant where there is only a single step of transformation to reach distribution voltage. If there is more than one step of transformation to reach distribution voltage, the relevant capacities must be reported in EB RIN reference: DPA0601 and EB RIN reference: DPA0602. Furthermore, the associated feeder thermal limit capacity will be considered for this network tier; compared to the transformer capacity, with the most limiting constraint reported. | The AER will maintain the existing requirements. This is to maintain consistency with our historical data series, which is an input to our economic benchmarking model. We note the changes recommended by EQL would produce an alternative measure of network capacity, but we are not convinced that the costs of implementing the alternative measure are justified.
112 | EQL | 2023-03-31 | Instructions | 4.1 Total customer numbers & 4.2 Customers (EB) | 4.1 & 4.1.1 | Total customer numbers (section 4.1) & Customers (EB) Section 4.1.1. These sections need amending, such that Ergon Energy’s customers in its unregulated isolated networks are excluded. These customers do not fall under economic oversight from the AER. However, we note that customers in the Mount Isa-Cloncurry network would be included in this section. On this basis, we recommend that section 4.1 is amended such that it reads: The electricity distributor must report total customer numbers (excluding isolated customers) disaggregated by NMI status; meter classification and energisation. The electricity distributor must report the disaggregated total customer numbers to enable reconciliation and cross checking of customer number data. | The concepts and terms in the workbook exclude unregulated stand-alone Power Systems from the data to be reported. For consistency we have amended the instructions to refer to Customer (distribution services).
113 | EQL | 2023-03-31 | Instructions | 4.3 Customers (STPIS) by feeder | 4.3.1 | Ergon Energy and Energex request that this section is amended to exclude deenergised (disconnected) customers as they have Inactive NMI’s and Deactivated NMI’s due to the customer being disconnected from the distribution electricity supply network. As such, we recommend amendments to section 4.1 such that it reads: The electricity distributor must report customers (STPIS) for a reporting period as the number of energised metered connection points with an Active NMI (excludes unmetered customers). | The instructions have been deleted as, they do not add anything, given the data requirements and definition of customers (STPIS).
114 | EQL | 2023-03-31 | Instructions | Current opex categories and cost allocation approach | 6.2.14 | Section 6.2.14: Regulatory Financial Statements and Regulatory Accounting Statements should be defined terms. As such, we request that the AER include these definitions in Appendix B. | We have amended the instruction to refer to the audited statutory accounts, and to data workbook 09 - revenue and financial statements - income statement, where appropriate. Audited statutory accounts is defined.
115 | EQL | 2023-03-31 | Instructions | Total opex - 2014 CAM basis | 6.4.4 | Ergon Energy and Energex request the AER amend the preliminary Order to reflect discussions held on 28 July 2022, Workshop 2: DNSP Economic Benchmarking. In particular we refer the AER to your workshop discussion notes outlined under Topic 6. Opex (EB 3.2)[1] that states, “a back cast will only apply to DNSPs where the CAM has undergone a material change”. we recommend section 6.4.4 is amended such that it reads: Total opex – current CAM basis: 6.4.4 The electricity distributor must report operating expenditure on the current CAM basis only when notified by the AER of a requirement to do so. | This requirement has been removed from the workbooks and instructions.
116 | EQL | 2023-03-31 | Instructions | Section 7.1.2 Capital expenditure | 7.1.2 | Section 7.1.2: Regulatory Accounting Statements should be a defined term. As such, we request that the AER include this definition in Appendix B. | We have amended the instruction to refer to data workbook 09 - revenue and financial statements - income statement, where appropriate.
117 | EQL | 2023-03-31 | Data category 02 Operational outputs | Definitions | HV feeder (also in workbooks 07 & 09) | As we have distribution transformers connected directly to the 33kV subtransmission feeders joining bulk supplies and zone substations, we recommend adjustments to the definition ‘sub transmission line’ [AER: assume reference should be HV FEEDER] such that it reads: A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV and connects distribution substations to a zone substation, includes all connected lines and cables from the point of origin (typically a zone substation) to the normally open points or line/cable terminations. Where distribution substations are connected directly to a sub transmission line, the line remains categorised as a sub transmission line. | The AER has amended the definition for HV feeders.
118 | EQL | 2023-03-31 | Data category 02 Operational outputs | Connections > New connections - excluding standard control services | AR2.5.2 CA2.5.2 NEW | The table heading could be more specifically titled to remove ambiguity. We request the AER replace ‘New connections - excluding standard control services’, with ‘New connections - alternative control services (ACS)’, or alternatively for the AER to include further guidance in the Appendix A – Data workbooks instructions that reporting is ACS. New connections are defined as: Connection services necessary to meet customer connection requests. This excludes alterations to existing connection assets. Can the AER clarify if we are to exclude premise connection for extensions and augmentations (Adds and Alts). If so, reporting would be minimal. RIN reporting currently includes Upgrade of existing single-phase service to 3 phase (ACS OPEX), Installation of a padmount transformer for a multi-tenanted real estate (ACS CAPEX, dedicate Connection Assets), 3. Installation of Connection Assets for a Major Customer (ACS OPEX (limb 1- gifted asset), 4. Installation of upstream augmentation for a registered generator (ACS CAPEX). Could the AER clarify if the instructions were meant to alter reporting for Connections when we adopt the Preliminary Order or provide further clarity to ensure we report in accordance with requirements. | New connections excluding SCS refers to all non-SCS connection activities, including services funded via capital contributions.
119 | EQL | 2023-03-31 | Data category 02 Operational outputs | Connections > Other connection activities | CA2.5.1 | Please clarify if we should report other connection activities for Standard Control Services and Alternative Control Services? The green shaded input cells for this Table require data entry for Underground yet not Overground. Please confirm if it is the AER’s intention to exclude Overground from reporting. | Other connection activities relates to all connection services, including those funded by capital contributions. It was disaggregated by Underground/Overhead in error. We have added a column heading 'Assets added' to clarify requirements.
120 | EQL | 2023-03-31 | Data category 04 Customer numbers | Customers (STPIS) by feeder > Customers (STPIS) by feeder & Definitions | Feeder classification | Ergon Energy and Energex request the AER consider that there can be differences in Feeder Classifications at the end of the year and start of the next year and to therefore clarify the approach to reporting. Customer numbers are currently reported as - Previous End of year customers numbers are as at 30 June 23:59:59 pm - New Start of year customers numbers are as at 1 July 12:00:01 am On 1 July the Feeder Classifications are reviewed and assigned for all feeders for the new year period from 1 July to 30 June. As there is only a 2 second difference in time between the Previous Year End customers numbers and the New Start of year customers numbers, occasionally both numbers and Feeder Categories differ. Is the above approach acceptable to the AER where the differences are immaterial? Or, where Customer Numbers and Feeder category would be reported at End of the day 1 July 23:59:59 and End of the Year 30 June 23:59:59 which also may not align. Or, add a 1 July Feeder Classification column to align with 1July Start of year customers. OR Enter 2 records for those Feeders that have Changed Feeder Classifications for the new Year. The additional feeder record count would need to be considered when analysing the data. (Both of these examples are illustrated in EQL's submission) | Customer (STPIS) by feeder allows for reporting customer numbers at the start of the year, and requires reporting customer numbers at the end of the year. If the beginning of year customer numbers are the same as those at the end of the prior year then a NULL response is valid.
121 | EQL | 2023-03-31 | Data category 04 Customer numbers | Definitions | Inactive NMI, Active NMI, Deactivated NMI, Energised NMI, Un Energised NMI. | Please insert definitions into Workbook 4 – Customer Numbers, Worksheet: Definitions for the following terms: Inactive NMI, Active NMI, Deactivated NMI, Energised NMI, Un Energised NMI. | The terms and concepts have been updated and all terms used are defined. We do not use the terms listed in the revised requirements.
122 | EQL | 2023-03-31 | Data category 05 Service performance | Interruptions & Definitions | Distribution customer Customer (STPIS) by feeder | Ergon Energy and Energex request the “Distribution customer” definition is amended to align with Workbook 4: Customer Numbers, Worksheet: Definitions, Term: “Customer (STPIS) by feeder” as these reports work together. “Customer (STPIS) by feeder: As defined in the AER’s Distribution Reliability Measures Guideline but should exclude inactive accounts and unmetered connections as per the AER’s STPIS v 2.0 - 14 November 20187, Appendix A.” | We have amended the term for Customer to Customer (STPIS) to align with workbook 04.
123 | EQL | 2023-03-31 | Data category 05 Service performance | Interruptions | Duration of interruption | Ergon Energy and Energex request the AER consider replacing “Duration of Interruption” in Table: Interruptions to supply, with the “Average duration of sustained customer interruption” to ensure STPIS performance can be accurately derived. For the years 2010/11 to 2022/23 the CA RIN T6.3 we have reported the measure “Average duration of sustained customer interruption” used by the AER to produce some of the STPIS measures. The formula is: Average duration of interruption = (Total customer minutes / Total number of customers affected by the interruption) While the Customer Minutes were not reported in the CA 6.3 RIN, by reporting the “Average duration of sustained customer interruption” in the CA RIN it enabled the AER to calculate the Customer Minutes. The formula is: Total customer minutes = Total number of customers affected by the interruption X Average duration of sustained customer interruption Worksheet: Interruptions, replaces reporting of “Average duration of sustained customer interruption” with a NEW measure “Duration of Interruption” which requires reporting of the ‘actual duration experienced by a customer’. We believe this will result in a problem related to the SAIFI impact for Outage incidents when the same customer experiences multiple Loss of supply (Staged) within the same outage incident. The Customer interrupted will only be counted once as being interrupted with a zero value for consequent stages within the Outage Incident. However, the customer’s Customer Minutes is summated for all the minutes the customer experiences Loss of Supply. Therefore, the below measures would be unable to be calculated accurately: o Average duration of sustained customer interruption o Duration of Interruption. Demonstrations and worked examples are provided in the submission. | The AER prefers to collect the raw data, if possible, hence the shift to duration of interruption. However, we agree that the proposed information does not allow us to undertake the necessary analysis to derive the SAIDI and SAIFI outcomes. We do not want to collect 'Average duration of interruption', to reduce the impact of invalid data being reported by NSPs, especially in instances where 0 customers are impacted by an outage. We have amended the workbook to enable us to collect 'Total customer minutes off supply'. Consistent with the issue raised, this is defined as : the sum of customers' loss of supply experienced due to the interruption.
124 | EQL | 2023-03-31 | Data category 05 Service performance | Interruptions | Major Event Day | Ergon Energy and Energex request the AER consider amending Table: Interruptions to supply to add an additional column for identifying Major Event Day (YES/NO). In addition, where back cast data for network daily SAIDI’s to 30 June 2020 is required to calculate the TMed during the annual STPIS review, that we are not required to resubmit this previously provided data. There is not a Major Event Day Identification field in Table: Interruptions to supply. This impacts any data analysis and SAIDI/SAIFI calculations as the AER’s STPIS v 2.0. 14 November 2018, Exclusion Clause 3.3 (b) Major Event Days (MED) are unable to be excluded from annual performance. RIN reporting published on the AER website from 2010/11 to 2019/20 was based on a Momentary Interruption to a Distribution Customer’s electricity supply with a duration of 1 minute or less. From 1 July 2021, the Momentary Interruption to a Distribution Customer’s electricity supply changed to a duration of 3 minutes or less. To use the previously published CA 6.3 RIN data, prior to financial year 2020/21 results in the incorrect calculation of Network Daily SAIDI’s. This is relevant as: - Back cast data was provided at 2020 – 2025 regulatory Reset for 5 years of data for the Major Event Day Boundary (tMed) calculation for Ergon Energy or Energex; and - The CA RIN Interruption Date Is the Date the feeder lost supply not the Outage Incident date. If the preliminary Order commences in 2023/24 the tMed calculation will use two years of back cast Network Daily SAIDI’s (2018/19, 2019/20), which were submitted to the AER at the 2020-25 regulatory reset and the same data was provided during the last two annual STPIS reviews. We request this data is formally accepted for use in future annual STPIS reviews to avoid future resubmission of the same information. | We have added a column to allow NSPs to identify major event days. Data previously provided to the AER should not have to be provided again.
126 | EQL | 2023-03-31 | Data category 05 Service performance | Other services measures > Energy not supplied | EB3.6.2 | Ergon Energy and Energex request confirmation from the AER if energy not supplied should continue to be reported exclusive of the effect of Excluded Outages as defined in the Distribution Reliability Measures Guideline, but Inclusive of interruptions that occurred on Major Event Days. | Major event days should NOT be excluded from the Energy not supplied (unplanned) data. This is consistent with previous reporting requirements under the EB RIN. We have amended the instructions and definitions to clarify the requirements.
127 | EQL | 2023-03-31 | Data category 05 Service performance | Other services measures > Inadequately served customers | AN 6.6.2 | Ergon Energy and Energex request confirmation from the AER if exclusions defined by the Distribution Reliability Measures Guidelines Version 2 (August 2022), and interruptions that occurred on Major Event Days are to be included or excluded. The RIN and preliminary Order are conflicting in this requirement. | The Orders define an inadequately served customer by reference to the DRMG, as does the current Annual reporting RIN.
128 | EQL | 2023-03-31 | Data category 05 Service performance | Other services measures > Top 5 feeders with most inadequately served customers | AN 6.6.2 | Ergon Energy and Energex request confirmation from the AER if exclusions defined by the Distribution Reliability Measures Guidelines Version 2 (August 2022), and interruptions that occurred on Major Event Days are to be included or excluded. The RIN and Preliminary Order are conflicting in this requirement. | The Orders define an inadequately served customer by reference to the DRMG, as does the current Annual reporting RIN.
129 | EQL | 2023-03-31 | Data category 05 Service performance | Other services measures > Top 5 zone substations with most inadequately served customers | AN 6.6.2 | Ergon Energy and Energex would elect to report NULL response as allowed if top 5 feeder data is provided. | Reporting NULL is consistent with the validation rules and instructions.
130 | EQL | 2023-03-31 | Data category 06 Operating expenditure | Definitions | Debt raising expenditure | Ergon Energy and Energex request that a definition for “Debt raising expenditure” is included in Workbook 6, Worksheet Definitions given there is a requirement in instructions for Table 6.1.1 to report debt raising expenditure as a separate expenditure category for the Distribution business. | The term debt raising expenditure will be included in the definitions. Debt raising expenditure means: Expenditure incurred to raise new debt or refinance existing debt.
131 | EQL | 2023-03-31 | Data category 07 Capital expenditure | Alternative control services > capex by purpose and related party margins | AR8.2.3 | There is an error in the formulas at cells H9 to H18 as it contains #REF!, the formula requires amending to replace #REF!, with column O cells to include Connection services in totals | Formula has been corrected
132 | EQL | 2023-03-31 | Data category 07 Capital expenditure | Definitions | Sub transmission line (also in workbook 09 02) | As we have distribution transformers connected directly to the 33kV network, we request the sub transmission line definition is amended as follows: "A distribution line with a nominal voltage that is at or above 33 kV and connects a subtransmission substation to a zone substation, or one zone substation to another substation at their higher voltage. Includes all connected lines and cables from the point of origin to the normally-open points or line/cable terminations." Where distribution substations are connected directly to a subtransmission line, the line remains categorised as a subtransmission line. | The AER has amended the definition for sub transmission lines.
133 | EQL | 2023-03-31 | Data category 09 Revenue and financial statements | Provisions | EB3.2.3 | Can the AER please confirm if the Total Provisions Table for Standard Control Services will be amended to include inbuilt formulas for the sum of individual provisions. Currently text is displayed as, ‘=sum of individual provisions’ for opex and capex components in Cells H6 – H23 | The data collection templates will include formulas for calculating total provisions data. The data requirement consultation workbook illustrates how the formula will be applied, that is, the total provisions rows will be the sum of the relevant rows of the individual provisions.
134 | EQL | 2023-03-31 | Order | Appendix B - definitions | Actual information | The definition for ‘actual information’ incorrectly refers to the ‘notice’ and requires changing to ‘order’. | Order updated
135 | EQL | 2023-03-31 | Order | Appendix B - definitions | Estimated information | The definition for ‘estimated information’ incorrectly refers to ‘Ausgrid’s’ historical accounting records. As such, please amend to the ‘regulated network service provider’. | Order updated
136 | EQL | 2023-03-31 | Order | Appendix B - definitions | Basis of Preparation | There is a spelling error, and it should be ‘description’. | Order updated
137 | EQL | 2023-03-31 | Order | Appendix B - definitions | Material (Material change) | In our opinion, the reference to the withdrawn Accounting Standard AASB 1031 (withdrawn June 2013) should be replaced with IAS 1 Presentation of Financial Statements. As such, we request the following amended definition: Information is material if its omission, misstatement or non-disclosure has the potential, individually or collectively to influence the economic decisions of users (including the AER) taken on the basis of the information provided in accordance with the Order. This definition is based on the definition of materiality in IAS 1 Presentation of Financial Statements. This international accounting standard provides context for the interpretation of this definition of materiality. | The definition has been updated: Information is material if its omission, misstatement or non-disclosure has the potential, individually or collectively to influence the economic decisions of users (including the AER) taken on the basis of the information provided in accordance with the Order. This definition is based on the definition of materiality in the AASB conceptual framework which provides context for the interpretation of this definition of materiality.
138 | Ausgrid | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | The ‘start’ date for reporting against the RIO should be delayed to FY25 | Order updated - see Explanatory statement
139 | Ausgrid | 2023-03-31 | Instructions | Benchmarking | Benchmarking | The AER should consider undertaking an industry wide consultation on key inputs used for benchmarking, with a focus on how circuit and transformer capacity is reported. After an industry wide consultation, the AER may then wish to consider rewording clause 3.4.1 of the RIO instructions to provide greater specificity in how ‘typical’ or ‘weighted average’ circuit capacities are calculated. Presently, electricity distributors’ performance under the AER’s capital multilateral partial factor productivity (MPFP) and multilateral total factor productivity (MTFP) benchmarking metrics is influenced by differences in reporting, as opposed to their efficiency (SEE CASE STUDIES IN APPENDIX B IN SUBMISSION FOR MORE INFO) | The AER continues to review and refine its economic benchmarking tools and will consider the detail of the case studies as it progresses that work.
140 | Ausgrid | 2023-03-31 |  | Guidance Note | Guidance Note | To promote customer engagement, the AER should consider publishing a plain English guidance note that explains how RIO data is used for benchmarking purposes | The AER continues to review and refine its economic benchmarking tools and will consider the detail of the case studies as it progresses that work.
141 | Ausgrid | 2023-03-31 |  | Benchmarking | Repex | Unit cost benchmarking under the AER’s replacement expenditure model (Repex Model) can be improved if RIO data on switches, fuses and circuit breaking is more stratified | The AER has not amended the existing asset categories, as they reflect current reporting requirements. Where specific assets categories are not listed or reported they should be added to 'Other' in the specific asset group. The basis of preparation can be used to set out the methodology used to manage similar assets with significant cost or asset life characteristics.
142 | Ausgrid | 2023-03-31 |  | Export Services | Export Services | To minimise duplication, requests for information relating to export services should be streamlined so they come from a single point of contact within the AER, rather than multiple teams. Our recommendation is that all future information requests on export services are streamlined so that they come exclusively from the AER’s RIN/RIO team. Requests over the last year have included: Feb 2022 Capex team - scoping request for available data provided and Ausgrid provided caveats about the data limitations May 2022 Capex team - Ausgrid export services data provider covering FY20 to FY22 Oct 2022 Capex team - Ausgrid export services data provided covering FY20 to FY22 Nov 2022 Network Performance Report - Export services 'straw man' information request template published for consultation covering FY20 to FY22 Dec 2022 RINs/RIOs - AER published RIO templates for consultation, which include data requests on export services Mar 2023 Network Performance Report - A new information request template for export services will be issued next week that apparently will differ to the November 2022 strawman and the RIO templates. | Export services data requirements have been updated to reflect the latest export services information request.
143 | Ausgrid | 2023-03-31 | Order | Network specific reporting requirements | CSIS | There are network specific reporting requirements which the AER will have to consider. For example, the metrics that apply under the Customer Service Incentive Scheme (CSIS) and Export Services Incentive Scheme (ESIS) will differ between electricity distributors. To accommodate this, we recommend that the RIO includes CSIS and ESIS templates that can be adjusted by electricity distributors to align to their network specific metrics. This level of flexibility currently exists for the reporting of bespoke ancillary network service (ANS) activities and TasNetworks’ unique feeder categories. Our strong preference is for similar flexibility to be developed for the CSIS and ESIS as opposed to issuing standalone Regulatory Information Notices (RINs), as the AER currently plans. | The Orders now include an obligation to provide CSIS information to the AER. The obligation applies to all NSPs that have a CSIS applying in the reporting year. The obligation is generic in that it refers to the CSIS information requirements sets out in the AER final determination, and we have not incorporated any detailed data requirements into the Orders. This approach has also been used for the Export services incentive scheme. We do request revenue rewards or penalties arising from the schemes are reported in workbook 09.
144 | Ausgrid | 2023-03-31 |  | Benchmarking | Benchmarking | The AER’s Explanatory Statement accompanying its preliminary RIO notes that there is a need for detailed use cases to be developed by the AER. We agree with this position and recommend that the AER publishes a Guidance Note outlining how it uses the data from RIN/RIO reporting to inform its benchmarking analysis. The AER has published similar documents in the past on complex subject matter, such as its 2020 Guidance Note entitled Repex model outline for electricity distribution determinations. Our recommendation is for a similar Guidance Note to be published which clearly outlines how the AER uses RIN/RIO information to inform its econometric benchmarking analysis and index models (MTFP and MPFP). From a customer’s perspective, this will promote greater transparency in how the AER uses the information it collects, to inform expenditure determinations. | The AER has published detailed guidance material on its benchmarking work. The AER continues to review and refine its economic benchmarking guidance.
145 | Ausgrid | 2023-03-31 |  | Benchmarking | Benchmarking | We note that ‘calculations’ have been removed from the reporting templates. One of these calculations is the scope for each electricity distributors to calculate their ‘capacity utilisation’ by the removal of DQS04 in the current Economic Benchmarking RIN. We support the removal of ‘calculations’ from annual reporting but recommend that the AER provides clear guidance on how these calculations will be reported in material such as the AER’s Network Performance Report. | Noted
146 | Ausgrid | 2023-03-31 | Data category 02 Operational outputs | Other outputs > asset replacement and maintenance activities | CA2.2.1 | We have concerns with the level of stratification applied to RIN/RIO data collected for the AER’s replacement expenditure model (Repex Model). The case studies below provide examples of how this can impact Repex Model outcomes. Our aim in putting together these case studies is to provide greater context to our ‘stakeholder comments’ in Data Category 02: Operational Outputs which recommend changes to how the AER stratifies Repex Model data. Case study: <=11 kV switches Ausgrid has both ‘ground’ and ‘overhead’ switches that are currently reported within a single row (<=11kV switches) in the Category Analysis RIN. Under the preliminary RIO, this is set to continue in Data Category 02: Operational Outputs. As ground switches are more expensive, an electricity distributor (like Ausgrid) with a greater mix of them will look inefficient under a weighted average approach to calculating our unit costs. This can be potentially misleading given that asset type decisions can often be driven by network characteristics or other exogenous factors. In the case of <=11kV switches, higher customer densities can constrain the use of overhead switches, particularly in CBD and urban terrains where network undergrounding means that ground switches can only be used. We approached Nuttall Consulting about the results of the Repex Model prior to lodging our 2019-24 regulatory proposal in January 2019. In relation to <=11kV switches, Nuttall Consulting stated: I have concerns similar to Ausgrid that how a DNSP compares to the median is likely to be as much a factor of how its switch types compare as to its relative efficiencies. In this regard, I consider that it is likely that DNSPs such as Ausgrid with much higher portions of underground and chamber substations, are likely to benchmark poorly. Case study: <=11 kV fuses The current stratification of <=11kV fuses has the same issues as switches. The current RIN and proposed RIO templates consider this asset category to capture a broad range of assets types, covering lower cost overhead fuses and higher cost indoor units. Nuttall Consulting has previously commented on this issue: For similar reasons to those discussed above on 11kV switches, I agree with Ausgrid that this asset category, as described, may not be treated appropriately through the AER’s methodology and further consideration should be given to the unit costs in Ausgrid’s circumstances | We note the issues raised by Ausgrid, and intend to review the Repex model in the future. However, we have not yet scheduled that work.
147 | ENA SAPN | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | ENA strongly recommends that the AER reconsider the proposed RIO commencement date and delay it by one year | Order updated - see Explanatory statement
148 | ENA SAPN | 2023-03-31 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | Due to additional data requirements (export services) and associated audit requirements, ENA proposes an extension of one month to the annual response date for ‘All information required under section 3 or 4 or 5 or 6’ from 31 October (4 months after the end of the reporting period) to 30 November (5 months after the end of the reporting period) for both the regulated distribution network RIO and the regulated interconnector RIO. | Order updated - see Explanatory statement
149 | ENA SAPN | 2023-03-31 | Data category 03 Network metrics | Safety | Safety | In the national electricity market safety regulation is the responsibility of local safety/technical jurisdictional regulators. The AER should therefore seek to ensure that there is no duplication of data collection or reporting of safety outcomes introduced by new obligations, as this would otherwise duplicate efforts of jurisdictional regulators and unnecessarily increase reporting costs, which are ultimately borne by consumers. ...Substantial work is necessary before any fit for purpose information requirements can be established for network safety incidents. (more in submission) | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
150 | ENA | 2023-03-31 | Explanatory statement only | Transparency Measures | Incentive Scheme review | As per the AER’s Incentive Scheme Review Draft Decision, ENA welcomes continued engagement with the AER on developing fit for purpose transparency measures for networks on actual and forecast capital expenditure through the Networks Information Requirements Review. These requirements should focus on enabling transparency of explanations of the drivers of capital expenditure outcomes rather than a detailed line by line data collection that cost customers more without commensurate benefit. | Section 4 of the Order has been amended to remove information relating to the capex transparency measures. Feedback on the proposed information requirement has informed Reset data requirements.
151 | ENA | 2023-03-31 | Explanatory statement only | Reporting | Reporting | ENA strongly supports the AER’s program of work enabling the transition to better information exchange technologies and support the AER’s position that the preliminary RIOs should not mandate any specific technology or tool by which the regulated networks must provide information. As new technologies are developed, we encourage strong collaboration with industry to ensure that existing IT platforms, systems and capabilities can be accommodated in order to minimise costs on consumers of developing new technology solutions | Noted
152 | ENA | 2023-03-31 |  | Data sharing | Data sharing | We support further development of an external information access system to facilitate data sharing with all stakeholders. Non-confidential data collected from networks should be made publicly available in an accessible and transparent manner to ensure that stakeholders can best develop and make informed contributions to AER review processes and decision making. | Noted
153 | Essential | 2023-03-31 | Data category 09 Revenue and financial statements | Standard control > Profitability - tax data | Profitability - tax data | We are comfortable with the incorporation of the interest expense and tax information for profitability purposes, as it aligns with equivalent information that has been collected via information requests over recent years. | Noted
154 | Essential | 2023-03-31 | Order | 6.4 Exceptions to audit or review requirements | 6.4.4 | The proposal to exempt certain pieces of data for audit and assurance is welcomed, particularly for export data | Noted
155 | Essential | 2023-03-31 | Order | Appendix C - Basis of Preparation | Basis of Preparation | The introduction of a standardised basis of preparation template is also appreciated. This improves the consistency and understanding of information both between and within network businesses. | Noted
156 | Essential | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | Essential Energy suggests that the proposal for the first year of the RIOs to be 2023-24 is premature, given that the final RIO will not be published until September 2023, after that financial year has commenced. The timing does not allow for any potential data or system changes to be implemented in advance of 1 July 2023 | Order updated - see Explanatory statement
157 | Essential | 2023-03-31 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | Schedule 1 in the Preliminary order requests that some indicative data for Guaranteed Service Levels (GSLs) be provided by 30 September each year, with the final GSL data and the rest of the RIO to be supplied by 31 October. This splitting of information is problematic as each of the submissions will require its own internal approval processes/timelines, and separate statutory declarations. – this is not efficient, and there is no rationale provided for the early provision of the indicative GSL data. We suggest that the AER rely on the information supplied only in the RIO. | Orders updated - indicative GSL data no longer required.
158 | Essential | 2023-03-31 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | We also suggest that the current timeline of October submission of RIO’s could be moved to November. We anticipate an exemption for a delay would be more difficult than if an extension is needed under the current Regulatory Information Notices (RINs). | Order updated - see Explanatory statement
159 | Essential | 2023-03-31 | Data workbooks - all | Data use case | Data use case | Previous submissions from networks had requested that the AER use this opportunity to review and justify the genuine need for each type of data (as per Appendix A of the Explanatory Statement). A review and justification by the relevant AER teams, will ensure that the AER is being efficient and not requiring unnecessary information from networks - for which costs are borne by customers. This has not been addressed. | The AER has reviewed and addressed its data use cases, as we worked through the review. We will continue to do so.
160 | Essential SAPN | 2023-03-31 | Order | 4.2 Policies and procedures | 4.2 | Section 4.2 requests a list and description of “all internal plans, policies, procedures and strategies that are used by it to plan and conduct its day-to-day operations and that have been relied upon in the development of its annual response to the Order.” This is a new requirement and appears to be a duplication with information supplied as part of the reset RIN. Furthermore, it also requires information on the reason for, and impact of, any change in any of these documents over the year. Collating this amount of information and providing this level of detail is very time-consuming and will be very costly. There is no explanation of the reason for this new information, and the benefit that this will provide to the AER (and customers). We suggest that these requirements are removed unless the AER can provide evidence of why this is now needed and demonstrate that the benefits of this information exceed the costs to networks and their customers. | Requirements amended to focus on core policy documents.
161 | Essential | 2023-03-31 | Order | 4. Supporting information requirements | DMIS & DMIAM | The requirements for supporting information for the Demand Management Incentive Scheme (DMIS) and Demand Management Innovation Allowance Mechanism (DMIAM) (4.10 and 4.11), reflect the current RIN. However, there appears to be a significant amount of duplication with requirements of the relevant compliance reports which are already specified in the Schemes. We suggest that these supporting information requirements could be reduced and merely note, if there are values for DMIAM or DMIS submitted in the workbooks, that compliance reports are to be completed and submitted in line with the Scheme requirements. | The duplication of reporting requirement the current RINs and Scheme has been implemented to ensure the information required to be reported under the scheme is covered by the statutory declaration applied under the RIN. We also see some benefit in consolidating annual reporting obligations to help all stakeholders understand the extent of the annual reporting required from network businesses.
162 | Essential | 2023-03-31 | Data category 03 Network metrics | Safety | Safety | The new requirements to report on safety appear to be requests for more data without any reason why. Safety falls under jurisdictional regulators, with Essential Energy reporting under NSW, ACT and QLD regulations. Given that there also appear to be differences in definitions we suggest that the requirement for this data will cause confusion within networks and with jurisdictional regulators. This appears to be an attempt to duplicate jurisdictional safety reporting somewhat and there is no apparent reason why this data is required by the AER. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
163 | Essential | 2023-03-31 |  | Export Services | Export Services | Networks have recently been dealing with multiple teams from the AER in relation to export services, with a spectrum of information being requested - from the capex team, network performance, and from the RIO team. These requests appear to have unrelated but overlapping timeframes and objectives. From the overlapping requests, it appears that these teams are unaware of what other teams are requesting, or asking to be developed. It is causing significant re-work and confusion within networks. It would be much more efficient for networks and the AER if a single AER team took the lead on setting the export services data requirements, and working with networks on them - we suggest that this should be the RIO team. | Export services data requirements have been updated to reflect the latest export services information request.
164 | Essential | 2023-03-31 | Data category 05 Service performance | Other services measures > Export services | Complaints relating to export services | In relation to the export services data being requested for the RIO, we continue to flag that we will struggle to populate it accurately for some time – particularly around capacity and volume data, however, apart from export complaints, we do not believe that any of the requests look unreasonable. In some cases, the duration, from the initial complaint to resolution (when the complaint is formally categorised), can take weeks, with the data being held in different systems. We are unsure what the AER intends to achieve with this data and there may be better data available, or pathways developed to create the data, to assist the AER with its objectives. In previous submissions we have suggested that the AER workshop with networks on its objectives to develop the necessary data sets to ensure data provided is consistent, comparable and reliable. The AER has indicated a willingness to do so. Until then, it is not appropriate that the RIOs include these data requirements. | Export services data requirements have been updated to reflect the latest export services information request. The AER has recognised the difficulty some NSPs have in compiling data relating to export services, including data on complaints. We also note this data is being used by some NSPs to support expenditure proposals. We have not imposed assurance requirements on this data, providing al NSPs with additional time to update systems, and improve estimation methods, if needed.
165 | Essential | 2023-03-31 | Order | Network specific reporting requirements | CSIS | It is proposed that the Customer Service Incentive Scheme (CSIS) information is excluded from the RIO and that a separate RIN is required for this incentive scheme. Essential Energy does not believe that a separate RIN is necessary or efficient – there should be capacity within the RIOs for networks to enter their bespoke CSIS parameters and outcomes. | The Orders now include an obligation to provide CSIS information to the AER. The obligation applies to all NSPs that have a CSIS applying in the reporting year. The obligation is generic in that it refers to the CSIS information requirements sets out in the AER final determination, and we have not incorporated any detailed data requirements into the Orders. This approach has also been used for the Export services incentive scheme. We do request revenue rewards or penalties arising from the schemes are reported in workbook 09.
166 | Essential | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Fee based services | CA4.3.1 | Essential Energy does not directly categorise individual fees under energisation, de-energisation or re-energisation, there are however multiple fees under reconnection and disconnection. Will we be required to group the reconnection and disconnection services under these three categories and exclude from “Other – fee based services”? | NSPs may map specific fees to the prescribed categories, where the service (irrespective of name) aligns to the definitions provided. Alternatively NSPs may report '0' against the AER prescribed services, and detail specific services against the row descriptors 'DNSP described fee based service type_X'
167 | Essential | 2023-03-31 | Data category 02 Operational outputs | Other outputs | Connection services | Connection Services are called out as a separate category in workbooks Data Category 6 and Data Category 7 on the “Alternative Control” tabs - should they be separate under “Other Outputs” too? Or should Connection Services be excluded from “Other outputs” meaning there will be no volumes for ANS - Connection Services? | We have amended the service disaggregations for alternative control services. We no longer separate out Connections services, recognising these expenditures are included in the fee based or quoted services categories. We still require connections volumes for both standard control and Non standard control services, as set out in workbook 02.
168 | Essential | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activities | Unit of measure | For conductors, we have historically provided this as km - should some of the items in this section be measured by 'circuit line length in km' rather than 'number'? That would align with measures currently in place and also with the RIO Asset Augmentation activities section. | Workbook updated
169 | Essential | 2023-03-31 | Data category 02 Operational outputs | Export Services | Export Services | Export service - we only store export capacity as KW rather than KVA | Kw data can be converted to KVA using a power factor conversion methodology. The methodology should be used consistently across reporting years, and documented in the basis of preparation.
170 | Essential | 2023-03-31 | Data category 02 Operational outputs | Energy delivered by CR Tariff & NCR Tariff | AR P1 | We are currently unable to split this by invoiced consumption by meter type (we can only do by customer numbers) | The AER has revised the data requirement to meter type; and tariff, reflecting current reporting requirements in the annual reporting RIN.
171 | Essential | 2023-03-31 | Data category 03 Network metrics | Network Assets - Volumes > Asset age profile | CA5.2.1 | For asset age profile, Conductors are currently reported in km, rather than numbers - should this measure be 'circuit line length in km'? | Workbook updated to correct the units of measure. We will review the instructions to confirm the data required is circuit length.
172 | Essential | 2023-03-31 | Data category 03 Network metrics | Length | Service area factors | Service area factors - in the changes summary it indicates that this section is to be removed? Furthermore, for this section Route line length is now split into Urban-CBD and Rural but this differentiation is not defined. | The changes referred to the removal of Total line length data requirement. The disaggregated data is still required. The differentiation of route line length into Urban-CBD and rural reflects feeder categories and the definition of the terms will require compounding existing definitions of the different elements.
173 | Essential | 2023-03-31 | Data category 04 Customer numbers | Customers (STPIS) by feeder | AR3.6.8 AR6.2.4 | This is a complex piece of work to provide customer numbers at the start and at the end of periods by feeder, and then by Urban/Short Rural/Long Rural. | This requirement mirrors the existing information requirements in the Annual RIN. We note that the start of year data is optional, and we only require that to be reported if it varies from the end of year data provided the previous year.
174 | Essential | 2023-03-31 | Data category 04 Customer numbers | Customers by tariff - CR & NCR | AR P1 | CR and NR - these customer numbers are at end of period, so will not align with consumption in Workbook 2 | Noted. The customer numbers are point in time, and consumption data covers the reporting period - we do not expect the data to align.
175 | Essential | 2023-03-31 | Data category 05 Service performance | Network specific reporting requirements | CSIS | Customer Service Incentive Scheme data requirements will not be included in the Order but instead in a RIN for the relevant DNSPs. This is a duplication of process - would be better to have CSIS metrics inside the RIO - with blanks for networks to complete their individual metrics, as approved by the AER | We agree, and also note this issue will impact any NSPs we the AER has applied an Export Services Incentive Scheme. We have decided to include the CSIS and ESIS reporting obligations in section 4 of the Order. We will not provide templates, but will require all NSPs that have a CSIS or ESIS applying in the reporting period to submit information in its response to the Order, where the detailed information requirements are as specified in the AER's final determination for the NSP. In this way, we can allow for the bespoke nature of the schemes, but still integrate the reporting against scheme requirements in the annual reporting process
176 | Essential | 2023-03-31 | Data category 05 Service performance | Glossary | Urban feeder | The change in definition for an urban feeder refers to - an average maximum demand over the reporting period, changing to an average over 3 years. For NSW distributors this is based on reporting period not 3 years, as per IPART licence conditions. | The definition of urban feeder has been amended to reference the STPIS and AER's DRMG.
177 | Essential | 2023-03-31 | Data category 05 Service performance | Other services measures > Export services | Customers requesting export capacity | Export capacity is noted in MVA whereas we record it in MW | The AER is seeking data in MVA. Where a NSP only collects data in MW terms, it should report estimated MVA data, and note the power factor conversion used in its basis of preparation
178 | Essential | 2023-03-31 | Data category 06 Operating expenditure | Alternative control | Connection services column | Are all fees under ANS Connection Services (per the Framework & Approach section 2.2.4 Connection services) to be reported under the Connection Services category? | We have removed ACS connection services from the required disaggregation. Connection services may be reported under Fee based and quoted services, as appropriate.
179 | Essential | 2023-03-31 | Data category 06 Operating expenditure | Alternative control | Connection services column Fee based services column Quoted services column | Essential Energy's ANS connection services are a mix of fee based and quoted - are they supposed to be combined under column N with no split? | We have removed ACS connection services from the required disaggregation. Connection services may be reported under Fee based and quoted services, as appropriate.
180 | Essential | 2023-03-31 | Data category 06 Operating expenditure | Alternative control > Fee-based services | CA4.3.1 | Should Energisation, De-energisation and Re-energisation fee based services be reported under “Connection Services”? | We have removed ACS connection services from the required disaggregation. Connection services may be reported under Fee based and quoted services, as appropriate.
181 | Essential | 2023-03-31 | Data category 08 Asset base values | Standard control > Asset base values > Indicative total regulatory asset base roll forward (within period) & Indicative total tax asset base roll forward (within period) | Indicative total regulatory asset base roll forward (within period) & Indicative total tax asset base roll forward (within period) | The definition is unclear. We think it might mean taking the forecast RAB/TAB from the “Assets” tab of the final approved SCS PTRM. However, we are not sure what updates would then need to be made to the forecast, and how in practice this would be done. It is possibly really simple but some more explanation is required as we wouldn’t know what to include if it was being completed today. | The requirement is to roll forward the asset base, as if the RFM was being populated for the regulatory period. The indicative asset base roll forward will be used for performance reporting, and within period modelling and tracking of changes to the asset base. Due to the timing of reporting obligations the opening asset base value, which must align with the AER's PTRM, will be taken from the final determination PTRM, and not updates. The requirement to align with the PTRM only applies to the opening asset base value in a regulatory control period. The method of calculation should reflect the methodologies set out in the AER's Roll forward model. To clarify the links to the PTRM, we have updated the definition of Indicative total asset base roll forward (within period) : An annual asset base roll forward undertaken consistent with the methodology in the AER's Roll Forward Model. In the first year of a regulatory control period the Opening asset base value must equal the opening asset base value used by the AER to model revenue requirements in its final determination for the regulatory period (using the Post Tax revenue Model). In remaining years of a regulatory control period the opening asset base value should equal the closing value of the prior year. The value is indicative only, as the AER will make its final determination on the asset base values for each reporting year at the time of the next revenue determination.
182 | Essential | 2023-03-31 | Data category 08 Asset base values | Definitions | Benchmarking asset base | Unclear what the January 2023 definition means. It says that the Benchmarking Asset Base does not align with the RAB, but it does. It is basically the RAB disaggregated into the various EB3.3 asset categories. | The benchmarking asset base uses actual straight-line depreciation; not forecast straight-line depreciation. Actual straight-line depreciation is derived using actual capex. Forecast straight-line depreciation is derived using forecast capex. We have included definitions of Actual straight-line depreciation and forecast straight-line depreciation.
183 | Essential | 2023-03-31 | Data category 08 Asset base values | Definitions | Capital contributions | This says to include both Type 1 and Type 2 capital contributions. Presumably though, only Type 1 Capital Contributions are included in the RFM input tab? Maybe the definition could be updated to specify this, as it is always an area that causes confusion. | The benchmarking asset base uses actual straight-line depreciation; not forecast straight-line depreciation. Actual straight-line depreciation is derived using actual capex. Forecast straight-line depreciation is derived using forecast capex. We have included definitions of Actual straight-line depreciation and forecast straight-line depreciation. The definition of Gross capex has been amended: Capital expenditure including type 1 capital contributions but net movement in provisions. The definition of capital contributions has been amended: Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
184 | Essential | 2023-03-31 | Data category 08 Asset base values | Alternative control > Indicative metering asset base roll forward (within period) | Indicative metering asset base roll forward (within period) | The definition is unclear. We think it might mean taking the forecast RAB from the “Assets” tab of the final approved Metering PTRM. However, we are not sure what updates would then need to be made to the forecast, and how in practice this would be done. It is possibly really simple but some more explanation is required as we wouldn’t know what to include if it was being completed today. | The indicative metering asset base roll forward (within period) and indicative public lighting asset base roll forward (within period) can be defined by compounding relevant definitions for indicative total asset base roll forward (within period) and the definitions of either metering asset or public lighting assets. We can include individual definitions for each type of asset base if required.
185 | Essential | 2023-03-31 | Data category 08 Asset base values | Alternative control > Indicative public lighting asset base roll forward (within period) | Indicative public lighting asset base roll forward (within period) | We don't have a RAB for Public Lighting, so not sure how we could complete this section. | If the section is not relevant you may report NULL. NULL responses must be justified in the basis of preparation.
186 | TasNetworks | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | We have concerns about the implementation timeline. TasNetworks’ preference is for the current RINs to run their course before the implementation of the Orders, allowing for the embedding of the information requirements contained in the Orders for both TNSPs and DNSPs before the reporting period begins. | Order updated - see Explanatory statement
187 | TasNetworks | 2023-03-31 | Order | 1.5 Annual response date | 1.5.2 - Schedule 1 | TasNetworks seeks to extend the response data of the Orders to the end of November, five months after the end of the reporting period. | Order updated - see Explanatory statement
188 | TasNetworks | 2023-03-31 | Data category 03 Network metrics | Safety | Safety | TasNetworks questions the inclusion of safety incident reporting for both TNSPs and DNSPs. This information is currently reported to TasNetworks’ jurisdictional electrical safety regulator and the inefficient duplication of reporting would result in increased regulatory costs. There has been limited information provided on how the AER will use this data and it is unclear what benefits may be gained that will outweigh the added cost associated with the request. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
189 | TasNetworks | 2023-03-31 | Order | Network specific reporting requirements | CSIS | TasNetworks notes the Orders have not included reporting on DNSPs Customer Service Incentive Schemes (CSIS). Whilst TasNetworks acknowledges each CSIS may require the reporting of different information we are of the position that this can still be reported through the Orders, without the need to issue numerous bespoke information requests. There is already the ability to provide free text fields in the preliminary Orders and TasNetworks would advocate that any differences in CSIS reporting be captured this way. | The Orders now include an obligation to provide CSIS information to the AER. The obligation applies to all NSPs that have a CSIS applying in the reporting year. The obligation is generic in that it refers to the CSIS information requirements sets out in the AER final determination, and we have not incorporated any detailed data requirements into the Orders. This approach has also been used for the Export services incentive scheme. We do request revenue rewards or penalties arising from the schemes are reported in workbook 09.
190 | Jemena | 2023-03-31 | Order | 4. Supporting information requirements | non-data reporting requirements | In earlier consultation on the Order, the AER highlighted its preference to minimise the amount of non-data reporting requirements, such as basis of preparation and compliance documents, accounting policies, and cost allocation methodologies. However, the preliminary Order retains most of these non-data reporting requirements, and in some instances, the non-data compliance reporting has increased (for example, section 4 – supporting information requirements). This level of regulatory reporting is not consistent with the review’s objectives of streamlining data collection. | We have made substantial amendments to the information requirements specified in the Orders, including data requirements and supporting information. While there are new data requirements, and new supporting information requirements, we have also responded to specific issues to reduce the reporting burden where possible.
191 | Jemena | 2023-03-31 | Data workbooks - all | Use cases | Use cases | Throughout the review consultation to date, the AER has provided information relating to the use case of existing regulatory reporting requirements. This has been useful in determining how the AER and other stakeholders use the regulatory data we submit annually. However, use case information for several new data requirements has not been provided. | Use cases for new data requirements have been addressed as part of consultation processes to develop the new data requirements (for example export services); or mirror the use case for existing similar data (where a new disaggregation has been introduced). In some instances the information set out in the 'changes' worksheet describes the need for the data.
192 | Jemena | 2023-03-31 | Order | 1.5 Annual response date | 1.5.1(a) | Given the Order will not be finalised until three months into the 2023-24 reporting year, the Order will effectively apply retrospectively. Therefore, we may be unable to submit all of the information required, particularly for new data or any changes that occur between June and September 2023. Alternatively, data for the first year of reporting may need to be estimated. Any data that requires significant system and process changes will be first provided in the 2024-25 reporting year at the earliest | Order updated - see Explanatory statement
193 | Jemena | 2023-03-31 | Data category 02 Operational outputs | Demand > System maximum demand > Maximum demand characteristics | CA5.3.1 | The data validation input for this cell contains a #REF! error. We request that the AER updates the data validation input to allow for ‘summer’ or ‘winter’ to be entered into the ‘summer or winter peaking classification’ cell. | Formula has been removed from the cell on the Maximum demand worksheet, noting the validation rules for the 'Summer/winter peaking' requirement limit valid responses to either 'Summer' or 'Winter'.
194 | Jemena | 2023-03-31 | Data category 02 Operational outputs | Energy delivered by CR Tariff & NCR Tariff | AR P1 | The AER’s current RIN reference for these data requirements is Annual Reporting (AR) RIN table P1. However, the existing RIN requirement did not previously request customer energy usage data in MWh (only NMI count). Therefore, we consider all the data on these two worksheets to be new reporting requirements. We request that the AER updates these spreadsheets accordingly. | The AER has revised the data requirement to customers numbers by meter type; and consumption by tariff, reflecting current reporting requirements in the annual reporting RIN.
195 | Jemena | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Asset replacement and maintenance activates > Staking wooded poles by highest operating voltage & Staked pole replaced with new pole by highest operating voltage | CA2.8.1 | Staking wooded poles by highest operating voltage & Staked pole replaced with new pole by highest operating voltage: It is not clear how maintenance and inspection volumes should be reported for these two asset groups. The definitions tab only provides basic definitions for these two asset groups but no further reporting guidance. We consider the best approach is to have one asset group for ‘staked wooden poles’. DNSPs would then report how many staked wooden poles were maintained and inspected in each regulatory year. | We have set out a consistent table structure for replacement capex and activities, impacting workbooks 02, 03, and 07. It includes staking of/staked wooden poles as a stand-alone asset category. The instructions have been amended to provide guidance on reporting requirements.
196 | Jemena | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Metering activities > Other metering services | CA4.2.2. | The current RIN reference for this data requirement is Category Analysis (CA) RIN 4.2.2. However, in the current CA RIN, only expenditure is required for ‘other metering services’ and the volumes for these categories are greyed out. Further, these activities are mainly back-office support and audit functions. Therefore, it is not meaningful to report volumes for these activities and we recommend these cells are also greyed out or removed. | The definition of Other metering services has been amended to clarify back office support and audit services are not included. Other metering: Metering services which are not already included in the following meter services: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance. Meter data services, which apply to meter types 4–7 should be reported in the meter associated works category. This is not intended to capture general support or audit functions but should reflect any metering service activities not captured in other categories.
197 | Jemena | 2023-03-31 | Data category 02 Operational outputs | Other outputs > Metering activities > Remote meter reading | CA4.2.2. | Type 5 meters have been included in the ‘remote meter reading’ category. Type 5 meters are legacy meters that do not have remote meter reading capability. Therefore, we do not perform remote meter reads for this type of meter and we will report a NULL response for this activity. | Type 5 meters have been removed from the remote meter reading category.
198 | Jemena | 2023-03-31 | Data category 03 Network metrics | Asset metrics > Inspection and maintenance cycles | CA2.8.1 | The asset groups in this section have been aggregated and no longer align with the assets previously listed in CA RIN 2.8.1. As a result, we consider that the updated template cannot be completed meaningfully. For example, JEN’s zone substation transformers have a four-year maintenance cycle, whereas its distribution transformers have a six-year maintenance cycle. In this instance, it is not clear how we should input data for ‘transformers’ in row 35 of the template. The same issue also applies to other asset groups, including switchgear, public lighting and SCADA. Therefore, we request that this requirement is either removed or amended to match the requirements and structure of the existing CA RIN. | We have amended the instructions to require a weighted average to be used for inspection and maintenance cycles.
199 | Jemena | 2023-03-31 | Data category 03 Network metrics | Safety | Safety | We provide safety-related information to our jurisdictional safety regulator, Energy Safe Victoria (ESV), and we consider that ESV is best suited to collect this information. In addition, jurisdictional differences mean that safety-related data is not comparable across DNSPs in different jurisdictions. Given there is no clear use case for this data, we recommend that this worksheet is removed. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.
200 | Jemena | 2023-03-31 | Data category 03 Network metrics | Terrain > Terrain factors | EB3.7.2 CA2.7.1 | This worksheet requires the ‘average number of defects per maintenance span’ and the ‘average number of trees per maintenance span’ for both urban and CBD, and rural areas. The current RIN reference for these data requirements is Economic Benchmarking (EB) RIN 3.7.2. However, the existing EB RIN requirement is the ‘average number of defects per vegetation maintenance span’ and the ‘average number of trees per vegetation maintenance span’. We request that the AER updates these row titles to reflect the existing RIN reporting requirement. | Row descriptors updated to refer to vegetation maintenance spans
201 | Jemena | 2023-03-31 | Data category 04 Customer numbers | Total customers > Customers (distributions services) by NMI status | Customer numbers | This worksheet requires customer numbers to be reported by ‘NMI’ or ‘no NMI’ status. Metered and unmetered and energised and unenergised connection point splits are also required. However, the concepts tab provides contradictory definitions for ‘NMI’ or ‘no NMI’ status. ‘NMI’ is defined as a national metering identifier used to identify a connection point, whereas ‘no NMI’ is defined as a connection point on a distribution network that does not have a NMI assigned. By definition, all connection points on our distribution network will have NMIs assigned, and all our customers have NMIs. Absent a clear definition of ‘non-NMI’, we consider that this column is superfluous and recommend that it is removed. | We have not amended the definition and note NSPs may report 0 for customers without a NMI.
202 | Jemena | 2023-03-31 | Data category 05 Service performance | Other service measures > Instances where GSL not met - indicative data | AR6.9.1 | This section requires DNSPs to provide indicative GSL data at an early submission date to support the AER’s retail reporting obligations. We note that this reporting is only required in jurisdictions that adopt the National Energy Customer Framework (NECF). To promote efficiency, we propose qualifying that this information is only required in jurisdictions where the AER has GSL reporting obligations. We note that other jurisdictional reporting differences are captured in both the current RIN requirements and other Order workbooks. | This requirement has been removed from the Orders
203 | Jemena | 2023-03-31 | Data category 05 Service performance | Other service measures > export services | Complaints relating to export services | As noted in our previous submissions, we cannot provide the number of complaints that JEN has received related to the provision of export services. We currently capture customer complaints based on customer type; that is, data is captured based on whether the complaint was received from a CER or non-CER customer rather than capturing the root cause of the complaint. In every instance, we cannot determine if a customer complaint relating to overvoltage was caused by a CER device, the device of a neighbouring customer or another non-CER-related network issue. To determine the reason for the complaint, we would need to take customers’ CER devices off supply—including other customers close to the customer raising the complaint—and isolate them one by one to assess the network condition with and without the devices operating. In some cases, the neighbouring customers’ CER devices could be causing the problem, and we may not be able to locate that device, let alone agree to take it off supply. This would be time-consuming, expensive and impractical for our customers. Therefore, we request that this section is removed from the template. Alternatively, we will report NULL entries for this data. | Export services data requirements have been updated to reflect the latest export services information request. The AER has recognised the difficulty some NSPs have in compiling data relating to export services, including data on complaints. We also note this data is being used by some NSPs to support expenditure proposals. We have not imposed assurance requirements on this data, providing al NSPs with additional time to update systems, and improve estimation methods, if needed.
204 | Jemena | 2023-03-31 | Data category 05 Service performance | Other service measures > export services | Customers receiving overvoltage; Customers requesting export capacity; Export capacity requested & Export Service - approved capacity | This section requires customer numbers for a range of metrics, i.e., customers receiving overvoltage and requesting export capacity, split by customer type (i.e., residential, and non-residential LV and HV). We can provide total actual customer data for this section, but the customer type split is a pro-rated estimate based on the proportion of customers that fall into each category. Therefore, the information provided in these cells will be listed as ‘estimate’ data. | Noted
205 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | Alternative control > Opex by purpose | CA2.1.4 | JEN also reports non-network and maintenance line items in CA RIN 2.1.4 – ACS opex, but these two categories have been excluded in this section of the template. We request that nonnetwork and maintenance line items are included in this section. | The definition of operating expenditure includes maintenance expenditure, and the AER does not need the data to be disaggregated for ACS. We have added an additional row "other ACS expenditure' and that may be used for any categories that are not covered by the operating expenditure or overheads categories. $0 may be reported if not relevant.
206 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | Alternative control > Opex category | AR8.4.1 | The ‘total’ public lighting column for this data represents the sum of the energy-efficient and non-energy-efficient columns. However, the ‘total’ column does not include this formula or the calculation formatting. We recommend adjusting these cells accordingly. | Total is formatted as an input cell as not all businesses are able to report by energy efficient and non-energy efficient categories. We have also added a formula summing energy-efficient and non-energy-efficient.
207 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | New data collections > Opex for provision of export services | Export Services | Instances of overvoltage are necessarily a function of both the import and export services we provide. Therefore, we do not consider opex for overvoltage complaint management should be solely associated with the provision of export services. | Export services data requirements have been updated to reflect the latest export services information request. The AER has recognised the difficulty some NSPs have in compiling data relating to export services, including data on complaints. We also note this data is being used by some NSPs to support expenditure proposals. We have not imposed assurance requirements on this data, providing al NSPs with additional time to update systems, and improve estimation methods, if needed.
208 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | New data collections > RIT project expenditure | RIT project expenditure | All RIT expenditure is capitalised and therefore JEN will report NULL entries for the data in this section | The data requirements have been amended to require information on large projects. We note that if large projects are capitalised then it is appropriate to report zero in relation to operating expenditure.
209 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | Standard control > Economic Benchmarking categories> Total opex - current > breakdown 1 | EB3.2.1 | These data requirements are linked to the data provided in cells H7 to H9 of this worksheet. This section is unnecessarily duplicated and therefore we recommend removing it. | This table is included for illustrative purposes only, to assist businesses to relate the data requirement templates to their existing reporting systems. No data input is required.
210 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | Standard control > Non-network | AR (New CA) 2.6.4 CA2.6.1 | The current RIN reference for this data is AR RIN (new historical) 2.6.4, where this table reports capex but not opex. However, the correct RIN reference is CA RIN 2.6.1, where recurrent and nonrecurrent ICT opex are reported. We request that the AER updates this RIN reference accordingly. Currently, CA RIN 2.6.1 does not split recurrent and non-recurrent ICT opex into more granular categories. Rather, this breakdown is provided for ICT capex in AR RIN (new historical) 2.6.4. We recommend that this non-network ICT table is adjusted to have three rows: device expenditure, recurrent expenditure and nonrecurrent expenditure, consistent with the current CA RIN 2.6.1 requirements. | The RIN references have been updated. We have retained the option for disaggregation of the ICT opex recurrent and non-recurrent expenditure, but note businesses may report 'total recurrent expenditure' or 'total non-recurrent expenditure' as a single row response as a Business specified category.
211 | Jemena | 2023-03-31 | Data category 06 Operating expenditure | Standard Control > Opex by purpose | Export Services Row | All costs associated with explicitly increasing the export service hosting capacity of our network are capital in nature. Therefore, we will not report any opex costs for the provision of export services. | Noted. If Jemena does not incur opex costs under this category, then they may report $0. Other NSPs may incur opex under this category.
212 | Jemena | 2023-03-31 | Data category 09 Revenue and financial statements | Alternative control > Income statement | AR8.1.1 | This section mirrors the income statement currently provided in AR RIN 8.1.1. However, the metering services column is now split into two columns – smart meters and legacy meters. Like issue 10, we consider this new requirement is targeted at non-Victorian DNSPs that are transitioning to smart meters. On this basis, we will continue to report data in the ‘total’ column in column M of this template, consistent with the current RIN reporting requirements. | We have amended the validation rules to allow NULL responses to smart meters and legacy meters - if only total metering services revenues and expenditures is able to be reported. Other ACS revenue allows for the reporting of all other revenues not included in the distribution revenue category. (Including capital contributions, interest income, and profit from sale of fixed assets) Other expenditure allows for the reporting of all other expenditures, not included as maintenance or operating expenditure. Any Ancillary networks services data should be reported under fee-based or quoted services.
213 | Jemena | 2023-03-31 | Data category 09 Revenue and financial statements | Other services > Unregulated revenue earned with shared assets | Reset 7.4.1 | This information is not currently captured in the existing annual RIN reporting process and is also not defined in the AER’s Order. However, it is required in JEN’s reset RIN that is submitted as part of electricity distribution price resets (EDPRs). We request that the AER define ‘unregulated revenue earned with shared assets’ in the definitions and/or concepts tab of this workbook and align the definition to the AER’s November 2013 shared asset guideline. | This data has previously been collected as part of the regulatory proposal - Reset RIN submissions. As it relates to historical actual expenditure we have included it in the annual data collection. We will use it to analyse forecast and actual shared asset revenues, and it will inform future work on development of the shared asset guideline. The definition can be derived from the definitions of shared assets and unregulated services.
214 | Jemena | 2023-03-31 | Data category 09 Revenue and financial statements | Total expenditure > Replacement expenditure > public lighting | CA2.12 | The public lighting data requested in this section is listed in the standard control services column. However, it should be listed in the alternative control services column. | Template amended to remove SCS public lighting requirements.
215 | Jemena | 2023-03-31 | Data category 08 Asset base values | Network services > Meters | EB3.3.2 | The ‘meters’ section should be removed from the ‘Network services’ sheet, as these assets will only relate to alternative control services in all jurisdictions. | In 2022, five electricity distributors reported asset values for standard control services meters. While this may change, at this stage we will retain the requirement, but allow NULL responses.
216 | Jemena | 2023-03-31 | Data category 08 Asset base values | Standard control > Meters | EB3.3.2 | The ‘meters’ section should be removed from the ‘standard control’ sheet, as these assets will only relate to alternative control services in all jurisdictions. | In 2022, five electricity distributors reported asset values for standard control services meters. While this is being reduced, at this stage we will retain the requirement, but allow NULL responses.
217 | Jemena | 2023-03-31 | Data workbooks - all | Formatting | Formatting | We recommend reviewing the formatting of each workbook to ensure that data is consistent within and across different worksheets. In many templates, we observed some data inputs have a custom currency format, while the same or similar data in the rows below has a general format. (See 06 Operating expenditure – Standard control – Overheads expenditure for an example). | We note that the workbooks are not a data collection tool, and as such will not be used for submitting or validating data. However, we agree cell formats should be standardised.
218 | Jemena | 2023-03-31 | Data workbooks - all | Formatting | Formatting | Many data inputs do not fit within the column width or row depth provided in the workbooks. (See 06 Operating expenditure – Standard control – Indirect overheads expenditure for an example). We recommend ensuring that each data table has sufficient column width and row depth for users to input, observe and validate data correctly. | We note that the workbooks are not a data collection tool, and as such will not be used for submitting or validating data. However, we have expanded row heights and column widths so that cell content can be read
219 | Jemena | 2023-03-31 | Data workbooks - all | Formatting | Formatting | As noted in our March 2022 submission, we recommend ‘freezing panes’ on each workbook to ensure that workbook titles, data legends and table headings remain visible when users scroll down towards the bottom of the workbook. | We have not locked or restricted formatting, so that features, such as freezing panes can be enabled by anyone reviewing the workbook.
220 | Jemena | 2023-03-31 | Data workbooks - all | Formatting | Formatting | As noted in our March 2022 submission, we recommend numbering each worksheet in each workbook for ease of user reference and navigation. For example, 02 Operational outputs – 1. Energy delivered by cost-reflective tariff; 2. Energy delivered by non-cost-reflective tariff; 3. Energy delivered by time etc. Having numerical references will make the data collection process more efficient and easier to manage. | We will incorporate the worksheet numbering into the final orders.
221 | SAPN | 2023-04-14 | Order | Incentivising and measuring export service performance | incentivising and measuring export service performance | The preliminary RIOs include new data and information requirements within the proposed templates, with some of these still under development at the time of publication of the preliminary RIOs. For example, the new reporting obligations for export services were considered as part of the AER’s consultation on its approach to incentivising and measuring export service performance. The final report was issued on 10 March, which detailed new data collection requirements related to export service performance. We expect these requirements will be incorporated into the draft RIOs when released in June 2023. | The Orders have been amended to reflect the outcomes of the Export Services review.
222 | SAPN | 2023-04-14 | Order | 6.2.2 | Audit and Assurance requirements | We note that section 6.2.2 requires electricity distributors to provide all reports from the auditor to its management arising from the audit or review engagements. This is much broader than the current RIN requirement, which limits the provision of reports to those associated with the review conclusion statement and/or audit opinion report or assessment. SA Power Networks supports retaining similar wording to that contained within the current RINs. | Order updated
228 | CCP29 chair | 2023-04-20 | Explanatory statement only | transparency of incentive schemes | transparency of incentive schemes | This submission poses the following questions that the AER needs to consider as part of its design and implementation processes for the inclusion of increased transparency in networks information requirements: • How will information provided be used? What analysis will be undertaken by the AER of the information provided? • Will the incentive schemes be worded such that incentive payments are retained by the network only if the narrative justifies that a customer benefit was achieved that would not have arisen without the incentive payment? • Will the onus of proof be on the network business to prove this is the case or on the AER to disprove if the network business has not provided sufficient proof? • How will the AER ensure that information that is provided adds to clarity of understanding and not continued obfuscation? • Will the AER be able to deep-dive into the information provided to determine whether expenditure deviations justify incentive payments? • What will be the criteria used to assess the quality / veracity / accuracy / completeness of the information provided? • What will be the consequences to the network of poor quality information (or none provided)? • Overall, what tangible benefits will be seen by consumers as a result of AER analysis of the information provided? | The AER has removed the capex transparency requirements from the Orders, and will incorporate them into future regulatory information notices, requiring information to be submitted with a regulatory proposal and a revised regulatory proposal. Our detailed response to the issues raised are discussed in the Explanatory statement.