## Coverpage
2023-11-30
Ausgrid’s 2024-29 Revised Proposal
Attachment 5.7.3: CER CBA total view model
Empowering communities for a resilient, affordable and net-zero future.

## Summary
Options Analysis
Refer to individual tabs for detailed descriptions outlining the options for each CER-related driver
Option 1: Base Case "Do nothing" | This option produces a view of the total cost to customers in a scenario in which we do not actively address CER related impacts due to forecast increased uptake in rooftop solar and EVs. It forms the base case to which other invesment options are compared.
Option 2: AER alternative forecast | This option is aligned to the AER's alternative investment forecast in response to the intial submission such that includes low cost solutions to address CER related impacts. Aligned to the AER's feedback, this option includes low cost activites Ausgrid would historically use to address these issues, including tap changes, phase-balancing and small LV distributor upgrades.
Option 3: Optimised investment | This option is our recommended forecast CER augmentation expenditure required to produce the highest economic benefits for customers. This benefit is calculated by prioritising the most effective CER augmentation solutions available within the 2024-29 period.
Option | Capital expenditure (Total, 5 yrs) | Avoided EUE and curtailment (PV 20yrs) | NPV 20yrs
M
1. Base case (do nothing) | 0 | 0 | 1180.0193
2. AER’s alternative forecast | 8.015 | 115.3993 | 1071.87
3. Optimised investment | 37.2045 | 397.907 | 815.7615
Option 1: Base Case
Table 1. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of alleviated curtailment | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value of avoided unserved energy | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Benefit | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Solar investment costs | $M | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Annual EV investment costs | $M | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Total Cost | $M | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Value of remaining curtailment post investment | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
Value of remaining unserved energy post investment | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Net present value | $M | 1180.0193 | 43.3614 | 44.9234 | 47.0405 | 49.2623 | 52.5846 | 56.9985 | 61.575 | 66.5621 | 71.9231 | 77.4035 | 82.2196 | 87.298 | 94.5603 | 103.4809 | 113.7038 | 124.2351 | 135.9531 | 147.4084 | 161.6337 | 175.7048
Option 2: Preparatory investment
Table 2. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of alleviated curtailment | $M | 14.1889 | 0.12006 | 0.20398 | 0.2772 | 0.33558 | 0.34515 | 0.31598 | 0.46053 | 0.56856 | 0.5891 | 0.68634 | 0.93903 | 1.0527 | 1.054 | 0.96075 | 0.7194 | 0.77631 | 1.1898 | 1.2631 | 1.18 | 1.1514
Value of avoided unserved energy | $M | 153.0181 | 2.3357 | 4.1185 | 5.8154 | 7.1134 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522
Total Benefit | $M | 167.2071 | 2.4558 | 4.3225 | 6.0926 | 7.4489 | 8.6973 | 8.6682 | 8.8127 | 8.9208 | 8.9413 | 9.0385 | 9.2912 | 9.4049 | 9.4062 | 9.3129 | 9.0716 | 9.1285 | 9.542 | 9.6153 | 9.5322 | 9.5036
Annual Solar investment costs | $M | 1.965 | 0.393 | 0.393 | 0.393 | 0.393 | 0.393 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Annual EV investment costs | $M | 6.05 | 1.21 | 1.21 | 1.21 | 1.21 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cost | $M | 8.015 | 1.603 | 1.603 | 1.603 | 1.603 | 1.603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value of remaining curtailment post investment | $M | 31.4021 | 0.37062 | 0.61628 | 0.84348 | 1.0139 | 1.0473 | 1.0852 | 1.3184 | 1.4121 | 1.3042 | 1.381 | 1.7425 | 2.0001 | 2.0521 | 1.9062 | 1.4586 | 1.6053 | 2.4944 | 2.6927 | 2.5416 | 2.516
Value of remaining unserved energy post investment | $M | 1599.223 | 40.535 | 39.9846 | 40.1044 | 40.7995 | 42.84 | 47.2451 | 51.4439 | 56.2292 | 61.6776 | 66.9839 | 71.186 | 75.893 | 83.102 | 92.2617 | 103.1736 | 113.5013 | 123.9167 | 135.1004 | 149.5599 | 163.6852
Net present value | $M | 1071.87 | 42.5086 | 42.2039 | 42.5509 | 43.4164 | 45.4902 | 48.3304 | 52.7622 | 57.6414 | 62.9818 | 68.3649 | 72.9284 | 77.8931 | 85.1541 | 94.1679 | 104.6322 | 115.1066 | 126.4111 | 137.7931 | 152.1015 | 166.2012
Option 3: Optimised investment
Table 3. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of alleviated curtailment | $M | 28.3347 | 0.3654 | 0.60326 | 0.82764 | 0.99246 | 1.0266 | 0.9842 | 1.2341 | 1.3596 | 1.2851 | 1.3922 | 1.7933 | 1.9675 | 1.9404 | 1.7385 | 1.2848 | 1.3694 | 2.0686 | 2.1688 | 2.0001 | 1.9329
Value of avoided unserved energy | $M | 540.8181 | 12.7867 | 19.277 | 23.309 | 26.2937 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697
Total Benefit | $M | 569.1528 | 13.1521 | 19.8802 | 24.1366 | 27.2862 | 29.7236 | 29.6812 | 29.9311 | 30.0566 | 29.982 | 30.0892 | 30.4903 | 30.6644 | 30.6374 | 30.4355 | 29.9818 | 30.0664 | 30.7655 | 30.8657 | 30.6971 | 30.6299
Annual Solar investment costs | $M | 4.6965 | 0.9393 | 0.9393 | 0.9393 | 0.9393 | 0.9393 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Annual EV investment costs | $M | 32.508 | 6.402 | 6.6 | 6.48 | 6.522 | 6.504 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Total Cost | $M | 37.2045 | 7.3413 | 7.5393 | 7.4193 | 7.4613 | 7.4433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value of remaining curtailment post investment | $M | 17.2563 | 0.12528 | 0.217 | 0.29304 | 0.357 | 0.3658 | 0.41699 | 0.54481 | 0.62109 | 0.60828 | 0.67518 | 0.88818 | 1.0854 | 1.1657 | 1.1285 | 0.8932 | 1.0122 | 1.6156 | 1.7871 | 1.7215 | 1.7346
Value of remaining unserved energy post investment | $M | 1211.423 | 30.0841 | 24.8262 | 22.6108 | 21.6192 | 22.4952 | 26.9003 | 31.0991 | 35.8844 | 41.3328 | 46.6391 | 50.8412 | 55.5482 | 62.7572 | 71.9169 | 82.8288 | 93.1565 | 103.5719 | 114.7556 | 129.2151 | 143.3404
Net present value | $M | 815.7615 | 37.5507 | 32.5825 | 30.3232 | 29.4375 | 30.3043 | 27.3173 | 31.6439 | 36.5055 | 41.9411 | 47.3143 | 51.7293 | 56.6336 | 63.9229 | 73.0454 | 83.722 | 94.1687 | 105.1875 | 116.5426 | 130.9366 | 145.075

## Solar PV
CECV value calculation inputs
Half-hourly CECV values averaged during peak periods of curtailment and weighted by season to produce annualised CECV figures. This analysis has been performed using the AER's updated CECV values (June 2023)
| Units | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Total CECV incl. emissions | c/kWh | 5.22 | 4.34 | 3.96 | 3.57 | 2.95 | 2.59 | 3.01 | 3.09 | 2.74 | 2.79 | 3.39 | 3.63 | 3.49 | 3.05 | 2.2 | 2.29 | 3.38 | 3.47 | 3.13 | 2.96
AER CECV | c/kWh | 3.45 | 2.72 | 2.49 | 2.25 | 1.77 | 1.56 | 2.06 | 2.21 | 1.94 | 2.06 | 2.73 | 3.02 | 2.93 | 2.54 | 1.74 | 1.88 | 3.01 | 3.14 | 2.83 | 2.7
Emissions benefits @ $30/tonne | c/kWh | 1.77 | 1.62 | 1.47 | 1.32 | 1.18 | 1.03 | 0.95 | 0.88 | 0.8 | 0.73 | 0.66 | 0.61 | 0.56 | 0.51 | 0.46 | 0.41 | 0.37 | 0.33 | 0.3 | 0.26
Options Analysis
Option 1: Base Case "Do nothing" | This option produces a view of the total cost of curtailment to customers in a scenario in which we do not actively address voltage related network constraints due to forecast increased uptake in rooftop solar. It forms the base case to which other invesment options are compared.
Option 2: AER alternative forecast | This option is aligned to the AER's alternative investment forecast in response to the intial submission. Aligning to the AER's alternative forecast it includes low cost solutions to address customer driven voltage non-compliance. Aligned to the AER's feedback, this option includes low cost activites Ausgrid would historically use to address voltage non-compliance, including tap changes, phase-balancing and small LV distributor upgrades.
Option 3: Optimised investment | This option is our recommended forecast CER augmentation expenditure required to produce the highest economic benefits for customers. This benefit is calculated by prioritising the most effective CER augmentation solutions available within the 2024-29 period.
Option | Capital expenditure (Total, 5 yrs) | FY25: Curtailment costs (Total, 20 yrs); FY26: NPV Cost
1. Base case (do nothing) | 0 | FY25: 45.591; FY26: 29.9518; FY28: WACC; FY29: 3.44%
2. AER’s alternative forecast | 1.965 | FY25: 31.4021; FY26: 22.5345
3. Ausgrid’s revised proposal | 4.6965 | FY25: 17.2563; FY26: 15.2168
CECV Benefits Calculations
Total curtailment is the energy curtailed if we "do-nothing". The curtailment for each options is the volume of curtailment that is the forecast alleviation profile of investments that have been deemed justifiable based on their BCR value.
Volume of Curtailment | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Total Curtailment | GWh | 1477.1 | 9.4 | 18.9 | 28.3 | 37.8 | 47.2 | 54.1 | 59.1 | 64.1 | 69.1 | 74.1 | 79.1 | 84.1 | 89 | 94 | 99 | 104 | 109 | 114 | 118.9 | 123.9
Option 1 alleviated curtailment | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 alleviated curtailment | GWh | 460.3 | 2.3 | 4.7 | 7 | 9.4 | 11.7 | 12.2 | 15.3 | 18.4 | 21.5 | 24.6 | 27.7 | 29 | 30.2 | 31.5 | 32.7 | 33.9 | 35.2 | 36.4 | 37.7 | 38.9
Option 3 alleviated curtailment | GWh | 915 | 7 | 13.9 | 20.9 | 27.8 | 34.8 | 38 | 41 | 44 | 46.9 | 49.9 | 52.9 | 54.2 | 55.6 | 57 | 58.4 | 59.8 | 61.2 | 62.5 | 63.9 | 65.3
Table 1. CECV Benefit incl. Emissions Table 1 quantifies the cost and benefits associated with the proposed set of solutions for the options, where: Value of curtailed energy if "Do-Nothing": Sum of constraints on the network when no investment is made and there is no alleviated curtailment, i.e. Option 1. Value of alleviated curtailment: Sum of constraints alleviated where the annualised CECV and emissions benefits are greater than the annualised cost of solutions across the 5 year period from FY25-29. Alleviated curtailment for the following regulatory periods is the avoided curtailment enabled by investment made in the FY25-29 period. Value of curtailment with investment: Sum of constraints that aren't alleviated by the proposed set of solutions, as additional solutions would cause the overall investment to be BCR negative as they are not econoimically justifiable. Cost of investments: Total cost of all solutions (tap changes and network upgrades) that were determined to be economically justified when considering the BCR of the solution, the annual cost of the solution and the annualised CECV and emissions benefits that the solution provides by alleviating curtailment. These investments are ranked to ensure the solutions that provide that greatest BCR are selected first. Net cost: Sum of the cost of the solutions and the constraints that are not allevaited by the solutions. Table 2. Augmentation Cost per solution Table 2 provides a breakdown of the cost of solutions across 5 categories of solutions that can be invested in to augment the LV network. These solutions include tap changes and phase-rebalancing, small LV distributor upgrades (sub 400m), large LV distributor upgrades and distribution substation upgrades. Table 3. Number of Investments per solution Table 3 provides the count of proposed solutions selected for the 5 year investment period FY25-29. | bar: FY25 to FY29
Option 1: Base Case
Table 1. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of curtailed energy if "Do-Nothing" | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
Value of alleviated curtailment | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value of curtailment with investment | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
Cost of Investment | $M | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Net cost | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
NPV | 31.5246
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Tap changes and phase re-balancing | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Small LV distributor upgrades (sub 400m) | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Large LV distributor upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Tap changes and phase re-balancing | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Small LV distributor upgrades (sub 400m) | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Large LV distributor upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Option 2: AER alternative forecast
Table 1. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of curtailed energy if "Do-Nothing" | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
Value of alleviated curtailment | $M | 14.1889 | 0.12006 | 0.20398 | 0.2772 | 0.33558 | 0.34515 | 0.31598 | 0.46053 | 0.56856 | 0.5891 | 0.68634 | 0.93903 | 1.0527 | 1.054 | 0.96075 | 0.7194 | 0.77631 | 1.1898 | 1.2631 | 1.18 | 1.1514
Value of curtailment with investment | $M | 31.4021 | 0.37062 | 0.61628 | 0.84348 | 1.0139 | 1.0473 | 1.0852 | 1.3184 | 1.4121 | 1.3042 | 1.381 | 1.7425 | 2.0001 | 2.0521 | 1.9062 | 1.4586 | 1.6053 | 2.4944 | 2.6927 | 2.5416 | 2.516
Cost of Investment | $M | 1.965 | 0.393 | 0.393 | 0.393 | 0.393 | 0.393 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Net cost | $M | 33.3671 | 0.76362 | 1.0093 | 1.2365 | 1.4069 | 1.4403 | 1.0852 | 1.3184 | 1.4121 | 1.3042 | 1.381 | 1.7425 | 2.0001 | 2.0521 | 1.9062 | 1.4586 | 1.6053 | 2.4944 | 2.6927 | 2.5416 | 2.516
NPV | 23.6286
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 1.965 | FY25: 0.393; FY26: 0.393; FY27: 0.393; FY28: 0.393; FY29: 0.393
Tap changes and phase re-balancing | $M | 1.115 | FY25: 0.223; FY26: 0.223; FY27: 0.223; FY28: 0.223; FY29: 0.223
Small LV distributor upgrades (sub 400m) | $M | 0.85 | FY25: 0.17; FY26: 0.17; FY27: 0.17; FY28: 0.17; FY29: 0.17
Large LV distributor upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 594 | FY25: 118.8; FY26: 118.8; FY27: 118.8; FY28: 118.8; FY29: 118.8
Tap changes and phase re-balancing | # | 509 | FY25: 101.8; FY26: 101.8; FY27: 101.8; FY28: 101.8; FY29: 101.8
Small LV distributor upgrades (sub 400m) | # | 85 | FY25: 17; FY26: 17; FY27: 17; FY28: 17; FY29: 17
Large LV distributor upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Option 3: Optimised investment
Table 1. CECV Benefits incl. Emissions | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of curtailed energy if "Do-Nothing" | $M | 45.591 | 0.49068 | 0.82026 | 1.1207 | 1.3495 | 1.3924 | 1.4012 | 1.7789 | 1.9807 | 1.8933 | 2.0674 | 2.6815 | 3.0528 | 3.1061 | 2.867 | 2.178 | 2.3816 | 3.6842 | 3.9558 | 3.7216 | 3.6674
Value of alleviated curtailment | $M | 28.3347 | 0.3654 | 0.60326 | 0.82764 | 0.99246 | 1.0266 | 0.9842 | 1.2341 | 1.3596 | 1.2851 | 1.3922 | 1.7933 | 1.9675 | 1.9404 | 1.7385 | 1.2848 | 1.3694 | 2.0686 | 2.1688 | 2.0001 | 1.9329
Value of curtailment with investment | $M | 17.2563 | 0.12528 | 0.217 | 0.29304 | 0.357 | 0.3658 | 0.41699 | 0.54481 | 0.62109 | 0.60828 | 0.67518 | 0.88818 | 1.0854 | 1.1657 | 1.1285 | 0.8932 | 1.0122 | 1.6156 | 1.7871 | 1.7215 | 1.7346
Cost of Investment | $M | 4.6965 | 0.9393 | 0.9393 | 0.9393 | 0.9393 | 0.9393 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Net cost | $M | 21.9528 | 1.0646 | 1.1563 | 1.2323 | 1.2963 | 1.3051 | 0.41699 | 0.54481 | 0.62109 | 0.60828 | 0.67518 | 0.88818 | 1.0854 | 1.1657 | 1.1285 | 0.8932 | 1.0122 | 1.6156 | 1.7871 | 1.7215 | 1.7346
NPV | 15.896
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 4.6965 | FY25: 0.9393; FY26: 0.9393; FY27: 0.9393; FY28: 0.9393; FY29: 0.9393
Tap changes and phase re-balancing | $M | 3.785 | FY25: 0.757; FY26: 0.757; FY27: 0.757; FY28: 0.757; FY29: 0.757
Small LV distributor upgrades (sub 400m) | $M | 0.45 | FY25: 0.09; FY26: 0.09; FY27: 0.09; FY28: 0.09; FY29: 0.09
Large LV distributor upgrades | $M | 0.05 | FY25: 0.01; FY26: 0.01; FY27: 0.01; FY28: 0.01; FY29: 0.01
Distribution substation upgrades | $M | 0.4115 | FY25: 0.0823; FY26: 0.0823; FY27: 0.0823; FY28: 0.0823; FY29: 0.0823
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 2205 | FY25: 441; FY26: 441; FY27: 441; FY28: 441; FY29: 441
Tap changes and phase re-balancing | # | 2131 | FY25: 426.2; FY26: 426.2; FY27: 426.2; FY28: 426.2; FY29: 426.2
Small LV distributor upgrades (sub 400m) | # | 55 | FY25: 11; FY26: 11; FY27: 11; FY28: 11; FY29: 11
Large LV distributor upgrades | # | 5 | bar: FY25 to FY29
Distribution substation upgrades | # | 14 | FY25: 2.8; FY26: 2.8; FY27: 2.8; FY28: 2.8; FY29: 2.8

## EV CBA
Expected unserved energy calculations
Expected unserved energy is calculated by multipying the forecast impact of EVs as kWhs with historical network performance. Aligning with EMCa's and the AER's feedback we have assigned a zero benefit placeholder for benefits associated with EVs unserved. Inputs are taken from the EV CBA model tab 'EV CBA output'.
All customers impacted by an EV driven outage: includes both EV and non-EV customers supplied by an impacted feeder. EUE of subset of impacted customers with an EV: Includes load below peak demand contributed by EVs.
General VCR ($/kWh) | 46.025
Value of unserved Evs ($/kWh) | 0
| Units | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
EUE of all customers impacted by an EV driven outage | MWh | 931.4681 | 958.2557 | 997.8592 | 1042.0647 | 1114.9836 | 1213.1862 | 1307.2258 | 1414.8278 | 1537.5124 | 1657.66 | 1752.5899 | 1859.6856 | 2023.3227 | 2229.4979 | 2477.7461 | 2713.4039 | 2951.6184 | 3209.0012 | 3540.5889 | 3866.0457
EUE of subset of impacted customers with an EV | MWh | 0.0016975 | 0.012878 | 0.1445 | 1.0459 | 2.7152 | 5.205 | 8.0177 | 11.6462 | 15.9526 | 20.8087 | 24.4388 | 29.2628 | 36.2675 | 43.4278 | 54.5891 | 65.8535 | 77.7701 | 92.1609 | 109.582 | 128.1337
Total network performance impact to EV customers | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total network performance impact to non-EV customers | $ | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Options Analysis
Option 1: Base Case "Do nothing" | This option produces a view of the total cost of Expected Unserved Energy to customers in a scenario in which we do not actively manage capacity driven network constraints due to forecast increased uptake of Electric Vehicles (EVs). It forms the base case to which other invesment options are compared.
Option 2: AER alternative forecast | This option is aligned to the AER's alternative investment forecast in response to the intial submission. Aligned to the AER's feedback, it includes low cost solutions to address CER-driven network impacts.
Option 3: Optimised investment | This option is our recommended forecast CER augmentation expenditure required to produce the highest economic benefits for customers. This benefit is calculated by prioritising the most effective CER augmentation solutions available within the 2024-29 period.
Option | Capital expenditure (Total, 5 yrs) | FY25: Avoided EUE (PV 20yrs); FY26: NPV 20yrs
(M) | bar: FY25 to FY26
1. Base case (do nothing) | 0 | FY25: 0; FY26: 1150.0676; FY28: WACC; FY29: 3.44%
2. AER’s alternative forecast | 6.05 | FY25: 106.2046; FY26: 1049.3355
3. Ausgrid’s revised proposal | 32.508 | FY25: 378.9239; FY26: 800.5447
Avoided EUE calculation inputs
Total Expected Unserved Energy is the forecast network impact if we "do-nothing". The avoided unserved energy for each option is the forecast alleviation profile of investments that have been deemed justifiable based on their BCR value.
Volume of Curtailment | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Total Expected Unserved Energy | MWh | 38071.507 | 931.4664 | 958.2428 | 997.7147 | 1041.0187 | 1112.2685 | 1207.9812 | 1299.208 | 1403.1816 | 1521.5598 | 1636.8514 | 1728.1511 | 1830.4228 | 1987.0552 | 2186.0701 | 2423.157 | 2647.5503 | 2873.8483 | 3116.8403 | 3431.0069 | 3737.912
Option 1 avoided EUE | MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 avoided EUE | MWh | 3324.6745 | 50.7488 | 89.485 | 126.3538 | 154.5541 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708 | 181.4708
Option 3 avoided EUE | MWh | 11750.5294 | 277.8198 | 418.8369 | 506.442 | 571.2923 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087 | 623.5087
Table 1. CECV Benefit incl. Emissions Table 1 quantifies the cost and benefits associated with the proposed set of solutions for the options, where: Value of unserved energy if "Do-Nothing": Sum of Expected Unserved Energy (EUE) on the network when no investment is made and there is no avoided EUE, i.e. Option 1. Value of avoided unserved energy: Sum of avoided unserved energy where the annualised net avoided EUE benefits are greater than the annualised cost of solutions broken down by each distributor. Avoided EUE for the following regulatory periods is the avoided EUE by investment made in the FY25-29 period. Remaining value of unserved energy with investment: Remaining unserved energy from constraints that aren't alleviated by the proposed set of solutions. The remaining solutions required to avoid additional EUE would cause the overall investment to be BCR (benefit-cost ratio) negative as they are not economically justified. Cost of investments: Total cost of all solutions that were determined to be economically justified when considering the BCR of the solution, the annual cost of the solution and the annualised net avoided EUE that the solution provides. Net Cost: Sum of the cost of the solutions and the constraints that are not alleviated by the solutions. Table 2. Augmentation Cost per solution Table 2 provides a breakdown of the cost of solutions across common groupings of solutions consistent with those in the PV tab. These solutions include small LV distributor upgrades (sub 400m), large LV distributor upgrades, distribution substation upgrades. Table 3. Number of Investments per solution Table 3 provides the count of proposed solutions selected for the 5 year investment period FY25-29. | bar: FY25 to FY29
Option 1: Base Case
Table 1. Expected Unserved Energy | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of unserved energy if "Do-Nothing" | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Value of avoided unserved energy | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remaining value of unserved energy with investment | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Cost of Investment | $M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net cost | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
NPV | 1150.0676
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Small LV distributor upgrades (sub 400m) | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Large LV distributor upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Small LV distributor upgrades (sub 400m) | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Large LV distributor upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Option 2: AER alternative forecast
Table 1. Expected Unserved Energy | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of unserved energy if "Do-Nothing" | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Value of avoided unserved energy | $M | 153.0181 | 2.3357 | 4.1185 | 5.8154 | 7.1134 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522 | 8.3522
Remaining value of unserved energy with investment | $M | 1599.223 | 40.535 | 39.9846 | 40.1044 | 40.7995 | 42.84 | 47.2451 | 51.4439 | 56.2292 | 61.6776 | 66.9839 | 71.186 | 75.893 | 83.102 | 92.2617 | 103.1736 | 113.5013 | 123.9167 | 135.1004 | 149.5599 | 163.6852
Cost of Investment | $M | 6.05 | 1.21 | 1.21 | 1.21 | 1.21 | 1.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net cost | $M | 1605.273 | 41.745 | 41.1946 | 41.3144 | 42.0095 | 44.05 | 47.2451 | 51.4439 | 56.2292 | 61.6776 | 66.9839 | 71.186 | 75.893 | 83.102 | 92.2617 | 103.1736 | 113.5013 | 123.9167 | 135.1004 | 149.5599 | 163.6852
NPV | 1049.3355
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 6.05 | FY25: 1.21; FY26: 1.21; FY27: 1.21; FY28: 1.21; FY29: 1.21
Small LV distributor upgrades (sub 400m) | $M | 6.05 | FY25: 1.21; FY26: 1.21; FY27: 1.21; FY28: 1.21; FY29: 1.21
Large LV distributor upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | $M | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 89 | FY25: 18; FY26: 18; FY27: 17; FY28: 19; FY29: 17
Small LV distributor upgrades (sub 400m) | # | 89 | FY25: 18; FY26: 18; FY27: 17; FY28: 19; FY29: 17
Large LV distributor upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Distribution substation upgrades | # | 0 | FY25: 0; FY26: 0; FY27: 0; FY28: 0; FY29: 0
Option 3: Ausgrid’s revised proposal
Table 1. Expected Unserved Energy | Units | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44
Value of unserved energy if "Do-Nothing" | $M | 1752.2411 | 42.8707 | 44.1031 | 45.9198 | 47.9129 | 51.1922 | 55.5973 | 59.796 | 64.5814 | 70.0298 | 75.3361 | 79.5382 | 84.2452 | 91.4542 | 100.6139 | 111.5258 | 121.8535 | 132.2689 | 143.4526 | 157.9121 | 172.0374
Value of avoided unserved energy | $M | 540.8181 | 12.7867 | 19.277 | 23.309 | 26.2937 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697 | 28.697
Remaining value of unserved energy with investment | $M | 1211.423 | 30.0841 | 24.8262 | 22.6108 | 21.6192 | 22.4952 | 26.9003 | 31.0991 | 35.8844 | 41.3328 | 46.6391 | 50.8412 | 55.5482 | 62.7572 | 71.9169 | 82.8288 | 93.1565 | 103.5719 | 114.7556 | 129.2151 | 143.3404
Cost of Investment | $M | 32.508 | 6.402 | 6.6 | 6.48 | 6.522 | 6.504 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Net cost | $M | 1243.931 | 36.4861 | 31.4262 | 29.0908 | 28.1412 | 28.9992 | 26.9003 | 31.0991 | 35.8844 | 41.3328 | 46.6391 | 50.8412 | 55.5482 | 62.7572 | 71.9169 | 82.8288 | 93.1565 | 103.5719 | 114.7556 | 129.2151 | 143.3404
NPV | 800.5447
Table 2. Augmentation Cost per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | $M | 32.508 | FY25: 6.402; FY26: 6.6; FY27: 6.48; FY28: 6.522; FY29: 6.504
Small LV distributor upgrades (sub 400m) | $M | 11.058 | FY25: 3.342; FY26: 4.38; FY27: 2.58; FY28: 0.252; FY29: 0.504
Large LV distributor upgrades | $M | 15.51 | FY25: 0; FY26: 0.96; FY27: 3.72; FY28: 5.55; FY29: 5.28
Distribution substation upgrades | $M | 5.94 | FY25: 3.06; FY26: 1.26; FY27: 0.18; FY28: 0.72; FY29: 0.72
Table 3. Number of Investments per solution | Units | Total | FY25: FY25; FY26: FY26; FY27: FY27; FY28: FY28; FY29: FY29
Total | # | 303 | FY25: 66; FY26: 75; FY27: 66; FY28: 49; FY29: 47
Small LV distributor upgrades (sub 400m) | # | 153 | FY25: 49; FY26: 60; FY27: 34; FY28: 3; FY29: 7
Large LV distributor upgrades | # | 117 | FY25: 0; FY26: 8; FY27: 31; FY28: 42; FY29: 36
Distribution substation upgrades | # | 33 | FY25: 17; FY26: 7; FY27: 1; FY28: 4; FY29: 4

## Assumptions
No. | Assumption | Value
1 | AER alternative augmentation forecast FY25-29 | 8000000