## Changes summary
Data category 07: Capital expenditure
Changes from January 2023 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Distribution business | Overheads | Table removed | Relates to negotiated services and unregulated services - covered under workbook 09.
Standard control | Capex by purpose (Incl Total capital contributions) - AER defined | New sub tables introduced for disaggregating capital contributions by type. | Detailed understanding of capital contributions is integral to our capital expenditure and asset base modelling and analysis.
Standard control | Replacement expenditure | Removed asset group "Staked pole replaced with new pole by: Highest operating voltage" renamed the asset group "Staking wooden poles" to "staking of / staked wooden poles" | These changes have been made to clarify the data requirements relating to staked wooden poles. The changes are consistent across Data Category 07, 02 and 03 - and supported by instructions in Appendix A.
Standard control | Replacement expenditure | Expanded the list of pole types to include composite poles and Poles - other technology Composite pole is a pole developed using a combination of materials, such as timber and concrete. Poles- other technology refers to stobie poles, or poles made of materials not included elsewhere in the asset category. | The expanded list will simplify reporting for NSPs that are using new composite pole types, or have pole types (like stobie poles) that are not widely reported, and don't align with other categories.
Standard control | Overheads | Table removed | Relates to negotiated services and unregulated services - covered under workbook 09.
Standard control | Capex by asset class | Headings of sub tables amended; new sub table "additions to the RAB and TAB" included | This data is required to support modelling and analysis of the asset base.
Alternative Control | All | Service classifications updated, as noted on the introduction worksheet | Improves consistency by standardising data structure.
Large projects | Large project capital expenditure - SCS | This table replaces the earlier tables related to RIT and contingent projects. | The energy sector transformation is leading to large projects being undertaken, with only limited visibility of project expenditures. We are collecting this data to increase the transparency relating to large projects being funded by energy consumers.
Other services | Negotiated distribution services | New table | Covers reporting of negotiated distribution services expenditures, where such services are defined.

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 07: Capital expenditure
Capital expenditure is expenditure that has been included in the regulatory asset base of the Network Service Provider and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Capital expenditure is a key driver of future revenue requirements, and is critical information in the AER's regulatory review processes. Capital Expenditure is included in the regulatory asset base of the Network Service Provider and the Network Service Provider earns returns into the future on its capital expenditure.
Concepts
Expenditure classifications
Total expenditure = Direct expenditure + Indirect expenditure
Service classifications
Audited Statutory Accounts + Regulatory adjustments = Distribution Business
Where:
Distribution Business = Direct Control Services + Other Distribution Services
Where:
Direct Control Services = Standard Control Services + Alternative Control Services
Other Distribution Services = Negotiated Services + Unregulated Services
Where:
Standard Control Services (SCS) = SCS excluding those provided using dual function assets + SCS provided using dual function assets
Alternative Control Services = Public Lighting Services + Metering Services + Fee-based Services + Quoted Services
Where:
Public Lighting Services = Energy efficient + Non-energy efficient
Metering Services = Smart meters + Legacy meters

## Definitions
Data category 07: Capital expenditure
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Distribution business
Audited Statutory Accounts | The audited set of accounts prepared in accordance with Australian Securities and Investments Commission (ASIC) requirements.
Distribution Business | Audited Statutory Accounts plus Regulatory Adjustments.
Regulatory adjustments (NSP) | The adjustments made to audited statutory accounts to arrive at the accounts for the Network Service Provider. The adjustments must include: (a) non-distribution services; (b) negotiated transmission services; (c) non regulated transmission services; (d) and any other adjustments.
Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme (DMIS), developed by the AER in 2017 and amended from time to time.
Demand Management Innovation Allowance Mechanism (DMIAM) | The AER's Demand Management Innovation Allowance Mechanism (DMIAM), as developed by the AER in 2017 and amended from time to time.
Projects submitted for approval | Projects submitted to the AER for approval under either the DMIS or the DMIAM.
Standard control
Service classifications
Standard Control Services | As defined in the National Electricity Rules. For clarity, Standard Control Services are intended to capture services available only through DNSP’s network typically provided to all customers or a broad class of customers recovered through general network tariffs.
Dual function assets | As defined in the NER, ch10.
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Capex by purpose
Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
Capital expenditure | Any expenditure that has been included in the regulatory asset base of the NSP and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with NSP. This profit may include margins, management fees or incentive payments.
Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded).
Type 2 capital contributions | Any form of capital contributions received by a NSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded).
PWC undergrounding capex (equity funded) | Capex that was: (a) incurred by Power and Water Corporation pursuant to the Ministerial Direction issued by the Northern Territory Government’s Treasurer on 8 July 2019 directing Power and Water Corporation to undertake an underground power program; and (b) funded by capital funds provided by Power and Water Corporation’s shareholder, the Northern Territory Government, either directly or via its agencies.
Replacement capex (repex) | The non-demand driven capex to replace an asset with its modern equivalent where the asset has reached the end of its economic life. Capex has a primary driver of replacement expenditure if the factor determining the expenditure is the existing asset's inability to efficiently maintain its service performance requirement.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Augmentation | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy.
Connections capex | Capex to establish new connection assets and upgrades to existing connections assets necessary to meet customer connection requests. This excludes alterations to existing connection assets.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Property capex | Non-network capex related to buildings and land.
Fleet capex | Non-network capex related to vehicles used for transportation.
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs may include those for executive management, legal and secretariat, human resources, finance, regulatory and other corporate head office activities or departments, insurance/self-insurance, debt/equity raising costs, non-network IT support.
Replacement expenditure
Commercial/industrial connection | Work connecting any customer who is not a residential or unmetered customer.
Composite pole | A pole developed using a combination of materials, such as timber and concrete.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Pole | Vertically oriented assets that provide load bearing structural support for overhead conductors or other lines assets. This also includes associated pole top structures, such as cross-arms and insulators where these are replaced in conjunction with a pole replacement project. It excludes other pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Pole top structure | These are horizontally oriented structures and their components that provide support for overhead conductors and related assets to be supported on a pole and provide adequate clearances. A pole top structure is independently of the pole it is located on. This includes cross-arms and insulators. It excludes any pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Pole - other technology | Stobie poles, or poles made of materials not included elsewhere in the asset category.
Residential connection | Work connecting any customer who purchases energy principally for personal, household or domestic use at premises.
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Staking of /staked wooden pole | A wooden pole that is staked; or the activity of staking a wooden pole.
Subdivision connection | Work connecting un-reticulated lots or areas to the distribution network for residential subdivisions.
Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Connections
Augmentation | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy.
Basic connection | A simple connection of a customer's premises to the network, involves no or minimal extension or augmentation. This service is based on the description of a basic connection service provided in Chapter 5A (5A.A.1) of the NER.
Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
Commercial/industrial connection | Work connecting any customer who is not a residential or unmetered customer.
Connection services (distribution) | As defined in the AER's Connection charge guidelines for electricity retail customers, April 2023, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables . For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
High voltage connection | Connection at higher than 415 volts.
Low voltage connection | Connection at 240 or 415 volts.
Negotiated connection service | Connections that meet the specific requirements of a connection applicant and the distributor, and may involve network extension or augmentation. This service is based on the description of a negotiated connection contract provided in Chapter 5A Part c (5A.C.1) of the NER.
Residential connection | Work connecting any customer who purchases energy principally for personal, household or domestic use at premises.
Standard connection service | A connection to the network, that is not a basic connection service, and may be provided for a particular class or sub-class of connection applicant. It may involve extension and/or augmentation. This service is based on the description of a standard connection service provided in Chapter 5A (5A.A.1) of the NER.
Subdivision connection | Work connecting un-reticulated lots or areas to the distribution network for residential subdivisions.
Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded).
Augmentation expenditure
Augmentation | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables . For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Easement | An electricity easement is the right held by NSP to control the use of land near above-ground and underground power lines and substations. It holds this right to ensure the landowner’s safety and to allow staff access to work on the power lines at all times.
Feeder | A power line, including underground cables, that is part of a distribution network.
HV Feeder | A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV, and connects distribution substations to a zone substation. Includes all connected lines and cables from the point of origin (typically a zone substation) to the normally-open points or line/cable terminations. Where distribution substations are connected directly to a sub transmission line, the line remains categorised as a sub transmission line.
LV Feeder | A distribution line that is not a sub transmission line or a high voltage feeder or an overhead service wire or an underground service cable. Includes switchgear located on the feeder rather than in a sub-transmission substation, zone substation, or distribution substation. Includes all non-transforming substations used to switch two or more distribution lines that are associated with the low voltage feeder.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Substation | Has the meaning prescribed in the National Electricity Rules. As a guide, assets included within a substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Sub-transmission substation | A substation on a distribution network that transforms any voltage to levels above 33 kV. A sub-transmission substation includes a substation or parts of the substation owned and operated by DNSP associated with a connection point(s). As a guide, assets included within a sub-transmission substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Sub-transmission line | A distribution line with a nominal voltage that is at or above 33 kV and connects a sub-transmission substation to a zone substation, or one zone substation to another substation at their higher voltage. Includes all connected lines and cables from the point of origin to the normally-open points or line/cable terminations. Where distribution substations are connected directly to a sub-transmission line, the line remains categorised as a sub-transmission line.
Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category.
Switching station | A station that connects to multiple circuits but does not contain a transformer.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Non-network
Buildings and property expenditure | Expenditure directly attributable to non-network buildings and property assets including: the replacement, installation, operation and maintenance of non-network buildings, fittings and fixtures. It includes expenditure related to real chattels (e.g. interests in land such as a lease) but excludes expenditure related personal chattels (e.g. furniture) that should be reported under 'Other non-network expenditure'.
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Device | Hardware devices that access services made available by a server. May include desktop computers, laptops, tablets and thin client interfaces and handheld end user computing devices including smart phones, tablets and laptops.
Elevated work platform (HCV) | Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Elevated work platform (LCV) | (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platforms (HCV).
Heavy Commercial Vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
ICT non-recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as any ICT expenditure that is not ‘recurrent ICT capex’ (as this term is defined in this notice).
ICT recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as ICT expenditure that is related to maintaining existing services, functionalities, capability and/or market benefits, and occurs at least once every five years.
Light commercial vehicle | Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Motor vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Non-network expenditure | Includes ICT, Property, Fleet and other expenditure not directly related to the provision of network services.
Labour / non-labour expenditure split
In-house labour | Employees of the NSP
Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component.
Labour expenditure outsourced to related parties | Employees of related parties providing services to the NSP
Labour expenditure outsourced to unrelated parties | Employees of unrelated parties providing services to the NSP
Non-labour expenditure | Expenditure other than labour expenditure.
Related party (NSP) | Any entity other than the network service provider that at any time during the regulatory year: (a) had, has or is expected to have control or significant influence over the network service provider; (b) was, is or is expected to be subject to control or significant influence from the network service provider; (c) was, is or is expected to be controlled by the same entity that controlled, controls or is expect to control the network service provider —referred to as a situation in which entities are subject to common control; (d) was, is or is expected to be controlled by the same entity that significantly influenced, influences or is expected to influence the network service provider; or (e) was, is or is expected to be significantly influenced by the same entity that controlled, controls or is expected to control the network service provider. Excludes any other entity that would otherwise be related solely due to normal dealings of: financial institutions; authorised trustee corporations as prescribed in Schedule 9 of the Corporations Act 2001 (Cth); fund managers; trade unions; statutory authorities; government departments; local governments; or where any of the entities identified above have novated or assigned a contract or arrangement to or from another entity (where that contract or arrangement relates to the provision of core regulated services by the network service provider), the entity to whom that contract or arrangement has been novated or assigned.
Capex by asset class
Movements in provisions allocated to capex | The difference between the closing balance of capitalised provisions at the end of the relevant regulatory year and the opening balance of the capitalised provisions at the start of the relevant regulatory year. A positive value reflects an increase in capitalised provisions during the period, and a negative value reflects a decrease in capitalised provisions.
Capex - as incurred | As defined in the AER's Roll Forward Model.
Regulatory Asset Base (RAB) | The Regulatory Asset Base (RAB) as defined in the NER. The methodology for calculating the RAB is set out in the AER's Roll Forward Model Handbook.
Tax asset base | The tax asset base (TAB) is derived using as commissioned capital expenditure and tax depreciation values. The methodology for calculating the TAB is set out in the AER's Roll Forward Model Handbook.
Disposals | The gross proceeds from the sale of assets at an as incurred or as decommissioned basis where relevant.
Immediate expensing of capital expenditure | The value of capital expenditure, that would be added to the regulatory or tax asset base, that has been or would be treated as immediately deductible for income tax purposes (e.g. refurbishments, overheads).
Capital contributions by asset class
Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded).
Type 2 capital contributions | Any form of capital contributions received by a NSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded).
PWC undergrounding capex (equity funded) | Capex that was: (a) incurred by Power and Water Corporation pursuant to the Ministerial Direction issued by the Northern Territory Government’s Treasurer on 8 July 2019 directing Power and Water Corporation to undertake an underground power program; and (b) funded by capital funds provided by Power and Water Corporation’s shareholder, the Northern Territory Government, either directly or via its agencies.
Alternative control
Service classifications
Alternative Control Services | A distribution service that is a direct control service but not a standard control service (as defined in the NER). By way of context, Alternative Control Services are intended to capture distribution services provided at the request of, or for the benefit of, specific customers with regulatory oversight of prices.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Energy efficient public lighting | Public lighting services provided using energy efficient lamps (such as fluorescent lamps; CFL lamps and LED lamps).
Non-energy efficient public lighting | Public lighting that does not use energy efficient lamps.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals.
Legacy meter | Meter that is not a smart meter.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted Services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Capex by purpose
Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
Capital expenditure | Any expenditure that has been included in the regulatory asset base of the NSP and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with NSP. This profit may include margins, management fees or incentive payments.
Overheads expenditure
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs may include those for executive management, legal and secretariat, human resources, finance, regulatory and other corporate head office activities or departments, insurance/self-insurance, debt/equity raising costs, non-network IT support.
Replacement expenditure
Luminaire | A complete electric light unit.
Major road | Road on which the visual requirements of motorists are dominant (e.g. traffic routes). Typically the responsibility of a state or territory road authority.
Minor road | Road on which the visual requirements of pedestrians are dominant (e.g. local roads and lighting that is applicable to areas other than roads outdoor public areas, e.g. outdoor shopping). Typically the responsibility of a local Government authority.
Public lighting assets | Include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Capex by asset class
Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded).
Type 2 capital contributions | Any form of capital contributions received by a NSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded).
Metering activities
Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER.
Meter investigation | The cost to investigate a metering request at a given supply point i.e. Interval data analysis; meter malfunction; wiring transposition (polarity) investigation; contestable metering investigation and meter tampering or bypass.
Meter maintenance | The cost to repair a meter currently deployed in the field. Meter maintenance costs should include the expenditure related to operational repairs of the meter unit, not including capex.
Meter purchase | The direct material cost of purchasing the meter unit for installation or replacement. This includes the cost of delivery to DNSP’s store, including testing of equipment and inclusion of spare parts.
Meter replacement | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter testing | Routine testing, for the purposes of complying with AEMO’s metrology procedure, including the ongoing and regular maintenance testing, compliance testing and in-service testing of metering installation components initiated by the responsible person or Metering Provider to fulfil their obligations in accordance with S7.3 of the Rules.
Meter type 1-3 | High voltage meter.
Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER.
Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter.
Meter type 6 | Manually read accumulation meter.
Meter type 7 | A connection point for an unmetered customer.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
New meter installation | Has the meaning of metering installation as prescribed in the National Electricity Rules and should also include the expenditure associated with deploying refurbished meters in new meter installations.
Other metering services | Metering services which are not already included in the following meter services: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance. Meter data services, which apply to meter types 4–7 should be reported in the meter associated works category. This is not intended to capture general support or audit functions but should reflect any metering service activities not captured in other categories.
Remote meter reading | The use of remotely read interval metering infrastructure to perform meter reading and special meter reading.
Remote meter re-configuration | A change to the software in the meter that enables changes to parameters for a specific meter function. Examples of meter reconfigurations may include: (a) changing the switching times for controlled loads (b) changes associated with the installation of embedded generation and/or the premium feed-in tariff.
Special meter reading | An actual meter reading performed to support an out of cycle customer billing or consumption request.
Scheduled meter reading | An actual meter reading performed according to a predefined schedule.
Fee-based and Quoted
De-energisation | The opening of a connection in order to prevent the flow of energy to the premises.
Energisation | The closing of a connection in order to allow the flow of energy to the premises.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Other fee based services | Fee based services not included in energisation, Re-energisation or de-energisation services.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Re-energisation | The energisation of a premises after their de-energisation. Does not include alterations or new installation of meters or services.
Other services
Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary (type 1 capital contributions) or in the form of a contributed (gifted) asset (type 2 capital contributions). Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
Capital expenditure | Any expenditure that has been included in the regulatory asset base of the NSP and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with NSP. This profit may include margins, management fees or incentive payments.
Negotiated distribution services | As defined in the NER, Chapter 10.
Large projects
Large project | A large project is any project that has commenced, where the expected expenditure on the project exceeds a threshold value. The expected expenditure threshold values are: (a) For DNSPs: a project with expected total expenditure over the life of the project that exceeds either $30 million or 5% of the value of the annual revenue requirement for the first year of the relevant regulatory control period, whichever is the larger amount. (b) For TNSPs: a project with expected total expenditure over the life of the project that exceeds either $30 million or 5% of the value of the maximum allowed revenue for the first year of the relevant regulatory control period, whichever is the larger amount.
Export services
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Network monitoring capex | Capital expenditure to acquire, maintain, or improve its fixed network monitoring assets. Examples include but not limited to: implementing transformer monitors.
Other export services capex | Export services not related to ICT or network monitoring.

## Validations
Data category 07: Capital expenditure
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Distribution business | Demand Management | DMIS projects submitted for approval (business specified projects) | Text Projects listed must align with the DMIS report, and projects listed in the capex workbook
|  | DMIAM projects submitted for approval (business specified projects) | Text Projects listed must align with the DMIAM report
|  | $ | Number
≥0
NULL valid if no project listed in the row descriptor, else NULL invalid
Standard Control | Capex by purpose | Business defined purposes | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | $ | Number
≥0
NULL invalid
| Replacement expenditure | $ | Number
≥0
NULL invalid
|  | Other by: Business specified categories | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
| Connections | $ | Number
≥0
NULL invalid
| Connections - Type 1 capital contributions | $ | Number
≥0
NULL invalid
| Augmentation expenditure | $ | Number
≥0
NULL invalid
| Non-network | Information & Communications technology - Business specified categories | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | Other non-network expenditure Business descriptors | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | $ | Number
≥0
NULL invalid
| Labour / non-labour expenditure split | $ | Number
≥0
NULL invalid
| Capex by asset class | $ | Number
≥0
NULL invalid
|  | Business defined asset class | Text
Asset classes must align with the PTRM relevant to the reporting year.
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
| Capital contributions by asset class | $ | Number
≥0
NULL invalid
Alternative control | Capex by purpose | Business defined purposes | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | $ | Number
≥0
NULL invalid
| Overheads expenditure | $ | Number
≥0
NULL invalid
| Replacement expenditure | $ | Number
≥0
NULL invalid
| Capex by asset class | $ | Number
≥0
NULL invalid
| Metering activities | $ | Number
≥0
NULL invalid
| Fee based services | $ | Number
≥0
NULL invalid
|  | DNSP described fee-based service type | Free text <DNSP described fee-based service type>
Categories specified must be consistent with AER final decision in the previous year (unless services is new)
| Quoted services | $ | Number
≥0
NULL invalid
|  | DNSP described quoted service type | Free text <DNSP described quoted service type>
Categories specified must be consistent with AER final decision in the previous year (unless services is new)
Other services | Capex by purpose | Business defined purposes | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | $ | Number
≥0
NULL invalid
Large projects | Large project expenditure | Business defined Project name/ID | Text
NULL valid
|  | $ | Number
≥0
NULL invalid where Project name/ID <>""
Export services | Capex for provision of export services | $ | Number
≥0
NULL invalid

## Checks and Totals
Data category 07: Capital expenditure
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Standard Control | Capex by purpose | Standard Control Services - Including Capital Contributions | Total Standard Control Services | = | Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Total Standard Control Services | TRUE
Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Connections Expenditure - Total Standard Control Services Direct | = | Standard Control | Capex by purpose | Connections | Total Standard Control Services - Direct | TRUE
Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | ICT /Property/Fleet/ Other Non-network - Total Standard Control Services Direct | = | Standard Control | Capex by purpose | Non-network | Total Standard Control Services - Direct | TRUE
Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Replacement Capex - Total Standard Control Services Direct | = | Standard Control | Replacement Expenditure |  | Total Standard Control Services - Direct | TRUE
Standard Control | Capex by purpose | Capex by purpose (including total capital contributions) - AER defined | Export services capex | = | Export services | Capex for provision of export services |  | Total Standard Control Services | TRUE

## Distribution Business
Data category 07: Capital expenditure
| Distribution Business | [5 empty] | Actual | Estimated
Stakeholder Comments | [5 empty] | Current RIN reference | Assurance standard - Financial data
SERVICE CLASSIFICATIONS
| Demand management | Units | Audited Statutory Accounts | Regulatory Adjustments | Distribution Business
| DMIS - PROJECTS SUBMITTED FOR APPROVAL |  |  |  | 0
| <Business specified Project 1> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 2> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 3> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<additional rows allowed>
| DMIAM - PROJECTS SUBMITTED FOR APPROVAL |  |  |  | 0
| <Business specified Project 1> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
| <Business specified Project 2> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
| <Business specified Project 3> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
<additional rows allowed>

## Standard control
Data category 07: Capital expenditure
Standard control
|  |  | SERVICE CLASSIFICATIONS | [9 empty] | Actual | Estimated
Stakeholder Comments |  |  | Total Standard Control Services |  |  | Standard Control excluding Dual Function Assets |  |  | Dual Function Assets |  |  | Current RIN reference | Assurance standard - Financial data
|  | Units | Total | Direct | Indirect | Total | Direct | Indirect | Total | Direct | Indirect
Capex by purpose
| CAPEX BY PURPOSE (INCLUDING TYPE 1 AND TYPE 2 CAPITAL CONTRIBUTIONS) | $ | 0
| <Business defined purpose 1> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
<additional rows allowed>
| RELATED PARTY MARGIN |  | 0
| <Business defined purpose 1> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | 0 | 0 | [7 empty] | AR8.2.1 | ASA805 | ASRE2405
<additional rows allowed>
| CAPEX BY PURPOSE (INCLUDING TOTAL CAPITAL CONTRIBUTIONS) - AER DEFINED | $ | 0
| Replacement capex | $ | 0 | 0 | [7 empty] | CA2.1,2.2 | ASA805 | ASRE2405
| Export services capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Augmentation capex | $ | 0 | 0 | [7 empty] | CA2.1,2.3 | ASA805 | ASRE2405
| Connections capex | $ | 0 | 0 | [7 empty] | CA2.1,2.5 | ASA805 | ASRE2405
| ICT capex | $ | 0 | 0 | [7 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Property capex | $ | 0 | 0 | [7 empty] | NEW | ASA805 | ASRE2405
| Fleet capex | $ | 0 | 0 | [7 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Other Non-network capex | $ | 0 | 0 | [7 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Network overheads | $ | 0 |  | 0 | [6 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ | 0 |  | 0 | [6 empty] | CA2.1,2.10A/New CA/AR2.11 | ASA805 | ASRE2405
CAPITAL CONTRIBUTIONS BY PURPOSE - TYPE 1
| Replacement capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Export services capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Augmentation capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Connections capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| ICT capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Property capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Fleet capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Other Non-network capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Network overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
| Corporate overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
CAPITAL CONTRIBUTIONS BY PURPOSE - TYPE 2
| Replacement capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Export services capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Augmentation capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Connections capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| ICT capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Property capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Fleet capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Other Non-network capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Network overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
| Corporate overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
CAPITAL CONTRIBUTIONS BY PURPOSE - PWC UNDERGROUNDING CAPEX
| Replacement capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Export services capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Augmentation capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Connections capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| ICT capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Property capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Fleet capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Other Non-network capex | $ | 0 | 0 | [7 empty] | New | ASA805 | ASRE2405
| Network overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
| Corporate overheads | $ | 0 |  | 0 | [6 empty] | New | ASA805 | ASRE2405
Replacement expenditure
| POLES BY: HIGHEST OPERATING VOLTAGE; MATERIAL TYPE | $ |  | 0
| ˂ = 1 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Composite pole | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Pole - other technology | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| STAKING OF / STAKED WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | $ |  | 0
| ˂ = 1 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | $ |  | 0
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| OVERHEAD CONDUCTORS BY: HIGHEST OPERATING VOLTAGE; NUMBER OF PHASES (AT HV) | $ |  | 0
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; SWER | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Single-Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Multiple-Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| UNDERGROUND CABLES BY: HIGHEST OPERATING VOLTAGE | $ |  | 0
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SERVICE LINES BY: CONNECTION VOLTAGE; CUSTOMER TYPE; CONNECTION COMPLEXITY | $ |  | 0
| ˂ = 11 kV; Residential; Overhead conductor | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Commercial & Industrial; Overhead conductor | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Residential; Underground cable | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Commercial & Industrial; Underground cable | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Subdivision; Underground cable | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| TRANSFORMERS BY: MOUNTING TYPE; HIGHEST OPERATING VOLTAGE; AMPERE RATING; NUMBER OF PHASES (AT LV) | $ |  | 0
| Pole Mounted; < = 22kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; < = 60 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; < = 60 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; < = 15 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 15 MVA and < = 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; < = 15 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 15 MVA and < = 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; < = 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; > 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV; < = 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV; > 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SWITCHGEAR BY: HIGHEST OPERATING VOLTAGE; SWITCH FUNCTION | $ |  | 0
| ˂ = 11 kV; Fuse | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: FUNCTION | $ |  | 0
| Field Devices | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Local Network Wiring Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Network Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Master Station Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Site Infrastructure | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Linear Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| AFLC | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| OTHER BY: BUSINESS SPECIFIED CATEGORIES | $ |  | 0
| <Business Specified Asset Category 1> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 2> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 3> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
<additional rows allowed>
Connections
| RESIDENTIAL | $ |  | 0
Connections expenditure excluding capital contributions
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Connections expenditure including capital contributions
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| COMMERCIAL/INDUSTRIAL | $ |  | 0
Connections expenditure excluding capital contributions
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, minor HV works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at HV) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection sub-transmission | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Connections expenditure including capital contributions
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| SUBDIVISION | $ |  | 0
Connections expenditure excluding capital contributions
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (no upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (with upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Connections expenditure including capital contributions
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| EMBEDDED GENERATION | $ |  | 0
Connections expenditure excluding capital contributions
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (small capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (large capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Connections expenditure including capital contributions
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
Connections - Type 1 capital contributions
| RESIDENTIAL | $ | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| COMMERCIAL/INDUSTRIAL | $ | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, minor HV works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at HV) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection sub-transmission | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| SUBDIVISION | $ | 0
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (no upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (with upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| EMBEDDED GENERATION | $ | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (small capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (large capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Augmentation expenditure
| Subtransmission substations, switching stations, zone substations | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| Subtransmission lines | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Distribution substations
Breakdown 1
| Distribution substations | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| Distribution substations - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation augmentations - pole mounted | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Distribution substation augmentations - ground mounted | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Distribution substation augmentations - indoor | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
HV feeders
Breakdown 1
| HV feeders | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| HV feeders - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| HV feeder augmentations - overhead conductor | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| HV feeder augmentations - underground asset (cable) | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| HV feeder non-material projects | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
LV feeders
Breakdown 1
| LV feeders | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| LV feeders - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| LV feeder augmentations - overhead conductor | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| LV feeder augmentations - underground asset (cable) | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| LV feeder non-material projects | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Other assets | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Non-network
INFORMATION & COMMUNICATIONS TECHNOLOGY
| Recurrent expenditure | $ |  | 0 | [7 empty] | NEW CA/AR 2.6.1
| <Business specified Category 1> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| <Business specified Category 2> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| <Business specified Category 3> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
<additional rows allowed>
| Non-recurrent expenditure | $ |  | 0
| <Business specified Category 1> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| <Business specified Category 2> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| <Business specified Category 3> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
<additional rows allowed>
| MOTOR VEHICLES | $ |  | 0
| Car | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Light commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Elevated work platform (LCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Elevated work platform (HCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Heavy commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| BUILDINGS AND PROPERTY EXPENDITURE | $
| OTHER NON-NETWORK EXPENDITURE | $ |  | 0 | [7 empty] | CA2.6.1 | ASA805 | ASRE2405
| <Business specified Category 1> | $
| <Business specified Category 2> | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| <Business specified Category 3> | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| <additional rows allowed> | [10 empty] | CA2.6.1 | ASA805 | ASRE2405
Labour / non-labour expenditure split
| In-house labour expenditure | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Labour expenditure outsourced to related parties | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Labour expenditure outsourced to unrelated parties | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Non-labour expenditure | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
Capex by asset class
CAPEX BY ASSET CLASS - Including only Type 1 capital contributions and PWC undergrounding capex (equity funded)
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
<additional rows allowed>
MOVEMENTS IN PROVISIONS ALLOCATED TO as incurred CAPEX
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
<additional rows allowed>
CAPEX ADDITIONS TO THE RAB AND TAB
| Total | $ | 0 |  |  | 0 |  |  | 0 |  |  | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
<additional rows allowed>
DISPOSALS BY ASSET CLASS
| Total | $ | 0 |  |  | 0 |  |  | 0 |  |  | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
<additional rows allowed>
IMMEDIATE EXPENSING OF CAPEX
| Total | $ | 0 |  |  | 0 |  |  | 0 |  |  | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
<additional rows allowed>
Capital contributions by asset class
| Type 1 capital contributions | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
| Type 2 capital contributions | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
| PWC undergrounding capex (equity funded) | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
TYPE 1 CAPITAL CONTRIBUTION BY ASSET CLASS
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
<additional rows allowed>
TYPE 2 CAPITAL CONTRIBUTION BY ASSET CLASS
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
<additional rows allowed>
CAPITAL CONTRIBUTIONS BY ASSET CLASS - PWC UNDERGROUNDING CAPEX (EQUITY FUNDED)
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.8 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.8 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.8 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.8 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.8 | ASA805 | ASRE2405

## Alternative control
Data category 07: Capital expenditure
Alternative control
SERVICE CLASSIFICATIONS
Alternative Control Services
|  |  | Total | Direct | [7 empty] | Indirect
|  | Units |  | Public Lighting |  |  | Metering |  |  | Fee based services | Quoted services |  |  | Actual | Estimated
Stakeholder Comments |  |  |  | Total | Energy Efficient | Non-energy efficient | Total | Smart | Legacy |  |  |  | Current RIN reference | Assurance standard - Financial data
Capex by purpose
CAPEX BY PURPOSE (INCLUDING CAPITAL CONTRIBUTIONS)
| <Business defined purpose 1> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGIN
| <Business defined purpose 1> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.2.3 | ASA805 | ASRE2405
<additional rows allowed>
Overheads expenditure
CAPEX BY PURPOSE (INCLUDING TOTAL CAPITAL CONTRIBUTIONS) - AER DEFINED
| Network Overheads | $ | 0 | [9 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ | 0 | [9 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
Replacement expenditure
| PUBLIC LIGHTING BY: ASSET TYPE; LIGHTING OBLIGATION |  |  | 0
| Luminaires; Major Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Luminaires; Minor Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Brackets; Major Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Brackets; Minor Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Lamps; Major Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Lamps; Minor Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Poles / Columns; Major Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Poles / Columns; Minor Road | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ |  | 0 | [8 empty] | CA2.2.1 | ASA805 | ASRE2405
Capex by asset class
CAPITAL CONTRIBUTIONS BY TYPE
| Type 1 Capital Contributions | $ |  | 0 |  |  | 0 | [5 empty] | AR8.2.5(B) A | ASA805 | ASRE2405
| Type 2 Capital Contributions | $ |  | 0 |  |  | 0 | [5 empty] | AR8.2.5(B) B | ASA805 | ASRE2405
Metering activities
METER PURCHASE
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER TESTING
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER INVESTIGATION
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
SCHEDULED METER READING
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
SPECIAL METER READING
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
NEW METER INSTALLATION
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER REPLACEMENT
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER MAINTENANCE
| Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER READING
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER RE-CONFIGURATION
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
OTHER METERING
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 7 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
IT INFRASTRUCTURE CAPEX
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
COMMUNICATIONS INFRASTRUCTURE CAPEX
| Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Fee based services
| Energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| De-energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| Re-energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| Other | [11 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 1> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 2> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 3> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
| <additional rows allowed> | [11 empty] | CA4.3.1 | ASA805 | ASRE2405
Quoted services
| <DNSP described quoted service type 1> | $ | [10 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 2> | $ | [10 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 3> | $ | [10 empty] | CA4.4.1 | ASA805 | ASRE2405
<additional rows allowed>

## Other services
Data category 07: Capital expenditure
Other services
|  |  | SERVICE CLASSIFICATIONS |  | Actual | Estimated
Stakeholder Comments |  | Units | Negotiated distribution services | Current RIN reference | Assurance standard - Financial data
Capex by purpose
CAPEX BY PURPOSE (INCLUDING CAPITAL CONTRIBUTIONS)
| <Business defined purpose 1> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ |  | AR8.2.3 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGIN
| <Business defined purpose 1> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ |  | AR8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ |  | AR8.2.3 | ASA805 | ASRE2405
<additional rows allowed>

## Large projects
Data category 07: Capital expenditure
Large projects
|  |  | SERVICE CLASSIFICATIONS |  |  |  | Actual | Estimated
Stakeholder Comments | Large project expenditure |  | Total Standard Control Services |  |  | Current RIN reference | Assurance standard - Financial data
|  |  | Total | Direct | Indirect
| Project name/ID | Units
| <Business defined Project ID 1> | $ |  |  |  | NEW | ASA805 | ASRE2405
| <Business defined Project ID 2> | $ |  |  |  | NEW | ASA805 | ASRE2405
| <Business defined Project ID 3> | $ |  |  |  | NEW | ASA805 | ASRE2405
| <Business defined Project ID 4> | $ |  |  |  | NEW | ASA805 | ASRE2405
| <Business defined Project ID 5> | $ |  |  |  | NEW | ASA805 | ASRE2405
<additional rows allowed>

## Export services
Data category 07: Capital expenditure
Export services
|  |  | SERVICE CLASSIFICATIONS |  |  |  | Actual | Estimated
Stakeholder Comments |  |  | Total Standard Control Services |  |  | Current RIN reference | Assurance standard - Financial data
|  |  | Total | Direct | Indirect
Capex for provision of export services
| ICT capex | $ |  |  |  | Export Services information request 2.2 | ASRE2405 | ASRE2405
| Network monitoring capex | $ |  |  |  | Export Services information request 2.2 | ASRE2405 | ASRE2405
| Other export services capex | $ |  |  |  | Export Services information request 2.2 | ASRE2405 | ASRE2405