## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by Multinet Gas Distribution Partnership to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | Multinet Gas
| ACN/ABN |  |  | 53634214009
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | 43-45 Centreway |  |  |  |  | Address 1 | 43-45 Centreway
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | MT WAVERLEY |  |  |  |  | Suburb | MT WAVERLEY
| State |  |  | Vic |  | Post code | 3149 |  | State | 0 | Post code | 3149
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2023 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
Amended RIN Amendment Reason
|  |  | Submission Date | 2023-11-30
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 11667577.4087
Mains replacement | 15779065.85
Mains augmentation | 558998.57
Telemetry | 193205.51
Meter replacement | 1475168.3713
ICT | 1558056.46
Capitalised network overheads | 3303670.45
Capitalised corporate overheads
Other capex | 898094.83
Capital contributions included in the above | 2082679.8704
Total (less capital contributions) | 33351157.5796
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
repairs and maintenance | 13825094
marketing and retail incentives | 256283
debt raising | 704237
equity raising | -
unaccounted for gas | -
jurisdictional charges | 119894
GSL payments | 25560
other opex | 16316845
Total | 31247913
E1.2.2 - NON-REFERENCE SERVICES
Total | 0
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 615353.94
Mains replacement | 1467325.9304
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 2082679.8704
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 1334480.4344
Mains replacement | 1452594.36
Mains augmentation | 28240.63
Telemetry | 3890.9
Meter replacement | 174126.4556
ICT | 219336.54
Other capex | 91001.13
capital contributions included in the above
Total (less capital contributions) | 3303670.45
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2023
E11.3.1 - OPEX
In-house labour expenditure | 4309261
Labour expenditure outsourced to related parties | 247853
Labour expenditure outsourced to unrelated parties | 2871909
Non-labour expenditure | 23818890
Total | 31247913
E11.3.2 - CAPEX
In-house labour expenditure | 2776982.8624
Labour expenditure outsourced to related parties | 526687.5876
Labour expenditure outsourced to unrelated parties | 1657307.47
Non-labour expenditure | 28390180.08
Total | 33351158
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2023
Turn On / Reconnections | 2532
Meter Investigations | 69
Disconnections | 2092
Special meter reading | 94970
Meter Removals | 1918
Total | 101581
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2023
Turn On / Reconnections | 260311
Meter Investigations | 38619
Disconnections | 52130
Special meter reading | 534774
Meter Removals | 51893
Total | 937727
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2023
Residential | 15021460
Commercial | 2751692
Industrial | 4790592
Total | 22563744
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2023
Tariff V Res | 14826075
Tariff V Bus | 2697805
Tariff D | 4453881
Tariff L | 27882
Yarra Res | 116264
Yarra Bus | 15612
South Gipps Res | 79121
South Gipps Bus | 38275
South Gipps D | 308829
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2023
N2.1.1 - LOW PRESSURE
Cast Iron | 767.077
PVC | 427.727
Polyamide | -
High density polyethylene (80) | 6.003
High density polyethylene (100) | 5.24
High density polyethylene (250) | -
High density polyethylene (575) | 1.489
Medium density polyethylene | 12.627
Other polyethylene | -
Unprotected steel | 106.501
Protected steel | 62.543
Other
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.322
PVC | -
Polyamide | -
High density polyethylene (80) | 6.146
High density polyethylene (100) | 7.624
High density polyethylene (250) | -
High density polyethylene (575) | 219.016
Medium density polyethylene | 27.602
Other polyethylene | -
Unprotected steel | 57.792
Protected steel | 461.698
Other
N2.1.3 - HIGH PRESSURE
Cast Iron | -
PVC | -
Polyamide | -
High density polyethylene (80) | 821.196
High density polyethylene (100) | 1005.677
High density polyethylene (250) | -
High density polyethylene (575) | 1826.985
Medium density polyethylene | 1345.599
Other polyethylene | -
Unprotected steel | 84.869
Protected steel | 2657.149
Other
N2.1.4 - TRANSMISSION
Protected steel | 162.902
Other | -
TOTAL | 10073.784
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2023
City Gate | 7
Field Regulator | 101
District Regulator | 65
Total | 173
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2023
A. RESIDENTIAL
Customer numbers as at the begining of the period | 703183
Customer numbers as at the end of the period | 704536
Total customer connections | 5563
Total customer disconnections | 4210
B. COMMERCIAL
Customer numbers as at the begining of the period | 16322
Customer numbers as at the end of the period | 16341
Total customer connections | 192
Total customer disconnections | 173
C. INDUSTRIAL
Customer numbers as at the begining of the period | 285
Customer numbers as at the end of the period | 285
Total customer connections | -
Total customer disconnections | -
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2023
Tariff V Res | 690529
Tariff V Bus | 16116
Tariff D | 270
Tariff L | 12
Yarra Res | 5779
Yarra Bus | 81
South Gipps Res | 6875
South Gipps Bus | 125
South Gipps D | 3
Total | 719790
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2023
Tariff V Res | 691724
Tariff V Bus | 16134
Tariff D | 270
Tariff L | 12
Yarra Res | 5792
Yarra Bus | 81
South Gipps Res | 7020
South Gipps Bus | 126
South Gipps D | 3
Total | 721162
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2023
Tariff V Res | 5377
Tariff V Bus | 190
Tariff D | -
Tariff L | -
Yarra Res | 28
Yarra Bus | 1
South Gipps Res | 158
South Gipps Bus | 1
South Gipps D | -
Total | 5755
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2023
Tariff V Res | 4182
Tariff V Bus | 172
Tariff D | -
Tariff L | -
Yarra Res | 15
Yarra Bus | 1
South Gipps Res | 13
South Gipps Bus | -
South Gipps D | -
Total | 4383
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2023
Poor Pressure events - mains | 8
Poor Pressure events - services | 786
Poor Pressure event - meters | 663
Pressure events impacting 5+ customers
Pressure events with >12 hr resolution
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2023
Count of outage events | 1745
Outages affecting 5+ customers
Outages with >12 hr supply interuption
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2023
Count of outage events | 1947
Outages affecting 5+ customers | 20
Outages with >12 hr supply interuption | 78
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0.024769
Corrosion | 0.015643
Joint leak | 0.15513
3rd party damage | 0.0013036
Identified water in main | 0.01434
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0.0070143
Corrosion | 0.0046762
Joint leak | 0.063128
3rd party damage | 0.0046762
Identified water in main | 0.0093523
Other | 0
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.16667
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.38168
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0.079177
Other | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0093897
Corrosion | 0.056338
Joint leak | 0.046948
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.01599
Corrosion | 0.01599
Joint leak | 0.063959
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.027397
Corrosion | 0.0045662
Joint leak | 0.0045662
3rd party damage | 0
Identified water in main | 0
Other | 0.0045662
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.036232
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.017304
Joint leak | 0.017304
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.017327
Joint leak | 0.0064977
3rd party damage | 0.0043318
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.0024355
Identified water in main | 0
Other | 0.0012177
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0.00099433
Corrosion | 0.0019887
Joint leak | 0.0049717
3rd party damage | 0.0019887
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.0027367
Corrosion | 0
Joint leak | 0.0010947
3rd party damage | 0.0021894
Identified water in main | 0
Other | 0.00054735
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.0022295
3rd party damage | 0.004459
Identified water in main | 0
Other | 0.00074316
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.011779
Joint leak | 0.011779
3rd party damage | 0
Identified water in main | 0
Other | 0.011779
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0011291
Corrosion | 0.0033873
Joint leak | 0
3rd party damage | 0.0015055
Identified water in main | 0
Other | 0
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2023
Transmission and Distribution | 1359
Total | 1359
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2023
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 268
Number of Leaks - found through survey | number of leaks | 78
Repaired Leaks | number of leaks | 346
Length of network subject to survey | km | 509.82
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 1744
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 1744
Number of services surveyed | number of services
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 2933
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 2933
Number of meters surveyed | number of meters
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2023
Mains | number of instances | 21
Services | number of instances | 589
Meters | number of instances | 697
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2023
F1.1.1 - REVENUE
Distribution revenue | 95200659
Capital contributions | 3583580
Profit from sale of fixed assets
Other revenue | 420919
Total revenue | 99205158
F1.1.2 - EXPENDITURE
Operating expenditure | 26334744
Depreciation | 18910362
Net finance expenses | 23309425
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 68554531
F1.1.3 - PROFIT
Profit before tax | 30650627
Income tax expenses (/ benefit) | 9195189
Profit after tax | 21455438
F1.2 - ADJUSTMENTS
$0's, nominal
2023
F1.2.1 - REVENUE
Distribution revenue | -8858537
Capital contributions | 3583580
Profit from sale of fixed assets
Other Revenue | 420919
Total revenue | -4854038
F1.2.2 - EXPENDITURE
Operating expenditure | -4913169
Depreciation | -13681353
Net finance expenses | 761934
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | -17832588
F1.2.3 - PROFIT
Profit before tax | 12978550
Income tax expenses (/ benefit) | 3893566
Profit after tax | 9084984
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2023
F1.3.1 - REVENUE
Distribution revenue | 104059196
Capital contributions | 0
Profit from sale of fixed assets | 0
Other Revenue | 0
Total revenue | 104059196
F1.3.2 - EXPENDITURE
Operating expenditure | 31247913
Depreciation | 32591715
Net finance expenses | 22547491
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 86387119
F1.3.3 - PROFIT
Profit before tax | 17672077
Income tax expenses (/ benefit) | 5301623
Profit after tax | 12370454
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Cathodic Protection | 200214.07
Transmission and Distribution | 19090657.69
Meters | 2549706.75
IT system | 1777393
Other - Non IT | 14264.03
Land | 0
SCADA | 197096.41
Services | 11465518.98
Supply Reg/Valve Stations | 138986.52
Buildings | 0
Total | 35433837.45
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2023
Cathodic Protection | -65
Transmission and Distribution | -6228
Meters | -832
IT system | -580
Other - Non IT | -5
Land
SCADA | -64
Services | -3740
Supply Reg/Valve Stations | -45
Buildings
Total | -11559
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Cathodic Protection
Transmission and Distribution | 1467325.9304
Meters
IT system
Other - Non IT
Land
SCADA
Services | 615353.94
Supply Reg/Valve Stations
Buildings
Total | 2082679.8704
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2023
Cathodic Protection
Transmission and Distribution
Meters
IT system
Other - Non IT
Land
SCADA
Services
Supply Reg/Valve Stations
Buildings
Total | 0
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Cathodic Protection
Transmission and Distribution
Meters
IT system
Other - Non IT
Land
SCADA
Services
Supply Reg/Valve Stations
Buildings
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2023
Tariff V Res | 93732980
Tariff V Bus | 4885631
Tariff D | 894092
Tariff L | 11694
Yarra Res | 1062470
Yarra Bus | 77368
South Gipps Res | 958733
South Gipps Bus | 196705
South Gipps D | 37645
Total | 101857318
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Turn On / Reconnections | 120468
Meter Investigations | 11181
Disconnections | 118047
Special meter reading | 686630
Meter Removals | 129263
Total | 1065589
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Excess Services | 1134722
Recoverable Works | 1568
Other | 0
Total | 1136290
F3.5 - TOTAL REVENUE
2023
Total | 104059197
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2023
Opex Efficiency Mechanism Carryover | -4258824.2408
Total | -4258824.2408
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance | 11900022
marketing and retail incentives | 30688
debt raising | 0
equity raising | 0
unaccounted for gas | 0
jurisdictional charges | 119894
GSL payments | 25560
other opex | 14258580
Total | 26334744
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance | -1925072
marketing and retail incentives | -225595
debt raising | -704237
equity raising | 0
unaccounted for gas | 0
jurisdictional charges | 0
GSL payments | 0
other opex | -2058265
Total | -4913169
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance | 13825094
marketing and retail incentives | 256283
debt raising | 704237
equity raising | 0
unaccounted for gas | 0
jurisdictional charges | 119894
GSL payments | 25560
other opex | 16316845
Total | 31247913
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F6. RELATED PARTY TRANSACTIONS
F6.1 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2023
F6.1.1 - EXPENDITURE
AGI Services Pty Limited | 1335335.97 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Capex recharge | Based on the payment of tax invoice made to the related party | Reported in prior year RINs in ICT/IT Systems | Direct
AGI Services Pty Limited | 868956.39 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Maintenance recharge | Based on the payment of tax invoice made to the related party | Reported in prior year RIN in Other Opex in F4 | Direct
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
AGI Services Pty Limited | 1335335.97
AGI Services Pty Limited | 868956.39
F6.2 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2023
F6.2.1 - REVENUE
DBNGP (WA) Nominees Pty Limited | 1133907.22 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Microsoft's Cloud based infrastructure services | Based on the payment of a tax invoice received from related party | This is a recharge to the related party so does not form part of the Regulatory templates | N/A
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY Multinet Gas
DBNGP (WA) Nominees Pty Limited | 1133907.22
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2023
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2023
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT | 85.71%
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023
Total | 2.781%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2023
Provision name
Unaccounted for gas provision (GL 32200)
Opening balance (the carrying amount at the beginning of the period) | 1260519
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1260519
Provision name
Provision for separation (GL 32060)
Opening balance (the carrying amount at the beginning of the period) | 3240651.9267
Additional provisions made in the period, including increases to existing provisions
Opex component | 395689.58
Capex component | 258990.56
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -389257.42
Capex component | -158725.26
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 3347349.3867
Provision name
Employee Costs Provision (GL 31010)
Opening balance (the carrying amount at the beginning of the period) | 1740901.92
Additional provisions made in the period, including increases to existing provisions
Opex component | 565272.34
Capex component | 442505.32
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -1066046.95
Capex component | -549157.87
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1133474.76
Provision name
Property Lease Break Provision (GL 32100)
Opening balance (the carrying amount at the beginning of the period) | 488960
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 488960
Provision name
Payroll Tax (GL30305)
Opening balance (the carrying amount at the beginning of the period) | 84433.56
Additional provisions made in the period, including increases to existing provisions
Opex component | 282529.62
Capex component | 159315.95
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -255113.89
Capex component | -137854.44
Other component
Unused amounts reversed during the period
Opex component | -51703.28
Capex component | -26634.16
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 54973.36
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2023
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2023
FOR TOTAL ASSET BASE
Opening value | 1385351396.9167
Inflation addition | 29153017.6119
Straight line depreciation | 32591715.4525
Actual additions (recognised in RAB) | 34326444.8649
Disposals
Closing value | 1416239143.941
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY