## Results
Results
System Level | Δ MW | Δ Cost | ST | HV Bus | HV Net | LV Bus | LV Net | Alloc. Cost | $/kW/year | pf | $/kVA/year
ST | 21.1682 | 10.0303 | 0.22115 |  |  |  |  | 0.22115 | 10.4471 | 0.95 | 9.9247
HV Bus | 20.5883 | 25.1522 | 0.21509 | 0.55152 |  |  |  | 0.7666 | 37.2349 | 0.9 | 33.5114
HV Net | 51.0357 | 26.4421 | 0.53317 | 1.3671 | 1.4695 |  |  | 3.3698 | 66.0278 | 0.9 | 59.425
LV Bus | 234.5903 | 12.5663 | 2.4508 | 6.2842 | 6.7545 | 3.3989 |  | 18.8884 | 80.5165 | 0.9 | 72.4649
LV Net | 632.727 | 7.8153 | 6.6101 | 16.9494 | 18.2181 | 9.1674 | 7.8153 | 58.7603 | 92.8683 | 0.9 | 83.5815
Totals | 960.1096 | 82.0062 | 10.0303 | 25.1522 | 26.4421 | 12.5663 | 7.8153 | 82.0062

## Inputs
Inputs
WACC | 3.594%
Asset Life | 50
Load Factor | Description | pf
ST | Major Business Sub Transmission | 0.95
HV Bus | Major Business Zone Substation | 0.9
HV Line | HB Business | 0.9
LV Bus | Large LV Business | 0.9
LV Line | Combines Small Business and Residential | 0.9
Maximum Demand at Transmission Exit Point
ST | Major Business Sub Transmission | 73
HV Bus | Major Business Zone Substation | 71
HV Line | HB Business | 176
LV Bus | Large LV Business | 809
LV Line | Combines Small Business and Residential | 2182
3311

## AIC Calculation
Average Incremental Cost (AIC) Calculation
| WACC | 3.594%
| Life | 50
Incremental MW per annum |  |  |  |  | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
| ST |  |  |  | 2.1967 | 1.2017 | 1.931 | 1.1525 | 0.54882 | 1.4122 | 1.4367 | 0.89439 | 1.254 | 1.416 | 1.5482 | 1.7879 | 1.9437 | 1.5314 | 2.4215 | 1.1316 | 1.9401 | 1.766 | 1.839 | 0.99625
| HV Bus |  |  |  | 2.1365 | 1.1688 | 1.8781 | 1.1209 | 0.53379 | 1.3735 | 1.3973 | 0.86989 | 1.2196 | 1.3772 | 1.5057 | 1.7389 | 1.8904 | 1.4894 | 2.3551 | 1.1006 | 1.887 | 1.7176 | 1.7886 | 0.96895
| HV Line |  |  |  | 5.2962 | 2.8974 | 4.6556 | 2.7786 | 1.3232 | 3.4048 | 3.4638 | 2.1563 | 3.0233 | 3.414 | 3.7325 | 4.3105 | 4.6861 | 3.6921 | 5.838 | 2.7282 | 4.6776 | 4.2578 | 4.4337 | 2.4019
| LV Bus |  |  |  | 24.3445 | 13.318 | 21.3997 | 12.7722 | 6.0822 | 15.6505 | 15.9216 | 9.9118 | 13.8968 | 15.6926 | 17.157 | 19.8136 | 21.5401 | 16.9711 | 26.8351 | 12.5403 | 21.5009 | 19.5715 | 20.3798 | 11.0406
| LV Line |  |  |  | 65.661 | 35.9208 | 57.7184 | 34.4486 | 16.4045 | 42.2118 | 42.9431 | 26.7338 | 37.4819 | 42.3254 | 46.2751 | 53.4404 | 58.0971 | 45.7739 | 72.3784 | 33.8231 | 57.9913 | 52.7875 | 54.9676 | 29.7783
[5 empty] | 99.6349 | 54.5068 | 87.5827 | 52.2729 | 24.8925 | 64.0528 | 65.1626 | 40.5663 | 56.8755 | 64.2253 | 70.2185 | 81.0913 | 88.1575 | 69.4579 | 109.8281 | 51.3237 | 87.9969 | 80.1006 | 83.4086 | 45.186
Total Growth Related Capex June $m 2025 per annum | ST |  |  |  | 8.6416 | 8.1798 | 15.8691 | 20.023 | 5.2784 | 13.724 | 13.9985 | 14.2784 | 14.564 | 14.8553 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284
| HV Bus |  |  |  | 23.1147 | 27.8615 | 20.1232 | 23.9406 | 43.1315 | 34.4345 | 35.1232 | 35.8257 | 36.5422 | 37.273 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397 | 35.8397
| HV Line |  |  |  | 27.6644 | 27.8307 | 28.8313 | 32.5378 | 32.825 | 31.5103 | 31.5689 | 31.6286 | 31.6896 | 31.7517 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298 | 31.6298
| LV Bus |  |  |  | 14.4713 | 15.0379 | 15.6279 | 16.069 | 16.1255 | 15.5499 | 15.6011 | 15.6533 | 15.7065 | 15.7608 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543 | 15.6543
| LV Line |  |  |  | 8.7923 | 9.4441 | 9.751 | 9.9396 | 10.0788 | 9.7668 | 9.8582 | 9.9514 | 10.0465 | 10.1435 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533
[5 empty] | 82.6842 | 88.354 | 90.2026 | 102.51 | 107.4393 | 104.9855 | 106.1498 | 107.3374 | 108.5488 | 109.7844 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612 | 107.3612
Incremental Capex June $m 2025 per annum | ST |  |  |  | 0.37467 | 0.35465 | 0.68803 | 0.86812 | 0.22885 | 0.59502 | 0.60692 | 0.61906 | 0.63144 | 0.64407 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193 | 0.6193
| HV Bus |  |  |  | 1.0022 | 1.208 | 0.87247 | 1.038 | 1.87 | 1.493 | 1.5228 | 1.5533 | 1.5843 | 1.616 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539 | 1.5539
| HV Line |  |  |  | 1.1994 | 1.2066 | 1.25 | 1.4107 | 1.4232 | 1.3662 | 1.3687 | 1.3713 | 1.3739 | 1.3766 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714 | 1.3714
| LV Bus |  |  |  | 0.62742 | 0.65199 | 0.67757 | 0.69669 | 0.69914 | 0.67419 | 0.6764 | 0.67867 | 0.68097 | 0.68333 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871 | 0.67871
| LV Line |  |  |  | 0.3812 | 0.40946 | 0.42277 | 0.43094 | 0.43698 | 0.42345 | 0.42741 | 0.43146 | 0.43558 | 0.43979 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154 | 0.43154
[5 empty] | 3.5849 | 3.8307 | 3.9108 | 4.4445 | 4.6582 | 4.5518 | 4.6023 | 4.6538 | 4.7063 | 4.7598 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548 | 4.6548
Incremental Opex June $m 2025 per annum | ST |  |  |  | 0 | 0.04148 | 0.039263 | 0.076172 | 0.15833 | 0.084231 | 0.18013 | 0.21136 | 0.10654 | 0.16872 | 0.17209 | 0.17137 | 0.17342 | 0.17552 | 0.17141 | 0.17141 | 0.17141 | 0.17141 | 0.17141 | 0.17141
| HV Bus |  |  |  | 0 | 0.12772 | 0.15131 | 0.11754 | 0.31841 | 0.4453 | 0.35292 | 0.3704 | 0.51123 | 0.45234 | 0.46139 | 0.45944 | 0.46496 | 0.47058 | 0.45955 | 0.45955 | 0.45955 | 0.45955 | 0.45955 | 0.45955
| HV Line |  |  |  | 0 | 0.2224 | 0.22828 | 0.2395 | 0.6017 | 0.61727 | 0.62326 | 0.66776 | 0.67954 | 0.66497 | 0.66912 | 0.66823 | 0.67076 | 0.67334 | 0.66828 | 0.66828 | 0.66828 | 0.66828 | 0.66828 | 0.66828
| LV Bus |  |  |  | 0 | 0.097796 | 0.1017 | 0.10575 | 0.25554 | 0.26203 | 0.26428 | 0.26938 | 0.27081 | 0.26554 | 0.26669 | 0.26644 | 0.26714 | 0.26786 | 0.26646 | 0.26646 | 0.26646 | 0.26646 | 0.26646 | 0.26646
| LV Line |  |  |  | 0 | 0.056271 | 0.060443 | 0.062407 | 0.14802 | 0.15517 | 0.15612 | 0.15851 | 0.16045 | 0.15806 | 0.15956 | 0.15923 | 0.16015 | 0.16108 | 0.15925 | 0.15925 | 0.15925 | 0.15925 | 0.15925 | 0.15925
[5 empty] | 0 | 0.54567 | 0.581 | 0.60137 | 1.482 | 1.564 | 1.5767 | 1.6774 | 1.7286 | 1.7096 | 1.7289 | 1.7247 | 1.7364 | 1.7484 | 1.7249 | 1.7249 | 1.7249 | 1.7249 | 1.7249 | 1.7249
Total Incremental Costs June $m 2025 per annum | ST |  |  |  | 0.37467 | 0.39613 | 0.72729 | 0.94429 | 0.38718 | 0.67925 | 0.78705 | 0.83042 | 0.73798 | 0.81279 | 0.7914 | 0.79067 | 0.79273 | 0.79482 | 0.79071 | 0.79071 | 0.79071 | 0.79071 | 0.79071 | 0.79071
| HV Bus |  |  |  | 1.0022 | 1.3357 | 1.0238 | 1.1555 | 2.1884 | 1.9382 | 1.8757 | 1.9237 | 2.0956 | 2.0684 | 2.0153 | 2.0133 | 2.0188 | 2.0245 | 2.0134 | 2.0134 | 2.0134 | 2.0134 | 2.0134 | 2.0134
| HV Line |  |  |  | 1.1994 | 1.429 | 1.4783 | 1.6502 | 2.0249 | 1.9834 | 1.992 | 2.0391 | 2.0535 | 2.0416 | 2.0405 | 2.0396 | 2.0421 | 2.0447 | 2.0396 | 2.0396 | 2.0396 | 2.0396 | 2.0396 | 2.0396
| LV Bus |  |  |  | 0.62742 | 0.74978 | 0.77927 | 0.80244 | 0.95468 | 0.93622 | 0.94069 | 0.94805 | 0.95178 | 0.94887 | 0.9454 | 0.94515 | 0.94586 | 0.94657 | 0.94517 | 0.94517 | 0.94517 | 0.94517 | 0.94517 | 0.94517
| LV Line |  |  |  | 0.3812 | 0.46573 | 0.48321 | 0.49335 | 0.585 | 0.57862 | 0.58353 | 0.58997 | 0.59603 | 0.59784 | 0.5911 | 0.59077 | 0.59169 | 0.59262 | 0.59079 | 0.59079 | 0.59079 | 0.59079 | 0.59079 | 0.59079
[5 empty] | 3.5849 | 4.3764 | 4.4918 | 5.0458 | 6.1402 | 6.1158 | 6.179 | 6.3312 | 6.4348 | 6.4695 | 6.3836 | 6.3795 | 6.3912 | 6.4032 | 6.3797 | 6.3797 | 6.3797 | 6.3797 | 6.3797 | 6.3797
Demand NPV Calculation MW
| ST |  |  | 21.1682
| HV Bus |  |  | 20.5883
| HV Line |  |  | 51.0357
| LV Bus |  |  | 234.5903
| LV Line |  |  | 632.727
960.1096
Total Incremental Cost NPV $m
| ST |  |  | 10.0303
| HV Bus |  |  | 25.1522
| HV Line |  |  | 26.4421
| LV Bus |  |  | 12.5663
| LV Line |  |  | 7.8153
82.0062
| AIC 20 Years | Δ MW Total | 960.1096 | 938.9413 | 2025/26: 918.3531; 2026/27: 867.3173; 2027/28: 632.727; 2033/34: Value Step Increment
|  | Δ Cost Total | 10.0303 | 25.1522 | 2025/26: 26.4421; 2026/27: 12.5663; 2027/28: 7.8153; 2028/29: 82.0062
|  | Δ MW | ST | HV Bus | 2025/26: HV Net; 2026/27: LV Bus; 2027/28: LV Net; 2028/29: Alloc.; 2029/30: $/kW/year; 2030/31: pf; 2031/32: $/kVA/year; 2033/34: $/kW; 2034/35: $/kVA; 2035/36: Total
| ST | 21.1682 | 0.22115 |  | 2028/29: 0.22115; 2029/30: 10.4471; 2030/31: 0.95; 2031/32: 9.9247; 2033/34: 10.4471; 2034/35: 9.9247; 2035/36: 9.9247
| HV Bus | 20.5883 | 0.21509 | 0.55152 | 2028/29: 0.7666; 2029/30: 37.2349; 2030/31: 0.9; 2031/32: 33.5114; 2033/34: 26.7878; 2034/35: 23.5867; 2035/36: 33.5114
| HV Net | 51.0357 | 0.53317 | 1.3671 | 2025/26: 1.4695; 2028/29: 3.3698; 2029/30: 66.0278; 2030/31: 0.9; 2031/32: 59.425; 2033/34: 28.7929; 2034/35: 25.9136; 2035/36: 59.425
| LV Bus | 234.5903 | 2.4508 | 6.2842 | 2025/26: 6.7545; 2026/27: 3.3989; 2028/29: 18.8884; 2029/30: 80.5165; 2030/31: 0.9; 2031/32: 72.4649; 2033/34: 14.4887; 2034/35: 13.0398; 2035/36: 72.4649
| LV Net | 632.727 | 6.6101 | 16.9494 | 2025/26: 18.2181; 2026/27: 9.1674; 2027/28: 7.8153; 2028/29: 58.7603; 2029/30: 92.8683; 2030/31: 0.9; 2031/32: 83.5815; 2033/34: 12.3517; 2034/35: 11.1166; 2035/36: 83.5815
|  | 960.1096 | 10.0303 | 25.1522 | 2025/26: 26.4421; 2026/27: 12.5663; 2027/28: 7.8153; 2028/29: 82.0062

## Augmentation Capex
Augmentation Capex June $ 2025
| 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
[13 empty] | Sub-Trans | Zone S/Stn | HV Feeder | Dist T/F | LV Feeder | Not Cap
Connection Point Capacity | 8806.9762 | 11396.5029 | 2465.277 | 14055.9936 | 23094.5972 | 18575 | 18946.5 | 19325.43 | 19711.9386 | 20106.1774 |  |  |  | 100% |  |  |  | 0%
LV & Distribution Transformers (QoS BAU) | 5659.6352 | 6978.1763 | 7190.9753 | 7217.8835 | 7569.9754 | 7326 | 7472.52 | 7621.9704 | 7774.4098 | 7929.898 | [5 empty] | 20% | 40% | 40%
Distribution Feeders | 703.3731 | 209.6947 | 11.3183 | 2766.2902 | 3091.9893 | 2929 | 2987.58 | 3047.3316 | 3108.2782 | 3170.4438 |  |  |  |  | 100% |  |  | 0%
Strategic Network Capacity (Other) | 4776.5114 | 3192.9154 | 3200.273 | 3209.656 | 4830.3695 | 3747 | 3821.94 | 3898.3788 | 3976.3464 | 4055.8733 |  |  | 0% | 100% | 0% |  |  | 0%
Substation Capacity | 9531.2088 | 11473.4602 | 12652.3635 | 6444.7996 | 14975.165 | 11357 | 11584.14 | 11815.8228 | 12052.1393 | 12293.182 |  |  |  | 100% |  |  |  | 0%
Subtransmission Network | 8641.563 | 8179.8065 | 15869.1438 | 20022.9682 | 5278.4437 | 13724 | 13998.48 | 14278.4496 | 14564.0186 | 14855.299 |  |  | 100% |  |  |  |  | 0%
Voltage Regulation | 0 | 247.2998 | 248.212 | 0 | 0 | 83 | 84.66 | 86.3532 | 88.0803 | 89.8419 |  |  |  | 50% |  |  |  | 50%
Land | 0 | 1674.9861 | 1681.1645 | 230.199 | 231.4112 | 714 | 728.28 | 742.8456 | 757.7025 | 772.8566 |  |  |  | 100% |  |  |  | 0%
LV Two Way Network (QoS) | 2710.821 | 2718.1204 | 2724.3839 | 2732.3716 | 2741.3872 | 2733 | 2787.66 | 2843.4132 | 2900.2815 | 2958.2871 | [5 empty] | 40% | 60% | 0%
Customer Connection net | 49020 | 50220 | 52400 | 54130 | 54060 | 51966 | 51966 | 51966 | 51966 | 51966 |  |  |  |  | 55% | 25% | 10% | 10%
Total $ '000 | 89850.0886 | 96290.9624 | 98443.1114 | 110810.1617 | 115873.3384 | 113154 | 114377.76 | 115625.9952 | 116899.1951 | 118197.859
Sub-Trans | 8641.563 | 8179.8065 | 15869.1438 | 20022.9682 | 5278.4437 | 13724 | 13998.48 | 14278.4496 | 14564.0186 | 14855.299
Zone S/Stn | 23114.6963 | 27861.5145 | 20123.184 | 23940.6482 | 43131.5429 | 34434.5 | 35123.19 | 35825.6538 | 36542.1669 | 37273.0102
HV Feeder | 27664.3731 | 27830.6947 | 28831.3183 | 32537.7902 | 32824.9893 | 31510.3 | 31568.88 | 31628.6316 | 31689.5782 | 31751.7438
Dist T/F | 14471.2554 | 15037.8834 | 15627.9486 | 16069.0254 | 16125.5499 | 15549.9 | 15601.068 | 15653.2594 | 15706.4945 | 15760.7944
LV Feeder | 8792.3467 | 9444.1428 | 9751.0205 | 9939.5764 | 10078.8225 | 9766.8 | 9858.204 | 9951.4361 | 10046.5328 | 10143.5315
Total Augmentation Capex $ '000 | 82684.2345 | 88354.042 | 90202.6153 | 102510.0083 | 107439.3483 | 104985.5 | 106149.822 | 107337.4304 | 108548.791 | 109784.3789
Not augmentation $ '000 | 7165.8541 | 7936.9204 | 8240.4961 | 8300.1534 | 8433.9902 | 8168.5 | 8227.938 | 8288.5648 | 8350.4041 | 8413.4801
| 89850.0886 | 96290.9624 | 98443.1114 | 110810.1617 | 115873.3384 | 113154 | 114377.76 | 115625.9952 | 116899.1951 | 118197.859
Sub-Trans | 8641.563 | 8179.8065 | 15869.1438 | 20022.9682 | 5278.4437 | 13724 | 13998.48 | 14278.4496 | 14564.0186 | 14855.299
Zone S/Stn | 23114.6963 | 27861.5145 | 20123.184 | 23940.6482 | 43131.5429 | 34434.5 | 35123.19 | 35825.6538 | 36542.1669 | 37273.0102
HV Feeder | 27664.3731 | 27830.6947 | 28831.3183 | 32537.7902 | 32824.9893 | 31510.3 | 31568.88 | 31628.6316 | 31689.5782 | 31751.7438
Dist T/F | 14471.2554 | 15037.8834 | 15627.9486 | 16069.0254 | 16125.5499 | 15549.9 | 15601.068 | 15653.2594 | 15706.4945 | 15760.7944
LV Feeder | 8792.3467 | 9444.1428 | 9751.0205 | 9939.5764 | 10078.8225 | 9766.8 | 9858.204 | 9951.4361 | 10046.5328 | 10143.5315
Augmentation Capex $ '000 | 82684.2345 | 88354.042 | 90202.6153 | 102510.0083 | 107439.3483 | 104985.5 | 106149.822 | 107337.4304 | 108548.791 | 109784.3789
| 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
Sub-Trans | 8641562.973 | 8179806.5008 | 15869143.8413 | 20022968.202 | 5278443.7092 | 13724000 | 13998480 | 14278449.6 | 14564018.592 | 14855298.9638 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312 | 14284049.4312
Zone S/Stn | 23114696.3212 | 27861514.5277 | 20123184.0148 | 23940648.1521 | 43131542.871 | 34434500 | 35123190 | 35825653.8 | 36542166.876 | 37273010.2135 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779 | 35839704.1779
HV Feeder | 27664373.1402 | 27830694.7215 | 28831318.2989 | 32537790.1678 | 32824989.295 | 31510300 | 31568880 | 31628631.6 | 31689578.232 | 31751743.7966 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257 | 31629826.7257
Dist T/F | 14471255.4301 | 15037883.4324 | 15627948.6409 | 16069025.3561 | 16125549.9433 | 15549900 | 15601068 | 15653259.36 | 15706494.5472 | 15760794.4381 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691 | 15654303.2691
LV Feeder | 8792346.6683 | 9444142.7766 | 9751020.4943 | 9939576.3853 | 10078822.4539 | 9766800 | 9858204 | 9951436.08 | 10046532.8016 | 10143531.4576 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678 | 9953300.8678
Augmentation Capex $ | 82684234.5328 | 88354041.959 | 90202615.2903 | 102510008.2633 | 107439348.2724 | 104985500 | 106149822 | 107337430.44 | 108548791.0488 | 109784378.8698 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717 | 107361184.4717

## Replacement Capex
Replacement Capex June $ 2025
| 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
[13 empty] | Sub-Trans | Zone S/Stn | HV Feeder | Dist T/F | LV Feeder | Not Aug
Planned
Cable Replacement - Planned | 6.3615 | 9.912 | 13.4728 | 17.0538 | 20.656 | 18.9 | 19.278 | 19.6636 | 20.0568 | 20.458 |  |  |  |  | 10% |  |  | 90%
Conductor Replacement - Planned | 8.6649 | 12.4849 | 16.3155 | 20.1686 | 24.0451 | 22.1 | 22.542 | 22.9928 | 23.4527 | 23.9218 |  |  |  |  | 10% |  |  | 90%
Transformers - Planned | 3.8132 | 4.1031 | 4.3929 | 4.6859 | 4.9815 | 4.8 | 4.896 | 4.9939 | 5.0938 | 5.1957 | [5 empty] | 10% |  | 90%
Cable Replacement - Unplanned | 55.8336 | 55.9895 | 56.1233 | 56.2938 | 56.4864 | 56.4 | 57.528 | 58.6786 | 59.8521 | 61.0492 |  |  |  |  | 10% |  |  | 90%
Transformers - Unplanned | 4.2811 | 4.4188 | 4.5553 | 4.6956 | 4.8384 | 4.8 | 4.896 | 4.9939 | 5.0938 | 5.1957 | [5 empty] | 10% |  | 90%
Circuit Breakers Planned Replacement | 15.9371 | 15.9806 | 16.018 | 16.0656 | 16.1194 | 16.1 | 16.422 | 16.7504 | 17.0854 | 17.4272 |  |  |  | 10% |  |  |  | 90%
Circuit Breakers Planned Refurb | 0.36084 | 0.36183 | 0.36267 | 0.36375 | 0.36497 | 0.4 | 0.408 | 0.41616 | 0.42448 | 0.43297 |  |  |  | 10% |  |  |  | 90%
Substation Transformer Repl. | 4.9098 | 4.9232 | 4.9347 | 4.9494 | 4.9659 | 5 | 5.1 | 5.202 | 5.306 | 5.4122 |  |  |  | 10% |  |  |  | 90%
TF Refurb (18665 & 18977) | 2.0503 | 2.0559 | 2.0607 | 2.0668 | 2.0738 | 2.1 | 2.142 | 2.1848 | 2.2285 | 2.2731 |  |  |  | 10% |  |  |  | 90%
Northfield 66kV GIS Switchboard replacement | 2025/26: 11.6744; 2026/27: 2.1284; 2027/28: 0; 2028/29: 0; 2029/30: 0 |  |  |  | 10% |  |  |  | 90%
Hindley St replacement | 2025/26: 0; 2026/27: 11.1741; 2027/28: 20.2671; 2028/29: 1.3908; 2029/30: 0 |  |  |  | 10% |  |  |  | 90%
Replace/Refurbish Total $m | 113.8868 | 123.5324 | 138.503 | 127.7341 | 134.5315 | 130.6 | 133.212 | 135.8762 | 138.5938 | 141.3656
Sub-Trans | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone S/Stn | 3.4932 | 3.6624 | 4.3643 | 2.4836 | 2.3524 | 2.36 | 2.4072 | 2.4553 | 2.5045 | 2.5545
HV Feeder | 7.086 | 7.8386 | 8.5912 | 9.3516 | 10.1188 | 9.74 | 9.9348 | 10.1335 | 10.3362 | 10.5429
Dist T/F | 0.80943 | 0.85219 | 0.89483 | 0.93815 | 0.98199 | 0.96 | 0.9792 | 0.99878 | 1.0188 | 1.0391
LV Feeder | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11.3887 | 12.3532 | 13.8503 | 12.7734 | 13.4531 | 13.06 | 13.3212 | 13.5876 | 13.8594 | 14.1366
Not Augmentation $m | 102.4981 | 111.1792 | 124.6527 | 114.9607 | 121.0783 | 117.54 | 119.8908 | 122.2886 | 124.7344 | 127.2291
Sub-Trans | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone S/Stn | 3.4932 | 3.6624 | 4.3643 | 2.4836 | 2.3524 | 2.36 | 2.4072 | 2.4553 | 2.5045 | 2.5545
HV Feeder | 7.086 | 7.8386 | 8.5912 | 9.3516 | 10.1188 | 9.74 | 9.9348 | 10.1335 | 10.3362 | 10.5429
Dist T/F | 0.80943 | 0.85219 | 0.89483 | 0.93815 | 0.98199 | 0.96 | 0.9792 | 0.99878 | 1.0188 | 1.0391
LV Feeder | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Augmentation Capex $m | 11.3887 | 12.3532 | 13.8503 | 12.7734 | 13.4531 | 13.06 | 13.3212 | 13.5876 | 13.8594 | 14.1366
Replacement Augmentation | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
Sub-Trans | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone S/Stn | 3493.238 | 3662.4089 | 4364.3172 | 2483.6375 | 2352.4005 | 2360 | 2407.2 | 2455.344 | 2504.4509 | 2554.5399 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307 | 2456.307
HV Feeder | 7086.0076 | 7838.6414 | 8591.1558 | 9351.6236 | 10118.7511 | 9740 | 9934.8 | 10133.496 | 10336.1659 | 10542.8892 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702 | 10137.4702
Dist T/F | 809.4329 | 852.1901 | 894.8261 | 938.1467 | 981.995 | 960 | 979.2 | 998.784 | 1018.7597 | 1039.1349 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757 | 999.1757
LV Feeder | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Augmentation Capex $ '000 | 11388.6786 | 12353.2403 | 13850.2991 | 12773.4078 | 13453.1465 | 13060 | 13321.2 | 13587.624 | 13859.3765 | 14136.564 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529 | 13592.9529

## Opex
Opex June $ 2025
Opex proportions by voltage
Voltage | Proportion | Opex profile for new assets
ST | 1.2%
HV bus | 1.2% | Year | 0 | 1 | 2 | 3 | 4
HV net | 1.6% | Proportion | 0% | 40% | 40% | 40% | 100%
LV bus | 1.6% | Lag | -4 | -3 | -2 | -1 | 0
LV net | 1.6% | Annual Proportion | 60% | 0% | 0% | 40% | 0%
|  |  |  | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
Total Growth Related Capex $m
ST |  |  |  | 8.6416 | 8.1798 | 15.8691 | 20.023 | 5.2784 | 13.724 | 13.9985 | 14.2784 | 14.564 | 14.8553 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284 | 14.284
HV Bus |  |  |  | 26.6079 | 31.5239 | 24.4875 | 26.4243 | 45.4839 | 36.7945 | 37.5304 | 38.281 | 39.0466 | 39.8276 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296 | 38.296
HV Net |  |  |  | 34.7504 | 35.6693 | 37.4225 | 41.8894 | 42.9437 | 41.2503 | 41.5037 | 41.7621 | 42.0257 | 42.2946 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673 | 41.7673
LV Bus |  |  |  | 15.2807 | 15.8901 | 16.5228 | 17.0072 | 17.1075 | 16.5099 | 16.5803 | 16.652 | 16.7253 | 16.7999 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535 | 16.6535
LV Net |  |  |  | 8.7923 | 9.4441 | 9.751 | 9.9396 | 10.0788 | 9.7668 | 9.8582 | 9.9514 | 10.0465 | 10.1435 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533 | 9.9533
Total |  |  |  | 94.0729 | 100.7073 | 104.0529 | 115.2834 | 120.8925 | 118.0455 | 119.471 | 120.9251 | 122.4082 | 123.9209 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541 | 120.9541
Total Incremental Opex $m
ST |  |  |  | 0 | 0.04148 | 0.039263 | 0.076172 | 0.15833 | 0.084231 | 0.18013 | 0.21136 | 0.10654 | 0.16872 | 0.17209 | 0.17137 | 0.17342 | 0.17552 | 0.17141 | 0.17141 | 0.17141 | 0.17141 | 0.17141 | 0.17141
HV Bus |  |  |  | 0 | 0.12772 | 0.15131 | 0.11754 | 0.31841 | 0.4453 | 0.35292 | 0.3704 | 0.51123 | 0.45234 | 0.46139 | 0.45944 | 0.46496 | 0.47058 | 0.45955 | 0.45955 | 0.45955 | 0.45955 | 0.45955 | 0.45955
HV Net |  |  |  | 0 | 0.2224 | 0.22828 | 0.2395 | 0.6017 | 0.61727 | 0.62326 | 0.66776 | 0.67954 | 0.66497 | 0.66912 | 0.66823 | 0.67076 | 0.67334 | 0.66828 | 0.66828 | 0.66828 | 0.66828 | 0.66828 | 0.66828
LV Bus |  |  |  | 0 | 0.097796 | 0.1017 | 0.10575 | 0.25554 | 0.26203 | 0.26428 | 0.26938 | 0.27081 | 0.26554 | 0.26669 | 0.26644 | 0.26714 | 0.26786 | 0.26646 | 0.26646 | 0.26646 | 0.26646 | 0.26646 | 0.26646
LV Net |  |  |  | 0 | 0.056271 | 0.060443 | 0.062407 | 0.14802 | 0.15517 | 0.15612 | 0.15851 | 0.16045 | 0.15806 | 0.15956 | 0.15923 | 0.16015 | 0.16108 | 0.15925 | 0.15925 | 0.15925 | 0.15925 | 0.15925 | 0.15925
Total |  |  |  | 0 | 0.54567 | 0.581 | 0.60137 | 1.482 | 1.564 | 1.5767 | 1.6774 | 1.7286 | 1.7096 | 1.7289 | 1.7247 | 1.7364 | 1.7484 | 1.7249 | 1.7249 | 1.7249 | 1.7249 | 1.7249 | 1.7249

## Demand Summary
Demand Forecast
ST | Major Business sub-transmission | 73 | 2.205%
HV Bus | Major Business zone s/stn | 71 | 2.144%
HV Line | HV business | 176 | 5.316%
LV Bus | Large LV business | 809 | 24.43%
LV Line | Combines Small Business and Residential | 2182 | 65.9%
3311
System Maximum Demand |  |  | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
Maximum Demand (MW) |  |  | 3168.6084 | 3268.2433 | 3322.7501 | 3410.3328 | 3462.6057 | 3487.4982 | 3551.551 | 3616.7135 | 3657.2798 | 3714.1553 | 3778.3806 | 3848.5991 | 3929.6904 | 4017.8479 | 4087.3058 | 4197.1339 | 4248.4576 | 4336.4545 | 4416.5551 | 4499.9637 | 4545.1497
Variance |  |  | 3168.6084 | 99.6349 | 54.5068 | 87.5827 | 52.2729 | 24.8925 | 64.0528 | 65.1626 | 40.5663 | 56.8755 | 64.2253 | 70.2185 | 81.0913 | 88.1575 | 69.4579 | 109.8281 | 51.3237 | 87.9969 | 80.1006 | 83.4086 | 45.186
Maximum Demand MW split by voltage level |  |  | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
ST |  |  | 69.8606 | 72.0573 | 73.2591 | 75.1901 | 76.3426 | 76.8914 | 78.3036 | 79.7403 | 80.6347 | 81.8887 | 83.3047 | 84.8528 | 86.6407 | 88.5844 | 90.1158 | 92.5372 | 93.6688 | 95.6089 | 97.375 | 99.2139 | 100.2102
HV Bus |  |  | 67.9466 | 70.0831 | 71.252 | 73.1301 | 74.251 | 74.7848 | 76.1583 | 77.5556 | 78.4255 | 79.6451 | 81.0224 | 82.5281 | 84.267 | 86.1574 | 87.6468 | 90.002 | 91.1025 | 92.9895 | 94.7072 | 96.4957 | 97.4647
HV line |  |  | 168.431 | 173.7272 | 176.6246 | 181.2801 | 184.0588 | 185.382 | 188.7868 | 192.2506 | 194.4069 | 197.4302 | 200.8442 | 204.5767 | 208.8872 | 213.5733 | 217.2654 | 223.1035 | 225.8316 | 230.5092 | 234.767 | 239.2007 | 241.6026
LV Bus |  |  | 774.2085 | 798.553 | 811.871 | 833.2707 | 846.0429 | 852.125 | 867.7755 | 883.6971 | 893.609 | 907.5058 | 923.1984 | 940.3554 | 960.169 | 981.7091 | 998.6803 | 1025.5154 | 1038.0556 | 1059.5565 | 1079.1281 | 1099.5079 | 1110.5485
LV line |  |  | 2088.1618 | 2153.8227 | 2189.7435 | 2247.4619 | 2281.9105 | 2298.315 | 2340.5268 | 2383.4699 | 2410.2037 | 2447.6856 | 2490.011 | 2536.2861 | 2589.7265 | 2647.8237 | 2693.5975 | 2765.9759 | 2799.799 | 2857.7903 | 2910.5778 | 2965.5454 | 2995.3237
Total |  |  | 3168.6084 | 3268.2433 | 3322.7501 | 3410.3328 | 3462.6057 | 3487.4982 | 3551.551 | 3616.7135 | 3657.2798 | 3714.1553 | 3778.3806 | 3848.5991 | 3929.6904 | 4017.8479 | 4087.3058 | 4197.1339 | 4248.4576 | 4336.4545 | 4416.5551 | 4499.9637 | 4545.1497
Annual Demand increment MW by voltage level |  |  |  | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2040/41 | 2041/42 | 2042/43 | 2043/44 | 2044/45
ST |  |  |  | 2.1967 | 1.2017 | 1.931 | 1.1525 | 0.54882 | 1.4122 | 1.4367 | 0.89439 | 1.254 | 1.416 | 1.5482 | 1.7879 | 1.9437 | 1.5314 | 2.4215 | 1.1316 | 1.9401 | 1.766 | 1.839 | 0.99625
HV Bus |  |  |  | 2.1365 | 1.1688 | 1.8781 | 1.1209 | 0.53379 | 1.3735 | 1.3973 | 0.86989 | 1.2196 | 1.3772 | 1.5057 | 1.7389 | 1.8904 | 1.4894 | 2.3551 | 1.1006 | 1.887 | 1.7176 | 1.7886 | 0.96895
HV Line |  |  |  | 5.2962 | 2.8974 | 4.6556 | 2.7786 | 1.3232 | 3.4048 | 3.4638 | 2.1563 | 3.0233 | 3.414 | 3.7325 | 4.3105 | 4.6861 | 3.6921 | 5.838 | 2.7282 | 4.6776 | 4.2578 | 4.4337 | 2.4019
LV Bus |  |  |  | 24.3445 | 13.318 | 21.3997 | 12.7722 | 6.0822 | 15.6505 | 15.9216 | 9.9118 | 13.8968 | 15.6926 | 17.157 | 19.8136 | 21.5401 | 16.9711 | 26.8351 | 12.5403 | 21.5009 | 19.5715 | 20.3798 | 11.0406
LV Line |  |  |  | 65.661 | 35.9208 | 57.7184 | 34.4486 | 16.4045 | 42.2118 | 42.9431 | 26.7338 | 37.4819 | 42.3254 | 46.2751 | 53.4404 | 58.0971 | 45.7739 | 72.3784 | 33.8231 | 57.9913 | 52.7875 | 54.9676 | 29.7783
Total |  |  |  | 99.6349 | 54.5068 | 87.5827 | 52.2729 | 24.8925 | 64.0528 | 65.1626 | 40.5663 | 56.8755 | 64.2253 | 70.2185 | 81.0913 | 88.1575 | 69.4579 | 109.8281 | 51.3237 | 87.9969 | 80.1006 | 83.4086 | 45.186

## ESOO 2022 Summary
ESOO 2022 Maximum Demand
| Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central | Central
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
ElectricVehicles | 3.521 | 6.7165 | 14.9442 | 26.5803 | 42.2867 | 64.6276 | 84.5802 | 129.8754 | 136.1343 | 177.7419 | 211.3724 | 238.2838 | 312.748 | 319.1294 | 373.8973 | 345.6572 | 428.0522 | 453.5438 | 478.5506 | 502.234 | 524.3786 | 587.5416
Electrification | 81.8977 | 140.9262 | 204.8947 | 254.8781 | 280.1368 | 303.278 | 324.2499 | 353.4972 | 378.461 | 403.6435 | 429.2519 | 454.0783 | 479.8278 | 504.951 | 549.2109 | 572.7776 | 609.2156 | 620.7015 | 648.8297 | 667.4692 | 686.8709 | 706.1162
Residential Business | 2999.8613 | 3020.9657 | 3048.4045 | 3041.2917 | 3087.9093 | 3094.7 | 3078.668 | 3068.1783 | 3102.1183 | 3075.8944 | 3073.531 | 3086.0184 | 3056.0233 | 3105.61 | 3094.7397 | 3168.8711 | 3159.8661 | 3174.2124 | 3209.0742 | 3246.8519 | 3288.7142 | 3251.4919
Total Demand for LRMC Calculation | 3085.2799 | 3168.6084 | 3268.2433 | 3322.7501 | 3410.3328 | 3462.6057 | 3487.4982 | 3551.551 | 3616.7135 | 3657.2798 | 3714.1553 | 3778.3806 | 3848.5991 | 3929.6904 | 4017.8479 | 4087.3058 | 4197.1339 | 4248.4576 | 4336.4545 | 4416.5551 | 4499.9637 | 4545.1497