## _@RISKFitInformation (hidden)
Created By Version | 6.3.0
Required Version | 5.0.0
Recommended Version | 6.0.0
Modified By Version | 6.3.0
Count | 13
GUID | Name | Range | CRC | Options | Comp. Graph Serialization | PP Graph Serialization | QQ Graph Serialization | Unsued | Fixed Params | Bootstrap Options | BootstrapParamGraphSerialization | BatchFit Options | BootstrapGOFGraphSerialization | FitSelector
FIT_AB370_6C441 | A | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgClAQwjACYANABpAH0AfgCMAJoAfwGhAZsBKgD//wAAAAAAAQQAAAAAAAAAAAEURml0IENvbXBhcmlzb24gZm9yIEEBG1Jpc2tVbmlmb3JtKDQuOTEyNSwxMy40MTc1KQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAAq5AAHHAADXAADsAAABAQAWAQArAQBAAQBVAQBqAQAMAAVJbnB1dAAAJQECAA4AB1VuaWZvcm0AAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCHAZEBAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 0 1000 .95 |  |  |  | 4 | TRUE
FIT_D8145_250FD | Transmission line outage - fault | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDEAQwjACYANACIAJwAnQCrALkAngHAAboBKgD//wAAAAAAAQQAAAAAAAAAAAEzRml0IENvbXBhcmlzb24gZm9yIFRyYW5zbWlzc2lvbiBsaW5lIG91dGFnZSAtIGZhdWx0ARtSaXNrV2VpYnVsbCg2LjMxNTYsMC4xODY5NikBARAAAgABClN0YXRpc3RpY3MDAQEA/wEBAQEBAAEBAQAEAAAAAQEBAQEAAQEBAAQAAAAK2AAB5gAA9gAACwEAIAEANQEASgEAXwEAdAEAiQEADAAFSW5wdXQAACUBAgAOAAdXZWlidWxsAAEvAQIAEwAMVW51c2VkIEN1cnZlAAJPAQIAEwAMVW51c2VkIEN1cnZlAAOMAQIAEwAMVW51c2VkIEN1cnZlAARMAQIAEwAMVW51c2VkIEN1cnZlAAU5AQIAEwAMVW51c2VkIEN1cnZlAAZOAQIAEwAMVW51c2VkIEN1cnZlAAcjAQIAEwAMVW51c2VkIEN1cnZlAAgpAQIAEwAMVW51c2VkIEN1cnZlAAlgAQIApgGwAQEBAgGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_7C184_48ED9 | Transformer outage – fault | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDAAQwjACYANACEAJgAmQCnALUAmgG8AbYBKgD//wAAAAAAAQQAAAAAAAAAAAEvRml0IENvbXBhcmlzb24gZm9yIFRyYW5zZm9ybWVyIG91dGFnZSDigJMgZmF1bHQBG1Jpc2tXZWlidWxsKDQuNzE4OCwwLjEyODU2KQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArUAAHiAADyAAAHAQAcAQAxAQBGAQBbAQBwAQCFAQAMAAVJbnB1dAAAJQECAA4AB1dlaWJ1bGwAAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCiAawBAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_6046A_B0EEE | Reactive plant – fault | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgC9AQwjACYANACAAJQAlQCjALEAlwG5AbMBKgD//wAAAAAAAQQAAAAAAAAAAAErRml0IENvbXBhcmlzb24gZm9yIFJlYWN0aXZlIHBsYW50IOKAkyBmYXVsdAEbUmlza1BlYXJzb241KDIxLjk3NSw0LjE1NDkpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACtAAAd4AAO8AAAQBABkBAC4BAEMBAFgBAG0BAIIBAAwABUlucHV0AAAlAQIADwAIUGVhcnNvbjUAAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCfAakBAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_77728_A3A06 | Transmission line outage – forced outage | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDJAQwjACYANACNAKEAogCwAL4AowHFAb8BKgD//wAAAAAAAQQAAAAAAAAAAAE9Rml0IENvbXBhcmlzb24gZm9yIFRyYW5zbWlzc2lvbiBsaW5lIG91dGFnZSDigJMgZm9yY2VkIG91dGFnZQEWUmlza1VuaWZvcm0oMCwwLjIxNjk0KQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArdAAHrAAD7AAAQAQAlAQA6AQBPAQBkAQB5AQCOAQAMAAVJbnB1dAAAJQECAA4AB1VuaWZvcm0AAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCrAbUBAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_89E92_3A95F | Transformer outage – forced outage | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDIAQwjACYANACMAKAAoQCvAL0AogHEAb4BKgD//wAAAAAAAQQAAAAAAAAAAAE3Rml0IENvbXBhcmlzb24gZm9yIFRyYW5zZm9ybWVyIG91dGFnZSDigJMgZm9yY2VkIG91dGFnZQEbUmlza1dlaWJ1bGwoNS4yNTk0LDAuMTI4NzUpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACtwAAeoAAPoAAA8BACQBADkBAE4BAGMBAHgBAI0BAAwABUlucHV0AAAlAQIADgAHV2VpYnVsbAABLwECABMADFVudXNlZCBDdXJ2ZQACTwECABMADFVudXNlZCBDdXJ2ZQADjAECABMADFVudXNlZCBDdXJ2ZQAETAECABMADFVudXNlZCBDdXJ2ZQAFOQECABMADFVudXNlZCBDdXJ2ZQAGTgECABMADFVudXNlZCBDdXJ2ZQAHIwECABMADFVudXNlZCBDdXJ2ZQAIKQECABMADFVudXNlZCBDdXJ2ZQAJYAECAKoBtAEBAQIBmpmZmZmZqT8AAGZmZmZmZu4/AAAFAAEBAQABAQEA |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_A8D14_273D1 | Reactive plant – forced outage | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDWAQwjACYANACZAK0ArgC8AMoAsAHSAcwBKgD//wAAAAAAAQQAAAAAAAAAAAEzRml0IENvbXBhcmlzb24gZm9yIFJlYWN0aXZlIHBsYW50IOKAkyBmb3JjZWQgb3V0YWdlASxSaXNrUGVhcnNvbjYoMzMzNDY1NjkuNyw4Mi43MTYsNy41MjMwMmUtMDA3KQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArpAAH3AAAIAQAdAQAyAQBHAQBcAQBxAQCGAQCbAQAMAAVJbnB1dAAAJQECAA8ACFBlYXJzb242AAEvAQIAEwAMVW51c2VkIEN1cnZlAAJPAQIAEwAMVW51c2VkIEN1cnZlAAOMAQIAEwAMVW51c2VkIEN1cnZlAARMAQIAEwAMVW51c2VkIEN1cnZlAAU5AQIAEwAMVW51c2VkIEN1cnZlAAZOAQIAEwAMVW51c2VkIEN1cnZlAAcjAQIAEwAMVW51c2VkIEN1cnZlAAgpAQIAEwAMVW51c2VkIEN1cnZlAAlgAQIAuAHCAQEBAgGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_53444_B6F0A | > (x) system minutes | #REF! | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgCxAQwjACYANAB1AIkAigCYAKYAiwGtAacBKgD//wAAAAAAAQQAAAAAAAAAAAEoRml0IENvbXBhcmlzb24gZm9yID4gICh4KSBzeXN0ZW0gbWludXRlcwETUmlza1BvaXNzb24oMS4yMDAwKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArFAAHTAADjAAD4AAANAQAiAQA3AQBMAQBhAQB2AQAMAAVJbnB1dAAAJQECAA4AB1BvaXNzb24AAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCTAZ0BAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 4 | TRUE
FIT_28AF7_1F99B | > (y) system minutes | #REF! | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgCyAQwjACYANAB2AIoAiwCZAKcAjAGuAagBKgD//wAAAAAAAQQAAAAAAAAAAAEoRml0IENvbXBhcmlzb24gZm9yID4gICh5KSBzeXN0ZW0gbWludXRlcwEUUmlza1BvaXNzb24oMC42MDAwMCkBARAAAgABClN0YXRpc3RpY3MDAQEA/wEBAQEBAAEBAQAEAAAAAQEBAQEAAQEBAAQAAAAKxgAB1AAA5AAA+QAADgEAIwEAOAEATQEAYgEAdwEADAAFSW5wdXQAACUBAgAOAAdQb2lzc29uAAEvAQIAEwAMVW51c2VkIEN1cnZlAAJPAQIAEwAMVW51c2VkIEN1cnZlAAOMAQIAEwAMVW51c2VkIEN1cnZlAARMAQIAEwAMVW51c2VkIEN1cnZlAAU5AQIAEwAMVW51c2VkIEN1cnZlAAZOAQIAEwAMVW51c2VkIEN1cnZlAAcjAQIAEwAMVW51c2VkIEN1cnZlAAgpAQIAEwAMVW51c2VkIEN1cnZlAAlgAQIAlAGeAQEBAgGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 4 | TRUE
FIT_2D65F_B893F | Average outage duration (minutes): | #REF! | 0 | F1 0 0 -1E+300 1E+300 1 0 3 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDPAQwjACYANACPAKMApACyAMAAqQHLAcUBKgD//wAAAAAAAQQAAAAAAAAAAAE1Rml0IENvbXBhcmlzb24gZm9yIEF2ZXJhZ2Ugb3V0YWdlIGR1cmF0aW9uIChtaW51dGVzKToBIFJpc2tMb2dMb2dpc3RpYygwLDQzLjEwOSwyLjQxOTgpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACt8AAe0AAAEBABYBACsBAEABAFUBAGoBAH8BAJQBAAwABUlucHV0AAAlAQIAEgALTG9nTG9naXN0aWMAAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCxAbsBAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 1 | TRUE
FIT_77513_24C6A | Failure of protection system | #REF! | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgC0AQwjACYANAB4AIwAjQCbAKkAjgGwAaoBKgD//wAAAAAAAQQAAAAAAAAAAAEvRml0IENvbXBhcmlzb24gZm9yIEZhaWx1cmUgb2YgcHJvdGVjdGlvbiBzeXN0ZW0BD1Jpc2tQb2lzc29uKDMyKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArIAAHWAADmAAD7AAAQAQAlAQA6AQBPAQBkAQB5AQAMAAVJbnB1dAAAJQECAA4AB1BvaXNzb24AAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCWAaABAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 4 | TRUE
FIT_819_538C5 | Material failure of SCADA | #REF! | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgC0AQwjACYANAB5AI0AjgCcAKoAjgGwAaoBKgD//wAAAAAAAQQAAAAAAAAAAAEsRml0IENvbXBhcmlzb24gZm9yIE1hdGVyaWFsIGZhaWx1cmUgb2YgU0NBREEBE1Jpc2tHZW9tZXQoMC41NTU1NikBARAAAgABClN0YXRpc3RpY3MDAQEA/wEBAQEBAAEBAQAEAAAAAQEBAQEAAQEBAAQAAAAKyQAB1wAA5gAA+wAAEAEAJQEAOgEATwEAZAEAeQEADAAFSW5wdXQAACUBAgANAAZHZW9tZXQAAS8BAgATAAxVbnVzZWQgQ3VydmUAAk8BAgATAAxVbnVzZWQgQ3VydmUAA4wBAgATAAxVbnVzZWQgQ3VydmUABEwBAgATAAxVbnVzZWQgQ3VydmUABTkBAgATAAxVbnVzZWQgQ3VydmUABk4BAgATAAxVbnVzZWQgQ3VydmUAByMBAgATAAxVbnVzZWQgQ3VydmUACCkBAgATAAxVbnVzZWQgQ3VydmUACWABAgCWAaABAQECAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 4 | TRUE
FIT_65992_237BE | Incorrect operational isolation of primary or secondary equipment | #REF! | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 23 BetaGeneral Binomial Expon ExtValue ExtValueMin Gamma Geomet IntUniform InvGauss Laplace Levy Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Poisson Triang Uniform Weibull 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEADgDdAQwjACYANAChALUAtgDEANIAtwHZAdMBKgD//wAAAAAAAQQAAAAAAAAAAAFURml0IENvbXBhcmlzb24gZm9yIEluY29ycmVjdCBvcGVyYXRpb25hbCBpc29sYXRpb24gb2YgcHJpbWFyeSBvciBzZWNvbmRhcnkgZXF1aXBtZW50ARNSaXNrUG9pc3Nvbig2LjIwMDApAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACvEAAf8AAA8BACQBADkBAE4BAGMBAHgBAI0BAKIBAAwABUlucHV0AAAlAQIADgAHUG9pc3NvbgABLwECABMADFVudXNlZCBDdXJ2ZQACTwECABMADFVudXNlZCBDdXJ2ZQADjAECABMADFVudXNlZCBDdXJ2ZQAETAECABMADFVudXNlZCBDdXJ2ZQAFOQECABMADFVudXNlZCBDdXJ2ZQAGTgECABMADFVudXNlZCBDdXJ2ZQAHIwECABMADFVudXNlZCBDdXJ2ZQAIKQECABMADFVudXNlZCBDdXJ2ZQAJYAECAL8ByQEBAQIBmpmZmZmZqT8AAGZmZmZmZu4/AAAFAAEBAQABAQEA |  |  |  | 0 8 | F1 1 1000 .95 |  |  |  | 4 | TRUE

## Final Decision
Table 10.1 Final Decision — Service Component caps, floors and targets for 2024–29
Parameter | Floor | Target | Cap
Unplanned outage circuit event rate (%)
Transmission line outage rate - fault | 21.26% | 15.95% | 11.77%
Transformer outage - fault | 10.67% | 6.202% | 2.25%
Reactive plant - fault | 27.4% | 13.85% | 1.44%
Transmission line outage - forced | 28.26% | 17.84% | 10.65%
Transformer outage - forced | 14.58% | 6.538% | 2.53%
Reactive plant - forced | 29.99% | 20% | 6.88%
Loss of supply events frequency (no of events)
No. of events > 0.10 system minutes | 8 | 4.2 | 1
No. of events > 1.00 system minutes | 3 | 0.8 | 0
Average outage duration (minutes)
Average outage duration | 541.01 | 129.5018 | 15.94
Proper operation of equipment (no of events)
Failure of protection system | 8 | 4 | 1
Material failure of SCADA | 4 | 1 | 0
Incorrect operational isolation of primary or secondary equipment | 5 | 2.4 | 0
Table 10.2 Final Decision — Market Impact Component parameter values for 2024–29
Parameter
Target (DI) | 1967.8
Unplanned outage event limit (DI) | 334.526
Dollar per dispatch interval ($/DI) | 830.269
Table 10.3 Final Decision — Network Capability Component for 2024–29
Priority project name | Proposed capex ($ million) | Proposed opex ($ million) | Amount approved ($ million)
1. Palmerston Substation terminal equipment upgrade | 3.7697 | 0 | 3.7697
Total | 3.7697 | 0 | 3.7697
* Values rounded up to millions
Table 10.4 Final Decision — Probability Distribution, Floors and Caps for 2024–29
Parameter | Distribution | Floor | Cap
|  | (95th percentile) | (5th percentile)
Unplanned outage circuit event rate (%)
Transmission line outage rate | Pearson5 | 21.26% | 11.77%
Transformer outage - fault | Weibull | 10.67% | 2.25%
Reactive plant - fault | Uniform | 27.4% | 1.44%
Transmission line outage - forced | Pearson5 | 28.26% | 10.65%
Transformer outage - forced | Pearson5 | 14.58% | 2.53%
Reactive plant - forced | Triang | 29.99% | 6.88%
Loss of supply events frequency
No. of events > 0.01 system minutes | Poisson | 8 | 1
No. of events > 1.00 system minutes | Geomet | 3 | 0
Average outage duration
Average outage duration | LogLogistic | 541.01 | 15.94
Proper operation of equipment
Failure of protection system | Poisson | 8 | 1
Material failure of SCADA | Geomet | 4 | 0
Incorrect operational isolation of primary or secondary equipment | Poisson | 5 | 0

## MIC
Calendar year | Unplanned | Planned | Total (Planned + Unplanned) | Capped Unplanned count | Adjusted performance count (Planned + Capped Unplanned)
2015 | 87 | 160 | 247 | 87 | 247
2016 | 597 | 2267 | 2864 | 343 | 2610
2017 | 271 | 2431 | 2702 | 271 | 2702
2018 | 224 | 3905 | 4129 | 224 | 4129
2019 | 59 | 1696 | 1755 | 59 | 1755
2020 | 26 | 1368 | 1394 | 26 | 1394
2021 | 151 | 1227 | 1378 | 151 | 1378
2022 | 27 | 1017 | 1044 | 27 | 1044
Min |  |  | 1044 |  | 1044
Max |  |  | 4129 |  | 4129
Average of 5 median |  |  | 2018.6 [M] |  | 1967.8
Unplanned outage event limit (0.17*M) |  |  | 343.162 |  | 334.526
MAR ($) | 163380326.6227 | Smoothed MAR (nominal) for the 1st year (2024/25)
Dollars per Dispatch Interval ($/DI) | 830.269
Target (DI) | 1967.8

## NCC
TasNetworks-Network Capability Incentive Parameter Action Plan-Dec 22-Public
TasNetworks-AEMO Review of TasNetworks' Network Capability Incentive Parameter Action Plan-Dec 22-Public

## SC - Input
AER's STPIS annual compliance assessment data - for TasNetworks 2024-29 Reset
7.9.1 - Historical performance and proposed targets for the service component of the STPIS
Parameter | Performance actuals | [5 empty] | Average of actual performance (2018-22) | Floor | Target | Cap | Weighting (% of MAR)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |  | 95th percentile |  | 5th percentile
Unplanned outage circuit event rate (%):
Transmission line outage - fault |  | 15.89% | 21.7% | 13.21% | 13.08% | 15.89% | 15.95% |  | 15.95% |  | 0.2%
Transformer outage – fault |  | 10% | 8.257% | 5.505% | 4.545% | 2.703% | 6.202% |  | 6.202% |  | 0.2%
Reactive plant – fault |  | 23.08% | 0% | 23.08% | 7.692% | 15.38% | 13.85% |  | 13.85% |  | 0.1%
Transmission line outage – forced outage |  | 12.15% | 30.19% | 14.15% | 15.89% | 16.82% | 17.84% |  | 17.84% |  | 0.1%
Transformer outage – forced outage |  | 7.273% | 4.587% | 4.587% | 2.727% | 13.51% | 6.538% |  | 6.538% |  | 0.1%
Reactive plant – forced outage |  | 15.38% | 15.38% | 15.38% | 23.08% | 30.77% | 20% |  | 20% |  | 0.05%
Loss of supply event frequency (number of events):
> (x) system minutes |  | 2 | 2 | 8 | 2 | 7 | 4.2 |  | 4.2 |  | 0.15%
> (y) system minutes |  | 0 | 1 | 0 | 0 | 3 | 0.8 |  | 0.8 |  | 0.15%
Average outage duration (minutes):
Average outage duration |  | 45.9091 | 273 | 105 | 19 | 204.6 | 129.5018 |  | 129.5018 |  | 0.2%
Proper operation of equipment (number of events):
Failure of protection system |  | 1 | 2 | 4 | 5 | 8 | 4 |  | 4 |  | 0%
Material failure of SCADA |  | 4 | 0 | 0 | 1 | 0 | 1 |  | 1 |  | 0%
Incorrect operational isolation of primary or secondary equipment |  | 6 | 1 | 1 | 2 | 2 | 2.4 |  | 2.4 |  | 0%

## SC - @Risk Model Output
TasNetworks - distributions selected based on mechanical selection of lowest K-S distance statistic, 2018-2022 underlying input data. Calendar year data
| Distribution | KS Distance Statistic | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Transmission line outage - fault | Pearson5 | 0.2583 | 0.1595 | 0.1593 | 0.0294 | 0.1887 | 0.2181 | 0.1299 | 0.1005 | 0.1177 | 0.1559 | 0.2126
Transformer outage – fault | Weibull | 0.1879 | 0.062 | 0.0623 | 0.0256 | 0.0879 | 0.1135 | 0.0367 | 0.0111 | 0.0225 | 0.0609 | 0.1067
Reactive plant – fault | Uniform | 0.2 | 0.1385 | 0.1442 | 0.0833 | 0.2275 | 0.3108 | 0.0609 | -0.0224 | 0.0144 | 0.1442 | 0.274
Transmission line outage – forced outage | Pearson5 | 0.2883 | 0.1784 | 0.1771 | 0.0566 | 0.2337 | 0.2903 | 0.1205 | 0.0639 | 0.1065 | 0.1668 | 0.2826
Transformer outage – forced outage | Pearson5 | 0.2227 | 0.0654 | 0.0661 | 0.0474 | 0.1135 | 0.1609 | 0.0187 | -0.0287 | 0.0253 | 0.0538 | 0.1458
Reactive plant – forced outage | Triang | 0.35 | 0.2 | 0.2051 | 0.0725 | 0.2776 | 0.3501 | 0.1326 | 0.0601 | 0.0688 | 0.2176 | 0.2999
| Weibull* | 0.355 | 0.2 | 0.2002 | 0.0645 | 0.2647 | 0.3292 | 0.1357 | 0.0712 | 0.0937 | 0.2002 | 0.3067
Average outage duration | LogLogistic | 0.1891 | 129.5 | 183.32 | Infinite |  |  |  |  | 15.94 | 92.87 | 541.01
| Expon** | 0.194 | 129.5 | 129.5 | 129.5 | 259 | 388.5 | 0 | -129.5 | 6.64 | 89.76 | 387.95
* Triang has skew with different sign to underlying data. Weibull provided in case we rule out Triang.
** LogLogistic has inifinite standard deviation. Exponential provided in case we rule out LogLogistic.
Distributions fitted setting: lower limit with fixed bound of zero; unsure upper limit; no change to default "suppress questionable fits" setting
While @Risk allows beta general to be a candidate distribution, we have not included it as a candidate distribution as it uses 4 parameters and we only have 5 data points.
Where a candidate distribution has been estimated to have an infinite standard deviation we have ruled it out of consideration.
TasNetworks - distributions selected based on mechanical selection of lowest AIC, 2018-2022 underlying input data.
| Distribution | AIC | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Number of events > (x) system minutes | Poisson | 27.4782 | 4.2 | 4.2 | 2.049 | 6.249 | 8.298 | 2.151 | 0.102 | 1 | 4 | 8
Number of events > (y) system minutes | Geomet | 15.6986 | 0.8 | 0.8 | 1.2 | 2 | 3.2 | -0.4 | -1.6 | 0 | 0 | 3
Failure of protection system | Poisson | 26.4082 | 4 | 4 | 2 | 6 | 8 | 2 | 0 | 1 | 4 | 8
Material failure of SCADA | Geomet | 17.1963 | 1 | 1 | 1.41 | 2.41 | 3.82 | -0.41 | -1.82 | 0 | 0 | 4
Incorrect operational isolation of primary or secondary equipment | Poisson | 22.2532 | 2.4 | 2.4 | 1.549 | 3.949 | 5.498 | 0.851 | -0.698 | 0 | 2 | 5