## Changes summary
Data category 02: Operational outputs
Changes from December 2023 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Energy delivered by CR & NCR Tariff | Customers (tariff) by meter type & Customers (tariff) by tariff | Table column heading changed from "Energy" to "Total Energy Delivered" | The Energy delivered (by tariff) requirements are for total energy delivered. Where energy delivered to a customer on a secondary tariff is to be reported against the customer's primary tariff.
Export services | Export volumes - net metered volume of energy exported | Table name changed to 'Export volumes - net metered volume of energy exported by customers with smart meters' | To provide clarity
Maximum demand | Coincident maximum demand by sub-transmission substation Non-coincident maximum demand by sub-transmission substation Coincident maximum demand by zone substation Non-coincident maximum demand by zone substation | Removed references to "up to 200 substations allowed" and added generic "additional rows allowed" | To clarify that the data collection tools will allow as many rows as necessary to collect all relevant data

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 02: Operational outputs
Operational outputs are measures of the activities undertaken by a DNSP or the volume of services delivered to customers by the DNSP.
Operational output data is used for benchmarking or comparing DNSPs, assessing pricing proposals, and is useful for understanding the overall performance of DNSPs, and the volume of services they provide to their customers.
This workbook defines the data requirements related to operational outputs. Requirements are set out in tables on each worksheet, and are defined by multiple elements of the workbook including: - worksheet name - table and sub-table names - column headings and - row descriptors. The workbook also includes validation rules for input cells (shaded green), cross checks where disaggregated data must equal the same total and definitions of the terms used.

## Definitions
Data category 02: Operational outputs
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Energy delivered by Cost Reflective / Non-Cost Reflective tariff
Cost reflective tariff | Tariff that is structured to reflect the cost of consuming electricity. These tariffs generally vary by time of day - that is energy charges are highest in peak demand periods, and lowest at off peak times.
Customer (tariff) | An energised connection point.
Energy delivered | The amount of electricity transported out of NSP's network (measured in MWh), metered or estimated at the customer charging location rather than the import location.
High voltage customer | Customer connected at higher than 415 volts.
Low voltage customer | Customer connected at 240 or 415 volts.
Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER.
Meter type 1-3 | High voltage meter.
Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER.
Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter.
Meter type 6 | Manually read accumulation meter.
Meter type 7 | A connection point for an unmetered customer.
Metered customer | A connection point that has a meter installed, and whose energy use is measured.
Non cost reflective tariff | A tariff that is not structured to reflect the cost of consuming electricity. These tariffs do not vary by time of day. Examples include flat rate and block usage tariffs.
Non-residential customer | A customer who purchases energy not principally for personal, household or domestic use at premises.
Residential customer | A customer or customer (gas) who purchases energy principally for personal, household or domestic use at premises.
Small business | A small customer that is not a residential customer, whose tariff is classified as a small business tariff, or otherwise identified as a small business in the NSP's customer database.
Small customer | A customer, usually residential or small business, whose annual usage falls under the relevant jurisdictional threshold (generally 100MWh).
Tariff code | The unique code used by the distribution business to identify each tariff.
Tariff name | The name used by the distribution business to identify the tariff in its annual pricing proposal.
Energy delivered/ received
Controlled load | Energy deliveries where the supply of electricity is controlled by DNSP.
Customer (benchmarking) | The number of active National Meter Identifiers (NMIs) for all customers except for unmetered customers. Each NMI is counted as a separate customer. Only NMIs for active customers must be counted. Hence NMIs for deactivated accounts are not to be included. For unmetered customers, the Customer Numbers are the sum of connections (excluding public lighting connections) in DNSP’s network that don’t have a NMI and the energy usage for billing purposes is calculated using an assumed load profile (examples include bus shelters, security lighting and traffic signals where not metered). Public lighting connections are not to be counted as when calculating the number of unmetered customers. Customers (benchmarking) does not include customers on unregulated stand alone power systems.
Customer not on demand tariff | All customers who do not pay demand-based tariffs. These customers will typically pay a fixed charge and a charge based on energy consumption.
Demand tariff | A way of charging for electricity that is based on either the customer's actual Maximum Demand or a contracted level of demand. Customers on a demand tariff may also pay a fixed charge and a charge based on energy consumption in addition to the demand charge.
Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
Energy delivered | The amount of electricity transported out of NSP's network (measured in MWh), metered or estimated at the customer charging location rather than the import location.
Off-peak times | Days and hours identified as off-peak energy delivery/receipt times by an NSP.
On-peak times | Days and hours identified as peak energy delivery/receipt times by an NSP.
Residential customer | A customer or customer (gas) who purchases energy principally for personal, household or domestic use at premises.
Residential embedded generation | Embedded Generation owned by a residential customer, includes domestic roof-top solar.
Shoulder times | Days and times that are not identified as either peak or off-peak energy delivery/receipt time by an NSP.
Small business | A small customer that is not a residential customer, whose tariff is classified as a small business tariff, or otherwise identified as a small business in the NSP's customer database.
Small customer | A customer, usually residential or small business, whose annual usage falls under the relevant jurisdictional threshold (generally 100MWh).
Time of use | The time energy flows between a customer and the network were recorded.
Total energy delivered | Energy delivered to residential customers plus energy delivered to non-residential low voltage customers plus energy delivered to non-residential high voltage customers.
Unmetered supplies | Energy delivered is “calculated” rather than “metered”.
Maximum demand
Annual system maximum demand characteristics at the transmission connection point | The maximum demand measured for all transmission connection points within the distribution system. For a DNSP that is not connected to a transmission network it refers to connection points with major generators.
System maximum demand | The maximum demand measured for all connection points within the system.
Probability of Exceedance (POE) | The likelihood that a threshold value will be surpassed. The POE is expressed as a percentage, and usually set at 10% or 50% in AER reporting requirements.
Raw adjusted maximum demand | Raw unadjusted maximum demand that is adjusted to system normal conditions. NSP must adjust to system normal conditions by accounting for (temporary) switching relevant to the network segment, and for temporary load changes from major customers (such as temporary closure of major industrial customers). NSP must not adjust maximum demand data for (permanent) transfers, block loads or embedded generation. The term, ‘raw’, refers to demand data that has not undergone weather correction.
Coincident maximum demand | The network demand measured at the single point of time where it is at its highest level for the reporting period.
Coincident raw system annual maximum demand | This is the actual, unadjusted (i.e. not weather normalised) summation of actual raw demands for the requested asset level (either the zone substation or transmission connection point) at the time when this summation is greatest. The Maximum Demand does not include Embedded Generation. For a DNSP that is not connected to a transmission network, transmission connection point refers to connection points with major generators.
Weather adjusted maximum demand | The removal of the impact of temperature fluctuations so as to derive a maximum demand measure corrected to a probability of exceedance (PoE), usually 50% PoE and/or 10% PoE. (Also known as weather corrected maximum demand).
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
Feeder | A power line, including underground cables, that is part of a distribution network.
Maximum demand | Has the meaning prescribed in the National Electricity Rules. The highest amount of electrical power delivered, or forecast to be delivered, over a defined period (day, week, month, season or year) either at a connection point, or simultaneously at a defined set of connection points. Note: For the avoidance of doubt, maximum demand refers to 30 minute demand unless otherwise indicated.
Connections
Augmentation | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy. OR Capital expenditure incurred by the pipeline service provider due to a change in the capacity requirements of mains and services in the gas distribution network or gas transmission pipeline to meet the demands of existing and future customers.
Commercial/industrial connection | Work connecting any customer who is not a residential or unmetered customer.
Complex connection HV | Single/multi-phase customer connection services which are not simple customer connections or complex type low voltage connections and, as an example, may involve the following: (a) extension or augmentation of the HV feeder, overhead and/or underground; (b) installation of a distribution substation (pole mounted, ground types); (c) extension or augmentation of the LV feeder, overhead and/or underground; (d) greater than one span of overhead service wire; (e) road crossing (overhead or underground). Notes: This also includes the reconfiguration of HV network assets (not including any LV asset works) as a result of specific requests for connection.
Complex connection LV | Single/multi-phase customer connection services which are not simple customer connections and, as an example, may involve the following: (a) greater than one span of overhead service wire (b) extension or augmentation of the LV feeder, overhead and/or underground; (c) road crossing (overhead or underground). Notes: This also includes the reconfiguration of LV network assets (not including any HV asset works) as a result of specific requests for connection specifications.
Complex connection HV (customer connected at HV) | Multi-phase customer connections where the customer is supplied at HV and, as an example, may include the following: (a) large extension or augmentations of the HV feeders; (b) installation of a high voltage switching station or switch room.
Complex connection HV (no upstream asset works) | Multi-phase customer connection which are not simple connections and, as an example, may include the following: (a) extension or augmentation of HV feeders; (b) installation of one or more distribution substations; (c) installation of LV mains. Notes: Each subsequent connection of a residential premises within a new estate will be treated as a connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development.
Complex connection HV (with upstream asset works) | Multi-phase customer connections which are not simple connections and, as an example, may involve the following: (a) extension or augmentation of HV feeders including major upstream works; (b) installation of one or more distribution substations; (c) installation of LV mains Notes: This category is intended to capture the cost of developing the network to serve new estates and possible upstream shared asset alterations that may be required. Each subsequent connection of residential premises within a new estate will be treated as a simple connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development).
Complex connection HV (customer connected at LV, upstream asset works) | Multi-phase customer connections which are not simple connections or Complex type connection high voltage and, as an example, may involve the following: (a) large extension or augmentation, overhead and/or underground, of the HV feeder; (b) installation of a distribution substation (pole mounted, ground types or indoor types). Notes: Upstream shared asset alterations expected to be required. This also includes the reconfiguration of HV network assets as a result of specific requests for connection.
Complex connection HV (customer connected at LV, minor HV works) | Multi-phase customer connection service at LV which are not simple connections and, as an example, may involve the following: (a) the installation of a distribution substation (pole mounted, ground types, or indoor types); (b) overhead and/or underground HV feeder extension or augmentation associated with the connection of the substation but excluding major feeder extensions or augmentation; (c) installation of LV mains associated with the new substation.
Complex connection HV (large capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: (a) extension or augmentation of HV or sub transmission feeders; (b) installation of switching stations, switch rooms or similar facilities.
Complex connection HV (small capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: (a) large extension or augmentation, overhead and/or underground, of the distribution HV/LV feeders; (b) installation of a distribution substation (Pole mounted, ground types or indoor types).
Complex connection sub-transmission | Multi-phase customer connections where the customer is connected via feeders operating between 33kV and 132kV inclusive and, as an example, may include any of the following: (a) extension or augmentation of the Sub-transmission network (a) installation of switching stations, switch rooms or similar facilities.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables. For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
High voltage connection | Connection at higher than 415 volts.
Low voltage connection | Connection at 240 or 415 volts.
Circuit Length | Circuit length is calculated from the route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as twice the length. The length does not take into account vertical components such as sag.
New connections | Connection services necessary to meet customer connection requests. This excludes alterations to existing connection assets.
Residential customer | A customer or customer (gas) who purchases energy principally for personal, household or domestic use at premises.
Simple connection LV | Single/multi-phase customer service connection and, as an example, may involve the following: (a) one or more spans of overhead service wire; (b) road crossing (overhead or underground). (c) small LV extension or augmentation of overhead and/or underground mains.
Standard control services | As defined in the National Electricity Rules. For clarity, Standard Control Services are intended to capture services available only through DNSP’s network typically provided to all customers or a broad class of customers recovered through general network tariffs.
Subdivision connection | Work connecting un-reticulated lots or areas to the distribution network for residential subdivisions.
Asset replacement and maintenance activities
Asset failure | The failure of an asset to perform its intended function safely and in compliance with jurisdictional regulations, not as a result of external impacts such as: (a) extreme or atypical weather events; or (b) third party interference, such as traffic accidents and vandalism; or (c) wildlife interference, but only where the wildlife interference directly, clearly and unambiguously influenced asset performance; or (d) vegetation interference, but only where the vegetation interference directly, clearly and unambiguously influenced asset performance. Excludes planned interruptions.
Asset replacement | The replacement of an asset with its modern equivalent where the asset has reached the end of its economic life.
Assets inspected | The number of assets inspected in accordance with an asset inspection cycle and/or in response to an asset failure.
Assets maintained | The number of assets subject to maintenance work, excluding asset inspection.
Pole | Vertically oriented assets that provide load bearing structural support for overhead conductors or other lines assets. This also includes associated pole top structures, such as cross-arms and insulators where these are replaced in conjunction with a pole replacement project. It excludes other pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Composite pole | A pole developed using a combination of materials, such as timber and concrete.
Pole - other technology | Stobie poles, or poles made of materials not included elsewhere in the asset category.
Pole top structure | These are horizontally oriented structures and their components that provide support for overhead conductors and related assets to be supported on a pole and provide adequate clearances. A pole top structure is independently of the pole it is located on. This includes cross-arms and insulators. It excludes any pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Residential connection | Work connecting any customer who purchases energy principally for personal, household or domestic use at premises.
Commercial/industrial connection | Work connecting any customer who is not a residential or unmetered customer.
Subdivision connection | Work connecting un-reticulated lots or areas to the distribution network for residential subdivisions.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category.
Public lighting assets | Include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Other outputs - Metering activities
Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER.
Meter investigation | The cost to investigate a metering request at a given supply point i.e. Interval data analysis; meter malfunction; wiring transposition (polarity) investigation; contestable metering investigation and meter tampering or bypass.
Meter maintenance | The cost to repair a meter currently deployed in the field. Meter maintenance costs should include the expenditure related to operational repairs of the meter unit, not including capex.
Meter purchase | The direct material cost of purchasing the meter unit for installation or replacement. This includes the cost of delivery to DNSP’s store, including testing of equipment and inclusion of spare parts.
Meter replacement (total) | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter testing | Routine testing, for the purposes of complying with AEMO’s metrology procedure, including the ongoing and regular maintenance testing, compliance testing and in-service testing of metering installation components initiated by the responsible person or Metering Provider to fulfil their obligations in accordance with S7.3 of the Rules.
Meter type 1-3 | High voltage meter.
Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER.
Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter.
Meter type 6 | Manually read accumulation meter.
Meter type 7 | A connection point for an unmetered customer.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
New meter installation | Has the meaning of metering installation as prescribed in the National Electricity Rules and should also include the expenditure associated with deploying refurbished meters in new meter installations.
Other metering services | Metering services which are not already included in the following meter services: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance. Meter data services, which apply to meter types 4–7 should be reported in the meter associated works category. This is not intended to capture general support or audit functions but should reflect any metering service activities not captured in other categories.
Remote meter reading | The use of remotely read interval metering infrastructure to perform meter reading and special meter reading.
Remote meter re-configuration | A change to the software in the meter that enables changes to parameters for a specific meter function. Examples of meter reconfigurations may include: (a) changing the switching times for controlled loads (b) changes associated with the installation of embedded generation and/or the premium feed-in tariff.
Scheduled meter reading | An actual meter reading performed according to a predefined schedule.
Special meter reading | An actual meter reading performed to support an out of cycle customer billing or consumption request.
Other outputs - Fee based and Quoted services
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Other outputs - Asset augmentation activities
Augmentation | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy. OR Capital expenditure incurred by the pipeline service provider due to a change in the capacity requirements of mains and services in the gas distribution network or gas transmission pipeline to meet the demands of existing and future customers.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables. For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Feeder | A power line, including underground cables, that is part of a distribution network.
HV Feeder | A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV, and connects distribution substations to a zone substation. Includes all connected lines and cables from the point of origin (typically a zone substation) to the normally-open points or line/cable terminations. Where distribution substations are connected directly to a sub transmission line, the line remains categorised as a sub transmission line.
LV Feeder | A distribution line that is not a sub transmission line or a high voltage feeder or an overhead service wire or an underground service cable. Includes switchgear located on the feeder rather than in a sub-transmission substation, zone substation, or distribution substation. Includes all non-transforming substations used to switch two or more distribution lines that are associated with the low voltage feeder.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Substation | Has the meaning prescribed in the National Electricity Rules. As a guide, assets included within a substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Other outputs - Motor vehicles
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Elevated work platform (HCV) | Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Elevated work platform (LCV) | (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platforms (HCV).
Heavy Commercial Vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
Light commercial vehicle | Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Motor vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Export Services
Energy exported | Electricity exported from a customer's premises to a distribution network.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Net metered volumes | Metered energy net of load.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Feeder | A power line, including underground cables, that is part of a distribution network.
Feeder classification | Classification of feeder based on location on network or type of load served (network type as defined in the STPIS). Non Tasmanian feeder classifications are: CBD, Urban; Short rural and Long Rural. Tasmanian feeder classifications are consistent with the requirements of the Tasmanian Electricity Code: Critical infrastructure; Urban; High density commercial, High density rural and Low density rural.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
Urban feeder | Has the meaning as defined in the STPIS scheme and Distribution Reliability Measures Guideline.
TAS - Critical infrastructure | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density commercial | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density rural | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - Low density rural | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - Urban | Consistent with the requirements of the Tasmanian Electricity Code.

## Validations
Data category 02: Operational outputs
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | Input cells | Rules applying
Energy delivered by CR Tariff | All tables | Tariff name (business specified) | Free text - <Business specified row descriptors> must align with TSS and /or pricing proposal
NULL valid
|  | Tariff code (business specified) | Free text - <Business specified row descriptors> must align with TSS and /or pricing proposal
NULL invalid if tariff name row descriptor <> NULL
|  | MWh values | ≥0
NULL invalid, where row descriptor exists
Energy delivered by NCR Tariff | All tables | Tariff name (business specified) | Free text - <Business specified row descriptors> must match tariff name used for customer numbers
NULL valid
|  | Tariff code (business specified) | Free text - <Business specified row descriptors> must match tariff name used for customer numbers
NULL invalid if tariff name row descriptor <> NULL
|  | MWh values | ≥0
NULL invalid, where row descriptor exists
Energy delivered ¦ received | All tables | MWh values | ≥0
NULL invalid
Maximum Demand | System maximum demand | MW values | ≥0
NULL invalid
|  | Date and time coincident Raw System Annual Maximum Demand occurred | DD MM YYYY hh:mm:ss
NULL invalid
|  | Summer/winter peaking classification | Summer/Winter
NULL invalid
|  | MVA Values | ≥0
NULL invalid
| Coincident Maximum Demand by sub-transmission substation Non-coincident Maximum Demand by sub-transmission substation Coincident Maximum Demand by zone substation Non-coincident Maximum Demand by zone substation | All substation names | Free text - unique identifier for each substation
|  | Substation Rating | ≥0
NULL invalid
|  | MW & MVA (Raw Adjusted Maximum Demand) | ≥0
NULL invalid
|  | Date Maximum Demand occurred | DD/MM/YYYY
NULL invalid
|  | Half hour time period Maximum Demand occurred | hh:mm:ss
NULL invalid
|  | Seasonal peak | Summer/Winter
NULL invalid
|  | MW (Adjustments - Embedded generation) | ≥0
NULL valid
|  | MW & MVA (Weather Corrected Maximum Demand 10% POE) | ≥0
NULL valid
|  | MW & MVA (Weather Corrected Maximum Demand 50% POE) | ≥0
NULL valid
| Maximum Demand (DRMG) by Feeder | Business specified | Free text - <business specified> must match feeder ID used for service performance category
|  | MVA | ≥0
NULL invalid
Connections | New connections - standard control services | Number of connections | ≥0
NULL invalid
| New connections - excluding standard control services | Number of connections | ≥0
NULL invalid
| Other connection activities | MVA | ≥0
NULL invalid
|  | Number of substations | ≥0
NULL invalid
|  | km | ≥0
NULL invalid
Asset replacement and maintenance activities |  | Number of assets | ≥0
NULL invalid
|  | Number of activities | ≥0
NULL invalid
|  | km | ≥0
NULL invalid
|  | Business specified | Free text - must be consistent with previous years reporting terms (unless new).
Must align with workbook 07: Capital Expenditure - replacement expenditure; and workbook 03: Network metrics - asset age
NULL valid where predefined row descriptors do not apply
Other outputs | Metering activities | Activities and services | ≥0
NULL invalid
| Fee-based services | Business specified | Free text - The services identified must match the services listed in the annual tariff proposal for the reporting period.
|  | Number of services provided | ≥0
NULL invalid
| Quoted services | Business specified | Free text - The services identified must match the services listed in the annual tariff proposal for the reporting period.
|  | Number of services provided | ≥0
NULL invalid
| Asset Augmentation Activities | km | ≥0
NULL valid
|  | Number of assets | ≥0
NULL valid
| Motor Vehicles | Number of assets | ≥0
NULL invalid
|  | % | ≥ 0; ≤ 1
1 = 100%
NULL invalid
Export Services | Export Volumes - Net metered volume of energy exported | MWh values | ≥0
NULL valid if feeder classification does not apply to the distribution network.

## Checks and Totals
Data category 02: Operational outputs
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Energy delivered¦received | Energy delivery by time of delivery |  | Total | = | Energy delivery by CR tariff + Energy delivery by NCR tariff | Residential + Low voltage small business + Low voltage non-residential (excluding small business) + Non residential high voltage | Customers (tariff) by meter type | Total | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non-coincident Summated Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non-coincident Summated Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Alice Springs | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non-coincident Summated Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non-coincident Summated Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Darwin to Katherine | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non-coincident Summated Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non-coincident Summated Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Raw System Annual Maximum Demand (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Raw System Annual Maximum Demand (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point - Tennant Creek | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MVA) | TRUE
Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MVA) | TRUE
Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by sub-transmission substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MVA) | TRUE
Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MVA) | TRUE
Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MVA) | TRUE
Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | Coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Raw Adjusted Maximum Demand (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 10% POE (MVA) | TRUE
Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MW) | ≤ | Maximum Demand | Non-coincident Maximum Demand by zone substation | <sub-transmission substation X name> | Weather Corrected Maximum Demand 50% POE (MVA) | TRUE

## Energy delivered by CR Tariff
Data category 02: Operational outputs
Energy delivered by cost reflective tariff
|  | Units | Total Energy Delivered | Current RIN reference | Assurance standard - Non-Financial data
Customers (tariff) by meter type
RESIDENTIAL CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Total residential customers | MWh | 0
LOW VOLTAGE SMALL BUSINESS CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Low voltage small business customers | MWh | 0
LOW VOLTAGE NON RESIDENTIAL CUSTOMERS (excluding small business)
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Low voltage non residential customers | MWh | 0
NON RESIDENTIAL HIGH VOLTAGE CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
| High voltage non residential customers | MWh | 0
| Customers (tariff) by meter type TOTAL | MWh | 0
TARIFF NAME | TARIFF CODE |  | Total Energy Delivered
Customers (tariff) by tariff
RESIDENTIAL CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Total residential customers | MWh | 0
LOW VOLTAGE SMALL BUSINESS CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Low voltage small business customers | MWh | 0
LOW VOLTAGE NON RESIDENTIAL CUSTOMERS (excluding small business)
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Low voltage non residential customers | MWh | 0
NON RESIDENTIAL HIGH VOLTAGE CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| High voltage non residential customers | MWh | 0
| Customers (tariff) by tariff TOTAL | MWh | 0

## Energy delivered by NCR Tariff
Data category 02: Operational outputs
Energy delivered by non-cost reflective tariff
|  |  |  | Current RIN reference | Assurance standard - Non-Financial data
|  | Units | Total Energy Delivered
Customers (tariff) by meter type
RESIDENTIAL CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Total residential customers | MWh | 0
LOW VOLTAGE SMALL BUSINESS CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Low voltage small business customers | MWh | 0
LOW VOLTAGE NON RESIDENTIAL CUSTOMERS (excluding small business)
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 5 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 6 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 7 |  | MWh |  | AR P1.1 | ASAE3000
| Low voltage non residential customers | MWh | 0
NON RESIDENTIAL HIGH VOLTAGE CUSTOMERS
Meter Type 1-3 |  | MWh |  | AR P1.1 | ASAE3000
Meter Type 4 |  | MWh |  | AR P1.1 | ASAE3000
| High voltage non residential customers | MWh | 0
| Customers (tariff) by meter type TOTAL | MWh | 0
TARIFF NAME | TARIFF CODE |  | Total Energy Delivered
Customers (tariff) by tariff
RESIDENTIAL CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Total residential customers | MWh | 0
LOW VOLTAGE SMALL BUSINESS CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Low voltage small business customers | MWh | 0
LOW VOLTAGE NON RESIDENTIAL CUSTOMERS (excluding small business)
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| Low voltage non residential customers | MWh | 0
NON RESIDENTIAL HIGH VOLTAGE CUSTOMERS
<Business specific tariff name 1> | <Business specific tariff code 1> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 2> | <Business specific tariff code 2> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 3> | <Business specific tariff code 3> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 4> | <Business specific tariff code 4> | MWh |  | AR P1.3 | ASAE3000
<Business specific tariff name 5> | <Business specific tariff code 5> | MWh |  | AR P1.3 | ASAE3000
<additional rows allowed>
| High voltage non residential customers | MWh | 0
| Customers (tariff) by tariff TOTAL | MWh | 0

## Energy delivered¦received
Data category 02: Operational outputs
Energy delivered ¦ received
|  |  | Current RIN reference | Assurance standard - Non-Financial data
| Units | Energy
ENERGY DELIVERY BY TIME OF DELIVERY
Energy delivery where time of use is not a determinant | MWh |  | EB3.4.1.1 | ASAE3000
Energy delivery at on-peak times | MWh |  | EB3.4.1.1 | ASAE3000
Energy delivery at Shoulder times | MWh |  | EB3.4.1.1 | ASAE3000
Energy delivery at off-peak times | MWh |  | EB3.4.1.1 | ASAE3000
Controlled load energy deliveries | MWh |  | EB3.4.1.1 | ASAE3000
Energy delivery to unmetered supplies | MWh |  | EB3.4.1.1 | ASAE3000
Total energy deliever by time of delivery | MWh | 0
ENERGY RECEIVED BY TIME OF RECEIPT
Energy into DNSP network at on-peak times | MWh |  | EB3.4.1.2 | ASAE3000
Energy into DNSP network at shoulder times | MWh |  | EB3.4.1.2 | ASAE3000
Energy into DNSP network at off-peak times | MWh |  | EB3.4.1.2 | ASAE3000
Energy received not included in the above categories | MWh |  | EB3.4.1.2 | ASAE3000
ENERGY RECEIVED FROM EMBEDDED GENERATION BY TIME OF RECEIPT
Energy into DNSP network at on-peak times from non-residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy into DNSP network at shoulder times from non-residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy into DNSP network at off-peak times from non-residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy received from non-residential embedded generation not included in above categories | MWh |  | EB3.4.1.3 | ASAE3000
Energy into DNSP network at on-peak times from residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy into DNSP network at shoulder times from residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy into DNSP network at off-peak times from residential embedded generation | MWh |  | EB3.4.1.3 | ASAE3000
Energy received from residential embedded generation not included in above categories | MWh |  | EB3.4.1.3 | ASAE3000
ENERGY DELIVERED BY CUSTOMER (BENCHMARKING)
Residential customers | MWh |  | EB3.4.1.4 | ASAE3000
Non-residential customers not on demand tariffs | MWh |  | EB3.4.1.4 | ASAE3000
Non-residential low voltage demand tariff customers | MWh |  | EB3.4.1.4 | ASAE3000
Non-residential high voltage demand tariff customers | MWh |  | EB3.4.1.4 | ASAE3000
Other customer class energy deliveries | MWh |  | EB3.4.1.4 | ASAE3000

## Maximum Demand
Data category 02: Operational outputs
Maximum demand
| Units |  | Current RIN reference | Assurance standard - Non-Financial data
System maximum demand |  | Demand
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - ALICE SPRINGS
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - DARWIN TO KATHERINE
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - TENNANT CREEK
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.1 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - ALICE SPRINGS
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Embedded generation at time of Coincident raw system annual maximum demand | MW |  | CA5.3.1 | ASAE3000
Maximum demand characteristics
Date and time coincident Raw System Annual Maximum Demand occurred | DD MM YYYY hh:mm:ss |  | CA5.3.1 | ASAE3000
Summer/winter peaking classification | Summer/Winter |  | CA5.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - DARWIN TO KATHERINE
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Embedded generation at time of Coincident raw system annual maximum demand | MW |  | CA5.3.1 | ASAE3000
Maximum demand characteristics
Date and time coincident Raw System Annual Maximum Demand occurred | DD MM YYYY hh:mm:ss |  | CA5.3.1 | ASAE3000
Summer/winter peaking classification | Summer/Winter |  | CA5.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - TENNANT CREEK
Non-coincident Summated Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Raw System Annual Maximum Demand | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW |  | EB3.4.3.2 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW |  | EB3.4.3.2 | ASAE3000
Embedded generation at time of Coincident raw system annual maximum demand | MW |  | CA5.3.1 | ASAE3000
Maximum demand characteristics
Date and time coincident Raw System Annual Maximum Demand occurred | DD MM YYYY hh:mm:ss |  | CA5.3.1 | ASAE3000
Summer/winter peaking classification | Summer/Winter |  | CA5.3.1 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - ALICE SPRINGS
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - DARWIN TO KATHERINE
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL - TENNANT CREEK
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.3 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.3 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - ALICE SPRINGS
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - DARWIN TO KATHERINE
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT - TENNANT CREEK
Non–coincident Summated Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Raw System Annual Maximum Demand | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA |  | EB3.4.3.4 | ASAE3000
Coincident maximum demand by sub-transmission substation
<sub-transmission substation 1 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<sub-transmission substation 2 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<additional sub-transmission substations allowed>
Non-coincident maximum demand by sub-transmission substation
<sub-transmission substation 1 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<sub-transmission substation 2 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<additional sub-transmission substations allowed>
Coincident maximum demand by zone substation
<Zone substation 1 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<Zone substation 2 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<additional zone substations allowed>
Non-coincident maximum demand by zone substation
<Zone substation 1 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<Zone substation 2 name>
Substation Rating | MVA |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MW |  | CA5.4.1 | ASAE3000
Raw Adjusted Maximum Demand | MVA |  | CA5.4.1 | ASAE3000
Date Maximum Demand occurred | DD/MM/YYYY |  | CA5.4.1 | ASAE3000
Half hour time period Maximum Demand occurred | hh:mm:ss |  | CA5.4.1 | ASAE3000
Seasonal peak | Summer/Winter |  | CA5.4.1 | ASAE3000
Adjustments - Embedded generation | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 10% POE | MVA |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MW |  | CA5.4.1 | ASAE3000
Weather Corrected Maximum Demand 50% POE | MVA |  | CA5.4.1 | ASAE3000
<additional zone substations allowed>
Maximum demand (DRMG) by feeder
<business specified> | MVA |  | AR3.6.8 | ASAE3000
<business specified> | MVA |  | AR3.6.8 | ASAE3000
<business specified> | MVA |  | AR3.6.8 | ASAE3000
<business specified> | MVA |  | AR3.6.8 | ASAE3000
<business specified> | MVA |  | AR3.6.8 | ASAE3000
<additional rows allowed>

## Connections
Data category 02: Operational outputs
Connections
| Units |  |  | Current RIN reference | Assurance standard - Non-Financial data
New connections - standard control services |  | Overhead | Underground
RESIDENTIAL
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
COMMERCIAL/INDUSTRIAL
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at LV, minor HV works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at LV, upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at HV) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection sub-transmission | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
SUBDIVISION
Complex connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (no upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (with upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
EMBEDDED GENERATION
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (small capacity) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (large capacity) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
New connections - excluding standard control services |  | Overhead | Underground
RESIDENTIAL
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
COMMERCIAL/INDUSTRIAL
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at LV, minor HV works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at LV, upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (customer connected at HV) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection sub-transmission | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
SUBDIVISION
Complex connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (no upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (with upstream asset works) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
EMBEDDED GENERATION
Simple connection LV | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (small capacity) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Complex connection HV (large capacity) | Number of connections |  |  | CA/AR 2.5.2 | ASAE3000
Other connection activities |  |  | Assets added
RESIDENTIAL
Distribution substations installed | MVA |  |  | CA2.5.1 | ASAE3000
Distribution substations installed | Number of substations |  |  | CA2.5.1 | ASAE3000
Augmentation HV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
Augmentation LV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
COMMERCIAL/INDUSTRIAL
Distribution substations installed | MVA |  |  | CA2.5.1 | ASAE3000
Distribution substations installed | Number of substations |  |  | CA2.5.1 | ASAE3000
Augmentation HV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
Augmentation LV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
SUBDIVISION
Distribution substations installed | MVA |  |  | CA2.5.1 | ASAE3000
Distribution substations installed | Number of substations |  |  | CA2.5.1 | ASAE3000
Augmentation HV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
Augmentation LV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
EMBEDDED GENERATION
Distribution substations installed | MVA |  |  | CA2.5.1 | ASAE3000
Distribution substations installed | Number of substations |  |  | CA2.5.1 | ASAE3000
Augmentation HV - net circuit length | km |  |  | CA2.5.1 | ASAE3000
Augmentation LV - net circuit length | km |  |  | CA2.5.1 | ASAE3000

## Replacement & Maintenance
Data category 02: Operational outputs
Asset replacement and maintenance activities | [5 empty] | Current RIN reference | Assurance standard - Non-Financial data
| Units | Asset replacements | Asset failures | Assets maintained | Assets inspected
POLES BY: HIGHEST OPERATING VOLTAGE; MATERIAL TYPE
˂ = 1 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Wood | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 1 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Concrete | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 1 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Steel | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 1 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Composite pole | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 1 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Pole - other technology | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All Poles | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
STAKING OF / STAKED WOODEN POLES BY: HIGHEST OPERATING VOLTAGE
˂ = 1 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE
˂ = 1 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All pole top structures | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
OVERHEAD CONDUCTORS BY: HIGHEST OPERATING VOLTAGE; NUMBER OF PHASES (AT HV)
˂ = 1 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; SWER | km |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Single-Phase | km |  |  |  |  | CA2.2.1 | ASAE3000
˃ 11 kV & < = 22 kV; Multiple-Phase | km |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 66 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
Other | km |  |  |  |  | CA2.2.1 | ASAE3000
All overhead conductors | km |  |  |  |  | replaces CA 2.8.1 | ASAE3000
UNDERGROUND CABLES BY: HIGHEST OPERATING VOLTAGE
˂ = 1 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 1 kV & < = 11 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 11 kV & < = 22 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 33 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 33 kV & < = 66 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV | km |  |  |  |  | CA2.2.1 | ASAE3000
Other | km |  |  |  |  | CA2.2.1 | ASAE3000
All underground cables | km |  |  |  |  | replaces CA 2.8.1 | ASAE3000
SERVICE LINES BY: CONNECTION VOLTAGE; CUSTOMER TYPE; CONNECTION COMPLEXITY
˂ = 11 kV; Residential; Overhead conductor | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Commercial & Industrial; Overhead conductor | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Residential; Underground cable | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Commercial & Industrial; Underground cable | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Subdivision; Underground cable | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 11 kV & < = 22 kV; Commercial & Industrial | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 11 kV & < = 22 kV; Subdivision | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 33 kV; Commercial & Industrial | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 33 kV; Subdivision | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 33 kV & < = 66 kV; Commercial & Industrial | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 33 kV & < = 66 kV; Subdivision | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Commercial & Industrial | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Subdivision | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Commercial & Industrial | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Subdivision | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All service lines | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
TRANSFORMERS BY: MOUNTING TYPE; HIGHEST OPERATING VOLTAGE; AMPERE RATING; NUMBER OF PHASES (AT LV)
Pole Mounted; < = 22kV; < = 60 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Pole Mounted; < = 22kV; > 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Pole Mounted; < = 22kV; < = 60 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Pole Mounted; < = 22kV; > 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; < = 60 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; > 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; < = 60 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Kiosk Mounted; < = 22kV; > 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Single Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Multiple Phase | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; < = 15 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 15 MVA and < = 40 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 40 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; < = 15 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 15 MVA and < = 40 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 40 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; < = 100 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; > 100 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 132 kV; < = 100 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Ground Outdoor / Indoor Chamber Mounted; > 132 kV; > 100 MVA | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All transformers | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
SWITCHGEAR BY: HIGHEST OPERATING VOLTAGE; SWITCH FUNCTION
˂ = 11 kV; Fuse | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
˂ = 11 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 11 kV & < = 22 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 11 kV & < = 22 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 33 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 22 kV & < = 33 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 33 kV & < = 66 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 33 kV & < = 66 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 66 kV & < = 132 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Switch | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
> 132 kV; Circuit Breaker | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All switchgear | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
PUBLIC LIGHTING BY: ASSET TYPE; LIGHTING OBLIGATION
Luminaires; Major Road | Number of assets |  |  |  |  | CA2.2.1
Luminaires; Minor Road | Number of assets |  |  |  |  | CA2.2.1
Brackets; Major Road | Number of assets |  |  |  |  | CA2.2.1
Brackets; Minor Road | Number of assets |  |  |  |  | CA2.2.1
Lamps; Major Road | Number of assets |  |  |  |  | CA2.2.1
Lamps; Minor Road | Number of assets |  |  |  |  | CA2.2.1
Poles / Columns; Major Road | Number of assets |  |  |  |  | CA2.2.1
Poles / Columns; Minor Road | Number of assets |  |  |  |  | CA2.2.1
Other | Number of assets |  |  |  |  | CA2.2.1
All public lighting | Number of activities |  |  |  |  | replaces CA 2.8.1
SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: FUNCTION
Field Devices | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Local Network Wiring Assets | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Communications Network Assets | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Master Station Assets | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Communications Site Infrastructure | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Communications Linear Assets | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
AFLC | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Other | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
All SCADA, network control and protection systems | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000
OTHER BY: BUSINESS SPECIFIED CATEGORIES
<business specified> | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
<business specified> | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
<business specified> | Number of assets |  |  |  |  | CA2.2.1 | ASAE3000
Total other business specified categories | Number of activities |  |  |  |  | replaces CA 2.8.1 | ASAE3000

## Other outputs
Data category 02: Operational outputs
Other outputs
| Units | Activities and services | Current RIN reference | Assurance standard - Non-Financial data
Metering activities
METER PURCHASE
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
METER TESTING
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
METER INVESTIGATION
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
SCHEDULED METER READING
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
SPECIAL METER READING
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
NEW METER INSTALLATION
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
METER REPLACEMENT
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
METER MAINTENANCE
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of activities |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of activities |  | CA4.2.2 | ASAE3000
REMOTE METER READING
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
REMOTE METER RE-CONFIGURATION
Meter Type 1-3 | Number of activities |  | NEW | ASAE3000
Meter Type 4 | Number of activities |  | CA4.2.2 | ASAE3000
OTHER METERING SERVICES
Meter Type 4 | Number of services provided |  | CA4.2.2 | ASAE3000
Meter Type 5 | Number of services provided |  | CA4.2.2 | ASAE3000
Meter Type 6 | Number of services provided |  | CA4.2.2 | ASAE3000
Meter Type 7 | Number of services provided |  | CA4.2.2 | ASAE3000
Fee based services
<business specified> | Number of services provided |  | CA4.3.1 | ASAE3000
<business specified> | Number of services provided |  | CA4.3.1 | ASAE3000
<business specified> | Number of services provided |  | CA4.3.1 | ASAE3000
<additional rows allowed>
Quoted services
<business specified> | Number of services provided |  | CA4.4.1 | ASAE3000
<business specified> | Number of services provided |  | CA4.4.1 | ASAE3000
<business specified> | Number of services provided |  | CA4.4.1 | ASAE3000
<additional rows allowed>
Asset augmentation activities
UNITS UPGRADED
HV Feeder Augmentations - Overhead conductor | km |  | CA2.3.3 | ASAE3000
HV Feeder Augmentations - Underground Cables | km |  | CA2.3.3 | ASAE3000
LV Feeder Augmentations - Overhead conductor | km |  | CA2.3.3 | ASAE3000
LV Feeder Augmentations - Underground Cables | km |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Pole Mounted | Number of assets |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Ground Mounted | Number of assets |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Indoor | Number of assets |  | CA2.3.3 | ASAE3000
UNITS ADDED
HV Feeder Augmentations - Overhead Lines | km |  | CA2.3.3 | ASAE3000
HV Feeder Augmentations - Underground Cables | km |  | CA2.3.3 | ASAE3000
LV Feeder Augmentations - Overhead Lines | km |  | CA2.3.3 | ASAE3000
LV Feeder Augmentations - Underground Cables | km |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Pole Mounted | Number of assets |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Ground Mounted | Number of assets |  | CA2.3.3 | ASAE3000
Distribution Substation Augmentations - Indoor | Number of assets |  | CA2.3.3 | ASAE3000
Motor vehicles
NUMBER PURCHASED
Car | Number of assets |  | CA2.6.3 | ASAE3000
Light Commercial Vehicle | Number of assets |  | CA2.6.3 | ASAE3000
Elevated Work Platform (LCV) | Number of assets |  | CA2.6.3 | ASAE3000
Elevated Work Platform (HCV) | Number of assets |  | CA2.6.3 | ASAE3000
Heavy Commercial Vehicle | Number of assets |  | CA2.6.3 | ASAE3000
NUMBER LEASED
Car | Number of assets |  | CA2.6.3 | ASAE3000
Light Commercial Vehicle | Number of assets |  | CA2.6.3 | ASAE3000
Elevated Work Platform (LCV) | Number of assets |  | CA2.6.3 | ASAE3000
Elevated Work Platform (HCV) | Number of assets |  | CA2.6.3 | ASAE3000
Heavy Commercial Vehicle | Number of assets |  | CA2.6.3 | ASAE3000
PROPORTION OF TOTAL FLEET EXPENDITURE ALLOCATED AS REGULATORY EXPENDITURE
Car | % |  | CA2.6.3 | ASAE3000
Light Commercial Vehicle | % |  | CA2.6.3 | ASAE3000
Elevated Work Platform (LCV) | % |  | CA2.6.3 | ASAE3000
Elevated Work Platform (HCV) | % |  | CA2.6.3 | ASAE3000
Heavy Commercial Vehicle | % |  | CA2.6.3 | ASAE3000

## Export Services
Data category 02: Operational outputs
Export Services
|  |  | Current RIN reference | Assurance standard - Non-Financial data
Export volumes - net metered volume of energy exported by customers with smart meters | Units | Energy
CBD | MWh |  | ES Info Req 1.1
Urban / TAS - Urban | MWh |  | ES Info Req 1.1
Short rural | MWh |  | ES Info Req 1.1
Long rural | MWh |  | ES Info Req 1.1
TAS - Low density rural | MWh |  | ES Info Req 1.1
TAS - High density rural | MWh |  | ES Info Req 1.1
TAS - High density commercial | MWh |  | ES Info Req 1.1
TAS - Critical infrastructure | MWh |  | ES Info Req 1.1