## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting RIN
This template is to be used by Australian Gas Networks Limited (reporting data for Albury and Victoria) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Businesses must use the macro at the top of each worksheet to identify confidential information in the confidential workbook and where confidential information has been removed in the public workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the consolidated confidential file does NOT have to be submitted.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
CONTENTS
| TEMPLATE DATE | JUNE 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
BUSINESS & OTHER DETAILS
TEMPLATE DATE - JUNE 2023
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AGN (Albury and Victoria)
| ACN/ABN |  |  | 19078551685
| Business Address | [6 empty] | Postal Address
| Address 1 |  |  | Level 6 |  |  | Address 1 | PO Box 6468
| Address 2 |  |  | 400 King William Street |  |  | Address 2 | Halifax Street
| Suburb |  |  | ADELAIDE |  |  | Suburb | ADELAIDE
| State |  |  | SA | Post code |  | State | SA | Post code
`
REGULATORY CONTROL PERIODS
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
Amended RIN Amendment Reason
|  |  | Submission Date | 02/12/2024
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
E1. EXPENDITURE SUMMARY
TEMPLATE DATE - JUNE 2023
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$
2023-24
Connections | 52014091.73
Mains replacement | 4006037.64
Mains augmentation | 2920115.9213
Telemetry | 967156.84
Meter replacement | 6883563.9
ICT | 6594927.3165
Capitalised network overheads | 5556888.1064
Capitalised corporate overheads | 0
Other capex | 43990714.1417
Capital contributions included in the above | 37891125.6853
Total (less capital contributions) | 85042369.9106
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$
2023-24
repairs and maintenance | 57486314.7907
marketing and retail incentives | 4797446.9722
debt raising | 1798207.0639
equity raising | 0
unaccounted for gas | 395169.05
jurisdictional charges | 7841386.2
GSL payments | 28490
other opex | 21552630.8775
Total | 93899644.9542
E1.2.2 - NON-REFERENCE SERVICES
Repairs and Maintenance | 763547.3915
Total | 763547.3915
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$
2023-24
Connections | 5410272.8248
Mains replacement | 0
Mains augmentation | 0
Telemetry | 0
Meter replacement | 0
ICT | 0
Capitalised network overheads | 2026552.6665
Capitalised corporate overheads | 0
Other capex | 30454300.31
Total | 37891125.8013
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$
2023-24
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$
2023-24
Connections | 2588581.1612
Mains replacement | 147723.4016
Mains augmentation | 115495.6395
Telemetry | 47994.8083
Meter replacement | 377605.2279
ICT | 0
Other capex | 2279487.9104
capital contributions included in the above | 2026552.6665
Total (less capital contributions) | 3530335.4824
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$
2023-24
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
E11. LABOUR
TEMPLATE DATE - JUNE 2023
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$
2023-24
E11.3.1 - OPEX
In-house labour expenditure | 13204680.5824
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 38407014.7337
Non-labour expenditure | 43051497.2521
Total | 94663192.5682
E11.3.2 - CAPEX
In-house labour expenditure | 2355324.1864
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 68194313.2259
Non-labour expenditure | 14492732.0722
Total | 85042369.4846
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
E21. ANCILLARY REFERENCE SERVICES
TEMPLATE DATE - JUNE 2023
E21.1 - VOLUMES
VOLUMES
Description | 2023-24
Disconnection | 5754
Reconnection | 5427
Special Meter Read - Metro | 163184.25
Special Meter Read - Non Metro | 64580.75
Meter Removal | 189
Meter Reinstallation | 84
Meter Gas and Installtion test | 171
Abolishments | 2542
Total | 241932
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$
2023-24
Disconnection | 466071
Reconnection | 510114
Special Meter Read - Metro | 1679802.85
Special Meter Read - Non Metro | 917020.65
Meter Removal | 21742
Meter Reinstallation | 9605
Meter Gas and Installtion test | 41740
Abolishments | 523380
Total | 4169475.5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
N1. DEMAND
TEMPLATE DATE - JUNE 2023
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2023-24
Residential | 26602276.6393
Commercial | 8084199.776
Industrial | 15933045.278
Total | 50619521.6932
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2023-24
Tariff V - Central Zone - Residential | 22394249.9
Tariff V - North Zone - Residential | 3006886.8776
Tariff V - Murray Valley Zone - Residential | 238046.1529
Tariff V - Bairnsdale Zone - Residential | 104284.9906
Tariff V - Central Zone - Non-Residential | 6978438.4915
Tariff V - North Zone - Non-Residential | 758028.5062
Tariff V - Murray Valley Zone - Non-Residential | 62286.9433
Tariff V - Bairnsdale Zone - Non-Residential | 64666.6118
Tariff D - Central Zone - Industrial | 10082494.269
Tariff D - Northern Zone - Industrial | 3941373.181
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 858808.7181
Tariff V - Albury Zone - Non-Residential | 220779.2232
Tariff D - Albury Zone - Industrial
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
N2. NETWORK CHARACTERISTICS
TEMPLATE DATE - JUNE 2023
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2023-24
N2.1.1 - LOW PRESSURE
Cast Iron | 2.1679
PVC | 11.4
Polyamide | 0
High density polyethylene (80) | 0.36989
High density polyethylene (100) | 20.4583
High density polyethylene (250) | 0
High density polyethylene (575) | 0.20797
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 0.23795
Protected steel | 7.9345
Other | 0
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0
PVC | 0
Polyamide | 0
High density polyethylene (80) | 0.46222
High density polyethylene (100) | 3.8697
High density polyethylene (250) | 0
High density polyethylene (575) | 0.61623
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 0.01939
Protected steel | 11.3403
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0
PVC | 0.20412
Polyamide | 0
High density polyethylene (80) | 4058.1059
High density polyethylene (100) | 2180.47
High density polyethylene (250) | 0
High density polyethylene (575) | 3003.5025
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 0
Protected steel | 3004.7305
Other | 0
N2.1.4 - TRANSMISSION
Protected steel | 252.0434
Other | 0
TOTAL | 12558.1407
N2.2 - CITY GATES/REGULATORS
VOLUMES
2023-24
City Gate | 59
Field Regulator | 64
District Regulator | 0
Total | 123
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
S1. CUSTOMER NUMBERS
TEMPLATE DATE - JUNE 2023
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
2023-24
A. RESIDENTIAL
Customer numbers as at 1 July | 726207
Customer numbers as at 30 June | 738681
Total customer connections | 20759
Total customer disconnections | 8285
B. COMMERCIAL
Customer numbers as at 1 July | 23956
Customer numbers as at 30 June | 23809
Total customer connections | 306
Total customer disconnections | 453
C. INDUSTRIAL
Customer numbers as at 1 July | 280
Customer numbers as at 30 June | 281
Total customer connections | 5
Total customer disconnections | 4
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
S1. CUSTOMER NUMBERS
TEMPLATE DATE - JUNE 2023
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JULY
VOLUMES
2023-24
Tariff V - Central Zone - Residential | 601141
Tariff V - North Zone - Residential | 86706
Tariff V - Murray Valley Zone - Residential | 8961
Tariff V - Bairnsdale Zone - Residential | 5243
Tariff V - Central Zone - Non-Residential | 19240
Tariff V - North Zone - Non-Residential | 3288
Tariff V - Murray Valley Zone - Non-Residential | 366
Tariff V - Bairnsdale Zone - Non-Residential | 126
Tariff D - Central Zone - Industrial | 213
Tariff D - Northern Zone - Industrial | 49
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 24156
Tariff V - Albury Zone - Non-Residential | 936
Tariff D - Albury Zone - Industrial | 8
Total | 750443
S1.2.2 - CUSTOMER NUMBERS AS AT 30 JUNE
VOLUMES
2023-24
Tariff V - Central Zone - Residential | 612818
Tariff V - North Zone - Residential | 87462
Tariff V - Murray Valley Zone - Residential | 9022
Tariff V - Bairnsdale Zone - Residential | 5275
Tariff V - Central Zone - Non-Residential | 19509
Tariff V - North Zone - Non-Residential | 2972
Tariff V - Murray Valley Zone - Non-Residential | 345
Tariff V - Bairnsdale Zone - Non-Residential | 123
Tariff D - Central Zone - Industrial | 213
Tariff D - Northern Zone - Industrial | 50
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 24104
Tariff V - Albury Zone - Non-Residential | 860
Tariff D - Albury Zone - Industrial | 8
Total | 762771
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
2023-24
Tariff V - Central Zone - Residential | 17924
Tariff V - North Zone - Residential | 2097
Tariff V - Murray Valley Zone - Residential | 235
Tariff V - Bairnsdale Zone - Residential | 121
Tariff V - Central Zone - Non-Residential | 292
Tariff V - North Zone - Non-Residential | 2
Tariff V - Murray Valley Zone - Non-Residential | 6
Tariff V - Bairnsdale Zone - Non-Residential | 0
Tariff D - Central Zone - Industrial | 4
Tariff D - Northern Zone - Industrial | 1
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 382
Tariff V - Albury Zone - Non-Residential | 6
Tariff D - Albury Zone - Industrial | 0
Total | 21070
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
2023-24
Tariff V - Central Zone - Residential | 6247
Tariff V - North Zone - Residential | 1341
Tariff V - Murray Valley Zone - Residential | 174
Tariff V - Bairnsdale Zone - Residential | 89
Tariff V - Central Zone - Non-Residential | 23
Tariff V - North Zone - Non-Residential | 318
Tariff V - Murray Valley Zone - Non-Residential | 27
Tariff V - Bairnsdale Zone - Non-Residential | 3
Tariff D - Central Zone - Industrial | 4
Tariff D - Northern Zone - Industrial | 0
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 434
Tariff V - Albury Zone - Non-Residential | 82
Tariff D - Albury Zone - Industrial | 0
Total | 8742
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
S10. SUPPLY QUALITY
TEMPLATE DATE - JUNE 2023
S10.1 - PRESSURE FAULTS
VOLUMES
2023-24
Poor Pressure events - mains
Poor Pressure events - services
Poor Pressure event - meters | 538
Pressure events impacting 5+ customers | 0
Pressure events with >12 hr resolution | 103
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
S11. NETWORK RELIABILITY
TEMPLATE DATE - JUNE 2023
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
2023-24
Count of outage events | 46
Outages affecting 5+ customers | 0
Outages with >12 hr supply interuption | 0
S11.1.2 - UNPLANNED
VOLUMES
2023-24
Count of outage events | 636
Outages affecting 5+ customers | 12
Outages with >12 hr supply interuption | 46
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.46128
PVC
Broken pipe - cracked | 0.1155
Broken pipe - full break | 0.057749
Corrosion | 0
Joint leak | 0.28874
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.19552
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0.0051965
Broken pipe - full break | 0.022323
Corrosion | 0.0061413
Joint leak | 0.024093
3rd party damage | 0.036375
Identified water in main | 0
Other | 0.0042517
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0.081619
Broken pipe - full break | 0.020986
Corrosion | 0.029658
Joint leak | 0.088481
3rd party damage | 0.15892
Identified water in main | 0
Other | 0.034833
Medium density polyethylene
Broken pipe - cracked | 0.010076
Broken pipe - full break | 0.0095718
Corrosion | 0.016121
Joint leak | 0.083916
3rd party damage | 0.067519
Identified water in main | 0
Other | 0.010579
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0.079909
Broken pipe - full break | 0.050282
Corrosion | 0.064163
Joint leak | 0.20369
3rd party damage | 0.1715
Identified water in main | 0
Other | 0.026899
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2023-24
Total Transmission and Distribution | 2089
Total | 2089
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
S14. NETWORK INTEGRITY
TEMPLATE DATE - JUNE 2023
S14.1 - LOSS OF CONTAINMENT
VOLUMES
| Units | 2023-24
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 173
Number of Leaks - found through survey | number | 42
Repaired Leaks | number | 215
Length of network subject to survey | km | 2878
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 1651
Number of Leaks - found through survey | number | 32
Repaired Leaks | number | 1683
Number of services surveyed | number | 0
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 12937
Number of Leaks - found through survey | number | 4
Repaired Leaks | number | 12941
Number of meters surveyed | number | 0
S14.2 - INSTANCES OF DAMAGE
VOLUMES
| Units | 2023-24
Mains | number | 50
Services | number | 816
Meters | number | 4
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F1. INCOME
TEMPLATE DATE - JUNE 2023
F1.1 - AUDITED STATUTORY ACCOUNTS
$
2023-24
F1.1.1 - REVENUE
Distribution revenue | 263534208.41
Capital contributions | 41610491.8
Profit from sale of fixed assets | 188135.2
Other revenue | 3874392.28
Total revenue | 309207227.69
F1.1.2 - EXPENDITURE
Operating expenditure | 51117921.86
Depreciation | 88168284.23
Net finance expenses | 982870.42
Loss from sale of fixed assets | 0
Impairment losses | 420316
Other expenses | 219990118.33
Total expenditure | 360679510.84
F1.1.3 - PROFIT
Profit before tax | -51472283.15
Income tax expenses (/ benefit) | -33286708.43
Profit after tax | -18185574.72
F1.2 - ADJUSTMENTS
$
2023-24
F1.2.1 - REVENUE
Distribution revenue | -4804781.1925
Capital contributions | 41610491.8
Profit from sale of fixed assets
Other Revenue | 3874392.28
Total revenue | 40680102.8875
F1.2.2 - EXPENDITURE
Operating expenditure | -43545270.4857
Depreciation | -17770494.5391
Net finance expenses | -51431806.1511
Loss from sale of fixed assets
Impairment losses | 420316
Other expenses | 219990118.33
Total expenditure | 107662863.1541
F1.2.3 - PROFIT
Profit before tax | -66982760.2667
Income tax expenses (/ benefit) | -37939851.565
Profit after tax | -29042908.7017
F1.3 - DISTRIBUTION BUSINESS
$
2023-24
F1.3.1 - REVENUE
Distribution revenue | 268338989.6025
Capital contributions | 0
Profit from sale of fixed assets | 188135.2
Other Revenue | 0
Total revenue | 268527124.8025
F1.3.2 - EXPENDITURE
Operating expenditure | 94663192.3457
Depreciation | 105938778.7691
Net finance expenses | 52414676.5711
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 253016647.6859
F1.3.3 - PROFIT
Profit before tax | 15510477.1167
Income tax expenses (/ benefit) | 4653143.135
Profit after tax | 10857333.9817
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F2. CAPITAL EXPENDITURE
TEMPLATE DATE - JUNE 2023
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2023-24
Mains & Services - Victoria | 88060798.6536
Meters - Victoria | 11514164.2035
Buildings - Victoria | 0
SCADA - Victoria | 1015150.537
Computer Equipment - Victoria | 6381965.7078
Land - Victoria | 0
Other Assets - Victoria | 14062730.6245
Mains & Services - Albury | 1251190.025
Meters - Albury | 309222.3726
Buildings - Albury | 0
SCADA - Albury | 1.1114
Computer Equipment - Albury | 212961.6087
Other Assets - Albury | 125310.7943
Total | 122933495.6383
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$
Asset Class | 2023-24
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 0
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2023-24
Mains & Services - Victoria | 37641490.6185
Meters - Victoria | 229641.4975
Buildings - Victoria | 0
SCADA - Victoria | 0
Computer Equipment - Victoria | 0
Land - Victoria | 0
Other Assets - Victoria | 0
Mains & Services - Albury | 19993.6853
Meters - Albury | 0
Buildings - Albury | 0
SCADA - Albury | 0
Computer Equipment - Albury | 0
Other Assets - Albury | 0
Total | 37891125.8013
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$
Asset Class | 2023-24
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria | 190341.65
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 190341.65
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2023-24
Mains & Services - Victoria | 4153761.0416
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 4153761.0416
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F3. REVENUE
TEMPLATE DATE - JUNE 2023
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$
Tariff | 2023-24
Tariff V - Central Zone - Residential | 200444068.4376
Tariff V - North Zone - Residential | 24654804.818
Tariff V - Murray Valley Zone - Residential | 2233406.7773
Tariff V - Bairnsdale Zone - Residential | 2012273.9987
Tariff V - Central Zone - Non-Residential | 18816142.8576
Tariff V - North Zone - Non-Residential | 2010018.4975
Tariff V - Murray Valley Zone - Non-Residential | 211878.2286
Tariff V - Bairnsdale Zone - Non-Residential | 277130.0322
Tariff D - Central Zone - Industrial | 3589804.57
Tariff D - Northern Zone - Industrial | 1309936.48
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 6645294.4848
Tariff V - Albury Zone - Non-Residential | 540169.9602
Tariff D - Albury Zone - Industrial
Total | 262744929.1425
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$
Service Name | 2023-24
Disconnection | 466071
Reconnection | 510114
Special Meter Read - Metro | 1679802.85
Special Meter Read - Non Metro | 917020.65
Meter Removal | 21742
Meter Reinstallation | 9605
Meter Gas and Installation test | 41740
Abolishments | 555250
Total | 4201345.5
F3.3 - REBATEABLE SERVICES
REVENUE
$
Service Name | 2023-24
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$
Service Name | 2023-24
Out of Hours Special Read | 25986
Meter Alter Position | 271195.87
Same Day Premium Service | 108010
Disconnect Service in Street | 46972
No Access/Incomplete Meter Fix | 425220.32
Reconnect Service in Street | 24990
Total | 902374.19
F3.5 - TOTAL REVENUE
2023-24
Total | 267848648.8325
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2023-24
Opex Efficiency Mechanism Carryover - AGN Victoria & AGN Albury | -1748739.2952
Capital Expenditure Sharing Scheme - AGN Victoria & AGN Albury | -2614214.351
Total | -4362953.6462
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F4. OPERATING EXPENDITURE
TEMPLATE DATE - JUNE 2023
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$
Description | 2023-24
repairs and maintenance | 43659221.17
marketing and retail incentives | 36626.76
debt raising
equity raising
unaccounted for gas | 385099.4
jurisdictional charges | 6347665.38
GSL payments | 28490
other opex | 660819.15
Total | 51117921.86
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$
Description | 2023-24
repairs and maintenance | -14590641.0123
marketing and retail incentives | -4760820.2122
debt raising | -1798207.0639
equity raising
unaccounted for gas | -10069.65
jurisdictional charges | -1493720.82
GSL payments | 0
other opex | -20891811.7275
Total | -43545270.4857
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$
Description | 2023-24
repairs and maintenance | 58249862.1823
marketing and retail incentives | 4797446.9722
debt raising | 1798207.0639
equity raising | 0
unaccounted for gas | 395169.05
jurisdictional charges | 7841386.2
GSL payments | 28490
other opex | 21552630.8775
Total | 94663192.3457
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F6. RELATED PARTY TRANSACTIONS
TEMPLATE DATE - JUNE 2023
F6.1 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| VALUE $ | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2023-24
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| VALUE $ | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2023-24
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AGN (Albury and Victoria)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$
Opex category | 2023-24
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F7. PROVISIONS
TEMPLATE DATE - JUNE 2023
F7 - PROVISIONS
VALUE $
2023-24
Provision name: Current employee entitlements and oncosts
Current provision for employee annual leave, long service leave and oncosts
Opening balance (the carrying amount at the beginning of the period) | 2044274.9672
Additional provisions made in the period, including increases to existing provisions
Opex component | 853846.5595
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -685151.1357
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -243533.9833
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1969436.4077
Provision name: Provision for Long Service Leave (Non Current)
Non Current Provision for Long Service Leave
Opening balance (the carrying amount at the beginning of the period) | 73294.1228
Additional provisions made in the period, including increases to existing provisions
Opex component | 12267.7038
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -8731.5112
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 76830.3154
Asbestos Claims Provision
Provision for potential future Asbestos claims
Opening balance (the carrying amount at the beginning of the period) | 122956.5809
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -14647.7878
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 108308.7931
Historic Haulage Service Charging Provision
Provision for Legal costs associated with the Historic Haulage Service Charges
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F9. PASS THROUGHS
TEMPLATE DATE - JUNE 2023
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$
Description | 2023-24
<insert pass through event>
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2023-24
F10. ASSETS
TEMPLATE DATE - JUNE 2023
F10.1 - CAPITAL BASE VALUES
VALUE $
2023-24
FOR TOTAL ASSET BASE
Opening value | 1953145824.0866
Inflation addition | 152966902.9581
Straight line depreciation | -105938778.7691
Actual additions (recognised in RAB) | 89420118.929
Disposals | -190341.65
Closing value | 2089403725.5547
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## Additional disclosures
This sheet may be used to identify amendments made to data resubmitted to the AER.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions
Contents
Instructions