## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by AusNet Gas Services to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
AusNet Gas Services
2023-24
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
AusNet Gas Services
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AusNet (Gas)
| ACN/ABN |  |  | 86015036
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | Level 31 |  |  |  |  | Address 1 | Locked Bag 14051
| Address 2 |  |  | 2 Southbank Boulevard |  |  |  |  | Address 2
| Suburb |  |  | Southbank |  |  |  |  | Suburb | MELBOURNE
| State |  |  | Vic |  | Post code | 3004 |  | State | Vic | Post code | 8001
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2023-24 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 2024-11-30
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
AusNet Gas Services
2023-24
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 46586805.41
Mains replacement | 27550298.36
Mains augmentation | 2771513.27
Telemetry | 526724.54
Meter replacement | 9942265.49
ICT | 8629809.88
Capitalised network overheads | 6539599.3282
Capitalised corporate overheads | 0
Other capex | 8205912.57
Capital contributions included in the above | 9673352.33
Total (less capital contributions) | 101079576.5182
E1.1.2 - NON-REFERENCE SERVICES
Other Non-Reference Services | 883390.4401
Capital contributions included in the above | 275900.27
Total (less capital contributions) | 607490.1701
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
repairs and maintenance | 14702791.46
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 93151.34
jurisdictional charges | 8039170.88
GSL payments | 2150
other opex | 36452732.5
Total | 59289996.18
E1.2.2 - NON-REFERENCE SERVICES
Repairs and Maintenance | 5760587.08
Total | 5760587.08
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 3205407.6127
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads | 521890.2542
Capitalised corporate overheads
Other capex | 5946054.4631
Total | 9673352.33
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Other Non-Reference Services | 275900.27
Total | 275900.27
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 3061225.982
Mains replacement | 1763215.458
Mains augmentation | 198488.0271
Telemetry | 33171.7033
Meter replacement | 618399.064
ICT | 477089.6392
Other capex | 388009.4547
capital contributions included in the above | 521890.2542
Total (less capital contributions) | 6017709.074
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Other Non-Reference Services | 59166.2201
Capital contributions included in the above | 18478.7783
Total (less capital contributions) | 40687.4418
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
AusNet Gas Services
2023-24
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2023-24
E11.3.1 - OPEX
In-house labour expenditure | 9604527.57
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 55446056
Total | 65050583.57
E11.3.2 - CAPEX
In-house labour expenditure | 1453071.0146
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 100233995.6737
Total | 101687066.6883
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
AusNet Gas Services
2023-24
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2023-24
ARS - Reconnections | 1934
ARS - Disconnections | 7399
ARS - Meter & Gas Installation test | 260
ARS - Special Meter Reads | 260587
Total | 270180
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2023-24
ARS - Reconnections | 88846.81
ARS - Disconnections | 82814.53
ARS - Meter & Gas Installation test | 33725.22
ARS - Special Meter Reads | 1789030.13
Total | 1994416.69
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
AusNet Gas Services
2023-24
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2023-24
Residential | 28988600.713
Commercial | 6012845.746
Industrial | 25731973.83
Total | 60733420.289
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2023-24
Tariff V Central Domestic | 22164086.909
Tariff V Central Non-Domestic | 4386494.608
Tariff V Adjoining Central Domestic | 63010.861
Tariff V Adjoining Central Non-Domestic | 2892.288
Tariff V West Domestic | 6200263.089
Tariff V West Non-Domestic | 1516104.377
Tariff V Adjoining West Domestic | 561239.854
Tariff V Adjoining West Non-Domestic | 107354.473
Tariff D Central | 19255336.13
Tariff D Adjoining Central | 257513.62
Tariff D West | 5275573.39
Tariff D Adjoining West | 39841.79
Tariff M Central | 610120.79
Tariff M Adjoining Central | 0
Tariff M West | 293588.11
Tariff M Adjoining West | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
AusNet Gas Services
2023-24
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2023-24
N2.1.1 - LOW PRESSURE
Cast Iron | 40.6038
PVC | 127.3794
Polyamide | 0
High density polyethylene (80) | 2.6204
High density polyethylene (100) | 0.97421
High density polyethylene (250) | 0
High density polyethylene (575) | 2.3404
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 26.021
Protected steel | 3.2194
Other | 0
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.42881
PVC | 0
Polyamide | 0
High density polyethylene (80) | 16.7276
High density polyethylene (100) | 8.3658
High density polyethylene (250) | 24.156
High density polyethylene (575) | 171.3851
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 193.4195
Protected steel | 193.9485
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0.21746
PVC | 0.23128
Polyamide | 0
High density polyethylene (80) | 3966.1125
High density polyethylene (100) | 3113.2282
High density polyethylene (250) | 0.09838
High density polyethylene (575) | 2750.9304
Medium density polyethylene | 0
Other polyethylene | 51.3561
Unprotected steel | 0.74796
Protected steel | 2298.8073
Other | 0.00649
N2.1.4 - TRANSMISSION
Protected steel | 183.948
Other | 0
TOTAL | 13177.2739
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2023-24
City Gate | 43
Field Regulator | 109
District Regulator | 24
Total | 176
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2023-24
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2023-24
A. RESIDENTIAL
Customer numbers as at the begining of the period | 785032
Customer numbers as at the end of the period | 804135
Total customer connections | 19349
Total customer disconnections | 246
B. COMMERCIAL
Customer numbers as at the begining of the period | 19326
Customer numbers as at the end of the period | 19389
Total customer connections | 81
Total customer disconnections | 18
C. INDUSTRIAL
Customer numbers as at the begining of the period | 332
Customer numbers as at the end of the period | 334
Total customer connections | 8
Total customer disconnections | 6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2023-24
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2023-24
Tariff V Central Domestic | 610777
Tariff V Central Non-Domestic | 12191
Tariff V Adjoining Central Domestic | 2441
Tariff V Adjoining Central Non-Domestic | 33
Tariff V West Domestic | 158996
Tariff V West Non-Domestic | 6777
Tariff V Adjoining West Domestic | 12818
Tariff V Adjoining West Non-Domestic | 325
Tariff D Central | 222
Tariff D Adjoining Central | 1
Tariff D West | 72
Tariff D Adjoining West | 2
Tariff M Central | 27
Tariff M Adjoining Central | 0
Tariff M West | 8
Tariff M Adjoining West | 0
Total | 804690
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2023-24
Tariff V Central Domestic | 627314
Tariff V Central Non-Domestic | 12259
Tariff V Adjoining Central Domestic | 2486
Tariff V Adjoining Central Non-Domestic | 32
Tariff V West Domestic | 161217
Tariff V West Non-Domestic | 6767
Tariff V Adjoining West Domestic | 13118
Tariff V Adjoining West Non-Domestic | 331
Tariff D Central | 219
Tariff D Adjoining Central | 1
Tariff D West | 71
Tariff D Adjoining West | 2
Tariff M Central | 32
Tariff M Adjoining Central | 0
Tariff M West | 9
Tariff M Adjoining West | 0
Total | 823858
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2023-24
Tariff V Central Domestic | 16739
Tariff V Central Non-Domestic | 75
Tariff V Adjoining Central Domestic | 46
Tariff V Adjoining Central Non-Domestic | 0
Tariff V West Domestic | 2261
Tariff V West Non-Domestic | 0
Tariff V Adjoining West Domestic | 303
Tariff V Adjoining West Non-Domestic | 6
Tariff D Central | 2
Tariff D Adjoining Central | 0
Tariff D West | 0
Tariff D Adjoining West | 0
Tariff M Central | 5
Tariff M Adjoining Central | 0
Tariff M West | 1
Tariff M Adjoining West | 0
Total | 19438
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2023-24
Tariff V Central Domestic | 202
Tariff V Central Non-Domestic | 7
Tariff V Adjoining Central Domestic | 1
Tariff V Adjoining Central Non-Domestic | 1
Tariff V West Domestic | 40
Tariff V West Non-Domestic | 10
Tariff V Adjoining West Domestic | 3
Tariff V Adjoining West Non-Domestic | 0
Tariff D Central | 5
Tariff D Adjoining Central | 0
Tariff D West | 1
Tariff D Adjoining West | 0
Tariff M Central | 0
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 270
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
AusNet Gas Services
2023-24
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2023-24
Poor Pressure events - mains | 9
Poor Pressure events - services | 9
Poor Pressure event - meters | 0
Pressure events impacting 5+ customers | 4
Pressure events with >12 hr resolution | 9
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
AusNet Gas Services
2023-24
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2023-24
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 290
Number of Leaks - found through survey | number of leaks | 212
Repaired Leaks | number of leaks | 502
Length of network subject to survey | km | 865.84
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 3863
Number of Leaks - found through survey | number of leaks | 92
Repaired Leaks | number of leaks | 3955
Number of services surveyed | number of services | 0
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 7334
Number of Leaks - found through survey | number of leaks | 0
Repaired Leaks | number of leaks | 7334
Number of meters surveyed | number of meters | 0
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2023-24
Mains | number of instances | 30
Services | number of instances | 968
Meters | number of instances | 10
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
AusNet Gas Services
2023-24
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2023-24
Count of outage events | 209
Outages affecting 5+ customers | 180
Outages with >12 hr supply interuption | 1
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2023-24
Count of outage events | 247
Outages affecting 5+ customers | 4
Outages with >12 hr supply interuption | 9
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0.024628
Broken pipe - full break | 0.049256
Corrosion | 0.049256
Joint leak | 0.27091
3rd party damage | 0.81273
Identified water in main | 0
Other | 3.4479
PVC
Broken pipe - cracked | 0.0078506
Broken pipe - full break | 0
Corrosion | 0.031402
Joint leak | 0.023552
3rd party damage | 0.15701
Identified water in main | 0
Other | 1.0991
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.38162
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.85457
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.19215
Joint leak | 0
3rd party damage | 0.26901
Identified water in main | 0
Other | 1.7294
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.31061
Joint leak | 0
3rd party damage | 0.62123
Identified water in main | 0
Other | 5.2805
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.17934
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.11953
Identified water in main | 0
Other | 0.23907
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.041398
Identified water in main | 0
Other | 0.53817
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.01167
Joint leak | 0
3rd party damage | 0.099192
Identified water in main | 0.30925
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.056871
Joint leak | 0
3rd party damage | 0.082722
Identified water in main | 1.1116
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.010312
Corrosion | 0.041248
Joint leak | 0.005156
3rd party damage | 0.12374
Identified water in main | 0
Other | 0.64966
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0.00050427
Corrosion | 0.0010085
Joint leak | 0
3rd party damage | 0.053957
Identified water in main | 0
Other | 0.11069
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.00064242
3rd party damage | 0.070987
Identified water in main | 0
Other | 0.063921
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0.00036351
Broken pipe - full break | 0.00072703
Corrosion | 0.010542
Joint leak | 0
3rd party damage | 0.092696
Identified water in main | 0
Other | 0.27191
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.019472
3rd party damage | 0.019472
Identified water in main | 0
Other | 0.058416
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.00087002
Corrosion | 0.01566
Joint leak | 0.00043501
3rd party damage | 0.080042
Identified water in main | 0
Other | 0.43109
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2023-24
Declared Transmission System | 1954.2931
Non Delcared Transmission System | 29.3421
Total | 1983.6352
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
AusNet Gas Services
2023-24
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2023-24
F1.1.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other revenue
Total revenue
F1.1.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.1.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.2 - ADJUSTMENTS
$0's, nominal
2023-24
F1.2.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other Revenue
Total revenue
F1.2.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.2.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2023-24
F1.3.1 - REVENUE
Distribution revenue | 241495641.7
Capital contributions | 0
Profit from sale of fixed assets | 106562.14
Other Revenue | 0
Total revenue | 241602203.84
F1.3.2 - EXPENDITURE
Operating expenditure | 65050583.553
Depreciation | 106986331.9937
Net finance expenses | 0
Loss from sale of fixed assets | 2708028.12
Impairment losses | 0
Other expenses | 0
Total expenditure | 174744943.6667
F1.3.3 - PROFIT
Profit before tax | 66857260.1733
Income tax expenses (/ benefit) | 0
Profit after tax | 66857260.1733
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
AusNet Gas Services
2023-24
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Transmission Pipelines | 0
Distribution Pipelines | 46048823.9459
Service Pipes | 35335954.9072
Cathodic Protection | 33613.5537
Supply Regulators / Valve Stations | 1245782.4481
Meters | 17487170.3609
SCADA and remote control | 736028.4306
Other - IT | 8932897.7934
Other - non IT | 642657.4084
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY24 | 0
Land | 290000
Total | 110752928.8482
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Transmission Pipelines | 0
Distribution Pipelines | 11121.6678
Service Pipes | 8534.3059
Cathodic Protection | 8.1183
Supply Regulators / Valve Stations | 300.8802
Meters | 4223.4846
SCADA and remote control | 177.7649
Other - IT | 2157.4649
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY24
Land
Total | 26523.6866
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Transmission Pipelines | 0
Distribution Pipelines | 7174505.9005
Service Pipes | 2084204.5525
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 414641.877
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY24 | 0
Land
Total | 9673352.33
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Transmission Pipelines | 0
Distribution Pipelines | 0
Service Pipes | 0
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 0
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 106562.14
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY24 | 0
Land
Total | 106562.14
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Transmission Pipelines
Distribution Pipelines
Service Pipes
Cathodic Protection
Supply Regulators / Valve Stations
Meters
SCADA and remote control
Other - IT
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY24
Land
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
AusNet Gas Services
2023-24
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2023-24
Tariff V Central Domestic | 174941373.6137
Tariff V Central Non-Domestic | 5238279.2728
Tariff V Adjoining Central Domestic | 697580.0245
Tariff V Adjoining Central Non-Domestic | 16110.3074
Tariff V West Domestic | 38141000.6997
Tariff V West Non-Domestic | 1866613.4
Tariff V Adjoining West Domestic | 4803853.3209
Tariff V Adjoining West Non-Domestic | 450533.2086
Tariff D Central | 1373480.49
Tariff D Adjoining Central | 9085.63
Tariff D West | 454616.8
Tariff D Adjoining West | 2870.84
Tariff M Central | 176057.2
Tariff M Adjoining Central | 0
Tariff M West | 71374.37
Tariff M Adjoining West | 0
Total | 228242829.1776
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Reconnections | 123817.76
Disconnections | 473578.14
Meter and Gas Installation test | 49931.3
Special Meter Reads | 1834486.61
Total | 2481813.81
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Non-Reference Services | 9469239.1
Total | 9469239.1
F3.5 - TOTAL REVENUE
2023-24
Total | 240193882.0876
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2023-24
Efficiency carryover | 5429965.7454
Total | 5429965.7454
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
AusNet Gas Services
2023-24
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance | 20463378.54
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 93151.34
jurisdictional charges | 8039170.88
GSL payments | 2150
other opex | 36452732.5
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
AusNet Gas Services
2023-24
F6. RELATED PARTY TRANSACTIONS
F6.1 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2023-24
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2023-24
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AusNet (Gas)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2023-24
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
AusNet Gas Services
2023-24
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2023-24
Provision for Doubtful Debts
Provision for doubtful debt is an allowance that has been made for estimated unrecoverable amounts, determined by reference to past default experience of individual debtors.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component | 0
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Employee Entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave are recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 266127.942
Capex component | 176137.088
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -117730.8018
Capex component | -77920.2682
Other component
Unused amounts reversed during the period
Opex component | -123599.5163
Capex component | -81804.4837
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 3635.97
Closing balance (carrying amount at the end of the period)
Environmental Provision
This provision is used for environmental matters such land remediation costs. The liability is determined based on the present value of the obligation as appropriate.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -1057972.57
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 1054217.49
Closing balance (carrying amount at the end of the period)
Miscellaneous Provision
Provision represents sundry matters including the work out provision and carbon tax pass through
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 82347.4647
Capex component | 54501.7653
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -67070.0867
Capex component | -44390.4149
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
AusNet Gas Services
2023-24
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2023-24
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
AusNet Gas Services
2023-24
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2023-24
FOR TOTAL ASSET BASE
Opening value | 1850678055.8024
Inflation addition | 144941809.8114
Straight line depreciation | 106986331.9937
Actual additions (recognised in RAB) | 106167773.0873
Disposals | 0
Closing value | 1994801306.7074
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY