## Cover sheet
COVERSHEET
Notes:
Prior to this data analysis, all component types at Directlink (253 in all) were assessed for criticality and 88 were deemed critical as failure results in either all or 1 of 3 systems offline
Following identification of criticality, all components were assessed for obsolescence risk, failure risk, lead time, mimumum order quantity and a 'short list' of critical spares required for purchase were identified.
In this sheet, this 'short list' of critical spares were categorised into: a) Items with an obsolescence risk (i.e. where the alternative is therefore a major capex upgrade) and have a stable Failure Rate ->2.0 b) Items with an obsolescence risk (i.e. where the alternative is therefore a major capex upgrade) and have a Mean Time to Failure Curve ->3.0 3.1 Original asset still in service (MTBF>19 years), 3.2 Assets have been replace (MTBF<19 years) c) Items without an obsolescence risk where the current inventory is may not be adequate for the estimated lead time and failure rate.
Inventory/exisitng data comments to be added
Review naming/numbering

## 1.0 Asset Data
#VALUE!
Equipment Name | Current in-Service Balance (Assembled Equipment) - Set | Current Spares Balance | Failure events in 18 years | Failure events p/a | Cost Estimate per Unit | Minimum Purchase Qty | Analysis Type | Estimate Lead Time | Alternate | Lead duration economic cost | Alternate Cost (min) | Alternate Cost(max) | Alternate (midpoint) | Obsolesence Risk | Mean time to failure
Spare 1 | 120 | 0 | 1.836 | 0.102 | 134189.1206 | 0 | Lead Time | 30 | Asset offline for lead time duration | 14231280 | 0 | 0 | 0 | Lead | 9.8039
Spare 2 | 10 | 0 | 15.3 | 0.85 | 145857.7397 | 0 | Lead Time | 30 | Asset offline for lead time duration | 14231280 | 0 | 0 | 0 | Lead | 1.1765
Spare 3 | 10 | 0 | 15.3 | 0.85 | 145857.7397 | 0 | Lead Time | 30 | Asset offline for lead time duration | 14231280 | 0 | 0 | 0 | Lead | 1.1765
Spare 4 | 1 | 0 | 0.0612 | 0.0034 | 72112.0665 | 0 | Lead Time | 52 | Asset offline for lead time duration | 24667552 | 0 | 0 | 0 | Lead | 294.1176
Spare 5 | 1 | 0 | 0.011306 | 0.00062809 | 9807.241 | 0 | Lead Time | 25 | Asset offline for lead time duration | 11859400 | 0 | 0 | 0 | Lead | 1592.1234
Spare 6 | 3 | 1 | 0.14159 | 0.007866 | 23075.8613 | 0 | Lead Time | 32 | Asset offline for lead time duration | 15180032 | 0 | 0 | 0 | Lead | 127.1294
Spare 7 | 1 | 0 | 0.002622 | 0.00014567 | 87591.6567 | 0 | Lead Time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 381.3883
Spare 8 | 2 | 0 | 0.1125 | 0.00625 | 10239.2367 | 0 | Lead Time | 12 | Asset offline for lead time duration | 5692512 | 0 | 0 | 0 | Lead | 160
Spare 9 | 1 | 0 | 0.064286 | 0.0035714 | 6398.5223 | 0 | Lead Time | 12 | Asset offline for lead time duration | 5692512 | 0 | 0 | 0 | Lead | 280
Spare 10 | 2 | 0 | 0.030329 | 0.0016849 | 1250.876 | 0 | Lead Time | 12 | Asset offline for lead time duration | 5692512 | 0 | 0 | 0 | Lead | 593.5
Spare 11 | 1 | 0 | 0.36 | 0.02 | 1334.89 | 0 | Lead Time | 20 | Asset offline for lead time duration | 9487520 | 0 | 0 | 0 | Lead | 50
Spare 12 | 2 | 0 | 0.01326 | 0.00073665 | 1414.2366 | 0 | Lead Time | 24 | Asset offline for lead time duration | 11385024 | 0 | 0 | 0 | Lead | 1357.5
Spare 13 | 3 | 1 | 3 | 0.16667 | 58343.0959 | 0 | Lead time | 48 | Asset offline for lead time duration | 22770048 | 0 | 0 | 0 | Lead | 6
Spare 14 | 6 | 0 | 6 | 0.33333 | 58343.0959 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 3
Spare 15 | 3 | 1 | 3 | 0.16667 | 58343.0959 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 6
Spare 16 | 6 | 0 | 6 | 0.33333 | 58343.0959 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 3
Spare 17 | 24 | 5 | 1.0218 | 0.056765 | 10976.0166 | 0 | Lead time | 40 | Asset offline for lead time duration | 18975040 | 0 | 0 | 0 | Lead | 17.6166
Spare 18 | 30 | 0 | 1.5965 | 0.088695 | 12104.0454 | 0 | Lead time | 40 | Asset offline for lead time duration | 18975040 | 0 | 0 | 0 | Lead | 11.2746
Spare 19 | 6 | 1 | 0.52034 | 0.028908 | 11668.6192 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 34.5925 | Original
Spare 20 | 6 | 1 | 0.52034 | 0.028908 | 11668.6192 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 34.5925 | Original
Spare 21 | 3 | 1 | 0.011306 | 0.00062809 | 9807.241 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 1592.1234
Spare 22 | 3 | 1 | 0.011306 | 0.00062809 | 9807.241 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 1592.1234
Spare 23 | 6 | 1 | 0.022611 | 0.0012562 | 9807.241 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 796.0617
Spare 24 | 6 | 1 | 1.7976 | 0.099864 | 11668.6192 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 10.0136 | Replacement
Spare 25 | 27 | 1 | 4.3141 | 0.23967 | 93348.9534 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 4.1723 | Replacement
Spare 26 | 9 | 1 | 1.438 | 0.079891 | 93348.9534 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 12.517 | Replacement
Spare 27 | 6 | 1 | 0.95869 | 0.053261 | 11668.6192 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 18.7755 | Replacement
Spare 28 | 18 | 2 | 0.067834 | 0.0037686 | 22861.5088 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 265.3539
Spare 29 | 18 | 1 | 0.28318 | 0.015732 | 22703.749 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 63.5647
Spare 30 | 15 | 0 | 0.33349 | 0.018527 | 11822.645 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 500000 | 1000000 | 750000 | Mean | 53.9741 | Original
Spare 31 | 45 | 0 | 3.0014 | 0.16675 | 11822.645 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 5.9971 | Replacement
Spare 32 | 3 | 1 | 0.066699 | 0.0037055 | 21031.8982 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 269.8706 | Original
Spare 33 | 9 | 0 | 0.60029 | 0.033349 | 21031.8982 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 29.9856 | Original
Spare 34 | 18 | 1 | 0.83444 | 0.046358 | 58343.0959 | 0 | Mean Time to Failure | 52 | Re-engineer, asset offline for lead time (at least) | 24667552 | 200000 | 400000 | 300000 | Mean | 21.5713 | Replacement
Spare 35 | 75 | 3 | 3.9913 | 0.22174 | 12972.1451 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 4.5098 | Replacement
Spare 36 | 15 | 1 | 0.79826 | 0.044347 | 12972.1451 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 22.5492 | Original
Spare 37 | 60 | 2 | 2.5544 | 0.14191 | 10313.98 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 7.0466 | Replacement
Spare 38 | 12 | 1 | 0.51088 | 0.028382 | 10313.98 | 0 | Mean Time to Failure | 34 | Re-engineer, asset offline for lead time (at least) | 16128784 | 200000 | 400000 | 300000 | Mean | 35.2331 | Original
Spare 39 | 18 | 1 | 0.83444 | 0.046358 | 17327.7828 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 21.5713 | Replacement
Spare 40 | 18 | 0 | 0.83444 | 0.046358 | 5570.1321 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 21.5713 | Replacement
Spare 41 | 18 | 0 | 5.2507 | 0.29171 | 35005.8575 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 3.4281 | Replacement
Spare 42 | 18 | 4 | 5.2507 | 0.29171 | 35005.8575 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 3.4281 | Replacement
Spare 43 | 18 | 0 | 0.56765 | 0.031536 | 13949.6009 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 31.7098 | Original
Spare 44 | 18 | 0 | 0.56765 | 0.031536 | 13949.6009 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 31.7098 | Original
Spare 45 | 36 | 0 | 1.6859 | 0.093662 | 13949.6009 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 10.6767 | Replacement
Spare 46 | 15 | 1 | 0.17857 | 0.0099207 | 334177.5847 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 1000000 | 2000000 | 1500000 | Mean | 100.7993 | Original
Spare 47 | 3 | 1 | 0.035715 | 0.0019841 | 334177.5847 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 1000000 | 2000000 | 1500000 | Mean | 503.9967 | Original
Spare 48 | 18 | 0 | 0.21429 | 0.011905 | 24342.0232 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 83.9994 | Original
Spare 49 | 18 | 1 | 2.8761 | 0.15978 | 160641.8802 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 750000 | 1250000 | 1000000 | Mean | 6.2585 | Replacement
Spare 50 | 240 | 0 | 3.4059 | 0.18922 | 12768.2465 | 0 | Mean Time to Failure | 250 | Major redesign to valve hall, asset offline for lead time at least | 118594000 | 3000000 | 8000000 | 5500000 | Mean | 5.285 | Replacement
Spare 51 | 24 | 1 | 0.34059 | 0.018922 | 12768.2465 | 0 | Mean Time to Failure | 250 | Major redesign to valve hall, asset offline for lead time at least | 118594000 | 3000000 | 8000000 | 5500000 | Mean | 52.8497 | Original
Spare 52 | 80 | 10 | 1.1353 | 0.063072 | 12245.1096 | 0 | Mean Time to Failure | 34 | Major redesign to valve hall, asset offline for lead time at least | 16128784 | 3000000 | 8000000 | 5500000 | Mean | 15.8549 | Replacement
Spare 53 | 12 | 1 | 0.17029 | 0.0094608 | 12245.1096 | 0 | Mean Time to Failure | 34 | Major redesign to valve hall, asset offline for lead time at least | 16128784 | 3000000 | 8000000 | 5500000 | Mean | 105.6993 | Original
Spare 54 | 60 | 0 | 1.2772 | 0.070956 | 12601.2686 | 0 | Mean Time to Failure | 34 | Major redesign to valve hall, asset offline for lead time at least | 16128784 | 3000000 | 8000000 | 5500000 | Mean | 14.0932 | Replacement
Spare 55 | 12 | 2 | 0.25544 | 0.014191 | 12045.5156 | 0 | Mean Time to Failure | 34 | Major redesign to valve hall, asset offline for lead time at least | 16128784 | 3000000 | 8000000 | 5500000 | Mean | 70.4662 | Original
Spare 56 | 12 | 1 | 1.3529 | 0.075161 | 32179.9513 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 200000 | 400000 | 300000 | Mean | 13.3048 | Replacement
Spare 57 | 6 | 1 | 1.0445 | 0.058026 | 2882608.5641 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 17.2336
Spare 58 | 6 | 0 | 0.0075497 | 0.00041943 | 9807.241 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 2384.1949
Spare 59 | 12 | 2 | 0.015099 | 0.00083886 | 19568.2744 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 1192.0974
Spare 60 | 12 | 0 | 0.015099 | 0.00083886 | 1870.363 | 0 | Lead time | 100 | Asset offline for lead time duration | 47437600 | 0 | 0 | 0 | Lead | 1192.0974
Spare 61 | 12 | 0 | 0.22391 | 0.012439 | 14542.7168 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 80.391
Spare 62 | 24 | 0 | 1.1239 | 0.062441 | 13520.3124 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 100000 | 200000 | 150000 | Mean | 16.015 | Replacement
Spare 63 | 54 | 2 | 2.5289 | 0.14049 | 21855.7905 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 100000 | 200000 | 150000 | Mean | 7.1178 | Replacement
Spare 64 | 12 | 2 | 3.4059 | 0.18922 | 50951.8424 | 0 | Mean Time to Failure | 104 | Re-engineer, asset offline for lead time (at least) | 49335104 | 500000 | 1000000 | 750000 | Mean | 5.285 | Replacement
Spare 65 | 6 | 0 | 0.094392 | 0.005244 | 10011.6753 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 190.6941
Spare 66 | 24 | 0 | 0.37757 | 0.020976 | 10011.6753 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 0 | 0 | 0 | Lead | 47.6735
Spare 68 | 1260 | 12 | 0.085714 | 0.0047619 | 46674.4767 | 0 | Lead time | 104 | Asset offline for lead time duration | 49335104 | 44335104 | 54335104 | 49335104 | Lead | 0.16667
Spare 69 | 1480 | 0 | 74.9367 | 4.1632 | 16336.0669 | 0 | Failure | 26 | IGBT valve room upgrade | 12333776 | 25000000 | 45000000 | 35000000 | Failure | 0.21351
Note on E14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Allen, Mark This is accurate failure rate. Remains critical to operation but economics may say not to purchase.

## 1.1 Other Data
#VALUE!
WACC and Inflation
Discount Factors
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Nominal Vanilla WACC | 6.024% | 6.074% | 6.15% | 6.26% | 6.37%
Inflation | 2.625% | 2.625% | 2.625% | 2.625% | 2.625%
Real Vanilla WACC | 3.312% | 3.361% | 3.435% | 3.542% | 3.649%
Source: | Proposal PTRM
Spares lead time | Years | Days | Safety Factor
Short | 0.5 | 183 | 0.15
Medium | 2 | 731 | 0.5
Long | 5 | 1826 | 1
Age
Stage | Date
Installation | 2002-07-01
Calculation Date | 2024-06-30
Calculation Age | 22
Current Day Number | 8035
Remaining Life
Stage | Date
Calculation Date | 2024-06-30
End of Life | 2041-12-31
Current year number | 18
Assumptions
Critical Spare min | Percent
Critical Spares Minimum | 4%
Threshold Probability of Failure
Threshold Probability of failure | 10%
Range Around Mean
Range from mean | 10%
Standard Deviation Around Mean (%) | 3.333%
Forecast Revenue
Average Forecast Revenue over Regulatory Period
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Maximum Allowed Revenue (smoothed) | 22267454.1176 | 23445817.3926 | 24686538.0434 | 25992915.9375 | 27368425.5663
Average Annual | 24752230.2115
Daily | 67768

## 1.2 Sorting
#DIV/0!
[7 empty] | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE!
#VALUE!
Asset | Obsolesence Risk | Failure | Mean Original | Mean Replacement | Lead | Not Considered | 2.0 failure Rate | 2.1 Mean Time to Failure (Original) | 2.2 Mean Time to Failure (Replacement) | 3.0 Lead Time | Not Considered | Items included in Analysis | Included in Obsolesence Analysis
Spare 1 | Lead |  |  |  | Spare 1 |  | Spare 69 | Spare 19 | Spare 24 | Spare 1 |  |  | Spare 19
Spare 2 | Lead |  |  |  | Spare 2 |  |  | Spare 20 | Spare 25 | Spare 2 |  |  | Spare 20
Spare 3 | Lead |  |  |  | Spare 3 |  |  | Spare 30 | Spare 26 | Spare 3 |  |  | Spare 24
Spare 4 | Lead |  |  |  | Spare 4 |  |  | Spare 32 | Spare 27 | Spare 4 |  |  | Spare 25
Spare 5 | Lead |  |  |  | Spare 5 |  |  | Spare 33 | Spare 31 | Spare 5 |  |  | Spare 26
Spare 6 | Lead |  |  |  | Spare 6 |  |  | Spare 36 | Spare 34 | Spare 6 |  |  | Spare 27
Spare 7 | Lead |  |  |  | Spare 7 |  |  | Spare 38 | Spare 35 | Spare 7 |  |  | Spare 30
Spare 8 | Lead |  |  |  | Spare 8 |  |  | Spare 43 | Spare 37 | Spare 8 |  |  | Spare 31
Spare 9 | Lead |  |  |  | Spare 9 |  |  | Spare 44 | Spare 39 | Spare 9 |  |  | Spare 32
Spare 10 | Lead |  |  |  | Spare 10 |  |  | Spare 46 | Spare 40 | Spare 10 |  |  | Spare 33
Spare 11 | Lead |  |  |  | Spare 11 |  |  | Spare 47 | Spare 41 | Spare 11 |  |  | Spare 34
Spare 12 | Lead |  |  |  | Spare 12 |  |  | Spare 48 | Spare 42 | Spare 12 |  |  | Spare 35
Spare 13 | Lead |  |  |  | Spare 13 |  |  | Spare 51 | Spare 45 | Spare 13 |  |  | Spare 36
Spare 14 | Lead |  |  |  | Spare 14 |  |  | Spare 53 | Spare 49 | Spare 14 |  |  | Spare 37
Spare 15 | Lead |  |  |  | Spare 15 |  |  | Spare 55 | Spare 50 | Spare 15 |  |  | Spare 38
Spare 16 | Lead |  |  |  | Spare 16 |  |  |  | Spare 52 | Spare 16 |  |  | Spare 39
Spare 17 | Lead |  |  |  | Spare 17 |  |  |  | Spare 54 | Spare 17 |  |  | Spare 40
Spare 18 | Lead |  |  |  | Spare 18 |  |  |  | Spare 56 | Spare 18 |  |  | Spare 41
Spare 19 | Mean Original |  | Spare 19 | [5 empty] | Spare 62 | Spare 21 |  | Spare 19 | Spare 42
Spare 20 | Mean Original |  | Spare 20 | [5 empty] | Spare 63 | Spare 22 |  | Spare 20 | Spare 43
Spare 21 | Lead |  |  |  | Spare 21 |  |  |  | Spare 64 | Spare 23 |  |  | Spare 44
Spare 22 | Lead |  |  |  | Spare 22 |  |  |  |  | Spare 28 |  |  | Spare 45
Spare 23 | Lead |  |  |  | Spare 23 |  |  |  |  | Spare 29 |  |  | Spare 46
Spare 24 | Mean Replacement |  |  | Spare 24 | [5 empty] | Spare 57 |  | Spare 24 | Spare 47
Spare 25 | Mean Replacement |  |  | Spare 25 | [5 empty] | Spare 58 |  | Spare 25 | Spare 48
Spare 26 | Mean Replacement |  |  | Spare 26 | [5 empty] | Spare 59 |  | Spare 26 | Spare 49
Spare 27 | Mean Replacement |  |  | Spare 27 | [5 empty] | Spare 60 |  | Spare 27 | Spare 50
Spare 28 | Lead |  |  |  | Spare 28 |  |  |  |  | Spare 61 |  |  | Spare 51
Spare 29 | Lead |  |  |  | Spare 29 |  |  |  |  | Spare 65 |  |  | Spare 52
Spare 30 | Mean Original |  | Spare 30 | [6 empty] | Spare 66 |  | Spare 30 | Spare 53
Spare 31 | Mean Replacement |  |  | Spare 31 | [5 empty] | Spare 68 |  | Spare 31 | Spare 54
Spare 32 | Mean Original |  | Spare 32 | [6 empty] | Spare 32 |  | Spare 32 | Spare 55
Spare 33 | Mean Original |  | Spare 33 | [6 empty] | Spare 43 |  | Spare 33 | Spare 56
Spare 34 | Mean Replacement |  |  | Spare 34 | [5 empty] | Spare 44 |  | Spare 34 | Spare 62
Spare 35 | Mean Replacement |  |  | Spare 35 | [5 empty] | Spare 46 |  | Spare 35 | Spare 63
Spare 36 | Mean Original |  | Spare 36 | [6 empty] | Spare 47 |  | Spare 36 | Spare 64
Spare 37 | Mean Replacement |  |  | Spare 37 | [5 empty] | Spare 48 |  | Spare 37
Spare 38 | Mean Original |  | Spare 38 | [6 empty] | Spare 41 |  | Spare 38
Spare 39 | Mean Replacement |  |  | Spare 39 | [5 empty] | Spare 42 |  | Spare 39
Spare 40 | Mean Replacement |  |  | Spare 40 | [7 empty] | Spare 40
Spare 41 | Mean Replacement |  |  | Spare 41 | [7 empty] | Spare 41
Spare 42 | Mean Replacement |  |  | Spare 42 | [7 empty] | Spare 42
Spare 43 | Mean Original |  | Spare 43 | [8 empty] | Spare 43
Spare 44 | Mean Original |  | Spare 44 | [8 empty] | Spare 44
Spare 45 | Mean Replacement |  |  | Spare 45 | [7 empty] | Spare 45
Spare 46 | Mean Original |  | Spare 46 | [8 empty] | Spare 46
Spare 47 | Mean Original |  | Spare 47 | [8 empty] | Spare 47
Spare 48 | Mean Original |  | Spare 48 | [8 empty] | Spare 48
Spare 49 | Mean Replacement |  |  | Spare 49 | [7 empty] | Spare 49
Spare 50 | Mean Replacement |  |  | Spare 50 | [7 empty] | Spare 50
Spare 51 | Mean Original |  | Spare 51 | [8 empty] | Spare 51
Spare 52 | Mean Replacement |  |  | Spare 52 | [7 empty] | Spare 52
Spare 53 | Mean Original |  | Spare 53 | [8 empty] | Spare 53
Spare 54 | Mean Replacement |  |  | Spare 54 | [7 empty] | Spare 54
Spare 55 | Mean Original |  | Spare 55 | [8 empty] | Spare 55
Spare 56 | Mean Replacement |  |  | Spare 56 | [7 empty] | Spare 56
Spare 57 | Lead |  |  |  | Spare 57
Spare 58 | Lead |  |  |  | Spare 58
Spare 59 | Lead |  |  |  | Spare 59
Spare 60 | Lead |  |  |  | Spare 60
Spare 61 | Lead |  |  |  | Spare 61
Spare 62 | Mean Replacement |  |  | Spare 62 | [7 empty] | Spare 62
Spare 63 | Mean Replacement |  |  | Spare 63 | [7 empty] | Spare 63
Spare 64 | Mean Replacement |  |  | Spare 64 | [7 empty] | Spare 64
Spare 65 | Lead |  |  |  | Spare 65
Spare 66 | Lead |  |  |  | Spare 66
Spare 68 | Lead |  |  |  | Spare 68
Spare 69 | Failure | Spare 69
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
0 | [5 empty] | 0
Spare 32
Spare 43
Spare 44
Spare 46
Spare 47
Spare 48
Spare 41
Spare 42
0

## 2.0 Stable Failure Rate
[10 empty] | Failure rate increase | 0% | [10 empty] | Cost Mark up | 0% |  | Project | Value | Failure rate increase | 50% | [10 empty] | Cost Mark up | 0% |  |  |  | Failure rate increase | 0% | [10 empty] | Cost Mark up | 50%
[25 empty] | 1 | 1225205.0138 | [16 empty] | 1845975.5541 | [16 empty] | 1837807.5207
#VALUE!
Inputs | [9 empty] | Base Case | [16 empty] | Failure Rate +50% | [16 empty] | Cost of Spares +50%
Asset | In operation | Spares Held | Unit Cost | Failures p.a (Column AA which is failre rate x no. in service) | Esimated unit failures by 2042 | Alternative Upgrade Project | Min | Mid Point | Max | Forecast Failure Rate (Failures per year) | Number of years to stock out | Alternative | Alternative (Min) | Alternative (Mid Point) | Alternative (Max) | Duration of single spare | Critical Number of Spares | Number of Spares to achieve end of life | Required Spares | Spares to purchase | Purchase Cost | Net expected Value (Min) | Net expected Value (Mid Point) | Net expected Value (Max) | Decision | Capex | Failures per year | Number of years to stock out | Alternative | Alternative (Net expected Value (Max)) | Alternative (Decision) | Alternative (Capex) | Duration of single spare | Critical minmum | Number of Spares to achieve end of life | Required Spares | Spares to purchase | Cost of Number of Spares | Net expected Value (Net expected Value (Max)) | Net expected Value (Decision) | Net expected Value (Capex) | Decision | Capex | Failures per year | Number of years to stock out | Alternative | Alternative (Net expected Value (Capex)) | Alternative (Decision) | Alternative (Capex) | Duration of single spare | Critical minmum | Number of Spares to achieve end of life | Required Spares | Spares to purchase | Cost of Number of Spares | Net expected Value (Net expected Value (Capex)) | Net expected Value (Decision) | Net expected Value (Capex) | Decision | Capex
Spare 69 | 1480 | 0 | 16336.0669 | 4.1632 | 74.9367 | IGBT valve room upgrade | 25000000 | 35000000 | 45000000 | 4.1632 | 0 | IGBT valve room upgrade | 25000000 | 35000000 | 45000000 | 0.2402 | 60 | 75 | 135 | 135 | 1225205.0138 | 23774794.9862 | 33774794.9862 | 43774794.9862 | Buy Spares | 1225205.0138 | 6.2447 | 0 | IGBT valve room upgrade | 25000000 | 35000000 | 0 | 0.16014 | 60 | 113 | 173 | 113 | 1845975.5541 | 23154024.4459 | 33154024.4459 | -1845975.5541 | Buy Spares | 1845975.5541 | 4.1632 | 0 | IGBT valve room upgrade | 25000000 | 35000000 | 0 | 0.2402 | 60 | 75 | 135 | 75 | 1837807.5207 | 23162192.4793 | 33162192.4793 | -1837807.5207 | Buy Spares | 1837807.5207
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0
| 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Buy Spares | 0

## 3.1 Mean Time to failure Orig
|  |  |  | Installation Date | 2002-07-01
#VALUE!
Inputs | [9 empty] | Present value of alternative | [9 empty] | Value of Purchases | [11 empty] | Net Present Value |  |  | Total | 1345971.5385 | 9
Asset | Number in use | Spares | Cost Estimate per Unit | Annual Failure rate per year | Expected Life | Alternative | Alternative (Min) | Alternative (Mid point) | Alternative (Max) | Mean End of Life (50% failure) | Std. dev | 3 std. dev. 99.7% prob (days) | Rate of change to mean ((a(1+r)^x) | Critical Failure Threshold | Point of Failure | Time from start of period (years) | Present value of alternative (min) | Present value of alternative (mid point) | Present value of alternative (max) | Expected time period to total failure (days) | Expected operating period to total failure (years) | Residual Operating life. End of Life - Total Failure (days) | Residual Operating life (years) | Failure rate per year of the residual | Failure rate for residual | Spares for Residual Life of Directlink | Total spares to the end of life (min =1) | Volume owned | Purchases | Value of spares per unit | Purchase Cost | Net Present Vlaue of the Alternative (min) | Net Present Vlaue of the Alternative (Mid) | Net Present Vlaue of the Alternative (Max) |  | Purchase amount | Project not Proceeded With
Spare 19 | 6 | 1 | 11668.6192 | 0.028908 | 34.5925 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 | 2037-02-01 21:51 | 1.1531 | 1263 | 0.0022595 | 549.8874 | 2035-02-19 19:09 | 10.6415 | 341467.1255 | 512200.6882 | 682934.2509 | 13897 | 38 | 531 | 1.45 | 0.029003 | 0.042054 | 1 | 7 | 1 | 6 | 11668.6192 | 70011.7151 | 271455.4104 | 442188.9731 | 612922.5359 |  | 70011.7151 | -
Spare 20 | 6 | 1 | 11668.6192 | 0.028908 | 34.5925 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 | 2037-02-01 21:51 | 1.1531 | 1263 | 0.0022595 | 549.8874 | 2035-02-19 19:09 | 10.6415 | 341467.1255 | 512200.6882 | 682934.2509 | 13897 | 38 | 531 | 1.45 | 0.029003 | 0.042054 | 1 | 7 | 1 | 6 | 11668.6192 | 70011.7151 | 271455.4104 | 442188.9731 | 612922.5359 |  | 70011.7151 | -
Spare 30 | 15 | 0 | 11822.645 | 0.018527 | 53.9741 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 | 2056-06-21 01:05 | 1.7991 | 1971 | 0.0016733 | 1008.3724 | 2053-11-01 10:01 | 29.34 | 174684.6223 | 262026.9335 | 349369.2446 | 21685 | 59 | -7257 | -19.86 | 0.017922 | -0.35594 | -1 | 14 | 0 | 14 | 11822.645 | 165517.0293 | 9167.593 | 96509.9041 | 183852.2153 |  | 165517.0293 | -
Spare 32 | 3 | 1 | 21031.8982 | 0.0037055 | 269.8706 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2272-05-16 05:25 | 8.9957 | 9857 | 0.00049772 | 6622.5675 | 2263-07-08 19:02 | 239.0165 | 38.046 | 57.069 | 76.092 | 108427 | 296 | -93999 | -257.35 | 0.0032601 | -0.83899 | -1 | 2 | 1 | 1 | 21031.8982 | 21031.8982 | -20993.8522 | -20974.8292 | -20955.8062 |  | 0 | Spare 32 | 21031.8982
Spare 33 | 9 | 0 | 21031.8982 | 0.033349 | 29.9856 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2032-06-25 05:56 | 0.99952 | 1095 | 0.0024757 | 444.1086 | 2030-09-13 08:32 | 6.2049 | 160122.8091 | 240184.2137 | 320245.6183 | 12047 | 32 | 2381 | 6.51 | 0.03389 | 0.22063 | 1 | 10 | 0 | 10 | 21031.8982 | 210318.982 | -50196.1729 | 29865.2317 | 109926.6362 |  | 210318.982 | -
Spare 36 | 15 | 1 | 12972.1451 | 0.044347 | 22.5492 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2025-01-17 02:10 | 0.75164 | 823 | 0.0029479 | 276.2346 | 2023-07-20 07:47 | -0.94641 | 206907.6254 | 310361.4382 | 413815.2509 | 9059 | 24 | 5369 | 14.69 | 0.046307 | 0.68025 | 1 | 16 | 1 | 15 | 12972.1451 | 194582.177 | 12325.4485 | 115779.2612 | 219233.0739 |  | 194582.177 | -
Spare 38 | 12 | 1 | 10313.98 | 0.028382 | 35.2331 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2037-09-23 21:22 | 1.1744 | 1286 | 0.0022333 | 564.5453 | 2035-10-03 10:28 | 11.2592 | 133590.8713 | 200386.3069 | 267181.7426 | 14154 | 38 | 274 | 0.75 | 0.02843 | 0.021322 | 1 | 13 | 1 | 12 | 10313.98 | 123767.7601 | 9823.1112 | 76618.5469 | 143413.9825 |  | 123767.7601 | -
Spare 43 | 18 | 0 | 13949.6009 | 0.031536 | 31.7098 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2034-03-17 00:02 | 1.057 | 1158 | 0.0023893 | 483.5858 | 2032-05-11 14:06 | 7.8647 | 150877.8595 | 226316.7892 | 301755.7189 | 12740 | 34 | 1688 | 4.62 | 0.031886 | 0.14731 | 1 | 19 | 0 | 19 | 13949.6009 | 265042.4163 | -114164.5568 | -38725.6271 | 36713.3027 |  | 0 | Spare 43 | 27899.2017
Spare 44 | 18 | 0 | 13949.6009 | 0.031536 | 31.7098 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2034-03-17 00:02 | 1.057 | 1158 | 0.0023893 | 483.5858 | 2032-05-11 14:06 | 7.8647 | 150877.8595 | 226316.7892 | 301755.7189 | 12740 | 34 | 1688 | 4.62 | 0.031886 | 0.14731 | 1 | 19 | 0 | 19 | 13949.6009 | 265042.4163 | -114164.5568 | -38725.6271 | 36713.3027 |  | 0 | Spare 44 | 27899.2017
Spare 46 | 15 | 1 | 334177.5847 | 0.0099207 | 100.7993 | Re-engineer, asset offline for lead time (at least) | 1000000 | 1500000 | 2000000 | 2103-04-19 23:00 | 3.36 | 3681 | 0.0010655 | 2169.6826 | 2099-02-27 15:23 | 74.6629 | 68826.2494 | 103239.374 | 137652.4987 | 40497 | 110 | -26069 | -71.37 | 0.0091946 | -0.65622 | -1 | 14 | 1 | 13 | 334177.5847 | 4344308.6007 | -4275482.3513 | -4241069.2266 | -4206656.102 |  | 0 | Spare 46 | 334177.5847
Spare 47 | 3 | 1 | 334177.5847 | 0.0019841 | 503.9967 | Re-engineer, asset offline for lead time (at least) | 1000000 | 1500000 | 2000000 | 221522.7924 | 16.7999 | 18408 | 0.00030043 | 13050.0204 | 216164.8128 | 467.3287 | 0.053108 | 0.079662 | 0.10622 | 202492 | 554 | -188064 | -514.89 | 0.0016998 | -0.87522 | -1 | 2 | 1 | 1 | 334177.5847 | 334177.5847 | -334177.5316 | -334177.505 | -334177.4785 |  | 0 | Spare 47 | 334177.5847
Spare 48 | 18 | 0 | 24342.0232 | 0.011905 | 83.9994 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 | 2086-06-30 19:10 | 2.8 | 3068 | 0.001219 | 1746.919 | 2082-11-17 17:14 | 58.3839 | 24671.8827 | 37007.824 | 49343.7654 | 33748 | 92 | -19320 | -52.89 | 0.011162 | -0.59036 | -1 | 17 | 0 | 17 | 24342.0232 | 413814.3936 | -389142.511 | -376806.5696 | -364470.6283 |  | 0 | Spare 48 | 48684.0463
Spare 51 | 24 | 1 | 12768.2465 | 0.018922 | 52.8497 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 | 2055-05-07 08:04 | 1.7617 | 1930 | 0.001698 | 981.3357 | 2052-09-30 16:07 | 28.2537 | 1089747.9073 | 1997871.1634 | 2905994.4195 | 21233 | 58 | -6805 | -18.63 | 0.018333 | -0.34154 | -1 | 23 | 1 | 22 | 12768.2465 | 280901.4233 | 808846.484 | 1716969.7401 | 2625092.9962 |  | 280901.4233 | -
Spare 53 | 12 | 1 | 12245.1096 | 0.0094608 | 105.6993 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 | 2108-03-13 16:07 | 3.5233 | 3860 | 0.0010284 | 2294.1508 | 2103-11-29 19:44 | 79.4136 | 174152.5164 | 319279.6133 | 464406.7103 | 42466 | 116 | -28038 | -76.76 | 0.0087431 | -0.67112 | -1 | 11 | 1 | 10 | 12245.1096 | 122451.0964 | 51701.4199 | 196828.5169 | 341955.6138 |  | 122451.0964 | -
Spare 55 | 12 | 2 | 12045.5156 | 0.014191 | 70.4662 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 | 2072-12-17 18:45 | 2.3489 | 2573 | 0.0013853 | 1410.4228 | 2069-10-12 04:54 | 45.2846 | 591816.9054 | 1084997.6599 | 1578178.4143 | 28310 | 77 | -13882 | -38 | 0.013464 | -0.51163 | -1 | 11 | 2 | 9 | 12045.5156 | 108409.6402 | 483407.2652 | 976588.0196 | 1469768.7741 |  | 108409.6402 | -
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2002-07-01 | 0 | 0 | 0 | 0 | 2002-07-01 | -21.9986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0

## 3.2 Mean Time to failure Repl
[11 empty] | Years | Days
[10 empty] | End of Life | 2041-12-31 | 2041-12-31 |  | STd.Dev/mean | 3.333% | [15 empty] | Value | 2570995.7191
[10 empty] | Remaining Life | 17 | 6393 | [18 empty] | Projects | 19
#VALUE!
Inputs | [10 empty] | Base Case | [6 empty] | Value of Spare | [6 empty] | Number of spares to acquire
Asset | No. of operating units | No. Spares | Cost per unit | Annual Failure rate per year | Expected Life | Alternative | Alternative (Min) | Alternative (Mid point) | Alternative (Max) |  | Failure rate per operating Unit | Std. dev | 3 std. dev. 99.7% prob (days) | Expected life for complete replacement | (r) in Rate of change exponential growth ((a(1+r)^x). | Days to reach critical failure rate | Years to reach Critical Failure Rate | PV Alternative (Mid point) | Time Value of Spare | Cost of Spare | Net Value of spare | Outcome for obsolesence | Number of days passed | Number of assumed complete replacements | Assumed Installation Date | Remaining days from installation | Expected Life in days | Number of lives remaining | Residual | Number of spares in residual | Number of spares required | Capex | Lead Time Capex for rejected spares
Spare 24 | 6 | 1 | 11668.6192 | 9.986% | 10.0136 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.016644 | 0.33379 | 365 | 4022 | 0.00084634 | 2119.5611 | 5.803 | 213644.6722 | 86355.3278 | 11668.6192 | 74686.7087 | Buy Spares | 8035 | 1 | 2013-07-05 | 10406 | 3657 | 2 | 3092 | 2 | 4 | 46674.4767
Spare 25 | 27 | 1 | 93348.9534 | 23.97% | 4.1723 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 |  | 0.0088768 | 0.13908 | 152 | 1676 | 0.0024081 | 1006.8593 | 2.7566 | 638304.176 | 111695.824 | 93348.9534 | 18346.8705 | Buy Spares | 8035 | 4 | 2020-11-07 | 7724 | 1523 | 5 | 105 | 1 | 6 | 560093.7206
Spare 26 | 9 | 1 | 93348.9534 | 7.989% | 12.517 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 |  | 0.0088768 | 0.41723 | 457 | 5028 | 0.00080207 | 3020.5779 | 8.2699 | 462339.0013 | 287660.9987 | 93348.9534 | 194312.0453 | Buy Spares | 8035 | 1 | 2016-04-06 | 9400 | 4571 | 2 | 257 | 1 | 3 | 280046.8603
Spare 27 | 6 | 1 | 11668.6192 | 5.326% | 18.7755 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 |  | 0.0088768 | 0.62585 | 685 | 7541 | 0.00053471 | 4530.266 | 12.4032 | 363037.8865 | 386962.1135 | 11668.6192 | 375293.4943 | Buy Spares | 8035 | 1 | 2023-02-22 | 6887 | 6857 | 1 | 30 | 1 | 2 | 23337.2384
Spare 31 | 45 | 0 | 11822.645 | 16.67% | 5.9971 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0037055 | 0.1999 | 219 | 2409 | 0.0020381 | 1618.5214 | 4.4313 | 231495.537 | 68504.463 | 11822.645 | 56681.818 | Buy Spares | 8035 | 3 | 2022-04-14 | 7201 | 2190 | 3 | 630 | 1 | 4 | 47290.5798
Spare 34 | 18 | 1 | 58343.0959 | 4.636% | 21.5713 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0025754 | 0.71904 | 787 | 8664 | 0.00060829 | 6017.3382 | 16.4746 | 114439.6326 | 185560.3674 | 58343.0959 | 127217.2715 | Buy Spares | 8035 | 0 | 2002-07-01 | 14428 | 7878 | 1 | 6550 | 2 | 3 | 175029.2877
Spare 35 | 75 | 3 | 12972.1451 | 22.17% | 4.5098 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0029565 | 0.15033 | 164 | 1811 | 0.002837 | 1242.9006 | 3.4029 | 245849.5846 | 54150.4154 | 12972.1451 | 41178.2703 | Buy Spares | 8035 | 4 | 2022-05-01 | 7184 | 1647 | 4 | 596 | 1 | 5 | 64860.7257
Spare 37 | 60 | 2 | 10313.98 | 14.19% | 7.0466 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0023652 | 0.23489 | 257 | 2831 | 0.0018929 | 1979.9475 | 5.4208 | 218475.6796 | 81524.3204 | 10313.98 | 71210.3404 | Buy Spares | 8035 | 2 | 2017-12-31 | 8766 | 2573 | 3 | 1045 | 1 | 4 | 41255.92
Spare 39 | 18 | 1 | 17327.7828 | 4.636% | 21.5713 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0025754 | 0.71904 | 787 | 8664 | 0.00060829 | 6017.3382 | 16.4746 | 114439.6326 | 185560.3674 | 17327.7828 | 168232.5846 | Buy Spares | 8035 | 0 | 2002-07-01 | 14428 | 7878 | 1 | 6550 | 2 | 3 | 51983.3484
Spare 40 | 18 | 0 | 5570.1321 | 4.636% | 21.5713 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0025754 | 0.71904 | 787 | 8664 | 0.00060829 | 6017.3382 | 16.4746 | 114439.6326 | 185560.3674 | 5570.1321 | 179990.2354 | Buy Spares | 8035 | 0 | 2002-07-01 | 14428 | 7878 | 1 | 6550 | 2 | 3 | 16710.3962
Spare 41 | 18 | 0 | 35005.8575 | 29.17% | 3.4281 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.016206 | 0.11427 | 125 | 1377 | 0.0024935 | 730.733 | 2.0006 | 266866.4926 | 33133.5074 | 35005.8575 | -1872.3501 | Don't buy spares | 8035 | 0 | 2002-07-01 | 14428 | 1252 | 11 | 655 | 1 | 0 | 0 | 70011.7151
Spare 42 | 18 | 4 | 35005.8575 | 29.17% | 3.4281 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.016206 | 0.11427 | 125 | 1377 | 0.0024935 | 730.733 | 2.0006 | 266866.4926 | 33133.5074 | 35005.8575 | -1872.3501 | Don't buy spares | 8035 | 0 | 2002-07-01 | 14428 | 1252 | 11 | 655 | 1 | 0 | 0 | 0
Spare 45 | 36 | 0 | 13949.6009 | 9.366% | 10.6767 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0026017 | 0.35589 | 389 | 4288 | 0.0012271 | 2975.5811 | 8.1467 | 186273.1829 | 113726.8171 | 13949.6009 | 99777.2162 | Buy Spares | 8035 | 1 | 2014-03-28 | 10140 | 3899 | 2 | 2341 | 1 | 3 | 41848.8026
Spare 49 | 18 | 1 | 160641.8802 | 15.98% | 6.2585 | Re-engineer, asset offline for lead time (at least) | 750000 | 1000000 | 1250000 |  | 0.0088768 | 0.20862 | 228 | 2514 | 0.0016048 | 1510.2889 | 4.1349 | 785144.5738 | 214855.4262 | 160641.8802 | 54213.546 | Buy Spares | 8035 | 3 | 2023-02-23 | 6886 | 2285 | 3 | 29 | 1 | 4 | 642567.5209
Spare 50 | 240 | 0 | 12768.2465 | 18.92% | 5.285 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 |  | 0.0007884 | 0.17617 | 193 | 2123 | 0.0030439 | 1593.4515 | 4.3626 | 4261159.8997 | 1238840.1003 | 12768.2465 | 1226071.8538 | Buy Spares | 8035 | 3 | 2019-12-08 | 8059 | 1930 | 4 | 338 | 1 | 5 | 63841.2326
Spare 52 | 80 | 10 | 12245.1096 | 6.307% | 15.8549 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 |  | 0.0007884 | 0.5285 | 579 | 6369 | 0.0010136 | 4780.3544 | 13.0879 | 2557750.1284 | 2942249.8716 | 12245.1096 | 2930004.762 | Buy Spares | 8035 | 1 | 2019-12-08 | 8059 | 5791 | 1 | 2268 | 1 | 2 | 24490.2193
Spare 54 | 60 | 0 | 12601.2686 | 7.096% | 14.0932 | Major redesign to valve hall, asset offline for lead time at least | 3000000 | 5500000 | 8000000 |  | 0.0011826 | 0.46977 | 514 | 5661 | 0.0010687 | 4154.2711 | 11.3738 | 2827523.723 | 2672476.277 | 12601.2686 | 2659875.0084 | Buy Spares | 8035 | 1 | 2017-12-30 | 8767 | 5147 | 1 | 3620 | 1 | 2 | 25202.5371
Spare 56 | 12 | 1 | 32179.9513 | 7.516% | 13.3048 | Re-engineer, asset offline for lead time (at least) | 200000 | 300000 | 400000 |  | 0.0062634 | 0.44349 | 485 | 5344 | 0.00081993 | 3380.2872 | 9.2547 | 174582.3807 | 125417.6193 | 32179.9513 | 93237.6679 | Buy Spares | 8035 | 1 | 2017-02-16 | 9084 | 4859 | 1 | 4225 | 2 | 3 | 96539.854
Spare 62 | 24 | 0 | 13520.3124 | 6.244% | 16.015 | Re-engineer, asset offline for lead time (at least) | 100000 | 150000 | 200000 |  | 0.0026017 | 0.53383 | 584 | 6432 | 0.00081788 | 4463.3717 | 12.22 | 73389.6608 | 76610.3392 | 13520.3124 | 63090.0269 | Buy Spares | 8035 | 1 | 2020-02-09 | 7996 | 5849 | 1 | 2147 | 1 | 2 | 27040.6247
Spare 63 | 54 | 2 | 21855.7905 | 14.05% | 7.1178 | Re-engineer, asset offline for lead time (at least) | 100000 | 150000 | 200000 |  | 0.0026017 | 0.23726 | 259 | 2859 | 0.0018409 | 1983.9521 | 5.4318 | 109167.7997 | 40832.2003 | 21855.7905 | 18976.4098 | Buy Spares | 8035 | 2 | 2018-02-25 | 8710 | 2599 | 3 | 911 | 1 | 4 | 87423.1619
Spare 64 | 12 | 2 | 50951.8424 | 18.92% | 5.285 | Re-engineer, asset offline for lead time (at least) | 500000 | 750000 | 1000000 |  | 0.015768 | 0.17617 | 193 | 2123 | 0.0016295 | 1134.5109 | 3.1061 | 625386.7717 | 124613.2283 | 50951.8424 | 73661.3858 | Buy Spares | 8035 | 3 | 2019-12-08 | 8059 | 1930 | 4 | 338 | 1 | 5 | 254759.2122
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #VALUE! |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
| 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | #VALUE! | 0 | 0 | 0
Formulas:
Number of spares to acquire = IF([Inputs]="","",'1.1 Other Data'!$B29+AA8*O8)

## 3.0 Lead Time
Total | [17 empty] | Value | Projects
[9 empty] | Failure increase | 0% | Spares LeadTime | 0% | [5 empty] | 7702364.6271 | 30 | Failure increase | 50% | Spares LeadTime | 0% |  |  |  |  | Failure increase | 0% | Spares LeadTime | 100% |  |  | 8088083.4362
#VALUE!
Input Data | [8 empty] | Current Failure Rate | [5 empty] | Analysis |  |  |  |  | Sensitivity: Failure Rate +50% | [7 empty] | Sensitivity: Double Lead Time
Asset | Current in service | Spares | Failures PA | Lead Time (Weeks) | Unit rate | Minimum Purchase | Alternative | Lead duration economic cost | Failures in lead time | Minimum Spares to hold for critical assets | Spares to cover lead time | Spares Needed | Spares Held | Spares to buy | Cost of Spares | Time to replacement (Do nothing) | PV of Alternative (do Nothing) | Expenditure | Purchases Not Required | Failures in lead time | Minimum Spares to hold for critical assets | Spares to cover lead time | Spares Needed | Spares Held | Spares to buy | Expenditure | Outcome | Failures in lead time | Minimum Spares to hold for critical assets | Spares to cover lead time | Spares Needed | Spares Held | Spares to buy | Expenditure | Outcome
Spare 1 | 120 | 0 | 0.102 | 30 | 134189.1206 | 0 | Asset offline for lead time duration | 14231280 | 0.058846 | 5 | 1 | 6 | 0 | 6 | 805134.7234 | 0.98039 | 13438061.0539 | 805134.7234 | - | 0.088269 | 5 | 1 | 6 | 0 | 6 | 805134.7234 | Same | 0.11769 | 5 | 1 | 6 | 0 | 6 | 805134.7234 | Same
Spare 2 | 10 | 0 | 0.85 | 30 | 145857.7397 | 0 | Asset offline for lead time duration | 14231280 | 0.49038 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | 0.11765 | 14133674.3631 | 291715.4795 | - | 0.73558 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | Same | 0.98077 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | Same
Spare 3 | 10 | 0 | 0.85 | 30 | 145857.7397 | 0 | Asset offline for lead time duration | 14231280 | 0.49038 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | 0.11765 | 14133674.3631 | 291715.4795 | - | 0.73558 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | Same | 0.98077 | 1 | 1 | 2 | 0 | 2 | 291715.4795 | Same
Spare 4 | 1 | 0 | 0.0034 | 52 | 72112.0665 | 0 | Asset offline for lead time duration | 24667552 | 0.0034 | 1 | 1 | 2 | 0 | 2 | 144224.1331 | 29.4118 | 4414743.1946 | 144224.1331 | - | 0.0051 | 1 | 1 | 2 | 0 | 2 | 144224.1331 | Same | 0.0068 | 1 | 1 | 2 | 0 | 2 | 144224.1331 | Same
Spare 5 | 1 | 0 | 0.00062809 | 25 | 9807.241 | 0 | Asset offline for lead time duration | 11859400 | 0.00030197 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | 159.2123 | 1069.531 | 0 | Spare 5 | 0.00045295 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | Changes | 0.00060393 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | Changes
Spare 6 | 3 | 1 | 0.007866 | 32 | 23075.8613 | 0 | Asset offline for lead time duration | 15180032 | 0.0048406 | 1 | 1 | 2 | 1 | 1 | 23075.8613 | 12.7129 | 7215958.6663 | 23075.8613 | - | 0.0072609 | 1 | 1 | 2 | 1 | 1 | 23075.8613 | Same | 0.0096812 | 1 | 1 | 2 | 1 | 1 | 23075.8613 | Same
Spare 7 | 1 | 0 | 0.00014567 | 104 | 87591.6567 | 0 | Asset offline for lead time duration | 49335104 | 0.00029133 | 1 | 1 | 2 | 0 | 2 | 175183.3135 | 686.4989 | 1.7878e-10 | 0 | Spare 7 | 0.000437 | 1 | 1 | 2 | 0 | 2 | 175183.3135 | Changes | 0.00058267 | 1 | 1 | 2 | 0 | 2 | 175183.3135 | Changes
Spare 8 | 2 | 0 | 0.00625 | 12 | 10239.2367 | 0 | Asset offline for lead time duration | 5692512 | 0.0014423 | 1 | 1 | 2 | 0 | 2 | 20478.4733 | 16 | 2232625.8293 | 20478.4733 | - | 0.0021635 | 1 | 1 | 2 | 0 | 2 | 20478.4733 | Same | 0.0028846 | 1 | 1 | 2 | 0 | 2 | 20478.4733 | Same
Spare 9 | 1 | 0 | 0.0035714 | 12 | 6398.5223 | 0 | Asset offline for lead time duration | 5692512 | 0.00082418 | 1 | 1 | 2 | 0 | 2 | 12797.0447 | 28 | 1106496.2268 | 12797.0447 | - | 0.0012363 | 1 | 1 | 2 | 0 | 2 | 12797.0447 | Same | 0.0016484 | 1 | 1 | 2 | 0 | 2 | 12797.0447 | Same
Spare 10 | 2 | 0 | 0.0016849 | 12 | 1250.876 | 0 | Asset offline for lead time duration | 5692512 | 0.00038883 | 1 | 1 | 2 | 0 | 2 | 2501.752 | 59.35 | 176802.1299 | 2501.752 | - | 0.00058324 | 1 | 1 | 2 | 0 | 2 | 2501.752 | Same | 0.00077766 | 1 | 1 | 2 | 0 | 2 | 2501.752 | Same
Spare 11 | 1 | 0 | 0.02 | 20 | 1334.89 | 0 | Asset offline for lead time duration | 9487520 | 0.0076923 | 1 | 1 | 2 | 0 | 2 | 2669.7801 | 5 | 7081499.051 | 2669.7801 | - | 0.011538 | 1 | 1 | 2 | 0 | 2 | 2669.7801 | Same | 0.015385 | 1 | 1 | 2 | 0 | 2 | 2669.7801 | Same
Spare 12 | 2 | 0 | 0.00073665 | 24 | 1414.2366 | 0 | Asset offline for lead time duration | 11385024 | 0.00033999 | 1 | 1 | 2 | 0 | 2 | 2828.4733 | 135.75 | 4050.7668 | 2828.4733 | - | 0.00050999 | 1 | 1 | 2 | 0 | 2 | 2828.4733 | Same | 0.00067998 | 1 | 1 | 2 | 0 | 2 | 2828.4733 | Same
Spare 13 | 3 | 1 | 0.16667 | 48 | 58343.0959 | 0 | Asset offline for lead time duration | 22770048 | 0.15385 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | 0.6 | 21984705.167 | 58343.0959 | - | 0.23077 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | Same | 0.30769 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | Same
Spare 14 | 6 | 0 | 0.33333 | 104 | 58343.0959 | 0 | Asset offline for lead time duration | 49335104 | 0.66667 | 1 | 1 | 2 | 0 | 2 | 116686.1918 | 0.3 | 48476850.6707 | 116686.1918 | - | 1 | 1 | 1 | 2 | 0 | 2 | 116686.1918 | Same | 1.3333 | 1 | 2 | 3 | 0 | 3 | 175029.2877 | Changes
Spare 15 | 3 | 1 | 0.16667 | 104 | 58343.0959 | 0 | Asset offline for lead time duration | 49335104 | 0.33333 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | 0.6 | 47633527.8618 | 58343.0959 | - | 0.5 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | Same | 0.66667 | 1 | 1 | 2 | 1 | 1 | 58343.0959 | Same
Spare 16 | 6 | 0 | 0.33333 | 104 | 58343.0959 | 0 | Asset offline for lead time duration | 49335104 | 0.66667 | 1 | 1 | 2 | 0 | 2 | 116686.1918 | 0.3 | 48476850.6707 | 116686.1918 | - | 1 | 1 | 1 | 2 | 0 | 2 | 116686.1918 | Same | 1.3333 | 1 | 2 | 3 | 0 | 3 | 175029.2877 | Changes
Spare 17 | 24 | 5 | 0.056765 | 40 | 10976.0166 | 0 | Asset offline for lead time duration | 18975040 | 0.043665 | 1 | 1 | 2 | 5 | 0 | 0 | 1.7617 | 17116973.1755 | 0 | Spare 17 | 0.065498 | 1 | 1 | 2 | 5 | 0 | 0 | Same | 0.08733 | 1 | 1 | 2 | 5 | 0 | 0 | Same
Spare 18 | 30 | 0 | 0.088695 | 40 | 12104.0454 | 0 | Asset offline for lead time duration | 18975040 | 0.068227 | 2 | 1 | 3 | 0 | 3 | 36312.1361 | 1.1275 | 17763929.1711 | 36312.1361 | - | 0.10234 | 2 | 1 | 3 | 0 | 3 | 36312.1361 | Same | 0.13645 | 2 | 1 | 3 | 0 | 3 | 36312.1361 | Same
Spare 21 | 3 | 1 | 0.00062809 | 100 | 9807.241 | 0 | Asset offline for lead time duration | 47437600 | 0.0012079 | 1 | 1 | 2 | 1 | 1 | 9807.241 | 159.2123 | 4278.1242 | 0 | Spare 21 | 0.0018118 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Changes | 0.0024157 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Changes
Spare 22 | 3 | 1 | 0.00062809 | 100 | 9807.241 | 0 | Asset offline for lead time duration | 47437600 | 0.0012079 | 1 | 1 | 2 | 1 | 1 | 9807.241 | 159.2123 | 4278.1242 | 0 | Spare 22 | 0.0018118 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Changes | 0.0024157 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Changes
Spare 23 | 6 | 1 | 0.0012562 | 100 | 9807.241 | 0 | Asset offline for lead time duration | 47437600 | 0.0024157 | 1 | 1 | 2 | 1 | 1 | 9807.241 | 79.6062 | 450493.0004 | 9807.241 | - | 0.0036236 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Same | 0.0048315 | 1 | 1 | 2 | 1 | 1 | 9807.241 | Same
Spare 28 | 18 | 2 | 0.0037686 | 100 | 22861.5088 | 0 | Asset offline for lead time duration | 47437600 | 0.0072472 | 1 | 1 | 2 | 2 | 0 | 0 | 26.5354 | 10045644.8836 | 0 | Spare 28 | 0.010871 | 1 | 1 | 2 | 2 | 0 | 0 | Same | 0.014494 | 1 | 1 | 2 | 2 | 0 | 0 | Same
Spare 29 | 18 | 1 | 0.015732 | 104 | 22703.749 | 0 | Asset offline for lead time duration | 49335104 | 0.031464 | 1 | 1 | 2 | 1 | 1 | 22703.749 | 6.3565 | 34014706.1078 | 22703.749 | - | 0.047196 | 1 | 1 | 2 | 1 | 1 | 22703.749 | Same | 0.062928 | 1 | 1 | 2 | 1 | 1 | 22703.749 | Same
Spare 57 | 6 | 1 | 0.058026 | 104 | 2882608.5641 | 0 | Asset offline for lead time duration | 49335104 | 0.11605 | 1 | 1 | 2 | 1 | 1 | 2882608.5641 | 1.7234 | 44603944.6989 | 2882608.5641 | - | 0.17408 | 1 | 1 | 2 | 1 | 1 | 2882608.5641 | Same | 0.2321 | 1 | 1 | 2 | 1 | 1 | 2882608.5641 | Same
Spare 58 | 6 | 0 | 0.00041943 | 100 | 9807.241 | 0 | Asset offline for lead time duration | 47437600 | 0.00080659 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | 238.4195 | 41.5869 | 0 | Spare 58 | 0.0012099 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | Changes | 0.0016132 | 1 | 1 | 2 | 0 | 2 | 19614.4821 | Changes
Spare 59 | 12 | 2 | 0.00083886 | 100 | 19568.2744 | 0 | Asset offline for lead time duration | 47437600 | 0.0016132 | 1 | 1 | 2 | 2 | 0 | 0 | 119.2097 | 44416.0032 | 0 | Spare 59 | 0.0024198 | 1 | 1 | 2 | 2 | 0 | 0 | Same | 0.0032264 | 1 | 1 | 2 | 2 | 0 | 0 | Same
Spare 60 | 12 | 0 | 0.00083886 | 100 | 1870.363 | 0 | Asset offline for lead time duration | 47437600 | 0.0016132 | 1 | 1 | 2 | 0 | 2 | 3740.7259 | 119.2097 | 44416.0032 | 3740.7259 | - | 0.0024198 | 1 | 1 | 2 | 0 | 2 | 3740.7259 | Same | 0.0032264 | 1 | 1 | 2 | 0 | 2 | 3740.7259 | Same
Spare 61 | 12 | 0 | 0.012439 | 104 | 14542.7168 | 0 | Asset offline for lead time duration | 49335104 | 0.024878 | 1 | 1 | 2 | 0 | 2 | 29085.4335 | 8.0391 | 30826103.5011 | 29085.4335 | - | 0.037318 | 1 | 1 | 2 | 0 | 2 | 29085.4335 | Same | 0.049757 | 1 | 1 | 2 | 0 | 2 | 29085.4335 | Same
Spare 65 | 6 | 0 | 0.005244 | 104 | 10011.6753 | 0 | Asset offline for lead time duration | 49335104 | 0.010488 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | 19.0694 | 16169182.8661 | 20023.3505 | - | 0.015732 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | Same | 0.020976 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | Same
Spare 66 | 24 | 0 | 0.020976 | 104 | 10011.6753 | 0 | Asset offline for lead time duration | 49335104 | 0.041952 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | 4.7674 | 37328372.4073 | 20023.3505 | - | 0.062928 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | Same | 0.083904 | 1 | 1 | 2 | 0 | 2 | 20023.3505 | Same
Spare 68 | 1260 | 12 | 0.0047619 | 104 | 46674.4767 | 0 | Asset offline for lead time duration | 49335104 | 0.0095238 | 51 | 1 | 52 | 12 | 40 | 1866979.0686 | 21 | 14442438.7677 | 1866979.0686 | - | 0.014286 | 51 | 1 | 52 | 12 | 40 | 1866979.0686 | Same | 0.019048 | 51 | 1 | 52 | 12 | 40 | 1866979.0686 | Same
Spare 32 | 3 | 1 | 0.0037055 | 34 | 21031.8982 | 0 | Re-engineer, asset offline for lead time (at least) | 16128784 | 0.0024228 | 1 | 1 | 2 | 1 | 1 | 21031.8982 | 26.9871 | 3326457.14 | 21031.8982 | - | 0.0036342 | 1 | 1 | 2 | 1 | 1 | 21031.8982 | Same | 0.0048456 | 1 | 1 | 2 | 1 | 1 | 21031.8982 | Same
Spare 43 | 18 | 0 | 0.031536 | 104 | 13949.6009 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.063072 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | 3.171 | 40982243.9383 | 27899.2017 | - | 0.094608 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | Same | 0.12614 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | Same
Spare 44 | 18 | 0 | 0.031536 | 104 | 13949.6009 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.063072 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | 3.171 | 40982243.9383 | 27899.2017 | - | 0.094608 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | Same | 0.12614 | 1 | 1 | 2 | 0 | 2 | 27899.2017 | Same
Spare 46 | 15 | 1 | 0.0099207 | 104 | 334177.5847 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.019841 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | 10.0799 | 27357114.0935 | 334177.5847 | - | 0.029762 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | Same | 0.039683 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | Same
Spare 47 | 3 | 1 | 0.0019841 | 104 | 334177.5847 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.0039683 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | 50.3997 | 2586587.7483 | 334177.5847 | - | 0.0059524 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | Same | 0.0079366 | 1 | 1 | 2 | 1 | 1 | 334177.5847 | Same
Spare 48 | 18 | 0 | 0.011905 | 104 | 24342.0232 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.02381 | 1 | 1 | 2 | 0 | 2 | 48684.0463 | 8.3999 | 30182224.3332 | 48684.0463 | - | 0.035715 | 1 | 1 | 2 | 0 | 2 | 48684.0463 | Same | 0.047619 | 1 | 1 | 2 | 0 | 2 | 48684.0463 | Same
Spare 41 | 18 | 0 | 0.29171 | 104 | 35005.8575 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.58342 | 1 | 1 | 2 | 0 | 2 | 70011.7151 | 0.34281 | 48355605.3992 | 70011.7151 | - | 0.87512 | 1 | 1 | 2 | 0 | 2 | 70011.7151 | Same | 1.1668 | 1 | 2 | 3 | 0 | 3 | 105017.5726 | Changes
Spare 42 | 18 | 4 | 0.29171 | 104 | 35005.8575 | 0 | Re-engineer, asset offline for lead time (at least) | 49335104 | 0.58342 | 1 | 1 | 2 | 4 | 0 | 0 | 0.34281 | 48355605.3992 | 0 | Spare 42 | 0.87512 | 1 | 1 | 2 | 4 | 0 | 0 | Same | 1.1668 | 1 | 2 | 3 | 4 | 0 | 0 | Same
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4.0 Summary
#VALUE!
Failure type | Value | Types of spares
Stable Failure Rate | 1225205.0138 | 1
Mean Time to Failure | 3916967.2576 | 28
Lead Time/Business as Usual | 7702364.6271 | 30
Total | 12844536.8985 | 59
No Additional spares needed |  | 9