## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by Multinet Gas Distribution Partnership to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | Multinet Gas
| ACN/ABN |  |  | 53634214009
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | Level 17 181 Williams Street |  |  |  |  | Address 1 | Level 17 181 Williams Street
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | MELBOURNE |  |  |  |  | Suburb | MELBOURNE
| State |  |  | Vic |  | Post code | 3000 |  | State | 0 | Post code | 3000
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2023-24 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
Amended RIN Amendment Reason
|  |  | Submission Date | 2024-12-02
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 24694502.0299
Mains replacement | 61384607.99
Mains augmentation | 562906.32
Telemetry | 705421.53
Meter replacement | 3200457.6801
ICT | 7877375.7006
Capitalised network overheads | 6487070.32
Capitalised corporate overheads | 0
Other capex | 6972583.9
Capital contributions included in the above | 3342788.2
Total (less capital contributions) | 108542137.2706
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
repairs and maintenance | 25339713.0092
marketing and retail incentives | 972334.61
debt raising | 2295958.88
equity raising
unaccounted for gas | -1498000
jurisdictional charges | 7600178.36
GSL payments | 78125
other opex | 35559481.1054
Total | 70347790.9647
E1.2.2 - NON-REFERENCE SERVICES
repairs and maintenance | 2338861.9438
Total | 2338861.9438
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 487164.9
Mains replacement | 2855623.3
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 3342788.2
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Connections | 1906437.5671
Mains replacement | 4033722.78
Mains augmentation | 21552.6
Telemetry | 39760.2
Meter replacement | 258927.6429
ICT | 0
Other capex | 226669.53
capital contributions included in the above | 0
Total (less capital contributions) | 6487070.32
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023-24
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2023-24
E11.3.1 - OPEX
In-house labour expenditure | 10486848.0984
Labour expenditure outsourced to related parties | 394322.5416
Labour expenditure outsourced to unrelated parties | 6556331.51
Non-labour expenditure | 55249150.7585
Total | 72686652.9085
E11.3.2 - CAPEX
In-house labour expenditure | 5847575.1216
Labour expenditure outsourced to related parties | 1187789.7484
Labour expenditure outsourced to unrelated parties | 5232677.9
Non-labour expenditure | 96274094.5006
Total | 108542137.2706
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2023-24
Reconnection | 5436.3618
Meter and Gas Installation Test | 183.454
Disconnection | 5361.3648
Special Meter Reading | 214219.4779
Meter Removal | 357.0907
Meter Reinstallation
Service Abolishment - Residential | 3650
Total | 229207.7493
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2023-24
Reconnection | 480431.73
Meter and Gas Installation Test | 77654.63
Disconnection | 149240.64
Special Meter Reading | 1265856.21
Meter Removal | 53917.02
Meter Reinstallation
Service Abolishment - Residential | 843260
Total | 2870360.23
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2023-24
Residential | 31598377.5353
Commercial | 5677767.1531
Industrial | 10147205.5
Total | 47423350.1884
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2023-24
Tariff V Res | 31180425.9103
Tariff V Bus | 5565831.6571
Tariff D | 9529716.3
Tariff L | 70431.16
Yarra Res | 240055.0803
Yarra Bus | 33348.354
South Gipps Res | 177896.5447
South Gipps Bus | 78587.142
South Gipps D | 547058.04
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2023-24
N2.1.1 - LOW PRESSURE
Cast Iron | 696
PVC | 389.798
Polyamide | 0
High density polyethylene (80) | 5.268
High density polyethylene (100) | 4.901
High density polyethylene (250) | 0
High density polyethylene (575) | 1.294
Medium density polyethylene | 11.692
Other polyethylene | 0
Unprotected steel | 82.648
Protected steel | 57.364
Other | 0.774
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.312
PVC | 0
Polyamide | 0
High density polyethylene (80) | 6.1461
High density polyethylene (100) | 7.765
High density polyethylene (250) | 0
High density polyethylene (575) | 212.396
Medium density polyethylene | 26.108
Other polyethylene | 0
Unprotected steel | 54.98
Protected steel | 456.289
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0
PVC | 0
Polyamide | 0
High density polyethylene (80) | 821.881
High density polyethylene (100) | 1171.422
High density polyethylene (250) | 0
High density polyethylene (575) | 1850.736
Medium density polyethylene | 1316.82
Other polyethylene | 0
Unprotected steel | 83.828
Protected steel | 2655.716
Other
N2.1.4 - TRANSMISSION
Protected steel | 162.901
Other
TOTAL | 10077.0391
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2023-24
City Gate | 7
Field Regulator | 101
District Regulator | 59
Total | 167
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2023-24
A. RESIDENTIAL
Customer numbers as at the begining of the period | 704536
Customer numbers as at the end of the period | 706670
Total customer connections | 11629
Total customer disconnections | 9495
B. COMMERCIAL
Customer numbers as at the begining of the period | 16341
Customer numbers as at the end of the period | 16374
Total customer connections | 271
Total customer disconnections | 238
C. INDUSTRIAL
Customer numbers as at the begining of the period | 285
Customer numbers as at the end of the period | 279
Total customer connections | 1
Total customer disconnections | 7
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2023-24
Tariff V Res | 691724
Tariff V Bus | 16134
Tariff D | 270
Tariff L | 12
Yarra Res | 5792
Yarra Bus | 81
South Gipps Res | 7020
South Gipps Bus | 126
South Gipps D | 3
Total | 721162
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2023-24
Tariff V Res | 693717
Tariff V Bus | 16167
Tariff D | 263
Tariff L | 12
Yarra Res | 5803
Yarra Bus | 83
South Gipps Res | 7150
South Gipps Bus | 124
South Gipps D | 4
Total | 723323
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2023-24
Tariff V Res | 11398
Tariff V Bus | 269
Tariff D | 0
Tariff L | 0
Yarra Res | 56
Yarra Bus | 2
South Gipps Res | 175
South Gipps Bus | 0
South Gipps D | 1
Total | 11901
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2023-24
Tariff V Res | 9405
Tariff V Bus | 236
Tariff D | 7
Tariff L | 0
Yarra Res | 45
Yarra Bus | 0
South Gipps Res | 45
South Gipps Bus | 2
South Gipps D | 0
Total | 9740
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2023-24
Poor Pressure events - mains | 11
Poor Pressure events - services | 695
Poor Pressure event - meters | 1057
Pressure events impacting 5+ customers
Pressure events with >12 hr resolution
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2023-24
Count of outage events | 6473
Outages affecting 5+ customers
Outages with >12 hr supply interuption
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2023-24
Count of outage events | 3302
Outages affecting 5+ customers | 32
Outages with >12 hr supply interuption | 237
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0.045977
Corrosion | 0.027299
Joint leak | 0.37644
3rd party damage | 0.0071839
Identified water in main | 0.0043103
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0.023089
Corrosion | 0.017958
Joint leak | 0.092356
3rd party damage | 0.0076963
Identified water in main | 0.017958
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.20404
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.085529
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0121
Corrosion | 0.1089
Joint leak | 0.18149
3rd party damage | 0.0121
Identified water in main | 0.1089
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.06973
Joint leak | 0.17433
3rd party damage | 0
Identified water in main | 0.017433
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.037665
Corrosion | 0.0047082
Joint leak | 0.014125
3rd party damage | 0.0047082
Identified water in main | 0
Other | 0.0094164
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.038302
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.018188
Joint leak | 0.036377
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0043832
Corrosion | 0.0087664
Joint leak | 0.035065
3rd party damage | 0.0087664
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2023-24
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.0097338
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0.00085366
Corrosion | 0
Joint leak | 0.015366
3rd party damage | 0.0034147
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.0037823
Corrosion | 0.00054033
Joint leak | 0.0021613
3rd party damage | 0.0027016
Identified water in main | 0
Other | 0.001621
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0.00075941
Corrosion | 0
Joint leak | 0.003797
3rd party damage | 0.0091129
Identified water in main | 0
Other | 0.00075941
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.011929
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.00075309
Corrosion | 0.0064013
Joint leak | 0.0090371
3rd party damage | 0.0033889
Identified water in main | 0
Other | 0
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2023-24
Transmission and Distribution | 2748
Total | 2748
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2023-24
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 411
Number of Leaks - found through survey | number of leaks | 308
Repaired Leaks | number of leaks | 719
Length of network subject to survey | km | 1129
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 3120
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 3120
Number of services surveyed | number of services
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 6830
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 6830
Number of meters surveyed | number of meters
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2023-24
Mains | number of instances | 56
Services | number of instances | 983
Meters | number of instances | 1051
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2023-24
F1.1.1 - REVENUE
Distribution revenue | 216339302.4
Capital contributions | 5875423.19
Profit from sale of fixed assets | 29974.57
Other revenue | 1445701.39
Total revenue | 223690401.55
F1.1.2 - EXPENDITURE
Operating expenditure | 57345810.09
Depreciation | 54036980.15
Net finance expenses | 51532871.58
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure | 162915661.82
F1.1.3 - PROFIT
Profit before tax | 60774739.73
Income tax expenses (/ benefit) | 18237494.91
Profit after tax | 42537244.82
F1.2 - ADJUSTMENTS
$0's, nominal
2023-24
F1.2.1 - REVENUE
Distribution revenue | -12126319.3913
Capital contributions | 5875423.19
Profit from sale of fixed assets
Other Revenue | 789875.44
Total revenue | -5461020.7613
F1.2.2 - EXPENDITURE
Operating expenditure | -15340842.5685
Depreciation | -31782239.3605
Net finance expenses | 135206.28
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure | -46987875.649
F1.2.3 - PROFIT
Profit before tax | 41526854.8877
Income tax expenses (/ benefit) | 12463129.4573
Profit after tax | 29063725.4304
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2023-24
F1.3.1 - REVENUE
Distribution revenue | 228465621.7913
Capital contributions | 0
Profit from sale of fixed assets | 29974.57
Other Revenue | 655825.95
Total revenue | 229151422.3113
F1.3.2 - EXPENDITURE
Operating expenditure | 72686652.6585
Depreciation | 85819219.5105
Net finance expenses | 51397665.3
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 209903537.469
F1.3.3 - PROFIT
Profit before tax | 19247884.8423
Income tax expenses (/ benefit) | 5774365.4527
Profit after tax | 13473519.3896
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Cathodic Protection | 523566.76
Transmission and Distribution | 68887600.89
Meters | 4477323.84
IT | 7877375.7006
Other | 2572461.74
SCADA | 745181.73
Services | 24992084.51
Supply Regulators/Valve Stations | 1809330.3
Buildings
Total | 111884925.4706
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Cathodic Protection | 2283.2036
Transmission and Distribution | 300409.4803
Meters | 19525.0017
IT | 34352.1666
Other | 11218.1566
SCADA | 3249.6364
Services | 108987.0894
Supply Regulators/Valve Stations | 7890.2439
Buildings
Total | 487914.9786
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Cathodic Protection
Transmission and Distribution | 2855623.3
Meters
IT
Other
SCADA
Services | 487164.9
Supply Regulators/Valve Stations
Buildings
Total | 3342788.2
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Cathodic Protection
Transmission and Distribution
Meters
IT
Other | 40372.57
SCADA
Services
Supply Regulators/Valve Stations
Buildings
Total | 40372.57
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023-24
Cathodic Protection
Transmission and Distribution
Meters
IT
Other
SCADA
Services
Supply Regulators/Valve Stations
Buildings
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2023-24
Tariff V Res | 204857315.2304
Tariff V Bus | 10727936.4447
Tariff D | 1881991.7
Tariff L | 36213.22
Yarra Res | 2289760.9431
Yarra Bus | 170524.752
South Gipps Res | 2201847.478
South Gipps Bus | 421717.3231
South Gipps D | 75522.3
Total | 222662829.3913
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Reconnection | 267305.91
Meter and Gas Installation Test | 30546.93
Disconnection | 312728.41
Special Meter Reading | 1600219.5
Meter Removal | 24882.08
Meter Reinstallation
Service Abolishment - Residential | 803000
Total | 3038682.83
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023-24
Tariff D/L and complex V connections | 1794322.81
Service Visit - Long/Short | 618292.94
Alter Meter Position | 278199.96
After Hours Connection/Reconnections Tariff V | 3051.4
Meter Investigation NATA test | 4592.44
Other Non- reference services | 65650.02
Total | 2764109.57
F3.5 - TOTAL REVENUE
2023-24
Total | 228465621.7913
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2023-24
Opex Efficiency Mechanism Carryover | 5445231.8889
Capital Expenditure Sharing Scheme | 21915.94
Total | 5467147.8289
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance | 22629394.14
marketing and retail incentives | 705485.61
debt raising | 0
equity raising | 0
unaccounted for gas | -1498000
jurisdictional charges | 5354255.36
GSL payments | 78125
other opex | 30076550.23
Total | 57345810.34
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance | -5049180.8131
marketing and retail incentives | -266849
debt raising | -2295958.88
equity raising | 0
unaccounted for gas | 0
jurisdictional charges | -2245923
GSL payments | 0
other opex | -5482930.8754
Total | -15340842.5685
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2023-24
repairs and maintenance | 27678574.9531
marketing and retail incentives | 972334.61
debt raising | 2295958.88
equity raising | 0
unaccounted for gas | -1498000
jurisdictional charges | 7600178.36
GSL payments | 78125
other opex | 35559481.1054
Total | 72686652.9085
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F6. RELATED PARTY TRANSACTIONS
F6.1 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2023-24
F6.1.1 - EXPENDITURE
AGI Services Pty Limited | 1898360.1 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Services Recharge | Based on the payment of tax invoice 90100180 made to the related party | Reported in E1.2 - OPEX - E1.2.1 REFERENCE SERVICES - Other Opex | Direct
AGI Services Pty Limited | 650339.11 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Capex Recharge | Based on the payment of tax invoice 90100180 made to the related party | Reported in E1.1 - CAPEX - E1.1.1 REFERENCE SERVICES - ICT Also reported in F2.4 CAPEX BY ASSET CLASS - F2.4.2 - ACTUAL AS INCURRED - IT | Direct
AGI Services Pty Limited | 8178.55 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Services Recharge | Based on the payment of tax invoice 90100095 made to the related party | Reported in E1.2 - OPEX - E1.2.1 REFERENCE SERVICES - Other Opex | Direct
AGI Services Pty Limited | 2852412.03 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Capex Recharge | Based on the payment of tax invoice 90100095 made to the related party | Reported in E1.1 - CAPEX - E1.1.1 REFERENCE SERVICES - ICT Also reported in F2.4 CAPEX BY ASSET CLASS - F2.4.2 - ACTUAL AS INCURRED - IT (a portion of this expenditure reported in prior year RIN) | Direct
DBNGP WA Pipeline Trust | 701774.076 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Labour recharge | Based on the payment of tax invoice 91000005 made to the related party | Reported in E1.1 - CAPEX - E1.1.1 REFERENCE SERVICES - Capitalised network overheads. Also reported in F2.4 CAPEX BY ASSET CLASS - F2.4.2 - ACTUAL AS INCURRED allocated across all Asset Classes (excluding IT) | Allocated across Asset Classes (excluding IT) based on Direct spend
DBNGP WA Pipeline Trust | 400600.134 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Labour recharge, and other Admin costs recharge | Based on the payment of tax invoice 91000005 made to the related party | Reported in E1.2 - OPEX - E1.2.1 REFERENCE SERVICES - Other Opex | Direct
AGI Finance Pty Ltd | 45052557.38 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | External Financing Activities | Intercompany Interest charges are calculated based on the terms of an Intercompany Loan Agreement with AGIF (and other AGIH entities). (Refer Regulatory Accouting Principles and Policies Document - Background section ). The payment is made via a bank tranfer from MGN to AGIF | Reported in F1 Income- Net finance expenses | Direct
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
AGI Services Pty Limited | 1898360.1 | Refer above. | Refer above. | Refer above.
AGI Services Pty Limited | 650339.11 | Refer above. | Refer above. | Refer above.
AGI Services Pty Limited | 8178.55 | Refer above. | Refer above. | Refer above.
AGI Services Pty Limited | 2852412.03 | Refer above. | Refer above. | Refer above.
DBNGP WA Pipeline Trust | 701774.076 | Refer above. | Refer above. | Refer above.
DBNGP WA Pipeline Trust | 400600.134 | Refer above. | Refer above. | Refer above.
AGI Finance Pty Ltd | 45052557.38 | Refer above. | Refer above. | Refer above.
F6.2 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2023-24
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY Multinet Gas
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2023-24
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT | 44.47%
Capitalised network overheads | 10.82%
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023-24
Total | 3.27%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2023-24
Provision name
Environmental Provision (GL 41120)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component | 0
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Unaccounted for gas provision (GL 32200)
Opening balance (the carrying amount at the beginning of the period) | 1260518.5
Additional provisions made in the period, including increases to existing provisions
Opex component | -498000
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 2637462.49
Capex component
Other component
Unused amounts reversed during the period
Opex component | -1000000
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 2399980.99
Provision name
Provision for separation (GL 32060)
Opening balance (the carrying amount at the beginning of the period) | 3347350.64
Additional provisions made in the period, including increases to existing provisions
Opex component | 311932.84
Capex component | 278080.53
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -457370.67
Capex component | -109004.11
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component | -3370989.23
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | -1.3097e-10
Provision name
Employee Costs Provision (GL 31010)
Opening balance (the carrying amount at the beginning of the period) | 1133474.76
Additional provisions made in the period, including increases to existing provisions
Opex component | 1046021.926
Capex component | 817995.9646
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -1030694.79
Capex component | -691380.22
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1275417.6406
Provision name
Property Lease Break Provision (GL 32100)
Opening balance (the carrying amount at the beginning of the period) | 488960
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component | 46200
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 535160
Provision name
Payroll Tax (GL30305)
Opening balance (the carrying amount at the beginning of the period) | 54973.36
Additional provisions made in the period, including increases to existing provisions
Opex component | 619524.02
Capex component | 39672.8
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -549843.52
Capex component | -33531.94
Other component
Unused amounts reversed during the period
Opex component | 0
Capex component | 0
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 130794.72
Provision name
Provision for long service leave (32010)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component | 167491.524
Capex component | 93528.516
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -63008.9
Capex component | -20364.78
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 2186860.41
Closing balance (carrying amount at the end of the period) | 2364506.77
Provision name
Provision for annual leave (MG 32000)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component | 323001.012
Capex component | 210807.008
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -389866.36
Capex component | -97888.79
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 1184127.51
Closing balance (carrying amount at the end of the period) | 1230180.38
Provision name
Provision for Purchased Leave (32005)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component | 3869.04
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 3869.04
Provision name
Provision for WorkCover (32040)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component | 202218.78
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -65309.76
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 136909.02
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2023-24
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2023-24
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2023-24
FOR TOTAL ASSET BASE
Opening value | 1416239143.941
Inflation addition | 110917327.8437
Straight line depreciation | 85819219.5105
Actual additions (recognised in RAB) | 114107336.2442
Disposals | 40372.57
Closing value | 1555404215.9484
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY