## Glossary
Term | Definition
ADMS | Advanced Distribution Management System
AEMO | Australian Energy Market Operator
API | Application Programming Interface
CER | Consumer Energy Resources
CFS | Country Fire Service
CSIP | Common Smart Inverter Protocol
DERMS | Distributed Energy Resources Management System
DNSP | Distribution Network Service Provider
DOE | Dynamic Operating Envelope
HV | High Voltage
ISP | Integrated System Plan
LV | Low Voltage
VPP | Virtual Power Plant
VVWO | Volt-VAr-Watt-Optimisation

## Overview
Project | Description | Capex ($M, $2022) | Opex ($M, $2022) | Capex ($M, $2025) | Opex ($M, $2025) | Business Case Reference
Advanced Network Planning for a Flexible Future trial | Advanced HV & LV planning tools to co-optimise between network augmentation and flexibility procurement, integrated with AEMO's ISP model to optimise whole-of-system invsetments. | 0.93976 | 0.32392 | 1.0861 | 0.36653 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.1
Co-optimising network real and reactive power trial | Co-optimisation of real & reactive power response to network constraints, by way of generating and dispatching dynamic operating envelopes with reactive power elements. | 2.4491 | 0.28608 | 2.8304 | 0.32371 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.2
Self-serve Connections Platform pilot | Industry portal to view available network capacity down to the low-voltage network level and receive indications of suitability for a flexible connection and the associated service levels received as well as costs and timeframes to connect, automating the preliminary connections assessment process. | 1.568 | 0.34775 | 1.8121 | 0.39349 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.3
Local Flexibility Marketplace pilot | Marketplace for non-network solutions to resolve network constraints, including both long-term substation constraints and real-time low-voltage constraints, with response procured, settled and dispatched automatically. Acts as the front-end for the Advanced Network Planning for a Flexible Future trial, the Co-otpimising network real and reactive power trial and the Distributed emergency underfrequency response pilot. | 3.0485 | 1.3689 | 3.5231 | 1.549 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.4
CER market operations interface pilot | Data sharing interface between SA Power Networks and AEMO to enhance the accuracy of operational forecasting, with the aim of sharing forecast CER curtailment and receiving forecasts from scheduled generators. | 2.2679 | 0.30873 | 2.621 | 0.34933 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.5
Shared market flexibility pilot | Expansion of our Flexible Exports systems to enable full passthrough of market controls by a VPP operator, combined with existing dynamic operating envelopes from SA Power Networks. | 1.0733 | 0.11569 | 1.2404 | 0.1309 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.6
Integrating DOEs and system services pilot | Optimise the volume of essential system services provided by distrbution connected CER, through revised allocation of network capacity under a dynamic operating envelope. | 1.1302 | 0.091471 | 1.3061 | 0.1035 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.7
Distributed emergency underfrequency response pilot | Determine underfrequency requirements at a low-voltage network level, and uplift the capabilities of CER devices to respond to emergency underfrequency condititions, with these services managed through the Local Flexibility Marketplace. | 0.92557 | 0.61333 | 1.0697 | 0.69401 | 5.13.4 Business Case Addendum - Innovation Fund - Section 6.8
Emergency services data sharing pilot | Enhance co-ordination and safety of multi-service emergency response, by way of sharing data relating to live network status, safety hazards and restoration activities with emergency services. | 0.44615 | 0.081275 | 0.5156 | 0.091965 | 5.13.4 Business Case Addendum - Innovation Fund - Section 7.1
Total |  | 13.8486 | 3.5372 | 16.0044 | 4.0024

## Unit Costs
Resource | Daily Rate ($2022)
Team | Sprint Cost* ($2022) | Description
*A sprint is a 2 week working period for an IT team.
Sprint costs include IT scrum management, architecture, infrastructure, development, QA and integration testing.

## 6.1. Flex Planning
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Planning tool development
Network Planning
Market modelling
Total | [5 empty] | 939759.9214 | 323921.5808

## 6.2. Real and Reactive Power
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery support
Network Modelling
Engagement
Systems uplifts
Total | [5 empty] | 2449134.693 | 286078.5434

## 6.3. Self-Serve Connections
Task Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Constraint Modelling
Connections Platform Development
Platform rollout
Total | [5 empty] | 1567998.1112 | 347745.1687

## 6.4. Flex Marketplace
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Constraint modelling
Systems uplift
Marketplace platform procurement
Marketplace platform rollout
Total | [5 empty] | 3048489.2722 | 1368921.7051

## 6.5. Market Interface
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
AEMO interface development
Systems uplift
Total | [5 empty] | 2267936.4297 | 308725.595

## 6.6. Shared Flexibility
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Systems uplift
Retailer implementation
Total | [5 empty] | 1073335.5252 | 115686.3232

## 6.7. DOE System Services
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
DERMS Uplift
Systems Uplift
Offer deployment
Total | [5 empty] | 1130187.171 | 91470.6394

## 6.8. Distributed Underfrequency
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Systems Uplift
Service deployment
Total | [5 empty] | 925573.067 | 613333.3748

## 7.1. Emergency Data Sharing
Group | Task | Resource | Effort | Unit | Unit Cost | CAPEX | OPEX | Description
Delivery Support
Systems Uplift
Service Deployment
Total | [5 empty] | 446150.6194 | 81274.5293