## Cover
United Energy
Regulatory proposal 2026-31
#NAME?
Model number: | #NAME?
2025-01-31

## United Energy
United Energy
Reserve feeder cost (2023-24 dollars) |  | Source
$/kVA
LV | 9.1876
HV | 7.009
SubT | 1.045
Overhead rate | 30.07% | 2023-24 CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
MVA
LV | 1770.9565 | Based on LV proportion of consumption
HV | 2056.79 | 2023-24 EB RIN, 3.4 Operational data, sum of zone substation coincident demand
SubT | 2061.649 | 2023-24 EB RIN, 3.4 Operational data, sum of terminal station coincident demand
Energy supplies
GWh
Residential | 2870.3 | 2023-24 EB RIN, 3.4 Operational data
Business not on demand tariff | 712.3 | 2023-24 EB RIN, 3.4 Operational data
Business LV on demand tariff | 2813.6 | 2023-24 EB RIN, 3.4 Operational data
High voltage | 1049.9 | 2023-24 EB RIN, 3.4 Operational data
Total | 7446.1
Feeder maintenance cost
$m
LV | 12.5089 | Allocated based on spans cut
HV | 11.083 | Allocated based on spans cut
SubT | 1.6563 | Allocated based on spans cut
Total | 25.2482
Total spans cut
Number
LV | 14659 | 2023-24 EB RIN, 3.7 Operational enviornment (underlying work paper)
HV | 12988 | 2023-24 EB RIN, 3.7 Operational enviornment (underlying work paper)
SubT | 1941 | 2023-24 EB RIN, 3.7 Operational enviornment (underlying work paper)
Total | 29588
Pole and line maintenance expenditure
$m
Vegetation management | 17.6125 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 3.0262 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole inspection and treatment | 1.5785 | 2023-24 CAT RIN, 2.7 Vegetation management
Overhead asset inspection | 1.453 | 2023-24 CAT RIN, 2.7 Vegetation management
Network underground cable | 1.5781 | 2023-24 CAT RIN, 2.7 Vegetation management
Total | 25.2482