## PC Changes
PAL Accelerated depreciation
PC Changes
Changes 4 June 2020
Sheet | Reference | Description
Underground cable | D7 | Corrected formula to only reference P23 on the 'REFCL_data' tab, instead of the sum of P22:P23
Underground cable | H15 | Corrected formula to be the same as cells below
Other ACRs | C13:C47 | Linked to pick up yearly totals from 'ACRs_data' tab
REFCL_data | Column O | Added an extra column (blank)
ACRs_data | Row 26 | Updated with corrected numbers for WPD
Changes 10 July 2020
Sheet | Reference | Description
Profile | B14 | Changed description to include GHP
Profile | B15 | Changed description to include WPD and GHP
Profile | H13:K16 | Updated values based on revised totals in column G
T3 surge arrestors | B24:H24 | Added GHP surge arrestors and calculations
T3 surge arrestors | D21:E21 | Set CRO surge arrestor volumes to zero
Underground cable | D65:I65 | Added GHP cable to be removed
REFCL_Data | O11:O23 | GHP column added
REFCL_Data | AQ11:AQ23 | GHP column added
REFCL_Data | AH11:AH23 | Volumes for GL set to zero
REFCL_Data | AJ11:AJ23 | Volumes for CRO set to zero
ACRs_data | C19:AH20 | GL and CRO volumes set to zero
ACRs_data | C27:AH27 | GHP ACRs added
UG_cable_data | C29:BF30 | GL and CRO volumes set to zero
ACRs_data | Column AG | Added updated volumes for 2019
ACRs_data | C32:AH35 | Added summary table showing T1 ACRs, T2 ACRs and other
T1-T3 old UG cable |  | Deleted redundant tab 'T1-T3 old UG cable'

## Profile
PAL Accelerated depreciation
Profile
Updated 10 July 2020
| Distribution standard life: VPN | 51
REFCL cost inflator ($2015 to $2021)
Accelerated depreciation ($ 2021)
| Description | Standard life | Remaining life | Total volume | Unit rate | Total | 2022 | 2023 | 2024 | 2025 | 2026
| PVC grey services (dog-bones) | 51 | 19 | 0 | 84196.6737 | 0 | [6 empty] | ok
| Replacing HV ABC in the LBRA | 51 | 25.5 | 9.6 | 437035.3982 | 2097769.9115 | 419553.9823 | 419553.9823 | 419553.9823 | 419553.9823 | 419553.9823 |  | ok
| 3G to 5G upgrade (control boxes) | 51 | 43.7597 | 1652.4911 | 3693.1367 | 5236471.5426 | 2618235.7713 | 2618235.7713 | 0 | 0 | 0 |  | ok
| Solar enablement: distribution transformers | 51 | 25.5 | 75.5267 | 68021.7994 | 2568729.5433 | 513745.9087 | 513745.9087 | 513745.9087 | 513745.9087 | 513745.9087 |  | ok
| T3 REFCL: surge arrestors |  | 31.8618 |  |  | 5122164.9456 | 1280541.2364 | 1280541.2364 | 1280541.2364 | 1280541.2364 | 0 |  | ok
| WPD & GHP: surge arrestors |  | 31.8618 |  |  | 2513319.9491 | 837773.3164 | 837773.3164 | 837773.3164 | 0 | 0 |  | ok
| T1-T3 & WPD & GHP REFCL: ACRs |  | 42.8202 |  |  | 1195792.8986 | 398597.6329 | 398597.6329 | 398597.6329 | 0 | 0 |  | ok
| T1-T3 REFCL: underground cable |  | 30.8807 |  |  | 10753070.311 | 3584356.7703 | 3584356.7703 | 3584356.7703 | 0 | 0 |  | ok
| Total |  |  |  |  | 29487319.1017 | 9652804.6182 | 9652804.6182 | 7034568.8469 | 2213841.1274 | 933299.891
Depreciation removed
| Description | [5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082
| PVC grey services (dog-bones) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Replacing HV ABC in the LBRA | [5 empty] | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 41132.7434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3G to 5G upgrade (control boxes) | [5 empty] | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 90909.9558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar enablement: distribution transformers | [5 empty] | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 100734.4919 | 50367.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T3 REFCL: surge arrestors | [5 empty] | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 138539.7646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WPD & GHP: surge arrestors | [5 empty] | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 78881.9969 | 67978.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T1-T3 & WPD & GHP REFCL: ACRs | [5 empty] | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 22905.5055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T1-T3 REFCL: underground cable | [5 empty] | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 306679.846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation removed from distribution system assets | [5 empty] | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 918447.2069 | 826947.2176 | 735447.2283 | 735447.2283 | 735447.2283 | 735447.2283 | 693914.0588 | 354107.9219 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 142569.7285 | 90909.9558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 100589.951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 24411.7647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701
[22 empty] | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 413612.5739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 26636.1079 | 0 | 0 | 0 | 0
[22 empty] | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581
[22 empty] | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197
[22 empty] | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 77827.2272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765
[22 empty] | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 1533651.9799 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 602791.5632 | 576155.4553 | 576155.4553 | 576155.4553 | 576155.4553
Note on D9: Author: Based on an age of 32 years which reflects the difference between 2021 and the latest installation year of 1989 (consistent with information provided by Powercor in response to IR015). Standard life of 51 yrs minus 32 years = 19 years.
Note on E9: Author: Capex rejected.
Note on F9: Dunne, Stephen:: Comment from capex PTRM input sheet: "We would not accept this unit rate, however, as we are not accepting the proactive component, so we have not substituted the unit rate here."
Note on F10: Dunne, Stephen: Leave this as referencing the CPI escalator.
Note on H10: Dunne, Stephen: converted depreciation to formulas to reference amended residual amounts. Previously was pasted values.
Note on D11: Author: Updated to reflect the average age provided by Powercor in response to IR#015. With a 2 yr adjustment to calculate the average age at 2021 rather than 2019 (IR gave the age at 2019).
Note on E12: Dunne, Stephen: This takes the approved forecast volume of 302.1 (from capex PTRM input spreadsheet) and applies a 25% scrapping factor. Effectively we are saying that it is appropriate for 25% of of the approved volume to be scrapped and so accelerated depreciation should only apply to this 25% and the other 75% should be able to be redeployed.
Note on G15: Dunne, Stephen: accepted volume for accelerated of 22 as this reflects the RVE/VWVE types. Unit rate increases slightly due t taking it from final rather than proposed T3 model.
Note on D16: Author: amended to reflect correct composition. This is also consistent with backsolving where residual value = vol x unit rate x ratio of rem life to standard life.

## AER changes
Location | Description
Profile sheet (various) | amended formulas to reference amended inputs, amended depreciation profiles to reference amended resdidual values
Assumptions!G11:M11 | amended actual CPI figures for lagging, update for HY2021
T3 surge arrestors'!D10:E10,'T3 surge arrestors'!H10:I10,'T3 surge arrestors'!F23:G24 | amendments to surge arrestors unit rates and residual value formula
Underground cable'!D7,'Underground cable'!C65:I65 | amendments to UG cable for unit rate and residual value formula
Other_ACRs!D5,Other_ACRs!D7,Other_ACRs!F54:G57 | amended ACRs unit rate, and added pro-rata formula because we are only accepting accelerated depreciation for 22 of the proposed 267 ACRs (not linked to forecast capex and so wasn't included on the capex PTRM input sheet)

## Assumptions
PAL Accelerated depreciation
Assumptions
| Distribution standard life: VPN | 51
| AMI life: VPN | 15
REFCL cost inflator ($2015 to $2021)
| Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Jun-Jun unlagged inflation |  |  |  |  | 2.308% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 1.22%
| Conversion to June 2021 |  |  |  |  | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0283 | 1.0122 | 1
| REFCL conversion from 2015 to 2021 | 2012: 1.0973

## Output
PAL Accelerated depreciation
Output
| Description | Total | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082
| Remaining value accelerated | 29.4873
| Accelerated depreciation |  | 2022: 9.6528; 2023: 9.6528; 2024: 7.0346; 2025: 2.2138; 2026: 0.9333
| RAB adj to distribution system assets for accelerated depreciation assets | -29.4873
| Depreciation removed from distribution system assets |  | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.91845 | -0.82695 | -0.73545 | -0.73545 | -0.73545 | -0.73545 | -0.69391 | -0.35411 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14257 | -0.09091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## T3 surge arrestors
PAL Accelerated depreciation
T3 Surge arrestors
Updated 10 July 2020
| Distribution standard life |  | 51
| Average age |  | 19.1382
| Average remaining life |  | 31.8618
|  |  | For T3 surge arrestors |  |  | For WPD and GHP
|  |  | 1ph Arrestor | 3ph Arrestor |  |  | 1ph Arrestor | 3ph Arrestor
| Surge arrestor installed cost (2015 $) |  | 1382.1768 | 1582.7112 |  | Surge arrestor installed cost (2015 $) | 1165.577 | 1344.5324
|  |  | Surge arrestors to be replaced |  | Remaining value of surge arrestors removed |  | Total value of
| CPA tranche | ZSS | Surge arrestor sites (single phase) | Surge arrestor sites (three phase) | Single phase | Three phase | surge arrestors replaced
| 3 | ART | 406 | 347 | 350581.7866 | 343108.0115 | 693689.7981
| 3 | STL | 184 | 249 | 158884.3565 | 246207.1898 | 405091.5463
| 3 | TRG | 556 | 517 | 480107.0773 | 511201.2736 | 991308.3509
| 3 | KRT | 341 | 553 | 294454.1607 | 546797.4938 | 841251.6545
| 3 | HTN | 369 | 265 | 318632.215 | 262027.7321 | 580659.9471
| 3 | CRO | 0 | 0 | 0 | 0 | 0
| 3 | MBN | 148 | 1040 | 127798.2868 | 1028335.2506 | 1156133.5373
|  | WPD | 611 | 998 | 444919.9676 | 838303.9634 | 1283223.931
|  | GHP | 314 | 927 | 228649.5415 | 778665.1043 | 1007314.6457
| Total (real 2015 dollars) |  | 2929 | 4896 | 2404027.3919 | 4554646.019 | 6958673.4109
Note on D10: Author: these are the implied rates for the T3 surge arrestors from the final T3 cost model
Note on G10: Author: these are the rates from the capex PTRM input sheet. I have converted these to $2015 in this sheet but they get converted back to $2021 in the Profile sheet.

## OtherAssets
PAL Accelerated depreciation
Other distribution assets
Volumes
|  | Unit Rate | Units | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Dog Bones | 84620 | ea | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5
| HV ABC in LBRA | 425000 | per km | 0 | 0 | 1.92 | 1.92 | 1.92 | 1.92 | 1.92 | 1.92
| Solar enablement - Tx replacement | 66148.5657 | ea |  |  |  | 128 | 128 | 133 | 124 | 125
| 3G devices | 3591.4324 | ea |  |  |  | 1030 | 1030 | 0 | 0 | 0

## Underground cable
PAL Accelerated depreciation
Underground cable
Updated 4 June 2020
Updated 10 July 2020
| Reference year |  | 2019 | Year
| Distribution standard life |  | 51 | Age
| UG cable removed (all REFCL areas) |  | 38012 | Metres | UG cable installed cost (real $2021)
| UG cable installed cost (real $2015) |  | 424.8996 | $'000s | 466.226
| % of non-XLPE replaced (total population) |  | 4% | % | 2.0464e-12
| % of XLPE of total pre-1989 population |  | 31.61% | %
| UG cable installed: T1, T2 and T3 sites | [7 empty] | Volumes
| Installation year | Volume | Remaining life | Remaining value ($) | XLPE pre-1989 replaced | Non-XLPE replaced | XLPE pre-1989 replacement ($) | Other replacement ($) | XLPE pre-1989 replaced vol | Non-XLPE replaced | Total | Rem Life | Total Res Value
| 1970 | 60.3742 | 2 | 1005.9997 | 19.0848 | 2.415 | 318.0045 | 40.24 | 19.0848 | 2.415 | 21.4998 | 2 | 358.2445
| 1971 | 514.3176 | 3 | 12854.9012 | 162.5799 | 20.5727 | 4063.5368 | 514.196 | 162.5799 | 20.5727 | 183.1526 | 3 | 4577.7329
| 1972 | 602 | 4 | 20061.9244 | 190.297 | 24.08 | 6341.7344 | 802.477 | 190.297 | 24.08 | 214.377 | 4 | 7144.2114
| 1973 | 59.5223 | 5 | 2479.5082 | 18.8155 | 2.3809 | 783.7923 | 99.1803 | 18.8155 | 2.3809 | 21.1964 | 5 | 882.9726
| 1974 | 214.6698 | 6 | 10730.9549 | 67.8588 | 8.5868 | 3392.1405 | 429.2382 | 67.8588 | 8.5868 | 76.4456 | 6 | 3821.3787
| 1975 | 322.5321 | 7 | 18809.9241 | 101.955 | 12.9013 | 5945.9671 | 752.397 | 101.955 | 12.9013 | 114.8562 | 7 | 6698.3641
| 1976 | 997.1604 | 8 | 66461.6497 | 315.2104 | 39.8864 | 21009.0578 | 2658.466 | 315.2104 | 39.8864 | 355.0968 | 8 | 23667.5238
| 1977 | 239.0647 | 9 | 17925.6127 | 75.5702 | 9.5626 | 5666.4292 | 717.0245 | 75.5702 | 9.5626 | 85.1328 | 9 | 6383.4537
| 1978 | 1132.6226 | 10 | 94362.9111 | 358.031 | 45.3049 | 29828.8692 | 3774.5164 | 358.031 | 45.3049 | 403.3359 | 10 | 33603.3856
| 1979 | 3175.5346 | 11 | 291021.8835 | 1003.8118 | 127.0214 | 91994.3395 | 11640.8753 | 1003.8118 | 127.0214 | 1130.8332 | 11 | 103635.2149
| 1980 | 1956.6436 | 12 | 195618.1221 | 618.5107 | 78.2657 | 61836.4493 | 7824.7249 | 618.5107 | 78.2657 | 696.7764 | 12 | 69661.1742
| 1981 | 3500.5962 | 13 | 379141.634 | 1106.5664 | 140.0238 | 119849.6958 | 15165.6654 | 1106.5664 | 140.0238 | 1246.5902 | 13 | 135015.3612
| 1982 | 1867.3395 | 14 | 217804.7875 | 590.2809 | 74.6936 | 68849.8313 | 8712.1915 | 590.2809 | 74.6936 | 664.9745 | 14 | 77562.0228
| 1983 | 1827.8305 | 15 | 228424.8142 | 577.7918 | 73.1132 | 72206.9065 | 9136.9926 | 577.7918 | 73.1132 | 650.905 | 15 | 81343.899
| 1984 | 644.6016 | 16 | 85926.5751 | 203.7637 | 25.7841 | 27162.076 | 3437.063 | 203.7637 | 25.7841 | 229.5478 | 16 | 30599.139
| 1985 | 3447.0148 | 17 | 488211.6899 | 1089.6289 | 137.8806 | 154327.6108 | 19528.4676 | 1089.6289 | 137.8806 | 1227.5095 | 17 | 173856.0784
| 1986 | 2694.829 | 18 | 404128.8199 | 851.8569 | 107.7932 | 127748.3447 | 16165.1528 | 851.8569 | 107.7932 | 959.6501 | 18 | 143913.4975
| 1987 | 5815.8208 | 19 | 920620.6696 | 1838.4274 | 232.6328 | 291015.5396 | 36824.8268 | 1838.4274 | 232.6328 | 2071.0602 | 19 | 327840.3664
| 1988 | 8026.4629 | 20 | 1337427.6642 | 2537.229 | 321.0585 | 422771.5565 | 53497.1066 | 2537.229 | 321.0585 | 2858.2875 | 20 | 476268.663
| 1989 | 2185.7695 | 21 | 382419.2601 | 690.9392 | 87.4308 | 0 | 15296.7704 | 0 | 87.4308 | 87.4308 | 21 | 15296.7704
| 1990 | 5426.0539 | 22 | 994541.4643 | 1715.2189 | 217.0422 | 0 | 39781.6586 | 0 | 217.0422 | 217.0422 | 22 | 39781.6586
| 1991 | 7051.244 | 23 | 1351169.0495 | 2228.9545 | 282.0498 | 0 | 54046.762 | 0 | 282.0498 | 282.0498 | 23 | 54046.762
| 1992 | 4820.215 | 24 | 963815.1622 | 1523.7084 | 192.8086 | 0 | 38552.6065 | 0 | 192.8086 | 192.8086 | 24 | 38552.6065
| 1993 | 8022.9368 | 25 | 1671050.1666 | 2536.1144 | 320.9175 | 0 | 66842.0067 | 0 | 320.9175 | 320.9175 | 25 | 66842.0067
| 1994 | 10368.7871 | 26 | 2246039.6202 | 3277.6563 | 414.7515 | 0 | 89841.5848 | 0 | 414.7515 | 414.7515 | 26 | 89841.5848
| 1995 | 5297.1684 | 27 | 1191581.2146 | 1674.4772 | 211.8867 | 0 | 47663.2486 | 0 | 211.8867 | 211.8867 | 27 | 47663.2486
| 1996 | 7600.6186 | 28 | 1773058.551 | 2402.6162 | 304.0247 | 0 | 70922.342 | 0 | 304.0247 | 304.0247 | 28 | 70922.342
| 1997 | 11869.8229 | 29 | 2867862.6164 | 3752.1457 | 474.7929 | 0 | 114714.5047 | 0 | 474.7929 | 474.7929 | 29 | 114714.5047
| 1998 | 19479.6003 | 30 | 4868749.1967 | 6157.6571 | 779.184 | 0 | 194749.9679 | 0 | 779.184 | 779.184 | 30 | 194749.9679
| 1999 | 28306.4376 | 31 | 7310768.2432 | 8947.8908 | 1132.2575 | 0 | 292430.7297 | 0 | 1132.2575 | 1132.2575 | 31 | 292430.7297
| 2000 | 19292.3311 | 32 | 5143405.8167 | 6098.4598 | 771.6932 | 0 | 205736.2327 | 0 | 771.6932 | 771.6932 | 32 | 205736.2327
| 2001 | 28267.0522 | 33 | 7771602.2909 | 8935.4408 | 1130.6821 | 0 | 310864.0916 | 0 | 1130.6821 | 1130.6821 | 33 | 310864.0916
| 2002 | 18054.5856 | 34 | 5114256.9975 | 5707.1986 | 722.1834 | 0 | 204570.2799 | 0 | 722.1834 | 722.1834 | 34 | 204570.2799
| 2003 | 28359.8208 | 35 | 8269659.5974 | 8964.7657 | 1134.3928 | 0 | 330786.3839 | 0 | 1134.3928 | 1134.3928 | 35 | 330786.3839
| 2004 | 26055.3221 | 36 | 7814749.363 | 8236.2952 | 1042.2129 | 0 | 312589.9745 | 0 | 1042.2129 | 1042.2129 | 36 | 312589.9745
| 2005 | 26153.8382 | 37 | 8062194.3428 | 8267.4369 | 1046.1535 | 0 | 322487.7737 | 0 | 1046.1535 | 1046.1535 | 37 | 322487.7737
| 2006 | 30927.4938 | 38 | 9791391.844 | 9776.4276 | 1237.0998 | 0 | 391655.6738 | 0 | 1237.0998 | 1237.0998 | 38 | 391655.6738
| 2007 | 26178.5092 | 39 | 8506004.8086 | 8275.2356 | 1047.1404 | 0 | 340240.1923 | 0 | 1047.1404 | 1047.1404 | 39 | 340240.1923
| 2008 | 31718.074 | 40 | 10570192.7359 | 10026.3363 | 1268.723 | 0 | 422807.7094 | 0 | 1268.723 | 1268.723 | 40 | 422807.7094
| 2009 | 25798.9066 | 41 | 8812543.2891 | 8155.2402 | 1031.9563 | 0 | 352501.7316 | 0 | 1031.9563 | 1031.9563 | 41 | 352501.7316
| 2010 | 23464.0458 | 42 | 8210475.2046 | 7417.1721 | 938.5618 | 0 | 328419.0082 | 0 | 938.5618 | 938.5618 | 42 | 328419.0082
| 2011 | 15128.7664 | 43 | 5419860.1365 | 4782.3238 | 605.1507 | 0 | 216794.4055 | 0 | 605.1507 | 605.1507 | 43 | 216794.4055
| 2012 | 20255.5764 | 44 | 7425289.4794 | 6402.9493 | 810.2231 | 0 | 297011.5792 | 0 | 810.2231 | 810.2231 | 44 | 297011.5792
| 2013 | 29407.9963 | 45 | 11025392.4108 | 9296.1023 | 1176.3199 | 0 | 441015.6964 | 0 | 1176.3199 | 1176.3199 | 45 | 441015.6964
| 2014 | 21635.9655 | 46 | 8291826.721 | 6839.3013 | 865.4386 | 0 | 331673.0688 | 0 | 865.4386 | 865.4386 | 46 | 331673.0688
| 2015 | 47964.5318 | 47 | 18781668.6386 | 15161.9712 | 1918.5813 | 0 | 751266.7455 | 0 | 1918.5813 | 1918.5813 | 47 | 751266.7455
| 2016 | 26493.2252 | 48 | 10594785.6618 | 8374.7199 | 1059.729 | 0 | 423791.4265 | 0 | 1059.729 | 1059.729 | 48 | 423791.4265
| 2017 | 43831.2855 | 49 | 17893545.1815 | 13855.4191 | 1753.2514 | 0 | 715741.8073 | 0 | 1753.2514 | 1753.2514 | 49 | 715741.8073
| 2018 | 19843.0431 | 50 | 8265980.6982 | 6272.5443 | 793.7217 | 0 | 330639.2279 | 0 | 793.7217 | 793.7217 | 50 | 330639.2279
| 2019 | 760.2873 | 51 | 323045.7412 | 240.3329 | 30.4115 | 0 | 12921.8296 | 0 | 30.4115 | 30.4115 | 51 | 12921.8296
|  | 1967 | 37.7194 | 618137.3412 | 621.7844 | 78.68 | 0 | 24725.4936 | 0 | 78.68 | 78.68 | 37.7194 | 24725.4936
| Total | 657118.2483 | 37.7194 |  |  |  | 1515111.8817 | 8284803.3157 | 11727.2701 | 26363.4099 | 38090.68 | 30.8807 | 9799915.1974
[7 empty] | 1807481.561 | 8262044.822
Note on D7: Author: amended to reflect volume of T1-T3, WPD and GHP.
Note on E65: Author: re-arranged this row a bit. PC had the volume of 1967 in cell I65 which is a revenue column which didn't seem right.

## Other_ACRs
PAL Accelerated depreciation
Other ACRs
Updated 4 June 2020
Updated 10 July 2020
| Reference year |  | 2021
| Distribution standard life |  | 51
| ACR installed cost (real 2015 $) |  | 58998.9599
ACRs to be replaced
| Year installed | Volumes | Remaining life (yrs) | Remaining value
| 1970 | 1 | 0 | 0
| 1985 | 1 | 15 | 17352.6353
| 1986 | 0 | 16 | 0
| 1987 | 0 | 17 | 0
| 1988 | 0 | 18 | 0
| 1989 | 0 | 19 | 0
| 1990 | 0 | 20 | 0
| 1991 | 0 | 21 | 0
| 1992 | 0 | 22 | 0
| 1993 | 1 | 23 | 26607.3741
| 1994 | 0 | 24 | 0
| 1995 | 2 | 25 | 57842.1175
| 1996 | 3 | 26 | 90233.7033
| 1997 | 1 | 27 | 31234.7435
| 1998 | 1 | 28 | 32391.5858
| 1999 | 0 | 29 | 0
| 2000 | 0 | 30 | 0
| 2001 | 1 | 31 | 35862.1129
| 2002 | 2 | 32 | 74037.9104
| 2003 | 10 | 33 | 381757.9755
| 2004 | 4 | 34 | 157330.5596
| 2005 | 6 | 35 | 242936.8935
| 2006 | 13 | 36 | 541402.2199
| 2007 | 6 | 37 | 256819.0017
| 2008 | 7 | 38 | 307720.0651
| 2009 | 13 | 39 | 586519.0715
| 2010 | 12 | 40 | 555284.3281
| 2011 | 13 | 41 | 616596.9726
| 2012 | 17 | 42 | 825985.438
| 2013 | 13 | 43 | 646674.8737
| 2014 | 7 | 44 | 356307.4438
| 2015 | 19 | 45 | 989100.2094
| 2016 | 5 | 46 | 266073.7405
| 2017 | 9 | 47 | 489344.3141
| 2018 | 46 | 48 | 2554307.9091
| 2019 | 32 | 49 | 1813928.805
| 2020 | 22 | 50 | 1272526.5851
| Total (real 2015 dollars) | 267 | 42.8202 | 13226178.589
[5 empty] | Vol of RVE, VWVE types (accepted for accelerated depreciation) | 22
[5 empty] | Total Vol | 267
[5 empty] | Proportion accepted for accelerated depreciation | 8.24%
1089797.4867

## REFCL_Data
PAL Accelerated depreciation
REFCL_Data
(real 2015 dollars)
Updated 10 July 2020
VOLUME SUMMARY
[6 empty] | Volumes | [6 empty] | Accel dep? |  | Volumes by ZSS |  | T1 | T1 | T1 | T1 | T1 | T1 | T2 | T2 | T2 | T2 | T2 | T2 | T3 | T3 | T3 | T3 | T3 | T3 | T3 | WPD | GHP
| Feeder works |  | T1 unit rate | T2 unit rate | T3 unit rate | WND, GSB | T1 | T2 | T3 | WPD | GHP | TOTAL | T1, T2 | T3, WPD | WND | GSB | CDN | CLC | CMN | MRO | WIN | EHK | BAN | BAS | BETS | BGO | CTN | GL | ART | CRO | HTN | KRT | MBN | STL | TRG | WPD | GHP
|  | Surge arrestor sites (single phase) | 1218.8062 | 1183.4344 | 2475.6769 |  | 3706 | 3345 | 2004 | 611 | 314 | 2615 | - | Y |  |  | 390 | 768 | 886 | 560 | 256 | 846 | 1079 | 1049 | 527 | 442 | 248 | 0 | 406 | 0 | 369 | 341 | 148 | 184 | 556 | 611 | 314
|  | Surge arrestor sites (three phase) | 1580.6526 | 1517.6562 | 2620.5666 |  | 2573 | 3435 | 2971 | 998 | 927 | 3969 | - | Y |  |  | 346 | 658 | 444 | 354 | 105 | 666 | 1104 | 857 | 712 | 316 | 446 | 0 | 347 | 0 | 265 | 553 | 1040 | 249 | 517 | 998 | 927
|  | ACRs | 52490.6255 | 50810.1059 | 58154.3624 |  | 13 | 36 | 17 | 2 | 3 | 68 | - | Y |  |  | 4 | 4 | 1 | 1 | 0 | 3 | 13 | 11 | 1 | 3 | 8 | 0 | 1 | 0 | 6 | 3 | 1 | 1 | 5 | 2 | 3
|  | ACR/gas switch control box replacement | 13333.6934 | 15034.9192 | 25692.5201 |  | 31 | 49 | 18 | 4 | 0 | 102 | - | - |  |  | 2 | 17 | 3 | 6 | 0 | 3 | 21 | 10 | 9 | 2 | 7 | 0 | 0 | 0 | 1 | 3 | 2 | 7 | 5 | 4
|  | Admittance balancing units (single phase) | 26783.2339 | 31901.8247 | 35969.0056 |  | 42 | 97 | 69 | 0 | 0 | 208 | - | - |  |  | 2 | 9 | 8 | 3 | 12 | 8 | 32 | 31 | 10 | 11 | 13 | 0 | 19 | 0 | 18 | 10 | 2 | 4 | 16
|  | Admittance balancing units (three phase) | 35652.1415 | 35016.0404 | 29984.0147 |  | 190 | 244 | 119 | 0 | 0 | 553 | - | - |  |  | 41 | 42 | 30 | 33 | 13 | 31 | 77 | 61 | 35 | 27 | 44 | 0 | 17 | 0 | 27 | 22 | 11 | 17 | 25
|  | Re-phasing | 2301.22 | 1466.9362 | 2457.8475 |  | 211 | 140 | 253 | 0 | 0 | 604 | - | - |  |  | 42 | 46 | 34 | 39 | 14 | 36 | 43 | 45 | 15 | 16 | 21 | 0 | 44 | 0 | 50 | 49 | 10 | 30 | 70
|  | Fusesavers | 13602.7098 | 13042.9481 | 16252.3033 |  | 244 | 180 | 189 | 0 | 0 | 613 | - | - |  |  | 48 | 56 | 40 | 42 | 32 | 26 | 59 | 57 | 20 | 22 | 22 | 0 | 35 | 0 | 33 | 25 | 18 | 39 | 39
|  | HV Regulators upgrade (control box) | 22519.2971 | 22570.5226 | 22211.9584 |  | 6 | 9 | 10 | 0 | 0 | 25 | - | - |  |  | 2 | 2 | 0 | 1 | 0 | 1 | 4 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 3
|  | HV Regulators upgrade (close delta) | 188495.5529 | 180946.8623 | 247619.2604 |  | 8 | 16 | 6 | 0 | 0 | 30 | Y | Y |  |  | 0 | 2 | 3 | 2 | 0 | 1 | 2 | 2 | 2 | 2 | 8 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 0
|  | Distribution switchgear (installed) | 100774.3599 | 96614 | 96614 |  | 9 | 26 | 76 | 0 | 0 | 111 | Y | Y |  |  | 0 | 4 | 2 | 0 | 0 | 3 | 9 | 6 | 5 | 6 | 0 | 0 | 8 | 0 | 12 | 9 | 30 | 9 | 8
|  | ABC replacement | 250 |  |  |  | 1362 | 0 | 0 | 0 | 0 | 1362 | - | - |  |  | 86 | 1276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | UG cable replacement ($'000s/km) | 757.6656 | 312 | 424.8996 | 4230 | 4048 | 24084 | 7454 | 459 | 1967 | 40275 | Y | Y | 3367 | 863 | 65 | 1576 | 626 | 163 | 352 | 1266 | 10609 | 6496 | 3214 | 3524 | 241 | 0 | 1448 | 0 | 702 | 674 | 4176 | 164 | 290 | 459 | 1967

## ACRs_data
PAL Accelerated depreciation
ACR data | [33 empty] | Updated 4 June 2020
| All ACRs | [31 empty] | Updated 10 July 2020
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total | Contingent project or Reg proposal | No
| T1 | CDN | 2012: 1; 2013: 1; 2016: 1; 2017: 2; 2018: 4 | 9 | T1 | 53
| T1 | CLC | 1995: 1; 2003: 1; 2004: 1; 2006: 5; 2007: 1; 2008: 1; 2009: 1; 2010: 1; 2015: 4; 2018: 2 | 18 | 16RP | 16
| T1 | CMN | 2008: 1; 2015: 4; 2018: 2 | 7 | T2 | 108
| 16RP | GSB | 1996: 1; 2006: 2; 2010: 1; 2011: 2; 2016: 1 | 7 | T3 | 65
| T1 | MRO | 1996: 2; 1998: 1; 2005: 2; 2008: 1; 2011: 1; 2015: 1; 2018: 1; Updated 10 July 2020 2020: 1 | 10 | 21RP | 25
| T1 | WIN | [31 empty] | 2 |  | 267 | bar: 2012; 2017
| 16RP | WND | 2003: 1; 2004: 1; 2012: 1; 2013: 4; 2016: 1; 2017: 1 | 9
| T2 | BAN | 1990: 1; 2002: 1; 2003: 3; 2004: 1; 2007: 1; 2008: 2; 2009: 3; 2011: 3; 2014: 1; 2017: 1; 2018: 6; 2019: 6; Updated 10 July 2020 2020: 1 | 30
| T2 | BAS | 1997: 1; 2000: 1; 2002: 1; 2003: 4; 2004: 1; 2006: 1; 2008: 1; 2009: 2; 2010: 1; 2012: 2; 2014: 3; 2016: 1; 2018: 4; Updated 10 July 2020 2020: 6 | 29
| T2 | BET | 2005: 1; 2006: 1; 2008: 1; 2009: 3; 2010: 1; 2011: 1; 2012: 1; 2017: 2; 2018: 1; Updated 10 July 2020 2020: 3 | 15
| T2 | BGO | 2004: 1; 2007: 1; 2008: 2; 2009: 1; 2016: 1; 2019: 3; Updated 10 July 2020 2020: 4 | 13
| T2 | CTN | 1992: 2; 1996: 1; 2002: 1; 2006: 1; 2008: 2; 2009: 1; 2010: 2; 2015: 1; 2018: 2; 2019: 8 | 21
| T1 | EHK | 2009: 1; 2011: 2; 2015: 1; 2018: 2; 2019: 1 | 7
| T3 | ART | 1985: 1; 2007: 1; 2011: 2; 2012: 1; 2015: 1; 2016: 1; 2019: 1 | 8
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | 1993: 1; 2001: 1; 2003: 4; 2004: 1; 2009: 1; 2013: 2; 2014: 1; 2015: 3; 2017: 1 | 15
| T3 | KRT | 2009: 1; 2010: 1; 2012: 4; 2015: 1 | 7
| T3 | MBN | [31 empty] | 4 | bar: 1996; 2003; 2010 to 2011
| T3 | STL | 2003: 1; 2004: 1; 2005: 2; 2006: 2; 2011: 1; 2012: 1; 2013: 3 | 11
| T3 | TRG | 1970: 1; 1995: 1; 2005: 1; 2006: 1; 2007: 2; 2010: 4; 2012: 1; 2013: 1; 2014: 1; 2015: 1; 2017: 1; 2018: 4; 2019: 1 | 20
| 21RP | WPD | 1995: 1; 2002: 2; 2003: 1; 2005: 1; 2006: 1; 2007: 2; 2011: 1; 2012: 5; 2013: 3; 2014: 1; 2015: 1; 2017: 1; 2018: 2 | 22
| 21RP | GHP | 1997: 1; 2003: 2 | 3
| Grand Total |  | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 18 | 6 | 10 | 30 | 20 | 15 | 267
| T1 & T2 ACRs removed | [33 empty] | These are the installation dates of the 37 older ACRs replaced as part of CP T1 and CP T2. these are largely consistent with the numbers in the T1 REFCL model.
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total | Contingent project or Reg proposal | No
| T1 | CDN | [31 empty] | 4 | T1 | 13 | bar: 2012 to 2013; 2016 to 2017
| T1 | CLC | [31 empty] | 4 | 16RP | 0 | bar: 1995; 2003 to 2004; 2006
| T1 | CMN | [31 empty] | 1 | T2 | 24 | bar: 2008
| 16RP | GSB | [31 empty] | 0 | T3 | 0
| T1 | MRO | [31 empty] | 1 | 21RP | 0 | bar: 1996
| T1 | WIN | [31 empty] | 0 |  | 37
| 16RP | WND | [31 empty] | 0
| T2 | BAN | 1990: 1; 2002: 1; 2003: 3; 2004: 1; 2007: 1; 2008: 2 | 9
| T2 | BAS | 1997: 1; 2000: 1; 2002: 1; 2003: 4 | 7
| T2 | BET | [31 empty] | 1 | bar: 2005
| T2 | BGO | [31 empty] | 3 | bar: 2004; 2007 to 2008
| T2 | CTN | 1992: 2; 1996: 1; 2002: 1 | 4
| T1 | EHK | [31 empty] | 3 | bar: 2009; 2011; 2015
| T3 | ART | [31 empty] | 0
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | [31 empty] | 0
| T3 | KRT | [31 empty] | 0
| T3 | MBN | [31 empty] | 0
| T3 | STL | [31 empty] | 0
| T3 | TRG | [31 empty] | 0
| 21RP | WPD | [31 empty] | 0
| 21RP | GHP | [31 empty] | 0
| Grand Total |  | 1 | 0 | 0 | 1 | 2 | 0 | 1 | 2 | 1 | 0 | 1 | 0 | 3 | 8 | 3 | 1 | 1 | 2 | 4 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 37
| New ACRS installed T1 & T2 | [33 empty] | These are the installation dates of the newly installed ACRs as part of CP T1 & T2
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total | Contingent project or Reg proposal | No
| T1 | CDN | 2018: 4 | 4 | T1 | 13
| T1 | CLC | 2015: 2; 2018: 2 | 4 | 16RP | 0
| T1 | CMN | [31 empty] | 1 | T2 | 24 | bar: 2018
| 16RP | GSB | [31 empty] | 0 | T3 | 0
| T1 | MRO | [31 empty] | 1 | 21RP | 0 | bar: 2018
| T1 | WIN | [31 empty] | 0 |  | 37
| 16RP | WND | [31 empty] | 0
| T2 | BAN | 2018: 2; 2019: 6; 2020: 1 | 9
| T2 | BAS | 2018: 1; 2020: 6 | 7
| T2 | BET | [31 empty] | 1 | bar: 2018
| T2 | BGO | 2019: 3 | 3
| T2 | CTN | 2018: 2; 2019: 2 | 4
| T1 | EHK | 2018: 2; 2019: 1 | 3
| T3 | ART | [31 empty] | 0
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | [31 empty] | 0
| T3 | KRT | [31 empty] | 0
| T3 | MBN | [31 empty] | 0
| T3 | STL | [31 empty] | 0
| T3 | TRG | [31 empty] | 0
| 21RP | WPD | [31 empty] | 0
| 21RP | GHP | 2019: 0 | 0
| Grand Total |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 16 | 12 | 7 | 37
Total ACRs for accelerated depreciation
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total | Contingent project or Reg proposal | No
| T1 | CDN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 9 | T1 | 53 | 53
| T1 | CLC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 4 | 0 | 0 | 18 | 16RP | 16 | 16
| T1 | CMN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 0 | 0 | 7 | T2 | 108 | 108
| 16RP | GSB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 7 | T3 | 65 | 65
| T1 | MRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 10 | 21RP | 25 | 25
| T1 | WIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 |  | 267 | 267
| 16RP | WND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 9
| T2 | BAN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 8 | 12 | 2 | 30
| T2 | BAS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 1 | 0 | 2 | 0 | 3 | 0 | 1 | 0 | 5 | 0 | 12 | 29
| T2 | BET | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 15
| T2 | BGO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6 | 4 | 13
| T2 | CTN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 10 | 0 | 21
| T1 | EHK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 7
| T3 | ART | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 8
|  | CRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | GL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T3 | HTN | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 15
| T3 | KRT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 7
| T3 | MBN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
| T3 | STL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
| T3 | TRG | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 4 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 4 | 1 | 0 | 20
| 21RP | WPD | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 1 | 2 | 0 | 0 | 0 | 1 | 5 | 3 | 1 | 1 | 0 | 1 | 2 | 0 | 0 | 22
| 21RP | GHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
| Grand Total |  | 1 | 1 | 0 | 0 | 0 | 1 | 2 | 3 | 1 | 1 | 0 | 1 | 2 | 10 | 4 | 6 | 13 | 6 | 7 | 13 | 12 | 13 | 17 | 13 | 7 | 19 | 5 | 9 | 46 | 32 | 22 | 267
| Summary |  | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 YTD | Total
|  | T1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 10 | 1 | 0 | 13
|  | T2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 11 | 7 | 24
|  | Other | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 16 | 6 | 10 | 14 | 8 | 8 | 230
|  | Total | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 18 | 6 | 10 | 30 | 20 | 15 | 267
Note on AM5: SD:
Note on AM33: SD:
Note on AM61: SD:
Note on AM89: SD:

## UG_cable_data
PAL Accelerated depreciation
Cable length
Updated 10 July 2020
|  |  | 1956 | 1963 | 1966 | 1968 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 |  | Grand Total
| Tranche 1 | CDN | 1982: 254.7719; 1990: 122.2474; 1998: 397.0535; 2001: 57.5693; 2003: 102.4855; 2004: 41.0593; 2005: 107.8522; 2007: 42.7741; 2008: 89.6744; 2012: 16.076; 2015: 5.3266; 2017: 138.2517 |  | 1375.1419
| Tranche 1 | CLC |  |  |  | 43.8337 |  | 42.4338 | [6 empty] | 77.8242 |  | 47.5625 | 281.2343 | 138.3299 | 189.4682 |  | 31.1859 | 130.0194 |  | 53.733 | 296.0629 |  | 526.5493 | 692.8949 | 477.575 | 60.5036 | 80.3644 |  | 2887.176 | 5865.8245 | 7528.6561 | 82.2886 | 1794.5197 |  | 124.0297 | 3738.3655 | 932.3997 | 4157.3767 | 1913.7633 | 3.9275 | 1058.8067 | 4619.3913 | 314.8707 | 48.6328 | 333.7525 | 331.6484 | 2.7902 | 101.7164 | 5213.9524 | 892.661 |  |  | 45116.1245
| Tranche 1 | CLC ZSS | 2011: 100; 2013: 142.6697 |  | 242.6697
| Tranche 1 | CMN | 1980: 125.0728; 1983: 151.7316; 1987: 33.6638; 1991: 41.4491; 1996: 491.5575; 1997: 357.2191; 1998: 96.0942; 1999: 507.625; 2000: 1157.4945; 2001: 204.0687; 2002: 384.0313; 2003: 819.4454; 2004: 1708.7786; 2005: 954.9522; 2006: 1989.752; 2007: 1208.4842; 2008: 3373.2041; 2010: 908.1824; 2011: 167.0437; 2012: 260.6087; 2013: 853.3783; 2014: 1372.3333; 2015: 428.058; 2016: 867.7679; 2017: 2313.4362 |  | 20775.4328
| Tranche 1 | CMN ZSS | 2005: 140.3434; 2010: 390 |  | 530.3434
| Tranche 1 | EHK | 1978: 83.656; 1994: 70.9321; 1996: 98.6747; 1997: 530.0535; 1998: 608.7294; 1999: 168.2017; 2000: 181.7114; 2001: 1923.7715; 2002: 309.785; 2003: 1958.0665; 2004: 1821.1951; 2005: 928.5287; 2006: 912.5771; 2007: 2405.3925; 2008: 3382.7709; 2009: 1586.9178; 2010: 142.4772; 2011: 1161.2405; 2012: 5626.2557; 2013: 3279.2892; 2014: 2596.3737; 2015: 2478.8315; 2016: 2056.9637; 2017: 3287.4143; 2018: 1475.511 |  | 39075.3209
| Tranche 1 | GSB | 1983: 385.6515; 1985: 1738.7669; 1987: 353.1586; 1989: 33.9531; 1992: 262.2391; 1993: 1576.234; 1994: 216.4289; 1995: 36.4477; 1996: 546.2374; 1997: 731.474; 1998: 479.8947; 1999: 1641.8824; 2000: 3284.1525; 2001: 24.5178; 2002: 2302.4661; 2003: 2058.1483; 2004: 1163.3115; 2005: 955.195; 2006: 589.5939; 2007: 681.9473; 2008: 1041.7203; 2009: 1069.7219; 2010: 1960.7341; 2011: 53.3237; 2012: 1616.9935; 2013: 1514.7901; 2014: 488.9266; 2015: 1098.7392; 2016: 2323.4764; 2017: 155.2833; 2018: 396.1193 |  | 30781.5291
| Tranche 1 | MRO | 1976: 259.1567; 1986: 125.0261; 1989: 2.7727; 1990: 102.1678; 1997: 197.8663; 1998: 391.8024; 2000: 101.6385; 2001: 122.3938; 2002: 181.8737; 2003: 802.6376; 2004: 253.3703; 2005: 201.9189; 2006: 749.4267; 2007: 36.0697; 2008: 519.6644; 2010: 11.2189; 2011: 341.5826; 2012: 276.7912; 2013: 12.6573; 2014: 125.2929; 2015: 434.128; 2016: 180.3921; 2017: 15.0987 |  | 5444.9471
| Tranche 1 | WIN | 1991: 58.4322; 1998: 206.3803; 2000: 247.9878; 2002: 314.4708; 2003: 571.2457; 2004: 170.2719; 2005: 191.1814; 2006: 756.1207; 2007: 1397.7832; 2008: 581.1135; 2009: 1168.3103; 2010: 186.1337; 2011: 1096.8343; 2012: 589.219; 2014: 1686.7837; 2015: 22628.5832; 2016: 1023.3532; 2017: 940.2894; 2018: 14.8606 |  | 33829.355
| Tranche 1 | WND | 1966: 217.6869; 1979: 57.1695; 1986: 132.2315; 1988: 248.9203; 1989: 210.8624; 1990: 50.3249; 1991: 295.1338; 1992: 375.8848; 1994: 705.5107; 1995: 803.0872; 1996: 240.5096; 1999: 5015.8281; 2000: 2415.038; 2001: 5835.4262; 2003: 1469.1455; 2004: 1630.1858; 2005: 2258.932; 2006: 1626.8235; 2007: 309.6849; 2008: 527.6575; 2009: 40.4303; 2011: 87.6114; 2012: 1168.2489; 2013: 399.6617; 2014: 515.7309; 2015: 2798.7766; 2016: 786.8593; 2017: 9949.9852; 2018: 1912.5745 |  | 42085.9221
| Tranche 2 | ART | 1983: 125.7412; 1986: 512.4953; 1987: 129.6969; 1988: 326.9807; 1991: 162.839; 1994: 177.0345; 1995: 207.1224; 1997: 562.0103; 1999: 808.1514; 2004: 52.5719; 2006: 338.7558; 2007: 188.9514; 2008: 285.9464; 2009: 96.3618; 2011: 242.052; 2013: 219.6201; 2015: 460.1597; 2016: 206.7688; 2017: 21.6112; 2018: 335.2169 |  | 5460.0877
| Tranche 2 | ART ZSS | 2017: 10 |  | 10
| Tranche 2 | BAN | [7 empty] | 59.5223 | 88.7903 |  |  |  | 404.3121 | 95.6649 | 137.8606 | 77.892 | 415.5977 | 67.3412 | 313.7348 | 104.2412 |  | 1410.7376 | 3703.5266 |  | 768.245 | 960.4762 | 1189.6448 | 2246.5625 | 3411.4473 | 1285.155 | 1006.2584 | 934.0814 | 1591.7273 | 4337.4031 | 1755.3547 | 7740.383 | 3061.7261 | 1299.7032 | 1869.4474 | 2135.0863 | 5027.0151 | 3407.377 | 3667.406 | 1680.5024 | 1714.8434 | 1475.9805 | 880.9907 | 3114.4862 | 666.3672 | 1612.3969 | 3562.5097 | 1306.6298 | 1164.3095 | 709.2373 |  | 72461.9744
| Tranche 2 | BAN ZSS | 1971: 196.8382; 1980: 76; 1981: 2087.6637; 1988: 360; 1993: 215.4376; 1997: 565.2422; 2006: 53.4603; 2008: 1.4618; 2013: 4.7693 |  | 3560.8731
| Tranche 2 | BAS | 246 |  |  | 19 |  | 193 | 602 |  | 48 | 125 |  |  | 324 | 537 | 409 | 66 | 92 | 210 |  | 235 | 25 | 242 | 971 | 229 |  | 963 | 397 | 434 | 74 | 1291 | 698 | 833 | 1759 | 1430 | 145 | 699 | 393 | 3005 | 2955 | 4008 | 4389 | 3095 | 5251 | 3291 | 2359 | 2995 | 3660 | 4834 | 3568 | 4564 | 1855 | 6857.4497 | 1235 | 51.05 |  | 71661.4997
| Tranche 2 | BAS ZSS | 1980: 60; 1990: 227; 2006: 262; 2008: 6; 2009: 108; 2015: 194 |  | 857
| Tranche 2 | BETS | 1983: 222.1723; 1985: 102.4704; 1987: 401.5756; 1989: 69.4973; 1990: 436.2816; 1993: 93.7121; 1996: 332.5308; 1997: 160.5114; 1998: 539.7566; 1999: 1287.4958; 2000: 1080.0999; 2001: 1095.4042; 2002: 1275.8886; 2003: 2608.6925; 2004: 1630.9929; 2005: 904.9999; 2006: 1810.9463; 2007: 1707.4153; 2008: 1563.7549; 2009: 1444.3376; 2010: 1735.3176; 2011: 691.9629; 2012: 236.1866; 2013: 810.6934; 2014: 1936.7673; 2015: 619.422; 2016: 240.2678; 2017: 1409.4451; 2018: 801.7024 |  | 27250.3013
| Tranche 2 | BGO | [13 empty] | 206 |  | 351 |  |  | 116 | 141 | 212 | 1560 |  | 91 | 427 |  | 507 | 581 | 551 | 3 | 104 | 453 | 1941 | 1187 | 731 | 1885 | 2332 | 3131 | 2979 | 2606 | 1153 | 2844 | 1941 | 2135 | 804 | 593 | 1461 |  | 1490 | 1344 | 448 | 1233 | 737 |  |  | 38278
| Tranche 2 | BGO ZSS | 1999: 754; 2001: 86; 2003: 635; 2006: 599; 2017: 70 |  | 2144
| Tranche 2 | CTN | 1992: 260.4228; 1994: 88.7468; 1996: 207.8897; 1997: 893.3398; 1998: 459.4293; 2000: 78.2471; 2001: 1743.4447; 2003: 56.5523; 2005: 104.6638; 2009: 239.3556; 2012: 37.0063; 2013: 465.677; 2015: 44.3633; 2016: 234.0821; 2017: 117.0261 |  | 5030.2467
| Tranche 2 | CTN ZSS | 1991: 93.1216; 1993: 10; 2016: 128 |  | 231.1216
| Tranche 2 | TRG | 1982: 99.1992; 1997: 489.6034; 1998: 157.642; 1999: 40.1286; 2003: 659.1819; 2004: 290.7349; 2005: 289.3109; 2006: 115.7688; 2008: 379.6532; 2010: 1933.0347; 2011: 468.4773 |  | 4922.7349
| Tranche 3 | CRO | [55 empty] | 0
| Tranche 3 | GL | [55 empty] | 0
| Tranche 3 | HTN | 1976: 274.9793; 1983: 201.2051; 1989: 198.6584; 1990: 188.8344; 1991: 229.6517; 1992: 126.8212; 1994: 950.3269; 1996: 67.1541; 1997: 282.6127; 1998: 19.519; 1999: 718.7929; 2000: 1851.7569; 2001: 334.105; 2004: 347.3899; 2005: 255.1925; 2007: 619.1379; 2008: 471.2802; 2009: 1203.6306; 2010: 12.4553; 2011: 258.0053; 2013: 111.7303; 2015: 392.9421; 2016: 186.1359 |  | 9302.3176
| Tranche 3 | KRT | 1970: 1.3869; 1982: 394.7673; 1987: 62.6949; 1998: 437.272; 1999: 58.1997; 2000: 288.2503; 2001: 507.7329; 2002: 226.899; 2003: 453.0782; 2004: 382.1639; 2005: 375.9845; 2006: 617.5792; 2007: 158.2081; 2008: 299.0988; 2009: 1172.6027; 2010: 572.1689; 2011: 2146.6928; 2012: 540.4888; 2013: 1469.8057; 2014: 93.057; 2015: 459.4007; 2017: 535.5014; 2018: 478.2395 |  | 11731.2733
| Tranche 3 | MBN | [5 empty] | 82.0456 |  |  |  |  | 21.0569 |  | 242.8303 | 1447.3167 | 106.2289 | 636.8062 | 356.7053 | 152.4666 |  | 1094.3504 | 1317.6614 | 698.9709 | 1498.0918 | 717.2345 | 321.1308 | 853.4026 | 558.417 | 409.6614 | 1763.8569 | 66.417 | 3010.3106 | 930.3094 | 257.5404 | 688.0667 | 3029.7955 | 1022.1322 | 1057.629 | 1336.8795 | 2237.0176 | 2128.7973 | 769.9726 | 1920.646 | 2191.1783 | 518.8158 | 1385.595 | 495.2545 | 397.64 | 2883.6415 | 272.8246 | 1880.8029 | 1854.087 | 604.4148 | 279.119 |  |  | 43497.1211
| Tranche 3 | STL | 1990: 115.862; 2004: 600.3077; 2005: 32.6696; 2008: 62.319; 2009: 80.2868; 2010: 5.3082; 2011: 146.3634; 2013: 203.4102; 2017: 662.3474; 2018: 144.8117 |  | 2053.6859
|  | WPD |  |  |  |  | 58.9873 |  |  |  | 77.8795 | 197.5321 | 441.9675 | 239.0647 |  | 832.3837 | 994.9188 |  | 115.9683 | 122.0528 | 214.8669 |  | 240.3953 | 923.3224 | 864.2106 | 336.7281 | 2666.96 | 2867.1886 | 449.8904 | 1978.7542 | 2298.9996 | 1524.5747 | 797.4957 | 1062.3233 | 4270.9348 | 2135.0059 | 2862.5155 | 3191.5832 | 6214.8161 | 7269.529 | 2184.158 | 6641.8298 | 5009.3249 | 4241.8743 | 6078.243 | 8904.8262 | 4724.185 | 2293.4709 | 3439.4383 | 8753.964 | 6491.8598 | 6517.8107 | 10437.8449 | 8990.1488 | 9975.9178 |  |  | 139935.7452
|  | Grand Total | 246 | 0 | 217.6869 | 62.8337 | 60.3742 | 514.3176 | 602 | 59.5223 | 214.6698 | 322.5321 | 997.1604 | 239.0647 | 1132.6226 | 3175.5346 | 1956.6436 | 3500.5962 | 1867.3395 | 1827.8305 | 644.6016 | 3447.0148 | 2694.829 | 5815.8208 | 8026.4629 | 2185.7695 | 5426.0539 | 7051.244 | 4820.215 | 8022.9368 | 10368.7871 | 5297.1684 | 7600.6186 | 11869.8229 | 19479.6003 | 28306.4376 | 19292.3311 | 28267.0522 | 18054.5856 | 28359.8208 | 26055.3221 | 26153.8382 | 30927.4938 | 26178.5092 | 31718.074 | 25798.9066 | 23464.0458 | 15128.7664 | 20255.5764 | 29407.9963 | 21635.9655 | 47964.5318 | 26493.2252 | 43831.2855 | 19843.0431 | 760.2873 |  | 657644.769