## Slide 1: Interim Reliability Instrument Guideline
Retailer reliability obligation
31 May

## Slide 2: Agenda
Reliability instrument request – Guideline timelines
Overview of the guideline
Response to submissions
What happens if an instrument is not made?
Questions

## Slide 3: Reliability instrument request – Guideline timetable
ESOO 2019
Interim Reliability Instrument Guideline
ESOO 2020
Reliability Instrument Guideline
Interim Forecasting Best Practice
Interim Reliability Forecast Guideline
ESOO 2021
Reliability Instrument Guideline
Forecasting Best Practice
Reliability Forecast Guideline

## Slide 4: Interim Reliability Instrument Guideline
The guideline sets out:
  how the AER will consider approval criteria for a reliability instrument request
  how the AER will consult with stakeholders on a reliability instrument request
  what information AEMO must provide the AER as part of a reliability instrument request

## Slide 5: Response to submissions
Feedback from stakeholders on the guideline
  Materiality
    Forecast reliability gap
    Errors or incorrect assumptions
  AER decision making criteria
  Presentation of instrument request
  Stakeholder consultation on reliability instrument

## Slide 6: Submissions – Materiality of the forecast reliability gap
AER should have discretion to assess if forecast gap is trivial
Should be a buffer of 50 - 100 MW to ensure forecast gap is truly ‘material’
Rules provide no discretion for the AER to consider the size of the forecast reliability gap in its decision on a reliability instrument.

## Slide 7: Submissions - Materiality of errors or incorrect assumptions
In considering whether it is appropriate to make a reliability instrument, the AER must have regard to whether:
  There are any material errors in AEMO’s calculations or input data
  AEMO has made any inaccurate assumptions that have had a material impact on USE outcomes

## Slide 8: Submissions - Materiality of errors or incorrect assumptions
The guideline should more clearly define what material is (eg variability of + or - 5%..10%)
Guideline doesn’t detail how AER will determine and apply materiality
It’s unclear whether the AER would treat a material error or impact of one that is expected to change the magnitude of a reliability gap, or one that would eliminate the gap altogether
The sensitivity matrix will be used as a guide for materiality

## Slide 9: Submissions - Sensitivity matrix example
Size of gap = 330 MW
400 MW error identified – increases supply
Sensitivity shows additional 400 MW would bring USE below 0.002 (to 0.0016)
AER will consider not making the reliability instrument
Additional capacity (MW) | 0 | 100 | 200 | 300 | 330 | 400 | 500
USE (%) | 0.0061 | 0.0045 | 0.0031 | 0.0023 | 0.0020 | 0.0016 | 0.0011

## Slide 10: Submissions – AER decision making criteria
Submissions raised questions on:
  how errors or incorrect assumptions that help or hinder a forecast gap will be treated by the AER
  How multiple contradictory highly reputable external data sources would be treated

## Slide 11: Decision making criteria
Our approach:
The AER will use its discretion when assessing any potential errors/assumptions identified.
  If they increase the size of the gap, we would still make the reliability instrument
  If they bring USE below 0.002 the AER would consider not make the reliability instrument

## Slide 12: Submissions - Presentation on instrument request
AEMO should provide information, not state where it is contained in ESOO
This position will be reflected in the guideline

## Slide 13: Submissions - Stakeholder consultation on reliability instrument request
Stakeholders submissions requested:
  Independent auditor run stakeholder feedback process
  Additional consultation session after ESOO published
  Take submissions to AEMO on ESOO in to account

## Slide 14: Submissions - Stakeholder consultation on reliability instrument request
AER not proposing any additional processes
2 week consultation period commencing as soon as Reliability Instrument request received
AER will be actively involved in ESOO consultation process
Issues arising in ESOO process covered by Forecasting Best Practice Guideline

## Slide 15: What happens if a reliability instrument is not made?
If AER reasonably satisfied that decision making criteria is not met, then…
RRO does not proceed

## Slide 16
Discussion and Questions