## Changes summary
Changes from March 2022 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Distribution business | Demand management Overheads | New tables added | Reinstates existing requirements.
Standard Control Services | Gross capex | Export services; network overheads; corporate overheads | Additional levels of disaggregation included to reflect existing and new data requirements
Standard Control Services | Replacement capex (CA2.2.1) - Public lighting (sub table) | Table moved from SCS worksheet to ACS worksheet | Public lighting is an alternative control service.
Standard Control Services | Connections (CA2.5) | Capital contributions are disaggregated by type | To exclude type 2 capital contributions from our analysis, type 1 is required to be identified.
Standard Control Services | DER | Table deleted | Export Services requirements have been redefined and are on the Proposed new data collections sheet.
Standard Control Services | Capital contributions by purpose | Tables added | Enable reconciliation with gross capex by purpose
Standard Control Services Alternative Control Services | Overheads expenditure (CA 2.10) | Tables added | Reinstates existing requirements.
Standard Control Services Alternative Control Services | Capitalised corporate overheads (CA2.11 Labour) | Tables removed | AER requirements changed, data not required
Standard Control Services Alternative Control Services | Capitalised network overheads (CA2.11 Labour) | Tables removed | AER requirements changed, data not required
Standard Control Services Alternative Control Services | Input expenditure tables (CA2.12) | Tables moved to Workbook 09 | Disaggregation into capex and opex not required
Alternative Control Services | Public lighting activities (CA4.1.2) | Table moved to Workbook 09 | Disaggregation into capex and opex not required
Alternative Control Services | Metering Activities (CA4.2.2) | Added new rows for each sub table "Meter Type 1-3" | as requested by PWC for their reporting requirements. Validation rule set to NULL is valid for other businesses.
New Data Collections | Safety related expenditure | Table deleted | AER requirements changed, data not required
New Data Collections | Major event expenditure | Table deleted | AER requirements changed, data not required
New Data Collections | RIT expenditure | Removed non SCS service classification | Only SCS data is required
New Data Collections | Contingent project expenditure | Removed non SCS service classification | Only SCS data is required
New Data Collections | Capex for provision of export services | New data requirement | Reflects data being requested and consulted on as part of the review into incentivising and measuring export services.
Concepts and terms
March 2022 Term | March 2022 Definition | January 2023 Term | January 2023 Definition | Change | Rationale
Adjustments | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments. | Regulatory Adjustments (distribution business) | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments. | Term updated | To increase clarity.
Distribution Business | Audited Statutory Accounts plus Adjustments. | Distribution Business | Audited Statutory Accounts plus Regulatory Adjustments. | Definition updated | To increase clarity.
Direct Control Services | As defined in Chapter 6 of the National Electricity Rules. | Direct Control Services | A distribution service that is a direct control network service within the meaning of section 2B of NEL. | Definition updated | Corrected
Ancillary network services | Fee based and quoted services as defined in the framework and approach for the regulatory control period covering reporting period. |  |  | Term has been split into components | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Smart meters | Also known as Advanced meters. These meters record customer usages and demand in real time and can be remotely read in 30 minute intervals. | Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals. | Definition updated | Consistency between workbooks.
Connection services | As defined in the National Electricity Rules. | Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises. | Definition updated | To increase clarity.
Public Lighting | Public lighting services are defined as the: operation, maintenance, repair and replacement of public lighting assets; alteration and relocation of public lighting assets; and provision of new public lights. | Public Lighting Services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services). | Term and Definition updated | Consistency between workbooks.
Other Distribution Services | Distribution services that are not Direct control services. |  |  | Term and definition removed | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Definitions
March 2022 Term | March 2022 Definition | January 2023 Term | January 2023 Definition | Change | Rationale
Other Assets | Distribution assets not included in the asset categories listed above. |  |  | Term and definition removed | Data requirement no longer required
Direct Material Expenditure | Materials are the raw materials, standard parts, specialised parts and sub-assemblies required to assemble or manufacture a network/non-network asset or to provide a network/non-network service. Direct materials costs are attributable to a specific asset or service, cost centre, or work order, and exclude materials provided under external-party contracts. Includes: • the cost of scrap • normally anticipated defective units that occur in the ordinary course of the production process • routine quality assurance samples that are tested to destruction • the net invoice price paid to vendors to deliver the material quantity to the production facility or to a point of free delivery. |  |  | Term and definition removed | Data requirement no longer required
Direct Labour Expenditure | Labour expenditure attributable to a specific asset or service, cost centre, work activity, project or work order |  |  | Term and definition removed | Data requirement no longer required
Contract Expenditure | Expenditure relating to a legally binding contract. |  |  | Term and definition removed | Data requirement no longer required
Other Expenditure | Expenditure not classified as direct material expenditure, direct labour expenditure, or contract expenditure. |  |  | Term and definition removed | Data requirement no longer required
Related Party Contract Expenditure | Expenditure relating to a contract between DNSP and a Related Party for the provision of goods and/or services |  |  | Term and definition removed | Data requirement no longer required
Related Party Contract Margin Expenditure | Expenditure relating to profit a Related Party gains above its total actual costs under a Related Party Contract with DNSP. This profit may include margins, management fees or incentive payments. |  |  | Term and definition removed | Data requirement no longer required
Distribution substation installed | TBC |  |  | Term removed | Term not required for expenditure workbook.
Augmentation HV | TBC |  |  | Term has been split into components | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Augmentation LV | TBC |  |  | Term has been split into components | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Executive manager | A manager responsible for managing multiple senior managers. NSPs typically may have one or more executive managers in areas such as CEO, HR, Finance & Treasury, Legal, Corporate and Network Operations. |  |  | Term and definition removed | Data requirement no longer required
Senior manager | A manager responsible for managing multiple managers who each manage work teams and projects within the organisation |  |  | Term and definition removed | Data requirement no longer required
Manager | A manager responsible for managing up to full project teams of staff |  |  | Term and definition removed | Data requirement no longer required
Professional | Professional workers who do not have a primary role as staff managers. These may include lawyers, accountants, economists etc |  |  | Term and definition removed | Data requirement no longer required
Semi professional | Workers with some specialist training supporting fully trained professionals (e.g. draftsperson, bookkeeper etc). |  |  | Term and definition removed | Data requirement no longer required
Support staff | Non-professional support staff not undertaking field work (e.g. clerical support, secretaries) |  |  | Term and definition removed | Data requirement no longer required
Intern, junior staff, apprentice | Interns, junior staff and apprentices undertaking non field work. All apprentices undertaking or training to undertake field work should be reported under Labour Classification Level - Apprentice |  |  | Term and definition removed | Data requirement no longer required
Major event expenditure | TBC |  |  | Term removed | Data requirement no longer required
Safety expenditure | TBC |  |  | Term removed | Data requirement no longer required
Response | Expenditure in response to an event that has occurred/is occurring |  |  | Term and definition removed | Data requirement no longer required
Preventative | Expenditure to reduce the likelihood and/or impact of bushfire or safety events |  |  | Term and definition removed | Data requirement no longer required
DMIAM | The AER’s Demand Management Innovation Allowance Mechanism published in December 2017 and as amended from time to time. | Demand Management Innovation Allowance Mechanism (DMIAM) | The objective of the AER's Demand Management Innovation Allowance Mechanism (DMIAM) is to provide network service providers with funding for research and development in demand management projects that have the potential to reduce long term network costs. | Term and Definition updated | To increase clarity.
Demand Management Incentive Scheme | The AER’s Demand Management Incentive Scheme published in December 2017 and as amended from time to time. | Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme encourages electricity network service providers (NSPs) to find lower-cost alternatives to investing in network capital expenditure. The DMIS will incentivise NSPs to undertake efficient expenditure on non-network options focusing on demand management. | Term and Definition updated | To increase clarity.
Capital contributions | Contributions from unrelated parties provided to the DNSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary or in the form of a contributed (gifted) asset. Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded). | Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary or in the form of a contributed (gifted) asset. Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded). | Definition updated | Updated to encompass all NSPs.
Capital expenditure | Capex - Expenditure that satisfies one or more of the following requirements. Any expenditure that has been included in the regulatory asset base of EvoEnergy and either: - relates to the purchase or construction of a new asset; - increases the functionality of the asset; or - extends the service life of the asset. | Capital expenditure | Any expenditure that has been included in the regulatory asset base of the NSP and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset. | Definition updated | Updated to encompass all NSPs.
DER capex | Capital expenditure on distributed energy resources projects or programs. | Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter. | Term and Definition updated | To increase clarity.
Other Non-network capex | Non-network capex that is not classified to ICT, Property or Fleet capex. | Other non-network assets | Non-network assets are non-network assets excluding those classified to ICT, Fleet, and buildings and property. Includes: (a) non road registered motor vehicles; non road motor vehicles (e.g. forklifts, boats etc.); (b) mobile plant and equipment; tools; trailers (road registered or not); (c) elevating work platforms not permanently mounted on motor vehicles; and (d) mobile generators. | Term has been split into components - see also Capital expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Other non-network expenditure | Is all expenditure directly attributable to the replacement, installation, maintenance and operation of Non-network assets, excluding Motor Vehicle assets, Building and Property assets and IT and Communications assets and includes · non road registered motor vehicles; non road motor vehicles (e.g. forklifts, boats etc.); · mobile plant and equipment; tools; trailers (road registered or not); · elevating work platforms not permanently mounted on motor vehicles; and · mobile generators. | Other non-network expenditure | Expenditure directly attributable to the replacement, installation, maintenance and operation of Other non-network assets. | Definition updated | Consistency between workbooks.
Switchgear repex | These are assets used to control, protect and isolate segments of the network This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. | Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category. | Term and Definition updated | To increase clarity.
SCADA and Network Control and Protection systems repex | Replacement expenditure associated with SCADA and network control hardware, software and associated IT systems. Includes replacement of protection and control systems and communication systems. This excludes all costs associated with SCADA and Network Control Expenditure that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules | SCADA and Network Control and Protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules. | Term has been split into components - see also Replacement capex | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Simple connection LV | Single/multi-phase customer connection service; and /or: • one span of overhead service wire or standard underground service; and/or • an overhead road crossing | Simple connection LV | Single/multi-phase customer service connection and, as an example, may involve the following: (a) one or more spans of overhead service wire; (b) road crossing (overhead or underground). (c) small LV extension or augmentation of overhead and/or underground mains. | Definition updated | To increase clarity.
Easements | An electricity easement is the right held by DNSP to control the use of land near above-ground and underground power lines and substations. It holds this right to ensure the landowner’s safety and to allow staff access to work on the power lines at all times. | Easement | An electricity easement is the right held by NSP to control the use of land near above-ground and underground power lines and substations. It holds this right to ensure the landowner’s safety and to allow staff access to work on the power lines at all times. | Definition updated | Updated to encompass all NSPs.
Non recurrent | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as any ICT expenditure that is not ‘recurrent ICT capex’ (as this term is defined in this notice). | ICT non-recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as any ICT expenditure that is not ‘recurrent ICT capex’ (as this term is defined in this notice). | Term updated | To increase clarity.
Recurrent | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as ICT expenditure that is related to maintaining existing services, functionalities, capability and/or market benefits, and occurs at least once every five years. | ICT recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as ICT expenditure that is related to maintaining existing services, functionalities, capability and/or market benefits, and occurs at least once every five years. | Term updated | To increase clarity.
Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component. Where: ● Labour hire – means expenditure: incurred under labour hire contracts; ● Ordinary time earnings – means expenditure: that was required under contracts of employment with the reporting NSP; and which constitutes ordinary time salaries and wages. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. Excludes overtime, allowances, bonuses and incentive payments, and superannuation contributions. Excludes payroll tax paid and fringe benefits tax paid. ● Other earnings, on-costs, and taxes – means expenditure: that was required under contracts of employment with the reporting NSP; and which does not constitute employer superannuation contributions; and which constitutes: overtime; and/or staff allowances, including allowances for expenses incurred (e.g. meal allowances) and allowances for nature of work performed (e.g. special skills allowance, or living away from home allowance); and/or bonuses, incentive payments, and awards; and/or benefits in kind and corresponding compensation payments (e.g. housing, electricity or gas subsidies); and/or termination and redundancy payments; and/or workers compensation; and/or purchase of protective clothing for use by employees; and/or training and study assistance provided to employees; and/or taxes (payroll tax, fringe benefits tax etc.). Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. ● Superannuation – means expenditure: that was required under contracts of employment with the reporting NSP; and which constitutes employer superannuation contributions. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. | Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component. | Term has been split into components - see also Labour hire; Ordinary time earnings; Other earnings, on-costs, and taxes; Superannuation. | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Labour hire | Expenditure incurred under labour hire contracts. | Term has been split into components - see Labour expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Ordinary time earnings | Expenditure that was required under contracts of employment with the reporting NSP; and which constitutes ordinary time salaries and wages. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. Excludes overtime, allowances, bonuses and incentive payments, and superannuation contributions. Excludes payroll tax paid and fringe benefits tax paid. | Term has been split into components - see Labour expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Other earnings, on-costs, and taxes | Expenditure that was required under contracts of employment with the reporting NSP; and which does not constitute employer superannuation contributions; and which constitutes: overtime; and/or staff allowances, including allowances for expenses incurred (e.g. meal allowances) and allowances for nature of work performed (e.g. special skills allowance, or living away from home allowance); and/or bonuses, incentive payments, and awards; and/or benefits in kind and corresponding compensation payments (e.g. housing, electricity or gas subsidies); and/or termination and redundancy payments; and/or workers compensation; and/or purchase of protective clothing for use by employees; and/or training and study assistance provided to employees; and/or taxes (payroll tax, fringe benefits tax etc.). Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. | Term has been split into components - see Labour expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Superannuation | Expenditure that was required under contracts of employment with the reporting NSP; and which constitutes employer superannuation contributions. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. | Term has been split into components - see Labour expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Movements in provisions allocated to as incurred capex | The difference between the closing balance of capitalised provisions at the end of the relevant regulatory year and the opening balance of the capitalised provisions at the start of the relevant regulatory year. A positive value reflects an increase in capitalised provisions during the period, and a negative value reflects a decrease in capitalised provisions. | Movements in provisions allocated to capex | The difference between the closing balance of capitalised provisions at the end of the relevant regulatory year and the opening balance of the capitalised provisions at the start of the relevant regulatory year. A positive value reflects an increase in capitalised provisions during the period, and a negative value reflects a decrease in capitalised provisions. | Term updated | To increase clarity.
Immediate expensing of capex (as incurred) | The value of capital expenditure, which would be added to the regulatory or tax asset base, claimed by Jemena, that has been or would be treated as immediately deductible for income tax purposes (e.g. refurbishments, overheads). | Immediate expensing of capex | The value of capital expenditure, which would be added to the regulatory or tax asset base, that has been or would be treated as immediately deductible for income tax purposes (e.g. refurbishments, overheads). | Term and Definition updated | To increase clarity.
Disposals | The gross proceeds from the sale of assets. | Disposals | The gross proceeds from the sale of assets at an as incurred or as decommissioned basis where relevant. | Definition updated | To increase clarity.
Public lighting repex | Public lighting services are the installation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services). | Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services). | Term updated | Consistency between workbooks.
|  | Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters). | Term and definition added | Definition and term were not included in March 2022 version.
|  | Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Meter type 1-3 | High voltage meter. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Meter type 6 | Manually read accumulation meter. | Term and definition added | Definition and term were not included in March 2022 version.
Type 1 capital contributions | Cash contributions received by a DNSP: - with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; - with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded). | Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded). | Definition updated | Updated to encompass all NSPs.
Type 2 capital contributions | Any form of capital contributions received by a DNSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded). | Type 2 capital contributions | Any form of capital contributions received by a NSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded). | Definition updated | Updated to encompass all NSPs.
|  | Energisation | The closing of a connection in order to allow the flow of energy to the premises. | Term and definition added | Definition and term were not included in March 2022 version.
|  | De-energisation | The opening of a connection in order to prevent the flow of energy to the premises. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Re-energisation | The energisation of a premises after their de-energisation. Does not include alterations or new installation of meters or services. | Term and definition added | Definition and term were not included in March 2022 version.
RIT expenditure | Expenditure on projects that have been subject to a regulatory investment test. | RIT project | A project implemented that is the preferred option to address the identified need in a regulatory investment test, as defined in clause 5.10.2 of the NER. | Term and Definition updated | To increase clarity.
Contingent project expenditure | Expenditure relating to a contingent project that has been triggered | Contingent project | A contingent project defined in a AER regulatory determination, that has been triggered. | Term and Definition updated | To increase clarity.
|  | Network monitoring | Activities undertaken to acquire, maintain, or improve fixed network monitoring assets. | Term and definition added | Export Services data requirement has now been developed.
|  | Other export services capex | Export services not related to ICT or network monitoring. | Term and definition added | Export Services data requirement has now been developed.

## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 07: Capital expenditure
Capital expenditure is expenditure that has been included in the regulatory asset base of the Network Service Provider and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Capital expenditure is a key driver of future revenue requirements, and is critical information in the AER's regulatory review processes. Capital Expenditure is included in the regulatory asset base of the Network Service Provider and the Network Service Provider earns returns into the future on its capital expenditure.
Concepts
Expenditure classifications
Total expenditure = Direct expenditure + Indirect expenditure
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Service classifications
Audited Statutory Accounts + Regulatory adjustments = Distribution Business
Where:
Distribution Business = Direct Control Services + Other Distribution Services
Where:
Direct Control Services = Standard Control Services + Alternative Control Services
Other Distribution Services = Negotiated Services + Unregulated Services
Where:
Standard Control Services (SCS) = SCS excluding those provided using dual function assets + SCS provided using dual function assets
Alternative Control Services = Public Lighting Services + Metering Services + Connection Services + Fee-based Services + Quoted Services
Where:
Public Lighting Services = Energy efficient + Non-energy efficient
Metering Services = Smart meters + Legacy meters
Audited Statutory Accounts | The audited set of accounts prepared in accordance with Australian Securities and Investments Commission (ASIC) requirements.
Regulatory Adjustments (distribution business) | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments.
Distribution Business | Audited Statutory Accounts plus Regulatory Adjustments.
Direct Control Services | A distribution service that is a direct control network service within the meaning of section 2B of NEL.
Standard Control Services | As defined in the National Electricity Rules. For clarity, Standard Control Services are intended to capture services only available through DNSP’s network typically provided to all customers or a broad class of customers recovered through general network tariffs.
Alternative Control Services | A distribution service that is a direct control service but not a standard control service (as defined in the NER). By way of context, Alternative Control Services are intended to capture distribution services provided at the request of, or for the benefit of, specific customers with regulatory oversight of prices.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals.
Legacy meter | Meter that is not a smart meter.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Energy efficient public lighting | Public lighting services provided using energy efficient lamps (such as fluorescent lamps; CFL lamps and LED lamps).
Non-energy efficient public lighting | Public lighting that does not use energy efficient lamps.
Negotiated services | Negotiated distribution service, as defined in section 2C of NEL.
Unregulated services | Unclassified or unregulated services must align with those unclassified or unregulated services set out in the DNSP's Revenue Determination.

## Definitions
Data category 07: Capital expenditure
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme encourages electricity network service providers (NSPs) to find lower-cost alternatives to investing in network capital expenditure. The DMIS will incentivise NSPs to undertake efficient expenditure on non-network options focusing on demand management.
Demand Management Innovation Allowance Mechanism (DMIAM) | The objective of the AER's Demand Management Innovation Allowance Mechanism (DMIAM) is to provide network service providers with funding for research and development in demand management projects that have the potential to reduce long term network costs.
Projects submitted for approval | Projects submitted to the AER for approval under either the DMIS or the DMIAM.
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs typically include those for executive management, legal and secretariat, human resources, finance, and other corporate head office activities or departments.
Capital expenditure | Any expenditure that has been included in the regulatory asset base of the NSP and either: relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
Capital contributions | Contributions from unrelated parties provided to the NSP in relation to the provision of services, including connection, public lighting or augmentation activities (net of standard service changes). The amount contributed can be either monetary or in the form of a contributed (gifted) asset. Total capital contributions means the aggregate of type 1 capital contributions, type 2 capital contributions, and Power and Water Corporation undergrounding capex (equity funded).
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with NSP. This profit may include margins, management fees or incentive payments.
Gross capex | Capital expenditure including capital contributions but net movement in provisions.
Replacement capex (repex) | The non-demand driven capex to replace an asset with its modern equivalent where the asset has reached the end of its economic life. Capex has a primary driver of replacement expenditure if the factor determining the expenditure is the existing asset's inability to efficiently maintain its service performance requirement.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Augmentation capex | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy.
Connections capex | Capex to establish new connection assets and upgrades to existing connections assets necessary to meet customer connection requests. This excludes alterations to existing connection assets.
Non-network expenditure | Includes ICT, Property, Fleet and other expenditure not directly related to the provision of network services.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Property capex | Non-network capex related to buildings and land.
Fleet capex | Non-network capex related to vehicles used for transportation.
Other non-network assets | Non-network assets are non-network assets excluding those classified to ICT, Fleet, and buildings and property. Includes: (a) non road registered motor vehicles; non road motor vehicles (e.g. forklifts, boats etc.); (b) mobile plant and equipment; tools; trailers (road registered or not); (c) elevating work platforms not permanently mounted on motor vehicles; and (d) mobile generators.
Other non-network expenditure | Expenditure directly attributable to the replacement, installation, maintenance and operation of Other non-network assets.
Pole | Vertically oriented assets that provide load bearing structural support for overhead conductors or other lines assets. This also includes associated pole top structures, such as cross-arms and insulators where these are replaced in conjunction with a pole replacement project. It excludes other pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Staking wooden poles | The staking of a previously unstaked wooden pole.
Staked pole replaced with new pole | A previously staked wooden pole that is replaced by a new pole of any material.
Pole top structure | These are horizontally oriented structures and their components that provide support for overhead conductors and related assets to be supported on a pole and provide adequate clearances. A pole top structure is independently of the pole it is located on. This includes cross-arms and insulators. It excludes any pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Overhead conductor | An asset with the primary function of distributing power, above ground, within the distribution network. It excludes any pole mounted assets that are included in any other asset group.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category.
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Simple connection LV | Single/multi-phase customer service connection and, as an example, may involve the following: (a) one or more spans of overhead service wire; (b) road crossing (overhead or underground). (c) small LV extension or augmentation of overhead and/or underground mains.
Complex connection LV | Single/multi-phase customer connection services which are not simple customer connections and, as an example, may involve the following: (a) greater than one span of overhead service wire (b) extension or augmentation of the LV feeder, overhead and/or underground; (c) road crossing (overhead or underground). Notes: This also includes the reconfiguration of LV network assets (not including any HV asset works) as a result of specific requests for connection specifications.
Complex connection HV | Single/multi-phase customer connection services which are not simple customer connections or complex type low voltage connections and, as an example, may involve the following: (a) extension or augmentation of the HV feeder, overhead and/or underground; (b) installation of a distribution substation (pole mounted, ground types); (c) extension or augmentation of the LV feeder, overhead and/or underground; (d) greater than one span of overhead service wire; (e) road crossing (overhead or underground). Notes: This also includes the reconfiguration of HV network assets (not including any LV asset works) as a result of specific requests for connection.
Complex connection HV (customer connected at LV, minor HV works) | Multi-phase customer connection service at LV which are not simple connections and, as an example, may involve the following: (a) the installation of a distribution substation (pole mounted, ground types, or indoor types); (b) overhead and/or underground HV feeder extension or augmentation associated with the connection of the substation but excluding major feeder extensions or augmentation; (c) installation of LV mains associated with the new substation.
Complex connection HV (customer connected at LV, upstream asset works) | Multi-phase customer connections which are not simple connections or Complex type connection high voltage and, as an example, may involve the following: (a) large extension or augmentation, overhead and/or underground, of the HV feeder; (b) installation of a distribution substation (pole mounted, ground types or indoor types). Notes: Upstream shared asset alterations expected to be required. This also includes the reconfiguration of HV network assets as a result of specific requests for connection.
Complex connection HV (customer connected at HV) | Multi-phase customer connections where the customer is supplied at HV and, as an example, may include the following: (a) large extension or augmentations of the HV feeders; (b) installation of a high voltage switching station or switch room.
Complex connection sub-transmission | Multi-phase customer connections where the customer is connected via feeders operating between 33kV and 132kV inclusive and, as an example, may include any of the following: (a) extension or augmentation of the Sub-transmission network (a) installation of switching stations, switch rooms or similar facilities.
Complex connection HV (no upstream asset works) | Multi-phase customer connection which are not simple connections and, as an example, may include the following: (a) extension or augmentation of HV feeders; (b) installation of one or more distribution substations; (c) installation of LV mains. Notes: Each subsequent connection of a residential premises within a new estate will be treated as a connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development.
Complex connection HV (with upstream asset works) | Multi-phase customer connections which are not simple connections and, as an example, may involve the following: (a) extension or augmentation of HV feeders including major upstream works; (b) installation of one or more distribution substations; (c) installation of LV mains Notes: This category is intended to capture the cost of developing the network to serve new estates and possible upstream shared asset alterations that may be required. Each subsequent connection of residential premises within a new estate will be treated as a simple connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development).
Complex connection HV (small capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: (a) large extension or augmentation, overhead and/or underground, of the distribution HV/LV feeders; (b) installation of a distribution substation (Pole mounted, ground types or indoor types).
Complex connection HV (large capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: (a) extension or augmentation of HV or sub transmission feeders; (b) installation of switching stations, switch rooms or similar facilities.
Subtransmission substation | A substation on a distribution network that transforms any voltage to levels above 33 kV. A subtransmission substation includes a substation or parts of the substation owned and operated by DNSP associated with a connection point(s). As a guide, assets included within a subtransmission substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Switching station | A station that connects to multiple circuits but does not contain a transformer.
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Subtransmission line | A distribution line with a nominal voltage that is above 33 kV, and connects a subtransmission substation to a zone substation. Includes all connected lines and cables from the point of origin to the normally-open points or line/cable terminations.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables . For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Easement | An electricity easement is the right held by NSP to control the use of land near above-ground and underground power lines and substations. It holds this right to ensure the landowner’s safety and to allow staff access to work on the power lines at all times.
HV Feeder | A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV, and connects distribution substations to a zone substation. Includes all connected lines and cables from the point of origin (typically a zone substation) to the normally-open points or line/cable terminations.
LV Feeder | A distribution line that is not a subtransmission line or a high voltage feeder or an overhead service wire or an underground service cable. Includes switchgear located on the feeder rather than in a subtransmission substation, zone substation, or distribution substation. Includes all non-transforming substations used to switch two or more distribution lines that are associated with the low voltage feeder.
ICT recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as ICT expenditure that is related to maintaining existing services, functionalities, capability and/or market benefits, and occurs at least once every five years.
ICT non-recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as any ICT expenditure that is not ‘recurrent ICT capex’ (as this term is defined in this notice).
Motor Vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Light commercial vehicle | Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Elevated work platform (LCV) | (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platforms (HCV).
Elevated work platform (HCV) | Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Heavy commercial vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
Buildings and property expenditure | Expenditure directly attributable to non-network buildings and property assets including: the replacement, installation, operation and maintenance of non-network buildings, fittings and fixtures. It includes expenditure related to real chattels (e.g. interests in land such as a lease) but excludes expenditure related personal chattels (e.g. furniture) that should be reported under Non-network Other expenditure.
Other non-network expenditure | Expenditure directly attributable to the replacement, installation, maintenance and operation of Other non-network assets.
Non-labour expenditure | Expenditure other than labour expenditure.
In-house labour | Employees of the NSP
Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component.
Labour hire | Expenditure incurred under labour hire contracts.
Ordinary time earnings | Expenditure that was required under contracts of employment with the reporting NSP; and which constitutes ordinary time salaries and wages. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts. Excludes overtime, allowances, bonuses and incentive payments, and superannuation contributions. Excludes payroll tax paid and fringe benefits tax paid.
Other earnings, on-costs, and taxes | Expenditure that was required under contracts of employment with the reporting NSP; and which does not constitute employer superannuation contributions; and which constitutes: overtime; and/or staff allowances, including allowances for expenses incurred (e.g. meal allowances) and allowances for nature of work performed (e.g. special skills allowance, or living away from home allowance); and/or bonuses, incentive payments, and awards; and/or benefits in kind and corresponding compensation payments (e.g. housing, electricity or gas subsidies); and/or termination and redundancy payments; and/or workers compensation; and/or purchase of protective clothing for use by employees; and/or training and study assistance provided to employees; and/or taxes (payroll tax, fringe benefits tax etc.). Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts.
Superannuation | Expenditure that was required under contracts of employment with the reporting NSP; and which constitutes employer superannuation contributions. Includes expenditure related to full time, part-time, and casual employees. Includes expenditure related to ongoing and temporary employment contracts.
Labour expenditure outsourced to related parties | Employees of related parties providing services to the NSP
Labour expenditure outsourced to unrelated parties | Employees of unrelated parties providing services to the NSP
Business defined asset class | The asset classes set out in the NSP's PTRM as approved for the reporting period.
Movements in provisions allocated to capex | The difference between the closing balance of capitalised provisions at the end of the relevant regulatory year and the opening balance of the capitalised provisions at the start of the relevant regulatory year. A positive value reflects an increase in capitalised provisions during the period, and a negative value reflects a decrease in capitalised provisions.
Immediate expensing of capex | The value of capital expenditure, which would be added to the regulatory or tax asset base, that has been or would be treated as immediately deductible for income tax purposes (e.g. refurbishments, overheads).
Disposals | The gross proceeds from the sale of assets at an as incurred or as decommissioned basis where relevant.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER.
Meter type 1-3 | High voltage meter.
Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER.
Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter.
Meter type 6 | Manually read accumulation meter.
Type 1 capital contributions | Cash contributions received by a NSP: (a) with respect to standard control services, where tax payable on the capital contribution is recovered via the corporate income tax allowance used to derive the annual revenue requirement; (b) with respect to alternative control services, where tax payable on the capital contribution is recovered via charges for alternative control services. For clarity, type 1 capital contributions do not include Power and Water Corporation undergrounding capex (equity funded).
Type 2 capital contributions | Any form of capital contributions received by a NSP (including gifted assets or cash contributions) that do not meet the definition of Type 1 capital contributions or Power and Water Corporation undergrounding capex (equity funded).
PWC undergrounding capex (equity funded) | Capex that was: (a) incurred by Power and Water Corporation pursuant to the Ministerial Direction issued by the Northern Territory Government’s Treasurer on 8 July 2019 directing Power and Water Corporation to undertake an underground power program; and (b) funded by capital funds provided by Power and Water Corporation’s shareholder, the Northern Territory Government, either directly or via its agencies.
Energisation | The closing of a connection in order to allow the flow of energy to the premises.
De-energisation | The opening of a connection in order to prevent the flow of energy to the premises.
Re-energisation | The energisation of a premises after their de-energisation. Does not include alterations or new installation of meters or services.
RIT project | A project implemented that is the preferred option to address the identified need in a regulatory investment test, as defined in clause 5.10.2 of the NER.
Contingent project | A contingent project defined in a AER regulatory determination, that has been triggered.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Network monitoring | Activities undertaken to acquire, maintain, or improve fixed network monitoring assets.
Other export services capex | Export services not related to ICT or network monitoring.

## Validations
Data category 07: Capital expenditure
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Distribution business | Demand Management Incentive Schemes | DMIS Projects submitted for approval - Business specified projects | Text
Projects listed must align with the DMIS report, and projects listed in the capex workbook
NULL valid
|  | Distribution Business | Number
≥0
NULL invalid
| Overheads | Distribution Business | Number
≥0
NULL invalid
Standard Control | Capex by purpose | Business defined purposes | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | Relevant service classifications | Number
≥0
NULL invalid
| Replacement expenditure | Relevant service classifications | Number
≥0
NULL invalid
|  | Other by: Business specified categories | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
| Connections | Relevant service classifications | Number
≥0
NULL invalid
| Connections - capital contributions | Relevant service classifications | Number
≥0
NULL invalid
| Augmentation expenditure | Relevant service classifications | Number
≥0
NULL invalid
| Non-network | Information & Communications technology - Business descriptors | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | Relevant service classifications | Number
≥0
NULL invalid
|  | Other - DNSP nominated | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
| Labour / non-labour expenditure split | Relevant service classifications | Number
≥0
NULL invalid
| Capex by asset class | Relevant service classifications | Number
≥0
NULL invalid
|  | Business defined asset class | Text
Asset classes must align with the PTRM relevant to the reporting year.
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
| Capital contributions by asset class | Relevant service classifications | Number
≥0
NULL invalid
|  | Business defined row descriptor | Text
Consistent with previous years, where applicable
Alternative control | Capex by purpose | Business defined purposes | Text
Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories must be provided
|  | Relevant service classifications | Number
≥0
NULL invalid
| Replacement expenditure | Relevant service classifications | Number
≥0
NULL invalid
| Capex by asset class | Relevant service classifications | Number
≥0
NULL invalid
| Metering activities | Relevant service classifications | Number
≥0
NULL invalid
| Fee based services | DNSP described fee-based service types | Text
Consistent with previous years, where applicable
|  | Relevant service classifications | Number
≥0
NULL invalid
| Quoted services | DNSP described fee-based service type s | Text
Consistent with previous years, where applicable
|  | Relevant service classifications | Number
≥0
NULL invalid
New data collections | RIT Project expenditure | Business defined Project IDs | Text
Projects listed must match RIT applications
NULL valid
|  | Total SCS expenditure | Number
≥0
NULL invalid
| Contingent Project expenditure | Business defined Project IDs | Text
Projects listed must match approved Contingent projects
NULL valid
|  | Relevant service classifications | Number
≥0
NULL invalid
| Capex for provision of export services | Total SCS expenditure | Number
≥0
NULL invalid

## Checks and Totals
Data category 07: Capital expenditure
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Standard Control | Capex by purpose | Standard Control Services - Including Capital Contributions | Total Standard Control Services | = | Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Total Standard Control Services | TRUE
Standard Control | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Replacement Capex - Total SCS Direct | = | Standard Control | Replacement Expenditure |  | Total SCS Direct | TRUE
SCS | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Export services Capex - Total SCS Direct | = | New data collections | Capex for provision of export services |  | Total SCS Direct | TRUE
SCS | Capex by purpose | Gross Capex (including capital contributions) - AER defined | Connections Expenditure - Total SCS Direct | = | SCS | Capex by purpose | Connections | Total SCS Direct | TRUE
SCS | Capex by purpose | Gross Capex (including capital contributions) - AER defined | ICT /property/Fleet/ Other Non-network - Total SCS Direct | = | SCS | Capex by purpose | Non-network | Total SCS Direct | TRUE
SCS | Connections | Residential | New connections - SCS | = | SCS | Connections | Residential | Breakdown 2 | TRUE
SCS | Connections | Commercial/industrial | New connections - SCS | = | SCS | Connections | Commercial/industrial | Breakdown 2 | TRUE
SCS | Connections | Subdivision | New connections - SCS | = | SCS | Connections | Subdivision | Breakdown 2 | TRUE
SCS | Connections | Embedded generation | New connections - SCS | = | SCS | Connections | Embedded generation | Breakdown 2 | TRUE

## Distribution Business
Data category 07: Capital expenditure
Stakeholder Comments |  | Units | SERVICE CLASSIFICATIONS |  |  | Current RIN reference | Assurance standard - Financial data
| Demand management |  | Audited Statutory Accounts | Adjustments | Distribution Business |  | Actual | Estimated
| DMIS - PROJECTS SUBMITTED FOR APPROVAL |  |  |  | 0
| <Business specified Project 1> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 2> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 3> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<additional rows allowed>
| DMIAM - PROJECTS SUBMITTED FOR APPROVAL |  |  |  | 0
| <Business specified Project 1> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
| <Business specified Project 2> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
| <Business specified Project 3> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
<additional rows allowed>
| Overheads expenditure |  |  | Distribution Business
| GROSS CAPEX (INCLUDING CAPITAL CONTRIBUTIONS) - AER DEFINED |  |  | Negotiated services | Unregulated services
| Network Overheads | $ |  |  |  | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ |  |  |  | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405

## Standard control
Data category 07: Capital expenditure
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  | Total Standard Control Services |  |  | Standard Control excluding Dual Function Assets |  |  | Dual Function Assets |  |  | Current RIN reference | Assurance standard - Financial data
|  | Units | Total | Direct | Indirect | Total | Direct | Indirect | Total | Direct | Indirect
| Capex by purpose | [11 empty] | Actual | Estimated
| CAPEX BY PURPOSE (INCLUDING CAPITAL CONTRIBUTIONS) |  | 0
| <Business defined purpose 1> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
<additional rows allowed>
| RELATED PARTY MARGIN |  | 0
| <Business defined purpose 1> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ | [9 empty] | AR8.2.1 | ASA805 | ASRE2405
<additional rows allowed>
| GROSS CAPEX (INCLUDING CAPITAL CONTRIBUTIONS) - AER DEFINED |  | 0
| Replacement capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.2 | ASA805 | ASRE2405
| Export services capex | $ | 0 | 0 | 0 | [6 empty] | New | ASA805 | ASRE2405
| Augmentation capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.3 | ASA805 | ASRE2405
| Connections capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.5 | ASA805 | ASRE2405
| ICT capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Property capex | $ | 0 | 0 | 0 | [6 empty] | NEW | ASA805 | ASRE2405
| Fleet capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Other Non-network capex | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.6 | ASA805 | ASRE2405
| Network overheads | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ | 0 | 0 | 0 | [6 empty] | CA2.1,2.10A/New CA/AR2.11 | ASA805 | ASRE2405
Replacement expenditure
| POLES BY: HIGHEST OPERATING VOLTAGE; MATERIAL TYPE |  |  | 0
| ˂ = 1 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Wood | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Concrete | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 1 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Steel | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE |  |  | 0
| ˂ = 1 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| STAKED POLE REPLACED WITH NEW POLE BY: HIGHEST OPERATING VOLTAGE |  |  | 0
| ˂ = 1 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | NewCA/AR2.2.1 | ASA805 | ASRE2405
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE |  |  | 0
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| OVERHEAD CONDUCTORS BY: HIGHEST OPERATING VOLTAGE; NUMBER OF PHASES (AT HV) |  |  | 0 | [8 empty] | ASA805 | ASRE2405
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV ; SWER | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Single-Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˃ 11 kV & < = 22 kV; Multiple-Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| UNDERGROUND CABLES BY: HIGHEST OPERATING VOLTAGE |  |  | 0
| ˂ = 1 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 1 kV & < = 11 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SERVICE LINES BY: CONNECTION VOLTAGE; CUSTOMER TYPE; CONNECTION COMPLEXITY |  |  | 0
| ˂ = 11 kV; Residential; Simple Type | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Commercial & Industrial; Simple Type | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Residential; Complex Type | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Commercial & Industrial; Complex Type | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Subdivision; Complex Type | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Commercial & Industrial | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Subdivision | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| TRANSFORMERS BY: MOUNTING TYPE; HIGHEST OPERATING VOLTAGE; AMPERE RATING; NUMBER OF PHASES (AT LV) |  |  | 0
| Pole Mounted; < = 22kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; < = 60 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 60 kVA and < = 600 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Pole Mounted; < = 22kV; > 600 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; < = 60 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 60 kVA and < = 600 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Kiosk Mounted; < = 22kV; > 600 kVA ; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Single Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; < = 60 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 60 kVA and < = 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV; > 600 kVA; Multiple Phase | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; < = 15 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 15 MVA and < = 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV; > 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; < = 15 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 15 MVA and < = 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV; > 40 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; < = 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV; > 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV; < = 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV; > 100 MVA | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SWITCHGEAR BY: HIGHEST OPERATING VOLTAGE; SWITCH FUNCTION |  |  | 0
| ˂ = 11 kV; FUSE | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV ; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| ˂ = 11 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV ; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 11 kV & < = 22 kV ; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 22 kV & < = 33 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 33 kV & < = 66 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 66 kV & < = 132 kV ; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Switch | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| > 132 kV; Circuit Breaker | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: FUNCTION |  |  | 0
| Field Devices | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Local Network Wiring Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Network Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Master Station Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Site Infrastructure | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Communications Linear Assets | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| AFLC | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| OTHER BY: BUSINESS SPECIFIED CATEGORIES |  |  | 0
| <Business Specified Asset Category 1> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 2> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 3> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 4> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
| <Business Specified Asset Category 5> | $ | [9 empty] | CA2.2.1 | ASA805 | ASRE2405
<additional rows allowed>
Connections
| RESIDENTIAL |  |  | 0
New connections - SCS
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| COMMERCIAL/INDUSTRIAL |  |  | 0
New connections - SCS
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, minor HV works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at HV) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection sub-transmission | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| SUBDIVISION |  |  | 0
New connections - SCS
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (no upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (with upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| EMBEDDED GENERATION |  |  | 0
New connections - SCS
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (small capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (large capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation installed | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation HV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
| Augmentation LV | $ | [9 empty] | CA2.5.1 | ASA805 | ASRE2405
New connections - SCS - capital contributions - Type 1
| RESIDENTIAL |  | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| COMMERCIAL/INDUSTRIAL |  | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, minor HV works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at LV, upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (customer connected at HV) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection sub-transmission | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| SUBDIVISION |  | 0
| Complex connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (no upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (with upstream asset works) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| EMBEDDED GENERATION |  | 0
| Simple connection LV | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (small capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
| Complex connection HV (large capacity) | $ | [9 empty] | NewCA/AR2.5.2 | ASA805 | ASRE2405
Augmentation expenditure
| Subtransmission substations, switching stations, zone substations | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| Subtransmission lines | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Distribution substations
Breakdown 1
| Distribution substations | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| Distribution substations - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| Distribution substation augmentations - pole mounted | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Distribution substation augmentations - ground mounted | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Distribution substation augmentations - indoor | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
HV feeders
Breakdown 1
| HV feeders | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| HV feeders - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| HV feeder augmentations - overhead lines | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| HV feeder augmentations - underground cables | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| HV feeder non-material projects | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
LV feeders
Breakdown 1
| LV feeders | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
| LV feeders - land purchases and easements | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Breakdown 2
| LV feeder augmentations - overhead lines | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| LV feeder augmentations - underground cables | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| LV feeder non-material projects | $ | [9 empty] | CA2.3(b).3 | ASA805 | ASRE2405
| Other assets | $ | [9 empty] | CA2.3(b).4 | ASA805 | ASRE2405
Non network
INFORMATION & COMMUNICATIONS TECHNOLOGY
| Recurrent |  |  | 0 | [7 empty] | NEW CA/AR 2.6.1
| < Business descriptor 1 > | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 2> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 3> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 4> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 5> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
<additional rows allowed>
| Non recurrent |  |  | 0
| < Business descriptor 1 > | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 2> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 3> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 4> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
| < Business descriptor 5> | $ | [9 empty] | NEW CA/AR 2.6.1 | ASA805 | ASRE2405
<additional rows allowed>
| Fleet |  |  | 0
| Car | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Light commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Elevated work platform (LCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Elevated work platform (HCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| Heavy commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
PROPERTY
| Total buildings and property expenditure | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| OTHER |  |  | 0
| <OTHER - DNSP nominated 1> | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
| <OTHER - DNSP nominated 2> | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
<additional rows allowed>
Overheads expenditure
| Network Overheads | $ | 0 | [8 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ | 0 | [8 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
Labour / non-labour expenditure split
| In-house labour expenditure | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Labour expenditure outsourced to related parties | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Labour expenditure outsourced to unrelated parties | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
| Non-labour expenditure | $ | [9 empty] | NEW CA/AR2.11.3 | ASA805 | ASRE2405
Capex by asset class
EXPENDITURE BY ASSET CLASS
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
<additional rows allowed>
MOVEMENTS IN PROVISIONS ALLOCATED TO as incurred CAPEX
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.4 | ASA805 | ASRE2405
<additional rows allowed>
IMMEDIATE EXPENSING OF CAPEX
| Total |  | 0 |  |  | 0 |  |  | 0 |  |  | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.7 | ASA805 | ASRE2405
<additional rows allowed>
DISPOSALS BY ASSET CLASS
| Total |  | 0 |  |  | 0 |  |  | 0 |  |  | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.6 | ASA805 | ASRE2405
<additional rows allowed>
Capital contributions by asset class
| Type 1 capital contributions | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
| Type 2 capital contributions | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
| PWC undergrounding capex (equity funded) | $ | 0 | [8 empty] | AR8.2.5 | ASA805 | ASRE2405
TYPE 1 CAPITAL CONTRIBUTION BY ASSET CLASS
| <Business defined asset class 1> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 2> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 3> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 4> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
| <Business defined asset class 5> | $ | 0 | [8 empty] | AR8.2.5 B | ASA805 | ASRE2405
<additional rows allowed>
TYPE 2 CAPITAL CONTRIBUTION BY ASSET CLASS
| <Business defined row descriptor> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined row descriptor> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined row descriptor> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined row descriptor> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
| <Business defined row descriptor> | $ | 0 | [8 empty] | AR8.2.5 C | ASA805 | ASRE2405
<additional rows allowed>
CAPITAL CONTRIBUTIONS BY ASSET CLASS - PWC UNDERGROUNDING CAPEX (EQUITY FUNDED)
| As incurred | $ | [9 empty] | AR8.2.8 | ASA805 | ASRE2405
Capital contributions by purpose
TYPE 1
| Replacement capex | $ | [9 empty] | New | ASA805 | ASRE2405
| Export services capex | $ | [9 empty] | New | ASA806 | ASRE2406
| Augmentation capex | $ | [9 empty] | New | ASA807 | ASRE2407
| Connections capex | $ | [9 empty] | New | ASA808 | ASRE2408
| ICT capex | $ | [9 empty] | New | ASA809 | ASRE2409
| Property capex | $ | [9 empty] | New | ASA810 | ASRE2410
| Fleet capex | $ | [9 empty] | New | ASA811 | ASRE2411
| Other Non-network capex | $ | [9 empty] | New | ASA812 | ASRE2412
| Network overheads | $ | [9 empty] | New | ASA813 | ASRE2413
| Corporate overheads | $ | [9 empty] | New | ASA814 | ASRE2414
TYPE 2 and PWC UNDERGROUNDING CAPEX
| Replacement capex | $ | [9 empty] | New | ASA805 | ASRE2405
| Export services capex | $ | [9 empty] | New | ASA806 | ASRE2406
| Augmentation capex | $ | [9 empty] | New | ASA807 | ASRE2407
| Connections capex | $ | [9 empty] | New | ASA808 | ASRE2408
| ICT capex | $ | [9 empty] | New | ASA809 | ASRE2409
| Property capex | $ | [9 empty] | New | ASA810 | ASRE2410
| Fleet capex | $ | [9 empty] | New | ASA811 | ASRE2411
| Other Non-network capex | $ | [9 empty] | New | ASA812 | ASRE2412
| Network overheads | $ | [9 empty] | New | ASA813 | ASRE2413
| Corporate overheads | $ | [9 empty] | New | ASA814 | ASRE2414

## Alternative control
Data category 07: Capital expenditure
SERVICE CLASSIFICATIONS
|  |  |  | Alternative Control Services | [11 empty] | Negotiated services
|  |  |  | Total | Direct | [9 empty] | Indirect
Stakeholder Comments |  | Units |  |  | Public Lighting |  |  | Metering services |  |  | Connection services | Fee and Quoted |  |  |  |  | Current RIN reference | Assurance standard - Financial data
[5 empty] | Total | Energy Efficient | Non-energy efficient | Total | legacy | smart meters | Total | Total | Fee | Quoted |  |  |  | Actual | Estimated
Capex by purpose
CAPEX BY PURPOSE (INCLUDING CAPITAL CONTRIBUTIONS)
| <Business defined purpose 1> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGIN
| <Business defined purpose 1> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 2> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 3> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 4> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
| <Business defined purpose 5> | $ |  | 0 | [7 empty] | 0 |  |  |  |  | CA8.2.3 | ASA805 | ASRE2405
<additional rows allowed>
Overheads expenditure
GROSS CAPEX (INCLUDING CAPITAL CONTRIBUTIONS) - AER DEFINED
| Network Overheads | $ | [14 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
| Corporate overheads | $ | [14 empty] | CA2.1,2.10A/New CA/AR2.10 | ASA805 | ASRE2405
Replacement expenditure
| PUBLIC LIGHTING BY: ASSET TYPE; LIGHTING OBLIGATION |  |  |  | 0
| Luminaires; Major Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Luminaires; Minor Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Brackets; Major Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Brackets; Minor Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Lamps; Major Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Lamps; Minor Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Poles / Columns; Major Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Poles / Columns; Minor Road | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
| Other | $ | [14 empty] | CA2.2.1 | ASA805 | ASRE2405
Alternative control services capex - capex by asset class
CAPITAL CONTRIBUTIONS BY TYPE
| Type 1 Capital Contributions | $ | [14 empty] | AR8.2.5(B) A | ASA805 | ASRE2405
| Type 2 Capital Contributions | $ | [14 empty] | AR8.2.5(B) B | ASA805 | ASRE2405
Metering activities
METER PURCHASE
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
METER TESTING
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
METER INVESTIGATION
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
SCHEDULED METER READING
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
SPECIAL METER READING
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
NEW METER INSTALLATION
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
METER REPLACEMENT
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
METER MAINTENANCE
| Meter Type 1-3 | $ | [14 empty] | NEW | ASA805 | ASRE2405
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER READING
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER RE-CONFIGURATION
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
OTHER METERING
| Meter Type 4 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 5 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 6 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
| Meter Type 7 | $ | [14 empty] | CA4.2.2 | ASA805 | ASRE2405
Fee based services
| Energisation | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| De-energisation | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| Re-energisation | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| Other | [15 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 1> | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 2> | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 3> | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 4> | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| <DNSP described fee-based service type 5> | $ | [14 empty] | CA4.3.1 | ASA805 | ASRE2405
| <additional rows allowed> | [15 empty] | CA4.3.1 | ASA805 | ASRE2405
Quoted services
| <DNSP described quoted service type 1> | $ | [14 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 2> | $ | [14 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 3> | $ | [14 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 4> | $ | [14 empty] | CA4.4.1 | ASA805 | ASRE2405
| <DNSP described quoted service type 5> | $ | [14 empty] | CA4.4.1 | ASA805 | ASRE2405
<additional rows allowed>
3.3.1 - REGULATORY ASSET BASE VALUES
EB3.3.1
|  | $ | 18884104
|  | $ | 0
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$
EB3.3.2
$
$

## New data collections
Data category 07: Capital expenditure
Proposed new data collections
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  | Total Standard Control Services |  |  | Standard Control excluding Dual Function Assets |  |  | Dual Function Assets |  |  | Current RIN reference | Assurance standard - Financial data
|  |  | Total | Direct | Indirect | Total | Direct | Indirect | Total | Direct | Indirect |  | Actual | Estimated
| RIT project expenditure | Units
| <Business defined Project ID 1> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 2> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 3> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 4> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 5> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<additional rows allowed>
Contingent project expenditure
| <Business defined Project ID 1> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 2> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 3> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 4> | $ | [9 empty] | NEW | ASA805 | ASRE2405
| <Business defined Project ID 5> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<additional rows allowed>
Capex for provision of export services
| ICT capex | $ | [9 empty] | NEW | ASRE2405 | ASRE2405
| Network monitoring | $ | [9 empty] | NEW | ASRE2405 | ASRE2405
| Other export services capex | $ | [9 empty] | NEW | ASRE2405 | ASRE2405