## 1. Data
|  | 2021 | 2022 | 2023 | 2024 | 2025
Converter Stations
Transmission lines
Easements
Inflation Assumption | 2.337%
Transmission Assets
Transmission Determination
Easements
Land
Buildings
WACC
Real Rate of Return |  | 2.157% | 2.069% | 1.982% | 1.894% | 1.806%
Real Return on Debt |  | 2.05% | 1.903% | 1.757% | 1.61% | 1.464%

## 2 Forecast Capex
Capital Expenditure Item | FY 19 | FY 20 | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 |  | Lower than DD | [5 empty] | Program Index |  | Tax Index
|  | 8823.9069 | 4658.2979 | 6284.1979 | 5191.8479 | 4742.3074 | 3725.026 |  | Higher than DD
Project Name | FY 19 | FY 20 | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Next TD Period | RAB Asset Class | PTRM Asset Class | Project Number |  | Asset Program | Tax Treatment
Annual Spraying for Corrosion |  | 0 | 66 | 22 | 44 | 44 | 44 | 220 | Converter Stations | Transmission Assets | 1.06 | 1 | Corrosion and Environmental Deterioration | Declining Value | 1 | Corrosion and Environmental Deterioration | 1 | Declining Value | Transmission Assets | Declining Value
Asset replacement contract |  | 0 | 1650 | 3300 | 3300 | 3300 | 3300 | 14850 | Converter Stations | Transmission Assets | 5.01 | 5 | Obsolete IGBTs | Declining Value | 2 | Cable Protection | 2 | Straight Line | Transmission Determination | Declining Value
Barn Door Replacement |  | 0 | 0 | 176 | 0 | 0 | 0 | 176 | Converter Stations | Buildings | 1.02 | 1 | Corrosion and Environmental Deterioration | Declining Value | 3 | Cable Modification | 3 | Immediate Expense | Easements | n/a
Barn Roof Repair |  | 100 | 220 | 0 | 0 | 0 | 0 | 220 | Converter Stations | Buildings | 1.05 | 1 | Corrosion and Environmental Deterioration | Declining Value | 4 | Essential Spares |  |  | Land | Straight Line
Barn Sound Damp Vent Inlet Replacement |  | 0 | 0 | 198 | 0 | 0 | 0 | 198 | Converter Stations | Buildings | 1.04 | 1 | Corrosion and Environmental Deterioration | Declining Value | 5 | Obsolete IGBTs |  |  | Buildings | Declining Value
Cable Handling Equipment (Stands, Winches) |  | 0 | 3 | 0 | 0 | 0 | 0 | 3 | Transmission lines | Transmission Assets | 9.06 | 9 | Stay in Business | Declining Value | 6 | Noise Monitoring Equipment
Cable Modification Program |  | 64.4819 | 272.4478 | 272.4478 | 272.4478 | 272.4478 | 0 | 1089.7913 | Transmission lines | Transmission Assets | 3.01 | 3 | Cable Modification | Declining Value | 7 | Testing Equipment
Cable Repair Trailer |  | 0 | 26 | 0 | 0 | 0 | 0 | 26 | Transmission lines | Transmission Assets | 9.05 | 9 | Stay in Business | Declining Value | 8 | Reliability
Cable Route Risk Mitigation (Signs) |  | 0 | 470 | 350 | 0 | 0 | 0 | 820 | Transmission lines | Transmission Assets | 2.01 | 2 | Cable Protection | Declining Value | 9 | Stay in Business
Capacitors |  | 0 | 78 | 78 | 78 | 78 | 78 | 390 | Converter Stations | Transmission Assets | 4.01 | 4 | Essential Spares | Declining Value | 10 | Transmission Determination Costs
Capacity Voltage Transmission (CVT) Replacement |  | 0 | 0 | 407.1 | 0 | 0 | 0 | 407.1 | Converter Stations | Transmission Assets | 1.08 | 1 | Corrosion and Environmental Deterioration | Declining Value | 11 | Refurbishment/Replacement
Circuit Breaker Pole Repair and Refurbishment |  | 0 | 72 | 24 | 77 | 78 | 77 | 328 | Converter Stations | Transmission Assets | 1.09 | 1 | Corrosion and Environmental Deterioration | Declining Value
Contingent cable repairs / relocation |  | 50 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines | Transmission Assets | 0.01 |  |  | Declining Value
Control and protection system upgrade |  | 3865.1913 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Cooling tower sound enclosure panel replacement |  | 0 | 0 | 0 | 77 | 693 | 0 | 770 | Converter Stations | Transmission Assets | 1.01 | 1 | Corrosion and Environmental Deterioration | Declining Value
Cyber Security |  | 0 | 550 | 0 | 0 | 0 | 0 | 550 | Converter Stations | Transmission Assets | 8.02 | 8 | Reliability | Declining Value
Directlink Land Slip |  | 0.693 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines | Transmission Assets | 0.01 |  |  | Declining Value
Emergency lighting |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Essential Tools |  | 0 | 28 | 0 | 0 | 0 | 0 | 28 | Transmission lines | Transmission Assets | 9.1 | 9 | Stay in Business | Declining Value
Fan control relay replacement |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Fire System Equipment Protection |  | 0 | 15.7 | 7.7 | 7.7 | 7.7 | 0 | 38.8 | Converter Stations | Transmission Assets | 1.1 | 1 | Corrosion and Environmental Deterioration | Declining Value
Hi Pot Tester / Thumper Replacement inc thumper trailor |  | 0 | 0 | 30 | 300 | 0 | 0 | 330 | Transmission lines | Transmission Assets | 7.01 | 7 | Testing Equipment | Declining Value
HV Cable Cutter/Earthing Spike |  | 0 | 14 | 0 | 0 | 0 | 0 | 14 | Transmission lines | Transmission Assets | 9.07 | 9 | Stay in Business | Declining Value
IGBT Spares - Mullumbimby 1 Gen 3 |  | 0 | 70 | 70 | 70 | 70 | 70 | 350 | Converter Stations | Transmission Assets | 4.02 | 4 | Essential Spares | Declining Value
IGBT Tester for older style IGBT's |  | 0 | 72 | 0 | 0 | 0 | 0 | 72 | Transmission lines | Transmission Assets | 7.02 | 7 | Testing Equipment | Declining Value
Motor Operated Alternating Current (AC)Isolators and Earth Switch + Relocation of SC Isolator Switch and Locking |  | 0 | 0 | 500 | 0 | 0 | 0 | 500 | Converter Stations | Transmission Assets | 9.02 | 9 | Stay in Business | Declining Value
Noise Monitoring Equipment |  | 0 | 150 | 0 | 0 | 0 | 0 | 150 | Converter Stations | Transmission Assets | 6 | 6 | Noise Monitoring Equipment | Declining Value
Phase Reactor Silencer Replacement |  | 0 | 0 | 50 | 60 | 0 | 0 | 110 | Converter Stations | Transmission Assets | 1.03 | 1 | Corrosion and Environmental Deterioration | Declining Value
PLC Yard (Switchyard) - Concreting Bungalora |  | 0 | 35 | 0 | 0 | 0 | 0 | 35 | Converter Stations | Transmission Assets | 9.01 | 9 | Stay in Business | Declining Value
Power Quality Metering |  | 0 | 0 | 330 | 0 | 0 | 0 | 330 | Converter Stations | Transmission Assets | 7.03 | 7 | Testing Equipment | Declining Value
Power Supply Upgrade |  | 0 | 0 | 0 | 800 | 0 | 0 | 800 | Converter Stations | Transmission Assets | 8.01 | 8 | Reliability | Declining Value
Refurbishment/Replacement |  | 100 | 404.65 | 414.45 | 51.2 | 38.4 | 0 | 908.7 | Converter Stations | Transmission Assets | 11 | 11 | Refurbishment/Replacement | Declining Value
Repair Tents |  | 0 | 3 | 0 | 0 | 0 | 0 | 3 | Transmission lines | Transmission Assets | 9.08 | 9 | Stay in Business | Declining Value
Safety compliance program |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Security Camera / Survelliance |  | 0 | 22 | 0 | 0 | 0 | 0 | 22 | Converter Stations | Transmission Assets | 9.03 | 9 | Stay in Business | Declining Value
SF6 Gas Handling Gear |  | 0 | 24 | 0 | 0 | 0 | 0 | 24 | Converter Stations | Transmission Assets | 9.09 | 9 | Stay in Business | Declining Value
Site Cable Tray Installation & Relocation of Cables |  | 0 | 121 | 0 | 0 | 0 | 0 | 121 | Transmission lines | Transmission Assets | 1.11 | 1 | Corrosion and Environmental Deterioration | Declining Value
Site security enhancements |  | 154.9042 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Buildings | 0.01 |  |  | Declining Value
Sound dampening replacement for ventilation inlet |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Buildings | 0.01 |  |  | Declining Value
Spare IGBTs |  | 976 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Optic fibres |  | 2296.976 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
Stay in Business - Other |  | 28.3333 | 39 | 22 | 22 | 22 | 22 | 127 | Converter Stations | Transmission Assets | 9.04 | 9 | Stay in Business | Declining Value
Transformer Painting and Protection |  | 0 | 220 | 0 | 0 | 0 | 0 | 220 | Converter Stations | Transmission Assets | 1.07 | 1 | Corrosion and Environmental Deterioration | Declining Value
Transmission Determination Costs |  | 134.026 | 32.5 | 32.5 | 32.5 | 138.7596 | 134.026 | 370.2857 | Converter Stations | Transmission Determination | 10 | 10 | Transmission Determination Costs | Declining Value
Zero sequence reactor repair |  | 1053.3012 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations | Transmission Assets | 0.01 |  |  | Declining Value
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## RAB
$m nominal | 2020-06-30
Converter Stations | 9.3337
Transmission lines | 0.12344
Easements | 0
Total | 9.4571
$m $2018 | 2020-06-30
Converter Stations | 8.9123
Transmission lines | 0.11787
Easements | 0
Total | 9.0301
$m FY 20 | 2020-06-30
Converter Stations | 9.3337
Transmission lines | 0.12344
Easements | 0
Total | 9.4571
Check
Forecast Capex | 8.8239
Adjusted for inflation | 9.0301
Difference | 0

## PTRM
($m real 2020) | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | Total
Transmission Assets | 4.6141 | 6.1556 | 5.4033 | 4.8212 | 3.7608 | 24.7552
Transmission Determination | 0.034037 | 0.034037 | 0.034037 | 0.14532 | 0.14036 | 0.3878
Easements | 0 | 0 | 0 | 0 | 0 | 0
Land | 0 | 0 | 0 | 0 | 0 | 0
Buildings | 0.2304 | 0.39169 | 0 | 0 | 0 | 0.62209
Total | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
($m real 2018) | [5 empty] | Total
Transmission Assets | 4.4058 | 5.8777 | 5.1593 | 4.6035 | 3.591 | 23.6374
Transmission Determination | 0.0325 | 0.0325 | 0.0325 | 0.13876 | 0.13403 | 0.37029
Easements | 0 | 0 | 0 | 0 | 0 | 0
Land | 0 | 0 | 0 | 0 | 0 | 0
Buildings | 0.22 | 0.374 | 0 | 0 | 0 | 0.594
Total | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725 | 24.6017
Check | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725
Forecast Capex | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725
Difference | 0 | 0 | 0 | 0 | 0

## TAB
($m real 2020) | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | Total
Declining Value | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
Straight Line | 0 | 0 | 0 | 0 | 0 | 0
Immediate Expense | 0 | 0 | 0 | 0 | 0 | 0
Total | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
($m real 2018) | [5 empty] | Total
Declining Value | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725 | 24.6017
Straight Line | 0 | 0 | 0 | 0 | 0 | 0
Immediate Expense | 0 | 0 | 0 | 0 | 0 | 0
Total | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725 | 24.6017
Check | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725
Forecast Capex | 4.6583 | 6.2842 | 5.1918 | 4.7423 | 3.725
Difference | 0 | 0 | 0 | 0 | 0

## Tables
Table
1 | Table 8-1: Forecast and historic capital expenditure ($m 2019/20) | [7 empty] | Table 9‑15 – Forecast capital expenditure 2020-25 by asset class ($m real FY20)
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total |  |  | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Total
| Forecast capital expenditure | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765 |  | Transmission Assets | 4.6141 | 6.1556 | 5.4033 | 4.8212 | 3.7608 | 24.7552
| Historic capital expenditure | 4.3844 | 3.6564 | 10.7065 | 8.2295 | 7.0253 | 34.002 |  | Transmission Determination | 0.034037 | 0.034037 | 0.034037 | 0.14532 | 0.14036 | 0.3878
| Difference | 0.49423 | 2.925 | -5.2692 | -3.2629 | -3.1241 | -8.2369 |  | Easements | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Land | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 13.1994 | 14.4411 | 3.9761 | 5.6169 | 1.99 | 39.2235 |  | Buildings | 0.2304 | 0.39169 | 0 | 0 | 0
| Obsolete IGBTs | [7 empty] | Total | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
3 | Table 8-3: Obsolete IGBTs forecast capital expenditure ($m 2019/20) | [7 empty] | Table 9‑17 – Forecast capital expenditure 2018-23 by asset driver ($’000 real 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total |  |  | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Total
| Obsolete IGBTs | 1.728 | 3.4561 | 3.4561 | 3.4561 | 3.4561 | 15.5522 | Obsolete IGBTs | Augmentation/Expansion |  | - | - | - | - | 0
[9 empty] | Replacement/Refurbishment | 4.8445 | 6.1556 | 5.4033 | 4.8212 | 3.7608 | 24.9856
| Corrosion and Environmental Deterioration | [7 empty] | Non-network | 0.034037 | 0.034037 | 0.034037 | 0.14532 | 0.14036 | 0.3878
4 | Table 8-4: Corrosion and Environmental Deterioration forecast capital expenditure ($m 2019/20) | [7 empty] | Total | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Corrosion and Environmental Deterioration | 0.7485 | 0.92664 | 0.27826 | 0.8616 | 0.12672 | 2.9417 | Corrosion and Environmental Deterioration | Draft Determination
[10 empty] | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total
| Reliability | [7 empty] | AER Draft Determination | 10.4243 | 6.6721 | 4.8075 | 4.9023 | 3.7507 | 30.557
5 | Table 8-5: Reliability forecast capital expenditure ($m 2019/20) | [7 empty] | Revised Proposal | 4.8786 | 6.5814 | 5.4374 | 4.9666 | 3.9012 | 25.765
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total |  | Difference | -5.5457 | -0.090762 | 0.62984 | 0.064229 | 0.15046 | -4.7919
| Reliability | 0.57601 | 0 | 0.83783 | 0 | 0 | 1.4138 | Reliability
Cable Modification
6 | Table 8-6: Cable Modification forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Cable Modification | 0.28533 | 0.28533 | 0.28533 | 0.28533 | 0 | 1.1413 | Cable Modification
Refurbishment/Replacement
7 | Table 8-7: Refurbishment/Replacement forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Refurbishment/Replacement | 0.42379 | 0.43405 | 0.053621 | 0.040216 | 0 | 0.95167 | Refurbishment/Replacement
Cable Protection
8 | Table 8-8: Cable Protection forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Cable Protection | 0.49223 | 0.36655 | 0 | 0 | 0 | 0.85878 | Cable Protection
Stay in Business
9 | Table 8-9: Stay in Business forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Stay in Business | 0.20317 | 0.54668 | 0.02304 | 0.02304 | 0.02304 | 0.81898 | Stay in Business
Essential Spares
10 | Table 8-10: Essential Spares forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Essential Spares | 0.155 | 0.155 | 0.155 | 0.155 | 0.155 | 0.77499 | Essential Spares
Testing Equipment
11 | Table 8-11: Testing Equipment forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Testing Equipment | 0.075405 | 0.37702 | 0.31419 | 0 | 0 | 0.76661 | Testing Equipment
Transmission Determination Costs
12 | Table 8-12: Transmission Determination Costs forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Transmission Determination Costs | 0.034037 | 0.034037 | 0.034037 | 0.14532 | 0.14036 | 0.3878 | Transmission Determination Costs
Noise Monitoring Equipment
13 | Table 8-13: Noise Monitoring Equipment forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Noise Monitoring Equipment | 0.15709 | 0 | 0 | 0 | 0 | 0.15709 | Noise Monitoring Equipment
14 | Table 8-14: forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
|  | 0 | 0 | 0 | 0 | 0 | 0
15 | Table 8-15: forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
|  | 0 | 0 | 0 | 0 | 0 | 0
16 | Table 8-16: forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
|  | 0 | 0 | 0 | 0 | 0 | 0

## IGBTs
| Inputs | Required/starting | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
Preferred Solution | Asset replacement contract | bar: FY 21
NPV |  |  | FY 21: NPV IGBT; FY 22: VCU Replacement; FY 23: NPV - VCU; FY 24: LTSA avoided costs; FY 25: Total NPV; FY 26: Difference from preferred option
Replace all GEN1 IGBTs |  |  | FY 21: 20471170185.7594; FY 22: 1957763.57; FY 23: 20469212422.1894; FY 24: 11185937.2686; FY 25: 20458026484.9208; FY 26: -190382632.3153
Replace one entire converter building |  |  | FY 21: 20653254185.6666; FY 22: 1957763.57; FY 23: 20651296422.0966; FY 24: 11185937.2686; FY 25: 20640110484.828; FY 26: -8298632.4081
Asset replacement contract |  |  | FY 21: 20648409117.2361; FY 22: 0; FY 23: 20648409117.2361; FY 25: 20648409117.2361; FY 26: 0
Cannibalise entire converter building |  |  | FY 21: 20048917500.6533; FY 22: 1761987.213; FY 23: 20047155513.4403; FY 24: 11185937.2686; FY 25: 20035969576.1717; FY 26: -612439541.0644
Replace one Valve room |  |  | FY 21: 20618033457.1952; FY 22: 1916419.098; FY 23: 20616117038.0972; FY 24: 11185937.2686; FY 25: 20604931100.8286; FY 26: -43478016.4075
IGBTs per phase | 148
Phases per valve room | 2
IGBTs per Phase | 296
Valve Rooms per building | 3
IGBTs per building | 888
Buildings in Directlink | 6
Buildings on Gen 3 | 1
Buidlings using Genb 1 | 5
Phases per building | 15
Failure Rate | 45
Spare IGBTs as at 30/11/2019 | -51
IGBT deliveries FY20 | 48
Failure between 30/11/2019 and 30/6/2020 | -26
IGBT adj to system numbers | -29
IGBTs (Spare and in use) | 4411 | 4440
Spare IGBTs Gen 3 (per phase) | 35200
Proportion of recovered IGBTs | 66.67%
Capital expenditure replacing Equipment
Replace all GEN1 IGBTs | 220000000 |  | 220000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one entire converter building | 22000000 |  | 22000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Asset replacement contract | 3300000 | 1650000 | 1650000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000
Cannibalise entire converter building | 275000 |  | 275000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one Valve room | 15400000 |  | 15400000 | 0 | 0 | 15400000 | 0 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 0 | 15400000
Capital Expenditure (including gen 3 spares)
Replace all GEN1 IGBTs |  | 45 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000
Replace one entire converter building |  | 45 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200
Asset replacement contract |  |  | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200
Cannibalise entire converter building | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one Valve room |  | 45 | 35200 | 35200 | 35200 | 70400 | 70400 | 70400 | 70400 | 70400 | 105600 | 105600 | 105600 | 105600 | 140800 | 140800 | 140800 | 140800 | 176000 | 176000 | 176000 | 176000 | 176000 | 211200
Benefit
Annual value provided (System 1) | 959250000 |  | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000 | 959250000
Annual value provided (System 2) | 195620000 |  | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000 | 195620000
Annual value provided (System 3) | 37140000 |  | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000 | 37140000
1192010000
Number of IGBTs released
Replace all GEN1 IGBTs |  |  | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one entire converter building |  |  | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cannibalise entire converter building |  |  | 1184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one Valve room |  |  | 197.3333 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 0 | 197.3333
Remaining IGBTs (in use and spares)
Replace all GEN1 IGBTs |  | 4411 | 999926 | 999881 | 999836 | 999791 | 999746 | 999701 | 999656 | 999611 | 999566 | 999521 | 999476 | 999431 | 999386 | 999341 | 999296 | 999251 | 999206 | 999161 | 999116 | 999071 | 999026 | 998981
Replace one entire converter building |  | 4411 | 4070 | 4025 | 3980 | 3935 | 3890 | 3845 | 3800 | 3755 | 3710 | 3665 | 3620 | 3575 | 3234 | 3189 | 3144 | 3099 | 3054 | 3009 | 2964 | 2919 | 2874 | 2829
Cannibalise entire converter building |  | 4411 | 3774 | 3729 | 3684 | 3639 | 3594 | 3549 | 3504 | 3459 | 3414 | 3369 | 3324 | 3279 | 3234 | 3189 | 3144 | 3099 | 3054 | 3009 | 2964 | 2919 | 2874 | 2829
Replace one Valve room |  | 4411 | 4267.3333 | 4222.3333 | 4177.3333 | 4033.6667 | 3988.6667 | 3943.6667 | 3898.6667 | 3853.6667 | 3710 | 3665 | 3620 | 3575 | 3431.3333 | 3386.3333 | 3341.3333 | 3296.3333 | 3152.6667 | 3107.6667 | 3062.6667 | 3017.6667 | 2972.6667 | 2829
Required IGBTS
Replace all GEN1 IGBTs |  | 4485 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Replace one entire converter building |  | 4485 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709
Cannibalise entire converter building |  | 4485 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709
Replace one Valve room |  | 4485 | 4189 | 4189 | 4189 | 3893 | 3893 | 3893 | 3893 | 3893 | 3597 | 3597 | 3597 | 3597 | 3301 | 3301 | 3301 | 3301 | 3005 | 3005 | 3005 | 3005 | 3005 | 2709
Remaining Phases
Operating Gen One phases under Replace all GEN1 IGBTs |  | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Gen One phases under Replace one entire converter building |  | 15 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Operating Gen One phases under Cannibalise entire converter building |  | 15 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Operating Gen One phases under Replace one Valve room |  | 15 | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 13 | 12 | 12 | 12 | 12 | 11 | 11 | 11 | 11 | 10 | 10 | 10 | 10 | 10 | 9
Value Replace all GEN1 IGBTs |  |  | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000
Value Replace one entire converter building |  |  | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000
Value Asset replacement contract |  |  | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000
Value Cannibalise entire converter building |  |  | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000 | 1154870000
Value Replace one Valve room |  |  | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000 | 1192010000
WACC | 2.157%
Maintenance opex per phase | 44584.4326
Maintenance opex per new system | 35667.546
Maintenance opex for Replace all GEN1 IGBTs |  |  | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907
Maintenance opex for Replace one entire converter building |  |  | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Asset replacement contract |  |  | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Cannibalise entire converter building |  |  | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Replace one Valve room |  |  | 659849.6019 | 659849.6019 | 659849.6019 | 650932.7154 | 650932.7154 | 650932.7154 | 650932.7154 | 650932.7154 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 633098.9423 | 633098.9423 | 633098.9423 | 633098.9423 | 624182.0558 | 624182.0558 | 624182.0558 | 624182.0558 | 624182.0558 | 615265.1693
Cost
Replace all GEN1 IGBTs |  |  | 221063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907
Replace one entire converter building |  |  | 22747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 22826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693
Asset replacement contract |  |  | 2397615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 2397615.8288 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693
Cannibalise entire converter building |  |  | 890265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Replace one Valve room |  |  | 16095049.6019 | 695049.6019 | 695049.6019 | 16121332.7154 | 721332.7154 | 721332.7154 | 721332.7154 | 721332.7154 | 16147615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 16173898.9423 | 773898.9423 | 773898.9423 | 773898.9423 | 16200182.0558 | 800182.0558 | 800182.0558 | 800182.0558 | 800182.0558 | 16226465.1693
Net Benefit |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Replace all GEN1 IGBTs |  |  | 950442319.591 | 1141176775.1257 | 1117077158.6389 | 1093486483.0343 | 1070394000.3891 | 1047789189.7572 | 1025661752.3762 | 1004001606.9751 | 982798885.1815 | 962043927.0253 | 941727276.5377 | 921839677.443 | 902372068.9419 | 883315581.5825 | 864661533.2203 | 846401425.062 | 828526937.7936 | 811029927.7904 | 793902423.4061 | 777136621.3419 | 760724883.0902 | 744659731.4554
Replace one entire converter building |  |  | 1144569649.7541 | 1141478991.8896 | 1117372993.1241 | 1093776070.0233 | 1070677471.8178 | 1048066674.7753 | 1025933377.4061 | 1004267495.7692 | 983059158.8789 | 962298704.2068 | 941976673.2798 | 922083807.3712 | 885882056.0305 | 883491027.3038 | 864833273.8411 | 846569538.8274 | 828691501.2964 | 811191016.0057 | 794060109.7259 | 777290977.6081 | 760875979.6276 | 744807637.1036
Asset replacement contract |  |  | 1164489894.0789 | 1138316900.3779 | 1114277679.3408 | 1090746123.7419 | 1067711512.5934 | 1045163351.3155 | 1023091366.9553 | 1001485503.5062 | 980335917.3266 | 959632972.655 | 939367237.2201 | 920806642.6572 | 901301106.4218 | 882267235.8792 | 863635326.7069 | 845396890.1984 | 827543616.9132 | 810067372.8917 | 792960195.9488 | 776214292.0466 | 759822031.7433 | 743775946.7173
Cannibalise entire converter building |  |  | 1129609742.6882 | 1106017908.9052 | 1082660784.9142 | 1059796921.6894 | 1037415902.4438 | 1015507530.3745 | 994061824.0168 | 973069012.6967 | 952519532.0795 | 932404019.8121 | 912713311.2575 | 893438435.3195 | 874570610.3557 | 856101240.176 | 838021910.1267 | 820324383.2563 | 803000596.5632 | 786042657.3222 | 769442839.4879 | 753193580.1756 | 737287476.2149 | 721717280.7775
Replace one Valve room |  |  | 1151081725.6572 | 1141529361.3503 | 1117422298.8717 | 1079660452.9593 | 1070701094.4369 | 1048089798.5268 | 1025956012.8252 | 1004289653.1687 | 970350698.3014 | 962298704.2068 | 941976673.2798 | 922083807.3712 | 890922658.187 | 883530015.2419 | 864871438.4235 | 846606897.442 | 817996198.5537 | 811208914.6963 | 794077630.4281 | 777308128.3043 | 760892768.1317 | 735178526.8314
Value of annual delay
Replace all GEN1 IGBTs |  |  | 1: 4746239.4035
Replace one entire converter building |  |  | 1: 474623.9404
Asset replacement contract |  |  | 1: 71193.5911
Cannibalise entire converter building |  |  | 1: 5932.7993
Replace one Valve room |  |  | 1: 332236.7582
PV Cost |  |  | 2: VCU; 4: Avoided Cost
Replace all GEN1 IGBTs |  |  | 1: 233818331.0088; 2: 1957763.57; 3: 235776094.5788; 4: 11185937.2686; 5: 246962031.8474
Replace one entire converter building |  |  | 1: 51734331.1017; 2: 1957763.57; 3: 53692094.6717; 4: 11185937.2686; 5: 64878031.9402
Asset replacement contract |  |  | 1: 56579399.5321; 2: 0; 3: 56579399.5321; 5: 56579399.5321
Cannibalise entire converter building |  |  | 1: 10956232.2518; 2: 1761987.213; 3: 12718219.4648; 4: 11185937.2686; 5: 23904156.7334
Replace one Valve room |  |  | 1: 86955059.573; 2: 1916419.098; 3: 88871478.671; 4: 11185937.2686; 5: 100057415.9396
Note on B39: Allen, Mark: Fy 21-Fy30
Note on C39: Allen, Mark: FY 31 - FY42
Note on B54: Allen, Mark: Sourced from EnegryEdge analysis
Note on B87: Allen, Mark: 10% of annual average laboure/materials/other opex (5 years) divided by 15 phases
Note on B88: Allen, Mark: Assumes that more modern IGBTs will save 10% in opex costs

## VCU
|  |  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
VCU per Phase | 1
# of Phase | 15
Total VCU | 15
Cost VCU | 0.6
Cost all VCU | 2
Replace all GEN1 IGBTs |  | 1.9578
All in one |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9578 | 1.9578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one entire converter building |  | 1.9578
Staged Replace VCU |  |  | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 3.1258 | 1.762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9578 | 1.9578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Asset replacement contract |  | 0
Staged Replacement |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cannibalise entire converter building |  | 1.762
Staged Replacement |  |  | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.762 | 1.762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9578 | 1.9578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replace one Valve room |  | 1.9164
Staged Replacement |  |  | 0.6 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0.6
Present Value |  | 2.8806 | 0.58733 | 0 | 0 | 0.5509 | 0 | 0 | 0 | 0 | 0.49513 | 0 | 0 | 0 | 0.45462 | 0 | 0 | 0 | 0.41741 | 0 | 0 | 0 | 0 | 0.37516
All in one replace VCU |  |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9164 | 0 | 1.9164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Replacement k
Avoided Cost ($m) | Inputs | Required/starting | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Control and Protection system |  |  | FY 36 16: 6728738.22; FY 37 17: 4331955.1; FY 38 18: 3973563.7679
Contractor costs associated with Cyber Security and spares management | 2% | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868 | 21434.2868
Labour cost with Cyber Security and spares management | 2% | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358 | 17954.8358
|  |  | 38557.2946 | 37743.0334 | 36945.9679 | 36165.735 | 35401.9792 | 34654.3526 | 33922.5146 | 33206.1316 | 32504.8774 | 31818.4324 | 31146.4839 | 30488.7258 | 29844.8583 | 29214.5882 | 28597.6282 | 4810081.9694 | 3041089.5555 | 2732804.171 | 26257.3567 | 25702.8482 | 25160.05 | 24628.7146
Total |  | 11185937.2686
Note on B4: Allen, Mark: Management time estimate
Note on B5: Allen, Mark: Management time estimate