## TS CB Replacements
Network | Voltage Class | Specific Duty | Technology | Floc Desc | Installed | Age at Replacement (years) | changedate - Year | FLOC | Station | Manufacturer | Voltage | 'Append1'[Reason] | WeibullSet | SubIndex
TS | EHV | Network | CBBO | EX - MWTS-MPS LINE 220KV CB AT HWPS | 1984-08-17 | 20.3357 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 0
TS | EHV | Network | CBBO | EX - GNTS NO.1 220KV LINE NO.2 BUS CB AT SHTS | 1981-06-27 | 25.1598 |  |  | SHTS |  | 220 |  | Transmission Replacements | 1
TS | HV | Network | CBMO | EX - EHK 66KV FDR CB AT BETS | 1981-04-01 | 25.8881 |  |  | BETS |  | 66 |  | Transmission Replacements | 2
TS | HV | Network | CBBO | EX - BGO 66KV FDR CB AT BETS | 1981-04-23 | 25.9261 |  |  | BETS |  | 66 |  | Transmission Replacements | 3
TS | HV | Network | CBMO | EX - CTN STANDBY 66KV FDR CB AT BETS | 1981-04-23 | 25.9261 |  |  | BETS |  | 66 |  | Transmission Replacements | 4
TS | HV | Network | CBBO | EX - MRO 66KV FDR CB AT BETS | 1980-10-27 | 26.3152 |  |  | BETS |  | 66 |  | Transmission Replacements | 5
TS | HV | Network | CBBO | EX - 3-4 66KV BUS TIE CB AT BETS | 1981-04-23 | 26.5254 |  |  | BETS |  | 66 |  | Transmission Replacements | 6
TS | EHV | Network | CBMO | EX - TTS LINE/NO.1 TRANS 220KV CB AT TSTS | 1973-03-08 | 27.9386 |  |  | TSTS |  | 220 |  | Transmission Replacements | 7
TS | EHV | Network | CBMO | EX - TTS LINE NO.2 BUS CB AT TSTS | 1973-02-21 | 27.9797 |  |  | TSTS |  | 220 |  | Transmission Replacements | 8
TS | HV | Network | CBBO | EX - SPARE 66KV CB AT MWTS | 1981-10-23 | 28.4038 |  |  | MWTS |  | 66 |  | Transmission Replacements | 9
TS | HV | Network | CBMO | EX - FDN 66KV FDR CB AT GTS | 1979-10-12 | 29.1812 |  |  | GTS |  | 66 |  | Transmission Replacements | 10
TS | HV | Network | CBMO | EX - TRG NO.1 66KV FDR CB AT TGTS | 1977-09-22 | 29.5074 |  |  | TGTS |  | 66 |  | Transmission Replacements | 11
TS | EHV | Network | CBLT | 7 GEN TR 220KV CB | 1990-06-01 | 29.6975 |  | TS-HWPS-CCTBKR-9000105962 | HWPS |  | 220 |  | Transmission Replacements | 12
TS | HV | Network | CBMO | EX - KRT NO.1 66KV FDR CB AT TGTS | 1977-10-20 | 29.9121 |  |  | TGTS |  | 66 |  | Transmission Replacements | 13
TS | EHV | Network | CBAB | EX - 220KV CB 'B' AT TTS (O.O.S) | 1980-05-24 | 30.063 |  |  | TTS |  | 220 |  | Transmission Replacements | 14
TS | EHV | Network | CBAB | EX - MSS NO.1 / SMTS NO.1 LINE CB AT DDTS | 1969-06-08 | 30.2877 |  |  | DDTS |  | 330 |  | Transmission Replacements | 15
TS | EHV | Network | CBBO | EX - NO.7 GEN TRANS 220KV CB AT HWPS | 1969-12-01 | 30.3454 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 16
TS | HV | Network | CBBO | EX - NO.1 TRANS GROUP 66KV CB AT TGTS | 1975-11-27 | 31.32 |  |  | TGTS |  | 66 |  | Transmission Replacements | 17
TS | HV | Network | CBMO | EX - BAS NO.1 66KV FDR CB AT BATS | 1975-08-07 | 31.6431 |  |  | BATS |  | 66 |  | Transmission Replacements | 18
TS | HV | Network | CBBO | EX - NO.2 TRANS 66KV CB AT TGTS | 1975-11-27 | 31.8095 |  |  | TGTS |  | 66 |  | Transmission Replacements | 19
TS | EHV | Network | CBBO | EX - B4 TRANS NO.1 BUS 220KV CB AT TTS | 1979-02-22 | 31.9905 |  |  | TTS |  | 220 |  | Transmission Replacements | 20
TS | EHV | Network | CBAB | EX - SMTS NO.2 LINE NO.1 BUS CB AT DDTS | 1967-05-18 | 32.3465 |  |  | DDTS |  | 330 |  | Transmission Replacements | 21
TS | EHV | Network | CBAB | EX - H1 TRANS 330KV CB AT SMTS | 1967-05-30 | 32.7709 |  |  | SMTS |  | 330 |  | Transmission Replacements | 22
TS | EHV | Network | CBAB | EX - SMTS NO.2 220KV LINE CB AT TTS | 1978-05-04 | 32.8853 |  |  | TTS |  | 220 |  | Transmission Replacements | 23
TS | EHV | Network | CBAB | EX - TTS NO.1 LINE/WMTS NO.1 LINE 220KV CB AT KTS | 1977-07-01 | 32.8994 |  |  | KTS |  | 220 |  | Transmission Replacements | 24
TS | EHV | Network | CBAB | EX - B4 TRANS/GTS NO.3 220KV LINE CB AT KTS | 1976-09-27 | 33.3597 |  |  | KTS |  | 220 |  | Transmission Replacements | 25
TS | EHV | Network | CBAB | EX - MSS NO.1 LINE NO.2 BUS CB AT DDTS | 1966-04-19 | 33.4252 |  |  | DDTS |  | 330 |  | Transmission Replacements | 26
TS | EHV | Network | CBAB | EX - GTS NO.3 220KV LINE NO.3 BUS CB AT KTS | 1976-09-10 | 33.5185 |  |  | KTS |  | 220 |  | Transmission Replacements | 27
TS | EHV | Network | CBBO | EX - BETS 220KV LINE NO.1 BUS CB AT BATS (RESIDENT NOISE NOTIFICATION REQ) | 1973-03-24 | 33.743 |  |  | BATS |  | 220 |  | Transmission Replacements | 28
TS | EHV | Network | CBBO | EX - MLTS NO.1 220KV LINE NO.1 BUS CB AT BATS (RESIDENT NOISE NOTIFICATION REQ) | 1973-03-03 | 34.1208 |  |  | BATS |  | 220 |  | Transmission Replacements | 29
TS | EHV | Network | CBBO | EX - NO.8 GEN TRANS 220KV CB AT HWPS | 1970-10-11 | 34.1865 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 30
TS | EHV | Network | CBLT | KTS NO2 LINE 220KV CB | 1985-06-30 | 34.3765 |  | TS-WMTS-CCTBKR-9000105686 | WMTS |  | 220 | Condition | Transmission Replacements | 31
TS | HV | Network | CBMO | EX - WN NO.1 66KV FDR CB AT GNTS | 1974-06-12 | 34.3892 |  |  | GNTS |  | 66 |  | Transmission Replacements | 32
TS | HV | Network | CMBO | EX - NO.1 REACTOR CB AT HOTS | 1972-09-15 | 34.4768 |  |  | HOTS |  | 66 |  | Transmission Replacements | 33
TS | HV | Network | CMBO | EX - NO.2 REACTOR CB AT HOTS | 1972-09-14 | 34.4796 |  |  | HOTS |  | 66 |  | Transmission Replacements | 34
TS | HV | Network | CMBO | EX - NO.2 TRANS 66KV CB AT HOTS | 1972-04-15 | 34.8957 |  |  | HOTS |  | 66 |  | Transmission Replacements | 35
TS | EHV | Network | CBBO | EX - NO.2 TRANS 220KV CB AT HOTS | 1972-04-15 | 34.9114 |  |  | HOTS |  | 220 |  | Transmission Replacements | 36
TS | HV | Network | CBBO | EX - MLN 66KV FDR CB AT KTS | 1973-04-02 | 35.5829 |  |  | KTS |  | 66 |  | Transmission Replacements | 37
TS | EHV | Network | CBBO | EX - NO.1 TRANS 220KV CB AT BATS (RESIDENT NOISE NOTIFICATION REQ) | 1970-11-25 | 35.9545 |  |  | BATS |  | 220 |  | Transmission Replacements | 38
TS | EHV | Network | CBBO | EX - HWPS NO.2 220KV LINE NO.1 BUS CB AT ROTS | 1971-03-09 | 36.1823 |  |  | ROTS |  | 220 |  | Transmission Replacements | 39
TS | HV | Network | CBBO | EX - BAS NO.2 66KV FDR CB AT BATS | 1970-10-27 | 36.4725 |  |  | BATS |  | 66 |  | Transmission Replacements | 40
TS | EHV | Network | CBBO | EX - NO.5 GEN TRANS 220KV CB AT HWPS | 1968-05-22 | 36.5739 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 41
TS | EHV | Network | CBMO | EX - 3-4 220KV BUS TIE CB AT ERTS | 1970-12-15 | 36.9875 |  |  | ERTS |  | 220 |  | Transmission Replacements | 42
TS | EHV | Network | CBBO | EX - BETS LINE NO.2 BUS CB AT KGTS | 1967-10-26 | 37.0033 |  |  | KGTS |  | 220 |  | Transmission Replacements | 43
TS | EHV | Network | CBMO | EX - GTS NO.2 220KV LINE NO.3 BUS CB AT KTS | 1972-12-06 | 37.0139 |  |  | KTS |  | 220 |  | Transmission Replacements | 44
TS | HV | Network | CBMO | EX - WPD 66KV FDR CB AT GTS | 1972-02-25 | 37.1049 |  |  | GTS |  | 66 |  | Transmission Replacements | 45
TS | HV | Network | CBMO | EX - SHL NO.1 66KV FDR CB AT KGTS | 1966-11-06 | 37.2415 |  |  | KGTS |  | 66 |  | Transmission Replacements | 46
TS | EHV | Network | CBBO | EX - KTS NO.1 220KV LINE CB AT GTS | 1971-12-05 | 37.2876 |  |  | GTS |  | 220 |  | Transmission Replacements | 47
TS | EHV | Network | CBBO | EX - B1 TRANS NO.2 BUS 220KV CB AT GTS | 1971-12-16 | 37.2905 |  |  | GTS |  | 220 |  | Transmission Replacements | 48
TS | EHV | Network | CBBO | EX - NO.1 TRANS 220KV CB AT HOTS | 1969-11-25 | 37.2988 |  |  | HOTS |  | 220 |  | Transmission Replacements | 49
TS | EHV | Network | CBBO | EX - 1-2 220KV BUS TIE CB AT BTS | 1969-04-02 | 37.321 |  |  | BTS |  | 220 |  | Transmission Replacements | 50
TS | HV | Network | CBBO | EX - NO.4 TRANS 66KV CB AT ERTS | 1971-12-15 | 37.3699 |  |  | ERTS |  | 66 |  | Transmission Replacements | 51
TS | HV | Network | CBBO | EX - CDN 66KV FDR CB AT TGTS | 1969-07-10 | 37.7097 |  |  | TGTS |  | 66 |  | Transmission Replacements | 52
TS | HV | Network | CBMO | EX - NO.1 TRANS 66KV CB AT KGTS | 1966-11-08 | 37.9672 |  |  | KGTS |  | 66 |  | Transmission Replacements | 53
TS | EHV | Network | CBMO | EX - NO.1 TRANS 220KV CB AT KGTS | 1966-09-10 | 38.0797 |  |  | KGTS |  | 220 |  | Transmission Replacements | 54
TS | EHV | Network | CBMO | EX - NO.2 TRANS 220KV CB AT KGTS | 1966-09-23 | 38.093 |  |  | KGTS |  | 220 |  | Transmission Replacements | 55
TS | EHV | Network | CBBO | EX - MLTS NO.2 220KV LINE CB AT BATS (RESIDENT NOISE NOTIFICATION REQ) | 1969-03-07 | 38.1099 |  |  | BATS |  | 220 |  | Transmission Replacements | 56
TS | HV | Network | CBBO | EX - NO.1 TRANS 66KV CB AT ERTS | 1970-12-15 | 38.3692 |  |  | ERTS |  | 66 |  | Transmission Replacements | 57
TS | HV | Network | CBBO | EX - NO.3 TRANS 66KV CB AT ERTS | 1970-12-15 | 38.3692 |  |  | ERTS |  | 66 |  | Transmission Replacements | 58
TS | HV | Network | CBBO | EX - 3-4 66KV BUS TIE CB AT KTS | 1971-03-30 | 38.6598 |  |  | KTS |  | 66 |  | Transmission Replacements | 59
TS | EHV | Network | CBAB | EX - SYTS LINE/A4 TRANS 500KV CB AT KTS | 1971-10-22 | 38.8815 |  |  | KTS |  | 500 |  | Transmission Replacements | 60
TS | EHV | Network | CBMO | EX - NO.1 TRANS GROUP 220KV CB AT TGTS | 1968-03-30 | 38.9804 |  |  | TGTS |  | 220 |  | Transmission Replacements | 61
TS | EHV | Network | CBMO | EX - 1-2 220KV BUS TIE CB AT TGTS | 1968-03-26 | 38.9994 |  |  | TGTS |  | 220 |  | Transmission Replacements | 62
TS | EHV | Network | CBAB | EX - A3 TRANS 220KV CB AT KTS | 1970-03-31 | 39.1253 |  |  | KTS |  | 220 |  | Transmission Replacements | 63
TS | EHV | Network | CBAB | EX - BLTS 220KV LINE NO.2 BUS CB AT KTS | 1971-04-16 | 39.2841 |  |  | KTS |  | 220 |  | Transmission Replacements | 64
TS | HV | Network | CBMO | 2-4 66KV B/T CB | 1980-06-30 | 39.6167 |  | TS-RWTS-CCTBKR-9000102967 | RWTS |  | 66 | Condition | Transmission Replacements | 65
TS | HV | Network | CBMO | B3 TR 66KV CB | 1980-06-30 | 39.6167 |  | TS-RWTS-CCTBKR-9000103451 | RWTS |  | 66 | Condition | Transmission Replacements | 66
TS | HV | Network | CBBO | EX - NO.1 TRANS 66KV CB AT BATS | 1969-07-23 | 39.6371 |  |  | BATS |  | 66 |  | Transmission Replacements | 67
TS | EHV | Network | CBAB | EX - SMTS LINE/A2 TRANS 500KV CB AT KTS | 1970-07-30 | 39.7251 |  |  | KTS |  | 500 |  | Transmission Replacements | 68
TS | EHV | Network | CBMO | EX - TTS NO.2 220KV LINE NO.2 BUS CB AT KTS | 1971-03-28 | 39.733 |  |  | KTS |  | 220 |  | Transmission Replacements | 69
TS | EHV | Network | CBBO | EX - RTS NO.1 220KV LINE NO.1 BUS CB AT ROTS | 1967-04-06 | 40.1057 |  |  | ROTS |  | 220 |  | Transmission Replacements | 70
TS | HV | Network | CBBO | EX - 1-4 EXTN 66KV BUS TIE CB AT KTS | 1971-04-02 | 40.6396 |  |  | KTS |  | 66 |  | Transmission Replacements | 71
TS | EHV | Network | CBMO | W3 GEN TR 2 BUS 220KV CB | 1977-06-30 | 40.9172 |  | TS-YPSX-CCTBKR-9000105653 | YPS |  | 220 | Condition | Transmission Replacements | 72
TS | EHV | Network | CBAB | EX - A4 TRANS/B2 TRANS 220KV CB AT KTS | 1969-10-31 | 40.957 |  |  | KTS |  | 220 |  | Transmission Replacements | 73
TS | EHV | Network | CBAB | EX - DDTS NO.1 330KV LINE NO.1 BUS CB AT SMTS | 1968-08-07 | 41.0393 |  |  | SMTS |  | 330 |  | Transmission Replacements | 74
TS | EHV | Network | CBAB | EX - DDTS NO.1 330KV LINE NO.2 BUS CB AT SMTS | 1968-08-07 | 41.0393 |  |  | SMTS |  | 330 |  | Transmission Replacements | 75
TS | EHV | Network | CBAB | EX - DDTS NO.2 330KV LINE NO.1 BUS CB AT SMTS | 1968-08-07 | 41.0393 |  |  | SMTS |  | 330 |  | Transmission Replacements | 76
TS | EHV | Network | CBAB | EX - A4 TRANS NO.3 BUS 220KV CB AT KTS | 1969-10-31 | 41.1377 |  |  | KTS |  | 220 |  | Transmission Replacements | 77
TS | EHV | Network | CBBO | EX - YPS NO.5 220KV LINE NO.1 BUS CB AT ROTS | 1966-03-03 | 41.1981 |  |  | ROTS |  | 220 |  | Transmission Replacements | 78
TS | EHV | Network | CBBO | EX - FVTS/BETS LINE NO.2 BUS CB AT SHTS | 1965-05-11 | 41.2884 |  |  | SHTS |  | 220 | Condition | Transmission Replacements | 79
TS | HV | Network | CBBO | EX - NO.1 11/66KV TRANS 66KV CB AT MWTS | 1963-07-01 | 41.398 |  |  | MWTS |  | 66 |  | Transmission Replacements | 80
TS | EHV | Network | CBMO | EX - 4-5 220KV BUS TIE CB AT BLTS | 1971-06-30 | 41.6635 |  |  | BLTS |  | 220 |  | Transmission Replacements | 81
TS | EHV | Network | CBMO | EX - 1B-3 220KV BUS TIE CB AT BLTS | 1971-06-30 | 41.6686 |  |  | BLTS |  | 220 |  | Transmission Replacements | 82
TS | EHV | Network | CBMO | EX - 1A-2A 220KV BUS TIE CB AT BLTS | 1971-06-30 | 41.6686 |  |  | BLTS |  | 220 |  | Transmission Replacements | 83
TS | EHV | Network | CBBO | EX - MTS NO.3 220KV LINE CB AT ROTS | 1965-09-12 | 41.669 |  |  | ROTS |  | 220 |  | Transmission Replacements | 84
TS | EHV | Network | CBMO | EX - NO.2 TRANS 220KV CB AT TGTS | 1965-12-09 | 41.7917 |  |  | TGTS |  | 220 |  | Transmission Replacements | 85
TS | EHV | Network | CBBO | EX - FVTS/BETS LINE NO.1 BUS CB AT SHTS | 1965-05-04 | 42.2003 |  |  | SHTS |  | 220 | Condition | Transmission Replacements | 86
TS | EHV | Network | CBMO | 2-5 220KV B/T CB | 1977-06-30 | 42.6174 |  | TS-HWPS-CCTBKR-9000101831 | HWPS |  | 220 | Condition | Transmission Replacements | 87
TS | EHV | Network | CBMO | 4-6 220KV B/T CB | 1977-06-30 | 42.6174 |  | TS-HWPS-CCTBKR-9000105135 | HWPS |  | 220 | Condition | Transmission Replacements | 88
TS | EHV | Network | CBMO | AUX C TR 1 BUS 220KV CB | 1977-06-30 | 42.6174 |  | TS-YPSX-CCTBKR-9000101505 | YPS |  | 220 | Condition | Transmission Replacements | 89
TS | EHV | Network | CBMO | ROTS 5 220KV L 1 BUS CB | 1977-06-30 | 42.6174 |  | TS-YPSX-CCTBKR-9000101507 | YPS |  | 220 | Condition | Transmission Replacements | 90
TS | EHV | Network | CBMO | ROTS 7 220KV L 2 BUS CB | 1977-06-30 | 42.6174 |  | TS-YPSX-CCTBKR-9000104830 | YPS |  | 220 | Condition | Transmission Replacements | 91
TS | EHV | Network | CBMO | ROTS 8 220KV L 1 BUS CB | 1977-06-30 | 42.6174 |  | TS-YPSX-CCTBKR-9000100050 | YPS |  | 220 | Condition | Transmission Replacements | 92
TS | EHV | Network | CBBO | EX - DDTS NO.1 220KV LINE CB AT MBTS | 1964-11-11 | 42.6268 |  |  | MBTS |  | 220 |  | Transmission Replacements | 93
TS | EHV | Network | CBBO | EX - NO.1 GEN TRANS 220KV CB AT EPSY | 1961-10-27 | 43.0737 |  |  | EPSY |  | 220 |  | Transmission Replacements | 94
TS | HV | Network | CBBO | EX - OR 66KV FDR CB AT MTS | 1964-09-21 | 43.076 |  |  | MTS |  | 66 |  | Transmission Replacements | 95
TS | EHV | Network | CBBO | EX - EPS NO.2 220KV LINE CB AT MBTS | 1964-01-13 | 43.4564 |  |  | MBTS |  | 220 |  | Transmission Replacements | 96
TS | EHV | Network | CBBO | EX - B1 TRANS NO.2 BUS 220KV CB AT MBTS | 1965-03-09 | 43.4891 |  |  | MBTS |  | 220 |  | Transmission Replacements | 97
TS | HV | Network | CBBO | EX - EM 66KV FDR CB AT MTS | 1963-12-10 | 44.141 |  |  | MTS |  | 66 |  | Transmission Replacements | 98
TS | EHV | Network | CBBO | EX - NO.4 GEN TRANS NO.2 BUS 220KV CB AT HWPS | 1968-06-30 | 44.3406 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 99
TS | EHV | Network | CBAB | EX - BLTS 220KV LINE NO.1 BUS CB AT KTS | 1966-02-06 | 44.4366 |  |  | KTS |  | 220 |  | Transmission Replacements | 100
TS | EHV | Network | CBMO | EX - MBTS NO.1 220KV LINE CB AT EPSY | 1960-08-18 | 44.5192 |  |  | EPSY |  | 220 |  | Transmission Replacements | 101
TS | EHV | Network | CBBO | EX - HWTS NO.3 220KV LINE NO.3 BUS CB AT HWPS | 1970-04-01 | 44.7183 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 102
TS | EHV | Network | CBBO | EX - RWTS 220KV LINE NO.1 BUS CB AT TTS | 1966-06-30 | 44.902 |  |  | TTS |  | 220 |  | Transmission Replacements | 103
TS | HV | Network | CBMO | EX - CW 66KV FDR CB AT RTS | 1966-06-30 | 44.9381 |  |  | RTS |  | 66 | Condition | Transmission Replacements | 104
TS | EHV | Network | CBBO | EX - B1 TRANS 220KV CB AT TTS | 1966-06-30 | 45.0556 |  |  | TTS |  | 220 |  | Transmission Replacements | 105
TS | EHV | Network | CBBO | EX - TSTS 220KV LINE NO.1 BUS CB AT TTS | 1966-06-30 | 45.0558 |  |  | TTS |  | 220 |  | Transmission Replacements | 106
TS | EHV | Network | CBBO | EX - TSTS 220KV LINE NO.3 BUS CB AT TTS | 1966-06-30 | 45.0558 |  |  | TTS |  | 220 |  | Transmission Replacements | 107
TS | HV | Network | CBBO | EX - B1 TRANS 66KV CB AT MWTS | 1968-06-30 | 45.2446 |  |  | MWTS |  | 66 |  | Transmission Replacements | 108
TS | EHV | Network | CBAB | EX - KTS NO.1 220KV LINE NO.1 BUS CB AT TTS | 1966-02-24 | 45.4008 |  |  | TTS |  | 220 |  | Transmission Replacements | 109
TS | EHV | Network | CBAB | EX - KTS NO.2 220KV LINE CB AT TTS | 1966-02-20 | 45.4118 |  |  | TTS |  | 220 |  | Transmission Replacements | 110
TS | EHV | Network | CBBO | EX - B5 TRANS NO.2 BUS 220KV CB AT TTS | 1966-06-30 | 45.4604 |  |  | TTS |  | 220 |  | Transmission Replacements | 111
TS | HV | Network | CBBO | EX - NO.3A TRANS 66KV CB AT BLTS | 1968-06-30 | 45.7341 |  |  | BLTS |  | 66 |  | Transmission Replacements | 112
TS | HV | Network | CBMO | EX - TK 66KV FDR CB AT RTS | 1965-06-30 | 45.9374 |  |  | RTS |  | 66 | Condition | Transmission Replacements | 113
TS | HV | Network | CBBO | EX - NB 66KV FDR CB AT HTS | 1966-06-30 | 45.9778 |  |  | HTS |  | 66 |  | Transmission Replacements | 114
TS | HV | Network | CBBO | EX - MR 66KV FDR CB AT HTS | 1966-06-26 | 45.9887 |  |  | HTS |  | 66 |  | Transmission Replacements | 115
TS | EHV | Network | CBBO | EX - NO.3 GEN TRANS NO.2 BUS 220KV CB AT HWPS | 1966-08-06 | 46.2406 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 116
TS | EHV | Network | CBBO | EX - HWTS NO.1 220KV LINE CB AT HWPS | 1966-06-30 | 46.3399 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 117
TS | HV | Network | CBBO | EX - 1-2 66KV BUS TIE CB AT GNTS | 1968-06-30 | 46.4271 |  |  | GNTS |  | 66 |  | Transmission Replacements | 118
TS | EHV | Network | CBAB | EX - 2-3 220KV BUS TIE CB AT TTS | 1965-02-06 | 46.6794 |  |  | TTS |  | 220 |  | Transmission Replacements | 119
TS | HV | Network | CBBO | EX - B2 TRANS 66KV CB AT TTS | 1967-10-19 | 46.7799 |  |  | TTS |  | 66 |  | Transmission Replacements | 120
TS | HV | Network | CBBO | EX - 1-4 66KV BUS TIE CB AT MWTS | 1966-06-30 | 47.246 |  |  | MWTS |  | 66 |  | Transmission Replacements | 121
TS | HV | Network | CBBO | EX - B3 TRANS 66KV CB AT MWTS | 1966-06-30 | 47.2461 |  |  | MWTS |  | 66 |  | Transmission Replacements | 122
TS | EHV | Network | CBBO | EX - ROTS NO.1 220KV LINE CB AT HWPS | 1965-06-30 | 47.3392 |  |  | HWPS |  | 220 | Condition | Transmission Replacements | 123
TS | EHV | Network | CBBO | EX - RWTS LINE/YPS NO.7 LINE 220KV CB AT ROTS | 1966-06-30 | 47.5498 |  |  | ROTS |  | 220 | Condition | Transmission Replacements | 124
TS | HV | Network | CBBO | EX - 3-4 66KV BUS TIE CB AT GTS | 1966-06-30 | 47.5631 |  |  | GTS |  | 66 |  | Transmission Replacements | 125
TS | HV | Network | CBBO | HPK 66KV FDR CB | 1972-06-30 | 47.6167 |  | TS-ERTS-CCTBKR-9000102957 | ERTS |  | 66 |  | Transmission Replacements | 126
TS | EHV | Network | CBBO | EX - DDTS NO.1 220KV LINE NO.1 BUS CB AT GNTS | 1966-06-30 | 47.9248 |  |  | GNTS |  | 220 |  | Transmission Replacements | 127
TS | EHV | Network | CBMO | EX - 1-2 220KV BUS TIE CB AT EPSY | 1957-02-24 | 48.0041 |  |  | EPSY |  | 220 |  | Transmission Replacements | 128
TS | EHV | Network | CBBO | EX - B4 TRANS 220KV CB AT RWTS | 1966-06-30 | 48.089 |  |  | RWTS |  | 220 | Condition | Transmission Replacements | 129
TS | HV | Network | CBBO | EX - NO.2 220/66KV TRANS BANK NO.1 BUS 66KV CB AT MTS | 1959-11-07 | 48.2314 |  |  | MTS |  | 66 |  | Transmission Replacements | 130
TS | HV | Network | CBBO | EX - NO.2 220/66KV TRANS BANK NO.3 BUS 66KV CB AT MTS | 1959-11-07 | 48.2314 |  |  | MTS |  | 66 |  | Transmission Replacements | 131
TS | EHV | Network | CBBO | EX - DDTS NO.3 220KV LINE NO.1 BUS CB AT GNTS | 1966-06-30 | 48.4285 |  |  | GNTS |  | 220 |  | Transmission Replacements | 132
TS | EHV | Network | CBBO | EX - B2 TRANS 220KV CB AT GNTS | 1966-06-30 | 48.4285 |  |  | GNTS |  | 220 |  | Transmission Replacements | 133
TS | HV | Network | CBMO | EX - U1 TRANS-PAR 66KV CB AT BLTS | 1965-05-20 | 48.8471 |  |  | BLTS |  | 66 |  | Transmission Replacements | 134
TS | HV | Network | CBBO | FGY 66KV FDR CB | 1971-02-25 | 48.961 |  | TS-ERTS-CCTBKR-9000100799 | ERTS |  | 66 |  | Transmission Replacements | 135
TS | HV | Network | CBBO | BGE 66KV FDR CB | 1971-02-10 | 49.0021 |  | TS-ERTS-CCTBKR-9000102956 | ERTS |  | 66 |  | Transmission Replacements | 136
TS | HV | Network | CBBO | FT 1 66KV FDR CB | 1970-11-16 | 49.2375 |  | TS-WMTS-CCTBKR-9000100091 | WMTS |  | 66 | Condition | Transmission Replacements | 137
TS | HV | Network | CBBO | EX - B2 TRANS 66KV CB AT GTS | 1964-09-29 | 49.3128 |  |  | GTS |  | 66 |  | Transmission Replacements | 138
TS | EHV | Network | CBBO | HWTS 4 220KV L 4 BUS CB | 1970-09-01 | 49.4456 |  | TS-HWPS-CCTBKR-9000105132 | HWPS |  | 220 | Condition | Transmission Replacements | 139
TS | EHV | Network | CBBO | HWTS 2 220KV L 1 BUS CB | 1970-05-18 | 49.5305 |  | TS-HWPS-CCTBKR-9000104343 | HWPS |  | 220 | Condition | Transmission Replacements | 140
TS | EHV | Network | CBBO | JLTS 4 220KV L 3 BUS CB | 1969-11-13 | 50.245 |  | TS-HWPS-CCTBKR-9000102321 | HWPS |  | 220 | Condition | Transmission Replacements | 141
TS | HV | Network | CBBO | FE 1 66KV FDR CB | 1969-10-10 | 50.3381 |  | TS-WMTS-CCTBKR-9000100092 | WMTS |  | 66 | Condition | Transmission Replacements | 142
TS | HV | Network | CBBO | SUB HT 66KV FDR CB | 1968-06-30 | 50.5435 |  | TS-HTSX-CCTBKR-9000105970 | HTS |  | 66 | Condition | Transmission Replacements | 143
TS | HV | Network | CBBO | B2 TR 66KV CB | 1968-06-30 | 50.8939 |  | TS-RWTS-CCTBKR-9000100296 | RWTS |  | 66 | Condition | Transmission Replacements | 144
TS | EHV | Network | CBBO | EX - H3 TRANS NO.1 BUS 220KV CB AT DDTS | 1961-06-30 | 50.8976 |  |  | DDTS |  | 220 |  | Transmission Replacements | 145
TS | EHV | Network | CBBO | EX - H3 TRANS NO.2 BUS 220KV CB AT DDTS | 1961-06-30 | 50.8976 |  |  | DDTS |  | 220 |  | Transmission Replacements | 146
TS | HV | Network | CBBO | 3-4 66KV B/T CB | 1968-05-23 | 50.9979 |  | TS-RWTS-CCTBKR-9000103452 | RWTS |  | 66 | Condition | Transmission Replacements | 147
TS | HV | Network | CBBO | B4 TR 66KV CB | 1968-04-26 | 51.0719 |  | TS-RWTS-CCTBKR-9000102968 | RWTS |  | 66 | Condition | Transmission Replacements | 148
TS | HV | Network | CBBO | B2 TR 66KV CB | 1968-06-30 | 51.6167 |  | TS-GNTS-CCTBKR-9000104381 | GNTS |  | 66 |  | Transmission Replacements | 149
TS | EHV | Network | CBMO | 1-2 220KV B/T CB | 1968-03-20 | 51.6331 |  | TS-WMTS-CCTBKR-9000101544 | WMTS |  | 220 | Condition | Transmission Replacements | 150
TS | HV | Network | CBBO | EX - NO.3 220/66KV TRANS BANK 66KV CB AT MTS | 1956-02-04 | 51.7057 |  |  | MTS |  | 66 |  | Transmission Replacements | 151
TS | HV | Network | CBBO | SUB BR 66KV FDR CB | 1967-06-30 | 51.8248 |  | TS-HTSX-CCTBKR-9000100680 | HTS |  | 66 | Condition | Transmission Replacements | 152
TS | HV | Network | CBBO | 3-4 66KV B/T CB | 1967-03-19 | 52.1807 |  | TS-TTSX-CCTBKR-9000103368 | TTS |  | 66 |  | Transmission Replacements | 153
TS | EHV | Network | CBBO | YPS 1 220KV L CB | 1966-06-30 | 52.5448 |  | TS-HWPS-CCTBKR-9000105262 | HWPS |  | 220 | Condition | Transmission Replacements | 154
TS | HV | Network | CBBO | MFA 66KV FDR 2 BUS 66KV CB | 1966-06-30 | 52.5448 |  | TS-MWTS-CCTBKR-9000100443 | MWTS |  | 66 |  | Transmission Replacements | 155
TS | HV | Network | CBBO | 2-3 66KV B/T CB | 1966-05-12 | 52.679 |  | TS-HTSX-CCTBKR-9000105138 | HTS |  | 66 | Condition | Transmission Replacements | 156
TS | HV | Network | CBBO | MFA 66KV FDR 1 BUS 66KV CB | 1966-06-30 | 52.8925 |  | TS-MWTS-CCTBKR-9000103532 | MWTS |  | 66 |  | Transmission Replacements | 157
TS | HV | Network | CBBO | MWW/MWN 2 66KV FDR CB | 1966-06-30 | 52.8925 |  | TS-MWTS-CCTBKR-9000101266 | MWTS |  | 66 |  | Transmission Replacements | 158
TS | HV | Network | CBBO | 1-3 66KV B/T CB | 1966-06-30 | 52.8953 |  | TS-RWTS-CCTBKR-9000102972 | RWTS |  | 66 | Condition | Transmission Replacements | 159
TS | HV | Network | CBBO | 1-2 66KV B/T CB | 1966-06-30 | 52.898 |  | TS-TTSX-CCTBKR-9000104107 | TTS |  | 66 |  | Transmission Replacements | 160
TS | HV | Network | CBBO | SUB M 1 66KV FDR CB | 1966-11-09 | 52.9117 |  | TS-HTSX-CCTBKR-9000100681 | HTS |  | 66 | Condition | Transmission Replacements | 161
TS | HV | Network | CBBO | SUB SR 66KV FDR CB | 1966-06-30 | 52.9172 |  | TS-HTSX-CCTBKR-9000100682 | HTS |  | 66 | Condition | Transmission Replacements | 162
TS | HV | Network | CBBO | B3 TR 66KV CB | 1966-05-12 | 52.9582 |  | TS-HTSX-CCTBKR-9000100679 | HTS |  | 66 | Condition | Transmission Replacements | 163
TS | EHV | Network | CBBO | ROTS 2 220KV L 5 BUS CB | 1966-11-30 | 53.1992 |  | TS-HWPS-CCTBKR-9000105965 | HWPS |  | 220 | Condition | Transmission Replacements | 164
TS | EHV | Network | CBBO | YPS 2 220KV L 4 BUS CB | 1966-06-30 | 53.2731 |  | TS-HWPS-CCTBKR-9000101978 | HWPS |  | 220 | Condition | Transmission Replacements | 165
TS | EHV | Network | CBBO | 5-6 220KV B/T CB | 1966-06-30 | 53.6181 |  | TS-HWPS-CCTBKR-9000105136 | HWPS |  | 220 | Condition | Transmission Replacements | 166
TS | EHV | Network | CBBO | JLTS 2 220KV L CB | 1966-06-30 | 53.6181 |  | TS-HWPS-CCTBKR-9000105367 | HWPS |  | 220 | Condition | Transmission Replacements | 167
TS | EHV | Network | CBBO | JLTS 3 L/AUX TR 'C' 220KV CB | 1966-06-30 | 53.6181 |  | TS-HWPS-CCTBKR-9000101829 | HWPS |  | 220 | Condition | Transmission Replacements | 168
TS | EHV | Network | CBBO | JLTS 4 220KV L 4 BUS CB | 1966-06-30 | 53.6181 |  | TS-HWPS-CCTBKR-9000105133 | HWPS |  | 220 | Condition | Transmission Replacements | 169
TS | EHV | Network | CBBO | YPS 2 220KV L 6 BUS CB | 1966-06-30 | 53.6181 |  | TS-HWPS-CCTBKR-9000100956 | HWPS |  | 220 | Condition | Transmission Replacements | 170
TS | HV | Network | CBBO | BWR 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-RWTS-CCTBKR-9000102966 | RWTS |  | 66 | Condition | Transmission Replacements | 171
TS | HV | Network | CBBO | CPK 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-RWTS-CCTBKR-9000102255 | RWTS |  | 66 | Condition | Transmission Replacements | 172
TS | HV | Network | CBBO | KYM 1 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-SHTS-CCTBKR-9000104931 | SHTS |  | 66 | Condition | Transmission Replacements | 173
TS | HV | Network | CBBO | KYM 2 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-SHTS-CCTBKR-9000100273 | SHTS |  | 66 | Condition | Transmission Replacements | 174
TS | HV | Network | CBBO | NKA 1/CNA 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-SHTS-CCTBKR-9000101630 | SHTS |  | 66 | Condition | Transmission Replacements | 175
TS | HV | Network | CBBO | NKA 2 66KV FDR CB | 1966-06-30 | 53.6181 |  | TS-SHTS-CCTBKR-9000104151 | SHTS |  | 66 | Condition | Transmission Replacements | 176
TS | HV | Network | CBBO | 1-2 66KV B/T CB | 1966-02-24 | 53.64 |  | TS-RTSX-CCTBKR-9000104188 | RTS |  | 66 |  | Transmission Replacements | 177
TS | HV | Network | CBBO | B2 TR 66KV CB | 1965-06-30 | 53.8973 |  | TS-RTSX-CCTBKR-9000101667 | RTS |  | 66 | Condition | Transmission Replacements | 178
TS | HV | Network | CBBO | B3 TR 66KV CB | 1964-08-22 | 54.3984 |  | TS-WMTS-CCTBKR-9000100097 | WMTS |  | 66 | Condition | Transmission Replacements | 179
TS | HV | Network | CBBO | B2 TR 66KV CB | 1964-05-06 | 54.694 |  | TS-HTSX-CCTBKR-9000100678 | HTS |  | 66 | Condition | Transmission Replacements | 180
TS | HV | Network | CBBO | B1 TR 66KV CB | 1964-05-26 | 54.9185 |  | TS-HTSX-CCTBKR-9000103666 | HTS |  | 66 | Condition | Transmission Replacements | 181
TS | HV | Network | CBBO | 1-2 66KV B/T CB | 1964-05-06 | 54.9733 |  | TS-HTSX-CCTBKR-9000105971 | HTS |  | 66 | Condition | Transmission Replacements | 182
TS | HV | Network | CBBO | B2 TR 66KV CB | 1964-05-01 | 55.551 |  | TS-WMTS-CCTBKR-9000103351 | WMTS |  | 66 | Condition | Transmission Replacements | 183

## TS CB Major Failures
Network | Voltage Class | Specific Duty | Technology | Floc Desc | Installed | Age at Replacement (years) | changedate - Year | FLOC | Station | Manufacturer | Voltage | 'Append1'[Reason] | WeibullSet | SubIndex
TS | HV | Transf./Line/Bus Tie |  | 3-4 B/T 66kV CB | 2016-07-23 | 2.9268 |  |  |  |  | 66 | Failure | Transmission Failures | 0
TS | EHV | Transf./Line/Bus Tie |  | SYTS L/A4 TR 500KV CB | 2010-08-14 | 7.2389 |  |  |  |  | 500 | Failure | Transmission Failures | 1
TS | HV | Transf./Line/Bus Tie |  | LVN 66KV FDR CB | 2007-05-31 | 8.1314 |  |  |  |  | 66 | Failure | Transmission Failures | 2
TS | HV | Network | CBDT | LVN 66KV FDR CB | 2007-05-31 | 11.9206 |  | TS-ATSX-CCTBKR-9000104058 | ATS |  | 66 | Failure | Transmission Failures | 3
TS | EHV | Generator |  | No.2 220kV Gen CB | 2004-12-12 | 14.5188 |  |  |  |  | 220 | Failure | Transmission Failures | 4
TS | EHV | Transf./Line/Bus Tie |  | A3 Trans. 500kV CB | 2001-12-15 | 15.7317 |  |  |  |  | 500 | Failure | Transmission Failures | 5
TS | EHV | Transf./Line/Bus Tie |  | WMTS - FBTS 1 220kV Line CB (SIR 100868686) | 1988-06-01 | 27.6879 |  |  |  |  | 220 | Failure | Transmission Failures | 6
TS | EHV | Transf./Line/Bus Tie |  | A3 Gen Trans Bus1 CB | 1985-10-07 | 31.6468 |  |  |  |  | 500 | Failure | Transmission Failures | 7
TS | EHV | Network | CBBO | EX - A1 TRANS NO.4 BUS CB AT ROTS | 1971-05-10 | 33.7943 |  |  | ROTS |  | 220 | Failure | Transmission Failures | 8
TS | EHV | Network | CBBO | EX - HWPS NO.3 220KV LINE NO.2 BUS CB AT ROTS | 1970-12-15 | 36.1689 |  |  | ROTS |  | 220 | Failure | Transmission Failures | 9
TS | EHV | Transf./Line/Bus Tie |  | No1 220kV CSC No1 Bus CB | 1982-12-12 | 36.2519 |  |  |  |  | 220 | Failure | Transmission Failures | 10
TS | EHV | Transf./Line/Bus Tie |  | F2 Trans No.2 Bus 500kV CB | 1982-11-23 | 36.4572 |  |  |  |  | 500 | Failure | Transmission Failures | 11
TS | EHV | Network | CBBO | EX - YPS NO.8 220KV LINE NO.3 BUS CB AT ROTS | 1966-07-01 | 40.2289 |  |  | ROTS |  | 220 | Failure | Transmission Failures | 12
TS | EHV | Network | CBMO | ROTS 6 220KV L 2 BUS CB | 1977-06-30 | 42.6174 |  | TS-YPSX-CCTBKR-9000101506 | YPS |  | 220 | Failure | Transmission Failures | 13
TS | EHV | Transf./Line/Bus Tie |  | 2-4 220kV Bus Tie CB (SIR 102085554) | 1969-03-25 | 47.6359 |  |  |  |  | 220 | Failure | Transmission Failures | 14

## TS CB Weibull Analysis
| Failures | Replacements | Overall estimate from Power BI
η | 30.67 | 45.88 | 46
β | 1.363 | 6.157 | 5.5
γ
MTTF
σ
Data Points | 15 | 363
w (relative weighting) | 0.039683 | 0.96032
Year | Failures (f(t)) | Replacements (f(t)) | Combined (f(t)) | F x 2w | R x w | R(t)_F | R(t)_F x w | R(t)_R | R(t)_R x w | R(t)_combined | Characteristic Life
0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.039683 | 1 | 0.96032 | 1 | 0.368
1 | 0.012706 | 3.6204e-10 | 0.00050422 | 0.00050422 | 3.4767e-10 | 0.99063 | 0.039311 | 1 | 0.96032 | 0.99963 | 0.368
2 | 0.016102 | 1.2917e-08 | 0.00063896 | 0.00063895 | 1.2405e-08 | 0.97609 | 0.038734 | 1 | 0.96032 | 0.99905 | 0.368
3 | 0.018324 | 1.0454e-07 | 0.00072726 | 0.00072716 | 1.0039e-07 | 0.95881 | 0.038048 | 1 | 0.96032 | 0.99837 | 0.368
4 | 0.019935 | 4.6087e-07 | 0.00079151 | 0.00079107 | 4.4258e-07 | 0.93964 | 0.037287 | 1 | 0.96032 | 0.9976 | 0.368
5 | 0.021144 | 1.4566e-06 | 0.00084043 | 0.00083903 | 1.3988e-06 | 0.91907 | 0.036471 | 1 | 0.96032 | 0.99679 | 0.368
6 | 0.022059 | 3.7297e-06 | 0.00087893 | 0.00087535 | 3.5817e-06 | 0.89745 | 0.035613 | 1 | 0.96031 | 0.99593 | 0.368
7 | 0.022746 | 8.2589e-06 | 0.00091053 | 0.0009026 | 7.9311e-06 | 0.87503 | 0.034723 | 0.99999 | 0.96031 | 0.99503 | 0.368
8 | 0.023247 | 1.6443e-05 | 0.00093831 | 0.00092252 | 1.579e-05 | 0.85202 | 0.03381 | 0.99998 | 0.9603 | 0.99411 | 0.368
9 | 0.023596 | 3.0183e-05 | 0.00096532 | 0.00093634 | 2.8985e-05 | 0.82858 | 0.03288 | 0.99996 | 0.96028 | 0.99316 | 0.368
10 | 0.023814 | 5.1966e-05 | 0.0009949 | 0.000945 | 4.9904e-05 | 0.80487 | 0.031939 | 0.99992 | 0.96024 | 0.99218 | 0.368
11 | 0.023921 | 8.4947e-05 | 0.0010308 | 0.00094924 | 8.1576e-05 | 0.78099 | 0.030992 | 0.99985 | 0.96017 | 0.99116 | 0.368
12 | 0.023932 | 0.00013304 | 0.0010774 | 0.00094968 | 0.00012776 | 0.75706 | 0.030042 | 0.99974 | 0.96007 | 0.99011 | 0.368
13 | 0.02386 | 0.00020099 | 0.0011398 | 0.00094681 | 0.00019301 | 0.73316 | 0.029094 | 0.99958 | 0.95991 | 0.989 | 0.368
14 | 0.023715 | 0.00029447 | 0.0012239 | 0.00094106 | 0.00028279 | 0.70936 | 0.028149 | 0.99933 | 0.95967 | 0.98782 | 0.368
15 | 0.023507 | 0.00042016 | 0.0013363 | 0.00093281 | 0.00040348 | 0.68575 | 0.027212 | 0.99898 | 0.95933 | 0.98655 | 0.368
16 | 0.023243 | 0.00058579 | 0.0014849 | 0.00092236 | 0.00056254 | 0.66237 | 0.026285 | 0.99848 | 0.95885 | 0.98514 | 0.368
17 | 0.022932 | 0.00080023 | 0.0016785 | 0.00091001 | 0.00076848 | 0.63928 | 0.025368 | 0.99779 | 0.95819 | 0.98356 | 0.368
18 | 0.02258 | 0.0010736 | 0.001927 | 0.00089601 | 0.001031 | 0.61652 | 0.024465 | 0.99686 | 0.9573 | 0.98176 | 0.368
19 | 0.022191 | 0.001417 | 0.0022414 | 0.00088059 | 0.0013608 | 0.59413 | 0.023577 | 0.99562 | 0.95611 | 0.97969 | 0.368
20 | 0.021771 | 0.0018431 | 0.0026339 | 0.00086395 | 0.00177 | 0.57215 | 0.022704 | 0.99399 | 0.95455 | 0.97725 | 0.368
21 | 0.021326 | 0.0023654 | 0.0031178 | 0.00084626 | 0.0022715 | 0.5506 | 0.021849 | 0.9919 | 0.95254 | 0.97439 | 0.368
22 | 0.020858 | 0.0029986 | 0.0037073 | 0.0008277 | 0.0028796 | 0.5295 | 0.021012 | 0.98923 | 0.94997 | 0.97098 | 0.368
23 | 0.020372 | 0.0037584 | 0.0044176 | 0.00080841 | 0.0036092 | 0.50889 | 0.020194 | 0.98586 | 0.94674 | 0.96693 | 0.368
24 | 0.019871 | 0.0046609 | 0.0052644 | 0.00078853 | 0.0044759 | 0.48876 | 0.019395 | 0.98166 | 0.94271 | 0.9621 | 0.368
25 | 0.019358 | 0.0057226 | 0.0062637 | 0.00076819 | 0.0054955 | 0.46915 | 0.018617 | 0.97649 | 0.93774 | 0.95635 | 0.368
26 | 0.018837 | 0.0069601 | 0.0074314 | 0.00074748 | 0.0066839 | 0.45005 | 0.017859 | 0.97016 | 0.93166 | 0.94952 | 0.368
27 | 0.018308 | 0.0083888 | 0.0087824 | 0.00072652 | 0.0080559 | 0.43148 | 0.017122 | 0.9625 | 0.92431 | 0.94143 | 0.368
28 | 0.017776 | 0.010023 | 0.01033 | 0.00070539 | 0.0096249 | 0.41344 | 0.016406 | 0.95331 | 0.91548 | 0.93189 | 0.368
29 | 0.017241 | 0.011873 | 0.012086 | 0.00068418 | 0.011402 | 0.39593 | 0.015711 | 0.94238 | 0.90499 | 0.9207 | 0.368
30 | 0.016706 | 0.013948 | 0.014058 | 0.00066296 | 0.013395 | 0.37895 | 0.015038 | 0.92949 | 0.89261 | 0.90765 | 0.368
31 | 0.016173 | 0.01625 | 0.016247 | 0.00064179 | 0.015605 | 0.36251 | 0.014385 | 0.91441 | 0.87813 | 0.89251 | 0.368
32 | 0.015643 | 0.018774 | 0.01865 | 0.00062074 | 0.018029 | 0.34661 | 0.013754 | 0.89692 | 0.86133 | 0.87508 | 0.368
33 | 0.015116 | 0.021509 | 0.021256 | 0.00059986 | 0.020656 | 0.33123 | 0.013144 | 0.87679 | 0.842 | 0.85514 | 0.368
34 | 0.014596 | 0.024432 | 0.024042 | 0.0005792 | 0.023463 | 0.31637 | 0.012554 | 0.85384 | 0.81995 | 0.83251 | 0.368
35 | 0.014082 | 0.027509 | 0.026976 | 0.0005588 | 0.026418 | 0.30203 | 0.011985 | 0.82788 | 0.79502 | 0.80701 | 0.368
36 | 0.013575 | 0.030693 | 0.030013 | 0.0005387 | 0.029475 | 0.28821 | 0.011437 | 0.79878 | 0.76708 | 0.77852 | 0.368
37 | 0.013077 | 0.033921 | 0.033094 | 0.00051892 | 0.032575 | 0.27488 | 0.010908 | 0.76648 | 0.73606 | 0.74697 | 0.368
38 | 0.012588 | 0.037118 | 0.036145 | 0.00049951 | 0.035645 | 0.26205 | 0.010399 | 0.73095 | 0.70194 | 0.71234 | 0.368
39 | 0.012108 | 0.040194 | 0.039079 | 0.00048049 | 0.038599 | 0.2497 | 0.0099088 | 0.69228 | 0.66481 | 0.67472 | 0.368
40 | 0.011639 | 0.043044 | 0.041798 | 0.00046187 | 0.041336 | 0.23783 | 0.0094376 | 0.65064 | 0.62482 | 0.63426 | 0.368
41 | 0.01118 | 0.045559 | 0.044194 | 0.00044367 | 0.043751 | 0.22642 | 0.0089849 | 0.6063 | 0.58224 | 0.59123 | 0.368
42 | 0.010733 | 0.047619 | 0.046156 | 0.00042591 | 0.04573 | 0.21546 | 0.0085501 | 0.55967 | 0.53746 | 0.54601 | 0.368
43 | 0.010297 | 0.049112 | 0.047572 | 0.0004086 | 0.047163 | 0.20495 | 0.0081329 | 0.51125 | 0.49097 | 0.4991 | 0.368
44 | 0.0098722 | 0.049931 | 0.048342 | 0.00039175 | 0.04795 | 0.19487 | 0.0077328 | 0.46167 | 0.44335 | 0.45109 | 0.368
45 | 0.0094594 | 0.049991 | 0.048383 | 0.00037537 | 0.048007 | 0.1852 | 0.0073493 | 0.41165 | 0.39531 | 0.40266 | 0.368
46 | 0.0090586 | 0.049233 | 0.047639 | 0.00035947 | 0.04728 | 0.17594 | 0.0069819 | 0.36196 | 0.3476 | 0.35458 | 0.368
47 | 0.0086697 | 0.047637 | 0.04609 | 0.00034403 | 0.045746 | 0.16708 | 0.0066302 | 0.31346 | 0.30102 | 0.30765 | 0.368
48 | 0.0082928 | 0.045224 | 0.043758 | 0.00032908 | 0.043429 | 0.1586 | 0.0062937 | 0.26696 | 0.25637 | 0.26266 | 0.368
49 | 0.0079279 | 0.042064 | 0.040709 | 0.0003146 | 0.040394 | 0.15049 | 0.0059719 | 0.22326 | 0.2144 | 0.22037 | 0.368
50 | 0.0075749 | 0.038274 | 0.037056 | 0.00030059 | 0.036755 | 0.14274 | 0.0056643 | 0.18305 | 0.17578 | 0.18145 | 0.368
51 | 0.0072338 | 0.034012 | 0.032949 | 0.00028706 | 0.032662 | 0.13534 | 0.0053705 | 0.14687 | 0.14104 | 0.14641 | 0.368
52 | 0.0069045 | 0.029466 | 0.028571 | 0.00027399 | 0.028297 | 0.12827 | 0.00509 | 0.11512 | 0.11055 | 0.11564 | 0.368
53 | 0.0065869 | 0.02484 | 0.024116 | 0.00026138 | 0.023855 | 0.12152 | 0.0048224 | 0.087965 | 0.084475 | 0.089297 | 0.368
54 | 0.0062807 | 0.020336 | 0.019778 | 0.00024923 | 0.019529 | 0.11509 | 0.0045671 | 0.065396 | 0.062801 | 0.067368 | 0.368
55 | 0.0059858 | 0.016132 | 0.015729 | 0.00023753 | 0.015492 | 0.10896 | 0.0043238 | 0.047194 | 0.045321 | 0.049645 | 0.368
56 | 0.0057019 | 0.012372 | 0.012108 | 0.00022627 | 0.011881 | 0.10312 | 0.0040919 | 0.032983 | 0.031674 | 0.035766 | 0.368
57 | 0.005429 | 0.0091515 | 0.0090038 | 0.00021544 | 0.0087884 | 0.097551 | 0.0038711 | 0.022269 | 0.021385 | 0.025256 | 0.368
58 | 0.0051667 | 0.0065117 | 0.0064583 | 0.00020503 | 0.0062533 | 0.092254 | 0.0036609 | 0.014486 | 0.013911 | 0.017572 | 0.368
59 | 0.0049149 | 0.0044449 | 0.0044636 | 0.00019503 | 0.0042686 | 0.087214 | 0.0034609 | 0.0090538 | 0.0086945 | 0.012155 | 0.368
60 | 0.0046732 | 0.0029024 | 0.0029726 | 0.00018544 | 0.0027872 | 0.082421 | 0.0032707 | 0.0054209 | 0.0052058 | 0.0084765 | 0.368
61 | 0.0044414 | 0.0018073 | 0.0019118 | 0.00017625 | 0.0017356 | 0.077865 | 0.0030899 | 0.0030997 | 0.0029767 | 0.0060666 | 0.368
62 | 0.0042193 | 0.0010697 | 0.0011947 | 0.00016743 | 0.0010273 | 0.073535 | 0.0029181 | 0.0016872 | 0.0016202 | 0.0045383 | 0.368
63 | 0.0040065 | 0.00059985 | 0.00073504 | 0.00015899 | 0.00057605 | 0.069423 | 0.0027549 | 0.00087114 | 0.00083657 | 0.0035915 | 0.368
64 | 0.0038029 | 0.00031751 | 0.00045582 | 0.00015091 | 0.00030491 | 0.065519 | 0.0026 | 0.00042514 | 0.00040827 | 0.0030082 | 0.368
65 | 0.0036081 | 0.00015804 | 0.00029495 | 0.00014318 | 0.00015177 | 0.061814 | 0.0024529 | 0.00019536 | 0.00018761 | 0.0026406 | 0.368
66 | 0.0034219 | 7.3687e-05 | 0.00020655 | 0.00013579 | 7.0763e-05 | 0.0583 | 0.0023135 | 8.4188e-05 | 8.0847e-05 | 0.0023943 | 0.368
67 | 0.003244 | 3.2046e-05 | 0.0001595 | 0.00012873 | 3.0775e-05 | 0.054968 | 0.0021813 | 3.3881e-05 | 3.2537e-05 | 0.0022138 | 0.368
68 | 0.0030741 | 1.2943e-05 | 0.00013442 | 0.00012199 | 1.243e-05 | 0.051809 | 0.0020559 | 1.2678e-05 | 1.2175e-05 | 0.0020681 | 0.368
69 | 0.0029119 | 4.8327e-06 | 0.00012019 | 0.00011555 | 4.6409e-06 | 0.048817 | 0.0019372 | 4.3903e-06 | 4.2161e-06 | 0.0019414 | 0.368
70 | 0.0027572 | 1.6601e-06 | 0.00011101 | 0.00010941 | 1.5942e-06 | 0.045983 | 0.0018247 | 1.4002e-06 | 1.3447e-06 | 0.0018261 | 0.368
71 | 0.0026098 | 5.22e-07 | 0.00010406 | 0.00010356 | 5.0128e-07 | 0.0433 | 0.0017183 | 4.0924e-07 | 3.93e-07 | 0.0017187 | 0.368
72 | 0.0024692 | 1.4946e-07 | 9.8129e-05 | 9.7986e-05 | 1.4353e-07 | 0.040761 | 0.0016175 | 1.0902e-07 | 1.0469e-07 | 0.0016176 | 0.368
73 | 0.0023354 | 3.8751e-08 | 9.2712e-05 | 9.2675e-05 | 3.7213e-08 | 0.038359 | 0.0015222 | 2.6325e-08 | 2.5281e-08 | 0.0015222 | 0.368
74 | 0.002208 | 9.046e-09 | 8.7628e-05 | 8.762e-05 | 8.687e-09 | 0.036088 | 0.0014321 | 5.7289e-09 | 5.5016e-09 | 0.0014321 | 0.368
75 | 0.0020868 | 1.8898e-09 | 8.2811e-05 | 8.281e-05 | 1.8148e-09 | 0.033941 | 0.0013469 | 1.1168e-09 | 1.0725e-09 | 0.0013469 | 0.368
76 | 0.0019715 | 3.5111e-10 | 7.8236e-05 | 7.8235e-05 | 3.3718e-10 | 0.031913 | 0.0012664 | 1.9379e-10 | 1.861e-10 | 0.0012664 | 0.368
77 | 0.001862 | 5.7635e-11 | 7.3887e-05 | 7.3887e-05 | 5.5348e-11 | 0.029996 | 0.0011903 | 2.9737e-11 | 2.8557e-11 | 0.0011903 | 0.368
78 | 0.0017579 | 8.3015e-12 | 6.9756e-05 | 6.9756e-05 | 7.9721e-12 | 0.028187 | 0.0011185 | 4.0075e-12 | 3.8485e-12 | 0.0011185 | 0.368
79 | 0.001659 | 1.0418e-12 | 6.5833e-05 | 6.5833e-05 | 1.0004e-12 | 0.026479 | 0.0010508 | 4.7093e-13 | 4.5224e-13 | 0.0010508 | 0.368
80 | 0.0015651 | 1.1306e-13 | 6.2109e-05 | 6.2109e-05 | 1.0857e-13 | 0.024867 | 0.0009868 | 4.7897e-14 | 4.5997e-14 | 0.0009868 | 0.368
81 | 0.0014761 | 1.0529e-14 | 5.8576e-05 | 5.8576e-05 | 1.0111e-14 | 0.023347 | 0.00092647 | 4.1839e-15 | 4.0178e-15 | 0.00092647 | 0.368
82 | 0.0013917 | 8.3472e-16 | 5.5224e-05 | 5.5224e-05 | 8.0159e-16 | 0.021914 | 0.00086958 | 3.1135e-16 | 2.9899e-16 | 0.00086958 | 0.368
83 | 0.0013116 | 5.5862e-17 | 5.2048e-05 | 5.2048e-05 | 5.3646e-17 | 0.020562 | 0.00081596 | 1.9574e-17 | 1.8797e-17 | 0.00081596 | 0.368
84 | 0.0012357 | 3.1286e-18 | 4.9037e-05 | 4.9037e-05 | 3.0045e-18 | 0.019289 | 0.00076543 | 1.0306e-18 | 9.897e-19 | 0.00076543 | 0.368
85 | 0.0011639 | 1.4532e-19 | 4.6186e-05 | 4.6186e-05 | 1.3955e-19 | 0.018089 | 0.00071784 | 4.5035e-20 | 4.3248e-20 | 0.00071784 | 0.368
86 | 0.0010958 | 5.5454e-21 | 4.3486e-05 | 4.3486e-05 | 5.3254e-21 | 0.01696 | 0.00067301 | 1.618e-21 | 1.5538e-21 | 0.00067301 | 0.368
87 | 0.0010315 | 1.7218e-22 | 4.0931e-05 | 4.0931e-05 | 1.6535e-22 | 0.015897 | 0.00063081 | 4.7329e-23 | 4.5451e-23 | 0.00063081 | 0.368
88 | 0.00097055 | 4.3059e-24 | 3.8514e-05 | 3.8514e-05 | 4.135e-24 | 0.014896 | 0.0005911 | 1.1159e-24 | 1.0716e-24 | 0.0005911 | 0.368
89 | 0.00091294 | 8.5829e-26 | 3.6228e-05 | 3.6228e-05 | 8.2424e-26 | 0.013954 | 0.00055374 | 2.0984e-26 | 2.0151e-26 | 0.00055374 | 0.368
90 | 0.00085849 | 1.3489e-27 | 3.4067e-05 | 3.4067e-05 | 1.2954e-27 | 0.013069 | 0.00051861 | 3.1131e-28 | 2.9896e-28 | 0.00051861 | 0.368