## PIP_Project_List_ESS
ID | Project / Program Description | Project / Program Type (Division) | Principle Driver | v3.8a '2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | Priority Ranking | Reg Period $s | Reg Period Cumulative Sum | Percent
ESS_18_S | Poor Performing Feeders | Program - Short Term Need | Reliability | 10873248.1596 | 13054676.942 | 13491945.8408 | 13917619.3244 | 14341949.9974 | 6300 | 65679440.2643 | 65679440.2643 | 3.76%
ESS_19_S | Worst performing feeder segments | Program - Short Term Need | Reliability | 3019587.8023 | 3455649.7788 | 3571397.4285 | 3684075.7035 | 3796398.5287 | 6300 | 17527109.2417 | 83206549.5061 | 4.764%
ESS_3_S | Distribution Growth - Fault Level Constraints | Program - Short Term Need | Network Connection | 7489090.0041 | 8247416.8554 | 8523871.1115 | 8792218.2047 | 9060565.2979 | 6150 | 42113161.4736 | 125319710.9797 | 7.175%
ESS_1024_S | Rectification of low clearance infringements on subtransmission feeders | Program - Short Term Need | Renewal | 2468958.5326 | 2511671.7872 | 3958929.1535 | 4083563.5029 | 4258347.6936 | 6000 | 17281470.6699 | 142601181.6496 | 8.164%
ESS_17_S | Pole Replacement and Reinforcement - Distribution | Program - Short Term Need | Renewal | 41933503.1815 | 45070559.3023 | 49131859.3366 | 53374808.1771 | 57832854.9005 | 5850 | 247343584.8979 | 389944766.5475 | 22.33%
ESS_46_S | Pole Replacement and Reinforcement - Subtransmission | Program - Short Term Need | Renewal | 4213351.5719 | 4530885.8368 | 4941497.4651 | 5370577.502 | 5821477.0337 | 5850 | 24877789.4095 | 414822555.957 | 23.75%
ESS_12_S | Poletop Switchgear replacement | Program - Short Term Need | Renewal | 1585283.5962 | 2418955.0652 | 2499978.336 | 2578853.0471 | 2657479.2367 | 5700 | 11740549.2812 | 426563105.2382 | 24.42%
ESS_4005 | Poletop Refurbishment - Distribution | Major Project - Committed Project | Renewal | 4469272.0301 | 4546590.4362 | 4698992.6124 | 4846925.5166 | 4994858.4208 | 5250 | 23556639.0161 | 450119744.2543 | 25.77%
ESS_26_S | Service Overhead Replacement | Program - Short Term Need | Renewal | 2275017.842 | 4628543.3877 | 5580840.2175 | 5756916.7992 | 5932437.9338 | 5250 | 24173756.1802 | 474293500.4345 | 27.15%
ESS_85_S | Zone Substation Protection Upgrades and Replacements | Program - Short Term Need | Renewal | 1412935.769 | 557069.4108 | 825230.8226 | 1092479.3189 | 416155.4369 | 5100 | 4303870.7583 | 478597371.1928 | 27.4%
ESS_79_S | Zone Substation Indoor Switchboards (Replacement, Refurbishment & Conversion) | Program - Short Term Need | Renewal | 7516894.532 | 6903327.5046 | 7630634.7522 | 6921756.6138 | 5347370.7734 | 4950 | 34319984.1759 | 512917355.3687 | 29.37%
ESS_14_S | Poletop Recloser Replacement / Upgrading | Program - Short Term Need | Renewal | 2848793.2517 | 2936701.0497 | 2764924.5121 | 2851969.406 | 2407173.6058 | 4950 | 13809561.8253 | 526726917.1939 | 30.16%
ESS_16_S | Replacement of Bare OH Conductors | Program - Short Term Need | Renewal | 11520358.964 | 11719661.4142 | 12112505.6629 | 12493829.5524 | 12875153.4419 | 4800 | 60721509.0354 | 587448426.2293 | 33.63%
ESS_78_S | Zone Substation Circuit Breaker replacement | Program - Short Term Need | Renewal | 2875602.562 | 3319391.1001 | 2505378.2212 | 1623834.7555 | 1861162.7496 | 4800 | 12185369.3884 | 599633795.6177 | 34.33%
ESS_32_S | Overhead Substation Refurbishment Program | Program - Short Term Need | Renewal | 5340802.6492 | 5933347.3543 | 6095598.52 | 5677338.14 | 5880339.14 | 4650 | 28927425.8035 | 628561221.4212 | 35.99%
ESS_13_S | HV regulator replacement | Program - Short Term Need | Renewal | 1117247.4868 | 1136524.7116 | 1174593.1688 | 1211651.2264 | 1248593.6725 | 4650 | 5888610.2662 | 634449831.6874 | 36.32%
ESS_30_S | Condition Based Transformer Replacement | Program - Short Term Need | Renewal | 868469.7329 | 883494.2258 | 913109.0426 | 941855.3897 | 970601.7367 | 4650 | 4577530.1277 | 639027361.8151 | 36.59%
ESS_29_S | Overhead Rural LV conversion to UG for bushfire prevention | Program - Short Term Need | Compliance | 3472525.9726 | 3532441.9961 | 3650761.8158 | 3765944.0525 | 3880762.9405 | 4500 | 18302436.7774 | 657329798.5925 | 37.63%
ESS_23_S | LV Spreader Installation | Program - Short Term Need | Compliance | 1050816.5552 | 1068947.6647 | 1104752.2714 | 1139607.4176 | 1174352.6116 | 4500 | 5538476.5206 | 662868275.113 | 37.95%
ESS_38_S | 2 pole Substation Safety Program | Program - Short Term Need | Compliance | 556138.4363 | 885955.701 | 738247.5912 | 783580.0717 | 736586.0789 | 4500 | 3700507.8791 | 666568782.9921 | 38.16%
ESS_45_S | Pole Top Refurbishment - Subtransmission | Program - Short Term Need | Renewal | 1624904.243 | 2365125.2461 | 2444404.4862 | 2521358.8218 | 2598313.1574 | 4350 | 11554105.9545 | 678122888.9466 | 38.82%
ESS_1008 | Cooma - rebuild 66/11kV substation | Major Project - Committed Project | Renewal | 100000 | 4835496.4845 | 5895602.4862 | 0 | 0 | 4350 | 10831098.9707 | 688953987.9173 | 39.44%
ESS_22_S | Crossings of Navigable Waterways | Program - Short Term Need | Compliance | 1799129.96 | 1812836.2297 | 1856062.0742 | 1896949.5962 | 1937089.2526 | 4350 | 9302067.1126 | 698256055.0299 | 39.98%
ESS_83_S | Zone Substation Surge Diverter Replacement | Program - Short Term Need | Renewal | 408833.649 | 415954.8448 | 429896.9577 | 443430.9022 | 456964.8468 | 4350 | 2155081.2005 | 700411136.2305 | 40.1%
ESS_18_M | Poor Performing Feeders | Program - Medium Term Need | Reliability | 2329981.7485 | 2797430.7733 | 2891131.2516 | 2982346.9981 | 3073274.9994 | 4200 | 14074165.7709 | 714485302.0014 | 40.91%
ESS_19_M | Worst performing feeder segments | Program - Medium Term Need | Reliability | 647054.5291 | 740496.3812 | 765299.449 | 789444.7936 | 813513.9704 | 4200 | 3755809.1232 | 718241111.1246 | 41.12%
ESS_1018 | Nyngan 132kV network reinforcement | Major Project - Committed Project | Capacity | 100000 | 3749767.8 | 2350930.4 | 0 | 0 | 4200 | 6200698.2 | 724441809.3246 | 41.48%
ESS_1033 | Yarrandale to Gilgandra - rebuild existing 66kV feeder | Major Project - Committed Project | Capacity | 0 | 0 | 566888.595 | 2573005.5315 | 0 | 4200 | 3139894.1265 | 727581703.4511 | 41.66%
ESS_3_M | Distribution Growth - Fault Level Constraints | Program - Medium Term Need | Network Connection | 1604805.0009 | 1767303.6119 | 1826543.8096 | 1884046.7582 | 1941549.7067 | 4100 | 9024248.8872 | 736605952.3383 | 42.17%
ESS_43_S | LV UG Cable replacement (CONSAC) | Program - Short Term Need | Renewal | 1379347.7081 | 2806294.7891 | 3383674.1929 | 3490429.764 | 3596848.5686 | 4050 | 14656595.0227 | 751262547.361 | 43.01%
ESS_21_S | LV network augmentation - PQ | Program - Short Term Need | Capacity | 1748784.8943 | 1796395.3498 | 1874723.9807 | 1952609.5219 | 2031836.342 | 4050 | 9404350.0886 | 760666897.4497 | 43.55%
ESS_1004 | Cartwrights Hill ZS - construct 66 kV bus bar | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 0 | 4097827.9232 | 4050 | 4097827.9232 | 764764725.3729 | 43.79%
ESS_1009 | Deniliquin to Moulamein tee - convert section of 66kV single cct to dual and add 66kV bay | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 2339095.149 | 0 | 4050 | 2339095.149 | 767103820.5219 | 43.92%
ESS_1024_M | Rectification of low clearance infringements on subtransmission feeders | Program - Medium Term Need | Renewal | 529062.5427 | 538215.383 | 848341.9615 | 875049.322 | 912503.0772 | 4000 | 3703172.2864 | 770806992.8083 | 44.13%
ESS_17_M | Pole Replacement and Reinforcement - Distribution | Program - Medium Term Need | Renewal | 4659278.1313 | 5007839.9225 | 5459095.4818 | 5930534.2419 | 6425872.7667 | 3900 | 27482620.5442 | 798289613.3525 | 45.7%
ESS_46_M | Pole Replacement and Reinforcement - Subtransmission | Program - Medium Term Need | Renewal | 468150.1747 | 503431.7597 | 549055.2739 | 596730.8335 | 646830.7815 | 3900 | 2764198.8233 | 801053812.1758 | 45.86%
ESS_101_S | LIDAR - Capitalised Overhead Data Capture | Program - Short Term Need | Renewal | 6255617.5158 | 7626885.2685 | 8038106.0813 | 8436758.1478 | 8827523.0206 | 3900 | 39184890.034 | 840238702.2097 | 48.11%
ESS_31_S | Enclosed Substation Refurbishment Programme | Program - Short Term Need | Renewal | 4380214.0661 | 4455791.617 | 4605039.2085 | 4750329.0788 | 4895160.6256 | 3900 | 23086534.596 | 863325236.8057 | 49.43%
ESS_1039 | Wagga to Temora - rebuild Wagga to Junee 66kV feeder to 132kV and new Junee to Temora 132kV feeder | Major Project - Committed Project | Capacity | 6261701.77 | 4029212.9889 | 0 | 0 | 0 | 3900 | 10290914.7589 | 873616151.5646 | 50.02%
ESS_1031 | Wellington to Narromine - convert 66kV to 132kV | Major Project - Committed Project | Capacity | 3973272.47 | 52613.7387 | 0 | 0 | 0 | 3900 | 4025886.2087 | 877642037.7733 | 50.25%
ESS_4008 | Subtransmission minor projects | Major Project - Committed Project | Network Connection | 165163.42 | 504865.644 | 520124.4258 | 534823.344 | 549462.452 | 3900 | 2274439.2858 | 879916477.0591 | 50.38%
ESS_2013 | Reactive power compensation | Major Project - Committed Project | Capacity | 439230.67 | 1061043.9 | 693924 | 0 | 0 | 3900 | 2194198.57 | 882110675.6291 | 50.5%
ESS_76_S | Zone Substation PCB decontamination (Power Transformers) | Program - Short Term Need | Compliance | 629783 | 1089186.4872 | 28335.23 | 28514.7585 | 28667.5576 | 3900 | 1804487.0333 | 883915162.6624 | 50.61%
ESS_1040 | Wagga Copland St to Kooringal #1 & #2 feeder works | Major Project - Committed Project | Capacity | 101770.88 | 660430.1427 | 682567.8286 | 0 | 0 | 3900 | 1444768.8513 | 885359931.5137 | 50.69%
ESS_12_M | Poletop Switchgear replacement | Program - Medium Term Need | Renewal | 339703.6278 | 518347.514 | 535709.6434 | 552611.3672 | 569459.8364 | 3800 | 2515831.9888 | 887875763.5025 | 50.83%
ESS_2_S | Distribution Growth - Thermal Constraints | Program - Short Term Need | Network Connection | 14331605.5529 | 10332923.4774 | 10071403.4921 | 9685549.983 | 8872568.056 | 3750 | 53294050.5614 | 941169814.0639 | 53.89%
ESS_1_S | Distribution Growth - Voltage Constraints | Program - Short Term Need | Network Connection | 11279782.5462 | 9022002.7031 | 9324421.156 | 9617971.0326 | 9911520.9092 | 3750 | 49155698.3472 | 990325512.4111 | 56.7%
ESS_71_S | Zone Substation Power Transformer Replacement | Program - Short Term Need | Renewal | 2339006.663 | 4434272.6524 | 5588859.1647 | 4729364.8164 | 5620526.4069 | 3600 | 22712029.7034 | 1013037542.1144 | 58%
ESS_80_S | Zone Substation Station Battery Replacement | Program - Short Term Need | Renewal | 789924.69 | 803155.8286 | 830079.842 | 856214.439 | 882349.1137 | 3600 | 4161723.9133 | 1017199266.0277 | 58.24%
ESS_20_S | HV network augmentation - PQ | Program - Short Term Need | Capacity | 485933.9163 | 499163.4079 | 520928.5424 | 542570.5557 | 564585.2695 | 3600 | 2613181.6918 | 1019812447.7195 | 58.39%
ESS_1034 | Monaltrie to Alstonville - secure easements for future needs (Lismore 132kV strategy) | Major Project - Committed Project | Capacity | 2029788 | 432798.0774 | 0 | 0 | 0 | 3600 | 2462586.0774 | 1022275033.7969 | 58.53%
ESS_41_S | LV UG pit and pillar | Program - Short Term Need | Renewal | 365064 | 371379.6072 | 383828.2896 | 395911.908 | 407995.5264 | 3600 | 1924179.3312 | 1024199213.1281 | 58.64%
ESS_87_S | Zone Substation Earthing System Refurbishment | Program - Short Term Need | Compliance | 271228.405 | 276400.5117 | 285663.2772 | 294654.2035 | 303644.9909 | 3600 | 1431591.3884 | 1025630804.5165 | 58.72%
ESS_27_S | Replacements due to voltage drop - Services | Program - Short Term Need | Capacity | 133012.8427 | 135307.8869 | 139840.0504 | 144252.0309 | 148650.0935 | 3600 | 701062.9044 | 1026331867.4209 | 58.76%
ESS_1036 | Yarrandale to Gilgandra - new 66kV feeder | Major Project - Committed Project | Capacity | 691249.19 | 0 | 0 | 0 | 0 | 3600 | 691249.19 | 1027023116.6109 | 58.8%
ESS_1001 | Beryl to Mudgee - implement 66kV backup changeover scheme | Major Project - Committed Project | Capacity | 0 | 328935.8166 | 0 | 0 | 0 | 3600 | 328935.8166 | 1027352052.4275 | 58.82%
ESS_26_M | Service Overhead Replacement | Program - Medium Term Need | Renewal | 487503.8233 | 991830.7259 | 1195894.3323 | 1233625.0284 | 1271236.7001 | 3500 | 5180090.61 | 1032532143.0375 | 59.12%
ESS_1022 | Orange to Blayney - reconductor 66kV feeder | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 9356382.765 | 0 | 3450 | 9356382.765 | 1041888525.8025 | 59.65%
ESS_2022 | Cooma to Bega - convert 66kV feeder to dual 132/66kV | Major Project - Committed Project | Capacity | 6102969.88 | 0 | 0 | 0 | 0 | 3450 | 6102969.88 | 1047991495.6825 | 60%
ESS_2023 | Evans Lane to Batemans Bay - augment 132kV feeder | Major Project - Committed Project | Capacity | 0 | 0 | 2891093.4584 | 2382045.687 | 0 | 3450 | 5273139.1454 | 1053264634.8279 | 60.3%
ESS_2018 | Beryl to Dunedoo - new 66kV feeder | Major Project - Committed Project | Capacity | 4757519.36 | 274765.6089 | 0 | 0 | 0 | 3450 | 5032284.9689 | 1058296919.7968 | 60.59%
ESS_1006 | Cobar town supply augmentation | Major Project - Committed Project | Capacity | 16867.5 | 1686448.4037 | 2775005.2302 | 0 | 0 | 3450 | 4478321.1339 | 1062775240.9307 | 60.85%
ESS_2019 | Gulgong West - establish new 66/22kV substation | Major Project - Committed Project | Network Connection | 100000 | 4068315.9663 | 0 | 0 | 0 | 3450 | 4168315.9663 | 1066943556.897 | 61.09%
ESS_2029 | Pole top refurbishment of Dubbo to Nyngan 132kV feeder 943/1, 943/2 and 9GU | Major Project - Committed Project | Renewal | 1670573.23 | 2441509.827 | 0 | 0 | 0 | 3450 | 4112083.057 | 1071055639.954 | 61.32%
ESS_1013 | Goulburn to Woodlawn - upgrade 66 kV line | Major Project - Committed Project | Capacity | 91800 | 2612475.2304 | 986801.984 | 0 | 0 | 3450 | 3691077.2144 | 1074746717.1684 | 61.53%
ESS_2003 | Williamsdale TG to Googong Town ZS - Refurbish and Connect 132 kV Line | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 3508534.2735 | 0 | 3450 | 3508534.2735 | 1078255251.4419 | 61.73%
ESS_2027 | Leeton ZS Upgrade | Major Project - Committed Project | Capacity | 2070982.94 | 539351.0967 | 0 | 0 | 0 | 3450 | 2610334.0367 | 1080865585.4786 | 61.88%
ESS_2001 | Wagga Copeland St - TransGrid 132/66kV sub - relocate 66kV feeders | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 2338941.15 | 0 | 3450 | 2338941.15 | 1083204526.6286 | 62.02%
ESS_2028 | Pole top refurbishment of Taree to Forster 66kV feeders | Major Project - Committed Project | Renewal | 0 | 0 | 2267877.1598 | 0 | 0 | 3450 | 2267877.1598 | 1085472403.7884 | 62.15%
ESS_2024 | Orange Ring 66kV augmentation | Major Project - Committed Project | Capacity | 0 | 2194089.2421 | 0 | 0 | 0 | 3450 | 2194089.2421 | 1087666493.0305 | 62.27%
ESS_4002 | Gunnedah to Narrabri Tee via Boggabri - refurbish 66kV feeders | Major Project - Committed Project | Renewal | 2010000 | 0 | 0 | 0 | 0 | 3450 | 2010000 | 1089676493.0305 | 62.39%
ESS_2017 | Hallidays Point 66/11kV substation - construct 66kV & 11kV feeders (132kV strategy) | Major Project - Committed Project | Network Connection | 1951452.97 | 0 | 0 | 0 | 0 | 3450 | 1951452.97 | 1091627946.0005 | 62.5%
ESS_2008 | Major Project Carry Over | Major Project - Committed Project | Capacity | 1778234.75 | 0 | 0 | 0 | 0 | 3450 | 1778234.75 | 1093406180.7505 | 62.6%
ESS_4006 | Pambula - install 66 kV CB and dynamic compensation | Major Project - Committed Project | Network Connection | 0 | 1645577.3589 | 0 | 0 | 0 | 3450 | 1645577.3589 | 1095051758.1094 | 62.7%
ESS_4000 | Coffs Harbour North to Coffs Harbour South - new 66kV feeder | Major Project - Committed Project | Capacity | 1250911.33 | 0 | 0 | 0 | 0 | 3450 | 1250911.33 | 1096302669.4394 | 62.77%
ESS_2011 | Hillston ZS - Dynamic Compensation | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 0 | 1205163.96 | 3450 | 1205163.96 | 1097507833.3994 | 62.84%
ESS_1025 | Sutton ZS - install 66/11kV transformer | Major Project - Committed Project | Capacity | 536804.14 | 667795.3947 | 0 | 0 | 0 | 3450 | 1204599.5347 | 1098712432.9341 | 62.91%
ESS_2005 | Queanbeyan TG to Googong Town ZS Refurbish Line 975 | Major Project - Committed Project | Renewal | 0 | 0 | 0 | 0 | 1084735.8544 | 3450 | 1084735.8544 | 1099797168.7885 | 62.97%
ESS_4001 | TG Parkes to Parkes zone - new 66kV feeder and substation work | Major Project - Committed Project | Capacity | 1048380.5 | 0 | 0 | 0 | 0 | 3450 | 1048380.5 | 1100845549.2885 | 63.03%
ESS_2016 | Cudgen to Casuarina - acquire sub site and easements for 33kV network (Future sub and ring network) | Major Project - Committed Project | Network Connection | 562411.82 | 455980.3098 | 0 | 0 | 0 | 3450 | 1018392.1298 | 1101863941.4183 | 63.09%
ESS_2012 | Ulan 66kV sw stn works for connection of additional load | Major Project - Committed Project | Capacity | 0 | 991867.5 | 0 | 0 | 0 | 3450 | 991867.5 | 1102855808.9183 | 63.14%
ESS_2015 | Coffs Harbour South - refurbish 66/11kV substation | Major Project - Committed Project | Capacity | 852996.77 | 0 | 0 | 0 | 0 | 3450 | 852996.77 | 1103708805.6883 | 63.19%
ESS_2021 | Maher St - new 66kV feeder | Major Project - Committed Project | Capacity | 452720.8 | 0 | 0 | 0 | 0 | 3450 | 452720.8 | 1104161526.4883 | 63.22%
ESS_2026 | Googong Town to Tralee - acquire route new dual 132kV feeder | Major Project - Committed Project | Network Connection | 449013.41 | 0 | 0 | 0 | 0 | 3450 | 449013.41 | 1104610539.8983 | 63.24%
ESS_2020 | Borthwick St / Wynne St - relocate Wynne St 66/22kV assets to Borthwick St | Major Project - Committed Project | Capacity | 440213.11 | 0 | 0 | 0 | 0 | 3450 | 440213.11 | 1105050753.0083 | 63.27%
ESS_2014 | Casino to Casino North - acquire route new 66kV feeder | Major Project - Committed Project | Network Connection | 395104.76 | 0 | 0 | 0 | 0 | 3450 | 395104.76 | 1105445857.7683 | 63.29%
ESS_2025 | Bathurst Russell St - rebuild 66/11kV substation | Major Project - Committed Project | Capacity | 347356.29 | 0 | 0 | 0 | 0 | 3450 | 347356.29 | 1105793214.0583 | 63.31%
ESS_2004 | Williamsdale Acquire Route (1km) | Major Project - Committed Project | Network Connection | 0 | 0 | 226755.438 | 0 | 0 | 3450 | 226755.438 | 1106019969.4963 | 63.32%
ESS_2002 | Wagga 66kV network - reconductor various small section of conductors | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 0 | 120519.7488 | 3450 | 120519.7488 | 1106140489.2451 | 63.33%
ESS_4003 | Yarrandale to Gilgandra - acquire route new 66kV feeder | Major Project - Committed Project | Capacity | 1352.61 | 0 | 0 | 0 | 0 | 3450 | 1352.61 | 1106141841.8551 | 63.33%
ESS_85_M | Zone Substation Protection Upgrades and Replacements | Program - Medium Term Need | Renewal | 302771.9505 | 119372.0166 | 176835.1763 | 234102.7112 | 89176.1651 | 3400 | 922258.0196 | 1107064099.8747 | 63.38%
ESS_79_M | Zone Substation Indoor Switchboards (Replacement, Refurbishment & Conversion) | Program - Medium Term Need | Renewal | 1610763.114 | 1479284.4653 | 1635136.0183 | 1483233.5601 | 1145865.1657 | 3300 | 7354282.3234 | 1114418382.1981 | 63.8%
ESS_14_M | Poletop Recloser Replacement / Upgrading | Program - Medium Term Need | Renewal | 610455.6968 | 629293.0821 | 592483.824 | 611136.3013 | 515822.9155 | 3300 | 2959191.8197 | 1117377574.0178 | 63.97%
ESS_1020 | Orange North - TransGrid rebuild Orange 66kV busbar | Major Project - Committed Project | Renewal | 935858.13 | 108851.1 | 3385508 | 1637595 | 0 | 3300 | 6067812.23 | 1123445386.2478 | 64.32%
ESS_82_S | Zone Substation Current Transformer Replacement | Program - Short Term Need | Renewal | 762313.895 | 886368.3018 | 915417.8118 | 943571.0687 | 971700.114 | 3300 | 4479371.1913 | 1127924757.4391 | 64.58%
ESS_42_S | High Voltage Cast Pothead Replacement | Program - Short Term Need | Compliance | 398584.1378 | 405455.9798 | 419033.7829 | 432262.9517 | 445437.934 | 3300 | 2100774.7862 | 1130025532.2253 | 64.7%
ESS_81_S | Zone Substation Voltage Transformer Replacement | Program - Short Term Need | Renewal | 308325.605 | 222827.7643 | 240209.1524 | 258435.1571 | 283341.4399 | 3300 | 1313139.1187 | 1131338671.344 | 64.77%
ESS_74_S | Zone Substation On Line Tap Changer Refurbishment | Program - Short Term Need | Renewal | 171500 | 174568.0696 | 180419.6092 | 186098.7901 | 191777.9248 | 3300 | 904364.3937 | 1132243035.7377 | 64.82%
ESS_4009 | Subtransmission polymer termination replacement | Major Project - Committed Project | Renewal | 163362 | 175085.4715 | 180910.3776 | 186561.5131 | 192211.0596 | 3300 | 898130.4218 | 1133141166.1596 | 64.88%
ESS_16_M | Replacement of Bare OH Conductors | Program - Medium Term Need | Renewal | 2468648.3494 | 2511356.0173 | 2595536.9278 | 2677249.1898 | 2758961.4518 | 3200 | 13011751.9362 | 1146152918.0957 | 65.62%
ESS_78_M | Zone Substation Circuit Breaker replacement | Program - Medium Term Need | Renewal | 616200.549 | 711298.0929 | 536866.7617 | 347964.5905 | 398820.5892 | 3200 | 2611150.5832 | 1148764068.6789 | 65.77%
ESS_1016 | Marulan South - rebuild 66/33kV substation | Major Project - Committed Project | Capacity | 100000 | 2910846.2685 | 0 | 0 | 0 | 3150 | 3010846.2685 | 1151774914.9474 | 65.94%
ESS_4011 | Orange South ZS - Augmentation | Major Project - Future/Planning Stage | Capacity | 548793.37 | 0 | 0 | 0 | 0 | 3150 | 548793.37 | 1152323708.3174 | 65.97%
ESS_4_S | Distribution Growth - Customer Connections | Program - Short Term Need | Network Connection | 6675793.2654 | 13644281.4499 | 14101639.159 | 14545584.6185 | 14989530.078 | 3150 | 63956828.5708 | 1216280536.8882 | 69.64%
ESS_32_M | Overhead Substation Refurbishment Program | Program - Medium Term Need | Renewal | 1144457.7105 | 1271431.5759 | 1306199.6829 | 1216572.4586 | 1260072.6729 | 3100 | 6198734.1007 | 1222479270.9889 | 69.99%
ESS_13_M | HV regulator replacement | Program - Medium Term Need | Renewal | 239410.1758 | 243541.0096 | 251698.5362 | 259639.5485 | 267555.787 | 3100 | 1261845.057 | 1223741116.046 | 70.06%
ESS_30_M | Condition Based Transformer Replacement | Program - Medium Term Need | Renewal | 186100.6571 | 189320.1912 | 195666.2234 | 201826.1549 | 207986.0864 | 3100 | 980899.3131 | 1224722015.3591 | 70.12%
ESS_29_M | Overhead Rural LV conversion to UG for bushfire prevention | Program - Medium Term Need | Compliance | 744112.7084 | 756951.8563 | 782306.1034 | 806988.0112 | 831592.0587 | 3000 | 3921950.738 | 1228643966.0971 | 70.34%
ESS_23_M | LV Spreader Installation | Program - Medium Term Need | Compliance | 225174.9761 | 229060.2139 | 236732.6296 | 244201.5895 | 251646.9882 | 3000 | 1186816.3973 | 1229830782.4943 | 70.41%
ESS_38_M | 2 pole Substation Safety Program | Program - Medium Term Need | Compliance | 119172.5221 | 189847.6502 | 158195.9124 | 167910.0154 | 157839.8741 | 3000 | 792965.9741 | 1230623748.4684 | 70.46%
ESS_4004 | Zone Substation Outdoor Bus and Isolator Refurbishment and Replacement | Major Project - Committed Project | Renewal | 946321.52 | 1355333.5305 | 1422725.0408 | 1723292.19 | 1771441.8216 | 3000 | 7219114.1029 | 1237842862.5713 | 70.87%
ESS_96_S | Spot Luminaire Replacements | Program - Short Term Need | Renewal | 1186267 | 1221513.4126 | 1273449.0524 | 1327677.4267 | 1384149.7498 | 3000 | 6393056.6413 | 1244235919.2127 | 71.24%
ESS_2006 | Zone Substation Capacitors Bank Replacement | Major Project - Committed Project | Renewal | 120000 | 543056.1033 | 559178.6788 | 574688.4795 | 590122.9752 | 3000 | 2387046.2368 | 1246622965.4495 | 71.37%
ESS_45_M | Pole Top Refurbishment - Subtransmission | Program - Medium Term Need | Renewal | 348193.7664 | 506812.5527 | 523800.9613 | 540291.1761 | 556781.3909 | 2900 | 2475879.8474 | 1249098845.2969 | 71.52%
ESS_22_M | Crossings of Navigable Waterways | Program - Medium Term Need | Compliance | 385527.8486 | 388464.9064 | 397727.5873 | 406489.1992 | 415090.5541 | 2900 | 1993300.0956 | 1251092145.3924 | 71.63%
ESS_83_M | Zone Substation Surge Diverter Replacement | Program - Medium Term Need | Renewal | 87607.2105 | 89133.181 | 92120.7766 | 95020.9076 | 97921.0386 | 2900 | 461803.1144 | 1251553948.5068 | 71.66%
ESS_1014 | Griffith - Augment Supply to Tharbogang/Goolgowi | Major Project - Committed Project | Capacity | 377.78 | 389727.63 | 4814045.18 | 0 | 0 | 2850 | 5204150.59 | 1256758099.0968 | 71.95%
ESS_100_S | Replace unsafe streetlight pot belly columns | Program - Short Term Need | Renewal | 647054.5291 | 658219.0055 | 680266.1768 | 701728.7054 | 0 | 2850 | 2687268.4168 | 1259445367.5136 | 72.11%
ESS_4007 | Taree - TransGrid 132/66/33kV substation - relocate 33kV feeders | Major Project - Committed Project | Renewal | 0 | 0 | 1700770.925 | 0 | 0 | 2850 | 1700770.925 | 1261146138.4386 | 72.2%
ESS_33_S | LV Protection Installation program forecast Far West | Program - Short Term Need | Renewal | 255544.8 | 297103.6858 | 330092.3291 | 340484.2409 | 350876.1527 | 2850 | 1574101.2084 | 1262720239.647 | 72.3%
ESS_1026 | Tamworth - TransGrid 132/66kV substation - relocate 66kV feeders | Major Project - Committed Project | Renewal | 0 | 1549347.9 | 0 | 0 | 0 | 2850 | 1549347.9 | 1264269587.547 | 72.38%
ESS_99_S | Replace rusting streetlight triangular columns | Program - Short Term Need | Renewal | 250625.7876 | 254950.1615 | 263489.7658 | 271802.9186 | 280089.847 | 2850 | 1320958.4805 | 1265590546.0275 | 72.46%
ESS_43_M | LV UG Cable replacement (CONSAC) | Program - Medium Term Need | Renewal | 295574.5089 | 601348.8834 | 725073.0413 | 747949.2351 | 770753.2647 | 2700 | 3140698.9334 | 1268731244.9609 | 72.64%
ESS_21_M | LV network augmentation - PQ | Program - Medium Term Need | Capacity | 374739.6202 | 384941.8607 | 401726.5673 | 418416.3261 | 435393.5019 | 2700 | 2015217.8761 | 1270746462.8371 | 72.75%
ESS_35_S | Substation Augmentation - PQ | Program - Short Term Need | Capacity | 2657237.266 | 2729580.2265 | 2848598.7278 | 2966943.9646 | 3087327.243 | 2700 | 14289687.4279 | 1285036150.265 | 73.57%
ESS_1037 | Woodlawn - rebuild 66/11kV substation | Major Project - Committed Project | Capacity | 5507805.03 | 1221949.2237 | 0 | 0 | 0 | 2700 | 6729754.2537 | 1291765904.5187 | 73.96%
ESS_63_S | Installation of SCADA facilities into existing ZSS sites where none currently exists | Program - Short Term Need | Capacity | 827278.592 | 1198012.4018 | 1238114.2844 | 1277061.6104 | 1316125.9955 | 2700 | 5856592.8841 | 1297622497.4028 | 74.29%
ESS_62_S | Replacement program of existing RTU hardware | Program - Short Term Need | Renewal | 894574.051 | 921548.0014 | 952395.6034 | 982355.0849 | 1012404.612 | 2700 | 4763277.3526 | 1302385774.7555 | 74.57%
ESS_1030 | Googong to Tralee - construct dual 132kV feeder (operate at 11kV) | Major Project - Committed Project | Capacity | 0 | 0 | 0 | 3040731.945 | 0 | 2700 | 3040731.945 | 1305426506.7005 | 74.74%
ESS_101_M | LIDAR - Capitalised Overhead Data Capture | Program - Medium Term Need | Renewal | 1340489.4677 | 1634332.5575 | 1722451.3031 | 1807876.746 | 1891612.0758 | 2600 | 8396762.1501 | 1313823268.8506 | 75.22%
ESS_31_M | Enclosed Substation Refurbishment Programme | Program - Medium Term Need | Renewal | 938617.2999 | 954812.4894 | 986794.1161 | 1017927.6597 | 1048962.9912 | 2600 | 4947114.5563 | 1318770383.4069 | 75.5%
ESS_93_S | Meter replacement program | Program - Short Term Need | Renewal | 2870047.743 | 4045309.5639 | 4316389.3931 | 6045332.5371 | 6117772.9677 | 2550 | 23394852.2047 | 1342165235.6116 | 76.84%
ESS_2_M | Distribution Growth - Thermal Constraints | Program - Medium Term Need | Network Connection | 3071058.3328 | 2214197.888 | 2158157.8912 | 2075474.9963 | 1901264.5834 | 2500 | 11420153.6917 | 1353585389.3033 | 77.5%
ESS_1_M | Distribution Growth - Voltage Constraints | Program - Medium Term Need | Network Connection | 2417096.2599 | 1933286.2935 | 1998090.2477 | 2060993.7927 | 2123897.3377 | 2500 | 10533363.9315 | 1364118753.2349 | 78.1%
ESS_71_M | Zone Substation Power Transformer Replacement | Program - Medium Term Need | Renewal | 501215.7135 | 950201.2827 | 1197612.6782 | 1013435.3178 | 1204398.5158 | 2400 | 4866863.5079 | 1368985616.7427 | 78.38%
ESS_20_M | HV network augmentation - PQ | Program - Medium Term Need | Capacity | 104128.6963 | 106963.5874 | 111627.5448 | 116265.1191 | 120982.5578 | 2400 | 559967.5054 | 1369545584.2481 | 78.41%
ESS_41_M | LV UG pit and pillar | Program - Medium Term Need | Renewal | 78228 | 79581.3444 | 82248.9192 | 84838.266 | 87427.6128 | 2400 | 412324.1424 | 1369957908.3905 | 78.43%
ESS_87_M | Zone Substation Earthing System Refurbishment | Program - Medium Term Need | Compliance | 58120.3725 | 59228.6811 | 61213.5594 | 63140.1865 | 65066.7838 | 2400 | 306769.5832 | 1370264677.9737 | 78.45%
ESS_27_M | Replacements due to voltage drop - Services | Program - Medium Term Need | Capacity | 28502.752 | 28994.5472 | 29965.7251 | 30911.1495 | 31853.5915 | 2400 | 150227.7652 | 1370414905.739 | 78.46%
ESS_1012 | Queanbeyan TG to Googong Town ZS - Reconnect 132 kV Line | Major Project - Committed Project | Network Connection | 1900846.05 | 833814.6855 | 0 | 0 | 0 | 2400 | 2734660.7355 | 1373149566.4745 | 78.62%
ESS_4010 | Subtransmission minor route and land | Program - Short Term Need | Network Connection | 1051477.38 | 75474.5043 | 0 | 0 | 0 | 2400 | 1126951.8843 | 1374276518.3588 | 78.68%
ESS_70_S | Zone Substation Power Transformer Refurbishment | Program - Short Term Need | Renewal | 1222347.546 | 772469.8678 | 984856.0529 | 1550611.7015 | 1444484.2535 | 2250 | 5974769.4217 | 1380251287.7804 | 79.02%
ESS_89_S | Zone Substation Building Refurbishment | Program - Short Term Need | Compliance | 890421.7 | 1164947.158 | 1202714.9646 | 1239290.3596 | 1324778.341 | 2250 | 5822152.5233 | 1386073440.3038 | 79.36%
ESS_55_S | Replacement FI Plants | Program - Short Term Need | Renewal | 370026.629 | 360984.2146 | 380949.059 | 392968.075 | 404949.1764 | 2250 | 1909877.1541 | 1387983317.4579 | 79.47%
ESS_82_M | Zone Substation Current Transformer Replacement | Program - Medium Term Need | Renewal | 163352.9775 | 189936.0647 | 196160.9597 | 202193.8004 | 208221.453 | 2200 | 959865.2553 | 1388943182.7131 | 79.52%
ESS_42_M | High Voltage Cast Pothead Replacement | Program - Medium Term Need | Compliance | 85410.8867 | 86883.4243 | 89792.9535 | 92627.7754 | 95450.9859 | 2200 | 450166.0256 | 1389393348.7388 | 79.55%
ESS_81_M | Zone Substation Voltage Transformer Replacement | Program - Medium Term Need | Renewal | 66069.7725 | 47748.8066 | 51473.3898 | 55378.9622 | 60716.0228 | 2200 | 281386.954 | 1389674735.6928 | 79.56%
ESS_74_M | Zone Substation On Line Tap Changer Refurbishment | Program - Medium Term Need | Renewal | 36750 | 37407.4435 | 38661.3448 | 39878.3122 | 41095.2696 | 2200 | 193792.3701 | 1389868528.0628 | 79.57%
ESS_18_L | Poor Performing Feeders | Program - Long Term Need | Reliability | 2329981.7485 | 2797430.7733 | 2891131.2516 | 2982346.9981 | 3073274.9994 | 2100 | 14074165.7709 | 1403942693.8338 | 80.38%
ESS_19_L | Worst performing feeder segments | Program - Long Term Need | Reliability | 647054.5291 | 740496.3812 | 765299.449 | 789444.7936 | 813513.9704 | 2100 | 3755809.1232 | 1407698502.957 | 80.6%
ESS_4012 | Quira ZS - 2nd tx substation work | Major Project - Future/Planning Stage | Capacity | 0 | 620553 | 0 | 0 | 0 | 2100 | 620553 | 1408319055.957 | 80.63%
ESS_4_M | Distribution Growth - Customer Connections | Program - Medium Term Need | Network Connection | 834474.1582 | 1705535.1812 | 1762704.8949 | 1818198.0773 | 1873691.2598 | 2100 | 7994603.5713 | 1416313659.5284 | 81.09%
ESS_1027 | Tamworth to Quirindi - secure easements for future second feeder | Major Project - Committed Project | Capacity | 1590359.73 | 0 | 0 | 0 | 0 | 2100 | 1590359.73 | 1417904019.2584 | 81.18%
ESS_3_L | Distribution Growth - Fault Level Constraints | Program - Long Term Need | Network Connection | 1604805.0009 | 1767303.6119 | 1826543.8096 | 1884046.7582 | 1941549.7067 | 2050 | 9024248.8872 | 1426928268.1456 | 81.7%
ESS_1024_L | Rectification of low clearance infringements on subtransmission feeders | Program - Long Term Need | Renewal | 529062.5427 | 538215.383 | 848341.9615 | 875049.322 | 912503.0772 | 2000 | 3703172.2864 | 1430631440.432 | 81.91%
ESS_1005 | Cobaki - establish 66/11kV substation (dependant on subdivision development) | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 0 | 7231235.22 | 1950 | 7231235.22 | 1437862675.652 | 82.32%
ESS_1010 | Gloucester BSP - establish 132/33kV substation | Major Project - Committed Project | Capacity | 51899.55 | 5120376.09 | 0 | 0 | 0 | 1950 | 5172275.64 | 1443034951.292 | 82.62%
ESS_75_S | Zone Substation Perimeter Fencing & Security Refurbishment and Replacement | Program - Short Term Need | Compliance | 33033.252 | 250501.071 | 257826.3057 | 264864.3984 | 271863.2409 | 1950 | 1078088.268 | 1444113039.5599 | 82.68%
ESS_92_S | New load control Relays | Program - Short Term Need | Network Connection | 144250.023 | 146738.9569 | 151654.0064 | 156438.7194 | 161208.3388 | 1950 | 760290.0445 | 1444873329.6044 | 82.72%
ESS_12_L | Poletop Switchgear replacement | Program - Long Term Need | Renewal | 339703.6278 | 518347.514 | 535709.6434 | 552611.3672 | 569459.8364 | 1900 | 2515831.9888 | 1447389161.5932 | 82.87%
ESS_33_M | LV Protection Installation program forecast Far West | Program - Medium Term Need | Renewal | 54759.6 | 63665.0755 | 70734.0705 | 72960.9088 | 75187.747 | 1900 | 337307.4018 | 1447726468.995 | 82.89%
ESS_99_M | Replace rusting streetlight triangular columns | Program - Medium Term Need | Renewal | 53705.5259 | 54632.1775 | 56462.0927 | 58243.4826 | 60019.2529 | 1900 | 283062.5315 | 1448009531.5266 | 82.9%
ESS_35_M | Substation Augmentation - PQ | Program - Medium Term Need | Capacity | 569407.9856 | 584910.0485 | 610414.0131 | 635773.7067 | 661570.1235 | 1800 | 3062075.8774 | 1451071607.404 | 83.08%
ESS_63_M | Installation of SCADA facilities into existing ZSS sites where none currently exists | Program - Medium Term Need | Capacity | 177273.984 | 256716.9432 | 265310.2038 | 273656.0594 | 282026.999 | 1800 | 1254984.1895 | 1452326591.5934 | 83.15%
ESS_62_M | Replacement program of existing RTU hardware | Program - Medium Term Need | Renewal | 191694.4395 | 197474.5717 | 204084.7722 | 210504.6611 | 216943.8454 | 1800 | 1020702.2899 | 1453347293.8833 | 83.21%
ESS_56_S | Load Control Relay replacement | Program - Short Term Need | Renewal | 1685135.424 | 1714288.2668 | 1771751.3848 | 1827529.3673 | 1883307.3499 | 1800 | 8882011.7928 | 1462229305.6761 | 83.72%
ESS_2009 | Utility Blackspot Plan | Major Project - Committed Project | Renewal | 1617636.3226 | 1645547.5137 | 1700665.4421 | 1754321.7636 | 1807808.8232 | 1800 | 8525979.8653 | 1470755285.5413 | 84.21%
ESS_84_S | Zone Substation Unplanned Equipment Failure Replacement | Program - Short Term Need | Renewal | 300000 | 1046324.5863 | 1078527.1714 | 1109593.161 | 1140556.6216 | 1800 | 4675001.5403 | 1475430287.0816 | 84.47%
ESS_40_S | Unplanned UG cable replacement | Program - Short Term Need | Renewal | 395192 | 419397.3582 | 450968.5095 | 482789.4812 | 515243.2708 | 1800 | 2263590.6196 | 1477693877.7013 | 84.6%
ESS_26_L | Service Overhead Replacement | Program - Long Term Need | Renewal | 487503.8233 | 991830.7259 | 1195894.3323 | 1233625.0284 | 1271236.7001 | 1750 | 5180090.61 | 1482873968.3113 | 84.9%
ESS_85_L | Zone Substation Protection Upgrades and Replacements | Program - Long Term Need | Renewal | 302771.9505 | 119372.0166 | 176835.1763 | 234102.7112 | 89176.1651 | 1700 | 922258.0196 | 1483796226.331 | 84.95%
ESS_93_M | Meter replacement program | Program - Medium Term Need | Renewal | 615010.2306 | 866852.0494 | 924940.5842 | 1295428.4008 | 1310951.3502 | 1700 | 5013182.6153 | 1488809408.9462 | 85.24%
ESS_79_L | Zone Substation Indoor Switchboards (Replacement, Refurbishment & Conversion) | Program - Long Term Need | Renewal | 1610763.114 | 1479284.4653 | 1635136.0183 | 1483233.5601 | 1145865.1657 | 1650 | 7354282.3234 | 1496163691.2696 | 85.66%
ESS_14_L | Poletop Recloser Replacement / Upgrading | Program - Long Term Need | Renewal | 610455.6968 | 629293.0821 | 592483.824 | 611136.3013 | 515822.9155 | 1650 | 2959191.8197 | 1499122883.0893 | 85.83%
ESS_3000 | Ancillary radio Asset Replacement | Major Project - Committed Project | Renewal | 833338.19 | 943447.2412 | 975048.1868 | 1005811.1445 | 1036477.0586 | 1650 | 4794121.8211 | 1503917004.9104 | 86.1%
ESS_3002 | Mobile Two Way Radio Replacement | Major Project - Committed Project | Renewal | 422275 | 528807.2084 | 546532.8801 | 563738.7374 | 580944.5946 | 1650 | 2642298.4205 | 1506559303.331 | 86.26%
ESS_3001 | Two Way Radio Base Replacement | Major Project - Committed Project | Renewal | 1150000 | 0 | 0 | 0 | 0 | 1650 | 1150000 | 1507709303.331 | 86.32%
ESS_16_L | Replacement of Bare OH Conductors | Program - Long Term Need | Renewal | 2468648.3494 | 2511356.0173 | 2595536.9278 | 2677249.1898 | 2758961.4518 | 1600 | 13011751.9362 | 1520721055.2671 | 87.07%
ESS_78_L | Zone Substation Circuit Breaker replacement | Program - Long Term Need | Renewal | 616200.549 | 711298.0929 | 536866.7617 | 347964.5905 | 398820.5892 | 1600 | 2611150.5832 | 1523332205.8504 | 87.22%
ESS_32_L | Overhead Substation Refurbishment Program | Program - Long Term Need | Renewal | 1144457.7105 | 1271431.5759 | 1306199.6829 | 1216572.4586 | 1260072.6729 | 1550 | 6198734.1007 | 1529530939.9511 | 87.57%
ESS_13_L | HV regulator replacement | Program - Long Term Need | Renewal | 239410.1758 | 243541.0096 | 251698.5362 | 259639.5485 | 267555.787 | 1550 | 1261845.057 | 1530792785.0082 | 87.64%
ESS_30_L | Condition Based Transformer Replacement | Program - Long Term Need | Renewal | 186100.6571 | 189320.1912 | 195666.2234 | 201826.1549 | 207986.0864 | 1550 | 980899.3131 | 1531773684.3212 | 87.7%
ESS_29_L | Overhead Rural LV conversion to UG for bushfire prevention | Program - Long Term Need | Compliance | 744112.7084 | 756951.8563 | 782306.1034 | 806988.0112 | 831592.0587 | 1500 | 3921950.738 | 1535695635.0593 | 87.92%
ESS_23_L | LV Spreader Installation | Program - Long Term Need | Compliance | 225174.9761 | 229060.2139 | 236732.6296 | 244201.5895 | 251646.9882 | 1500 | 1186816.3973 | 1536882451.4565 | 87.99%
ESS_38_L | 2 pole Substation Safety Program | Program - Long Term Need | Compliance | 119172.5221 | 189847.6502 | 158195.9124 | 167910.0154 | 157839.8741 | 1500 | 792965.9741 | 1537675417.4306 | 88.04%
ESS_70_M | Zone Substation Power Transformer Refurbishment | Program - Medium Term Need | Renewal | 261931.617 | 165529.2574 | 211040.5828 | 332273.936 | 309532.34 | 1500 | 1280307.7332 | 1538955725.1638 | 88.11%
ESS_89_M | Zone Substation Building Refurbishment | Program - Medium Term Need | Compliance | 190804.65 | 249631.5339 | 257724.6353 | 265562.2199 | 283881.0731 | 1500 | 1247604.1121 | 1540203329.2759 | 88.18%
ESS_55_M | Replacement FI Plants | Program - Medium Term Need | Renewal | 79291.4205 | 77353.7603 | 81631.9412 | 84207.4447 | 86774.8235 | 1500 | 409259.3902 | 1540612588.6661 | 88.21%
ESS_72_S | Zone Substation Power Transformer Unplanned Failure Replacement | Program - Short Term Need | Renewal | 760322 | 1871404.734 | 1929756.3824 | 1986103.413 | 2042291.064 | 1500 | 8589877.5934 | 1549202466.2595 | 88.7%
ESS_86_S | Zone Substation Environmental Compliance | Program - Short Term Need | Compliance | 487919.96 | 1217300.1627 | 1070303.1206 | 1100412.8685 | 1130393.1672 | 1500 | 5006329.279 | 1554208795.5385 | 88.98%
ESS_49_S | RF Linking replacement | Program - Short Term Need | Renewal | 892787.504 | 880345.9793 | 909833.3362 | 938538.7527 | 967153.6161 | 1500 | 4588659.1884 | 1558797454.727 | 89.25%
ESS_48_S | RF Infrastructure Refurbishment | Program - Short Term Need | Renewal | 990997.7 | 1145739.882 | 394705.5529 | 407131.6075 | 419557.6621 | 1500 | 3358132.4045 | 1562155587.1314 | 89.44%
ESS_57_S | Convert existing legacy controllers to MD3311-derived devices to enable migration into ENMAC | Program - Short Term Need | Renewal | 86870 | 95840.3672 | 95237.2648 | 98242.0188 | 101237.2941 | 1500 | 477426.9449 | 1562633014.0763 | 89.47%
ESS_88_S | Zone Substation Civil Refurbishment | Program - Short Term Need | Compliance | 67364.801 | 82628.9717 | 85326.5773 | 87949.0458 | 90559.7986 | 1500 | 413829.1944 | 1563046843.2707 | 89.49%
ESS_45_L | Pole Top Refurbishment - Subtransmission | Program - Long Term Need | Renewal | 348193.7664 | 506812.5527 | 523800.9613 | 540291.1761 | 556781.3909 | 1450 | 2475879.8474 | 1565522723.1181 | 89.63%
ESS_22_L | Crossings of Navigable Waterways | Program - Long Term Need | Compliance | 385527.8486 | 388464.9064 | 397727.5873 | 406489.1992 | 415090.5541 | 1450 | 1993300.0956 | 1567516023.2136 | 89.75%
ESS_83_L | Zone Substation Surge Diverter Replacement | Program - Long Term Need | Renewal | 87607.2105 | 89133.181 | 92120.7766 | 95020.9076 | 97921.0386 | 1450 | 461803.1144 | 1567977826.328 | 89.77%
ESS_43_L | LV UG Cable replacement (CONSAC) | Program - Long Term Need | Renewal | 295574.5089 | 601348.8834 | 725073.0413 | 747949.2351 | 770753.2647 | 1350 | 3140698.9334 | 1571118525.2615 | 89.95%
ESS_21_L | LV network augmentation - PQ | Program - Long Term Need | Capacity | 374739.6202 | 384941.8607 | 401726.5673 | 418416.3261 | 435393.5019 | 1350 | 2015217.8761 | 1573133743.1376 | 90.07%
ESS_1011 | Googong Town - establish new 132/11kV substation | Major Project - Committed Project | Network Connection | 7461130.59 | 963560.1102 | 0 | 0 | 0 | 1350 | 8424690.7002 | 1581558433.8378 | 90.55%
ESS_9_S | Power factor correction - DM | Program - Short Term Need | Capacity | 409500 | 335696.2319 | 2300932.3165 | 2373527.1731 | 2445893.0256 | 1350 | 7865548.7472 | 1589423982.585 | 91%
ESS_65_S | Broken Hill asset refurbishment | Program - Short Term Need | Renewal | 762091.6 | 298986.5046 | 113377.719 | 650700 | 120520.8664 | 1350 | 1945676.69 | 1591369659.275 | 91.11%
ESS_101_L | LIDAR - Capitalised Overhead Data Capture | Program - Long Term Need | Renewal | 1340489.4677 | 1634332.5575 | 1722451.3031 | 1807876.746 | 1891612.0758 | 1300 | 8396762.1501 | 1599766421.4251 | 91.59%
ESS_31_L | Enclosed Substation Refurbishment Programme | Program - Long Term Need | Renewal | 938617.2999 | 954812.4894 | 986794.1161 | 1017927.6597 | 1048962.9912 | 1300 | 4947114.5563 | 1604713535.9814 | 91.88%
ESS_75_M | Zone Substation Perimeter Fencing & Security Refurbishment and Replacement | Program - Medium Term Need | Compliance | 7078.554 | 53678.8009 | 55248.4941 | 56756.6568 | 58256.4088 | 1300 | 231018.9146 | 1604944554.896 | 91.89%
ESS_2_L | Distribution Growth - Thermal Constraints | Program - Long Term Need | Network Connection | 3071058.3328 | 2214197.888 | 2158157.8912 | 2075474.9963 | 1901264.5834 | 1250 | 11420153.6917 | 1616364708.5877 | 92.54%
ESS_1_L | Distribution Growth - Voltage Constraints | Program - Long Term Need | Network Connection | 2417096.2599 | 1933286.2935 | 1998090.2477 | 2060993.7927 | 2123897.3377 | 1250 | 10533363.9315 | 1626898072.5192 | 93.15%
ESS_71_L | Zone Substation Power Transformer Replacement | Program - Long Term Need | Renewal | 501215.7135 | 950201.2827 | 1197612.6782 | 1013435.3178 | 1204398.5158 | 1200 | 4866863.5079 | 1631764936.0271 | 93.42%
ESS_20_L | HV network augmentation - PQ | Program - Long Term Need | Capacity | 104128.6963 | 106963.5874 | 111627.5448 | 116265.1191 | 120982.5578 | 1200 | 559967.5054 | 1632324903.5325 | 93.46%
ESS_41_L | LV UG pit and pillar | Program - Long Term Need | Renewal | 78228 | 79581.3444 | 82248.9192 | 84838.266 | 87427.6128 | 1200 | 412324.1424 | 1632737227.6749 | 93.48%
ESS_87_L | Zone Substation Earthing System Refurbishment | Program - Long Term Need | Compliance | 58120.3725 | 59228.6811 | 61213.5594 | 63140.1865 | 65066.7838 | 1200 | 306769.5832 | 1633043997.2581 | 93.5%
ESS_27_L | Replacements due to voltage drop - Services | Program - Long Term Need | Capacity | 28502.752 | 28994.5472 | 29965.7251 | 30911.1495 | 31853.5915 | 1200 | 150227.7652 | 1633194225.0233 | 93.51%
ESS_56_M | Load Control Relay replacement | Program - Medium Term Need | Renewal | 361100.448 | 367347.4858 | 379661.011 | 391613.4359 | 403565.8607 | 1200 | 1903288.2413 | 1635097513.2647 | 93.61%
ESS_40_M | Unplanned UG cable replacement | Program - Medium Term Need | Renewal | 84684 | 89870.8625 | 96636.1092 | 103454.8888 | 110409.2723 | 1200 | 485055.1328 | 1635582568.3974 | 93.64%
ESS_2007 | Data Network Asset Replacement | Major Project - Committed Project | Renewal | 60000 | 42784.2354 | 1850052.6713 | 45612.3659 | 47003.0294 | 1200 | 2045452.3019 | 1637628020.6994 | 93.76%
ESS_39_S | Noise related replacements | Program - Short Term Need | Compliance | 17254.7874 | 17553.2953 | 18141.6835 | 18712.817 | 19283.9504 | 1200 | 90946.5336 | 1637718967.233 | 93.77%
ESS_82_L | Zone Substation Current Transformer Replacement | Program - Long Term Need | Renewal | 163352.9775 | 189936.0647 | 196160.9597 | 202193.8004 | 208221.453 | 1100 | 959865.2553 | 1638678832.4883 | 93.82%
ESS_42_L | High Voltage Cast Pothead Replacement | Program - Long Term Need | Compliance | 85410.8867 | 86883.4243 | 89792.9535 | 92627.7754 | 95450.9859 | 1100 | 450166.0256 | 1639128998.5139 | 93.85%
ESS_81_L | Zone Substation Voltage Transformer Replacement | Program - Long Term Need | Renewal | 66069.7725 | 47748.8066 | 51473.3898 | 55378.9622 | 60716.0228 | 1100 | 281386.954 | 1639410385.4679 | 93.86%
ESS_74_L | Zone Substation On Line Tap Changer Refurbishment | Program - Long Term Need | Renewal | 36750 | 37407.4435 | 38661.3448 | 39878.3122 | 41095.2696 | 1100 | 193792.3701 | 1639604177.838 | 93.87%
ESS_4014 | Toongi 132kV connection | Major Project - Future/Planning Stage | Network Connection | 0 | 5305422.96 | 5483261.28 | 0 | 0 | 1100 | 10788684.24 | 1650392862.078 | 94.49%
ESS_4_L | Distribution Growth - Customer Connections | Program - Long Term Need | Network Connection | 834474.1582 | 1705535.1812 | 1762704.8949 | 1818198.0773 | 1873691.2598 | 1050 | 7994603.5713 | 1658387465.6493 | 94.95%
ESS_5_S | Distribution Feeder Voltage Profile - NT | Program - Short Term Need | Capacity | 0 | 0 | 1275988.8733 | 1316246.5677 | 1356377.2667 | 1050 | 3948612.7076 | 1662336078.357 | 95.17%
ESS_36_S | Distribution Substation Monitoring - NT | Program - Short Term Need | Capacity | 0 | 0 | 1068562.1107 | 1102275.4505 | 1135882.4395 | 1050 | 3306720.0007 | 1665642798.3577 | 95.36%
ESS_54_S | Controllable load - DM program | Program - Short Term Need | Capacity | 0 | 275837.6445 | 855230.6375 | 882213.3288 | 909110.9009 | 1050 | 2922392.5116 | 1668565190.8694 | 95.53%
ESS_6_S | High Voltage Feeder end point monitoring - NT | Program - Short Term Need | Capacity | 0 | 0 | 287045.116 | 296101.4445 | 305129.2044 | 1050 | 888275.765 | 1669453466.6344 | 95.58%
ESS_90_S | Minor Zone Substation Monitoring - NT | Program - Short Term Need | Compliance | 0 | 152836.5884 | 157201.1719 | 161398.6023 | 165556.0966 | 1050 | 636992.4592 | 1670090459.0935 | 95.62%
ESS_68_S | Broken Hill Safety & Legal | Program - Short Term Need | Compliance | 127200 | 2194.3161 | 136053.2628 | 0 | 144625.0397 | 1050 | 410072.6186 | 1670500531.7121 | 95.64%
ESS_47_S | New/refurbished Zone Substation - Comms | Program - Short Term Need | Capacity | 172200 | 76177.6751 | 0 | 0 | 83689.2718 | 1050 | 332066.9468 | 1670832598.659 | 95.66%
ESS_94_S | New Zone Substations meters | Program - Short Term Need | Capacity | 0 | 62658.2251 | 64447.5679 | 66168.3832 | 67872.826 | 1050 | 261147.0022 | 1671093745.6612 | 95.68%
ESS_49_M | RF Linking replacement | Program - Medium Term Need | Renewal | 191311.608 | 188645.567 | 194964.2863 | 201115.447 | 207247.2035 | 1000 | 983284.1118 | 1672077029.773 | 95.73%
ESS_48_M | RF Infrastructure Refurbishment | Program - Medium Term Need | Renewal | 212356.65 | 245515.689 | 84579.7613 | 87242.4873 | 89905.2133 | 1000 | 719599.801 | 1672796629.574 | 95.77%
ESS_57_M | Convert existing legacy controllers to MD3311-derived devices to enable migration into ENMAC | Program - Medium Term Need | Renewal | 18615 | 20537.2216 | 20407.9853 | 21051.8612 | 21693.7059 | 1000 | 102305.7739 | 1672898935.3479 | 95.78%
ESS_88_M | Zone Substation Civil Refurbishment | Program - Medium Term Need | Compliance | 14435.3145 | 17706.2082 | 18284.2666 | 18846.2241 | 19405.6711 | 1000 | 88677.6845 | 1672987613.0324 | 95.78%
ESS_33_L | LV Protection Installation program forecast Far West | Program - Long Term Need | Renewal | 54759.6 | 63665.0755 | 70734.0705 | 72960.9088 | 75187.747 | 950 | 337307.4018 | 1673324920.4342 | 95.8%
ESS_99_L | Replace rusting streetlight triangular columns | Program - Long Term Need | Renewal | 53705.5259 | 54632.1775 | 56462.0927 | 58243.4826 | 60019.2529 | 950 | 283062.5315 | 1673607982.9657 | 95.82%
ESS_35_L | Substation Augmentation - PQ | Program - Long Term Need | Capacity | 569407.9856 | 584910.0485 | 610414.0131 | 635773.7067 | 661570.1235 | 900 | 3062075.8774 | 1676670058.8431 | 96%
ESS_63_L | Installation of SCADA facilities into existing ZSS sites where none currently exists | Program - Long Term Need | Capacity | 177273.984 | 256716.9432 | 265310.2038 | 273656.0594 | 282026.999 | 900 | 1254984.1895 | 1677925043.0326 | 96.07%
ESS_62_L | Replacement program of existing RTU hardware | Program - Long Term Need | Renewal | 191694.4395 | 197474.5717 | 204084.7722 | 210504.6611 | 216943.8454 | 900 | 1020702.2899 | 1678945745.3224 | 96.13%
ESS_9_M | Power factor correction - DM | Program - Medium Term Need | Capacity | 87750 | 71934.9068 | 493056.925 | 508612.9657 | 524119.9341 | 900 | 1685474.7315 | 1680631220.054 | 96.22%
ESS_93_L | Meter replacement program | Program - Long Term Need | Renewal | 615010.2306 | 866852.0494 | 924940.5842 | 1295428.4008 | 1310951.3502 | 850 | 5013182.6153 | 1685644402.6693 | 96.51%
ESS_70_L | Zone Substation Power Transformer Refurbishment | Program - Long Term Need | Renewal | 261931.617 | 165529.2574 | 211040.5828 | 332273.936 | 309532.34 | 750 | 1280307.7332 | 1686924710.4025 | 96.58%
ESS_89_L | Zone Substation Building Refurbishment | Program - Long Term Need | Compliance | 190804.65 | 249631.5339 | 257724.6353 | 265562.2199 | 283881.0731 | 750 | 1247604.1121 | 1688172314.5146 | 96.65%
ESS_55_L | Replacement FI Plants | Program - Long Term Need | Renewal | 79291.4205 | 77353.7603 | 81631.9412 | 84207.4447 | 86774.8235 | 750 | 409259.3902 | 1688581573.9048 | 96.68%
ESS_91_S | Meters for new connections | Program - Short Term Need | Network Connection | 2633299.0321 | 2598097.2277 | 5445151.2819 | 2701175.7426 | 2804754.3328 | 750 | 16182477.6171 | 1704764051.5219 | 97.6%
ESS_25_S | Customer Outage Communications Improvement Program | Program - Short Term Need | Compliance | 1179886.848 | 2502485.5042 | 3224463.7341 | 852707.646 | 900701.4447 | 750 | 8660245.177 | 1713424296.6989 | 98.1%
ESS_64_S | Commissioning of existing and new DSA sites | Program - Short Term Need | Capacity | 571762.527 | 547399.513 | 565722.9882 | 583518.9204 | 601368.3394 | 750 | 2869772.2881 | 1716294068.9869 | 98.26%
ESS_51_S | Technology pole top devices/modem (linked with ESS_25) | Program - Short Term Need | Capacity | 0 | 0 | 694166.8991 | 716067.9982 | 737900.009 | 750 | 2148134.9064 | 1718442203.8933 | 98.39%
ESS_95_S | Power Quality Monitoring utilising metering technology - PQ | Program - Short Term Need | Capacity | 105000.7 | 138531.7962 | 126983.0197 | 130989.3583 | 134983.0588 | 750 | 636487.933 | 1719078691.8263 | 98.42%
ESS_5_M | Distribution Feeder Voltage Profile - NT | Program - Medium Term Need | Capacity |  | 0 | 273426.1871 | 282052.8359 | 290652.2714 | 700 | 846131.2945 | 1719924823.1208 | 98.47%
ESS_36_M | Distribution Substation Monitoring - NT | Program - Medium Term Need | Capacity |  | 0 | 228977.5952 | 236201.8822 | 243403.3799 | 700 | 708582.8573 | 1720633405.9781 | 98.51%
ESS_54_M | Controllable load - DM program | Program - Medium Term Need | Capacity | 0 | 59108.0667 | 183263.708 | 189045.7133 | 194809.4788 | 700 | 626226.9668 | 1721259632.9449 | 98.55%
ESS_6_M | High Voltage Feeder end point monitoring - NT | Program - Medium Term Need | Capacity |  | 0 | 61509.6677 | 63450.3095 | 65384.8295 | 700 | 190344.8068 | 1721449977.7517 | 98.56%
ESS_68_M | Broken Hill Safety & Legal | Program - Medium Term Need | Compliance | 42400 | 731.4387 | 45351.0876 | 0 | 48208.3466 | 700 | 136690.8729 | 1721586668.6246 | 98.57%
ESS_90_M | Minor Zone Substation Monitoring - NT | Program - Medium Term Need | Compliance | 0 | 32750.6975 | 33685.9654 | 34585.4148 | 35476.3064 | 700 | 136498.3841 | 1721723167.0087 | 98.57%
ESS_47_M | New/refurbished Zone Substation - Comms | Program - Medium Term Need | Capacity | 36900 | 16323.7875 | 0 | 0 | 17933.4154 | 700 | 71157.2029 | 1721794324.2116 | 98.58%
ESS_94_M | New Zone Substations meters | Program - Medium Term Need | Capacity | 0 | 13426.7625 | 13810.1931 | 14178.9393 | 14544.177 | 700 | 55960.0719 | 1721850284.2835 | 98.58%
ESS_75_L | Zone Substation Perimeter Fencing & Security Refurbishment and Replacement | Program - Long Term Need | Compliance | 7078.554 | 53678.8009 | 55248.4941 | 56756.6568 | 58256.4088 | 650 | 231018.9146 | 1722081303.1981 | 98.6%
ESS_56_L | Load Control Relay replacement | Program - Long Term Need | Renewal | 361100.448 | 367347.4858 | 379661.011 | 391613.4359 | 403565.8607 | 600 | 1903288.2413 | 1723984591.4394 | 98.7%
ESS_40_L | Unplanned UG cable replacement | Program - Long Term Need | Renewal | 84684 | 89870.8625 | 96636.1092 | 103454.8888 | 110409.2723 | 600 | 485055.1328 | 1724469646.5721 | 98.73%
ESS_53_S | New FI Plant - Growth | Program - Short Term Need | Capacity | 833103.894 | 320817.3995 | 0 | 0 | 168728.8235 | 600 | 1322650.117 | 1725792296.6892 | 98.81%
ESS_61_S | Brownfield SCADA - ZSS Developments | Program - Short Term Need | Capacity | 544723.081 | 184309.6003 | 190479.1207 | 0 | 67493.6408 | 600 | 987005.4427 | 1726779302.1319 | 98.86%
ESS_1017_S | Metering for ZS (Power Quality meters) | Program - Short Term Need | Compliance | 0 | 303427.5069 | 158735.0918 | 163732.1305 | 168729.5357 | 600 | 794624.2649 | 1727573926.3968 | 98.91%
ESS_49_L | RF Linking replacement | Program - Long Term Need | Renewal | 191311.608 | 188645.567 | 194964.2863 | 201115.447 | 207247.2035 | 500 | 983284.1118 | 1728557210.5086 | 98.97%
ESS_48_L | RF Infrastructure Refurbishment | Program - Long Term Need | Renewal | 212356.65 | 245515.689 | 84579.7613 | 87242.4873 | 89905.2133 | 500 | 719599.801 | 1729276810.3096 | 99.01%
ESS_57_L | Convert existing legacy controllers to MD3311-derived devices to enable migration into ENMAC | Program - Long Term Need | Renewal | 18615 | 20537.2216 | 20407.9853 | 21051.8612 | 21693.7059 | 500 | 102305.7739 | 1729379116.0835 | 99.01%
ESS_88_L | Zone Substation Civil Refurbishment | Program - Long Term Need | Compliance | 14435.3145 | 17706.2082 | 18284.2666 | 18846.2241 | 19405.6711 | 500 | 88677.6845 | 1729467793.768 | 99.02%
ESS_25_M | Customer Outage Communications Improvement Program | Program - Medium Term Need | Compliance | 252832.896 | 536246.8937 | 690956.5144 | 182723.067 | 193007.4524 | 500 | 1855766.8236 | 1731323560.5916 | 99.12%
ESS_64_M | Commissioning of existing and new DSA sites | Program - Medium Term Need | Capacity | 122520.5415 | 117299.8956 | 121226.3546 | 125039.7687 | 128864.6442 | 500 | 614951.2046 | 1731938511.7962 | 99.16%
ESS_51_M | Technology pole top devices/modem (linked with ESS_25) | Program - Medium Term Need | Capacity |  | 0 | 148750.0498 | 153443.1425 | 158121.4305 | 500 | 460314.6228 | 1732398826.419 | 99.19%
ESS_95_M | Power Quality Monitoring utilising metering technology - PQ | Program - Medium Term Need | Capacity | 22500.15 | 29685.3849 | 27210.6471 | 28069.1482 | 28924.9412 | 500 | 136390.2714 | 1732535216.6903 | 99.19%
ESS_9_L | Power factor correction - DM | Program - Long Term Need | Capacity | 87750 | 71934.9068 | 493056.925 | 508612.9657 | 524119.9341 | 450 | 1685474.7315 | 1734220691.4219 | 99.29%
ESS_50_S | Telecomms into Brownfields zone subs | Program - Short Term Need | Capacity | 484148 | 412834.9602 | 426662.9461 | 440124.244 | 453543.0775 | 450 | 2217313.228 | 1736438004.6498 | 99.42%
ESS_59_S | Synchronisation of multiple FI plant | Program - Short Term Need | Renewal | 56000 | 187164.3934 | 0 | 0 | 0 | 450 | 243164.3934 | 1736681169.0432 | 99.43%
ESS_58_S | Mobile FI Plant Studies – plans and equipment necessary for installation of emergency plant where required | Program - Short Term Need | Renewal | 20265 | 22367.384 | 22222.0284 | 22923.1377 | 23622.0353 | 450 | 111399.5854 | 1736792568.6286 | 99.44%
ESS_53_M | New FI Plant - Growth | Program - Medium Term Need | Capacity | 178522.263 | 68746.5856 | 0 | 0 | 36156.1765 | 400 | 283425.0251 | 1737075993.6537 | 99.45%
ESS_61_M | Brownfield SCADA - ZSS Developments | Program - Medium Term Need | Capacity | 116726.3745 | 39494.9143 | 40816.9544 | 0 | 14462.923 | 400 | 211501.1663 | 1737287494.82 | 99.47%
ESS_1017_M | Metering for ZS (Power Quality meters) | Program - Medium Term Need | Compliance | 0 | 65020.18 | 34014.6625 | 35085.4565 | 36156.3291 | 400 | 170276.6282 | 1737457771.4482 | 99.48%
ESS_5_L | Distribution Feeder Voltage Profile - NT | Program - Long Term Need | Capacity |  | 0 | 273426.1871 | 282052.8359 | 290652.2714 | 350 | 846131.2945 | 1738303902.7427 | 99.52%
ESS_36_L | Distribution Substation Monitoring - NT | Program - Long Term Need | Capacity |  | 0 | 228977.5952 | 236201.8822 | 243403.3799 | 350 | 708582.8573 | 1739012485.6 | 99.56%
ESS_54_L | Controllable load - DM program | Program - Long Term Need | Capacity | 0 | 59108.0667 | 183263.708 | 189045.7133 | 194809.4788 | 350 | 626226.9668 | 1739638712.5668 | 99.6%
ESS_6_L | High Voltage Feeder end point monitoring - NT | Program - Long Term Need | Capacity |  | 0 | 61509.6677 | 63450.3095 | 65384.8295 | 350 | 190344.8068 | 1739829057.3736 | 99.61%
ESS_68_L | Broken Hill Safety & Legal | Program - Long Term Need | Compliance | 42400 | 731.4387 | 45351.0876 | 0 | 48208.3466 | 350 | 136690.8729 | 1739965748.2464 | 99.62%
ESS_90_L | Minor Zone Substation Monitoring - NT | Program - Long Term Need | Compliance | 0 | 32750.6975 | 33685.9654 | 34585.4148 | 35476.3064 | 350 | 136498.3841 | 1740102246.6305 | 99.63%
ESS_47_L | New/refurbished Zone Substation - Comms | Program - Long Term Need | Capacity | 36900 | 16323.7875 | 0 | 0 | 17933.4154 | 350 | 71157.2029 | 1740173403.8334 | 99.63%
ESS_94_L | New Zone Substations meters | Program - Long Term Need | Capacity | 0 | 13426.7625 | 13810.1931 | 14178.9393 | 14544.177 | 350 | 55960.0719 | 1740229363.9053 | 99.63%
ESS_50_M | Telecomms into Brownfields zone subs | Program - Medium Term Need | Capacity | 103746 | 88464.6343 | 91427.7742 | 94312.338 | 97187.8023 | 300 | 475138.5488 | 1740704502.4542 | 99.66%
ESS_59_M | Synchronisation of multiple FI plant | Program - Medium Term Need | Renewal | 12000 | 40106.6557 | 0 | 0 | 0 | 300 | 52106.6557 | 1740756609.1099 | 99.66%
ESS_58_M | Mobile FI Plant Studies – plans and equipment necessary for installation of emergency plant where required | Program - Medium Term Need | Renewal | 4342.5 | 4793.0108 | 4761.8632 | 4912.1009 | 5061.8647 | 300 | 23871.3397 | 1740780480.4496 | 99.67%
ESS_52_S | Low Voltage Feeder end point monitoring devices/modem | Program - Short Term Need | Capacity | 0 | 0 | 351996.9305 | 363102.5013 | 374173.039 | 300 | 1089272.4708 | 1741869752.9205 | 99.73%
ESS_25_L | Customer Outage Communications Improvement Program | Program - Long Term Need | Compliance | 252832.896 | 536246.8937 | 690956.5144 | 182723.067 | 193007.4524 | 250 | 1855766.8236 | 1743725519.7441 | 99.83%
ESS_64_L | Commissioning of existing and new DSA sites | Program - Long Term Need | Capacity | 122520.5415 | 117299.8956 | 121226.3546 | 125039.7687 | 128864.6442 | 250 | 614951.2046 | 1744340470.9487 | 99.87%
ESS_51_L | Technology pole top devices/modem (linked with ESS_25) | Program - Long Term Need | Capacity |  | 0 | 148750.0498 | 153443.1425 | 158121.4305 | 250 | 460314.6228 | 1744800785.5715 | 99.9%
ESS_95_L | Power Quality Monitoring utilising metering technology - PQ | Program - Long Term Need | Capacity | 22500.15 | 29685.3849 | 27210.6471 | 28069.1482 | 28924.9412 | 250 | 136390.2714 | 1744937175.8429 | 99.9%
ESS_53_L | New FI Plant - Growth | Program - Long Term Need | Capacity | 178522.263 | 68746.5856 | 0 | 0 | 36156.1765 | 200 | 283425.0251 | 1745220600.8679 | 99.92%
ESS_61_L | Brownfield SCADA - ZSS Developments | Program - Long Term Need | Capacity | 116726.3745 | 39494.9143 | 40816.9544 | 0 | 14462.923 | 200 | 211501.1663 | 1745432102.0342 | 99.93%
ESS_1017_L | Metering for ZS (Power Quality meters) | Program - Long Term Need | Compliance | 0 | 65020.18 | 34014.6625 | 35085.4565 | 36156.3291 | 200 | 170276.6282 | 1745602378.6624 | 99.94%
ESS_52_M | Low Voltage Feeder end point monitoring devices/modem | Program - Medium Term Need | Capacity |  | 0 | 75427.9137 | 77807.6789 | 80179.9369 | 200 | 233415.5295 | 1745835794.1919 | 99.96%
ESS_50_L | Telecomms into Brownfields zone subs | Program - Long Term Need | Capacity | 103746 | 88464.6343 | 91427.7742 | 94312.338 | 97187.8023 | 150 | 475138.5488 | 1746310932.7407 | 99.98%
ESS_59_L | Synchronisation of multiple FI plant | Program - Long Term Need | Renewal | 12000 | 40106.6557 | 0 | 0 | 0 | 150 | 52106.6557 | 1746363039.3965 | 99.99%
ESS_58_L | Mobile FI Plant Studies – plans and equipment necessary for installation of emergency plant where required | Program - Long Term Need | Renewal | 4342.5 | 4793.0108 | 4761.8632 | 4912.1009 | 5061.8647 | 150 | 23871.3397 | 1746386910.7362 | 99.99%
ESS_52_L | Low Voltage Feeder end point monitoring devices/modem | Program - Long Term Need | Capacity |  | 0 | 75427.9137 | 77807.6789 | 80179.9369 | 100 | 233415.5295 | 1746620326.2657 | 100%