## AER Summary
Alternative Control Service Summary
Service: | Pillar/Pole Top Disconnection Completed
Pricing mechanism | Fee Based
Current Fee | 148
Proposed Fee (FY15/16) | 767.2443
Detailed Service Description
Available on "Service Description" sheet.
2014-2019 Pricing Methodology for Service (Summary)
Method: 3. Bottom up costs for pole top disconnection and subsequent reconnection
Method: 2. Allocation of operating costs (from relevant internal order) for meter data costs.
Detail:
An AHT of 1.5 hours has been used for the disconnection of a pole top, utilising 2 grade 2 technicians and an installation inspector
An AHT of 1.5 hours has been used for the reconnection of a pole top, utilising 2 grade 2 technicians
- Historical Costs relate to direct and estimated Costs only, no indirect Costs have been applied.
Historical Costs for FY2010-14 Regulatory Period
Costs | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | Total
Direct Costs | 642.5424 | 586.1772 | 481.964 | 494.3152 | 473.8804 | 2678.8794
Estimated Costs | 1790100.559 | 19538.7126 | 24490.1147 | 55319.5509 | 41506.7301 | 1930955.6671
Indirect Costs | [5 empty] | 0
Total Costs | 1790743.1014 | 20124.8898 | 24972.0787 | 55813.8661 | 41980.6105 | 1933634.5465
Actual volumes | 2967.5897 | 31.5811 | 38.5946 | 85 | 62.1818 | 3184.9472
Unit Prices | FY2009 | FY2010 | FY2011 | FY2012 | FY2013
Average cost per unit | 603.4335 | 637.2451 | 647.0357 | 656.6337 | 675.1268
Projected Costs for FY2014-19 Regulatory Period
Costs | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Direct Costs | 502.3017 | 519.3385 | 539.7745 | 562.2318 | 584.5861 | 2708.2325
Estimated Costs | 43996.1195 | 45488.3579 | 47278.3248 | 49245.3395 | 51203.3342 | 237211.476
Indirect Costs | 1645.1472 | 1700.9465 | 1767.8788 | 1841.4314 | 1914.6467 | 8870.0506
Total Costs | 46143.5684 | 47708.6429 | 49585.978 | 51649.0026 | 53702.567 | 248789.759
Indirect Cost (CAM) % | 3.697% | 3.697% | 3.697% | 3.697% | 3.697%
Notes:
Costs projected based on status quo as per 2012-13 volumes, costs and AHT
Projected Volumes for FY2014-19 Regulatory Period
The following service order volumes were completed:
Workload | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Projected volumes | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 310.9091
Unit Prices | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Average cost per unit | 742.0749 | 767.2443 | 797.4353 | 830.6126 | 863.6378 | 800.201
Notes:
Costs projected based on status quo as per 2012-13 volumes, costs and AHT

## Comparison
Alternative Control Service - Benchmarking workings
Service: | Pillar/Pole Top Disconnection Completed
Pricing mechanism | Fee Based
Proposed Fee (FY15/16) | 767.2443
No direct comparison with other jurisdictions.
Comparisons
Comparisons within NSW | Ausgrid | Endeavour Energy | Essential Energy
Pillar/Pole Top Disconnection Completed | 767.2443

## Service Description
Alternative Control Service - Service Description
Service: | Pillar/Pole Top Disconnection Completed
Existing Service Description (2009 - 14) (AER Final Decision April 2009)
A site visit to a customer’s premises: 1. to disconnect the supply of electricity to a customer at the pole top or pillar box for breach by the customer of a customer supply contract or a customer connection contract, or where a retailer supplier has requested that the supply to a customer be disconnected, where the customer has denied access to the meter or had prior to the visit, reconnected supply without authorisation by the DNSP following a previous disconnection and 2. to reconnect the supply, following the disconnection in section 1. For the avoidance of doubt, if, following a request from a customer, the reconnection component of the services described in section H.3.1 as ‘disconnection at meter box’ and ‘disconnection at pole top/pillar box’ are provided outside the hours of 7.30 am and 4.00 pm on a working day, the charge that the DNSP may levy for the provision of each of hose services will be the charge for each service in section H.3.1 plus the charge for the service described as ‘reconnection outside normal business hours’, if applicable.
AER Framework and Approach paper March 2013
Reconnections/Disconnections Disconnection or reconnection visits (acceptable payment received); Disconnections or reconnections at the meter box (technical/hard disconnect); Disconnections or reconnections at the meter box (non-technical/soft disconnect); Disconnections or reconnections at the pole top/pillar box; Disconnections or reconnections outside of business hours.
Detailed Service Description
A site visit to a customer’s premises to disconnect the supply of electricity to a customer at the pole top or pillar box for breach by the customer of their customer supply contract or for a breach of Ausgrid's customer connection contract, or where a Retailer supplier has requested that the supply to a customer be disconnected, where the customer has denied access to the meter or had prior to the visit, reconnected supply without authorisation by Ausgrid following a previous disconnection. This charge includes the reconnection at the request of the retailer. If following a request from a retailer the reconnection component of this service is provided outside the hours of 7.30am and 4.00pm on a working day, the additional ‘Reconnection outside normal business hours’ charge, will apply. Ausgrid is may be notified to conduct this service via the use of the 'De-energisation' B2B service order with sub type 'Pillar-Box, Pit or Pole-Top' or 'Pillar-Box, Pit or Pole-Top (Non Payment)'.

## Historical
Alternative Control Service - Historical Revenue & Costs Workings
Service: | Pillar/Pole Top Disconnection Completed
FY2009-14 Classification: | Fee based
Historical Revenue
IO/Cost Centre # | Description | Allocation Method | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | Total
129020485 | Disconnection at Pole Top / Pillar Box | Direct revenue | 347208 | 4674 | 5712 | 12580 | 9620 | 379794
|  | Direct revenue | [5 empty] | 0
|  | Direct revenue | [5 empty] | 0
|  | Direct revenue | [5 empty] | 0
Total |  |  | 347208 | 4674 | 5712 | 12580 | 9620 | 379794
* Projected revenue result
Please include SAP IO Snapshots below:
Historical Completed Volumes
Volumes | Source |  | FY2009 | FY2010 | FY2011 | FY2012 | FY2013* | Total
Completed Service Orders 1 | Network Revenue Accounting |  | 2967.5897 | 31.5811 | 38.5946 | 85 | 62.1818 | 3184.9472
0
0
Total Service Orders |  |  | 2967.5897 | 31.5811 | 38.5946 | 85 | 62.1818 | 3184.9472
Notes:
FY 2013 extrapolated form May actuals.
Historical Costs
Details on how costs were obtained:
1) Costs extracted from SAP/TM1 for NEMS costs
2) Costs estimated for Network Operations costs
Direct Costs (on IO's, work orders, cost objects, cost centres)
IO/Cost Centre # | Description | Allocation Method | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | Total
131610331 | Disconnections -Non Payment & Lge Vacant |  | 210.0431 | 180.0323 | 181.6764 | 198.3584 | 99.432 | 869.5423
131610328 | Re-energisations |  | 432.4994 | 406.1449 | 300.2876 | 295.9568 | 374.4484 | 1809.3371
Total |  |  | 642.5424 | 586.1772 | 481.964 | 494.3152 | 473.8804 | 2678.8794
Estimated Costs
Due to the lack of information/data entry, the following costs were estimated based on feedback from the business:
Activity | Details of Cost Modelling Adopted (eg AHT x Labour) |  | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | Total
Disconnection | Refer "Pole Top Pillar AHT" Worksheet for analysis |  | 1125640.9011 | 12286.2226 | 15399.7353 | 34785.7268 | 26100.0271 | 1214212.6129
Reconnection | Refer "Pole Top Pillar AHT" Worksheet for analysis |  | 664459.6579 | 7252.4899 | 9090.3794 | 20533.824 | 15406.703 | 716743.0542
0
0
0
0
0
Total |  |  | 1790100.559 | 19538.7126 | 24490.1147 | 55319.5509 | 41506.7301 | 1930955.6671
* Projected full year costs.
Indirect Costs
Indirect costs for this service have been estimated based on the CAM as follows:
Total Indirect Costs for Service
Overhead Alloc | Description | Allocation Method | FY2009 | FY2010 | FY2011 | FY2012 | FY2013* | Total
I&CT | All I&CT Costs | FTE's | 89591.8156 | 1039.3248 | 1816.9382 | 4219.7081 | 2898.703 | 99566.4897
F&C | - Finance & Compliance Functions | Weighted Revenue | 9965.6942 | 78.21 | 66.5016 | 140.6771 | 90.7418 | 10341.8246
| - Insurances | Nature of Risk | 0 | 0 | 0 | 0 | 0 | 0
| - Contact Centre | Call Volumes | 0 | 0 | 0 | 0 | 0 | 0
P&S | - Human Resources | FTE's | 25675.4826 | 177.6457 | 308.996 | 816.0346 | 445.2988 | 27423.4577
| - Internal Audit | Audit Plan | 0 | 0 | 0 | 0 | 0 | 0
| - Corporate Communications | Weighted Revenue | 495.8249 | 18.4987 | 17.6714 | 8.3014 | 3.4447 | 543.7411
| - Property | Floor Space | 0 | 0 | 0 | 0 | 0 | 0
HS&E | - Safety Management | FTE's | 10866.5008 | 141.953 | 205.2989 | 223.7663 | 130.7491 | 11568.268
NNSW | All NNSW Costs | Weighted Revenue | 0 | 0 | 0 | 0 | 11.7099 | 11.7099
Total |  |  | 136595.3181 | 1455.6322 | 2415.4061 | 5408.4875 | 3580.6473 | 149455.4911
The proportion of total Ausgrid indirect costs were as follows:
Services % of Ausgrid Overhead Costs
Overhead Alloc | Description | Allocation Method | FY2009 | FY2010 | FY2011 | FY2012 | FY2013*
I&CT | All I&CT Costs | FTE's | 0.2214% | 0.002387% | 0.002847% | 0.006245% | 0.004662%
F&C | - Finance & Compliance Functions | Weighted Revenue | 0.02472% | 0.0002647% | 0.0002657% | 0.0005003% | 0.0003242%
| - Insurances | Nature of Risk
| - Contact Centre | Call Volumes | 0% | 0% | 0% | 0% | 0%
P&S | - Human Resources | FTE's | 0.2214% | 0.002387% | 0.002847% | 0.006245% | 0.004662%
| - Internal Audit | Audit Plan
| - Corporate Communications | Weighted Revenue | 0.02472% | 0.0002647% | 0.0002657% | 0.0005003% | 0.0003242%
| - Property | Floor Space | 0% | 0% | 0% | 0% | 0%
HS&E | - Safety Management | FTE's | 0.2214% | 0.002387% | 0.002847% | 0.006245% | 0.004662%
NNSW | All NNSW Costs | Weighted Revenue | 0.02472% | 0.0002647% | 0.0002657% | 0.0005003% | 0.0003242%
Total Ausgrid indirect costs were as follows:
Total Ausgrid Overhead Costs
Overhead Alloc | Description | Allocation Method | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | Total
I&CT | All I&CT Costs | FTE's | 40457059.3979 | 43549343.016 | 63819548.6781 | 67566868.7854 | 62179600.5699 | 277572420.4473
F&C | - Finance & Compliance Functions | Weighted Revenue | 40313397.4452 | 29545200.4541 | 25028988.0002 | 28116562.3177 | 27993063.2214 | 150997211.4387
| - Insurances | Nature of Risk | 3786285.1913 | 4840757.0606 | 4058744.824 | 4810315.4866 | 5194506.3482 | 22690608.9108
| - Contact Centre | Call Volumes | 2126986.5 | 2245819.63 | 2493817.35 | 2461309.04 | 2542748.59 | 11870681.11
P&S | - Human Resources | FTE's | 11594301.5296 | 7443634.7162 | 10853415.7773 | 13066520.7928 | 9552031.2487 | 52509904.0646
| - Internal Audit | Audit Plan | 1608735.8257 | 1488072.222 | 1718013.6611 | 2198112.6929 | 2144929.745 | 9157864.1466
| - Corporate Communications | Weighted Revenue | 2005719.3858 | 6988209.6325 | 6650931.7429 | 1659165.841 | 1062663.3016 | 18366689.9037
| - Property | Floor Space | 19413362.1224 | 37975290.8491 | 43498278.2928 | 45945463.5695 | 47258615.5426 | 194091010.3764
HS&E | - Safety Management | FTE's | 4906995.882 | 5948051.9285 | 7211076.2964 | 3582993.7607 | 2804676.5301 | 24453794.3977
NNSW | All NNSW Costs | Weighted Revenue | 0 | 0 | 0 | 0 | 3612416.2294 | 3612416.2294
Total |  |  | 126212843.2798 | 140024379.5091 | 165332814.6227 | 169407312.2865 | 164345251.327 | 765322601.0252
Allocator | Source |  | FY2009 | FY2010 | FY2011 | FY2012 | FY2013*
Total Ausgrid FTEs | Scott Richardson |  | 6179 | 6462.3 | 6498.4 | 6419.2 | 6321.2
Total Ausgrid Revenue | TM1 System Extract |  | 1404531774.1921 | 1765685046.5875 | 2149806231.21 | 2514314332.16 | 2967687788.98
Total Call Volumes | Mike McHugh (Property) |  | 196085 | 210625 | 251977 | 224114 | 218981
Total Floor Space | Suzanne Welsby (Finance) - DNSP Volumes FY2009-13.xls |  | 67608 | 67608 | 67608 | 67608 | 67608
Allocator | Source |  | FY2009 | FY2010 | FY2011 | FY2012 | FY2013
Service FTE's | TM1 extraction by IO/Activity (TM1 sources SAP data) - see TM1 Ext FTEs |  | 13.6833 | 0.15423 | 0.18501 | 0.40089 | 0.29468
Service Revenue | See TM1 Ext $ sheet |  | 347208 | 4674 | 5712 | 12580 | 9620
Service Call Volumes | Based on average Floor Area per Employee in F&C Division
Service Floor Space | Assumed no calls received via network contact centre

## Projected
Alternative Control Service - Projected Costs for FY2014-19 Submission
Service: | Pillar/Pole Top Disconnection Completed
FY2014-19 Classification: | Fee based
Projected Volumes
Volumes | Basis of projected volumes |  | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Completed Service Orders 1 | Assume same volume as 2012-13 |  | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 310.9091
Completed Service Orders 2 | [7 empty] | 0
Completed Service Orders 3 | [7 empty] | 0
Total Service Orders |  |  | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 62.1818 | 310.9091
Notes:
Same volume of disconnectoions assumed. Despite disconnection volumes increasing over last 5 years expectation is Network costs will now be contained to
CPI or better.
Projected Costs
Details on how costs have been projected:
As per 2012-13 costs + 2.5% CPI year on year
Direct Costs (on IO's, work orders, cost objects, cost centres)
Activity | Description | Allocation Method | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
131610331 | Disconnections -Non Payment & Lge Vacant | Direct cost | 104.4658 | 107.0774 | 109.7544 | 112.4982 | 115.3107 | 549.1065
131610328 | Re-energisations | Direct cost | 393.4048 | 403.24 | 413.321 | 423.654 | 434.2453 | 2067.8651
0
0
0
0
Total |  |  | 497.8706 | 510.3174 | 523.0753 | 536.1522 | 549.556 | 2616.9715
Estimated Costs
Due to the lack of information/data entry, the following costs were projected based on feedback from the business:
Activity | Details of Cost Modelling Adopted |  | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Disconnect Pole Top/Pilar Box |  |  | 27421.3409 | 28106.8744 | 28809.5463 | 29529.785 | 30268.0296 | 144135.5762
Reconnect Pole Top/Pilar Box |  |  | 16186.6673 | 16591.334 | 17006.1174 | 17431.2703 | 17867.0521 | 85082.4411
Total |  |  | 43608.0083 | 44698.2085 | 45815.6637 | 46961.0553 | 48135.0817 | 229218.0173
Real Escalators by Type |  |  | FY2015 | FY2016 | FY2017 | FY2018 | FY2019
% YOY (Compound)
Labour EGW |  |  | 1.0089 | 1.0177 | 1.0319 | 1.0486 | 1.0637
Labour Hire |  |  | 1.0068 | 1.0202 | 1.0331 | 1.0452 | 1.0578
Contracted Services |  |  | 1.0068 | 1.0202 | 1.0331 | 1.0452 | 1.0578
Materials |  |  | 1 | 1 | 1 | 1 | 1
Cost Incorporating Real Escalators |  |  | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Direct Costs
Labour EGW |  |  | 502.3017 | 519.3385 | 539.7745 | 562.2318 | 584.5861 | 2708.2325
Labour Hire | [7 empty] | 0
Contracted Services |  |  | 0 | 0 | 0 | 0 | 0 | 0
Materials | [7 empty] | 0
|  |  | 502.3017 | 519.3385 | 539.7745 | 562.2318 | 584.5861 | 2708.2325
Cost Incorporating Real Escalators |  |  | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 | Total
Estimated Costs
Labour EGW |  |  | 43996.1195 | 45488.3579 | 47278.3248 | 49245.3395 | 51203.3342 | 237211.476
Labour Hire | [7 empty] | 0
Contracted Services | [7 empty] | 0
Materials | [7 empty] | 0
|  |  | 43996.1195 | 45488.3579 | 47278.3248 | 49245.3395 | 51203.3342 | 237211.476