## Cover page
2023-01-31
Attachment 5.6.h: HV & LV Augmentation CBA model
Ausgrid’s 2024-29 Regulatory Proposal
Empowering communities for a resilient, affordable and net-zero future.

## Assumptions
Assumption
FY20 - FY22 are historical expenditure
FY23 - FY24 are forecast expenditure based on issued projects
FY25 - 29 are based on this model

## LV Input
Reg ID | Reg Name | Region Average Unit Rate FY24 Real Direct
LV_22.01.12 | LV Load Survey Program | 459.6808
LV_22.01.14 | LV Distributor Capacity Program | 45880.4825
LV_22.01.15_1 | Distribution Centre Capacity Program | 69955.2624
LV_22.01.15_2 | Distribution Centre Capacity Program Voltage | 1676.6913

## LV Distributor Project Volumes
LV_22.01.14 | Area | Initial |  |  |  |  | Final |  |  |  |  | Total Volume
|  | Fuse % |  | Mains % |  | Volts | Fuse |  | Mains |  | Volts
Region |  | Existing | Future | Existing | Future | Existing | Existing | Future | Existing >100% | Future | Existing
CHTSWD | Central | 36 | 79 | 119 | 308 | 272 | 18 | 0 | 11.9 | 0 | 27.2 | 57.1
HOMBSH | South | 41 | 115 | 132 | 513 | 331 | 20.5 | 0 | 13.2 | 0 | 33.1 | 66.8
HRNSBY | Central | 28 | 59 | 90 | 244 | 278 | 14 | 0 | 9 | 0 | 27.8 | 50.8
LHUNT | North | 109 | 214 | 144 | 246 | 262 | 54.5 | 0 | 14.4 | 0 | 26.2 | 95.1
NEWC | North | 74 | 149 | 70 | 185 | 161 | 37 | 0 | 7 | 0 | 16.1 | 60.1
OATLEY | South | 20 | 47 | 86 | 360 | 256 | 10 | 0 | 8.6 | 0 | 25.6 | 44.2
OURMBH | Central | 20 | 48 | 61 | 150 | 73 | 10 | 0 | 6.1 | 0 | 7.3 | 23.4
UHUNT | North | 21 | 20 | 20 | 41 | 18 | 10.5 | 0 | 2 | 0 | 1.8 | 14.3
ZETLND | South | 107 | 136 | 122 | 403 | 116 | 53.5 | 0 | 12.2 | 0 | 11.6 | 77.3
Total |  | 456 | 867 | 844 | 2450 | 1767 | 228 | 0 | 84.4 | 0 | 176.7 | 489.1

## LV Busbar Project Volumes
LV_22.01.15 | Area | Initial |  | Final |  | Total Volume |  | Voltage Management
|  | Busbar |  | Busbar |  |  |  | DC Tap Change
|  | Existing | Future | Existng | Future |  | 0 | Total Volume
Region | [6 empty] | 4324124.056
CHTSWD | Central | 15 | 32 | 6 | 0 | 6 | 282841.568 | 30
HOMBSH | South | 33 | 60 | 13.2 | 0 | 13.2 | 543188.58 | 24
HRNSBY | Central | 7 | 31 | 2.8 | 0 | 2.8 | 353551.96 | 32
LHUNT | North | 78 | 177 | 31.2 | 0 | 31.2 | 605853.204 | 56
NEWC | North | 29 | 96 | 11.6 | 0 | 11.6 | 183591.88 | 23
OATLEY | South | 10 | 53 | 4 | 0 | 4 | 289700.576 | 24
OURMBH | Central | 39 | 65 | 15.6 | 0 | 15.6 | 954590.292 | 20
UHUNT | North | 43 | 47 | 17.2 | 0 | 17.2 | 458979.7 | 6
ZETLND | South | 19 | 32 | 7.6 | 0 | 7.6 | 651826.296 | 36
Total | Ausgrid | 273 | 593 | 109.2 | 0 | 109.2 | 4974037.376 | 251

## Load Survey Volume
Region | LV Load Survey / Yr
CHTSWD | 102.7096
HOMBSH | 196.1451
HRNSBY | 167.5158
LHUNT | 249.9521
NEWC | 86.1088
OATLEY | 110.6758
OURMBH | 113.8289
UHUNT | 135.4467
ZETLND | 146.4501
Total | 1308.833

## LV Output
Region |  | Distributor Forecast Capex | Distribution Centre Forecast Capex | LV Load Survey | Total LV Capex
|  | (real $, FY24) | (real $, FY24) | (real $, FY24) | (real $, FY24)
Chatswood |  | 3694898 | 673182.7366 | 236068.1452 | 4604148.8818
Homebush |  | 2945100 | 1472627.9484 | 450820.6629 | 4868548.6112
Hornsby |  | 3264005 | 344332.3879 | 385019.1979 | 3993356.5858
Lower Hunter |  | 3046579 | 1130802.4188 | 574490.6517 | 4751872.0705
Newcastle |  | 1763726 | 424084.8871 | 197912.5719 | 2385723.459
Oatley |  | 2006455 | 474281.8565 | 254377.9202 | 2735114.7767
Ourimbah |  | 1832687 | 1653075.9859 | 261624.7877 | 3747387.7737
Upper Hunter |  | 480887 | 581687.1461 | 311311.4534 | 1373885.5995
Zetland |  | 3405807 | 885039.2904 | 336601.481 | 4627447.7714
TOTAL |  | 22440144 | 7639114.6576 | 3008226.8719 | 33087485.5295
Region |  | Distributor Forecast Risks | Distribution Centre Risks
Chatswood |  | 57.1 | 6
Homebush |  | 66.8 | 13.2
Hornsby |  | 50.8 | 2.8
Lower Hunter |  | 95.1 | 31.2
Newcastle |  | 60.1 | 11.6
Oatley |  | 44.2 | 4
Ourimbah |  | 23.4 | 15.6
Upper Hunter |  | 14.3 | 17.2
Zetland |  | 77.3 | 7.6
TOTAL |  | 489.1 | 109.2
LV Network Risks | Transformer Capacity Constraint |  |  | Distributor Capacity Constraint
| Identified | Final | Total | Existing |  | Future |  | Voltage Constraint | Total
|  |  |  | Fuse | Mains | Fuse | Main
Existing | 273 | 109 | 866 | 456 | 844 | 867 | 2450 | 1767 | 6384
Future | 593 | 0 | 109 | 228 | 84.4 | 0 | 0 | 176.7 | 489
Identified
Final

## HV Capacity Shortfall Output
Investment Threshold | $250/kVA
Region | Capacity shortfall (MVA) | Zones with shortfall | HV Panels with Shortfall | Forecast 24-29
(real $, FY24)
Chatswood | 1.2 | 3 | 3 | 3789792
Homebush | 27.2 | 7 | 13 | 8728844
Hornsby | 0.9 | 2 | 2 | 1922063
Lower Hunter | 67.6 | 15 | 31 | 20491120
Newcastle | 7.7 | 6 | 9 | 3039842
Oatley | 0.6 | 1 | 1 | 182563
Ourimbah | 14 | 9 | 11 | 5487399
Upper Hunter | 9.9 | 5 | 6 | 2982205
Zetland | 0.8 | 1 | 1 | 1467592
Total | 129.7 | 49 | 77 | 48091420