## Instructions
Gas Distribution Pipeline Service Provider
Regulatory Reporting Statement - Historical Information
This template is to be used by Australian Gas Networks Limited (reporting data for Victoria) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## CONTENTS
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
CONTENTS
| TEMPLATE DATE | July 2020
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AGN (Victoria)
| ACN/ABN |  |  | 19078551685
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | Level 6 | [5 empty] | Address 1 |  | Level 6
| Address 2 |  |  | 400 King William Street | [5 empty] | Address 2 |  | Halifax Street
| Suburb |  |  | ADELAIDE | [5 empty] | Suburb |  | ADELAIDE
| State |  |  | SA |  | Post code | 5000 |  |  | State |  | Vic |  | Post code | 5000
`
Contact Names
Name
Phone
Email
REGULATORY PERIODS
|  |  | Forthcoming period | 2020-21 | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  | RESETS | Current period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Previous period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Commencing year | 2011
ANNUAL RINS
|  |  | Final year | 2017
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 29/08/2022 -reallocation of capex in 2017 email #14,279,832
|  |  | Submission Date | 2021-03-31
Contents
Instructions

## E1. Expenditure Summary
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | 35620401.7617 | 28670623.6858 | 26033066.02 | 35012375.36 | 44712726.69 | 39425458 | 38371322
Mains replacement | 18184861.7677 | 33131551.5975 | 57257279.83 | 58018566.75 | 51443870.67 | 32551711 | 25069018
Mains augmentation | 3388293.5053 | 16544252.5723 | 2617500.59 | 906788.64 | 3120962.95 | 571210 | 2202303
Telemetry | 0 | 0 | 135743.56 | 355361.16 | 372074.18 | 210753 | 234885
Meter replacement | 3192574.3807 | 2862120.1068 | 3366476.32 | 3841393.97 | 3887047.8 | 4407492 | 6881970
ICT | 3309530.3589 | 1134396.6157 | 779107.83 | 362200 | 11244802.38 | 506768 | 1927981
Capitalised network overheads | 10041890 | 16218070 | 10512148.9191 | 11213730.1324 | 11145232.128 | 10614812 | 9796919
Capitalised corporate overheads
Other capex | 810038.2256 | 3453985.4219 | 3356325.28 | 3806165.65 | 1316915.89 | 3551311 | 16678196
Capital contributions included in the above | 3371000 | 683000 | 4870173.65 | 5284674.22 | 4345959.7018 | 4922669 | 19132514
Total (less capital contributions) | 71176590 | 101332000 | 99187474.6991 | 108231907.4424 | 122897672.9862 | 86916846 | 82030080 | 0 | 0
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | 45817809 | 47421938 | 46717941 | 43898196 | 47973279 | 45607104.7677 | 45556081.2715
marketing and retail incentives | 2428586 | 3226303 | 1978166 | 3627844 | 2459651 | 3289254 | 4900743
debt raising | 0 | 0 | 1356567 | 722751 | 1186322 | 1118095 | 1123357
equity raising | 0 | 0 | 0 | 0 | 0 | 0 | 0
unaccounted for gas | 1912931 | 1615447 | 1657121 | 1339963 | 480344 | 575456 | 1153182
jurisdictional charges | 342387 | 423770 | 1535702 | 2551139 | 2839207 | 3088192 | 3434975
GSL payments | 0 | 0 | 90010 | 50390 | 71780 | 128300 | 67670
other opex | 7857389 | 8579316 | 7900566 | 10980307 | 5798524 | 8990693 | 10393972
Total | 58359102 | 61266774 | 61236073 | 63170590 | 60809107 | 62797094.7677 | 66629980.2715 | 0 | 0
E1.2.2 - NON-REFERENCE SERVICES
repairs and maintenance | [5 empty] | 889936.2323 | 957093.7285
Total | 0 | 0 | 0 | 0 | 0 | 889936.2323 |  | 0 | 0
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | 3064545.4545 | 620909.0909 | 4427430.5909 | 4804249.2909 | 3950872.4562 | 2582514 | 3432311
Mains replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mains augmentation | 0 | 0 | 0 | 0 | 0 | 0 | 0
Telemetry | 0 | 0 | 0 | 0 | 0 | 0 | 0
Meter replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
ICT | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capitalised network overheads | 306454.5455 | 62090.9091 | 442743.0591 | 480424.9291 | 395087.2456 | 570105 | 1948923
Capitalised corporate overheads | [5 empty] | 0 | 0
Other capex | 0 | 0 | 0 | 0 | 0 | 1770050 | 13751280
Total | 3371000 | 683000 | 4870173.65 | 5284674.22 | 4345959.7018 | 4922669 | 19132514 | 0 | 0
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | 2950598.2383 | 4794906.3142 | 3097634.3331 | 3959602.0986 | 4676258.6162 | 5186030 | 4208719
Mains replacement | 6074138.2323 | 9817198.4025 | 6346066.0468 | 6629519.9557 | 5457065.2541 | 4304209 | 2740496
Mains augmentation | 334706.4947 | 550747.4277 | 353432.0758 | 109432.0477 | 330168.5752 | 72738 | 243490
Telemetry | 0 | 0 | 14683.7515 | 39347.6727 | 37181.3244 | 27335 | 25744
Meter replacement | 377425.6193 | 612599.8932 | 396011.8907 | 434770.9762 | 400199.8338 | 569469 | 753650
ICT | 89469.6411 | 145603.3843 | 93990.9695 | 45376.9716 | 41175.0465 | 0 | 0
Other capex | 215551.7744 | 297014.5781 | 210329.8517 | -4319.5901 | 203183.4778 | 455032 | 1824820
Capital contributions included in the above | 306454.5455 | 62090.9091 | 442743.0591 | 480424.9291 | 395087.2456 | 570105 | 1948923
Total (less capital contributions) | 9735435.4545 | 16155979.0909 | 10069405.86 | 10733305.2033 | 10750144.8824 | 10044708 | 7847996 | 0 | 0
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Capital contributions included in the above
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
E11. LABOUR
Tables E11.1 and E11.2 deliberately omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
E11.3.1 - OPEX
In-house labour expenditure | 0 | 0 | 2964199 | 4520291 | 2505226 | 4082386 | 5093228
Labour expenditure outsourced to related parties | 41772267 | 37450765 | 36081997 | 23263732
Labour expenditure outsourced to unrelated parties | 0 | 0 | 0 | 11631866 | 36292556 | 36846506 | 34506431
Non-labour expenditure | 16586835 | 23816009 | 22189877 | 23754701 | 22011325 | 22758139 | 27987415
Total | 58359102 | 61266774 | 61236073 | 63170590 | 60809107 | 63687031 | 67587074 | 0 | 0
E11.3.2 - CAPEX
In-house labour expenditure
Labour expenditure outsourced to related parties | 52444590 | 74861000 | 74428777 | 52450322 | 0 | 0 | 0
Labour expenditure outsourced to unrelated parties |  |  |  | 26225161 | 89330922 | 63386842 | 57475267
Non-labour expenditure | 18732000 | 26471000 | 24758698 | 29556424 | 33566751 | 23530004 | 24554813
Total | 71176590 | 101332000 | 99187475 | 108231907 | 122897673 | 86916846 | 82030080 | 0 | 0
Reconciliation with E1.2 Opex | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0
Reconciliation with E1.1 - Capex | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Meter and Gas Installation Test | 55 | 53 | 97.7071 | 89 | 96 | 154 | 144
Disconnection | 10622 | 9544 | 10682.625 | 11329 | 12153.1493 | 10941 | 13725
Reconnection | 8120 | 7910 | 8798.5526 | 10516 | 11899 | 11070 | 13395
Meter Removal | 0 | 0 | 1231.0106 | 1414 | 1761 | 1479 | 1821
Meter Reinstallation | 0 | 0 | 72 | 46 | 46 | 43 | 111
Special Meter Read - Metropolitan | 141967 | 149994 | 144488 | 137121.5353 | 148453 | 151779.0729 | 165967.6887
Special Meter Read - Non Metropolitan | 0 | 0 | 39464 | 37452.4647 | 40548 | 41455.9271 | 45331.3113
Total | 160764 | 167501 | 204833.8953 | 197968 | 214956.1493 | 216922 | 240495 | 0 | 0
E21.2 - EXPENDITURE
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Meter and Gas Installation Test | 10000 | 9000 | 19346 | 17226 | 19062 | 34091 | 31021
Disconnection | 691000 | 625000 | 683688 | 735965 | 814261 | 743914 | 946492
Reconnection | 577000 | 551000 | 668690 | 797544 | 918240 | 874318 | 1070914
Meter Removal | 0 | 0 | 115715 | 127276 | 163906 | 143405 | 178316
Meter Reinstallation | 0 | 0 | 6565 | 4320 | 4398 | 4163 | 10833
Special Meter Read - Metropolitan | 1203000 | 1276000 | 1178996 | 1156281.15 | 1270161.5698 | 1330029.8607 | 1491312.5648
Special Meter Read - Non Metropolitan | 0 | 0 | 434108 | 423213 | 470351.931 | 489179.9393 | 543975.7352
Total | 2481000 | 2461000 | 3107108 | 3261825.15 | 3660380.5008 | 3619100.8 | 4272864.3 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Residential | 27530295.5768 | 28933162.5014 | 27061061 | 26324912 | 29769867.0349 | 28895762.5794 | 30741433.1817 | 0 | 0
Commercial | 6861512.4191 | 7285073.3515 | 7108312 | 7082505 | 7562755.637 | 7540512.0125 | 7847183.5812 | 0 | 0
Industrial | 20104592 | 18224667 | 16639348.6737 | 16456597 | 16967681.331 | 16679304.9444 | 16813359.77 | 0 | 0
Total | 54496399.9959 | 54442902.853 | 50808721.6737 | 49864014 | 54300304.0029 | 53115579.5363 | 55401976.5329 | 0 | 0
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential | 24101855.2169 | 25249241.6811 | 23709525 | 22937460 | 26009437.568 | 25123171.7585 | 26663178.8021
Tariff V - North Zone - Residential | 3148116.6183 | 3354784.5436 | 3043756 | 3057112 | 3382031.7702 | 3397218.3692 | 3671126.5961
Tariff V - Murray Valley Zone - Residential | 217569.6424 | 252663.352 | 226968 | 239033 | 269145.2271 | 267295.5547 | 289115.9154
Tariff V - Bairnsdale Zone - Residential | 62754.0992 | 76472.9248 | 80812 | 91307 | 109252.4696 | 108076.8969 | 118011.8681
Tariff V - Central Zone - Non-Residential | 5961739.7828 | 6324702.9882 | 6197870 | 6181163 | 6596016 | 6610844.0367 | 6886105.2708
Tariff V - North Zone - Non-Residential | 784818.8958 | 835318.9276 | 783023 | 763172 | 819605.9674 | 786554.7936 | 820971.8094
Tariff V - Murray Valley Zone - Non-Residential | 53614.6003 | 60763.8017 | 61279 | 59476 | 66298.9862 | 67155.4913 | 70751.6644
Tariff V - Bairnsdale Zone - Non-Residential | 61339.1401 | 64287.634 | 66140 | 78694 | 80834.6833 | 75957.6909 | 69354.8366
Tariff D - Central Zone - Industrial | 15286313 | 13524287 | 11798960.4957 | 11225879 | 11825803.783 | 11908925.5187 | 12371148.729
Tariff D - North Zone - Industrial | 4818279 | 4700380 | 4840388.1781 | 5230718 | 5141877.548 | 4770379.4258 | 4442211.041
Tariff D - Murray Valley (Vic) Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristics
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
LENGTH
KM
|  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
N2.1.1 - LOW PRESSURE
| Cast Iron | 502.756 | 457.457 | 356.1052 | 282.0967 | 194.5804 | 165.312 | 142.39
| PVC | 501.967 | 476.768 | 396.6503 | 333.9056 | 227.6189 | 174.02 | 137.247
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | 0 | 0 | 0 | 0 | 0.036304 | 0.556 | 0.68
High density polyethylene (250)
| High density polyethylene (575) | 0.23 | 0.243 | 0.26998 | 0.24702 | 0.42787 | 0.274 | 0.261
| Medium density polyethylene | 3.382 | 3.299 | 2.4071 | 2.0157 | 1.6522 | 1.552 | 1.206
Other polyethylene
| Unprotected steel | 46.172 | 45.872 | 32.0429 | 25.9559 | 19.0356 | 9.733 | 8.363
| Protected steel | 46.509 | 36.302 | 30.6291 | 26.6751 | 20.1323 | 18.221 | 16.086
| Other | 0 | 2.822 | 2.542 | 0.53999 | 0.34231 | 0 | 0
N2.1.2 - MEDIUM PRESSURE
| Cast Iron | 34.541 | 34.56 | 33.4366 | 33.0432 | 31.4986 | 31.477 | 30.064
PVC
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | 0 | 0 | 0 | 0 | 0 | 0.059 | 0.028
High density polyethylene (250)
| High density polyethylene (575) | 12.128 | 11.242 | 8.5432 | 8.3835 | 8.3804 | 7.975 | 5.445
| Medium density polyethylene | 1.894 | 2.005 | 2.6901 | 2.8507 | 22.2284 | 22.238 | 1.024
Other polyethylene
| Unprotected steel | 1.493 | 1.936 | 1.9382 | 1.733 | 1.733 | 1.495 | 1.495
| Protected steel | 28.796 | 26.973 | 26.9694 | 26.5146 | 25.9586 | 25.213 | 24.483
Other
N2.1.3 - HIGH PRESSURE
Cast Iron
| PVC | 0.037 | 0.055 | 0.10135 | 0.10267 | 0.14203 | 0.383 | 0.419
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | KM 2013: 0; KM 2014: 8.0515; KM 2015: 217.54; KM 2016: 487.388; KM 2017: 758.913
| High density polyethylene (250) | KM 2013: 0; KM 2014: 0; KM 2015: 0
| High density polyethylene (575) | 2850.252 | 2849.709 | 2854.0626 | 2854.4509 | 2852.3583 | 2852.854 | 2855.472
| Medium density polyethylene | 3106.371 | 3198.784 | 3509.6653 | 3755.2164 | 3892.6269 | 3950.028 | 3969.801
| Other polyethylene | KM 2013: 0; KM 2014: 0; KM 2015: 0
Unprotected steel
| Protected steel | 2804.068 | 2800.078 | 2803.178 | 2808.3869 | 2817.8428 | 2832.599 | 2835.106
| Other | 0 | 0 | 0 | 0 | 0.002716 | 0.003 | 0.576
N2.1.4 - TRANSMISSION
| Protected steel | 225 | 225 | 225 | 225 | 225 | 232 | 231.9
Other
| TOTAL | 10165.596 | 10173.105 | 10286.2313 | 10395.1693 | 10559.1375 | 10813.38 | 11020.959 | 0 | 0
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's
|  | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| City Gate | 50 | 50 | 50 | 52 | 52 | 52 | 53
| Field Regulator | 145 | 136 | 127 | 114 | 115 | 96 | 89
District Regulator
| Total | 195 | 186 | 177 | 166 | 167 | 148 | 142 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
A. RESIDENTIAL
Customer numbers as at 1 July | 535406.5615 | 547994.537 | 561649.5342 | 576077.963 | 588266.8603 | 601945 | 615996
Customer numbers as at 30 June | 550250.5179 | 558326.5315 | 578627.5342 | 587956.8205 | 600765.7973 | 615996 | 631167
Total customer connections | 16792 | 15208 | 18142 | 14519 | 14874 | 15483 | 16846
Total customer disconnections | 1947.7103 | 4876.0055 | 1164 | 2639.2384 | 2374.7151 | 1432 | 1675
B. COMMERCIAL
Customer numbers as at 1 July | 22717.3229 | 22765.0795 | 22761.9205 | 22895.8123 | 23227.7616 | 24021 | 24244
Customer numbers as at 30 June | 22854.4688 | 22723.4466 | 22797.2356 | 23128.2808 | 23659.1918 | 24244 | 23867
Total customer connections | 366 | 416 | 196.3151 | 427 | 629 | 392 | 304
Total customer disconnections | 228.8541 | 457.5315 | 161 | 196 | 198 | 169 | 681
C. INDUSTRIAL
Customer numbers as at 1 July | 227 | 242 | 254 | 260 | 255 | 254 | 255
Customer numbers as at 30 June | 227 | 242 | 254 | 260 | 255 | 255 | 264
Total customer connections | 0 | 0 | 0 | 0 | 0 | 4 | 9
Total customer disconnections | 0 | 0 | 0 | 0 | 0 | 3 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JULY
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential | 462511.6667 | 475350.5071 | 481750.089 | 498539.0795 | 506311.5699 | 517058.1671 | 529322 | 542424 | 0
Tariff V - North Zone - Residential | 64532.5417 | 66454.3457 | 67265.3493 | 69860.2356 | 70889.2932 | 72403.774 | 74918 | 76564 | 0
Tariff V - Murray Valley Zone - Residential | 5852.3333 | 6190.3169 | 6550.1507 | 7087.9301 | 7229.174 | 7495.926 | 7705 | 7921 | 0
Tariff V - Bairnsdale Zone - Residential | 1990.7083 | 2255.3483 | 2760.9425 | 3140.289 | 3526.7836 | 3807.9301 | 4051 | 4258 | 0
Tariff V - Central Zone - Non-Residential | 19112.9167 | 19285.9346 | 19177.9068 | 19227.6178 | 19506.4945 | 19989.2904 | 20664 | 20227 | 0
Tariff V - North Zone - Non-Residential | 3169.0417 | 3198.796 | 3164.2219 | 3168.4452 | 3193.9 | 3226.9288 | 3144 | 3187 | 0
Tariff V - Murray Valley Zone - Non-Residential | 298.0417 | 304.7382 | 303.9205 | 313.7685 | 330.6397 | 340.0658 | 334 | 343 | 0
Tariff V - Bairnsdale Zone - Non-Residential | 56 | 65 | 77.3973 | 87.4041 | 97.2466 | 102.9068 | 102 | 110 | 0
Tariff D - Central Zone - Industrial | 176 | 173 | 187 | 196.2727 | 200.9091 | 197.0455 | 196 | 204 | 0
Tariff D - North Zone - Industrial | 49 | 48 | 49 | 51.4298 | 52.6446 | 51.6322 | 50 | 50 | 0
Tariff D - Murray Valley (Vic) Zone - Industrial | 4 | 4 | 4 | 4.1983 | 4.2975 | 4.2149 | 7 | 7 | 0
Tariff D - Bairnsdale Zone - Industrial | 2 | 2 | 2 | 2.0992 | 2.1488 | 2.1074 | 2 | 3 | 0
T13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T28 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T32 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T36 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T39 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T40 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T41 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T42 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T43 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T44 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T50 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T51 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T52 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T53 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T54 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T56 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T57 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T58 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T59 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T60 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T61 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T64 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T66 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T67 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T68 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T69 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T70 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T71 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T72 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T74 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 557754.25 | 573331.9868 | 581291.9781 | 601678.7699 | 611345.1014 | 624679.989 | 640495 | 655298 | 0
S1.2.2 - CUSTOMER NUMBERS AS AT 30 JUNE
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | 475350.5071 | 481750.089 | 498539.0795 | 506311.5699 | 517058.1671 | 529322 | 542424
Tariff V - North Zone - Residential | 66454.3457 | 67265.3493 | 69860.2356 | 70889.2932 | 72403.774 | 74918 | 76564
Tariff V - Murray Valley Zone - Residential | 6190.3169 | 6550.1507 | 7087.9301 | 7229.174 | 7495.926 | 7705 | 7921
Tariff V - Bairnsdale Zone - Residential | 2255.3483 | 2760.9425 | 3140.289 | 3526.7836 | 3807.9301 | 4051 | 4258
Tariff V - Central Zone - Non-Residential | 19285.9346 | 19177.9068 | 19227.6178 | 19506.4945 | 19989.2904 | 20664 | 20227
Tariff V - North Zone - Non-Residential | 3198.796 | 3164.2219 | 3168.4452 | 3193.9 | 3226.9288 | 3144 | 3187
Tariff V - Murray Valley Zone - Non-Residential | 304.7382 | 303.9205 | 313.7685 | 330.6397 | 340.0658 | 334 | 343
Tariff V - Bairnsdale Zone - Non-Residential | 65 | 77.3973 | 87.4041 | 97.2466 | 102.9068 | 102 | 110
Tariff D - Central Zone - Industrial | 173 | 187 | 196.2727 | 200.9091 | 197.0455 | 196 | 204
Tariff D - North Zone - Industrial | 48 | 49 | 51.4298 | 52.6446 | 51.6322 | 50 | 50
Tariff D - Murray Valley (Vic) Zone - Industrial | 4 | 4 | 4.1983 | 4.2975 | 4.2149 | 7 | 7
Tariff D - Bairnsdale Zone - Industrial | 2 | 2 | 2.0992 | 2.1488 | 2.1074 | 2 | 3
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 573331.9868 | 581291.9781 | 601678.7699 | 611345.1014 | 624679.989 | 640495 | 655298 | 0 | 0
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | 14070 | 12521 | 15077 | 12200 | 12576 | 13210 | 14673
Tariff V - North Zone - Residential | 1947 | 1749 | 2184 | 1628 | 1707 | 1773 | 1738
Tariff V - Murray Valley Zone - Residential | 370 | 495 | 482 | 300 | 272 | 256 | 225
Tariff V - Bairnsdale Zone - Residential | 405 | 443 | 399 | 391 | 319 | 244 | 210
Tariff V - Central Zone - Non-Residential | 304 | 324 | 166 | 363 | 566 | 332 | 229
Tariff V - North Zone - Non-Residential | 44 | 61 | 13 | 41 | 44 | 47 | 57
Tariff V - Murray Valley Zone - Non-Residential | 10 | 18 | 7 | 13 | 12 | 9 | 10
Tariff V - Bairnsdale Zone - Non-Residential | 8 | 13 | 10.3151 | 10 | 7 | 4 | 8
Tariff D - Central Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 3 | 8
Tariff D - North Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 1 | 0
Tariff D - Murray Valley (Vic) Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff D - Bairnsdale Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 1
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 17158 | 15624 | 18338.3151 | 14946 | 15503 | 15879 | 17159 | 0 | 0
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | 1675.1064 | 4122.9808 | 1085 | 2354.2877 | 2129.7151 | 1347 | 1571
Tariff V - North Zone - Residential | 130.3251 | 602.7726 | 72 | 237.6712 | 234 | 76 | 92
Tariff V - Murray Valley Zone - Residential | 41.3443 | 145.5589 | 7 | 47.2795 | 10 | 7 | 9
Tariff V - Bairnsdale Zone - Residential | 100.9345 | 4.6932 | 0 | 0 | 1 | 2 | 3
Tariff V - Central Zone - Non-Residential | 197.2103 | 360.4219 | 145 | 170 | 180 | 154 | 666
Tariff V - North Zone - Non-Residential | 27.1916 | 78.4466 | 16 | 25 | 17 | 15 | 14
Tariff V - Murray Valley Zone - Non-Residential | 4.4523 | 16.6959 | 0 | 1 | 1 | 0 | 1
Tariff V - Bairnsdale Zone - Non-Residential | 0 | 1.9671 | 0 | 0 | 0 | 0 | 0
Tariff D - Central Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 3 | 0
Tariff D - North Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff D - Murray Valley (Vic) Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tariff D - Bairnsdale Zone - Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 2176.5644 | 5333.537 | 1325 | 2835.2384 | 2572.7151 | 1604 | 2356 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Poor Pressure events - mains
Poor Pressure events - services
Poor Pressure event - meters | 1888 | 1759 | 1618 | 1424 | 1017 | 914 | 787
Pressure events impacting 5+ customers | 10 | 6 | 14 | 25 | 6 | 0 | 1
Pressure events with >12 hr resolution | 559 | 667 | 576 | 395 | 299 | 306 | 256
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Count of outage events | 5256 | 11103 | 10852 | 10940 | 11913 | 7273 | 6119
Outages affecting 5+ customers
Outages with >12 hr supply interruption
S11.1.2 - UNPLANNED
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Count of outage events | 973 | 935 | 810 | 436 | 521 | 729 | 814
Outages affecting 5+ customers | 5 | 10 | 19 | 4 | 0 | 4 | 19
Outages with >12 hr supply interruption | 253 | 319 | 267 | 108 | 79 | 62 | 69
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked | 0.11536 | 0.089626 | 0.18253 | 0.18433 | 0.20043 | 0.024197 | 0.098322
Broken pipe - full break | 0.057682 | 0.069952 | 0.13479 | 0.088622 | 0.087367 | 0.018148 | 0.042138
Corrosion | 0.13128 | 0.17051 | 0.18815 | 0.18788 | 0.19529 | 0.12703 | 0.15451
Joint leak | 1.0283 | 0.87877 | 0.95758 | 1.0847 | 0.89423 | 0.16938 | 0.86382
3rd party damage | 0.013923 | 0.006558 | 0.0056163 | 0.0035449 | 0.020557 | 0 | 0.014046
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0.0070898 | 0.0051393 | 0 | 0.014046
PVC
Broken pipe - cracked | 0.11754 | 0.092288 | 0.13362 | 0.12578 | 0.11423 | 0.028732 | 0.11658
Broken pipe - full break | 0.013945 | 0.018877 | 0.027732 | 0.029949 | 0.02636 | 0.022986 | 0.072861
Corrosion | 0 | 0 | 0.0025211 | 0 | 0.0043933 | 0.022986 | 0.065575
Joint leak | 0.065741 | 0.088093 | 0.12101 | 0.12878 | 0.10983 | 0.080451 | 0.15301
3rd party damage | 0.029882 | 0.014682 | 0.037817 | 0.038933 | 0.030753 | 0.0057465 | 0.0072861
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0.0019922 | 0.0041949 | 0 | 0 | 0.0087866 | 0.0057465 | 0.0072861
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | 0 | 0 | 0 | 0 | 0 | 0 | 1.4706
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0 | 0 | 0 | 0 | 0 | 0 | 1.4706
Joint leak | 0 | 0 | 0 | 0 | 110.1807 | 5.3957 | 0
3rd party damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 8.6957 | 4.1152 | 0 | 0 | 0 | 0 | 0
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0 | 0 | 0 | 0 | 0 | 0 | 0
Joint leak | 0 | 0 | 0 | 4.0483 | 4.6743 | 7.2993 | 0
3rd party damage | 0 | 4.1152 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
Medium density polyethylene
Broken pipe - cracked | 0.59137 | 0.60624 | 0.83087 | 0.49611 | 2.4211 | 5.1546 | 0
Broken pipe - full break | 0 | 0.30312 | 0 | 0 | 0 | 0 | 1.6584
Corrosion | 0 | 0 | 0 | 0 | 3.6316 | 9.6649 | 0
Joint leak | 0 | 0 | 0 | 0 | 17.5529 | 10.3093 | 5.8043
3rd party damage | 0 | 0.30312 | 0.41544 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0.15161 | 0.109 | 0.12483 | 0.038527 | 0.052533 | 0 | 0
Broken pipe - full break | 0.021658 | 0.065399 | 0 | 0 | 0 | 0 | 0.11957
Corrosion | 4.9381 | 4.1638 | 6.1792 | 6.1643 | 5.7786 | 0.82195 | 2.9894
Joint leak | 1.2562 | 1.6132 | 4.1195 | 2.5428 | 1.6811 | 0.51372 | 1.9132
3rd party damage | 0.021658 | 0.0218 | 0.093625 | 0.038527 | 0.10507 | 0.10274 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0.031208 | 0 | 0 | 0 | 0
Protected steel
Broken pipe - cracked | 0.021501 | 0.027547 | 0 | 0 | 0 | 0.054882 | 0.062166
Broken pipe - full break | 0.021501 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0.086005 | 0.027547 | 0.097946 | 0.14995 | 0.39737 | 0.38417 | 1.2433
Joint leak | 0.19351 | 0.08264 | 0.26119 | 0.6373 | 0.049672 | 0.27441 | 1.119
3rd party damage | 0 | 0 | 0 | 0 | 0.049672 | 0.054882 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked | 0.23161 | 0.28935 | 0.4187 | 0.18158 | 0.031747 | 0 | 0
Broken pipe - full break | 0.14476 | 0.086806 | 0.32898 | 0.12105 | 0.031747 | 0 | 0.099787
Corrosion | 0.31846 | 0.11574 | 0.11963 | 0.030263 | 0.063495 | 0 | 0.033262
Joint leak | 3.5899 | 2.3148 | 1.615 | 1.3013 | 1.7461 | 0.31769 | 1.5966
3rd party damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0.031769 | 0.033262
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | 0 | 0 | 0 | 0 | 0 | 0 | 0
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0 | 0 | 0 | 0 | 0 | 0 | 0
Joint leak | 0 | 0 | 0 | 0 | 0 | 16.9492 | 0
3rd party damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0.082454 | 0.088952 | 0.35116 | 0.35784 | 0.11933 | 0 | 0
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0.18365
Corrosion | 0 | 0 | 0 | 0 | 0 | 0 | 0
Joint leak | 0.16491 | 0.088952 | 0.2341 | 0.23856 | 0 | 0 | 0
3rd party damage | 0.082454 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0.12539 | 0
Medium density polyethylene
Broken pipe - cracked | 6.8638 | 3.4913 | 2.2304 | 1.754 | 0.17995 | 0.1349 | 0
Broken pipe - full break | 2.1119 | 0.49875 | 0.37174 | 0 | 0 | 0 | 0
Corrosion | 0 | 0 | 0 | 0 | 0.089975 | 0.22484 | 0
Joint leak | 5.8078 | 1.4963 | 4.4608 | 0.70158 | 0.26992 | 0.17987 | 0
3rd party damage | 0.52798 | 0.49875 | 1.1152 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0 | 0 | 0 | 0 | 0 | 0 | 0
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 8.7073 | 4.6488 | 7.7391 | 1.7311 | 1.1541 | 0 | 0
Joint leak | 1.3396 | 4.1322 | 5.6753 | 0.57703 | 0.57703 | 0 | 0
3rd party damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
Protected steel
Broken pipe - cracked | 0 | 0.037074 | 0 | 0.037715 | 0 | 0 | 0.081689
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0.27782 | 0.074148 | 0.37079 | 0.07543 | 0.15409 | 0.039662 | 0.53098
Joint leak | 0.13891 | 0.22244 | 0 | 0.41487 | 0.11557 | 0.079324 | 0.20422
3rd party damage | 0 | 0.074148 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
PVC
Broken pipe - cracked | 0 | 18.1818 | 0 | 0 | 0 | 0 | 2.3866
Broken pipe - full break | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corrosion | 0 | 0 | 0 | 0 | 0 | 0 | 0
Joint leak | 0 | 0 | 0 | 0 | 0 | 0 | 0
3rd party damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | 0 | 0 | 0 | 0 | 0.12871 | 0.032828 | 0.048754
Broken pipe - full break | 0 | 0 | 0 | 0 | 0.059759 | 0.032828 | 0.032942
Corrosion | 0 | 0 | 0 | 0 | 0.068953 | 0.036932 | 0.055342
Joint leak | 0 | 0 | 0 | 0 | 0.18847 | 0.11079 | 0.14099
3rd party damage | 0 | 0 | 0 | 0 | 0.11492 | 0.073863 | 0.077743
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0.018387 | 0.0020518 | 0.0013177
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0.067012 | 0.083517 | 0.089346 | 0.07462 | 0.039967 | 0.0070105 | 0.05148
Broken pipe - full break | 0.036839 | 0.054041 | 0.051155 | 0.045543 | 0.023139 | 0.012969 | 0.036772
Corrosion | 0.0042102 | 0.0045619 | 0.0049053 | 0.005255 | 0.011219 | 0.031547 | 0.061286
Joint leak | 0.085957 | 0.10282 | 0.13349 | 0.12647 | 0.056094 | 0.038908 | 0.087551
3rd party damage | 0.1235 | 0.13335 | 0.14646 | 0.15134 | 0.122 | 0.094292 | 0.12327
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0.0052627 | 0.0049128 | 0.0084091 | 0.011211 | 0.0045576 | 0.0017526 | 0.0031518
Medium density polyethylene
Broken pipe - cracked | 0.099473 | 0.10066 | 0.091462 | 0.073764 | 0.066793 | 0.090632 | 0.058441
Broken pipe - full break | 0.036699 | 0.041266 | 0.033906 | 0.024499 | 0.035452 | 0.055949 | 0.040304
Corrosion | 0.0045069 | 0.0034388 | 0.0045588 | 0.0029293 | 0.071417 | 0.16506 | 0.0398
Joint leak | 0.11235 | 0.11035 | 0.12366 | 0.087345 | 0.17854 | 0.32658 | 0.09799
3rd party damage | 0.11364 | 0.070964 | 0.070092 | 0.063112 | 0.08195 | 0.12709 | 0.073303
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0.0035411 | 0.0031262 | 0.0048438 | 0.0050596 | 0.0053948 | 0.0070886 | 0.0027709
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Protected steel
Broken pipe - cracked | 0.0049927 | 0.0057141 | 0.0074915 | 0.0074776 | 0.0074525 | 0.012356 | 0.0056435
Broken pipe - full break | 0.0039229 | 0.0035713 | 0.0035674 | 0.0024925 | 0.0078074 | 0.012003 | 0.016578
Corrosion | 0.11804 | 0.11464 | 0.12058 | 0.1467 | 0.095818 | 0.063899 | 0.15978
Joint leak | 0.23573 | 0.24606 | 0.28896 | 0.24035 | 0.1164 | 0.066017 | 0.17001
3rd party damage | 0.0042795 | 0.0017857 | 0.0028539 | 0.0060533 | 0.04436 | 0.085787 | 0.053966
Identified water in main | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0.00035662 | 0.00071427 | 0.00035674 | 0.0024925 | 0.00070976 | 0.00035303 | 0.002469
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
GJ
Place of loss | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
TRANSMISSION AND DISTRIBUTION | 1715878.3833 | 1671751.6051 | 1921696.1361 | 1643431.546 | 2161416.9929 | 1731305.3141 | 2292566.9281
| Total | 1671751.6051 | 1921696.1361 | 1643431.546 | 2161416.9929 | 1731305.3141 | 2292566.9281 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 483 | 429 | 569 | 487 | 422 | 263 | 240
Number of Leaks - found through survey | number | 715 | 772 | 587 | 447 | 379 | 557 | 293
Repaired Leaks | number | 1198 | 1201 | 1156 | 934 | 801 | 820 | 533
Length of network subject to survey | km | 3054 | 3302 | 4922 | 5630 | 3797 | 1710 | 1845
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 1856 | 2133 | 2292 | 2011 | 1843 | 2040 | 1645
Number of Leaks - found through survey | number | 43 | 13 | 15 | 107 | 97 | 104 | 170
Repaired Leaks | number | 1899 | 2146 | 2307 | 2118 | 1940 | 2144 | 1815
Number of services surveyed | number
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 9309 | 9111 | 12246 | 11356 | 11984 | 12414 | 12245
Number of Leaks - found through survey | number | 2 | 0 | 0 | 0 | 3 | 4 | 6
Repaired Leaks | number | 9311 | 9111 | 12246 | 11356 | 11987 | 12418 | 12251
Number of meters surveyed | number
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains | number | 72 | 57 | 47 | 77 | 105 | 77 | 47
Services | number | 911 | 710 | 731 | 749 | 666 | 776 | 786
Meters | number | 25 | 65 | 74 | 30 | 42 | 56 | 46
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.1.1 - REVENUE
Distribution revenue | 167038734.66 | 182809081.07 | 180268617.32 | 186561628.12 | 213628976.7908 | 221154370.72 | 242211986.5
Capital contributions | 1652074.2 | 683017.09 | 4870173.65 | 4265674.22 | 4947397.3 | 4124296.54 | 16533203.33
Profit from sale of fixed assets | 0 | 83925 | 420437.68 | 0 | 0 | 0 | 0
Other revenue | 33418879.48 | 24913766.13 | 11207866.35 | 12708908.95 | 12005469.5692 | 11389506.45 | 12219622.27
Total revenue | 202109688.34 | 208489789.29 | 196767095 | 203536211.29 | 230581843.66 | 236668173.71 | 270964812.1 | 0 | 0
F1.1.2 - EXPENDITURE
Operating expenditure | 48995337.53 | 51025340.25 | 53782339.08 | 49048344.66 | 46343851.4 | 44232634.42 | 47387857.18
Depreciation | 23041767.62 | 24396046.18 | 26341349.52 | 28716435.98 | 30579553.78 | 31813660.51 | 34023218.83
Net finance expenses | 120767957.67 | 97734228.2 | 55445257.59 | 56512519.52 | 65874269.39 | 63778029.65 | 64343064.72
Loss from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0
Impairment losses | 76000 | -179370 | -66875.73 | -1512355.36 | 2269000 | 164670 | 1740600
Jurisdictional charges | 342386.71 | 423770.04 | 1535701.97 | 2551139.24 | 2839206.93 | 3088191.92 | 3434975.22
Other expenses | 39005411.41 | 48925669.68 | 79185046.71 | 93148878.17 | 114374032.53 | 128022528.8 | 158081390.55
Total expenditure | 232228860.94 | 222325684.35 | 216222819.14 | 228464962.21 | 262279914.03 | 271099715.3 | 309011106.5 | 0 | 0
F1.1.3 - PROFIT
Profit before tax | -30119172.6 | -13835895.06 | -19455724.14 | -24928750.92 | -31698070.37 | -34431541.59 | -38046294.4 | 0 | 0
Income tax expenses (/ benefit) | -9314557.49 | -4310247 | -6009062.5 | -7340402 | -226213692 | -8478674 | -11414458
Profit after tax | -20804615.11 | -9525648.06 | -13446661.64 | -17588348.92 | 194515621.63 | -25952867.59 | -26631836.4 | 0 | 0
F1.2 - ADJUSTMENTS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.2.1 - REVENUE
Distribution revenue | 42425.0749 | 5917422.72 | 2493232.5101 | -1083074.44 | 830243.2499 | -409790.04 | 944091.12
Capital contributions | 1652074.2 | 683017.09 | 4870173.65 | 4265674.22 | 4947397.3 | 4124296.54 | 16533203.33
Profit from sale of fixed assets | 0 | 83925 | 420437.68 | 0 | 0 | 0 | 0
Other Revenue | 33418879.48 | 24913766.13 | 11207866.35 | 12708908.95 | 12005469.5692 | 11389506.45 | 12219622.27
Total revenue | 35113378.7549 | 31598130.94 | 18991710.1901 | 15891508.73 | 17783110.1192 | 15104012.95 | 29696916.72 | 0 | 0
F1.2.2 - EXPENDITURE
Operating expenditure | -9021377.8713 | -9817664.1869 | -5918031.351 | -11571105.8739 | -11626048.576 | -16366204.2117 | -16764241.8732
Depreciation | -14277683.4857 | -21374896.0672 | -13579378.6912 | -15200088.1315 | -18886002.2609 | -21428994.8848 | -18578013.5668
Net finance expenses | 48910917.3873 | 29831769.7015 | 4785574.3776 | 2766509.1178 | 6251259.1368 | 10387991.8905 | 12823011.7577
Loss from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0
Impairment losses | 76000 | -179370 | -66875.73 | -1512355.36 | 2269000 | 164670 | 1740600
Jurisdictional charges | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other expenses | 39005411.41 | 48925669.68 | 79185046.71 | 93148878.17 | 114374032.53 | 128022528.8 | 158081390.55
Total expenditure | 64693267.4402 | 47385509.1274 | 64406335.3153 | 67631837.9223 | 92382240.8299 | 100779991.5941 | 137302746.8677 | 0 | 0
F1.2.3 - PROFIT
Profit before tax | -29579888.6853 | -15787378.1874 | -45414625.1252 | -51740329.1923 | -74599130.7108 | -85675978.6441 | -107605830.1477 | 0 | 0
Income tax expenses (/ benefit) | -9152772.3156 | -4895691.9382 | -13796732.7956 | -15383875.4817 | -239084010.1022 | -23852005.1162 | -32282318.7243
Profit after tax | -20427116.3697 | -10891686.2492 | -31617892.3297 | -36356453.7106 | 164484879.3915 | -61823973.5278 | -75323511.4234 | 0 | 0
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.3.1 - REVENUE
Distribution revenue | 166996309.5851 | 176891658.35 | 177775384.8099 | 187644702.56 | 212798733.5408 | 221564160.76 | 241267895.38 | 0 | 0
Capital contributions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total revenue | 166996309.5851 | 176891658.35 | 177775384.8099 | 187644702.56 | 212798733.5408 | 221564160.76 | 241267895.38 | 0 | 0
F1.3.2 - EXPENDITURE
Operating expenditure | 58016715.4013 | 60843004.4369 | 59700370.431 | 60619450.5339 | 57969899.976 | 60598838.6317 | 64152099.0532 | 0 | 0
Depreciation | 37319451.1057 | 45770942.2472 | 39920728.2112 | 43916524.1115 | 49465556.0409 | 53242655.3948 | 52601232.3968 | 0 | 0
Net finance expenses | 71857040.2827 | 67902458.4985 | 50659683.2124 | 53746010.4022 | 59623010.2532 | 53390037.7595 | 51520052.9623 | 0 | 0
Loss from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Impairment losses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jurisdictional charges | 342386.71 | 423770.04 | 1535701.97 | 2551139.24 | 2839206.93 | 3088191.92 | 3434975.22 | 0 | 0
Other expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total expenditure | 167535593.4998 | 174940175.2226 | 151816483.8247 | 160833124.2877 | 169897673.2001 | 170319723.7059 | 171708359.6323 | 0 | 0
F1.3.3 - PROFIT
Profit before tax | -539283.9147 | 1951483.1274 | 25958900.9852 | 26811578.2723 | 42901060.3408 | 51244437.0541 | 69559535.7477 | 0 | 0
Income tax expenses (/ benefit) | -161785.1744 | 585444.9382 | 7787670.2956 | 8043473.4817 | 12870318.1022 | 15373331.1162 | 20867860.7243 | 0 | 0
Profit after tax | -377498.7403 | 1366038.1892 | 18171230.6897 | 18768104.7906 | 30030742.2385 | 35871105.9378 | 48691675.0234 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2- ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains & Services - Victoria | 66553000 | 93509280 | 90955572.4444 | 98237590.3128 | 104117270.5388 | 76838422 | 82701744
Meters - Victoria | 3570000 | 3474720 | 8511894.662 | 10674859.4855 | 9911029.8505 | 11307818 | 13048490
Buildings - Victoria | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCADA - Victoria | 0 | 0 | 150427.3115 | 394708.8327 | 409255.5044 | 238088 | 260629
Computer Equipment - Victoria | 3399000 | 1280000 | 873098.7995 | 407576.9716 | 11285977.4265 | 506768 | 1927981
Other Assets - Victoria | 1025590 | 3751000 | 3566655.1317 | 3801846.0599 | 1520099.3678 | 2948419 | 3223751
Land - Victoria
Total | 74547590 | 102015000 | 104057648.3491 | 113516581.6624 | 127243632.688 | 91839515 | 101162595 | 0 | 0
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Victoria | 3371000 | 683000 | 4870173.65 | 5284674.22 | 4345959.7018 | 3519599.2264 | 19137065.5403
Meters - Victoria | [5 empty] | 26384.2428 | -4551.5039
Buildings - Victoria | [5 empty] | 0 | 0
SCADA - Victoria | [5 empty] | 0 | 0
Computer Equipment - Victoria | [5 empty] | 0 | 0
Other Assets - Victoria | [5 empty] | 1376685.7687 | 0
Land - Victoria
Total | 3371000 | 683000 | 4870173.65 | 5284674.22 | 4345959.7018 | 4922669.2379 | 19132514.0364 | 0 | 0
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria |  |  | 66277.4
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria |  | 89025 | 695437.63
Total | 0 | 89025 | 761715.03 | 0 | 0 | 0 | 0 | 0 | 0
F2.7 - IMMEDIATE EXPENSING CAPEX
F2.7.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset class | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains & Services - Victoria | 24257731.91 | 42949095.38 | 64725233.42 | 65251919.56 | 57467190.92 | 37293256.68 | 28168128.76
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria
Total | 24257731.91 | 42949095.38 | 64725233.42 | 65251919.56 | 57467190.92 | 37293256.68 | 28168128.76 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2010-11 to 2017-18
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential | 128870041.5425 | 136358543.73 | 136454818.2599 | 143298767.26 | 163364043.1401 | 168773002.03 | 183706948.64
Tariff V - North Zone - Residential | 14997449.788 | 16653203.52 | 16017029.2 | 17330069.88 | 19361471.11 | 20829498.21 | 23115833.17
Tariff V - Murray Valley Zone - Residential | 1177552.4723 | 1398809.34 | 1394965.16 | 1571432.38 | 1780198.33 | 1896123.69 | 2068617.47
Tariff V - Bairnsdale Zone - Residential | 642487.7212 | 813642.85 | 922573.98 | 1120166.26 | 1362818.31 | 1478846.51 | 1658230.31
Tariff V - Central Zone - Non-Residential | 13088352.1858 | 13274179.89 | 13932574.01 | 14664479.29 | 16356988.67 | 16714397.61 | 17625185.32
Tariff V - North Zone - Non-Residential | 1599249.9557 | 1658188.33 | 1646559.31 | 1714769.3 | 1865757.93 | 1894309.93 | 2020738.83
Tariff V - Murray Valley Zone - Non-Residential | 151920.4224 | 168801.09 | 175677.5 | 245922.21 | 216516.51 | 220402.46 | 227905.91
Tariff V - Bairnsdale Zone - Non-Residential | 172314.5172 | 190881.52 | 203191.71 | 241956.27 | 262061.68 | 265319.03 | 266445.55
Tariff D - Central Zone - Industrial | 2651375.7 | 2731027.37 | 3786420.36 | 4013295.81 | 4323706.05 | 3288898.8 | 3593631.81
Tariff D - North Zone - Industrial | 1041468.88 | 1044884.21 |  |  |  | 1248789.6 | 1267799.86
Tariff D - Murray Valley (Vic) Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 164392213.1851 | 174292161.85 | 174533809.4899 | 184200858.66 | 208893561.7301 | 216609587.87 | 235551336.87 | 0 | 0
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Meter and Gas Installation Test | 10000 | 9000 | 19346 | 17226 | 19062 | 34091 | 31021
Disconnection | 691000 | 625000 | 683688 | 735965 | 814261 | 743914 | 946492
Reconnection | 577000 | 551000 | 668690 | 797544 | 918240 | 874318 | 1070914
Meter Removal | 0 | 0 | 115715 | 127276 | 163906 | 143405 | 178316
Meter Reinstallation | 0 | 0 | 6565 | 4320 | 4398 | 4163 | 10833
Special Meter Read - Metropolitan | 1203000 | 1276000 | 1178996 | 1156281.15 | 1270161.5698 | 1330029.8607 | 1491312.5648
Special Meter Read - Non Metropolitan | 0 | 0 | 434108 | 423213 | 470351.931 | 489179.9393 | 543975.7352
Total | 2481000 | 2461000 | 3107108 | 3261825.15 | 3660380.5008 | 3619100.8 | 4272864.3 | 0 | 0
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Out of Hours Special Read | [5 empty] | 65080 | 39160
Meter Alter Position | [5 empty] | 223183.82 | 254217.77
Same Day Premium Service | [5 empty] | 164847 | 293043
Disconnect Serivce in Street | [5 empty] | 44405 | 14374
No Access/Incomplete Meter Fix | [5 empty] | 541686 | 518578
Reconnect Service in Street | [5 empty] | 12235 | 11738
Total | 0 | 0 | 0 | 0 | 0 | 1051436.82 | 1131110.77 | 0 | 0
F3.5 - TOTAL REVENUE
REVENUE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
TOTAL | 166873213.1851 | 176753161.85 | 177640917.4899 | 187462683.81 | 212553942.2308 | 221280125.49 | 240955311.94 | 0 | 0
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
VALUE
$0's, nominal
Scheme | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Efficiency Benefit Sharing Scheme
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | 43539842.4 | 44612175.84 | 48490840.72 | 42561814.47 | 42592198.79 | 39751516.18 | 41125071.35
marketing and retail incentives | 2592876.83 | 3336455.5 | 2037799.25 | 4107251.55 | 2531336.78 | 1668078.61 | 1901983.55
debt raising | 0 | 0 | 0 | 0 | 0 | 0 | 0
equity raising | 0 | 0 | 0 | 0 | 0 | 0 | 0
unaccounted for gas | 1912930.94 | 1615446.98 | 1657120.64 | 1339963.08 | 480344.22 | 575455.72 | 3153182.16
jurisdictional charges | 342386.71 | 423770.04 | 1535701.97 | 2551139.24 | 2839206.93 | 3088191.92 | 3434975.22
GSL payments | 0 | 0 | 90010 | 50390 | 71780 | 128300 | 67670
other opex | 39955099.76 | 50386931.63 | 80691615.2 | 94137803.76 | 115042224.14 | 130296482.71 | 159221340.75
Total | 88343136.64 | 100374779.99 | 134503087.78 | 144748362.1 | 163557090.86 | 175508025.14 | 208904223.03 | 0 | 0
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | -2277966.3012 | -2809762.1723 | 1772900.0687 | -1336381.1737 | -5381080.1682 | -6745523.9681 | -5388104.2109
marketing and retail incentives | 164290.4723 | 110152.1956 | 59633.3908 | 479407.4797 | 71685.8345 | -1621175.7768 | -2998759.1376
debt raising | 0 | 0 | -1356567.0574 | -722750.7669 | -1186322.1644 | -1118095.2759 | -1123356.5425
equity raising | 0 | 0 | 0 | 0 | 0 | 0 | 0
unaccounted for gas | 0 | 0 | 0 | 0 | 0 | 0 | 2000000
jurisdictional charges | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSL payments | 0 | 0 | 0 | 0 | 0 | 0 | 0
other opex | 32097710.3576 | 41807615.4898 | 72791048.9768 | 83157496.7871 | 109243700.4522 | 121305789.6091 | 148827368.6478
Total | 29984034.5287 | 39108005.5131 | 73267015.379 | 81577772.3261 | 102747983.954 | 111820994.5883 | 141317148.7568 | 0 | 0
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | 45817808.7012 | 47421938.0123 | 46717940.6513 | 43898195.6437 | 47973278.9582 | 46497040.1481 | 46513175.5609
marketing and retail incentives | 2428586.3577 | 3226303.3044 | 1978165.8592 | 3627844.0703 | 2459650.9455 | 3289254.3868 | 4900742.6876
debt raising | 0 | 0 | 1356567.0574 | 722750.7669 | 1186322.1644 | 1118095.2759 | 1123356.5425
equity raising | 0 | 0 | 0 | 0 | 0 | 0 | 0
unaccounted for gas | 1912930.94 | 1615446.98 | 1657120.64 | 1339963.08 | 480344.22 | 575455.72 | 1153182.16
jurisdictional charges | 342386.71 | 423770.04 | 1535701.97 | 2551139.24 | 2839206.93 | 3088191.92 | 3434975.22
GSL payments | 0 | 0 | 90010 | 50390 | 71780 | 128300 | 67670
other opex | 7857389.4024 | 8579316.1402 | 7900566.2232 | 10980306.9729 | 5798523.6878 | 8990693.1009 | 10393972.1022
Total | 58359102.1113 | 61266774.4769 | 61236072.401 | 63170589.7739 | 60809106.906 | 63687030.5517 | 67587074.2732 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F6. RELATED PARTY TRANSACTIONS
F6.1 - AGN (Victoria) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | [8 empty] | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F6.1.1 - EXPENDITURE
APA - Opex | 47369936.6589 | 49850573.8167 | 48400582.3204 | 31416273.9027 | [5 empty] | Prior to August 2014, APA Group was a significant shareholder in Envestra Limited. Refer Appendix D of the Basis of Preparation |  |  | Refer to F4.1.3 Opex - Repairs and Maintenance plus a potion of the Marketing and Retail Incentives program managed by APA | Refer Cost Allocation Methodolgy
APA - Capex | 74547590 | 102015000 | 104057648.3491 | 75677721.1083 | [5 empty] | This changed when the current owner of AGN Limited acquired all of the shares in Envestra. |  |  | Refer to F2.4.2 Capex | Refer Cost Allocation Methodolgy
[11 empty] | APA Asset Management provides distribution network operations and management services and delivery of AGN Limited's capital works program | Refer to the Basis of Preparation. Gross payments to APA Asset Management are uniquely identifiable in AGN Limited's business system.
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
APA - Opex | 43993437.6389 | 47737573.8167 | 45574500.0095 | 28387073.663 | [5 empty] | Prior to August 2014, APA Group was a significant shareholder in Envestra Limited. Refer Appendix D of the Basis of Preparation |  |  | Expenditure reported in 6.1.1 minus the Related Party Margin | Refer Cost Allocation Methodolgy
APA - Capex | 71427462.47 | 98444764.9914 | 100417587.8029 | 73716459.5239 | [5 empty] | This changed when the current owner of AGN Limited acquired all of the shares in Envestra. |  |  | Expenditure reported in 6.1.1 minus the Related Party Margin | Refer Cost Allocation Methodolgy
[11 empty] | APA Asset Management provides distribution network operations and management services and delivery of AGN Limited's capital works program | Refer to the Basis of Preparation. Gross payments to APA Asset Management are uniquely identifiable in AGN Limited's business system.
F6.2 - AGN (Victoria) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | [8 empty] | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AGN (Victoria)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | 873493.1444 | 999502.6722 | 1017698.4 | 673346.0434
Mains replacement | 1876742.5642 | 2147480.172 | 2194009.9003 | 1105581.7894
Mains augmentation | 89088.4697 | 101940.3118 | 103468.5937 | 17557.5635
Telemetry | 0 | 0 | 5266.5886 | 6819.5083
Meter replacement | 112816.7247 | 129091.5888 | 131477.8221 | 73880.6428
ICT | 26179.6025 | 29956.2542 | 30491.7393 | 7042.4834
Capitalised network overheads
Capitalised corporate overheads
Other capex | 141807.0245 | 162264.0096 | 157647.5022 | 77033.5536
Total | 3120127.53 | 3570235.0086 | 3640060.5462 | 1961261.5843 | 0 | 0 | 0 | 0 | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | 3376499.02 | 2113000 | 2826082.3109 | 3029200.2397
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 3376499.02 | 2113000 | 2826082.3109 | 3029200.2397 | 0 | 0 | 0 | 0 | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | 100% | 100% | 100% | 66.67%
Mains replacement | 100% | 100% | 100% | 66.67%
Mains augmentation | 100% | 100% | 100% | 66.67%
Telemetry | 100% | 100% | 100% | 66.67%
Meter replacement | 100% | 100% | 100% | 66.67%
ICT | 100% | 100% | 100% | 66.67%
Capitalised network overheads | 100% | 100% | 100% | 66.67%
Capitalised corporate overheads
Other capex | 100% | 100% | 100% | 66.67%
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 81.17% | 81.37% | 79.04% | 49.73%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Provision name: Current employee entitlements and oncosts
Current provision for employee annual leave, long service leave and oncosts
Opening balance (the carrying amount at the beginning of the period) | 318211.0632 | 344796.5951 | 342350.1409 | 383180.8206 | 489291.7932 | 350617.3019 | 460690.7747
Additional provisions made in the period, including increases to existing provisions
Opex component | 26585.532 | -4746.1011 | 50345.4446 | 109240.8336 | 30347.8299 | 102839.9736 | 118557.4987
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0 | 0 | 0 | 0 | -182483.8247 | 0 | 0
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0 | 2299.6468 | -9514.7649 | -3129.861 | 13461.5034 | 7233.4993 | -12416.8823
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 344796.5951 | 342350.1409 | 383180.8206 | 489291.7932 | 350617.3019 | 460690.7747 | 566831.3911
Provision name: Provision for Long Service Leave (Non Current)
Non Current Provision for Long Service Leave
Opening balance (the carrying amount at the beginning of the period) | 42181.3904 | 74267.5993 | 92507.6006 | 109875.6221 | 128689.9492 | 84753.595 | 88905.6164
Additional provisions made in the period, including increases to existing provisions
Opex component | 32086.2089 | 17744.6679 | 19939.0386 | 19711.8027 | 70782.8672 | 2403.4908 | 39621.2057
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0 | 0 | 0 | 0 | -118259.7676 | 0 | 0
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0 | 495.3333 | -2571.0171 | -897.4756 | 3540.5462 | 1748.5306 | -2396.2507
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 74267.5993 | 92507.6006 | 109875.6221 | 128689.9492 | 84753.595 | 88905.6164 | 126130.5714
Provision name: Redundancy
Redundancy Provision created at time of Acquistion by CKI
Opening balance (the carrying amount at the beginning of the period) | 0 | 0 | 0 | 0 | 1104293.2904 | 0 | 0
Additional provisions made in the period, including increases to existing provisions
Opex component | 0 | 0 | 0 | 1104293.2904 | 0 | 0 | 0
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0 | 0 | 0 | 0 | -1134674.8503 | 0 | 0
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0 | 0 | 0 | 0 | 30381.5599 | 0 | 0
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0 | 0 | 0 | 1104293.2904 | 0 | 0 | 0
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Carbon Tax Pass Through |  |  | 4766945.5154 | 2468066.7346
Mains Replacement Pass Through Event |  |  | 31723246.493 | 32721442.8858 | 30597995.992 | 12877755.511 | 15237074.1483
Total | 0 | 0 | 36490192.0084 | 35189509.6204 | 30597995.992 | 12877755.511 | 15237074.1483 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Victoria)
2011 to 2017
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
FOR TOTAL ASSET BASE
Opening value | 971365355.1879 | 1031273953.9815 | 1117399672.7138 | 1201624607.0731 | 1295650571.1598 | 1403322580.4905 | 1460576317.7929
Inflation addition | 28612069.1679 | 36299891.0519 | 22392779.0123 | 25968311.7442 | 29899628.5652 | 21102595.1953 | 14945432.089
Straight line depreciation | -37319451.1057 | -45770942.2472 | -39920728.2112 | -43916524.1115 | -49465556.0409 | -53242655.3948 | -52601232.3968
Actual additions (recognised in RAB) | 68615980.7315 | 95596769.9277 | 102512065.8982 | 111974176.454 | 127237936.8064 | 89393797.5018 | 111099256.2547
Disposals |  |  | -759182.34
Closing value | 1031273953.9815 | 1117399672.7138 | 1201624607.0731 | 1295650571.1598 | 1403322580.4905 | 1460576317.7929 | 1534019773.7399 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## Additional disclosures
Notes:
Please note that on 23 March 2016, the AER issued a direction to AGN to consolidate the two Access Arrangements for its Victorian and Albury gas distribution networks with effect from next access arrangement period commencing, 1 January 2018.
In response to this consolidation the Historical Performance Data for Victorian gas distribution network for the period of 1 January 2018 to 31 December 2019 is contained in the Workbook 1 Historical Performance Data - AGN Victoria & Albury - 2019 to 2019
As per the direction to consolidate:
1. What is now the Albury network will be the Albury tariff zone under the combined access arrangement for the next Access Arrangement period, the revisions commencement date for which is 1 January 2018
2. AGN must continue to maintain separate data on the capital base, including for the tax asset base, for the Albury tariff zone for the next Access Arrangement Period
Further details on the consolidation can be found:
https://www.aer.gov.au/system/files/AER%20-%20Direction%20to%20AGN%20to%20consolidate%20access%20arrangements%20for%20AGN%20s%20Victorian%20and%20Albury%20Networks%20-%2023%20March%202016.PDF