## Formats
CP Pricing Model
Formats
| Cell Format | Purpose | Example
| Black font 10pt, yellow shading | Forecast input not linked to external file | Input
| Black font 10pt, pink shading | Input sourced from PTRM | Input
| Black font 10pt, pink shading | Input sourced from O&M model | Input
| Black font 10pt, pink shading | Input sourced from capex model | Input
| Black font 10pt, pink shading | Input sourced from other models | Input
| Tab Format | Purpose | Example
| Yellow tab, black font | Inputs and assumptions | Input
| Black tab, white font | Calculations | Calculations
| Blue tab, black font | Output | Output

## Inputs
CP Pricing Model
Inputs
| Inflation | 2.323%
| Pre tax real WACC | 4.447%
| Select Year | 2018 | 3
| Select SAC | VPN | 1
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Conversion to $2015 | 1.0363 | 1 | 0.97466 | 0.94996 | 0.92589 | 0.90242 | 0.87956
MCR ($/MVA, $2015)
| LV Lines |  |  | 1382000 | 1382000 | 1382000 | 1382000 | 1382000
| Dist S/S |  |  | 973000 | 973000 | 973000 | 973000 | 973000
| HV Lines |  |  | 590000 | 590000 | 590000 | 590000 | 590000
| ZSS Transformers |  |  | 307000 | 307000 | 307000 | 307000 | 307000
| SubT Lines |  |  | 158000 | 158000 | 158000 | 158000 | 158000
Power Factor
| Residential | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| Small Commercial | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| Large Low Voltage | 0.846 | 0.846 | 0.846 | 0.846 | 0.846 | 0.846 | 0.846
| High Voltage | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
| Subtransmission | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95
Load Factor
| Residential | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
| Small Commercial | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
| Large Low Voltage | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
| High Voltage | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
| Subtransmission | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7
Standard Asset Life (years)
| Subtransmission |  |  | 50 | 50 | 50 | 50 | 50
| Distribution system assets |  |  | 49 | 49 | 49 | 49 | 49
| Metering |  |  | 15 | 15 | 15 | 15 | 15
| Public lighting |  |  | 25 | 25 | 25 | 25 | 25
| SCADA/Network control |  |  | 13 | 13 | 13 | 13 | 13
| Non network - IT |  |  | 6 | 6 | 6 | 6 | 6
| Non network - other |  |  | 10 | 10 | 10 | 10 | 10
| VBRC |  |  | 20.8241 | 25.6062 | 25.6062 | 25.6062 | 25.6062
Remaining Asset Life (years)
| Subtransmission |  |  | 37.8194 | 37.8194 | 37.8194 | 37.8194 | 37.8194
| Distribution system assets |  |  | 25.3058 | 25.3058 | 25.3058 | 25.3058 | 25.3058
| Metering |  |  | 1.061 | 1.061 | 1.061 | 1.061 | 1.061
| Public lighting |  |  | 8.2652 | 8.2652 | 8.2652 | 8.2652 | 8.2652
| SCADA/Network control |  |  | 8.191 | 8.191 | 8.191 | 8.191 | 8.191
| Non network - IT |  |  | 5.1921 | 5.1921 | 5.1921 | 5.1921 | 5.1921
| Non network - other |  |  | 6.6698 | 6.6698 | 6.6698 | 6.6698 | 6.6698
| VBRC |  |  | 0 | 0 | 0 | 0 | 0
Opening RAB ('000,$2015)
| Subtransmission |  |  | 422018.5393 | 422018.5393 | 422018.5393 | 422018.5393 | 422018.5393
| Distribution system assets |  |  | 1245582.4168 | 1245582.4168 | 1245582.4168 | 1245582.4168 | 1245582.4168
| Metering |  |  | 7549.1381 | 7549.1381 | 7549.1381 | 7549.1381 | 7549.1381
| Public lighting |  |  | 7665.6832 | 7665.6832 | 7665.6832 | 7665.6832 | 7665.6832
| SCADA/Network control |  |  | 14550.3361 | 14550.3361 | 14550.3361 | 14550.3361 | 14550.3361
| Non network - IT |  |  | 37556.0408 | 37556.0408 | 37556.0408 | 37556.0408 | 37556.0408
| Non network - other |  |  | 10367.9171 | 10367.9171 | 10367.9171 | 10367.9171 | 10367.9171
| VBRC |  |  | 0 | 0 | 0 | 0 | 0
| Total |  |  | 1745290.0714 | 1745290.0714 | 1745290.0714 | 1745290.0714 | 1745290.0714
Other Inputs ($000,2015)
| O&M |  |  | 82481.9246 | 83657.1357 | 86794.0818 | 88260.5499 | 90280.9548
| Maintenance Cost |  |  | 37116.8661 | 37645.7111 | 39057.3368 | 39717.2475 | 40626.4297
| Depreciation |  |  | 60600.714 | 58744.7517 | 61436.8056 | 63700.5901 | 67204.6357
| Avoidable Opex (gsl, billing, customer service, advertising) |  |  | 7423.3732 | 7529.1422 | 7811.4674 | 7943.4495 | 8125.2859
| Scale Escalation |  |  | 908.6972 | 1928.2156 | 3594.5201 | 4869.3488 | 6145.9162
| Reinforcement Capex |  |  | 41528.2794 | 67203.0949 | 47430.1777 | 29222.7125 | 16175.4099
| Energy (kWh) | VPN 2014: Category
| Residential Single Rate | Residential | 830192871.8248 | 796344397.155 | 816843244.4469 | 837924196.2246 | 837924196.2246 | 837924196.2246
| Residential Single Rate - Bulk | Residential | 105174141.1577 | 102918280.5998 | 103150672.2957 | 103793921.8259 | 103793921.8259 | 103793921.8259
| Residential - flexible pricing | Residential | 3434222.0379 | 9779018.3817 | 7278376.1839 | 4282897.6782 | 4282897.6782 | 4282897.6782
| Residential - flexible pricing bulk | Residential | 308414.3238 | 598168.4631 | 479911.3706 | 326566.5658 | 326566.5658 | 326566.5658
| Residential Two Rate 5d | Residential | 69722025.5567 | 60710671.2424 | 62031268.4023 | 64214069.7537 | 64214069.7537 | 64214069.7537
| Residential Two Rate 5d - Bulk | Residential | 23595257.8196 | 20153760.023 | 21104690.5694 | 22270665.4915 | 22270665.4915 | 22270665.4915
| Residential Interval | Residential | 117390912.718 | 115057785.5205 | 112817956.6469 | 112870767.0238 | 112870767.0238 | 112870767.0238
| Residential Interval - Bulk | Residential | 30309568.8562 | 31229034.4622 | 29808615.7361 | 29123295.7548 | 29123295.7548 | 29123295.7548
| Residential Two Rate 5d - Controlled Load | Residential | 20037657.9409 | 25016538.4878 | 22272717.3282 | 19909930.7077 | 19909930.7077 | 19909930.7077
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 7359412.654 | 8044541.2684 | 7671612.2118 | 7350471.8261 | 7350471.8261 | 7350471.8261
| Dedicated Circuit | Residential | 39323470.9755 | 36791089.7219 | 34551430.8434 | 33890069.8634 | 33890069.8634 | 33890069.8634
| Dedicated Circuit - Bulk | Residential | 2601665.5886 | 2619672.5538 | 2356017.4024 | 2219211.1924 | 2219211.1924 | 2219211.1924
| Residential Demand | Residential |  | 0 | 27500 | 27500 | 27500 | 27500
| Residential Bulk Demand | Residential |  | 0 | 5500 | 5500 | 5500 | 5500
| Non-Residential Single Rate | Small Commercial | 323085509.7128 | 329883672.9594 | 204987603.1813 | 220224546.9577 | 220224546.9577 | 220224546.9577
| Non-Residential Single Rate - Bulk | Small Commercial | 129277107.23 | 135374985.339 | 75430097.003 | 73848559.176 | 73848559.176 | 73848559.176
| Non-Residential Two Rate 5d | Small Commercial | 535777186.2916 | 523864435.2726 | 129196375.6473 | 146239354.1381 | 146239354.1381 | 146239354.1381
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 165923444.417 | 156171396.9118 | 19573801.9505 | 26581802.4133 | 26581802.4133 | 26581802.4133
| Non-Residential Interval | Small Commercial | 195249875.9271 | 190517613.9999 | 58328771.418 | 69457858.0007 | 69457858.0007 | 69457858.0007
| Non-Residential Interval - Bulk | Small Commercial | 295709271.0468 | 289440846.8595 | 38746481.6723 | 44260563.2024 | 44260563.2024 | 44260563.2024
| Non-Residential Flexible Pricing | Small Commercial | 1823497.8592 | 5076872.7435 | 3451429.9931 | 406416.3588 | 406416.3588 | 406416.3588
| Non-Residential - Flexible Pricing Bulk | Small Commercial | 1996993.7198 | 8167969.0866 | 6098548.4879 | 77858.5354 | 77858.5354 | 77858.5354
| Non-Residential Two Rate 7d | Small Commercial | 124850027.4834 | 123661810.3678 | 47865108.4592 | 46297615.4895 | 46297615.4895 | 46297615.4895
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 31921824.4319 | 30638275.5544 | 7473436.9311 | 6471014.6761 | 6471014.6761 | 6471014.6761
| Large Two Rate 7d | Small Commercial | 17860033.5235 | 16097509.0014 | 2412528.0608 | 286452.6755 | 286452.6755 | 286452.6755
| Non-Residential Demand Tariff | Small Commercial |  | 0 | 44038820.9226 | 100000 | 100000 | 100000
| Non-Residential Bulk Demand Tariff | Small Commercial |  | 0 | 0 | 16000 | 16000 | 16000
| Medium business demand | Small Commercial |  | 0 | 681958862.0147 | 622827426.74 | 622827426.74 | 622827426.74
| Medium business demand bulk | Small Commercial |  | 0 | 462782737.9382 | 421484928.395 | 421484928.395 | 421484928.395
| Medium business opt-out | Small Commercial |  |  | 0 | 803564.188 | 803564.188 | 803564.188
| Medium business bulk opt-out | Small Commercial |  |  | 0 | 853941.6537 | 853941.6537 | 853941.6537
| Unmetered Supplies / Public Lighting | Small Commercial | 34923242.6876 | 39507105.8979 | 37531750.603 | 39033726.7987 | 39033726.7987 | 39033726.7987
| Large Low Voltage Demand | Large Low voltage | 160302886.3977 | 84107799.9415 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk | Large Low voltage | 1741352250.3092 | 872768816.803 | 0 | 0 | 0 | 0
| Large Low Voltage Demand R | Large Low voltage | 4330826.6653 | 2550710.6802 | 0 | 0 | 0 | 0
| Large Low Voltage Demand G | Large Low voltage | -4905720.6226 | 278951.7435 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk R | Large Low voltage | 106287506.1305 | 60923436.0682 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk G | Large Low voltage | 116264771.4852 | 59693331.8587 | 0 | 0 | 0 | 0
| Large low Voltage | Large Low voltage |  | 94689397.9367 | 192365534.8269 | 201612929.2503 | 201612929.2503 | 201612929.2503
| Large low Voltage Bulk | Large Low voltage |  | 977285919.0156 | 1972478673.9023 | 1974034882.2771 | 1974034882.2771 | 1974034882.2771
| High Voltage Demand | High Voltage | 602136879.7543 | 309329839.1313 | 0 | 0 | 0 | 0
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 8161299.4206 | 4037728.4035 | 0 | 0 | 0 | 0
| High Voltage | High Voltage |  | 311111234.6952 | 645842124.2333 | 664238720.9732 | 664238720.9732 | 664238720.9732
| High Voltage Bulk | High Voltage |  | 0 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission | 102394726.8979 | 56301984.4142 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission |  | 52181638.9871 | 108483623.4013 | 103563387.485 | 103563387.485 | 103563387.485
| Total |  | 5944173062.2223 | 5942926241.5522 | 5959445824.0843 | 5900930613.2923 | 5900930613.2923 | 5900930613.2923
| Customer Number | VPN 2014: Category
| Residential Single Rate | Residential | 198643.75 | 199767.4167 | 203103.2864 | 203567.5438 | 203567.5438 | 203567.5438
| Residential Single Rate - Bulk | Residential | 30651.9167 | 30748.9167 | 30973.4856 | 30796.1653 | 30796.1653 | 30796.1653
| Residential - flexible pricing | Residential | 625.75 | 669.75 | 686.1505 | 692.199 | 692.199 | 692.199
| Residential - flexible pricing bulk | Residential | 85 | 86.3333 | 86.7135 | 86 | 86 | 86
| Residential Two Rate 5d | Residential | 11068.5833 | 11057.1667 | 11014.7491 | 10844.9189 | 10844.9189 | 10844.9189
| Residential Two Rate 5d - Bulk | Residential | 4382.9167 | 4385.4167 | 4381.6195 | 4325.4799 | 4325.4799 | 4325.4799
| Residential Interval | Residential | 17380.5 | 17341.75 | 17389.1478 | 17220.8945 | 17220.8945 | 17220.8945
| Residential Interval - Bulk | Residential | 9012.25 | 9025.1667 | 8919.7013 | 8720.0762 | 8720.0762 | 8720.0762
| Residential Two Rate 5d - Controlled Load | Residential | 9590.5833 | 9680.25 | 9702.4868 | 9721.6356 | 9721.6356 | 9721.6356
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 3682.1667 | 3687.5833 | 3672.0139 | 3658.6067 | 3658.6067 | 3658.6067
| Dedicated Circuit | Residential | 24190.5 | 24014.8333 | 23277.2154 | 22642.0306 | 22642.0306 | 22642.0306
| Dedicated Circuit - Bulk | Residential | 1167.6667 | 1171.8333 | 1123.2853 | 1081.4792 | 1081.4792 | 1081.4792
| Residential Demand | Residential |  | 0 | 5 | 5 | 5 | 5
| Residential Bulk Demand | Residential |  | 0 | 1 | 1 | 1 | 1
| Non-Residential Single Rate | Small Commercial | 19695.25 | 19872.0833 | 18642.4437 | 18214.932 | 18214.932 | 18214.932
| Non-Residential Single Rate - Bulk | Small Commercial | 5873.5 | 5952.8333 | 5552.5975 | 5599.0052 | 5599.0052 | 5599.0052
| Non-Residential Two Rate 5d | Small Commercial | 11612.5833 | 11515.8333 | 8807.8333 | 6325.9121 | 6325.9121 | 6325.9121
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 1950.9167 | 1890.5833 | 1236.5833 | 1106.5356 | 1106.5356 | 1106.5356
| Non-Residential Interval | Small Commercial | 5092.75 | 5035.8333 | 4039.8333 | 4011.7925 | 4011.7925 | 4011.7925
| Non-Residential Interval - Bulk | Small Commercial | 3112.1667 | 3081.0833 | 2063.0833 | 1947.1728 | 1947.1728 | 1947.1728
| Non-Residential Flexible Pricing | Small Commercial | 34.8333 | 37.0833 | 23.0833 | 21.1022 | 21.1022 | 21.1022
| Non-Residential - Flexible Pricing Bulk | Small Commercial | 22 | 21.75 | 6.75 | 5 | 5 | 5
| Non-Residential Two Rate 7d | Small Commercial | 3106.4167 | 3073.1667 | 2567.1667 | 2322.4442 | 2322.4442 | 2322.4442
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 447.25 | 426.4167 | 294.4167 | 251.5269 | 251.5269 | 251.5269
| Large Two Rate 7d | Small Commercial | 41.75 | 40 | 2 | 4 | 4 | 4
| Non-Residential Demand Tariff | Small Commercial |  | 0 | 943 | 5 | 5 | 5
| Non-Residential Bulk Demand Tariff | Small Commercial |  | 0 | 0 | 1 | 1 | 1
| Medium business demand | Small Commercial |  | 0 | 4648 | 4454.7584 | 4454.7584 | 4454.7584
| Medium business demand bulk | Small Commercial |  | 0 | 2249 | 2142.0682 | 2142.0682 | 2142.0682
| Medium business opt-out | Small Commercial |  |  | 0 | 9 | 9 | 9
| Medium business bulk opt-out | Small Commercial |  |  | 0 | 9 | 9 | 9
| Unmetered Supplies / Public Lighting | Small Commercial | 1146.8333 | 1140.5 | 1140.5 | 4063 | 4063 | 4063
| Large Low Voltage Demand | Large Low voltage | 242.1667 | 248.4167 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk | Large Low voltage | 1291.8333 | 1293.1667 | 0 | 0 | 0 | 0
| Large Low Voltage Demand R | Large Low voltage | 7.25 | 10.4167 | 0 | 0 | 0 | 0
| Large Low Voltage Demand G | Large Low voltage | 2.0833 | 1 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk R | Large Low voltage | 127.1667 | 169.6667 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk G | Large Low voltage | 79.9167 | 67.6667 | 0 | 0 | 0 | 0
| Large low Voltage | Large Low voltage |  | 259.8333 | 298.7522 | 330.029 | 330.029 | 330.029
| Large low Voltage Bulk | Large Low voltage |  | 1530.5 | 1604.8126 | 1655.6258 | 1655.6258 | 1655.6258
| High Voltage Demand | High Voltage | 80.0833 | 81.75 | 0 | 0 | 0 | 0
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0.16667 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 1 | 1.1667 | 0 | 0 | 0 | 0
| High Voltage | High Voltage |  | 82.9167 | 87.6342 | 90.9826 | 90.9826 | 90.9826
| High Voltage Bulk | High Voltage |  | 0 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission | 7 | 7 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission |  | 7 | 7 | 6 | 6 | 6
| Total |  | 325825.5833 | 327049.3333 | 330775.344 | 328835.1651 | 328835.1651 | 328835.1651
| Expected Revenue ($nom) | VPN 2014: Category
| Residential Single Rate | Residential | 53130091.2218 | 58579226.6166 | 54838568.5876 | 55931546.6729 | 55931546.6729 | 55931546.6729
| Residential Single Rate - Bulk | Residential | 4743252.9776 | 5894754.0137 | 5603202.8009 | 6409572.3094 | 6409572.3094 | 6409572.3094
| Residential - flexible pricing | Residential | 279101.8999 | 579471.87 | 469674.3204 | 348326.7012 | 348326.7012 | 348326.7012
| Residential - flexible pricing bulk | Residential | 25259.5246 | 34609.7376 | 29516.1524 | 23635.1471 | 23635.1471 | 23635.1471
| Residential Two Rate 5d | Residential | 5114687.0403 | 4473034.4977 | 4348485.026 | 4942143.4423 | 4942143.4423 | 4942143.4423
| Residential Two Rate 5d - Bulk | Residential | 1920392.8757 | 1283792.5949 | 1272195.3093 | 1525748.5148 | 1525748.5148 | 1525748.5148
| Residential Interval | Residential | 8457757.5521 | 7876690.3566 | 7540248.7486 | 8511940.4221 | 8511940.4221 | 8511940.4221
| Residential Interval - Bulk | Residential | 2824248.4192 | 1990839.8196 | 1927286.4783 | 2184291.0637 | 2184291.0637 | 2184291.0637
| Residential Two Rate 5d - Controlled Load | Residential | 433762.3811 | 410596.4462 | 345227.1186 | 354396.7666 | 354396.7666 | 354396.7666
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 105287.4709 | 95070.3887 | 85154.8956 | 101436.5112 | 101436.5112 | 101436.5112
| Dedicated Circuit | Residential | 716544.1783 | 603852.1556 | 535547.1781 | 603243.2436 | 603243.2436 | 603243.2436
| Dedicated Circuit - Bulk | Residential | 41533.9061 | 30959.2902 | 26151.7932 | 30625.1145 | 30625.1145 | 30625.1145
| Residential Demand | Residential |  | 0 | 1725.1096 | 1926.4121 | 1926.4121 | 1926.4121
| Residential Bulk Demand | Residential |  | 0 | 250.2215 | 277.7089 | 277.7089 | 277.7089
| Non-Residential Single Rate | Small Commercial | 29831239.5862 | 21935467.6024 | 13863761.5397 | 15964750.2298 | 15964750.2298 | 15964750.2298
| Non-Residential Single Rate - Bulk | Small Commercial | 9522290.5591 | 6739203.7225 | 3841918.7838 | 4126448.7905 | 4126448.7905 | 4126448.7905
| Non-Residential Two Rate 5d | Small Commercial | 32532657.6767 | 29807346.3407 | 8651733.197 | 10463089.9159 | 10463089.9159 | 10463089.9159
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 5009509.7532 | 6481901.1732 | 1008015.3858 | 1427395.7323 | 1427395.7323 | 1427395.7323
| Non-Residential Interval | Small Commercial | 12368434.5128 | 11247406.2531 | 4057317.8711 | 5220364.6497 | 5220364.6497 | 5220364.6497
| Non-Residential Interval - Bulk | Small Commercial | 8889328.7876 | 12046888.2086 | 1963110.6781 | 2430345.6747 | 2430345.6747 | 2430345.6747
| Non-Residential Flexible Pricing | Small Commercial | 57617.9564 | 332602.992 | 220672.0844 | 34487.4356 | 34487.4356 | 34487.4356
| Non-Residential - Flexible Pricing Bulk | Small Commercial | 34583.4807 | 469061.2881 | 341914.5844 | 5756.2213 | 5756.2213 | 5756.2213
| Non-Residential Two Rate 7d | Small Commercial | 9963687.6425 | 6999208.6509 | 3090438.6885 | 3224973.1123 | 3224973.1123 | 3224973.1123
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 1950928.6509 | 1427461.5342 | 393850.5924 | 373950.1201 | 373950.1201 | 373950.1201
| Large Two Rate 7d | Small Commercial | 509555.8899 | 1076755.1726 | 115478.7908 | 22523.9854 | 22523.9854 | 22523.9854
| Non-Residential Demand Tariff | Small Commercial |  | 0 | 2360451.7659 | 6232.5408 | 6232.5408 | 6232.5408
| Non-Residential Bulk Demand Tariff | Small Commercial |  | 0 | 0 | 865.5787 | 865.5787 | 865.5787
| Medium business demand | Small Commercial |  | 0 | 39853091.9687 | 36062594.6977 | 36062594.6977 | 36062594.6977
| Medium business demand bulk | Small Commercial |  | 0 | 19885646.9633 | 18174062.8299 | 18174062.8299 | 18174062.8299
| Medium business opt-out | Small Commercial |  |  | 0 | 59116.4339 | 59116.4339 | 59116.4339
| Medium business bulk opt-out | Small Commercial |  |  | 0 | 49146.1979 | 49146.1979 | 49146.1979
| Unmetered Supplies / Public Lighting | Small Commercial | 1142720.3338 | 1608530.6831 | 1591484.2953 | 1828479.3459 | 1828479.3459 | 1828479.3459
| Large Low Voltage Demand | Large Low voltage | 9755278.1295 | 3868295.1174 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk | Large Low voltage | 63386234.3116 | 35904890.7452 | 0 | 0 | 0 | 0
| Large Low Voltage Demand R | Large Low voltage | 305225.0171 | 141209.7001 | 0 | 0 | 0 | 0
| Large Low Voltage Demand G | Large Low voltage | -155241.9602 | -43895.5067 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk R | Large Low voltage | 4015788.2557 | 2176276.3505 | 0 | 0 | 0 | 0
| Large Low Voltage Demand - Bulk G | Large Low voltage | 6122985.3944 | 2345924.8082 | 0 | 0 | 0 | 0
| Large low Voltage | Large Low voltage |  | 4157593.2232 | 9328846.326 | 10616251.6554 | 10616251.6554 | 10616251.6554
| Large low Voltage Bulk | Large Low voltage |  | 37253245.9143 | 79810384.0361 | 85820173.558 | 85820173.558 | 85820173.558
| High Voltage Demand | High Voltage | 13587224.2937 | 6413514.8476 | 0 | 0 | 0 | 0
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 256721.9382 | 105296.0571 | 0 | 0 | 0 | 0
| High Voltage | High Voltage |  | 6716945.8048 | 14064853.9921 | 15502091.4101 | 15502091.4101 | 15502091.4101
| High Voltage Bulk | High Voltage |  | 0 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission | 851928.4254 | 350136.3756 | 0 | 0 | 0 | 0
| Subtransmission | Subtransmission |  | 685917.4494 | 1060044.9699 | 976176.8175 | 976176.8175 | 976176.8175
| Total |  | 287730618.0829 | 282100082.2956 | 282526250.2532 | 293358386.9637 | 293358386.9637 | 293358386.9637

## LRMC - Demand
CP Pricing Model
Load forecast in MVA
| Region | Zone Substation | Summer or Winter Peaking | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| CitiPower | AP | Summer | 59.456 | 62.5577 | 64.4635 | 66.0989 | 67.3589 | 69.0481 | 70.4992 | 72.8371 | 75.482 | 78.222
| CitiPower | AR | Summer | 32.4369 | 33.3624 | 34.1962 | 35.2127 | 35.8972 | 36.5636 | 37.4379 | 38.7074 | 39.7028 | 40.7242
| CitiPower | B | Summer | 32.4776 | 32.9377 | 33.0632 | 33.3552 | 33.284 | 33.1818 | 33.2682 | 33.7077 | 33.8592 | 34.0114
| CitiPower | BC | Winter | 52.6698 | 54.0641 | 54.9783 | 55.5333 | 56.6348 | 57.1622 | 57.9727 | 59.2274 | 60.1704 | 61.1284
| CitiPower | BK | Winter | 14.7067 | 14.6734 | 14.5322 | 14.3457 | 14.1587 | 13.8634 | 13.6415 | 13.4417 | 13.2095 | 12.9814
| CitiPower | (N) BQ | Summer | 47.9341 | 50.6057 | 52.5454 | 53.704 | 54.3012 | 55.0326 | 55.9637 | 57.2585 | 58.5146 | 59.8023
| CitiPower | BS/BQ | Summer | 20.4702 | 20.8837 | 21.3065 | 21.7388 | 22.1807 | 22.6326 | 23.0944 | 23.5665 | 24.0491 | 24.5422
| CitiPower | C | Summer | 15.4498 | 15.9708 | 16.3535 | 16.7454 | 17.0552 | 17.3512 | 17.6854 | 17.9944 | 18.3885 | 18.7912
| CitiPower | CL | Summer | 54.8754 | 54.9553 | 54.3151 | 53.9283 | 53.0103 | 52.0627 | 51.3987 | 51.2358 | 50.67 | 50.1103
| CitiPower | CW | Summer | 28.6763 | 29.2909 | 28.948 | 28.7411 | 28.251 | 27.7466 | 27.3941 | 27.3078 | 27.0081 | 26.7124
| CitiPower | DA | Winter | 29.2072 | 29.9812 | 30.7749 | 31.5885 | 32.4227 | 33.2779 | 34.1546 | 35.0532 | 35.9744 | 36.9187
| CitiPower | E | Summer | 10.3223 | 10.35 | 10.2799 | 10.1625 | 9.9881 | 9.8714 | 9.7195 | 9.6774 | 9.6633 | 9.6493
| CitiPower | F | Winter | 16.3415 | 16.6508 | 16.8408 | 16.9778 | 17.1124 | 17.1113 | 17.1951 | 17.303 | 17.3653 | 17.4278
| CitiPower | FB | Summer | 31.5441 | 34.099 | 33.8856 | 33.503 | 32.9164 | 32.5353 | 32.0285 | 31.913 | 31.8971 | 31.8812
| CitiPower | FR | Winter | 55.8612 | 55.7566 | 55.5039 | 54.9245 | 55.1641 | 53.3684 | 52.8142 | 52.3396 | 53.2965 | 54.2695
| CitiPower | J | Summer | 16.3363 | 16.5065 | 16.5949 | 16.6838 | 16.7731 | 16.863 | 16.9533 | 17.0441 | 17.1354 | 17.2272
| CitiPower | JA | Summer | 107.4668 | 119.3448 | 126.4386 | 131.3953 | 135.0036 | 139.0465 | 143.7159 | 149.4813 | 155.2747 | 161.2913
| CitiPower | L | Summer | 43.4202 | 44.133 | 44.7986 | 44.9315 | 45.2551 | 45.453 | 45.7661 | 46.4588 | 47.1454 | 47.8442
| CitiPower | LQ | Summer | 90.103 | 94.9348 | 97.85 | 100.0378 | 101.2013 | 102.6141 | 104.398 | 106.8577 | 109.2524 | 111.7121
| CitiPower | LS | Summer | 28.6404 | 29.6714 | 30.5518 | 31.4574 | 32.389 | 33.3471 | 34.3327 | 35.3463 | 36.3888 | 37.4611
| CitiPower | MG | Summer | 37.3982 | 38.2516 | 38.2851 | 37.8347 | 37.1663 | 36.7194 | 36.1388 | 35.9781 | 35.9244 | 35.8707
| CitiPower | MP | Summer | 148.7013 | 153.3158 | 155.7636 | 157.9992 | 159.8622 | 159.66 | 162.7939 | 166.4238 | 168.9515 | 171.5172
| CitiPower | NC | Summer | 35.2989 | 36.5619 | 37.7476 | 38.6316 | 39.0998 | 39.6666 | 40.3799 | 41.359 | 42.3079 | 43.2784
| CitiPower | NR | Summer | 60.2727 | 61.3681 | 61.6603 | 62.2421 | 62.1939 | 62.0914 | 62.3172 | 63.1598 | 63.5011 | 63.8444
| CitiPower | PM | Summer | 16.2823 | 16.9209 | 17.2477 | 17.4978 | 17.6465 | 17.8984 | 18.0847 | 18.485 | 18.9522 | 19.4328
| CitiPower | PR | Winter | 5.8639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Q | Summer | 37.4211 | 37.7536 | 38.3062 | 38.4166 | 38.6855 | 38.8499 | 39.1103 | 39.6865 | 40.2583 | 40.8405
| CitiPower | R | Summer | 25.1232 | 26.156 | 26.3194 | 26.1954 | 25.9216 | 25.3219 | 25.1629 | 25.1309 | 25.0462 | 24.9619
| CitiPower | RD | Summer | 41.1574 | 42.1482 | 43.085 | 43.7595 | 44.6523 | 45.7261 | 46.8335 | 47.959 | 49.1112 | 50.2907
| CitiPower | RP | Summer | 9.6455 | 10.3474 | 10.3663 | 10.3196 | 10.2163 | 9.9897 | 9.9295 | 9.9174 | 9.8853 | 9.8533
| CitiPower | SB | Summer | 53.2475 | 56.1255 | 58.4984 | 60.6862 | 62.5901 | 64.9132 | 67.0706 | 70.0782 | 73.4318 | 76.9459
| CitiPower | SK | Summer | 69.1106 | 71.3924 | 72.0081 | 72.5156 | 72.8453 | 72.2469 | 73.1288 | 74.2124 | 74.7966 | 75.3853
| CitiPower | SO | Summer | 53.8785 | 54.6831 | 54.6343 | 54.3121 | 53.656 | 53.324 | 52.7818 | 52.8735 | 53.1289 | 53.3856
| CitiPower | TK | Winter | 61.4113 | 62.752 | 63.5021 | 63.8148 | 64.7693 | 65.0359 | 65.6292 | 66.7318 | 67.4597 | 68.1952
| CitiPower | TP | Summer | 5.6969 | 5.7083 | 5.7533 | 5.7289 | 5.7288 | 5.7125 | 5.7105 | 5.7551 | 5.7979 | 5.841
| CitiPower | VM | Summer | 50.9225 | 53.229 | 54.4128 | 55.1329 | 55.2398 | 55.4782 | 55.9111 | 56.698 | 57.4222 | 58.1557
| CitiPower | WA | Summer | 61.5936 | 63.8235 | 64.3174 | 65.7818 | 66.5571 | 67.4955 | 68.6758 | 70.2955 | 71.8644 | 73.4684
| CitiPower | WB | Winter | 24.7582 | 24.6563 | 24.4396 | 24.0772 | 23.7078 | 23.2676 | 22.8173 | 22.4276 | 22.4854 | 22.5434
| CitiPower | WG | Summer | 76.8023 | 82.8293 | 85.8348 | 87.3268 | 88.035 | 89.2434 | 90.1297 | 92.0472 | 94.2768 | 96.5603
|  |  |  | 1662.9818 | 1718.7528 | 1750.4029 | 1773.3383 | 1788.9312 | 1800.7736 | 1822.0387 | 1855.9777 | 1889.0495 | 1923.0787

## LRMC - Augex
CP Pricing Model
Forecast Demand Driven Augex ($2015,mn)
| Region | Voltage | Decription of project | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | Terminal Value
| CitiPower | High Voltage | WB bus extension to increase station capacity | 0.10358 | 0.93221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Establish BTS-W 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | BTS Connection to Metro - BTS-BQ #1 & BTS-VM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Extend FR1-MP1, FR2-MP2 into W | 3.7139 | 3.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Q to HB line uprate | 0 | 0.31074 | 0.31074 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | L to Q line section (P9 to P18) thermal uprate to 100 deg C - 0.7 kms | 0 | 0.16573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | CBD feeders - load growth | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 0
| CitiPower | High Voltage | Urban feeders - load growth | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 0
| CitiPower | High Voltage | Uprate 11kV feeder sections to 300A | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0
| CitiPower | High Voltage | Survey 11kV feeder section rated at 230A | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0
| CitiPower | Low Voltage | LV overload mitigation-feeders | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 0
| CitiPower | Low Voltage Substations | LV overload mitigation-distribution subs | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 0
| CitiPower | High Voltage | Redevelop WA into 2 x 55MVA Tx | 0 | 0 | 0 | 0 | 0 | 0 | 5.1789 | 5.1789 | 0 | 0 | 0
| CitiPower | High Voltage | SB 3rd 55MVA Transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 2.0895 | 0 | 0 | -2.2364
| CitiPower | High Voltage | SB 11kV switchboard (completion of ring bus) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0716 | 0 | 0 | -1.7891
| CitiPower | High Voltage | SB new 12MVAr cap banks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82863 | 0 | 0 | 0
| CitiPower | Sub transmission | Replace VM-WA 66kV cables with 2 x 66kV 130MVA cables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6968 | 0 | 0 | -1.8602
| CitiPower | Sub transmission | BTS-CW-B loop (Supply for BTS) | 0 | 0 | 0 | 0 | 0 | 9.3221 | 9.3221 | 9.3221 | 0 | 0 | 0
| CitiPower | Sub transmission | RTS-NR 66kV loop split | 0 | 0 | 0 | 0 | 0 | 0 | 9.3221 | 0 | 0 | 0 | -6.844
| CitiPower | Sub transmission | Establish WMTS-JA, 1 x 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 5.4379 | 5.4379 | 5.4379 | 5.4379 | -9.756
| CitiPower | Sub transmission | FBTS-SB new 66kV cable (with SB 3rd Tx) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3767 | 0 | 0 | -1.5434
| CitiPower | Sub transmission | Uprate RTS to AR SPA tower section over Monash freeway | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Reconductor RTS-AR 66kV line Stage 2: From RTS rack to T426 (90m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | RTS-TK-PR 66kV loop formation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.5391 | 10.5391 | -7.4125
| CitiPower | Sub transmission | New WMTS-LS 66kV loop supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Reconductor SVTS-RD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | TSTS-L line uprate (reconductor 6.3km to 37/3.75AAAC) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers WA & MP to W (3 feeders) via Lees Pl Stn | 0 | 0 | 0 | 0 | 0 | 3.1074 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers to BQ: Hardware St SSTN (WA & LQ) - 6 BQ Fdrs | 0 | 0 | 0 | 0 | 0 | 0 | 2.1752 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers from FR to MP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6573 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers to BQ: Melbourne Central (JA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5217 | 0 | 0 | 0
| CitiPower | High Voltage | Transfer capability between SB and JA via via North Warf SSN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4181 | 0 | 0
| CitiPower | High Voltage | Transfer capability between SB and LQ or JA via Galagher Place SSTN | 0 | 0 | 0 | 0 | 0 | 0 | 3.4181 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR new 11kV feeder (offload B) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1074 | 0 | 0 | -1.0358
| CitiPower | High Voltage | TK offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7966 | -0.93221
| CitiPower | High Voltage | AR offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1752 | -0.72505
| CitiPower | High Voltage | SK offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62147 | -0.20716
| CitiPower | High Voltage | Upgrade J to 66kV to 2x55MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | LS rebuild at 66kV 2 x 27MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | B 3rd 27MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR 4th transformer and 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NC 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NC new 9MVAr cap bank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Upgrade PR to 66kV to 2x27MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.728 | 16.728 | -16.728
| CitiPower | High Voltage | SO 9MVAr cap bank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Upgrade TP to 66kV to 2x55MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | RD 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Q 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | L 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR 5th transformer and 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 13.483 | 14.2522 | 9.9762 | 9.6655 | 9.6655 | 22.0949 | 45.0197 | 51.9538 | 45.7885 | 47.9637 | -51.0696

## Selection
CP Pricing Model
Selection
| Category | MCR ($/MVA)
| LV Lines | 1382000
| Dist S/S | 973000
| HV Lines | 590000
| ZSS Transformers | 307000
| SubT Lines | 158000
| Tariff Class | MCR | Energy | Approximate MD | Approximate MD
|  | $/MVA | kWh | MW | MVA
| Residential | 1382000 | 1238209063.9078 | 403.5752 | 504.469
| Small Commercial | 1177500 | 1717614123.5572 | 559.8299 | 699.7874
| Large Low Voltage | 590000 | 2175647811.5274 | 496.3833 | 586.7414
| High Voltage | 307000 | 664238720.9732 | 126.2907 | 140.323
| Subtransmission | 158000 | 103563387.485 | 16.8774 | 17.7657
| Total |  | 5899273107.4507 | 1602.9565 | 1949.0866
| check |  | 0
Energy & Revenue Summary
| Tariff Class | Energy Allocation | Customer Number Allocation
|  | % | %
| Residential | 20.99% | 84.02%
| Small Commercial | 29.12% | 15.35%
| Large Low Voltage | 36.88% | 0.6039%
| High Voltage | 11.26% | 0.02767%
| Subtransmission | 1.756% | -0.02584%
| check | 0 | -0.0002767
| Network replacement cost (000,$2015) | 2969781.9455
Network Assets
| Tariff Class | Avoided | Avoided | Stand Alone | Stand Alone
|  | 000,$2015 | % | 000,$2015 | %
| Residential | 697176.1539 | 23.48% | 1753718.7029 | 59.05%
| Small Commercial | 823999.6376 | 27.75% | 1724201.4114 | 58.06%
| Large Low Voltage | 346177.4481 | 11.66% | 797233.9632 | 26.84%
| High Voltage | 43079.1711 | 1.451% | 277781.4594 | 9.354%
| Subtransmission | 2806.9858 | 0.09452% | 123598.3916 | 4.162%
| Total | 1913239.3966
Power & Load Factors
| Tariff Class | Power Factor | Load Factor
| Residential | 0.8 | 0.35
| Small Commercial | 0.8 | 0.35
| Large Low Voltage | 0.846 | 0.5
| High Voltage | 0.9 | 0.6
| Subtransmission | 0.95 | 0.7
| Asset Category | Standard Asset Life | Remaining Asset Life
|  | years | years
| Subtransmission | 50 | 37.8194
| Distribution system assets | 49 | 25.3058
| Metering | 15 | 1.061
| Public lighting | 25 | 8.2652
| SCADA/Network control | 13 | 8.191
| Non network - IT | 6 | 5.1921
| Non network - other | 10 | 6.6698
| VBRC | 25.6062 | 0
| Asset Category | Opening RAB
000,$2015
| Subtransmission | 422018.5393
| Distribution system assets | 1245582.4168
| Metering | 7549.1381
| Public lighting | 7665.6832
| SCADA/Network control | 14550.3361
| Non network - IT | 37556.0408
| Non network - other | 10367.9171
| VBRC | 0
| Total | 1745290.0714
| Other Inputs | 000,$2015
| O&M | 86794.0818
| Maintenance Cost | 39057.3368
| Depreciation | 61436.8056
| Avoidable Opex | 7811.4674 | (gsl, billing, customer service, advertising)
|  | Units | 2016 | 2017 | 2018 | 2019 | 2020
| Scale Escalation | 000,$2015 | 3594.5201 | 4869.3488 | 6145.9162 | 0 | 0
| Reinforcement Capex | 000,$2015 | 47430.1777 | 29222.7125 | 16175.4099 | 0 | 0
| Tariff Category | Mapping | Energy (kWh) | Customer Number | Expected Revenue ($nom)
| Residential Single Rate | Residential | 837924196.2246 | 203567.5438 | 55931546.6729
| Residential Single Rate - Bulk | Residential | 103793921.8259 | 30796.1653 | 6409572.3094
| Residential - flexible pricing | Residential | 4282897.6782 | 692.199 | 348326.7012
| Residential - flexible pricing bulk | Residential | 326566.5658 | 86 | 23635.1471
| Residential Two Rate 5d | Residential | 64214069.7537 | 10844.9189 | 4942143.4423
| Residential Two Rate 5d - Bulk | Residential | 22270665.4915 | 4325.4799 | 1525748.5148
| Residential Interval | Residential | 112870767.0238 | 17220.8945 | 8511940.4221
| Residential Interval - Bulk | Residential | 29123295.7548 | 8720.0762 | 2184291.0637
| Residential Two Rate 5d - Controlled Load | Residential | 19909930.7077 | 9721.6356 | 354396.7666
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 7350471.8261 | 3658.6067 | 101436.5112
| Dedicated Circuit | Residential | 33890069.8634 | 22642.0306 | 603243.2436
| Dedicated Circuit - Bulk | Residential | 2219211.1924 | 1081.4792 | 30625.1145
| Residential Demand | Residential | 27500 | 5 | 1926.4121
| Residential Bulk Demand | Residential | 5500 | 1 | 277.7089
| Non-Residential Single Rate | Small Commercial | 220224546.9577 | 18214.932 | 15964750.2298
| Non-Residential Single Rate - Bulk | Small Commercial | 73848559.176 | 5599.0052 | 4126448.7905
| Non-Residential Two Rate 5d | Small Commercial | 146239354.1381 | 6325.9121 | 10463089.9159
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 26581802.4133 | 1106.5356 | 1427395.7323
| Non-Residential Interval | Small Commercial | 69457858.0007 | 4011.7925 | 5220364.6497
| Non-Residential Interval - Bulk | Small Commercial | 44260563.2024 | 1947.1728 | 2430345.6747
| Non-Residential Flexible Pricing | Small Commercial | 406416.3588 | 21.1022 | 34487.4356
| Non-Residential - Flexible Pricing Bulk | Small Commercial | 77858.5354 | 5 | 5756.2213
| Non-Residential Two Rate 7d | Small Commercial | 46297615.4895 | 2322.4442 | 3224973.1123
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 6471014.6761 | 251.5269 | 373950.1201
| Large Two Rate 7d | Small Commercial | 286452.6755 | 4 | 22523.9854
| Non-Residential Demand Tariff | Small Commercial | 100000 | 5 | 6232.5408
| Non-Residential Bulk Demand Tariff | Small Commercial | 16000 | 1 | 865.5787
| Medium business demand | Small Commercial | 622827426.74 | 4454.7584 | 36062594.6977
| Medium business demand bulk | Small Commercial | 421484928.395 | 2142.0682 | 18174062.8299
| Unmetered Supplies / Public Lighting | Small Commercial | 39033726.7987 | 4063 | 1828479.3459
| Large Low Voltage Demand | Large Low voltage | 0 | 0 | 0
| Large Low Voltage Demand - Bulk | Large Low voltage | 0 | 0 | 0
| Large Low Voltage Demand R | Large Low voltage | 0 | 0 | 0
| Large Low Voltage Demand G | Large Low voltage | 0 | 0 | 0
| Large Low Voltage Demand - Bulk R | Large Low voltage | 0 | 0 | 0
| Large Low Voltage Demand - Bulk G | Large Low voltage | 0 | 0 | 0
| Large low Voltage | Large Low voltage | 201612929.2503 | 330.029 | 10616251.6554
| Large low Voltage Bulk | Large Low voltage | 1974034882.2771 | 1655.6258 | 85820173.558
| High Voltage Demand | High Voltage | 0 | 0 | 0
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 0 | 0 | 0
| High Voltage | High Voltage | 664238720.9732 | 90.9826 | 15502091.4101
| High Voltage Bulk | High Voltage | 0 | 0 | 0
| Subtransmission | Subtransmission | 0 | 0 | 0
| Subtransmission | Subtransmission | 103563387.485 | 6 | 976176.8175
| Total |  | 5899273107.4507 | 328817.1651 | 293250124.3319
| check |  | -1657505.8417 | -18 | -108262.6318

## Avoided cost
CP Pricing Model
Avoided Cost
| Description | Units | Residential | Small Commercial | Large Low Voltage | High Voltage | Subtransmission
| Avoided Operating Cost | 000,$2015 | 6562.8883 | 1199.1034 | 47.1717 | 2.1614 | -2.0189
| Avoided Maintenance Cost | 000,$2015 | 9168.9708 | 10836.9005 | 4552.7818 | 566.5593 | 36.9163
| Avoided Depreciation | 000,$2015 | 14422.7006 | 17046.3376 | 7161.4809 | 891.1923 | 58.069
| Avoided Return on Asset | 000,$2015 | 15501.2122 | 18321.0415 | 7697.0075 | 957.8345 | 62.4113
| Total Costs Avoided | 000,$2015 | 45655.7719 | 47403.3829 | 19458.4419 | 2417.7475 | 155.3778
| Asset Allocation | % | 23.48% | 27.75% | 11.66% | 1.451% | 0.09452%
| Undepreciated Network RAB | 000,$2015 | 2969781.9455
| Return on Asset | 000,$2015 | 66030.9734
| Depreciation | 000,$2015 | 61436.8056
| Maintenance Cost | 000,$2015 | 39057.3368
| Avoidable Opex | 000,$2015 | 7811.4674

## SAC - VPN
CP Pricing Model
Standalone Cost
| Asset Category | Units | Opening RAB | Undepreciated RAB | Depreciation | Return on Asset | Depn Plus Return
| Subtransmission | 000,$2015 | 422018.5393 | 557939.1567 | 11158.7831 | 12405.3773 | 23564.1605
| Distribution system assets | 000,$2015 | 1245582.4168 | 2411842.7888 | 49221.2814 | 53625.5961 | 102846.8775
| Metering | 000,$2015 | 7549.1381 | 106731.0479 | 7115.4032 | 2373.0884 | 9488.4916
| Public lighting | 000,$2015 | 7665.6832 | 23186.5743 | 927.463 | 515.5369 | 1442.9998
| SCADA/Network control | 000,$2015 | 14550.3361 | 23092.9505 | 1776.3808 | 513.4552 | 2289.836
| Non network - IT | 000,$2015 | 37556.0408 | 43399.7239 | 7233.2873 | 964.9618 | 8198.2491
| Non network - other | 000,$2015 | 10367.9171 | 15544.6374 | 1554.4637 | 345.6239 | 1900.0876
| VBRC | 000,$2015
| Total | 000,$2015 | 1745290.0714 | 3181736.8794 | 78987.0626 | 70743.6395 | 149730.702
| Total ex PL | 000,$2015 | 1737624.3882 | 3158550.3052 | 78059.5996 | 70228.1026 | 148287.7022
| Total Non-network/SCADA | 000,$2015 |  |  |  |  | 12388.1727
| Total Metering | 000,$2015 |  |  |  |  | 9488.4916
| Total Network | 000,$2015 |  |  |  |  | 126411.0379
Capital Cost
| Tariff Class | Units | Network Capital Cost | Metering | Non-Network/SCADA | Stand Alone Capital Cost
| Residential | 000,$2015 | 74648.3767 | 7971.8582 | 12388.1727 | 95008.4077
| Small Commercial | 000,$2015 | 73391.9507 | 1456.5358 | 12388.1727 | 87236.6592
| Large Low Voltage | 000,$2015 | 33934.8729 | 57.2989 | 12388.1727 | 46380.3445
| High Voltage | 000,$2015 | 11823.9801 | 2.6254 | 12388.1727 | 24214.7782
| Subtransmission | 000,$2015 | 980.7092 | -2.4523 | 12388.1727 | 13366.4296
Operating Cost
| Tariff Class | Units | Standalone O&M
| Residential | 000,$2015 | 69554.5062
| Small Commercial | 000,$2015 | 65858.651
| Large Low Voltage | 000,$2015 | 58422.6007
| High Voltage | 000,$2015 | 54391.3679
| Subtransmission | 000,$2015 | 53857.5446
Standalone Cost
| Tariff Class | Units | Capital Cost Allocation | Opex Allocation | Total Stand Alone Cost
| Residential | 000,$2015 | 95008.4077 | 69554.5062 | 164562.9139
| Small Commercial | 000,$2015 | 87236.6592 | 65858.651 | 153095.3102
| Large Low Voltage | 000,$2015 | 46380.3445 | 58422.6007 | 104802.9451
| High Voltage | 000,$2015 | 24214.7782 | 54391.3679 | 78606.1461
| Subtransmission | 000,$2015 | 13366.4296 | 53857.5446 | 67223.9741

## LRMC
CP Pricing Model
LRMC Estimation
| Description |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Demand driven augex ($2015)
| Sub transmission |  | 3713917.529 | 3654508.8669 | 310735.9321 | 0 | 0 | 9322077.9644 | 24082034.7413 | 23833445.9956 | 15977005.8445 | -11439034.4389
| Zone Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage |  | 6661701.3999 | 7490330.5522 | 6558122.7558 | 6558122.7558 | 6558122.7558 | 9665482.0773 | 17830301.7369 | 25013014.6167 | 26704169.0233 | 5225724.7437
| Low Voltage Substations |  | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132
| Low Voltage |  | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082
|  |  | 13482978.2503 | 14252198.7406 | 9976218.0094 | 9665482.0773 | 9665482.0773 | 22094919.3631 | 45019695.7996 | 51953819.9338 | 45788534.1892 | -3105950.3737
| Assumed Opex ($2015) | 0.5%
| Sub transmission |  | 18569.5876 | 36842.132 | 38395.8116 | 38395.8116 | 38395.8116 | 85006.2015 | 205416.3752 | 324583.6051 | 404468.6344 | 347273.4622
| Zone Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage |  | 33308.507 | 70760.1598 | 103550.7735 | 136341.3873 | 169132.0011 | 217459.4115 | 306610.9202 | 431675.9933 | 565196.8384 | 591325.4621
| Low Voltage Substations |  | 8855.9741 | 17711.9481 | 26567.9222 | 35423.8963 | 44279.8703 | 53135.8444 | 61991.8185 | 70847.7925 | 79703.7666 | 88559.7407
| Low Voltage |  | 6680.8225 | 13361.6451 | 20042.4676 | 26723.2902 | 33404.1127 | 40084.9352 | 46765.7578 | 53446.5803 | 60127.4029 | 66808.2254
|  |  | 67414.8913 | 138675.885 | 188556.975 | 236884.3854 | 285211.7958 | 395686.3926 | 620784.8716 | 880553.9713 | 1109496.6422 | 1093966.8903
| Demand Growth (MVA) |  | 1662.9818 | 1718.7528 | 1750.4029 | 1773.3383 | 1788.9312 | 1800.7736 | 1822.0387 | 1855.9777 | 1889.0495 | 1923.0787
| Sub transmission |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Zone Substations |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| High Voltage |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Low Voltage Substations |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Low Voltage |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Network |  | 2016: NPV
| Sub transmission |  | 2016: 49.6863
| Zone Substations |  | 2016: 0
| High Voltage |  | 2016: 84.8438
| Low Voltage Substations |  | 2016: 12.8275
| Low Voltage |  | 2016: 9.6769
| Customer Category | Connected to | 2016: LRMC before diversity ($/kVA); 2017: Diversity; 2018: LRMC after diversity ($/kVA); 2019: LRMC ($'000,2015)
| Residential | Low Voltage | 2016: 157.0346; 2017: 0.6; 2018: 94.2207; 2019: 47531.4455
| Small Commercial | Low Voltage | 2016: 157.0346; 2017: 0.7; 2018: 109.9242; 2019: 76923.5706
| Large Low Voltage | Low Voltage Substations | 2016: 147.3577; 2017: 0.7; 2018: 103.1504; 2019: 60522.6001
| High Voltage | High Voltage | 2016: 134.5302; 2017: 0.5; 2018: 67.2651; 2019: 9438.8404
| Sub transmission | Sub transmission | 2016: 49.6863; 2017: 0.5; 2018: 24.8432; 2019: 441.3571

## Summary
CP Pricing Model
Summary
| Year Selected | 2018
| Tariff Class | Avoided Cost | Revenue | Standalone Cost | LRMC
|  | 000$,2015 | 000$,2015 | 000$,2015 | 000$,2015
| Residential | 45655.7719 | 79130.8375 | 164562.9139 | 47531.4455
| Small Commercial | 47403.3829 | 97110.3695 | 153095.3102 | 76923.5706
| Large Low Voltage | 19458.4419 | 94246.9924 | 104802.9451 | 60522.6001
| High Voltage | 2417.7475 | 15150.1415 | 78606.1461 | 9438.8404
| Subtransmission | 155.3778 | 954.0143 | 67223.9741 | 441.3571
| Tariff Class | Avoided Cost | Revenue | Standalone Cost | LRMC
|  | 000$,nom | 000$,nom | 000$,nom | 000$,nom
| Residential | 48912.1215 | 80969.11 | 176300.1895 | 50921.5755
| Small Commercial | 50784.379 | 99474.5835 | 164014.6711 | 82410.0629
| Large Low Voltage | 20846.2947 | 96436.4252 | 112277.9043 | 64839.3105
| High Voltage | 2590.1908 | 15502.0914 | 84212.6463 | 10112.0557
| Subtransmission | 166.4599 | 976.1768 | 72018.6529 | 472.8364