## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help drive improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 02: Operational outputs
Operational outputs are measures of the activities undertaken by a DNSP or the volume of services delivered to customers by the DNSP.
Operational output data is used for benchmarking DNSPs, assessing pricing proposals, and is useful for understanding the overall performance of DNSPs, and the volume of services they provide to their customers.
Concepts
Where:
Definitions of Concepts
Customer | An end user of electricity who purchases electricity supplied through a distribution system to a connection point.
Total Customers | Metered customers plus unmetered customers
Metered customers | Customers whose connection point has a meter which can measure energy flows
Unmetered customers | Customers whose energy consumption is estimated
Active NMIs | NMI associated with an energised connection to a customers premises.
Inactive NMIs | NMI associated with a temporarily de-energised connection to a customers premises.
Deactivated NMIs | NMI associated with permanently de-energised connection to a customers premises.
Energy delivered | The amount of electricity transported out of DNSP's network, measured (metered or estimated) at the customer charging location.
Total energy delivered | Energy delivered to residential customers plus energy delivered to non-residential low voltage customers plus energy delivered to non-residential high voltage customers
Residential customers | Residential customer means a customer who purchases energy principally for personal, household or domestic use at premises.
Non-residential low voltage customers | Non-residential Customers who are connected at 240 or 415 volts.
Non-residential high voltage customers | Non-residential Customers who are connected at higher than 415 volts.

## Definitions
Data category 02: Operational outputs
Definitions have been provided for each service classification (column) as well as each row descriptor of the data tabs in this workbook. Row descriptor definitions have been consolidated for all service classifications. This means if you are seeking to find a disaggregated definition of a data cell, you will need to consider (together) the definition of both the row descriptor and the service classification. These are provided below:
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually in the 'Definitions' below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Energy Delivered by Tariff
Energy Delivered | The amount of electricity transported out of NSP's network (measured in MWh), metered or estimated at the customer charging location rather than the import location.
Cost reflective tariff | A tariff that is based on the cost of serving the customer. Includes time of use tariffs.
Non-cost reflective tariff | A tariff that is not a cost reflective tariff. Includes single rate (or flat rate) usage tariffs.
Meter type | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 are described in Schedule 7.4 of NER.
Tariff name | The name used by the NSP to identify the tariff in its communications with customers.
Tariff code | The code used by the NSP in its internal records and systems to identify a tariff.
Energy Delivered by Time
Time of use | The time energy flows between a customer and the network were recorded.
On-peak times | Days and hours identified as peak energy delivery times by an NSP.
Shoulder times | Days and times that are not identified as either peak or off-peak by an NSP.
Off-peak times | Days and hours identified as off-peak time by an NSP.
Controlled load | Energy deliveries where the supply of electricity is controlled by DNSP.
Unmetered supplies | Energy delivered is “calculated” rather than “metered”. This may include supplies for the purposes of traffic controls, the energy component of street lighting, phone of public transport cubicles and other services where consumption is calculated rather than metered.
Energy Received
on-peak times | Days and hours when charges to users are at Peak time rates as set by DNSP.
shoulder times | Days and hours when charges to users are at shoulder time rates as set by DNSP.
off-peak times | Days and hours when charges to users are at Off-Peak time rates as set by DNSP.
Embedded generation/embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
Non-residential embedded generation | Non-residential Embedded Generation includes only specific generation plant, where energy into DNSP’s network would be metered and charged under a contract arrangement. It does not include domestic roof-top solar, but it does include solar farms and wind farms if connected to the network.
residential embedded generation | Embedded Generation owned by a residential customer, includes domestic roof-top solar.
Maximum Demand
Maximum Demand | Has the meaning prescribed in the National Electricity Rules. The highest amount of electrical power delivered, or forecast to be delivered, over a defined period (day, week, month, season or year) either at a connection point, or simultaneously at a defined set of connection points. Note: For the avoidance of doubt, maximum demand refers to 30 minute demand unless otherwise indicated.
System maximum demand | The maximum demand measured for all connection points within the distribution system.
Annual system maximum demand characteristics at the transmission connection point | The maximum demand measured for all transmission connection points within the distribution system.
Non-coincident Maximum Demand | The load on the specified network segment, at the time during which the relevant network segment was experiencing its maximum demand for the relevant regulatory year. This is irrespective of whether the network was also experiencing maximum demand.
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | This is the summation of the Weather Adjusted annual Maximum Demands for the requested asset level (either the zone substation or transmission connection point) at the 10 per cent POE level irrespective of when they occur within the year.
Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | This is the summation of Weather Adjusted annual Maximum Demands for the requested asset level (either the zone substation or transmission connection point) at the 50 per cent POE level irrespective of when they occur within the year.
Coincident Maximum Demand | The load on the specified network segment at the time during which the network was experiencing its maximum demand for the relevant regulatory year.
Coincident Raw System Annual Maximum Demand | This is the actual, unadjusted (i.e. not weather normalised) summation of actual raw demands for the requested asset level (either the zone substation or transmission connection point) at the time when this summation is greatest. The Maximum Demand does not include Embedded Generation.
Coincident Weather Adjusted System Annual Maximum Demand 10% POE | This is the summation of the Weather Adjusted annual Maximum Demands for the requested asset level (either the zone substation or transmission connection point) at the 10 per cent POE level at the time when this summation is greatest.
Coincident Weather Adjusted System Annual Maximum Demand 50% POE | This is the summation of the Weather Adjusted annual Maximum Demands for the requested asset level (either the zone substation or transmission connection point) at the 50 per cent POE level at the time when this summation is greatest.
Substation rating | The normal cyclic rating for a substation
Raw Adjusted maximum demand | Raw unadjusted maximum demand that is adjusted to system normal conditions. DNSP must adjust to system normal conditions by accounting for (temporary) switching relevant to the network segment, and for temporary load changes from major customers (such as temporary closure of major industrial customers). DNSP must not adjust maximum demand data for (permanent) transfers, block loads or embedded generation. The term, ‘raw’, refers to demand data that has not undergone weather correction.
Raw unadjusted maximum demand | Actual maximum demand as measured by the DNSP at the specified network segment. This must not include any adjustments for factors such as switching, temporary load changes from major customers, transfers, block loads or embedded generation. The term, ‘raw’, refers to demand data that has not undergone weather correction.
Adjustments - Embedded generation | TBC
Weather Corrected maximum demand | The removal of the impact of temperature fluctuations so as to derive a maximum demand measure corrected to a probability of exceedance (PoE), usually 50% PoE and/or 10% PoE.
Normal cyclic rating | The maximum peak loading based on a given daily load cycle that an asset or element of the network can supply each day of its life under normal conditions resulting in a normal rate of wear. TNSP must provide its definition(s) of ‘normal conditions’
Connection Activity
New Connections | Connection services necessary to meet customer connection requests. This excludes alterations to existing connection assets.
Residential connection - Simple connection LV | Single/multi-phase customer connection service; and /or: • one span of overhead service wire or standard underground service; and/or • an overhead road crossing
Residential connection - Complex connection LV | Single/multi-phase customer connection services which are not simple customer connections and, as an example, may involve the following: • greater than one span of overhead service wire • extension or augmentation of the LV feeder, overhead and/or underground; • road crossing (overhead or underground). Notes: This also includes the reconfiguration of LV network assets (not including any HV asset works) as a result of specific requests for connection specifications.
Residential connection - Complex connection HV | Single/multi-phase customer connection services which are not simple customer connections or complex type low voltage connections and, as an example, may involve the following: • extension or augmentation of the HV feeder, overhead and/or underground; • installation of a distribution substation (pole mounted, ground types); • extension or augmentation of the LV feeder, overhead and/or underground; • greater than one span of overhead service wire; • road crossing (overhead or underground). Notes: This also includes the reconfiguration of HV network assets (not including any LV asset works) as a result of specific requests for connection
Commercial/Industrial connection - Simple connection LV | Single/multi-phase customer service connection and, as an example, may involve the following: • one or more spans of overhead service wire; • road crossing (overhead or underground). • small LV extension or augmentation of overhead and/or underground mains
Commercial/Industrial connection -Complex connection HV (customer connected at LV, minor HV works) | Multi-phase customer connection service at LV which are not simple connections and, as an example, may involve the following: • the installation of a distribution substation (pole mounted, ground types, or indoor types); • overhead and/or underground HV feeder extension or augmentation associated with the connection of the substation but excluding major feeder extensions or augmentation; • installation of LV mains associated with the new substation.
Commercial/Industrial connection -Complex connection HV (customer connected at LV, upstream asset works) | Multi-phase customer connections which are not simple connections or Complex type connection high voltage and, as an example, may involve the following: • large extension or augmentation, overhead and/or underground, of the HV feeder; • installation of a distribution substation (pole mounted, ground types or indoor types). Notes: Upstream shared asset alterations expected to be required. This also includes the reconfiguration of HV network assets as a result of specific requests for connection.
Commercial/Industrial connection -Complex connection HV (customer connected at HV) | Multi-phase customer connections where the customer is supplied at HV and, as an example, may include the following: • large extension or augmentations of the HV feeders; • installation of a high voltage switching station or switch room.
Commercial/Industrial connection -Complex connection sub-transmission | Multi-phase customer connections where the customer is connected via feeders operating between 33kV and 132kV inclusive and, as an example, may include any of the following: • extension or augmentation of the Sub-transmission network • installation of switching stations, switch rooms or similar facilities
Subdivision - Complex connection LV | Single/multi-phase customer connection and, as an example, may include the following: • extension or augmentation of overhead or underground LV feeders including road crossings.
Subdivision - Complex connection HV (no upstream asset works) | Multi-phase customer connection which are not simple connections and, as an example, may include the following: • extension or augmentation of HV feeders; • installation of one or more distribution substations; • installation of LV mains. Notes: Each subsequent connection of a residential premises within a new estate will be treated as a connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development
Subdivision - Complex connection HV (with upstream asset works) | Multi-phase customer connections which are not simple connections and, as an example, may involve the following: • extension or augmentation of HV feeders including major upstream works; • installation of one or more distribution substations; • installation of LV mains Notes: This category is intended to capture the cost of developing the network to serve new estates and possible upstream shared asset alterations that may be required. Each subsequent connection of residential premises within a new estate will be treated as a simple connection. The subdivision category excludes civil works (that is, the cost of trenching, excavation, backfilling or re-instatement within the subdivision development
Embedded generation - Simple connection LV | Single/multi-phase customer connection service, and /or: • one span of overhead service wire or standard underground service wire and/or road crossing; and • meter upgrade.
Embedded generation - Complex connection HV (small capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: • large extension or augmentation, overhead and/or underground, of the distribution HV/LV feeders; • installation of a distribution substation (Pole mounted, ground types or indoor types).
Embedded generation - Complex connection HV (large capacity) | Multi-phase customer connection which are not simple connections and, as an example, may involve the following: • extension or augmentation of HV or sub transmission feeders; • installation of switching stations, switch rooms or similar facilities
Other Connection Activities - Distribution substations installed | TBC
Other Connection Activities - Augmentation HV | TBC
Other Connection Activities - Augmentation LV | TBC
Other Outputs
Light installation | The installation on a major or minor road for the purpose of establishing new: Luminaires, including associated components such as bracket and lamp. The installation may also include: Poles dedicated to public lighting services and Underground or overhead cabling dedicated to public lighting services.
Light replacement | The cost of replacement on a major or minor road of any of the following public lighting assets: Luminaires; Brackets; Lamps; Poles dedicated to public lighting services; and Underground or overhead cabling dedicated to public lighting services. Light replacement should be estimated as the replacement of public lighting assets with their modern equivalent, where the public lighting assets have reached the end of their economic life.
Light maintenance | The operating cost associated with the repair and inspection of the following public lighting assets on a major or minor road: Luminaires; Brackets; Lamps; Poles dedicated to public lighting services; and Underground or overhead cabling dedicated to public lighting services. Light maintenance should include the operational repairs and inspection of the public lighting assets, not including capital expenditure.
Major road | Roads on which the visual requirements of pedestrians are dominant (e.g. local roads and lighting that is applicable to areas other than roads outdoor public areas, e.g. outdoor shopping). Typically the responsibility of a local Government authority.
Minor road | Roads on which the visual requirements of motorists are dominant (e.g. traffic routes). Typically the responsibility of a state or territory road authority.
Metering activities
Meter purchase | The direct material cost of purchasing the meter unit for installation or replacement. This includes the cost of delivery to DNSP’s store, including testing of equipment and inclusion of spare parts.
Meter testing | Routine testing, for the purposes of complying with AEMO’s metrology procedure, including the ongoing and regular maintenance testing, compliance testing and in-service testing of metering installation components initiated by the responsible person or Metering Provider to fulfil their obligations in accordance with S7.3 of the Rules.
Meter investigation | The cost to investigate a metering request at a given supply point i.e. Interval data analysis; meter malfunction; wiring transposition (polarity) investigation; contestable metering investigation and meter tampering or bypass.
Scheduled meter reading | An actual meter reading performed to according to a predefined schedule.
Special meter reading | An actual meter reading performed to support an out of cycle customer billing or consumption request.
New meter installation | Has the meaning of metering installation as prescribed in the National Electricity Rules and should also include the expenditure associated with deploying refurbished meters in new meter installations.
Meter replacement | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter maintenance | The cost to repair a meter currently deployed in the field. Meter maintenance costs should include the expenditure related to operational repairs of the meter unit, not including capex.
Remote meter reading | The use of remotely read interval metering infrastructure to perform meter reading and special meter reading.
Remote meter re-configuration | A change to the software in the meter that enables changes to parameters for a specific meter function. Examples of meter reconfigurations may include: • changing the switching times for controlled loads • changes associated with the installation of embedded generation and/or the premium feed-in tariff.
Other metering | Metering services which are not already included in the following meter services: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance. Meter data services, which apply to meter types 4–7 should be reported in the meter associated works category.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Energisation | The closing of a connection in order to allow the flow of energy to the premises.
De-energisation | The opening of a connection in order to prevent the flow of energy to the premises.
Re-energisation | The energisation of a premises after their de-energisation. Does not include alterations or new installation of meters or services.
Other fee based services | Fee based services not included in energisation, Re-energisation or de=energisation services.
Quoted services | Quoted Services are services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Asset Replacement Activities
Asset Replacements | To replace an asset with its modern equivalent where the asset has reached the end of its economic life.
Asset Failures | The failure of an asset to perform its intended function safely and in compliance with jurisdictional regulations, not as a result of external impacts such as: • extreme or atypical weather events; or • third party interference, such as traffic accidents and vandalism; or • wildlife interference, but only where the wildlife interference directly, clearly and unambiguously influenced asset performance; or • vegetation interference, but only where the vegetation interference directly, clearly and unambiguously influenced asset performance. Excludes planned interruptions.
Poles | These are vertically oriented assets that provide load bearing structural support for overhead conductors or other lines assets. This also includes associated pole top structures, such as cross-arms and insulators where these are replaced in conjunction with a pole replacement project It excludes other pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Staking wooden poles | The staking of a previously unstaked wooden pole
Staked pole replaced with new pole | A previously staked wooden pole that is replaced by a new pole of any material.
Pole top structures | These are horizontally oriented structures and their components that provide support for overhead conductors and related assets to be supported on a pole and provide adequate clearances. This relates to expenditure incurred when a pole top structure is replaced independently of the pole it is located on. This includes cross-arms and insulators. It excludes any pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Overhead conductors | These assets have the primary function of distributing power, above ground, within the distribution network. It excludes any pole mounted assets that are included in any other asset group.
Underground cables | These assets have the primary function of distributing power, below ground, within the distribution network. This includes cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any pole mounted assets that are included in any other asset group.
service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Transformers | These are assets used to transform between voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Switchgear repex | These are assets used to control, protect and isolate segments of the network This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc.
Public lighting repex | Public lighting services are the installation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
SCADA and Network Control and Protection systems repex | Replacement expenditure associated with SCADA and network control hardware, software and associated IT systems. Includes replacement of protection and control systems and communication systems. This excludes all costs associated with SCADA and Network Control Expenditure that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules
Other replacement capex | Repex not included in above categories
Asset Augmentation Activities
Units upgraded | An existing asset is upgraded such that its performance is materially improved from its current state.
Units added | New assets are added to the network.
HV Feeders | A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV, and connects distribution substations to a zone substation. Includes all connected lines and cables from the point of origin (typically a zone substation) to the normally-open points or line/cable terminations.
LV Feeders | A distribution line that is not a subtransmission line or a high voltage feeder or an overhead service wire or an underground service cable. Includes switchgear located on the feeder rather than in a subtransmission substation, zone substation, or distribution substation. Includes all non-transforming substations used to switch two or more distribution lines that are associated with the low voltage feeder.
Distribution substations | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables . For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Network Maintenance Activities
Pole top, overhead line & service line maintenance | Maintenance of network overhead lines and pole tops, sub transmission & distribution: conveying electricity between zone substations, from zone substations to distribution substations and low voltage lines. Includes Stobie poles for South Australian NSPs. Includes services maintenance (pre-arranged maintenance of DNSP’s services providing supply to customers' premises).
Service lines maintenance | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Pole inspection and treatment | All inspection, testing and treatment of sub transmission and/or distribution poles. Includes all direct costs (labour, material, contract, motor vehicle); inspection of network assets including poles, conductors and cross-arms; pole preserving chemical treatments. Includes inspection of vegetation where inspections of both vegetation and poles occur simultaneously. Excludes customers HV lines; LV overhead private electric lines. Excludes inspection of vegetation where inspection is for vegetation only (this is captured under Vegetation Management). Physical measure: Number of poles inspected by zone substation.
Overhead asset inspection | All inspection of network overhead assets. Includes all direct costs (labour, material, contract, motor vehicle); thermal survey programs. Physical measure: Route km line patrolled by zone substation
Network underground cable maintenance | TBC
Distribution substation equipment & property maintenance | Maintenance of distribution substations, equipment to convert HV distribution to LV, current transformers, voltage transformers, voltage regulators and associated secondary protection and communication equipment. Equipment maintenance – includes all direct costs (labour, material, contract, motor vehicle); maintenance of distribution switchgear; inspecting, testing and maintaining distribution substations primary and secondary equipment, apparatus and hardware; transformers, earthing, surge diverters, isolators, protection and communication directly associated with the substation; inspecting, testing and maintaining substations and protective apparatus, equipment and hardware; earthing, surge diverters, EDOs and isolators directly associated with the substation; maintenance of site including buildings, fences and cleaning; carrying out replacement of HV fuses not occasioned by fault or emergency work (minor value of replacement, e.g. <$500). Property maintenance – includes all direct costs (labour, material, contract, motor vehicle); maintenance of site including buildings, fences and cleaning; weed control. Excludes upgrades and replacements of equipment which should be capex. Physical measure: Number of projects completed by distribution substation; Number of substations and voltage regulators maintained by zone substation; Number of distribution substation properties maintained
Zone substation equipment maintenance | Maintenance of zone substations, equipment to convert sub transmission voltage to distribution voltage, current transformers, voltage transformers and associated secondary protection and communication equipment. Includes maintenance of sub transmission switchgear; inspecting, testing and maintaining zone substations primary and secondary equipment, apparatus and hardware; transformers, earthing, surge diverters, isolators, protection and communication directly associated with the substation. Includes maintenance of distribution equipment within the zone substation. Excludes upgrades and replacements which should be capex; Zone Substation Property Maintenance. Physical measure: Number of zone substation assets, e.g. number of transformers
Zone substation property maintenance | Maintenance of site including buildings, fences and cleaning; weed control. Excludes Zone Substation Equipment Maintenance and Zone Substation Transformer Maintenance. Physical measure: Number of zone substation properties maintained
Public lighting maintenance | The maintenance, repair or inspection of public lighting assets on major roads and minor roads. Includes all direct costs (labour, material, contract, motor vehicle). Physical Measure: Number of public lights serviced by zone substation; Number of kilometres patrolled by zone substation.
Minor roads | Roads on which the visual requirements of pedestrians are dominant (e.g. local roads and lighting that is applicable to areas other than roads outdoor public areas, e.g. outdoor shopping). Typically the responsibility of a local Government authority.
Major roads | Roads on which the visual requirements of motorists are dominant (e.g. traffic routes). Typically the responsibility of a state or territory road authority.
SCADA & network control maintenance | The maintenance of SCADA and network control hardware, software and associated IT and communications systems. Excludes maintenance of Protection Systems.
Protection systems maintenance | Has the meaning prescribed in the National Electricity Rules.
Subtransmission asset maintenance - for DNSPs with dual function assets | Assets that distribute electricity at voltage levels between the transmission system and the HV section of the network. The connection boundaries are the outgoing terminals at the transmission terminal station to the incoming terminals of the HV circuit breakers at the zone substations.
Ground clearance - access tracks | TBC
Motor Vehicles
Motor Vehicles | Is any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Light Commercial Vehicle | Light commercial vehicles (LCVs) are Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Elevated Work Platform (LCV) | Elevated work platforms (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platform (HCV).
Elevated Work Platform (HCV) | Elevated work platforms (HCV) are Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Heavy Commercial Vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
Proposed New Data Collections
Safety related incident | An incident that impacts or is likely to impact on the safety of the employees (including contractors) of the NSP or general public.
Major event | A natural disaster or other event that has a significant impact on the customers of the NSP, and the ability of the NSP to provide services to those customers.
Response | Activity in response to a safety incident or major event that has occurred (or is occurring).
Preventative | Activities targeted at reducing the risk of a safety incident or major event occurring; or targeted at reducing the impact of a safety incident or major event when they occur.

## Validations
Data category 02: Operational outputs
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | Input cells | Rules applying
Energy delivered by CR Tariff | All tables | Tariff name | Free text - <Business defined row descriptors> must match tariff name used for customer numbers
Energy delivered by NCR Tariff
Energy delivered by CR Tariff | All tables | Tariff name | Free text - <Business defined row descriptors> must match tariff name used for customer numbers
Energy delivered by NCR Tariff
Demand | Coincident Maximum Demand by subtransmission substation | Subtransmission Substation name | Free text - unique identifier for each substation
Non-coincident Maximum Demand by subtransmission substation
Demand | Coincident Maximum Demand by zone substation | Zone substation name | Free text - unique identifier for each substation
Non-coincident Maximum Demand by zone substation
Demand | Maximum Demand by Feeder | Feeder ID | Free text - <DNSP Feeder descriptors> must match feeder ID used for service performance category
Other outputs | Fee-based services | Fee based services - other | Free text - <DNSP described fee-based service type> must be consistent with previous years reporting terms, unless the service is new
Other outputs | Quoted services | Quoted services | Free text - <DNSP described quoted service type> must be consistent with previous years reporting terms, unless the service is new

## Checks and Totals
Data category 02: Operational outputs
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Energy delivered by time | Energy delivery by time of delivery |  | Total | = | Energy delivery by CR tariff + Energy delivery by NCR tariff | Residential + Non residential low voltage + Non residential high voltage | Meter types 1-7 | Total | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non-coincident Summated Raw System Annual Maximum Demand (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non–coincident Summated Raw System Annual Maximum Demand (MWA) | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Raw System Annual Maximum Demand (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Raw System Annual Maximum Demand (MWA) | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Weather Adjusted System Annual Maximum Demand 10% POE (MWA) | TRUE
Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MW) |  | Demand | System Maximum Demand | Annual system maximum demand characteristics at the transmission connection point | Coincident Weather Adjusted System Annual Maximum Demand 50% POE (MWA) | TRUE
Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Raw Adjusted MD (MW) |  | Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Raw Adjusted MD (MWA) | TRUE
Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MW) |  | Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MWA) | TRUE
Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MW) |  | Demand | Coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MWA) | TRUE
Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Raw Adjusted MD (MW) |  | Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Raw Adjusted MD (MWA) | TRUE
Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MW) |  | Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MWA) | TRUE
Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MW) |  | Demand | Non-coincident Maximum Demand by subtransmission substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MWA) | TRUE
Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Raw Adjusted MD (MW) |  | Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Raw Adjusted MD (MWA) | TRUE
Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MW) |  | Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MWA) | TRUE
Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MW) |  | Demand | Coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MWA) | TRUE
Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Raw Adjusted MD (MW) |  | Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Raw Adjusted MD (MWA) | TRUE
Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MW) |  | Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 10% POE (MWA) | TRUE
Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MW) |  | Demand | Non-coincident Maximum Demand by zone substation | <Subtransmission substation X name> | Weather Corrected MD 50% POE (MWA) | TRUE

## Energy delivered by CR Tariff
Data category 02: Operational outputs
Energy delivered by Cost Reflective Tariff
Stakeholder Comments | TARIFF NAME | TARIFF CODE | Units |  | Current RIN reference | Validation rules
| Residential customers |  |  |  |  | A | B
| METER TYPE 1-3 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 4 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 5 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 6 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 7 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
Non residential low voltage customers
| METER TYPE 1-3 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 4 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 5 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 6 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 7 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
Non residential high voltage customers
| METER TYPE 1-3 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 4 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1

## Energy delivered by NCR Tariff
Data category 02: Operational outputs
Energy delivered by Non Cost Reflective Tariff
Stakeholder Comments | TARIFF NAME | TARIFF CODE | Units |  | Current RIN reference | Validation rules
| Energy delivered to residential customers |  |  |  |  | A | B
| METER TYPE 1-3 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 4 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 5 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 6 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 7 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
Energy delivered to non residential low voltage customers
| METER TYPE 1-3 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 4 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 5 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 6 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1
| Meter Type 7 |  |  | 0
| <Business specific row descriptor 1> | <Business specific row descriptor 1> | MWh |  | replaces AR P1
| <Business specific row descriptor 2> | <Business specific row descriptor 2> | MWh |  | replaces AR P1
| <Business specific row descriptor 3> | <Business specific row descriptor 3> | MWh |  | replaces AR P1
| <Business specific row descriptor 4> | <Business specific row descriptor 4> | MWh |  | replaces AR P1
| <Business specific row descriptor 5> | <Business specific row descriptor 5> | MWh |  | replaces AR P1

## Energy delivered by time
Data category 02: Operational outputs
Stakeholder Comments |  | Units |  | Current RIN reference | Validation rules
| Energy delivery by time |  |  |  | A | B
| ENERGY DELIVERY BY TIME OF DELIVERY |  | 0
| Energy Delivery where time of use is not a determinant | MWh |  | EB3.4.1.1
| Energy Delivery at On-peak times | MWh |  | EB3.4.1.1
| Energy Delivery at Shoulder times | MWh |  | EB3.4.1.1
| Energy Delivery at Off-peak times | MWh |  | EB3.4.1.1
| Controlled load energy deliveries | MWh |  | EB3.4.1.1
| Energy Delivery to unmetered supplies | MWh |  | EB3.4.1.1
ENERGY RECEIVED BY TIME OF RECEIPT
| Energy into DNSP network at On-peak times | MWh |  | EB3.4.1.2
| Energy into DNSP network at Shoulder times | MWh |  | EB3.4.1.2
| Energy into DNSP network at Off-peak times | MWh |  | EB3.4.1.2
| Energy received from TNSP and other DNSPs not included in the above categories | MWh |  | EB3.4.1.2
ENERGY RECEIVED FROM EMBEDDED GENERATION BY TIME OF RECEIPT
| Energy into DNSP network at On-peak times from non-residential embedded generation | MWh |  | EB3.4.1.3
| Energy into DNSP network at Shoulder times from non-residential embedded generation | MWh |  | EB3.4.1.3
| Energy into DNSP network at Off-peak times from non-residential embedded generation | MWh |  | EB3.4.1.3
| Energy received from embedded generation not included in above categories from non-residential embedded generation | MWh |  | EB3.4.1.3
| Energy into DNSP network at On-peak times from residential embedded generation | MWh |  | EB3.4.1.3
| Energy into DNSP network at Shoulder times from residential embedded generation | MWh |  | EB3.4.1.3
| Energy into DNSP network at Off-peak times from residential embedded generation | MWh |  | EB3.4.1.3
| Energy received from embedded generation not included in above categories from residential embedded generation | MWh |  | EB3.4.1.3

## Demand
Data category 02: Operational outputs
Maximum Demand
Stakeholder Comments |  | Units | Current RIN reference | Validation rules
| System maximum demand |  |  | A | B | C | D
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL
| Non-coincident Summated Raw System Annual Maximum Demand | MW | EB3.4.3.1
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | EB3.4.3.1
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | EB3.4.3.1
| Coincident Raw System Annual Maximum Demand | MW | EB3.4.3.1
| Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | EB3.4.3.1
| Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | EB3.4.3.1
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT
| Non-coincident Summated Raw System Annual Maximum Demand | MW | EB3.4.3.2
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | EB3.4.3.2
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | EB3.4.3.2
| Coincident Raw System Annual Maximum Demand | MW | EB3.4.3.2
| Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | EB3.4.3.2
| Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | EB3.4.3.2
| Embedded generation at time of Coincident raw system annual maximum demand | MW | CA5.3.1
Maximum demand characteristics
| Date and time coincident Raw System Annual Maximum Demand occurred | DD MM YYYY hh:mm:ss | CA5.3.1
| Summer/winter peaking classification | Summer/Winter | CA5.3.1
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE ZONE SUBSTATION LEVEL
| Non–coincident Summated Raw System Annual Maximum Demand | MVA | EB3.4.3.3
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | EB3.4.3.3
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | EB3.4.3.3
| Coincident Raw System Annual Maximum Demand | MVA | EB3.4.3.3
| Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | EB3.4.3.3
| Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | EB3.4.3.3
ANNUAL SYSTEM MAXIMUM DEMAND CHARACTERISTICS AT THE TRANSMISSION CONNECTION POINT
| Non–coincident Summated Raw System Annual Maximum Demand | MVA | EB3.4.3.4
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | EB3.4.3.4
| Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | EB3.4.3.4
| Coincident Raw System Annual Maximum Demand | MVA | EB3.4.3.4
| Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | EB3.4.3.4
| Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | EB3.4.3.4
Coincident maximum demand by subtransmission substation
<Substransmission substation 1 name>
| Substation Rating | MVA | CA5.4.1
| Raw Adjusted Maximum Demand | MW | CA5.4.1
| Raw Adjusted Maximum Demand | MVA | CA5.4.1
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.1
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.1
| Seasonal peak | Summer/Winter | CA5.4.1
| Adjustments - Embedded generation | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.1
<Subtransmission substation 2 name>
| Substation Rating | MVA | CA5.4.1
| Raw Adjusted Maximum Demand | MW | CA5.4.1
| Raw Adjusted Maximum Demand | MVA | CA5.4.1
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.1
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.1
| Seasonal peak | Summer/Winter | CA5.4.1
| Adjustments - Embedded generation | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.1
<up to 200 Subtransmission substations>
Non-coincident maximum demand by subtransmission substation
<Substransmission substation 1 name>
| Substation Rating | MVA | CA5.4.1
| Raw Adjusted Maximum Demand | MW | CA5.4.1
| Raw Adjusted Maximum Demand | MVA | CA5.4.1
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.1
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.1
| Seasonal peak | Summer/Winter | CA5.4.1
| Adjustments - Embedded generation | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.1
<Subtransmission substation 2 name>
| Substation Rating | MVA | CA5.4.1
| Raw Adjusted Maximum Demand | MW | CA5.4.1
| Raw Adjusted Maximum Demand | MVA | CA5.4.1
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.1
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.1
| Seasonal peak | Summer/Winter | CA5.4.1
| Adjustments - Embedded generation | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.1
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.1
<up to 200 Subtransmission substations>
Coincident maximum demand by zone substation
<Zone substation 1 name>
| Substation Rating | MVA | CA5.4.2
| Raw Adjusted Maximum Demand | MW | CA5.4.2
| Raw Adjusted Maximum Demand | MVA | CA5.4.2
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.2
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.2
| Seasonal peak | Summer/Winter | CA5.4.2
| Adjustments - Embedded generation | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.2
<Zone substation 2 name>
| Substation Rating | MVA | CA5.4.2
| Raw Adjusted Maximum Demand | MW | CA5.4.2
| Raw Adjusted Maximum Demand | MVA | CA5.4.2
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.2
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.2
| Seasonal peak | Summer/Winter | CA5.4.2
| Adjustments - Embedded generation | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.2
<up to 200 Zone substations>
Non-coincident maximum demand by zone substation
<Zone substation 1 name>
| Substation Rating | MVA | CA5.4.2
| Raw Adjusted Maximum Demand | MW | CA5.4.2
| Raw Adjusted Maximum Demand | MVA | CA5.4.2
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.2
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.2
| Seasonal peak | Summer/Winter | CA5.4.2
| Adjustments - Embedded generation | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.2
<Zone substation 2 name>
| Substation Rating | MVA | CA5.4.2
| Raw Adjusted Maximum Demand | MW | CA5.4.2
| Raw Adjusted Maximum Demand | MVA | CA5.4.2
| Date Maximum Demand occurred | DD/MM/YYYY | CA5.4.2
| Half hour time period Maximum Demand occurred | hh:mm:ss | CA5.4.2
| Seasonal peak | Summer/Winter | CA5.4.2
| Adjustments - Embedded generation | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 10% POE | MVA | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MW | CA5.4.2
| Weather Corrected Maximum Demand 50% POE | MVA | CA5.4.2
<up to 200 Zone substations>
Maximum demand by feeder
| <DNSP Feeder 1> | MVA | AR3.6.8
| <DNSP Feeder 2> | MVA | AR3.6.8
| <DNSP Feeder 3> | MVA | AR3.6.8
| <DNSP Feeder 4> | MVA | AR3.6.8
| <DNSP Feeder 5> | MVA | AR3.6.8
<additional rows allowed>

## Connections
Data category 02: Operational outputs
Connections
Stakeholder comments |  |  |  |  | Current RIN reference | Validation rules
|  | Units | Overhead | Underground |  | A | B
New connections - Standard control services
RESIDENTIAL
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV | Number of new connections |  |  | CA2.5.2
COMMERCIAL/INDUSTRIAL
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at LV, minor HV works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at LV, upstream asset works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at HV) | Number of new connections |  |  | CA2.5.2
| Complex connection sub-transmission | Number of new connections |  |  | CA2.5.2
SUBDIVISION
| Complex connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (no upstream asset works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (with upstream asset works) | Number of new connections |  |  | CA2.5.2
EMBEDDED GENERATION
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (small capacity) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (large capacity) | Number of new connections |  |  | CA2.5.2
New connections - Excluding standard control services
RESIDENTIAL
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV | Number of new connections |  |  | CA2.5.2
COMMERCIAL/INDUSTRIAL
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at LV, minor HV works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at LV, upstream asset works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (customer connected at HV) | Number of new connections |  |  | CA2.5.2
| Complex connection sub-transmission | Number of new connections |  |  | CA2.5.2
SUBDIVISION
| Complex connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (no upstream asset works) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (with upstream asset works) | Number of new connections |  |  | CA2.5.2
EMBEDDED GENERATION
| Simple connection LV | Number of new connections |  |  | CA2.5.2
| Complex connection HV (small capacity) | Number of new connections |  |  | CA2.5.2
| Complex connection HV (large capacity) | Number of new connections |  |  | CA2.5.2
Other connection activities
| RESIDENTIAL |  |  | Reporting Year Y
| Distribution substations installed | MVA added |  |  | CA2.5.1
| Distribution substations installed | Number installed |  |  | CA2.5.1
| Augmentation HV | Net circuit km added |  |  | CA2.5.1
| Augmentation LV | Net circuit km added |  |  | CA2.5.1
COMMERCIAL/INDUSTRIAL
| Distribution substations installed | MVA added |  |  | CA2.5.1
| Distribution substations installed | Number installed |  |  | CA2.5.1
| Augmentation HV | Net circuit km added |  |  | CA2.5.1
| Augmentation LV | Net circuit km added |  |  | CA2.5.1
SUBDIVISION
| Distribution substations installed | MVA added |  |  | CA2.5.1
| Distribution substations installed | Number installed |  |  | CA2.5.1
| Augmentation HV | Net circuit km added |  |  | CA2.5.1
| Augmentation LV | Net circuit km added |  |  | CA2.5.1
EMBEDDED GENERATION
| Distribution substations installed | MVA added |  |  | CA2.5.1
| Distribution substations installed | Number installed |  |  | CA2.5.1
| Augmentation HV | Net circuit km added |  |  | CA2.5.1
| Augmentation LV | Net circuit km added |  |  | CA2.5.1

## Other outputs
Data category 02: Operational outputs
Stakeholder Comments |  |  |  |  | Current RIN reference | Validation rules
| Public lighting activities | Units |  |  |  | A | B
LIGHT INSTALLATION
| Major road light installation | Number of activities undertaken |  |  | CA4.1.2
| Minor road light installation | Number of activities undertaken |  |  | CA4.1.2
| Number of poles installed | Number of activities undertaken |  |  | CA4.1.2
LIGHT REPLACEMENT
| Major road light replacement | Number of activities undertaken |  |  | CA4.1.2
| Minor road light replacement | Number of activities undertaken |  |  | CA4.1.2
| Number of poles replaced | Number of activities undertaken |  |  | CA4.1.2
LIGHT MAINTENANCE
| Major road light maintenance | Number of activities undertaken |  |  | CA4.1.2
| Minor road light maintenance | Number of activities undertaken |  |  | CA4.1.2
| Poles maintained | Number of activities undertaken |  |  | CA4.1.2
Metering activities
METER PURCHASE
| Meter Type 4 | Number of meters purchased |  |  | CA4.2.2
| Meter Type 5 | Number of meters purchased |  |  | CA4.2.2
| Meter Type 6 | Number of meters purchased |  |  | CA4.2.2
METER TESTING
| Meter Type 4 | Number of meters tested |  |  | CA4.2.2
| Meter Type 5 | Number of meters tested |  |  | CA4.2.2
| Meter Type 6 | Number of meters tested |  |  | CA4.2.2
METER INVESTIGATION
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
SCHEDULED METER READING
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
SPECIAL METER READING
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
NEW METER INSTALLATION
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
METER REPLACEMENT
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
METER MAINTENANCE
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
REMOTE METER READING
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
REMOTE METER RE-CONFIGURATION
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
OTHER METERING
| Meter Type 4 | Number of services provided |  |  | CA4.2.2
| Meter Type 5 | Number of services provided |  |  | CA4.2.2
| Meter Type 6 | Number of services provided |  |  | CA4.2.2
| Meter Type 7 | Number of services provided |  |  | CA4.2.2
Fee based services
| Energisation | Number of services provided |  |  | CA4.3.1
| De-energisation | Number of services provided |  |  | CA4.3.1
| Re-energisation | Number of services provided |  |  | CA4.3.1
Other
| <DNSP described fee-based service type 1> | Number of services provided |  |  | CA4.3.1
| <DNSP described fee-based service type 2> | Number of services provided |  |  | CA4.3.1
| <DNSP described fee-based service type 3> | Number of services provided |  |  | CA4.3.1
| <DNSP described fee-based service type 4> | Number of services provided |  |  | CA4.3.1
| <DNSP described fee-based service type 5> | Number of services provided |  |  | CA4.3.1
| <additional rows allowed> | Number of services provided |  |  | CA4.3.1
Quoted services
| <DNSP described quoted service type 1> | Number of services provided |  |  | CA4.4.1
| <DNSP described quoted service type 2> | Number of services provided |  |  | CA4.4.1
| <DNSP described quoted service type 3> | Number of services provided |  |  | CA4.4.1
| <DNSP described quoted service type 4> | Number of services provided |  |  | CA4.4.1
| <DNSP described quoted service type 5> | Number of services provided |  |  | CA4.4.1
| <additional rows allowed> | Number of services provided |  |  | CA4.4.1
| Asset replacement activities |  | Asset Replacements | Asset Failures
POLES BY: HIGHEST OPERATING VOLTAGE; MATERIAL TYPE
| ˂ = 1 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV; Wood | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 1 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV; Concrete | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 1 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV; Steel | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE
| ˂ = 1 kV | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE
| ˂ = 1 kV | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV | Number of activities undertaken |  |  | CA2.2.1
STAKED POLE REPLACED WITH NEW POLE BY: HIGHEST OPERATING VOLTAGE
| ˂ = 1 kV | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV | Number of activities undertaken |  |  | CA2.2.1
OVERHEAD CONDUCTORS BY: HIGHEST OPERATING VOLTAGE; NUMBER OF PHASES (AT HV)
| ˂ = 1 kV | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV ; SWER | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV ; Single-Phase | Number of activities undertaken |  |  | CA2.2.1
| ˃ 11 kV & < = 22 kV ; Multiple-Phase | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 66 kV | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
UNDERGROUND CABLES BY: HIGHEST OPERATING VOLTAGE
| ˂ = 1 kV | Number of activities undertaken |  |  | CA2.2.1
| > 1 kV & < = 11 kV | Number of activities undertaken |  |  | CA2.2.1
| > 11 kV & < = 22 kV | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 33 kV | Number of activities undertaken |  |  | CA2.2.1
| > 33 kV & < = 66 kV | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
SERVICE LINES BY: CONNECTION VOLTAGE; CUSTOMER TYPE; CONNECTION COMPLEXITY
| ˂ = 11 kV ; Residential ; Simple Type | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Commercial & Industrial ; Simple Type | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Residential ; Complex Type | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Commercial & Industrial ; Complex Type | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Subdivision ; Complex Type | Number of activities undertaken |  |  | CA2.2.1
| > 11 kV & < = 22 kV ; Commercial & Industrial | Number of activities undertaken |  |  | CA2.2.1
| > 11 kV & < = 22 kV ; Subdivision | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 33 kV ; Commercial & Industrial | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 33 kV ; Subdivision | Number of activities undertaken |  |  | CA2.2.1
| > 33 kV & < = 66 kV ; Commercial & Industrial | Number of activities undertaken |  |  | CA2.2.1
| > 33 kV & < = 66 kV ; Subdivision | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV ; Commercial & Industrial | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV ; Subdivision | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV ; Commercial & Industrial | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV ; Subdivision | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
TRANSFORMERS BY: MOUNTING TYPE; HIGHEST OPERATING VOLTAGE; AMPERE RATING; NUMBER OF PHASES (AT LV)
| Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA | Number of activities undertaken |  |  | CA2.2.1
| Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
SWITCHGEAR BY: HIGHEST OPERATING VOLTAGE; SWITCH FUNCTION
| ˂ = 11 kV ; FUSE | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| ˂ = 11 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| > 11 kV & < = 22 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| > 11 kV & < = 22 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 33 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| > 22 kV & < = 33 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| > 33 kV & < = 66 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| > 33 kV & < = 66 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| > 66 kV & < = 132 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV ; Switch | Number of activities undertaken |  |  | CA2.2.1
| > 132 kV ; Circuit Breaker | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
PUBLIC LIGHTING BY: ASSET TYPE ; LIGHTING OBLIGATION
| Luminaires ; Major Road | Number of activities undertaken |  |  | CA2.2.1
| Luminaires ; Minor Road | Number of activities undertaken |  |  | CA2.2.1
| Brackets ; Major Road | Number of activities undertaken |  |  | CA2.2.1
| Brackets ; Minor Road | Number of activities undertaken |  |  | CA2.2.1
| Lamps ; Major Road | Number of activities undertaken |  |  | CA2.2.1
| Lamps ; Minor Road | Number of activities undertaken |  |  | CA2.2.1
| Poles / Columns ; Major Road | Number of activities undertaken |  |  | CA2.2.1
| Poles / Columns ; Minor Road | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: FUNCTION
| Field Devices | Number of activities undertaken |  |  | CA2.2.1
| Local Network Wiring Assets | Number of activities undertaken |  |  | CA2.2.1
| Communications Network Assets | Number of activities undertaken |  |  | CA2.2.1
| Master Station Assets | Number of activities undertaken |  |  | CA2.2.1
| Communications Site Infrastructure | Number of activities undertaken |  |  | CA2.2.1
| Communications Linear Assets | Number of activities undertaken |  |  | CA2.2.1
| AFLC | Number of activities undertaken |  |  | CA2.2.1
| Other | Number of activities undertaken |  |  | CA2.2.1
OTHER BY: BUSINESS SPECIFIED CATEGORIES
| <Business specified category 1> | Number of activities undertaken |  |  | CA2.2.1
| <Business specified category 2> | Number of activities undertaken |  |  | CA2.2.1
| <Business specified category 3> | Number of activities undertaken |  |  | CA2.2.1
| <Business specified category 4> | Number of activities undertaken |  |  | CA2.2.1
| <Business specified category 5> | Number of activities undertaken |  |  | CA2.2.1
| Asset augmentation activities |  |  | Assets Augmentation Activities
UNITS UPGRADED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km |  |  | CA2.3.3
| HV Feeder Augmentations - Underground Cables | Circuit line length in km |  |  | CA2.3.3
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km |  |  | CA2.3.3
| LV Feeder Augmentations - Underground Cables | Circuit line length in km |  |  | CA2.3.3
| Distribution Substation Augmentations - Pole Mounted | Number |  |  | CA2.3.3
| Distribution Substation Augmentations - Ground Mounted | Number |  |  | CA2.3.3
| Distribution Substation Augmentations - Indoor | Number |  |  | CA2.3.3
UNITS ADDED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km |  |  | CA2.3.3
| HV Feeder Augmentations - Underground Cables | Circuit line length in km |  |  | CA2.3.3
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km |  |  | CA2.3.3
| LV Feeder Augmentations - Underground Cables | Circuit line length in km |  |  | CA2.3.3
| Distribution Substation Augmentations - Pole Mounted | Number |  |  | CA2.3.3
| Distribution Substation Augmentations - Ground Mounted | Number |  |  | CA2.3.3
| Distribution Substation Augmentations - Indoor | Number |  |  | CA2.3.3
| Network maintenance activities |  |  | Assets Maintained / Inspected
| Pole tops and overhead line maintenance | Number |  |  | CA2.8.2
| Service line maintenance | Number |  |  | CA2.8.2
| Pole inspection and treatment (all poles) | Number |  |  | CA2.8.2
| Overhead asset inspection | km |  |  | CA2.8.2
| Network underground cable maintenance | km |  |  | CA2.8.2
| Distribution substation equipment & property maintenance | Number |  |  | CA2.8.2
| Zone substation equipment maintenance | Number |  |  | CA2.8.2
| Zone substation property maintenance | Number |  |  | CA2.8.2
Public lighting maintenance
| Minor roads | Number |  |  | CA2.8.2
| Major roads | Number |  |  | CA2.8.2
| SCADA & network control maintenance | Number |  |  | CA2.8.2
| Protection systems maintenance | Number |  |  | CA2.8.2
| Subtransmission asset maintenance - for DNSPs with dual function assets | Number |  |  | CA2.8.2
| Ground Clearance - Access tracks | Number |  |  | CA2.8.2
| Other | Number |  |  | CA2.8.2
Motor vehicles
AVERAGE KM TRAVELLED
| Car | km |  |  | CA2.6.3
| Light Commercial Vehicle | km |  |  | CA2.6.3
| Elevated Work Platform (LCV) | km |  |  | CA2.6.3
| Elevated Work Platform (HCV) | km |  |  | CA2.6.3
| Heavy Commercial Vehicle | km |  |  | CA2.6.3
NUMBER PURCHASED
| Car | Number |  |  | CA2.6.3
| Light Commercial Vehicle | Number |  |  | CA2.6.3
| Elevated Work Platform (LCV) | Number |  |  | CA2.6.3
| Elevated Work Platform (HCV) | Number |  |  | CA2.6.3
| Heavy Commercial Vehicle | Number |  |  | CA2.6.3
NUMBER LEASED
| Car | Number |  |  | CA2.6.3
| Light Commercial Vehicle | Number |  |  | CA2.6.3
| Elevated Work Platform (LCV) | Number |  |  | CA2.6.3
| Elevated Work Platform (HCV) | Number |  |  | CA2.6.3
| Heavy Commercial Vehicle | Number |  |  | CA2.6.3

## Proposed new data collections
Data category 02: Operational outputs
Proposed new data collections
Stakeholder Comments |  | Units | Current RIN reference
Safety related activity
| RESPONSIVE |  | NEW
| Project ID (business to define) | Number | NEW
| PREVENTATIVE |  | NEW
| Project ID (business to define) | Number | NEW
Major event related activity
| RESPONSIVE |  | NEW
| Activity/Project ID (business to define) | Number | NEW
| PREVENTATIVE |  | NEW
| Activity/Project ID (business to define) | Number | NEW