## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help drive improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 05: Service performance
Service Performance refers to the quality of services an NSP provides to its customers. It is important to consider service quality, particularly because increases in measured efficiency may otherwise be achieved at the expense of service quality in either the short-term or the longer term.
The data is used to calculate service performance scheme outcomes, and will impact on the total revenues that can be collected in each year.
Concepts
Total feeders = CBD + Urban + Short rural + Long rural
Definitions of Concepts
Customers | Has the meaning prescribed in the National Electricity Rules. Means a connection point between a distribution network and customer that has been assigned a National Metering Identifier, including energised and de-energised connection points but excluding unmetered connection points without a National Metering Identifier. Note: For STPIS purposes, the definition of customer is defined in the AER’s Distribution Reliability Measures Guideline.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
CBD feeder | A CBD feeder is a feeder supplying predominantly commercial or high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Urban feeder | An urban feeder is a feeder, which is not a CBD feeder, with actual Maximum Demand over the reporting period per total feeder route length greater than 0.3 MVA/km.
Short rural feeder | A short rural areas feeder is a feeder which is not a CBD or urban feeder with a total feeder route length less than 200 km.
Long rural feeder | A long rural feeder is a feeder which is not a CBD or urban feeder with a total feeder route length greater than 200 km.

## Definitions
Data category 05: Service performance
Definitions have been provided for each service classification (column) as well as each row descriptor of the data tabs in this workbook. Row descriptor definitions have been consolidated for all service classifications. This means if you are seeking to find a disaggregated definition of a data cell, you will need to consider (together) the definition of both the row descriptor and the service classification. These are provided below:
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually in the 'Definitions' below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Interruptions
Interruptions to Supply | Interruption to a Distribution Customer’s electricity supply at the point of supply. Includes all interruptions, irrespective of duration.
Date of Interruption | The date upon which the interruption occurred.
Time of Interruption | The time when the interruption occurred.
Asset ID/Feeder ID | The unique code or feeder identifier that the NSP uses internally.
Feeder classification | Classification of feeder based on location on network or type of load served (network type as defined in the STPIS).
Reason for interruption | Reasons to be selected of list supplied.
Detailed reason for interruption | Reasons to be selected of list supplied.
Duration of interruption | The duration of an interruption experienced by a customer.
Tasmanian feeder classifications | As per the Tasmanian Electrical Code.
Call centre performance
Calls to fault line - average waiting time before call answered | The average time in seconds from when calls enter the system (including that time when a call may be ringing unanswered) and the caller speaks to a human operator or is connected to an interactive service that provides the information requested.
Call centre - number of overload events | The number of times that the call centre queuing system is inadequate to queue all incoming calls.
Percentage of calls abandoned | (calls abandoned/calls to call centre fault line)* 100.
Total number of calls received | Calls to the fault line, including any answered by an automated response service and terminated without being answered by an operator. Excludes missed calls where the fault line is overloaded.
Excluded events | As defined in the AER’s STPIS scheme and/or the AER’s Distribution Reliability Measures Guideline.
SMS Notifications for unplanned outages
Outage ID | Unique identifier, as determined by the NSP.
Unplanned event date / time | The date/time when an unplanned event is acknowledged in the networks operational technology system.
Aware SMS data / time sent | The date and time that the first SMS notification containing the following information was sent: • Estimated Time of Restoration for when supply is expected to be restored. • Website URL to a network outage map where more information is available on the unplanned event. • The cause of the unplanned event (if known) and the location of the unplanned event.
Number of eligible NMIs notified | The number of eligible NMIs are National Meter Identifiers for which the DNSP has a valid mobile phone number, the customer has not opted out of receiving SMS messages and the unplanned event occurs outside of any do-not-disturb period assigned to the SMS subscription.
SMS notification (duration) | The difference between the unplanned event start date/time and the Aware SMS date/time sent, measured in minutes.
Customer Survey Outcomes
Customer Survey Outcomes | As per the AER's Final Decisions Ausnet services distribution determination 2021-26 - Attachment 12 - Customer Service Incentive Scheme - April 2021.
Other service measures
Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Street lights - average monthly number "out" | The total number of street lights reported by customers as not working over the year, divided by twelve.
Street lights - not repaired by "fix by" date | Number of street lights that were not repaired within the required timeframe.
Street lights - average number of days to repair | The average number of days to repair street lights that were reported as not working.
Complaints | A written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a distributor, its employees or contractors. This includes failure by a distributor to observe its published practices or procedures.
Complaint - reliability of supply | The number of complaints relating to the reliability of supply.
Complaint - technical quality of supply | The number of complaints relating to the technical quality of supply.
Complaint - administrative process or customer service | The number of complaints relating to the administrative process or customer service of the DNSP excluding those reported under 'connection and augmentation'.
Complaint - connection or augmentation | The number of complaints about: (a) the quality and timeliness of a new connection; and (b) the cost, timeliness and quality of augmentation works.
Complaint - other | The number of complaints that are not under the categories of 'connection & augmentation', 'reliability of supply', 'quality of supply' and 'administrative process or customer service'.
GSL Requirements
Scheme administrator | The body/bodies responsible for the administration and review of service level schemes in the NSPs jurisdiction.
Specification of scheme | Documentation of service level standard applying to the NSP.
Instances where GSL not met | Number of times the applicable service levels were not met by the NSP.
Energy not supplied (planned) | Total energy not supplied (measured in MWh) minus energy not supplied - unplanned. This is to be exclusive of the effect of exclusions.
Energy not supplied (unplanned) | The estimate of energy not supplied (due to unplanned outage) to be based on average customer demand (multiplied by number of customers interrupted and the duration of the interruption). Average customer demand to be determined from (in order of preference): (a) average consumption of the customers interrupted based on their billing history; (b) feeder demand at the time of the interruption divided by the number of customers on the feeder; (c) average consumption of customers on the feeder based on their billing history; and (d) average feeder demand derived from feeder maximum demand and estimated load factor, divided by the number of customers on the feeder. This is to be exclusive of the effect of exclusions.
System losses | TBC
Fire starts - unplanned vegetation events | Any fire: that starts in and originates from the reporting NSP’s distribution system; or is started by any tree, or part of a tree which falls or blows in or grows into contact with the reporting NSP’s distribution system; or is started by any person, bird, reptile or other animal coming into contact with the reporting NSP’s distribution system; or is started by lightning striking the reporting NSP’s distribution system; or is started by any other thing forming part of or coming into contact with the reporting NSP’s distribution; or is otherwise started by the reporting NSP’s distribution system.
Vegetation grow-ins | An interruption to supply caused by vegetation growing into network assets. For example a tree branch contacting overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners.
Vegetation blow-ins and fall-ins | An interruption to supply caused by vegetation blowing onto or falling onto network assets. For example wind born branches lodging across the phases of an overhead line, or an adjacent tree falling onto overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners.
Inadequately served customers | Has the meaning prescribed in the AER’s Distribution Reliability Measures Guideline.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
Threshold SAIDI value for inadequately served customers | Threshold for inadequately served customers = greater than 4 times the Network average for unplanned SAIDI on a three-year rolling average basis compared with a network average customer.

## Validations
Data category 05: Service performance
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Interruptions | Interruptions to supply | Asset ID Description of service area | Free text - must align with data category 03 - network metrics - must align with previous years submission where relevant
Other service measures | Instances where GSL not met | business specified GSL category business specified GSL parameter | Free text - must align with business specified GSL category/parameter from data category 6 - operational expenditure - must align with previous years submission where relevant
Call centre | Daily performance data | Number of calls received (after removing excluded events) Number of calls answered in 30 seconds (After removing excluded events) | The excluded events to be removed from the data refer only to events listed in clause 3.3(a) of the STPIS, with respect to reliability data, and in clause 5.4 of the STPIS with respect to customer service parameters.
Call centre |  |  | Customer service information must be reported as per the definitions in the STPIS, that is excluding: • calls to payment lines and automated interactive services • calls abandoned by the customer within 30 seconds of the call being queued for response by a human operator (where the time in which a telephone call is abandoned is not measured, then an estimate of the number of calls abandoned within 30 seconds will be determined by taking 20 per cent of all calls abandoned).

## Checks and Totals
Data category 05: Service performance
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check

## Interruptions
Data category 05: Service performance
Stakeholder Comments | [9 empty] | Current RIN reference | Validation rules
| Interruptions to supply | [9 empty] | A | B | C
| Date of interruption | Time of interruption | Asset ID/Feeder ID | Description of service area | Feeder classification | Reason for interruption | Detailed reason for interruption | Number of customers affected by interruption | Duration of interruption | NEW - table replaces CA6.3 Enables derivation of data previously collected in EB3.6; AR3.6.8; AR3.6.9; AR3.2; AR6.8.
| (DD/MM/YYYY) | (hh:mm) |  |  | Select from options listed below | Select from options listed below | Select from options listed below | Number | (mm:ss)
|  |  | <Business defined ID 1> | <Business defined description> | <Business selection> | <Business selection> | <Business selection>
|  |  | <Business defined ID 2> | <Business defined description> | <Business selection> | <Business selection> | <Business selection>
|  |  | <Business defined ID 3> | <Business defined description> | <Business selection> | <Business selection> | <Business selection>
|  |  | <Business defined ID 4> | <Business defined description> | <Business selection> | <Business selection> | <Business selection>
|  |  | <Business defined ID 5> | <Business defined description> | <Business selection> | <Business selection> | <Business selection>
<add rows as required>
[5 empty] | Feeder classification | Reason for interruption | Detailed reason for interruption
[5 empty] | CBD | momentary | Animal impact
[5 empty] | Urban | animal | Animal nesting/burrowing
[5 empty] | Short rural | asset failure | Animal other
[5 empty] | Long rural | other | Asset failure - HV
[5 empty] | TAS - Critical infrastructure | overloads | Asset failure - LV
[5 empty] | TAS - High density commercial | planned | Asset failure - Distribution substation
[5 empty] | TAS - High density rural | network business | Asset failure - Zone substation
[5 empty] | TAS - Low density rural | third party | Assets failure - sub transmission
[6 empty] | unknown | Network error
[6 empty] | vegetation | Switching and protection error
[6 empty] | weather | Fire
[6 empty] | 2 - STPIS exclusion 3.3(a) | Dig in
[6 empty] | 3 - STPIS exclusion 3.3(a) | Unauthorised access
[6 empty] | 4 - STPIS exclusion 3.3(a) | Vehicle impact
[6 empty] | 5 - STPIS exclusion 3.3(a) | Third party other
[6 empty] | 6 - STPIS exclusion 3.3(a) | Blow in/Fall in - NSP responsibility
[6 empty] | 7 - STPIS exclusion 3.3(a) | Grow in - NSP responsibility
Blow in/Fall in - Other responsible party
Grow in - Other responsible party

## Call centre
Data category 05: Service performance
Stakeholder Comments |  |  |  |  | Current RIN reference | Validation rules
[6 empty] | A | B | C | D
Call centre performance
| CALL CENTRE PERFORMANCE |  | Units | Call Centre Performance
| Calls to fault line - average waiting time before call answered |  | Seconds |  | AR3.6.7.3
| Call centre - number of overload events |  | Number |  | AR3.6.7.3
| Percentage of calls abandoned |  | % |  | AR3.6.7.3
DAILY PERFORMANCE DATA - UNPLANNED
| Date | Total number of calls received | Number of calls received (after removing excluded events) | Number of calls answered in 30 seconds (after removing excluded events)
| 2022-07-01 |  |  |  | AR RIN 6.7.1
| 2021-07-02 |  |  |  | AR RIN 6.7.1
| 2022-07-03 |  |  |  | AR RIN 6.7.1
| 2021-07-04 |  |  |  | AR RIN 6.7.1
| 2021-07-05 |  |  |  | AR RIN 6.7.1
| 2021-07-06 |  |  |  | AR RIN 6.7.1
| 2021-07-07 |  |  |  | AR RIN 6.7.1
| 2021-07-08 |  |  |  | AR RIN 6.7.1
| 2021-07-09 |  |  |  | AR RIN 6.7.1
| 2021-07-10 |  |  |  | AR RIN 6.7.1
| 2021-07-11 |  |  |  | AR RIN 6.7.1
| 2021-07-12 |  |  |  | AR RIN 6.7.1
| 2021-07-13 |  |  |  | AR RIN 6.7.1
| 2021-07-14 |  |  |  | AR RIN 6.7.1
| 2021-07-15 |  |  |  | AR RIN 6.7.1
| 2021-07-16 |  |  |  | AR RIN 6.7.1
| 2021-07-17 |  |  |  | AR RIN 6.7.1
| 2021-07-18 |  |  |  | AR RIN 6.7.1
| 2021-07-19 |  |  |  | AR RIN 6.7.1
| 2021-07-20 |  |  |  | AR RIN 6.7.1
| 2021-07-21 |  |  |  | AR RIN 6.7.1
| 2021-07-22 |  |  |  | AR RIN 6.7.1
| 2021-07-23 |  |  |  | AR RIN 6.7.1
| 2021-07-24 |  |  |  | AR RIN 6.7.1
| 2021-07-25 |  |  |  | AR RIN 6.7.1
| 2021-07-26 |  |  |  | AR RIN 6.7.1
| 2021-07-27 |  |  |  | AR RIN 6.7.1
| 2021-07-28 |  |  |  | AR RIN 6.7.1
| 2021-07-29 |  |  |  | AR RIN 6.7.1
| 2021-07-30 |  |  |  | AR RIN 6.7.1
| 2021-07-31 |  |  |  | AR RIN 6.7.1
| 2021-08-01 |  |  |  | AR RIN 6.7.1
| 2021-08-02 |  |  |  | AR RIN 6.7.1
| 2021-08-03 |  |  |  | AR RIN 6.7.1
| 2021-08-04 |  |  |  | AR RIN 6.7.1
| 2021-08-05 |  |  |  | AR RIN 6.7.1
| 2021-08-06 |  |  |  | AR RIN 6.7.1
| 2021-08-07 |  |  |  | AR RIN 6.7.1
| 2021-08-08 |  |  |  | AR RIN 6.7.1
| 2021-08-09 |  |  |  | AR RIN 6.7.1
| 2021-08-10 |  |  |  | AR RIN 6.7.1
| 2021-08-11 |  |  |  | AR RIN 6.7.1
| 2021-08-12 |  |  |  | AR RIN 6.7.1
| 2021-08-13 |  |  |  | AR RIN 6.7.1
| 2021-08-14 |  |  |  | AR RIN 6.7.1
| 2021-08-15 |  |  |  | AR RIN 6.7.1
| 2021-08-16 |  |  |  | AR RIN 6.7.1
| 2021-08-17 |  |  |  | AR RIN 6.7.1
| 2021-08-18 |  |  |  | AR RIN 6.7.1
| 2021-08-19 |  |  |  | AR RIN 6.7.1
| 2021-08-20 |  |  |  | AR RIN 6.7.1
| 2021-08-21 |  |  |  | AR RIN 6.7.1
| 2021-08-22 |  |  |  | AR RIN 6.7.1
| 2021-08-23 |  |  |  | AR RIN 6.7.1
| 2021-08-24 |  |  |  | AR RIN 6.7.1
| 2021-08-25 |  |  |  | AR RIN 6.7.1
| 2021-08-26 |  |  |  | AR RIN 6.7.1
| 2021-08-27 |  |  |  | AR RIN 6.7.1
| 2021-08-28 |  |  |  | AR RIN 6.7.1
| 2021-08-29 |  |  |  | AR RIN 6.7.1
| 2021-08-30 |  |  |  | AR RIN 6.7.1
| 2021-08-31 |  |  |  | AR RIN 6.7.1
| 2021-09-01 |  |  |  | AR RIN 6.7.1
| 2021-09-02 |  |  |  | AR RIN 6.7.1
| 2021-09-03 |  |  |  | AR RIN 6.7.1
| 2021-09-04 |  |  |  | AR RIN 6.7.1
| 2021-09-05 |  |  |  | AR RIN 6.7.1
| 2021-09-06 |  |  |  | AR RIN 6.7.1
| 2021-09-07 |  |  |  | AR RIN 6.7.1
| 2021-09-08 |  |  |  | AR RIN 6.7.1
| 2021-09-09 |  |  |  | AR RIN 6.7.1
| 2021-09-10 |  |  |  | AR RIN 6.7.1
| 2021-09-11 |  |  |  | AR RIN 6.7.1
| 2021-09-12 |  |  |  | AR RIN 6.7.1
| 2021-09-13 |  |  |  | AR RIN 6.7.1
| 2021-09-14 |  |  |  | AR RIN 6.7.1
| 2021-09-15 |  |  |  | AR RIN 6.7.1
| 2021-09-16 |  |  |  | AR RIN 6.7.1
| 2021-09-17 |  |  |  | AR RIN 6.7.1
| 2021-09-18 |  |  |  | AR RIN 6.7.1
| 2021-09-19 |  |  |  | AR RIN 6.7.1
| 2021-09-20 |  |  |  | AR RIN 6.7.1
| 2021-09-21 |  |  |  | AR RIN 6.7.1
| 2021-09-22 |  |  |  | AR RIN 6.7.1
| 2021-09-23 |  |  |  | AR RIN 6.7.1
| 2021-09-24 |  |  |  | AR RIN 6.7.1
| 2021-09-25 |  |  |  | AR RIN 6.7.1
| 2021-09-26 |  |  |  | AR RIN 6.7.1
| 2021-09-27 |  |  |  | AR RIN 6.7.1
| 2021-09-28 |  |  |  | AR RIN 6.7.1
| 2021-09-29 |  |  |  | AR RIN 6.7.1
| 2021-09-30 |  |  |  | AR RIN 6.7.1
| 2021-10-01 |  |  |  | AR RIN 6.7.1
| 2021-10-02 |  |  |  | AR RIN 6.7.1
| 2021-10-03 |  |  |  | AR RIN 6.7.1
| 2021-10-04 |  |  |  | AR RIN 6.7.1
| 2021-10-05 |  |  |  | AR RIN 6.7.1
| 2021-10-06 |  |  |  | AR RIN 6.7.1
| 2021-10-07 |  |  |  | AR RIN 6.7.1
| 2021-10-08 |  |  |  | AR RIN 6.7.1
| 2021-10-09 |  |  |  | AR RIN 6.7.1
| 2021-10-10 |  |  |  | AR RIN 6.7.1
| 2021-10-11 |  |  |  | AR RIN 6.7.1
| 2021-10-12 |  |  |  | AR RIN 6.7.1
| 2021-10-13 |  |  |  | AR RIN 6.7.1
| 2021-10-14 |  |  |  | AR RIN 6.7.1
| 2021-10-15 |  |  |  | AR RIN 6.7.1
| 2021-10-16 |  |  |  | AR RIN 6.7.1
| 2021-10-17 |  |  |  | AR RIN 6.7.1
| 2021-10-18 |  |  |  | AR RIN 6.7.1
| 2021-10-19 |  |  |  | AR RIN 6.7.1
| 2021-10-20 |  |  |  | AR RIN 6.7.1
| 2021-10-21 |  |  |  | AR RIN 6.7.1
| 2021-10-22 |  |  |  | AR RIN 6.7.1
| 2021-10-23 |  |  |  | AR RIN 6.7.1
| 2021-10-24 |  |  |  | AR RIN 6.7.1
| 2021-10-25 |  |  |  | AR RIN 6.7.1
| 2021-10-26 |  |  |  | AR RIN 6.7.1
| 2021-10-27 |  |  |  | AR RIN 6.7.1
| 2021-10-28 |  |  |  | AR RIN 6.7.1
| 2021-10-29 |  |  |  | AR RIN 6.7.1
| 2021-10-30 |  |  |  | AR RIN 6.7.1
| 2021-10-31 |  |  |  | AR RIN 6.7.1
| 2021-11-01 |  |  |  | AR RIN 6.7.1
| 2021-11-02 |  |  |  | AR RIN 6.7.1
| 2021-11-03 |  |  |  | AR RIN 6.7.1
| 2021-11-04 |  |  |  | AR RIN 6.7.1
| 2021-11-05 |  |  |  | AR RIN 6.7.1
| 2021-11-06 |  |  |  | AR RIN 6.7.1
| 2021-11-07 |  |  |  | AR RIN 6.7.1
| 2021-11-08 |  |  |  | AR RIN 6.7.1
| 2021-11-09 |  |  |  | AR RIN 6.7.1
| 2021-11-10 |  |  |  | AR RIN 6.7.1
| 2021-11-11 |  |  |  | AR RIN 6.7.1
| 2021-11-12 |  |  |  | AR RIN 6.7.1
| 2021-11-13 |  |  |  | AR RIN 6.7.1
| 2021-11-14 |  |  |  | AR RIN 6.7.1
| 2021-11-15 |  |  |  | AR RIN 6.7.1
| 2021-11-16 |  |  |  | AR RIN 6.7.1
| 2021-11-17 |  |  |  | AR RIN 6.7.1
| 2021-11-18 |  |  |  | AR RIN 6.7.1
| 2021-11-19 |  |  |  | AR RIN 6.7.1
| 2021-11-20 |  |  |  | AR RIN 6.7.1
| 2021-11-21 |  |  |  | AR RIN 6.7.1
| 2021-11-22 |  |  |  | AR RIN 6.7.1
| 2021-11-23 |  |  |  | AR RIN 6.7.1
| 2021-11-24 |  |  |  | AR RIN 6.7.1
| 2021-11-25 |  |  |  | AR RIN 6.7.1
| 2021-11-26 |  |  |  | AR RIN 6.7.1
| 2021-11-27 |  |  |  | AR RIN 6.7.1
| 2021-11-28 |  |  |  | AR RIN 6.7.1
| 2021-11-29 |  |  |  | AR RIN 6.7.1
| 2021-11-30 |  |  |  | AR RIN 6.7.1
| 2021-12-01 |  |  |  | AR RIN 6.7.1
| 2021-12-02 |  |  |  | AR RIN 6.7.1
| 2021-12-03 |  |  |  | AR RIN 6.7.1
| 2021-12-04 |  |  |  | AR RIN 6.7.1
| 2021-12-05 |  |  |  | AR RIN 6.7.1
| 2021-12-06 |  |  |  | AR RIN 6.7.1
| 2021-12-07 |  |  |  | AR RIN 6.7.1
| 2021-12-08 |  |  |  | AR RIN 6.7.1
| 2021-12-09 |  |  |  | AR RIN 6.7.1
| 2021-12-10 |  |  |  | AR RIN 6.7.1
| 2021-12-11 |  |  |  | AR RIN 6.7.1
| 2021-12-12 |  |  |  | AR RIN 6.7.1
| 2021-12-13 |  |  |  | AR RIN 6.7.1
| 2021-12-14 |  |  |  | AR RIN 6.7.1
| 2021-12-15 |  |  |  | AR RIN 6.7.1
| 2021-12-16 |  |  |  | AR RIN 6.7.1
| 2021-12-17 |  |  |  | AR RIN 6.7.1
| 2021-12-18 |  |  |  | AR RIN 6.7.1
| 2021-12-19 |  |  |  | AR RIN 6.7.1
| 2021-12-20 |  |  |  | AR RIN 6.7.1
| 2021-12-21 |  |  |  | AR RIN 6.7.1
| 2021-12-22 |  |  |  | AR RIN 6.7.1
| 2021-12-23 |  |  |  | AR RIN 6.7.1
| 2021-12-24 |  |  |  | AR RIN 6.7.1
| 2021-12-25 |  |  |  | AR RIN 6.7.1
| 2021-12-26 |  |  |  | AR RIN 6.7.1
| 2021-12-27 |  |  |  | AR RIN 6.7.1
| 2021-12-28 |  |  |  | AR RIN 6.7.1
| 2021-12-29 |  |  |  | AR RIN 6.7.1
| 2021-12-30 |  |  |  | AR RIN 6.7.1
| 2021-12-31 |  |  |  | AR RIN 6.7.1
| 2021-01-01 |  |  |  | AR RIN 6.7.1
| 2021-01-02 |  |  |  | AR RIN 6.7.1
| 2021-01-03 |  |  |  | AR RIN 6.7.1
| 2021-01-04 |  |  |  | AR RIN 6.7.1
| 2021-01-05 |  |  |  | AR RIN 6.7.1
| 2021-01-06 |  |  |  | AR RIN 6.7.1
| 2021-01-07 |  |  |  | AR RIN 6.7.1
| 2021-01-08 |  |  |  | AR RIN 6.7.1
| 2021-01-09 |  |  |  | AR RIN 6.7.1
| 2021-01-10 |  |  |  | AR RIN 6.7.1
| 2021-01-11 |  |  |  | AR RIN 6.7.1
| 2021-01-12 |  |  |  | AR RIN 6.7.1
| 2021-01-13 |  |  |  | AR RIN 6.7.1
| 2021-01-14 |  |  |  | AR RIN 6.7.1
| 2021-01-15 |  |  |  | AR RIN 6.7.1
| 2021-01-16 |  |  |  | AR RIN 6.7.1
| 2021-01-17 |  |  |  | AR RIN 6.7.1
| 2021-01-18 |  |  |  | AR RIN 6.7.1
| 2021-01-19 |  |  |  | AR RIN 6.7.1
| 2021-01-20 |  |  |  | AR RIN 6.7.1
| 2021-01-21 |  |  |  | AR RIN 6.7.1
| 2021-01-22 |  |  |  | AR RIN 6.7.1
| 2021-01-23 |  |  |  | AR RIN 6.7.1
| 2021-01-24 |  |  |  | AR RIN 6.7.1
| 2021-01-25 |  |  |  | AR RIN 6.7.1
| 2021-01-26 |  |  |  | AR RIN 6.7.1
| 2021-01-27 |  |  |  | AR RIN 6.7.1
| 2021-01-28 |  |  |  | AR RIN 6.7.1
| 2021-01-29 |  |  |  | AR RIN 6.7.1
| 2021-01-30 |  |  |  | AR RIN 6.7.1
| 2021-01-31 |  |  |  | AR RIN 6.7.1
| 2021-02-01 |  |  |  | AR RIN 6.7.1
| 2021-02-02 |  |  |  | AR RIN 6.7.1
| 2021-02-03 |  |  |  | AR RIN 6.7.1
| 2021-02-04 |  |  |  | AR RIN 6.7.1
| 2021-02-05 |  |  |  | AR RIN 6.7.1
| 2021-02-06 |  |  |  | AR RIN 6.7.1
| 2021-02-07 |  |  |  | AR RIN 6.7.1
| 2021-02-08 |  |  |  | AR RIN 6.7.1
| 2021-02-09 |  |  |  | AR RIN 6.7.1
| 2021-02-10 |  |  |  | AR RIN 6.7.1
| 2021-02-11 |  |  |  | AR RIN 6.7.1
| 2021-02-12 |  |  |  | AR RIN 6.7.1
| 2021-02-13 |  |  |  | AR RIN 6.7.1
| 2021-02-14 |  |  |  | AR RIN 6.7.1
| 2021-02-15 |  |  |  | AR RIN 6.7.1
| 2021-02-16 |  |  |  | AR RIN 6.7.1
| 2021-02-17 |  |  |  | AR RIN 6.7.1
| 2021-02-18 |  |  |  | AR RIN 6.7.1
| 2021-02-19 |  |  |  | AR RIN 6.7.1
| 2021-02-20 |  |  |  | AR RIN 6.7.1
| 2021-02-21 |  |  |  | AR RIN 6.7.1
| 2021-02-22 |  |  |  | AR RIN 6.7.1
| 2021-02-23 |  |  |  | AR RIN 6.7.1
| 2021-02-24 |  |  |  | AR RIN 6.7.1
| 2021-02-25 |  |  |  | AR RIN 6.7.1
| 2021-02-26 |  |  |  | AR RIN 6.7.1
| 2021-02-27 |  |  |  | AR RIN 6.7.1
| 2021-02-28 |  |  |  | AR RIN 6.7.1
| 29-Feb |  |  |  | AR RIN 6.7.1
| 2021-03-01 |  |  |  | AR RIN 6.7.1
| 2021-03-02 |  |  |  | AR RIN 6.7.1
| 2021-03-03 |  |  |  | AR RIN 6.7.1
| 2021-03-04 |  |  |  | AR RIN 6.7.1
| 2021-03-05 |  |  |  | AR RIN 6.7.1
| 2021-03-06 |  |  |  | AR RIN 6.7.1
| 2021-03-07 |  |  |  | AR RIN 6.7.1
| 2021-03-08 |  |  |  | AR RIN 6.7.1
| 2021-03-09 |  |  |  | AR RIN 6.7.1
| 2021-03-10 |  |  |  | AR RIN 6.7.1
| 2021-03-11 |  |  |  | AR RIN 6.7.1
| 2021-03-12 |  |  |  | AR RIN 6.7.1
| 2021-03-13 |  |  |  | AR RIN 6.7.1
| 2021-03-14 |  |  |  | AR RIN 6.7.1
| 2021-03-15 |  |  |  | AR RIN 6.7.1
| 2021-03-16 |  |  |  | AR RIN 6.7.1
| 2021-03-17 |  |  |  | AR RIN 6.7.1
| 2021-03-18 |  |  |  | AR RIN 6.7.1
| 2021-03-19 |  |  |  | AR RIN 6.7.1
| 2021-03-20 |  |  |  | AR RIN 6.7.1
| 2021-03-21 |  |  |  | AR RIN 6.7.1
| 2021-03-22 |  |  |  | AR RIN 6.7.1
| 2021-03-23 |  |  |  | AR RIN 6.7.1
| 2021-03-24 |  |  |  | AR RIN 6.7.1
| 2021-03-25 |  |  |  | AR RIN 6.7.1
| 2021-03-26 |  |  |  | AR RIN 6.7.1
| 2021-03-27 |  |  |  | AR RIN 6.7.1
| 2021-03-28 |  |  |  | AR RIN 6.7.1
| 2021-03-29 |  |  |  | AR RIN 6.7.1
| 2021-03-30 |  |  |  | AR RIN 6.7.1
| 2021-03-31 |  |  |  | AR RIN 6.7.1
| 2021-04-01 |  |  |  | AR RIN 6.7.1
| 2021-04-02 |  |  |  | AR RIN 6.7.1
| 2021-04-03 |  |  |  | AR RIN 6.7.1
| 2021-04-04 |  |  |  | AR RIN 6.7.1
| 2021-04-05 |  |  |  | AR RIN 6.7.1
| 2021-04-06 |  |  |  | AR RIN 6.7.1
| 2021-04-07 |  |  |  | AR RIN 6.7.1
| 2021-04-08 |  |  |  | AR RIN 6.7.1
| 2021-04-09 |  |  |  | AR RIN 6.7.1
| 2021-04-10 |  |  |  | AR RIN 6.7.1
| 2021-04-11 |  |  |  | AR RIN 6.7.1
| 2021-04-12 |  |  |  | AR RIN 6.7.1
| 2021-04-13 |  |  |  | AR RIN 6.7.1
| 2021-04-14 |  |  |  | AR RIN 6.7.1
| 2021-04-15 |  |  |  | AR RIN 6.7.1
| 2021-04-16 |  |  |  | AR RIN 6.7.1
| 2021-04-17 |  |  |  | AR RIN 6.7.1
| 2021-04-18 |  |  |  | AR RIN 6.7.1
| 2021-04-19 |  |  |  | AR RIN 6.7.1
| 2021-04-20 |  |  |  | AR RIN 6.7.1
| 2021-04-21 |  |  |  | AR RIN 6.7.1
| 2021-04-22 |  |  |  | AR RIN 6.7.1
| 2021-04-23 |  |  |  | AR RIN 6.7.1
| 2021-04-24 |  |  |  | AR RIN 6.7.1
| 2021-04-25 |  |  |  | AR RIN 6.7.1
| 2021-04-26 |  |  |  | AR RIN 6.7.1
| 2021-04-27 |  |  |  | AR RIN 6.7.1
| 2021-04-28 |  |  |  | AR RIN 6.7.1
| 2021-04-29 |  |  |  | AR RIN 6.7.1
| 2021-04-30 |  |  |  | AR RIN 6.7.1
| 2021-05-01 |  |  |  | AR RIN 6.7.1
| 2021-05-02 |  |  |  | AR RIN 6.7.1
| 2021-05-03 |  |  |  | AR RIN 6.7.1
| 2021-05-04 |  |  |  | AR RIN 6.7.1
| 2021-05-05 |  |  |  | AR RIN 6.7.1
| 2021-05-06 |  |  |  | AR RIN 6.7.1
| 2021-05-07 |  |  |  | AR RIN 6.7.1
| 2021-05-08 |  |  |  | AR RIN 6.7.1
| 2021-05-09 |  |  |  | AR RIN 6.7.1
| 2021-05-10 |  |  |  | AR RIN 6.7.1
| 2021-05-11 |  |  |  | AR RIN 6.7.1
| 2021-05-12 |  |  |  | AR RIN 6.7.1
| 2021-05-13 |  |  |  | AR RIN 6.7.1
| 2021-05-14 |  |  |  | AR RIN 6.7.1
| 2021-05-15 |  |  |  | AR RIN 6.7.1
| 2021-05-16 |  |  |  | AR RIN 6.7.1
| 2021-05-17 |  |  |  | AR RIN 6.7.1
| 2021-05-18 |  |  |  | AR RIN 6.7.1
| 2021-05-19 |  |  |  | AR RIN 6.7.1
| 2021-05-20 |  |  |  | AR RIN 6.7.1
| 2021-05-21 |  |  |  | AR RIN 6.7.1
| 2021-05-22 |  |  |  | AR RIN 6.7.1
| 2021-05-23 |  |  |  | AR RIN 6.7.1
| 2021-05-24 |  |  |  | AR RIN 6.7.1
| 2021-05-25 |  |  |  | AR RIN 6.7.1
| 2021-05-26 |  |  |  | AR RIN 6.7.1
| 2021-05-27 |  |  |  | AR RIN 6.7.1
| 2021-05-28 |  |  |  | AR RIN 6.7.1
| 2021-05-29 |  |  |  | AR RIN 6.7.1
| 2021-05-30 |  |  |  | AR RIN 6.7.1
| 2021-05-31 |  |  |  | AR RIN 6.7.1
| 2021-06-01 |  |  |  | AR RIN 6.7.1
| 2021-06-02 |  |  |  | AR RIN 6.7.1
| 2021-06-03 |  |  |  | AR RIN 6.7.1
| 2021-06-04 |  |  |  | AR RIN 6.7.1
| 2021-06-05 |  |  |  | AR RIN 6.7.1
| 2021-06-06 |  |  |  | AR RIN 6.7.1
| 2021-06-07 |  |  |  | AR RIN 6.7.1
| 2021-06-08 |  |  |  | AR RIN 6.7.1
| 2021-06-09 |  |  |  | AR RIN 6.7.1
| 2021-06-10 |  |  |  | AR RIN 6.7.1
| 2021-06-11 |  |  |  | AR RIN 6.7.1
| 2021-06-12 |  |  |  | AR RIN 6.7.1
| 2021-06-13 |  |  |  | AR RIN 6.7.1
| 2021-06-14 |  |  |  | AR RIN 6.7.1
| 2021-06-15 |  |  |  | AR RIN 6.7.1
| 2021-06-16 |  |  |  | AR RIN 6.7.1
| 2021-06-17 |  |  |  | AR RIN 6.7.1
| 2021-06-18 |  |  |  | AR RIN 6.7.1
| 2021-06-19 |  |  |  | AR RIN 6.7.1
| 2021-06-20 |  |  |  | AR RIN 6.7.1
| 2021-06-21 |  |  |  | AR RIN 6.7.1
| 2021-06-22 |  |  |  | AR RIN 6.7.1
| 2021-06-23 |  |  |  | AR RIN 6.7.1
| 2021-06-24 |  |  |  | AR RIN 6.7.1
| 2021-06-25 |  |  |  | AR RIN 6.7.1
| 2021-06-26 |  |  |  | AR RIN 6.7.1
| 2021-06-27 |  |  |  | AR RIN 6.7.1
| 2021-06-28 |  |  |  | AR RIN 6.7.1
| 2021-06-29 |  |  |  | AR RIN 6.7.1
| 2021-06-30 |  |  |  | AR RIN 6.7.1

## SMS notification
Data category 05: Service performance
Stakeholder Comments
This worksheet is required only for Citipower, Powercor and United Energy
SMS notification
SMS NOTIFICATIONS FOR UNPLANNED OUTAGES
| Outage ID | Unplanned event date / time | Aware SMS data / time sent | Number of eligible NMIS notified | SMS notification (duration) | Current RIN reference | Validation rules
|  | DD MM YYYY hh:mm | DD MM YYYY hh:mm | DD MM YYYY hh:mm | (Minutes) | AR6.10.1 | A | B | C
<additional rows allowed>

## Customer survey
Data category 05: Service performance
This worksheet is required only for AusNet
Stakeholder Comments |  | Units | 2020-21 | Current RIN reference | Validation rules
[5 empty] | A | B | C
Customer survey outcomes
PERFORMANCE (AVERAGE)
| Communication on planned outages | Customer satisfaction rating |  | AR6.11.1
| Communication on unplanned outages | Customer satisfaction rating |  | AR6.11.1
| Customer service for new connections (basic and standard) | Customer satisfaction rating |  | AR6.11.1
| Customer service in managing complaints | Customer satisfaction rating |  | AR6.11.1
LOWER DEADBAND
| Communication on planned outages | Customer satisfaction rating |  | AR6.11.2
| Communication on unplanned outages | Customer satisfaction rating |  | AR6.11.2
| Customer service for new connections (basic and standard) | Customer satisfaction rating |  | AR6.11.2
| Customer service in managing complaints | Customer satisfaction rating |  | AR6.11.2
TARGET
| Communication on planned outages | Customer satisfaction rating |  | AR6.11.3
| Communication on unplanned outages | Customer satisfaction rating |  | AR6.11.3
| Customer service for new connections (basic and standard) | Customer satisfaction rating |  | AR6.11.3
| Customer service in managing complaints | Customer satisfaction rating |  | AR6.11.3
UPPER DEADBAND
| Communication on planned outages | Customer satisfaction rating |  | AR6.11.4
| Communication on unplanned outages | Customer satisfaction rating |  | AR6.11.4
| Customer service for new connections (basic and standard) | Customer satisfaction rating |  | AR6.11.4
| Customer service in managing complaints | Customer satisfaction rating |  | AR6.11.4
PERFORMANCE METRIC WITH DEADBANDS APPLIED
| Communication on planned outages | Customer satisfaction rating | 0 | AR6.11.5
| Communication on unplanned outages | Customer satisfaction rating | 0 | AR6.11.5
| Customer service for new connections (basic and standard) | Customer satisfaction rating | 0 | AR6.11.5
| Customer service in managing complaints | Customer satisfaction rating | 0 | AR6.11.5
INCENTIVE RATES
| Communication on planned outages | Customer satisfaction rating |  | AR6.11.6
| Communication on unplanned outages | Customer satisfaction rating |  | AR6.11.6
| Customer service for new connections (basic and standard) | Customer satisfaction rating |  | AR6.11.6
| Customer service in managing complaints | Customer satisfaction rating |  | AR6.11.6
REWARD
| Communication on planned outages | Customer satisfaction rating | 0 | AR6.11.7
| Communication on unplanned outages | Customer satisfaction rating | 0 | AR6.11.7
| Customer service for new connections (basic and standard) | Customer satisfaction rating | 0 | AR6.11.7
| Customer service in managing complaints | Customer satisfaction rating | 0 | AR6.11.7

## Other service measures
Data category 05: Service performance
Stakeholder Comments |  | Units |  | Current RIN reference | Validation rules
[5 empty] | A | B | C
Other service measures
CONNECTION SERVICES
| Number of connections made | Number |  | AR3.6.7.1
| Number of connections not made on or before agreed date | Number |  | AR3.6.7.1
REPAIR OF FAULTY STREET LIGHTS
| Street lights - average monthly number "out" | Number |  | AR3.6.7.2
| Street lights - not repaired by "fix by" date | Number |  | AR3.6.7.2
| Street lights - average number of days to repair | Number |  | AR3.6.7.2
| Total number of street lights | Number |  | AR3.6.7.2
| COMPLAINTS |  | 0 | AR3.6.6.1
| Complaint - reliability of supply | Number |  | AR3.6.6.1
| Complaint - technical quality of supply | Number |  | AR3.6.6.1
| Complaint - administrative process or customer service | Number |  | AR3.6.6.1
| Complaint - connection or augmentation | Number |  | AR3.6.6.1
| Complaint - other | Number |  | AR3.6.6.1
Complaints - technical quality of supply
PERCENTAGE OF COMPLAINTS BY CATEGORY
| Low voltage supply | % |  | AR 3.6.6.2
| Voltage dips | % |  | AR 3.6.6.2
| Voltage swell | % |  | AR 3.6.6.2
| Voltage spike (impulsive transient) | % |  | AR 3.6.6.2
| Waveform distortion | % |  | AR 3.6.6.2
| TV or radio interference | % |  | AR 3.6.6.2
| Solar related | % |  | AR 3.6.6.2
| Noise from appliances | % |  | AR 3.6.6.2
| Other | % |  | AR 3.6.6.2
PERCENTAGE OF COMPLAINTS BY LIKELY CAUSE
| Network equipment faulty | % |  | AR 3.6.6.3
| Network interference by NSP equipment | % |  | AR 3.6.6.3
| Network interference by another customer | % |  | AR 3.6.6.3
| Network limitation | % |  | AR 3.6.6.3
| Customer internal problem | % |  | AR 3.6.6.3
| No problem identified | % |  | AR 3.6.6.3
| Environmental | % |  | AR 3.6.6.3
| Other | % |  | AR 3.6.6.3
Guaranteed service levels
GSL REQUIREMENTS
| Scheme administrator | Free text |  | NEW
| Specification of scheme | Free text |  | NEW
Instances where GSL not met
| <Business specified GSL category 1> |  |  | AR 6.9.1
| <Business specified GSL parameter 1.1> | Number |  | AR 6.9.1
| <Business specified GSL parameter 1.2> | Number |  | AR 6.9.1
| <Business specified GSL parameter 1.3> | Number |  | AR 6.9.1
| <Business specified GSL category 2> |  |  | AR 6.9.1
| <Business specified GSL parameter 2.1> | Number |  | AR 6.9.1
| <Business specified GSL parameter 2.2> | Number |  | AR 6.9.1
| <Business specified GSL parameter 2.3> | Number |  | AR 6.9.1
| <Business specified GSL category 3> |  |  | AR 6.9.1
| <Business specified GSL parameter 3.1> | Number |  | AR 6.9.1
| <Business specified GSL parameter 3.2> | Number |  | AR 6.9.1
| <Business specified GSL parameter 3.3> | Number |  | AR 6.9.1
<additional Business specified GSL Categories (and corresponding GSL Parameters) allowed>
Energy not supplied
| Energy not supplied (planned) | GWh |  | EB 3.6.2
| Energy not supplied (unplanned) | GWh |  | EB 3.6.2
System losses
| System losses | % |  | EB 3.6.3
Fire starts - unplanned vegetation events
| Number of fire starts caused by vegetation grow-ins (NSP responsibility) | Number |  | AR
| Number of fire starts caused by vegetation blow-ins and fall-ins (NSP responsibility) | Number |  | AR
| Number of fire starts caused by vegetation grow-ins (other party responsibility) | Number |  | AR
| Number of fire starts caused by vegetation blow-ins and fall-ins (other party responsibility) | Number |  | AR
| Number of fire starts caused by asset failure (poles) | Number |  | NEW
| Number of fire starts caused by asset failure (pole top structures) | Number |  | NEW
| Number of fire starts caused by asset failure (other) | Number |  | NEW
Inadequately served customers
| SAIDI VALUES |  |  | AR 6.6.2
| Threshold SAIDI value for inadequately served customers | SAIDI |  | AR 6.6.2
| Average unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2
| Highest unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2
SAIFI VALUES
| Average unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2
| Highest unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2
Top 5 feeders with most inadequately served customers
| SAIDI VALUE |  |  | AR 6.6.2
| Feeder ID | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
SAIFI VALUE
| Feeder ID | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
NUMBER OF INADEQUATELY SERVED CUSTOMERS
| Feeder ID | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2
Top 5 zone substations with most inadequately served customers
<NULL response valid if top 5 feeder data provided>
SAIDI VALUE
| Substation ID | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
|  | SAIDI |  | AR 6.6.2
SAIFI VALUE
| Substation ID | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
|  | SAIFI |  | AR 6.6.2
NUMBER OF INADEQUATELY SERVED CUSTOMERS
| Substation ID | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2
|  | Number |  | AR 6.6.2