## DNSP charts
| per MW |  |  | per customer | Opex over time | Capex
[5 empty] | Asset cost | Total user cost decomposition
SAIFI excluding MED and excluded outages
Cost per customer normalised by km |  |  | Cost per km normalised by customer density
Total user cost
Asset Cost
Opex
Reliability

## Analysis
[5 empty] | MW | MWh | km
|  | Asset cost (5 yr avg) | Opex (5yr avg) | Total user cost (5yr avg) | Demand (5yr avg) | Energy delivered (5yr avg) | Line length (5yr avg) | Customers (5yr avg) | RAB (5yr avg) | Customer density | Energy denisty | Demand density | Total user cost per MW (5yr avg) | Totex per MWh (5yr avg) | Totex per km of line (5yr avg) | Totex per customer (5yr avg) | Totex per RAB (5yr avg) | Asset cost per MW (5yr avg) | Asset cost per MWh (5yr avg) | Asset cost per km of line (5yr avg) | Asset costper customer (5yr avg) | Asset cost per RAB (5yr avg) | Opex per MW (5yr avg) | Opex per MWh (5yr avg) | Opex per km of line (5yr avg) | Opex per customer (5yr avg) | Opex per RAB (5yr avg) | kW/Cust | MWH/Cust | Load Factor | SAIDI (5yr avg) | SAIFI (5yr avg) | CAIDI (5yr avg) | opex | Depreciation | Return on investment
ActewAGL | ACT | 80768.3108 | 66324.8407 | 147093.1515 | 650.6466 | 2894863.3612 | 3966.6668 | 169074 | 721955.4074 | 42.6237 | 729.7975 | 0.16403 | 226072.2664 | 50.8118 | 37082.3059 | 869.9927 | 203.7427 | 124135.4535 | 27.9006 | 20361.7583 | 477.7098 | 111.8744 | 101936.8129 | 22.9112 | 16720.5475 | 392.2829 | 91.8683 | 3.8483 | 17.1219 | 1.9689 | 32.92 | 0.646 | 50.4294 | 66324.8407 | 36788.6433 | 43979.6674
Ausgrid | AGD | 1032504.9706 | 541380.5594 | 1573885.5299 | 6239.1921 | 29498623.4531 | 36190.1607 | 1609696.2 | 10847068.7926 | 44.4788 | 815.1006 | 0.1724 | 252257.9041 | 53.3545 | 43489.3213 | 977.7531 | 145.0978 | 165486.9651 | 35.0018 | 28529.9913 | 641.4285 | 95.1875 | 86770.9389 | 18.3527 | 14959.3301 | 336.3247 | 49.9103 | 3.876 | 18.3256 | 1.8528 | 84.332 | 1.0017 | 84.9938 | 541380.5594 | 371729.4253 | 660775.5453
CitiPower | CIT | 129620.942 | 49711.0013 | 179331.9433 | 1415.44 | 6095543.7329 | 3025.2302 | 314395.7202 | 1149808.8309 | 103.9246 | 2014.9025 | 0.46788 | 126696.9588 | 29.4202 | 59278.7764 | 570.402 | 155.9667 | 91576.4299 | 21.2649 | 42846.6379 | 412.286 | 112.7326 | 35120.5288 | 8.1553 | 16432.1385 | 158.116 | 43.2341 | 4.5021 | 19.3881 | 2.0342 | 27.6839 | 0.44962 | 61.9814 | 49711.0013 | 59577.5439 | 70043.3981
Endeavour Energy | END | 508335.3871 | 241332.0028 | 749667.3899 | 3859.4411 | 16968905.7816 | 26259.0903 | 896579.2565 | 4508391.3468 | 34.1436 | 646.2107 | 0.14698 | 194242.4763 | 44.1789 | 28548.8713 | 836.1418 | 166.2827 | 131712.1776 | 29.9569 | 19358.4538 | 566.9721 | 112.7532 | 62530.2987 | 14.222 | 9190.4175 | 269.1697 | 53.5295 | 4.3046 | 18.9263 | 1.9924 | 90.04 | 1.0404 | 86.5001 | 241332.0028 | 233695.7764 | 274639.6107
Energex | ENX | 720271.5301 | 345186.764 | 1065458.2941 | 4938.7226 | 21581200 | 41613.8 | 1325025.9033 | 6900275.5116 | 31.841 | 518.6068 | 0.11868 | 215735.6029 | 49.3697 | 25603.4848 | 804.1037 | 154.4081 | 145841.6661 | 33.375 | 17308.4777 | 543.5905 | 104.383 | 69893.9368 | 15.9948 | 8295.007 | 260.5132 | 50.0251 | 3.7273 | 16.2874 | 2.0047 | 77.7436 | 1.102 | 71.3975 | 345186.764 | 299924.4851 | 420347.045
Ergon Energy | ERG | 675695.5104 | 355504.5482 | 1031200.0586 | 3139.6704 | 13760201.8 | 141545.1042 | 687766 | 6387622.6233 | 4.859 | 97.2143 | 0.022181 | 328442.1379 | 74.9408 | 7285.3107 | 1499.3472 | 161.4372 | 215212.2434 | 49.1051 | 4773.7116 | 982.4497 | 105.782 | 113229.8945 | 25.8357 | 2511.599 | 516.8975 | 55.6552 | 4.565 | 20.0071 | 1.9988 | 317.8358 | 2.9318 | 108.6915 | 355504.5482 | 286577.9614 | 389117.549
Essential Energy | ESS | 609601.1057 | 384875.3865 | 994476.4922 | 2549.3371 | 12062537.7237 | 180090.589 | 832767.6 | 5430219.1899 | 4.6242 | 66.9804 | 0.014156 | 390092.1854 | 82.4434 | 5522.0903 | 1194.1825 | 183.1374 | 239121.4166 | 50.5367 | 3384.9692 | 732.0183 | 112.2609 | 150970.7689 | 31.9067 | 2137.121 | 462.1642 | 70.8766 | 3.0613 | 14.4849 | 1.8514 | 230 | 2.0334 | 113.4446 | 384875.3865 | 278806.1126 | 330794.9931
Jemena | JEN | 88406.0945 | 65117.5469 | 153523.6413 | 979.9223 | 4372000 | 4274.9406 | 312816.6 | 740762.3736 | 73.1745 | 1022.7043 | 0.22922 | 156669.2003 | 35.1152 | 35912.4616 | 490.7784 | 207.2509 | 90217.4544 | 20.221 | 20680.0754 | 282.6132 | 119.3447 | 66451.7458 | 14.8942 | 15232.3862 | 208.1653 | 87.9061 | 3.1326 | 13.9762 | 1.9634 | 59.7797 | 1.0094 | 59.3516 | 65117.5469 | 43280.755 | 45125.3395
Powercor | PCR | 230446.9706 | 161582.0646 | 392029.0352 | 2405.464 | 10587837.4238 | 66420.42 | 728996.1396 | 2044971.6247 | 10.9755 | 159.4064 | 0.036216 | 162974.393 | 37.0264 | 5902.2366 | 537.7656 | 191.7039 | 95801.4631 | 21.7653 | 3469.5199 | 316.1155 | 112.6896 | 67172.9299 | 15.2611 | 2432.7167 | 221.6501 | 79.0143 | 3.2997 | 14.5239 | 1.9902 | 142.8058 | 1.5478 | 92.5344 | 161582.0646 | 105872.5564 | 124574.4142
SA Power Networks | SAPN | 378025.3605 | 195737.335 | 573762.6955 | 3011.1711 | 11211160 | 81150.9885 | 833881 | 3107235.6384 | 10.2757 | 138.1519 | 0.037106 | 190544.6981 | 51.1778 | 7070.3106 | 688.063 | 184.6537 | 125540.975 | 33.7187 | 4658.2964 | 453.3325 | 121.6597 | 65003.7231 | 17.4592 | 2412.0142 | 234.7305 | 62.994 | 3.611 | 13.4446 | 2.3528 | 150.42 | 1.4406 | 104.184 | 195737.335 | 188740.5535 | 189284.807
AusNet Services | AND | 257297.3509 | 162593.6846 | 419891.0354 | 1868.1996 | 7676879.6 | 33873.6834 | 657790.2 | 2327552.3726 | 19.4189 | 226.6326 | 0.055152 | 224757.0524 | 54.6955 | 12395.7891 | 638.3358 | 180.4003 | 137724.765 | 33.5159 | 7595.789 | 391.1541 | 110.5442 | 87032.2874 | 21.1797 | 4800.0001 | 247.1817 | 69.8561 | 2.8401 | 11.6707 | 2.1318 | 142.4374 | 1.9179 | 74.0961 | 162593.6846 | 115508.844 | 141788.5069
TasNetworks | TND | 141926.0271 | 79180.355 | 221106.3821 | 1078.2 | 4428349.8271 | 21303.4866 | 274036.4305 | 1280601.7551 | 12.8635 | 207.8697 | 0.050611 | 205069.9148 | 49.9297 | 10378.8824 | 806.8503 | 172.6582 | 131632.3753 | 32.0494 | 6662.1033 | 517.9093 | 110.8276 | 73437.5394 | 17.8803 | 3716.7792 | 288.941 | 61.8306 | 3.9345 | 16.1597 | 2.1329 | 168.4 | 1.64 | 102.0913 | 79180.355 | 63915.0603 | 78010.9668
United Energy | UED | 175714.8664 | 116999.0607 | 292713.9271 | 2000.53 | 8035224.7425 | 10015.2328 | 641496.1548 | 1496858.4177 | 64.052 | 802.3003 | 0.19975 | 146318.1891 | 36.4288 | 29226.872 | 456.2988 | 195.5522 | 87834.1571 | 21.8681 | 17544.7611 | 273.9141 | 117.3891 | 58484.0321 | 14.5608 | 11682.1109 | 182.3847 | 78.1631 | 3.1185 | 12.5258 | 2.181 | 66.2785 | 1.0691 | 62.6717 | 116999.0607 | 84530.0997 | 91184.7667

## RAB
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102
Convert to real | 2013
8
104.8
Convert to real (Calendar year DNSP) |  | 1.22 | 1.195 | 1.1441 | 1.1281 | 1.0939 | 1.0565 | 1.0438 | 1.0195
Convert to real (Financial year DNSP) |  | 1.2506 | 1.2102 | 1.1762 | 1.1342 | 1.1113 | 1.0815 | 1.0501 | 1.0275
DNSP Network services RAB
Raw
ActewAGL | $ '000 | 514973.3618 | 533576.3929 | 556431.5863 | 579201.6395 | 614257.147 | 666190.3294 | 722359.2705 | 770004.2975
Ausgrid | $ '000 | 5223429.4123 | 5829568.8363 | 6592064.0274 | 7556509.6962 | 8685645.1071 | 9996693.7581 | 11492154.9517 | 12781516.5459
CitiPower | $ '000 | 791923.8683 | 834106.8243 | 870476.552 | 919908.2759 | 998565.8486 | 1075196.7035 | 1163338.6642 | 1244496.7204
Endeavour Energy | $ '000 | 2528035.2311 | 2812394.1372 | 3100051.945 | 3436641.5204 | 3768850.5157 | 4095850.8729 | 4578641.2074 | 5078407.0333
Energex | $ '000 | 3839988.8413 | 4278239.1729 | 4680107.947 | 5125524.8172 | 5760735.7582 | 6470682.8714 | 7068076.7121 | 7655282.4316
Ergon Energy | $ '000 | 4041245.041 | 4410712.086 | 4791267.454 | 5168370.102 | 5491874.054 | 5889997.139 | 6334937.207 | 6764569.865
Essential Energy | $ '000 | 2695514.1433 | 3037745.3201 | 3440412.6572 | 3932971.0062 | 4480633.7627 | 5009059.0332 | 5635207.404 | 6205472.7339
Jemena | $ '000 | 477880.2843 | 516813.9932 | 543733.8254 | 578814.8704 | 617489.2233 | 674496.8615 | 765574.8816 | 847172.9395
Powercor | $ '000 | 1315040.7508 | 1419291.7681 | 1516988.5338 | 1622158.2805 | 1758627.1285 | 1892790.1278 | 2073531.1117 | 2262995.9673
SA Power Networks | $ '000 | 2535926.5801 | 2585913.7899 | 2626520.1624 | 2680777.1793 | 2714645.9875 | 2816081.36 | 3000715.1931 | 3194322.0947
AusNet Services | $ '000 | 1315153.321 | 1423717.5075 | 1553298.4295 | 1741756.483 | 1968010.4295 | 2170660.298 | 2398730.109 | 2670983.0124
TasNetworks | $ '000 | 782973.8961 | 847772.5421 | 910014.9685 | 998157.253 | 1101192.1666 | 1201836.3829 | 1292859.2109 | 1352514.8404
United Energy | $ '000 | 1074445.4226 | 1116738.109 | 1145546.0276 | 1198356.1611 | 1271479.2689 | 1373156.33 | 1526251.6695 | 1665292.4216 | AGD | 13132381.706
[10 empty] | ENX | 7865427.4395
Real $2013 | [9 empty] | ERG | 6950263.9397
[10 empty] | ESS | 6375819.0443
ACT | $ '000 | 644023.9656 | 645713.6949 | 654478.4539 | 656929.9981 | 682652.6936 | 720503.06 | 758549.6147 | 791141.6704 | END | 5217814.2852
AGD | $ '000 | 6532403.37 | 7054720.7164 | 7753628.6204 | 8570586.755 | 9652763.5973 | 10811697.6867 | 12067914.2178 | 13132381.706 | SAPN | 3282009.3679
CIT | $ '000 | 966165.5576 | 996743.3887 | 995916.4045 | 1037743.674 | 1092376.8365 | 1135893.2916 | 1214321.6336 | 1268708.7189 | AND | 2722947.6625
END | $ '000 | 3161552.4131 | 3403451.5656 | 3646301.2776 | 3897835.837 | 4188499.8309 | 4429774.7315 | 4808032.0495 | 5217814.2852 | PCR | 2307023.1262
ENX | $ '000 | 4802277.2144 | 5177361.0314 | 5504773.4326 | 5813365.81 | 6402175.0526 | 6998220.4842 | 7422188.7718 | 7865427.4395 | UED | 1697691.1068
ERG | $ '000 | 5053967.5453 | 5337674.6722 | 5635519.9683 | 5861960.8949 | 6103376.4672 | 6370192.9842 | 6652318.8306 | 6950263.9397 | TND | 1389642.6987
ESS | $ '000 | 3371000.9811 | 3676162.9278 | 4046635.7629 | 4460772.31 | 4979537.8402 | 5417434.331 | 5917532.4242 | 6375819.0443 | CIT | 1268708.7189
JEN | $ '000 | 583025.0732 | 617583.8825 | 622088.4815 | 652958.0023 | 675499.6931 | 712573.2972 | 799125.972 | 863654.9033 | JEN | 863654.9033
PCR | $ '000 | 1604380.3339 | 1696029.3876 | 1735593.8683 | 1829948.2002 | 1923842.6208 | 1999641.1834 | 2164402.9931 | 2307023.1262 | ACT | 791141.6704
SAPN | $ '000 | 3171421.3078 | 3129373.7319 | 3089330.1124 | 3040535.1557 | 3016913.0381 | 3045669.0044 | 3151051.6257 | 3282009.3679
AND | $ '000 | 1604517.6722 | 1701318.0705 | 1777136.1944 | 1964866.3016 | 2152896.5868 | 2293197.5729 | 2503853.7393 | 2722947.6625
TND | $ '000 | 979184.5383 | 1025941.8292 | 1070365.5297 | 1132109.0922 | 1223806.3527 | 1299818.9156 | 1357631.7165 | 1389642.6987
UED | $ '000 | 1310848.4317 | 1334482.9398 | 1310624.7128 | 1351859.2646 | 1390929.3045 | 1450673.2196 | 1593139.1929 | 1697691.1068
Note on B6: Author: Choose base year from drop down list.

## Opex
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102
Convert to real | 2013
8
104.8
Convert to real (Calendar year DNSP) |  | 1.22 | 1.195 | 1.1441 | 1.1281 | 1.0939 | 1.0565 | 1.0438 | 1.0195
Convert to real (Financial year DNSP) |  | 1.2506 | 1.2102 | 1.1762 | 1.1342 | 1.1113 | 1.0815 | 1.0501 | 1.0275
DNSP Network services opex
Raw (nominal)
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
ActewAGL | 38584.3916 | 40476.7304 | 44743.933 | 47098.0537 | 54590.0845 | 64027.6754 | 68399.1123 | 74420.5962
Ausgrid | 357834.4962 | 316522.9919 | 467809.1222 | 441027.3381 | 511184.2689 | 506684.854 | 577601.0955 | 471121.6833
CitiPower | 27265.6296 | 32341.5583 | 32125.6232 | 38829.928 | 44123.599 | 41598.2845 | 54695.9723 | 54384.6977
Endeavour Energy | 156824.9179 | 176841.3944 | 224408.06 | 214131.3003 | 210431.138 | 229554.2907 | 240838.1272 | 222645.274
Energex | 189286.7865 | 229999.825 | 249220.281 | 269392.6544 | 278759.4613 | 317627.737 | 350958.6649 | 387877.9989
Ergon Energy | 259957.891 | 248688.704 | 279032.07 | 281407.712 | 286622.946 | 363809.971 | 390525.92 | 327267.286
Essential Energy | 198507.6194 | 249199.6341 | 304612.2863 | 296582.8498 | 324946.1177 | 336208.0054 | 429455.7127 | 401260.4295
Jemena | 46756.0923 | 51252.3522 | 43220.3586 | 48349.7257 | 58605.5751 | 59886.8984 | 70098.0678 | 69150.3039
Powercor | 119182.7717 | 108472.2548 | 115769.5437 | 130669.6111 | 129799.912 | 140102.3211 | 171389.0995 | 187940.6345
SA Power Networks | 112506.535 | 108991.583 | 126897.568 | 145514.894 | 147956.514 | 191519.795 | 203371.86 | 222412.643
AusNet Services | 82540.041 | 104522.864 | 117354.963 | 139244.322 | 139237.08 | 145236.239 | 158632.404 | 181028.396
TasNetworks | 48648.8239 | 50748.1094 | 53289.023 | 61973.7059 | 75037.9781 | 74900.1797 | 84369.7778 | 70674.636
United Energy | 83237 | 81473 | 85413.8863 | 89047.9225 | 96130.0666 | 121992.7555 | 126519.883 | 116175.4911
Real $2013
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
ACT | 48253.5112 | 48983.3873 | 52628.1052 | 53418.5717 | 60668.5139 | 69247.6819 | 71825.9216 | 76463.5146 | 60186.1509
AGD | 447506.6253 | 383043.9902 | 550240.1347 | 500212.8251 | 568102.9838 | 547993.5264 | 606539.0261 | 484054.4354 | 510961.6934
CIT | 33264.7029 | 38647.609 | 36755.0798 | 43803.8369 | 48268.8223 | 43946.5748 | 57093.0069 | 55442.7658 | 44652.7998
END | 196124.7183 | 214006.6759 | 263950.221 | 242867.5354 | 233861.9646 | 248269.2431 | 252904.1657 | 228757.105 | 235092.7036
ENX | 236721.4228 | 278336.9706 | 293134.5169 | 305544.9154 | 309798.4258 | 343523.084 | 368541.7644 | 398525.6303 | 316765.8413
ERG | 325102.4699 | 300953.5356 | 328199.3371 | 319172.3833 | 318537.484 | 393470.433 | 410091.3469 | 336251.0939 | 341472.2604
ESS | 248252.9655 | 301571.8435 | 358286.954 | 336384.0115 | 361127.8169 | 363618.1524 | 450971.53 | 412275.4217 | 354061.0869
JEN | 57043.5212 | 61245.6843 | 49448.6199 | 54543.0706 | 64111.3181 | 63267.6104 | 73170.0946 | 70495.6406 | 61665.695
PCR | 145405.7564 | 129622.4892 | 132452.491 | 147407.6991 | 141994.0583 | 148011.3231 | 178900.1756 | 191597.0671 | 151923.8825
SAPN | 140700.2968 | 131897.4353 | 149257.7455 | 165042.8668 | 164430.9933 | 207133.8959 | 213560.8309 | 228518.0881 | 175067.7691
AND | 100700.7718 | 124903.0347 | 134266.3769 | 157080.7852 | 152317.8078 | 153435.0589 | 165584.4217 | 184550.3492 | 146604.8258
TND | 60840.0566 | 61413.4165 | 62678.8958 | 70290.5236 | 83393.2143 | 81006.5927 | 88596.7206 | 72614.7241 | 72604.268
UED | 101551.078 | 97358.8415 | 97722.4376 | 100454.4917 | 105161.0749 | 128879.4433 | 132064.5791 | 118435.7146 | 110203.4576
Feed in tariffs
Energex | 0 | 0 | 0 | 0 | 0 | 19400 | 73900 | 167100
Ergon | 0 | 0 | 0 | 0 | 0 | 5688.419 | 27937.563 | 75867
real opex rearranged for graph
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
AGD | 447506.6253 | 383043.9902 | 550240.1347 | 500212.8251 | 568102.9838 | 547993.5264 | 606539.0261 | 484054.4354
ESS | 248252.9655 | 301571.8435 | 358286.954 | 336384.0115 | 361127.8169 | 363618.1524 | 450971.53 | 412275.4217
ENX | 236721.4228 | 278336.9706 | 293134.5169 | 305544.9154 | 309798.4258 | 343523.084 | 368541.7644 | 398525.6303
ERG | 325102.4699 | 300953.5356 | 328199.3371 | 319172.3833 | 318537.484 | 393470.433 | 410091.3469 | 336251.0939
END | 196124.7183 | 214006.6759 | 263950.221 | 242867.5354 | 233861.9646 | 248269.2431 | 252904.1657 | 228757.105
SAPN | 140700.2968 | 131897.4353 | 149257.7455 | 165042.8668 | 164430.9933 | 207133.8959 | 213560.8309 | 228518.0881
PCR | 145405.7564 | 129622.4892 | 132452.491 | 147407.6991 | 141994.0583 | 148011.3231 | 178900.1756 | 191597.0671
AND | 100700.7718 | 124903.0347 | 134266.3769 | 157080.7852 | 152317.8078 | 153435.0589 | 165584.4217 | 184550.3492
UED | 101551.078 | 97358.8415 | 97722.4376 | 100454.4917 | 105161.0749 | 128879.4433 | 132064.5791 | 118435.7146
ACT | 48253.5112 | 48983.3873 | 52628.1052 | 53418.5717 | 60668.5139 | 69247.6819 | 71825.9216 | 76463.5146
TND | 60840.0566 | 61413.4165 | 62678.8958 | 70290.5236 | 83393.2143 | 81006.5927 | 88596.7206 | 72614.7241
JEN | 57043.5212 | 61245.6843 | 49448.6199 | 54543.0706 | 64111.3181 | 63267.6104 | 73170.0946 | 70495.6406
CIT | 33264.7029 | 38647.609 | 36755.0798 | 43803.8369 | 48268.8223 | 43946.5748 | 57093.0069 | 55442.7658
Note on B6: Author: Choose base year from drop down list.

## Depreciation
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102
Convert to real | 2013
8
104.8
Convert to real (Calendar year DNSP) |  | 1.22 | 1.195 | 1.1441 | 1.1281 | 1.0939 | 1.0565 | 1.0438 | 1.0195
Convert to real (Financial year DNSP) |  | 1.2506 | 1.2102 | 1.1762 | 1.1342 | 1.1113 | 1.0815 | 1.0501 | 1.0275
Nominal depreciation
ActewAGL | $ '000 | -23542.1925 | -25060.5059 | -26478.0875 | -28581.3129 | -30504.4249 | -33673.9522 | -37287.5845 | -40926.8404
Ausgrid | $ '000 | -200751.1826 | -223490.5783 | -253282.0381 | -290437.1662 | -273806.5916 | -323617.235 | -387746.8847 | -455267.9513
CitiPower | $ '000 | -49530.346 | -50521.9262 | -51107.877 | -54862.0723 | -58379.5763 | -50513.7031 | -55019.3915 | -60167.5595
Endeavour Energy | $ '000 | -136093.7316 | -151899.501 | -170107.8144 | -186386.7539 | -231503.3484 | -212225.415 | -223651.9651 | -229124.4358
Energex | $ '000 | -189543.6612 | -218173.3369 | -235433.5895 | -237981.3347 | -256163.5929 | -285010.6743 | -297614.3097 | -315582.8772
Ergon Energy | $ '000 | -209463.095 | -228999.258 | -232380.178 | -251194.042 | -267274.835 | -272160.356 | -261932.851 | -274023.887
Essential Energy | $ '000 | -144797.4688 | -161489.0224 | -186763.1148 | -213120.5354 | -251161.213 | -281644.9904 | -255775.8772 | -291970.3043
Jemena | $ '000 | -29220.5984 | -31713.9106 | -32953.0097 | -34153.5175 | -35426.0781 | -37018.8871 | -44475.2524 | -52565.4612
Powercor | $ '000 | -77661.5873 | -81993.9277 | -85462.9545 | -92714.4261 | -97108.5331 | -91578.3582 | -102051.4873 | -113068.911
SA Power Networks | $ '000 | -130295.0878 | -144004.8218 | -151833.9576 | -163422.2693 | -177952.341 | -162869.2157 | -175375.965 | -194921.9665
AusNet Services | $ '000 | -56565.42 | -66700.723 | -73552.325 | -82384.991 | -88913.315 | -130732.864 | -112282.345 | -129504.2377
TasNetworks | $ '000 | -43002.7802 | -50615.4012 | -51565.8866 | -45703.9664 | -53533.9318 | -61151.1837 | -67071.747 | -69759.4428
United Energy | $ '000 | -70486.6268 | -74606.3383 | -79444.0212 | -76668.7999 | -76669.5483 | -65682.3467 | -83380.1742 | -94034.5332
Real $2013 depreciation
2009-13 average
ActewAGL | $ '000 | -29441.7873 | -30327.2635 | -31143.6989 | -32416.9004 | -33900.9939 | -36419.3002 | -39155.6999 | -42050.3223 | -36788.6433
Ausgrid | $ '000 | -251058.7582 | -270459.7298 | -297911.9819 | -329413.5824 | -304294.07 | -350000.8899 | -407173.0813 | -467765.5029 | -371729.4253
CitiPower | $ '000 | -60428.1753 | -60372.8377 | -58472.7675 | -61889.6144 | -63864.0877 | -53365.2831 | -57430.5999 | -61338.1345 | -59577.5439
Endeavour Energy | $ '000 | -170198.366 | -183822.9527 | -200081.9187 | -211399.6949 | -257280.4975 | -229527.5902 | -234856.9734 | -235414.1262 | -233695.7764
Energex | $ '000 | -237042.6694 | -264025.0081 | -276918.5205 | -269918.2238 | -284686.5804 | -308246.8387 | -312524.8462 | -324245.9366 | -299924.4851
Ergon Energy | $ '000 | -261953.8467 | -277126.1228 | -273327.0781 | -284904.065 | -297035.0234 | -294348.868 | -275055.7393 | -281546.1113 | -286577.9614
Essential Energy | $ '000 | -181083.2307 | -195427.8238 | -219671.9914 | -241721.1267 | -279127.2017 | -304606.7595 | -268590.2999 | -299985.1754 | -278806.1126
Jemena | $ '000 | -35649.8104 | -37897.5807 | -37701.6966 | -38528.4029 | -38754.2065 | -39108.6629 | -46424.3671 | -53588.1356 | -43280.755
Powercor | $ '000 | -94748.9447 | -97981.3412 | -97778.5768 | -104590.6551 | -106231.4642 | -96748.1043 | -106523.8632 | -115268.6953 | -105872.5564
SA Power Networks | $ '000 | -162946.6014 | -174269.1146 | -178588.0892 | -185353.3964 | -197766.7586 | -176147.5109 | -184162.336 | -200272.7656 | -188740.5535
AusNet Services | $ '000 | -69011.1294 | -79706.2232 | -84151.5683 | -92938.0738 | -97266.3404 | -138112.945 | -117203.0852 | -132023.7754 | -115508.844
TasNetworks | $ '000 | -53779.1332 | -61252.8181 | -60652.1315 | -51837.3991 | -59494.762 | -66136.6775 | -70432.055 | -71674.4079 | -63915.0603
United Energy | $ '000 | -85995.3258 | -89153.2982 | -90892.2862 | -86489.6687 | -83872.3242 | -69390.2212 | -87034.2854 | -95863.9988 | -84530.0997
Note on B5: Author: Choose base year from drop down list.

## Capex
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102
Convert to real | 2013
8
104.8
Convert to real (Calendar year DNSP) |  | 1.22 | 1.195 | 1.1441 | 1.1281 | 1.0939 | 1.0565 | 1.0438 | 1.0195
Convert to real (Financial year DNSP) |  | 1.2506 | 1.2102 | 1.1762 | 1.1342 | 1.1113 | 1.0815 | 1.0501 | 1.0275
DNSP Network services capex
Raw
ActewAGL | 23420.4001 | 29528.0947 | 35599.2976 | 37286.5413 | 66576.1311 | 72571.4307 | 69038.7349 | 67719.5027
Ausgrid | 566471.2154 | 749268.9449 | 908425.9761 | 1048551.9125 | 1325827.3212 | 1465122.9242 | 1631116.8526 | 1224808.2534
CitiPower | 68904.9143 | 60946.961 | 65890.6682 | 79107.822 | 105462.5514 | 117067.5866 | 97987.9238 | 116268.3545
Endeavour Energy | 337440.9962 | 381686.3882 | 374790.1828 | 465036.1571 | 422665.2314 | 508207.7773 | 646401.007 | 589205.8207
Energex | 569144.2664 | 532370.2873 | 470609.5522 | 632189.9579 | 910975.0769 | 745416.6969 | 757590.5982 | 775122.3574
Ergon Energy | 490993.209 | 525714.812 | 539869.385 | 535520.285 | 440401.782 | 640791.3 | 679316.211 | 662308.99
Essential Energy | 371225.1968 | 464766.0423 | 527550.6533 | 637971.3636 | 673439.1285 | 727184.8315 | 775495.1821 | 656287.7929
Jemena | 50952.9072 | 54594.7908 | 34722.8067 | 65418.4076 | 83539.3167 | 114252.5191 | 104682.6796 | 112219.4055
Powercor | 142464.0727 | 141748.3368 | 146555.6999 | 140471.7142 | 181678.5234 | 210519.9142 | 229213.1619 | 255081.4495
SA Power Networks | 135926.1432 | 110547.5724 | 101717.4723 | 152968.6119 | 118018.3109 | 260457.7131 | 314244.3171 | 323359.8499
AusNet Services | 119200.64 | 129699.662 | 188932.858 | 235768.124 | 256969.3113 | 259740.769 | 306411.421 | 359365.5632
TasNetworks | 101629.9407 | 85969.6831 | 97820.4911 | 114954.6844 | 133282.7918 | 129998.8552 | 104682.9048 | 84657.2682
United Energy | 80468.1788 | 70756.843 | 73490.64 | 105496.6018 | 117041.0426 | 175848.8797 | 192163.1448 | 180154.0356
Real $2013
|  | 2013: ave capex | ave opex | 2009-13 ave capex
ACT | 29289.4741 | 35733.7682 | 41872.1255 | 42290.3628 | 73989.1679 | 78487.9869 | 72497.5894 | 69578.4694 | 55467.368 | 60186.1509 | 67368.7153
AGD | 708427.0093 | 906736.5523 | 1068496.5465 | 1189266.6713 | 1473453.9052 | 1584570.5104 | 1712836.1338 | 1258430.4408 | 1237777.2212 | 510961.6934 | 1443711.5323
CIT | 84065.5997 | 72830.576 | 75385.83 | 89241.1167 | 115370.3068 | 123676.2407 | 102282.2153 | 118530.3848 | 97672.7837 | 44652.7998 | 109820.0528
END | 422002.5823 | 461902.2343 | 440830.6527 | 527443.6067 | 469727.6379 | 549640.6095 | 678785.827 | 605380.0982 | 519464.1561 | 235092.7036 | 566195.5559
ENX | 711769.9179 | 644254.1121 | 553534.0187 | 717029.3029 | 1012409.2053 | 806188.5432 | 795546.039 | 796400.2261 | 754641.4207 | 316765.8413 | 825514.6633
ERG | 614034.4666 | 636199.9111 | 634997.8849 | 607386.6436 | 489439.096 | 693033.3152 | 713350.0893 | 680490.0211 | 633616.4285 | 341472.2604 | 636739.833
ESS | 464252.9907 | 562442.0465 | 620508.5125 | 723586.5682 | 748424.3973 | 786470.2822 | 814347.6461 | 674303.5362 | 674291.9975 | 354061.0869 | 749426.486
JEN | 62163.7331 | 65239.8412 | 39726.53 | 73798.1605 | 91387.478 | 120702.258 | 109270.3667 | 114402.6624 | 84586.3788 | 61665.695 | 101912.1851
PCR | 173809.4857 | 169386.838 | 167675.0802 | 158465.3998 | 198746.4431 | 222404.1029 | 239258.3603 | 260044.1236 | 198723.7292 | 151923.8825 | 215783.6859
SAPN | 169988.7805 | 133780.434 | 119640.753 | 173496.8672 | 131159.2682 | 281692.1397 | 329988.0203 | 332236.3948 | 208997.8322 | 175067.7691 | 249714.538
AND | 145427.5561 | 154988.8777 | 216158.9904 | 265968.7771 | 281110.4784 | 274403.5543 | 319839.81 | 366357.1111 | 253031.8944 | 146604.8258 | 301535.9462
TND | 127098.0643 | 104037.2147 | 115057.0985 | 130381.5036 | 148123.3995 | 140597.3171 | 109927.5393 | 86981.1932 | 120275.4163 | 72604.268 | 123202.1905
UED | 98173.0516 | 84553.2172 | 84080.9943 | 119010.1601 | 128036.5477 | 185775.8326 | 200584.6372 | 183658.978 | 135484.1773 | 110203.4576 | 163413.2311
Duplicate data for ppi graph | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
AGD | 708427.0093 | 906736.5523 | 1068496.5465 | 1189266.6713 | 1473453.9052 | 1584570.5104 | 1712836.1338 | 1258430.4408 | 1237777.2212 | 510961.6934 | 1443711.5323
ENX | 711769.9179 | 644254.1121 | 553534.0187 | 717029.3029 | 1012409.2053 | 806188.5432 | 795546.039 | 796400.2261 | 754641.4207 | 316765.8413 | 825514.6633
ERG | 614034.4666 | 636199.9111 | 634997.8849 | 607386.6436 | 489439.096 | 693033.3152 | 713350.0893 | 680490.0211 | 633616.4285 | 341472.2604 | 636739.833
ESS | 464252.9907 | 562442.0465 | 620508.5125 | 723586.5682 | 748424.3973 | 786470.2822 | 814347.6461 | 674303.5362 | 674291.9975 | 354061.0869 | 749426.486
END | 422002.5823 | 461902.2343 | 440830.6527 | 527443.6067 | 469727.6379 | 549640.6095 | 678785.827 | 605380.0982 | 519464.1561 | 235092.7036 | 566195.5559
AND | 145427.5561 | 154988.8777 | 216158.9904 | 265968.7771 | 281110.4784 | 274403.5543 | 319839.81 | 366357.1111 | 253031.8944 | 146604.8258 | 301535.9462
SAPN | 169988.7805 | 133780.434 | 119640.753 | 173496.8672 | 131159.2682 | 281692.1397 | 329988.0203 | 332236.3948 | 208997.8322 | 175067.7691 | 249714.538
PCR | 173809.4857 | 169386.838 | 167675.0802 | 158465.3998 | 198746.4431 | 222404.1029 | 239258.3603 | 260044.1236 | 198723.7292 | 151923.8825 | 215783.6859
UED | 98173.0516 | 84553.2172 | 84080.9943 | 119010.1601 | 128036.5477 | 185775.8326 | 200584.6372 | 183658.978 | 135484.1773 | 110203.4576 | 163413.2311
CIT | 84065.5997 | 72830.576 | 75385.83 | 89241.1167 | 115370.3068 | 123676.2407 | 102282.2153 | 118530.3848 | 97672.7837 | 44652.7998 | 109820.0528
JEN | 62163.7331 | 65239.8412 | 39726.53 | 73798.1605 | 91387.478 | 120702.258 | 109270.3667 | 114402.6624 | 84586.3788 | 61665.695 | 101912.1851
TND | 127098.0643 | 104037.2147 | 115057.0985 | 130381.5036 | 148123.3995 | 140597.3171 | 109927.5393 | 86981.1932 | 120275.4163 | 72604.268 | 123202.1905
ACT | 29289.4741 | 35733.7682 | 41872.1255 | 42290.3628 | 73989.1679 | 78487.9869 | 72497.5894 | 69578.4694 | 55467.368 | 60186.1509 | 67368.7153
Note on B6: Author: Choose base year from drop down list.

## Asset cost
Average real WACC | 6.092%
DNSP Asset cost
Real $2013 | [8 empty] | 2009-13 average
ACT | 68674.0716 | 69662.4818 | 71012.8437 | 72435.387 | 75486.441 | 80310.4943 | 85364.5924 | 90244.639 | 80768.3108
AGD | 648995.9781 | 700215.1796 | 770243.1045 | 851511.6943 | 892315.613 | 1008621.7183 | 1142319.3913 | 1267756.4358 | 1032504.9706
CIT | 119284.4973 | 121091.8825 | 119141.4346 | 125106.2912 | 130408.8763 | 122560.9823 | 131403.952 | 138624.6081 | 129620.942
END | 362792.0113 | 391152.4725 | 422205.2186 | 448845.8335 | 512433.1395 | 499378.0788 | 527749.9254 | 553269.9585 | 508335.3871
ENX | 529585.0516 | 579416.5322 | 612255.1664 | 624053.524 | 674690.626 | 734560.4396 | 764665.5053 | 803387.5558 | 720271.5301
ERG | 569828.5569 | 602283.5418 | 616628.4668 | 641999.6528 | 668837.0273 | 682404.6481 | 680297.9007 | 704938.3229 | 675695.5104
ESS | 386435.9443 | 419370.2188 | 466182.639 | 513459.9081 | 582467.8456 | 634622.9318 | 629071.1624 | 688383.6807 | 609601.1057
JEN | 71166.199 | 75519.2031 | 75597.7277 | 78304.9258 | 79903.9112 | 82516.7963 | 95105.0669 | 106199.772 | 88406.0945
PCR | 192483.6701 | 201299.0914 | 203506.4934 | 216066.395 | 223427.0108 | 218561.1045 | 238373.7293 | 255806.6132 | 230446.9706
SAPN | 356141.4344 | 364902.5174 | 366782.1377 | 370574.9815 | 381549.345 | 361681.8368 | 376116.3004 | 400204.3389 | 378025.3605
AND | 166754.2211 | 183346.1463 | 192410.1367 | 212632.6776 | 228415.2658 | 277808.6458 | 269731.4181 | 297898.7469 | 257297.3509
TND | 113428.538 | 123750.5568 | 125856.0479 | 120802.5746 | 134045.8988 | 145318.3043 | 153135.489 | 156327.8686 | 141926.0271
UED | 165848.8424 | 170446.5682 | 170732.1744 | 168841.4598 | 168604.1616 | 157761.5043 | 184084.2294 | 199282.9766 | 175714.8664
Duplicate table for asset cost graph | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
AGD | 648995.9781 | 700215.1796 | 770243.1045 | 851511.6943 | 892315.613 | 1008621.7183 | 1142319.3913 | 1267756.4358 | 1032504.9706
ENX | 529585.0516 | 579416.5322 | 612255.1664 | 624053.524 | 674690.626 | 734560.4396 | 764665.5053 | 803387.5558 | 720271.5301
ERG | 569828.5569 | 602283.5418 | 616628.4668 | 641999.6528 | 668837.0273 | 682404.6481 | 680297.9007 | 704938.3229 | 675695.5104
ESS | 386435.9443 | 419370.2188 | 466182.639 | 513459.9081 | 582467.8456 | 634622.9318 | 629071.1624 | 688383.6807 | 609601.1057
END | 362792.0113 | 391152.4725 | 422205.2186 | 448845.8335 | 512433.1395 | 499378.0788 | 527749.9254 | 553269.9585 | 508335.3871
SAPN | 356141.4344 | 364902.5174 | 366782.1377 | 370574.9815 | 381549.345 | 361681.8368 | 376116.3004 | 400204.3389 | 378025.3605
AND | 166754.2211 | 183346.1463 | 192410.1367 | 212632.6776 | 228415.2658 | 277808.6458 | 269731.4181 | 297898.7469 | 257297.3509
PCR | 192483.6701 | 201299.0914 | 203506.4934 | 216066.395 | 223427.0108 | 218561.1045 | 238373.7293 | 255806.6132 | 230446.9706
UED | 165848.8424 | 170446.5682 | 170732.1744 | 168841.4598 | 168604.1616 | 157761.5043 | 184084.2294 | 199282.9766 | 175714.8664
TND | 113428.538 | 123750.5568 | 125856.0479 | 120802.5746 | 134045.8988 | 145318.3043 | 153135.489 | 156327.8686 | 141926.0271
CIT | 119284.4973 | 121091.8825 | 119141.4346 | 125106.2912 | 130408.8763 | 122560.9823 | 131403.952 | 138624.6081 | 129620.942
JEN | 71166.199 | 75519.2031 | 75597.7277 | 78304.9258 | 79903.9112 | 82516.7963 | 95105.0669 | 106199.772 | 88406.0945
ACT | 68674.0716 | 69662.4818 | 71012.8437 | 72435.387 | 75486.441 | 80310.4943 | 85364.5924 | 90244.639 | 80768.3108

## CPI
Index Numbers ; All groups CPI ; Australia ;
Unit | Index Numbers
Series Type | Original
Data Type | INDEX
Frequency | Quarter
Collection Month | 3
Series Start | 1948-09-01
Series End | 2014-03-01
No. Obs | 263
Series ID | A2325846C
1948-09-01 | 3.7
1948-12-01 | 3.8
1949-03-01 | 3.9
1949-06-01 | 4
1949-09-01 | 4.1
1949-12-01 | 4.1
1950-03-01 | 4.2
1950-06-01 | 4.3
1950-09-01 | 4.4
1950-12-01 | 4.6
1951-03-01 | 4.8
1951-06-01 | 5.1
1951-09-01 | 5.3
1951-12-01 | 5.7
1952-03-01 | 5.9
1952-06-01 | 6.1
1952-09-01 | 6.2
1952-12-01 | 6.3
1953-03-01 | 6.3
1953-06-01 | 6.4
1953-09-01 | 6.5
1953-12-01 | 6.4
1954-03-01 | 6.5
1954-06-01 | 6.5
1954-09-01 | 6.5
1954-12-01 | 6.5
1955-03-01 | 6.5
1955-06-01 | 6.6
1955-09-01 | 6.6
1955-12-01 | 6.7
1956-03-01 | 6.7
1956-06-01 | 7
1956-09-01 | 7.1
1956-12-01 | 7.1
1957-03-01 | 7.1
1957-06-01 | 7.2
1957-09-01 | 7.2
1957-12-01 | 7.2
1958-03-01 | 7.2
1958-06-01 | 7.2
1958-09-01 | 7.2
1958-12-01 | 7.3
1959-03-01 | 7.3
1959-06-01 | 7.3
1959-09-01 | 7.4
1959-12-01 | 7.5
1960-03-01 | 7.5
1960-06-01 | 7.6
1960-09-01 | 7.7
1960-12-01 | 7.8
1961-03-01 | 7.8
1961-06-01 | 7.9
1961-09-01 | 7.8
1961-12-01 | 7.8
1962-03-01 | 7.8
1962-06-01 | 7.8
1962-09-01 | 7.8
1962-12-01 | 7.8
1963-03-01 | 7.8
1963-06-01 | 7.8
1963-09-01 | 7.9
1963-12-01 | 7.9
1964-03-01 | 8
1964-06-01 | 8
1964-09-01 | 8.1
1964-12-01 | 8.2
1965-03-01 | 8.2
1965-06-01 | 8.3
1965-09-01 | 8.4
1965-12-01 | 8.5
1966-03-01 | 8.6
1966-06-01 | 8.6
1966-09-01 | 8.6
1966-12-01 | 8.7
1967-03-01 | 8.8
1967-06-01 | 8.9
1967-09-01 | 9
1967-12-01 | 9
1968-03-01 | 9.1
1968-06-01 | 9.1
1968-09-01 | 9.2
1968-12-01 | 9.2
1969-03-01 | 9.4
1969-06-01 | 9.4
1969-09-01 | 9.5
1969-12-01 | 9.5
1970-03-01 | 9.6
1970-06-01 | 9.7
1970-09-01 | 9.8
1970-12-01 | 10
1971-03-01 | 10.1
1971-06-01 | 10.2
1971-09-01 | 10.5
1971-12-01 | 10.7
1972-03-01 | 10.8
1972-06-01 | 10.9
1972-09-01 | 11.1
1972-12-01 | 11.2
1973-03-01 | 11.4
1973-06-01 | 11.8
1973-09-01 | 12.2
1973-12-01 | 12.6
1974-03-01 | 13
1974-06-01 | 13.5
1974-09-01 | 14.2
1974-12-01 | 14.7
1975-03-01 | 15.3
1975-06-01 | 15.8
1975-09-01 | 15.9
1975-12-01 | 16.8
1976-03-01 | 17.3
1976-06-01 | 17.7
1976-09-01 | 18.1
1976-12-01 | 19.2
1977-03-01 | 19.6
1977-06-01 | 20.1
1977-09-01 | 20.5
1977-12-01 | 21
1978-03-01 | 21.3
1978-06-01 | 21.7
1978-09-01 | 22.1
1978-12-01 | 22.6
1979-03-01 | 23
1979-06-01 | 23.6
1979-09-01 | 24.2
1979-12-01 | 24.9
1980-03-01 | 25.4
1980-06-01 | 26.2
1980-09-01 | 26.6
1980-12-01 | 27.2
1981-03-01 | 27.8
1981-06-01 | 28.4
1981-09-01 | 29
1981-12-01 | 30.2
1982-03-01 | 30.8
1982-06-01 | 31.5
1982-09-01 | 32.6
1982-12-01 | 33.6
1983-03-01 | 34.3
1983-06-01 | 35
1983-09-01 | 35.6
1983-12-01 | 36.5
1984-03-01 | 36.3
1984-06-01 | 36.4
1984-09-01 | 36.9
1984-12-01 | 37.4
1985-03-01 | 37.9
1985-06-01 | 38.8
1985-09-01 | 39.7
1985-12-01 | 40.5
1986-03-01 | 41.4
1986-06-01 | 42.1
1986-09-01 | 43.2
1986-12-01 | 44.4
1987-03-01 | 45.3
1987-06-01 | 46
1987-09-01 | 46.8
1987-12-01 | 47.6
1988-03-01 | 48.4
1988-06-01 | 49.3
1988-09-01 | 50.2
1988-12-01 | 51.2
1989-03-01 | 51.7
1989-06-01 | 53
1989-09-01 | 54.2
1989-12-01 | 55.2
1990-03-01 | 56.2
1990-06-01 | 57.1
1990-09-01 | 57.5
1990-12-01 | 59
1991-03-01 | 58.9
1991-06-01 | 59
1991-09-01 | 59.3
1991-12-01 | 59.9
1992-03-01 | 59.9
1992-06-01 | 59.7
1992-09-01 | 59.8
1992-12-01 | 60.1
1993-03-01 | 60.6
1993-06-01 | 60.8
1993-09-01 | 61.1
1993-12-01 | 61.2
1994-03-01 | 61.5
1994-06-01 | 61.9
1994-09-01 | 62.3
1994-12-01 | 62.8
1995-03-01 | 63.8
1995-06-01 | 64.7
1995-09-01 | 65.5
1995-12-01 | 66
1996-03-01 | 66.2
1996-06-01 | 66.7
1996-09-01 | 66.9
1996-12-01 | 67
1997-03-01 | 67.1
1997-06-01 | 66.9
1997-09-01 | 66.6
1997-12-01 | 66.8
1998-03-01 | 67
1998-06-01 | 67.4
1998-09-01 | 67.5
1998-12-01 | 67.8
1999-03-01 | 67.8
1999-06-01 | 68.1
1999-09-01 | 68.7
1999-12-01 | 69.1
2000-03-01 | 69.7
2000-06-01 | 70.2
2000-09-01 | 72.9
2000-12-01 | 73.1
2001-03-01 | 73.9
2001-06-01 | 74.5
2001-09-01 | 74.7
2001-12-01 | 75.4
2002-03-01 | 76.1
2002-06-01 | 76.6
2002-09-01 | 77.1
2002-12-01 | 77.6
2003-03-01 | 78.6
2003-06-01 | 78.6
2003-09-01 | 79.1
2003-12-01 | 79.5
2004-03-01 | 80.2
2004-06-01 | 80.6
2004-09-01 | 80.9
2004-12-01 | 81.5
2005-03-01 | 82.1
2005-06-01 | 82.6
2005-09-01 | 83.4
2005-12-01 | 83.8
2006-03-01 | 84.5
2006-06-01 | 85.9
2006-09-01 | 86.7
2006-12-01 | 86.6
2007-03-01 | 86.6
2007-06-01 | 87.7
2007-09-01 | 88.3
2007-12-01 | 89.1
2008-03-01 | 90.3
2008-06-01 | 91.6
2008-09-01 | 92.7
2008-12-01 | 92.4
2009-03-01 | 92.5
2009-06-01 | 92.9
2009-09-01 | 93.8
2009-12-01 | 94.3
2010-03-01 | 95.2
2010-06-01 | 95.8
2010-09-01 | 96.5
2010-12-01 | 96.9
2011-03-01 | 98.3
2011-06-01 | 99.2
2011-09-01 | 99.8
2011-12-01 | 99.8
2012-03-01 | 99.9
2012-06-01 | 100.4
2012-09-01 | 101.8
2012-12-01 | 102
2013-03-01 | 102.4
2013-06-01 | 102.8
2013-09-01 | 104
2013-12-01 | 104.8
2014-03-01 | 105.4
Note on B1: Unless otherwise specified, reference period of each index: 2011–12 = 100.0.
Note on A6: Refers to series collected at quarterly and lesser frequencies only. Indicates which month in the collection period the data refers to.

## Physical data
DNSP
Route line length |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2009-13 average
ActewAGL | km | 3810.181 | 3809.554 | 3835.902 | 3868.932 | 3906.538 | 3955.876 | 4015.212 | 4086.776 | 3966.6668
Ausgrid | km | 34573.595 | 34930.4402 | 35177.8062 | 35468.3062 | 35718.5755 | 36202.723 | 36609.593 | 36951.606 | 36190.1607
CitiPower | km | 2845.6755 | 2932.7605 | 2899.042 | 2921.4818 | 2940.3416 | 3068.8208 | 3082.5603 | 3112.9464 | 3025.2302
Endeavour Energy | km | 24877.5981 | 25184.4259 | 25542.6474 | 25757.4268 | 25939.9894 | 26212.299 | 26516.0586 | 26869.6776 | 26259.0903
Energex | km | 37863 | 38739 | 39599 | 40484 | 41131 | 41689 | 42178 | 42587 | 41613.8
Ergon Energy | km | 137464.938 | 139118.037 | 139627.552 | 140872.028 | 141675.837 | 141326.281 | 142404.592 | 141446.783 | 141545.1042
Essential Energy | km | 189519.3001 | 179841.5427 | 176400.0058 | 178225.5571 | 180726.3879 | 180344 | 180416 | 180741 | 180090.589
Jemena | km | 4061.8365 | 4096.2417 | 4163.0765 | 4202.6756 | 4232.072 | 4279.6911 | 4319.8792 | 4340.3852 | 4274.9406
Powercor | km | 64783.8225 | 65013.4158 | 65186.3093 | 65985.5448 | 66521.5467 | 66216.546 | 66542.324 | 66836.1382 | 66420.42
SA Power Networks | km | 81040.9144 | 80991.5444 | 80942.1744 | 81117.5626 | 81331.4457 | 81037.6445 | 81131.2895 | 81137 | 81150.9885
AusNet Services | km | 32483.34 | 32740.67 | 32955.85 | 33425.95 | 33627.22 | 33819.12 | 34201.19 | 34294.937 | 33873.6834
TasNetworks | km | 20700.2442 | 20700.2442 | 20700.2442 | 20803.8673 | 21052.0082 | 21393.1332 | 21578.7638 | 21689.6602 | 21303.4866
United Energy | km | 9697.8925 | 9776.6793 | 9872.8323 | 9849.2179 | 9946.8881 | 10032.5442 | 10109.7139 | 10137.8 | 10015.2328
Customer numbers |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2009-13 average
ActewAGL | Number | 154510 | 156360 | 158455 | 161092 | 164900 | 168937 | 173186 | 177255 | 169074
Ausgrid | Number | 1546194.5 | 1561614 | 1574318 | 1586138 | 1596897.5 | 1608734.5 | 1621658.5 | 1635052.5 | 1609696.2
CitiPower | Number | 294971.6582 | 299951.2942 | 303151.804 | 305984.9843 | 310174.9627 | 314439.6181 | 318643.22 | 322735.8158 | 314395.7202
Endeavour Energy | Number | 849548.2933 | 859722.3053 | 869654.5368 | 878612.2078 | 886064.2927 | 895088.2698 | 903746.6884 | 919384.8239 | 896579.2565
Energex | Number | 1212063.5624 | 1236100.9767 | 1263762.9433 | 1287435.6833 | 1307554.3333 | 1326563.5 | 1343864.5 | 1359711.5 | 1325025.9033
Ergon Energy | Number | 624130 | 635123 | 647729 | 663216 | 676960 | 688959 | 699264 | 710431 | 687766
Essential Energy | Number | 799028 | 805190 | 814865 | 821578 | 825215 | 834416 | 838385 | 844244 | 832767.6
Jemena | Number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 313362 | 317050 | 318830 | 312816.6
Powercor | Number | 663966.3573 | 675821.5901 | 688356.4319 | 701004.5418 | 715219.6966 | 731281.5271 | 743561.5155 | 753913.4168 | 728996.1396
SA Power Networks | Number | 778839 | 779426 | 781110 | 814467 | 826964 | 836055 | 844153 | 847766 | 833881
AusNet Services | Number | 605408 | 616585.5 | 627552.5 | 638613.5 | 645694.5 | 654641 | 668703 | 681299 | 657790.2
TasNetworks | Number | 250642.5242 | 255484.3855 | 260424.2595 | 265464.1302 | 270606.022 | 275852 | 278392 | 279868 | 274036.4305
United Energy | Number | 612728 | 618250 | 624094 | 628120 | 633823 | 641129.7742 | 647892 | 656516 | 641496.1548
Energy delivered |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2009-13 average
ActewAGL | MWH | 2758259.9928 | 2820838.4252 | 2847302.6528 | 2872918.971 | 2896443.011 | 2909890.738 | 2891139.634 | 2903924.452 | 2894863.3612
Ausgrid | MWH | 30120253.3311 | 30441837.2831 | 30555278.4576 | 30707253.7646 | 30533414.6552 | 30569629.0076 | 29344733.9294 | 26338085.9089 | 29498623.4531
CitiPower | MWH | 5974992.6469 | 6079298.2329 | 6099596.84 | 6096471.959 | 6209711.0591 | 6105050.5742 | 6085130.123 | 5981354.9492 | 6095543.7329
Endeavour Energy | MWH | 17196000 | 17482559.3689 | 18111697 | 17425962 | 17410773 | 17501186.2782 | 16505800.2016 | 16000807.4281 | 16968905.7816
Energex | MWH | 20618000 | 20707000 | 21155000 | 21994000 | 22193000 | 21454000 | 21210000 | 21055000 | 21581200
Ergon Energy | MWH | 13486171 | 13576440 | 13813451 | 14130074 | 14256528 | 13227153 | 13691726 | 13495528 | 13760201.8
Essential Energy | MWH | 11964840 | 11974120 | 12036900 | 12121430.283 | 12103520 | 11943293 | 11853304.7575 | 12291140.5781 | 12062537.7237
Jemena | MWH | 4278000 | 4379000 | 4490000 | 4376000 | 4450000 | 4415000 | 4365000 | 4254000 | 4372000
Powercor | MWH | 10147799.5906 | 10299201.2442 | 10510327.4171 | 10490717.1276 | 10678105.9554 | 10470676.5866 | 10743806.137 | 10555881.3122 | 10587837.4238
SA Power Networks | MWH | 10954500 | 11258600 | 11344300 | 11266700 | 11503500 | 11258900 | 11018600 | 11008100 | 11211160
AusNet Services | MWH | 7397903 | 7499952 | 7885814 | 7750028 | 7909096 | 7629531 | 7594743 | 7501000 | 7676879.6
TasNetworks | MWH | 4448672.0437 | 4417073.6413 | 4441049.623 | 4586050.3101 | 4545226.7017 | 4444815.7984 | 4317994.3187 | 4247662.0064 | 4428349.8271
United Energy | MWH | 7915340 | 7972746.5784 | 7895859.6747 | 8013413.5844 | 8163283.2634 | 8022526.8352 | 8120628.8165 | 7856271.2131 | 8035224.7425
Maximum demand |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2009-13 average
ActewAGL | MW | 630.12 | 610.68 | 625.128 | 615.168 | 617.76 | 620.81 | 701.692 | 697.803 | 650.6466
Ausgrid | MW | 6109.7636 | 6019.4088 | 6280.2569 | 6372.643 | 6305.1047 | 6555.2657 | 5958.1554 | 6004.7919 | 6239.1921
CitiPower | MW | 1311.96 | 1348.64 | 1410.96 | 1448.8 | 1389.2 | 1432.5 | 1358.8 | 1447.9 | 1415.44
Endeavour Energy | MW | 3779.0287 | 3704.4117 | 3690.1265 | 4004.2594 | 3928.5644 | 4162.0593 | 3377.3132 | 3825.009 | 3859.4411
Energex | MW | 4225.3854 | 4618 | 4796.7614 | 5027.5095 | 5297.7098 | 5048.7679 | 4633.7388 | 4685.8868 | 4938.7226
Ergon Energy | MW | 2804.212 | 2851.599 | 3078.596 | 3040.864 | 3238.046 | 3057.365 | 3212.589 | 3149.488 | 3139.6704
Essential Energy | MW | 2473.7941 | 2586.2496 | 2558.212 | 2589.0928 | 2589.9728 | 2541.7861 | 2462.9662 | 2562.8679 | 2549.3371
Jemena | MW | 836.985 | 901.7254 | 958.3443 | 1019.6651 | 993.456 | 1017.0411 | 892.4493 | 977 | 979.9223
Powercor | MW | 2069.7 | 2183.549 | 2313.63 | 2516.69 | 2446.64 | 2383.48 | 2267.03 | 2413.48 | 2405.464
SA Power Networks | MW | 2765.2887 | 2746.0278 | 2959.9079 | 3192.792 | 3096.2725 | 3096.3392 | 2768.2162 | 2902.2357 | 3011.1711
AusNet Services | MW | 1616.768 | 1689.197 | 1801.394 | 1952.364 | 1966.111 | 1728.18 | 1785.981 | 1908.362 | 1868.1996
TasNetworks | MW | 1063 | 1148 | 1154 | 1134 | 1111 | 1082 | 1042 | 1022 | 1078.2
United Energy | MW | 1724.02 | 1819.6448 | 1949.34 | 2136.7422 | 2038.7711 | 1975.2444 | 1814.8485 | 2037.0437 | 2000.53
Network capacity |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2009-13 average
ActewAGL | Mva | 1690.7 | 1760.7 | 1819.7 | 1890.7 | 1945.7 | 1979.7 | 2001.7 | 2081.1 | 1979.78
Ausgrid | Mva | 14313.5973 | 14983.6975 | 15450.8857 | 15789.5748 | 16221.4295 | 16208.5503 | 16576.5219 | 16565.1066 | 16272.2366
CitiPower | Mva | 3599.41 | 3644.6652 | 3891.01 | 3967.8889 | 4047.99 | 4088.39 | 4142.01 | 4250.71 | 4099.3978
Endeavour Energy | Mva | 7469.9482 | 7793.1437 | 8131.8272 | 8381.4807 | 8610.6563 | 8868.5508 | 9084.3033 | 9299.0308 | 8848.8044
Energex | Mva | 11494 | 12305 | 13120 | 14056 | 14664.5 | 15115 | 15550 | 15837.9 | 15044.68
Ergon Energy | Mva | 7766.85 | 7953.149 | 8260.285 | 8488.055 | 8710.89 | 8738.204 | 8964.009 | 9340.079 | 8848.2474
Essential Energy | Mva | 8211.043 | 8676.442 | 9125.6545 | 9514.876 | 9918.304 | 10316.6855 | 10674.056 | 11151.913 | 10315.1669
Jemena | Mva | 1997.7426 | 2044.8407 | 2218.7506 | 2327.3675 | 2288.2424 | 2567.1729 | 2580.7886 | 2658.1013 | 2484.3345
Powercor | Mva | 5639.273 | 5816.3037 | 6058.632 | 6332.645 | 6536.614 | 6639.374 | 6791.672 | 6992.427 | 6658.5464
SA Power Networks | Mva | 7197.8 | 7612.9 | 7878.8 | 8100.6 | 8434.8 | 8800.8 | 9088.6 | 9264.3 | 8737.82
AusNet Services | Mva | 4695.306 | 5081.194 | 5225.002 | 5820.539 | 5710.876 | 5899.411 | 6050.788 | 6209.202 | 5938.1632
TasNetworks | Mva | 1331.666 | 2292.051 | 2745.819 | 3314.581 | 3370.577 | 3425.144 | 3571.844 | 3596.237 | 3455.6766
United Energy | Mva | 3686.848 | 3784.6771 | 3909.5011 | 4206.0726 | 4401.7518 | 4464.9516 | 4763.4828 | 4900.5441 | 4547.3606

## Network characteristics charts
Distribution customers | Route line length | SAIDI | SAIFI
Customer density | Maximum demand per customer | Energy delivered per customer

## Reliability
SAIDI | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
ActewAGL | 49.8 | 44.5 | 25.6 | 33.01 | 29.1 | 47.7 | 32.5 | 47.8
Ausgrid | 106.4 | 383.1 | 115.6 | 115.8 | 87.53 | 106.5 | 86.79 | 79.51
CitiPower | 26.9827 | 35.7857 | 44.6755 | 32.5805 | 44.4512 | 33.0779 | 37.2343 | 85.3546
Endeavour Energy | 99.3 | 241.1 | 133 | 110.5 | 79.4 | 140.4 | 166.4 | 115.8
Energex | 208.6169 | 109.3452 | 107.9696 | 215.6279 | 107.4985 | 530.2095 | 67.7116 | 537.8
Ergon Energy | 1432.025 | 303.997 | 420.513 | 395.514 | 699.162 | 2066.681 | 328.571 | 507.188
Essential Energy | 352.2611 | 260.2273 | 251.9851 | 342.3155 | 232.4824 | 255.3 | 270.5278 | 367.1513
Jemena | 91.0926 | 77.9937 | 118.0347 | 90.3112 | 62.3468 | 64.5597 | 50.2419 | 66.6624
Powercor | 171.5017 | 154.2553 | 132.6682 | 216.7161 | 197.612 | 207.4648 | 129.5445 | 166.8188
SA Power Networks | 200 | 197.1 | 136.4 | 163.9 | 199.4 | 310.8 | 158.9 | 201.3
AusNet Services | 218.085 | 238.643 | 300.085 | 357.934 | 178.788 | 171.433 | 239.652 | 195.7012
TasNetworks | 157 | 219 | 257 | 312 | 455 | 182 | 160 | 179
United Energy | 60.5197 | 74.2912 | 294.9249 | 91.6287 | 80.2959 | 60.9745 | 90.9294 | 100.47
SAIDI exclusive of MEDs excluding excluded outages
ActewAGL | 35 | 44.3 | 25.6 | 29.9 | 25.8 | 47.7 | 32.5 | 28.7
Ausgrid | 86.99 | 85.5 | 97.03 | 106.5 | 78.94 | 89.33 | 79.27 | 67.62
CitiPower | 24.7256 | 21.9062 | 16.6011 | 29.6187 | 30.0212 | 22.7105 | 29.1451 | 26.9238
Endeavour Energy | 99.3 | 96 | 101.7 | 96.3 | 79.4 | 76.9 | 93.3 | 104.3
Energex | 128.2224 | 88.2209 | 100.3451 | 90.7891 | 87.6753 | 78.7787 | 64.1719 | 67.3031
Ergon Energy | 380.488 | 264.065 | 316.668 | 352.064 | 352.245 | 324.963 | 295.802 | 264.105
Essential Energy | 297 | 222.3 | 218.4 | 261 | 196.5 | 222.5 | 237.5 | 232.5
Jemena | 69.0214 | 67.8112 | 62.8783 | 71.2796 | 62.3468 | 55.2387 | 50.2419 | 59.7917
Powercor | 121.1557 | 140.6076 | 118.9066 | 170.2682 | 149.949 | 125.1157 | 129.5445 | 139.1516
SA Power Networks | 156.4 | 180.2 | 129.6 | 136.4 | 180.6 | 161.7 | 130.1 | 143.3
AusNet Services | 189.545 | 177.201 | 132.11 | 178.128 | 129.865 | 145.469 | 125.602 | 133.1232
TasNetworks | 132 | 173 | 175 | 201 | 205 | 139 | 160 | 137
United Energy | 50.5497 | 60.6512 | 62.6449 | 61.4907 | 56.7159 | 60.9745 | 78.6511 | 73.56
SAIFI
ActewAGL | 0.76 | 0.8 | 0.56 | 0.62 | 0.66 | 0.8 | 0.63 | 0.74
Ausgrid | 1.271 | 1.486 | 1.286 | 1.376 | 1.128 | 1.136 | 0.9184 | 0.7943
CitiPower | 0.54751 | 0.56233 | 0.53098 | 0.58734 | 0.6227 | 0.51127 | 0.65115 | 0.66811
Endeavour Energy | 1.212 | 1.573 | 1.381 | 1.158 | 0.973 | 1 | 1.124 | 1.255
Energex | 2.1953 | 1.3466 | 1.4563 | 1.6311 | 1.4881 | 1.4324 | 0.86563 | 1.3699
Ergon Energy | 4.544 | 2.952 | 3.508 | 3.703 | 3.467 | 3.391 | 2.832 | 2.76
Essential Energy | 2.8947 | 2.4644 | 2.3806 | 2.5764 | 2.1081 | 1.946 | 2.203 | 2.0373
Jemena | 1.3716 | 1.4914 | 1.2734 | 1.2967 | 0.93638 | 0.97046 | 0.92304 | 1.1759
Powercor | 2.1933 | 1.8461 | 1.6143 | 2.1009 | 1.9217 | 1.593 | 1.373 | 1.5758
SA Power Networks | 1.915 | 1.82 | 1.405 | 1.532 | 1.737 | 2.049 | 1.404 | 1.573
AusNet Services | 2.704 | 2.687 | 2.303 | 2.797 | 2.095 | 2.01 | 1.994 | 2.2737
TasNetworks | 2.18 | 2.01 | 2.09 | 2.16 | 2.33 | 1.59 | 1.73 | 1.57
United Energy | 0.99159 | 1.138 | 1.3756 | 1.3723 | 1.0541 | 0.95967 | 1.1791 | 1.2329
SAIFI exclusive of MEDs excluding excluded outages
ActewAGL | 0.71 | 0.64 | 0.56 | 0.59 | 0.62 | 0.8 | 0.63 | 0.59
Ausgrid | 1.155 | 1.043 | 1.151 | 1.301 | 1.06 | 1.032 | 0.8831 | 0.7325
CitiPower | 0.53117 | 0.4683 | 0.30724 | 0.54599 | 0.43567 | 0.40298 | 0.46895 | 0.39453
Endeavour Energy | 1.212 | 1.22 | 1.232 | 1.102 | 0.973 | 0.898 | 1.013 | 1.216
Energex | 1.7163 | 1.2549 | 1.3765 | 1.2972 | 1.3827 | 1.1003 | 0.84749 | 0.88238
Ergon Energy | 3.946 | 2.749 | 2.939 | 3.423 | 3.273 | 2.831 | 2.71 | 2.422
Essential Energy | 2.637 | 2.299 | 2.255 | 2.337 | 1.996 | 1.866 | 2.121 | 1.847
Jemena | 1.1894 | 1.3186 | 1.0038 | 1.1724 | 0.93638 | 0.90285 | 0.92304 | 1.1121
Powercor | 1.8944 | 1.7332 | 1.4981 | 1.8117 | 1.7668 | 1.3512 | 1.373 | 1.4364
SA Power Networks | 1.663 | 1.736 | 1.353 | 1.374 | 1.649 | 1.546 | 1.308 | 1.326
AusNet Services | 2.491 | 2.327 | 1.956 | 2.184 | 1.91 | 1.941 | 1.655 | 1.8993
TasNetworks | 2.04 | 1.77 | 1.77 | 1.72 | 1.84 | 1.45 | 1.73 | 1.46
United Energy | 0.92049 | 1.0669 | 1.3045 | 1.3012 | 0.98301 | 0.95967 | 1.0918 | 1.01
CAIDI
ActewAGL | 65.5263 | 55.625 | 45.7143 | 53.2419 | 44.0909 | 59.625 | 51.5873 | 64.5946
Ausgrid | 83.7136 | 257.8062 | 89.8911 | 84.157 | 77.5975 | 93.75 | 94.5013 | 100.1007
CitiPower | 49.2823 | 63.6384 | 84.1385 | 55.4715 | 71.3848 | 64.6977 | 57.1821 | 127.7544
Endeavour Energy | 81.9307 | 153.274 | 96.307 | 95.4231 | 81.6033 | 140.4 | 148.0427 | 92.2709
Energex | 95.0296 | 81.2002 | 74.1385 | 132.1984 | 72.2393 | 370.1623 | 78.2224 | 392.5942
Ergon Energy | 315.1463 | 102.98 | 119.8726 | 106.8091 | 201.662 | 609.4606 | 116.0208 | 183.7638
Essential Energy | 121.6916 | 105.5956 | 105.8474 | 132.8646 | 110.2798 | 131.1922 | 122.7997 | 180.2126
Jemena | 66.4149 | 52.2955 | 92.695 | 69.6485 | 66.5829 | 66.5249 | 54.4311 | 56.6892
Powercor | 78.193 | 83.5561 | 82.181 | 103.1538 | 102.8304 | 130.2315 | 94.3497 | 105.8655
SA Power Networks | 104.4386 | 108.2967 | 97.0819 | 106.9843 | 114.7956 | 151.6837 | 113.1766 | 127.972
AusNet Services | 80.6527 | 88.8139 | 130.3018 | 127.9707 | 85.3403 | 85.29 | 120.1866 | 86.0715
TasNetworks | 72.0183 | 108.9552 | 122.9665 | 144.4444 | 195.279 | 114.4654 | 92.4855 | 114.0127
United Energy | 61.0327 | 65.2844 | 214.3914 | 66.7688 | 76.1733 | 63.5369 | 77.1179 | 81.4908
CAIDI exclusive of MEDs excluding excluded outages
ActewAGL | 49.2958 | 69.2188 | 45.7143 | 50.678 | 41.6129 | 59.625 | 51.5873 | 48.6441
Ausgrid | 75.316 | 81.9751 | 84.3006 | 81.8601 | 74.4717 | 86.5601 | 89.7633 | 92.314
CitiPower | 46.5493 | 46.7781 | 54.0335 | 54.2478 | 68.9087 | 56.357 | 62.1501 | 68.2432
Endeavour Energy | 81.9307 | 78.6885 | 82.5487 | 87.3866 | 81.6033 | 85.6347 | 92.1027 | 85.773
Energex | 74.7101 | 70.2995 | 72.8978 | 69.9891 | 63.4075 | 71.5962 | 75.7204 | 76.2742
Ergon Energy | 96.4237 | 96.0586 | 107.7469 | 102.8525 | 107.6214 | 114.7874 | 109.152 | 109.0442
Essential Energy | 112.628 | 96.6942 | 96.8514 | 111.6816 | 98.4469 | 119.239 | 111.9755 | 125.8798
Jemena | 58.0308 | 51.4275 | 62.6374 | 60.7954 | 66.5829 | 61.1823 | 54.4311 | 53.7661
Powercor | 63.955 | 81.1269 | 79.371 | 93.9833 | 84.8683 | 92.594 | 94.3497 | 96.8764
SA Power Networks | 94.0469 | 103.8018 | 95.7871 | 99.2722 | 109.5209 | 104.5925 | 99.4648 | 108.0694
AusNet Services | 76.0919 | 76.15 | 67.5409 | 81.5604 | 67.9921 | 74.9454 | 75.8924 | 70.0902
TasNetworks | 64.7059 | 97.7401 | 98.8701 | 116.8605 | 111.413 | 95.8621 | 92.4855 | 93.8356
United Energy | 54.9163 | 56.8505 | 48.021 | 47.2562 | 57.696 | 63.5369 | 72.0377 | 72.8317

## Network size table
Distribution outputs
| Customer numbers | Route line length | Customer density
| Number | km | Customer numbers/ route line length
ActewAGL | 177255 | 4086.776 | 43.3728
Ausgrid | 1635052.5 | 36951.606 | 44.2485
CitiPower | 322735.8158 | 3112.9464 | 103.6754
Endeavour Energy | 919384.8239 | 26869.6776 | 34.2164
Energex | 1359711.5 | 42587 | 31.9279
Ergon Energy | 710431 | 141446.783 | 5.0226
Essential Energy | 844244 | 180741 | 4.671
Jemena | 318830 | 4340.3852 | 73.4566
Powercor | 753913.4168 | 66836.1382 | 11.28
SA Power Networks | 847766 | 81137 | 10.4486
AusNet Services | 681299 | 34294.937 | 19.8659
TasNetworks | 279868 | 21689.6602 | 12.9033
United Energy | 656516 | 10137.8 | 64.7592
Distribution inputs
| Opex | Capex | RAB | Depreciation | Asset cost
ActewAGL | 66324.8407 | 67368.7153 | 721955.4074 | 36788.6433 | 80768.3108
Ausgrid | 541380.5594 | 1443711.5323 | 10847068.7926 | 371729.4253 | 1032504.9706
CitiPower | 49711.0013 | 109820.0528 | 1149808.8309 | 59577.5439 | 129620.942
Endeavour Energy | 241332.0028 | 566195.5559 | 4508391.3468 | 233695.7764 | 508335.3871
Energex | 345186.764 | 825514.6633 | 6900275.5116 | 299924.4851 | 720271.5301
Ergon Energy | 355504.5482 | 636739.833 | 6387622.6233 | 286577.9614 | 675695.5104
Essential Energy | 384875.3865 | 749426.486 | 5430219.1899 | 278806.1126 | 609601.1057
Jemena | 65117.5469 | 101912.1851 | 740762.3736 | 43280.755 | 88406.0945
Powercor | 161582.0646 | 215783.6859 | 2044971.6247 | 105872.5564 | 230446.9706
SA Power Networks | 195737.335 | 249714.538 | 3107235.6384 | 188740.5535 | 378025.3605
AusNet Services | 162593.6846 | 301535.9462 | 2327552.3726 | 115508.844 | 257297.3509
TasNetworks | 79180.355 | 123202.1905 | 1280601.7551 | 63915.0603 | 141926.0271
United Energy | 116999.0607 | 163413.2311 | 1496858.4177 | 84530.0997 | 175714.8664

## Circuit lines
Overhead lines
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 09-13 average |  | Overhead | Underground
ActewAGL | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | 2421.0667 | ActewAGL | 2421.0667 | 2249.747
Ausgrid | 26108.8 | 25884.5 | 25986.1 | 25934 | 25966.7 | 26138.7 | 26084.7 | 26071.9 | 26039.2 | Ausgrid | 26039.2 | 14174.7607
CitiPower | 2260.8737 | 2292.184 | 2193.0273 | 2192 | 2185.2935 | 2223 | 2230 | 2233 | 2212.6587 | CitiPower | 2212.6587 | 1979.9242
Endeavour Energy | 23387 | 23409 | 23440 | 23443 | 23431 | 23411 | 23417 | 23412 | 23422.8 | Endeavour Energy | 23422.8 | 10810.2
Energex | 34457 | 34623 | 34659 | 34731 | 34780 | 34900 | 34992 | 35033 | 34887.2 | Energex | 34887.2 | 15800.4
Ergon Energy | 151615.862 | 152936.942 | 152635.677 | 152695.422 | 152969.216 | 152659.837 | 153324.306 | 151930.478 | 152715.8518 | Ergon Energy | 152715.8518 | 7296.8732
Essential Energy | 194385 | 183413 | 179875 | 181761 | 182431 | 183526 | 183454 | 183500 | 182934.4 | Essential Energy | 182934.4 | 6846
Jemena | 4417.8422 | 4425.5258 | 4452.4119 | 4463.4639 | 4463.8128 | 4475.9595 | 4472.4291 | 4455.565 | 4466.2461 | Jemena | 4466.2461 | 1569.0699
Powercor | 68353.0628 | 68418 | 68579 | 68354.5241 | 68369.8458 | 68445 | 68767 | 68824 | 68552.074 | Powercor | 68552.074 | 4859.2736
SA Power Networks | 71068.558 | 71025.2632 | 70981.9684 | 71135.7745 | 71323.3385 | 71065.6905 | 71147.8122 | 71152.82 | 71165.0871 | SA Power Networks | 71165.0871 | 16146.2963
AusNet Services | 37642.312 | 37724.492 | 37820.121 | 38099.015 | 38175.801 | 38144.855 | 38379.736 | 38319.655 | 38223.8124 | AusNet Services | 38223.8124 | 5059.8344
TasNetworks | 19307.6 | 19307.6 | 19307.6 | 19337.2 | 19536.5 | 19752.2 | 19882.8 | 19962.2 | 19694.18 | TasNetworks | 19694.18 | 2202.74
United Energy | 10108 | 10157.8 | 10196.7 | 10113.2 | 10147.6 | 10130 | 10185.7 | 10143.9 | 10144.08 | United Energy | 10144.08 | 2567.84
Underground lines
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 09-13 average
ActewAGL | 2249.747 | 2249.747 | 2249.747 | 2249.747 | 2249.747 | 2249.747 | 2249.747 | 2249.747 | 2249.747
Ausgrid | 12633.595 | 12990.4402 | 13237.8062 | 13528.3062 | 13778.5755 | 14133.723 | 14541.593 | 14891.606 | 14174.7607
CitiPower | 1667.2912 | 1759.4766 | 1818.3621 | 1852 | 1886.6209 | 2032 | 2044 | 2085 | 1979.9242
Endeavour Energy | 9045 | 9423 | 9859 | 10136 | 10386 | 10761 | 11151 | 11617 | 10810.2
Energex | 12201 | 13022 | 13827 | 14696 | 15337 | 15871 | 16350 | 16748 | 15800.4
Ergon Energy | 3957.51 | 4482.446 | 5292.877 | 6346.016 | 6894.804 | 7339.335 | 7724.886 | 8179.325 | 7296.8732
Essential Energy | 5166 | 6039 | 5954 | 5989 | 6203 | 7066 | 7365 | 7607 | 6846
Jemena | 1300.8904 | 1344.3303 | 1415.6763 | 1463.2662 | 1507.1592 | 1565.6345 | 1630.01 | 1679.2798 | 1569.0699
Powercor | 3323.7991 | 3512.5 | 3541.5 | 4584.7061 | 5128.662 | 4688 | 4830 | 5065 | 4859.2736
SA Power Networks | 13761.8477 | 14300.8574 | 14839.8672 | 15488.9436 | 15885.2124 | 16127.9909 | 16499.8848 | 16729.45 | 16146.2963
AusNet Services | 3864.76 | 4111.401 | 4290.722 | 4612.516 | 4792.914 | 5069.076 | 5322.394 | 5502.272 | 5059.8344
TasNetworks | 1902.3 | 1902.5 | 1902.5 | 1930.6 | 2095.2 | 2274.9 | 2339.3 | 2373.7 | 2202.74
United Energy | 2276 | 2318.4 | 2386.1 | 2424.3 | 2496.8 | 2595.4 | 2631.9 | 2690.8 | 2567.84