## Cover
Economic benchmarking data template
DNSP – trading name: | Energex
DNSP – Australian business number: |  | 40 078 849 055
Business address |  | Address | 26 Reddacliff St
|  | Suburb | Newstead
|  | State | Qld | Postcode | 4006
Postal address (if different to business address) |  | Address
Suburb
|  | State |  | Postcode
Contact name/s | Nicola Roscoe
Contact phone/s | 07 3664 5891
Contact email address/s | nicolaroscoe@energex.com.au

## 1. Contents
Contents
3. Opex
5. Operational data
2. Revenue
4. Assets (RAB)
7. Quality of services
6. Physical assets
1. Contents
8. Operating environment

## 2. Revenue
2. Revenue worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 2.1 Revenue grouping by chargeable quantity
DREV0101 | Revenue from Fixed Customer Charges | $'000 | 95245.4608 | 102477.1042 | 113247.3038 | 133745.4486 | 143161.462 | 154828.3748 | 186061.4462 | 203730.6824 |  | 0 | 0 | 1520.6448 | 1507.58 | 1807.679 | 2998.4212 | 3828.2632 | 3795.5
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | $'000 | 343714.3915 | 366205.8115 | 411697.9536 | 477465.0904 | 521649.8558 | 558174.3037 | 630313.4812 | 677462.9058 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | $'000 | 20688.9175 | 22052.2264 | 24416.8101 | 36631.1932 | 34942.3125 | 34976.5994 | 30882.2039 | 26983.9666 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2803 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | $'000 | 10428.0365 | 11108.8229 | 12468.1339 | 16671.8839 | 15829.4913 | 15368.1903 | 20318.7112 | 20488.0026 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0106 | Revenue from controlled load customer charges | $'000 | 28250.7466 | 30067.3589 | 33838.495 | 42835.0425 | 43113.4064 | 46802.5876 | 49716.9059 | 85263.0658 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0107 | Revenue from unmetered supplies | $'000 | 0 | 0 | 0 | 2833.327 | 2939.776 | 2842.724 | 3511.2117 | 6511.8191 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | $'000 | 15835.938 | 16937.06 | 17852.6216 | 18667.4022 | 20007.1993 | 23366.8046 | 30446.6362 | 34724.6482 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | $'000 | 93344.329 | 103552.177 | 109673.5429 | 131964.9321 | 157801.8748 | 185615.6436 | 222587.2535 | 299671.5714 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0110 | Revenue from metering charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2153.1752 | 731.42 | 526.321 | 730.456 | 1003.8482 | 1437.3
DREV0111 | Revenue from connection charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0112 | Revenue from public lighting charges | $'000 | 25207.117 | 29077.842 | 30822.138 | 49415.429 | 52912.793 | 7142.244 | 8382.8112 | 9431.4451 |  | 0 | 0 | 0 | 0 | 0 | 41691.3721 | 41720.3901 | 47377.9
DREV0113 | Revenue from other Sources | $'000 | 0 | 6012.5 | 325 | 325 | 325 | 325 | 325 | 162.5 |  | 0 | 0 | 19171 | 21456 | 20208 | 20520.0523 | 11639.0907 | 16843.2
DREV01 | Total revenue by chargeable quantity | $'000 | 632714.9371 | 687490.903 | 754341.999 | 910554.749 | 992683.171 | 1029442.472 | 1182545.6609 | 1364438.8874 |  | 0 | 0 | 22844.82 | 23695 | 22542 | 65940.3016 | 58191.5922 | 69453.9
Table 2.2 Revenue grouping by Customer type or class
DREV0201 | Revenue from residential Customers | $'000 | 354687.9977 | 377495.5574 | 424842.1542 | 484334.1078 | 534081.6234 | 574923.1051 | 644945.7085 | 746463.4463 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0202 | Revenue from non-residential customers not on demand tariffs | $'000 | 107176.8663 | 114068.6777 | 128375.5048 | 166550.2292 | 163362.9986 | 171747.8549 | 194783.4607 | 197215.8485 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0203 | Revenue from non-residential low voltage demand tariff customers | $'000 | 78842.5952 | 88901.3589 | 94435.5317 | 122407.141 | 144207.3882 | 170586.0534 | 212965.191 | 262572.9359 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0204 | Revenue from non-residential high voltage demand tariff customers | $'000 | 66800.3609 | 71934.9671 | 75541.6703 | 84689.5149 | 94853.5918 | 101875.4906 | 117632.2778 | 142080.8925 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0205 | Revenue from unmetered supplies | $'000 | 25207.117 | 29077.842 | 30822.138 | 52248.756 | 55852.569 | 9984.968 | 11894.0229 | 15943.2642 |  | 0 | 0 | 0 | 0 | 0 | 41691.3721 | 41720.3901 | 47377.9
DREV0206 | Revenue from Other Customers | $'000 | 0 | 6012.5 | 325 | 325 | 325 | 325 | 325 | 162.5 |  | 0 | 0 | 22844.82 | 23695 | 22542 | 24248.9295 | 16471.2021 | 22076
DREV02 | Total revenue by customer class | $'000 | 632714.9371 | 687490.903 | 754341.999 | 910554.749 | 992683.171 | 1029442.472 | 1182545.6609 | 1364438.8874 |  | 0 | 0 | 22844.82 | 23695 | 22542 | 65940.3016 | 58191.5922 | 69453.9
Table 2.3 Revenue (penalties) allowed (deducted) through incentive schemes
DREV0301 | EBSS | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0302 | STPIS | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0303 | Other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV03 | Total revenue of incentive schemes | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3. Opex
3. Opex worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.1 Opex categories
Table 3.1.1 Current opex categories and cost allocations
DOPEX0101 | Inspection | $'000 | 10831.7027 | 15786.868 | 16094.9704 | 18039.0084 | 18860.9476 | 18165.6756 | 46485.4375 | 14557.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0102 | Planned maintenance | $'000 | 29468.3627 | 59284.0824 | 60499.9021 | 54951.9563 | 60626.1093 | 53142.201 | 65014.4536 | 67706.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0103 | Corrective repair | $'000 | 24429.8011 | 27094.1431 | 36860.2266 | 36514.3151 | 36505.888 | 38484.9246 | 44102.5135 | 41890.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0104 | Vegetation | $'000 | 56127.814 | 56699.1862 | 56973.4037 | 60074.7996 | 65361.3901 | 73084.9042 | 76231.1183 | 74608.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0105 | Emergency response/storms | $'000 | 9866.4841 | 4147.9634 | 4906.6956 | 17884.3401 | 4730.9187 | 37363.1525 | 4704.5364 | 23810.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0106 | Other network maintenance costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10112.858 | 9404.188 | 10967.3139 | 12353.9417 | 11209.7436 | 13282.9162 | 13754.301 | 14061.2
DOPEX0107 | Network operating costs | $'000 | 11821.6963 | 14821.7888 | 16779.8066 | 19405.4033 | 20492.3416 | 27003.9668 | 26479.9042 | 25019.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0108 | Meter reading and network billing | $'000 | 13958.8481 | 13379.6147 | 16664.1823 | 14062.8124 | 14977.2573 | 15907.5596 | 17572.6207 | 17545 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0109 | Customer services (inc call centre) | $'000 | 11975.0665 | 11192.1644 | 13400.8744 | 14810.3157 | 14618.3603 | 17363.1026 | 19599.5126 | 17964.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0110 | DSM initiatives | $'000 | 1940.2169 | 3463.141 | 4445.397 | 9854.8932 | 8661.1614 | 12397.1559 | 18740.5086 | 16089.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0111 | Levies | $'000 | 5435.8 | 5757 | 6106 | 7761 | 8391 | 8307.4 | 8654.9 | 9118.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0112 | Debt raising costs | $'000 | 1426.6045 | 1887.7718 | 2423.4453 | 3136.1479 | 3395.5105 | 3436.8351 | 3806.2589 | 4481.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0113 | Other operating costs (inc self insurance) | $'000 | 26910.517 | 30715.553 | 32131.946 | 27989.673 | 38123.554 | 49144.7858 | 113262.3195 | 259234.7 |  | 18181.5045 | 31837.2849 | 21958.2732 | 29291.4027 | 30144.9575 | 37154.1468 | 27940.8975 | 22333.1
DOPEX01 | Total opex | $'000 | 204192.9138 | 244229.2767 | 267286.8501 | 284484.6651 | 294744.4387 | 353801.6638 | 444654.0836 | 572025.6 |  | 28294.3625 | 41241.4728 | 32925.5871 | 41645.3444 | 41354.7011 | 50437.063 | 41695.1985 | 36394.3
Table 3.1.2 Historical opex categories and cost allocations
DOPEX0101A | Inspection | $'000 | 0 | 0 | 0 | 0 | 0 | 18165.6756 | 46485.4375 | 14557.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0102A | Planned maintenance | $'000 | 0 | 0 | 0 | 0 | 0 | 53142.201 | 65014.4536 | 67706.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0103A | Corrective repair | $'000 | 0 | 0 | 0 | 0 | 0 | 38484.9246 | 44102.5135 | 41890.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0104A | Vegetation | $'000 | 0 | 0 | 0 | 0 | 0 | 73084.9042 | 76231.1183 | 74608.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0105A | Emergency response/storms | $'000 | 0 | 0 | 0 | 0 | 0 | 37363.1525 | 4704.5364 | 23810.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0106A | Other network maintenance costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 13282.9162 | 13754.301 | 14061.2
DOPEX0107A | Network operating costs | $'000 | 0 | 0 | 0 | 0 | 0 | 27003.9668 | 26479.9042 | 25019.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0108A | Meter reading and network billing | $'000 | 0 | 0 | 0 | 0 | 0 | 15907.5596 | 17572.6207 | 17545 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0109A | Customer services (inc call centre) | $'000 | 0 | 0 | 0 | 0 | 0 | 17363.1026 | 19599.5126 | 17964.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0110A | DSM initiatives | $'000 | 0 | 0 | 0 | 0 | 0 | 12397.1559 | 18740.5086 | 16089.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0111A | Levies | $'000 | 0 | 0 | 0 | 0 | 0 | 8307.4 | 8654.9 | 9118.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0112A | Debt raising costs | $'000 | 0 | 0 | 0 | 0 | 0 | 3436.8351 | 3806.2589 | 4481.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0113A | Other operating costs (inc self insurance) | $'000 | 0 | 0 | 0 | 0 | 0 | 49144.7858 | 113262.3195 | 259234.7 |  | 0 | 0 | 0 | 0 | 0 | 37154.1468 | 27940.8975 | 22333.1
DOPEX01A | Total opex | $'000 | 0 | 0 | 0 | 0 | 0 | 353801.6638 | 444654.0836 | 572025.6 |  | 0 | 0 | 0 | 0 | 0 | 50437.063 | 41695.1985 | 36394.3
DOPEX0101B | Inspection | $'000 | 13807.3597 | 17111.8818 | 17550.4018 | 20009.892 | 21015.2388 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0102B | Maintenance and Repair | $'000 | 47335.8415 | 91575.4646 | 103038.6175 | 97850.6502 | 104191.3553 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0103B | Emergency Response/Storms | $'000 | 11787.2435 | 4271.9118 | 5019.7031 | 19153.4294 | 4911.3714 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0104B | Vegetation | $'000 | 74132.3056 | 63513.838 | 64650.4267 | 68706.3963 | 75188.6496 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0105B | Streetlighting | $'000 | 13144.4596 | 10351.5587 | 12206.7414 | 13799.3029 | 12660.5586 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0106B | Customer Service | $'000 | 10701.4829 | 10403.3786 | 10194.3847 | 11798.9514 | 10141.1753 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0107B | Full Retail Contestability | $'000 | 1292.2496 | 3152.374 | 25460.7697 | 21895.1627 | 22802.6756 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0108B | Network Operations | $'000 | 14681.0742 | 17157.8017 | 18415.7062 | 20581.5072 | 21021.277 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0109B | Call Centre | $'000 | 6656.6598 | 5874.5503 | 3866.0337 | 4216.4093 | 4784.9931 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0110B | DSM Initiatives | $'000 | 2843.6484 | 4323.0451 | 5384.0732 | 11463.3474 | 16808.7947 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0111B | Levies | $'000 | 5435.8 | 5757 | 6106 | 7761 | 8391 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0112B | Metering Dynamics | $'000 | 1194.3941 | 1306.9834 | 1632.2994 | 1995.0554 | 2137.3316 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0113B | Meter Reading | $'000 | 12764.454 | 11985.6313 | 9806.4841 | 10466.694 | 11670.2463 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0114B | Non-DUOS Operating Costs | $'000 | 18288.8317 | 27674.233 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0115B | Excluded Distribution Services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 23989.6879 | 33104.687 | 38162.6656 | 0 | 0 | 0
DOPEX01B | Total opex | $'000 | 234065.8046 | 274459.6522 | 283331.6417 | 309697.7983 | 315724.6673 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2 Opex consistency
Table 3.2.1 Opex consistency - current cost allocation approach
DOPEX0201 | Opex for network services | $'000 | 189286.7865 | 229999.825 | 249220.281 | 269392.6544 | 278759.4613 | 337027.737 | 424858.6649 | 554977.9989
DOPEX0202 | Opex for metering | $'000 | 14906.1273 | 14229.4517 | 18066.569 | 15092.0107 | 15984.9773 | 16773.9268 | 19795.4187 | 17047.6011 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0203 | Opex for connection services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0204 | Opex for public lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10112.858 | 9404.188 | 10967.3139 | 12353.9417 | 11209.7436 | 13282.9162 | 13754.301 | 14061.2
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.2 Opex consistency - historical cost allocation approaches
DOPEX0201A | Opex for network services | $'000 | 206015.2176 | 249878.6418 | 253058.3312 | 280806.4847 | 287079.1314 | 337027.737 | 424858.6649 | 554977.9989
DOPEX0202A | Opex for metering | $'000 | 14906.1273 | 14229.4517 | 18066.569 | 15092.0107 | 15984.9773 | 16773.9268 | 19795.4187 | 17047.601 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0203A | Opex for connection services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0204A | Opex for public lighting | $'000 | 13144.4596 | 10351.5587 | 12206.7414 | 13799.3029 | 12660.5586 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 13282.9162 | 13754.301 | 14061.2
DOPEX0205A | Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0206A | Opex for transmission connection point planning | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.3 Provisions
For each provision report:
Provision for Dividends
Opex component
DOPEX0301 | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 144963.3209 | 181923.9396 | 221648.9331
DOPEX0302 | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 181923.9396 | 223929.4588 | 295034.758
DOPEX0303 | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -143545.6302 | -184204.4654 | -221695.1104
DOPEX0304 | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -1417.6907 | 0 | -6385.4805
DOPEX0305 | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306 | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 181923.9396 | 221648.9331 | 288603.1001
Capex component
DOPEX0307 | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308 | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309 | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310 | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311 | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312 | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provision for Site Restoration - Toowoomba
Opex component
DOPEX0301A | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5667.4935
DOPEX0302A | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5817.2507 | 0
DOPEX0303A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | -148.0695 | -3103.3286
DOPEX0304A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1586
DOPEX0305A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306A | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5669.1813 | 2565.3235
Capex component
DOPEX0307A | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14948.0363
DOPEX0308A | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 15336.722 | 0
DOPEX0309A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | -390.3735 | -8185.015
DOPEX0310A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0557
DOPEX0311A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312A | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 14946.3486 | 6766.077
Provision for Site Restoration - Other
Opex component
DOPEX0301B | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 255.263 | 80.0492 | 0
DOPEX0302B | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0035 | 409.139
DOPEX0303B | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -171.6204 | -40.4666 | 0
DOPEX0304B | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -2.4964 | -40.5861 | 0
DOPEX0305B | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306B | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 81.1462 | -1.4211e-14 | 409.139
Capex component
DOPEX0307B | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 660.4321 | 211.0434 | 0
DOPEX0308B | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6456 | 1078.9608
DOPEX0309B | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -444.0269 | -106.6869 | 0
DOPEX0310B | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -6.4588 | -107.002 | 0
DOPEX0311B | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312B | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 209.9464 | -1.4211e-14 | 1078.9608
Provision for Public Liability Insurance
Opex component
DOPEX0301C | The carrying amount at the beginning of the period | $'000 | 689.513 | 900.6398 | 1111.6873 | 1309.4285 | 906.4471 | 836.0973 | 892.7414 | 860.1375
DOPEX0302C | Increases to the provision | $'000 | 644.0921 | 324.7025 | 279.5728 | 301.6197 | 161.6635 | 238.2405 | 251.9222 | 273.1597
DOPEX0303C | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -457.8382 | -78.7672 | -17.7799 | -350.2328 | -5.2373 | -118.5128 | -131.0461 | -261.9985
DOPEX0304C | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | -299.089 | 0 | -149.6983 | -153.2238 | -112.8662
DOPEX0305C | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306C | The carrying amount at the end of the period | $'000 | 875.7669 | 1146.575 | 1373.4802 | 961.7266 | 1062.8732 | 806.1268 | 860.3937 | 758.4325
Capex component
DOPEX0307C | The carrying amount at the beginning of the period | $'000 | 1075.5199 | 1341.1704 | 1742.2878 | 2216.6334 | 1683.3144 | 2163.2024 | 2353.6421 | 2268.6161
DOPEX0308C | Increases to the provision | $'000 | 1004.6713 | 483.5244 | 438.1594 | 510.5894 | 300.2166 | 616.3906 | 664.1731 | 720.4597
DOPEX0309C | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -714.1477 | -117.2947 | -27.8654 | -592.8828 | -9.7259 | -306.6235 | -345.4926 | -691.0221
DOPEX0310C | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | -506.3053 | 0 | -387.3086 | -403.9626 | -297.6849
DOPEX0311C | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312C | The carrying amount at the end of the period | $'000 | 1366.0435 | 1707.4 | 2152.5818 | 1628.0348 | 1973.805 | 2085.6608 | 2268.36 | 2000.3687
Provision for Employee Benefits
Opex component
DOPEX0301D | The carrying amount at the beginning of the period | $'000 | 19380.4789 | 23472.5886 | 26962.764 | 30919.2404 | 58137.7605 | 30508.1838 | 30115.5065 | 38415.533
DOPEX0302D | Increases to the provision | $'000 | 11263.2998 | 13179.2343 | 16807.2129 | 43271.0801 | 27584.6037 | 13683.175 | 15533.117 | 7345.0657
DOPEX0303D | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -6463.5389 | -6204.1165 | -8220.0558 | -8873.1302 | -22338.1355 | -10439.1825 | -9816.9333 | -12089.0729
DOPEX0304D | Unused amounts reversed during the period | $'000 | -98.8022 | -229.5057 | 22.5913 | -1992.1461 | 813.8752 | -392.8016 | -67.6287 | -12.9434
DOPEX0305D | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | -1257.0931 | -2409.272 | -3140.8349 | -1641.7615 | -857.9964 | -2831.1685 | 2662.9114 | 726.1209
DOPEX0306D | The carrying amount at the end of the period | $'000 | 22824.3445 | 27808.9288 | 32431.6775 | 61683.2827 | 63340.1075 | 30528.2061 | 38426.973 | 34384.7033
Capex component
DOPEX0307D | The carrying amount at the beginning of the period | $'000 | 30230.165 | 34953.7511 | 42257.2928 | 52340.8645 | 107964.5275 | 78932.6514 | 79397.1539 | 101321.1185
DOPEX0308D | Increases to the provision | $'000 | 17568.7822 | 19625.6017 | 26341.0427 | 73250.368 | 51225.8931 | 35401.9527 | 40951.8358 | 19371.2469
DOPEX0309D | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -10081.9927 | -9238.74 | -12882.8522 | -15020.657 | -41482.9574 | -27008.8957 | -25881.5692 | -31884.977
DOPEX0310D | Unused amounts reversed during the period | $'000 | -154.1142 | -341.764 | 35.4061 | -3372.3548 | 1511.4042 | -1016.2806 | -178.2976 | -34.1384
DOPEX0311D | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | -1960.8459 | -3587.7208 | -4922.462 | -2779.215 | -1593.3393 | -7324.9735 | 7020.5557 | 1915.1467
DOPEX0312D | The carrying amount at the end of the period | $'000 | 35601.9943 | 41411.1281 | 50828.4274 | 104419.0057 | 117625.528 | 78984.4542 | 101309.6786 | 90688.3968
Provision for Redundancy
Opex component
DOPEX0301E | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 353.6405 | 0
DOPEX0302E | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 353.6405 | 4.4331 | 12165.7003
DOPEX0303E | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0304E | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | -358.0735 | 0
DOPEX0305E | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306E | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 353.6405 | 0 | 12165.7003
Capex component
DOPEX0307E | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308E | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309E | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310E | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311E | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312E | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provision for Overhead Service Line Inspections
Opex component
DOPEX0301F | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16804.3479
DOPEX0302F | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 16804.3479 | 3.5759
DOPEX0303F | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12392.3238
DOPEX0304F | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0305F | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306F | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 16804.3479 | 4415.6001
Capex component
DOPEX0307F | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308F | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309F | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310F | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311F | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312F | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provision for Environmental Offsets
Opex component
DOPEX0301G | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2321
DOPEX0302G | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2321 | 0
DOPEX0303G | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0304G | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0305G | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306G | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2321 | 5.2321
Capex component
DOPEX0307G | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5304.702
DOPEX0308G | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5304.702 | 1.0452
DOPEX0309G | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2571.1007
DOPEX0310G | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -377.0783
DOPEX0311G | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312G | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 5304.702 | 2357.5682
Provision for Home Suite
Opex component
DOPEX0301H | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 744.9154 | 610.9045 | 530.0216 | 0 | 0 | 0
DOPEX0302H | Increases to the provision | $'000 | 0 | 889.5996 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0303H | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | -51.7892 | -5.8172 | -24.072 | -15.2208 | 0 | 0 | 0
DOPEX0304H | Unused amounts reversed during the period | $'000 | 0 | -92.895 | -128.1938 | -56.8108 | 14.2344 | 0 | 0 | 0
DOPEX0305H | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306H | The carrying amount at the end of the period | $'000 | 0 | 744.9154 | 610.9045 | 530.0216 | 529.0352 | 0 | 0 | 0
| Capex component |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0307H | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308H | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309H | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310H | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311H | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312H | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provision for Other
Opex component
DOPEX0301I | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 2291.075 | 205.4531 | 525.4826 | 612.6653 | 571.5814
DOPEX0302I | Increases to the provision | $'000 | 0 | 0 | 8371.2542 | 0 | 604.8793 | 477.2586 | 60.5708 | 350.1203
DOPEX0303I | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -376.5409 | -54.9033 | -63.0548
DOPEX0304I | Unused amounts reversed during the period | $'000 | 0 | 0 | -5968.1096 | -2073.0925 | 0 | -5.139 | -114.6553 | 0
DOPEX0305I | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 68.074 | 70.7514
DOPEX0306I | The carrying amount at the end of the period | $'000 | 0 | 0 | 2403.1446 | 217.9825 | 810.3324 | 621.0612 | 571.7516 | 929.3983
| Capex component |  | 0.60935 | 0.59825 | 0.61048 | 0.62864 | 0.64999 | 0.72124 | 0.725 | 0.72509
DOPEX0307I | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 3878.3892 | 381.5359 | 1359.5608 | 1615.2438 | 1507.5481
DOPEX0308I | Increases to the provision | $'000 | 0 | 0 | 13119.8174 | 0 | 1123.289 | 1234.7928 | 159.6902 | 923.0534
DOPEX0309I | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -974.2097 | -144.7481 | -166.3072
DOPEX0310I | Unused amounts reversed during the period | $'000 | 0 | 0 | -9353.4979 | -3509.383 | 0 | -13.296 | -302.2796 | 0
DOPEX0311I | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 179.4717 | 186.607
DOPEX0312I | The carrying amount at the end of the period | $'000 | 0 | 0 | 3766.3196 | 369.0062 | 1504.825 | 1606.8479 | 1507.3779 | 2450.9013
| Table 3.4 Opex for high voltage customers |  | Standard control services 2006: End user costs (not standard control services)
|  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
DOPEX0401 | Opex for high voltage customers | $'000 | 861.1278 | 1077.047 | 1172.2325 | 1395.4899 | 1473.1373 | 1727.6093 | 1876.8085 | 1852.4922

## 4. Assets (RAB)
4. Assets (RAB) worksheet
| Scope of services |  | Network services | [8 empty] | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 4.1 Regulatory Asset Base Values
For total asset base:
DRAB0101 | Opening value | $'000 | 3602153.1389 | 4077824.5436 | 4478653.8022 | 4881562.0917 | 5369487.5426 | 6151983.9738 | 6789381.7689 | 7346771.6552 |  | 4345192 | 4996666.478 | 5596682.6724 | 6248559.6046 | 6955948.1102 | 7937481.63 | 8760451.2596 | 9449858.2528 |  | 0 | 0 | 0 | 0 | 0 | 96787.819 | 110996.4671 | 123575.8836
DRAB0102 | Inflation addition | $'000 | 107344.1635 | 99498.9189 | 189894.9212 | 120574.5837 | 155178.19 | 204861.0663 | 107272.2319 | 183669.2914 |  | 129486.7216 | 121918.6621 | 237299.3453 | 154339.4222 | 201026.9004 | 264318.1383 | 138415.1299 | 236246.4563 |  | 0 | 0 | 0 | 0 | 0 | 3223.0344 | 1753.7442 | 3089.3971
DRAB0103 | Straight line depreciation | $'000 | -189543.6612 | -218173.3369 | -235433.5895 | -237981.3347 | -256163.5929 | -285010.6743 | -297614.3097 | -315582.8772 |  | -222664.0507 | -256649.064 | -279783.1231 | -290043.256 | -315112.5592 | -350477.3942 | -369919.0933 | -393288.7077 |  | 0 | 0 | 0 | 0 | 0 | -9223.5761 | -10395.7334 | -11743.2237
DRAB0104 | Regulatory depreciation | $'000 | -82199.4977 | -118674.418 | -45538.6683 | -117406.751 | -100985.4029 | -80149.608 | -190342.0777 | -131913.5858 |  | -93177.3291 | -134730.4019 | -42483.7778 | -135703.8337 | -114085.6588 | -86159.2559 | -231503.9634 | -157042.2514 |  | 0 | 0 | 0 | 0 | 0 | -6000.5417 | -8641.9892 | -8653.8267
DRAB0105 | Actual additions (recognised in RAB) | $'000 | 569144.2664 | 532370.2873 | 470609.5522 | 632189.9579 | 910975.0769 | 745416.6969 | 757590.5982 | 775122.3574 |  | 755953.8978 | 747627.8512 | 716529.4894 | 869967.1395 | 1123112.4214 | 936998.1794 | 930781.6159 | 936774.2765 |  | 0 | 0 | 0 | 0 | 0 | 20209.1899 | 21221.4057 | 20691.2416
DRAB0106 | Disposals | $'000 | -11273.3641 | -12866.6107 | -22162.5944 | -26857.7559 | -27493.2428 | -27869.2939 | -9858.6342 | -26187.2189 |  | -11302.0907 | -12881.2548 | -22168.7795 | -26874.8002 | -27493.2428 | -27869.2939 | -9870.6593 | -32736.3123 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0107 | Closing value for asset value | $'000 | 4077824.5436 | 4478653.8022 | 4881562.0917 | 5369487.5426 | 6151983.9738 | 6789381.7689 | 7346771.6552 | 7963793.2079 |  | 4996666.478 | 5596682.6724 | 6248559.6046 | 6955948.1102 | 7937481.63 | 8760451.2596 | 9449858.2528 | 10196853.9656 |  | 0 | 0 | 0 | 0 | 0 | 110996.4671 | 123575.8836 | 135613.2986
Table 4.2 Asset value roll forward
For overhead network assets less than 33kV:
DRAB0201 | Opening value | $'000 | 575597.5602 | 616355.3952 | 645233.9938 | 689025.7356 | 743900.1811 | 861599.2194 | 941662.0565 | 1025509.7572 |  | 702266.0744 | 819649.3275 | 926831.6711 | 1072035.9738 | 1224625.124 | 1466293.3108 | 1644010.2351 | 1817503.9518 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0202 | Inflation addition | $'000 | 17152.8073 | 15039.0716 | 27357.9213 | 17018.9357 | 21498.7152 | 28691.254 | 14878.2605 | 25637.7439 |  | 20927.529 | 19999.4436 | 39297.6629 | 26479.2886 | 35391.6661 | 48827.5673 | 25975.3617 | 45437.5988 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0203 | Straight line depreciation | $'000 | -35197.1913 | -37591.7237 | -39679.7656 | -42662.0277 | -45549.2536 | -49420.7981 | -53380.9277 | -56986.202 |  | -40310.5274 | -44942.8981 | -49350.2156 | -55376.0797 | -61200.9768 | -67928.7527 | -75107.3175 | -81727.8788 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0204 | Regulatory depreciation | $'000 | -18044.384 | -22552.6521 | -12321.8443 | -25643.0921 | -24050.5384 | -20729.5441 | -38502.6672 | -31348.4581 |  | -19382.9984 | -24943.4545 | -10052.5528 | -28896.7912 | -25809.3107 | -19101.1855 | -49131.9558 | -36290.2801 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0205 | Actual additions (recognised in RAB) | $'000 | 62067.6068 | 53061.2251 | 57703.3184 | 86303.7686 | 141749.5767 | 100792.3812 | 122350.368 | 146874.1002 |  | 140031.6393 | 133755.7726 | 156846.5879 | 187272.1724 | 267477.4975 | 196818.1098 | 222637.6975 | 234306.3801 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0206 | Disposals | $'000 | -3265.3878 | -1629.9745 | -1589.7323 | -5786.231 | 0 | 0 | 0 | 0 |  | -3265.3878 | -1629.9745 | -1589.7323 | -5786.231 | 0 | 0 | -12.0251 | -6549.0934 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0207 | Closing value for overhead distribution asset value | $'000 | 616355.3952 | 645233.9938 | 689025.7356 | 743900.1811 | 861599.2194 | 941662.0565 | 1025509.7572 | 1141035.3994 |  | 819649.3275 | 926831.6711 | 1072035.9738 | 1224625.124 | 1466293.3108 | 1644010.2351 | 1817503.9518 | 2008970.9585 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | $'000 | 806710.6547 | 897599.3166 | 990679.194 | 1075407.3694 | 1145929.0292 | 1284665.186 | 1393557.9112 | 1462303.4978 |  | 908024.636 | 1043367.4894 | 1195702.6809 | 1339314.5148 | 1451743.0559 | 1632066.6136 | 1778994.2396 | 1869642.1902 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0302 | Inflation addition | $'000 | 24039.9775 | 21901.4233 | 42004.7978 | 26562.562 | 33117.3489 | 42779.3507 | 22018.215 | 36557.5874 |  | 27059.1342 | 25458.1667 | 50697.7937 | 33081.0685 | 41955.3743 | 54347.8182 | 28108.109 | 46741.0548 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0303 | Straight line depreciation | $'000 | -18284.7686 | -20290.8285 | -22347.6103 | -24425.6489 | -26196.8599 | -29104.0735 | -31713.0423 | -33542.1046 |  | -20581.1343 | -23406.2025 | -26543.1495 | -29743.9486 | -32341.7238 | -36164.1735 | -39585.6264 | -41940.0635 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0304 | Regulatory depreciation | $'000 | 5755.209 | 1610.5948 | 19657.1876 | 2136.9131 | 6920.489 | 13675.2772 | -9694.8273 | 3015.4828 |  | 6477.9999 | 2051.9642 | 24154.6442 | 3337.1199 | 9613.6505 | 18183.6448 | -11477.5174 | 4800.9913 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0305 | Actual additions (recognised in RAB) | $'000 | 85133.453 | 91469.2826 | 65070.9878 | 68755.6456 | 131815.6677 | 95217.448 | 78441.4688 | 123022.0166 |  | 128864.8535 | 150283.2273 | 119457.1897 | 109462.3202 | 170709.9072 | 128743.9812 | 102126.5229 | 152657.2421 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0306 | Disposals | $'000 | 0 | 0 | 0 | -370.8989 | 0 | 0 | -1.0549 | 0 |  | 0 | 0 | 0 | -370.8989 | 0 | 0 | -1.0549 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0307 | Closing value for underground asset value | $'000 | 897599.3166 | 990679.194 | 1075407.3694 | 1145929.0292 | 1284665.186 | 1393557.9112 | 1462303.4978 | 1588340.9972 |  | 1043367.4894 | 1195702.6809 | 1339314.5148 | 1451743.0559 | 1632066.6136 | 1778994.2396 | 1869642.1902 | 2027100.4236 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | $'000 | 364096.3363 | 405738.2807 | 447350.8685 | 500311.7363 | 564898.7803 | 583709.4137 | 654336.5665 | 731553.2964 |  | 670569.1261 | 736314.1807 | 808172.452 | 911183.1213 | 1011657.0713 | 1013475.137 | 1102050.4067 | 1188596.1862 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0402 | Inflation addition | $'000 | 10850.0708 | 9900.014 | 18967.6768 | 12357.6999 | 16325.5748 | 19437.5235 | 10338.5178 | 18288.8324 |  | 19982.96 | 17966.066 | 34266.512 | 22506.2231 | 29236.8894 | 33748.7221 | 17412.3964 | 29714.9047 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0403 | Straight line depreciation | $'000 | -19292.0411 | -21171.8054 | -23065.5192 | -25561.7818 | -28250.8039 | -30990.075 | -34234.5327 | -36221.53 |  | -30881.5455 | -33778.2531 | -36855.154 | -41178.3838 | -45292.7204 | -49142.6421 | -53528.5754 | -56340.6816 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0404 | Regulatory depreciation | $'000 | -8441.9703 | -11271.7913 | -4097.8424 | -13204.0819 | -11925.2292 | -11552.5515 | -23896.0149 | -17932.6976 |  | -10898.5855 | -15812.1871 | -2588.6421 | -18672.1607 | -16055.8311 | -15393.92 | -36116.179 | -26625.7769 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0405 | Actual additions (recognised in RAB) | $'000 | 52360.4371 | 54779.7898 | 60449.5476 | 81605.873 | 45158.4988 | 92326.9809 | 101166.1204 | 137593.3726 |  | 78920.1626 | 89565.8691 | 108990.1488 | 122960.8579 | 32296.533 | 114116.4664 | 122715.334 | 162656.2506 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0406 | Disposals | $'000 | -2276.5225 | -1895.4107 | -3390.8374 | -3814.7471 | -14422.6362 | -10147.2766 | -53.3755 | -5799.229 |  | -2276.5225 | -1895.4107 | -3390.8374 | -3814.7471 | -14422.6362 | -10147.2766 | -53.3755 | -5799.229 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0407 | Closing value for distribution substations and transformers asset value | $'000 | 405738.2807 | 447350.8685 | 500311.7363 | 564898.7803 | 583709.4137 | 654336.5665 | 731553.2964 | 845414.7424 |  | 736314.1807 | 808172.452 | 911183.1213 | 1011657.0713 | 1013475.137 | 1102050.4067 | 1188596.1862 | 1318827.4309 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | $'000 | 124440.8819 | 152904.5498 | 163876.0371 | 175753.9891 | 200882.2928 | 264761.1343 | 312420.9071 | 340001.4201 |  | 148892.8743 | 192802.9275 | 212386.6997 | 234962.13 | 276584.129 | 362016.196 | 427252.6274 | 463583.3441 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0502 | Inflation addition | $'000 | 3708.3383 | 3730.871 | 6948.344 | 4341.1235 | 5805.4983 | 8816.5458 | 4936.2503 | 8500.0355 |  | 4437.0077 | 4704.3914 | 9005.1961 | 5803.5646 | 7993.2813 | 12055.1393 | 6750.5915 | 11589.5836 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0503 | Straight line depreciation | $'000 | -6309.8179 | -7130.785 | -7596.0498 | -8176.4479 | -8965.6009 | -10308.0119 | -11656.1005 | -12529.6163 |  | -7549.6647 | -8732.7053 | -9424.3433 | -10298.1691 | -11487.4798 | -13276.3406 | -15077.0808 | -16212.794 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0504 | Regulatory depreciation | $'000 | -2601.4796 | -3399.914 | -647.7058 | -3835.3243 | -3160.1026 | -1491.4662 | -6719.8502 | -4029.5808 |  | -3112.657 | -4028.3139 | -419.1473 | -4494.6044 | -3494.1985 | -1221.2013 | -8326.4893 | -4623.2104 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0505 | Actual additions (recognised in RAB) | $'000 | 31065.1475 | 14371.4013 | 12525.6578 | 28972.2487 | 67313.1167 | 49151.239 | 34300.3632 | 16175.6548 |  | 47022.7102 | 23612.0861 | 22994.5775 | 46125.2241 | 89200.4381 | 66457.6327 | 44657.206 | 20072.2677 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0506 | Disposals | $'000 | 0 | 0 | 0 | -8.6206 | -274.1726 | 0 | 0 | 0 |  | 0 | 0 | 0 | -8.6206 | -274.1726 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0507 | Closing value for overhead asset 33kV and above value | $'000 | 152904.5498 | 163876.0371 | 175753.9891 | 200882.2928 | 264761.1343 | 312420.9071 | 340001.4201 | 352147.4942 |  | 192802.9275 | 212386.6997 | 234962.13 | 276584.129 | 362016.196 | 427252.6274 | 463583.3441 | 479032.4014 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | $'000 | 197271.4425 | 233807.3935 | 275753.1344 | 311990.9407 | 363688.5922 | 443720.8215 | 494929.2455 | 526744.5439 |  | 248859.6603 | 305520.2579 | 377061.4511 | 445456.142 | 530633.2577 | 636171.4058 | 706487.6011 | 747693.4147 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0602 | Inflation addition | $'000 | 5878.689 | 5704.9004 | 11691.9329 | 7706.1762 | 10510.6003 | 14775.9034 | 7819.8821 | 13168.6136 |  | 7416.0179 | 7454.6943 | 15987.4055 | 11002.7667 | 15335.3011 | 21184.5078 | 11162.5041 | 18692.3354 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0603 | Straight line depreciation | $'000 | -11241.432 | -12535.255 | -13951.4759 | -15434.7882 | -17169.2295 | -19294.6565 | -21216.7884 | -22572.6038 |  | -14181.1653 | -16055.227 | -18271.3564 | -20683.2934 | -23354.1846 | -26217.3037 | -28820.5202 | -30604.6372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0604 | Regulatory depreciation | $'000 | -5362.743 | -6830.3546 | -2259.543 | -7728.612 | -6658.6292 | -4518.7531 | -13396.9063 | -9403.9902 |  | -6765.1474 | -8600.5327 | -2283.9509 | -9680.5267 | -8018.8835 | -5032.7959 | -17658.0161 | -11912.3019 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0605 | Actual additions (recognised in RAB) | $'000 | 41907.4661 | 48780.8075 | 38503.6723 | 59845.4027 | 86690.8585 | 55727.1772 | 45212.2047 | 38167.4468 |  | 63434.5172 | 80146.4379 | 70684.9647 | 95276.7816 | 113557.0316 | 75348.9912 | 58863.8296 | 47361.7433 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0606 | Disposals | $'000 | -8.7721 | -4.712 | -6.323 | -419.1392 | 0 | 0 | 0 | 0 |  | -8.7721 | -4.712 | -6.323 | -419.1392 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0607 | Closing value for underground asset 33kV and above value | $'000 | 233807.3935 | 275753.1344 | 311990.9407 | 363688.5922 | 443720.8215 | 494929.2455 | 526744.5439 | 555508.0005 |  | 305520.2579 | 377061.4511 | 445456.142 | 530633.2577 | 636171.4058 | 706487.6011 | 747693.4147 | 783142.8561 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone substations and transformers
DRAB0701 | Opening value | $'000 | 993070.6956 | 1136103.1104 | 1270940.8391 | 1428922.9338 | 1625348.3118 | 1905550.8094 | 2134361.6166 | 2336185.2254 |  | 993070.6956 | 1136103.1104 | 1270940.8391 | 1428922.9338 | 1625348.3118 | 1905550.8094 | 2134361.6166 | 2336185.2254 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0702 | Inflation addition | $'000 | 29593.5067 | 27720.9159 | 53887.8916 | 35294.3965 | 46972.5662 | 63454.842 | 33722.9135 | 58404.6306 |  | 29593.5067 | 27720.9159 | 53887.8916 | 35294.3965 | 46972.5662 | 63454.842 | 33722.9135 | 58404.6306 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0703 | Straight line depreciation | $'000 | -34688.0419 | -38924.9319 | -42642.7211 | -47123.2664 | -52082.6006 | -57832.6372 | -63951.2385 | -69194.8853 |  | -34688.0419 | -38924.9319 | -42642.7211 | -47123.2664 | -52082.6006 | -57832.6372 | -63951.2385 | -69194.8853 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0704 | Regulatory depreciation | $'000 | -5094.5352 | -11204.016 | 11245.1705 | -11828.8699 | -5110.0344 | 5622.2048 | -30228.3249 | -10790.2547 |  | -5094.5352 | -11204.016 | 11245.1705 | -11828.8699 | -5110.0344 | 5622.2048 | -30228.3249 | -10790.2547 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0705 | Actual additions (recognised in RAB) | $'000 | 148742.9555 | 146953.4532 | 148015.1029 | 210145.0454 | 290168.077 | 230906.0244 | 232129.6932 | 194383.3427 |  | 148742.9555 | 146953.4532 | 148015.1029 | 210145.0454 | 290168.077 | 230906.0244 | 232129.6932 | 194383.3427 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0706 | Disposals | $'000 | -616.0055 | -911.7085 | -1278.1788 | -1890.7975 | -4855.545 | -7717.4219 | -77.7594 | -3804.6446 |  | -616.0055 | -911.7085 | -1278.1788 | -1890.7975 | -4855.545 | -7717.4219 | -77.7594 | -3804.6446 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0707 | Closing value for zone substations and transformers | $'000 | 1136103.1104 | 1270940.8391 | 1428922.9338 | 1625348.3118 | 1905550.8094 | 2134361.6166 | 2336185.2254 | 2515973.6688 |  | 1136103.1104 | 1270940.8391 | 1428922.9338 | 1625348.3118 | 1905550.8094 | 2134361.6166 | 2336185.2254 | 2515973.6688 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For easements:
DRAB0801 | Opening value | $'000 | 69280.536 | 71659.539 | 74998.8146 | 80839.3015 | 93751.4594 | 105476.6398 | 113328.6896 | 128586.0756 |  | 69280.536 | 71659.539 | 74998.8146 | 80839.3015 | 93751.4594 | 105476.6398 | 113328.6896 | 128586.0756
DRAB0802 | Inflation addition | $'000 | 2064.56 | 1748.4928 | 3179.9497 | 1996.7307 | 2709.4172 | 3512.3721 | 1790.5933 | 3214.6519 |  | 2064.56 | 1748.4928 | 3179.9497 | 1996.7307 | 2709.4172 | 3512.3721 | 1790.5933 | 3214.6519
DRAB0805 | Actual additions (recognised in RAB) | $'000 | 314.443 | 1590.7828 | 2660.5372 | 10915.4272 | 9015.7632 | 4339.6778 | 13466.7927 | 5894.1279 |  | 314.443 | 1590.7828 | 2660.5372 | 10915.4272 | 9015.7632 | 4339.6778 | 13466.7927 | 5894.1279
DRAB0806 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0807 | Closing value for easements asset value | $'000 | 71659.539 | 74998.8146 | 80839.3015 | 93751.4594 | 105476.6398 | 113328.6896 | 128586.0756 | 137694.8554 |  | 71659.539 | 74998.8146 | 80839.3015 | 93751.4594 | 105476.6398 | 113328.6896 | 128586.0756 | 137694.8554
For meters:
DRAB0901 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 132543.3655 | 127592.6872 | 120767.1433 | 116535.402 | 110516.8053 | 113930.7677 | 109181.0675 | 102180.026 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0902 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3949.7923 | 3113.2616 | 5120.5269 | 2878.4244 | 3193.9357 | 3793.8946 | 1725.0609 | 2554.5007 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0903 | Straight line depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -9941.6032 | -10280.8386 | -10545.7355 | -11042.7411 | -11403.6287 | -11855.1223 | -12387.0549 | -12731.832 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0904 | Regulatory depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5991.8109 | -7167.5771 | -5425.2086 | -8164.3167 | -8209.693 | -8061.2277 | -10661.9941 | -10177.3314 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0905 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1069.8592 | 356.6773 | 1199.6524 | 2162.7641 | 11623.6555 | 3311.5275 | 3660.9526 | 6430.6262 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0906 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -28.7266 | -14.6441 | -6.1851 | -17.0442 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0907 | Closing value for meters asset value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 127592.6872 | 120767.1433 | 116535.402 | 110516.8053 | 113930.7677 | 109181.0675 | 102180.026 | 98433.3209 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For “other” asset items with long lives:
DRAB1001 | Opening value | $'000 | 329286.8055 | 370414.3004 | 397167.7852 | 428357.3224 | 453344.1817 | 503262.775 | 530579.3054 | 586026.0943 |  | 329286.8055 | 370414.3004 | 397167.7852 | 428357.3224 | 453344.1817 | 503262.775 | 530579.3054 | 586026.0943 |  | 0 | 0 | 0 | 0 | 0 | 96787.819 | 110996.4671 | 123575.8836
DRAB1002 | Inflation addition | $'000 | 9812.7468 | 9038.1089 | 16839.9141 | 10580.4259 | 13101.6469 | 16758.6504 | 8383.153 | 14650.6524 |  | 9812.7468 | 9038.1089 | 16839.9141 | 10580.4259 | 13101.6469 | 16758.6504 | 8383.153 | 14650.6524 |  | 0 | 0 | 0 | 0 | 0 | 3223.0344 | 1753.7442 | 3089.3971
DRAB1003 | Straight line depreciation | $'000 | -25565.9772 | -27371.5902 | -29754.3842 | -32658.2183 | -33062.1422 | -35372.5376 | -37871.827 | -40451.7958 |  | -25565.9772 | -27371.5902 | -29754.3842 | -32658.2183 | -33062.1422 | -35372.5376 | -37871.827 | -40451.7958 |  | 0 | 0 | 0 | 0 | 0 | -9223.5761 | -10395.7334 | -11743.2237
DRAB1004 | Regulatory depreciation | $'000 | -15753.2304 | -18333.4813 | -12914.4701 | -22077.7924 | -19960.4953 | -18613.8872 | -29488.674 | -25801.1434 |  | -15753.2304 | -18333.4813 | -12914.4701 | -22077.7924 | -19960.4953 | -18613.8872 | -29488.674 | -25801.1434 |  | 0 | 0 | 0 | 0 | 0 | -6000.5417 | -8641.9892 | -8653.8267
DRAB1005 | Actual additions (recognised in RAB) | $'000 | 56953.4928 | 45353.9794 | 44634.2359 | 47200.7727 | 70531.5471 | 46588.2294 | 85357.4129 | 69131.1729 |  | 56953.4928 | 45353.9794 | 44634.2359 | 47200.7727 | 70531.5471 | 46588.2294 | 85357.4129 | 69131.1729 |  | 0 | 0 | 0 | 0 | 0 | 20209.1899 | 21221.4057 | 20691.2416
DRAB1006 | Disposals | $'000 | -72.7674 | -267.0133 | -530.2286 | -136.121 | -652.4585 | -657.8118 | -421.95 | -3711.4269 |  | -72.7674 | -267.0133 | -530.2286 | -136.121 | -652.4585 | -657.8118 | -421.95 | -3711.4269 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1007 | Closing value for “other” asset (long life) value | $'000 | 370414.3004 | 397167.7852 | 428357.3224 | 453344.1817 | 503262.775 | 530579.3054 | 586026.0943 | 625644.6969 |  | 370414.3004 | 397167.7852 | 428357.3224 | 453344.1817 | 503262.775 | 530579.3054 | 586026.0943 | 625644.6969 |  | 0 | 0 | 0 | 0 | 0 | 110996.4671 | 123575.8836 | 135613.2986
For “other” asset items with short lives:
DRAB1101 | Opening value | $'000 | 142398.2263 | 193242.658 | 212653.1355 | 190952.763 | 177744.7141 | 199237.9749 | 214205.4706 | 209861.7444 |  | 142398.2263 | 193242.658 | 212653.1355 | 190952.763 | 177744.7141 | 199237.9749 | 214205.4706 | 209861.7444 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1102 | Inflation addition | $'000 | 4243.4671 | 4715.1209 | 9016.4929 | 4716.5332 | 5136.8222 | 6634.6246 | 3384.4464 | 5246.5436 |  | 4243.4671 | 4715.1209 | 9016.4929 | 4716.5332 | 5136.8222 | 6634.6246 | 3384.4464 | 5246.5436 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1103 | Straight line depreciation | $'000 | -38964.3912 | -53156.4172 | -56396.0635 | -41939.1556 | -44887.1023 | -52687.8845 | -43589.8526 | -44084.1394 |  | -38964.3912 | -53156.4172 | -56396.0635 | -41939.1556 | -44887.1023 | -52687.8845 | -43589.8526 | -44084.1394 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1104 | Regulatory depreciation | $'000 | -34720.9241 | -48441.2963 | -47379.5706 | -37222.6224 | -39750.28 | -46053.2599 | -40205.4061 | -38837.5958 |  | -34720.9241 | -48441.2963 | -47379.5706 | -37222.6224 | -39750.28 | -46053.2599 | -40205.4061 | -38837.5958 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1105 | Actual additions (recognised in RAB) | $'000 | 90599.2645 | 76009.5656 | 41046.4924 | 38445.7738 | 68531.9713 | 70367.5391 | 45166.1744 | 43881.1229 |  | 90599.2645 | 76009.5656 | 41046.4924 | 38445.7738 | 68531.9713 | 70367.5391 | 45166.1744 | 43881.1229 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1106 | Disposals | $'000 | -5033.9088 | -8157.7917 | -15367.2942 | -14431.2004 | -7288.4305 | -9346.7835 | -9304.4945 | -12871.9184 |  | -5033.9088 | -8157.7917 | -15367.2942 | -14431.2004 | -7288.4305 | -9346.7835 | -9304.4945 | -12871.9184 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1107 | Closing value for “other” asset (short life) value | $'000 | 193242.658 | 212653.1355 | 190952.763 | 177744.7141 | 199237.9749 | 214205.4706 | 209861.7444 | 202033.3531 |  | 193242.658 | 212653.1355 | 190952.763 | 177744.7141 | 199237.9749 | 214205.4706 | 209861.7444 | 202033.3531 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.3 Total disaggregated RAB asset values
DRAB1201 | Overhead distribution assets less than 33kV (wires and poles) | $'000 | 595976.4777 | 630794.6945 | 667129.8647 | 716462.9583 | 802749.7003 | 901630.638 | 983585.9069 | 1083272.5783 |  | 760957.7009 | 873240.4993 | 999433.8225 | 1148330.5489 | 1345459.2174 | 1555151.773 | 1730757.0935 | 1913237.4551 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1202 | Underground distribution assets less than 33kV (cables, ducts etc) | $'000 | 852154.9856 | 944139.2553 | 1033043.2817 | 1110668.1993 | 1215297.1076 | 1339111.5486 | 1427930.7045 | 1525322.2475 |  | 975696.0627 | 1119535.0852 | 1267508.5978 | 1395528.7853 | 1541904.8347 | 1705530.4266 | 1824318.2149 | 1948371.3069 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1203 | Distribution substations including transformers | $'000 | 384917.3085 | 426544.5746 | 473831.3024 | 532605.2583 | 574304.097 | 619022.9901 | 692944.9314 | 788484.0194 |  | 703441.6534 | 772243.3163 | 859677.7866 | 961420.0963 | 1012566.1042 | 1057762.7719 | 1145323.2965 | 1253711.8086 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | $'000 | 138672.7158 | 158390.2934 | 169815.0131 | 188318.1409 | 232821.7135 | 288591.0207 | 326211.1636 | 346074.4572 |  | 170847.9009 | 202594.8136 | 223674.4148 | 255773.1295 | 319300.1625 | 394634.4117 | 445417.9858 | 471307.8728 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | $'000 | 215539.418 | 254780.264 | 293872.0375 | 337839.7664 | 403704.7068 | 469325.0335 | 510836.8947 | 541126.2722 |  | 277189.9591 | 341290.8545 | 411258.7965 | 488044.6998 | 583402.3317 | 671329.5035 | 727090.5079 | 765418.1354 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1206 | Zone substations | $'000 | 1064586.903 | 1203521.9748 | 1349931.8865 | 1527135.6228 | 1765449.5606 | 2019956.213 | 2235273.421 | 2426079.4471 |  | 1064586.903 | 1203521.9748 | 1349931.8865 | 1527135.6228 | 1765449.5606 | 2019956.213 | 2235273.421 | 2426079.4471 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1207 | Easements | $'000 | 70470.0375 | 73329.1768 | 77919.058 | 87295.3805 | 99614.0496 | 109402.6647 | 120957.3826 | 133140.4655 |  | 70470.0375 | 73329.1768 | 77919.058 | 87295.3805 | 99614.0496 | 109402.6647 | 120957.3826 | 133140.4655 | [6 empty] | 0 | 0 | 0
DRAB1208 | Meters | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 130068.0264 | 124179.9153 | 118651.2727 | 113526.1037 | 112223.7865 | 111555.9176 | 105680.5468 | 100306.6735 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1209 | Other assets with long lives (please specify) | $'000 | 349850.5529 | 383791.0428 | 412762.5538 | 440850.7521 | 478303.4784 | 516921.0402 | 558302.6998 | 605835.3956 |  | 349850.5529 | 383791.0428 | 412762.5538 | 440850.7521 | 478303.4784 | 516921.0402 | 558302.6998 | 605835.3956 |  | 0 | 0 | 0 | 0 | 0 | 103892.1431 | 117286.1754 | 129594.5911
DRAB1210 | Other assets with short lives (please specify) | $'000 | 167820.4422 | 202947.8967 | 201802.9493 | 184348.7386 | 188491.3445 | 206721.7227 | 212033.6075 | 205947.5487 |  | 167820.4422 | 202947.8967 | 201802.9493 | 184348.7386 | 188491.3445 | 206721.7227 | 212033.6075 | 205947.5487 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Contributions
DRAB13 | Estimated Value of Capital Contributions or Contributed Assets | $'000 | 32084.0638 | 37876.7068 | 38327.5856 | 34474.7834 | 41197.1525 | 47776.29 | 45470.8968 | 34645.7197 |  | 38840.8906 | 47156.5077 | 49307.9116 | 45734.1379 | 55549.2932 | 64411.7141 | 61363.043 | 46991.5 |  | 0 | 0 | 0 | 0 | 0 | 8607.3018 | 7218.638 | 7838.6124
Table 4.4 Asset lives
Table 4.4.1 Asset Lives – estimated service life of new assets
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | years | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 |  | 42.6298 | 42.6298 | 42.6298 | 42.6298 | 42.6298 | 42.6298 | 42.6298 | 42.6298 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | years | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1403 | Distribution substations including transformers | years | 40.1278 | 40.1278 | 40.1278 | 40.1278 | 40.1278 | 40.1278 | 40.1278 | 40.1278 |  | 40.401 | 40.401 | 40.401 | 40.401 | 40.401 | 40.401 | 40.401 | 40.401 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 |  | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 | 50.5438 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | years | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1406 | Zone substations and transformers | years | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 |  | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 | 49.9322 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1407 | Meters | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 24.948 | 24.948 | 24.948 | 24.948 | 24.948 | 24.948 | 24.948 | 24.948 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1408 | “Other” assets with long lives | years | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 |  | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 | 24.7179 |  | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 20
DRAB1409 | “Other” assets with short lives | years | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 |  | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 | 7.7656 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.4.2 Asset Lives – estimated residual service life
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | years | 16.2996 | 18.2591 | 19.5289 | 20.7356 | 22.6218 | 24.654 | 25.9388 | 27.3323 |  | 18.6117 | 21.7351 | 23.758 | 25.5581 | 27.2748 | 28.5171 | 29.2479 | 29.954 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | years | 44.7071 | 45.2524 | 45.7064 | 45.6318 | 45.5533 | 46.0609 | 46.0816 | 45.8819 |  | 45.1022 | 46.0657 | 46.9427 | 47.1965 | 47.2368 | 47.6569 | 47.6225 | 47.3533 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1503 | Distribution substations including transformers | years | 25.6445 | 26.6559 | 27.4385 | 28.0926 | 28.8253 | 29.5832 | 29.9856 | 30.3588 |  | 26.6868 | 27.314 | 27.8996 | 28.5169 | 29.0223 | 29.3512 | 29.5078 | 29.6619 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 24.4531 | 28.957 | 29.9378 | 30.4776 | 32.5156 | 35.352 | 36.8993 | 37.3767 |  | 27.5634 | 32.412 | 33.539 | 34.301 | 36.1764 | 38.2214 | 39.2936 | 39.4737 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | years | 21.0071 | 24.4865 | 27.2921 | 28.6008 | 30.4573 | 31.9532 | 32.5349 | 32.6906 |  | 23.0646 | 26.8264 | 29.9017 | 31.4561 | 33.0634 | 34.0095 | 34.2883 | 34.2104 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1506 | Zone substations and transformers | years | 28.3078 | 30.537 | 32.014 | 32.9503 | 34.4032 | 35.5101 | 36.407 | 37.0923 |  | 28.3078 | 30.537 | 32.014 | 32.9503 | 34.4032 | 35.5101 | 36.407 | 37.0923 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1507 | Meters | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 13.7685 | 12.8706 | 11.9092 | 11.0537 | 10.3451 | 9.75 | 9.2413 | 8.8399 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1508 | “Other” assets with long lives | years | 12.6135 | 12.366 | 13.9539 | 14.3907 | 14.5812 | 14.9657 | 16.6273 | 18.9784 |  | 12.6135 | 12.366 | 13.9539 | 14.3907 | 14.5812 | 14.9657 | 16.6273 | 18.9784 |  | 0 | 0 | 0 | 0 | 0 | 11.0219 | 11.5159 | 11.8684
DRAB1509 | “Other” assets with short lives | years | 4.2954 | 5.2035 | 5.4007 | 5.6456 | 5.414 | 5.603 | 5.4525 | 5.0809 |  | 4.2954 | 5.2035 | 5.4007 | 5.6456 | 5.414 | 5.603 | 5.4525 | 5.0809 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 5. Operational data
5. Operational data worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Units
Table 5.1 Energy delivery
DOPED01 | Total energy delivered | GWh | 20618 | 20707 | 21155 | 21994 | 22193 | 21454 | 21210 | 21055
Table 5.1.1 Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 10076 | 9715 | 9810 | 10044 | 9757 | 8990 | 8404 | 7922
DOPED0202 | Energy Delivery at On-peak times | GWh | 4702 | 4960 | 5211 | 5604 | 5896 | 5948 | 6151 | 6376
DOPED0203 | Energy Delivery at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0204 | Energy Delivery at Off-peak times | GWh | 3513 | 3757 | 3923 | 4166 | 4422 | 4457 | 4630 | 4820
DOPED0205 | Controlled load energy deliveries | GWh | 2130 | 2075 | 2005 | 1960 | 1890 | 1825 | 1785 | 1690
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 197 | 200 | 206 | 220 | 228 | 234 | 240 | 247
Table 5.1.2 Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 10939 | 10899 | 11062 | 11611 | 11630 | 11192 | 10896 | 10557
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 10704 | 10796 | 10905 | 11329 | 11465 | 11105 | 11001 | 10909
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 5.1.3 Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 81 | 95 | 101 | 99 | 112 | 99 | 91 | 99
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 98 | 128 | 126 | 125 | 138 | 124 | 116 | 126
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0 | 0 | 0 | 3 | 10 | 46 | 167 | 387
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh
Table 5.1.4 Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 8193 | 8060 | 8375 | 8498 | 8652 | 8245 | 7910 | 7610
DOPED0502 | Non-residential customers not on demand tariffs energy deliveries | GWh | 4061 | 3773 | 3511 | 3624 | 3109 | 2675 | 2405 | 2182
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3242 | 3556 | 3844 | 4148 | 4456 | 4660 | 5005 | 5301
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4926 | 5118 | 5219 | 5504 | 5748 | 5639 | 5651 | 5715
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 197 | 200 | 206 | 220 | 228 | 235 | 240 | 247
5.2 Customer numbers
Table 5.2.1 Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers | number | 1095445.845 | 1119015.2419 | 1143909.5239 | 1166386.0449 | 1186163.9246 | 1204327.3619 | 1220643.9825 | 1236600.7267
DOPCN0102 | Non-residential customers not on demand tariff customer numbers | number | 108074.7556 | 108135.1612 | 110584.9152 | 111488.7712 | 111087.4843 | 110836.9836 | 110993.1958 | 110126.4039
DOPCN0103 | Low voltage demand tariff customer numbers | number | 5254.1984 | 5658.9397 | 5982.8411 | 6260.7355 | 6980.4796 | 8070.1979 | 8906.3565 | 9656.3248
DOPCN0104 | High voltage demand tariff customer numbers | number | 456.8292 | 462.0139 | 458.4431 | 475.4317 | 500.4448 | 507.9566 | 505.9652 | 525.0446
DOPCN0105 | Unmetered Customer Numbers | number | 2831.9343 | 2829.62 | 2827.22 | 2824.7 | 2822 | 2821 | 2815 | 2803
DOPCN0106 | Other Customer Numbers | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPCN01 | Total customer numbers | number | 1212063.5624 | 1236100.9767 | 1263762.9433 | 1287435.6833 | 1307554.3333 | 1326563.5 | 1343864.5 | 1359711.5
Table 5.2.2 Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network | number | 3431.0626 | 4086.991 | 3919.3651 | 3795.7904 | 4077.0285 | 4037.0868 | 3811.3199 | 3793.5825
DOPCN0202 | Customers on Urban network | number | 810262.1945 | 857787.5284 | 864694.5858 | 893642.9011 | 950809.6652 | 985404.5128 | 1005755.0613 | 1000681.4467
DOPCN0203 | Customers on Short rural network | number | 359107.7874 | 339303.6823 | 355567.0174 | 357260.7469 | 333657.4696 | 328755.6704 | 334822.1638 | 350070.4492
DOPCN0204 | Customers on Long rural network | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPCN02 | Total customer numbers | number | 1172801.0445 | 1201178.2017 | 1224180.9683 | 1254699.4383 | 1288544.1633 | 1318197.27 | 1344388.545 | 1354545.4783
Table 5.2.3 Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN | number | 2831.9343 | 2829.62 | 2827.22 | 2824.7 | 2822 | 2821 | 2815 | 2803
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN | number | 14102.6983 | 14295.2435 | 14414.3333 | 14625 | 14886.5 | 15241 | 15645 | 16025.5
DOPCN0303 | Total unmetered connections | number | 16934.6326 | 17124.8635 | 17241.5533 | 17449.7 | 17708.5 | 18062 | 18460 | 18828.5
5.3 System demand
Table 5.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4669.8404 | 4824.2889 | 4894.1847 | 5160.1293 | 5257.3743 | 5090.2029 | 5008.2544 | 5028.6302
DOPSD0102 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5725.7468 | 5651.2973 | 5743.4545 | 6412.9252 | 6470.1835 | 6301.7161 | 6279.8664 | 6312.1241
DOPSD0103 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5246.31 | 5208.3193 | 5319.4196 | 5847.8327 | 5926.8511 | 5689.3936 | 5592.3567 | 5678.9368
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 4021.0712 | 4192.3254 | 3922.5046 | 4435.144 | 4580.3544 | 4554.2826 | 4335.4318 | 4306.5503
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4999.2216 | 5009.4254 | 4885.1926 | 5756.9665 | 5790.0199 | 5751.8393 | 5556.5252 | 5576.7333
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4572.2031 | 4613.9924 | 4497.5568 | 5231.3748 | 5285.9721 | 5157.7816 | 4904.627 | 4995.293
Table 5.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4225.3854 | 4618 | 4796.7614 | 5027.5095 | 5297.7098 | 5048.7679 | 4633.7388 | 4685.8868
DOPSD0108 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0109 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 4118.684 | 4293.216 | 4001.739 | 4522.888 | 4674.308 | 4661.497 | 4440.221 | 4411.997
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 5.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4973.6949 | 5052.783 | 5103.6778 | 5466.8723 | 5509.3994 | 5295.8474 | 5194.7876 | 5190.374
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6089.3371 | 5945.6956 | 6000.2924 | 6782.202 | 6774.9116 | 6554.1788 | 6507.9312 | 6506.8764
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5583.8601 | 5479.187 | 5556.2298 | 6188.3411 | 6209.7175 | 5920.184 | 5797.4901 | 5858.2737
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 4065.7939 | 4253.9361 | 4381.2994 | 4658.4536 | 4864.5912 | 4688.9712 | 4401.2548 | 4339.1916
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5030.592 | 5046.9892 | 5282.8928 | 5839.7702 | 5995.8068 | 5854.7543 | 5562.0026 | 5475.8801
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4602.9157 | 4650.5541 | 4865.4958 | 5309.3008 | 5476.3031 | 5252.1509 | 4911.5556 | 4907.5459
Table 5.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4408.069 | 4685 | 4975.0616 | 5188.9929 | 5473.7434 | 5186.5476 | 4767.4856 | 4748.5335
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 4164.4923 | 4356.3094 | 4469.8014 | 4750.6156 | 4964.3752 | 4799.3564 | 4507.635 | 4445.4376
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 5.3.5 Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.96115 | 0.95998 | 0.97499 | 0.97013 | 0.98062 | 0.97442 | 0.98796 | 0.99248
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.91942 | 0.92741 | 0.94017 | 0.92765 | 0.9374 | 0.9387 | 0.93381 | 0.94423
DOPSD0303 | Average power factor conversion for 11 kV lines | Factor | 0.93645 | 0.94564 | 0.9511 | 0.94545 | 0.95157 | 0.95294 | 0.95598 | 0.95945
DOPSD0304 | Average power factor conversion for SWER lines | Factor | 0.901 | 0.901 | 0.90618 | 0.90618 | 0.90701 | 0.90701 | 0.90701 | 0.86886
DOPSD0305 | Average power factor conversion for 22 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0306 | Average power factor conversion for 33 kV lines | Factor | 0.95349 | 0.96387 | 0.96203 | 0.96325 | 0.96574 | 0.96718 | 0.97815 | 0.97467
DOPSD0307 | Average power factor conversion for 66 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0308 | Average power factor conversion for 132 kV lines | Factor | 0.94648 | 0.96536 | 0.96291 | 0.91303 | 0.96933 | 0.97142 | 0.97041 | 0.97469
DOPSD0309 | Average power factor conversion for 110 kV lines | Factor | 0.95374 | 0.98407 | 0.93519 | 0.97571 | 0.93246 | 0.9557 | 0.96143 | 0.98516
Table 5.3.6 Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 445.734 | 445.734 | 469.234 | 495.879 | 537.579 | 552.079 | 562.079 | 596.849
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 253.0166 | 290.633 | 282.45 | 331.3823 | 360.2364 | 364.1321 | 373.664 | 415.9276
Table 5.3.7 Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 6. Physical Assets
6. Physical Assets worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 6.1 Network Capacities Variables
Circuit length
Table 6.1.1 Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | km | 14356 | 14344 | 14319 | 14306 | 14294 | 14287 | 14274 | 14262
DPA0102 | Overhead 11 kV | km | 17064 | 17177 | 17245 | 17311 | 17358 | 17404 | 17455 | 17481
DPA0103 | Overhead SWER | km | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39
DPA0104 | Overhead 22 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0105 | Overhead 33 kV | km | 1939 | 1958 | 1978 | 1999 | 1999 | 2080 | 2098 | 2130
DPA0106 | Overhead 66 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0107 | Overhead 132 kV | km | 1059 | 1105 | 1078 | 1076 | 1090 | 1090 | 1126 | 1121
DPA01 | Total overhead circuit km | km | 34457 | 34623 | 34659 | 34731 | 34780 | 34900 | 34992 | 35033
Table 6.1.2 Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | km | 8007 | 8408 | 8860 | 9362 | 9711 | 9990 | 10262 | 10457
DPA0202 | Underground 11 kV | km | 3461 | 3823 | 4128 | 4437 | 4692 | 4906 | 5090 | 5255
DPA0203 | Underground 22 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0204 | Underground 33 kV | km | 644 | 681 | 723 | 781 | 815 | 843 | 866 | 891
DPA0205 | Underground 66 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0206 | Underground 132 kV | km | 89 | 110 | 116 | 116 | 119 | 132 | 132 | 145
DPA02 | Total underground circuit km | km | 12201 | 13022 | 13827 | 14696 | 15337 | 15871 | 16350 | 16748
Circuit Capacity MVA
Table 6.1.3 Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | MVA | 0.13029 | 0.13065 | 0.13096 | 0.13127 | 0.13144 | 0.13174 | 0.13211 | 0.13251
DPA0302 | Overhead 11 kV | MVA | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.94
DPA0303 | Overhead SWER | MVA | 0.087 | 0.087 | 0.087 | 0.087 | 0.087 | 0.087 | 0.087 | 0.087
DPA0304 | Overhead 22 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0305 | Overhead 33 kV | MVA | 20.63 | 20.97 | 21.59 | 22.9 | 23.55 | 24.5 | 24.67 | 25.4
DPA0306 | Overhead 66 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0307 | Overhead 132 kV | MVA | 149.7112 | 149.5495 | 151.6726 | 153.3666 | 154.873 | 155.5189 | 157.2457 | 156.638
Table 6.1.4 Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | MVA | 0.13899 | 0.14022 | 0.14155 | 0.14281 | 0.14369 | 0.14437 | 0.14509 | 0.1456
DPA0402 | Underground 11 kV | MVA | 2.73 | 2.75 | 2.77 | 2.8 | 2.84 | 2.88 | 2.89 | 2.91
DPA0403 | Underground 22 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0404 | Underground 33 kV | MVA | 27.89 | 28.31 | 29.33 | 30.22 | 31.3 | 31.82 | 31.8 | 32.24
DPA0405 | Underground 66 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0406 | Underground 132 kV | MVA | 131.841 | 135.9338 | 160.5385 | 160.5385 | 162.0758 | 166.6706 | 166.9146 | 167.7294
6.2 Transformer Capacities Variables
Table 6.2.1 Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | MVA | 9564 | 10375 | 11157 | 12011 | 12591 | 13018 | 13451.5 | 13708.4
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | MVA | 1930 | 1930 | 1963 | 2045 | 2073.5 | 2097 | 2098.5 | 2129.5
DPA0503 | Cold spare capacity included in DPA0501 | MVA | 84 | 84 | 84 | 84 | 84 | 84 | 121.5 | 64.4
Table 6.2.2 Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 6316.5 | 6992.3 | 7194 | 7194 | 7292 | 7619.6 | 7793 | 7793
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 6631.05 | 6882.65 | 6997.75 | 7256.35 | 7338.65 | 7307.72 | 7513.32 | 7614.82
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 2752.5 | 3138.7 | 3138.7 | 3138.7 | 3210.7 | 3259.1 | 3281.2 | 3284.2
DPA0604 | Total zone substation transformer capacity | MVA | 16240.4 | 17554 | 17870.8 | 18129.4 | 18410.8 | 19028.1 | 19362.2 | 19642.9
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 540.35 | 540.35 | 540.35 | 540.35 | 569.45 | 841.68 | 774.68 | 950.88
6.3 Public lighting
DPA0701 | Public lighting luminaires | Number | 247401 | 256872 | 266182 | 274785 | 281885 | 288867 | 295811 | 300841
DPA0702 | Public lighting poles | Number | 103754 | 110226 | 119100 | 126681 | 132108 | 137567 | 142776 | 146755

## 7. Quality of services
7. Quality of services worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 7.1 Reliability
Table 7.1.1 Inclusive of MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 208.6766 | 109.4514 | 112.0264 | 217.0511 | 109.1623 | 539.5713 | 67.7116 | 537.8
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 208.6169 | 109.3452 | 107.9696 | 215.6279 | 107.4985 | 530.2095 | 67.7116 | 537.8
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.2003 | 1.3678 | 1.518 | 1.6702 | 1.6252 | 1.4891 | 0.86563 | 1.3699
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.1953 | 1.3466 | 1.4563 | 1.6311 | 1.4881 | 1.4324 | 0.86563 | 1.3699
Table 7.1.2 Exclusive of MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 128.2822 | 88.3271 | 104.4019 | 92.2123 | 89.3391 | 88.1404 | 64.1719 | 67.3031
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 128.2224 | 88.2209 | 100.3451 | 90.7891 | 87.6753 | 78.7787 | 64.1719 | 67.3031
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.7212 | 1.2762 | 1.4382 | 1.3363 | 1.5198 | 1.1571 | 0.84749 | 0.88238
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.7163 | 1.2549 | 1.3765 | 1.2972 | 1.3827 | 1.1003 | 0.84749 | 0.88238
Table 7.2 Energy not supplied
DQS0201 | Energy Not Supplied (planned) | GWh | 0.23127 | 1.0703 | 1.1275 | 1.3459 | 1.3956 | 1.1939 | 1.4089 | 1.1221
DQS0202 | Energy Not Supplied (unplanned) | GWh | 5.5144 | 3.1181 | 2.9508 | 6.1318 | 3.3482 | 30.2625 | 2.2626 | 15.3089
DQS02 | Energy Not Supplied - Total | GWh | 5.7456 | 4.1884 | 4.0783 | 7.4778 | 4.7438 | 31.4564 | 3.6715 | 16.431
Table 7.3 System losses
DQS03 | System losses | % | 5.8 | 5.73 | 5.69 | 5.59 | 5.41 | 4.92 | 4.93 | 4.75
Table 7.4 Capacity utilisation
DQS04 | Overall utilisation | % | 30.63% | 28.78% | 28.56% | 30.15% | 29.92% | 27.83% | 26.83% | 26.42%

## 8. Operating environment
8. Operating environment factors worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 8.1 Density factors
DOEF0101 | Customer density | Customer / km | 32.0118 | 31.9084 | 31.914 | 31.8011 | 31.79 | 31.8205 | 31.8617 | 31.9279
DOEF0102 | Energy density | MWh/customer | 17.0107 | 16.7519 | 16.7397 | 17.0836 | 16.9729 | 16.1726 | 15.7828 | 15.4849
DOEF0103 | Demand density | kVA / customer | 4.1035 | 4.0877 | 4.0385 | 4.2463 | 4.2135 | 3.9922 | 3.8656 | 3.8173
Table 8.2 Terrain factors
DOEF0201 | Rural proportion | km |  |  |  | 41.95% | 41.3% | 40.78% | 40.32% | 39.95%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 2013: 116423.125
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 2013: 97836
DOEF0204 | Total vegetation maintenance spans | Number of spans | 2013: 214259.125
DOEF0205 | Total number of spans | Number of spans |  |  |  | 415760 | 415963 | 416110 | 416430 | 416483
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years |  |  |  | 1.22 | 1.22 | 1.22 | 1.22 | 1.22
DOEF0207 | Average rural vegetation maintenance span cycle | Years |  |  |  | 1.91 | 1.91 | 1.91 | 1.91 | 1.91
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 2013: 2.89
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2013: 4.96
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 2011: 0.00035052; 2012: 0.00014732; 2013: 7.6201e-05
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 2011: 0.00035052; 2012: 0.00014732; 2013: 7.6201e-05
DOEF0212 | Tropical proportion | Number of spans | 2013: 146664
DOEF0213 | Standard vehicle access | km | 2013: 6440
DOEF0214 | Bushfire risk | Number of spans | 2013: 58052
Table 8.3 Service area factors
DOEF0301 | Route Line length | km | 37863 | 38739 | 39599 | 40484 | 41131 | 41689 | 42178 | 42587
| Table 8.4 Weather stations |  | 2006: Post code; 2007: Suburb; 2008: Materiality
DOEF04001 | Amberley |  | 2006: 4306; 2007: Amberley; 2008: Yes
DOEF04002 | Brisbane Airport |  | 2006: 4008; 2007: Brisbane Airport; 2008: Yes
DOEF04003 | Archerfield Airport |  | 2006: 4108; 2007: Archerfield; 2008: Yes
DOEF04004 | Coolangatta |  | 2006: 4225; 2007: Coolangatta; 2008: Yes
DOEF04005 | Maroochydore Airport |  | 2006: 4564; 2007: Marcoola; 2008: Yes