## Cover
Economic benchmarking data template
DNSP – trading name: | Jemena Electricity Networks (Vic) Limited
DNSP – Australian business number: |  | 82 064 651 083
Business address |  | Address | 321 Ferntree Gully Road
|  | Suburb | Mt Waverley
|  | State | VIC | Postcode | 3149
Postal address (if different to business address) |  | Address
Suburb
|  | State |  | Postcode
Contact name/s | Anton Murashev
Contact phone/s | (03) 8544 9036
Contact email address/s | anton.murashev@jemena.com.au

## 1. Contents
Contents
3. Opex
5. Operational data
2. Revenue
4. Assets (RAB)
7. Quality of services
6. Physical assets
1. Contents
8. Operating environment

## 2. Revenue
2. Revenue worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 2.1 Revenue grouping by chargeable quantity
DREV0101 | Revenue from Fixed Customer Charges | $'000 | 7985.031 | 7712.272 | 7460.288 | 7422.321 | 7733.754 | 8624.933 | 9403.431 | 10891.48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | $'000 | 65059.232 | 70420.205 | 70894.963 | 80957.991 | 82165.534 | 88274.304 | 91168.066 | 100062.145 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | $'000 | 33459.644 | 34715.583 | 35825.553 | 33118.871 | 35145.721 | 37931.215 | 39191.569 | 44355.252 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.978 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | $'000 | 4545.443 | 4670.132 | 4916.895 | 4625.698 | 4912.204 | 5588.009 | 6111.452 | 7141.883 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0106 | Revenue from controlled load customer charges | $'000 | 866.643 | 848.953 | 822.701 | 686.724 | 555.993 | 717.701 | 732.413 | 771.919 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0107 | Revenue from unmetered supplies | $'000 | 2764.862 | 1804.285 | 1653.891 | 1708.587 | 1733.271 | 1990.812 | 2101.35 | 2328.121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | $'000 | 31926.243 | 35036.472 | 36679.426 | 39466.092 | 41174.315 | 45099.95 | 50988.62 | 60707.637 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0110 | Revenue from metering charges | $'000 | 5654.635 | 7072.894 | 8841.232 | 10895.116 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0111 | Revenue from connection charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 377.827 | 729.595 | 879.536 | 846.835 | 789.556 | 2633.408 | 2843.928 | 2842.374
DREV0112 | Revenue from public lighting charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2301.011 | 2326.478 | 2484.925 | 2763.479 | 3054.068 | 3656.115 | 3660.351 | 3915.349
DREV0113 | Revenue from other Sources | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3315.183 | 4178.058 | 4769.7468 | 4954.348 | 5456.935 | 4981.714 | 5299.873 | 5842.572
DREV01 | Total revenue by chargeable quantity | $'000 | 152261.733 | 162280.796 | 167094.949 | 178881.4 | 173420.792 | 188226.924 | 199696.901 | 226279.415 |  | 5994.021 | 7234.131 | 8134.2078 | 8564.662 | 9300.559 | 11271.237 | 11804.152 | 12600.295
Table 2.2 Revenue grouping by Customer type or class
DREV0201 | Revenue from residential Customers | $'000 | 63724.708 | 66860.865 | 68080.853 | 72847.806 | 76755.05 | 82707.893 | 86393.638 | 96183.047 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0202 | Revenue from non-residential customers not on demand tariffs | $'000 | 34427.589 | 36948.842 | 36836.75 | 39272.119 | 38323.108 | 40618.963 | 39756.792 | 43587.605 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0203 | Revenue from non-residential low voltage demand tariff customers | $'000 | 31450.171 | 34434.325 | 36296.925 | 39140.846 | 41276.87 | 46842.253 | 54268.648 | 64709.132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0204 | Revenue from non-residential high voltage demand tariff customers | $'000 | 14239.768 | 15159.583 | 15385.298 | 15016.926 | 15332.494 | 16067.002 | 17176.473 | 19471.509 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0205 | Revenue from unmetered supplies | $'000 | 2764.862 | 1804.285 | 1653.891 | 1708.587 | 1733.271 | 1990.812 | 2101.35 | 2328.121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0206 | Revenue from Other Customers | $'000 | 5654.635 | 7072.894 | 8841.232 | 10895.116 | 0 | 0 | 0 | 0 |  | 5994.021 | 7234.131 | 8134.2078 | 8564.662 | 9300.559 | 11271.237 | 11804.152 | 12600.295
DREV02 | Total revenue by customer class | $'000 | 152261.733 | 162280.794 | 167094.949 | 178881.4 | 173420.793 | 188226.923 | 199696.901 | 226279.414 |  | 5994.021 | 7234.131 | 8134.2078 | 8564.662 | 9300.559 | 11271.237 | 11804.152 | 12600.295
Table 2.3 Revenue (penalties) allowed (deducted) through incentive schemes
DREV0301 | EBSS | $'000 | 1995.695 | 2132.635 | 2168.438 | 2304.836 | 2310.005 | 8828.508 | 9366.49 | 10214.323 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0302 | STPIS | $'000 | 960.29 | -432.874 | 0 | -221.832 | 4835.448 | -271.858 | -288.424 | 8191.892 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV0303 | Other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DREV03 | Total revenue of incentive schemes | $'000 | 2955.985 | 1699.761 | 2168.438 | 2083.004 | 7145.453 | 8556.65 | 9078.066 | 18406.215 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3. Opex
3. Opex worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
| Table 3.1 Opex categories | 1
Table 3.1.1 Current opex categories and cost allocations
Maintenance
DOPEX0101A | Routine | $'000 | 2924.3663 | 2594.9841 | 2460.6971 | 2178.4127 | 2608.1081 | 3431.8264 | 1504.5737 | 4804.904 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0102A | Condition based | $'000 | 3641.2191 | 3231.0951 | 3063.8902 | 2712.4091 | 3247.4362 | 4838.4624 | 3923.7471 | 3366.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0103A | Vegetation Control | $'000 | 1098.8 | 1027.6 | 1060.221 | 931.395 | 1139.5027 | 2427.3734 | 4974.9005 | 4531.8454 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0104A | Emergency - Fault | $'000 | 5339.7799 | 4738.3407 | 4493.1379 | 3977.6974 | 4762.3047 | 4558.8709 | 5990.1233 | 7238.251 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0105A | Inspection | $'000 | 1336.8347 | 1186.2621 | 1124.8746 | 995.832 | 1192.2615 | 1152.1343 | 1338.9172 | 1962.0546 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0106A | SCADA/Network Control | $'000 | 471.626 | 351.611 | 392.2622 | 298.7816 | 59.8323 | 1.9242 | 134.972 | 47.825 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0107A | Other - Standard Control Services (a) | $'000 | 61.7118 | 72.982 | 0 | 0 | 0 | 1370.7718 | 1031 | 3454.915 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0108A | Metering | $'000 | 480 | 397 | 522.383 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0109A | Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1272.5795 | 1130.9394 | 1280.5541 | 1420.9547 | 1667.9735 | 1510.9906 | 1987.6778 | 1892.951
DOPEX0110A | Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 358.5288 | 302.3883 | 308.8361 | 242.6031 | 303.4554 | 269.1667 | 515.8604 | 481.4127
DOPEX0111A | Negotiated services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Activities |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0112A | Network Operating Costs | $'000 | 7386 | 7481 | 6812.4849 | 5052.9869 | 6437.6632 | 5864.8733 | 15648.113 | 11047.6203 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0113A | Billing & Revenue Collection | $'000 | 4196 | 4362 | 1754.144 | 1512.6069 | 909.4138 | 740.3954 | 811.3801 | 828.3736 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0114A | Advertising/Marketing | $'000 | 810 | 718 | 550.7141 | 490.7149 | 548.0116 | 717.5378 | 534.9798 | 754.0649 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0115A | Customer Service | $'000 | 4624 | 4054 | 2435.7738 | 2155.0257 | 2793.6264 | 3905.5997 | 2109.6591 | 3293.2246 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0116A | Regulatory | $'000 | 2475.888 | 3338.078 | 1232.968 | 1577.3231 | 719.1082 | 2786.9194 | 2185.0213 | 2241.4315 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0117A | Regulatory Reset | $'000 | 0 | 0 | 0 | 2529.4739 | 4831.4513 | 319.7582 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0118A | IT | $'000 | 3315.9219 | 7017.3914 | 9704.6758 | 8455.3047 | 8290.3853 | 7006.3929 | 7271.242 | 4892.2526 |  | 549.6081 | 1163.12 | 1608.5325 | 1401.4515 | 476.296 | 1406.8001 | 1343.7351 | 366.1503
DOPEX0119A | Licence fee | $'000 | 668.112 | 7.922 | 387.998 | -59.837 | -111.6629 | 13.9566 | 15.18 | 22.3005 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0120A | GSL payments | $'000 | 247.4515 | 205.693 | 12.859 | 13.877 | 70.8 | 28.2 | 8.81 | 66.93 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0121A | Non-network alternatives costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0122A | Debt raising costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0123A | Other - Standard Control Services (a) | $'000 | 9755.6266 | 12599.9156 | 9941.8554 | 17622.5143 | 23743.5386 | 23455.867 | 26159.611 | 24067.2329 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0124A | Metering | $'000 | 3939.627 | 5515.524 | 6271.4015 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0125A | Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 557.6358 | 495.57 | 560.9217 | 622.6528 | 730.8948 | 552.1676 | 980.9253 | 876.745
DOPEX0126A | Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3115.1246 | 1757.992 | 2712.9739 | 2837.6738 | 4336.6064 | 3772.1015 | 3273.6076 | 3712.7547
DOPEX0127A | Negotiated services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX01A | Total opex | $'000 | 52772.9648 | 58899.399 | 52222.3404 | 50444.5183 | 61241.781 | 62620.8639 | 73642.2303 | 72620.2159 |  | 5853.4768 | 4850.0096 | 6471.8183 | 6525.336 | 7515.226 | 7511.2265 | 8101.8062 | 7330.0136
Table 3.1.2 Historical opex categories and cost allocations
| Maintenance | $'000
DOPEX0101B | Subtransmission | $'000 | 2314.0628 | 3441.2577 | 2123.2908 | 1878.4598 | 3435.4999 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0102B | CBD | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0103B | Urban | $'000 | 9375.9441 | 13943.0269 | 8602.9886 | 7611.0011 | 8641.7831 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0104B | Rural – short | $'000 | 1609.2046 | 2393.0585 | 1476.5413 | 1306.2853 | 139.3332 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0105B | Rural – long | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0106B | Non-standard metering | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0107B | Standard metering | $'000 | 574.5865 | 646.291 | 522.383 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0108B | Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1593.3616 | 2613.1818 | 1841.4758 | 2043.6075 | 2263.0832 | 0 | 0 | 0
DOPEX0109B | SCADA/Network control | $'000 | 474.1778 | 635.4 | 392.2622 | 298.7816 | 56.4455 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0110B | Other | $'000 | 182.5127 | 149.6372 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Activities
DOPEX0111B | Network operating costs | $'000 | 7773.4153 | 11008.7642 | 6812.4849 | 5052.9869 | 6108.1334 | 0 | 0 | 0 |  | 4207.5509 | 6397.7718 | 4103.5053 | 4071.7939 | 4444.6709 | 0 | 0 | 0
DOPEX0112B | Premium Feed In tariff |  | 0 | 0 | 0 | 11.696 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0113B | Electricity purchasing | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0114B | Meter data services | $'000 | 0 | 7651.1147 | 5447.3394 | 0 | 0 | 0 | 0 | 0 |  | 3568.7082 | 90.7266 | 64.5944 | 0 | 0 | 0 | 0 | 0
DOPEX0115B | Billing & Revenue Collection | $'000 | 3507.2002 | 7236.3934 | 1754.144 | 1512.6069 | 856.2572 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0116B | Advertising/Marketing | $'000 | 867.6931 | 1098.2908 | 550.7141 | 490.7149 | 515.9795 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0117B | Customer Service | $'000 | 4059.7258 | 7125.0168 | 2435.7738 | 2155.0257 | 2630.3556 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0118B | Regulatory | $'000 | 2910.3692 | 5606.517 | 1620.966 | 4046.96 | 5120.9849 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0119B | Goodwill Amortisation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0120B | Other | $'000 | 19107.0571 | 28557.5627 | 20483.4524 | 26080 | 30622 | 0 | 0 | 0 |  | 1176.3763 | 981.5666 | 630.5414 | 615.9725 | 600.9386 | 0 | 0 | 0
DOPEX0121B | Unregulated (included in Table AA of RAS) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -2345.9109 | -2406.9 | -168.2985 | -206.038 | -201.6802
DOPEX01B | Total opex | $'000 | 52755.9492 | 89492.3308 | 52222.3404 | 50444.5183 | 58126.7724 | 0 | 0 | 0 |  | 8200.0861 | 7676.3468 | 6471.8183 | 6525.336 | 7107.0125 | 0 | 0 | 0
Table 3.2 Opex consistency
Table 3.2.1 Opex consistency - current cost allocation approach
DOPEX0201 | Opex for network services | $'000
DOPEX0202 | Opex for metering | $'000
DOPEX0203 | Opex for connection services | $'000
DOPEX0204 | Opex for public lighting | $'000
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000
DOPEX0206 | Opex for transmission connection point planning | $'000
Table 3.2.2 Opex consistency - historical cost allocation approaches
DOPEX0201A | Opex for network services | $'000 | 46756.0923 | 51252.3522 | 43220.3586 | 48349.7257 | 58605.5751 | 59886.8984 | 70098.0678 | 69150.3039
DOPEX0202A | Opex for metering | $'000 | 4419.627 | 5912.524 | 6793.7846 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0203A | Opex for connection services | $'000 | 1392.0677 | 1521.1379 | 1986.2769 | 1863.9954 | 2396.1768 | 2484.3353 | 3284.5471 | 3199.912 |  | 0 | 0 | 0 | 0 | 0 | 903.4591 | 0 | 0
DOPEX0204A | Opex for public lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1830.2153 | 1626.5094 | 1841.4758 | 2043.6075 | 2398.8682 | 2063.1582 | 2968.6031 | 2769.696
DOPEX0205A | Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0206A | Opex for transmission connection point planning | $'000 | 205.1778 | 213.3849 | 221.9203 | 230.7971 | 240.029 | 249.6302 | 259.6154 | 270 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.3 Provisions
For each provision report:
Provision for Doubtful Debts
Opex component
DOPEX0301 | The carrying amount at the beginning of the period | $'000 | -7386.4938 | -232.5146 | -415.4545 | -115.1988 | -114.4961 | -67.752 | -28.0913 | -45.6842
DOPEX0302 | Increases to the provision | $'000 | -2552.5658 | -4021.7418 | -1894.1586 | -1395.659 | -1235.6763 | -379.4589 | -313.5626 | -933.7167
DOPEX0303 | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 82.5146 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0304 | Unused amounts reversed during the period | $'000 | 9706.545 | 3756.2873 | 2194.4143 | 1396.3617 | 1282.4204 | 419.1197 | 295.9696 | 958.3535
DOPEX0305 | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306 | The carrying amount at the end of the period | $'000 | -232.5146 | -415.4545 | -115.1988 | -114.4961 | -67.752 | -28.0913 | -45.6842 | -21.0474
Capex component
DOPEX0307 | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308 | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309 | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310 | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311 | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312 | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provision for Claims/Compensation
Opex component
DOPEX0301A | The carrying amount at the beginning of the period | $'000 | -348.846 | -368.888 | -240.441 | -157.5647 | -337.5099 | -70.8528 | -106.1254 | -335.3016
DOPEX0302A | Increases to the provision | $'000 | -542.575 | -1062.292 | -373.8215 | -817.3661 | -121.6457 | -595.9546 | -2418.8901 | -703.2424
DOPEX0303A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 522.533 | 1190.739 | 456.6977 | 637.4209 | 388.3028 | 560.682 | 2189.7139 | 0
DOPEX0304A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 854
DOPEX0305A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0306A | The carrying amount at the end of the period | $'000 | -368.888 | -240.441 | -157.5647 | -337.5099 | -70.8528 | -106.1254 | -335.3016 | -184.544
Capex component
DOPEX0307A | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0308A | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0309A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0310A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0311A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPEX0312A | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Table 3.4 Opex for high voltage customers |  | Standard control services 2006: End user costs (not standard control services)
|  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
DOPEX0401 | Opex for high voltage customers | $'000 | 76.621 | 79.6388 | 81.1221 | 85.1629 | 86.237 | 88.641 | 91.7611 | 93.6
Rec for Table 3.1.1 using Calanderised Regulatory submissions
As per the returns |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Maintenance SCS | (RAS/RIN/EDPR) |  | 14874.3378 | 13202.875 | 12595.0829 | 11094.5279 | 12273.0618 | 17781.3635 | 18898.234 | 25406.785
Maintenance ACS | (RAS/RIN/EDPR) |  | 2310.2153 | 2023.5094 | 2363.8588 | 2590.4922 | 2998.3521 | 3738.0944 | 4287.6884 | 4237.1674
Activities SCS | (RAS/RIN/EDPR) |  | 33479 | 39784 | 32833.473 | 39349.9904 | 45854 | 44839.5004 | 54743.9963 | 47213.4309
Activities ACS | (RAS/RIN/EDPR) |  | 9958.3885 | 10323.5243 | 11070.0426 | 12101.3705 | 13902.6281 | 21539.6482 | 26151.1448 | 23706.7512
Total (per Returns) |  |  | 60621.9416 | 65333.9086 | 58862.4573 | 65136.381 | 75028.042 | 87898.6066 | 104081.0635 | 100564.1345
Sum of the Benchmark RIN |  |  | 58626.4416 | 63749.4086 | 58694.1587 | 56969.8542 | 68757.0069 | 70132.0904 | 81744.0365 | 79950.2295
Difference |  |  | 1995.5 | 1584.5 | 168.2985 | 8166.5268 | 6271.0351 | 17766.5162 | 22337.027 | 20613.905
Explanation
| Margin |  | 0 | 0 | 0 | 0 | -3523.222 | 0 | 0 | 0
| Metering |  | 0 | 0 | 0 | 7960.4888 | 9592.2874 | 16811.909 | 20060.9257 | 20194.9701
| Unregulated Services |  | 1995.5 | 1584.5 | 168.2985 | 206.038 | 201.6802 | 954.6072 | 2276.1013 | 418.9349
| Total |  | 1995.5 | 1584.5 | 168.2985 | 8166.5268 | 6270.7457 | 17766.5162 | 22337.027 | 20613.905
| Diff |  | -7.276e-12 | 0 | 3.4106e-12 | -8.1855e-12 | 0.28939 | 0 | 0 | 0
Note: for 2006, the amounts in table 3.1.2 are based of the RAS submission for the Financial Year ended 30th June 2006. Hence, the total will not agree with table 3.1.1
Note: for 2007, the amounts in table 3.1.2 are based of the RAS submission for the 18 months ended 31st Dec 2007. Hence, the total will not agree with table 3.1.1

## 4. Assets (RAB)
4. Assets (RAB) worksheet
| Scope of services |  | Network services | [8 empty] | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 4.1 Regulatory Asset Base Values
For total asset base:
DRAB0101 | Opening value | $'000 | 460096.2998 | 495664.2687 | 537963.7178 | 549503.9331 | 608125.8077 | 626852.6389 | 722141.084 | 809008.6792 |  | 598739.2508 | 636139.188 | 681450.7952 | 691341.7446 | 752442.0239 | 764196.3843 | 862505.3087 | 954586.8212 |  | 529.6184 | 1033.719 | 1318.8674 | 2182.9633 | 2721.1368 | 6169.9686 | 6477.9718 | 6585.6203
DRAB0102 | Inflation addition | $'000 | 13923.1342 | 19522.1574 | 10019.8766 | 27371.2552 | 7670.0552 | 18507.9978 | 26728.8587 | 16957.5865 |  | 18118.6568 | 25054.8812 | 12692.404 | 34436.3164 | 9490.2598 | 22493.8847 | 31862.8102 | 19985.9464 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0103 | Straight line depreciation | $'000 | -29220.5984 | -31713.9106 | -32953.0097 | -34153.5175 | -35426.0781 | -37018.8871 | -44475.2524 | -52565.4612 |  | -37950.5869 | -40938.691 | -42457.0463 | -45764.3892 | -46824.1677 | -48962.4293 | -56962.6027 | -65593.5672 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0104 | Regulatory depreciation | $'000 | -15297.4642 | -12191.7531 | -22933.1331 | -6782.2623 | -27756.0229 | -18510.8893 | -17746.3938 | -35607.8747 |  | -19831.9301 | -15883.8097 | -29764.6423 | -11328.0728 | -37333.908 | -26468.5446 | -25099.7925 | -45607.6208 |  | -36.8994 | -57.3266 | -89.1364 | -128.4405 | -154.6812 | -386.9556 | -417.4572 | -451.6604
DRAB0105 | Actual additions (recognised in RAB) | $'000 | 50952.9072 | 54594.7908 | 34722.8067 | 65418.4076 | 83539.3167 | 114252.5191 | 104682.6796 | 112219.4055 |  | 57319.3414 | 61299.0056 | 39905.0499 | 72442.6228 | 91897.1632 | 125230.6537 | 117249.9956 | 122164.859 |  | 541 | 342.475 | 953.2323 | 666.614 | 418.21 | 694.9588 | 525.1057 | 843.0247
DRAB0106 | Disposals | $'000 | -87.4741 | -103.5886 | -249.4583 | -14.2707 | -96.9896 | -453.1847 | -68.6906 | -283.0103 |  | -87.4741 | -103.5886 | -249.4583 | -14.2707 | -96.9896 | -453.1847 | -68.6906 | -283.0103 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0107 | Closing value for asset value | $'000 | 495664.2687 | 537963.7178 | 549503.9331 | 608125.8077 | 626852.6389 | 722141.084 | 809008.6792 | 885337.1997 |  | 636139.188 | 681450.7952 | 691341.7446 | 752442.0239 | 764196.3843 | 862505.3087 | 954586.8212 | 1030861.0491 |  | 1033.719 | 1318.8674 | 2182.9633 | 2721.1368 | 6169.9686 | 6477.9718 | 6585.6203 | 6976.9846
Table 4.2 Asset value roll forward
For overhead network assets less than 33kV:
DRAB0201 | Opening value | $'000 | 309872.0908 | 323729.2264 | 338032.7457 | 342928.174 | 364639.1591 | 376549.8342 | 427090.7361 | 464678.4803 |  | 381830.4815 | 400062.1491 | 419618.2963 | 426703.9094 | 454568.7228 | 466588.9358 | 525051.5364 | 572668.7837 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0202 | Inflation addition | $'000 | 9377.1472 | 12750.35 | 6296.0499 | 17081.5421 | 4599.0525 | 10961.6569 | 15624.6371 | 9648.0923 |  | 11554.7051 | 15756.7869 | 7815.6266 | 21254.4822 | 5733.2992 | 13582.7647 | 19208.4235 | 11890.2888 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0203 | Straight line depreciation | $'000 | -14886.3715 | -15724.2758 | -16289.856 | -17426.2636 | -17680.6708 | -18605.3409 | -20556.6233 | -21805.307 |  | -18343.2796 | -19431.942 | -20221.4777 | -21683.4177 | -22041.1871 | -23054.1761 | -25271.6478 | -26872.8145 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0204 | Regulatory depreciation | $'000 | -5509.2244 | -2973.9257 | -9993.8061 | -344.7216 | -13081.6183 | -7643.684 | -4931.9862 | -12157.2146 |  | -6788.5746 | -3675.1551 | -12405.8511 | -428.9354 | -16307.8879 | -9471.4114 | -6063.2243 | -14982.5258 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0205 | Actual additions (recognised in RAB) | $'000 | 19366.36 | 17277.4451 | 15004.6844 | 22055.7067 | 41562.3168 | 58184.5859 | 42519.7304 | 56298.3929 |  | 25020.2421 | 23231.3024 | 19606.9141 | 28293.7489 | 48984.7259 | 67934.012 | 53680.4716 | 65130.7189 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0206 | Disposals | $'000 | 0 | 0 | -115.45 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -115.45 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0207 | Closing value for overhead distribution asset value | $'000 | 323729.2264 | 338032.7457 | 342928.174 | 364639.1591 | 376549.8342 | 427090.7361 | 464678.4803 | 508819.6585 |  | 400062.1491 | 419618.2963 | 426703.9094 | 454568.7228 | 466588.9358 | 525051.5364 | 572668.7837 | 622816.9768 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | $'000 | 22298.6797 | 23295.8519 | 24325.1462 | 24677.4257 | 26239.7681 | 27096.8712 | 30733.8408 | 33438.6893 |  | 27476.8714 | 28788.8389 | 30196.1172 | 30706.0044 | 32711.1819 | 33576.1675 | 37783.1898 | 41209.7706 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0302 | Inflation addition | $'000 | 674.7881 | 917.5269 | 453.0695 | 1229.2034 | 330.952 | 788.8109 | 1124.3632 | 694.2856 |  | 831.4872 | 1133.8728 | 562.4197 | 1529.492 | 412.5735 | 977.4282 | 1382.2558 | 855.6361 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0303 | Straight line depreciation | $'000 | -1071.2369 | -1131.5333 | -1172.233 | -1254.0099 | -1272.3173 | -1338.8574 | -1479.2735 | -1569.1299 |  | -1319.9992 | -1398.3404 | -1455.1561 | -1560.3586 | -1586.104 | -1658.9996 | -1818.5709 | -1933.7924 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0304 | Regulatory depreciation | $'000 | -396.4488 | -214.0064 | -719.1634 | -24.8065 | -941.3652 | -550.0465 | -354.9102 | -874.8443 |  | -488.512 | -264.4675 | -892.7364 | -30.8666 | -1173.5306 | -681.5714 | -436.3152 | -1078.1563 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0305 | Actual additions (recognised in RAB) | $'000 | 1393.621 | 1243.3008 | 1079.7508 | 1587.1489 | 2990.8624 | 4187.0161 | 3059.7588 | 4051.284 |  | 1800.4796 | 1671.7458 | 1410.9315 | 2036.0441 | 3524.9858 | 4888.5938 | 3862.8959 | 4686.8662 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0306 | Disposals | $'000 | 0 | 0 | -8.3079 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -8.3079 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0307 | Closing value for underground asset value | $'000 | 23295.8519 | 24325.1462 | 24677.4257 | 26239.7681 | 27096.8712 | 30733.8408 | 33438.6893 | 36615.129 |  | 28788.8389 | 30196.1172 | 30706.0044 | 32711.1819 | 33576.1675 | 37783.1898 | 41209.7706 | 44818.4805 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | $'000 | 16754.1295 | 17503.3556 | 18276.7167 | 18541.4021 | 19715.2692 | 20359.2543 | 23091.8941 | 25124.1841 |  | 20644.7677 | 21630.5155 | 22687.8751 | 23070.9792 | 24577.5708 | 25227.4784 | 28388.4277 | 30962.9917 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0402 | Inflation addition | $'000 | 507.0025 | 689.3845 | 340.4141 | 923.5629 | 248.6611 | 592.6736 | 844.7911 | 521.652 |  | 624.7385 | 851.9362 | 422.5744 | 1149.185 | 309.9874 | 734.3914 | 1038.5589 | 642.8828 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0403 | Straight line depreciation | $'000 | -804.8747 | -850.1784 | -880.7581 | -942.2013 | -955.9565 | -1005.9515 | -1111.4532 | -1178.9669 |  | -991.7824 | -1050.6441 | -1093.3326 | -1172.3766 | -1191.7204 | -1246.4906 | -1366.3846 | -1452.9563 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0404 | Regulatory depreciation | $'000 | -297.8721 | -160.7939 | -540.344 | -18.6384 | -707.2955 | -413.2779 | -266.6621 | -657.3149 |  | -367.0439 | -198.7079 | -670.7582 | -23.1916 | -881.7331 | -512.0992 | -327.8257 | -810.0735 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0405 | Actual additions (recognised in RAB) | $'000 | 1047.0982 | 934.155 | 811.2716 | 1192.5055 | 2247.1867 | 3145.9177 | 2298.952 | 3043.9352 |  | 1352.7917 | 1256.0675 | 1060.1044 | 1529.7832 | 2648.5007 | 3673.0486 | 2902.3897 | 3521.4804 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0406 | Disposals | $'000 | 0 | 0 | -6.2421 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -6.2421 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0407 | Closing value for distribution substations and transformers asset value | $'000 | 17503.3556 | 18276.7167 | 18541.4021 | 19715.2692 | 20359.2543 | 23091.8941 | 25124.1841 | 27510.8043 |  | 21630.5155 | 22687.8751 | 23070.9792 | 24577.5708 | 25227.4784 | 28388.4277 | 30962.9917 | 33674.3986 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | $'000 | 39124.4036 | 45097.0304 | 53222.888 | 57791.2874 | 68363.8575 | 66659.6101 | 77672.9335 | 86592.8788 |  | 39124.4036 | 45097.0304 | 53222.888 | 57791.2874 | 68363.8575 | 66659.6101 | 77672.9335 | 86592.8788 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0502 | Inflation addition | $'000 | 1183.9572 | 1776.1848 | 991.3062 | 2878.6329 | 862.2469 | 2029.0443 | 2949.6789 | 1858.113 |  | 1183.9572 | 1776.1848 | 991.3062 | 2878.6329 | 862.2469 | 2029.0443 | 2949.6789 | 1858.113 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0503 | Straight line depreciation | $'000 | -1773.3806 | -1932.8104 | -2053.4583 | -2226.0834 | -2309.2206 | -2592.0078 | -2951.2091 | -3213.8397 |  | -1773.3806 | -1932.8104 | -2053.4583 | -2226.0834 | -2309.2206 | -2592.0078 | -2951.2091 | -3213.8397 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0504 | Regulatory depreciation | $'000 | -589.4234 | -156.6256 | -1062.1521 | 652.5495 | -1446.9738 | -562.9635 | -1.5303 | -1355.7267 |  | -589.4234 | -156.6256 | -1062.1521 | 652.5495 | -1446.9738 | -562.9635 | -1.5303 | -1355.7267 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0505 | Actual additions (recognised in RAB) | $'000 | 6562.0502 | 8282.4832 | 5630.5515 | 9920.0206 | 5869.6859 | 11576.2868 | 8921.4756 | 12634.5006 |  | 6562.0502 | 8282.4832 | 5630.5515 | 9920.0206 | 5869.6859 | 11576.2868 | 8921.4756 | 12634.5006 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0506 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0507 | Closing value for overhead asset 33kV and above value | $'000 | 45097.0304 | 53222.888 | 57791.2874 | 68363.8575 | 66659.6101 | 77672.9335 | 86592.8788 | 97871.6527 |  | 45097.0304 | 53222.888 | 57791.2874 | 68363.8575 | 66659.6101 | 77672.9335 | 86592.8788 | 97871.6527 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | $'000 | 1500.7373 | 1729.8358 | 2041.5282 | 2216.7632 | 2622.3068 | 2556.9351 | 2979.3852 | 3321.5372 |  | 1500.7373 | 1729.8358 | 2041.5282 | 2216.7632 | 2622.3068 | 2556.9351 | 2979.3852 | 3321.5372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0602 | Inflation addition | $'000 | 45.4143 | 68.1311 | 38.0246 | 110.4189 | 33.0741 | 77.8303 | 113.144 | 71.2737 |  | 45.4143 | 68.1311 | 38.0246 | 110.4189 | 33.0741 | 77.8303 | 113.144 | 71.2737 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0603 | Straight line depreciation | $'000 | -68.0235 | -74.1389 | -78.7667 | -85.3883 | -88.5773 | -99.4245 | -113.2027 | -123.2767 |  | -68.0235 | -74.1389 | -78.7667 | -85.3883 | -88.5773 | -99.4245 | -113.2027 | -123.2767 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0604 | Regulatory depreciation | $'000 | -22.6092 | -6.0079 | -40.7421 | 25.0305 | -55.5031 | -21.5942 | -0.058698 | -52.0031 |  | -22.6092 | -6.0079 | -40.7421 | 25.0305 | -55.5031 | -21.5942 | -0.058698 | -52.0031 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0605 | Actual additions (recognised in RAB) | $'000 | 251.7077 | 317.7002 | 215.9772 | 380.513 | 225.1499 | 444.0442 | 342.2107 | 484.6353 |  | 251.7077 | 317.7002 | 215.9772 | 380.513 | 225.1499 | 444.0442 | 342.2107 | 484.6353 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0606 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0607 | Closing value for underground asset 33kV and above value | $'000 | 1729.8358 | 2041.5282 | 2216.7632 | 2622.3068 | 2556.9351 | 2979.3852 | 3321.5372 | 3754.1694 |  | 1729.8358 | 2041.5282 | 2216.7632 | 2622.3068 | 2556.9351 | 2979.3852 | 3321.5372 | 3754.1694 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone substations and transformers
DRAB0701 | Opening value | $'000 | 36753.5362 | 42364.2328 | 49997.6782 | 54289.241 | 64221.1327 | 62620.1595 | 72966.0956 | 81345.5085 |  | 36753.5362 | 42364.2328 | 49997.6782 | 54289.241 | 64221.1327 | 62620.1595 | 72966.0956 | 81345.5085 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0702 | Inflation addition | $'000 | 1112.2116 | 1668.5512 | 931.2349 | 2704.193 | 809.9963 | 1906.088 | 2770.9337 | 1745.5147 |  | 1112.2116 | 1668.5512 | 931.2349 | 2704.193 | 809.9963 | 1906.088 | 2770.9337 | 1745.5147 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0703 | Straight line depreciation | $'000 | -1665.917 | -1815.6856 | -1929.0225 | -2091.1868 | -2169.2861 | -2434.9369 | -2772.3713 | -3019.0869 |  | -1665.917 | -1815.6856 | -1929.0225 | -2091.1868 | -2169.2861 | -2434.9369 | -2772.3713 | -3019.0869 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0704 | Regulatory depreciation | $'000 | -553.7054 | -147.1344 | -997.7876 | 613.0062 | -1359.2898 | -528.8489 | -1.4375 | -1273.5721 |  | -553.7054 | -147.1344 | -997.7876 | 613.0062 | -1359.2898 | -528.8489 | -1.4375 | -1273.5721 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0705 | Actual additions (recognised in RAB) | $'000 | 6164.402 | 7780.5799 | 5289.3504 | 9318.8855 | 5513.9936 | 10874.785 | 8380.8505 | 11868.8729 |  | 6164.402 | 7780.5799 | 5289.3504 | 9318.8855 | 5513.9936 | 10874.785 | 8380.8505 | 11868.8729 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0706 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0707 | Closing value for zone substations and transformers | $'000 | 42364.2328 | 49997.6782 | 54289.241 | 64221.1327 | 62620.1595 | 72966.0956 | 81345.5085 | 91940.8093 |  | 42364.2328 | 49997.6782 | 54289.241 | 64221.1327 | 62620.1595 | 72966.0956 | 81345.5085 | 91940.8093 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For easements:
DRAB0801 | Opening value | $'000
DRAB0802 | Inflation addition | $'000
DRAB0805 | Actual additions (recognised in RAB) | $'000
DRAB0806 | Disposals | $'000
DRAB0807 | Closing value for easements asset value | $'000
For meters:
DRAB0901 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 40099.5362 | 38004.1632 | 36039.9235 | 33152.1869 | 29345.5153 | 23334.493 | 18375.7724 | 13223.2336 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0902 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1213.466 | 1496.8262 | 671.2638 | 1651.3384 | 370.1236 | 682.5675 | 687.3174 | 288.0568 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0903 | Straight line depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -3308.839 | -3461.0659 | -3559.0004 | -5458.01 | -5230.345 | -5641.2881 | -5839.8562 | -5956.8874 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0904 | Regulatory depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -2095.373 | -1964.2397 | -2887.7366 | -3806.6716 | -4860.2213 | -4958.7206 | -5152.5389 | -5668.8306 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0905 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0906 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB0907 | Closing value for meters asset value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 38004.1632 | 36039.9235 | 33152.1869 | 29345.5153 | 23334.493 | 18375.7724 | 13223.2336 | 7554.403 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For “other” asset items with long lives:
DRAB1001 | Opening value | $'000 | 1467.408 | 1514.2567 | 1565.1755 | 1808.8751 | 1979.676 | 2021.7836 | 2327.5329 | 3055.9438 |  | 18983.6021 | 18031.9431 | 17144.6494 | 16160.6085 | 15687.0978 | 14644.4141 | 14009.3022 | 13810.6599 |  | 529.6184 | 1033.719 | 1318.8674 | 2182.9633 | 2721.1368 | 6169.9686 | 6477.9718 | 6585.6203
DRAB1002 | Inflation addition | $'000 | 44.4057 | 59.6403 | 29.1523 | 90.1016 | 24.9689 | 62.0975 | 89.171 | 65.3656 |  | 574.4694 | 710.2034 | 319.3287 | 804.9736 | 197.8553 | 413.9739 | 500.3585 | 280.891 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1003 | Straight line depreciation | $'000 | -199.2307 | -192.7219 | -189.5621 | -168.8418 | -160.2411 | -204.2354 | -234.7112 | -284.1886 |  | -1727.8022 | -1781.4974 | -1707.479 | -1528.0255 | -1417.9188 | -1496.9729 | -1572.9519 | -1649.2477 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1004 | Regulatory depreciation | $'000 | -154.825 | -133.0816 | -160.4098 | -78.7402 | -135.2722 | -142.1379 | -145.5402 | -218.823 |  | -1153.3328 | -1071.294 | -1388.1503 | -723.0519 | -1220.0635 | -1082.999 | -1072.5934 | -1368.3568 |  | -36.8994 | -57.3266 | -89.1364 | -128.4405 | -154.6812 | -386.9556 | -417.4572 | -451.6604
DRAB1005 | Actual additions (recognised in RAB) | $'000 | 207.7385 | 191.1825 | 412.3917 | 250.5306 | 389.904 | 479.3077 | 878.7136 | 913.9573 |  | 207.7385 | 191.1825 | 412.3917 | 250.5306 | 389.904 | 479.3077 | 878.7136 | 913.9573 |  | 541 | 342.475 | 953.2323 | 666.614 | 418.21 | 694.9588 | 525.1057 | 843.0247
DRAB1006 | Disposals | $'000 | -6.0648 | -7.1821 | -8.2824 | -0.98943 | -6.7246 | -31.4206 | -4.7625 | -19.6219 |  | -6.0648 | -7.1821 | -8.2824 | -0.98943 | -6.7246 | -31.4206 | -4.7625 | -19.6219 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1007 | Closing value for “other” asset (long life) value | $'000 | 1514.2567 | 1565.1755 | 1808.8751 | 1979.676 | 2021.7836 | 2327.5329 | 3055.9438 | 3731.4561 |  | 18031.9431 | 17144.6494 | 16160.6085 | 15687.0978 | 14644.4141 | 14009.3022 | 13810.6599 | 13336.6385 |  | 1033.719 | 1318.8674 | 2182.9633 | 2721.1368 | 6169.9686 | 6477.9718 | 6585.6203 | 6976.9846
For “other” asset items with short lives:
DRAB1101 | Opening value | $'000 | 32325.3147 | 40430.4792 | 50501.8392 | 47250.7645 | 60344.6382 | 68988.1907 | 85278.6659 | 111451.4572 |  | 32325.3147 | 40430.4792 | 50501.8392 | 47250.7645 | 60344.6382 | 68988.1907 | 85278.6659 | 111451.4572 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1102 | Inflation addition | $'000 | 978.2076 | 1592.3887 | 940.6251 | 2353.6005 | 761.1035 | 2089.7963 | 3212.1397 | 2353.2896 |  | 978.2076 | 1592.3887 | 940.6251 | 2353.6005 | 761.1035 | 2089.7963 | 3212.1397 | 2353.2896 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1103 | Straight line depreciation | $'000 | -8751.5635 | -9992.5662 | -10359.353 | -9959.5423 | -10789.8085 | -10738.1328 | -15256.4081 | -21371.6656 |  | -8751.5635 | -9992.5662 | -10359.353 | -9959.5423 | -10789.8085 | -10738.1328 | -15256.4081 | -21371.6656 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1104 | Regulatory depreciation | $'000 | -7773.3559 | -8400.1775 | -9418.7279 | -7605.9418 | -10028.7049 | -8648.3364 | -12044.2684 | -19018.376 |  | -7773.3559 | -8400.1775 | -9418.7279 | -7605.9418 | -10028.7049 | -8648.3364 | -12044.2684 | -19018.376 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1105 | Actual additions (recognised in RAB) | $'000 | 15959.9296 | 18567.9441 | 6278.8291 | 20713.0968 | 24740.2175 | 25360.5757 | 38280.9879 | 22923.8275 |  | 15959.9296 | 18567.9441 | 6278.8291 | 20713.0968 | 24740.2175 | 25360.5757 | 38280.9879 | 22923.8275 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1106 | Disposals | $'000 | -81.4093 | -96.4065 | -111.1759 | -13.2813 | -90.265 | -421.7641 | -63.9281 | -263.3883 |  | -81.4093 | -96.4065 | -111.1759 | -13.2813 | -90.265 | -421.7641 | -63.9281 | -263.3883 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1107 | Closing value for “other” asset (short life) value | $'000 | 40430.4792 | 50501.8392 | 47250.7645 | 60344.6382 | 68988.1907 | 85278.6659 | 111451.4572 | 115093.5204 |  | 40430.4792 | 50501.8392 | 47250.7645 | 60344.6382 | 68988.1907 | 85278.6659 | 111451.4572 | 115093.5204 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.3 Total disaggregated RAB asset values
DRAB1201 | Overhead distribution assets less than 33kV (wires and poles) | $'000 | 316800.6586 | 330880.9861 | 340480.4599 | 353783.6666 | 370594.4967 | 401820.2852 | 445884.6082 | 486749.0694 |  | 390946.3153 | 409840.2227 | 423161.1029 | 440636.3161 | 460578.8293 | 495820.2361 | 548860.1601 | 597742.8802 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1202 | Underground distribution assets less than 33kV (cables, ducts etc) | $'000 | 22797.2658 | 23810.499 | 24501.286 | 25458.5969 | 26668.3197 | 28915.356 | 32086.2651 | 35026.9092 |  | 28132.8552 | 29492.4781 | 30451.0608 | 31708.5932 | 33143.6747 | 35679.6786 | 39496.4802 | 43014.1255 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1203 | Distribution substations including transformers | $'000 | 17128.7425 | 17890.0361 | 18409.0594 | 19128.3357 | 20037.2618 | 21725.5742 | 24108.0391 | 26317.4942 |  | 21137.6416 | 22159.1953 | 22879.4271 | 23824.275 | 24902.5246 | 26807.953 | 29675.7097 | 32318.6951 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | $'000 | 42110.717 | 49159.9592 | 55507.0877 | 63077.5725 | 67511.7338 | 72166.2718 | 82132.9061 | 92232.2657 |  | 42110.717 | 49159.9592 | 55507.0877 | 63077.5725 | 67511.7338 | 72166.2718 | 82132.9061 | 92232.2657 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | $'000 | 1615.2866 | 1885.682 | 2129.1457 | 2419.535 | 2589.621 | 2768.1601 | 3150.4612 | 3537.8533 |  | 1615.2866 | 1885.682 | 2129.1457 | 2419.535 | 2589.621 | 2768.1601 | 3150.4612 | 3537.8533 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1206 | Zone substations | $'000 | 39558.8845 | 46180.9555 | 52143.4596 | 59255.1868 | 63420.6461 | 67793.1276 | 77155.8021 | 86643.1589 |  | 39558.8845 | 46180.9555 | 52143.4596 | 59255.1868 | 63420.6461 | 67793.1276 | 77155.8021 | 86643.1589 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1207 | Easements | $'000
DRAB1208 | Meters | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 39051.8497 | 37022.0434 | 34596.0552 | 31248.8511 | 26340.0042 | 20855.1327 | 15799.503 | 10388.8183 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1209 | Other assets with long lives (please specify) | $'000 | 1490.8323 | 1539.7161 | 1687.0253 | 1894.2756 | 2000.7298 | 2174.6583 | 2691.7383 | 3393.6999 |  | 18507.7726 | 17588.2962 | 16652.629 | 15923.8531 | 15165.7559 | 14326.8581 | 13909.9811 | 13573.6492 |  | 781.6687 | 1176.2932 | 1750.9153 | 2452.0501 | 4445.5527 | 6323.9702 | 6531.796 | 6781.3024
DRAB1210 | Other assets with short lives (please specify) | $'000 | 36377.8969 | 45466.1592 | 48876.3018 | 53797.7013 | 64666.4145 | 77133.4283 | 98365.0616 | 113272.4888 |  | 36377.8969 | 45466.1592 | 48876.3018 | 53797.7013 | 64666.4145 | 77133.4283 | 98365.0616 | 113272.4888 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Contributions
DRAB13 | Estimated Value of Capital Contributions or Contributed Assets | $'000 | 3712.0324 | 5172.299 | 6272.4391 | 5523.9132 | 801.4516 | 8691.8476 | 5796.9517 | 4218.4647 |  | 6720.8836 | 9000.299 | 10914.2127 | 9612.1416 | 7263.2966 | 14061.3004 | 12096.2597 | 6351.3537 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.4 Asset lives
Table 4.4.1 Asset Lives – estimated service life of new assets
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | years | 61.76 | 61.1 | 61.8 | 61.94 | 61.62 | 62.2 | 60.69 | 64.13 |  | 61.75 | 61.09 | 61.78 | 61.83 | 61.44 | 61.97 | 60.61 | 62.49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | years | 49.15 | 48.73 | 47.85 | 48.83 | 47.93 | 47.25 | 46.61 | 46.67 |  | 49.2 | 48.94 | 48.28 | 48.97 | 48.34 | 47.75 | 47.48 | 48.48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1403 | Distribution substations including transformers | years | 47.9 | 47.6 | 48.63 | 48.54 | 48.12 | 47.46 | 44.71 | 45.58 |  | 47.9 | 47.6 | 48.63 | 48.54 | 48.12 | 47.46 | 44.71 | 45.58 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 63.88 | 63.3 | 63.83 | 64.83 | 63.62 | 67.76 | 58.72 | 62.47 |  | 63.88 | 63.3 | 63.83 | 64.83 | 63.62 | 67.76 | 58.72 | 62.47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | years | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |  | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1406 | Zone substations and transformers | years | 45.66 | 47.73 | 47 | 46.04 | 48.01 | 42.81 | 51.54 | 39.27 |  | 45.66 | 47.73 | 47 | 46.04 | 48.01 | 42.81 | 51.54 | 39.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1407 | Meters | years | [9 empty] | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1408 | “Other” assets with long lives | years | 30.4636 | 30.4636 | 30.4636 | 30.4636 | 30.4636 | 65.9287 | 65.9287 | 65.9287 |  | 30.4636 | 30.4636 | 30.4636 | 30.4636 | 30.4636 | 65.9287 | 65.9287 | 65.9287 |  | 32.68 | 32.79 | 31.79 | 32.34 | 32.12 | 31.73 | 31.74 | 31.74
DRAB1409 | “Other” assets with short lives | years | 7.4049 | 7.0742 | 7.4459 | 7.1906 | 7.059 | 10.4847 | 10.6292 | 11.692 |  | 7.4049 | 7.0742 | 7.4459 | 7.1906 | 7.059 | 10.4847 | 10.6292 | 11.692 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.4.2 Asset Lives – estimated residual service life
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | years | 29.81 | 29.95 | 30.16 | 30.36 | 33.33 | 30.35 | 31.54 | 32.61 |  | 29.81 | 29.94 | 30.16 | 30.35 | 33.23 | 30.25 | 31.46 | 30.61 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | years | 34.37 | 34.39 | 34.36 | 34.41 | 34.38 | 34.22 | 34.16 | 34.5 |  | 34.44 | 34.49 | 34.49 | 34.54 | 34.53 | 34.36 | 34.47 | 34.63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1503 | Distribution substations including transformers | years | 27.01 | 27.01 | 26.99 | 26.99 | 26.99 | 27.79 | 25.48 | 27.55 |  | 27.01 | 27.01 | 26.99 | 26.99 | 26.99 | 27.79 | 25.48 | 27.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 39.8 | 39.61 | 39.46 | 40.01 | 39.85 | 39.44 | 39.13 | 39.55 |  | 39.8 | 39.61 | 39.46 | 40.01 | 39.85 | 39.44 | 39.13 | 39.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | years | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1506 | Zone substations and transformers | years | 18.16 | 18.18 | 18.18 | 18.15 | 18.26 | 18.9 | 17.34 | 18.33 |  | 18.16 | 18.18 | 18.18 | 18.15 | 18.26 | 18.9 | 17.34 | 18.33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1507 | Meters | years | [9 empty] | 8.4614 | 7.4614 | 6.4614 | 5.4614 | 4.4614 | 3.4614 | 2.4614 | 1.4614 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAB1508 | “Other” assets with long lives | years | 31.3836 | 37.6769 | 32.3092 | 76.0686 | 48.4595 | 47.0997 | 52.9549 | 46.243 |  | 31.3836 | 37.6769 | 32.3092 | 76.0686 | 48.4595 | 47.0997 | 52.9549 | 46.243 |  | 17.45 | 17.6 | 17.62 | 17.7 | 17.76 | 17.3 | 17.89 | 18.01
DRAB1509 | “Other” assets with short lives | years | 5.1802 | 5.8056 | 6.2176 | 10.953 | 8.6217 | 7.8977 | 8.1613 | 7.439 |  | 5.1802 | 5.8056 | 6.2176 | 10.953 | 8.6217 | 7.8977 | 8.1613 | 7.439 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 5. Operational data
5. Operational data worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Units
Table 5.1 Energy delivery
DOPED01 | Total energy delivered | GWh | 4278 | 4379 | 4490 | 4376 | 4450 | 4415 | 4365 | 4254
Table 5.1.1 Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 1228 | 1290 | 1305 | 1443 | 1451 | 1420 | 1374 | 1316
DOPED0202 | Energy Delivery at On-peak times | GWh | 1667 | 1708 | 1752 | 1618 | 1680 | 1657 | 1654 | 1616
DOPED0203 | Energy Delivery at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2561
DOPED0204 | Energy Delivery at Off-peak times | GWh | 1219 | 1242 | 1301 | 1196 | 1215 | 1225 | 1229 | 1220
DOPED0205 | Controlled load energy deliveries | GWh | 83.09 | 79.27 | 77.39 | 63.23 | 49.51 | 56.6 | 51.76 | 47.65
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 81.78 | 59.45 | 54.29 | 54.74 | 54.8 | 56.07 | 55.61 | 53.81
Table 5.1.2 Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 2735 | 2786 | 2808 | 2789 | 2827 | 2725 | 2715 | 2633
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 2191 | 2196 | 2240 | 2199 | 2181 | 2150 | 2157 | 2115
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 5.1.3 Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 26.4409 | 50.7475 | 54.1331 | 54.243 | 53.8516 | 53.2552 | 48.1881 | 48.4792
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh
Table 5.1.4 Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 1203 | 1225 | 1253 | 1300 | 1342 | 1329 | 1299 | 1257
DOPED0502 | Non-residential customers not on demand tariffs energy deliveries | GWh | 651 | 684.7 | 696 | 708.7 | 686.9 | 645.9 | 585.9 | 560.9
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1126 | 1157 | 1210 | 1173 | 1241 | 1286 | 1366 | 1371
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1216 | 1253 | 1276 | 1139 | 1126 | 1098 | 1058 | 1011
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 81.78 | 59.45 | 54.29 | 54.74 | 54.8 | 56.07 | 55.61 | 53.81
5.2 Customer numbers
Table 5.2.1 Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers | number | 257926.5851 | 270636.6446 | 272464.2676 | 273636.668 | 275568.3378 | 275510.434 | 278084.5257 | 282528.8123
DOPCN0102 | Non-residential customers not on demand tariff customer numbers | number | 32791.6059 | 25529.5366 | 25981.2326 | 26290.705 | 26089.5645 | 25819.468 | 25554.2822 | 25249.7728
DOPCN0103 | Low voltage demand tariff customer numbers | number | 1074.6213 | 1265.9671 | 1336.2814 | 1445.7284 | 1523.0349 | 1657.5443 | 1852.5674 | 1917.3452
DOPCN0104 | High voltage demand tariff customer numbers | number | 80.6877 | 81.3518 | 85.2184 | 82.8986 | 84.5628 | 85.5537 | 82.1247 | 81.0696
DOPCN0105 | Unmetered Customer Numbers | number | 1302 | 1605 | 2760.5 | 3787 | 6332.5 | 10289 | 11476.5 | 9053
DOPCN0106 | Other Customer Numbers | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPCN01 | Total customer numbers | number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 313362 | 317050 | 318830
Table 5.2.2 Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPCN0202 | Customers on Urban network | number | 267419.5 | 273652.985 | 283788 | 286381 | 291220 | 294427 | 296839.5 | 306064
DOPCN0203 | Customers on Short rural network | number | 25756 | 25465.515 | 18839.5 | 18862 | 18378 | 18935 | 20210.5 | 12766
DOPCN0204 | Customers on Long rural network | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPCN02 | Total customer numbers | number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 313362 | 317050 | 318830
5.3 System demand
Table 5.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 806.9 | 858.0427 | 938.2341 | 1025.6659 | 989.1304 | 983.7337 | 902.3222 | 986.2971
DOPSD0102 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0103 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 730.6 | 776.9 | 869.6404 | 944.7511 | 891.0805 | 911.3123 | 780.1215 | 883.0368
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 5.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 836.985 | 901.7254 | 958.3443 | 1019.6651 | 993.456 | 1017.0411 | 892.4493 | 977
DOPSD0108 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0109 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 815.131 | 867.3987 | 949.9875 | 1010.9354 | 957.8089 | 1008.1538 | 847.9391 | 959.3393
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 5.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 841.135 | 897.2998 | 974.6339 | 1055.3781 | 1015.1905 | 1010.0242 | 919.863 | 1001.0965
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 761.6 | 812.4 | 900.2521 | 972.1426 | 906.7811 | 938.9848 | 796.3321 | 902.2811
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 5.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 922.2886 | 999.1081 | 1055.5187 | 1100.0091 | 1083.5127 | 1105.2753 | 968.1744 | 1047.8488
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 894.6398 | 959.8936 | 1040.3404 | 1091.9671 | 1029.8647 | 1084.2825 | 901.5722 | 1020.7016
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 5.3.5 Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.9299 | 0.8448 | 0.9364 | 0.9455 | 0.9489 | 0.9509 | 0.9543 | 0.952
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828
DOPSD0303 | Average power factor conversion for 11 kV lines | Factor | 0.9038 | 0.9038 | 0.9038 | 0.8896 | 0.8985 | 0.9045 | 0.9052 | 0.9213
DOPSD0304 | Average power factor conversion for SWER lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0305 | Average power factor conversion for 22 kV lines | Factor | 0.9322 | 0.9322 | 0.9322 | 0.9213 | 0.9652 | 0.9175 | 0.924 | 0.933
DOPSD0306 | Average power factor conversion for 33 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0307 | Average power factor conversion for 66 kV lines | Factor | 0.9336 | 0.8438 | 0.9397 | 0.9487 | 0.9516 | 0.9533 | 0.9564 | 0.9546
DOPSD0308 | Average power factor conversion for 132 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0309 | Average power factor conversion for 6.6kV lines | Factor | 0.875 | 0.875 | 0.875 | 0.8595 | 0.8697 | 0.8783 | 0.8827 | 0.8847
Table 5.3.6 Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 650.4 | 691.3 | 724.1 | 753.2 | 771.1 | 757.3 | 796.9 | 806.4
Table 5.3.7 Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 6. Physical Assets
6. Physical Assets worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 6.1 Network Capacities Variables
Circuit length
Table 6.1.1 Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | km | 2420.1431 | 2426.0752 | 2439.547 | 2440.695 | 2441.299 | 2452 | 2445 | 2445
DPA0102 | Overhead 11 kV | km | 196.857 | 196.8748 | 201.4304 | 202.0568 | 203.42 | 204.5468 | 220.5 | 219.333
DPA0103 | Overhead SWER | km | 11.9752 | 12.848 | 12.8474 | 13.0319 | 13.0503 | 13.0214 | 12.848 | 0
DPA0104 | Overhead 22 kV | km | 1385.8004 | 1393.4912 | 1409.9821 | 1407.9553 | 1422.6529 | 1431.9163 | 1410.0422 | 1403.889
DPA0105 | Overhead 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0106 | Overhead 66 kV | km | 285.8919 | 284.2106 | 285.1351 | 298.8332 | 298.9006 | 296.0324 | 297.379 | 300.959
DPA0107 | Overhead 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0108 | Overhead 6.6 kV | km | 117.1746 | 112.026 | 103.47 | 100.8918 | 84.49 | 78.4426 | 86.66 | 86.384
DPA01 | Total overhead circuit km | km | 4417.8422 | 4425.5258 | 4452.4119 | 4463.4639 | 4463.8128 | 4475.9595 | 4472.4291 | 4455.565
Table 6.1.2 Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | km | 803.657 | 837.5408 | 873.1024 | 901.2897 | 924.851 | 962 | 998 | 1026
DPA0202 | Underground 11 kV | km | 43.3431 | 44.5643 | 47.1389 | 50.6512 | 54.84 | 57.3172 | 55.69 | 57.293
DPA0203 | Underground 22 kV | km | 418.1275 | 431.4421 | 464.5819 | 480.3516 | 498.0648 | 517.3251 | 542.2214 | 562.3118
DPA0204 | Underground 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0205 | Underground 66 kV | km | 14.3742 | 12.8698 | 12.8652 | 12.8652 | 12.8698 | 13.0987 | 13.905 | 13.865
DPA0206 | Underground 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0207 | Underground SWER | km | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0
DPA0208 | Underground 6.6 kV | km | 20.9151 | 17.4397 | 17.5144 | 17.6351 | 16.06 | 15.42 | 19.72 | 19.81
DPA02 | Total underground circuit km | km | 1300.8904 | 1344.3303 | 1415.6763 | 1463.2662 | 1507.1592 | 1565.6345 | 1630.01 | 1679.2798
Circuit Capacity MVA
Table 6.1.3 Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | MVA | 0.13626 | 0.13635 | 0.1365 | 0.13666 | 0.13681 | 0.13704 | 0.13727 | 0.13752
DPA0302 | Overhead 11 kV | MVA | 5.258 | 5.268 | 5.27 | 5.288 | 5.301 | 5.307 | 5.307 | 5.309
DPA0303 | Overhead SWER | MVA | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0
DPA0304 | Overhead 22 kV | MVA | 9.127 | 9.143 | 9.167 | 9.161 | 9.079 | 8.913 | 8.83 | 8.802
DPA0305 | Overhead 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0306 | Overhead 66 kV | MVA | 94.81 | 95.89 | 95.89 | 95.88 | 97.29 | 97.3 | 97.38 | 97.38
DPA0307 | Overhead 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0308 | Overhead 6.6 kV | MVA | 3.552 | 3.552 | 3.552 | 3.554 | 3.554 | 3.555 | 3.556 | 3.575
Table 6.1.4 Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | MVA | 0.27182 | 0.27242 | 0.2729 | 0.27337 | 0.27399 | 0.27473 | 0.27523 | 0.27572
DPA0402 | Underground 11 kV | MVA | 5.68 | 5.817 | 5.915 | 6.103 | 6.216 | 6.306 | 6.296 | 6.389
DPA0403 | Underground 22 kV | MVA | 13.24 | 13.35 | 13.42 | 13.47 | 13.53 | 13.61 | 13.68 | 13.69
DPA0404 | Underground 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0405 | Underground 66 kV | MVA | 89.4565 | 99.6271 | 99.6271 | 99.6271 | 100.1081 | 100.1301 | 100.1375 | 100.1375
DPA0406 | Underground 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0407 | Underground SWER | MVA | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 0
DPA0408 | Underground 6.6 kV | MVA | 3.701 | 3.873 | 3.926 | 3.938 | 3.938 | 3.972 | 4.048 | 4.059
6.2 Transformer Capacities Variables
Table 6.2.1 Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | MVA | 1825.61 | 1864.4365 | 2007.263 | 2122.286 | 2084.423 | 2376.16 | 2384.186 | 2463.049
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | MVA | 172.1326 | 180.4042 | 211.4876 | 205.0815 | 203.8194 | 191.0129 | 196.6026 | 195.0523
DPA0503 | Cold spare capacity included in DPA0501 | MVA | 13.61 | 15.4365 | 17.263 | 22.286 | 27.423 | 29.16 | 22.186 | 27.049
Table 6.2.2 Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 1474 | 1458 | 1524 | 1557 | 1563 | 1593.3 | 1633.3 | 1633.3
DPA0604 | Total zone substation transformer capacity | MVA | 1474 | 1458 | 1524 | 1557 | 1563 | 1593.3 | 1633.3 | 1633.3
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.3 Public lighting
DPA0701 | Public lighting luminaires | Number | 64012 | 64403 | 64763 | 64875 | 67367 | 67508 | 68939 | 69058
DPA0702 | Public lighting poles | Number | 16968 | 17834 | 18335 | 18821 | 19665 | 19849 | 21180 | 21849

## 7. Quality of services
7. Quality of services worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 7.1 Reliability
Table 7.1.1 Inclusive of MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 91.0926 | 111.2987 | 118.3114 | 130.6368 | 62.3468 | 64.5597 | 50.2419 | 66.6624
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 91.0926 | 77.9937 | 118.0347 | 90.3112 | 62.3468 | 64.5597 | 50.2419 | 66.6624
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.3716 | 1.8147 | 1.3195 | 2.0238 | 0.93638 | 0.97046 | 0.92304 | 1.1759
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.3716 | 1.4914 | 1.2734 | 1.2967 | 0.93638 | 0.97046 | 0.92304 | 1.1759
Table 7.1.2 Exclusive of MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 69.0214 | 101.1161 | 63.155 | 111.6052 | 62.3468 | 55.2387 | 50.2419 | 59.7917
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 69.0214 | 67.8112 | 62.8783 | 71.2796 | 62.3468 | 55.2387 | 50.2419 | 59.7917
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.1894 | 1.6419 | 1.05 | 1.8996 | 0.93638 | 0.90285 | 0.92304 | 1.1121
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.1894 | 1.3186 | 1.0038 | 1.1724 | 0.93638 | 0.90285 | 0.92304 | 1.1121
Table 7.2 Energy not supplied
DQS0201 | Energy Not Supplied (planned) | GWh | 18.698 | 20.0223 | 28.602 | 18.9818 | 32.7727 | 39.7312 | 46.7814 | 60.0412
DQS0202 | Energy Not Supplied (unplanned) | GWh | 652.6204 | 579.2311 | 887.0678 | 620.3603 | 473.5884 | 447.6108 | 351.2371 | 552.5601
DQS02 | Energy Not Supplied - Total | GWh | 671.3184 | 599.2534 | 915.6698 | 639.3421 | 506.3612 | 487.342 | 398.0186 | 612.6012
Table 7.3 System losses
DQS03 | System losses | % | 4.174% | 3.701% | 3.815% | 3.773% | 3.753% | 3.779% | 3.828% | 3.962%
Table 7.4 Capacity utilisation
DQS04 | Overall utilisation | % | 57.06% | 61.54% | 63.95% | 67.78% | 64.95% | 63.39% | 56.32% | 61.29%

## 8. Operating environment
8. Operating environment factors worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 8.1 Density factors
DOEF0101 | Customer density | Customer / km | 72.1781 | 73.0227 | 72.6932 | 72.6306 | 73.1552 | 73.2207 | 73.3933 | 73.4566
DOEF0102 | Energy density | MWh/customer | 14.5919 | 14.6397 | 14.8367 | 14.3361 | 14.3735 | 14.0891 | 13.7675 | 13.3425
DOEF0103 | Demand density | kVA / customer | 2.869 | 2.9998 | 3.2206 | 3.4575 | 3.2791 | 3.2232 | 2.9013 | 3.1399
Table 8.2 Terrain factors
DOEF0201 | Rural proportion | km |  |  |  | 26.7326 | 27.3164 | 27.4575 | 26.7791 | 23.9861
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans |  |  |  | 38595 | 42463 | 61809 | 54287 | 64721
DOEF0203 | Rural vegetation maintenance spans | Number of spans |  |  |  | 4821 | 3746 | 3506 | 4834 | 4175
DOEF0204 | Total vegetation maintenance spans | Number of spans |  |  |  | 43416 | 46209 | 65315 | 59121 | 68896
DOEF0205 | Total number of spans | Number of spans |  |  |  | 91290 | 92144 | 99064 | 99893 | 101112
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years |  |  |  | 3 | 3 | 2 | 2 | 2
DOEF0207 | Average rural vegetation maintenance span cycle | Years | bar: 2009 to 2013
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees |  |  |  | 1.42 | 1.42 | 1.42 | 1.42 | 1.42
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees |  |  |  | 5.3 | 5.3 | 5.3 | 5.3 | 5.3
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects |  |  |  | 0.089312 | 0.092763 | 0.096814 | 0.21237 | 0.090017
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects |  |  |  | 0.22091 | 0.19968 | 0.38562 | 0.35457 | 0.29749
DOEF0212 | Tropical proportion | Number of spans |  |  |  | 0 | 0 | 0 | 0 | 0
DOEF0213 | Standard vehicle access | km |  |  |  | 3115.55 | 3114.78 | 3123.11 | 3121.99 | 3109.98
DOEF0214 | Bushfire risk | Number of spans |  |  |  | 2501 | 2183 | 2480 | 3960 | 3846
Table 8.3 Service area factors
DOEF0301 | Route Line length | km | 4061.8365 | 4096.2417 | 4163.0765 | 4202.6756 | 4232.072 | 4279.6911 | 4319.8792 | 4340.3852
| Table 8.4 Weather stations |  | 2006: Post code; 2007: Suburb; 2008: Materiality; 2009: Month last rainfall data recorded
DOEF04001 | 86351 |  | 2006: 3083; 2007: Bundoora; 2008: Yes; 2009: 2014 Jan
DOEF04002 | 86038 |  | 2006: 3041; 2007: Essendon Fields; 2008: Yes; 2009: 2014 Jan
DOEF04003 | 86039 |  | 2006: 3031; 2007: Flemington; 2008: Yes; 2009: 2013 Dec
DOEF04004 | 86282 |  | 2006: 3045; 2007: Melbourne Airport; 2008: Yes; 2009: 2014 Jan
DOEF04005 | 87061 |  | 2006: 3429; 2007: Sunbury; 2008: Yes; 2009: 2013 Nov
DOEF04006 | 86068 |  | 2006: 3084; 2007: Viewbank; 2008: Yes; 2009: 2014 Jan
DOEF04007 | 86279 |  | 2006: 3078; 2007: Alphington; 2008: No; 2009: 1996 Jan
DOEF04008 | 86286 |  | 2006: 3047; 2007: Broadmeadows; 2008: No; 2009: 1982 Feb
DOEF04009 | 87072 |  | 2006: 3428; 2007: Bulla; 2008: No; 2009: 1973 Dec
DOEF04010 | 86024 |  | 2006: 3058; 2007: Coburg; 2008: No; 2009: 1969 Jul
DOEF04011 | 87136 |  | 2006: 3427; 2007: Diggers Rest; 2008: No; 2009: 1970 Feb
DOEF04012 | 86037 |  | 2006: 3041; 2007: Essendon Fields; 2008: No; 2009: 1960 Dec
DOEF04013 | 86178 |  | 2006: 3059; 2007: Greenvale; 2008: No; 2009: 1948 Jun
DOEF04014 | 86108 |  | 2006: 3059; 2007: Greenvale; 2008: No; 2009: 1964 Dec
DOEF04015 | 86305 |  | 2006: 3059; 2007: Greenvale; 2008: No; 2009: 2011 Apr
DOEF04016 | 86330 |  | 2006: 3059; 2007: Greenvale; 2008: No; 2009: 1922 Aug
DOEF04017 | 86260 |  | 2006: 3081; 2007: Heidelberg Heights; 2008: No; 2009: 1990 Dec
DOEF04018 | 87027 |  | 2006: 3036; 2007: Keilor; 2008: No; 2009: 1998 Oct
DOEF04019 | 87091 |  | 2006: 3038; 2007: Keilor Lodge; 2008: No; 2009: 1918 Jun
DOEF04020 | 86384 |  | 2006: 3045; 2007: Melbourne Airport; 2008: No; 2009: 2001 Aug
DOEF04021 | 86073 |  | 2006: 3064; 2007: Mickleham; 2008: No; 2009: 2009 Jul
DOEF04022 | 87052 |  | 2006: 3063; 2007: Oaklands Junction; 2008: No; 2009: 1992 Nov
DOEF04023 | 86046 |  | 2006: 3044; 2007: Pascoe Vale; 2008: No; 2009: 1968 Dec
DOEF04024 | 86091 |  | 2006: 3044; 2007: Pascoe Vale; 2008: No; 2009: 1979 Dec
DOEF04025 | 86053 |  | 2006: 3072; 2007: Preston; 2008: No; 2009: 1968 Aug
DOEF04026 | 86333 |  | 2006: 3072; 2007: Preston; 2008: No; 2009: 1974 Jul
DOEF04027 | 86332 |  | 2006: 3041; 2007: Strathmore; 2008: No; 2009: 1975 Dec
DOEF04028 | 87062 |  | 2006: 3037; 2007: Sydenham; 2008: No; 2009: 1991 Jul
DOEF04029 | 87099 |  | 2006: 3337; 2007: Toolern Vale; 2008: No; 2009: 1963 May
DOEF04030 | 86162 |  | 2006: 3429; 2007: Wildwood; 2008: No; 2009: 1935 Dec
DOEF04031 | 87145 |  | 2006: 3016; 2007: Williamstown; 2008: No; 2009: 1980 Dec
DOEF04032 | 87022 |  | 2006: 3013; 2007: Yarraville; 2008: No; 2009: 1974 Sep