## Data
Converter Stations
Transmission lines
Easements
Inflation Assumption | 2.412%
Transmission Assets
Restoration and Rectification

## Forecast Capex
Capital Expenditure Item | FY 19 | FY 20 | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Next TD Period | Asset Class | Project Number | Program | Programs | Program Index
Total | 7846.3491 | 7124.998 | 11098.0442 | 7849.9542 | 6848.1542 | 8122.5542 | 4694.5542 | 38613.2608 | Number of projects | 37
Input | [7 empty] | 0
Non SIB | [7 empty] | 0
Check Cell Difference | [7 empty] | 0
Project Name | FY 19 | FY 20 | FY 21 | FY 22 | FY 23 | FY 24 | FY 25
Annual Spraying for Corrosion | 0 | 0 | 44 | 44 | 44 | 44 | 44 | 220 | Transmission Assets | 1.6 | 1 | Corrosion and Environmental Deterioration | 1 | Corrosion and Environmental Deterioration
Barn Door Replacement | 0 | 0 | - | 176 | - | - | - | 176 | Transmission Assets | 1.2 | 1 | Corrosion and Environmental Deterioration | 2 | Cable Protection
Barn Roof Repair | 0 | 0 | 110 | 110 | - | - | - | 220 | Transmission Assets | 1.5 | 1 | Corrosion and Environmental Deterioration | 3 | Cable Modification
Barn Sound Damp Vent Inlet Replacement | 0 | 0 | - | 198 | - | - | - | 198 | Transmission Assets | 1.4 | 1 | Corrosion and Environmental Deterioration | 4 | Essential Spares
BLA Communications Room UPS Replacement | 0 | 0 | 0 | - | - | - | - | 0 | Transmission Assets | 0 |  |  | 5 | Obsolete IGBTs
Building roof corrosion repair | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations |  |  |  | 6 | Fibres and Lightguides
Cable Handling Equipment (Stands, Winches) | 0 | 0 | 3.3 | - | - | - | - | 3.3 | Transmission Assets | 11.6 | 11 | Stay in Business | 7 | DC Spare Cable
Cable Modification Program | 0 | 0 | 825 | 825 | 330 | - | - | 1980 | Transmission Assets | 3.1 | 3 | Cable Modification | 8 | Noise Control Improvements
Cable Repair Trailer | 0 | 0 | 26.4 | - | - | - | - | 26.4 | Transmission Assets | 11.5 | 11 | Stay in Business | 9 | Test Equipment
Cable replacement program | 568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines |  |  |  | 10 | Reliability
Cable Route Protection / Risk Mitigation | 0 | 0 | 470 | 110 | 0 | 240 | 0 | 820 | Transmission Assets | 2.1 | 2 | Cable Protection | 11 | Stay in Business
Cable transition fault investigion | 111.1219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines |  |  |  | 12 | Regulatory
Capacitors | 0 | 0 | 77 | 77 | 77 | 77 | 77 | 385 | Transmission Assets | 4.1 | 4 | Essential Spares | 13 | Reclamation and Restoration
Capacity Voltage Transmission (CVT) Replacement | 0 | 0 | - | 81.4 | 325.6 | - | - | 407 | Transmission Assets | 1.8 | 1 | Corrosion and Environmental Deterioration | 14 | #N/A
Capex replacement contract | 0 | 0 | 3300 | 3300 | 3300 | 3300 | 3300 | 16500 | Transmission Assets | 5.1 | 5 | Obsolete IGBTs | 15 | #N/A
Circuit Breaker Pole Repair and Refurbishment | 0 | 0 | 55 | 55 | 55 | 55 | 55 | 275 | Transmission Assets | 1.9 | 1 | Corrosion and Environmental Deterioration | 16 | #N/A
Contingent cable repairs / relocation | 75 | 151.25 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines
Control and protection system upgrade | 4331.9551 | 3879.9647 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Control Room Air Conditioning Reliability | 0 | 0 | - | - | 0 | - | - | 0 | Transmission Assets | 0
Cooling Tower Sound Enclosure Panel Replacement | 0 | 0 | - | - | 77 | 693 | - | 770 | Transmission Assets | 1.1 | 1 | Corrosion and Environmental Deterioration
Cooling tower sound enclosure panel replacement | 41 | 45.1 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Cyber Security | 0 | 0 | 275 | 275 | - | - | - | 550 | Transmission Assets | 10.2 | 10 | Reliability
Direct Current (DC) Isolator and Earth Switch Locking Relocation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission Assets | 0
Directlink Land Slip | 351.7675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines
Emergency lighting | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Essential Tools | 0 | 0 | 28.27 | - | - | - | - | 28.27 | Transmission Assets | 11.2 | 11 | Stay in Business
Fan control relay replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Fibres/Lightguides (PROMS) System 2 + 3 | 0 | 0 | 3630 | 0 | 0 | 0 | - | 3630 | Transmission Assets | 6.1 | 6 | Fibres and Lightguides
Fire System Equipment Protection | 0 | 0 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 38.5 | Transmission Assets | 1.1 | 1 | Corrosion and Environmental Deterioration
Hi Pot Tester / Thumper Replacement inc thumper trailor | 0 | 0 | 330 | 0 | - | - | - | 330 | Transmission Assets | 9.1 | 9 | Test Equipment
HV Cable Cutter/Earthing Spike | 0 | 0 | 14.3 | - | - | - | - | 14.3 | Transmission Assets | 11.7 | 11 | Stay in Business
IGBT Spares - Mullumbimby 1 Gen 3 | 0 | 0 | 70.4 | 70.4 | 70.4 | 70.4 | 70.4 | 352 | Transmission Assets | 4.2 | 4 | Essential Spares
IGBT Tester for older style IGBT's | 0 | 0 | 71.5 | - | - | - | - | 71.5 | Transmission Assets | 9.2 | 9 | Test Equipment
IGBTS Spares - Current Program Gen 1 | 0 | 0 | 0 | 0 | 0 | - | - | 0 | Transmission Assets | 0
Low Noise Fans for Cooling Towers - Mullumbimby | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission Assets | 0
Motor Operated Alternating Current (AC)Isolators and Earth Switch + Relocation of SC Isolator Switch and Locking | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 500 | Transmission Assets | 11.2 | 11 | Stay in Business
Noise Monitoring Equipment | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 500 | Transmission Assets | 8.1 | 8 | Noise Control Improvements
Phase Reactor Cooling Upgrade | 0 | 0 | 0 | - | - | - | - | 0 | Transmission Assets | 0
Phase Reactor Silencer Replacement | 0 | 0 | - | 110 | - | - | - | 110 | Transmission Assets | 1.3 | 1 | Corrosion and Environmental Deterioration
PLC Yard (Switchyard) - Concreting Bungalora | 0 | 0 | 35 | 0 | 0 | - | - | 35 | Transmission Assets | 11.1 | 11 | Stay in Business
Power Quality Metering | 0 | 0 | 0 | 0 | 165 | 165 | 0 | 330 | Transmission Assets | 9.3 | 9 | Test Equipment
Power Supply Upgrade | 0 | 0 | 400 | 400 | - | - | - | 800 | Transmission Assets | 10.1 | 10 | Reliability
Proactive Relocation of Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission Assets | 0
Refurbishment works | 680.839 | 660 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Regulatory Reset (including forecast stakeholder engagement) | 0 | 0 | 50 | 50 | 50 | 50 | 50 | 250 | Transmission Assets | 12.1 | 12 | Regulatory
Regulatory Reset (including stakeholder engagement) | 231.18 | 34.5 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines
Repair Tents | 0 | 0 | 3.52 | - | - | - | - | 3.52 | Transmission Assets | 11.8 | 11 | Stay in Business
Safety compliance program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Security Camera / Survelliance | 0 | 0 | 22 | 0 | 0 | - | - | 22 | Transmission Assets | 11.3 | 11 | Stay in Business
SF6 Gas Handling Gear | 0 | 0 | 24.2 | - | - | - | - | 24.2 | Transmission Assets | 11.9 | 11 | Stay in Business
Site Cable Tray Installation & Relocation of Cables | 0 | 0 | 121 | 0 | - | - | - | 121 | Transmission Assets | 1.11 | 1 | Corrosion and Environmental Deterioration
Site Restoration | 0 | 0 | 398.4542 | 398.4542 | 398.4542 | 398.4542 | 398.4542 | 1992.2708 | Restoration and Rectification | 13.1 | 13 | Reclamation and Restoration
Site security enhancements | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Sound dampening replacement for ventilation inlet | 11 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Spare cable joint kits | 0 | 426.8 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission lines
Spare IGBTs | 225.676 | 358.6 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Spare valve optic fibres | 384 | 422.4 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Spares | 16 | 34.2833 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
Stay in Business - Other | 0 | 0 | 22 | 22 | 22 | 22 | 22 | 110 | Transmission Assets | 11.4 | 11 | Stay in Business
Third Party Development - Relocation and Underground Galvanised Steel Trough (GST) Options Investigation + Implementation | 0 | 0 | 474 | 940 | 916 | 900 | 570 | 3800 | Transmission Assets | 2.2 | 2 | Cable Protection
Thumper Trailer | 0 | 0 | 0 | 0 | - | - | - | 0 | Transmission Assets | 0
Transformer Painting and Protection | 0 | 0 | 110 | - | 110 | - | - | 220 | Transmission Assets | 1.7 | 1 | Corrosion and Environmental Deterioration
Valve Control Units (VCU) Upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission Assets | 5.2
Valve Room Earthing Change | 0 | 0 | 0 | - | - | - | - | 0 | Transmission Assets | 0
Valve room temperature control | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transmission Assets | 0
Variable Speed Drive (VSD) for Phase Reactor and Cooling Pumps | 0 | 0 | 0 | 0 | 800 | 2000 | 0 | 2800 | Transmission Assets | 10.3 | 10 | Reliability
Zero sequence reactor repair | 288.8096 | 1045 | 0 | 0 | 0 | 0 | 0 | 0 | Converter Stations
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Projects by size
| 38613.2708 |  |  |  | 38613.2708 |  |  | 38613.2708 | 0
Project | Total | Asset Class | Program | Project | Order by Size | Program | Program | Total |  | By Size | Total ($'000) | Proportion of forecast capex
Annual Spraying for Corrosion | 220 | Transmission Assets | Corrosion and Environmental Deterioration | Capex replacement contract | 16500 | Obsolete IGBTs | Corrosion and Environmental Deterioration | 2755.5 |  | Obsolete IGBTs | 16500 | 42.73%
Barn Door Replacement | 176 | Transmission Assets | Corrosion and Environmental Deterioration | Third Party Development - Relocation and Underground Galvanised Steel Trough (GST) Options Investigation + Implementation | 3800 | Cable Protection | Cable Protection | 4620 |  | Cable Protection | 4620 | 54.7%
Barn Roof Repair | 220 | Transmission Assets | Corrosion and Environmental Deterioration | Fibres/Lightguides (PROMS) System 2 + 3 | 3630 | Fibres and Lightguides | Cable Modification | 1980 |  | Reliability | 4150 | 65.44%
Barn Sound Damp Vent Inlet Replacement | 198 | Transmission Assets | Corrosion and Environmental Deterioration | Variable Speed Drive (VSD) for Phase Reactor and Cooling Pumps | 2800 | Reliability | Essential Spares | 737 |  | Fibres and Lightguides | 3630 | 74.84%
BLA Communications Room UPS Replacement | 0 | Transmission Assets |  | Site Restoration | 1992.2708 | Reclamation and Restoration | Obsolete IGBTs | 16500 |  | Corrosion and Environmental Deterioration | 2755.5 | 81.98%
Building roof corrosion repair | 0 | Converter Stations |  | Cable Modification Program | 1980 | Cable Modification | Fibres and Lightguides | 3630 |  | Reclamation and Restoration | 1992.2708 | 87.14%
Cable Handling Equipment (Stands, Winches) | 3.3 | Transmission Assets | Stay in Business | Cable Route Protection / Risk Mitigation | 820 | Cable Protection | DC Spare Cable | 0 |  | Cable Modification | 1980 | 92.27%
Cable Modification Program | 1980 | Transmission Assets | Cable Modification | Power Supply Upgrade | 800 | Reliability | Noise Control Improvements | 500 |  | Stay in Business | 766.99 | 94.25%
Cable Repair Trailer | 26.4 | Transmission Assets | Stay in Business | Cooling Tower Sound Enclosure Panel Replacement | 770 | Corrosion and Environmental Deterioration | Test Equipment | 731.5 |  | Essential Spares | 737 | 96.16%
Cable replacement program | 0 | Transmission lines |  | Cyber Security | 550 | Reliability | Reliability | 4150 |  | Test Equipment | 731.5 | 98.06%
Cable Route Protection / Risk Mitigation | 820 | Transmission Assets | Cable Protection | Motor Operated Alternating Current (AC)Isolators and Earth Switch + Relocation of SC Isolator Switch and Locking | 500 | Stay in Business | Stay in Business | 766.99 |  | Noise Control Improvements | 500 | 99.35%
Cable transition fault investigion | 0 | Transmission lines |  | Motor Operated Alternating Current (AC)Isolators and Earth Switch + Relocation of SC Isolator Switch and Locking | 500 | Stay in Business | Regulatory | 250.01 |  | Regulatory | 250.01 | 100%
Capacitors | 385 | Transmission Assets | Essential Spares | Capacity Voltage Transmission (CVT) Replacement | 407 | Corrosion and Environmental Deterioration | Reclamation and Restoration | 1992.2708 |  |  | 0 | 100%
Capacity Voltage Transmission (CVT) Replacement | 407 | Transmission Assets | Corrosion and Environmental Deterioration | Capacitors | 385 | Essential Spares | #N/A | 0 |  |  | 0 | 100%
Capex replacement contract | 16500 | Transmission Assets | Obsolete IGBTs | IGBT Spares - Mullumbimby 1 Gen 3 | 352 | Essential Spares | #N/A | 0 |  |  | 0 | 100%
Circuit Breaker Pole Repair and Refurbishment | 275 | Transmission Assets | Corrosion and Environmental Deterioration | Hi Pot Tester / Thumper Replacement inc thumper trailor | 330 | Test Equipment | #N/A | 0 |  |  | 0 | 100%
Contingent cable repairs / relocation | 0 | Transmission lines |  | Hi Pot Tester / Thumper Replacement inc thumper trailor | 330 | Test Equipment | 0 | 0 |  |  | 0 | 100%
Control and protection system upgrade | 0 | Converter Stations |  | Circuit Breaker Pole Repair and Refurbishment | 275 | Corrosion and Environmental Deterioration | 0 | 0 |  |  | 0 | 100%
Control Room Air Conditioning Reliability | 0 | Transmission Assets |  | Regulatory Reset (including forecast stakeholder engagement) | 250.01 | Regulatory | 0 | 0 |  |  | 0 | 100%
Cooling Tower Sound Enclosure Panel Replacement | 770 | Transmission Assets | Corrosion and Environmental Deterioration | Annual Spraying for Corrosion | 220 | Corrosion and Environmental Deterioration
Cooling tower sound enclosure panel replacement | 0 | Converter Stations |  | Annual Spraying for Corrosion | 220 | Corrosion and Environmental Deterioration
Cyber Security | 550 | Transmission Assets | Reliability | Annual Spraying for Corrosion | 220 | Corrosion and Environmental Deterioration
Direct Current (DC) Isolator and Earth Switch Locking Relocation | 0 | Transmission Assets |  | Barn Sound Damp Vent Inlet Replacement | 198 | Corrosion and Environmental Deterioration
Directlink Land Slip | 0 | Transmission lines |  | Barn Door Replacement | 176 | Corrosion and Environmental Deterioration
Emergency lighting | 0 | Converter Stations |  | Site Cable Tray Installation & Relocation of Cables | 121 | Corrosion and Environmental Deterioration
Essential Tools | 28.27 | Transmission Assets | Stay in Business | Phase Reactor Silencer Replacement | 110 | Corrosion and Environmental Deterioration
Fan control relay replacement | 0 | Converter Stations |  | Phase Reactor Silencer Replacement | 110 | Corrosion and Environmental Deterioration
Fibres/Lightguides (PROMS) System 2 + 3 | 3630 | Transmission Assets | Fibres and Lightguides | IGBT Tester for older style IGBT's | 71.5 | Test Equipment
Fire System Equipment Protection | 38.5 | Transmission Assets | Corrosion and Environmental Deterioration | Fire System Equipment Protection | 38.5 | Corrosion and Environmental Deterioration
Hi Pot Tester / Thumper Replacement inc thumper trailor | 330 | Transmission Assets | Test Equipment | PLC Yard (Switchyard) - Concreting Bungalora | 35 | Stay in Business
HV Cable Cutter/Earthing Spike | 14.3 | Transmission Assets | Stay in Business | Essential Tools | 28.27 | Stay in Business
IGBT Spares - Mullumbimby 1 Gen 3 | 352 | Transmission Assets | Essential Spares | Cable Repair Trailer | 26.4 | Stay in Business
IGBT Tester for older style IGBT's | 71.5 | Transmission Assets | Test Equipment | SF6 Gas Handling Gear | 24.2 | Stay in Business
IGBTS Spares - Current Program Gen 1 | 0 | Transmission Assets |  | Security Camera / Survelliance | 22 | Stay in Business
Low Noise Fans for Cooling Towers - Mullumbimby | 0 | Transmission Assets |  | HV Cable Cutter/Earthing Spike | 14.3 | Stay in Business
Motor Operated Alternating Current (AC)Isolators and Earth Switch + Relocation of SC Isolator Switch and Locking | 500 | Transmission Assets | Stay in Business | Repair Tents | 3.52 | Stay in Business
Noise Monitoring Equipment | 500 | Transmission Assets | Noise Control Improvements | Cable Handling Equipment (Stands, Winches) | 3.3 | Stay in Business
Phase Reactor Cooling Upgrade | 0 | Transmission Assets |  |  | 0
Phase Reactor Silencer Replacement | 110 | Transmission Assets | Corrosion and Environmental Deterioration |  | 0
PLC Yard (Switchyard) - Concreting Bungalora | 35 | Transmission Assets | Stay in Business |  | 0
Power Quality Metering | 330 | Transmission Assets | Test Equipment |  | 0
Power Supply Upgrade | 800 | Transmission Assets | Reliability |  | 0
Proactive Relocation of Cable | 0 | Transmission Assets |  |  | 0
Refurbishment works | 0 | Converter Stations |  |  | 0
Regulatory Reset (including forecast stakeholder engagement) | 250.01 | Transmission Assets | Regulatory |  | 0
Regulatory Reset (including stakeholder engagement) | 0 | Transmission lines |  |  | 0
Repair Tents | 3.52 | Transmission Assets | Stay in Business |  | 0
Safety compliance program | 0 | Converter Stations |  |  | 0
Security Camera / Survelliance | 22 | Transmission Assets | Stay in Business |  | 0
SF6 Gas Handling Gear | 24.2 | Transmission Assets | Stay in Business |  | 0
Site Cable Tray Installation & Relocation of Cables | 121 | Transmission Assets | Corrosion and Environmental Deterioration |  | 0
Site Restoration | 1992.2708 | Restoration and Rectification | Reclamation and Restoration |  | 0
Site security enhancements | 0 | Converter Stations |  |  | 0
Sound dampening replacement for ventilation inlet | 0 | Converter Stations |  |  | 0
Spare cable joint kits | 0 | Transmission lines |  |  | 0
Spare IGBTs | 0 | Converter Stations |  |  | 0
Spare valve optic fibres | 0 | Converter Stations |  |  | 0
Spares | 0 | Converter Stations |  |  | 0
Stay in Business - Other | 110 | Transmission Assets | Stay in Business |  | 0
Third Party Development - Relocation and Underground Galvanised Steel Trough (GST) Options Investigation + Implementation | 3800 | Transmission Assets | Cable Protection |  | 0
Thumper Trailer | 0 | Transmission Assets |  |  | 0
Transformer Painting and Protection | 220 | Transmission Assets | Corrosion and Environmental Deterioration |  | 0
Valve Control Units (VCU) Upgrade | 0 | Transmission Assets |  |  | 0
Valve Room Earthing Change | 0 | Transmission Assets |  |  | 0
Valve room temperature control | 0 | Transmission Assets |  |  | 0
Variable Speed Drive (VSD) for Phase Reactor and Cooling Pumps | 2800 | Transmission Assets | Reliability |  | 0
Zero sequence reactor repair | 0 | Converter Stations |  |  | 0
0
0
0
0

## IGBTs
| Inputs | Required/starting | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
Preferred Solution | Capex replacement contract | bar: FY 21
NPV |  |  | FY 21: NPV IGBT; FY 22: VCU Replacement; FY 23: NPV - VCU; FY 24: LTSA avoided costs; FY 25: Total NPV; FY 26: Difference from preferred option
Replace All IGBTs and Equipment |  |  | FY 21: 10757113763.2683; FY 22: 1953866.4936; FY 23: 10755159896.7746; FY 24: 15032135.1889; FY 25: 10740127761.5858; FY 26: -10180881.8035
Staged Replacement Building |  |  | FY 21: 10756455576.2561; FY 22: 1953866.4936; FY 23: 10754501709.7625; FY 24: 15032135.1889; FY 25: 10739469574.5736; FY 26: -10839068.8157
Capex replacement contract |  |  | FY 21: 10750308643.3893; FY 22: 0; FY 23: 10750308643.3893; FY 25: 10750308643.3893; FY 26: 0
Cannibalise |  |  | FY 21: 10165060124.3885; FY 22: 1758479.8443; FY 23: 10163301644.5443; FY 24: 15032135.1889; FY 25: 10148269509.3554; FY 26: -602039134.0339
Staged Replacement Phase |  |  | FY 21: 10722796534.8118; FY 22: 1908797.1374; FY 23: 10720887737.6743; FY 24: 15032135.1889; FY 25: 10705855602.4854; FY 26: -44453040.9038
IGBTs per Valve | 148
Valves per phase | 2
IGBTs per Phase | 296
Phases per building | 3
IGBTs per building | 888
Buildings in Directlink | 6
Buildings on Gen 3 | 1
Buidlings using Genb 1 | 5
Phases per building | 15
Failure Rate | 45
Spare IGBTs as at 31/1/2019 | -39
IGBT purchases FY 19 | 88
IGBT purchases FY20 | 0
Failure between 31/1/2019 and 30/6/2020 | -64
IGBT adj to system numbers | -15
IGBTs (Spare and in use) | 4425 | 4440
Spare IGBTs Gen 3 (per phase) | 35200
Proportion of recovered IGBTs | 66.67%
Capital expenditure replacing Equipment
Replace All IGBTs and Equipment | 33000000 |  | 33000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Building | 22000000 |  | 22000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capex replacement contract | 3300000 | 1650000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 3300000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000 | 1650000
Cannibalise | 275000 |  | 275000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Phase | 15400000 |  | 15400000 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 0 | 15400000 | 0 | 0 | 0 | 15400000
Capital Expenditure (including gen 3 spares)
Replace All IGBTs and Equipment |  | 45 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000 | 528000
Staged Replacement Building |  | 45 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200
Capex replacement contract |  |  | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 105600 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200 | 211200
Cannibalise | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Phase |  | 45 | 35200 | 35200 | 35200 | 35200 | 70400 | 70400 | 70400 | 70400 | 105600 | 105600 | 105600 | 105600 | 140800 | 140800 | 140800 | 140800 | 140800 | 176000 | 176000 | 176000 | 176000 | 211200
Benefit
Annual value provided (System 1) | 402723372.0153 |  | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153 | 402723372.0153
Annual value provided (System 2) | 195618976.0328 |  | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328 | 195618976.0328
Annual value provided (System 3) | 37140699.261 |  | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261 | 37140699.261
635483047.3092
Number of IGBTs released
Replace All IGBTs and Equipment |  |  | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Building |  |  | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cannibalise |  |  | 1184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Phase |  |  | 197.3333 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 0 | 197.3333 | 0 | 0 | 0 | 197.3333
Remaining IGBTs (in use and spares)
Replace All IGBTs and Equipment |  | 4425 | 999940 | 999895 | 999850 | 999805 | 999760 | 999715 | 999670 | 999625 | 999580 | 999535 | 999490 | 999445 | 999400 | 999355 | 999310 | 999265 | 999220 | 999175 | 999130 | 999085 | 999040 | 998995
Staged Replacement Building |  | 4425 | 4084 | 4039 | 3994 | 3949 | 3904 | 3859 | 3814 | 3769 | 3724 | 3679 | 3634 | 3589 | 3248 | 3203 | 3158 | 3113 | 3068 | 3023 | 2978 | 2933 | 2888 | 2843
Cannibalise |  | 4425 | 3788 | 3743 | 3698 | 3653 | 3608 | 3563 | 3518 | 3473 | 3428 | 3383 | 3338 | 3293 | 3248 | 3203 | 3158 | 3113 | 3068 | 3023 | 2978 | 2933 | 2888 | 2843
Staged Replacement Phase |  | 4425 | 4281.3333 | 4236.3333 | 4191.3333 | 4146.3333 | 4002.6667 | 3957.6667 | 3912.6667 | 3867.6667 | 3724 | 3679 | 3634 | 3589 | 3445.3333 | 3400.3333 | 3355.3333 | 3310.3333 | 3265.3333 | 3121.6667 | 3076.6667 | 3031.6667 | 2986.6667 | 2843
Required IGBTS
Replace All IGBTs and Equipment |  | 4485 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Staged Replacement Building |  | 4485 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 3597 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709
Cannibalise |  | 4485 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709 | 2709
Staged Replacement Phase |  | 4485 | 4189 | 4189 | 4189 | 4189 | 3893 | 3893 | 3893 | 3893 | 3597 | 3597 | 3597 | 3597 | 3301 | 3301 | 3301 | 3301 | 3301 | 3005 | 3005 | 3005 | 3005 | 2709
Remaining Phases
Operating Gen One phases under Replace All IGBTs and Equipment |  | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Gen One phases under Staged Replacement Building |  | 15 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Operating Gen One phases under Cannibalise |  | 15 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Operating Gen One phases under Staged Replacement Phase |  | 15 | 14 | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 12 | 12 | 12 | 12 | 11 | 11 | 11 | 11 | 11 | 10 | 10 | 10 | 10 | 9
Value Replace All IGBTs and Equipment |  |  | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092
Value Staged Replacement Building |  |  | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092
Value Capex replacement contract |  |  | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092
Value Cannibalise |  |  | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482 | 598342348.0482
Value Staged Replacement Phase |  |  | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092 | 635483047.3092
WACC | 2.361%
Maintenance opex per phase | 44584.4326
Maintenance opex per new system | 35667.546
Maintenance opex for Replace All IGBTs and Equipment |  |  | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907 | 535013.1907
Maintenance opex for Staged Replacement Building |  |  | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Capex replacement contract |  |  | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Cannibalise |  |  | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Maintenance opex for Staged Replacement Phase |  |  | 659849.6019 | 659849.6019 | 659849.6019 | 659849.6019 | 650932.7154 | 650932.7154 | 650932.7154 | 650932.7154 | 642015.8288 | 642015.8288 | 642015.8288 | 642015.8288 | 633098.9423 | 633098.9423 | 633098.9423 | 633098.9423 | 633098.9423 | 624182.0558 | 624182.0558 | 624182.0558 | 624182.0558 | 615265.1693
Cost
Replace All IGBTs and Equipment |  |  | 34063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907 | 1063013.1907
Staged Replacement Building |  |  | 22747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 22826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693 | 826465.1693
Capex replacement contract |  |  | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 4047615.8288 | 2397615.8288 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693 | 2476465.1693
Cannibalise |  |  | 890265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693 | 615265.1693
Staged Replacement Phase |  |  | 16095049.6019 | 695049.6019 | 695049.6019 | 695049.6019 | 16121332.7154 | 721332.7154 | 721332.7154 | 721332.7154 | 16147615.8288 | 747615.8288 | 747615.8288 | 747615.8288 | 16173898.9423 | 773898.9423 | 773898.9423 | 773898.9423 | 773898.9423 | 16200182.0558 | 800182.0558 | 800182.0558 | 800182.0558 | 16226465.1693
Net Benefit |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Replace All IGBTs and Equipment |  |  | 587547226.6276 | 605489572.5311 | 591522894.0021 | 577878381.3997 | 564548603.4018 | 551526300.1031 | 538804379.0606 | 526375911.4309 | 514234128.1965 | 502372416.4793 | 490784315.9387 | 479463515.2532 | 468403848.683 | 457599292.712 | 447043962.7668 | 436732110.0124 | 426658118.2204 | 416816500.7107 | 407201897.3631 | 397809071.6979 | 388632908.0242 | 379668408.6531
Staged Replacement Building |  |  | 598601614.5113 | 605790587.3218 | 591816965.359 | 578165669.4851 | 564829264.6839 | 551800487.4407 | 539072241.7865 | 526637595.4334 | 514489775.9987 | 502622167.3168 | 491028305.8352 | 479701877.095 | 452335496.2994 | 457769911.8625 | 447210646.2875 | 436894948.6854 | 426817200.734 | 416971913.7072 | 407353725.4863 | 397957397.6393 | 388777812.5677 | 379809970.7193
Capex replacement contract |  |  | 616870266.2266 | 602641072.0451 | 588740099.1738 | 575159776.6128 | 561892708.0006 | 548931667.5856 | 536269596.291 | 523899597.8698 | 511814935.1492 | 500009026.3609 | 488475441.5568 | 478454888.1009 | 467360271.3823 | 456579787.3513 | 446047974.0847 | 435759095.5554 | 425707548.0477 | 415887857.1056 | 406294674.5508 | 396922775.5704 | 387767055.8706 | 378822528.8974
Cannibalise |  |  | 583670803.14 | 570469872.3859 | 557310984.6369 | 544455629.704 | 531896806.0705 | 519627673.722 | 507641550.4214 | 495931908.0686 | 484492369.1459 | 473316703.2441 | 462398823.6695 | 451732784.1283 | 441312775.4888 | 431133122.6168 | 421188281.2852 | 411472835.154 | 401981492.821 | 392709084.9389 | 383650561.401 | 374800988.5898 | 366155546.6904 | 357709527.0656
Staged Replacement Phase |  |  | 605100727.635 | 605840756.4536 | 591865977.2518 | 578213550.8327 | 551148721.9352 | 551823336.3855 | 539094563.6804 | 526659402.4336 | 502007185.3674 | 502622167.3168 | 491028305.8352 | 479701877.095 | 457247206.9276 | 457807827.2292 | 447247687.0699 | 436931135.0572 | 426852552.4036 | 406871320.203 | 407370595.2778 | 397973878.2995 | 388793913.0725 | 370593847.0491
Value of annual delay
Replace All IGBTs and Equipment |  |  | 1: 779175.9138
Staged Replacement Building |  |  | 1: 519450.6092
Capex replacement contract |  |  | 1: 77917.5914
Cannibalise |  |  | 1: 6493.1326
Staged Replacement Phase |  |  | 1: 363615.4264
PV Cost |  |  | 2: VCU; 4: Avoided Cost
Replace All IGBTs and Equipment |  |  | 1: 50317078.8415; 2: 1953866.4936; 3: 52270945.3352; 4: 15032135.1889; 5: 67303080.524
Staged Replacement Building |  |  | 1: 50975265.8537; 2: 1953866.4936; 3: 52929132.3473; 4: 15032135.1889; 5: 67961267.5362
Capex replacement contract |  |  | 1: 57122198.7205; 2: 0; 3: 57122198.7205; 5: 57122198.7205
Cannibalise |  |  | 1: 10732249.3305; 2: 1758479.8443; 3: 12490729.1747; 4: 15032135.1889; 5: 27522864.3636
Staged Replacement Phase |  |  | 1: 84634307.2981; 2: 1908797.1374; 3: 86543104.4355; 4: 15032135.1889; 5: 101575239.6244
Note on B40: Allen, Mark: Fy 21-Fy30
Note on C40: Allen, Mark: FY 31 - FY42
Note on B88: Allen, Mark: 10% of annual average laboure/materials/other opex (5 years) divided by 15 phases
Note on B89: Allen, Mark: Assumes that more modern IGBTs will save 10% in opex costs

## VCU
|  |  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
VCU per Phase | 1
# of Phase | 15
Total VCU | 15
Cost VCU | 0.6
Cost all VCU | 2
Replace All IGBTs and Equipment |  | 1.9539
All in one |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9539 | 1.9539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Building |  | 1.9539
Staged Replace VCU |  |  | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 3.0875 | 1.7585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9539 | 1.9539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capex replacement contract |  | 0
Staged Replacement |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cannibalise |  | 1.7585
Staged Replacement |  |  | 1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.7585 | 1.7585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All in one replace VCU |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9539 | 1.9539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Staged Replacement Phase |  | 1.9088
Staged Replacement |  |  | 0.6 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0.6
Present Value |  | 2.8027 | 0.58616 | 0 | 0 | 0 | 0.53392 | 0 | 0 | 0 | 0.48633 | 0 | 0 | 0 | 0.44299 | 0 | 0 | 0 | 0 | 0.3942 | 0 | 0 | 0 | 0.35907
All in one replace VCU |  |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value |  | 1.9088 | 0 | 1.9088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Recl & Rest
Reclamation and Restoration |  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
$
Reclamation and Restoration Cost (FV) | 11400000
Weighted Average Cost of Capital | 2.361%
Return on Debt | 2.088%
Timing | 2042
Residual | 0
$m
Annual Reclamation and Restoration |  | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845
Opening balance |  | 0 | 0.40732 | 0.8237 | 1.2493 | 1.6844 | 2.1292 | 2.5839 | 3.0487 | 3.5238 | 4.0096 | 4.5061 | 5.0136 | 5.5325 | 6.0628 | 6.605 | 7.1593 | 7.7259 | 8.305 | 8.8971 | 9.5023 | 10.121 | 10.7535
Recovery |  | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845
Return |  | 0.004704 | 0.0095127 | 0.014428 | 0.019453 | 0.02459 | 0.029841 | 0.035209 | 0.040696 | 0.046306 | 0.05204 | 0.057901 | 0.063893 | 0.070019 | 0.07628 | 0.082681 | 0.089224 | 0.095913 | 0.10275 | 0.10974 | 0.11689 | 0.12419 | 0.13166
Interest |  | 0.0041595 | 0.0084115 | 0.012758 | 0.017201 | 0.021744 | 0.026387 | 0.031133 | 0.035985 | 0.040945 | 0.046016 | 0.051199 | 0.056497 | 0.061913 | 0.06745 | 0.07311 | 0.078896 | 0.08481 | 0.090856 | 0.097037 | 0.10336 | 0.10981 | 0.11642
Closing Balance |  | 0.40732 | 0.8237 | 1.2493 | 1.6844 | 2.1292 | 2.5839 | 3.0487 | 3.5238 | 4.0096 | 4.5061 | 5.0136 | 5.5325 | 6.0628 | 6.605 | 7.1593 | 7.7259 | 8.305 | 8.8971 | 9.5023 | 10.121 | 10.7535 | 11.4

## Replacement k
Avoided Cost ($m) | Inputs | Required/starting | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | FY 26 | FY 27 | FY 28 | FY 29 | FY 30 | FY 31 | FY 32 | FY 33 | FY 34 | FY 35 | FY 36 | FY 37 | FY 38 | FY 39 | FY 40 | FY 41 | FY 42
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
Control and Protection system |  |  | FY 36 16: 6728738.22; FY 37 17: 4331955.1; FY 38 18: 3973563.7679
Contractor costs associated with Cyber Security and spares management | 10% | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339 | 107171.4339
Labour cost with Cyber Security and spares management | 20% | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582 | 179548.3582
|  |  | 280106.0974 | 273644.9592 | 267332.8584 | 261166.3574 | 255142.0975 | 249256.7977 | 243507.2526 | 237890.3309 | 232402.9734 | 227042.1914 | 221805.0652 | 216688.7425 | 211690.4367 | 206807.4257 | 202037.0498 | 4829412.0859 | 3106136.3641 | 2799023.3442 | 184030.8267 | 179785.833 | 175638.7576 | 171587.3417
Total |  | 15032135.1889
Note on B4: Allen, Mark: Management time estimate
Note on B5: Allen, Mark: Management time estimate

## RAB
$m nominal | 2019-06-30 | 2020-06-30
Converter Stations | 6.8271 | 7.164
Transmission lines | 1.4024 | 0.67383
Easements | 0 | 0
Total | 8.2295 | 7.8378
$m $2018
Converter Stations | 6.6663 | 6.8304
Transmission lines | 1.3693 | 0.64246
Easements | 0 | 0
Total | 8.0356 | 7.4729
$m FY 20 | 2019-06-30 | 2020-06-30
Converter Stations | 6.9918 | 7.164
Transmission lines | 1.4362 | 0.67383
Easements | 0 | 0
Total | 8.428 | 7.8378
Check
Forecast Capex
Adjusted for inflation
Difference

## PTRM
($m real 2020) | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | Total
Transmission Assets | 11.222 | 7.8154 | 6.7646 | 8.1013 | 4.5059 | 38.4092
Restoration and Rectification | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 2.0896
Total | 11.64 | 8.2333 | 7.1825 | 8.5192 | 4.9238 | 40.4987
($m real 2018) | [5 empty] | Total
Transmission Assets | 10.6996 | 7.4515 | 6.4497 | 7.7241 | 4.2961 | 36.621
Restoration and Rectification | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 0.39845 | 1.9923
Total | 11.098 | 7.85 | 6.8482 | 8.1226 | 4.6946 | 38.6133
Check | 11.098 | 7.85 | 6.8482 | 8.1226 | 4.6946
Forecast Capex | 11.098 | 7.85 | 6.8482 | 8.1226 | 4.6946
Difference | 0 | 0 | 0 | 0 | 0

## Tables
Table | [8 empty] | Data used in document
1 | Table 8-1: Forecast and historic capital expenditure ($m 2019/20)
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Total |  | Value of statistical life
| Forecast capital expenditure | 11.64 | 8.2333 | 7.1825 | 8.5192 | 4.9238 | 40.4987 |  | Value of life in 2007 | 3500000
| Historic capital expenditure | 4.3943 | 3.6413 | 10.6634 | 9.2644 | 6.9466 | 34.9101 |  | CPI Index Jun 2007 | 87.7
| Difference | 7.2457 | 4.5919 | -3.4809 | -0.74525 | -2.0229 | 5.5886 |  | CPI index Mar 2018 | 112.6
[9 empty] | Forecast CPI | 2.412%
2 |  | 13.1994 | 14.4411 | 3.9761 | 5.6169 | 1.99 | 39.2235 |  | CPI Mar 2020 | 118.0982
| Obsolete IGBTs | [7 empty] | Inflation adjustment | 1.3466
3 | Table 8-3: Obsolete IGBTs forecast capital expenditure ($m 2019/20) | [7 empty] | Value of life 2020 | 4713154.4188
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Obsolete IGBTs | 3.4611 | 3.4611 | 3.4611 | 3.4611 | 3.4611 | 17.3057 | Obsolete IGBTs | Length | 12500
[9 empty] | Per metre cost | 304
| Cable Protection | [7 empty] | Total Cost | 3800000
4 | Table 8-4: Cable Protection forecast capital expenditure ($m 2019/20) | [7 empty] | Uplift for restoration | 50%
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total |  | Price per metre | 456
| Cable Protection | 0.99009 | 1.1013 | 0.96073 | 1.1957 | 0.59783 | 4.8456 | Cable Protection | Metres | 25000
[9 empty] | Restoration | 11400000
Reliability
5 | Table 8-5: Reliability forecast capital expenditure ($m 2019/20) | [7 empty] | Table 9‑15 – Forecast capital expenditure 2020-25 by asset class ($m real FY20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total |  |  | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | Total
| Reliability | 0.70796 | 0.70796 | 0.83906 | 2.0977 | 0 | 4.3526 | Reliability | Transmission Assets | 11.222 | 7.8154 | 6.7646 | 8.1013 | 4.5059 | 38.4092
[9 empty] | Restoration and Rectification | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 2.0896
| Fibres and Lightguides | [7 empty] | Total | 11.64 | 8.2333 | 7.1825 | 8.5192 | 4.9238 | 40.4987
6 | Table 8-6: Fibres and Lightguides forecast capital expenditure ($m 2019/20) | [7 empty] | Table 9‑17 – Forecast capital expenditure 2018-23 by asset driver ($’000 real 2018)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total |  |  | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | Total
| Fibres and Lightguides | 3.8073 | 0 | 0 | 0 | 0 | 3.8073 | Fibres and Lightguides | Augmentation/Expansion |  | - | - | - | - | 0
[9 empty] | Replacement/Refurbishment | 11.5875 | 7.8154 | 6.7646 | 8.1013 | 4.5059 | 38.7746
| Corrosion and Environmental Deterioration | [7 empty] | Non-network | 0.052441 | 0.052441 | 0.052441 | 0.052441 | 0.052441 | 0.26221
7 | Table 8-7: Corrosion and Environmental Deterioration forecast capital expenditure ($m 2019/20) | [7 empty] | Total | 11.64 | 8.2333 | 7.1825 | 8.5192 | 4.9238 | 40.4987
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Corrosion and Environmental Deterioration | 0.46956 | 0.82029 | 0.64954 | 0.83875 | 0.11191 | 2.89 | Corrosion and Environmental Deterioration
Reclamation and Restoration
8 | Table 8-8: Reclamation and Restoration forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Reclamation and Restoration | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 0.41791 | 2.0896 | Reclamation and Restoration
Cable Modification
9 | Table 8-9: Cable Modification forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Cable Modification | 0.86528 | 0.86528 | 0.34611 | 0 | 0 | 2.0767 | Cable Modification
Stay in Business
10 | Table 8-10: Stay in Business forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Stay in Business | 0.18773 | 0.54749 | 0.023074 | 0.023074 | 0.023074 | 0.80444 | Stay in Business
Essential Spares
11 | Table 8-11: Essential Spares forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Essential Spares | 0.1546 | 0.1546 | 0.1546 | 0.1546 | 0.1546 | 0.77299 | Essential Spares
Test Equipment
12 | Table 8-12: Test Equipment forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Test Equipment | 0.4211 | 0 | 0.17306 | 0.17306 | 0 | 0.76722 | Test Equipment
Noise Control Improvements
13 | Table 8-13: Noise Control Improvements forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Noise Control Improvements | 0.10488 | 0.10488 | 0.10488 | 0.10488 | 0.10488 | 0.52441 | Noise Control Improvements
Regulatory
14 | Table 8-14: Regulatory forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
| Regulatory | 0.052441 | 0.052441 | 0.052441 | 0.052441 | 0.052441 | 0.26221 | Regulatory
15 | Table 8-15: forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
|  | 0 | 0 | 0 | 0 | 0 | 0
16 | Table 8-16: forecast capital expenditure ($m 2019/20)
|  | FY 21 | FY 22 | FY 23 | FY 24 | FY 25 | Total
|  | 0 | 0 | 0 | 0 | 0 | 0