## Financial charts
Total cost per MW of Maximum Demand | Total cost per customer | Total cost per km | Total cost per customer against minutes off supply per customer

## Non-Financial charts
Distribution customers | Route line length | Circuit line length
SAIDI | SAIFI

## Analysis
|  | $M | $M | $M |  | MW | km | km | # | #/km | $/MW | $/km | $/# | min/# | #/# | $/#
|  | Asset cost (5 yr avg) | Opex (5yr avg) | Total user cost (5yr avg) | RAB (5yr avg) | Demand (5yr avg) | Route line length (5yr avg) | Circuit line length (5yr avg) | Customers (5yr avg) | Customer density | Total user cost per MW of demand (5yr avg) | Total user cost per km of route line length (5yr avg) | Total user cost per customer (5yr avg) | SAIDI (5yr avg) | SAIFI (5yr avg) | Total user cost per customer (2014)
ActewAGL | ACT | 82.7333 | 73.9207 | 156.654 | 764.9149 | 661.593 | 4010.4072 | 5007.797 | 172597.6 | 43.0374 | 236.7831 | 39.0619 | 0.90763 | 32.3012 | 0.6276 | 1001.9462
Ausgrid | AGD | 1092.3454 | 558.6856 | 1651.031 | 12202.286 | 5997.7535 | 36563.2528 | 40575.7971 | 1622700.5 | 44.3806 | 275.2749 | 45.1555 | 1.0175 | 78.336 | 0.90652 | 1107.4507
CitiPower | CIT | 129.3649 | 51.8454 | 181.2104 | 1226.3175 | 1413.544 | 3078.1338 | 4302.9772 | 318382.1537 | 103.4335 | 128.1958 | 58.8702 | 0.56916 | 28.6616 | 0.42359 | 585.6857
Endeavour Energy | END | 514.3059 | 248.621 | 762.9269 | 4906.2382 | 3730.8206 | 27398.56 | 34615.5978 | 908862.515 | 33.1719 | 204.4931 | 27.8455 | 0.83943 | 87.3 | 1.016 | 856.1126
Energex | ENX | 737.1829 | 363.3611 | 1100.544 | 7514.8211 | 4836.868 | 42083.6 | 51221.6082 | 1342835.3667 | 31.9088 | 227.5324 | 26.1514 | 0.81957 | 73.5946 | 1.0212 | 858.8736
Ergon Energy | ERG | 713.8263 | 357.7611 | 1071.5874 | 7097.8657 | 3148.171 | 141739.5987 | 160221.1326 | 699508.8 | 4.9352 | 340.3841 | 7.5603 | 1.5319 | 293.0341 | 2.7106 | 1483.4822
Essential Energy | ESS | 630.3559 | 402.5862 | 1032.9421 | 5959.6283 | 2625.0955 | 179237.8176 | 188926.5562 | 839298.2 | 4.6826 | 393.4874 | 5.763 | 1.2307 | 214.04 | 1.9112 | 1278.5357
Jemena | JEN | 92.8028 | 69.2161 | 162.0189 | 805.7244 | 978.6479 | 4329.5064 | 6082.0846 | 315453.8 | 72.8614 | 165.5538 | 37.422 | 0.51361 | 57.2481 | 0.96613 | 567.3608
Powercor | PCR | 233.9513 | 164.8751 | 398.8264 | 2203.4194 | 2416.388 | 66624.511 | 73659.7894 | 741843.379 | 11.1347 | 165.0507 | 5.9862 | 0.53762 | 141.9976 | 1.5057 | 541.961
SA Power Networks | SAPN | 377.3733 | 213.097 | 590.4702 | 3228.9138 | 2982.408 | 81168.0759 | 87602.9939 | 841340.9 | 10.3654 | 197.9844 | 7.2747 | 0.70182 | 156.66 | 1.455 | 757.9618
AusNet Services | AND | 269.0997 | 171.937 | 441.0367 | 2590.4799 | 1878.7604 | 34118.9119 | 43709.7191 | 667106.3 | 19.5524 | 234.7488 | 12.9265 | 0.66112 | 138.2704 | 1.8418 | 720.0328
TasNetworks | TND | 144.9023 | 81.3104 | 226.2126 | 1357.1241 | 1061.8718 | 20776.0045 | 22142.54 | 277093.6044 | 13.3372 | 213.032 | 10.8882 | 0.81638 | 165.1684 | 1.6597 | 815.6008
United Energy | UED | 178.4553 | 123.1073 | 301.5626 | 1613.3573 | 2001.7038 | 10086.8302 | 12769.103 | 647562.7548 | 64.1988 | 150.6529 | 29.8967 | 0.46569 | 69.5684 | 1.009 | 497.549

## RAB
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8 | 106.6
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8 | 105.9
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Convert to real | 2014
9
106.6
Convert to real (Calendar year DNSP) |  | 1.241 | 1.2155 | 1.1638 | 1.1475 | 1.1127 | 1.0746 | 1.0618 | 1.037 | 1.0066
Convert to real (Financial year DNSP) |  | 1.2721 | 1.2309 | 1.1964 | 1.1537 | 1.1304 | 1.1001 | 1.0681 | 1.0451 | 1.0172
DNSP Network services RAB
Nominal
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ActewAGL | $ '000 | 512056.9634 | 530585.0517 | 553280.6397 | 576121.949 | 611408.1409 | 663508.6465 | 720056.9955 | 767952.1199 | 817740.2094
Ausgrid | $ '000 | 5236132.465 | 5844818.515 | 6609651.7765 | 7564429.9585 | 8717864.9355 | 10066028.319 | 11630834.223 | 12959904.376 | 13876754.33
CitiPower | $ '000 | 791923.8683 | 834106.8243 | 870476.552 | 919908.2759 | 998565.8486 | 1075196.7035 | 1163338.6642 | 1244496.7204 | 1330572.6205
Endeavour Energy | $ '000 | 2528035.2311 | 2812394.1372 | 3100051.945 | 3436641.5204 | 3768850.5157 | 4095850.8729 | 4578641.2074 | 5078407.0333 | 5472847.4463
Energex | $ '000 | 3839988.8413 | 4278239.1729 | 4680107.947 | 5125524.8172 | 5760735.7582 | 6470682.8714 | 7068076.7121 | 7655282.4316 | 8251634.2643
Ergon Energy | $ '000 | 4078870.5187 | 4437737.4616 | 4810029.5169 | 5189013.4694 | 5623475.3807 | 6171867.8471 | 6662811.2989 | 7131295.5309 | 7641720.5434
Essential Energy | $ '000 | 2695514.1433 | 3037745.3201 | 3440412.6572 | 3932971.0062 | 4480633.7627 | 5009059.0332 | 5635207.404 | 6205472.7339 | 6604659.8534
Jemena | $ '000 | 477880.2843 | 516813.9932 | 543733.8254 | 578814.8704 | 617489.2233 | 674496.8615 | 765574.8816 | 847172.9395 | 919291.5092
Powercor | $ '000 | 1315040.7508 | 1419291.7681 | 1516988.5338 | 1622158.2805 | 1758627.1285 | 1892790.1278 | 2073531.1117 | 2262995.9673 | 2461727.7204
SA Power Networks | $ '000 | 2535926.5801 | 2585913.7899 | 2626520.1624 | 2680777.1793 | 2714645.9875 | 2816081.36 | 3000715.1931 | 3194322.0947 | 3376315.8007
AusNet Services | $ '000 | 1315153.3212 | 1423717.5073 | 1553298.4295 | 1741756.4831 | 1968010.4296 | 2176982.3778 | 2419511.7851 | 2710132.9357 | 3023922.5561
TasNetworks | $ '000 | 782973.8961 | 847772.5421 | 910014.9685 | 998157.253 | 1101192.1666 | 1201836.3829 | 1292859.2109 | 1352514.8404 | 1400142.0604
United Energy | $ '000 | 1074445.4226 | 1116738.109 | 1145546.0276 | 1198356.1611 | 1271479.2689 | 1375523.6249 | 1531976.2021 | 1672168.4442 | 1801366.3496
Real 2014
ACT | $ '000 | 651375.5644 | 653122.0152 | 661949.6767 | 664660.1706 | 691157.0288 | 729927.9847 | 769118.9952 | 802585.2547 | 831785.3656
AGD | $ '000 | 6660760.391 | 7194661.1282 | 7907843.764 | 8726928.9348 | 9854977.7532 | 11073669.9567 | 12423315.9135 | 13544370.6518 | 14115095.5303
CIT | $ '000 | 982760.0042 | 1013863.027 | 1013021.8389 | 1055567.5157 | 1111139.034 | 1155402.9092 | 1235178.3029 | 1290499.5175 | 1339367.7181
END | $ '000 | 3215853.8858 | 3461907.7948 | 3708928.5896 | 3964783.399 | 4260439.7135 | 4505858.6486 | 4890612.7526 | 5307433.2329 | 5566846.7345
ENX | $ '000 | 4884759.0749 | 5266285.1713 | 5599321.0679 | 5913213.696 | 6512136.0745 | 7118418.9277 | 7549669.1133 | 8000520.6589 | 8393360.807
ERG | $ '000 | 5188634.8126 | 5462619.0924 | 5754760.3423 | 5986459.2623 | 6356972.1695 | 6789691.5635 | 7116790.4255 | 7452902.9764 | 7772971.4687
ESS | $ '000 | 3428899.8529 | 3739303.1308 | 4116139.0489 | 4537388.6283 | 5065064.2535 | 5510481.8672 | 6019169.4315 | 6485327.3866 | 6718098.6677
JEN | $ '000 | 593038.8627 | 628191.2392 | 632773.2073 | 664172.9299 | 687101.7871 | 724812.1515 | 812851.4181 | 878488.6707 | 925368.0348
PCR | $ '000 | 1631936.4847 | 1725159.6634 | 1765403.6867 | 1861378.6082 | 1956885.7192 | 2033986.1655 | 2201577.8537 | 2346647.5692 | 2477999.7639
SAPN | $ '000 | 3225892.2845 | 3183122.5174 | 3142391.1258 | 3092758.0878 | 3068730.2467 | 3097980.1133 | 3205172.7414 | 3338379.7578 | 3434305.9576
AND | $ '000 | 1632076.1821 | 1730539.1823 | 1807659.526 | 1998614.0053 | 2189873.8183 | 2339378.2407 | 2568923.8675 | 2810312.9469 | 3043910.7128
TND | $ '000 | 996002.5934 | 1043562.9675 | 1088749.6705 | 1151553.714 | 1244825.9274 | 1322144.0497 | 1380949.8185 | 1413510.6077 | 1424190.3019
UED | $ '000 | 1333363.004 | 1357403.4484 | 1333135.4426 | 1375078.2215 | 1414819.3117 | 1478133.2502 | 1626580.3102 | 1733980.1182 | 1813273.3981

## Opex
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8 | 106.6
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8 | 105.9
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Convert to real | 2014
9
106.6
Convert to real (Calendar year DNSP) |  | 1.241 | 1.2155 | 1.1638 | 1.1475 | 1.1127 | 1.0746 | 1.0618 | 1.037 | 1.0066
Convert to real (Financial year DNSP) |  | 1.2721 | 1.2309 | 1.1964 | 1.1537 | 1.1304 | 1.1001 | 1.0681 | 1.0451 | 1.0172
DNSP Network services opex
Raw (nominal)
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ActewAGL | $ '000 | 38584.3916 | 40476.7304 | 44743.933 | 47098.0537 | 54590.0845 | 64027.6754 | 68399.1123 | 74420.5962 | 85156.9415
Ausgrid | $ '000 | 357834.4962 | 316522.9919 | 467809.1222 | 441027.3381 | 511184.2689 | 506684.854 | 577601.0955 | 471121.6833 | 539569.5918
CitiPower | $ '000 | 27265.6296 | 32341.5583 | 32125.6232 | 38829.928 | 44123.599 | 41598.2845 | 54695.9723 | 54384.6977 | 50624.7023
Endeavour Energy | $ '000 | 156824.9179 | 176841.3944 | 224408.06 | 214131.3003 | 210431.138 | 229554.2907 | 240838.1272 | 222645.274 | 258321.993
Energex | $ '000 | 189286.7865 | 229999.825 | 249220.281 | 269392.6544 | 278759.4613 | 317627.737 | 350958.6649 | 387877.9989 | 365738.8112
Ergon Energy | $ '000 | 259957.891 | 248688.704 | 279032.07 | 281407.712 | 286622.946 | 363809.971 | 390525.92 | 327267.286 | 300250.124
Essential Energy | $ '000 | 198507.6194 | 249199.6341 | 304612.2863 | 296582.8498 | 324946.1177 | 336208.0054 | 429455.7127 | 401260.4295 | 390948.4965
Jemena | $ '000 | 46756.0923 | 51252.3522 | 43220.3586 | 48349.7257 | 58605.5751 | 59886.8984 | 70098.0678 | 69150.3039 | 69918.5566
Powercor | $ '000 | 119182.7717 | 108472.2548 | 115769.5437 | 130669.6111 | 129799.912 | 140102.3211 | 171389.0995 | 187940.6345 | 151526.8019
SA Power Networks | $ '000 | 112506.535 | 108991.583 | 126897.568 | 145514.894 | 147956.514 | 191519.795 | 203371.86 | 222412.643 | 233849.701
AusNet Services | $ '000 | 82540.041 | 104522.864 | 117354.963 | 139244.322 | 139237.08 | 145236.239 | 158632.404 | 181028.396 | 191268.0327
TasNetworks | $ '000 | 48648.8239 | 50748.1094 | 53289.023 | 61973.7059 | 75037.9781 | 74900.1797 | 84369.7778 | 70674.636 | 74075.8628
United Energy | $ '000 | 83237 | 81473 | 85413.8863 | 89047.9225 | 96130.0666 | 121992.7555 | 126519.883 | 116175.4911 | 121867.709
Real 2014
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ACT | $ '000 | 49082.2929 | 49824.7051 | 53532.0231 | 54336.0662 | 61710.5303 | 70437.0505 | 73059.5729 | 77776.8192 | 86619.5607
AGD | $ '000 | 455192.8078 | 389622.99 | 559690.8241 | 508804.2667 | 577860.4778 | 557405.6289 | 616956.6812 | 492368.3475 | 548837.0085
CIT | $ '000 | 33836.0433 | 39311.4038 | 37386.3693 | 44556.1929 | 49097.867 | 44701.3824 | 58073.612 | 56395.027 | 50959.332
END | $ '000 | 199493.2726 | 217682.3631 | 268483.7171 | 247038.9243 | 237878.6777 | 252533.4095 | 257247.9395 | 232686.1393 | 262758.8212
ENX | $ '000 | 240787.2487 | 283117.5675 | 298169.27 | 310792.8242 | 315119.3911 | 349423.2896 | 374871.6802 | 405370.5362 | 372020.5847
ERG | $ '000 | 330686.2909 | 306122.5848 | 333836.3486 | 324654.3517 | 324008.5477 | 400228.513 | 417134.9005 | 342026.3989 | 305407.0918
ESS | $ '000 | 252516.8523 | 306751.5126 | 364440.7375 | 342161.5994 | 367330.3939 | 369863.5023 | 458717.2242 | 419356.4881 | 397663.2607
JEN | $ '000 | 58023.2763 | 62297.614 | 50297.9283 | 55479.8791 | 65212.4667 | 64354.2678 | 74426.8329 | 71706.4436 | 70380.7189
PCR | $ '000 | 147903.1835 | 131848.8296 | 134727.4384 | 149939.5107 | 144432.8875 | 150553.5023 | 181972.8886 | 194887.8564 | 152528.3955
SAPN | $ '000 | 143116.9049 | 134162.8493 | 151821.3328 | 167877.5725 | 167255.1897 | 210691.5392 | 217228.8605 | 232443.0171 | 237866.2035
AND | $ '000 | 102430.3652 | 127048.3159 | 136572.4788 | 159778.7376 | 154933.9533 | 156070.3939 | 168428.4289 | 187720.1071 | 192532.3162
TND | $ '000 | 61885.0194 | 62468.2271 | 63755.4417 | 71497.8036 | 84825.5405 | 82397.9273 | 90118.42 | 73861.9235 | 75348.1582
UED | $ '000 | 103295.2759 | 99031.0353 | 99400.8764 | 102179.8551 | 106967.2766 | 131093.0216 | 134332.8638 | 120469.9158 | 122673.2557
Feed in tariffs
Nominal
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Energex | $ '000 | 0 | 0 | 0 | 0 | 0 | 19400 | 73900 | 167100 | 227750.7465
Ergon | $ '000 | 0 | 0 | 0 | 0 | 0 | 5688.419 | 27937.563 | 75867 | 120083

## Depreciation
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8 | 106.6
Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8 | 105.9
Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8
Convert to real | 2014
9
106.6
Convert to real (Calendar year DNSP) |  | 1.241 | 1.2155 | 1.1638 | 1.1475 | 1.1127 | 1.0746 | 1.0618 | 1.037 | 1.0066
Convert to real (Financial year DNSP) |  | 1.2721 | 1.2309 | 1.1964 | 1.1537 | 1.1304 | 1.1001 | 1.0681 | 1.0451 | 1.0172
Nominal depreciation
ActewAGL | $ '000 | -23628.9947 | -25150.3796 | -26570.0573 | -28677.2859 | -30604.5752 | -33775.8684 | -37392.4004 | -41035.2089 | -45342.7653
Ausgrid | $ '000 | -201260.623 | -224065.183 | -253942.668 | -289645.258 | -274324.602 | -324624.583 | -392361.077 | -463414.817 | -485425.748
CitiPower | $ '000 | -49530.346 | -50521.9262 | -51107.877 | -54862.0723 | -58379.5763 | -50513.7031 | -55019.3915 | -60167.5595 | -64915.9322
Endeavour Energy | $ '000 | -136093.7316 | -151899.501 | -170107.8144 | -186386.7539 | -231503.3484 | -212225.415 | -223651.9651 | -229124.4358 | -228112.1305
Energex | $ '000 | -189543.6612 | -218173.3369 | -235433.5895 | -237981.3347 | -256163.5929 | -285010.6743 | -297614.3097 | -315582.8772 | -337044.0093
Ergon Energy | $ '000 | -216175.8307 | -235733.1978 | -239053.9695 | -258020.2087 | -274505.8213 | -273028.2938 | -304003.0213 | -310820.881 | -327118.7548
Essential Energy | $ '000 | -144797.4688 | -161489.0224 | -186763.1148 | -213120.5354 | -251161.213 | -281644.9904 | -255775.8772 | -291970.3043 | -315004.1339
Jemena | $ '000 | -29220.5984 | -31713.9106 | -32953.0097 | -34153.5175 | -35426.0781 | -37018.8871 | -44475.2524 | -52565.4612 | -58369.901
Powercor | $ '000 | -77661.5873 | -81993.9277 | -85462.9545 | -92714.4261 | -97108.5331 | -91578.3582 | -102051.4873 | -113068.911 | -123402.93
SA Power Networks | $ '000 | -130295.0878 | -144004.8218 | -151833.9576 | -163422.2693 | -177952.341 | -162869.2157 | -175375.965 | -194921.9665 | -212850.3712
AusNet Services | $ '000 | -56565.4196 | -66700.7234 | -73552.3246 | -82384.9914 | -88913.3155 | -130732.864 | -112282.3455 | -129504.2377 | -130471.8851
TasNetworks | $ '000 | -43002.7802 | -50615.4012 | -51565.8866 | -45703.9664 | -53533.9318 | -61151.1837 | -67071.747 | -69759.4428 | -73072.8391
United Energy | $ '000 | -70486.6268 | -74606.3383 | -79444.0212 | -76668.7999 | -76669.5483 | -64707.8602 | -81873.9024 | -93872.2616 | -103287.3034
Real 2014
ActewAGL | $ '000 | -30057.8859 | -30958.7813 | -31788.6432 | -33084.4013 | -34596.4763 | -37156.9409 | -39940.1792 | -42885.8164 | -46121.5533
Ausgrid | $ '000 | -256018.8832 | -275812.3384 | -303819.1741 | -334157.8409 | -310106.0718 | -357120.5423 | -419095.0983 | -484313.9166 | -493763.2131
CitiPower | $ '000 | -61466.0638 | -61409.7758 | -59477.0708 | -62952.6039 | -64960.9899 | -54281.8624 | -58417.0033 | -62391.6521 | -65345.0271
Endeavour Energy | $ '000 | -173121.6204 | -186980.2171 | -203518.4402 | -215030.6056 | -261699.4374 | -233469.858 | -238890.7764 | -239457.4986 | -232030.087
Energex | $ '000 | -241114.0129 | -268559.7888 | -281674.7547 | -274554.2238 | -289576.2354 | -313541.1546 | -317892.6394 | -329815.0462 | -342832.9331
Ergon Energy | $ '000 | -274992.1665 | -290175.0449 | -286006.2082 | -297672.665 | -310310.9284 | -300359.2995 | -324716.654 | -324838.2933 | -332737.2067
Essential Energy | $ '000 | -184193.4388 | -198784.4086 | -223444.9836 | -245872.8254 | -283921.3712 | -309838.555 | -273203.492 | -305137.5926 | -320414.5102
Jemena | $ '000 | -36262.1163 | -38548.4933 | -38349.2449 | -39190.1503 | -39419.8322 | -39780.3766 | -47221.7322 | -54508.5425 | -58755.7266
Powercor | $ '000 | -96376.3121 | -99664.2269 | -99457.9798 | -106387.0595 | -108056.0504 | -98409.8083 | -108353.4716 | -117248.5011 | -124218.6245
SA Power Networks | $ '000 | -165745.3026 | -177262.2864 | -181655.4419 | -188536.9471 | -201163.5159 | -179172.9452 | -187325.4296 | -203712.565 | -216506.1982
AusNet Services | $ '000 | -70196.4346 | -81075.2236 | -85596.9193 | -94534.3389 | -98936.946 | -140485.114 | -119216.1158 | -134291.3594 | -131334.3055
TasNetworks | $ '000 | -54702.8206 | -62304.8703 | -61693.8666 | -52727.7361 | -60516.6186 | -67272.6128 | -71641.7659 | -72905.4569 | -74327.907
United Energy | $ '000 | -87472.3448 | -90684.5572 | -92453.4133 | -87975.1783 | -85312.8794 | -69534.8578 | -86929.8605 | -97342.2479 | -103970.0335

## Asset cost
Average real WACC | 5.568% |  | valid
DNSP Asset cost
Real 2014 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ACT | $ '000 | 66328.737 | 67326.8809 | 68648.2976 | 70094.9853 | 73082.4973 | 77801.8632 | 82767.393 | 87576.5476 | 92438.248
AGD | $ '000 | 626913.1283 | 676436.0287 | 744155.3476 | 820103.5182 | 858865.4205 | 973740.9006 | 1110868.4255 | 1238511.4606 | 1279740.6982
CIT | $ '000 | 116189.5501 | 117865.1862 | 115885.641 | 121730.265 | 126833.0659 | 118618.7046 | 127196.0161 | 134251.1421 | 139925.668
END | $ '000 | 352191.5207 | 379751.2527 | 410044.4505 | 435803.4993 | 498935.5003 | 484371.6986 | 511217.0602 | 534993.7927 | 542011.4248
ENX | $ '000 | 513114.3437 | 561804.8161 | 593464.3761 | 603822.4756 | 652194.563 | 709919.4146 | 738284.4058 | 775311.7907 | 810204.3799
ERG | $ '000 | 563913.3525 | 594352.626 | 606451.2276 | 631019.484 | 664289.1914 | 678432.8795 | 721004.2334 | 739841.7855 | 765563.2229
ESS | $ '000 | 375126.4777 | 407001.7788 | 452645.8849 | 498530.3647 | 565961.7198 | 616681.3015 | 608371.7268 | 666263.1194 | 694501.5494
JEN | $ '000 | 69284.5775 | 73528.3608 | 73584.2522 | 76173.6031 | 77680.0433 | 80140.4316 | 92484.1189 | 103425.8392 | 110283.4289
PCR | $ '000 | 187248.1968 | 195727.1016 | 197761.7814 | 210035.0776 | 217022.2358 | 211669.214 | 230944.9638 | 247917.9784 | 262202.2477
SAPN | $ '000 | 345374.1758 | 354509.5906 | 356634.6809 | 360752.4463 | 372041.0616 | 351679.225 | 365800.5667 | 389605.1309 | 407740.2677
AND | $ '000 | 161076.0982 | 177437.6486 | 186253.6726 | 205824.1 | 220876.717 | 270749.8098 | 262262.7085 | 290779.3334 | 300829.8134
TND | $ '000 | 110163.7002 | 120414.0765 | 122319.2252 | 116850.2417 | 129832.8446 | 140894.1801 | 148537.8423 | 151614.631 | 153631.7636
UED | $ '000 | 161718.6224 | 166269.4901 | 166687.0194 | 164544.3039 | 164094.9267 | 151842.4449 | 177503.4948 | 193896.2762 | 204939.3866

## Total cost
valid
DNSP Total user cost
Real 2014 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ACT | $ '000 | 115411.0299 | 117151.5859 | 122180.3207 | 124431.0515 | 134793.0276 | 148238.9137 | 155826.9659 | 165353.3668 | 179057.8087
AGD | $ '000 | 1082105.9361 | 1066059.0187 | 1303846.1716 | 1328907.7849 | 1436725.8984 | 1531146.5295 | 1727825.1066 | 1730879.8081 | 1828577.7067
CIT | $ '000 | 150025.5934 | 157176.59 | 153272.0103 | 166286.4579 | 175930.9329 | 163320.0869 | 185269.6281 | 190646.1691 | 190885
END | $ '000 | 551684.7933 | 597433.6158 | 678528.1677 | 682842.4237 | 736814.178 | 736905.1081 | 768464.9997 | 767679.932 | 804770.246
ENX | $ '000 | 753901.5924 | 844922.3836 | 891633.6461 | 914615.2998 | 967313.9541 | 1059342.7043 | 1113156.086 | 1180682.3268 | 1182224.9646
ERG | $ '000 | 894599.6435 | 900475.2109 | 940287.5762 | 955673.8357 | 988297.7391 | 1078661.3925 | 1138139.1339 | 1081868.1844 | 1070970.3147
ESS | $ '000 | 627643.33 | 713753.2914 | 817086.6225 | 840691.9641 | 933292.1138 | 986544.8038 | 1067088.951 | 1085619.6075 | 1092164.8102
JEN | $ '000 | 127307.8538 | 135825.9748 | 123882.1805 | 131653.4821 | 142892.51 | 144494.6995 | 166910.9519 | 175132.2827 | 180664.1479
PCR | $ '000 | 335151.3803 | 327575.9312 | 332489.2198 | 359974.5883 | 361455.1233 | 362222.7164 | 412917.8524 | 442805.8348 | 414730.6432
SAPN | $ '000 | 488491.0807 | 488672.4399 | 508456.0137 | 528630.0189 | 539296.2514 | 562370.7642 | 583029.4272 | 622048.148 | 645606.4712
AND | $ '000 | 263506.4634 | 304485.9645 | 322826.1513 | 365602.8376 | 375810.6704 | 426820.2037 | 430691.1374 | 478499.4405 | 493362.1297
TND | $ '000 | 172048.7196 | 182882.3036 | 186074.6669 | 188348.0453 | 214658.385 | 223292.1074 | 238656.2623 | 225476.5546 | 228979.9217
UED | $ '000 | 265013.8983 | 265300.5254 | 266087.8959 | 266724.159 | 271062.2033 | 282935.4665 | 311836.3587 | 314366.192 | 327612.6423

## CPI
Index Numbers ; All groups CPI ; Australia ;
Unit | Index Numbers
Series Type | Original
Data Type | INDEX
Frequency | Quarter
Collection Month | 3
Series Start | 1948-09-01
Series End | 2014-03-01
No. Obs | 263
Series ID | A2325846C
1948-09-01 | 3.7
1948-12-01 | 3.8
1949-03-01 | 3.9
1949-06-01 | 4
1949-09-01 | 4.1
1949-12-01 | 4.1
1950-03-01 | 4.2
1950-06-01 | 4.3
1950-09-01 | 4.4
1950-12-01 | 4.6
1951-03-01 | 4.8
1951-06-01 | 5.1
1951-09-01 | 5.3
1951-12-01 | 5.7
1952-03-01 | 5.9
1952-06-01 | 6.1
1952-09-01 | 6.2
1952-12-01 | 6.3
1953-03-01 | 6.3
1953-06-01 | 6.4
1953-09-01 | 6.5
1953-12-01 | 6.4
1954-03-01 | 6.5
1954-06-01 | 6.5
1954-09-01 | 6.5
1954-12-01 | 6.5
1955-03-01 | 6.5
1955-06-01 | 6.6
1955-09-01 | 6.6
1955-12-01 | 6.7
1956-03-01 | 6.7
1956-06-01 | 7
1956-09-01 | 7.1
1956-12-01 | 7.1
1957-03-01 | 7.1
1957-06-01 | 7.2
1957-09-01 | 7.2
1957-12-01 | 7.2
1958-03-01 | 7.2
1958-06-01 | 7.2
1958-09-01 | 7.2
1958-12-01 | 7.3
1959-03-01 | 7.3
1959-06-01 | 7.3
1959-09-01 | 7.4
1959-12-01 | 7.5
1960-03-01 | 7.5
1960-06-01 | 7.6
1960-09-01 | 7.7
1960-12-01 | 7.8
1961-03-01 | 7.8
1961-06-01 | 7.9
1961-09-01 | 7.8
1961-12-01 | 7.8
1962-03-01 | 7.8
1962-06-01 | 7.8
1962-09-01 | 7.8
1962-12-01 | 7.8
1963-03-01 | 7.8
1963-06-01 | 7.8
1963-09-01 | 7.9
1963-12-01 | 7.9
1964-03-01 | 8
1964-06-01 | 8
1964-09-01 | 8.1
1964-12-01 | 8.2
1965-03-01 | 8.2
1965-06-01 | 8.3
1965-09-01 | 8.4
1965-12-01 | 8.5
1966-03-01 | 8.6
1966-06-01 | 8.6
1966-09-01 | 8.6
1966-12-01 | 8.7
1967-03-01 | 8.8
1967-06-01 | 8.9
1967-09-01 | 9
1967-12-01 | 9
1968-03-01 | 9.1
1968-06-01 | 9.1
1968-09-01 | 9.2
1968-12-01 | 9.2
1969-03-01 | 9.4
1969-06-01 | 9.4
1969-09-01 | 9.5
1969-12-01 | 9.5
1970-03-01 | 9.6
1970-06-01 | 9.7
1970-09-01 | 9.8
1970-12-01 | 10
1971-03-01 | 10.1
1971-06-01 | 10.2
1971-09-01 | 10.5
1971-12-01 | 10.7
1972-03-01 | 10.8
1972-06-01 | 10.9
1972-09-01 | 11.1
1972-12-01 | 11.2
1973-03-01 | 11.4
1973-06-01 | 11.8
1973-09-01 | 12.2
1973-12-01 | 12.6
1974-03-01 | 13
1974-06-01 | 13.5
1974-09-01 | 14.2
1974-12-01 | 14.7
1975-03-01 | 15.3
1975-06-01 | 15.8
1975-09-01 | 15.9
1975-12-01 | 16.8
1976-03-01 | 17.3
1976-06-01 | 17.7
1976-09-01 | 18.1
1976-12-01 | 19.2
1977-03-01 | 19.6
1977-06-01 | 20.1
1977-09-01 | 20.5
1977-12-01 | 21
1978-03-01 | 21.3
1978-06-01 | 21.7
1978-09-01 | 22.1
1978-12-01 | 22.6
1979-03-01 | 23
1979-06-01 | 23.6
1979-09-01 | 24.2
1979-12-01 | 24.9
1980-03-01 | 25.4
1980-06-01 | 26.2
1980-09-01 | 26.6
1980-12-01 | 27.2
1981-03-01 | 27.8
1981-06-01 | 28.4
1981-09-01 | 29
1981-12-01 | 30.2
1982-03-01 | 30.8
1982-06-01 | 31.5
1982-09-01 | 32.6
1982-12-01 | 33.6
1983-03-01 | 34.3
1983-06-01 | 35
1983-09-01 | 35.6
1983-12-01 | 36.5
1984-03-01 | 36.3
1984-06-01 | 36.4
1984-09-01 | 36.9
1984-12-01 | 37.4
1985-03-01 | 37.9
1985-06-01 | 38.8
1985-09-01 | 39.7
1985-12-01 | 40.5
1986-03-01 | 41.4
1986-06-01 | 42.1
1986-09-01 | 43.2
1986-12-01 | 44.4
1987-03-01 | 45.3
1987-06-01 | 46
1987-09-01 | 46.8
1987-12-01 | 47.6
1988-03-01 | 48.4
1988-06-01 | 49.3
1988-09-01 | 50.2
1988-12-01 | 51.2
1989-03-01 | 51.7
1989-06-01 | 53
1989-09-01 | 54.2
1989-12-01 | 55.2
1990-03-01 | 56.2
1990-06-01 | 57.1
1990-09-01 | 57.5
1990-12-01 | 59
1991-03-01 | 58.9
1991-06-01 | 59
1991-09-01 | 59.3
1991-12-01 | 59.9
1992-03-01 | 59.9
1992-06-01 | 59.7
1992-09-01 | 59.8
1992-12-01 | 60.1
1993-03-01 | 60.6
1993-06-01 | 60.8
1993-09-01 | 61.1
1993-12-01 | 61.2
1994-03-01 | 61.5
1994-06-01 | 61.9
1994-09-01 | 62.3
1994-12-01 | 62.8
1995-03-01 | 63.8
1995-06-01 | 64.7
1995-09-01 | 65.5
1995-12-01 | 66
1996-03-01 | 66.2
1996-06-01 | 66.7
1996-09-01 | 66.9
1996-12-01 | 67
1997-03-01 | 67.1
1997-06-01 | 66.9
1997-09-01 | 66.6
1997-12-01 | 66.8
1998-03-01 | 67
1998-06-01 | 67.4
1998-09-01 | 67.5
1998-12-01 | 67.8
1999-03-01 | 67.8
1999-06-01 | 68.1
1999-09-01 | 68.7
1999-12-01 | 69.1
2000-03-01 | 69.7
2000-06-01 | 70.2
2000-09-01 | 72.9
2000-12-01 | 73.1
2001-03-01 | 73.9
2001-06-01 | 74.5
2001-09-01 | 74.7
2001-12-01 | 75.4
2002-03-01 | 76.1
2002-06-01 | 76.6
2002-09-01 | 77.1
2002-12-01 | 77.6
2003-03-01 | 78.6
2003-06-01 | 78.6
2003-09-01 | 79.1
2003-12-01 | 79.5
2004-03-01 | 80.2
2004-06-01 | 80.6
2004-09-01 | 80.9
2004-12-01 | 81.5
2005-03-01 | 82.1
2005-06-01 | 82.6
2005-09-01 | 83.4
2005-12-01 | 83.8
2006-03-01 | 84.5
2006-06-01 | 85.9
2006-09-01 | 86.7
2006-12-01 | 86.6
2007-03-01 | 86.6
2007-06-01 | 87.7
2007-09-01 | 88.3
2007-12-01 | 89.1
2008-03-01 | 90.3
2008-06-01 | 91.6
2008-09-01 | 92.7
2008-12-01 | 92.4
2009-03-01 | 92.5
2009-06-01 | 92.9
2009-09-01 | 93.8
2009-12-01 | 94.3
2010-03-01 | 95.2
2010-06-01 | 95.8
2010-09-01 | 96.5
2010-12-01 | 96.9
2011-03-01 | 98.3
2011-06-01 | 99.2
2011-09-01 | 99.8
2011-12-01 | 99.8
2012-03-01 | 99.9
2012-06-01 | 100.4
2012-09-01 | 101.8
2012-12-01 | 102
2013-03-01 | 102.4
2013-06-01 | 102.8
2013-09-01 | 104
2013-12-01 | 104.8
2014-03-01 | 105.4
2014-06-01 | 105.9
2014-09-01 | 106.4
2014-12-01 | 106.6
2015-03-01 | 106.8

## Physical data
Route line length |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | km | 3810.181 | 3809.554 | 3835.902 | 3868.932 | 3906.538 | 3955.876 | 4015.212 | 4086.776 | 4087.634 | 4010.4072
Ausgrid | km | 34573.595 | 34930.4402 | 35177.8062 | 35468.3062 | 35718.5755 | 36202.723 | 36609.593 | 36951.606 | 37333.7664 | 36563.2528
CitiPower | km | 2845.6755 | 2932.7605 | 2899.042 | 2921.4818 | 2940.3416 | 3068.8208 | 3082.5603 | 3112.9464 | 3186 | 3078.1338
Endeavour Energy | km | 25674.3 | 25991 | 26360.6 | 26582.3 | 26770.7 | 27051.7 | 27350.2 | 27730.2 | 28090 | 27398.56
Energex | km | 37863 | 38739 | 39599 | 40484 | 41131 | 41689 | 42178 | 42587 | 42833 | 42083.6
Ergon Energy | km | 137464.938 | 139118.037 | 139627.552 | 140872.028 | 141675.837 | 141326.281 | 142404.592 | 141446.783 | 141844.5005 | 141739.5987
Essential Energy | km | 189519.3001 | 179841.5427 | 176400.0058 | 178225.5571 | 180726.3879 | 180344 | 180416 | 180741 | 173961.7 | 179237.8176
Jemena | km | 4061.8365 | 4096.2417 | 4163.0765 | 4202.6756 | 4232.072 | 4279.6911 | 4319.8792 | 4340.3852 | 4475.5042 | 4329.5064
Powercor | km | 64783.8225 | 65013.4158 | 65186.3093 | 65985.5448 | 66521.5467 | 66216.546 | 66542.324 | 66836.1382 | 67006 | 66624.511
SA Power Networks | km | 81040.9144 | 80991.5444 | 80942.1744 | 81117.5626 | 81331.4457 | 81037.6445 | 81131.2895 | 81137 | 81203 | 81168.0759
AusNet Services | km | 32483.34 | 32740.67 | 32955.85 | 33425.95 | 33627.22 | 33819.12 | 34201.19 | 34294.937 | 34652.0926 | 34118.9119
TasNetworks | km | 20700.2442 | 20700.2442 | 20700.2442 | 20803.8673 | 21052.0082 | 21393.1332 | 21578.7638 | 21689.6602 | 18166.457 | 20776.0045
United Energy | km | 9697.8925 | 9776.6793 | 9872.8323 | 9849.2179 | 9946.8881 | 10032.5442 | 10109.7139 | 10137.8 | 10207.205 | 10086.8302
Customer numbers |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | Number | 154510 | 156360 | 158455 | 161092 | 164900 | 168937 | 173186 | 177255 | 178710 | 172597.6
Ausgrid | Number | 1546194.5 | 1561614 | 1574318 | 1586138 | 1596897.5 | 1608734.5 | 1621658.5 | 1635052.5 | 1651159.5 | 1622700.5
CitiPower | Number | 294971.6582 | 299951.2942 | 303151.804 | 305984.9843 | 310174.9627 | 314439.6181 | 318643.22 | 322735.8158 | 325917.1518 | 318382.1537
Endeavour Energy | Number | 849548.2933 | 859722.3053 | 869654.5368 | 878612.2078 | 886064.2927 | 895088.2698 | 903746.6884 | 919384.8239 | 940028.5 | 908862.515
Energex | Number | 1212063.5624 | 1236100.9767 | 1263762.9433 | 1287435.6833 | 1307554.3333 | 1326563.5 | 1343864.5 | 1359711.5 | 1376483 | 1342835.3667
Ergon Energy | Number | 624130 | 635123 | 647729 | 663216 | 676960 | 688959 | 699264 | 710431 | 721930 | 699508.8
Essential Energy | Number | 799028 | 805190 | 814865 | 821578 | 825215 | 834416 | 838385 | 844244 | 854231 | 839298.2
Jemena | Number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 313362 | 317050 | 318830 | 318429 | 315453.8
Powercor | Number | 663966.3573 | 675821.5901 | 688356.4319 | 701004.5418 | 715219.6966 | 731281.5271 | 743561.5155 | 753913.4168 | 765240.739 | 741843.379
SA Power Networks | Number | 778839 | 779426 | 781110 | 814467 | 826964 | 836055 | 844153 | 847766 | 851766.5 | 841340.9
AusNet Services | Number | 605408 | 616585.5 | 627552.5 | 638613.5 | 645694.5 | 654641 | 668703 | 681299 | 685194 | 667106.3
TasNetworks | Number | 250642.5242 | 255484.3855 | 260424.2595 | 265464.1302 | 270606.022 | 275852 | 278392 | 279868 | 280750 | 277093.6044
United Energy | Number | 612728 | 618250 | 624094 | 628120 | 633823 | 641129.7742 | 647892 | 656516 | 658453 | 647562.7548
Energy delivered |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | MWh | 2758259.9928 | 2820838.4252 | 2847302.6528 | 2872918.971 | 2896443.011 | 2909890.738 | 2891139.634 | 2903924.452 | 2829772 | 2886233.967
Ausgrid | MWh | 30120253.3311 | 30441837.2831 | 30555278.4576 | 30707253.7646 | 30533414.6552 | 30569629.0076 | 29344733.9294 | 26338085.9089 | 25523446.1901 | 28461861.9382
CitiPower | MWh | 5974992.6469 | 6079298.2329 | 6099596.84 | 6096471.959 | 6209711.0591 | 6105050.5742 | 6085130.123 | 5981354.9492 | 5919402.0722 | 6060129.7555
Endeavour Energy | MWh | 17196000 | 17482559.3689 | 18111697 | 17425962 | 17410773 | 17501186.2782 | 16505800.2016 | 16000807.4281 | 15636951.0969 | 16611103.601
Energex | MWh | 20618000 | 20707000 | 21155000 | 21994000 | 22193000 | 21454000 | 21210000 | 21055000 | 20838067.2032 | 21350013.4406
Ergon Energy | MWh | 13486171 | 13576440 | 13813451 | 14130074 | 14256528 | 13227153 | 13691726 | 13495528 | 13716244.895 | 13677435.979
Essential Energy | MWh | 11964840 | 11974120 | 12036900 | 12121430.283 | 12103520 | 11943293 | 11853304.7575 | 12291140.5781 | 12029802.9827 | 12044212.2637
Jemena | MWh | 4278000 | 4379000 | 4490000 | 4376000 | 4450000 | 4415000 | 4365000 | 4254000 | 4135521.856 | 4323904.3712
Powercor | MWh | 10147799.5906 | 10299201.2442 | 10510327.4171 | 10490717.1276 | 10678105.9554 | 10470676.5866 | 10743806.137 | 10555881.3122 | 10332961.9146 | 10556286.3812
SA Power Networks | MWh | 10954500 | 11258600 | 11344300 | 11266700 | 11503500 | 11258900 | 11018600 | 11008100 | 10603245 | 11078469
AusNet Services | MWh | 7397903 | 7499952 | 7885814 | 7750028 | 7909096 | 7629531 | 7594743 | 7501000 | 7447648.9589 | 7616403.7918
TasNetworks | MWh | 4448672.0437 | 4417073.6413 | 4441049.623 | 4586050.3101 | 4545226.7017 | 4444815.7984 | 4317994.3187 | 4247662.0064 | 4111747.7723 | 4333489.3195
United Energy | MWh | 7915340 | 7972746.5784 | 7895859.6747 | 8013413.5844 | 8163283.2634 | 8022526.8352 | 8120628.8165 | 7856271.2131 | 7696308.8217 | 7971803.79
Maximum demand |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | MW | 630.12 | 610.68 | 625.128 | 615.168 | 617.76 | 620.81 | 701.692 | 697.803 | 669.9 | 661.593
Ausgrid | MW | 6109.7636 | 6019.4088 | 6280.2569 | 6372.643 | 6305.1047 | 6555.2657 | 5958.1554 | 6004.7919 | 5165.4498 | 5997.7535
CitiPower | MW | 1311.96 | 1348.64 | 1410.96 | 1448.8 | 1389.2 | 1432.5 | 1358.8 | 1447.9 | 1439.32 | 1413.544
Endeavour Energy | MW | 3779.0287 | 3704.4117 | 3690.1265 | 4004.2594 | 3928.5644 | 4162.0593 | 3377.3132 | 3825.009 | 3361.1573 | 3730.8206
Energex | MW | 4225.3854 | 4618 | 4796.7614 | 5027.5095 | 5297.7098 | 5048.7679 | 4633.7388 | 4685.8868 | 4518.2368 | 4836.868
Ergon Energy | MW | 2804.212 | 2851.599 | 3078.596 | 3040.864 | 3238.046 | 3057.365 | 3212.589 | 3149.488 | 3083.367 | 3148.171
Essential Energy | MW | 2473.7941 | 2586.2496 | 2558.212 | 2589.0928 | 2589.9728 | 2541.7861 | 2462.9662 | 2562.8679 | 2967.8845 | 2625.0955
Jemena | MW | 836.985 | 901.7254 | 958.3443 | 1019.6651 | 993.456 | 1017.0411 | 892.4493 | 977 | 1013.293 | 978.6479
Powercor | MW | 2069.7 | 2183.549 | 2313.63 | 2516.69 | 2446.64 | 2383.48 | 2267.03 | 2413.48 | 2571.31 | 2416.388
SA Power Networks | MW | 2765.2887 | 2746.0278 | 2959.9079 | 3192.792 | 3096.2725 | 3096.3392 | 2768.2162 | 2902.2357 | 3048.9763 | 2982.408
AusNet Services | MW | 1616.768 | 1689.197 | 1801.394 | 1930.9923 | 1937.7043 | 1838.4724 | 1793.2555 | 1881.4149 | 1942.9552 | 1878.7604
TasNetworks | MW | 1063 | 1148 | 1154 | 1134 | 1111 | 1082 | 1042 | 1022 | 1052.359 | 1061.8718
United Energy | MW | 1724.02 | 1819.6448 | 1949.34 | 2136.7422 | 2038.7711 | 1975.2444 | 1814.8485 | 2037.0437 | 2142.6112 | 2001.7038
Network capacity |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | MVA | 1682 | 1752 | 1811 | 1882 | 1937 | 1971 | 1993 | 2052.4 | 2100.074 | 2010.6948
Ausgrid | MVA | 12608.5943 | 13215.3751 | 13725.6934 | 13932.7147 | 14139.736 | 14150.8445 | 14544.7145 | 14765 | 15179.44 | 14555.947
CitiPower | MVA | 3400.21 | 3467.06 | 3691.91 | 3775.44 | 3873.29 | 3919.49 | 3967.91 | 4080.51 | 4170.99 | 4002.438
Endeavour Energy | MVA | 7393.945 | 7717.017 | 8055.577 | 8305.107 | 8534.159 | 8791.93 | 9007.559 | 9222.163 | 9439.903 | 8999.1428
Energex | MVA | 9564 | 10375 | 11157 | 12011 | 12591 | 13018 | 13451.5 | 13708.4 | 13939.081 | 13341.5962
Ergon Energy | MVA | 6380.24 | 6540.28 | 6700.32 | 6860.36 | 7020.4 | 7180.44 | 7340.48 | 7500.52 | 8213 | 7450.968
Essential Energy | MVA | 7944.659 | 8407.479 | 8854.3875 | 9235.853 | 9637.127 | 10035.4515 | 10392.196 | 10869.79 | 10965.56 | 10380.0249
Jemena | MVA | 1825.61 | 1864.4365 | 2007.263 | 2122.286 | 2084.423 | 2376.16 | 2384.186 | 2463.049 | 2527.13 | 2366.9896
Powercor | MVA | 5229.073 | 5374.2037 | 5651.232 | 5851.845 | 6070.514 | 6261.774 | 6405.672 | 6598.327 | 6757.59 | 6418.7754
SA Power Networks | MVA | 6580 | 6970.1 | 7240.6 | 7445.2 | 7750.4 | 8049.8 | 8346.7 | 8498.1 | 8653.089 | 8259.6178
AusNet Services | MVA | 3924.481 | 4307.33 | 4336.708 | 4973.519 | 4715.444 | 5047.797 | 5031.805 | 5139.985 | 5256.233 | 5038.2528
TasNetworks | MVA | 1194.895 | 2155.28 | 2609.048 | 3132.678 | 3220.196 | 3305.805 | 3414.637 | 3445.922 | 3542.563 | 3385.8246
United Energy | MVA | 3446 | 3543 | 3662 | 3949 | 4150 | 4202 | 4480 | 4619 | 4640.118 | 4418.2236
Circuit line length |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | km | 4670.8137 | 4695.4 | 4685.4 | 4764.4 | 4845.4 | 4937.4 | 5017.2 | 5088.2 | 5150.785 | 5007.797
Ausgrid | km | 38742.395 | 38874.9402 | 39223.9062 | 39462.3062 | 39745.2755 | 40272.423 | 40626.293 | 40963.506 | 41271.488 | 40575.7971
CitiPower | km | 3951.6254 | 4075.7738 | 4036.3645 | 4069.7537 | 4099.411 | 4284 | 4303 | 4347 | 4481.475 | 4302.9772
Endeavour Energy | km | 32432 | 32832 | 33299 | 33579 | 33817 | 34172 | 34568 | 35029 | 35491.989 | 34615.5978
Energex | km | 46658 | 47645 | 48486 | 49427 | 50117 | 50771 | 51342 | 51781 | 52097.041 | 51221.6082
Ergon Energy | km | 155573.372 | 157419.388 | 157928.554 | 159041.438 | 159864.02 | 159999.172 | 161049.192 | 160109.803 | 160083.4758 | 160221.1326
Essential Energy | km | 199551 | 189452 | 185829 | 187750 | 188634 | 190592 | 190819 | 191107 | 183480.781 | 188926.5562
Jemena | km | 5718.7326 | 5769.8561 | 5868.0882 | 5926.7302 | 5970.972 | 6041.5939 | 6102.4391 | 6134.8448 | 6160.5729 | 6082.0846
Powercor | km | 71676.8619 | 71930.5 | 72120.5 | 72939.2302 | 73498.5078 | 73133 | 73597 | 73889 | 74181.4391 | 73659.7894
SA Power Networks | km | 84830.4057 | 85326.1206 | 85821.8355 | 86624.718 | 87208.5509 | 87193.6814 | 87647.697 | 87882.27 | 88082.77 | 87602.9939
AusNet Services | km | 41507.072 | 41835.893 | 42110.843 | 42711.531 | 42968.715 | 43213.931 | 43702.13 | 43821.927 | 44841.8924 | 43709.7191
TasNetworks | km | 21209.9 | 21210.1 | 21210.1 | 21267.8 | 21631.7 | 22027.1 | 22222.1 | 22335.9 | 22495.9 | 22142.54
United Energy | km | 12384 | 12476.2 | 12582.8 | 12537.5 | 12644.4 | 12725.4 | 12817.6 | 12834.7 | 12823.415 | 12769.103
Overhead lines |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | km | 2421.0667 | 2412.4 | 2402.4 | 2394.4 | 2389.4 | 2402.4 | 2403.2 | 2394.2 | 2364.485 | 2390.737
Ausgrid | km | 26108.8 | 25884.5 | 25986.1 | 25934 | 25966.7 | 26138.7 | 26084.7 | 26071.9 | 26044.1 | 26061.22
CitiPower | km | 2260.8737 | 2292.184 | 2193.0273 | 2192 | 2185.2935 | 2223 | 2230 | 2233 | 2270.3384 | 2228.3264
Endeavour Energy | km | 23387 | 23409 | 23440 | 23443 | 23431 | 23411 | 23417 | 23412 | 23387.319 | 23411.6638
Energex | km | 34457 | 34623 | 34659 | 34731 | 34780 | 34900 | 34992 | 35033 | 35102.33 | 34961.466
Ergon Energy | km | 151615.862 | 152936.942 | 152635.677 | 152695.422 | 152969.216 | 152659.837 | 153324.306 | 151930.478 | 151579.9228 | 152492.752
Essential Energy | km | 194385 | 183413 | 179875 | 181761 | 182431 | 183526 | 183454 | 183500 | 176624.981 | 181907.1962
Jemena | km | 4417.8422 | 4425.5258 | 4452.4119 | 4463.4639 | 4463.8128 | 4475.9595 | 4472.4291 | 4455.565 | 4435.5072 | 4460.6547
Powercor | km | 68353.0628 | 68418 | 68579 | 68354.5241 | 68369.8458 | 68445 | 68767 | 68824 | 68933.0328 | 68667.7757
SA Power Networks | km | 71068.558 | 71025.2632 | 70981.9684 | 71135.7745 | 71323.3385 | 71065.6905 | 71147.8122 | 71152.82 | 71159.672 | 71169.8666
AusNet Services | km | 37642.312 | 37724.492 | 37820.121 | 38099.015 | 38175.801 | 38144.855 | 38379.736 | 38319.655 | 39113.7416 | 38426.7577
TasNetworks | km | 19307.6 | 19307.6 | 19307.6 | 19337.2 | 19536.5 | 19752.2 | 19882.8 | 19962.2 | 20063.1 | 19839.36
United Energy | km | 10108 | 10157.8 | 10196.7 | 10113.2 | 10147.6 | 10130 | 10185.7 | 10143.9 | 10085.317 | 10138.5034
Underground lines |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | km | 2249.747 | 2283 | 2283 | 2370 | 2456 | 2535 | 2614 | 2694 | 2786.3 | 2617.06
Ausgrid | km | 12633.595 | 12990.4402 | 13237.8062 | 13528.3062 | 13778.5755 | 14133.723 | 14541.593 | 14891.606 | 15227.388 | 14514.5771
CitiPower | km | 1690.7517 | 1783.5898 | 1843.3372 | 1877.7537 | 1914.1175 | 2061 | 2073 | 2114 | 2211.1366 | 2074.6508
Endeavour Energy | km | 9045 | 9423 | 9859 | 10136 | 10386 | 10761 | 11151 | 11617 | 12104.67 | 11203.934
Energex | km | 12201 | 13022 | 13827 | 14696 | 15337 | 15871 | 16350 | 16748 | 16994.711 | 16260.1422
Ergon Energy | km | 3957.51 | 4482.446 | 5292.877 | 6346.016 | 6894.804 | 7339.335 | 7724.886 | 8179.325 | 8503.553 | 7728.3806
Essential Energy | km | 5166 | 6039 | 5954 | 5989 | 6203 | 7066 | 7365 | 7607 | 6855.8 | 7019.36
Jemena | km | 1300.8904 | 1344.3303 | 1415.6763 | 1463.2662 | 1507.1592 | 1565.6345 | 1630.01 | 1679.2798 | 1725.0657 | 1621.4298
Powercor | km | 3323.7991 | 3512.5 | 3541.5 | 4584.7061 | 5128.662 | 4688 | 4830 | 5065 | 5248.4063 | 4992.0137
SA Power Networks | km | 13761.8477 | 14300.8574 | 14839.8672 | 15488.9436 | 15885.2124 | 16127.9909 | 16499.8848 | 16729.45 | 16923.098 | 16433.1272
AusNet Services | km | 3864.76 | 4111.401 | 4290.722 | 4612.516 | 4792.914 | 5069.076 | 5322.394 | 5502.272 | 5728.1508 | 5282.9614
TasNetworks | km | 1902.3 | 1902.5 | 1902.5 | 1930.6 | 2095.2 | 2274.9 | 2339.3 | 2373.7 | 2432.8 | 2303.18
United Energy | km | 2276 | 2318.4 | 2386.1 | 2424.3 | 2496.8 | 2595.4 | 2631.9 | 2690.8 | 2738.098 | 2630.5996
Customer Density |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2010-14 average
ActewAGL | km | 40.5519 | 41.0442 | 41.3084 | 41.6373 | 42.2113 | 42.7053 | 43.1325 | 43.3728 | 43.7197 | 43.0283
Ausgrid | km | 44.7218 | 44.7064 | 44.7532 | 44.7199 | 44.7078 | 44.4368 | 44.296 | 44.2485 | 44.227 | 44.3832
CitiPower | km | 103.6561 | 102.2761 | 104.5696 | 104.7362 | 105.4894 | 102.4627 | 103.3697 | 103.6754 | 102.2967 | 103.4588
Endeavour Energy | km | 33.0894 | 33.0777 | 32.9907 | 33.0525 | 33.0983 | 33.0881 | 33.0435 | 33.1546 | 33.4649 | 33.1699
Energex | km | 32.0118 | 31.9084 | 31.914 | 31.8011 | 31.79 | 31.8205 | 31.8617 | 31.9279 | 32.136 | 31.9072
Ergon Energy | km | 4.5403 | 4.5654 | 4.639 | 4.7079 | 4.7782 | 4.875 | 4.9104 | 5.0226 | 5.0896 | 4.9352
Essential Energy | km | 4.2161 | 4.4772 | 4.6194 | 4.6098 | 4.5661 | 4.6268 | 4.647 | 4.671 | 4.9105 | 4.6843
Jemena | km | 72.1781 | 73.0227 | 72.6932 | 72.6306 | 73.1552 | 73.2207 | 73.3933 | 73.4566 | 71.1493 | 72.875
Powercor | km | 10.249 | 10.3951 | 10.5598 | 10.6236 | 10.7517 | 11.0438 | 11.1743 | 11.28 | 11.4205 | 11.1341
SA Power Networks | km | 9.6104 | 9.6235 | 9.6502 | 10.0406 | 10.1678 | 10.3169 | 10.4048 | 10.4486 | 10.4893 | 10.3655
AusNet Services | km | 18.6375 | 18.8324 | 19.0422 | 19.1053 | 19.2015 | 19.3571 | 19.552 | 19.8659 | 19.7735 | 19.55
TasNetworks | km | 12.1082 | 12.3421 | 12.5807 | 12.7603 | 12.8542 | 12.8944 | 12.9012 | 12.9033 | 15.4543 | 13.4015
United Energy | km | 63.1816 | 63.2372 | 63.2133 | 63.7736 | 63.7207 | 63.905 | 64.0861 | 64.7592 | 64.5086 | 64.1959

## Reliability
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
SAIDI exclusive of MEDs excluding excluded outages
ActewAGL | minutes/customer | 35 | 44.3 | 25.6 | 29.9 | 25.8 | 47.7 | 32.5 | 28.7 | 26.806
Ausgrid | minutes/customer | 86.99 | 85.5 | 97.03 | 106.5 | 78.94 | 89.33 | 79.27 | 67.62 | 76.52
CitiPower | minutes/customer | 24.7256 | 21.9062 | 16.6011 | 29.6187 | 30.0212 | 22.7105 | 29.1451 | 26.9238 | 34.5072
Endeavour Energy | minutes/customer | 99.3 | 96 | 101.7 | 96.3 | 79.4 | 76.9 | 93.3 | 104.3 | 82.6
Energex | minutes/customer | 128.2224 | 88.2209 | 100.3451 | 90.7891 | 87.6753 | 78.7787 | 64.1719 | 67.3031 | 70.044
Ergon Energy | minutes/customer | 380.488 | 264.065 | 316.668 | 352.064 | 352.245 | 324.963 | 295.802 | 264.105 | 228.0554
Essential Energy | minutes/customer | 297 | 222.3 | 218.4 | 261 | 196.5 | 222.5 | 237.5 | 232.5 | 181.2
Jemena | minutes/customer | 69.0214 | 67.8112 | 62.8783 | 71.2796 | 62.3468 | 55.2387 | 50.2419 | 59.7917 | 58.6214
Powercor | minutes/customer | 121.1557 | 140.6076 | 118.9066 | 170.2682 | 149.949 | 125.1157 | 129.5445 | 139.1516 | 166.227
SA Power Networks | minutes/customer | 156.4 | 180.2 | 129.6 | 136.4 | 180.6 | 161.7 | 130.1 | 143.3 | 167.6
AusNet Services | minutes/customer | 189.545 | 177.201 | 132.11 | 178.128 | 129.865 | 145.469 | 125.602 | 133.1232 | 157.2927
TasNetworks | minutes/customer | 132 | 173 | 175 | 201 | 205 | 139 | 160 | 137 | 184.842
United Energy | minutes/customer | 50.5497 | 60.6512 | 62.6449 | 61.4907 | 56.7159 | 60.9745 | 78.6511 | 73.56 | 77.9401
SAIFI exclusive of MEDs excluding excluded outages
ActewAGL | Outages/customer | 0.71 | 0.64 | 0.56 | 0.59 | 0.62 | 0.8 | 0.63 | 0.59 | 0.498
Ausgrid | Outages/customer | 1.155 | 1.043 | 1.151 | 1.301 | 1.06 | 1.032 | 0.8831 | 0.7325 | 0.825
CitiPower | Outages/customer | 0.53117 | 0.4683 | 0.30724 | 0.54599 | 0.43567 | 0.40298 | 0.46895 | 0.39453 | 0.41584
Endeavour Energy | Outages/customer | 1.212 | 1.22 | 1.232 | 1.102 | 0.973 | 0.898 | 1.013 | 1.216 | 0.98
Energex | Outages/customer | 1.7163 | 1.2549 | 1.3765 | 1.2972 | 1.3827 | 1.1003 | 0.84749 | 0.88238 | 0.8929
Ergon Energy | Outages/customer | 3.946 | 2.749 | 2.939 | 3.423 | 3.273 | 2.831 | 2.71 | 2.422 | 2.317
Essential Energy | Outages/customer | 2.637 | 2.299 | 2.255 | 2.337 | 1.996 | 1.866 | 2.121 | 1.847 | 1.726
Jemena | Outages/customer | 1.1894 | 1.3186 | 1.0038 | 1.1724 | 0.93638 | 0.90285 | 0.92304 | 1.1121 | 0.95631
Powercor | Outages/customer | 1.8944 | 1.7332 | 1.4981 | 1.8117 | 1.7668 | 1.3512 | 1.373 | 1.4364 | 1.6008
SA Power Networks | Outages/customer | 1.663 | 1.736 | 1.353 | 1.374 | 1.649 | 1.546 | 1.308 | 1.326 | 1.446
AusNet Services | Outages/customer | 2.491 | 2.327 | 1.956 | 2.184 | 1.91 | 1.941 | 1.655 | 1.8993 | 1.8036
TasNetworks | Outages/customer | 2.04 | 1.77 | 1.77 | 1.72 | 1.84 | 1.45 | 1.73 | 1.46 | 1.8184
United Energy | Outages/customer | 0.92049 | 1.0669 | 1.3045 | 1.3012 | 0.98301 | 0.95967 | 1.0918 | 1.01 | 1.0004
CAIDI exclusive of MEDs excluding excluded outages
ActewAGL | miutes/outage | 49.2958 | 69.2188 | 45.7143 | 50.678 | 41.6129 | 59.625 | 51.5873 | 48.6441 | 53.8273
Ausgrid | miutes/outage | 75.316 | 81.9751 | 84.3006 | 81.8601 | 74.4717 | 86.5601 | 89.7633 | 92.314 | 92.7515
CitiPower | miutes/outage | 46.5493 | 46.7781 | 54.0335 | 54.2478 | 68.9087 | 56.357 | 62.1501 | 68.2432 | 82.9819
Endeavour Energy | miutes/outage | 81.9307 | 78.6885 | 82.5487 | 87.3866 | 81.6033 | 85.6347 | 92.1027 | 85.773 | 84.2857
Energex | miutes/outage | 74.7101 | 70.2995 | 72.8978 | 69.9891 | 63.4075 | 71.5962 | 75.7204 | 76.2742 | 78.4455
Ergon Energy | miutes/outage | 96.4237 | 96.0586 | 107.7469 | 102.8525 | 107.6214 | 114.7874 | 109.152 | 109.0442 | 98.427
Essential Energy | miutes/outage | 112.628 | 96.6942 | 96.8514 | 111.6816 | 98.4469 | 119.239 | 111.9755 | 125.8798 | 104.9826
Jemena | miutes/outage | 58.0308 | 51.4275 | 62.6374 | 60.7954 | 66.5829 | 61.1823 | 54.4311 | 53.7661 | 61.2996
Powercor | miutes/outage | 63.955 | 81.1269 | 79.371 | 93.9833 | 84.8683 | 92.594 | 94.3497 | 96.8764 | 103.8376
SA Power Networks | miutes/outage | 94.0469 | 103.8018 | 95.7871 | 99.2722 | 109.5209 | 104.5925 | 99.4648 | 108.0694 | 115.9059
AusNet Services | miutes/outage | 76.0919 | 76.15 | 67.5409 | 81.5604 | 67.9921 | 74.9454 | 75.8924 | 70.0902 | 87.2089
TasNetworks | miutes/outage | 64.7059 | 97.7401 | 98.8701 | 116.8605 | 111.413 | 95.8621 | 92.4855 | 93.8356 | 101.6487
United Energy | miutes/outage | 169.9101 | 168.9079 | 99.3462 | 104.8248 | 183.7207 | 168.4952 | 119.1604 | 141.8812 | 167.5402