## PIP_Project_List_END
ID | Project / Program Description | Project / Program Type (Division) | Principle Driver | v3.8a '2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | Priority Ranking | Reg Period $s | Reg Period Cumulative Sum | Percent
PR090 | Doonside 132kV/11kV ZS rebuild | Major Project - Committed Project | Capacity | 1491150 | 0 | 0 | 0 | 0 | 6750 | 1491150 | 1491150 | 0.1115%
PR157 | Richmond ZS rebuild | Major Project - Committed Project | Capacity | 975164 | 0 | 0 | 0 | 0 | 6450 | 975164 | 2466314 | 0.1844%
PR044 | West Liverpool ZS (Hoxton Park ZS Rebuild) | Major Project - Committed Project | Capacity | 77375 | 0 | 0 | 0 | 0 | 6450 | 77375 | 2543689 | 0.1902%
TS125 | Guildford Transmission Substation renewal | Major Project - Committed Project | Renewal | 2842500 | 68000 | 0 | 0 | 0 | 6300 | 2910500 | 5454189 | 0.4078%
PR052 | Penrith TS transformer and Busbar Augment | Major Project - Committed Project | Capacity | 1205902 | 0 | 0 | 0 | 0 | 6150 | 1205902 | 6660091 | 0.498%
PR091 | West Parramatta CBD 132kV/11kV ZS establishment | Major Project - Committed Project | Capacity | 5775892 | 200000 | 0 | 0 | 0 | 5850 | 5975892 | 12635983 | 0.9448%
TS143 | Westmead Zone Substation renewal and augmentation | Major Project - Committed Project | Renewal | 1563483 | 455135 | 0 | 0 | 0 | 5700 | 2018618 | 14654601 | 1.096%
TS005 | 33kV circuit breaker replacement | Program - Short Term Need | Renewal | 474111 | 258300 | 0 | 0 | 97356.297 | 5700 | 829767.297 | 15484368.297 | 1.158%
PR208 | Abbotsbury 132/11kV ZS Establishment | Major Project - Committed Project | Capacity | 1441044 | 0 | 0 | 0 | 0 | 5700 | 1441044 | 16925412.297 | 1.266%
TS036 | Substation earthing | Program - Short Term Need | Renewal | 5108445.84 | 3403000 | 3109850 | 646134.375 | 551906.4453 | 5550 | 12819336.6603 | 29744748.9573 | 2.224%
TS008 | Battery replacement | Program - Short Term Need | Renewal | 196633.94 | 87781.1025 | 77220.9375 | 188455.8594 | 641315.2895 | 5550 | 1191407.1288 | 30936156.0861 | 2.313%
PR673 | Liverpool ZS 11kV Switchboard Extension & Distribution Works | Major Project - Committed Project | Capacity | 1672495 | 5799962.5 | 0 | 4307562.5 | 5850208.3203 | 5400 | 17630228.3203 | 48566384.4064 | 3.631%
TM401 | South Coast 33kV overhead line refurbishment | Program - Short Term Need | Renewal | 1038085.67 | 861000 | 882525 | 904588.125 | 927202.8281 | 5400 | 4613401.6231 | 53179786.0295 | 3.976%
PR204 | Canley Vale Subtransmission Network Upgrade | Major Project - Committed Project | Capacity | 2000000 | 0 | 0 | 0 | 0 | 5400 | 2000000 | 55179786.0295 | 4.126%
PR061 | Russell Vale ZS Augment | Major Project - Committed Project | Capacity | 308500 | 0 | 0 | 0 | 0 | 5325 | 308500 | 55488286.0295 | 4.149%
TM404 | Avon/Nepean Dam feeder refurbishment | Program - Short Term Need | Renewal | 1396340.03 | 4550000 | 3792693.1 | 0 | 0 | 5250 | 9739033.13 | 65227319.1595 | 4.877%
TM012 | Sub-transmission pole replacement | Program - Short Term Need | Renewal | 2140000 | 1535450 | 1573836.25 | 2261470.3125 | 2511174.3262 | 5250 | 10021930.8887 | 75249250.0482 | 5.627%
PR674 | South Marsden Park (Stage 1) | Major Project - Committed Project | Network Connection | 3998000 | 11034800 | 0 | 0 | 0 | 5100 | 15032800 | 90282050.0482 | 6.751%
PR113 | Augment feeder 308 Nepean to Douglas Park | Major Project - Committed Project | Network Connection | 0 | 0 | 4202500 | 4307562.5 | 0 | 5100 | 8510062.5 | 98792112.5482 | 7.387%
TS600 | Power transformer replacement | Program - Short Term Need | Renewal | 0 | 1435000 | 1985681.25 | 1507646.875 | 3453830.5348 | 5100 | 8382158.6598 | 107174271.208 | 8.014%
DS005 | Pole replacement capital | Program - Short Term Need | Renewal | 13083589.51 | 9184000 | 9413600 | 9648940 | 9890163.5 | 4950 | 51220293.01 | 158394564.218 | 11.84%
DS404 | Cast iron UGOH replacement program | Program - Short Term Need | Renewal | 1458001.6077 | 1280737.5 | 397136.25 | 0 | 0 | 4950 | 3135875.3577 | 161530439.5756 | 12.08%
LV001 | Overloaded Distribution sub uprates | Program - Short Term Need | Capacity | 1223005.92 | 445875 | 457021.875 | 468447.4219 | 480158.6074 | 4950 | 3074508.8243 | 164604948.3999 | 12.31%
PR479 | Far South Coast 132kV Voltage Constraints | Major Project - Committed Project | Capacity | 1000000 | 5931196.325 | 0 | 0 | 0 | 4950 | 6931196.325 | 171536144.7249 | 12.83%
PR426 | Leppington North ZS Site Purchase (Strategic) | Major Project - Committed Project | Network Connection | 2000000.07 | 0 | 0 | 0 | 0 | 4950 | 2000000.07 | 173536144.7949 | 12.98%
PR060 | WLTS-ELTS first 132kV Cable Links | Major Project - Committed Project | Capacity | 795000 | 0 | 0 | 0 | 0 | 4950 | 795000 | 174331144.7949 | 13.04%
PR123 | Connection Works Associated with Tomerong / Bamarang BSP | Major Project - Committed Project | Capacity | 616000 | 0 | 0 | 0 | 0 | 4950 | 616000 | 174947144.7949 | 13.08%
PR128 | Convert Camden ZS to 66kV | Major Project - Committed Project | Capacity | 410000 | 0 | 0 | 0 | 0 | 4950 | 410000 | 175357144.7949 | 13.11%
PR126 | Chipping Norton 33/11kV ZS establishment | Major Project - Committed Project | Capacity | 368000 | 0 | 0 | 0 | 0 | 4950 | 368000 | 175725144.7949 | 13.14%
PR303 | Mittagong ZS transformer augment | Major Project - Committed Project | Capacity | 274000 | 0 | 0 | 0 | 0 | 4950 | 274000 | 175999144.7949 | 13.16%
PR186 | Glenorie ZS establishment | Major Project - Committed Project | Capacity | 251582 | 0 | 0 | 0 | 0 | 4950 | 251582 | 176250726.7949 | 13.18%
PR326 | Casula 33/11kV ZS establishment with link to LTS or WLTS | Major Project - Committed Project | Capacity | 222000 | 0 | 0 | 0 | 0 | 4950 | 222000 | 176472726.7949 | 13.2%
PR070 | Caddens ZS Establishment + feeders | Major Project - Committed Project | Capacity | 150430 | 0 | 0 | 0 | 0 | 4950 | 150430 | 176623156.7949 | 13.21%
PR059 | ELTS 132kV Bus bar & Substation works | Major Project - Committed Project | Capacity | 48200 | 0 | 0 | 0 | 0 | 4950 | 48200 | 176671356.7949 | 13.21%
PR206 | Cawdor 66/11kV ZS Establishment | Major Project - Committed Project | Capacity | 48000 | 0 | 0 | 0 | 0 | 4950 | 48000 | 176719356.7949 | 13.21%
PR339 | North Eastern Creek ZS establishment | Major Project - Committed Project | Capacity | 35000 | 0 | 0 | 0 | 0 | 4950 | 35000 | 176754356.7949 | 13.22%
PR288 | Holroyd 330/132kV BSP associated works | Major Project - Committed Project | Capacity | 25000 | 0 | 0 | 0 | 0 | 4950 | 25000 | 176779356.7949 | 13.22%
PR643 | Fibre Works At Carlingford TS For Ausgrid | Major Project - Committed Project | Capacity | 23817 | 0 | 0 | 0 | 0 | 4950 | 23817 | 176803173.7949 | 13.22%
PR144 | Sherwood ZS Augment | Major Project - Committed Project | Capacity | 20000 | 0 | 0 | 0 | 0 | 4950 | 20000 | 176823173.7949 | 13.22%
PR054 | Quakers Hill ZS augment (132kV bar + 1st 132/11kV tfr) | Major Project - Committed Project | Capacity | 18000 | 0 | 0 | 0 | 0 | 4950 | 18000 | 176841173.7949 | 13.22%
PR384 | Glossodia ZS transformer augments | Major Project - Committed Project | Capacity | 14788 | 0 | 0 | 0 | 0 | 4950 | 14788 | 176855961.7949 | 13.22%
PR280 | Wilton Park 66/11kV ZS establishment & 66kV line works | Major Project - Committed Project | Capacity | 12400 | 0 | 0 | 0 | 0 | 4950 | 12400 | 176868361.7949 | 13.22%
PR148 | Dapto ZS 3rd transformer & 33kV Bus Section CB's | Major Project - Committed Project | Capacity | 5000 | 0 | 0 | 0 | 0 | 4950 | 5000 | 176873361.7949 | 13.23%
PR149 | Gerringong ZS Augment | Major Project - Committed Project | Capacity | 5000 | 0 | 0 | 0 | 0 | 4950 | 5000 | 176878361.7949 | 13.23%
PR200 | Cordeaux / Figtree 33/11kV ZS Establishment | Major Project - Committed Project | Capacity | 5000 | 0 | 0 | 0 | 0 | 4950 | 5000 | 176883361.7949 | 13.23%
TS120 | Canley Vale ZS Redevelopment | Major Project - Committed Project | Renewal | 399000 | 0 | 0 | 0 | 0 | 4950 | 399000 | 177282361.7949 | 13.26%
TS072 | Holroyd ZS Renewal | Major Project - Committed Project | Renewal | 182407 | 0 | 0 | 0 | 0 | 4950 | 182407 | 177464768.7949 | 13.27%
TS119 | Bomaderry ZS Redevelopment (fmr PR403) | Major Project - Committed Project | Renewal | 30000 | 0 | 0 | 0 | 0 | 4950 | 30000 | 177494768.7949 | 13.27%
TS138 | Baulkham Hills Switchgear Rearrangement | Major Project - Committed Project | Renewal | 21184 | 0 | 0 | 0 | 0 | 4950 | 21184 | 177515952.7949 | 13.27%
TS067 | Rosehill ZS Renewal | Major Project - Committed Project | Renewal | 17000 | 0 | 0 | 0 | 0 | 4950 | 17000 | 177532952.7949 | 13.27%
TS149 | South Windsor ZS Refurbishment | Major Project - Committed Project | Renewal | 13500 | 0 | 0 | 0 | 0 | 4950 | 13500 | 177546452.7949 | 13.28%
TS126 | Comalco HVC Substation Renewal | Major Project - Committed Project | Renewal | 10000 | 0 | 0 | 0 | 0 | 4950 | 10000 | 177556452.7949 | 13.28%
TS135 | Ringwood ZS Redevelopment | Major Project - Committed Project | Renewal | 3000 | 0 | 0 | 0 | 0 | 4950 | 3000 | 177559452.7949 | 13.28%
TM132 | Sub Transmission Pilot cable renewal program | Major Project - Committed Project | Renewal | 6060172.8 | 0 | 0 | 0 | 0 | 4950 | 6060172.8 | 183619625.5949 | 13.73%
TM131 | Underground Pilots Replacement | Major Project - Committed Project | Renewal | 329076.9 | 0 | 0 | 0 | 0 | 4950 | 329076.9 | 183948702.4949 | 13.75%
DS012 | HV expulsion drop-out fuse replacement program | Program - Short Term Need | Renewal | 458875.94 | 533000 | 546325 | 559983.125 | 0 | 4800 | 2098184.065 | 186046886.5599 | 13.91%
DS307 | Holec MD4 epoxy switchgear replacement | Program - Short Term Need | Renewal | 1025999.9989 | 755475 | 1654734.375 | 1696102.7344 | 1808045.5148 | 4800 | 6940357.6231 | 192987244.183 | 14.43%
DS308 | HV oil and RGB12 switchgear replacement | Program - Short Term Need | Renewal | 536000.5793 | 487900 | 500097.5 | 512599.9375 | 525414.9359 | 4800 | 2562012.9527 | 195549257.1358 | 14.62%
PR440 | Feeder 443 and 458/1 Augmentation and Cattai Rebuild | Major Project - Committed Project | Capacity | 2267408 | 0 | 0 | 0 | 0 | 4800 | 2267408 | 197816665.1358 | 14.79%
AU013 | SCADA master station development software | Program - Short Term Need | Renewal | 599224 | 509425 | 750146.25 | 783976.375 | 571775.0773 | 4650 | 3214546.7023 | 201031211.8381 | 15.03%
PS012 | Distribution feeder protection modernisation | Program - Short Term Need | Renewal | 0 | 2324700 | 2381346.625 | 2455202.9359 | 2528173.0447 | 4650 | 9689422.6056 | 210720634.4437 | 15.76%
RIHV | Reliability HV Development | Program - Short Term Need | Reliability | 5184078.62 | 5740000 | 5883500 | 6030587.5 | 6181352.1875 | 4600 | 29019518.3075 | 239740152.7512 | 17.93%
RIRR | Automated Reclosers | Program - Short Term Need | Reliability | 1238960.3716 | 861000 | 882525 | 904588.125 | 927202.8281 | 4600 | 4814276.3248 | 244554429.076 | 18.29%
RILB | Automated Load Break Switches | Program - Short Term Need | Reliability | 781174.8874 | 502250 | 514806.25 | 527676.4062 | 540868.3164 | 4600 | 2866775.8601 | 247421204.9361 | 18.5%
RIAR | Line Fault Indicators | Program - Short Term Need | Reliability | 402593.7816 | 251125 | 257403.125 | 263838.2031 | 270434.1582 | 4600 | 1445394.2679 | 248866599.2039 | 18.61%
RIDFA | DFA - Radio, SCADA, Software | Program - Short Term Need | Reliability | 200000 | 143500 | 147087.5 | 150764.6875 | 154533.8047 | 4600 | 795885.9922 | 249662485.1961 | 18.67%
RITR | Reliability Transmission Development | Program - Short Term Need | Reliability | 250000 | 179375 | 183859.375 | 188455.8594 | 193167.2559 | 4600 | 994857.4902 | 250657342.6864 | 18.74%
TS133 | Corrimal ZS Redevelopment | Major Project - Committed Project | Renewal | 997500 | 0 | 0 | 0 | 0 | 4575 | 997500 | 251654842.6864 | 18.82%
HVW | HV Development Works | Program - Short Term Need | Compliance | 17523182.2125 | 6938225 | 8707580 | 7153784.4219 | 5957278.1707 | 4500 | 46280049.8051 | 297934892.4914 | 22.28%
PQ001 | PQ Monitoring | Program - Short Term Need | Compliance | 100000 | 107625 | 73543.75 | 75382.3438 | 77266.9023 | 4500 | 433817.9961 | 298368710.4875 | 22.31%
DS007 | Service wire replacement program | Program - Short Term Need | Renewal | 10140000 | 10500000 | 7956900 | 7956900 | 7956200 | 4500 | 44510000 | 342878710.4875 | 25.64%
DS314 | Basement Substation Refurbishment | Program - Short Term Need | Renewal | 0 | 661125 | 677653.125 | 0 | 0 | 4500 | 1338778.125 | 344217488.6125 | 25.74%
LV003 | Quality of supply planned projects | Program - Short Term Need | Capacity | 1671462.73 | 1406300 | 1441457.5 | 1477493.9375 | 1514431.2859 | 4500 | 7511145.4534 | 351728634.066 | 26.3%
LV002 | Quality of supply reactive projects | Program - Short Term Need | Capacity | 930130.67 | 846650 | 867816.25 | 889511.6562 | 911749.4477 | 4500 | 4445858.0239 | 356174492.0899 | 26.63%
TM019 | Access track reconstruction | Program - Short Term Need | Renewal | 1541343.81 | 1568185 | 715000 | 0 | 0 | 4500 | 3824528.81 | 359999020.8999 | 26.92%
PR102 | Kemps Creek / Luddenham Capacity uprate | Major Project - Committed Project | Capacity | 2700000 | 0 | 0 | 0 | 0 | 4500 | 2700000 | 362699020.8999 | 27.12%
TS130 | Northmead Zone Substation Renewal | Major Project - Committed Project | Renewal | 3336000 | 0 | 0 | 0 | 0 | 4500 | 3336000 | 366035020.8999 | 27.37%
DS409 | Miscellaneous mains renewal expenditure | Program - Short Term Need | Renewal | 1175000 | 717500 | 735437.5 | 753823.4375 | 772669.0234 | 4350 | 4154429.9609 | 370189450.8608 | 27.68%
TM410 | Hazelbook ZS to Springwood ZS Feeder 808 refurbishment | Program - Short Term Need | Renewal | 1301000 | 150574.55 | 0 | 0 | 0 | 4350 | 1451574.55 | 371641025.4108 | 27.79%
PR406 | Tomerong ZS Establishment | Major Project - Committed Project | Capacity | 645000.2307 | 0 | 0 | 0 | 0 | 4350 | 645000.2307 | 372286025.6415 | 27.84%
DS011 | HV distribution steel mains replacement | Program - Short Term Need | Renewal | 13018288.76 | 5000000 | 5000000 | 5000000 | 5000000 | 4200 | 33018288.76 | 405304314.4015 | 30.31%
DS405 | Air-break switch replacement | Program - Short Term Need | Renewal | 3031999.7072 | 2995050 | 3069926.25 | 3146674.4062 | 3225341.2664 | 4200 | 15468991.6299 | 420773306.0313 | 31.46%
DS002 | Pole substation refurbishment | Program - Short Term Need | Renewal | 1724999.98 | 1076537 | 1103450.425 | 1131036.6856 | 1159312.6028 | 4200 | 6195336.6934 | 426968642.7247 | 31.93%
PR596 | Marsden Park (Residential) 132/11kV ZS establishment - Stage 1 | Major Project - Committed Project | Network Connection | 8800000 | 8374824 | 765206 | 0 | 0 | 4200 | 17940030 | 444908672.7247 | 33.27%
TS128 | Capacitor bank replacement | Program - Short Term Need | Renewal | 600000 | 0 | 0 | 452294.0625 | 0 | 4200 | 1052294.0625 | 445960966.7872 | 33.35%
TS121 | Port Kembla ZS | Major Project - Committed Project | Renewal | 1724150 | 0 | 0 | 0 | 0 | 4200 | 1724150 | 447685116.7872 | 33.47%
TS131 | Bulli Zone Substation Renewal | Major Project - Committed Project | Renewal | 992425 | 0 | 0 | 0 | 0 | 4125 | 992425 | 448677541.7872 | 33.55%
DS302 | Distribution transformer replacement programs | Program - Short Term Need | Renewal | 3133819.61 | 1476000 | 1512900 | 1550722.5 | 1721948.1094 | 4050 | 9395390.2194 | 458072932.0066 | 34.25%
PR656 | Leppington South ZS Establishment (permanent) | Major Project - Committed Project | Network Connection | 0 | 0 | 5253125 | 10768906.25 | 11038128.9062 | 4050 | 27060160.1562 | 485133092.1628 | 36.27%
PR487 | Connection Works Associated with Macarthur BSP | Major Project - Committed Project | Network Connection | 5382600 | 200000 | 0 | 0 | 0 | 4050 | 5582600 | 490715692.1628 | 36.69%
CC007 | SCADA radio repeaters | Program - Short Term Need | Renewal | 422000.0766 | 514447.5 | 475092.625 | 570644.3422 | 488326.8228 | 4050 | 2470511.3666 | 493186203.5294 | 36.88%
TM171 | Replacement of corroded earthwires | Program - Short Term Need | Renewal | 2546228.38 | 4408083.225 | 1470876.4709 | 1507646.875 | 1545338.0469 | 4050 | 11478172.9977 | 504664376.5272 | 37.73%
TS156 | Lawson TS - RailCorp Connections Works | Major Project - Committed Project | Renewal | 210000 | 0 | 0 | 0 | 0 | 3975 | 210000 | 504874376.5272 | 37.75%
DS414 | Copper distribution mains replacement | Program - Short Term Need | Renewal | 0 | 896875 | 1575937.5 | 1615335.9375 | 3863345.1172 | 3900 | 7951493.5547 | 512825870.0819 | 38.35%
PR308 | Granville ZS & Camellia TS Rebuild | Major Project - Committed Project | Capacity | 3190898 | 30750 | 0 | 0 | 0 | 3900 | 3221648 | 516047518.0819 | 38.59%
EF001 | Distribution Management System | Program - Short Term Need | Other System | 2000000 | 358750 | 735437.5 | 753823.4375 | 5640483.8711 | 3900 | 9488494.8086 | 525536012.8905 | 39.3%
TM027 | Steel Tower Asbestos Removal | Program - Short Term Need | Renewal | 0 | 430500 | 882525 | 904588.125 | 927202.8281 | 3900 | 3144815.9531 | 528680828.8436 | 39.53%
PR517 | Installation of OPGW on Feeders 98W and 98F | Major Project - Committed Project | Capacity | 350000 | 0 | 0 | 0 | 0 | 3825 | 350000 | 529030828.8436 | 39.56%
TS005 | 33kV circuit breaker replacement | Program - Medium Term Need | Renewal | 0 | 0 | 0 | 0 | 20862.0636 | 3800 | 20862.0636 | 529051690.9072 | 39.56%
DS006 | LV CONSAC cable replacement | Program - Short Term Need | Renewal | 9798836.668 | 7840000 | 6860000 | 10780000 | 10780000 | 3750 | 46058836.668 | 575110527.5753 | 43%
DS009 | Reliability focused distribution mains renewal | Program - Short Term Need | Renewal | 1695464.31 | 717500 | 735437.5 | 753823.4375 | 772669.0234 | 3750 | 4674894.2709 | 579785421.8462 | 43.35%
PR184 | Box Hill ZS Establishment (interim) | Major Project - Committed Project | Network Connection | 0 | 0 | 5253125 | 16153359.375 | 0 | 3750 | 21406484.375 | 601191906.2212 | 44.95%
PR427 | Leppington North ZS Establishment (interim initially) | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 2153781.25 | 7174783.7891 | 3750 | 9328565.0391 | 610520471.2603 | 45.65%
PR329 | Box Hill ZSSite Purchase | Major Project - Committed Project | Network Connection | 150000 | 1025000 | 0 | 0 | 0 | 3750 | 1175000 | 611695471.2603 | 45.74%
TM023 | Renewal of 132kV cable 233 | Major Project - Committed Project | Renewal | 2777119.95 | 8515796 | 27516 | 0 | 0 | 3750 | 11320431.95 | 623015903.2103 | 46.58%
TS173 | 11kV Switchboard Truck Replacement Program | Program - Short Term Need | Renewal | 0 | 1162350 | 1588545 | 1628258.625 | 1981896.0451 | 3750 | 6361049.6701 | 629376952.8804 | 47.06%
TS168 | Carramar Zone Substation switchgear replacement | Major Project - Committed Project | Renewal | 158701 | 1500000 | 2300000 | 0 | 0 | 3750 | 3958701 | 633335653.8804 | 47.36%
LV005 | Dsub Monitoring & LV Feeder Monitoring for Solar PV | Program - Short Term Need | Capacity | 499999.8752 | 358750 | 367718.75 | 301529.375 | 309067.6094 | 3750 | 1837065.6096 | 635172719.49 | 47.49%
TM016 | Cast iron UGOH replacement within zone substations | Program - Short Term Need | Renewal | 0 | 89687.5 | 110315.625 | 113073.5156 | 0 | 3750 | 313076.6406 | 635485796.1306 | 47.52%
PR559 | Mamre ZS Transformer Augment and 11kV busbar extension | Major Project - Committed Project | Network Connection | 254000 | 0 | 0 | 0 | 0 | 3750 | 254000 | 635739796.1306 | 47.54%
TS036 | Substation earthing | Program - Medium Term Need | Renewal | 0 | 0 | 0 | 323067.1875 | 275953.2227 | 3700 | 599020.4102 | 636338816.5408 | 47.58%
TS008 | Battery replacement | Program - Medium Term Need | Renewal | 0 | 18810.2363 | 16547.3438 | 40383.3984 | 137424.7049 | 3700 | 213165.6833 | 636551982.2241 | 47.6%
PR429 | Leppington South ZS Establishment (interim initially) | Major Project - Committed Project | Network Connection | 2560000 | 0 | 0 | 0 | 0 | 3675 | 2560000 | 639111982.2241 | 47.79%
TM401 | South Coast 33kV overhead line refurbishment | Program - Medium Term Need | Renewal | 0 | 184500 | 189112.5 | 193840.3125 | 198686.3203 | 3600 | 766139.1328 | 639878121.3569 | 47.85%
MC104 | Meters - Renewal | Program - Short Term Need | Renewal | 2663389.8305 | 2457667.1 | 2333560.1026 | 2018395.4221 | 2963009.5363 | 3600 | 12436021.9916 | 652314143.3485 | 48.77%
PQ003 | PQ Surveying | Program - Short Term Need | Compliance | 50000 | 51250 | 52531.25 | 53844.5312 | 55190.6445 | 3600 | 262816.4258 | 652576959.7742 | 48.79%
DS301 | Ground substation refurbishment program | Program - Short Term Need | Renewal | 3873908.23 | 615000 | 630375 | 646134.375 | 662287.7344 | 3600 | 6427705.3394 | 659004665.1136 | 49.28%
DS305 | Compact LV switchgear replacement | Program - Short Term Need | Renewal | 332000.6736 | 45920 | 47068 | 48244.7 | 49450.8175 | 3600 | 522684.1911 | 659527349.3047 | 49.31%
PR436 | Catherine Fields ZS Site Purchase | Major Project - Committed Project | Network Connection | 800000 | 1025000 | 0 | 0 | 0 | 3600 | 1825000 | 661352349.3047 | 49.45%
TM174 | Hardex Earthwire Replacement | Program - Short Term Need | Renewal | 0 | 179375 | 3478619.375 | 4749087.6562 | 5037802.0328 | 3600 | 13444884.0641 | 674797233.3688 | 50.46%
TM303 | Guilford and Camellia 132kV feeder, oil testing and flushing | Program - Short Term Need | Renewal | 0 | 71750 | 73543.75 | 0 | 0 | 3600 | 145293.75 | 674942527.1188 | 50.47%
PS008 | Substation protection relay refurbishment | Program - Short Term Need | Renewal | 1600002.3 | 2563730 | 4265537.5 | 4307562.5 | 4415251.5625 | 3600 | 17152083.8625 | 692094610.9813 | 51.75%
TS026 | Noise attenuation in ZS and TS | Program - Short Term Need | Renewal | 1769000 | 638575 | 787968.75 | 538445.3125 | 827859.668 | 3600 | 4561848.7305 | 696656459.7117 | 52.09%
PR615 | Cordeaux Feeder - LFI installation | Major Project - Committed Project | Reliability | 35000 | 0 | 0 | 0 | 0 | 3525 | 35000 | 696691459.7117 | 52.09%
TM404 | Avon/Nepean Dam feeder refurbishment | Program - Medium Term Need | Renewal | 0 | 975000 | 812719.95 | 0 | 0 | 3500 | 1787719.95 | 698479179.6617 | 52.23%
TM012 | Sub-transmission pole replacement | Program - Medium Term Need | Renewal | 0 | 329025 | 337250.625 | 484600.7812 | 538108.7842 | 3500 | 1688985.1904 | 700168164.8522 | 52.35%
DS312 | Miscellaneous substation renewal expenditure | Program - Short Term Need | Renewal | 780000.995 | 717500 | 735437.5 | 753823.4375 | 772669.0234 | 3450 | 3759430.9559 | 703927595.8081 | 52.63%
TS122 | Leabons Lane Zone Substation renewal | Major Project - Committed Project | Renewal | 6600000 | 3757168 | 2667397 | 0 | 0 | 3450 | 13024565 | 716952160.8081 | 53.61%
TS123 | St Marys Zone Substation renewal | Major Project - Committed Project | Renewal | 3800000 | 4723000 | 317702 | 0 | 0 | 3450 | 8840702 | 725792862.8081 | 54.27%
TS127 | Castle Hill Zone Substation renewal | Major Project - Committed Project | Renewal | 600000 | 3500000 | 3300000 | 0 | 0 | 3450 | 7400000 | 733192862.8081 | 54.82%
TS102 | Rydalmere Zone Substation renewal | Major Project - Committed Project | Renewal | 2450000 | 2048000 | 45000 | 0 | 0 | 3450 | 4543000 | 737735862.8081 | 55.16%
TS134 | South Granville Zone Substation renewal | Major Project - Committed Project | Renewal | 2045218 | 704000 | 0 | 0 | 0 | 3450 | 2749218 | 740485080.8081 | 55.37%
EF002 | Technology Pilots | Program - Short Term Need | Other System | 2000000.9613 | 1435000 | 1470875 | 1507646.875 | 1545338.0469 | 3450 | 7958860.8831 | 748443941.6912 | 55.96%
CC020 | Microwave refurbishment and extension | Program - Short Term Need | Renewal | 585000.0766 | 430500 | 717051.5625 | 817898.4297 | 799712.4393 | 3450 | 3350162.5081 | 751794104.1993 | 56.21%
TS007 | 11kV circuit breaker replacement | Program - Short Term Need | Renewal | 4335000 | 0 | 0 | 0 | 0 | 3450 | 4335000 | 756129104.1993 | 56.54%
TS031 | Substation safety fence upgrade program | Program - Short Term Need | Renewal | 200000 | 143500 | 147087.5 | 150764.6875 | 154533.8047 | 3450 | 795885.9922 | 756924990.1915 | 56.6%
DS005 | Pole replacement capital | Program - Medium Term Need | Renewal | 0 | 1968000 | 2017200 | 2067630 | 2119320.75 | 3300 | 8172150.75 | 765097140.9415 | 57.21%
DS404 | Cast iron UGOH replacement program | Program - Medium Term Need | Renewal | 0 | 274443.75 | 85100.625 | 0 | 0 | 3300 | 359544.375 | 765456685.3165 | 57.23%
LV001 | Overloaded Distribution sub uprates | Program - Medium Term Need | Capacity | 0 | 222937.5 | 228510.9375 | 234223.7109 | 240079.3037 | 3300 | 925751.4521 | 766382436.7686 | 57.3%
SL002 | Streetlighting Refurbishment | Program - Short Term Need | Renewal | 2354468.93 | 2798250 | 2868206.25 | 2939911.4062 | 3013409.1914 | 3300 | 13974245.7777 | 780356682.5463 | 58.35%
DS313 | Padmount substation fire risk mitigation | Program - Short Term Need | Renewal | 702001.3873 | 196800 | 201720 | 0 | 0 | 3300 | 1100521.3873 | 781457203.9336 | 58.43%
PR437 | Catherine Fields ZS Establishment (interim) | Major Project - Committed Project | Network Connection | 0 | 0 | 3151875 | 6461343.75 | 2207625.7812 | 3300 | 11820844.5312 | 793278048.4649 | 59.32%
PR255 | Line works associated with Oran Park | Major Project - Committed Project | Network Connection | 3311814 | 2146402 | 0 | 0 | 0 | 3300 | 5458216 | 798736264.4649 | 59.72%
PR342 | Jordan Springs establishment | Major Project - Committed Project | Network Connection | 4400000 | 300000 | 0 | 0 | 0 | 3300 | 4700000 | 803436264.4649 | 60.07%
PR413 | Windsor Transformer | Major Project - Committed Project | Capacity | 957602 | 1100000 | 0 | 0 | 0 | 3300 | 2057602 | 805493866.4649 | 60.23%
TM133 | Hardex pilot cable renewal | Program - Short Term Need | Renewal | 6927629.78 | 9225000 | 13140.1669 | 0 | 0 | 3300 | 16165769.9469 | 821659636.4117 | 61.44%
TS144 | Substation fire stopping measures | Program - Short Term Need | Renewal | 150000 | 107625 | 110315.625 | 113073.5156 | 115900.3535 | 3300 | 596914.4941 | 822256550.9059 | 61.48%
DS307 | Holec MD4 epoxy switchgear replacement | Program - Medium Term Need | Renewal | 0 | 161887.5 | 354585.9375 | 363450.5859 | 387438.3246 | 3200 | 1267362.348 | 823523913.2539 | 61.58%
DS308 | HV oil and RGB12 switchgear replacement | Program - Medium Term Need | Renewal | 0 | 104550 | 107163.75 | 109842.8438 | 112588.9148 | 3200 | 434145.5086 | 823958058.7625 | 61.61%
OFP | Overloaded Feeders (Compliance) | Program - Short Term Need | Compliance | 2599052.29 | 0 | 0 | 0 | 0 | 3200 | 2599052.29 | 826557111.0525 | 61.8%
PQ002 | PQ Monitoring – Statistical assessment of the LV network | Program - Short Term Need | Compliance | 1440000 | 0 | 0 | 0 | 0 | 3200 | 1440000 | 827997111.0525 | 61.91%
DS410 | Capital works for Compliance to NSW Maritime Waterways - Crossing Codes | Program - Short Term Need | Renewal | 800000 | 0 | 0 | 0 | 0 | 3200 | 800000 | 828797111.0525 | 61.97%
DS411 | Capital works for compliance to NSW Maritime Waterways - Signage Replacement and Drawings update | Program - Short Term Need | Renewal | 395905.5 | 0 | 0 | 0 | 0 | 3200 | 395905.5 | 829193016.5525 | 62%
EH | DIST ENVIRON. ENHANCEMENT PROGRAM Total | Program - Short Term Need | Other System | 562006.96 | 0 | 0 | 0 | 0 | 3200 | 562006.96 | 829755023.5125 | 62.04%
PR424 | Austral ZS Site Purchase | Program - Short Term Need | Network Connection | 1500000 | 0 | 0 | 0 | 0 | 3200 | 1500000 | 831255023.5125 | 62.15%
TM408 | Ringwood Feeder 7906 Refurbishment | Program - Short Term Need | Renewal | 1208160.64 | 0 | 0 | 0 | 0 | 3200 | 1208160.64 | 832463184.1525 | 62.25%
TS606 | Jasper Road 33kV No 3 - Transformer Replacement | Program - Short Term Need | Renewal | 500000 | 0 | 0 | 0 | 0 | 3200 | 500000 | 832963184.1525 | 62.28%
TS607 | West Liverpool 132 kV No 1 - Demolition | Program - Short Term Need | Renewal | 100000 | 0 | 0 | 0 | 0 | 3200 | 100000 | 833063184.1525 | 62.29%
DS013 | Lapstone Distribution Network Renewal | Program - Short Term Need | Renewal | 0 | 2009000 | 1985681.25 | 1884558.5938 | 1004469.7305 | 3150 | 6883709.5742 | 839946893.7267 | 62.8%
PR258 | Menangle Park 66/11kV ZS establishment (mobile) | Major Project - Committed Project | Network Connection | 1026806.5788 | 1025000 | 3151875 | 0 | 0 | 3150 | 5203681.5788 | 845150575.3055 | 63.19%
PR521 | Culburra ZS fdr deplication & provision for rural ZS's | Major Project - Committed Project | Capacity | 1439500 | 200000 | 0 | 0 | 0 | 3150 | 1639500 | 846790075.3055 | 63.32%
PR257 | Menangle Park 66/11kV ZS Site Purchase | Major Project - Committed Project | Network Connection | 1000000.04 | 615000 | 0 | 0 | 0 | 3150 | 1615000.04 | 848405075.3455 | 63.44%
TS016 | VT and CT replacement | Program - Short Term Need | Renewal | 1578015 | 1986958.4 | 1103891.6875 | 301529.375 | 424967.9629 | 3150 | 5395362.4254 | 853800437.7709 | 63.84%
TS049 | Tunnelboard refurbishment | Program - Short Term Need | Renewal | 50000 | 574000 | 36771.875 | 37691.1719 | 38633.4512 | 3150 | 737096.498 | 854537534.2689 | 63.9%
TS057 | Substation insulation co-ordination | Program - Short Term Need | Renewal | 44624 | 161437.5 | 110315.625 | 113073.5156 | 115900.3535 | 3150 | 545350.9941 | 855082885.2631 | 63.94%
TS055 | 66kV circuit breaker replacement | Program - Short Term Need | Renewal | 0 | 138477.5 | 0 | 0 | 98901.635 | 3150 | 237379.135 | 855320264.3981 | 63.95%
AU013 | SCADA master station development software | Program - Medium Term Need | Renewal | 0 | 109162.5 | 160745.625 | 167994.9375 | 122523.2309 | 3100 | 560426.2934 | 855880690.6914 | 64%
PS012 | Distribution feeder protection modernisation | Program - Medium Term Need | Renewal | 0 | 498150 | 510288.5625 | 526114.9148 | 541751.3667 | 3100 | 2076304.8441 | 857956995.5355 | 64.15%
RIHV | Reliability HV Development | Program - Medium Term Need | Reliability | 0 | 1230000 | 1260750 | 1292268.75 | 1324575.4688 | 3066 | 5107594.2188 | 863064589.7543 | 64.53%
RIRR | Automated Reclosers | Program - Medium Term Need | Reliability | 0 | 184500 | 189112.5 | 193840.3125 | 198686.3203 | 3066 | 766139.1328 | 863830728.8871 | 64.59%
RILB | Automated Load Break Switches | Program - Medium Term Need | Reliability | 0 | 107625 | 110315.625 | 113073.5156 | 115900.3535 | 3066 | 446914.4941 | 864277643.3812 | 64.62%
RIAR | Line Fault Indicators | Program - Medium Term Need | Reliability | 0 | 53812.5 | 55157.8125 | 56536.7578 | 57950.1768 | 3066 | 223457.2471 | 864501100.6283 | 64.64%
RIDFA | DFA - Radio, SCADA, Software | Program - Medium Term Need | Reliability | 0 | 30750 | 31518.75 | 32306.7188 | 33114.3867 | 3066 | 127689.8555 | 864628790.4837 | 64.65%
RITR | Reliability Transmission Development | Program - Medium Term Need | Reliability | 0 | 38437.5 | 39398.4375 | 40383.3984 | 41392.9834 | 3066 | 159612.3193 | 864788402.8031 | 64.66%
PQ001 | PQ Monitoring | Program - Medium Term Need | Compliance | 0 | 23062.5 | 15759.375 | 16153.3594 | 16557.1934 | 3000 | 71532.4277 | 864859935.2308 | 64.67%
DS314 | Basement Substation Refurbishment | Program - Medium Term Need | Renewal | 0 | 495843.75 | 508239.8438 | 0 | 0 | 3000 | 1004083.5938 | 865864018.8246 | 64.74%
LV002 | Quality of supply reactive projects | Program - Medium Term Need | Capacity | 0 | 181425 | 185960.625 | 190609.6406 | 195374.8816 | 3000 | 753370.1473 | 866617388.9718 | 64.8%
PR110 | Edmondson Park ZS Establishment | Major Project - Committed Project | Network Connection | 11600000 | 3416163 | 6250975 | 3330607 | 0 | 3000 | 24597745 | 891215133.9718 | 66.64%
PR408 | Oran Park (permanent) ZS Establishment | Major Project - Committed Project | Network Connection | 4700000 | 2725000 | 0 | 0 | 0 | 3000 | 7425000 | 898640133.9718 | 67.19%
TM803 | Steel tower below ground rectification work | Program - Short Term Need | Renewal | 1000000 | 676500 | 1050625 | 1076890.625 | 1103812.8906 | 3000 | 4907828.5156 | 903547962.4875 | 67.56%
TM302 | Oil filled cable auxiliary equipment refurbishment | Program - Short Term Need | Renewal | 0 | 71750 | 73543.75 | 0 | 0 | 3000 | 145293.75 | 903693256.2375 | 67.57%
TS024 | Building and amenities refurbishment | Program - Short Term Need | Renewal | 1929346.78 | 1245375 | 1276509.375 | 1308422.1094 | 1341132.6621 | 3000 | 7100785.9265 | 910794042.1639 | 68.1%
TS086 | Busbar support and isolator replacement | Program - Short Term Need | Renewal | 0 | 0 | 110315.625 | 113073.5156 | 115900.3535 | 3000 | 339289.4941 | 911133331.6581 | 68.13%
TS124 | Substation control building fire alarm systems | Program - Short Term Need | Renewal | 60000 | 43050 | 44126.25 | 45229.4062 | 46360.1414 | 3000 | 238765.7977 | 911372097.4557 | 68.15%
PS010 | Protection refurbishment (interfacing feeders) | Program - Short Term Need | Renewal | 526500 | 538125 | 551578.125 | 195994.0938 | 0 | 3000 | 1812197.2188 | 913184294.6745 | 68.28%
IC | Industrial & Commercial | Program - Short Term Need | Network Connection | 8458120.2039 | 4879000 | 5025979.875 | 5177387.5187 | 5333356.4336 | 3000 | 28873844.0313 | 942058138.7057 | 70.44%
TS035 | Substation oil containment program - bund walls | Program - Short Term Need | Renewal | 600000 | 307500 | 157593.75 | 161533.5938 | 165571.9336 | 3000 | 1392199.2773 | 943450337.9831 | 70.54%
SL001 | Streetlighting Growth | Program - Short Term Need | Capacity | 2515041.8227 | 1585675 | 1625316.875 | 1665949.7969 | 1707598.5418 | 3000 | 9099582.0363 | 952549920.0194 | 71.22%
AR | Asset Relocation | Program - Short Term Need | Renewal | 1105026.2207 | 842175.67 | 867546.3444 | 893681.0537 | 920603.462 | 3000 | 4629032.7508 | 957178952.7702 | 71.57%
TS033 | Substation fire hydrant installations | Program - Short Term Need | Renewal | 859116.57 | 688800 | 706020 | 723670.5 | 741762.2625 | 3000 | 3719369.3325 | 960898322.1027 | 71.85%
LV004 | Low Voltage System Augmentations | Program - Short Term Need | Capacity | 349999.4875 | 358750 | 367718.75 | 376911.7188 | 386334.5117 | 3000 | 1839714.468 | 962738036.5707 | 71.99%
MC101 | Meters - Growth | Program - Short Term Need | Capacity | 1400000.0004 | 1076250 | 1103156.25 | 1130735.1562 | 1159003.5352 | 3000 | 5869144.9418 | 968607181.5125 | 72.42%
NU | Non Urban Extension | Program - Short Term Need | Network Connection | 1188461.232 | 891066.8375 | 917910.5753 | 945562.9518 | 974047.433 | 3000 | 4917049.0295 | 973524230.5421 | 72.79%
MC102 | Relays - Growth | Program - Short Term Need | Capacity | 160000 | 114800 | 117670 | 120611.75 | 123627.0437 | 3000 | 636708.7937 | 974160939.3358 | 72.84%
DS409 | Miscellaneous mains renewal expenditure | Program - Medium Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 2900 | 638449.2773 | 974799388.6132 | 72.89%
TM410 | Hazelbook ZS to Springwood ZS Feeder 808 refurbishment | Program - Medium Term Need | Renewal | 0 | 32265.975 | 0 | 0 | 0 | 2900 | 32265.975 | 974831654.5882 | 72.89%
UR | Underground Residential | Program - Short Term Need | Network Connection | 6004309.94 | 5102626.8125 | 5256343.9049 | 5414691.1369 | 5577808.8233 | 2850 | 27355780.6175 | 1002187435.2057 | 74.94%
DS415 | LV Mains Refurbishment | Program - Short Term Need | Renewal | 0 | 358750 | 735437.5 | 753823.4375 | 3863345.1172 | 2850 | 5711356.0547 | 1007898791.2603 | 75.36%
DS413 | Low Mains Remediation | Program - Short Term Need | Renewal | 1940000.07 | 932750 | 956068.75 | 979970.4688 | 231800.707 | 2850 | 5040589.9958 | 1012939381.2561 | 75.74%
PR444 | Culburra Beach Development (33kV fdr and single transformer ZS) | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 2692226.5625 | 1655719.3359 | 2850 | 4347945.8984 | 1017287327.1546 | 76.06%
MC105 | Relays - Renewal | Program - Short Term Need | Renewal | 246610.1695 | 161925.4 | 176488.0849 | 194076.3669 | 226568.1924 | 2850 | 1005668.2138 | 1018292995.3683 | 76.14%
PS009 | Installation of SEF relays | Program - Short Term Need | Renewal | 1017000 | 923173.425 | 0 | 0 | 0 | 2850 | 1940173.425 | 1020233168.7933 | 76.29%
TS009 | Auxiliary switchgear replacement | Program - Short Term Need | Renewal | 450000 | 645750 | 992840.625 | 1017661.6406 | 695402.1211 | 2850 | 3801654.3867 | 1024034823.1801 | 76.57%
TS116 | Roof refurbuishment for control and switch rooms | Program - Short Term Need | Renewal | 1170483.22 | 861000 | 551578.125 | 452294.0625 | 463601.4141 | 2850 | 3498956.8216 | 1027533780.0016 | 76.83%
TS004 | 132kV circuit breaker replacement | Program - Short Term Need | Renewal | 0 | 0 | 0 | 132672.925 | 271979.4963 | 2850 | 404652.4213 | 1027938432.4229 | 76.86%
TS015 | Replacement of surge arrester in zone and sub-transmission substations | Program - Short Term Need | Renewal | 33750 | 14314.125 | 26806.6969 | 15830.2922 | 40449.2234 | 2850 | 131150.3374 | 1028069582.7603 | 76.87%
DS011 | HV distribution steel mains replacement | Program - Medium Term Need | Renewal | 0 | 1750000 | 1750000 | 1480000 | 1480000 | 2800 | 6460000 | 1034529582.7603 | 77.35%
DS405 | Air-break switch replacement | Program - Medium Term Need | Renewal | 0 | 998350 | 1023308.75 | 1048891.4688 | 1075113.7555 | 2800 | 4145663.9742 | 1038675246.7345 | 77.66%
DS002 | Pole substation refurbishment | Program - Medium Term Need | Renewal | 0 | 230686.5 | 236453.6625 | 242365.0041 | 248424.1292 | 2800 | 957929.2957 | 1039633176.0302 | 77.74%
TS128 | Capacitor bank replacement | Program - Medium Term Need | Renewal | 0 | 0 | 0 | 96920.1562 | 0 | 2800 | 96920.1562 | 1039730096.1865 | 77.74%
CC007 | SCADA radio repeaters | Program - Medium Term Need | Renewal | 0 | 110238.75 | 101805.5625 | 122280.9305 | 104641.462 | 2700 | 438966.705 | 1040169062.8915 | 77.78%
TM171 | Replacement of corroded earthwires | Program - Medium Term Need | Renewal | 0 | 0 | 315187.8152 | 323067.1875 | 331143.8672 | 2700 | 969398.8699 | 1041138461.7614 | 77.85%
TM014 | Renewal of 33kV and 66kV gas and oil filled cables | Program - Short Term Need | Renewal | 3400000 | 5500000 | 2074883 | 0 | 0 | 2700 | 10974883 | 1052113344.7614 | 78.67%
EF001 | Distribution Management System | Program - Medium Term Need | Other System | 0 | 76875 | 157593.75 | 161533.5938 | 1208675.1152 | 2600 | 1604677.459 | 1053718022.2204 | 78.79%
TM027 | Steel Tower Asbestos Removal | Program - Medium Term Need | Renewal | 0 | 92250 | 189112.5 | 193840.3125 | 198686.3203 | 2600 | 673889.1328 | 1054391911.3532 | 78.84%
TM801 | Steel tower painting program | Program - Short Term Need | Renewal | 404022.86 | 256250 | 525312.5 | 2153781.25 | 2207625.7812 | 2550 | 5546992.3913 | 1059938903.7444 | 79.25%
TM172 | Earthwire replacement due to fault rating | Program - Short Term Need | Renewal | 0 | 0 | 1662824.1875 | 1617705.0969 | 0 | 2550 | 3280529.2844 | 1063219433.0288 | 79.5%
TM026 | Installation of vibration dampers (sub-transmission) | Program - Short Term Need | Renewal | 0 | 0 | 131328.125 | 134611.3281 | 137976.6113 | 2550 | 403916.0645 | 1063623349.0932 | 79.53%
DS009 | Reliability focused distribution mains renewal | Program - Medium Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 2500 | 638449.2773 | 1064261798.3706 | 79.58%
TS173 | 11kV Switchboard Truck Replacement Program | Program - Medium Term Need | Renewal | 0 | 249075 | 340402.5 | 348912.5625 | 424692.0097 | 2500 | 1363082.0722 | 1065624880.4428 | 79.68%
LV005 | Dsub Monitoring & LV Feeder Monitoring for Solar PV | Program - Medium Term Need | Capacity | 0 | 76875 | 78796.875 | 64613.4375 | 66228.7734 | 2500 | 286514.0859 | 1065911394.5287 | 79.7%
TM016 | Cast iron UGOH replacement within zone substations | Program - Medium Term Need | Renewal | 0 | 19218.75 | 23639.0625 | 24230.0391 | 0 | 2500 | 67087.8516 | 1065978482.3803 | 79.71%
MC104 | Meters - Renewal | Program - Medium Term Need | Renewal | 0 | 526642.95 | 500048.5934 | 432513.3047 | 634930.6149 | 2400 | 2094135.4631 | 1068072617.8433 | 79.86%
DS305 | Compact LV switchgear replacement | Program - Medium Term Need | Renewal | 0 | 9840 | 10086 | 10338.15 | 10596.6038 | 2400 | 40860.7538 | 1068113478.5971 | 79.87%
PR701 | Dapto 33kV Feeder Constraints | Major Project - Prior to Approval | Capacity | 0 | 1000000 | 0 | 0 | 0 | 2400 | 1000000 | 1069113478.5971 | 79.94%
TM174 | Hardex Earthwire Replacement | Program - Medium Term Need | Renewal | 0 | 38437.5 | 745418.4375 | 1017661.6406 | 1079529.007 | 2400 | 2881046.5852 | 1071994525.1822 | 80.16%
TM303 | Guilford and Camellia 132kV feeder, oil testing and flushing | Program - Medium Term Need | Renewal | 0 | 15375 | 15759.375 | 0 | 0 | 2400 | 31134.375 | 1072025659.5572 | 80.16%
PS008 | Substation protection relay refurbishment | Program - Medium Term Need | Renewal | 0 | 0 | 0 | 2153781.25 | 2207625.7812 | 2400 | 4361407.0312 | 1076387066.5885 | 80.48%
TS026 | Noise attenuation in ZS and TS | Program - Medium Term Need | Renewal | 0 | 319287.5 | 393984.375 | 269222.6562 | 413929.834 | 2400 | 1396424.3652 | 1077783490.9537 | 80.59%
DS310 | Upgrading of direct connected substations | Program - Short Term Need | Renewal | 0 | 0 | 971828.125 | 996123.8281 | 1821291.2695 | 2400 | 3789243.2227 | 1081572734.1764 | 80.87%
SP001 | Spares Purchase | Program - Short Term Need | Renewal | 1325424 | 922500 | 945562.5 | 969201.5625 | 993431.6016 | 2400 | 5156119.6641 | 1086728853.8405 | 81.26%
TS025 | Asbestos and other hazardous material reporting, management and removal | Program - Short Term Need | Renewal | 1563656 | 430922.6075 | 441262.5 | 452294.0625 | 463601.4141 | 2400 | 3351736.5841 | 1090080590.4245 | 81.51%
DS312 | Miscellaneous substation renewal expenditure | Program - Medium Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 2300 | 638449.2773 | 1090719039.7018 | 81.56%
EF002 | Technology Pilots | Program - Medium Term Need | Other System | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 2300 | 1276898.5547 | 1091995938.2565 | 81.65%
CC020 | Microwave refurbishment and extension | Program - Medium Term Need | Renewal | 0 | 92250 | 153653.9062 | 175263.9492 | 171366.9513 | 2300 | 592534.8067 | 1092588473.0633 | 81.7%
TS031 | Substation safety fence upgrade program | Program - Medium Term Need | Renewal | 0 | 30750 | 31518.75 | 32306.7188 | 33114.3867 | 2300 | 127689.8555 | 1092716162.9188 | 81.7%
DS008 | Traffic black spot remediation | Program - Short Term Need | Renewal | 1025047.94 | 1435000 | 1470875 | 1507646.875 | 1545338.0469 | 2250 | 6983907.8619 | 1099700070.7806 | 82.23%
AU004 | PM102 ZS SCADA refurbishment | Program - Short Term Need | Renewal | 588550 | 1076250 | 1095801.875 | 1598105.6875 | 1638058.3297 | 2250 | 5996765.8922 | 1105696836.6728 | 82.68%
CC002 | Communications development SCADA | Program - Short Term Need | Renewal | 740000.1569 | 617050 | 632476.25 | 580444.0469 | 594955.148 | 2250 | 3164925.6018 | 1108861762.2746 | 82.91%
AU016 | PM121 (MD1000) MD3 to DNP3 conversion | Program - Short Term Need | Renewal | 100000 | 71750 | 73543.75 | 75382.3438 | 77266.9023 | 2250 | 397942.9961 | 1109259705.2707 | 82.94%
TS032 | Substation security systems | Program - Short Term Need | Renewal | 1846779.05 | 1076250 | 1103156.25 | 1130735.1562 | 1159003.5352 | 2250 | 6315923.9914 | 1115575629.2621 | 83.41%
TS050 | POW switching for capacitors | Program - Short Term Need | Renewal | 0 | 0 | 441262.5 | 0 | 0 | 2250 | 441262.5 | 1116016891.7621 | 83.45%
DS313 | Padmount substation fire risk mitigation | Program - Medium Term Need | Renewal | 0 | 147600 | 151290 | 0 | 0 | 2200 | 298890 | 1116315781.7621 | 83.47%
TS144 | Substation fire stopping measures | Program - Medium Term Need | Renewal | 0 | 23062.5 | 23639.0625 | 24230.0391 | 24835.79 | 2200 | 95767.3916 | 1116411549.1537 | 83.48%
DS013 | Lapstone Distribution Network Renewal | Program - Medium Term Need | Renewal | 0 | 430500 | 425503.125 | 403833.9844 | 215243.5137 | 2100 | 1475080.623 | 1117886629.7767 | 83.59%
TS016 | VT and CT replacement | Program - Medium Term Need | Renewal | 0 | 425776.8 | 236548.2188 | 64613.4375 | 91064.5635 | 2100 | 818003.0197 | 1118704632.7965 | 83.65%
TS049 | Tunnelboard refurbishment | Program - Medium Term Need | Renewal | 0 | 123000 | 7879.6875 | 8076.6797 | 8278.5967 | 2100 | 147234.9639 | 1118851867.7603 | 83.66%
TS057 | Substation insulation co-ordination | Program - Medium Term Need | Renewal | 0 | 34593.75 | 23639.0625 | 24230.0391 | 24835.79 | 2100 | 107298.6416 | 1118959166.4019 | 83.67%
TS055 | 66kV circuit breaker replacement | Program - Medium Term Need | Renewal | 0 | 29673.75 | 0 | 0 | 21193.2075 | 2100 | 50866.9575 | 1119010033.3594 | 83.67%
PS011 | Protection refurbishment (miscellaneous) | Program - Short Term Need | Renewal | 350000 | 251125 | 257403.125 | 263838.2031 | 270434.1582 | 2100 | 1392800.4863 | 1120402833.8458 | 83.77%
TS027 | Substation switchyard lighting improvement | Program - Short Term Need | Renewal | 845000 | 364900 | 336200 | 366142.8125 | 375296.3828 | 2100 | 2287539.1953 | 1122690373.0411 | 83.95%
PR702 | Penrith ZS 11kV transformer cable constraints | Major Project - Prior to Approval | Capacity | 0 | 0 | 1200000 | 0 | 0 | 2000 | 1200000 | 1123890373.0411 | 84.04%
TM302 | Oil filled cable auxiliary equipment refurbishment | Program - Medium Term Need | Renewal | 0 | 15375 | 15759.375 | 0 | 0 | 2000 | 31134.375 | 1123921507.4161 | 84.04%
TS086 | Busbar support and isolator replacement | Program - Medium Term Need | Renewal | 0 | 0 | 23639.0625 | 24230.0391 | 24835.79 | 2000 | 72704.8916 | 1123994212.3077 | 84.04%
TS124 | Substation control building fire alarm systems | Program - Medium Term Need | Renewal | 0 | 9225 | 9455.625 | 9692.0156 | 9934.316 | 2000 | 38306.9566 | 1124032519.2643 | 84.05%
TM134 | Wollongong - Port Kembla pilot cable replacement | Program - Short Term Need | Renewal | 6000000 | 0 | 0 | 0 | 0 | 1950 | 6000000 | 1130032519.2643 | 84.49%
TS005 | 33kV circuit breaker replacement | Program - Long Term Need | Renewal | 0 | 0 | 0 | 0 | 20862.0636 | 1900 | 20862.0636 | 1130053381.328 | 84.5%
UR | Underground Residential | Program - Medium Term Need | Network Connection | 0 | 1093420.0312 | 1126359.4082 | 1160290.9579 | 1195244.7478 | 1900 | 4575315.1452 | 1134628696.4731 | 84.84%
DS415 | LV Mains Refurbishment | Program - Medium Term Need | Renewal | 0 | 76875 | 157593.75 | 161533.5938 | 827859.668 | 1900 | 1223862.0117 | 1135852558.4848 | 84.93%
DS413 | Low Mains Remediation | Program - Medium Term Need | Renewal | 0 | 199875 | 204871.875 | 209993.6719 | 49671.5801 | 1900 | 664412.127 | 1136516970.6118 | 84.98%
MC105 | Relays - Renewal | Program - Medium Term Need | Renewal | 0 | 34698.3 | 37818.8753 | 41587.7929 | 48550.3269 | 1900 | 162655.2952 | 1136679625.907 | 84.99%
TS009 | Auxiliary switchgear replacement | Program - Medium Term Need | Renewal | 0 | 138375 | 212751.5625 | 218070.3516 | 149014.7402 | 1900 | 718211.6543 | 1137397837.5613 | 85.05%
TS116 | Roof refurbuishment for control and switch rooms | Program - Medium Term Need | Renewal | 0 | 184500 | 118195.3125 | 96920.1562 | 99343.1602 | 1900 | 498958.6289 | 1137896796.1902 | 85.08%
TS004 | 132kV circuit breaker replacement | Program - Medium Term Need | Renewal | 0 | 0 | 0 | 28429.9125 | 58281.3206 | 1900 | 86711.2331 | 1137983507.4233 | 85.09%
TS015 | Replacement of surge arrester in zone and sub-transmission substations | Program - Medium Term Need | Renewal | 0 | 3067.3125 | 5744.2922 | 3392.2055 | 8667.6907 | 1900 | 20871.5009 | 1138004378.9242 | 85.09%
TS036 | Substation earthing | Program - Long Term Need | Renewal | 0 | 0 | 0 | 323067.1875 | 275953.2227 | 1850 | 599020.4102 | 1138603399.3344 | 85.14%
TS008 | Battery replacement | Program - Long Term Need | Renewal | 0 | 18810.2363 | 16547.3438 | 40383.3984 | 137424.7049 | 1850 | 213165.6833 | 1138816565.0177 | 85.15%
TM401 | South Coast 33kV overhead line refurbishment | Program - Long Term Need | Renewal | 0 | 184500 | 189112.5 | 193840.3125 | 198686.3203 | 1800 | 766139.1328 | 1139582704.1505 | 85.21%
PR704 | Oakdale (Southpipe) Site Purchase | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 150000 | 0 | 1800 | 150000 | 1139732704.1505 | 85.22%
TS034 | Substation deluge showers and fire blankets | Program - Short Term Need | Renewal | 476154.65 | 164000 | 168100 | 172302.5 | 176610.0625 | 1800 | 1157167.2125 | 1140889871.363 | 85.31%
TM404 | Avon/Nepean Dam feeder refurbishment | Program - Long Term Need | Renewal | 0 | 975000 | 812719.95 | 0 | 0 | 1750 | 1787719.95 | 1142677591.313 | 85.44%
TM012 | Sub-transmission pole replacement | Program - Long Term Need | Renewal | 0 | 329025 | 337250.625 | 484600.7812 | 538108.7842 | 1750 | 1688985.1904 | 1144366576.5034 | 85.57%
TM172 | Earthwire replacement due to fault rating | Program - Medium Term Need | Renewal | 0 | 0 | 356319.4688 | 346651.0922 | 0 | 1700 | 702970.5609 | 1145069547.0644 | 85.62%
TM026 | Installation of vibration dampers (sub-transmission) | Program - Medium Term Need | Renewal | 0 | 0 | 65664.0625 | 67305.6641 | 68988.3057 | 1700 | 201958.0322 | 1145271505.0966 | 85.63%
DS404 | Cast iron UGOH replacement program | Program - Long Term Need | Renewal | 0 | 274443.75 | 85100.625 | 0 | 0 | 1650 | 359544.375 | 1145631049.4716 | 85.66%
LV001 | Overloaded Distribution sub uprates | Program - Long Term Need | Capacity | 0 | 222937.5 | 228510.9375 | 234223.7109 | 240079.3037 | 1650 | 925751.4521 | 1146556800.9237 | 85.73%
PR602 | Riverstone West Site Purchase | Major Project - Committed Project | Network Connection | 0 | 0 | 0 | 0 | 110381.2891 | 1650 | 110381.2891 | 1146667182.2128 | 85.74%
DS307 | Holec MD4 epoxy switchgear replacement | Program - Long Term Need | Renewal | 0 | 161887.5 | 354585.9375 | 363450.5859 | 387438.3246 | 1600 | 1267362.348 | 1147934544.5608 | 85.83%
DS308 | HV oil and RGB12 switchgear replacement | Program - Long Term Need | Renewal | 0 | 104550 | 107163.75 | 109842.8438 | 112588.9148 | 1600 | 434145.5086 | 1148368690.0694 | 85.87%
SP001 | Spares Purchase | Program - Medium Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 1600 | 1276898.5547 | 1149645588.6241 | 85.96%
TS025 | Asbestos and other hazardous material reporting, management and removal | Program - Medium Term Need | Renewal | 0 | 92340.5587 | 94556.25 | 96920.1562 | 99343.1602 | 1600 | 383160.1252 | 1150028748.7493 | 85.99%
AU013 | SCADA master station development software | Program - Long Term Need | Renewal | 0 | 109162.5 | 160745.625 | 167994.9375 | 122523.2309 | 1550 | 560426.2934 | 1150589175.0426 | 86.03%
PS012 | Distribution feeder protection modernisation | Program - Long Term Need | Renewal | 0 | 498150 | 510288.5625 | 526114.9148 | 541751.3667 | 1550 | 2076304.8441 | 1152665479.8867 | 86.19%
PQ001 | PQ Monitoring | Program - Long Term Need | Compliance | 0 | 23062.5 | 15759.375 | 16153.3594 | 16557.1934 | 1500 | 71532.4277 | 1152737012.3144 | 86.19%
LV002 | Quality of supply reactive projects | Program - Long Term Need | Capacity | 0 | 181425 | 185960.625 | 190609.6406 | 195374.8816 | 1500 | 753370.1473 | 1153490382.4617 | 86.25%
DS008 | Traffic black spot remediation | Program - Medium Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 1500 | 1276898.5547 | 1154767281.0164 | 86.34%
AU004 | PM102 ZS SCADA refurbishment | Program - Medium Term Need | Renewal | 0 | 230625 | 234814.6875 | 342451.2188 | 351012.4992 | 1500 | 1158903.4055 | 1155926184.4219 | 86.43%
CC002 | Communications development SCADA | Program - Medium Term Need | Renewal | 0 | 132225 | 135530.625 | 124380.8672 | 127490.3889 | 1500 | 519626.8811 | 1156445811.3029 | 86.47%
AU016 | PM121 (MD1000) MD3 to DNP3 conversion | Program - Medium Term Need | Renewal | 0 | 15375 | 15759.375 | 16153.3594 | 16557.1934 | 1500 | 63844.9277 | 1156509656.2306 | 86.47%
TS032 | Substation security systems | Program - Medium Term Need | Renewal | 0 | 230625 | 236390.625 | 242300.3906 | 248357.9004 | 1500 | 957673.916 | 1157467330.1467 | 86.55%
TS050 | POW switching for capacitors | Program - Medium Term Need | Renewal | 0 | 0 | 94556.25 | 0 | 0 | 1500 | 94556.25 | 1157561886.3967 | 86.55%
TS029 | Substation control room temperature reduction initiatives | Program - Short Term Need | Renewal | 90000 | 64575 | 66189.375 | 67844.1094 | 69540.2121 | 1500 | 358148.6965 | 1157920035.0931 | 86.58%
DS409 | Miscellaneous mains renewal expenditure | Program - Long Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 1450 | 638449.2773 | 1158558484.3705 | 86.63%
TM410 | Hazelbook ZS to Springwood ZS Feeder 808 refurbishment | Program - Long Term Need | Renewal | 0 | 32265.975 | 0 | 0 | 0 | 1450 | 32265.975 | 1158590750.3455 | 86.63%
DS405 | Air-break switch replacement | Program - Long Term Need | Renewal | 0 | 998350 | 1023308.75 | 1048891.4688 | 1075113.7555 | 1400 | 4145663.9742 | 1162736414.3197 | 86.94%
DS011 | HV distribution steel mains replacement | Program - Long Term Need | Renewal | 0 | 750000 | 750000 | 720000 | 720000 | 1400 | 2940000 | 1165676414.3197 | 87.16%
DS002 | Pole substation refurbishment | Program - Long Term Need | Renewal | 0 | 230686.5 | 236453.6625 | 242365.0041 | 248424.1292 | 1400 | 957929.2957 | 1166634343.6154 | 87.23%
TS128 | Capacitor bank replacement | Program - Long Term Need | Renewal | 0 | 0 | 0 | 96920.1562 | 0 | 1400 | 96920.1562 | 1166731263.7717 | 87.24%
PS010 | Protection refurbishment (interfacing feeders) | Program - Medium Term Need | Renewal | 0 | 115312.5 | 118195.3125 | 41998.7344 | 0 | 1400 | 275506.5469 | 1167006770.3186 | 87.26%
PS011 | Protection refurbishment (miscellaneous) | Program - Medium Term Need | Renewal | 0 | 53812.5 | 55157.8125 | 56536.7578 | 57950.1768 | 1400 | 223457.2471 | 1167230227.5656 | 87.28%
CC007 | SCADA radio repeaters | Program - Long Term Need | Renewal | 0 | 110238.75 | 101805.5625 | 122280.9305 | 104641.462 | 1350 | 438966.705 | 1167669194.2706 | 87.31%
TM171 | Replacement of corroded earthwires | Program - Long Term Need | Renewal | 0 | 0 | 315187.8152 | 323067.1875 | 331143.8672 | 1350 | 969398.8699 | 1168638593.1405 | 87.38%
TS020 | Portable earthing set cabinets | Program - Short Term Need | Compliance | 30000 | 21525 | 0 | 0 | 0 | 1350 | 51525 | 1168690118.1405 | 87.39%
TS100 | Substation internal fence replacement | Program - Short Term Need | Renewal | 70000 | 50225 | 51480.625 | 52767.6406 | 0 | 1350 | 224473.2656 | 1168914591.4061 | 87.4%
EF001 | Distribution Management System | Program - Long Term Need | Other System | 0 | 76875 | 157593.75 | 161533.5938 | 1208675.1152 | 1300 | 1604677.459 | 1170519268.8651 | 87.52%
TM027 | Steel Tower Asbestos Removal | Program - Long Term Need | Renewal | 0 | 92250 | 189112.5 | 193840.3125 | 198686.3203 | 1300 | 673889.1328 | 1171193157.9979 | 87.57%
IC | Industrial & Commercial | Program - Medium Term Need | Network Connection | 0 | 1045500 | 1076995.6875 | 1109440.1826 | 1142862.0929 | 1300 | 4374797.963 | 1175567955.9609 | 87.9%
DS009 | Reliability focused distribution mains renewal | Program - Long Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 1250 | 638449.2773 | 1176206405.2383 | 87.95%
TS173 | 11kV Switchboard Truck Replacement Program | Program - Long Term Need | Renewal | 0 | 249075 | 340402.5 | 348912.5625 | 424692.0097 | 1250 | 1363082.0722 | 1177569487.3105 | 88.05%
LV005 | Dsub Monitoring & LV Feeder Monitoring for Solar PV | Program - Long Term Need | Capacity | 0 | 76875 | 78796.875 | 64613.4375 | 66228.7734 | 1250 | 286514.0859 | 1177856001.3964 | 88.07%
TM016 | Cast iron UGOH replacement within zone substations | Program - Long Term Need | Renewal | 0 | 19218.75 | 23639.0625 | 24230.0391 | 0 | 1250 | 67087.8516 | 1177923089.248 | 88.08%
MC104 | Meters - Renewal | Program - Long Term Need | Renewal | 0 | 526642.95 | 500048.5934 | 432513.3047 | 634930.6149 | 1200 | 2094135.4631 | 1180017224.711 | 88.23%
DS305 | Compact LV switchgear replacement | Program - Long Term Need | Renewal | 0 | 9840 | 10086 | 10338.15 | 10596.6038 | 1200 | 40860.7538 | 1180058085.4648 | 88.24%
TM174 | Hardex Earthwire Replacement | Program - Long Term Need | Renewal | 0 | 38437.5 | 745418.4375 | 1017661.6406 | 1079529.007 | 1200 | 2881046.5852 | 1182939132.0499 | 88.45%
TM303 | Guilford and Camellia 132kV feeder, oil testing and flushing | Program - Long Term Need | Renewal | 0 | 15375 | 15759.375 | 0 | 0 | 1200 | 31134.375 | 1182970266.4249 | 88.45%
TS026 | Noise attenuation in ZS and TS | Program - Long Term Need | Renewal | 0 | 319287.5 | 393984.375 | 269222.6562 | 413929.834 | 1200 | 1396424.3652 | 1184366690.7902 | 88.56%
TS034 | Substation deluge showers and fire blankets | Program - Medium Term Need | Renewal | 0 | 123000 | 126075 | 129226.875 | 132457.5469 | 1200 | 510759.4219 | 1184877450.212 | 88.6%
PR703 | Riverstone East Site Purchase | Major Project - Committed Project | Network Connection | 0 | 0 | 2000000 | 0 | 0 | 1200 | 2000000 | 1186877450.212 | 88.75%
MC109 | Demand Management Technology | Program - Short Term Need | Other System | 1199998.7927 | 645750 | 808981.25 | 527676.4062 | 463601.4141 | 1200 | 3646007.863 | 1190523458.075 | 89.02%
DS312 | Miscellaneous substation renewal expenditure | Program - Long Term Need | Renewal | 0 | 153750 | 157593.75 | 161533.5938 | 165571.9336 | 1150 | 638449.2773 | 1191161907.3524 | 89.07%
EF002 | Technology Pilots | Program - Long Term Need | Other System | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 1150 | 1276898.5547 | 1192438805.9071 | 89.16%
CC020 | Microwave refurbishment and extension | Program - Long Term Need | Renewal | 0 | 92250 | 153653.9062 | 175263.9492 | 171366.9513 | 1150 | 592534.8067 | 1193031340.7138 | 89.21%
TS031 | Substation safety fence upgrade program | Program - Long Term Need | Renewal | 0 | 30750 | 31518.75 | 32306.7188 | 33114.3867 | 1150 | 127689.8555 | 1193159030.5693 | 89.22%
DS313 | Padmount substation fire risk mitigation | Program - Long Term Need | Renewal | 0 | 147600 | 151290 | 0 | 0 | 1100 | 298890 | 1193457920.5693 | 89.24%
TS144 | Substation fire stopping measures | Program - Long Term Need | Renewal | 0 | 23062.5 | 23639.0625 | 24230.0391 | 24835.79 | 1100 | 95767.3916 | 1193553687.9609 | 89.24%
TS035 | Substation oil containment program - bund walls | Program - Medium Term Need | Renewal | 0 | 153750 | 78796.875 | 80766.7969 | 82785.9668 | 1100 | 396099.6387 | 1193949787.5996 | 89.27%
DS013 | Lapstone Distribution Network Renewal | Program - Long Term Need | Renewal | 0 | 430500 | 425503.125 | 403833.9844 | 215243.5137 | 1050 | 1475080.623 | 1195424868.2226 | 89.38%
TS016 | VT and CT replacement | Program - Long Term Need | Renewal | 0 | 425776.8 | 236548.2188 | 64613.4375 | 91064.5635 | 1050 | 818003.0197 | 1196242871.2423 | 89.45%
TS049 | Tunnelboard refurbishment | Program - Long Term Need | Renewal | 0 | 123000 | 7879.6875 | 8076.6797 | 8278.5967 | 1050 | 147234.9639 | 1196390106.2062 | 89.46%
TS057 | Substation insulation co-ordination | Program - Long Term Need | Renewal | 0 | 34593.75 | 23639.0625 | 24230.0391 | 24835.79 | 1050 | 107298.6416 | 1196497404.8478 | 89.46%
TS055 | 66kV circuit breaker replacement | Program - Long Term Need | Renewal | 0 | 29673.75 | 0 | 0 | 21193.2075 | 1050 | 50866.9575 | 1196548271.8053 | 89.47%
TM302 | Oil filled cable auxiliary equipment refurbishment | Program - Long Term Need | Renewal | 0 | 15375 | 15759.375 | 0 | 0 | 1000 | 31134.375 | 1196579406.1803 | 89.47%
TS086 | Busbar support and isolator replacement | Program - Long Term Need | Renewal | 0 | 0 | 23639.0625 | 24230.0391 | 24835.79 | 1000 | 72704.8916 | 1196652111.0719 | 89.48%
TS124 | Substation control building fire alarm systems | Program - Long Term Need | Renewal | 0 | 9225 | 9455.625 | 9692.0156 | 9934.316 | 1000 | 38306.9566 | 1196690418.0285 | 89.48%
SL001 | Streetlighting Growth | Program - Medium Term Need | Capacity | 0 | 339787.5 | 348282.1875 | 356989.2422 | 365913.9732 | 1000 | 1410972.9029 | 1198101390.9315 | 89.58%
TS029 | Substation control room temperature reduction initiatives | Program - Medium Term Need | Renewal | 0 | 13837.5 | 14183.4375 | 14538.0234 | 14901.474 | 1000 | 57460.435 | 1198158851.3664 | 89.59%
TS048 | Substation oil containment program - separators | Program - Short Term Need | Renewal | 50000 | 35875 | 36771.875 | 37691.1719 | 38633.4512 | 1000 | 198971.498 | 1198357822.8645 | 89.6%
UR | Underground Residential | Program - Long Term Need | Network Connection | 0 | 1093420.0312 | 1126359.4082 | 1160290.9579 | 1195244.7478 | 950 | 4575315.1452 | 1202933138.0096 | 89.95%
DS415 | LV Mains Refurbishment | Program - Long Term Need | Renewal | 0 | 76875 | 157593.75 | 161533.5938 | 827859.668 | 950 | 1223862.0117 | 1204157000.0214 | 90.04%
DS413 | Low Mains Remediation | Program - Long Term Need | Renewal | 0 | 199875 | 204871.875 | 209993.6719 | 49671.5801 | 950 | 664412.127 | 1204821412.1483 | 90.09%
MC105 | Relays - Renewal | Program - Long Term Need | Renewal | 0 | 34698.3 | 37818.8753 | 41587.7929 | 48550.3269 | 950 | 162655.2952 | 1204984067.4435 | 90.1%
TS009 | Auxiliary switchgear replacement | Program - Long Term Need | Renewal | 0 | 138375 | 212751.5625 | 218070.3516 | 149014.7402 | 950 | 718211.6543 | 1205702279.0978 | 90.15%
TS116 | Roof refurbuishment for control and switch rooms | Program - Long Term Need | Renewal | 0 | 184500 | 118195.3125 | 96920.1562 | 99343.1602 | 950 | 498958.6289 | 1206201237.7267 | 90.19%
TS004 | 132kV circuit breaker replacement | Program - Long Term Need | Renewal | 0 | 0 | 0 | 28429.9125 | 58281.3206 | 950 | 86711.2331 | 1206287948.9599 | 90.2%
TS015 | Replacement of surge arrester in zone and sub-transmission substations | Program - Long Term Need | Renewal | 0 | 3067.3125 | 5744.2922 | 3392.2055 | 8667.6907 | 950 | 20871.5009 | 1206308820.4607 | 90.2%
TS020 | Portable earthing set cabinets | Program - Medium Term Need | Compliance | 0 | 4612.5 | 0 | 0 | 0 | 900 | 4612.5 | 1206313432.9607 | 90.2%
AR | Asset Relocation | Program - Medium Term Need | Renewal | 0 | 180466.215 | 185902.7881 | 191503.0829 | 197272.1704 | 900 | 755144.2565 | 1207068577.2172 | 90.26%
TS033 | Substation fire hydrant installations | Program - Medium Term Need | Renewal | 0 | 147600 | 151290 | 155072.25 | 158949.0562 | 900 | 612911.3063 | 1207681488.5234 | 90.3%
TS100 | Substation internal fence replacement | Program - Medium Term Need | Renewal | 0 | 10762.5 | 11031.5625 | 11307.3516 | 0 | 900 | 33101.4141 | 1207714589.9375 | 90.3%
TM172 | Earthwire replacement due to fault rating | Program - Long Term Need | Renewal | 0 | 0 | 356319.4688 | 346651.0922 | 0 | 850 | 702970.5609 | 1208417560.4984 | 90.36%
TM026 | Installation of vibration dampers (sub-transmission) | Program - Long Term Need | Renewal | 0 | 0 | 65664.0625 | 67305.6641 | 68988.3057 | 850 | 201958.0322 | 1208619518.5307 | 90.37%
SP001 | Spares Purchase | Program - Long Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 800 | 1276898.5547 | 1209896417.0853 | 90.47%
TS025 | Asbestos and other hazardous material reporting, management and removal | Program - Long Term Need | Renewal | 0 | 92340.5587 | 94556.25 | 96920.1562 | 99343.1602 | 800 | 383160.1252 | 1210279577.2105 | 90.5%
LV004 | Low Voltage System Augmentations | Program - Medium Term Need | Capacity | 0 | 76875 | 78796.875 | 80766.7969 | 82785.9668 | 800 | 319224.6387 | 1210598801.8492 | 90.52%
MC109 | Demand Management Technology | Program - Medium Term Need | Other System | 0 | 138375 | 173353.125 | 113073.5156 | 99343.1602 | 800 | 524144.8008 | 1211122946.65 | 90.56%
DS008 | Traffic black spot remediation | Program - Long Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 750 | 1276898.5547 | 1212399845.2046 | 90.65%
AU004 | PM102 ZS SCADA refurbishment | Program - Long Term Need | Renewal | 0 | 230625 | 234814.6875 | 342451.2188 | 351012.4992 | 750 | 1158903.4055 | 1213558748.6101 | 90.74%
CC002 | Communications development SCADA | Program - Long Term Need | Renewal | 0 | 132225 | 135530.625 | 124380.8672 | 127490.3889 | 750 | 519626.8811 | 1214078375.4912 | 90.78%
AU016 | PM121 (MD1000) MD3 to DNP3 conversion | Program - Long Term Need | Renewal | 0 | 15375 | 15759.375 | 16153.3594 | 16557.1934 | 750 | 63844.9277 | 1214142220.4189 | 90.78%
TS032 | Substation security systems | Program - Long Term Need | Renewal | 0 | 230625 | 236390.625 | 242300.3906 | 248357.9004 | 750 | 957673.916 | 1215099894.3349 | 90.86%
TS050 | POW switching for capacitors | Program - Long Term Need | Renewal | 0 | 0 | 94556.25 | 0 | 0 | 750 | 94556.25 | 1215194450.5849 | 90.86%
MC107 | Test Equipment | Program - Short Term Need | Other System | 100000 | 71750 | 73543.75 | 75382.3438 | 77266.9023 | 750 | 397942.9961 | 1215592393.581 | 90.89%
TS099 | Substation power outlet installation | Program - Short Term Need | Renewal | 195000 | 83025 | 84050 | 83997.4688 | 86097.4055 | 750 | 532169.8742 | 1216124563.4552 | 90.93%
PS010 | Protection refurbishment (interfacing feeders) | Program - Long Term Need | Renewal | 0 | 115312.5 | 118195.3125 | 41998.7344 | 0 | 700 | 275506.5469 | 1216400070.0021 | 90.95%
PS011 | Protection refurbishment (miscellaneous) | Program - Long Term Need | Renewal | 0 | 53812.5 | 55157.8125 | 56536.7578 | 57950.1768 | 700 | 223457.2471 | 1216623527.2492 | 90.97%
MC101 | Meters - Growth | Program - Medium Term Need | Capacity | 0 | 230625 | 236390.625 | 242300.3906 | 248357.9004 | 700 | 957673.916 | 1217581201.1652 | 91.04%
NU | Non Urban Extension | Program - Medium Term Need | Network Connection | 0 | 190942.8937 | 196695.1233 | 202620.6325 | 208724.4499 | 700 | 798983.0995 | 1218380184.2647 | 91.1%
MC102 | Relays - Growth | Program - Medium Term Need | Capacity | 0 | 24600 | 25215 | 25845.375 | 26491.5094 | 700 | 102151.8844 | 1218482336.149 | 91.11%
IC | Industrial & Commercial | Program - Long Term Need | Network Connection | 0 | 1045500 | 1076995.6875 | 1109440.1826 | 1142862.0929 | 650 | 4374797.963 | 1222857134.1121 | 91.44%
PR603 | Eschol Park ZS Site Purchase | Major Project - Future/Planning Stage | Network Connection | 700000 | 0 | 840500 | 0 | 0 | 650 | 1540500 | 1224397634.1121 | 91.55%
TS034 | Substation deluge showers and fire blankets | Program - Long Term Need | Renewal | 0 | 123000 | 126075 | 129226.875 | 132457.5469 | 600 | 510759.4219 | 1224908393.5339 | 91.59%
TS028 | Control cable trench and cover refurbishment | Program - Short Term Need | Renewal | 49436.3 | 35875 | 36771.875 | 37691.1719 | 38633.4512 | 600 | 198407.798 | 1225106801.332 | 91.6%
TS035 | Substation oil containment program - bund walls | Program - Long Term Need | Renewal | 0 | 153750 | 78796.875 | 80766.7969 | 82785.9668 | 550 | 396099.6387 | 1225502900.9706 | 91.63%
RIHV | Reliability HV Development | Program - Long Term Need | Reliability | 0 | 1230000 | 1260750 | 1292268.75 | 1324575.4688 | 500 | 5107594.2188 | 1230610495.1894 | 92.02%
HVW | HV Development Works | Program - Medium Term Need | Compliance | 0 | 1486762.5 | 1865910 | 1532953.8047 | 1276559.608 | 500 | 6162185.9127 | 1236772681.1021 | 92.48%
HVW | HV Development Works | Program - Long Term Need | Compliance | 0 | 1486762.5 | 1865910 | 1532953.8047 | 1276559.608 | 500 | 6162185.9127 | 1242934867.0148 | 92.94%
RIRR | Automated Reclosers | Program - Long Term Need | Reliability | 0 | 184500 | 189112.5 | 193840.3125 | 198686.3203 | 500 | 766139.1328 | 1243701006.1476 | 92.99%
TS600 | Power transformer replacement | Program - Medium Term Need | Renewal | 0 | 307500 | 425503.125 | 323067.1875 | 740106.5432 | 500 | 1796176.8557 | 1245497183.0033 | 93.13%
TS600 | Power transformer replacement | Program - Long Term Need | Renewal | 0 | 307500 | 425503.125 | 323067.1875 | 740106.5432 | 500 | 1796176.8557 | 1247293359.8589 | 93.26%
DS005 | Pole replacement capital | Program - Long Term Need | Renewal | 0 | 1968000 | 2017200 | 2067630 | 2119320.75 | 500 | 8172150.75 | 1255465510.6089 | 93.87%
DS007 | Service wire replacement program | Program - Medium Term Need | Renewal | 0 | 2250000 | 1705050 | 1705050 | 1704900 | 500 | 7365000 | 1262830510.6089 | 94.42%
DS007 | Service wire replacement program | Program - Long Term Need | Renewal | 0 | 2250000 | 1705050 | 1705050 | 1704900 | 500 | 7365000 | 1270195510.6089 | 94.98%
DS314 | Basement Substation Refurbishment | Program - Long Term Need | Renewal | 0 | 495843.75 | 508239.8438 | 0 | 0 | 500 | 1004083.5938 | 1271199594.2027 | 95.05%
LV003 | Quality of supply planned projects | Program - Medium Term Need | Capacity | 0 | 301350 | 308883.75 | 316605.8438 | 324520.9898 | 500 | 1251360.5836 | 1272450954.7863 | 95.14%
LV003 | Quality of supply planned projects | Program - Long Term Need | Capacity | 0 | 301350 | 308883.75 | 316605.8438 | 324520.9898 | 500 | 1251360.5836 | 1273702315.3699 | 95.24%
RILB | Automated Load Break Switches | Program - Long Term Need | Reliability | 0 | 107625 | 110315.625 | 113073.5156 | 115900.3535 | 500 | 446914.4941 | 1274149229.864 | 95.27%
RIAR | Line Fault Indicators | Program - Long Term Need | Reliability | 0 | 53812.5 | 55157.8125 | 56536.7578 | 57950.1768 | 500 | 223457.2471 | 1274372687.1111 | 95.29%
RIDFA | DFA - Radio, SCADA, Software | Program - Long Term Need | Reliability | 0 | 30750 | 31518.75 | 32306.7188 | 33114.3867 | 500 | 127689.8555 | 1274500376.9666 | 95.3%
DS302 | Distribution transformer replacement programs | Program - Medium Term Need | Renewal | 0 | 1107000 | 1134675 | 1163041.875 | 1291461.082 | 500 | 4696177.957 | 1279196554.9236 | 95.65%
DS302 | Distribution transformer replacement programs | Program - Long Term Need | Renewal | 0 | 1107000 | 1134675 | 1163041.875 | 1291461.082 | 500 | 4696177.957 | 1283892732.8806 | 96%
DS414 | Copper distribution mains replacement | Program - Medium Term Need | Renewal | 0 | 448437.5 | 787968.75 | 807667.9688 | 1931672.5586 | 500 | 3975746.7773 | 1287868479.6579 | 96.3%
DS414 | Copper distribution mains replacement | Program - Long Term Need | Renewal | 0 | 448437.5 | 787968.75 | 807667.9688 | 1931672.5586 | 500 | 3975746.7773 | 1291844226.4353 | 96.59%
DS006 | LV CONSAC cable replacement | Program - Medium Term Need | Renewal | 0 | 1680000 | 1470000 | 2310000 | 2310000 | 500 | 7770000 | 1299614226.4353 | 97.17%
DS006 | LV CONSAC cable replacement | Program - Long Term Need | Renewal | 0 | 1680000 | 1470000 | 2310000 | 2310000 | 500 | 7770000 | 1307384226.4353 | 97.76%
DS301 | Ground substation refurbishment program | Program - Medium Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 500 | 1276898.5547 | 1308661124.99 | 97.85%
DS301 | Ground substation refurbishment program | Program - Long Term Need | Renewal | 0 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 500 | 1276898.5547 | 1309938023.5447 | 97.95%
RITR | Reliability Transmission Development | Program - Long Term Need | Reliability | 0 | 38437.5 | 39398.4375 | 40383.3984 | 41392.9834 | 500 | 159612.3193 | 1310097635.864 | 97.96%
SL002 | Streetlighting Refurbishment | Program - Medium Term Need | Renewal | 0 | 599625 | 614615.625 | 629981.0156 | 645730.541 | 500 | 2489952.1816 | 1312587588.0457 | 98.14%
SL002 | Streetlighting Refurbishment | Program - Long Term Need | Renewal | 0 | 599625 | 614615.625 | 629981.0156 | 645730.541 | 500 | 2489952.1816 | 1315077540.2273 | 98.33%
TS024 | Building and amenities refurbishment | Program - Medium Term Need | Renewal | 0 | 622687.5 | 638254.6875 | 654211.0547 | 670566.3311 | 500 | 2585719.5732 | 1317663259.8005 | 98.52%
TS024 | Building and amenities refurbishment | Program - Long Term Need | Renewal | 0 | 622687.5 | 638254.6875 | 654211.0547 | 670566.3311 | 500 | 2585719.5732 | 1320248979.3738 | 98.72%
DS310 | Upgrading of direct connected substations | Program - Medium Term Need | Renewal | 0 | 0 | 485914.0625 | 498061.9141 | 910645.6348 | 500 | 1894621.6113 | 1322143600.9851 | 98.86%
DS310 | Upgrading of direct connected substations | Program - Long Term Need | Renewal | 0 | 0 | 485914.0625 | 498061.9141 | 910645.6348 | 500 | 1894621.6113 | 1324038222.5964 | 99%
TS027 | Substation switchyard lighting improvement | Program - Medium Term Need | Renewal | 0 | 273675 | 252150 | 274607.1094 | 281472.2871 | 500 | 1081904.3965 | 1325120126.9929 | 99.08%
TS027 | Substation switchyard lighting improvement | Program - Long Term Need | Renewal | 0 | 273675 | 252150 | 274607.1094 | 281472.2871 | 500 | 1081904.3965 | 1326202031.3894 | 99.16%
SL001 | Streetlighting Growth | Program - Long Term Need | Capacity | 0 | 339787.5 | 348282.1875 | 356989.2422 | 365913.9732 | 500 | 1410972.9029 | 1327613004.2923 | 99.27%
PR190 | Eschol Park ZS Establishment | Major Project - Future/Planning Stage | Network Connection | 0 | 0 | 0 | 0 | 4856776.7188 | 500 | 4856776.7188 | 1332469781.0111 | 99.63%
TS029 | Substation control room temperature reduction initiatives | Program - Long Term Need | Renewal | 0 | 13837.5 | 14183.4375 | 14538.0234 | 14901.474 | 500 | 57460.435 | 1332527241.446 | 99.64%
MC107 | Test Equipment | Program - Medium Term Need | Other System | 0 | 15375 | 15759.375 | 16153.3594 | 16557.1934 | 500 | 63844.9277 | 1332591086.3738 | 99.64%
TS099 | Substation power outlet installation | Program - Medium Term Need | Renewal | 0 | 62268.75 | 63037.5 | 62998.1016 | 64573.0541 | 500 | 252877.4057 | 1332843963.7794 | 99.66%
TS048 | Substation oil containment program - separators | Program - Medium Term Need | Renewal | 0 | 7687.5 | 7879.6875 | 8076.6797 | 8278.5967 | 500 | 31922.4639 | 1332875886.2433 | 99.66%
TS020 | Portable earthing set cabinets | Program - Long Term Need | Compliance | 0 | 4612.5 | 0 | 0 | 0 | 450 | 4612.5 | 1332880498.7433 | 99.66%
AR | Asset Relocation | Program - Long Term Need | Renewal | 0 | 180466.215 | 185902.7881 | 191503.0829 | 197272.1704 | 450 | 755144.2565 | 1333635642.9998 | 99.72%
TS033 | Substation fire hydrant installations | Program - Long Term Need | Renewal | 0 | 147600 | 151290 | 155072.25 | 158949.0562 | 450 | 612911.3063 | 1334248554.306 | 99.76%
TS100 | Substation internal fence replacement | Program - Long Term Need | Renewal | 0 | 10762.5 | 11031.5625 | 11307.3516 | 0 | 450 | 33101.4141 | 1334281655.7201 | 99.77%
LV004 | Low Voltage System Augmentations | Program - Long Term Need | Capacity | 0 | 76875 | 78796.875 | 80766.7969 | 82785.9668 | 400 | 319224.6387 | 1334600880.3587 | 99.79%
MC109 | Demand Management Technology | Program - Long Term Need | Other System | 0 | 138375 | 173353.125 | 113073.5156 | 99343.1602 | 400 | 524144.8008 | 1335125025.1595 | 99.83%
TS028 | Control cable trench and cover refurbishment | Program - Medium Term Need | Renewal | 0 | 7687.5 | 7879.6875 | 8076.6797 | 8278.5967 | 400 | 31922.4639 | 1335156947.6234 | 99.83%
MC101 | Meters - Growth | Program - Long Term Need | Capacity | 0 | 230625 | 236390.625 | 242300.3906 | 248357.9004 | 350 | 957673.916 | 1336114621.5394 | 99.9%
NU | Non Urban Extension | Program - Long Term Need | Network Connection | 0 | 190942.8937 | 196695.1233 | 202620.6325 | 208724.4499 | 350 | 798983.0995 | 1336913604.6389 | 99.96%
MC102 | Relays - Growth | Program - Long Term Need | Capacity | 0 | 24600 | 25215 | 25845.375 | 26491.5094 | 350 | 102151.8844 | 1337015756.5233 | 99.97%
MC107 | Test Equipment | Program - Long Term Need | Other System | 0 | 15375 | 15759.375 | 16153.3594 | 16557.1934 | 250 | 63844.9277 | 1337079601.451 | 99.98%
TS099 | Substation power outlet installation | Program - Long Term Need | Renewal | 0 | 62268.75 | 63037.5 | 62998.1016 | 64573.0541 | 250 | 252877.4057 | 1337332478.8567 | 100%
TS048 | Substation oil containment program - separators | Program - Long Term Need | Renewal | 0 | 7687.5 | 7879.6875 | 8076.6797 | 8278.5967 | 250 | 31922.4639 | 1337364401.3205 | 100%
TS028 | Control cable trench and cover refurbishment | Program - Long Term Need | Renewal | 0 | 7687.5 | 7879.6875 | 8076.6797 | 8278.5967 | 200 | 31922.4639 | 1337396323.7844 | 100%