## CR Model - Option B
Community Resilience Investment Case Inputs - Option B
$FY24
Number of New Units Purchased | FY23 | FY24 | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | Total FY25-29 | Useful Life (years) | Comments
Domestic Generators (3kVA) | [8 empty] | 500 | 20 |  | 1000
Portable SAPS (20kVA) | [8 empty] | 10 | 20 |  | 20
Large (500 kVA) Generators | [8 empty] | 10 | 20 |  | 20
Medium (200 kVA) Generators | [8 empty] | 10 | 20 |  | 20
Portable Solar Streetlights (100W) | [8 empty] | 50 | 8 |  | 50
Communications Van | [8 empty] | 0 | 8 |  | 1
Portable Community Trailer Hub / Portable Depot | [8 empty] | 0 | 8 |  | 1
[9 empty] | 580 |  |  | $FY24
Capex Cost per Unit
Domestic Generators (3kVA) | [10 empty] | ok
Portable SAPS (20kVA) | [10 empty] | ok
Large (500 kVA) Generators | [10 empty] | ok
Medium (200 kVA) Generators | [10 empty] | ok
Portable Solar Streetlights (100W) | [10 empty] | ok
Communications Van | [10 empty] | ok
Portable Community Trailer Hub / Portable Depot | [10 empty] | ok
Total Capex Costs |  |  | FY25 | FY26 | FY27 | FY28 | FY29 |  | Total FY25-29 | Budget
Domestic Generators (3kVA) | FY23: 0; FY24: 0 |  | Network
Portable SAPS (20kVA) | FY23: 0; FY24: 0 |  | Network
Large (500 kVA) Generators | FY23: 0; FY24: 0 |  | Network
Medium (200 kVA) Generators | FY23: 0; FY24: 0 |  | Network | 7000000
Portable Solar Streetlights (100W) | FY23: 0; FY24: 0 |  | Fleet
Communications Van | FY23: 0; FY24: 0 |  | Fleet
Portable Community Trailer Hub / Portable Depot | FY23: 0; FY24: 0 |  | Fleet | 250000
Total Capex | 0 | 0 | 1970000 | 1560000 | 1240000 | 1240000 | 1240000 | 0 | 7250000 |  | 7250000
0
Average Number of Utilised Units in Year
Domestic Generators (3kVA) | FY23: 0; FY24: 0 | 500
Portable SAPS (20kVA) | FY23: 0; FY24: 0 | 9
Large (500 kVA) Generators | FY23: 0; FY24: 0 | 9
Medium (200 kVA) Generators | FY23: 0; FY24: 0 | 9
Portable Solar Streetlights (100W) | FY23: 0; FY24: 0 | 50
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operation & Maintenance Costs per Unit $ (includes transport) | FY23: 0; FY25: 1
Domestic Generators (3kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 66 | servicing & maintenance
Portable SAPS (20kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1000 | Oil change for generator, inspection & testing
Large (500 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Medium (200 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Portable Solar Streetlights (100W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1120 | Moved 4 x pa, by 2 people, 2 hours per move, $70 per hour
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7500 | Fleet - ~$7500 year servicing/transport
Operation & Maintenance Costs $
Domestic Generators (3kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Portable SAPS (20kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Large (500 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Medium (200 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Portable Solar Streetlights (100W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Total O&M Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | These costs were not included in the engagement so don’t include in business case. Costs to be absorbed elsewhere.
Other Opex Costs $
3 x Community Resilience Employees @ $150k each + oncosts |  |  | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 3375000 | Network | ok
Other opex costs (specify) | [8 empty] | 0
Total Opex Costs | 0 | 0 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 3375000
TOTEX |  |  | 2645000 | 2235000 | 1915000 | 1915000 | 1915000 | 675000 | 10625000
Totex excluding O&M | [8 empty] | 10625000
UTILISATION
Equipment Utilisation Rates % (days per year) - KEY VARIABLE
Domestic Generators (3kVA) | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Portable SAPS (20kVA) | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Large (500 kVA) Generators | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Medium (200 kVA) Generators | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Portable Solar Streetlights (100W) |  |  | 50% | 50% | 50% | 50% | 50% | 50% |  | 182.5 | days per year
Communications Van | [9 empty] | 10.95 | days per year | bar: FY23 to FY30
Portable Community Trailer Hub / Portable Depot | [9 empty] | 10.95 | days per year | bar: FY23 to FY30
Equipment Utilisation Rates / Hours per Utilised Day (hours)
Domestic Generators (3kVA) |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 hours per day when used
Portable SAPS (20kVA) |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used
Large (500 kVA) Generators |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used
Medium (200 kVA) Generators |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used
Portable Solar Streetlights (100W) |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 hours per day when used
Communications Van |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 or 24 hours per day when used
Portable Community Trailer Hub / Portable Depot |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 or 24 hours per day when used
Average Demand per Unit when utilised (kW)
Domestic Generators (3kVA) | [10 empty] | ok | bar: FY23 to FY30
Portable SAPS (20kVA) |  |  | 3 | 3 | 3 | 3 | 3 | 3 |  |  | ok
Large (500 kVA) Generators |  |  | 100 | 100 | 100 | 100 | 100 | 100 |  |  | ok
Medium (200 kVA) Generators |  |  | 50 | 50 | 50 | 50 | 50 | 50 |  |  | ok
Portable Solar Streetlights (100W) |  |  | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 |  |  | ok
Communications Van
Portable Community Trailer Hub / Portable Depot
Average kWH per Unit per annum
Domestic Generators (3kVA) |  |  | 87.6 | 87.6 | 87.6 | 87.6 | 87.6 | 87.6 |  |  | ok
Portable SAPS (20kVA) |  |  | 525.6 | 525.6 | 525.6 | 525.6 | 525.6 | 525.6 |  |  | ok
Large (500 kVA) Generators |  |  | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 |  |  | ok
Medium (200 kVA) Generators |  |  | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 |  |  | ok
Portable Solar Streetlights (100W) |  |  | 219 | 219 | 219 | 219 | 219 | 219 |  |  | ok
Communications Van |  |  | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total kWH Per Annum by Asset Type
Domestic Generators (3kVA) | 0 | 0 | 13140 | 35040 | 43800 | 43800 | 43800 | 43800 |  |  | ok
Portable SAPS (20kVA) | 0 | 0 | 525.6 | 1576.8 | 2628 | 3679.2 | 4730.4 | 5256 |  |  | ok
Large (500 kVA) Generators | 0 | 0 | 17520 | 52560 | 87600 | 122640 | 157680 | 175200 |  |  | ok
Medium (200 kVA) Generators | 0 | 0 | 8760 | 26280 | 43800 | 61320 | 78840 | 87600 |  |  | ok
Portable Solar Streetlights (100W) | 0 | 0 | 5475 | 10950 | 10950 | 10950 | 10950 | 10950 |  |  | ok
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS (Value of Customer Reliability) (VCR)
Average VCR
Average Residential VCR | 0 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 |  |  | See VCR Tab
Average Business VCR | 0 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 |  |  | See VCR Tab
Blended Average VCR | 0 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 |  |  | See VCR Tab
VCR Benefits
Domestic Generators (3kVA) | 0 | 0 | 692204.4084 | 1845878.4223 | 2307348.0278 | 2307348.0278 | 2307348.0278 | 2307348.0278 | 9460126.9142
Portable SAPS (20kVA) | 0 | 0 | 27688.1763 | 83064.529 | 138440.8817 | 193817.2343 | 249193.587 | 276881.7633 | 692204.4084
VCR - Large Generators (500kVA) | 0 | 0 | 922939.2111 | 2768817.6334 | 4614696.0557 | 6460574.478 | 8306452.9002 | 9229392.1114 | 23073480.2785
VCR - Medium Generators (200kVA) | 0 | 0 | 461469.6056 | 1384408.8167 | 2307348.0278 | 3230287.239 | 4153226.4501 | 4614696.0557 | 11536740.1392
VCR - Portable Streetlights | 0 | 0 | 288418.5035 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 2595766.5313 |  | <$10k reduction in GSL payments pa. Other benefits are minor.
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total VCR Financial Benefits | 0 | 0 | 2392719.9049 | 6659006.4084 | 9944670 | 12768863.9861 | 15593057.9722 | 17005154.9652 | 47358318.2715 |  | in FY25-29
Net Financial Benefits
Domestic Generators (3kVA) |  |  | 212204.4084 | 1525878.4223 | 2307348.0278 | 2307348.0278 | 2307348.0278 | 2307348.0278 | 8660126.9142
Portable SAPS (20kVA) |  |  | -292311.8237 | -236935.471 | -181559.1183 | -126182.7657 | -70806.413 | 276881.7633 | -907795.5916
VCR - Large Generators (500kVA) |  |  | 322939.2111 | 2168817.6334 | 4014696.0557 | 5860574.478 | 7706452.9002 | 9229392.1114 | 20073480.2785
VCR - Medium Generators (200kVA) |  |  | 141469.6056 | 1064408.8167 | 1987348.0278 | 2910287.239 | 3833226.4501 | 4614696.0557 | 9936740.1392
VCR - Portable Streetlights |  |  | 38418.5035 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 2345766.5313
VCR - Communications Van |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Financial Benefits excl Employees & other opex costs | 0 | 0 | 422719.9049 | 5099006.4084 | 8704670 | 11528863.9861 | 14353057.9722 | 17005154.9652 | 40108318.2715
Dedicated Employee & Other Opex Costs |  |  | -675000 | -675000 | -675000 | -675000 | -675000 | -675000 | -3375000
NET FINANCIAL BENEFITS AFTER EMPLOYEE COSTS |  |  | -252280.0951 | 4424006.4084 | 8029670 | 10853863.9861 | 13678057.9722 | 16330154.9652 | 36733318.2715 | 0 | check (should be 0)
Non Financial Benefits
Reduced outage times | FY23: Reduced outage times, improved relations
Improved reputation / PR | FY23: Improved stakeholder relations
Improved customer satisfaction | FY23: Improved CSAT
Better AM decision making (can we quantify this?) | FY23: Enabling temporary generation at sites after a natural disaster allows time for planning and design to review alternative supply methods (such as alternate routes) and materials (such as composite poles) to ensure the network is built back better
Assisting and meeting recommendations of Royal Commission | FY23: The impacts of loss of telecommunication infrastructure due to power outages is a key recommendation from the bushfire enquires. Enabling Essential Energy with a fleet of temporary generation solutions will support communities during natural disasters to maintain communications
Better support of State Emergency Management Committee (SEMC) | FY23: The SEMC provides leadership, direction and advice for strategic and operational emergency management in NSW.
Any material income from renting out assets? | FY23: Nothing material
Sharing assets with other networks | FY23: Improved relations with other networks - no financial benefit
Portable Solar Streetlights | FY23: Improved Public Lighting, Safety and security, resulting in better community, stakeholder & council relations

## CR Model - Option C
Community Resilience Investment Case Inputs - Option C
$FY24
Number of New Units Purchased | FY23 | FY24 | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | Total FY25-29 | Useful Life (years) | Comments
Domestic Generators (3kVA) | [8 empty] | 1000 | 20 | 10 areas x ~100 in each area | 1000
Portable SAPS (20kVA) | [8 empty] | 20 | 20 |  | 20
Large (500 kVA) Generators | [8 empty] | 20 | 20 |  | 20
Medium (200 kVA) Generators | [8 empty] | 20 | 20 |  | 20
Portable Solar Streetlights (100W) | [8 empty] | 50 | 8 |  | 50
Communications Van | [8 empty] | 1 | 8 |  | 1
Portable Community Trailer Hub / Portable Depot | [8 empty] | 1 | 8 |  | 1
[9 empty] | 1112 |  |  | $FY24
Capex Cost per Unit
Domestic Generators (3kVA) | [10 empty] | ok
Portable SAPS (20kVA) | [10 empty] | ok
Large (500 kVA) Generators | [10 empty] | ok
Medium (200 kVA) Generators | [10 empty] | ok
Portable Solar Streetlights (100W) | [10 empty] | ok
Communications Van | [10 empty] | ok
Portable Community Trailer Hub / Portable Depot | [10 empty] | ok
Total Capex Costs |  |  | FY25 | FY26 | FY27 | FY28 | FY29 |  | Total FY25-29 | Budget
Domestic Generators (3kVA) | FY23: 0; FY24: 0 |  | Network
Portable SAPS (20kVA) | FY23: 0; FY24: 0 |  | Network
Large (500 kVA) Generators | FY23: 0; FY24: 0 |  | Network
Medium (200 kVA) Generators | FY23: 0; FY24: 0 |  | Network | 14000000
Portable Solar Streetlights (100W) | FY23: 0; FY24: 0 |  | Fleet
Communications Van | FY23: 0; FY24: 0 |  | Fleet
Portable Community Trailer Hub / Portable Depot | FY23: 0; FY24: 0 |  | Fleet | 1131375
Total Capex | 0 | 0 | 4411375 | 3420000 | 2640000 | 2330000 | 2330000 | 0 | 15131375 |  | 15131375
Average Number of Utilised Units in Year
Domestic Generators (3kVA) | FY23: 0; FY24: 0 | 1000
Portable SAPS (20kVA) | FY23: 0; FY24: 0 | 18
Large (500 kVA) Generators | FY23: 0; FY24: 0 | 18.25
Medium (200 kVA) Generators | FY23: 0; FY24: 0 | 18
Portable Solar Streetlights (100W) | FY23: 0; FY24: 0 | 50
Communications Van | FY23: 0; FY24: 0 | 1
Portable Community Trailer Hub / Portable Depot | FY23: 0; FY24: 0 | 1
Operation & Maintenance Costs per Unit $ (includes transport) | FY23: 0; FY25: 1
Domestic Generators (3kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 66 | servicing & maintenance
Portable SAPS (20kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1000 | Oil change for generator, inspection & testing
Large (500 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Medium (200 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Portable Solar Streetlights (100W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1120 | Moved 4 x pa, by 2 people, 2 hours per move, $70 per hour
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5000 | Fleet - ~$5000 year servicing/transport
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7500 | Fleet - ~$7500 year servicing/transport
Operation & Maintenance Costs $
Domestic Generators (3kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Portable SAPS (20kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Large (500 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Medium (200 kVA) Generators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Network
Portable Solar Streetlights (100W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Fleet
Total O&M Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | These costs were not included in the engagement so don’t include in business case. Costs to be absorbed in BST opex forecast.
Other Opex Costs $
3 x Community Resilience Employees @ $150k each + oncosts |  |  | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 3375000 | Network | ok
Other opex costs (specify) | [8 empty] | 0
Total Opex Costs | 0 | 0 | 675000 | 675000 | 675000 | 675000 | 675000 | 675000 | 3375000
TOTEX |  |  | 5086375 | 4095000 | 3315000 | 3005000 | 3005000 | 675000 | 18506375
Totex excluding O&M | [8 empty] | 18506375
UTILISATION
Equipment Utilisation Rates % (days per year) - KEY VARIABLE
Domestic Generators (3kVA) | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Portable SAPS (20kVA) | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Large (500 kVA) Generators | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Medium (200 kVA) Generators | [9 empty] | 7.3 | days per year | bar: FY23 to FY30
Portable Solar Streetlights (100W) |  |  | 50% | 50% | 50% | 50% | 50% | 50% |  | 182.5 | days per year
Communications Van | [9 empty] | 10.95 | days per year | bar: FY23 to FY30
Portable Community Trailer Hub / Portable Depot | [9 empty] | 10.95 | days per year | bar: FY23 to FY30
Equipment Utilisation Rates / Hours per Utilised Day (hours)
Domestic Generators (3kVA) |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 hours per day when used | 87.6
Portable SAPS (20kVA) |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used | 175.2
Large (500 kVA) Generators |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used | 175.2
Medium (200 kVA) Generators |  |  | 24 | 24 | 24 | 24 | 24 | 24 |  | 24 | Used 24 hours per day when used | 175.2
Portable Solar Streetlights (100W) |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 hours per day when used
Communications Van |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 or 24 hours per day when used
Portable Community Trailer Hub / Portable Depot |  |  | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | Used 12 or 24 hours per day when used
Average Demand per Unit when utilised (kW)
Domestic Generators (3kVA) | [10 empty] | ok | bar: FY23 to FY30
Portable SAPS (20kVA) |  |  | 3 | 3 | 3 | 3 | 3 | 3 |  |  | ok
Large (500 kVA) Generators |  |  | 100 | 100 | 100 | 100 | 100 | 100 |  |  | ok
Medium (200 kVA) Generators |  |  | 50 | 50 | 50 | 50 | 50 | 50 |  |  | ok
Portable Solar Streetlights (100W) |  |  | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 |  |  | ok
Communications Van
Portable Community Trailer Hub / Portable Depot
Average kWH per Unit per annum
Domestic Generators (3kVA) |  |  | 87.6 | 87.6 | 87.6 | 87.6 | 87.6 | 87.6 |  |  | ok
Portable SAPS (20kVA) |  |  | 525.6 | 525.6 | 525.6 | 525.6 | 525.6 | 525.6 |  |  | ok
Large (500 kVA) Generators |  |  | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 |  |  | ok
Medium (200 kVA) Generators |  |  | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 |  |  | ok
Portable Solar Streetlights (100W) |  |  | 219 | 219 | 219 | 219 | 219 | 219 |  |  | ok
Communications Van |  |  | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total kWH Per Annum by Asset Type
Domestic Generators (3kVA) | 0 | 0 | 30660 | 74460 | 87600 | 87600 | 87600 | 87600 |  |  | ok
Portable SAPS (20kVA) | 0 | 0 | 788.4 | 2628 | 4993.2 | 7358.4 | 9460.8 | 10512 |  |  | ok
Large (500 kVA) Generators | 0 | 0 | 35040 | 113880 | 192720 | 258420 | 319740 | 350400 |  |  | ok
Medium (200 kVA) Generators | 0 | 0 | 13140 | 48180 | 87600 | 122640 | 157680 | 175200 |  |  | ok
Portable Solar Streetlights (100W) | 0 | 0 | 5475 | 10950 | 10950 | 10950 | 10950 | 10950 |  |  | ok
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS (Value of Customer Reliability) (VCR)
Average VCR
Average Residential VCR | 0 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 | 32.073 |  |  | See VCR Tab
Average Business VCR | 0 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 | 65.6332 |  |  | See VCR Tab
Blended Average VCR | 0 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 | 52.6792 |  |  | See VCR Tab
VCR Benefits
Domestic Generators (3kVA) | 0 | 0 | 1615143.6195 | 3922491.6473 | 4614696.0557 | 4614696.0557 | 4614696.0557 | 4614696.0557 | 19381723.4339
Portable SAPS (20kVA) | 0 | 0 | 41532.2645 | 138440.8817 | 263037.6752 | 387634.4687 | 498387.174 | 553763.5267 | 1329032.464
VCR - Large Generators (500kVA) | 0 | 0 | 1845878.4223 | 5999104.8724 | 10152331.3225 | 13613353.3643 | 16843640.6033 | 18458784.2228 | 48454308.5848
VCR - Medium Generators (200kVA) | 0 | 0 | 692204.4084 | 2538082.8306 | 4614696.0557 | 6460574.478 | 8306452.9002 | 9229392.1114 | 22612010.6729
VCR - Portable Streetlights | 0 | 0 | 288418.5035 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 2595766.5313 |  | <$10k reduction in GSL payments pa. Other benefits are minor.
Communications Van | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable Community Trailer Hub / Portable Depot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total VCR Financial Benefits | 0 | 0 | 4483177.2181 | 13174957.239 | 20221598.116 | 25653095.3736 | 30840013.7402 | 33433472.9235 | 94372841.6869 |  | in FY25-29
Net Financial Benefits
Domestic Generators (3kVA) |  |  | 495143.6195 | 3442491.6473 | 4614696.0557 | 4614696.0557 | 4614696.0557 | 4614696.0557 | 17781723.4339
Portable SAPS (20kVA) |  |  | -438467.7355 | -501559.1183 | -536962.3248 | -252365.5313 | -141612.826 | 553763.5267 | -1870967.536
VCR - Large Generators (500kVA) |  |  | 645878.4223 | 4499104.8724 | 8952331.3225 | 12563353.3643 | 15793640.6033 | 18458784.2228 | 42454308.5848
VCR - Medium Generators (200kVA) |  |  | 212204.4084 | 1738082.8306 | 3974696.0557 | 5820574.478 | 7666452.9002 | 9229392.1114 | 19412010.6729
VCR - Portable Streetlights |  |  | 38418.5035 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 576837.007 | 2345766.5313
VCR - Communications Van |  |  | -275000 | 0 | 0 | 0 | 0 | 0 | -275000
Portable Community Trailer Hub / Portable Depot |  |  | -606375 | 0 | 0 | 0 | 0 | 0 | -606375
Net Financial Benefits excl Employees & other opex costs | 0 | 0 | 71802.2181 | 9754957.239 | 17581598.116 | 23323095.3736 | 28510013.7402 | 33433472.9235 | 79241466.6869
Dedicated Employee & Other Opex Costs |  |  | -675000 | -675000 | -675000 | -675000 | -675000 | -675000 | -3375000
NET FINANCIAL BENEFITS AFTER EMPLOYEE COSTS |  |  | -603197.7819 | 9079957.239 | 16906598.116 | 22648095.3736 | 27835013.7402 | 32758472.9235 | 75866466.6869 | 0 | check (should be 0)
Non Financial Benefits
Reduced outage times | FY23: Reduced outage times, improved relations
Improved reputation / PR | FY23: Improved stakeholder relations
Improved customer satisfaction | FY23: Improved CSAT
Better AM decision making | FY23: Enabling temporary generation at sites after a natural disaster allows time for planning and design to review alternative supply methods (such as alternate routes) and materials (such as composite poles) to ensure the network is built back better
Assisting and meeting recommendations of Royal Commission | FY23: The impacts of loss of telecommunication infrastructure due to power outages is a key recommendation from the bushfire enquires. Enabling Essential Energy with a fleet of temporary generation solutions will support communities during natural disasters to maintain communications
Better support of State Emergency Management Committee (SEMC) | FY23: The SEMC provides leadership, direction and advice for strategic and operational emergency management in NSW.
Any material income from renting out assets? | FY23: Nothing material
Sharing assets with other networks | FY23: Improved relations with other networks - no financial benefit
Portable Solar Streetlights | FY23: Improved Public Lighting, Safety and security, resulting in better community, stakeholder & council relations

## VCR
AER - Values of customer reliability update summary - December 2022.pdf
28.76
[5 empty] | FY22 Cons | Total | Non Res
|  |  |  | Res | 4806 | 38.6%
|  |  |  | Sm bus / Agri | 1484 | 11.92% | 19.41%
|  |  |  | Comm | 2326 | 18.68% | 30.43%
|  |  | 58.8536 | Industrial | 3835 | 30.8% | 50.16%
[5 empty] | 12451 | 100% | 100%
FY22
Annual Residential Consumption (Gwh) | 4806 | 38.6%
Annual Non Residential Consumption (Gwh) | 7645 | 61.4%
Total Energy Consumption (Gwh) | 12451 | 100%
Average VCR Calculation | $FY22 | $FY24
Average Residential VCR | 28.76 | 32.073
Average Business VCR | 58.8536 | 65.6332
Average weighted VCR | 47.2377 | 52.6792