## Asset growth
CPI Assumptions
| 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14
Inlfator
CPI |  | 3.538% | 2.332% | 4.353% | 1.82% | 2.845% | 3.389% | 1.763%
Cumulative CPI |  | 1.0354 | 1.0595 | 1.1057 | 1.1258 | 1.1578 | 1.197 | 1.2181
[5 empty] | 1.0182 | 1.0472 | 1.0827 | 1.1017
[6 empty] | 1.0285 | 1.0633 | 1.0821
[7 empty] | 1.0339 | 1.0521
Capex including cap cons and before disposals ($nominal) | 2010/11: 771.2361; 2011/12: 832.8233; 2012/13: 714.4087; 2013/14: 650.2889 | 2968.757
Capex ($13/14) | 2010/11: 834.519; 2011/12: 876.2289; 2012/13: 727.0021; 2013/14: 650.2889 | 3088.039
ASSET GROWTH ESCALATORS
Replacement Cost ($09/10) | 2006/07: 19191.5752; 2008/09: SKM replacement value | 19191.5752
Replacement Cost ($13/14) | 2006/07: 24232.3264; 2008/09: Escalated SKM replacement value | 24232.3264
Growth Capex Average $13/14 | 2006/07: 148.4347; 2008/09: Average of growth capex in 2013/14$ as per submission | 148.4347
Cap Cons $13/14 | 2006/07: 70.7824; 2008/09: Estimated average cap cons $13/14 per submission | 70.7824
Gifted Assets | 2006/07: 0; 2008/09: Estimated average gifted assets (included in cap cons above)
O&M Rate (excludes condition based maintenance portion) * | 2006/07: 0.75; 2008/09: see note below | 0.75
| 2010 | 2011 | 2012 | 2013 | 2014
Asset Growth | 0.6785% | 0.6785% | 0.6785% | 0.6785% | 0.6785% |  | Calculated as a percentage of new assets on replacement cost
Asset Growth Cumulative | 1.0068 | 1.0136 | 1.0205 | 1.0274 | 1.0344 |  | Cumulative asset growth
*Note on O&M rate
When assets at the end of their service lives are either refurbished or renewed it is reasonable to expect a reduction in OPEX expenditures associated with these assets within the current regulatory period.
These OPEX savings accrue because generally new or refurbished assets will not require any condition-based maintenance over the remainder of the regulatory period.
Also many new assets will not require any inspections or testing within the same regulatory period.
The best way to quantify this reduction is to evaluate the OPEX savings associated with each individual asset refurbishment or replacement and sum the OPEX savings resulting from the implementation of the full asset refurbishment/replacement program.
In the absence of this specific data, PB, from its involvement in reviewing and evaluating data from many TENS and DENS within Australia, has benchmarked the OPEX offsets resulting from asset renewal/replacement programs.
This data indicates that the OPEX savings range from approximately 20% to 30% - depending on the individual businesses and the mix of assets included in the renewal/refurbishment programs.
Hence PB recommended that Essential Energy includes an OPEX reduction of 25% of the average costs of O & M for these new or refurbished assets as we believe this represents a reasonable offset.
Note on E25: Jason Cooke: Incorporated in cap cons above