## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Option 0: July 2021 Forecast | Option 1: December 2021 Forecast | Option 2: January 2022 Forecast | Option 3: February 2022 Forecast | Option 4: August 2022 Forecast
[11 empty] | Terminal Value | 2878721.547 | 3593871.3024 | 1731039.7865 | 4996330.1931 | 5017868.0927
[11 empty] | Total Investment Cost | 8178870.2051 | 10162052.367 | 4920386.7019 | 14214646.6654 | 14330698.2124
Notes
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 0 | 0 | 0 | 0 | 0
Option 0: July 2021 Forecast
Option 1: December 2021 Forecast
Option 2: January 2022 Forecast
Option 3: February 2022 Forecast
Option 4: August 2022 Forecast
Option Breakdown | [7 empty] | Folder and File Paths
| Option 5 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\browningr\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | N:\NWITSolutions\Oracle\AIP Queries\Copperleaf\Investment Summary Reports\
Option 5 | Terminal Value | 5017.8681 | 25.93% | 1 | K20 | Terminal Value | 25.93% | File Name | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 5 | Total Investment Cost | -14330.6982 | 74.07% | 1 | K21 | Total Investment Cost | 74.07% | File Path | N:\NWITSolutions\Oracle\AIP Queries\Copperleaf\Investment Summary Reports\InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 5 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 5 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 5 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | -9312.8301 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | Terminal Value | 2878.7215 | 26.03% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | Total Investment Cost | -8178.8702 | 73.97% | 1 | K21 | Terminal Value | 26.03% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 |  |  |  | 0 | K22 | Total Investment Cost | 73.97% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 |  |  |  | 0 | K23 |  |  | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 |  |  |  | 0 | K24 |  |  | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 |  |  |  | 0 | K25 |  |  | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 |  |  |  | 0 | K26 |  |  | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 |  |  |  | 0 | K27 |  |  | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 |  |  | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | -5300.1487 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | Terminal Value | 3593.8713 | 26.13% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | Total Investment Cost | -10162.0524 | 73.87% | 1 | K21 | Terminal Value | 26.13% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 |  |  |  | 0 | K22 | Total Investment Cost | 73.87% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 |  |  |  | 0 | K23 |  |  | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 |  |  |  | 0 | K24 |  |  | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 |  |  |  | 0 | K25 |  |  | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 |  |  |  | 0 | K26 |  |  | 36
Option 2 |  |  |  | 0 | K27 |  |  | 37
Option 2 |  |  |  | 0 | K28 |  |  | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | -6568.1811 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | Terminal Value | 1731.0398 | 26.03% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | Total Investment Cost | -4920.3867 | 73.97% | 1 | K21 | Terminal Value | 26.03%
Option 3 |  |  |  | 0 | K22 | Total Investment Cost | 73.97%
Option 3 |  |  |  | 0 | K23
Option 3 |  |  |  | 0 | K24
Option 3 |  |  |  | 0 | K25
Option 3 |  |  |  | 0 | K26
Option 3 |  |  |  | 0 | K27
Option 3 |  |  |  | 0 | K28
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | -3189.3469 | 100%
| Option 4 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 4 | Terminal Value | 4996.3302 | 26.01% | 1 | K20 | Row Labels | Sum of Value in %
Option 4 | Total Investment Cost | -14214.6467 | 73.99% | 1 | K21 | Terminal Value | 26.01%
Option 4 |  |  |  | 0 | K22 | Total Investment Cost | 73.99%
Option 4 |  |  |  | 0 | K23
Option 4 |  |  |  | 0 | K24
Option 4 |  |  |  | 0 | K25
Option 4 |  |  |  | 0 | K26
Option 4 |  |  |  | 0 | K27
Option 4 |  |  |  | 0 | K28
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | -9218.3165 | 100%
| Option 5 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 5 | Terminal Value | 5017.8681 | 25.93% | 1 | K20 | Row Labels | Sum of Value in %
Option 5 | Total Investment Cost | -14330.6982 | 74.07% | 1 | K21 | Terminal Value | 25.93%
Option 5 |  |  |  | 0 | K22 | Total Investment Cost | 74.07%
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | -9312.8301 | 100%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000890 |  | 2025 |  |  | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Investment Description
Description |  | This customer initiated work investment sits under the connection category CNMAC, Customer Initiated Non-Major Works Commercial | [9 empty] | TRUE
Functional Area |  | SUGSI |  |  | Department |  |  | System Planning
Works Initiator |  |  |  |  | Portfolio |  |  | Dx - Customer
Investment Category |  | Standard Control - Customer Initiated |  |  | Needs Item Reference
Investment Type |  | Network Project |  |  | Document No. |  |  | R0002295334
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location |  |  | URL Link
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | TasNetworks, to meet its obligations as the Distribution Network Service Provider, must provide connection services as required in accordance with the National Electricity Rules (NER) to at least meet various minimum requirements for access arrangement. In particular, clause 6.1.3 states: - Access to direct control services and negotiated distribution services a) Subject to and in accordance with the Rules: 1. a person (a Service Applicant) may apply to a Distribution Network Service Provider for provision of direct control services or negotiated distribution services; 2. a Distribution Network Service Provider must provide direct control services or negotiated distribution services (as the case may be) on terms and conditions of access as determined under Chapters 4, 5, this Chapter 6 and Chapter 7 of the Rules. b) The terms and conditions of access are: (1) in relation to negotiated distribution services: i. the price of those services (including, if relevant, access charges); and ii. other terms and conditions for the provision of those services; (2) in relation to direct control services: i. the price of those services under the approved pricing proposal; and ii. other terms and conditions for the provision of those services. TasNetworks is therefore required to provide offers to connect to all connection applicants on fair and reasonable terms and conditions. Chapter 5 of the NER provides additional details regarding the connection process and the requirements for access to the network for a customer connection, including access standards. | [9 empty] | TRUE
Recommendation |  | TasNetworks to provide connections services as required by the NER. Commercial installations include agribusiness installations (but not irrigation supplies), supply for commercial construction activities, industrial developments and mining complexes. Connection assets associated with this connection class include: - Simple connections (LV connection): - customer connection service fuses; and / or - greater than one (1) span of overhead service wire and crossover; - small extension, overhead and/or underground, of the LV feeder; and - additional street furniture (i.e. turret, cabinet or wall box). - Medium connections (HV or LV connection): - Large extension, overhead and/or underground, of the LV feeder; - Small extension, overhead and/or underground, of the HV feeder; - Installation of a distribution transformer (predominantly pole-type); - small extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations may be required. - Complex connections (HV or LV connection): - large extension, overhead and/or underground, of the HV feeder; - installation of a distribution transformer (predominantly ground-type); - large extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations expected to be required. This program excludes: - Basic connection services; - Subdivision connection services; - Irrigation connection services; - Pre-Connection Services; and - Non-demand network alteration services The preferred option for this investment is selected based on the latest volume forecasting and historical RIN unit rates under each connection category. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 0: July 2021 Forecast |  | Candidate | 1965593 | 1837972 | 1791675 | 1845940 | 1800794 | 9241974 | 9241974 |  | 4547400%
Option 1: December 2021 Forecast |  | Candidate | 1953436 | 2468076 | 2415502 | 2363287 | 2311295 | 11511596 | 11511596 |  | 4547400%
Option 2: January 2022 Forecast |  | Candidate | 1173127 | 1129272 | 1096380 | 1085417 | 1074453 | 5558649 | 5558649 |  | 4547400%
Option 3: February 2022 Forecast |  | Candidate | 3486490 | 3234322 | 3157576 | 3102757 | 3069865 | 16051010 | 16051010 |  | 4547400%
Option 4: August 2022 Forecast |  | Recommended | 3756728 | 3459805 | 3020874 | 2969235 | 2943416 | 16150058 | 16150058 |  | 4547400%
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486100%
|  |  | Endorsement | [7 empty] | 4486100%
|  |  | Approval | [7 empty] | 4486100%
Investment Attachments
Date | Attachment Name |  | Description
4484600% | Customer Forecasting Methodology |  | Methodology developed for producing a connection volume forecast to support the development of the Customer Initiated Work program.
4484600% | Customer Expenditure Forecasts |  | Workbook outlining how the forecasts are used to build the expenditure program
4484600% | Customer Development Management Plan |  | Describe the supporting principles of customer development activities

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000890 |  | 2025 |  | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CI_SUGSI_General_Supply_UG |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | SUGSI |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Customer
Investment Category | Standard Control - Customer Initiated |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002295334
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Customer initiated capital works is initiated and undertaken at the request of customers through a connection process , which includes assessing and subsequently agreeing to the conditions for connection to the network. This connection process focuses on facilitating and establishing the connection of new and modified private electrical infrastructure to TasNetworks’ distribution network through either direct connection or via dedicated distribution connection assets. A customer connection to the network allows a customer to not only import energy (consume) from the network but also, in certain circumstances, generate (produce) and export energy into the network. In determining the scope of work for a specific customer connection there are two (2) areas where infrastructure investment may be required: - Building and connecting Connection Assets, specific to that customer connection; and - Modifying the existing network through network alterations, expansion and extension works (shared assets alterations) associated with strengthening the network specifically to facilitate only that customer connection. The specific technical requirements, commercial arrangements, location and type of customer connection, and capability or constraints of the existing network influence the magnitude of individual projects under this program. |  |  |  |  | TRUE
| Problem Definition |  | TasNetworks, to meet its obligations as the Distribution Network Service Provider, must provide connection services as required in accordance with the National Electricity Rules (NER) to at least meet various minimum requirements for access arrangement. In particular, clause 6.1.3 states: - Access to direct control services and negotiated distribution services a) Subject to and in accordance with the Rules: 1. a person (a Service Applicant) may apply to a Distribution Network Service Provider for provision of direct control services or negotiated distribution services; 2. a Distribution Network Service Provider must provide direct control services or negotiated distribution services (as the case may be) on terms and conditions of access as determined under Chapters 4, 5, this Chapter 6 and Chapter 7 of the Rules. b) The terms and conditions of access are: (1) in relation to negotiated distribution services: i. the price of those services (including, if relevant, access charges); and ii. other terms and conditions for the provision of those services; (2) in relation to direct control services: i. the price of those services under the approved pricing proposal; and ii. other terms and conditions for the provision of those services. TasNetworks is therefore required to provide offers to connect to all connection applicants on fair and reasonable terms and conditions. Chapter 5 of the NER provides additional details regarding the connection process and the requirements for access to the network for a customer connection, including access standards. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000890 |  | 2025 |  | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CI_SUGSI_General_Supply_UG |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | SUGSI |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Customer
Investment Category | Standard Control - Customer Initiated |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002295334
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location |  | URL Link
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing | [6 empty] | TRUE
| Our Customers |  | Customer net promoter score - Investment in our customers’ through initiated applications. |  |  |  |  | FALSE
| Our People |  | Employee engagement - Consultation with internal stakeholders ensures alignment in reporting and delivery of customer initiated services. |  |  |  |  | FALSE
| Our Business - Sustained Cost Management |  | Robust methods of connection forecasting will provide consistency and transparency in customer expenditure profiles. |  |  |  |  | FALSE
| Our Business - Network Service | [6 empty] | FALSE
04. Business Risks | Death or Injury (Employee) | [6 empty] | FALSE
| Death or Injury (Public) | [6 empty] | FALSE
| Sustainable and Predictable Pricing |  | A rigorous forecasting methodology for future customer connections will enable a sustainable and predictable pricing structure for customer initiated work. TasNetworks will constantly review the volume forecasting methodology to ensure it best aligns to customer actuals to best meet this key business risk. |  |  |  |  | FALSE
| Widespread Power Disruption | [6 empty] | FALSE
| Bushfire Start | [6 empty] | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus |  | TasNetworks will provide customers with an affordable and reliable connection to the distribution network under the Rules and the DNSP obligations. This investment will positively impact the customer’s experience and instil trust in TasNetworks as the service provider. Timely handling of customer connections and appropriate and affordable augmentation will satisfy customer expectations and to align with the key business risk. |  |  |  |  | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
| Energy Policy and Regulation |  | TasNetworks are obligated to provide a network connection to customers under the TEC and NER. This investment will ensure TasNetworks legislative duties are met.
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | TasNetworks is obliged as a Distribution Network Service Provider to provide connection services as required by the NER. In relation to the Rules clause 6.5.7 forecast capital expenditure, TasNetworks must: (1) comply with all applicable regulatory obligations or requirements associated with the provision of standard control services; (2) to the extent that there is no applicable regulatory obligation or requirement in relation to: a. the quality, reliability or security of supply of standard control services; or to the relevant extent: b. maintain the quality, reliability and security of supply of standard control services. This customer initiated work program aims to satisfy the customer electrical supply requirements and the conditions and arrangements for that customer connection whilst ensuring that the network, and consequently other customers, are not adversely affected. The following sections summarise the strategic objectives that will be addressed by this project. The strategic documents referenced for this investment are: #1 - National Electricity Rules (NER) #2 - Tasmanian Electricity Code (TEC) #3 - Distribution Connection Pricing Policy #4 - National Energy Retail Rules (NERR) |  |  |  |  | FALSE
| Strategic Document #1 |  | National Electricity Rules, Chapter 5, Section 5.2.3 Obligations of network service providers - a Network Service Provide must review and process applications to connect or modify a connection which are submitted to it and must enter into a connection agreement with each Registered Participant and any other person to which it has provided a connection in accordance with rules 5.3 or 5.3A (as is relevant) to the extent that the connection point relates to its part of the national grid. |  |  |  |  | FALSE
| Strategic Document #2 |  | Tasmanian Electricity Code, Chapter 8, Section 8.1.2 - Each Distribution Network Service Provider which supplies electricity on mainland Tasmania must comply with this Chapter 8 under the distribution licence held by it. |  |  |  |  | FALSE
| Strategic Document #3 |  | Distribution Connection Pricing Policy - Provide access to the distribution network to those parties that request new connections, and modify existing connections to the distribution network to accommodate requests to meet the altered requirements of connected parties. Ensure connection services for this connection class are provided at a reasonable and fair price to the customer. |  |  |  |  | FALSE
| Strategic Document #4 |  | National Energy Retail Rules, Part 4, Section 79.4 Application for customer connection services - The distributor must as soon as practicable after the retailer notifies the distributor of the formation of the relevant contract under sub rule (2), provide customer connection services in respect of the customer's premises. |  |  |  |  | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The forecast expenditure under this program is intended to reasonably cover the magnitude of costs that TasNetworks will incur (excluding contributions) to facilitate customer connection services in accordance with the requirements of the NER. The objective of this program is to allocate adequate funding for TasNetworks to manage the reactive nature of customer initiated activity. TasNetworks has opted to apply an econometric methodology to forecast new customer connections to the distribution network. This approach required the estimation and testing of statistical relationships between the number of new connections and the underlying drivers that influence the number of new connections in Tasmania. The customer connection forecasts were created by conducting a multilinear regression model, in addition to the annual Gross State Product (GSP) changes and economic data from the Australian Bureau of Statistics (ABS). Additional inputs were added into the modelling as they showed strong correlations with new customer connections; dwelling starts, unemployment rate and population growth. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | Based on the varying types of customer connections, benchmarking was not applicable for this investment. |  |  |  |  | TRUE
| Expert Findings |  | No expert findings for this investment. |  |  |  |  | FALSE
08. Investment Timing | Investment Timing |  | This program is intended for the entirety of the regulatory control period 2024-2029. |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the preferred option will be connection services are provided and managed effectively in accordance with TasNetworks regulatory and legislative obligations to meet the requirements as requested by customers. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | TasNetworks produces forecasts for the number of new network connections split into the categories residential and commercial; simple and complex. These categories align with the annual Regulatory Information Notice (RIN) submissions with applied mapping to relevant connection sub-categories (i.e. irrigation and residential subdivision lots). These customer connection forecasts are then used; in conjunction with historical unit rates for these activities, to determine the budget forecast for Customer Initiated activity in the future programs of work. As the program is produced based on historical volumes and unit rates, an NPV and TQR assessment was not completed for this investment. In addition to this, all customer initiated work is driven by customer demand and is not driven by the network service provider to manage network risk. Customers will be connected to the network in accordance with Australian Standards and under obligations of the NER and TEC. |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | Not applicable for this investment.
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
12. Recommendation | Recommendation |  | TasNetworks to provide connections services as required by the NER. Commercial installations include agribusiness installations (but not irrigation supplies), supply for commercial construction activities, industrial developments and mining complexes. Connection assets associated with this connection class include: - Simple connections (LV connection): - customer connection service fuses; and / or - greater than one (1) span of overhead service wire and crossover; - small extension, overhead and/or underground, of the LV feeder; and - additional street furniture (i.e. turret, cabinet or wall box). - Medium connections (HV or LV connection): - Large extension, overhead and/or underground, of the LV feeder; - Small extension, overhead and/or underground, of the HV feeder; - Installation of a distribution transformer (predominantly pole-type); - small extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations may be required. - Complex connections (HV or LV connection): - large extension, overhead and/or underground, of the HV feeder; - installation of a distribution transformer (predominantly ground-type); - large extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations expected to be required. This program excludes: - Basic connection services; - Subdivision connection services; - Irrigation connection services; - Pre-Connection Services; and - Non-demand network alteration services The preferred option for this investment is selected based on the latest volume forecasting and historical RIN unit rates under each connection category. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-27
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  |  | Years | Not applicable for this investment
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 0: July 2021 Forecast |  |  |  | 9.242 |  | No | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
| Option 1: December 2021 Forecast |  |  |  | 11.5116 |  | No | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
| Option 2: January 2022 Forecast |  |  |  | 5.5586 |  | No | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
| Option 3: February 2022 Forecast |  |  |  | 16.051 |  | No | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
| Option 4: August 2022 Forecast |  |  |  | 16.1501 |  | Yes | This allocated investment is required to enable TasNetworks to facilitate connection requests from customers in accordance with our regulatory and legislative obligations. This alternative is accepted as it has been developed from the latest customer connection volume forecasts.
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000890 |  | 2025 |  | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CI_SUGSI_General_Supply_UG |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-27
Functional Area | SUGSI |  | Department |  | System Planning
Works Initiator |  |  | Portfolio |  | Dx - Customer
Investment Category | Standard Control - Customer Initiated |  | Needs Item Reference
Investment Type | Network Project |  | Document No. |  | R0002295334
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | Customer initiated capital works is initiated and undertaken at the request of customers through a connection process , which includes assessing and subsequently agreeing to the conditions for connection to the network. This connection process focuses on facilitating and establishing the connection of new and modified private electrical infrastructure to TasNetworks’ distribution network through either direct connection or via dedicated distribution connection assets. A customer connection to the network allows a customer to not only import energy (consume) from the network but also, in certain circumstances, generate (produce) and export energy into the network. In determining the scope of work for a specific customer connection there are two (2) areas where infrastructure investment may be required: - Building and connecting Connection Assets, specific to that customer connection; and - Modifying the existing network through network alterations, expansion and extension works (shared assets alterations) associated with strengthening the network specifically to facilitate only that customer connection. The specific technical requirements, commercial arrangements, location and type of customer connection, and capability or constraints of the existing network influence the magnitude of individual projects under this program. |  |  |  |  | TRUE
| Problem Definition |  | TasNetworks, to meet its obligations as the Distribution Network Service Provider, must provide connection services as required in accordance with the National Electricity Rules (NER) to at least meet various minimum requirements for access arrangement. In particular, clause 6.1.3 states: - Access to direct control services and negotiated distribution services a) Subject to and in accordance with the Rules: 1. a person (a Service Applicant) may apply to a Distribution Network Service Provider for provision of direct control services or negotiated distribution services; 2. a Distribution Network Service Provider must provide direct control services or negotiated distribution services (as the case may be) on terms and conditions of access as determined under Chapters 4, 5, this Chapter 6 and Chapter 7 of the Rules. b) The terms and conditions of access are: (1) in relation to negotiated distribution services: i. the price of those services (including, if relevant, access charges); and ii. other terms and conditions for the provision of those services; (2) in relation to direct control services: i. the price of those services under the approved pricing proposal; and ii. other terms and conditions for the provision of those services. TasNetworks is therefore required to provide offers to connect to all connection applicants on fair and reasonable terms and conditions. Chapter 5 of the NER provides additional details regarding the connection process and the requirements for access to the network for a customer connection, including access standards. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The forecast expenditure under this program is intended to reasonably cover the magnitude of costs that TasNetworks will incur (excluding contributions) to facilitate customer connection services in accordance with the requirements of the NER. The objective of this program is to allocate adequate funding for TasNetworks to manage the reactive nature of customer initiated activity. TasNetworks has opted to apply an econometric methodology to forecast new customer connections to the distribution network. This approach required the estimation and testing of statistical relationships between the number of new connections and the underlying drivers that influence the number of new connections in Tasmania. The customer connection forecasts were created by conducting a multilinear regression model, in addition to the annual Gross State Product (GSP) changes and economic data from the Australian Bureau of Statistics (ABS). Additional inputs were added into the modelling as they showed strong correlations with new customer connections; dwelling starts, unemployment rate and population growth. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | This program is intended for the entirety of the regulatory control period 2024-2029. |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 0: July 2021 Forecast
autofit | Description |  | Option proposed based on the July 2021 customer connection forecast volumes using the preferred forecasting methodology.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 0: July 2021 Forecast |  | Capex |  |  | 1965593 | 1837972 | 1791675 | 1845940 | 1800794 | 9241974 | 9241974
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 2878.7215 | 26.03%
[9 empty] | Total Investment Cost |  |  | -8178.8702 | 73.97%
[9 empty] | Total |  |  | -5300.1487
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 1965593 | 1837972 | 1791675 | 1845940 | 1800794
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -8178.8702 | Dollar | 1965593 | 1837972 | 1791675 | 1845940 | 1800794
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 2878.7215 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 1: December 2021 Forecast
autofit | Description |  | Option proposed based on the December 2021 customer connection forecast volumes using the preferred forecasting methodology.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1: December 2021 Forecast |  | Capex |  |  | 1953436 | 2468076 | 2415502 | 2363287 | 2311295 | 11511596 | 11511596
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 3593.8713 | 26.13%
[9 empty] | Total Investment Cost |  |  | -10162.0524 | 73.87%
[9 empty] | Total |  |  | -6568.1811
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 1953436 | 2468076 | 2415502 | 2363287 | 2311295
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -10162.0524 | Dollar | 1953436 | 2468076 | 2415502 | 2363287 | 2311295
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 3593.8713 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 2: January 2022 Forecast
autofit | Description |  | Option proposed based on the January 2022 customer connection forecast volumes using the preferred forecasting methodology.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2: January 2022 Forecast |  | Capex |  |  | 1173127 | 1129272 | 1096380 | 1085417 | 1074453 | 5558649 | 5558649
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 1731.0398 | 26.03%
[9 empty] | Total Investment Cost |  |  | -4920.3867 | 73.97%
[9 empty] | Total |  |  | -3189.3469
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 1173127 | 1129272 | 1096380 | 1085417 | 1074453
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -4920.3867 | Dollar | 1173127 | 1129272 | 1096380 | 1085417 | 1074453
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 1731.0398 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 3: February 2022 Forecast
autofit | Description |  | Option proposed based on the February 2022 customer connection forecast volumes using the preferred forecasting methodology.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected on the basis of the connection volume forecasts being superseded with more current numbers.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 3: February 2022 Forecast |  | Capex |  |  | 3486490 | 3234322 | 3157576 | 3102757 | 3069865 | 16051010 | 16051010
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 4996.3302 | 26.01%
[9 empty] | Total Investment Cost |  |  | -14214.6467 | 73.99%
[9 empty] | Total |  |  | -9218.3165
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 3486490 | 3234322 | 3157576 | 3102757 | 3069865
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -14214.6467 | Dollar | 3486490 | 3234322 | 3157576 | 3102757 | 3069865
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 4996.3302 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name |  | Option 4: August 2022 Forecast
autofit | Description |  | Option proposed based on the August 2022 customer connection forecast volumes using the preferred forecasting methodology.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This allocated investment is required to enable TasNetworks to facilitate connection requests from customers in accordance with our regulatory and legislative obligations. This alternative is accepted as it has been developed from the latest customer connection volume forecasts.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 4: August 2022 Forecast |  | Capex |  |  | 3756728 | 3459805 | 3020874 | 2969235 | 2943416 | 16150058 | 16150058
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 5017.8681 | 25.93%
[9 empty] | Total Investment Cost |  |  | -14330.6982 | 74.07%
[9 empty] | Total |  |  | -9312.8301
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 3756728 | 3459805 | 3020874 | 2969235 | 2943416
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -14330.6982 | Dollar | 3756728 | 3459805 | 3020874 | 2969235 | 2943416
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 5017.8681 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000890 |  | 2025 |  |  | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CI_SUGSI_General_Supply_UG | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-27
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
This customer initiated work investment sits under the connection category CNMAC, Customer Initiated Non-Major Works Commercial | Investment Summary | Header | Description | 30 | 9
Customer initiated capital works is initiated and undertaken at the request of customers through a connection process , which includes assessing and subsequently agreeing to the conditions for connection to the network. This connection process focuses on facilitating and establishing the connection of new and modified private electrical infrastructure to TasNetworks’ distribution network through either direct connection or via dedicated distribution connection assets. A customer connection to the network allows a customer to not only import energy (consume) from the network but also, in certain circumstances, generate (produce) and export energy into the network. In determining the scope of work for a specific customer connection there are two (2) areas where infrastructure investment may be required: - Building and connecting Connection Assets, specific to that customer connection; and - Modifying the existing network through network alterations, expansion and extension works (shared assets alterations) associated with strengthening the network specifically to facilitate only that customer connection. The specific technical requirements, commercial arrangements, location and type of customer connection, and capability or constraints of the existing network influence the magnitude of individual projects under this program. | Investment Summary | 0.1 Overview | Background | 225 | 16
TasNetworks, to meet its obligations as the Distribution Network Service Provider, must provide connection services as required in accordance with the National Electricity Rules (NER) to at least meet various minimum requirements for access arrangement. In particular, clause 6.1.3 states: - Access to direct control services and negotiated distribution services a) Subject to and in accordance with the Rules: 1. a person (a Service Applicant) may apply to a Distribution Network Service Provider for provision of direct control services or negotiated distribution services; 2. a Distribution Network Service Provider must provide direct control services or negotiated distribution services (as the case may be) on terms and conditions of access as determined under Chapters 4, 5, this Chapter 6 and Chapter 7 of the Rules. b) The terms and conditions of access are: (1) in relation to negotiated distribution services: i. the price of those services (including, if relevant, access charges); and ii. other terms and conditions for the provision of those services; (2) in relation to direct control services: i. the price of those services under the approved pricing proposal; and ii. other terms and conditions for the provision of those services. TasNetworks is therefore required to provide offers to connect to all connection applicants on fair and reasonable terms and conditions. Chapter 5 of the NER provides additional details regarding the connection process and the requirements for access to the network for a customer connection, including access standards. | Investment Summary | 0.1 Overview | Problem Definition | 345 | 17
At TasNetworks we value our customers and the relationships we have with them. TasNetworks continues to undertake customer engagement as part of business as usual and through the upcoming revenue proposal. Consumers have identified what’s most important to customers is a reliable and affordable electricity network, in addition to: - Investments that enable a renewable energy future through the use of innovative technologies; and - A more resilient network to combat climate change. This program specifically addresses the requirements of consumers in the areas of affordability, efficient and reliable services. | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 120 | 18
| Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 15 | 17
Customer net promoter score - Investment in our customers’ through initiated applications. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 15 | 18
Employee engagement - Consultation with internal stakeholders ensures alignment in reporting and delivery of customer initiated services. | Objectives and Analysis | 03. Business Performance Objectives | Our People | 30 | 19
Robust methods of connection forecasting will provide consistency and transparency in customer expenditure profiles. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 15 | 20
| Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 15 | 21
| Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
| Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
A rigorous forecasting methodology for future customer connections will enable a sustainable and predictable pricing structure for customer initiated work. TasNetworks will constantly review the volume forecasting methodology to ensure it best aligns to customer actuals to best meet this key business risk. | Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 45 | 25
| Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 15 | 26
| Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
TasNetworks will provide customers with an affordable and reliable connection to the distribution network under the Rules and the DNSP obligations. This investment will positively impact the customer’s experience and instil trust in TasNetworks as the service provider. Timely handling of customer connections and appropriate and affordable augmentation will satisfy customer expectations and to align with the key business risk. | Objectives and Analysis | 04. Business Risks | Customer Focus | 60 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
TasNetworks are obligated to provide a network connection to customers under the TEC and NER. This investment will ensure TasNetworks legislative duties are met. | Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 30 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
TasNetworks is obliged as a Distribution Network Service Provider to provide connection services as required by the NER. In relation to the Rules clause 6.5.7 forecast capital expenditure, TasNetworks must: (1) comply with all applicable regulatory obligations or requirements associated with the provision of standard control services; (2) to the extent that there is no applicable regulatory obligation or requirement in relation to: a. the quality, reliability or security of supply of standard control services; or to the relevant extent: b. maintain the quality, reliability and security of supply of standard control services. This customer initiated work program aims to satisfy the customer electrical supply requirements and the conditions and arrangements for that customer connection whilst ensuring that the network, and consequently other customers, are not adversely affected. The following sections summarise the strategic objectives that will be addressed by this project. The strategic documents referenced for this investment are: #1 - National Electricity Rules (NER) #2 - Tasmanian Electricity Code (TEC) #3 - Distribution Connection Pricing Policy #4 - National Energy Retail Rules (NERR) | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 285 | 38
National Electricity Rules, Chapter 5, Section 5.2.3 Obligations of network service providers - a Network Service Provide must review and process applications to connect or modify a connection which are submitted to it and must enter into a connection agreement with each Registered Participant and any other person to which it has provided a connection in accordance with rules 5.3 or 5.3A (as is relevant) to the extent that the connection point relates to its part of the national grid. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 75 | 39
Tasmanian Electricity Code, Chapter 8, Section 8.1.2 - Each Distribution Network Service Provider which supplies electricity on mainland Tasmania must comply with this Chapter 8 under the distribution licence held by it. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 30 | 40
Distribution Connection Pricing Policy - Provide access to the distribution network to those parties that request new connections, and modify existing connections to the distribution network to accommodate requests to meet the altered requirements of connected parties. Ensure connection services for this connection class are provided at a reasonable and fair price to the customer. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 75 | 41
National Energy Retail Rules, Part 4, Section 79.4 Application for customer connection services - The distributor must as soon as practicable after the retailer notifies the distributor of the formation of the relevant contract under sub rule (2), provide customer connection services in respect of the customer's premises. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 45 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
The forecast expenditure under this program is intended to reasonably cover the magnitude of costs that TasNetworks will incur (excluding contributions) to facilitate customer connection services in accordance with the requirements of the NER. The objective of this program is to allocate adequate funding for TasNetworks to manage the reactive nature of customer initiated activity. TasNetworks has opted to apply an econometric methodology to forecast new customer connections to the distribution network. This approach required the estimation and testing of statistical relationships between the number of new connections and the underlying drivers that influence the number of new connections in Tasmania. The customer connection forecasts were created by conducting a multilinear regression model, in addition to the annual Gross State Product (GSP) changes and economic data from the Australian Bureau of Statistics (ABS). Additional inputs were added into the modelling as they showed strong correlations with new customer connections; dwelling starts, unemployment rate and population growth. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 165 | 44
Based on the varying types of customer connections, benchmarking was not applicable for this investment. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 15 | 45
No expert findings for this investment. | Objectives and Analysis | 07. Options Analysis | Expert Findings | 15 | 46
This program is intended for the entirety of the regulatory control period 2024-2029. | Objectives and Analysis | 08. Investment Timing | Investment Timing | 15 | 47
The benefits to TasNetworks from implementation of the preferred option will be connection services are provided and managed effectively in accordance with TasNetworks regulatory and legislative obligations to meet the requirements as requested by customers. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 45 | 48
TasNetworks produces forecasts for the number of new network connections split into the categories residential and commercial; simple and complex. These categories align with the annual Regulatory Information Notice (RIN) submissions with applied mapping to relevant connection sub-categories (i.e. irrigation and residential subdivision lots). These customer connection forecasts are then used; in conjunction with historical unit rates for these activities, to determine the budget forecast for Customer Initiated activity in the future programs of work. As the program is produced based on historical volumes and unit rates, an NPV and TQR assessment was not completed for this investment. In addition to this, all customer initiated work is driven by customer demand and is not driven by the network service provider to manage network risk. Customers will be connected to the network in accordance with Australian Standards and under obligations of the NER and TEC. | Objectives and Analysis | 10. Assumptions | Assumptions | 150 | 49
Not applicable for this investment. | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 15 | 50
Yes | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
TasNetworks to provide connections services as required by the NER. Commercial installations include agribusiness installations (but not irrigation supplies), supply for commercial construction activities, industrial developments and mining complexes. Connection assets associated with this connection class include: - Simple connections (LV connection): - customer connection service fuses; and / or - greater than one (1) span of overhead service wire and crossover; - small extension, overhead and/or underground, of the LV feeder; and - additional street furniture (i.e. turret, cabinet or wall box). - Medium connections (HV or LV connection): - Large extension, overhead and/or underground, of the LV feeder; - Small extension, overhead and/or underground, of the HV feeder; - Installation of a distribution transformer (predominantly pole-type); - small extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations may be required. - Complex connections (HV or LV connection): - large extension, overhead and/or underground, of the HV feeder; - installation of a distribution transformer (predominantly ground-type); - large extension, overhead and/or underground, of the HV feeder; - installation of a HV isolator; and - Upstream shared asset alterations expected to be required. This program excludes: - Basic connection services; - Subdivision connection services; - Irrigation connection services; - Pre-Connection Services; and - Non-demand network alteration services The preferred option for this investment is selected based on the latest volume forecasting and historical RIN unit rates under each connection category. | Objectives and Analysis | 12. Recommendation | Recommendation | 409.5 | 56
Option proposed based on the July 2021 customer connection forecast volumes using the preferred forecasting methodology. | Option 1 | Description |  | 15
Rejected on the basis of the connection volume forecasts being superseded with more current numbers. | Option 1 | Reason for selection/rejection |  | 15
Option proposed based on the December 2021 customer connection forecast volumes using the preferred forecasting methodology. | Option 2 | Description |  | 15
Rejected on the basis of the connection volume forecasts being superseded with more current numbers. | Option 2 | Reason for selection/rejection |  | 15
Option proposed based on the January 2022 customer connection forecast volumes using the preferred forecasting methodology. | Option 3 | Description |  | 15
Rejected on the basis of the connection volume forecasts being superseded with more current numbers. | Option 3 | Reason for selection/rejection |  | 15
Option proposed based on the February 2022 customer connection forecast volumes using the preferred forecasting methodology. | Option 4 | Description |  | 15
Rejected on the basis of the connection volume forecasts being superseded with more current numbers. | Option 4 | Reason for selection/rejection |  | 15
Option proposed based on the August 2022 customer connection forecast volumes using the preferred forecasting methodology. | Option 5 | Description |  | 15
This allocated investment is required to enable TasNetworks to facilitate connection requests from customers in accordance with our regulatory and legislative obligations. This alternative is accepted as it has been developed from the latest customer connection volume forecasts. | Option 5 | Reason for selection/rejection |  | 15
| Option 6 | Description
| Option 6 | Reason for selection/rejection