## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Age based replacement program | Run to Failure based on age based failure curve | Run to Failure based on historical volumes
[11 empty] | UARM - Environment and Community - Fire Risk | 0 | 0 | 0
[11 empty] | UARM - Safety & People - Worker | 0 | 0 | 0
Notes | [10 empty] | UARM - Network Performance Risk | 8473502.7088 | 3527058.2729 | 2259532.6665
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | UARM - Environment and Community - Other Risk | 37207.9829 | 15487.6706 | 9921.8307
[11 empty] | UARM - Financial Risk | 0 | 0 | 0
[11 empty] | UARM - Safety & People - Public | 0 | 0 | 0
[11 empty] | Terminal Value | 81670895.592 | 22754267.0009 | 12715619.7949
[11 empty] | Total Investment Cost | 172277914.7018 | 49392885.8282 | 27601906.7859
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 326010.82 | 363717.33 | 404611.88 | 448810.87 | 496414.07
| Age based replacement program | 178290.43 | 189027.12 | 201044.07 | 209662.74 | 220456.77
| Run to Failure based on age based failure curve | 305546.19 | 322898.54 | 342736.94 | 364860.18 | 389390.46
| Run to Failure based on historical volumes | 314186.57 | 339450.86 | 366974.87 | 397116.21 | 429811.72
Option Breakdown | [7 empty] | Folder and File Paths
| Option 3 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\BahramabadiM\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | H:\RPSAM\SAM\R24 IES\final draft\
Option 3 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Terminal Value | 29.86% | File Name | InvestmentSummary_R24_D_OH_RETXL_Replace-OH_Transformer.xlsx
Option 3 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Total Investment Cost | 64.81% | File Path | H:\RPSAM\SAM\R24 IES\final draft\InvestmentSummary_R24_D_OH_RETXL_Replace-OH_Transformer.xlsx
Option 3 | UARM - Network Performance Risk | 2259.5327 | 5.31% | 1 | K22 | UARM - Environment and Community - Fire Risk | 0%
Option 3 | UARM - Environment and Community - Other Risk | 9.9218 | 0.02% | 1 | K23 | UARM - Environment and Community - Other Risk | 0.02%
Option 3 | UARM - Financial Risk | 0 | 0% | 1 | K24 | UARM - Financial Risk | 0%
Option 3 | UARM - Safety & People - Public | 0 | 0% | 1 | K25 | UARM - Network Performance Risk | 5.31%
Option 3 | Terminal Value | 12715.6198 | 29.86% | 1 | K26 | UARM - Safety & People - Public | 0%
Option 3 | Total Investment Cost | -27601.9068 | 64.81% | 1 | K27 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K28
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 3 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 3 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 3 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | -12616.8325 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 31.12% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | UARM - Network Performance Risk | 8473.5027 | 3.23% | 1 | K22 | Total Investment Cost | 65.64% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | UARM - Environment and Community - Other Risk | 37.208 | 0.01% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | UARM - Financial Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0.01% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | UARM - Safety & People - Public | 0 | 0% | 1 | K25 | UARM - Financial Risk | 0% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 | Terminal Value | 81670.8956 | 31.12% | 1 | K26 | UARM - Network Performance Risk | 3.23% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 | Total Investment Cost | -172277.9147 | 65.64% | 1 | K27 | UARM - Safety & People - Public | 0% | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | -82096.3084 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 30.06% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 | UARM - Network Performance Risk | 3527.0583 | 4.66% | 1 | K22 | Total Investment Cost | 65.26% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 | UARM - Environment and Community - Other Risk | 15.4877 | 0.02% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 | UARM - Financial Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0.02% | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 | UARM - Safety & People - Public | 0 | 0% | 1 | K25 | UARM - Financial Risk | 0% | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 | Terminal Value | 22754.267 | 30.06% | 1 | K26 | UARM - Network Performance Risk | 4.66% | 36 | InvestmentSummary_R24_D_ND_CATXU_Aug_Dist_Sub.xlsx
Option 2 | Total Investment Cost | -49392.8858 | 65.26% | 1 | K27 | UARM - Safety & People - Public | 0% | 37
Option 2 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | -23096.0729 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 29.86%
Option 3 | UARM - Network Performance Risk | 2259.5327 | 5.31% | 1 | K22 | Total Investment Cost | 64.81%
Option 3 | UARM - Environment and Community - Other Risk | 9.9218 | 0.02% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0%
Option 3 | UARM - Financial Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0.02%
Option 3 | UARM - Safety & People - Public | 0 | 0% | 1 | K25 | UARM - Financial Risk | 0%
Option 3 | Terminal Value | 12715.6198 | 29.86% | 1 | K26 | UARM - Network Performance Risk | 5.31%
Option 3 | Total Investment Cost | -27601.9068 | 64.81% | 1 | K27 | UARM - Safety & People - Public | 0%
Option 3 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | -12616.8325 | 100%
| Option 4 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 4 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 4 |  |  |  | 0 | K21 |  | 0%
Option 4 |  |  |  | 0 | K22
Option 4 |  |  |  | 0 | K23
Option 4 |  |  |  | 0 | K24
Option 4 |  |  |  | 0 | K25
Option 4 |  |  |  | 0 | K26
Option 4 |  |  |  | 0 | K27
Option 4 |  |  |  | 0 | K28
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Investment Description
Description |  | Replace overhead transformers | [9 empty] | TRUE
Functional Area |  | RETXL |  |  | Department |  |  | Asset Strategy
Works Initiator |  |  |  |  | Portfolio |  |  | Dx - Renewal
Investment Category |  | Standard Control - Reliability & Quality Maintained |  |  | Needs Item Reference
Investment Type |  | Network Project |  |  | Document No.
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | Overhead transformer failures occur for reasons including overloading, internal or external failure, breakdown of insulation, and impacts from extreme weather events such as lightning storms or bushfires, resulting in risks to network performance and environmental damage from oil spills. | [9 empty] | TRUE
Recommendation |  | Option 3, Run to Failure based on historical volumes is recommended for approval as it best satisfies the customer and business needs. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Age based replacement program |  | Candidate | 33568000 | 5296000 | 5312000 | 6960000 | 6592000 | 57728000 | 240032000 | -82096308.42 | 4547400%
Run to Failure based on age based failure curve |  | Candidate | 3400000 | 3400000 | 3400000 | 3400000 | 3400000 | 17000000 | 68000000 | -23096072.88 | 4547400%
Run to Failure based on historical volumes |  | Recommended | 1900000 | 1900000 | 1900000 | 1900000 | 1900000 | 9500000 | 38000000 | -12616832.49 | 4547400%
0
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
Submission
Endorsement
Approval
Investment Attachments
Date | Attachment Name |  | Description

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000666 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_RETXL_Replace-OH_Transformer |  |  |  |  | 0913-R24-Dx-Capex-Scenario-1
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-31
Functional Area | RETXL |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | TasNetworks owns and manages approximately 31,000 overhead distribution transformers (pole mounted transformers) with approximately half of the pole mounted transformers smaller than than 50kVA in size. The physical size and weight of the transformers limits pole mounted transformers to maximum 500kVA in size, so that they can safely be installed on a pole structure. TasNetworks also manages a number of Single Wire Earth Return (SWER) system transformers in relatively remote rural locations where there is light load and installing a three phase system is not economically viable. The average age of TasNetworks’ pole mounted transformer population is 35 years. The AER benchmark for mean economic life of transformers is 40 years. Whilst there is no specific transformer inspection program, asset inspectors who undertake pole serviceability inspections and aerial helicopter patrol inspectors complete a visual inspection of pole mounted hardware and equipment to identify significantly leaking oil or where other signs of deterioration indicates the asset presents a network or safety risk. |  |  |  |  | TRUE
| Problem Definition |  | Overhead transformer failures occur for reasons including overloading, internal or external failure, breakdown of insulation, and impacts from extreme weather events such as lightning storms or bushfires, resulting in risks to network performance and environmental damage from oil spills. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000666 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_RETXL_Replace-OH_Transformer |  |  |  |  | 0913-R24-Dx-Capex-Scenario-1
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-31
Functional Area | RETXL |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Reportable incidents - No increase in safety incidents. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score - Reliability of supply maintained at existing level. |  |  |  |  | FALSE
| Our People | [6 empty] | FALSE
| Our Business - Sustained Cost Management |  | Capital expenditure - Level of investment maintained for long term. |  |  |  |  | FALSE
| Our Business - Network Service |  | Network reliability maintained at existing level. |  |  |  |  | FALSE
04. Business Risks | Death or Injury (Employee) | [6 empty] | FALSE
| Death or Injury (Public) |  | The risk to public from an unplanned transformer failure is low. |  |  |  |  | FALSE
| Sustainable and Predictable Pricing |  | The rate of investment has been set with consideration to providing predictable pricing whilst also maintaining the asset risk at a manageable level for the long term. |  |  |  |  | FALSE
| Widespread Power Disruption | [6 empty] | FALSE
| Bushfire Start | [6 empty] | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus |  | No increase in planned outages and unplanned outages maintained at existing levels. |  |  |  |  | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
Energy Policy and Regulation
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | The strategic objective is to manage the assets to maintain reliability of the network and effectively manage the safety and environment risk associated with maintaining the asset. |  |  |  |  | FALSE
| Strategic Document #1 |  | TasNetworks Business Plan - Define and efficiently deliver our work Replacing assets upon failure is the most cost effective and efficient option for overhead transformers. |  |  |  |  | FALSE
| Strategic Document #2 |  | TasNetworks Business Plan - We operate our business to be sustainable Implementing an asset management strategy that balances lowest sustainable cost with network performance, safety and environmental risks. |  |  |  |  | FALSE
| Strategic Document #3 |  | Towards 2030 Ensuring new and replacement transformers are adequate and suitable for the changing needs of customers, such as the increasing impacts from renewables on the network. |  |  |  |  | FALSE
| Strategic Document #4 |  | Pole Mounted Transformers Asset Management Plan |  |  |  |  | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The drivers for these programs are managing business operating risks and maintaining network performance. Transformer failures occur due to poor condition, overloading, internal or external failure, breakdown of insulation, and extreme weather events. The aim of this program is to replace failed transformers so as to: - minimise risks to public safety; - minimise outage frequencies and durations; and - deliver the most cost effective solution. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | TasNetworks participates in ENA and Cigre benchmarking and through these activities ensure the best practice maintenance strategies are adopted for pole mounted transformer assets. An essentially run-to-failure strategy for pole mounted transformers is industry standard across Australian DNSPs. |  |  |  |  | TRUE
| Expert Findings |  | Consistent with other distribution network service providers, distribution pole mounted transformers are primarily replaced on failure, as it is uneconomical to manage a proactive replacement program based on an assessment of condition. TasNetworks manages a stockholding of standard capacity transformers as operational spares at suitable geographical locations to ensure replacement can be effected in a timely manner to meet network performance and reliability obligations. |  |  |  |  | FALSE
08. Investment Timing | Investment Timing |  | The program will continue for the whole regulatory period and beyond. The replacement rate will be driven by failures in the network and any assets found to be in end of life condition (ie significant damage/loss of oil). |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the recommended option will be: - minimise risks to public safety; - minimise outage frequencies and durations; and - deliver the most cost effective solution. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | Run to failure option volumes are based on historical data. It is assumed that to replace a transformer under planned maintenance will be 80 per cent of the total cost of doing it under fault. |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | A RIT-D is not required as this program utilises a replace upon functional failure strategy.
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
12. Recommendation | Recommendation |  | Option 3, Run to Failure based on historical volumes is recommended for approval as it best satisfies the customer and business needs. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-31
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Age based replacement program |  |  |  | 57.728 | -82.0963 | No | This option was rejected as it has the highest capital expenditure and most negative NPV. There is no data to indicate that implementing a proactive replacement program is required at this point in time. Proactive replacement programs for this type of asset is not consistent with asset management plans implemented by peer DNSPs.
| Run to Failure based on age based failure curve |  |  |  | 17 | -23.0961 | No | This option has been rejected as it has higher capital expenditure and more negative NPV compared to recommended option. There is no data to indicate historical failure rates will increase significantly over the next revenue period compared to historical failure rates.
| Run to Failure based on historical volumes |  |  |  | 9.5 | -12.6168 | Yes | This option has been selected as it manages asset risk and network performance to acceptable levels for the lowest capital expenditure and least negative NPV. This option aligns to asset manage plans implemented by peer DNSPs as appropriate for this type of asset.
0
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000666 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_OH_RETXL_Replace-OH_Transformer |  |  |  |  | 0913-R24-Dx-Capex-Scenario-1
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-31
Functional Area | RETXL |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | TasNetworks owns and manages approximately 31,000 overhead distribution transformers (pole mounted transformers) with approximately half of the pole mounted transformers smaller than than 50kVA in size. The physical size and weight of the transformers limits pole mounted transformers to maximum 500kVA in size, so that they can safely be installed on a pole structure. TasNetworks also manages a number of Single Wire Earth Return (SWER) system transformers in relatively remote rural locations where there is light load and installing a three phase system is not economically viable. The average age of TasNetworks’ pole mounted transformer population is 35 years. The AER benchmark for mean economic life of transformers is 40 years. Whilst there is no specific transformer inspection program, asset inspectors who undertake pole serviceability inspections and aerial helicopter patrol inspectors complete a visual inspection of pole mounted hardware and equipment to identify significantly leaking oil or where other signs of deterioration indicates the asset presents a network or safety risk. |  |  |  |  | TRUE
| Problem Definition |  | Overhead transformer failures occur for reasons including overloading, internal or external failure, breakdown of insulation, and impacts from extreme weather events such as lightning storms or bushfires, resulting in risks to network performance and environmental damage from oil spills. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The drivers for these programs are managing business operating risks and maintaining network performance. Transformer failures occur due to poor condition, overloading, internal or external failure, breakdown of insulation, and extreme weather events. The aim of this program is to replace failed transformers so as to: - minimise risks to public safety; - minimise outage frequencies and durations; and - deliver the most cost effective solution. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | The program will continue for the whole regulatory period and beyond. The replacement rate will be driven by failures in the network and any assets found to be in end of life condition (ie significant damage/loss of oil). |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name |  | Age based replacement program
autofit | Description |  | Proactively replace overhead transformers based on age.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option was rejected as it has the highest capital expenditure and most negative NPV. There is no data to indicate that implementing a proactive replacement program is required at this point in time. Proactive replacement programs for this type of asset is not consistent with asset management plans implemented by peer DNSPs.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Age based replacement program |  | Capex |  |  | 33568000 | 5296000 | 5312000 | 6960000 | 6592000 | 57728000 | 240032000 | -82096308.42
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 8473.5027 | 3.23%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 37.208 | 0.01%
[9 empty] | UARM - Financial Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Terminal Value |  |  | 81670.8956 | 31.12%
[9 empty] | Total Investment Cost |  |  | -172277.9147 | 65.64%
[9 empty] | Total |  |  | -82096.3084
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 33568000 | 5296000 | 5312000 | 6960000 | 6592000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -172277.9147 | Dollar | 33568000 | 5296000 | 5312000 | 6960000 | 6592000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 81670.8956 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 324585.53 | 362127.19 | 402842.96 | 446848.71 | 494243.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 8473.5027 | Dollar | 177510.96 | 188200.71 | 200165.12 | 208746.11 | 219492.95
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 1425.29 | 1590.14 | 1768.92 | 1962.16 | 2170.27
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 37.208 | Dollar | 779.47 | 826.41 | 878.95 | 916.63 | 963.82
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 326010.82 | 363717.33 | 404611.88 | 448810.87 | 496414.07
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 178290.43 | 189027.12 | 201044.07 | 209662.74 | 220456.77
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name |  | Run to Failure based on age based failure curve
autofit | Description |  | Replace overhead transformers when they functionally fail with forecast volumes based on an age based failure curve.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option has been rejected as it has higher capital expenditure and more negative NPV compared to recommended option. There is no data to indicate historical failure rates will increase significantly over the next revenue period compared to historical failure rates.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Run to Failure based on age based failure curve |  | Capex |  |  | 3400000 | 3400000 | 3400000 | 3400000 | 3400000 | 17000000 | 68000000 | -23096072.88
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 3527.0583 | 4.66%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 15.4877 | 0.02%
[9 empty] | UARM - Financial Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Terminal Value |  |  | 22754.267 | 30.06%
[9 empty] | Total Investment Cost |  |  | -49392.8858 | 65.26%
[9 empty] | Total |  |  | -23096.0729
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 3400000 | 3400000 | 3400000 | 3400000 | 3400000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -49392.8858 | Dollar | 3400000 | 3400000 | 3400000 | 3400000 | 3400000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 22754.267 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 324585.53 | 362127.19 | 402842.96 | 446848.71 | 494243.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 3527.0583 | Dollar | 304210.37 | 321486.86 | 341238.53 | 363265.05 | 387688.08
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 1425.29 | 1590.14 | 1768.92 | 1962.16 | 2170.27
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 15.4877 | Dollar | 1335.82 | 1411.68 | 1498.41 | 1595.13 | 1702.38
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 326010.82 | 363717.33 | 404611.88 | 448810.87 | 496414.07
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 305546.19 | 322898.54 | 342736.94 | 364860.18 | 389390.46
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name |  | Run to Failure based on historical volumes
autofit | Description |  | Replace overhead transformers when they functionally fail based on historical volumes.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option has been selected as it manages asset risk and network performance to acceptable levels for the lowest capital expenditure and least negative NPV. This option aligns to asset manage plans implemented by peer DNSPs as appropriate for this type of asset.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Run to Failure based on historical volumes |  | Capex |  |  | 1900000 | 1900000 | 1900000 | 1900000 | 1900000 | 9500000 | 38000000 | -12616832.49
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 2259.5327 | 5.31%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 9.9218 | 0.02%
[9 empty] | UARM - Financial Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Terminal Value |  |  | 12715.6198 | 29.86%
[9 empty] | Total Investment Cost |  |  | -27601.9068 | 64.81%
[9 empty] | Total |  |  | -12616.8325
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 1900000 | 1900000 | 1900000 | 1900000 | 1900000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -27601.9068 | Dollar | 1900000 | 1900000 | 1900000 | 1900000 | 1900000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 12715.6198 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 324585.53 | 362127.19 | 402842.96 | 446848.71 | 494243.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 2259.5327 | Dollar | 312812.98 | 337966.81 | 365370.49 | 395380.06 | 427932.62
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 1425.29 | 1590.14 | 1768.92 | 1962.16 | 2170.27
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 9.9218 | Dollar | 1373.59 | 1484.05 | 1604.38 | 1736.15 | 1879.1
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 326010.82 | 363717.33 | 404611.88 | 448810.87 | 496414.07
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 314186.57 | 339450.86 | 366974.87 | 397116.21 | 429811.72
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000666 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_OH_RETXL_Replace-OH_Transformer | [5 empty] | 0913-R24-Dx-Capex-Scenario-1
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-31
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
Replace overhead transformers | Investment Summary | Header | Description | 15 | 9
TasNetworks owns and manages approximately 31,000 overhead distribution transformers (pole mounted transformers) with approximately half of the pole mounted transformers smaller than than 50kVA in size. The physical size and weight of the transformers limits pole mounted transformers to maximum 500kVA in size, so that they can safely be installed on a pole structure. TasNetworks also manages a number of Single Wire Earth Return (SWER) system transformers in relatively remote rural locations where there is light load and installing a three phase system is not economically viable. The average age of TasNetworks’ pole mounted transformer population is 35 years. The AER benchmark for mean economic life of transformers is 40 years. Whilst there is no specific transformer inspection program, asset inspectors who undertake pole serviceability inspections and aerial helicopter patrol inspectors complete a visual inspection of pole mounted hardware and equipment to identify significantly leaking oil or where other signs of deterioration indicates the asset presents a network or safety risk. | Investment Summary | 0.1 Overview | Background | 180 | 16
Overhead transformer failures occur for reasons including overloading, internal or external failure, breakdown of insulation, and impacts from extreme weather events such as lightning storms or bushfires, resulting in risks to network performance and environmental damage from oil spills. | Investment Summary | 0.1 Overview | Problem Definition | 45 | 17
TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 135 | 18
Reportable incidents - No increase in safety incidents. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 15 | 17
Customer net promoter score - Reliability of supply maintained at existing level. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 15 | 18
| Objectives and Analysis | 03. Business Performance Objectives | Our People | 15 | 19
Capital expenditure - Level of investment maintained for long term. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 15 | 20
Network reliability maintained at existing level. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 15 | 21
| Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
The risk to public from an unplanned transformer failure is low. | Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
The rate of investment has been set with consideration to providing predictable pricing whilst also maintaining the asset risk at a manageable level for the long term. | Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 30 | 25
| Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 15 | 26
| Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
No increase in planned outages and unplanned outages maintained at existing levels. | Objectives and Analysis | 04. Business Risks | Customer Focus | 15 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
| Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 15 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
The strategic objective is to manage the assets to maintain reliability of the network and effectively manage the safety and environment risk associated with maintaining the asset. | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 30 | 38
TasNetworks Business Plan - Define and efficiently deliver our work Replacing assets upon failure is the most cost effective and efficient option for overhead transformers. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 45 | 39
TasNetworks Business Plan - We operate our business to be sustainable Implementing an asset management strategy that balances lowest sustainable cost with network performance, safety and environmental risks. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 60 | 40
Towards 2030 Ensuring new and replacement transformers are adequate and suitable for the changing needs of customers, such as the increasing impacts from renewables on the network. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 60 | 41
Pole Mounted Transformers Asset Management Plan | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 15 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
The drivers for these programs are managing business operating risks and maintaining network performance. Transformer failures occur due to poor condition, overloading, internal or external failure, breakdown of insulation, and extreme weather events. The aim of this program is to replace failed transformers so as to: - minimise risks to public safety; - minimise outage frequencies and durations; and - deliver the most cost effective solution. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 120 | 44
TasNetworks participates in ENA and Cigre benchmarking and through these activities ensure the best practice maintenance strategies are adopted for pole mounted transformer assets. An essentially run-to-failure strategy for pole mounted transformers is industry standard across Australian DNSPs. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 45 | 45
Consistent with other distribution network service providers, distribution pole mounted transformers are primarily replaced on failure, as it is uneconomical to manage a proactive replacement program based on an assessment of condition. TasNetworks manages a stockholding of standard capacity transformers as operational spares at suitable geographical locations to ensure replacement can be effected in a timely manner to meet network performance and reliability obligations. | Objectives and Analysis | 07. Options Analysis | Expert Findings | 75 | 46
The program will continue for the whole regulatory period and beyond. The replacement rate will be driven by failures in the network and any assets found to be in end of life condition (ie significant damage/loss of oil). | Objectives and Analysis | 08. Investment Timing | Investment Timing | 30 | 47
The benefits to TasNetworks from implementation of the recommended option will be: - minimise risks to public safety; - minimise outage frequencies and durations; and - deliver the most cost effective solution. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 60 | 48
Run to failure option volumes are based on historical data. It is assumed that to replace a transformer under planned maintenance will be 80 per cent of the total cost of doing it under fault. | Objectives and Analysis | 10. Assumptions | Assumptions | 30 | 49
A RIT-D is not required as this program utilises a replace upon functional failure strategy. | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 15 | 50
No | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
No | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
No | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
Option 3, Run to Failure based on historical volumes is recommended for approval as it best satisfies the customer and business needs. | Objectives and Analysis | 12. Recommendation | Recommendation | 30 | 56
Proactively replace overhead transformers based on age. | Option 1 | Description |  | 15
This option was rejected as it has the highest capital expenditure and most negative NPV. There is no data to indicate that implementing a proactive replacement program is required at this point in time. Proactive replacement programs for this type of asset is not consistent with asset management plans implemented by peer DNSPs. | Option 1 | Reason for selection/rejection |  | 30
Replace overhead transformers when they functionally fail with forecast volumes based on an age based failure curve. | Option 2 | Description |  | 15
This option has been rejected as it has higher capital expenditure and more negative NPV compared to recommended option. There is no data to indicate historical failure rates will increase significantly over the next revenue period compared to historical failure rates. | Option 2 | Reason for selection/rejection |  | 15
Replace overhead transformers when they functionally fail based on historical volumes. | Option 3 | Description |  | 15
This option has been selected as it manages asset risk and network performance to acceptable levels for the lowest capital expenditure and least negative NPV. This option aligns to asset manage plans implemented by peer DNSPs as appropriate for this type of asset. | Option 3 | Reason for selection/rejection |  | 15
| Option 4 | Description
| Option 4 | Reason for selection/rejection
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection