## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Option 1 - Replace 10mm Services (BAU) | Option 2 - Neutral Monitoring via meter data | Option 3 - Neutral monitoring via network devices | Option 4 - Repex Constraint - Neutral monitoring via meter data
[11 empty] | UARM - Environment and Community - Fire Risk | 16310801.795 | 13512895.1154 | 13512895.1154 | 8836351.6427
[11 empty] | UARM - Safety & People - Worker | 0 | 0 | 0 | 0
Notes | [10 empty] | UARM - Network Performance Risk | 10409751.9704 | 8624093.9158 | 8624093.9158 | 5639467.0182
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | UARM - Environment and Community - Other Risk | 0 | 0 | 0 | 0
[11 empty] | UARM - Financial Risk | 3047351.2831 | 2524617.6634 | 2524617.6634 | 1650897.8371
[11 empty] | UARM - Safety & People - Public | 33695172.5571 | 27915202.3955 | 27915202.3955 | 18254307.6097
[11 empty] | Terminal Value | 56350272.9789 | 36741448.772 | 45891277.1263 | 19636499.1669
[11 empty] | Total Investment Cost | 147206687.4488 | 95603242.0869 | 289619151.9468 | 57861456.2057
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 4785841.41 | 5023060.65 | 5247437.11 | 5456053.06 | 5646178.3
| Option 1 - Replace 10mm Services (BAU) | 3978576.82 | 3470464.4 | 2997890.25 | 2552346.38 | 2123032.7
| Option 2 - Neutral Monitoring via meter data | 4221451.69 | 3910414.83 | 3611659.12 | 3311698.44 | 3013634.45
| Option 3 - Neutral monitoring via network devices | 4221451.69 | 3910414.83 | 3611659.12 | 3311698.44 | 3013634.45
| Option 4 - Repex Constraint - Neutral monitoring via meter data | 4475261.36 | 4397833.57 | 4307815.51 | 4205704.71 | 4086656.72
Option Breakdown | [7 empty] | Folder and File Paths
| Option 4 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\BahramabadiM\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | H:\RPSAM\SAM\R24 IES\final draft\
Option 4 | UARM - Environment and Community - Fire Risk | 8836.3516 | 7.9% | 1 | K20 | Terminal Value | 17.55% | File Name | InvestmentSummary_R24_D_CA_SCSRE_Replace_OH_Services.xlsx
Option 4 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Total Investment Cost | 51.72% | File Path | H:\RPSAM\SAM\R24 IES\final draft\InvestmentSummary_R24_D_CA_SCSRE_Replace_OH_Services.xlsx
Option 4 | UARM - Network Performance Risk | 5639.467 | 5.04% | 1 | K22 | UARM - Environment and Community - Fire Risk | 7.9%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Financial Risk | 1650.8978 | 1.48% | 1 | K24 | UARM - Financial Risk | 1.48%
Option 4 | UARM - Safety & People - Public | 18254.3076 | 16.32% | 1 | K25 | UARM - Network Performance Risk | 5.04%
Option 4 | Terminal Value | 19636.4992 | 17.55% | 1 | K26 | UARM - Safety & People - Public | 16.32%
Option 4 | Total Investment Cost | -57861.4562 | 51.72% | 1 | K27 | UARM - Safety & People - Worker | 0%
Option 4 |  |  |  | 0 | K28
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 4 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 4 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 4 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | -3843.9329 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | UARM - Environment and Community - Fire Risk | 16310.8018 | 6.11% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 21.1% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | UARM - Network Performance Risk | 10409.752 | 3.9% | 1 | K22 | Total Investment Cost | 55.13% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 6.11% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | UARM - Financial Risk | 3047.3513 | 1.14% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | UARM - Safety & People - Public | 33695.1726 | 12.62% | 1 | K25 | UARM - Financial Risk | 1.14% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 | Terminal Value | 56350.273 | 21.1% | 1 | K26 | UARM - Network Performance Risk | 3.9% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 | Total Investment Cost | -147206.6874 | 55.13% | 1 | K27 | UARM - Safety & People - Public | 12.62% | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | -27393.3369 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | UARM - Environment and Community - Fire Risk | 13512.8951 | 7.31% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 19.87% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 | UARM - Network Performance Risk | 8624.0939 | 4.66% | 1 | K22 | Total Investment Cost | 51.7% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 7.31% | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 | UARM - Financial Risk | 2524.6177 | 1.37% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 | UARM - Safety & People - Public | 27915.2024 | 15.1% | 1 | K25 | UARM - Financial Risk | 1.37% | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 | Terminal Value | 36741.4488 | 19.87% | 1 | K26 | UARM - Network Performance Risk | 4.66% | 36 | InvestmentSummary_R24_D_ND_CATXU_Aug_Dist_Sub.xlsx
Option 2 | Total Investment Cost | -95603.2421 | 51.7% | 1 | K27 | UARM - Safety & People - Public | 15.1% | 37
Option 2 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0% | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | -6284.9842 | 100%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | UARM - Environment and Community - Fire Risk | 13512.8951 | 3.48% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 11.82%
Option 3 | UARM - Network Performance Risk | 8624.0939 | 2.22% | 1 | K22 | Total Investment Cost | 74.63%
Option 3 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 3.48%
Option 3 | UARM - Financial Risk | 2524.6177 | 0.65% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 3 | UARM - Safety & People - Public | 27915.2024 | 7.19% | 1 | K25 | UARM - Financial Risk | 0.65%
Option 3 | Terminal Value | 45891.2771 | 11.82% | 1 | K26 | UARM - Network Performance Risk | 2.22%
Option 3 | Total Investment Cost | -289619.1519 | 74.63% | 1 | K27 | UARM - Safety & People - Public | 7.19%
Option 3 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | -191151.0657 | 99.99%
| Option 4 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 4 | UARM - Environment and Community - Fire Risk | 8836.3516 | 7.9% | 1 | K20 | Row Labels | Sum of Value in %
Option 4 | UARM - Safety & People - Worker | 0 | 0% | 1 | K21 | Terminal Value | 17.55%
Option 4 | UARM - Network Performance Risk | 5639.467 | 5.04% | 1 | K22 | Total Investment Cost | 51.72%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K23 | UARM - Environment and Community - Fire Risk | 7.9%
Option 4 | UARM - Financial Risk | 1650.8978 | 1.48% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Safety & People - Public | 18254.3076 | 16.32% | 1 | K25 | UARM - Financial Risk | 1.48%
Option 4 | Terminal Value | 19636.4992 | 17.55% | 1 | K26 | UARM - Network Performance Risk | 5.04%
Option 4 | Total Investment Cost | -57861.4562 | 51.72% | 1 | K27 | UARM - Safety & People - Public | 16.32%
Option 4 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0%
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | -3843.9329 | 100%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Investment Description
Description |  | Replace overhead LV services | [9 empty] | TRUE
Functional Area |  | SCSRE |  |  | Department
Works Initiator |  |  |  |  | Portfolio |  |  | Dx - Renewal
Investment Category |  | Standard Control - Reliability & Quality Maintained |  |  | Needs Item Reference
Investment Type |  | Network Project |  |  | Document No.
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location
PPM ID |  |  |  |  | Regulatory Test Required
Investment Summary
Problem Definition |  | The significant magnitude of the risk of harm from a broken neutral has been demonstrated in the death and injury of a number of people in Australia and is recognised as a serious issue in the electrical supply industry. Existing substandard overhead LV service assets are required to be replaced to reduce the following identified risks to acceptable levels: • Reliability of supply; • Safety of the property owner, the general public and TasNetworks personnel; and • Possible risk of fire to property. TasNetworks has previously mitigated the broken neutral risk with the distribution of CablePI devices. Due to the high reliance on customer involvement the CablePI device is only partially effective at managing broken neutral risk. TasNetworks strategy has been to continue with CablePI device until a feasible alternative for detecting broken neutrals is available. Neutral monitoring is now accepted in the electrical industry as the most effective and efficient method of determining the condition of a LV service. An incident report into a significant neutral failure incident released by the Western Australia safety regulator highlights this point. By neutral monitoring and proactively replacing LV services based off condition, poor condition LV service assets can be targeted more effectively than purely overall replacements of certain asset types. | [9 empty] | TRUE
Recommendation |  | Option 4 - Repex Constraint - Neutral monitoring via meter data is recommended for approval as it best satisfies the customer and business needs. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 1 - Replace 10mm Services (BAU) |  | Candidate | 9648632 | 10155000 | 10195000 | 10255000 | 10195000 | 50448632 | 202773632 | -27393336.86 | 4547400%
Option 2 - Neutral Monitoring via meter data |  | Candidate | 6412500 | 6592500 | 6592500 | 6592500 | 6592500 | 32782500 | 131670000 | -6284984.22 | 4547400%
Option 3 - Neutral monitoring via network devices |  | Candidate | 28231816 | 29835000 | 29835000 | 23885000 | 23855000 | 135641816 | 386966816 | -191151065.73 | 4547400%
Option 4 - Repex Constraint - Neutral monitoring via meter data |  | Recommended | 3672500 | 3852500 | 3852500 | 3852500 | 3852500 | 19082500 | 80722500 | -3843932.93 | 4547400%
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486800%
|  |  | Endorsement | [7 empty] | 4486800%
|  |  | Approval | [7 empty] | 4486800%
Investment Attachments
Date | Attachment Name |  | Description

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000715 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CA_SCSRE_Replace_OH_Services |  |  |  |  | Submitted
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-11-03
Functional Area | SCSRE |  | Department
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required
Investment Overview
01. Overview | Background |  | Overhead service conductors are used to connect the distribution network and the customer installation. There are approximately 200,000 overhead low voltage (LV) service wires connected in the TasNetworks distribution network. LV service wires represent the highest volume of fault responses on the network. Customer installations also present as having the highest community harm profile. LV service wire faults can cause the following customer issues: • Flickering lights; • Total loss of supply; • Customer shocks, through broken neutral conductors; and • Possible fire starts. Service conductors have previously not been captured in TasNetworks’ asset management system (SAP), therefore the location and type of overhead service conductor is unknown across the entire fleet. TasNetworks is in the process of undertaking a state-wide data collection audit program to capture asset data for all service assets within Tasmania. TasNetworks uses an estimated age profile of LV services based off pole ages until actual asset install data becomes available. Previous sample audits estimated approximately 44,000 10mm copper service wires remaining in the network. 10mm service conductor was last installed in 1978, therefore the youngest of the fleet will be approaching 45 years with an estimate the oldest may be close to 60 years. Analysis of failure mode of 10mm copper has identified moisture ingress due to embrittlement of the insulation due to age allowing for active to neutral flashover. Enhanced failure data, able to determine service wire failure by type, available over an 18month period, showed 10mm copper as the highest volume of failures. The identified high failure rate and the ageing of 10mm copper past its end of life initiated a proactive replacement program. In 2017 TasNetworks reviewed its LV servicing strategy and performed a due diligence risk assessment resulting in TasNetworks initiating a 7 year replacement program of all 10mm copper service conductor commencing 2019/20. This also included commencing a state-wide audit to identify and capture asset data for all service assets within Tasmania. |  |  |  |  | TRUE
| Problem Definition |  | The significant magnitude of the risk of harm from a broken neutral has been demonstrated in the death and injury of a number of people in Australia and is recognised as a serious issue in the electrical supply industry. Existing substandard overhead LV service assets are required to be replaced to reduce the following identified risks to acceptable levels: • Reliability of supply; • Safety of the property owner, the general public and TasNetworks personnel; and • Possible risk of fire to property. TasNetworks has previously mitigated the broken neutral risk with the distribution of CablePI devices. Due to the high reliance on customer involvement the CablePI device is only partially effective at managing broken neutral risk. TasNetworks strategy has been to continue with CablePI device until a feasible alternative for detecting broken neutrals is available. The development of advanced meter data analytics has progressed significantly that neutral integrity monitoring through advanced meter data is the standard being implemented across the industry. With the Tasmanian government committing to the accelerated rollout of advanced meters in Tasmania (to be completed 2026) this is now a feasible option in Tasmania. TasNetworks completed a trial in May 2021 of neutral monitoring through using data analytics of advanced meter data. The success of this trial and the difficulties in procuring more CablePI devices TasNetworks is now in a transitional phase of neutral monitoring via advanced meter data as a replacement mitigation for new CablePI devices. Neutral monitoring is now accepted in the electrical industry as the most effective and efficient method of determining the condition of a LV service. An incident report into a significant neutral failure incident released by the Western Australia safety regulator highlights this point. By neutral monitoring and proactively replacing LV services based off condition, poor condition LV service assets can be targeted more effectively than purely overall replacements of certain asset types. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000715 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CA_SCSRE_Replace_OH_Services |  |  |  |  | Submitted
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-11-03
Functional Area | SCSRE |  | Department
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Significant incidents: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure and therefore likelihood of incident. Reportable incidents: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure and therefore likelihood of incident. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure. |  |  |  |  | FALSE
| Our People |  | Employee engagement: Employees will feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. |  |  |  |  | FALSE
| Our Business - Sustained Cost Management |  | Capital expenditure: Neutral monitoring and condition based replacement reduces our total cost when compared to run-to-failure. |  |  |  |  | FALSE
| Our Business - Network Service | [6 empty] | FALSE
04. Business Risks | Death or Injury (Employee) |  | A broken neutral failure poses significant risk of shock, electrocution or fire-start. |  |  |  |  | FALSE
| Death or Injury (Public) |  | A broken neutral failure poses significant risk of shock, electrocution or fire-start. |  |  |  |  | FALSE
| Sustainable and Predictable Pricing | [6 empty] | FALSE
| Widespread Power Disruption | [6 empty] | FALSE
| Bushfire Start |  | A service failure poses a fire-start risk. |  |  |  |  | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus | [6 empty] | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
Energy Policy and Regulation
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | The strategic objective is to manage the risk to customers by developing a risk based strategic plan. This includes a condition/risk-based approach to manage the assets to effectively manage the public safety risk associated with maintaining the asset. |  |  |  |  | FALSE
| Strategic Document #1 |  | TasNetworks Business Plan - Define and efficiently deliver our work: Neutral monitoring and proactive replacements of LV services is now considered to be the industry standard as the most efficient and effect method of managing safety in the LV network. |  |  |  |  | FALSE
| Strategic Document #2 |  | TasNetworks Business Plan - We operate our business to be sustainable: Neutral monitoring and proactive replacements of LV services is now considered to be the industry standard as the most efficient and effect method of managing safety in the LV network. |  |  |  |  | FALSE
| Strategic Document #3 |  | Towards 2030 |  |  |  |  | FALSE
| Strategic Document #4 |  | Connections Asset Management Plan |  |  |  |  | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The main driver of this program is public safety, in particular to mitigate risk of broken neutral which is the most significant risk in LV network. This program involves neutral monitoring through advanced meter data and undertaking proactive replacements of LV service assets based off condition. This strategy is designed to address the following risks: • Customer shocks, through broken neutral conductors; • Reliability of supply; • Quality of supply; and • Possible fire to buildings. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | The large scale roll out of advanced meters in Victoria has provided an opportunity for utilities to monitor and detect the faults in a more proactive and efficient way. As the analytical monitoring approach has been demonstrated to be reasonably practicable, industry expectations are that adoption of this more effective and efficient approach will significantly eliminate the public safety risks associated with neutral integrity failures to the point where neutral monitoring is now accepted in the electrical industry as the most effective and efficient method of determining the condition of a LV service. |  |  |  |  | TRUE
| Expert Findings |  | Western Australia’s electrical safety regulator released a report regarding the investigation of an electrical accident that seriously injured a 12-year-old girl at a property in Beldon in March 2018. The incident occurred due to neutral integrity failure and resulted in an electric shock. The report* highlighted that continuous condition monitoring of data to assess varying neutral impedances with changes to the premises load over a long period of time is the most effective method of preventing dangerous situations due to open circuit supply neutral connections issues. *Investigation report Beldon electrical accident report: https://www.commerce.wa.gov.au/sites/default/files/atoms/files/investigation_report_beldon_electrical_accident_report_-_final_version_25_september_2019.pdf |  |  |  |  | FALSE
08. Investment Timing | Investment Timing | [6 empty] | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the selected option will be: - decrease in risk to public, property, reliability and fire starts; - decrease in number of customer outages and their duration; - availability of advanced meter power quality data for other business benefits; and - reduced/deferred capital investments as replacements to be made based on individual data on asset condition. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | Only TasNetworks assets were considered in calculation (no private assets). The development of advanced meter data analytics has progressed significantly that neutral integrity monitoring through advanced meter data is the standard being implemented across the industry. With the Tasmanian government committing to the accelerated rollout of advanced meters in Tasmania (to be completed 2026) this is now a feasible option in Tasmania. TasNetworks completed a trial in May 2021 of neutral monitoring through using data analytics of advanced meter data. The success of this trial and the difficulties in procuring more CablePI devices TasNetworks is now in a transitional phase of neutral monitoring via advanced meter data as a replacement mitigation for new CablePI devices. |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | A RIT-D is not required because this is a high volume, low cost, program with separate sites identified for replacement where assets have failed a serviceability test via condition monitoring or assessment.
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | No
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
12. Recommendation | Recommendation |  | Option 4 - Repex Constraint - Neutral monitoring via meter data is recommended for approval as it best satisfies the customer and business needs. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-11-03
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 1 - Replace 10mm Services (BAU) |  |  |  | 50.4486 | -27.3933 | No | Rejected - As neutral monitoring is becoming the new standard in LV network safety and advanced meters are rolled out in Tasmania, this option ceases to hold up in risk assessments using As Low As Reasonably Practicable (ALARP) principle to manage risk compared to alternatives offered using advanced metering technology.
| Option 2 - Neutral Monitoring via meter data |  |  |  | 32.7825 | -6.285 | No | Rejected - Nominally, this option would have been recommended as the selected option, however the high capital cost of investment was deemed prohibitive following portfolio optimisation across the whole asset fleet. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia.
| Option 3 - Neutral monitoring via network devices |  |  |  | 135.6418 | -191.1511 | No | Rejected - The increased cost of installing network devices at each installation compared to cost and efficiencies of utilising advanced meter data make this option not cost effective.
| Option 4 - Repex Constraint - Neutral monitoring via meter data |  |  |  | 19.0825 | -3.8439 | Yes | This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed including: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia.
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000715 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_D_CA_SCSRE_Replace_OH_Services |  |  |  |  | Submitted
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-11-03
Functional Area | SCSRE |  | Department
Works Initiator |  |  | Portfolio |  | Dx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required
Investment Overview
01. Overview | Background |  | Overhead service conductors are used to connect the distribution network and the customer installation. There are approximately 200,000 overhead low voltage (LV) service wires connected in the TasNetworks distribution network. LV service wires represent the highest volume of fault responses on the network. Customer installations also present as having the highest community harm profile. LV service wire faults can cause the following customer issues: • Flickering lights; • Total loss of supply; • Customer shocks, through broken neutral conductors; and • Possible fire starts. Service conductors have previously not been captured in TasNetworks’ asset management system (SAP), therefore the location and type of overhead service conductor is unknown across the entire fleet. TasNetworks is in the process of undertaking a state-wide data collection audit program to capture asset data for all service assets within Tasmania. TasNetworks uses an estimated age profile of LV services based off pole ages until actual asset install data becomes available. Previous sample audits estimated approximately 44,000 10mm copper service wires remaining in the network. 10mm service conductor was last installed in 1978, therefore the youngest of the fleet will be approaching 45 years with an estimate the oldest may be close to 60 years. Analysis of failure mode of 10mm copper has identified moisture ingress due to embrittlement of the insulation due to age allowing for active to neutral flashover. Enhanced failure data, able to determine service wire failure by type, available over an 18month period, showed 10mm copper as the highest volume of failures. The identified high failure rate and the ageing of 10mm copper past its end of life initiated a proactive replacement program. In 2017 TasNetworks reviewed its LV servicing strategy and performed a due diligence risk assessment resulting in TasNetworks initiating a 7 year replacement program of all 10mm copper service conductor commencing 2019/20. This also included commencing a state-wide audit to identify and capture asset data for all service assets within Tasmania. |  |  |  |  | TRUE
| Problem Definition |  | The significant magnitude of the risk of harm from a broken neutral has been demonstrated in the death and injury of a number of people in Australia and is recognised as a serious issue in the electrical supply industry. Existing substandard overhead LV service assets are required to be replaced to reduce the following identified risks to acceptable levels: • Reliability of supply; • Safety of the property owner, the general public and TasNetworks personnel; and • Possible risk of fire to property. TasNetworks has previously mitigated the broken neutral risk with the distribution of CablePI devices. Due to the high reliance on customer involvement the CablePI device is only partially effective at managing broken neutral risk. TasNetworks strategy has been to continue with CablePI device until a feasible alternative for detecting broken neutrals is available. The development of advanced meter data analytics has progressed significantly that neutral integrity monitoring through advanced meter data is the standard being implemented across the industry. With the Tasmanian government committing to the accelerated rollout of advanced meters in Tasmania (to be completed 2026) this is now a feasible option in Tasmania. TasNetworks completed a trial in May 2021 of neutral monitoring through using data analytics of advanced meter data. The success of this trial and the difficulties in procuring more CablePI devices TasNetworks is now in a transitional phase of neutral monitoring via advanced meter data as a replacement mitigation for new CablePI devices. Neutral monitoring is now accepted in the electrical industry as the most effective and efficient method of determining the condition of a LV service. An incident report into a significant neutral failure incident released by the Western Australia safety regulator highlights this point. By neutral monitoring and proactively replacing LV services based off condition, poor condition LV service assets can be targeted more effectively than purely overall replacements of certain asset types. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The main driver of this program is public safety, in particular to mitigate risk of broken neutral which is the most significant risk in LV network. This program involves neutral monitoring through advanced meter data and undertaking proactive replacements of LV service assets based off condition. This strategy is designed to address the following risks: • Customer shocks, through broken neutral conductors; • Reliability of supply; • Quality of supply; and • Possible fire to buildings. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing | [6 empty] | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name |  | Option 1 - Replace 10mm Services (BAU)
autofit | Description |  | This option includes continuing with TasNetworks previous strategy of replacing all LV servicing assets deemed substandard (based on historical failures).
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected - As neutral monitoring is becoming the new standard in LV network safety and advanced meters are rolled out in Tasmania, this option ceases to hold up in risk assessments using As Low As Reasonably Practicable (ALARP) principle to manage risk compared to alternatives offered using advanced metering technology.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1 - Replace 10mm Services (BAU) |  | Capex |  |  | 8420000 | 8420000 | 8420000 | 8420000 | 8420000 | 42100000 | 202773632 | -27393336.86
|  |  | Opex |  |  | 1228632 | 1735000 | 1775000 | 1835000 | 1775000 | 8348632
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 16310.8018 | 6.11%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 10409.752 | 3.9%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 3047.3513 | 1.14%
[9 empty] | UARM - Safety & People - Public |  |  | 33695.1726 | 12.62%
[9 empty] | Terminal Value |  |  | 56350.273 | 21.1%
[9 empty] | Total Investment Cost |  |  | -147206.6874 | 55.13%
[9 empty] | Total |  |  | -27393.3369
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 8420000 | 8420000 | 8420000 | 8420000 | 8420000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 1228632 | 1735000 | 1775000 | 1835000 | 1775000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -147206.6874 | Dollar | 9648632 | 10155000 | 10195000 | 10255000 | 10195000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 56350.273 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 1230020.88 | 1290989.18 | 1348656.73 | 1402273.63 | 1451138.18
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 16310.8018 | Dollar | 1022543.82 | 891952.6 | 770495.15 | 655984.83 | 545645.86
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 785014.28 | 823924.99 | 860729.12 | 894948.07 | 926134.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 10409.752 | Dollar | 652599.9 | 569254.99 | 491739.37 | 418657.49 | 348237.82
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 229805.12 | 241195.84 | 251969.88 | 261987.14 | 271116.52
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 3047.3513 | Dollar | 191042.12 | 166643.73 | 143951.81 | 122557.81 | 101943.16
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 2541001.13 | 2666950.64 | 2786081.38 | 2896844.22 | 2997789.57
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 33695.1726 | Dollar | 2112390.98 | 1842613.08 | 1591703.92 | 1355146.25 | 1127205.86
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 4785841.41 | 5023060.65 | 5247437.11 | 5456053.06 | 5646178.3
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 3978576.82 | 3470464.4 | 2997890.25 | 2552346.38 | 2123032.7
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name |  | Option 2 - Neutral Monitoring via meter data
autofit | Description |  | This option consists of implementing neutral monitoring through meter data analytics to effectively monitor the condition of LV service assets and prioritise their replacements based on condition in conjunction with targeted replacement of assets identified during asset inspections.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected - Nominally, this option would have been recommended as the selected option, however the high capital cost of investment was deemed prohibitive following portfolio optimisation across the whole asset fleet. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2 - Neutral Monitoring via meter data |  | Capex |  |  | 5490000 | 5490000 | 5490000 | 5490000 | 5490000 | 27450000 | 131670000 | -6284984.22
|  |  | Opex |  |  | 922500 | 1102500 | 1102500 | 1102500 | 1102500 | 5332500
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 13512.8951 | 7.31%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 8624.0939 | 4.66%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 2524.6177 | 1.37%
[9 empty] | UARM - Safety & People - Public |  |  | 27915.2024 | 15.1%
[9 empty] | Terminal Value |  |  | 36741.4488 | 19.87%
[9 empty] | Total Investment Cost |  |  | -95603.2421 | 51.7%
[9 empty] | Total |  |  | -6284.9842
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 5490000 | 5490000 | 5490000 | 5490000 | 5490000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 922500 | 1102500 | 1102500 | 1102500 | 1102500
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -95603.2421 | Dollar | 6412500 | 6592500 | 6592500 | 6592500 | 6592500
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 36741.4488 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 1230020.88 | 1290989.18 | 1348656.73 | 1402273.63 | 1451138.18
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 13512.8951 | Dollar | 1084965.69 | 1005025.34 | 928241.4 | 851147.77 | 774541.61
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 785014.28 | 823924.99 | 860729.12 | 894948.07 | 926134.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 8624.0939 | Dollar | 692438.29 | 641419.39 | 592414.95 | 543212.85 | 494321.87
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 229805.12 | 241195.84 | 251969.88 | 261987.14 | 271116.52
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 2524.6177 | Dollar | 202704.42 | 187769.14 | 173423.58 | 159020.16 | 144707.81
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 2541001.13 | 2666950.64 | 2786081.38 | 2896844.22 | 2997789.57
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 27915.2024 | Dollar | 2241343.29 | 2076200.96 | 1917579.19 | 1758317.66 | 1600063.16
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 4785841.41 | 5023060.65 | 5247437.11 | 5456053.06 | 5646178.3
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 4221451.69 | 3910414.83 | 3611659.12 | 3311698.44 | 3013634.45
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name |  | Option 3 - Neutral monitoring via network devices
autofit | Description |  | This option consists of neutral monitoring via Network Device to prioritise LV service replacements by condition. This option is similar to option 2 which uses advanced meter data, but option 3 involves installing an additional network device at each customer’s installation.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected - The increased cost of installing network devices at each installation compared to cost and efficiencies of utilising advanced meter data make this option not cost effective.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 3 - Neutral monitoring via network devices |  | Capex |  |  | 13320000 | 12570000 | 12570000 | 12570000 | 12570000 | 63600000 | 386966816 | -191151065.73
|  |  | Opex |  |  | 14911816 | 17265000 | 17265000 | 11315000 | 11285000 | 72041816
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 13512.8951 | 3.48%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 8624.0939 | 2.22%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 2524.6177 | 0.65%
[9 empty] | UARM - Safety & People - Public |  |  | 27915.2024 | 7.19%
[9 empty] | Terminal Value |  |  | 45891.2771 | 11.82%
[9 empty] | Total Investment Cost |  |  | -289619.1519 | 74.63%
[9 empty] | Total |  |  | -191151.0657
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 13320000 | 12570000 | 12570000 | 12570000 | 12570000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 14911816 | 17265000 | 17265000 | 11315000 | 11285000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -289619.1519 | Dollar | 28231816 | 29835000 | 29835000 | 23885000 | 23855000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 45891.2771 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 1230020.88 | 1290989.18 | 1348656.73 | 1402273.63 | 1451138.18
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 13512.8951 | Dollar | 1084965.69 | 1005025.34 | 928241.4 | 851147.77 | 774541.61
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 785014.28 | 823924.99 | 860729.12 | 894948.07 | 926134.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 8624.0939 | Dollar | 692438.29 | 641419.39 | 592414.95 | 543212.85 | 494321.87
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 229805.12 | 241195.84 | 251969.88 | 261987.14 | 271116.52
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 2524.6177 | Dollar | 202704.42 | 187769.14 | 173423.58 | 159020.16 | 144707.81
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 2541001.13 | 2666950.64 | 2786081.38 | 2896844.22 | 2997789.57
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 27915.2024 | Dollar | 2241343.29 | 2076200.96 | 1917579.19 | 1758317.66 | 1600063.16
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 4785841.41 | 5023060.65 | 5247437.11 | 5456053.06 | 5646178.3
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 4221451.69 | 3910414.83 | 3611659.12 | 3311698.44 | 3013634.45
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name |  | Option 4 - Repex Constraint - Neutral monitoring via meter data
autofit | Description |  | This option consists of implementing neutral monitoring through meter data analytics to effectively monitor the condition of LV service assets and prioritise their replacements based on condition in conjunction with repex model constraint applied.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed including: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 4 - Repex Constraint - Neutral monitoring via meter data |  | Capex |  |  | 2750000 | 2750000 | 2750000 | 2750000 | 2750000 | 13750000 | 80722500 | -3843932.93
|  |  | Opex |  |  | 922500 | 1102500 | 1102500 | 1102500 | 1102500 | 5332500
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 8836.3516 | 7.9%
[9 empty] | UARM - Safety & People - Worker |  |  | 0 | 0%
[9 empty] | UARM - Network Performance Risk |  |  | 5639.467 | 5.04%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 1650.8978 | 1.48%
[9 empty] | UARM - Safety & People - Public |  |  | 18254.3076 | 16.32%
[9 empty] | Terminal Value |  |  | 19636.4992 | 17.55%
[9 empty] | Total Investment Cost |  |  | -57861.4562 | 51.72%
[9 empty] | Total |  |  | -3843.9329
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 2750000 | 2750000 | 2750000 | 2750000 | 2750000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | OPEX Cost |  | Outcome | 2024 | 0 | Dollar | 922500 | 1102500 | 1102500 | 1102500 | 1102500
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -57861.4562 | Dollar | 3672500 | 3852500 | 3852500 | 3852500 | 3852500
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 19636.4992 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 1230020.88 | 1290989.18 | 1348656.73 | 1402273.63 | 1451138.18
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 8836.3516 | Dollar | 1150197.94 | 1130298.03 | 1107162.27 | 1080918.52 | 1050321.7
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 785014.28 | 823924.99 | 860729.12 | 894948.07 | 926134.03
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 5639.467 | Dollar | 734070.3 | 721369.94 | 706604.42 | 689855.34 | 670328.08
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 229805.12 | 241195.84 | 251969.88 | 261987.14 | 271116.52
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 1650.8978 | Dollar | 214891.78 | 211173.87 | 206851.41 | 201948.28 | 196231.87
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 2541001.13 | 2666950.64 | 2786081.38 | 2896844.22 | 2997789.57
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 18254.3076 | Dollar | 2376101.34 | 2334991.73 | 2287197.41 | 2232982.57 | 2169775.07
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 4785841.41 | 5023060.65 | 5247437.11 | 5456053.06 | 5646178.3
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 4475261.36 | 4397833.57 | 4307815.51 | 4205704.71 | 4086656.72
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000715 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_D_CA_SCSRE_Replace_OH_Services | [5 empty] | Submitted
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-11-03
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
| Investment Summary | Header | Description | 15 | 9
| Investment Summary | 0.1 Overview | Background | 15 | 16
| Investment Summary | 0.1 Overview | Problem Definition | 15 | 17
| Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 15 | 18
Significant incidents: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure and therefore likelihood of incident. Reportable incidents: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure and therefore likelihood of incident. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 75 | 17
Customer net promoter score: Neutral monitoring and condition based replacement of LV services will significantly reduce the likelihood of in-service failure. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 30 | 18
Employee engagement: Employees will feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. | Objectives and Analysis | 03. Business Performance Objectives | Our People | 30 | 19
Capital expenditure: Neutral monitoring and condition based replacement reduces our total cost when compared to run-to-failure. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 30 | 20
| Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 15 | 21
A broken neutral failure poses significant risk of shock, electrocution or fire-start. | Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 15 | 23
A broken neutral failure poses significant risk of shock, electrocution or fire-start. | Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
| Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 15 | 25
| Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 15 | 26
A service failure poses a fire-start risk. | Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
| Objectives and Analysis | 04. Business Risks | Customer Focus | 15 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
| Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 15 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
The strategic objective is to manage the risk to customers by developing a risk based strategic plan. This includes a condition/risk-based approach to manage the assets to effectively manage the public safety risk associated with maintaining the asset. | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 45 | 38
TasNetworks Business Plan - Define and efficiently deliver our work: Neutral monitoring and proactive replacements of LV services is now considered to be the industry standard as the most efficient and effect method of managing safety in the LV network. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 45 | 39
TasNetworks Business Plan - We operate our business to be sustainable: Neutral monitoring and proactive replacements of LV services is now considered to be the industry standard as the most efficient and effect method of managing safety in the LV network. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 45 | 40
Towards 2030 | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 15 | 41
Connections Asset Management Plan | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 15 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
| Objectives and Analysis | 06. Project Objectives | Project Objectives | 15 | 44
The large scale roll out of advanced meters in Victoria has provided an opportunity for utilities to monitor and detect the faults in a more proactive and efficient way. As the analytical monitoring approach has been demonstrated to be reasonably practicable, industry expectations are that adoption of this more effective and efficient approach will significantly eliminate the public safety risks associated with neutral integrity failures to the point where neutral monitoring is now accepted in the electrical industry as the most effective and efficient method of determining the condition of a LV service. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 105 | 45
Western Australia’s electrical safety regulator released a report regarding the investigation of an electrical accident that seriously injured a 12-year-old girl at a property in Beldon in March 2018. The incident occurred due to neutral integrity failure and resulted in an electric shock. The report* highlighted that continuous condition monitoring of data to assess varying neutral impedances with changes to the premises load over a long period of time is the most effective method of preventing dangerous situations due to open circuit supply neutral connections issues. *Investigation report Beldon electrical accident report: https://www.commerce.wa.gov.au/sites/default/files/atoms/files/investigation_report_beldon_electrical_accident_report_-_final_version_25_september_2019.pdf | Objectives and Analysis | 07. Options Analysis | Expert Findings | 135 | 46
| Objectives and Analysis | 08. Investment Timing | Investment Timing | 15 | 47
The benefits to TasNetworks from implementation of the selected option will be: - decrease in risk to public, property, reliability and fire starts; - decrease in number of customer outages and their duration; - availability of advanced meter power quality data for other business benefits; and - reduced/deferred capital investments as replacements to be made based on individual data on asset condition. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 75 | 48
Only TasNetworks assets were considered in calculation (no private assets). The development of advanced meter data analytics has progressed significantly that neutral integrity monitoring through advanced meter data is the standard being implemented across the industry. With the Tasmanian government committing to the accelerated rollout of advanced meters in Tasmania (to be completed 2026) this is now a feasible option in Tasmania. TasNetworks completed a trial in May 2021 of neutral monitoring through using data analytics of advanced meter data. The success of this trial and the difficulties in procuring more CablePI devices TasNetworks is now in a transitional phase of neutral monitoring via advanced meter data as a replacement mitigation for new CablePI devices. | Objectives and Analysis | 10. Assumptions | Assumptions | 120 | 49
A RIT-D is not required because this is a high volume, low cost, program with separate sites identified for replacement where assets have failed a serviceability test via condition monitoring or assessment. | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 30 | 50
No | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
Option 4 - Repex Constraint - Neutral monitoring via meter data is recommended for approval as it best satisfies the customer and business needs. | Objectives and Analysis | 12. Recommendation | Recommendation | 30 | 56
This option includes continuing with TasNetworks previous strategy of replacing all LV servicing assets deemed substandard (based on historical failures). | Option 1 | Description |  | 15
Rejected - As neutral monitoring is becoming the new standard in LV network safety and advanced meters are rolled out in Tasmania, this option ceases to hold up in risk assessments using As Low As Reasonably Practicable (ALARP) principle to manage risk compared to alternatives offered using advanced metering technology. | Option 1 | Reason for selection/rejection |  | 30
This option consists of implementing neutral monitoring through meter data analytics to effectively monitor the condition of LV service assets and prioritise their replacements based on condition in conjunction with targeted replacement of assets identified during asset inspections. | Option 2 | Description |  | 15
Rejected - Nominally, this option would have been recommended as the selected option, however the high capital cost of investment was deemed prohibitive following portfolio optimisation across the whole asset fleet. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia. | Option 2 | Reason for selection/rejection |  | 210
This option consists of neutral monitoring via Network Device to prioritise LV service replacements by condition. This option is similar to option 2 which uses advanced meter data, but option 3 involves installing an additional network device at each customer’s installation. | Option 3 | Description |  | 15
Rejected - The increased cost of installing network devices at each installation compared to cost and efficiencies of utilising advanced meter data make this option not cost effective. | Option 3 | Reason for selection/rejection |  | 15
This option consists of implementing neutral monitoring through meter data analytics to effectively monitor the condition of LV service assets and prioritise their replacements based on condition in conjunction with repex model constraint applied. | Option 4 | Description |  | 15
This option has been selected following portfolio optimisation to assess risk and expenditure across the whole asset fleet. This option manages asset risk and network performance within an acceptable range compared to other asset portfolios. This option includes benefits such as: - detection and alert of high impedance neutral faults; - no customer interaction required to be effective; - once advanced meter roll out completed 100% coverage is possible; - enables data driven decision on replacement of LV service assets, leading to deferral/reduction in REPEX; - use of advanced meter data for loss of neutral detection allows other use cases to be developed including: - life support - LV connectivity model/support - reliability monitoring - DMS input - alignment to multiple strategies in TasNetworks EAM roadmap; and - is now the benchmark set by other utilities across Australia. | Option 4 | Reason for selection/rejection |  | 210
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection