## Run Extract (hidden)
[12 empty] | 1 | 2 | 3 | 4 | 5 | 6
[12 empty] | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6
[10 empty] | Address | Value Metric | Option 1 Replacement of 6 HV Switchgear in R24 | Option 2 Replacement of 3 HV Switchgear in R24 | Option 3 Replacement of 11 HV Switchgear in R29 | Option 4 Replacement of 6 HV Switchgear in R24 Revised
[11 empty] | Terminal Value | 10985090.3241 | 11308272.6134 | 11656315.0794 | 10827461.5638
[11 empty] | UARM - Environment and Community - Fire Risk | 0 | 0 | 0 | 0
Notes | [10 empty] | UARM - Safety & People - Worker | 3786.8813 | 3627.4816 | 3419.0095 | 3892.7837
Need to open the .xlsm Investment Summary report from Copperleaf in the Trusted folder Save in the preferred location as an .xlsx Need to test environment - other and when two of the same value models have been selected with a different name | [10 empty] | UARM - Network Performance Risk | 2700815.1287 | 2587131.9921 | 2438463.4843 | 2776346.5232
[11 empty] | UARM - Environment and Community - Other Risk | 0 | 0 | 0 | 0
[11 empty] | UARM - Financial Risk | 14063090.1913 | 13471144.4039 | 12697030.4178 | 14456380.6587
[11 empty] | UARM - Safety & People - Public | 0 | 0 | 0 | 0
[11 empty] | Total Investment Cost | 26163075.6288 | 25490306.9844 | 24774478.8784 | 26974786.5677
Options
| Option | 2025 | 2026 | 2027 | 2028 | 2029
| Baseline | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
| Option 1 Replacement of 6 HV Switchgear in R24 | 920355.15 | 1024644.78 | 886427.28 | 792207.96 | 725361.11
| Option 2 Replacement of 3 HV Switchgear in R24 | 920355.15 | 1024644.78 | 1011636.38 | 985561.95 | 965288.98
| Option 3 Replacement of 11 HV Switchgear in R29 | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
| Option 4 Replacement of 6 HV Switchgear in R24 Revised | 818263.07 | 691687.23 | 648346.78 | 658804.16 | 744707.37
Option Breakdown | [7 empty] | Folder and File Paths
| Option 4 |  |  |  |  | Greater 0 | (Multiple Items)
| Recommended Option - Value | [6 empty] | This File Path | \\TNAD.tasnetworks.com.au\user$\user_folders\BahramabadiM\My Documents\Trusted\InvestmentTemplate.xlsm
| Value Function Measure | Value | Value in % | Greater 0 |  | Row Labels | Sum of Value in % | Folder Path | H:\RPSAM\SAM\R24 IES\final draft\
Option 4 | Terminal Value | 10827.4616 | 19.67% | 1 | K20 | Terminal Value | 19.67% | File Name | InvestmentSummary_R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT.xlsx
Option 4 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K21 | Total Investment Cost | 49.01% | File Path | H:\RPSAM\SAM\R24 IES\final draft\InvestmentSummary_R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT.xlsx
Option 4 | UARM - Safety & People - Worker | 3.8928 | 0.01% | 1 | K22 | UARM - Environment and Community - Fire Risk | 0%
Option 4 | UARM - Network Performance Risk | 2776.3465 | 5.04% | 1 | K23 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K24 | UARM - Financial Risk | 26.27%
Option 4 | UARM - Financial Risk | 14456.3807 | 26.27% | 1 | K25 | UARM - Network Performance Risk | 5.04%
Option 4 | UARM - Safety & People - Public | 0 | 0% | 1 | K26 | UARM - Safety & People - Public | 0%
Option 4 | Total Investment Cost | -26974.7866 | 49.01% | 1 | K27 | UARM - Safety & People - Worker | 0.01%
Option 4 |  |  |  | 0 | K28
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30 |  |  | 1 | InvestmentSummary_R24_D_ND_PRHVR_Augment_HV_Fdr_TRIP.xlsx
Option 4 |  |  |  | 0 | K31 |  |  | 2 | InvestmentSummary_R24_D_OH_REPOL_Basic Fleet Pole Replacement.xlsx
Option 4 |  |  |  | 0 | K32 |  |  | 3 | InvestmentSummary_R24_T_ND_AUGSB_W Coast Reliability Improvement.xlsx
Option 4 |  |  |  | 0 | K33 |  |  | 4 | InvestmentSummary_R24_T_ND_AUGSB_Upper Derwent 110 kV Losses.xlsx
| Total | 1089.295 | 100% |  |  |  |  | 5 | InvestmentSummary_R24_D_OH_SIWES_Bird_Mitigation.xlsx
[8 empty] | 6 | InvestmentSummary_R24_D_SB_REGMS_GMS_Replacement of GMS.xlsx
[8 empty] | 7 | InvestmentSummary_R24_D_OH_REPOL_Complex Design.xlsx
Start | Option 1 |  |  |  |  | Greater 0 | 1 | 8 | InvestmentSummary_R24_D_PQ_PQTXV_Power_Quality_LV_Tformers.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 9 | InvestmentSummary_R24_D_ND_PQLVV_Aug_HV_LV_Conductor.xlsx
Option 1 | Terminal Value | 10985.0903 | 20.37% | 1 | K20 | Row Labels | Sum of Value in % | 10 | InvestmentSummary_R24_D_CA_SOLCP_Crossover_Extension_OH.xlsx
Option 1 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K21 | Terminal Value | 20.37% | 11 | InvestmentSummary_R24_D_CI_SOIRR_Irrigation_Supply.xlsx
Option 1 | UARM - Safety & People - Worker | 3.7869 | 0.01% | 1 | K22 | Total Investment Cost | 48.53% | 12 | InvestmentSummary_R24_D_AMIPD_AM Improvement Program.xlsx
Option 1 | UARM - Network Performance Risk | 2700.8151 | 5.01% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 13 | InvestmentSummary_R24_D_CI_SOPOR_Permanent_Residence_OH.xlsx
Option 1 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 14 | InvestmentSummary_R24_D_CI_SUPOR_Permanent_Residence_UG.xlsx
Option 1 | UARM - Financial Risk | 14063.0902 | 26.08% | 1 | K25 | UARM - Financial Risk | 26.08% | 15 | InvestmentSummary_R24_D_CI_SOGSI_General_Supply_OH.xlsx
Option 1 | UARM - Safety & People - Public | 0 | 0% | 1 | K26 | UARM - Network Performance Risk | 5.01% | 16 | InvestmentSummary_R24_D_CI_SUGSI_General_Supply_UG.xlsx
Option 1 | Total Investment Cost | -26163.0756 | 48.53% | 1 | K27 | UARM - Safety & People - Public | 0% | 17 | InvestmentSummary_R24_D_CI_SUSBD_Subdivision_UG.xlsx
Option 1 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0.01% | 18 | InvestmentSummary_R24_D_CI_SOSDI_Subdivision_OH.xlsx
Option 1 |  |  |  | 0 | K29 |  |  | 19 | InvestmentSummary_R24_D_CI_SUSUB_Augment_Dist_Substations.xlsx
Option 1 |  |  |  | 0 | K30 |  |  | 20 | InvestmentSummary_R24_T_ND_LAEMP_SELA.xlsx
Option 1 |  |  |  | 0 | K31 |  |  | 21 | InvestmentSummary_R24_D_CA_DESDB_Prelim_Drive_by_Design.xlsx
Option 1 |  |  |  | 0 | K32 |  |  | 22 | InvestmentSummary_R24_D_CI_SUMPR_Major_Commercial.xlsx
Option 1 |  |  |  | 0 | K33 |  |  | 23 | InvestmentSummary_R24_D_CI_EASEN_Easements_Non_Major_Comm.xlsx
| Total | 1589.7069 | 100% |  |  |  |  | 24 | InvestmentSummary_R24_D_ND_PRHVR_Rosebery_Supply_Improve.xlsx
[8 empty] | 25 | InvestmentSummary_R24_D_ND_CAHVF_Huonville_Supply_Improvement.xlsx
[8 empty] | 26 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Fdr_Network_Access.xlsx
[8 empty] | 27 | InvestmentSummary_R24_D_ND_PRHVR_Deloraine_Supply_Improve.xlsx
| Option 2 |  |  |  |  | Greater 0 | 1 | 28 | InvestmentSummary_R24_D_ND_CALVF_Augment_LV_Fdr_Capacity.xlsx
| Value Function Measure | Value | Value in % | Greater 0 |  |  |  | 29 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk.xlsx
Option 2 | Terminal Value | 11308.2726 | 21.39% | 1 | K20 | Row Labels | Sum of Value in % | 30 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Pole_Mtd_Regulator.xlsx
Option 2 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K21 | Terminal Value | 21.39% | 31 | InvestmentSummary_R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator.xlsx
Option 2 | UARM - Safety & People - Worker | 3.6275 | 0.01% | 1 | K22 | Total Investment Cost | 48.22% | 32 | InvestmentSummary_R24_D_ND_CAHVF_22kV_Emu_Bay_Feeders.xlsx
Option 2 | UARM - Network Performance Risk | 2587.132 | 4.89% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0% | 33 | InvestmentSummary_R24_D_ND_CAHVF_Augment_HV_Fdr_Capacity.xlsx
Option 2 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0% | 34 | InvestmentSummary_R24_D_ND_CAHVF_Aug_SubStd_Cond_Capacity.xlsx
Option 2 | UARM - Financial Risk | 13471.1444 | 25.48% | 1 | K25 | UARM - Financial Risk | 25.48% | 35 | InvestmentSummary_R24_D_ND_LANDZ_LandAcq_ZoneSubs.xlsx
Option 2 | UARM - Safety & People - Public | 0 | 0% | 1 | K26 | UARM - Network Performance Risk | 4.89% | 36 | InvestmentSummary_R24_D_ND_CATXU_Aug_Dist_Sub.xlsx
Option 2 | Total Investment Cost | -25490.307 | 48.22% | 1 | K27 | UARM - Safety & People - Public | 0% | 37
Option 2 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0.01% | 38
Option 2 |  |  |  | 0 | K29 |  |  | 39
Option 2 |  |  |  | 0 | K30 |  |  | 40
Option 2 |  |  |  | 0 | K31 |  |  | 41
Option 2 |  |  |  | 0 | K32 |  |  | 42
Option 2 |  |  |  | 0 | K33 |  |  | 43
| Total | 1879.8695 | 99.99%
| Option 3 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 3 | Terminal Value | 11656.3151 | 22.6% | 1 | K20 | Row Labels | Sum of Value in %
Option 3 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K21 | Terminal Value | 22.6%
Option 3 | UARM - Safety & People - Worker | 3.419 | 0.01% | 1 | K22 | Total Investment Cost | 48.04%
Option 3 | UARM - Network Performance Risk | 2438.4635 | 4.73% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0%
Option 3 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 3 | UARM - Financial Risk | 12697.0304 | 24.62% | 1 | K25 | UARM - Financial Risk | 24.62%
Option 3 | UARM - Safety & People - Public | 0 | 0% | 1 | K26 | UARM - Network Performance Risk | 4.73%
Option 3 | Total Investment Cost | -24774.4789 | 48.04% | 1 | K27 | UARM - Safety & People - Public | 0%
Option 3 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0.01%
Option 3 |  |  |  | 0 | K29
Option 3 |  |  |  | 0 | K30
Option 3 |  |  |  | 0 | K31
Option 3 |  |  |  | 0 | K32
Option 3 |  |  |  | 0 | K33
| Total | 2020.7491 | 100%
| Option 4 |  |  |  |  | Greater 0 | 1
| Value Function Measure | Value | Value in % | Greater 0
Option 4 | Terminal Value | 10827.4616 | 19.67% | 1 | K20 | Row Labels | Sum of Value in %
Option 4 | UARM - Environment and Community - Fire Risk | 0 | 0% | 1 | K21 | Terminal Value | 19.67%
Option 4 | UARM - Safety & People - Worker | 3.8928 | 0.01% | 1 | K22 | Total Investment Cost | 49.01%
Option 4 | UARM - Network Performance Risk | 2776.3465 | 5.04% | 1 | K23 | UARM - Environment and Community - Fire Risk | 0%
Option 4 | UARM - Environment and Community - Other Risk | 0 | 0% | 1 | K24 | UARM - Environment and Community - Other Risk | 0%
Option 4 | UARM - Financial Risk | 14456.3807 | 26.27% | 1 | K25 | UARM - Financial Risk | 26.27%
Option 4 | UARM - Safety & People - Public | 0 | 0% | 1 | K26 | UARM - Network Performance Risk | 5.04%
Option 4 | Total Investment Cost | -26974.7866 | 49.01% | 1 | K27 | UARM - Safety & People - Public | 0%
Option 4 |  |  |  | 0 | K28 | UARM - Safety & People - Worker | 0.01%
Option 4 |  |  |  | 0 | K29
Option 4 |  |  |  | 0 | K30
Option 4 |  |  |  | 0 | K31
Option 4 |  |  |  | 0 | K32
Option 4 |  |  |  | 0 | K33
| Total | 1089.295 | 100%
| Option 5 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 5 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 5 |  |  |  | 0 | K21 |  | 0%
Option 5 |  |  |  | 0 | K22
Option 5 |  |  |  | 0 | K23
Option 5 |  |  |  | 0 | K24
Option 5 |  |  |  | 0 | K25
Option 5 |  |  |  | 0 | K26
Option 5 |  |  |  | 0 | K27
Option 5 |  |  |  | 0 | K28
Option 5 |  |  |  | 0 | K29
Option 5 |  |  |  | 0 | K30
Option 5 |  |  |  | 0 | K31
Option 5 |  |  |  | 0 | K32
Option 5 |  |  |  | 0 | K33
| Total | 0 | 0%
| Option 6 |  |  |  |  | Greater 0 | 0
| Value Function Measure | Value | Value in % | Greater 0
Option 6 |  |  |  | 0 | K20 | Row Labels | Sum of Value in %
Option 6 |  |  |  | 0 | K21 |  | 0%
Option 6 |  |  |  | 0 | K22
Option 6 |  |  |  | 0 | K23
Option 6 |  |  |  | 0 | K24
Option 6 |  |  |  | 0 | K25
Option 6 |  |  |  | 0 | K26
Option 6 |  |  |  | 0 | K27
Option 6 |  |  |  | 0 | K28
Option 6 |  |  |  | 0 | K29
Option 6 |  |  |  | 0 | K30
Option 6 |  |  |  | 0 | K31
Option 6 |  |  |  | 0 | K32
Option 6 |  |  |  | 0 | K33
| Total | 0 | 0%

## Summary
Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | NPV Period | Base Fiscal Year | Currency Scale
|  |  |  | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
|  |  |  | Investment Name | [5 empty] | Scenario
|  |  |  | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
Value Function |  | TasNetworks Value Function |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Investment Description
Description |  | Replace high voltage switch gear systems due to condition, age and safety issues. | [9 empty] | TRUE
Functional Area |  | RENSW |  |  | Department |  |  | Asset Strategy
Works Initiator |  |  |  |  | Portfolio |  |  | Tx - Renewal
Investment Category |  | Standard Control - Reliability & Quality Maintained |  |  | Needs Item Reference
Investment Type |  | Network Project |  |  | Document No.
Investment Stage |  | Gate 2 – Investment Evaluation Summary |  |  | Project Zone Location
PPM ID |  |  |  |  | Regulatory Test Required |  |  | No
Investment Summary
Problem Definition |  | TasNetworks has a number of HV switchgear that possess technical risk, condition and operational deficiency and are also aged. There is an inherent technical risk with HV switchgear that does not have internal arc flash protection. An arc flash is a type of electrical explosion or discharge that results from a connection through air to ground or another voltage phase in an electrical system. This can be very dangerous to anyone standing in front of a switchgear cabinet when the arc flash occurs. TasNetworks has 106 switchgear units which do not have internal arc flash protection. The metal clad HV switchgear in the TasNetworks fleet has persistent corona and tracking issues. Much of the metal clad HV switchgear requiring new parts are no longer supported by manufacturers. Spare parts cannot be purchased. | [9 empty] | TRUE
Recommendation |  | It is recommended that option 4 is approved and progressed as it best satisfies the customer and business needs. | [9 empty] | TRUE
Alternative Spend Profile
Name |  | Status | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV | Alternative Start Date
Option 1 Replacement of 6 HV Switchgear in R24 |  | Candidate | 0 | 0 | 4600000 | 4600000 | 4600000 | 13800000 | 34500000 | 1589706.9 | 4547400%
Option 2 Replacement of 3 HV Switchgear in R24 |  | Candidate | 0 | 0 | 2300000 | 2300000 | 2300000 | 6900000 | 34500000 | 1879869.51 | 4547400%
Option 3 Replacement of 11 HV Switchgear in R29 |  | Candidate | 0 | 0 | 0 | 0 | 0 | 0 | 34500000 | 2020749.11 | 4547400%
Option 4 Replacement of 6 HV Switchgear in R24 Revised |  | Recommended | 2300000 | 4512427 | 6300000 | 1000000 | 0 | 14112427 | 34812427 | 1089294.96 | 4547400%
0
0
Leader Endorsement
Name |  |  | Governance |  | Signature |  |  | Comments |  |  | Date
|  |  | Submission | [7 empty] | 4486200%
|  |  | Endorsement | [7 empty] | 4486200%
|  |  | Approval | [7 empty] | 4486200%
Investment Attachments
Date | Attachment Name |  | Description

## Investment Overview
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000629 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENSW |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | In a transmission system, switchgear is composed of electrical disconnector switches, fuses or circuit breakers used to control, protect and isolate electrical equipment. Switchgear is used both to de-energise equipment to allow work to be done safely and to clear faults downstream. These assets are directly linked to the reliability of the electricity supply. Switchgear is further used to enhance system availability by allowing more than one source to feed a load. The TasNetworks fleet of High Voltage (HV) Switchgear supports the safe operation and protection of equipment installed in the transmission network. It is vital from a functionality, safety and regulatory perspective that these be present and serviceable. TasNetworks has HV systems operating at 44,33,22,11 and 6.6 kV. The predominant operating voltages are 22 kV and 11 kV. The HV Switchgear facilitate the delivery of power to businesses and household across Tasmania. TasNetworks HV Switchgear can be categorised based on the insulating medium used. There are four insulating mediums used the fleet of HV Switchgear; air, oil, sulphur hexafluoride gas (SF6) and vacuum. Approximately 93% of the fleet is insulated with SF6 or vacuum. This is a complex fleet of HV Switchgear. The fleet of 577 HV Switchgear assets comprise of 13 individual manufacturers. There are 46 unique models of HV Switchgear. The average age of the fleet is 17 years. Based the Australian Energy Regulator (AER) the economic life of switchgear is 45 years. Whilst currently there are no assets in this category which are due for replacement based purely on age, by 2028 there will be 80 units due for replacement. Considering the significant bow wave of HV switchgear assets approaching the end of life, the assets were further reviewed for technical risk, condition and operational deficiency. Further, the need to conduct congruent work at any sites, it was considered prudent to align the change-out timing. The condition of electrical switchgear deteriorate due to age, operations, operating temperatures and the amount of contaminants in and around the assets. HV Switchgear has been known to fail catastrophically sending projectiles through the air. Typically the HV Switchgear is protected from catastrophic failure by fault relays. |  |  |  |  | TRUE
| Problem Definition |  | TasNetworks has a number of HV switchgear that possess technical risk, condition and operational deficiency and are also aged. There is an inherent technical risk with HV switchgear that does not have internal arc flash protection. An arc flash is a type of electrical explosion or discharge that results from a connection through air to ground or another voltage phase in an electrical system. This can be very dangerous to anyone standing in front of a switchgear cabinet when the arc flash occurs. TasNetworks has 106 switchgear units which do not have internal arc flash protection. The metal clad HV switchgear in the TasNetworks fleet has persistent corona and tracking issues. Much of the metal clad HV switchgear requiring new parts are no longer supported by manufacturers. Spare parts cannot be purchased. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. This project specifically addresses the requirements of consumers in the areas of supply reliability and safety, affordability and investment in future networks to unlock community benefits in renewable energy products and services. Customers will continue to be consulted through routine TasNetworks processes, including the Voice of the Customer program, the Annual Planning Review and ongoing regular customer liaison meetings |  |  |  |  | TRUE

## Objectives and Analysis
Investment Evaluation Summary |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000629 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENSW |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Objectives and Analysis
03. Business Performance Objectives | Safety and Wellbeing |  | Significant incidents/ Reportable incidents: Proactive and preventative intervention eliminates the risks associated with catastrophic failure of assets. |  |  |  |  | TRUE
| Our Customers |  | Customer net promoter score: Maintaining uninterrupted, secure supply to customers through commercially sensitive risk reduction. |  |  |  |  | FALSE
| Our People |  | Employee engagement: Maintain our vision of ‘powering a bright future.’ Investment will help our employees feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. |  |  |  |  | FALSE
| Our Business - Sustained Cost Management |  | Capital expenditure: Ensure risk-based approach to financial commitments through the use of specialised tools, TQR and NPV, and in alignment with the AER National Electricity Rules obligations. Investment reduces our total cost when compared to run-to-failure. Operating expenditure: Maintaining network assets to sustain a balanced approach to expenditure. |  |  |  |  | FALSE
| Our Business - Network Service |  | Service incentive bonuses earned - transmission: Providing a reliable platform from which the business can achieve an incentive payment. |  |  |  |  | FALSE
04. Business Risks | Death or Injury (Employee) |  | The proactive approach to asset replacement will eliminate this risk to workers. Workers in the area may be impacted by the catastrophic failure of the asset if they are in the immediate vicinity. |  |  |  |  | FALSE
| Death or Injury (Public) | [6 empty] | FALSE
| Sustainable and Predictable Pricing |  | If a sustainable proactive program is not implemented, increased failure rates will result in a large increase in the program of work and ultimately increase power price to customer. |  |  |  |  | FALSE
| Widespread Power Disruption |  | These assets support the delivery power supply to the local and regional area. Replacement aims to lower the likelihood of failure and limit risk exposure. A run-to-failure strategy would increase the failure rate and risk exposure. |  |  |  |  | FALSE
| Bushfire Start | [6 empty] | FALSE
| Loss of Major Industrial | [6 empty] | FALSE
| Customer Focus |  | Customers have an expectation of consistent and reliable power supply which these assets provide. |  |  |  |  | FALSE
| Business Continuity Management | [6 empty] | FALSE
| Cyber Security | [6 empty] | FALSE
| Private Assets | [6 empty] | FALSE
Energy Policy and Regulation
Project Marinus (D&A)
Tasmanian Power System Complexity
| Emerging Complexity of the NEM | [6 empty] | FALSE
05. Strategic Objectives | Strategic Objectives |  | The strategic objective is to manage the risk to customers by developing a risk based strategic plan. In doing so, a number of HV Switchgear have been identified for replacement as part of the longer-term plan. This includes a condition/risk-based approach to manage the assets to maintain reliability and security of the network and effectively manage the risks associated with maintaining the asset. This work will support the business meet and manage the expected demand for the state of Tasmania now and into the future. It will deliver quality, reliable and secure supply to our customers. |  |  |  |  | FALSE
| Strategic Document #1 |  | Towards 2030 We continually assess what value means to our customers to better serve all our stakeholders: The forward demand in this area has been reviewed with Network Planning and the most appropriate customer centric option selected. Ensuring our electricity network remains resilient and fit-for-purpose by proactively maintaining assets, designing out risks, and making prudent investments of long-term value: The long-term impact of asset maintenance and renewal has been reviewed out to 2050. The analysis clearly demonstrates work should be done to mitigate risks to customers now and into the future. To ensure our capital is used wisely, we will streamline our investment planning to achieve optimised investment strategies and have the best delivery model: Investment planning has been developed to align all asset categories. The plan has been developed out to 2050 to ensure the long-term objectives of optimising investment strategies is achieved. |  |  |  |  | FALSE
| Strategic Document #2 |  | TasNetworks Business Plan 2021-22 Our services reflect our customers’ needs and expectations: There is a significant community in and surrounding the Rosebery substation that rely on it for continuous supply. Define and efficiently deliver our work: This work supports a long-term program which aims to support deliverability. We operate our business to be sustainable: The proposed plan is designed to build in sustainability in supply and deliverability. |  |  |  |  | FALSE
| Strategic Document #3 |  | National Energy Regulator (NER) 6A.6.7 (Transmission) Meet of manage the expected demand for prescribed services: The proposal considers the demand from prescribed services and meets this expectation. Comply with all applicable regulatory obligations associated with the provision of prescribed services: This proposal complies with all applicable regulatory obligations associated with the provision of prescribed services. Maintain the quality, reliability and security of supply of prescribed services: The proposal considers the quality, reliability and security of prescribed services and meets this expectation. |  |  |  |  | FALSE
| Strategic Document #4 |  | Network Drivers Ensuring our future roadmap specific drivers of change are achieved, including items most likely to affect customers: This work will be achieved in alignment with the relevant Transmission Network Drivers. Including customer needs, cybersecurity & digital trust, environment, social & governance and resilience. |  |  |  |  | FALSE
| Strategic Document #5 | [6 empty] | FALSE
06. Project Objectives | Project Objectives |  | The project objective is compliance with the objectives set out in the national Electricity Rules, section 6A.6.7. Compliance maintains a secure service to the Tasmanian community and major customers. This project will also determine and deliver a program to appropriately managed the risks associated with the HV switchgear, with an aim to maintain the assets reliability and security of the network and effectively manage the risk to personnel in the event of failure. A number of candidate options have been considered to ascertain the recommended option. |  |  |  |  | FALSE
07. Options Analysis | Benchmarking |  | TasNetworks participates in various formal benchmarking forums to benchmark asset management practiced against international and national transmission companies. Various inputs obtained from these benchmarking forums have been utilised in the assessment of options. Key Benchmarking forums include: - International Transmission Operations and Maintenance Study (ITOMS); - The SKM assessment of proposed regulatory asset lives, August 2013, is the point of reference for asset life; - Australian and New Zealand Chief Executive Officers Benchmarking forum, Energy Supply Association of Australia (ESAA), and - Regulatory Information Notices (RINs), Australian Energy Regulator. |  |  |  |  | TRUE
| Expert Findings | [6 empty] | FALSE
08. Investment Timing | Investment Timing |  | The program will continue for the whole regulatory period and beyond. |  |  |  |  | TRUE
09. Expected Outcomes and Benefits | Expected Outcomes and Benefits |  | The benefits to TasNetworks from implementation of the preferred option will be: - the NPV analysis clearly shows that the preferred option provided the best economic outcome for the business; - provides a decrease in risk to reliable service to customers; - meets NER objectives; - HV Switchgear is suitable for the application, with a decrease in technical and operational risk; and - risk of asset failure addressed. |  |  |  |  | TRUE
10. Assumptions | Assumptions |  | It is assumed that the master data is correct. It is assumed that all the maintenance had been done on time. It was assumed that the assets had not experienced any single over loading event that would significantly affect the life of the asset. Risk Basis of Preparation: Safety & People (Worker) - Based on switchgear having required replacement in last 5 years. Some switch gear isn't arc flash protected so likelihood of injury is increased. All likelihoods are the same, as the difference between them would be determined by the position of the person in relation to the equipment at the time. Investigation Costs - Estimated based on number of failures per annum as all failures would be investigated. Network Performance (Outage Duration) - Time of replacement on average state wide. Based on time to undertake distribution network switching to restore HV feeder supply. Network Performance (Load Impacted) - Business customer - Commercial |  |  |  |  | TRUE
11. Regulatory Considerations | Regulatory Investment Test |  | NA
| Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
| Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). |  | Yes
12. Recommendation | Recommendation |  | It is recommended that option 4 is approved and progressed as it best satisfies the customer and business needs. |  |  |  |  | TRUE

## Economic Analysis
alternative
| Investment Evaluation Summary |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[5 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[5 empty] | Investment Name | [5 empty] | Scenario
[5 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  |  | TasNetworks Value Function | Version |  | 0.1 |  | Date |  | 2022-10-28
Economic Analysis
| Parameter |  |  |  | Value | Unit | Source of Values
75679 | NPV Period |  |  |  | 25 | Years | TasNetworks requirement
autofit | First Fiscal Year of Forecast |  |  |  | FY23 | - | TasNetworks requirement
| Weighted Average Cost of Capital (WACC) |  |  |  | 2.82 | % | 2019-24 Revenue determination and ISP 2022 draft data
| Voluntary load shedding assumed? |  |  |  | No | - | N/A
| Reduction in system losses considered? |  |  |  | No | - | N/A
| Value of Customer Reliability applied |  |  | Very large business customer - Services | 10.93 | $/kWh | AER - Values of Customer Reliability - Annual adjustment summary - December 2021
|  |  |  | Residential | 17.08 | $/kWh
|  |  |  | Very large business customer - Metals | 20.6 | $/kWh
|  |  |  | Very large business customer - Transmission | 27.43 | $/kWh
|  |  |  | Very large business customer - Mines | 36.47 | $/kWh
|  |  |  | Business customer - Agricultural | 39.28 | $/kWh
|  |  |  | Business customer - Commercial | 46.18 | $/kWh
|  |  |  | Very large business customer - Distribution | 58.8 | $/kWh
|  |  |  | Business customer - Industrial | 66.16 | $/kWh
autofit |  |  |  | Very large business customer - Industrial | 122.39 | $/kWh
Sensitivity to Project Timing
|  | 1 | Navigate to Copperleaf Portfolio and search for your Investment
|  | 2 | Navigate to the Value Comparison Page for your Investment through the breadcrumb menu
|  | 3 | Once on the Value Comparison Page, select "Value by Start Date" in the drop-down menu in the top-left corner of the page
|  | 4 | This screen will show the value change over time for each option in your investment
|  | 5 | With the snipping tool on your PC, take a screenshot of the chart and copy + paste it in this section of the report
Options Considered
| Options Summary |  |  |  | R24 Expenditure ($M) | NPV ($M) | Preferred Option | Reason for selection/rejection
| Option 1 Replacement of 6 HV Switchgear in R24 |  |  |  | 13.8 | 1.5897 | No | Rejected: This option does not return the best value to the business. This option is in line with budget for R24. This option treats the highest risk assets.
| Option 2 Replacement of 3 HV Switchgear in R24 |  |  |  | 6.9 | 1.8799 | No | Rejected: This option is in line with budget for R24. This option treats the highest risk assets, with greater residual risk remaining compared to other options. This option does not return the best value to the business.
| Option 3 Replacement of 11 HV Switchgear in R29 |  |  |  | 0 | 2.0207 | No | Rejected: This option does not return the best value to the business.
| Option 4 Replacement of 6 HV Switchgear in R24 Revised |  |  |  | 14.1124 | 1.0893 | Yes | Revised to improve delivery profile. This option is the greatest value option and is thus the recommended option. This option is in line with budget for R24. This option treats the highest risk assets.
0
0
NPV Components

## Needs Assessment (hidden)
Needs Assessment Form |  | Copperleaf Investment Code |  | Report Start Year | NPV Period | Base Fiscal Year | Currency Scale
|  | PRJ000629 |  | 2025 | 25 | FY23 | Literal
|  | Investment Name |  |  |  |  | Scenario
|  | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT |  |  |  |  | Approved
Value Function | TasNetworks Value Function | Version |  | 0.1 | Date |  | 2022-10-28
Functional Area | RENSW |  | Department |  | Asset Strategy
Works Initiator |  |  | Portfolio |  | Tx - Renewal
Investment Category | Standard Control - Reliability & Quality Maintained |  | Needs Item Reference
Investment Type | Network Project |  | Document No.
Investment Stage | Gate 2 – Investment Evaluation Summary |  | Project Zone Location
PPM ID |  |  | Regulatory Test Required |  | No
Investment Overview
01. Overview | Background |  | In a transmission system, switchgear is composed of electrical disconnector switches, fuses or circuit breakers used to control, protect and isolate electrical equipment. Switchgear is used both to de-energise equipment to allow work to be done safely and to clear faults downstream. These assets are directly linked to the reliability of the electricity supply. Switchgear is further used to enhance system availability by allowing more than one source to feed a load. The TasNetworks fleet of High Voltage (HV) Switchgear supports the safe operation and protection of equipment installed in the transmission network. It is vital from a functionality, safety and regulatory perspective that these be present and serviceable. TasNetworks has HV systems operating at 44,33,22,11 and 6.6 kV. The predominant operating voltages are 22 kV and 11 kV. The HV Switchgear facilitate the delivery of power to businesses and household across Tasmania. TasNetworks HV Switchgear can be categorised based on the insulating medium used. There are four insulating mediums used the fleet of HV Switchgear; air, oil, sulphur hexafluoride gas (SF6) and vacuum. Approximately 93% of the fleet is insulated with SF6 or vacuum. This is a complex fleet of HV Switchgear. The fleet of 577 HV Switchgear assets comprise of 13 individual manufacturers. There are 46 unique models of HV Switchgear. The average age of the fleet is 17 years. Based the Australian Energy Regulator (AER) the economic life of switchgear is 45 years. Whilst currently there are no assets in this category which are due for replacement based purely on age, by 2028 there will be 80 units due for replacement. Considering the significant bow wave of HV switchgear assets approaching the end of life, the assets were further reviewed for technical risk, condition and operational deficiency. Further, the need to conduct congruent work at any sites, it was considered prudent to align the change-out timing. The condition of electrical switchgear deteriorate due to age, operations, operating temperatures and the amount of contaminants in and around the assets. HV Switchgear has been known to fail catastrophically sending projectiles through the air. Typically the HV Switchgear is protected from catastrophic failure by fault relays. |  |  |  |  | TRUE
| Problem Definition |  | TasNetworks has a number of HV switchgear that possess technical risk, condition and operational deficiency and are also aged. There is an inherent technical risk with HV switchgear that does not have internal arc flash protection. An arc flash is a type of electrical explosion or discharge that results from a connection through air to ground or another voltage phase in an electrical system. This can be very dangerous to anyone standing in front of a switchgear cabinet when the arc flash occurs. TasNetworks has 106 switchgear units which do not have internal arc flash protection. The metal clad HV switchgear in the TasNetworks fleet has persistent corona and tracking issues. Much of the metal clad HV switchgear requiring new parts are no longer supported by manufacturers. Spare parts cannot be purchased. |  |  |  |  | FALSE
02. Customer Needs and Impact | Customer Needs and impact |  | TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. This project specifically addresses the requirements of consumers in the areas of supply reliability and safety, affordability and investment in future networks to unlock community benefits in renewable energy products and services. Customers will continue to be consulted through routine TasNetworks processes, including the Voice of the Customer program, the Annual Planning Review and ongoing regular customer liaison meetings |  |  |  |  | TRUE
03. Business Objectives | Business Objectives
04. Project Objectives | Project Objectives |  | The project objective is compliance with the objectives set out in the national Electricity Rules, section 6A.6.7. Compliance maintains a secure service to the Tasmanian community and major customers. This project will also determine and deliver a program to appropriately managed the risks associated with the HV switchgear, with an aim to maintain the assets reliability and security of the network and effectively manage the risk to personnel in the event of failure. A number of candidate options have been considered to ascertain the recommended option. |  |  |  |  | FALSE
05. Risk Objective | Risk if not progressed | [6 empty] | TRUE
06. Investment Timing | Investment Timing |  | The program will continue for the whole regulatory period and beyond. |  |  |  |  | TRUE
07. Business Consulatation | Business Consulatation | [6 empty] | TRUE

## Option 1
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 1 Replacement of 6 HV Switchgear in R24
autofit | Description |  | This option replaces 6 switchgear units in R24 to reduce risk or asset failure
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: This option does not return the best value to the business. This option is in line with budget for R24. This option treats the highest risk assets.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 1 Replacement of 6 HV Switchgear in R24 |  | Capex |  |  | 0 | 0 | 4600000 | 4600000 | 4600000 | 13800000 | 34500000 | 1589706.9
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 10985.0903 | 20.37%
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 3.7869 | 0.01%
[9 empty] | UARM - Network Performance Risk |  |  | 2700.8151 | 5.01%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 14063.0902 | 26.08%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Total Investment Cost |  |  | -26163.0756 | 48.53%
[9 empty] | Total |  |  | 1589.7069
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2026 | 0 | Dollar | 0 | 0 | 4600000 | 4600000 | 4600000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2026 | -26163.0756 | Dollar | 0 | 0 | 4600000 | 4600000 | 4600000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 10985.0903 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 207.86 | 231.41 | 256.75 | 283.89 | 312.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 3.7869 | Dollar | 207.86 | 231.41 | 200.19 | 178.91 | 163.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 148243.96 | 165042.16 | 183114.61 | 202470.27 | 223104.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 2700.8151 | Dollar | 148243.96 | 165042.16 | 142779.11 | 127602.97 | 116835.77
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 771903.33 | 859371.21 | 953474.12 | 1054258.64 | 1161702.21
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 14063.0902 | Dollar | 771903.33 | 859371.21 | 743447.98 | 664426.08 | 608361.52
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 920355.15 | 1024644.78 | 886427.28 | 792207.96 | 725361.11
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 2
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 2 Replacement of 3 HV Switchgear in R24
autofit | Description |  | This option replaces 3 switchgear units in R24 to reduce risk or asset failure
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: This option is in line with budget for R24. This option treats the highest risk assets, with greater residual risk remaining compared to other options. This option does not return the best value to the business.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 2 Replacement of 3 HV Switchgear in R24 |  | Capex |  |  | 0 | 0 | 2300000 | 2300000 | 2300000 | 6900000 | 34500000 | 1879869.51
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 11308.2726 | 21.39%
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 3.6275 | 0.01%
[9 empty] | UARM - Network Performance Risk |  |  | 2587.132 | 4.89%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 13471.1444 | 25.48%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Total Investment Cost |  |  | -25490.307 | 48.22%
[9 empty] | Total |  |  | 1879.8695
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2026 | 0 | Dollar | 0 | 0 | 2300000 | 2300000 | 2300000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2026 | -25490.307 | Dollar | 0 | 0 | 2300000 | 2300000 | 2300000
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 11308.2726 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 207.86 | 231.41 | 256.75 | 283.89 | 312.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 3.6275 | Dollar | 207.86 | 231.41 | 228.47 | 222.58 | 218
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 148243.96 | 165042.16 | 183114.61 | 202470.27 | 223104.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 2587.132 | Dollar | 148243.96 | 165042.16 | 162946.86 | 158746.99 | 155481.57
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 771903.33 | 859371.21 | 953474.12 | 1054258.64 | 1161702.21
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 13471.1444 | Dollar | 771903.33 | 859371.21 | 848461.05 | 826592.38 | 809589.41
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 920355.15 | 1024644.78 | 1011636.38 | 985561.95 | 965288.98
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 3
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 3 Replacement of 11 HV Switchgear in R29
autofit | Description |  | This option delays the replacement of switchgear until R29 where a greater number is required to be replaced.
autofit | Alternative Status |  | Candidate
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Rejected: This option does not return the best value to the business.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 3 Replacement of 11 HV Switchgear in R29 |  | Capex |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 34500000 | 2020749.11
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 11656.3151 | 22.6%
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 3.419 | 0.01%
[9 empty] | UARM - Network Performance Risk |  |  | 2438.4635 | 4.73%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 12697.0304 | 24.62%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Total Investment Cost |  |  | -24774.4789 | 48.04%
[9 empty] | Total |  |  | 2020.7491
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2029 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2029 | -24774.4789 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 11656.3151 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 207.86 | 231.41 | 256.75 | 283.89 | 312.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 3.419 | Dollar | 207.86 | 231.41 | 256.75 | 283.89 | 312.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 148243.96 | 165042.16 | 183114.61 | 202470.27 | 223104.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 2438.4635 | Dollar | 148243.96 | 165042.16 | 183114.61 | 202470.27 | 223104.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 771903.33 | 859371.21 | 953474.12 | 1054258.64 | 1161702.21
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 12697.0304 | Dollar | 771903.33 | 859371.21 | 953474.12 | 1054258.64 | 1161702.21
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 4
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name |  | Option 4 Replacement of 6 HV Switchgear in R24 Revised
autofit | Description |  | This option is essentially the same as Option 1 (replace 6 switchgear units in R24), however the timing of the expenditure is optimised for greater value.
autofit | Alternative Status |  | Recommended
autofit | Alternative Start Date |  | 4547400%
| Reason for selection/rejection |  | Revised to improve delivery profile. This option is the greatest value option and is thus the recommended option. This option is in line with budget for R24. This option treats the highest risk assets.
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
| Option 4 Replacement of 6 HV Switchgear in R24 Revised |  | Capex |  |  | 2300000 | 4512427 | 6300000 | 1000000 | 0 | 14112427 | 34812427 | 1089294.96
|  |  | Opex |  |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Terminal Value |  |  | 10827.4616 | 19.67%
[9 empty] | UARM - Environment and Community - Fire Risk |  |  | 0 | 0%
[9 empty] | UARM - Safety & People - Worker |  |  | 3.8928 | 0.01%
[9 empty] | UARM - Network Performance Risk |  |  | 2776.3465 | 5.04%
[9 empty] | UARM - Environment and Community - Other Risk |  |  | 0 | 0%
[9 empty] | UARM - Financial Risk |  |  | 14456.3807 | 26.27%
[9 empty] | UARM - Safety & People - Public |  |  | 0 | 0%
[9 empty] | Total Investment Cost |  |  | -26974.7866 | 49.01%
[9 empty] | Total |  |  | 1089.295
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE | Investment Cost | CAPEX Cost |  | Outcome | 2024 | 0 | Dollar | 2300000 | 4512427 | 6300000 | 1000000 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE | Investment Cost | Total Investment Cost |  | Outcome | 2024 | -26974.7866 | Dollar | 2300000 | 4512427 | 6300000 | 1000000 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE | Terminal Value | Terminal Value |  | Outcome | 2048 | 10827.4616 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE | UARM - PA to Investment | UARM - Environment and Community - Fire Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Baseline |  | 0 | Dollar | 207.86 | 231.41 | 256.75 | 283.89 | 312.82
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE | UARM - PA to Investment | UARM - Safety & People - Worker |  | Outcome | 2024 | 3.8928 | Dollar | 184.8 | 156.21 | 146.42 | 148.79 | 168.19
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE | UARM - PA to Investment | UARM - Network Performance Risk |  | Baseline |  | 0 | Dollar | 148243.96 | 165042.16 | 183114.61 | 202470.27 | 223104.8
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE | UARM - PA to Investment | UARM - Network Performance Risk |  | Outcome | 2024 | 2776.3465 | Dollar | 131799.73 | 111411.83 | 104430.88 | 106115.27 | 119951.92
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE | UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Environment and Community - Other Risk |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
| UARM - PA to Investment | UARM - Financial Risk |  | Baseline |  | 0 | Dollar | 771903.33 | 859371.21 | 953474.12 | 1054258.64 | 1161702.21
| UARM - PA to Investment | UARM - Financial Risk |  | Outcome | 2024 | 14456.3807 | Dollar | 686278.54 | 580119.19 | 543769.48 | 552540.1 | 624587.26
| UARM - PA to Investment | UARM - Safety & People - Public |  | Baseline |  | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE | UARM - PA to Investment | UARM - Safety & People - Public |  | Outcome | 2024 | 0 | Dollar | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 920355.15 | 1024644.78 | 1136845.48 | 1257012.8 | 1385119.83
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 818263.07 | 691687.23 | 648346.78 | 658804.16 | 744707.37
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 5 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## Option 6 (hidden)
alternative
| Investment Evaluation Summary |  |  |  |  | Investment Code |  | Report Start Year |  | Number of Years | Base Fiscal Year | Currency Scale
[6 empty] | PRJ000629 |  | 2025 |  | 25 | FY23 | Literal
[6 empty] | Investment Name | [5 empty] | Scenario
[6 empty] | R24_T_SB_RENSW_HV SWITCHGEAR REPLACEMENT | [5 empty] | Approved
autofit | Value Function |  | TasNetworks Value Function |  |  | Version |  | 0.1 |  | Date |  | 2022-10-28
Alternative Overview
75679 | Alternative Name
autofit | Description
autofit | Alternative Status
autofit | Alternative Start Date
Reason for selection/rejection
Alternative Spend Profile and Alternative Value
| Name |  | Account Type |  |  | 2025 | 2026 | 2027 | 2028 | 2029 | R24 Expenditure | Total Expenditure | NPV
0
0
[9 empty] | Value Function Measure |  |  | Value | Value in %
[9 empty] | Total |  |  | 0
Alternative Value Details
| Value Model | Value Measure |  | Type | Impact Year | Value | Unit | 2025 | 2026 | 2027 | 2028 | 2029
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostCAPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostOPEX CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacInvestment CostInvestment CostTotal Investment CostFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacTerminal ValueTerminal ValueTerminal ValueFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Fire RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - WorkerFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Network Performance RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Environment and Community - Other RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskTRUE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Financial RiskFALSE
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicTRUE | [6 empty] | Baseline | 0 | 0 | 0 | 0 | 0
75679PRJ000652 / R24_D_OH_REPOL_Basic Fleet Pole ReplacUARM - PA to InvestmentUARM - PA to InvestmentUARM - Safety & People - PublicFALSE | [6 empty] | Outcome | 0 | 0 | 0 | 0 | 0
Note: Based on the characteristics of the value model, Financial Benefits & Costs was excluded from the chart above - please refer to the "Economic Analysis" sheet for the full breakdown of Investment Value.

## TextFormatting (hidden)
Index | 8
Column Width | 238
Font | Calibri
Font Size | 11
Font Colour
Text | Sheet | Group | Field | Row Height | Row Number
Replace high voltage switch gear systems due to condition, age and safety issues. | Investment Summary | Header | Description | 15 | 9
In a transmission system, switchgear is composed of electrical disconnector switches, fuses or circuit breakers used to control, protect and isolate electrical equipment. Switchgear is used both to de-energise equipment to allow work to be done safely and to clear faults downstream. These assets are directly linked to the reliability of the electricity supply. Switchgear is further used to enhance system availability by allowing more than one source to feed a load. The TasNetworks fleet of High Voltage (HV) Switchgear supports the safe operation and protection of equipment installed in the transmission network. It is vital from a functionality, safety and regulatory perspective that these be present and serviceable. TasNetworks has HV systems operating at 44,33,22,11 and 6.6 kV. The predominant operating voltages are 22 kV and 11 kV. The HV Switchgear facilitate the delivery of power to businesses and household across Tasmania. TasNetworks HV Switchgear can be categorised based on the insulating medium used. There are four insulating mediums used the fleet of HV Switchgear; air, oil, sulphur hexafluoride gas (SF6) and vacuum. Approximately 93% of the fleet is insulated with SF6 or vacuum. This is a complex fleet of HV Switchgear. The fleet of 577 HV Switchgear assets comprise of 13 individual manufacturers. There are 46 unique models of HV Switchgear. The average age of the fleet is 17 years. Based the Australian Energy Regulator (AER) the economic life of switchgear is 45 years. Whilst currently there are no assets in this category which are due for replacement based purely on age, by 2028 there will be 80 units due for replacement. Considering the significant bow wave of HV switchgear assets approaching the end of life, the assets were further reviewed for technical risk, condition and operational deficiency. Further, the need to conduct congruent work at any sites, it was considered prudent to align the change-out timing. The condition of electrical switchgear deteriorate due to age, operations, operating temperatures and the amount of contaminants in and around the assets. HV Switchgear has been known to fail catastrophically sending projectiles through the air. Typically the HV Switchgear is protected from catastrophic failure by fault relays. | Investment Summary | 0.1 Overview | Background | 405 | 16
TasNetworks has a number of HV switchgear that possess technical risk, condition and operational deficiency and are also aged. There is an inherent technical risk with HV switchgear that does not have internal arc flash protection. An arc flash is a type of electrical explosion or discharge that results from a connection through air to ground or another voltage phase in an electrical system. This can be very dangerous to anyone standing in front of a switchgear cabinet when the arc flash occurs. TasNetworks has 106 switchgear units which do not have internal arc flash protection. The metal clad HV switchgear in the TasNetworks fleet has persistent corona and tracking issues. Much of the metal clad HV switchgear requiring new parts are no longer supported by manufacturers. Spare parts cannot be purchased. | Investment Summary | 0.1 Overview | Problem Definition | 165 | 17
TasNetworks has a customer and stakeholder engagement strategy to inform the existing program of work and the upcoming revenue submission. The feedback obtained informs the approach taken by TasNetworks to align our investments with customer needs and impacts. Customer needs addressed by this investment include: - affordability; - supply reliability and safety of the current network; - resilience to future impacts including climate change; and - investment in future networks to unlock community benefits in renewable energy products and services. This project specifically addresses the requirements of consumers in the areas of supply reliability and safety, affordability and investment in future networks to unlock community benefits in renewable energy products and services. Customers will continue to be consulted through routine TasNetworks processes, including the Voice of the Customer program, the Annual Planning Review and ongoing regular customer liaison meetings | Investment Summary | 02. Customer Needs and Impact | Customer Needs and impact | 225 | 18
Significant incidents/ Reportable incidents: Proactive and preventative intervention eliminates the risks associated with catastrophic failure of assets. | Objectives and Analysis | 03. Business Performance Objectives | Safety and Wellbeing | 45 | 17
Customer net promoter score: Maintaining uninterrupted, secure supply to customers through commercially sensitive risk reduction. | Objectives and Analysis | 03. Business Performance Objectives | Our Customers | 45 | 18
Employee engagement: Maintain our vision of ‘powering a bright future.’ Investment will help our employees feel that our asset management practices sufficiently manage our risks and that we are empowered to have a positive effect on our risks. | Objectives and Analysis | 03. Business Performance Objectives | Our People | 90 | 19
Capital expenditure: Ensure risk-based approach to financial commitments through the use of specialised tools, TQR and NPV, and in alignment with the AER National Electricity Rules obligations. Investment reduces our total cost when compared to run-to-failure. Operating expenditure: Maintaining network assets to sustain a balanced approach to expenditure. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Sustained Cost Management | 150 | 20
Service incentive bonuses earned - transmission: Providing a reliable platform from which the business can achieve an incentive payment. | Objectives and Analysis | 03. Business Performance Objectives | Our Business - Network Service | 45 | 21
The proactive approach to asset replacement will eliminate this risk to workers. Workers in the area may be impacted by the catastrophic failure of the asset if they are in the immediate vicinity. | Objectives and Analysis | 04. Business Risks | Death or Injury (Employee) | 30 | 23
| Objectives and Analysis | 04. Business Risks | Death or Injury (Public) | 15 | 24
If a sustainable proactive program is not implemented, increased failure rates will result in a large increase in the program of work and ultimately increase power price to customer. | Objectives and Analysis | 04. Business Risks | Sustainable and Predictable Pricing | 30 | 25
These assets support the delivery power supply to the local and regional area. Replacement aims to lower the likelihood of failure and limit risk exposure. A run-to-failure strategy would increase the failure rate and risk exposure. | Objectives and Analysis | 04. Business Risks | Widespread Power Disruption | 60 | 26
| Objectives and Analysis | 04. Business Risks | Bushfire Start | 15 | 27
| Objectives and Analysis | 04. Business Risks | Loss of Major Industrial | 15 | 28
Customers have an expectation of consistent and reliable power supply which these assets provide. | Objectives and Analysis | 04. Business Risks | Customer Focus | 15 | 29
| Objectives and Analysis | 04. Business Risks | Business Continuity Management | 15 | 30
| Objectives and Analysis | 04. Business Risks | Cyber Security | 15 | 31
| Objectives and Analysis | 04. Business Risks | Private Assets | 15 | 32
| Objectives and Analysis | 04. Business Risks | Energy Policy and Regulation | 15 | 33
| Objectives and Analysis | 04. Business Risks | Project Marinus (D&A) | 15 | 34
| Objectives and Analysis | 04. Business Risks | Tasmanian Power System Complexity | 15 | 35
| Objectives and Analysis | 04. Business Risks | Emerging Complexity of the NEM | 15 | 36
The strategic objective is to manage the risk to customers by developing a risk based strategic plan. In doing so, a number of HV Switchgear have been identified for replacement as part of the longer-term plan. This includes a condition/risk-based approach to manage the assets to maintain reliability and security of the network and effectively manage the risks associated with maintaining the asset. This work will support the business meet and manage the expected demand for the state of Tasmania now and into the future. It will deliver quality, reliable and secure supply to our customers. | Objectives and Analysis | 05. Strategic Objectives | Strategic Objectives | 105 | 38
Towards 2030 We continually assess what value means to our customers to better serve all our stakeholders: The forward demand in this area has been reviewed with Network Planning and the most appropriate customer centric option selected. Ensuring our electricity network remains resilient and fit-for-purpose by proactively maintaining assets, designing out risks, and making prudent investments of long-term value: The long-term impact of asset maintenance and renewal has been reviewed out to 2050. The analysis clearly demonstrates work should be done to mitigate risks to customers now and into the future. To ensure our capital is used wisely, we will streamline our investment planning to achieve optimised investment strategies and have the best delivery model: Investment planning has been developed to align all asset categories. The plan has been developed out to 2050 to ensure the long-term objectives of optimising investment strategies is achieved. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #1 | 225 | 39
TasNetworks Business Plan 2021-22 Our services reflect our customers’ needs and expectations: There is a significant community in and surrounding the Rosebery substation that rely on it for continuous supply. Define and efficiently deliver our work: This work supports a long-term program which aims to support deliverability. We operate our business to be sustainable: The proposed plan is designed to build in sustainability in supply and deliverability. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #2 | 150 | 40
National Energy Regulator (NER) 6A.6.7 (Transmission) Meet of manage the expected demand for prescribed services: The proposal considers the demand from prescribed services and meets this expectation. Comply with all applicable regulatory obligations associated with the provision of prescribed services: This proposal complies with all applicable regulatory obligations associated with the provision of prescribed services. Maintain the quality, reliability and security of supply of prescribed services: The proposal considers the quality, reliability and security of prescribed services and meets this expectation. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #3 | 150 | 41
Network Drivers Ensuring our future roadmap specific drivers of change are achieved, including items most likely to affect customers: This work will be achieved in alignment with the relevant Transmission Network Drivers. Including customer needs, cybersecurity & digital trust, environment, social & governance and resilience. | Objectives and Analysis | 05. Strategic Objectives | Strategic Document #4 | 75 | 42
| Objectives and Analysis | 05. Strategic Objectives | Strategic Document #5 | 15 | 43
The project objective is compliance with the objectives set out in the national Electricity Rules, section 6A.6.7. Compliance maintains a secure service to the Tasmanian community and major customers. This project will also determine and deliver a program to appropriately managed the risks associated with the HV switchgear, with an aim to maintain the assets reliability and security of the network and effectively manage the risk to personnel in the event of failure. A number of candidate options have been considered to ascertain the recommended option. | Objectives and Analysis | 06. Project Objectives | Project Objectives | 135 | 44
TasNetworks participates in various formal benchmarking forums to benchmark asset management practiced against international and national transmission companies. Various inputs obtained from these benchmarking forums have been utilised in the assessment of options. Key Benchmarking forums include: - International Transmission Operations and Maintenance Study (ITOMS); - The SKM assessment of proposed regulatory asset lives, August 2013, is the point of reference for asset life; - Australian and New Zealand Chief Executive Officers Benchmarking forum, Energy Supply Association of Australia (ESAA), and - Regulatory Information Notices (RINs), Australian Energy Regulator. | Objectives and Analysis | 07. Options Analysis | Benchmarking | 135 | 45
| Objectives and Analysis | 07. Options Analysis | Expert Findings | 15 | 46
The program will continue for the whole regulatory period and beyond. | Objectives and Analysis | 08. Investment Timing | Investment Timing | 15 | 47
The benefits to TasNetworks from implementation of the preferred option will be: - the NPV analysis clearly shows that the preferred option provided the best economic outcome for the business; - provides a decrease in risk to reliable service to customers; - meets NER objectives; - HV Switchgear is suitable for the application, with a decrease in technical and operational risk; and - risk of asset failure addressed. | Objectives and Analysis | 09. Expected Outcomes and Benefits | Expected Outcomes and Benefits | 105 | 48
It is assumed that the master data is correct. It is assumed that all the maintenance had been done on time. It was assumed that the assets had not experienced any single over loading event that would significantly affect the life of the asset. Risk Basis of Preparation: Safety & People (Worker) - Based on switchgear having required replacement in last 5 years. Some switch gear isn't arc flash protected so likelihood of injury is increased. All likelihoods are the same, as the difference between them would be determined by the position of the person in relation to the equipment at the time. Investigation Costs - Estimated based on number of failures per annum as all failures would be investigated. Network Performance (Outage Duration) - Time of replacement on average state wide. Based on time to undertake distribution network switching to restore HV feeder supply. Network Performance (Load Impacted) - Business customer - Commercial | Objectives and Analysis | 10. Assumptions | Assumptions | 210 | 49
NA | Objectives and Analysis | 11. Regulatory Considerations | Regulatory Investment Test | 15 | 50
Yes | Objectives and Analysis | 11. Regulatory Considerations | Meet or manage the expected demand for Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 51
Yes | Objectives and Analysis | 11. Regulatory Considerations | Comply with all applicable regulatory obligations associated with the provision of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 52
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the quality, reliability and security of supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 53
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the reliability and security of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 54
Yes | Objectives and Analysis | 11. Regulatory Considerations | Maintain the safety of the system through the supply of Standard Control Services (Distribution)/Prescribed Services (Transmission). | 15 | 55
It is recommended that option 4 is approved and progressed as it best satisfies the customer and business needs. | Objectives and Analysis | 12. Recommendation | Recommendation | 15 | 56
This option replaces 6 switchgear units in R24 to reduce risk or asset failure | Option 1 | Description |  | 15
Rejected: This option does not return the best value to the business. This option is in line with budget for R24. This option treats the highest risk assets. | Option 1 | Reason for selection/rejection |  | 45
This option replaces 3 switchgear units in R24 to reduce risk or asset failure | Option 2 | Description |  | 15
Rejected: This option is in line with budget for R24. This option treats the highest risk assets, with greater residual risk remaining compared to other options. This option does not return the best value to the business. | Option 2 | Reason for selection/rejection |  | 60
This option delays the replacement of switchgear until R29 where a greater number is required to be replaced. | Option 3 | Description |  | 15
Rejected: This option does not return the best value to the business. | Option 3 | Reason for selection/rejection |  | 15
This option is essentially the same as Option 1 (replace 6 switchgear units in R24), however the timing of the expenditure is optimised for greater value. | Option 4 | Description |  | 15
Revised to improve delivery profile. This option is the greatest value option and is thus the recommended option. This option is in line with budget for R24. This option treats the highest risk assets. | Option 4 | Reason for selection/rejection |  | 60
| Option 5 | Description
| Option 5 | Reason for selection/rejection
| Option 6 | Description
| Option 6 | Reason for selection/rejection