## Input
Input
Capital Expenditure
Current Period (Financial Years) | [9 empty] | Forecast Period (Calendar years) |  |  | 9 |  | 3 | 4 | 5 | 6 | 7 | 8
Project | $ | Quantum | Asset Class | Asset Driver | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Project | $ | Quantum | Asset Class | Asset Driver | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Fan Coils | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 282 | Cable relocation | 2016 | 1000 | Transmission line | Replacement | 0 | 73.8008 | 73.8008 | 73.8008 | 73.8008 | 73.8008
Liquid Chiller 1 | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | Replacement of Control System | 2016 | 1000 | Ancillary 15 - control system | Replacement | 140 | 7230.4379 | 14460.8759 | 2410.146 | 0 | 0
Liquid Chiller 2 | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | IGBTs | 2016 | 1000 | Switchyard | Replacement | 0 | 315.7783 | 157.8891 | 165.4077 | 165.4077 | 165.4077
Chilled Water Piping | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | Other minor capital works | 2016 | 1000 | Other operating assets | Replacement | 19.5 | 128.2314 | 153.6326 | 44.4686 | 12.7886 | 615.1046
Capacitors | nominal | 1000 | Switchyard | Replacement | 0 | 0 | 0 | 0 | 772 | VSD Refurbishment | 2016 | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 562.2111 | 0 | 0
Valve Cooling System | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | Coms Site Huts x 2 | 2016 | 1000 | Other operating assets | Replacement | 0 | 152.6811 | 0 | 0 | 0 | 0
Valve Cooling System Pressure Vessel Inspection | nominal | 1000 | Inspection and test equipment | Replacement | 0 | 0 | 0 | 0 | 0 | Maintenance surveillance cameras | 2016 | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 0 | 0
Reactor Cooling System | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | battery chargers | 2016 | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 137.7819 | 0 | 0
Cooling Tower - Electric Motor | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | cable fault location relays (WAP) | 2016 | 1000 | Transmission line | Replacement | 0 | 0 | 0 | 0 | 136.0722 | 0
Transformer - Cooling Fan motors | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | Capacitors | 2016 | 1000 | Switchyard | Replacement | 0 | 112.5266 | 88.9655 | 112.5266 | 82.1776 | 108.2958
Control System - Industrial Computers | nominal | 1000 | Ancillary 15 - control system | Replacement | 0 | 0 | 0 | 0 | 0 | Revenue Determination | 2017 | 1000 | Other operating assets | Non-network | 0 | 20 | 50 | 70 | 90 | 20
Motor Control Centres | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
IGBTs | nominal | 1000 | Switchyard | Replacement | 0 | 271.04 | 392.2415 | 19.6121 | 380
Control System - Interface Boards | nominal | 1000 | Ancillary 15 - control system | Replacement | 0 | 62.9564 | 30.2902 | 0 | 0
NSW runback | nominal | 1000 | Ancillary 30 | Replacement | 0 | 0 | 0 | 6.9575 | 436.8665
Positive ventilation | nominal | 1000 | Ancillary 30 | Replacement | 0 | 73.3547 | 85.7637 | 0 | 0
Security fences | nominal | 1000 | Switchyard | Non-network | 0 | 0 | 0 | 0 | 0
Additional chillers | nominal | 1000 | Ancillary 30 | Replacement | 0 | 114.9153 | 161.957 | 0 | 0
Earth switches Berri | nominal | 1000 | Switchyard | Replacement | 0 | 0 | 88.1204 | 182.8327 | 1.3029
Earth switches Red Cliffs | nominal | 1000 | Switchyard | Replacement | 0 | 0 | 88.1204 | 182.8327 | 0
Critical spares | nominal | 1000 | Switchyard | Replacement | 0 | 0 | 0 | 0 | 17
Cable relocation | nominal | 1000 | Transmission line | Replacement | 0 | 0 | 0 | 0 | 16
Refurb rotating ancill equip | nominal | 1000 | Inspection and test equipment | Replacement | 0 | 184.3883 | 0 | 0 | 0
Replacement failed test equipment | nominal | 1000 | Inspection and test equipment | Replacement | 0 | 0 | 33.2515 | 0 | 0
Loom kit | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 15.0601 | 16.7515 | 0
Sundry Assets | nominal | 1000 | Other operating assets | Replacement | 68.2408 | 0 | 0 | 0 | 0
Site security enhancement | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 935
Other minor capital works | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 51.7034 | 46.8799
Fire Suppression | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 9585.4963
Lifting hoist | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 0
Work Station Computers | nominal | 1000 | Office machines | Non-network | 0 | 0 | 0.98195 | 2.4209 | 0
FRACAS maintenance system | nominal | 1000 | Other operating assets | Non-network | 0 | 0 | 0 | 0 | 0
Berri walkway | nominal | 1000 | Ancillary 30 | Non-network | 0 | 0 | 1.683 | 0 | 0
Building | nominal | 1000 | Other operating assets | Non-network | 0 | 0 | 19.1135 | 26.1879 | 0
Revenue proposal costs | nominal | 1000 | Other operating assets | Non-network | 0 | 0 | 0 | 24.4071 | 0
Industrial batteries | nominal | 1000 | Other operating assets | Replacement | 0 | 0 | 0 | 58.674 | 0
IGBTs | nominal | 1000 | Other operating assets | Replacement | 79.101 | 0 | 0 | 0 | 0
Refurb rotating ancill equip | nominal | 1000 | Other operating assets | Replacement | 175.2986 | 0 | 0 | 0 | 0
Switchyard works | nominal | 1000 | Switchyard | Replacement | 0 | 0 | 0 | 274.7883 | 0
AER's Forecast
Project |  |  |  |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18
Expansion | 2013 |  |  |  | 0 | 0 | 0 | 0 | 0
Replacement | 2013 |  |  |  | 1706.4304 | 1292.4951 | 1669.8014 | 423.4962 | 522.2539
Non-Network | 2013 |  |  |  | 15.9896 | 5.4548 | 0 | 0 | 0
Site Security | 2013 | 1000 | Ancillary 30 | Replacement | 969.4691 | 0 | 0 | 0 | 0
IGBTs | 2013 | 1000 | Ancillary 30 | Replacement | 71.5625 | 71.5625 | 71.5625 | 71.5625 | 71.5625
Note on S11: Allen, Mark: Murraylink has been unable to reproduce the results of the AER's forecast using the figures contained in the draft determination so has back engineered the inputs to produce the AER's forecast.

## Inflation
Input
Inflation
CPI
CPI | 10/11 | 11/12 | 12/13 | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | 18/19 | 19/20 | 20/21 | 21/22 | 22/23
Date of ABS measure | 2010-09-01 | 2011-09-01 | 2012-09-01 | 2013-09-01 | 2014-09-01 | 2015-09-01 | 2016-09-01 | 2017-09-01 | 2018-09-01 | 2019-09-01 | 2020-09-01 | 2021-09-01 | 2022-09-01
All cities | 2010-09-01: 96.5; 2011-09-01: 99.8; 2012-09-01: 101.8; 2013-09-01: 104; 2014-09-01: 106.4; 2015-09-01: 108; 2016-09-01: 109.4
CPI change |  | 3.42% | 2.503% | 2.93% | 1.328% | 1.311% | 2.126% | 2% | 2% | 2% | 2% | 2% | 2%
Convert to Base Year 2017/18 | 1.1668 | 1.1282 | 1.1007 | 1.0694 | 1.0553 | 1.0417 | 1.02 | 1 | 0.98039 | 0.96117 | 0.94232 | 0.92385 | 0.90573
Convert to Base Year 2012/13 | 1.0601 | 1.025 | 1 | 0.97154 | 0.9588 | 0.9464 | 0.9267 | 0.90853 | 0.89071 | 0.87325 | 0.85612 | 0.83934 | 0.82288
Convert 2012 to nominal |  | 1 | 1.025 | 1.0551 | 1.0691 | 1.0831 | 1.1061 | 1.1282 | 1.1508 | 1.1738 | 1.1973 | 1.2212 | 1.2457

## Capex Real Dollars
Input
Actual Capital Expenditure
Current Period ($2018 '000) | [9 empty] | Forecast Period ($2018 '000)
Project | $ | Asset Class | Asset Driver |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Project | input | Asset Class | Asset Driver | 18/19 | 19/20 | 20/21 | 21/22 | 22/23
Fan Coils | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 282 | Cable relocation | 15/16 | Transmission line | Replacement | 38.4385 | 76.877 | 76.877 | 76.877 | 76.877
Liquid Chiller 1 | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Replacement of Control System | 15/16 | Ancillary 15 - control system | Replacement | 3911.7443 | 11297.7263 | 8787.1205 | 1255.3029 | 0
Liquid Chiller 2 | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | IGBTs | 15/16 | Switchyard | Replacement | 164.4703 | 246.7054 | 168.3862 | 172.3022 | 172.3022
Chilled Water Piping | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Other minor capital works | 15/16 | Other operating assets | Replacement | 87.101 | 146.8063 | 103.1792 | 29.8219 | 327.0325
Capacitors | nominal | Switchyard | Replacement |  | 0 | 0 | 0 | 0 | 772 | VSD Refurbishment | 15/16 | Other operating assets | Replacement | 0 | 0 | 292.8226 | 292.8226 | 0
Valve Cooling System | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Coms Site Huts x 2 | 15/16 | Other operating assets | Replacement | 79.5226 | 79.5226 | 0 | 0 | 0
Valve Cooling System Pressure Vessel Inspection | nominal | Inspection and test equipment | Replacement |  | 0 | 0 | 0 | 0 | 0 | Maintenance surveillance cameras | 15/16 | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 0
Reactor Cooling System | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | battery chargers | 15/16 | Other operating assets | Replacement | 0 | 0 | 71.7625 | 71.7625 | 0
Cooling Tower - Electric Motor | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | cable fault location relays (WAP) | 15/16 | Transmission line | Replacement | 0 | 0 | 0 | 70.872 | 70.872
Transformer - Cooling Fan motors | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Capacitors | 15/16 | Switchyard | Replacement | 58.6085 | 104.9453 | 104.9453 | 101.41 | 99.2064
Control System - Industrial Computers | nominal | Ancillary 15 - control system | Replacement |  | 0 | 0 | 0 | 0 | 0 | Revenue Determination | 16/17 | Other operating assets | Non-network | 10.2 | 35.7 | 61.2 | 81.6 | 56.1
Motor Control Centres | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | 0 | 15/16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IGBTs | nominal | Switchyard | Replacement |  | 0 | 286.0386 | 408.591 | 20.0043 | 380
Control System - Interface Boards | nominal | Ancillary 15 - control system | Replacement |  | 0 | 66.4402 | 31.5527 | 0 | 0
NSW runback | nominal | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 7.0966 | 436.8665
Positive ventilation | nominal | Ancillary 30 | Replacement |  | 0 | 77.4139 | 89.3385 | 0 | 0
Security fences | nominal | Switchyard | Non-network |  | 0 | 0 | 0 | 0 | 0
Additional chillers | nominal | Ancillary 30 | Replacement |  | 0 | 121.2744 | 168.7078 | 0 | 0
Earth switches Berri | nominal | Switchyard | Replacement |  | 0 | 0 | 91.7935 | 186.4893 | 1.3029
Earth switches Red Cliffs | nominal | Switchyard | Replacement |  | 0 | 0 | 91.7935 | 186.4893 | 0
Critical spares | nominal | Switchyard | Replacement |  | 0 | 0 | 0 | 0 | 17
Cable relocation | nominal | Transmission line | Replacement |  | 0 | 0 | 0 | 0 | 16
Refurb rotating ancill equip | nominal | Inspection and test equipment | Replacement |  | 0 | 194.5918 | 0 | 0 | 0
Replacement failed test equipment | nominal | Inspection and test equipment | Replacement |  | 0 | 0 | 34.6375 | 0 | 0
Loom kit | nominal | Other operating assets | Replacement |  | 0 | 0 | 15.6878 | 17.0865 | 0
Sundry Assets | nominal | Other operating assets | Replacement |  | 72.9737 | 0 | 0 | 0 | 0
Site security enhancement | nominal | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 935
Other minor capital works | nominal | Other operating assets | Replacement |  | 0 | 0 | 0 | 52.7375 | 46.8799
Fire Suppression | nominal | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 9585.4963
Lifting hoist | nominal | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 0
Work Station Computers | nominal | Office machines | Non-network |  | 0 | 0 | 1.0229 | 2.4693 | 0
FRACAS maintenance system | nominal | Other operating assets | Non-network |  | 0 | 0 | 0 | 0 | 0
Berri walkway | nominal | Ancillary 30 | Non-network |  | 0 | 0 | 1.7532 | 0 | 0
Building | nominal | Other operating assets | Non-network |  | 0 | 0 | 19.9102 | 26.7117 | 0
Revenue proposal costs | nominal | Other operating assets | Non-network |  | 0 | 0 | 0 | 24.8952 | 0
Industrial batteries | nominal | Other operating assets | Replacement |  | 0 | 0 | 0 | 59.8475 | 0
IGBTs | nominal | Other operating assets | Replacement |  | 84.587 | 0 | 0 | 0 | 0
Refurb rotating ancill equip | nominal | Other operating assets | Replacement |  | 187.4564 | 0 | 0 | 0 | 0
Switchyard works | nominal | Switchyard | Replacement |  | 0 | 0 | 0 | 280.284 | 0
AER Forecast
Current Period ($2018 '000)
Project | $ | Asset Class | Asset Driver |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18
Expansion | 12/13 |  | Expansion |  | 0 | 0 | 0 | 0 | 0
Replacement | 12/13 |  | Replacement |  | 1878.24 | 1422.6281 | 1837.923 | 466.1353 | 574.8363
Non-Network | 12/13 |  | Non-Network |  | 17.5995 | 6.004 | 0 | 0 | 0
Site Security | 12/13 | Ancillary 30 | Replacement | 0 | 1067.0787 | 0 | 0 | 0 | 0
IGBTs | 12/13 | Ancillary 30 | Replacement | 0 | 78.7677 | 78.7677 | 78.7677 | 78.7677 | 78.7677
By Asset Class
|  |  |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
Switchyard |  |  |  | 0 | 286.0386 | 592.1779 | 392.983 | 1170.3029 | 2441.5024 | Switchyard |  |  |  | 223.0788 | 351.6508 | 273.3316 | 273.7122 | 271.5086 | 1393.2819
Transmission line |  |  |  | 0 | 0 | 0 | 0 | 16 | 16 | Transmission line |  |  |  | 38.4385 | 76.877 | 76.877 | 147.749 | 147.749 | 487.6905
Easements |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Easements |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Ancillary 15 - control system |  |  |  | 0 | 66.4402 | 31.5527 | 0 | 0 | 97.9929 | Ancillary 15 - control system |  |  |  | 3911.7443 | 11297.7263 | 8787.1205 | 1255.3029 | 0 | 25251.894
Ancillary 30 |  |  |  | 0 | 198.6883 | 259.7994 | 7.0966 | 718.8665 | 1184.4508 | Ancillary 30 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Inspection and test equipment |  |  |  | 0 | 194.5918 | 34.6375 | 0 | 0 | 229.2293 | Inspection and test equipment |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Other operating assets |  |  |  | 72.9737 | 0 | 35.598 | 181.2784 | 10567.3762 | 10857.2264 | Other operating assets |  |  |  | 176.8236 | 262.0289 | 528.9643 | 476.007 | 383.1325 | 1826.9563
Office machines |  |  |  | 0 | 0 | 1.0229 | 2.4693 | 0 | 3.4922 | Office machines |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Total |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  |  | 72.9737 | 745.7588 | 954.7885 | 583.8274 | 12472.5457 | 14829.894 | Total |  |  |  | 4350.0851 | 11988.283 | 9666.2934 | 2152.7711 | 802.3901 | 28959.8228
By Driver
|  |  |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
Expansion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Expansion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Replacement |  |  |  | 72.9737 | 745.7588 | 932.1022 | 529.7512 | 12472.5457 | 14753.1316 | Replacement |  |  |  | 4339.8851 | 11952.583 | 9605.0934 | 2071.1711 | 746.2901 | 28715.0228
Non-network |  |  |  | 0 | 0 | 22.6862 | 54.0763 | 0 | 76.7625 | Non-network |  |  |  | 10.2 | 35.7 | 61.2 | 81.6 | 56.1 | 244.8
Total |  |  |  | 72.9737 | 745.7588 | 954.7885 | 583.8274 | 12472.5457 | 14829.894 | Total |  |  |  | 4350.0851 | 11988.283 | 9666.2934 | 2152.7711 | 802.3901 | 28959.8228

## Capex Nominal Dollars
Input
Actual Capital Expenditure
Current Period (nominal '000) | [8 empty] | Forecast Period (nominal '000)
Project | Asset Class | Asset Driver |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Project | Asset Driver | Asset Driver | 18/19 | 19/20 | 20/21 | 21/22 | 22/23
Fan Coils | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 282 | Cable relocation | Transmission line | Replacement | 39.2073 | 79.9828 | 81.5825 | 83.2141 | 84.8784
Liquid Chiller 1 | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Replacement of Control System | Ancillary 15 - control system | Replacement | 3989.9792 | 11754.1545 | 9324.9626 | 1358.7803 | 0
Liquid Chiller 2 | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | IGBTs | Switchyard | Replacement | 167.7597 | 256.6723 | 178.6928 | 186.5054 | 190.2356
Chilled Water Piping | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Other minor capital works | Other operating assets | Replacement | 88.843 | 152.7373 | 109.4946 | 32.2802 | 361.0704
Capacitors | Switchyard | Replacement |  | 0 | 0 | 0 | 0 | 772 | VSD Refurbishment | Other operating assets | Replacement | 0 | 0 | 310.7457 | 316.9606 | 0
Valve Cooling System | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Coms Site Huts x 2 | Other operating assets | Replacement | 81.113 | 82.7353 | 0 | 0 | 0
Valve Cooling System Pressure Vessel Inspection | Pressure vessel testing, inspection and test equipment | Replacement |  | 0 | 0 | 0 | 0 | 0 | Maintenance surveillance cameras | Other operating assets | Replacement | 0 | 0 | 0 | 0 | 0
Reactor Cooling System | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | battery chargers | Other operating assets | Replacement | 0 | 0 | 76.1549 | 77.678 | 0
Cooling Tower - Electric Motor | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | cable fault location relays (WAP) | Transmission line | Replacement | 0 | 0 | 0 | 76.7141 | 78.2484
Transformer - Cooling Fan motors | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | Capacitors | Switchyard | Replacement | 59.7806 | 109.1851 | 111.3688 | 109.7694 | 109.5319
Control System - Industrial Computers | Ancillary 15 - control system | Replacement |  | 0 | 0 | 0 | 0 | 0 | Revenue Determination | Other operating assets | Non-network | 10.404 | 37.1423 | 64.9459 | 88.3265 | 61.9389
Motor Control Centres | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IGBTs | Switchyard | Replacement |  | 0 | 271.04 | 392.2415 | 19.6121 | 380
Control System - Interface Boards | Ancillary 15 - control system | Replacement |  | 0 | 62.9564 | 30.2902 | 0 | 0
NSW runback | Ancillary 30 | Replacement |  | 0 | 0 | 0 | 6.9575 | 436.8665
Positive ventilation | Ancillary 30 | Replacement |  | 0 | 73.3547 | 85.7637 | 0 | 0
Security fences | Switchyard | Non-network |  | 0 | 0 | 0 | 0 | 0
Additional chillers | Ancillary 30 | Replacement |  | 0 | 114.9153 | 161.957 | 0 | 0
Earth switches Berri | Switchyard | Replacement |  | 0 | 0 | 88.1204 | 182.8327 | 1.3029
Earth switches Red Cliffs | Switchyard | Replacement |  | 0 | 0 | 88.1204 | 182.8327 | 0
Critical spares | Switchyard | Replacement |  | 0 | 0 | 0 | 0 | 17
Cable relocation | Transmission line | Replacement |  | 0 | 0 | 0 | 0 | 16
Refurb rotating ancill equip | Inspection and test equipment | Replacement |  | 0 | 184.3883 | 0 | 0 | 0
Replacement failed test equipment | Inspection and test equipment | Replacement |  | 0 | 0 | 33.2515 | 0 | 0
Loom kit | Other operating assets | Replacement |  | 0 | 0 | 15.0601 | 16.7515 | 0
Sundry Assets | Other operating assets | Replacement |  | 68.2408 | 0 | 0 | 0 | 0
Site security enhancement | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 935
Other minor capital works | Other operating assets | Replacement |  | 0 | 0 | 0 | 51.7034 | 46.8799
Fire Suppression | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 9585.4963
Lifting hoist | Other operating assets | Replacement |  | 0 | 0 | 0 | 0 | 0
Work Station Computers | Office machines | Non-network |  | 0 | 0 | 0.98195 | 2.4209 | 0
FRACAS maintenance system | Other operating assets | Non-network |  | 0 | 0 | 0 | 0 | 0
Berri walkway | Ancillary 30 | Non-network |  | 0 | 0 | 1.683 | 0 | 0
Building | Other operating assets | Non-network |  | 0 | 0 | 19.1135 | 26.1879 | 0
Revenue proposal costs | Other operating assets | Non-network |  | 0 | 0 | 0 | 24.4071 | 0
Industrial batteries | Other operating assets | Replacement |  | 0 | 0 | 0 | 58.674 | 0
IGBTs | Other operating assets | Replacement |  | 79.101 | 0 | 0 | 0 | 0
Refurb rotating ancill equip | Other operating assets | Replacement |  | 175.2986 | 0 | 0 | 0 | 0
Switchyard works | Switchyard | Replacement |  | 0 | 0 | 0 | 274.7883 | 0
AER Forecast
Current Period (nominal '000)
Project | Asset Class | Asset Driver |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18
Expansion | 0 | Expansion |  | 0 | 0 | 0 | 0 | 0
Replacement | 0 | Replacement |  | 1756.4235 | 1348.032 | 1764.38 | 456.9954 | 574.8363
Non-Network | 0 | Non-Network |  | 16.4581 | 5.6892 | 0 | 0 | 0
Site Security | Ancillary 30 | Replacement |  | 997.8715 | 0 | 0 | 0 | 0
IGBTs | Ancillary 30 | Replacement |  | 73.6591 | 74.6375 | 75.6159 | 77.2233 | 78.7677
By Asset Class
|  |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
Switchyard |  |  | 0 | 271.04 | 568.4824 | 385.2775 | 1170.3029 | 2395.1028 | Switchyard |  |  | 227.5403 | 365.8575 | 290.0617 | 296.2748 | 299.7674 | 1479.5017
Transmission line |  |  | 0 | 0 | 0 | 0 | 16 | 16 | Transmission line |  |  | 39.2073 | 79.9828 | 81.5825 | 159.9283 | 163.1268 | 523.8277
Easements |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Easements |  |  | 0 | 0 | 0 | 0 | 0 | 0
Ancillary 15 - control system |  |  | 0 | 62.9564 | 30.2902 | 0 | 0 | 93.2465 | Ancillary 15 - control system |  |  | 3989.9792 | 11754.1545 | 9324.9626 | 1358.7803 | 0 | 26427.8765
Ancillary 30 |  |  | 0 | 188.27 | 249.4038 | 6.9575 | 718.8665 | 1163.4977 | Ancillary 30 |  |  | 0 | 0 | 0 | 0 | 0 | 0
Inspection and test equipment |  |  | 0 | 184.3883 | 33.2515 | 0 | 0 | 217.6398 | Inspection and test equipment |  |  | 0 | 0 | 0 | 0 | 0 | 0
Other operating assets |  |  | 68.2408 | 0 | 34.1736 | 177.724 | 10567.3762 | 10847.5146 | Other operating assets |  |  | 180.36 | 272.6149 | 561.3412 | 515.2453 | 423.0093 | 1952.5707
Office machines |  |  | 0 | 0 | 0.98195 | 2.4209 | 0 | 3.4028 | Office machines |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Total |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 68.2408 | 706.6546 | 916.5834 | 572.3798 | 12472.5457 | 14736.4043 | Total |  |  | 4437.0868 | 12472.6097 | 10257.9479 | 2330.2286 | 885.9035 | 30383.7766
By Driver
|  |  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
Expansion |  |  | 0 | 0 | 0 | 0 | 0 | 0 | Expansion |  |  | 0 | 0 | 0 | 0 | 0 | 0
Replacement |  |  | 68.2408 | 706.6546 | 894.8049 | 519.3639 | 12472.5457 | 14661.6099 | Replacement |  |  | 4426.6828 | 12435.4674 | 10193.002 | 2241.9022 | 823.9646 | 30121.019
Non-network |  |  | 0 | 0 | 21.7785 | 53.0159 | 0 | 74.7944 | Non-network |  |  | 10.404 | 37.1423 | 64.9459 | 88.3265 | 61.9389 | 262.7576
Total |  |  | 68.2408 | 706.6546 | 916.5834 | 572.3798 | 12472.5457 | 14736.4043 | Total |  |  | 4437.0868 | 12472.6097 | 10257.9479 | 2330.2286 | 885.9035 | 30383.7766

## Outputs
Input |  | 14 | 15 | 16 | 17 | 18 |  |  |  | 2019 | 2020 | 2021 | 2022 | 2023
Actual Capital Expenditure
| Current Period ($'000 nominal) | [7 empty] | Forecast Period ($'000 real 2018)
| Name | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  | Name | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
|  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Fire Suppression | 0 | 0 | 0 | 0 | 9585.4963 | 9585.4963 |  | Replacement of Control System | 3911.7443 | 11297.7263 | 8787.1205 | 1255.3029 | 0 | 25251.894
| Total capital expenditure ($'000) | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Actual | 322.6404 | 706.6546 | 916.5834 | 847.1681 | 12472.5457 | 15265.5922 |  | IGBTs | 164.4703 | 246.7054 | 168.3862 | 172.3022 | 172.3022 | 924.1663
| Forecast | 1772.8816 | 1353.7212 | 1764.38 | 456.9954 | 574.8363 | 5922.8144
| Difference | -1450.2412 | -647.0665 | -847.7966 | 390.1727 | 11897.7094 | 9342.7778 |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
[9 empty] | Other minor capital works | 87.101 | 146.8063 | 103.1792 | 29.8219 | 327.0325 | 693.941
|  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total
| Other minor capital works | 0 | 0 | 0 | 51.7034 | 46.8799 | 98.5834 |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
[9 empty] | VSD Refurbishment | 0 | 0 | 292.8226 | 292.8226 | 0 | 585.6452
| IGBTs | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total
| Actual | 0 | 271.04 | 392.2415 | 19.6121 | 380 | 1062.8936 |  |  | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Forecast | 73.6591 | 74.6375 | 75.6159 | 77.2233 | 78.7677 | 379.9035 |  | Capacitors | 58.6085 | 104.9453 | 104.9453 | 101.41 | 99.2064 | 469.1155
| Difference | -73.6591 | 196.4025 | 316.6256 | -57.6112 | 301.2323 | 682.9901
[10 empty] | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Site Security | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  | Revenue Determination | 10.2 | 35.7 | 61.2 | 81.6 | 56.1 | 244.8
| Actual | 0 | 0 | 0 | 0 | 935 | 935
| Forecast | 997.8715 | 0 | 0 | 0 | 0 | 997.8715 |  | Total capital expenditure ($'000) | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Difference | -997.8715 | 0 | 0 | 0 | 935 | -62.8715 |  | Expansion | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Replacement | 4339.8851 | 11952.583 | 9605.0934 | 2071.1711 | 746.2901 | 28715.0228
| Total capital expenditure ($'M) | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  | Non-network | 10.2 | 35.7 | 61.2 | 81.6 | 56.1 | 244.8
| AER forecast | 1.7729 | 1.3537 | 1.7644 | 0.457 | 0.57484 | 5.9228 |  | Total | 4350.0851 | 11988.283 | 9666.2934 | 2152.7711 | 802.3901 | 28959.8228
| Historic capital expenditure | 0.32264 | 0.70665 | 0.91658 | 0.84717 | 12.4725 | 15.2656
| Difference | -1.4502 | -0.64707 | -0.8478 | 0.39017 | 11.8977 | 9.3428 |  | Total capital expenditure ($m) | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
[9 empty] | Forecast Capital Expenditure | 4.3501 | 11.9883 | 9.6663 | 2.1528 | 0.80239 | 28.9598
As Incurred
| Switchyard | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  | Switchyard | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Switchyard | 0 | 271.04 | 568.4824 | 660.0657 | 1170.3029 | 2669.8911 |  | Switchyard | 223.0788 | 351.6508 | 273.3316 | 273.7122 | 271.5086 | 1393.2819
| Transmission line | 0 | 0 | 0 | 0 | 16 | 16 |  | Transmission line | 38.4385 | 76.877 | 76.877 | 147.749 | 147.749 | 487.6905
| Easements | 0 | 0 | 0 | 0 | 0 | 0 |  | Easements | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary 15 - control system | 0 | 62.9564 | 30.2902 | 0 | 0 | 93.2465 |  | Ancillary 15 - control system | 3911.7443 | 11297.7263 | 8787.1205 | 1255.3029 | 0 | 25251.894
| Ancillary 30 | 0 | 188.27 | 249.4038 | 6.9575 | 718.8665 | 1163.4977 |  | Ancillary 30 | 0 | 0 | 0 | 0 | 0 | 0
| Inspection and test equipment | 0 | 184.3883 | 33.2515 | 0 | 0 | 217.6398 |  | Inspection and test equipment | 0 | 0 | 0 | 0 | 0 | 0
| Other operating assets | 322.6404 | 0 | 34.1736 | 177.724 | 10567.3762 | 11101.9142 |  | Other operating assets | 176.8236 | 262.0289 | 528.9643 | 476.007 | 383.1325 | 1826.9563
| Office machines | 0 | 0 | 0.98195 | 2.4209 | 0 | 3.4028 |  | Office machines | 0 | 0 | 0 | 0 | 0 | 0
| Total | 322.6404 | 706.6546 | 916.5834 | 847.1681 | 12472.5457 | 15265.5922 |  | Total | 4350.0851 | 11988.283 | 9666.2934 | 2152.7711 | 802.3901 | 28959.8228
As Commissioned
| Switchyard | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total |  | Switchyard | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 | Total
| Switchyard | 0 | 271.04 | 568.4824 | 660.0657 | 1170.3029 | 2669.8911 |  | Switchyard | 223.0788 | 351.6508 | 273.3316 | 273.7122 | 271.5086 | 1393.2819
| Transmission line | 0 | 0 | 0 | 0 | 16 | 16 |  | Transmission line | 38.4385 | 76.877 | 76.877 | 147.749 | 147.749 | 487.6905
| Easements | 0 | 0 | 0 | 0 | 0 | 0 |  | Easements | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary 15 - control system | 0 | 62.9564 | 30.2902 | 0 | 0 | 93.2465 |  | Ancillary 15 - control system |  |  | 0 | 25251.894 | 0 | 25251.894
| Ancillary 30 | 0 | 188.27 | 249.4038 | 6.9575 | 718.8665 | 1163.4977 |  | Ancillary 30 | 0 | 0 | 0 | 0 | 0 | 0
| Inspection and test equipment | 0 | 184.3883 | 33.2515 | 0 | 0 | 217.6398 |  | Inspection and test equipment | 0 | 0 | 0 | 0 | 0 | 0
| Other operating assets | 322.6404 | 0 | 34.1736 | 177.724 | 10567.3762 | 11101.9142 |  | Other operating assets | 176.8236 | 262.0289 | 528.9643 | 476.007 | 383.1325 | 1826.9563
| Office machines | 0 | 0 | 0.98195 | 2.4209 | 0 | 3.4028 |  | Office machines | 0 | 0 | 0 | 0 | 0 | 0
| Total | 322.6404 | 706.6546 | 916.5834 | 847.1681 | 12472.5457 | 15265.5922 |  | Total | 438.3408 | 690.5567 | 879.1729 | 26149.3622 | 802.3901 | 28959.8228
TRUE
Compared to AER Forecast ($000 nominal)
|  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total
Actual
| Expansion | 0 | 0 | 0 | 0 | 0 | 0
| Replacement | 322.6404 | 706.6546 | 894.8049 | 794.1522 | 12472.5457 | 15190.7978
| Non-network | 0 | 0 | 21.7785 | 53.0159 | 0 | 0
| Total | 322.6404 | 706.6546 | 916.5834 | 847.1681 | 12472.5457 | 15265.5922 | TRUE
AER Forecast
| Expansion | 0 | 0 | 0 | 0 | 0 | 0
| Replacement | 1756.4235 | 1348.032 | 1764.38 | 456.9954 | 574.8363 | 5900.6672
| Non-network | 16.4581 | 5.6892 | 0 | 0 | 0 | 22.1473
| Total | 1772.8816 | 1353.7212 | 1764.38 | 456.9954 | 574.8363 | 5922.8144
Difference
| Expansion | 0 | 0 | 0 | 0 | 0 | 0
| Replacement | -1433.7831 | -641.3774 | -869.575 | 337.1567 | 11897.7094 | 9290.1306
| Non-network | -16.4581 | -5.6892 | 21.7785 | 53.0159 | 0 | 52.6471
| Total | -1450.2412 | -647.0665 | -847.7966 | 390.1727 | 11897.7094 | 9342.7778
Compared to AER Forecast ($m nominal)
|  | 11/12 | 12/13 | 13/14 | 14/15 | 15/16 | Total
| Actual | 0.1739 | 0.432 | 0.32264 | 0.70665 | 0.91658 | 2.5518
| AER Forecast | 0 | 1.3956 | 1.7729 | 1.3537 | 1.7644 | 6.2866
| Difference |  | -0.96364 | -1.4502 | -0.64707 | -0.8478 | -3.9087
Tables for executive summary ($m nominal)
|  | 13/14 | 14/15 | 15/16 | 16/17 | 17/18 | Total
| Historic capex | 0.32264 | 0.70665 | 0.91658 | 0.84717 | 12.4725 | 15.2656
| Fire Suppression | 0 | 0 | 0 | 0 | 9.5855 | 9.5855
| Replacement capex | 0.32264 | 0.70665 | 0.91658 | 0.84717 | 2.887 | 5.6801
Compared to Proposal
| Switchyard | Proposal |  | Revised Proposal |  | Difference
| Switchyard | 16/17 | 17/18 | 16/17 | 17/18 | 16/17 | 17/18
| Switchyard | 0.40012 | 0.088 | 0.66007 | 1.1703 | 0.25995 | 1.0823
| Transmission line | 0.008 | 0.016 | 0 | 0.016 | -0.008 | 0
| Easements | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary 15 - control system | 0.035 | 0.105 | 0 | 0 | -0.035 | -0.105
| Ancillary 30 | 0.39248 | 0.287 | 0.0069575 | 0.71887 | -0.38552 | 0.43187
| Inspection and test equipment | 0 | 0 | 0 | 0 | 0 | 0
| Other operating assets | 6.5735 | 6.735 | 0.17772 | 10.5674 | -6.3958 | 3.8324
| Office machines | 0 | 0 | 0.0024209 | 0 | 0.0024209 | 0
| Total | 7.4091 | 7.231 | 0.84717 | 12.4725 | -6.5619 | 5.2415