## Cover
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Model Developer: |  | Power and Water Corporation
Purpose of the Model:
The purpose of this model is to help assess the metering options being considered as part of the Power and Water Corporation - Determination 2019-24.
Model Legend:
|  | Assumptions | Cells containing assumptions intended to be manipulated by model users
|  | Drop Down | Cells containing a drop down list for users to select inputs
|  | Input | Cells containing input texts/numbers NOT intended to be changed by model users
|  | Output | Cells containing formulae NOT intended to be changed by model users
|  | Heading 1 | Level 1 heading NOT intended to be changed by model users
|  | Heading 2 | Level 2 heading NOT intended to be changed by model users
Cells where inputs or outputs are not applicable
|  | Hyperlink | Cells containing a hyperlink to another part of the workbook
|  | Error | Cells representing there is an error in the nominated area of the workbook
|  | Ok | Cells representing there are no errors in the nominated area of the workbook
Cells containing a link from external workbooks
Disclaimer:
This model is confidential information of, and is owned by, Power and Water Corporation ABN 15 947 352 360 (PWC). It has been developed by PWC to inform it of its new and replacement metering policy and it may not be disclosed to, or used or relied on by, any person without the consent of PWC. To the extent permitted by law, any person using or relying on this model or its outputs does so at their own risk and agrees that PWC will not be liable to any person for any loss or damage of any kind arising out of or in any way connected with the use of this model (including negligence). The references to PWC in this disclaimer includes their respective directors, officers, employees, contractors, advisers or agents.

## TOC
Table of Contents
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Table of Contents
Input worksheets
Input - Discount rate, escalation and CPI assumptions
Inputs - Meter related assumptions
Input - Meter time series assumptions
Inputs - Communications assumptions
Input - IT assumptions
Input - Meter service assumptions
Input - Other policy and investment assumptions
Input - Metering RINs
Input - Non network capex assumptions
Calculation worksheets
Calculations - Base Case - Advanced capable meters
Calculations - Targeted roll out
Calculations - Advanced meters, enabled immediately
Calculations - Advanced capable meters, enabled strategically
Calculations - Transition via advanced meters
Calculation - Scenario Cash Flows
Output worksheets
Output - NPV Summary
Outputs - Sensitivities
Output - AER Capex Forecast
Output - Metering opex step changes
Output - Metering tariffs
Output - Forecast Metering - CA RIN (2017-18 to 2023-24)
Output - Asset Management Plan
Appendix
Model Lookups
Model Checks
End

## Input_General
0 | Input - Discount rate, escalation and CPI assumptions
No Errors Found
Table of Contents
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [7 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [7 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [7 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [7 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year |  |  | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
.
Discount rate assumptions
Assumptions
|  |  | Category Heading | Source | Unit | Basis | Timing | Input
|  |  | Nominal Pre Tax WACC | SCS PTRM | Percent | N/A | N/A | 6.962%
|  |  | Real Pre Tax WACC | SCS PTRM | Percent | N/A | N/A | 4.43%
Discount factors
|  |  | Category Heading | Source | Unit | Basis | Timing | Input | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
|  |  | Nominal Pre Tax WACC Disc Factor | Calculated | Percent | N/A | N/A | 1 | 0.93491 | 0.87406 | 0.81717 | 0.76398 | 0.71426 | 0.66777 | 0.6243 | 0.58367 | 0.54568 | 0.51016 | 0.47696 | 0.44591 | 0.41689 | 0.38976 | 0.36439 | 0.34067 | 0.3185 | 0.29777 | 0.27839 | 0.26027 | 0.24333 | 0.22749 | 0.21268 | 0.19884 | 0.1859 | 0.1738 | 0.16249 | 0.15191 | 0.14202 | 0.13278 | 0.12414 | 0.11606 | 0.1085 | 0.10144 | 0.094838 | 0.088665 | 0.082894 | 0.077499 | 0.072455 | 0.067739
|  |  | Real Pre Tax WACC Disc Factor | Calculated | Percent | N/A | N/A | 1 | 0.95758 | 0.91696 | 0.87807 | 0.84082 | 0.80516 | 0.77101 | 0.7383 | 0.70699 | 0.677 | 0.64828 | 0.62078 | 0.59445 | 0.56924 | 0.54509 | 0.52197 | 0.49983 | 0.47863 | 0.45833 | 0.43889 | 0.42027 | 0.40244 | 0.38537 | 0.36903 | 0.35337 | 0.33838 | 0.32403 | 0.31029 | 0.29712 | 0.28452 | 0.27245 | 0.2609 | 0.24983 | 0.23923 | 0.22908 | 0.21937 | 0.21006 | 0.20115 | 0.19262 | 0.18445 | 0.17663
0 |  |  | Check | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Escalation rate assumptions
Labour escalation
|  |  | Category Heading | Source | Unit | Basis | Timing | Input | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
|  |  | Labour component of installation and meter read rates | ACS Opex Model | Percent | N/A | N/A | 59.7% | RY18: Note: Assumes an average 30% overhead has been included in installation rates and meter reading rates
|  |  | Real labour price escalation | SCS Opex Model | Percent | N/A | N/A |  |  | 0.8418% | 0.9% | 1% | 1.2% | 1.3% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1% | 1.1%
|  |  | Real price escalation factor | Calculated | Percent | N/A | N/A |  | 1 | 1.005 | 1.0104 | 1.0165 | 1.0237 | 1.0317 | 1.0385 | 1.0453 | 1.0521 | 1.0591 | 1.066 | 1.073 | 1.0801 | 1.0871 | 1.0943 | 1.1015 | 1.1087 | 1.116 | 1.1233 | 1.1307 | 1.1381 | 1.1456 | 1.1531 | 1.1607 | 1.1683 | 1.176 | 1.1837 | 1.1915 | 1.1993 | 1.2072 | 1.2151 | 1.2231 | 1.2311 | 1.2392 | 1.2473 | 1.2555 | 1.2638 | 1.2721 | 1.2804 | 1.2888
0 |  |  | Check | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CPI assumptions
Assumptions
|  |  | Category Heading | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
|  |  | CPI Input | ABS/RBA | Percent | N/A | N/A |  | 2% | 2.25% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425% | 2.425%
[9 empty] | RY14 | RY15 | RY16 | RY17
|  |  | CPI Input ¦ Actual | ABS | Percent | N/A | N/A |  | RY18: 3.016%; RY19: 1.511%; RY20: 1.023%; RY21: 1.934%
Note: CPI movements are based on June to June quarter ends
|  |  | Dollar Conversion | PWC | Factor | N/A | N/A | 0.5 | RY18: Note: To adjust between mid year and end of year cash flow timing
CPI indexation calculations
|  |  | Category Heading | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
|  |  | Real 2018 to Nominal | Calculated | Factor | N/A | N/A |  | 0.99015 | 1.0112 | 1.0348 | 1.0599 | 1.0856 | 1.1119 | 1.1389 | 1.1665 | 1.1948 | 1.2238 | 1.2535 | 1.2839 | 1.315 | 1.3469 | 1.3795 | 1.413 | 1.4472 | 1.4823 | 1.5183 | 1.5551 | 1.5928 | 1.6314 | 1.671 | 1.7115 | 1.753 | 1.7955 | 1.8391 | 1.8837 | 1.9293 | 1.9761 | 2.024 | 2.0731 | 2.1234 | 2.1749 | 2.2276 | 2.2816 | 2.337 | 2.3936 | 2.4517 | 2.5111
|  |  | Real 2018 to Real 2019 | Calculated | Factor | N/A | N/A |  | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225 | 1.0225
[9 empty] | RY14 | RY15 | RY16 | RY17 | RY18 | RY19
|  |  | Real 2019 to Nominal | Calculated | Factor | N/A | N/A |  | 0.90372 | 0.92415 | 0.93585 | 0.94968 | 0.96836 | 0.98894
0 |  |  | Check | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End

## Input_Meters
0 | Inputs - Meter related assumptions | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks

## Input_Meter_Movements
0 | Input - Meter time series assumptions |  |  |  |  | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date |  |  |  |  | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date |  |  |  |  | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year |  |  |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type |  |  |  |  | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Input_Comms
0 | Inputs - Communications assumptions |  |  |  |  | Commercial in confidence
No Errors Found
Go to Cover Sheet
| Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks | Source | Unit | Basis | Timing | Input

## Input_IT
0 | Input - IT assumptions |  |  |  |  | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date |  |  |  |  | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date |  |  |  |  | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year |  |  |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type |  |  |  |  | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Input_Services
0 | Input - Meter service assumptions | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks

## Input_Other
0 | Input - Other policy and investment assumptions
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Input - Other policy and investment assumptions
Meter investment assumptions
Scenario Name
|  |  | Optimal point of IT/Comms investment | Source | Unit | Basis | Timing |  | Base Case - Advanced capable meters | Targeted roll out | Advanced meters, enabled immediately | Advanced capable meters, enabled strategically | Transition via advanced meters
|  |  | Advanced Capable | PowerWater | Year | N/A | N/A |  | N/A | RY25 | RY20 | RY25 | RY25
|  |  | Advanced Meter | PowerWater | Year | N/A | N/A |  | N/A | RY18 | RY20 | RY25 | RY25
Replacement of three phase meters which have asbestos boards
|  |  | Item | Source | Unit | Basis | Timing | Input | Allows Remote Disconnection / Connections?
|  |  | Apply option 1: Do not replace board, use 3x single phase advanced plug in meters | PowerWater | Factor | N/A | N/A | Yes | No
|  |  | Apply option 2: Replace board, use 1x advanced three phase meter, bottom connected | Calculated | Factor | N/A | N/A | No | Yes
Meter competition assumptions
|  |  | Item | Source | Unit | Basis | Timing | Input
|  |  | Anticipated start of metering competition | PowerWater | Date | N/A | N/A | RY25
|  |  | Metering competition churn - % of opening balance | PowerWater | Percent | N/A | N/A | 0%
|  |  | Allow abolishments of advanced meters | PowerWater | Factor | N/A | N/A | Yes
|  |  | Allow abolishments of advanced capable meters | PowerWater | Factor | N/A | N/A | Yes
End

## Input_RIN
0 | Input - Metering RINs
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Input - Metering RINs
Category Analysis RIN
4.2.1 - METERING DESCRIPTOR METRIC
VOLUMES (0's)
|  |  | ASSET CATEGORY | ASSET SUBCATEGORY | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  | Meter Type 1 | Single phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Multi phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Current transformer connected meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Direct connect meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  | Meter Type 2 | Single phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  |  | Multi phase meter population | VOLUMES (0's) 2013-14: 8; VOLUMES (0's) 2014-15: 9; VOLUMES (0's) 2015-16: 10; VOLUMES (0's) 2016-17: 11
|  |  |  | Current transformer connected meter population | VOLUMES (0's) 2013-14: 8; VOLUMES (0's) 2014-15: 9; VOLUMES (0's) 2015-16: 10; VOLUMES (0's) 2016-17: 11
Direct connect meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  | Meter Type 3 | Single phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  |  | Multi phase meter population | VOLUMES (0's) 2013-14: 241; VOLUMES (0's) 2014-15: 243; VOLUMES (0's) 2015-16: 246; VOLUMES (0's) 2016-17: 248
|  |  |  | Current transformer connected meter population | VOLUMES (0's) 2013-14: 241; VOLUMES (0's) 2014-15: 243; VOLUMES (0's) 2015-16: 246; VOLUMES (0's) 2016-17: 248
Direct connect meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  | Meter Type 4 | Single phase meter population | VOLUMES (0's) 2013-14: 801; VOLUMES (0's) 2014-15: 801; VOLUMES (0's) 2015-16: 1301; VOLUMES (0's) 2016-17: 1801
|  |  |  | Multi phase meter population | VOLUMES (0's) 2013-14: 747; VOLUMES (0's) 2014-15: 948; VOLUMES (0's) 2015-16: 1125; VOLUMES (0's) 2016-17: 2007
|  |  |  | Current transformer connected meter population | VOLUMES (0's) 2013-14: 1520; VOLUMES (0's) 2014-15: 1578; VOLUMES (0's) 2015-16: 1595; VOLUMES (0's) 2016-17: 1719
|  |  |  | Direct connect meter population | VOLUMES (0's) 2013-14: 28; VOLUMES (0's) 2014-15: 171; VOLUMES (0's) 2015-16: 831; VOLUMES (0's) 2016-17: 2089
|  |  | Meter Type 5 | Single phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Multi phase meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Current transformer connected meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Direct connect meter population | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  | Meter Type 6 | Single phase meter population | VOLUMES (0's) 2013-14: 91690; VOLUMES (0's) 2014-15: 93674; VOLUMES (0's) 2015-16: 94995; VOLUMES (0's) 2016-17: 95968
|  |  |  | Multi phase meter population | VOLUMES (0's) 2013-14: 6474; VOLUMES (0's) 2014-15: 6614; VOLUMES (0's) 2015-16: 6707; VOLUMES (0's) 2016-17: 6776
|  |  |  | Current transformer connected meter population | VOLUMES (0's) 2013-14: 971; VOLUMES (0's) 2014-15: 992; VOLUMES (0's) 2015-16: 1006; VOLUMES (0's) 2016-17: 1016
|  |  |  | Direct connect meter population | VOLUMES (0's) 2013-14: 97194; VOLUMES (0's) 2014-15: 99297; VOLUMES (0's) 2015-16: 100697; VOLUMES (0's) 2016-17: 101728
4.2.2 - COST METRICS
EXPENDITURE
EXPENDITURE ($0's)
|  |  | SERVICE SUBCATEGORY | METER TYPE | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Expense Type | 2013-14 to 2016-17 | % of Opex BST
|  |  | Meter purchase | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 2352.09; EXPENDITURE ($0's) 2015-16: 390.09; EXPENDITURE ($0's) 2016-17: 390.09 | Capex | 3132.27 | 0%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 1500; EXPENDITURE ($0's) 2014-15: 6300; EXPENDITURE ($0's) 2015-16: 2558.18; EXPENDITURE ($0's) 2016-17: 600 | Capex | 10958.18 | 0%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 4614.54; EXPENDITURE ($0's) 2014-15: 48509.95; EXPENDITURE ($0's) 2015-16: 84651.29; EXPENDITURE ($0's) 2016-17: 153801.1214 | Capex | 291576.9014 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 346126.49; EXPENDITURE ($0's) 2014-15: 615229.95; EXPENDITURE ($0's) 2015-16: 392447.45; EXPENDITURE ($0's) 2016-17: 889059.22 | Capex | 2242863.11 | 0%
|  |  | Meter testing | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 346.875 | Opex | 346.875 | 0.00541%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 282.5469; EXPENDITURE ($0's) 2016-17: 17000.3438 | Opex | 17282.8906 | 0.2695%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 907.2708; EXPENDITURE ($0's) 2016-17: 22588.5 | Opex | 23495.7708 | 0.3664%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 859.3438; EXPENDITURE ($0's) 2016-17: 20860.3688 | Opex | 21719.7125 | 0.3387%
|  |  | Meter investigation | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 1597.0731; EXPENDITURE ($0's) 2014-15: 1597.0731; EXPENDITURE ($0's) 2015-16: 1597.0731; EXPENDITURE ($0's) 2016-17: 1597.0731 | Opex | 6388.2923 | 0.09963%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 24576.1363; EXPENDITURE ($0's) 2014-15: 24576.1363; EXPENDITURE ($0's) 2015-16: 24576.1363; EXPENDITURE ($0's) 2016-17: 24576.1363 | Opex | 98304.5451 | 1.533%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 269988.6894; EXPENDITURE ($0's) 2014-15: 269988.6894; EXPENDITURE ($0's) 2015-16: 269988.6894; EXPENDITURE ($0's) 2016-17: 269988.6894 | Opex | 1079954.7578 | 16.84%
|  |  | Scheduled meter reading | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 613791.3891; EXPENDITURE ($0's) 2014-15: 627814.2902; EXPENDITURE ($0's) 2015-16: 636755.4978; EXPENDITURE ($0's) 2016-17: 643252.3465 | Unallocated | 2521613.5237 | 0%
|  |  | Special meter reading | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 2 | [9 empty] | Unallocated | 0 | 0% | bar: EXPENDITURE ($0's) 2013-14 to EXPENDITURE ($0's) 2016-17
|  |  |  | Meter Type 3 | [9 empty] | Unallocated | 0 | 0% | bar: EXPENDITURE ($0's) 2013-14 to EXPENDITURE ($0's) 2016-17
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 9035.4407; EXPENDITURE ($0's) 2014-15: 9035.4407; EXPENDITURE ($0's) 2015-16: 9035.4407; EXPENDITURE ($0's) 2016-17: 9035.4407 | Unallocated | 36141.7629 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 165840.7183; EXPENDITURE ($0's) 2014-15: 165840.7183; EXPENDITURE ($0's) 2015-16: 165840.7183; EXPENDITURE ($0's) 2016-17: 165840.7183 | Unallocated | 663362.8733 | 0%
|  |  | New meter installation | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 2399.9286; EXPENDITURE ($0's) 2015-16: 3741.25; EXPENDITURE ($0's) 2016-17: 3861.25 | Capex | 10002.4286 | 0%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 6997.7067; EXPENDITURE ($0's) 2015-16: 8470.4739; EXPENDITURE ($0's) 2016-17: 7500.1541 | Capex | 22968.3348 | 0%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 21710.4152; EXPENDITURE ($0's) 2014-15: 171092.9014; EXPENDITURE ($0's) 2015-16: 75436.4238; EXPENDITURE ($0's) 2016-17: 0 | Capex | 268239.7405 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 290550.2171; EXPENDITURE ($0's) 2014-15: 455136.9071; EXPENDITURE ($0's) 2015-16: 305868.0329; EXPENDITURE ($0's) 2016-17: 248096.9014 | Capex | 1299652.0586 | 0%
|  |  | Meter replacement | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 5880.3675; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 5880.3675 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 10698.925; EXPENDITURE ($0's) 2014-15: 48801.29; EXPENDITURE ($0's) 2015-16: 16636.14; EXPENDITURE ($0's) 2016-17: 0 | Capex | 76136.355 | 0%
|  |  | Meter maintenance | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 52068.975; EXPENDITURE ($0's) 2015-16: 624601.2589; EXPENDITURE ($0's) 2016-17: 1792518.9889 | Opex | 2469189.2228 | 38.51%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 163233.83; EXPENDITURE ($0's) 2014-15: 383536.5; EXPENDITURE ($0's) 2015-16: 137615.36; EXPENDITURE ($0's) 2016-17: 691633.69 | Opex | 1376019.38 | 21.46%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  | Remote meter reading | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  | Remote meter re-configuration | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
|  |  | Other metering | Meter Type 1 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 2 | EXPENDITURE ($0's) 2013-14: 830.9377; EXPENDITURE ($0's) 2014-15: 830.9377; EXPENDITURE ($0's) 2015-16: 830.9377; EXPENDITURE ($0's) 2016-17: 830.9377 | Opex | 3323.7509 | 0.05184%
|  |  |  | Meter Type 3 | EXPENDITURE ($0's) 2013-14: 18733.8685; EXPENDITURE ($0's) 2014-15: 18733.8685; EXPENDITURE ($0's) 2015-16: 18733.8685; EXPENDITURE ($0's) 2016-17: 18733.8685 | Opex | 74935.4739 | 1.169%
|  |  |  | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 287655.5287; EXPENDITURE ($0's) 2014-15: 287655.5287; EXPENDITURE ($0's) 2015-16: 287655.5287; EXPENDITURE ($0's) 2016-17: 287655.5287 | Opex | 1150622.1147 | 17.95%
|  |  |  | Meter Type 5 | EXPENDITURE ($0's) 2013-14: 11473.6525; EXPENDITURE ($0's) 2014-15: 11473.6525; EXPENDITURE ($0's) 2015-16: 11473.6525; EXPENDITURE ($0's) 2016-17: 11473.6525 | Opex | 45894.6099 | 0.7158%
|  |  |  | Meter Type 6 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Opex | 0 | 0%
|  |  |  | Meter Type 7 | EXPENDITURE ($0's) 2013-14: 11072; EXPENDITURE ($0's) 2014-15: 11072; EXPENDITURE ($0's) 2015-16: 11072; EXPENDITURE ($0's) 2016-17: 11072 | Opex | 44288 | 0.6907%
|  |  | IT infrastructure capex | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  | IT infrastructure opex | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 359889.1954; EXPENDITURE ($0's) 2014-15: 364699.6737; EXPENDITURE ($0's) 2015-16: 261975.192; EXPENDITURE ($0's) 2016-17: 221960.3593 | Unallocated | 1208524.4205 | 0%
|  |  | Communications infrastructure capex | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Capex | 0 | 0%
|  |  | Communications infrastructure opex | Meter Type 4 | EXPENDITURE ($0's) 2013-14: 0; EXPENDITURE ($0's) 2014-15: 0; EXPENDITURE ($0's) 2015-16: 0; EXPENDITURE ($0's) 2016-17: 0 | Unallocated | 0 | 0%
VOLUMES
VOLUMES (0's)
[5 empty] | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  | Meter purchase | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 4; VOLUMES (0's) 2015-16: 1; VOLUMES (0's) 2016-17: 1
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 5; VOLUMES (0's) 2014-15: 21; VOLUMES (0's) 2015-16: 9; VOLUMES (0's) 2016-17: 3
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 19; VOLUMES (0's) 2014-15: 193; VOLUMES (0's) 2015-16: 609; VOLUMES (0's) 2016-17: 1279
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 1980; VOLUMES (0's) 2014-15: 2412; VOLUMES (0's) 2015-16: 1334; VOLUMES (0's) 2016-17: 1229
|  |  | Meter testing | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 1
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 1; VOLUMES (0's) 2016-17: 58
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 5; VOLUMES (0's) 2016-17: 120
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 5; VOLUMES (0's) 2016-17: 117
|  |  | Meter investigation | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 74.2208; VOLUMES (0's) 2014-15: 74.2208; VOLUMES (0's) 2015-16: 74.2208; VOLUMES (0's) 2016-17: 74.2208
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 1142.1269; VOLUMES (0's) 2014-15: 1142.1269; VOLUMES (0's) 2015-16: 1142.1269; VOLUMES (0's) 2016-17: 1142.1269
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 2343.1922; VOLUMES (0's) 2014-15: 2343.1922; VOLUMES (0's) 2015-16: 2343.1922; VOLUMES (0's) 2016-17: 2343.1922
|  |  | Scheduled meter reading | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
Meter Type 2 | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Meter Type 3 | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 559663.6845; VOLUMES (0's) 2014-15: 572449.9644; VOLUMES (0's) 2015-16: 580602.6842; VOLUMES (0's) 2016-17: 586526.6029
|  |  | Special meter reading | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
Meter Type 2 | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
Meter Type 3 | bar: VOLUMES (0's) 2013-14 to VOLUMES (0's) 2016-17
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 676.1962; VOLUMES (0's) 2014-15: 946.6747; VOLUMES (0's) 2015-16: 1217.1532; VOLUMES (0's) 2016-17: 1352.3924
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 53775.2762; VOLUMES (0's) 2014-15: 53775.2762; VOLUMES (0's) 2015-16: 53775.2762; VOLUMES (0's) 2016-17: 53775.2762
|  |  | New meter installation | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 1; VOLUMES (0's) 2015-16: 1; VOLUMES (0's) 2016-17: 1
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 2; VOLUMES (0's) 2015-16: 3; VOLUMES (0's) 2016-17: 2
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 18; VOLUMES (0's) 2014-15: 168; VOLUMES (0's) 2015-16: 86; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 1869; VOLUMES (0's) 2014-15: 2569; VOLUMES (0's) 2015-16: 1592; VOLUMES (0's) 2016-17: 1244
|  |  | Meter replacement | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 3; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 5; VOLUMES (0's) 2014-15: 19; VOLUMES (0's) 2015-16: 6; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 25; VOLUMES (0's) 2015-16: 523; VOLUMES (0's) 2016-17: 1513
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 694; VOLUMES (0's) 2014-15: 1211; VOLUMES (0's) 2015-16: 732; VOLUMES (0's) 2016-17: 2669
|  |  | Meter maintenance | Meter Type 1 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 2 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 3 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 5 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  |  | Meter Type 6 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  | Remote meter reading | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
|  |  | Remote meter re-configuration | Meter Type 4 | VOLUMES (0's) 2013-14: 0; VOLUMES (0's) 2014-15: 0; VOLUMES (0's) 2015-16: 0; VOLUMES (0's) 2016-17: 0
End

## Input_Capex
0 | Input - Non network capex assumptions
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [6 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01
| Period End Date | [6 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
| Period Counter | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Year | [6 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
| Period Type | [6 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast
| Regulatory Year |  |  | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24
Input - Non network capex assumptions
Non network capex
|  |  | Category Heading | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24
|  |  | Fleet leases | PowerWater | Dollars | Real $2018 | End year | 0 | 0 | 378650 | 74760 | 30936 | 152815 | 94104
|  |  | Fleet | PowerWater | Dollars | Real $2018 | End year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Property | PowerWater | Dollars | Real $2018 | End year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Equipment | PowerWater | Dollars | Real $2018 | End year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other | PowerWater | Dollars | Real $2018 | End year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Non Network Other | Calculated | Dollars | Real $2018 | End year | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  |  | Check |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
End

## Calc_Scenario_1
0 | Calculations - Base Case - Advanced capable meters |  | Commercial in confidence |  |  | Scenario Number: | 2
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [5 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [5 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [5 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [5 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Calc_Scenario_2
0 | Calculations - Targeted roll out |  | Commercial in confidence |  |  | Scenario Number: | 3
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [5 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [5 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [5 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [5 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Calc_Scenario_3
0 | Calculations - Advanced meters, enabled immediately |  | Commercial in confidence |  |  | Scenario Number: | 4
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [5 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [5 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [5 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [5 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Calc_Scenario_4
0 | Calculations - Advanced capable meters, enabled strategically |  | Commercial in confidence |  |  | Scenario Number: | 5
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [5 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [5 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [5 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [5 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Calc_Scenario_5
0 | Calculations - Transition via advanced meters |  | Commercial in confidence |  |  | Scenario Number: | 6
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [5 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date | [5 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year | [5 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type | [5 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing |  | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Calc_CF_Sum
0 | Calculation - Scenario Cash Flows | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date |  |  |  |  | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
| Period End Date |  |  |  |  | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
| Period Counter |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Year |  |  |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
| Period Type |  |  |  |  | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57

## Output_NPV
0 | Output - NPV Summary | [6 empty] | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Output - NPV Summary
Total NPV by scenario
NPV Comparison by Scenario - Live Model
|  |  | Category | Source | Unit | Basis | Timing | Base Case - Advanced capable meters | Targeted roll out | Advanced meters, enabled immediately | Advanced capable meters, enabled strategically | Transition via advanced meters
|  |  | Network information for planning and maintenance | Calc_CF_Sum | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Safety | Calc_CF_Sum | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Generation and retailer benefits | Calc_CF_Sum | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Reduce customer PV entry costs | Calc_CF_Sum | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Other benefits | Calc_CF_Sum | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Total benefits | Calculated | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0
|  |  | Meter purchases | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Meter installation | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Communications | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Meter management system | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Manual meter reads - routine | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Manual meter reads - special | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Manual meter reads - Connection/disconnection | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Remote meter reads - routine | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Remote meter reads - special | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Remote meter reads - Connection/disconnection | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Other remote services costs | Calc_CF_Sum | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Total costs | Calculated | $Millions | Real $2018 | Mid year | -126.1769 | -141.0785 | -140.8313 | -140.6908 | -141.1574
|  |  | Net (Cost) / Benefit | Calculated | $Millions | Real $2018 | Mid year | -126.1769 | -141.0785 | -140.8313 | -140.6908 | -141.1574
|  |  | Scenario Total NPV Rank | Calculated | Factor | N/A | N/A | 1 | 4 | 3 | 2 | 5
|  |  | Value above first ranked | Calculated | $Millions | Real $2018 | Mid year | 0 | 14.9016 | 14.6544 | 14.5139 | 14.9805
|  |  | Sub total - Manual meter reads | Calculated | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Sub total - Remote meter reads | Calculated | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
|  |  | Reduction in cost after introducing remote reads | Calculated | $Millions | Real $2018 | Mid year | c-i-c | c-i-c | c-i-c | c-i-c | c-i-c
0 |  |  | Check |  |  |  |  | 0 | 0 | 0 | 0 | 0
Notes:
1. Subjective benefits considered but not included: Network information for planning and maintenance, Safety – earth issues, Impact of managing system load peaks, Generation/retailer benefits, Reduce customer PV entry costs, Increased retailer tariff options, Better customer information, Meter readers don’t need to access customers’ premises to read meter and Reduced meter tampering
2. Other costs considered but removed from scope as the do not vary materially by scenario are meter data management system costs, B2B system costs, project management costs, cost of customer refusal to accept advanced meters and cost of customer engagement
End

## Output_Sensitivities
0 | Outputs - Sensitivities
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Data table outputs
Replacement rates
|  |  | Annual failures and faults - % of opening balance |  | 2%
|  |  | Scenario Name | Scenario Short | Total NPV | 1% | 1.25% | 1.5% | 1.75% | 2% | 2.25% | 2.5% | 2.75% | 3% | Sensitivity
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Base Case - Advanced capable meters | S1 | -126.1769 | -118.2901 | -120.277 | -122.2534 | -124.2198 | -126.1769 | -128.1252 | -130.0653 | -131.9977 | -133.9228 | -7.7459
|  |  | Targeted roll out | S2 | -141.0785 | -130.0786 | -132.8317 | -135.5826 | -138.3315 | -141.0785 | -143.824 | -146.5509 | -149.2936 | -152.0352 | -10.9566
|  |  | Advanced meters, enabled immediately | S3 | -140.8313 | -129.4363 | -132.2883 | -135.138 | -137.9856 | -140.8313 | -143.6753 | -146.5177 | -149.3587 | -152.1985 | -11.3672
|  |  | Advanced capable meters, enabled strategically | S4 | -140.6908 | -129.7153 | -132.4621 | -135.2068 | -137.9496 | -140.6908 | -143.4304 | -146.1688 | -148.9059 | -151.642 | -10.9513
|  |  | Transition via advanced meters | S5 | -141.1574 | -129.7958 | -132.6394 | -135.4807 | -138.3199 | -141.1574 | -143.9932 | -146.8275 | -149.6604 | -152.4922 | -11.3348
Introduction of metering competition
|  |  | Metering competition churn - % of opening balance |  | 0%
|  |  | Scenario Name | Scenario Short | Total NPV | 2% | 3% | 4% | 5% | 6% | 7% | 8% | 9% | 10% | Sensitivity
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Base Case - Advanced capable meters | S1 | -126.1769 | -116.3671 | -112.5571 | -109.3073 | -106.5203 | -104.1171 | -102.0335 | -100.2172 | -98.6254 | -97.2229 | 28.954
|  |  | Targeted roll out | S2 | -141.0785 | -132.7812 | -129.5281 | -126.736 | -124.3262 | -122.235 | -120.4103 | -118.8095 | -117.3975 | -116.1457 | 24.9328
|  |  | Advanced meters, enabled immediately | S3 | -140.8313 | -132.8263 | -129.6824 | -126.9466 | -124.5843 | -122.5294 | -120.7273 | -119.1648 | -117.7816 | -116.5567 | 24.2746
|  |  | Advanced capable meters, enabled strategically | S4 | -140.6908 | -132.3725 | -129.11 | -126.3088 | -123.8905 | -121.7911 | -119.9585 | -118.35 | -116.9307 | -115.6717 | 25.0191
|  |  | Transition via advanced meters | S5 | -141.1574 | -133.1314 | -129.977 | -127.2307 | -124.8578 | -122.7924 | -120.9799 | -119.4069 | -118.0132 | -116.7777 | 24.3797
End

## Output_AER_Capex
0 | Output - AER Capex Forecast
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date | [6 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01
| Period End Date | [6 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
| Period Counter | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Year | [6 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
| Period Type | [6 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast
| Regulatory Year |  |  | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24
Output - AER Capex Forecast
ACS Metering Capex Forecast - Real $2018 - Direct - Unescalated
|  |  | Category | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24
|  |  | Mechanical Meters | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Electronic Meters | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 1.8815 | 4.0818 | 2.8106 | 2.8632 | 2.9184 | 2.6764 | 2.7117
|  |  | Metering Communications | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0 | 0 | 2.6215 | 0.15441 | 0.15729 | 3.7308 | 0.14747
|  |  | Dedicated CTs and VTs | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0.10694 | 0.10703 | 0.10712 | 0.10722 | 0.10734 | 0.10748 | 0.10759
|  |  | Non Network Other | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Non Network IT and Communications | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0 | 0 | 0.10644 | 0 | 0 | 0 | 0
|  |  | Fleet leases | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 0 | 0 | 0.37865 | 0.07476 | 0.030936 | 0.15282 | 0.094104
|  |  | Total Capex | Calculated | $Millions | Real $2018 | Mid year | 1.9884 | 4.1888 | 6.0243 | 3.1996 | 3.214 | 6.6675 | 3.0608
|  |  | Scenario 3 - Total Capex | Calc_Scenario_3 | $Millions | Real $2018 | Mid year | 1.9884 | 4.1888 | 6.0243 | 3.1996 | 3.214 | 6.6675 | 3.0608
0 |  |  | Check |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACS Metering Capex Forecast - Real $2019 - Direct - Unescalated
|  |  | Category | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24
|  |  | Mechanical Meters | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Electronic Meters | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 1.9238 | 4.1736 | 2.8738 | 2.9276 | 2.9841 | 2.7366 | 2.7727
|  |  | Metering Communications | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0 | 0 | 2.6805 | 0.15788 | 0.16083 | 3.8147 | 0.15079
|  |  | Dedicated CTs and VTs | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0.10935 | 0.10943 | 0.10953 | 0.10963 | 0.10976 | 0.10989 | 0.11001
|  |  | Non Network Other | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Non Network IT and Communications | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0 | 0 | 0.10883 | 0 | 0 | 0 | 0
|  |  | Fleet leases | Calc_Scenario_3 | $Millions | Real $2019 | Mid year | 0 | 0 | 0.38717 | 0.076442 | 0.031632 | 0.15625 | 0.096221
|  |  | Total Capex | Calculated | $Millions | Real $2019 | Mid year | 2.0332 | 4.2831 | 6.1599 | 3.2716 | 3.2863 | 6.8175 | 3.1297
End

## Output_AER_Step
0 | Output - Metering opex step changes |  |  |  |  | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date |  |  |  |  | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01
| Period End Date |  |  |  |  | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
| Period Counter |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Year |  |  |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
| Period Type |  |  |  |  | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24

## Output_Tariffs
0 | Output - Metering tariffs | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks

## Output_RIN
0 | Output - Forecast Metering - CA RIN (2017-18 to 2023-24) | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks

## Output_AMP
0 | Output - Asset Management Plan |  |  |  |  | Commercial in confidence
No Errors Found
Go to Cover Sheet
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
| Period Start Date |  |  |  |  | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01
| Period End Date |  |  |  |  | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
| Period Counter |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Year |  |  |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
| Period Type |  |  |  |  | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast
| Regulatory Year | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24

## Lookup
Model Lookups
No Errors Found
Table of Contents
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Model Settings
Periodicity Inputs
|  | Model Start Date | 2017-07-01
|  | Base Year | 2018
Time Series Headings
Period Start Date | [6 empty] | 2017-07-01 | 2018-07-01 | 2019-07-01 | 2020-07-01 | 2021-07-01 | 2022-07-01 | 2023-07-01 | 2024-07-01 | 2025-07-01 | 2026-07-01 | 2027-07-01 | 2028-07-01 | 2029-07-01 | 2030-07-01 | 2031-07-01 | 2032-07-01 | 2033-07-01 | 2034-07-01 | 2035-07-01 | 2036-07-01 | 2037-07-01 | 2038-07-01 | 2039-07-01 | 2040-07-01 | 2041-07-01 | 2042-07-01 | 2043-07-01 | 2044-07-01 | 2045-07-01 | 2046-07-01 | 2047-07-01 | 2048-07-01 | 2049-07-01 | 2050-07-01 | 2051-07-01 | 2052-07-01 | 2053-07-01 | 2054-07-01 | 2055-07-01 | 2056-07-01
Period End Date | [6 empty] | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30 | 2035-06-30 | 2036-06-30 | 2037-06-30 | 2038-06-30 | 2039-06-30 | 2040-06-30 | 2041-06-30 | 2042-06-30 | 2043-06-30 | 2044-06-30 | 2045-06-30 | 2046-06-30 | 2047-06-30 | 2048-06-30 | 2049-06-30 | 2050-06-30 | 2051-06-30 | 2052-06-30 | 2053-06-30 | 2054-06-30 | 2055-06-30 | 2056-06-30 | 2057-06-30
Period Counter | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Year | [6 empty] | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057
Period Type | [6 empty] | Actual | Actual | Actual | Base Year | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
Regulatory Year |  |  | Source | Unit | Basis | Timing | RY18 | RY19 | RY20 | RY21 | RY22 | RY23 | RY24 | RY25 | RY26 | RY27 | RY28 | RY29 | RY30 | RY31 | RY32 | RY33 | RY34 | RY35 | RY36 | RY37 | RY38 | RY39 | RY40 | RY41 | RY42 | RY43 | RY44 | RY45 | RY46 | RY47 | RY48 | RY49 | RY50 | RY51 | RY52 | RY53 | RY54 | RY55 | RY56 | RY57
Model Lookups
| General Model Constant |  | Name
|  | 1 | Mths_In_Mth
|  | 3 | Mths_In_Qtr
|  | 4 | Qtrs_In_Yr
|  | 12 | Mths_In_Yr
|  | 7 | Days_In_Wk
|  | 365 | Days_In_Yr
|  | 0.5 | Half
|  | 1000000 | Million
|  | Ok | Ok
|  | N/A | NA
|  | Error | Error
| General Model Constant |  | Name
Yes_No
|  | Yes | Yes
|  | No | No
| Units |  | Name
LU_Units
|  | Percent | Percent
|  | Dollars | Dollars
|  | $Millions | Millions
|  | $000's | Thousands
|  | Factor | Factor
|  | Number | Number
|  | Km | Kilometres
|  | N/A | Not Applicable
| Basis |  | Name
LU_Basis
|  | Real $2018 | Real$2018
|  | Real $2019 | Real$2019
|  | N/A | Not Applicable
|  | Nominal | Nominal
| Timing |  |  | Name
|  | LU_Timing | LU_Timing_Value
|  | Start year | 0 | Start_year
|  | Mid year | 0.5 | Mid_year
|  | End year | 1 | End_year
|  | N/A | N/A
| Dollar Basis |  | Name
LU_Dollar_Basis
Real 2018
Client Lookups
| Meter Type |  | Name
LU_Meter_Type
Advanced Capable
Advanced Meter
Accumulation Meter
Unallocated
| Phase Type |  | Name
LU_Phase_Type
Single Phase
Three Phase
Unallocated
| Meter Description |  | Name
LU_Meter_Description
Bottom connected
Plug in
Three single phase
Unallocated
| Cash Flow Type |  | Name
LU_Cash_Flow_Type
Capex
Opex
Unallocated
| Scenario Name |  | Name
LU_Scenario_Name
|  | [Spare] | [Spare]
|  | Base Case - Advanced capable meters | S1
|  | Targeted roll out | S2
|  | Advanced meters, enabled immediately | S3
|  | Advanced capable meters, enabled strategically | S4
|  | Transition via advanced meters | S5
| RAB Asset Class |  | Name
LU_RAB_Asset_Class
Mechanical Meters
Electronic Meters
Metering Communications
Dedicated CTs and VTs
Non Network Other
Non Network IT and Communications
Fleet leases
Unallocated
| RIN Meter Classification |  | Name
LU_RIN_Meter_Classification
Type 2
Type 3
Type 4
Type 6
Type 7
Unallocated
| AER Expense Classification |  | Name
LU_AER_Expense_Classification
Capex
Opex
Unallocated
| Financial Accounts |  | Name
|  | LU_Cost_Account_Name | LU_Account_Type | LU_RAB_Asset_Class
|  | Meter purchases | Capex | Unallocated
|  | Meter installation | Capex | Unallocated
|  | Communications | Capex | Metering Communications
|  | Meter management system | Capex | Non Network IT and Communications
|  | Manual meter reads - routine | Opex | Unallocated
|  | Manual meter reads - special | Opex | Unallocated
|  | Manual meter reads - Connection/disconnection | Opex | Unallocated
|  | Remote meter reads - routine | Opex | Unallocated
|  | Remote meter reads - special | Opex | Unallocated
|  | Remote meter reads - Connection/disconnection | Opex | Unallocated
|  | Other remote services costs | Opex | Unallocated
|  | [Spare] | Unallocated | Unallocated
End

## Checks
Model Checks
No Errors Found
Table of Contents
Cost Benefit Analysis - Advanced Metering within the regulated NT electricity networks
Model Title Message
|  | Error Message | No Errors Found
Alert Message
|  | Model Message | No Errors Found
Model Checks
Error Checks
General Model Inputs and Calculations
|  | Input - Discount rate, escalation and CPI assumptions | 0
|  | Inputs - Meter related assumptions | 0
|  | Input - Meter time series assumptions | 0
|  | Inputs - Communications assumptions | 0
|  | Input - IT assumptions | 0
|  | Input - Meter service assumptions | 0
|  | Input - Other policy and investment assumptions | 0
|  | Input - Metering RINs | 0
|  | Input - Non network capex assumptions | 0
|  | Calculations - Base Case - Advanced capable meters | 0
|  | Calculations - Targeted roll out | 0
|  | Calculations - Advanced meters, enabled immediately | 0
|  | Calculations - Advanced capable meters, enabled strategically | 0
|  | Calculations - Transition via advanced meters | 0
|  | Calculation - Scenario Cash Flows | 0
|  | Output - NPV Summary | 0
|  | Outputs - Sensitivities | 0
|  | Output - AER Capex Forecast | 0
|  | Output - Metering opex step changes | 0
|  | Output - Metering tariffs | 0
|  | Output - Forecast Metering - CA RIN (2017-18 to 2023-24) | 0
|  | Output - Asset Management Plan | 0
| Total Errors |  | 0
End