## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input_Actual | 100 | A user driven input for actual figures
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount

## Menu
Powercor - Bushfire Safety
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List |  | Inflation
| Menu |  |  |  | Historical Expenditure | OK
| Calculations |  | Outputs/Export
| Forecast Expenditure | OK | Direct Capex | OK
|  |  | VBRC | OK
|  |  | Reset RIN 2.3 Augex (b) | OK
|  |  | Reset RIN 2.2 Repex | OK

## Project List
Powercor - Bushfire Safety | [8 empty] | Menu
Project List
Project List by Bushfire Category
$2019
| Description | Bushfire category | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-2026 total
| ARVDs | Armour rods & dampers - LBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SWER ACRs | SWER ACR's | 5727000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HV clearances | Multi Circuit Rebuild - LBRA | 1203726 | 601863 | 0 | 0 | 0 | 0 | 0 | 0
| SWER replacement program | Line Replacement Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Early fault detection | VBRC Other | 255509.8766 | 511019.7532 | 511019.7532 | 511019.7532 | 511019.7532 | 511019.7532 | 511019.7532 | 2555098.7658
| Replace wood crossarms in ELCA's | VBRC Other | 302447.9872 | 604895.9745 | 604895.9745 | 604895.9745 | 604895.9745 | 604895.9745 | 604895.9745 | 3024479.8724
| Replace LV fuse switch disconnectors (FSDs) in ELCAs | VBRC Other | 0 | 355000 | 710000 | 710000 | 710000 | 710000 | 710000 | 3550000
| Replace LV fused overhead line connector boxes (FOLCBs) in ELCAs | VBRC Other | 0 | 477750 | 955500 | 955500 | 955500 | 955500 | 955500 | 4777500
| Technology developments and research partnerships (annual program) | VBRC Other | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 2000000
| Mitigating REFCL reliability impacts | VBRC Other | 0 | 0 | 8365230.6958 | 4067948.8976 | 0 | 0 | 0 | 12433179.5934
| Cross arm and insulator replacement | VBRC Other | 1233500 | 1180000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 6000000
| REFCL compliance: tranche 1 and 2 | REFCL GFNs | $2019 2019/20: 54405282.5254; $2019 2020/21: 24441680.3166; $2019 2021/22: 158552.1054; $2019 2022/23: 79276.0527 | 237828.1581
| REFCL compliance: tranche 3 placeholder | REFCL GFNs | 10908077.5551 | 91367946.0965 | 33544293.5659 | 504170.2286 | 0 | 0 | 0 | 34048463.7945
| REFCL compliance: CRO zone substation | REFCL GFNs | 0 | 0 | 13900837.5075 | 13900837.5075 | 0 | 0 | 0 | 27801675.0151
| REFCL ongoing compliance: BAW zone substation | REFCL GFNs | 0 | 0 | 1863812.9708 | 14885208.2055 | 13021395.2346 | 0 | 0 | 29770416.411
| REFCL ongoing compliance: CLC new REFCL | REFCL GFNs | 0 | 125989.1303 | 1584413.5148 | 1458424.3845 | 0 | 0 | 0 | 3042837.8994
| REFCL ongoing compliance: CMN new REFCL | REFCL GFNs | 0 | 0 | 0 | 1339969.6218 | 1339969.6218 | 0 | 0 | 2679939.2437
| REFCL ongoing compliance: EHK new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 0 | 3706087.4293 | 3706087.4293 | 0 | 7412174.8586
| REFCL ongoing compliance: GSB new REFCL | REFCL GFNs | 0 | 0 | 0 | 1564054.9464 | 1564054.9464 | 0 | 0 | 3128109.8928
| REFCL compliance: WPD station works | REFCL GFNs | 0 | 0 | 5427481.2089 | 5427481.2089 | 0 | 0 | 0 | 10854962.4178
| REFCL compliance: WPD (TQY GFNs) | REFCL GFNs | 0 | 0 | 5048614.9684 | 5048614.9684 | 0 | 0 | 0 | 10097229.9369
| REFCL compliance: WPD line hardening/distribution works | REFCL GFNs | 0 | 0 | 12321396.7245 | 12321396.7245 | 0 | 0 | 0 | 24642793.4489
| REFCL ongoing compliance: BETS iso and feeder rearragement | REFCL GFNs | 0 | 0 | 0 | 0 | 1220763.2698 | 1220763.2698 | 0 | 2441526.5397
| REFCL ongoing compliance: BGO feeder rearrangement | REFCL GFNs | 0 | 0 | 0 | 0 | 591245.3947 | 591245.3947 | 0 | 1182490.7894
| REFCL ongoing compliance: WIN new transformer and REFCL | REFCL GFNs | 0 | 0 | 0 | 4178149.2527 | 4178149.2527 | 0 | 0 | 8356298.5053
0
|  |  | 74435543.9443 | 120066144.2711 | 86596048.9898 | 69156947.7267 | 30003080.877 | 9899511.8215 | 4381415.7276 | 200037005.1425
End of Sheet

## Inflation
Powercor - Bushfire Safety | [11 empty] | Menu
Inflation
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.593% | 2% | 2.4%
| Conversion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0424 | 1.0119 | 1
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 3.549% | 1.21% | 2.39% | 3.016% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 2% | 2.2%
| Conversion Factor to 2021 | 1.2064 | 1.192 | 1.1641 | 1.13 | 1.1132 | 1.102 | 1.081 | 1.059 | 1.0424 | 1.022 | 1
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.615% | 2% | 2.4%
| Conversion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0322 | 1.0119 | 1
| Escalation selector | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2

## Historical Expenditure
Powercor - Bushfire Safety | [9 empty] | Menu
Historical Expenditure | [8 empty] | Sheet Check | OK
Historical Expenditure by Bushfire Category
Source: Project List
$ Nominal
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| 167 | Armour rods & dampers - HBRA | 329247.745 | 8684189.5671 | 23494453.9789 | 24023472.95 | 15768178.14 | 11771833.95 | 8122723.9221 | 0
| 167 | Armour rods & dampers - LBRA
| 167 | Multi Circuit Rebuild - LBRA | 0 | 21025.7269 | 950330.8634 | 1071232.5 | 426056.5 | 300087.5 | 1005445.5 | 0
| 167 | SWER ACR's | 3799732.005 | 4074928.6594 | 275196.6544 | 607473.5616 | 2075100.5616 | 4168149.5 | 7506904.0879 | 11454000
| 167 | Line Replacement Projects | 70559.26 | 39058.07 | 58813.79 | 56609.885 | 10369.94 | 525.5 | 0 | 1203726
| 167 | VBRC Other
| 167 | REFCL Fusesavers
| 167 | REFCL GFNs | 0 | 67393.9666 | 1223555.4833 | 1347675.5 | 8922161 | 25882768 | 51531368.86 | 87334274
| 167 | REFCL SCADA
| 167 | REFCL Protection & Control / Comms
| 167 | REFCL balancing units
| 167 | REFCL other
|  | Totals | 4199539.01 | 12886595.99 | 26002350.77 | 27106464.3966 | 27201866.1416 | 42123364.45 | 68166442.37 | 99992000
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast expenditure by RIN category: augex table 2.3.4
$ Nominal
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations
| As incurred | Subtransmission Lines
HV Feeders
HV Feeders - Land Purchases and Easements
Distribution Substations
Distribution Substations - Land Purchases And Easements
LV Feeders
LV Feeders - Land Purchases And Easements
|  | Other Assets | 329247.745 | 8772609.2606 | 25668340.3256 | 26442380.95 | 25116395.64 | 37954689.45 | 60659538.2821 | 87334274
|  | AR&D | 329247.745 | 8684189.5671 | 23494453.9789 | 24023472.95 | 15768178.14 | 11771833.95 | 8122723.9221 | 0
|  | Spacers | 0 | 21025.7269 | 950330.8634 | 1071232.5 | 426056.5 | 300087.5 | 1005445.5 | 0
|  | REFCL | 0 | 67393.9666 | 1223555.4833 | 1347675.5 | 8922161 | 25882768 | 51531368.86 | 87334274
|  | Totals | 329247.745 | 8772609.2606 | 25668340.3256 | 26442380.95 | 25116395.64 | 37954689.45 | 60659538.2821 | 87334274
Forecast expenditure by RIN category: repex table 2.2
$ Nominal
| ASSET GROUP | ASSET CATEGORY | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
| OTHER BY: | VBRC ACR's | 3799732.005 | 4074928.6594 | 275196.6544 | 607473.5616 | 2075100.5616 | 4168149.5 | 7506904.0879 | 11454000
| DNSP defined | BUSHFIRE MITIGATION RELATED REPLACEMENT EXPENDITURE | 70559.26 | 39058.07 | 58813.79 | 56609.885 | 10369.94 | 525.5 | 0 | 1203726
|  | Totals | 3870291.265 | 4113986.7294 | 334010.4444 | 664083.4466 | 2085470.5016 | 4168675 | 7506904.0879 | 12657726
End of Sheet

## Forecast Expenditure
Powercor - Bushfire Safety | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast expenditure
Source: Project List
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 157 | Armour rods & dampers - HBRA | 394806.5889 | 10188758.0051 | 26828488.0168 | 26969364.3574 | 17407818.8848 | 12806886.6671 | 8671379.7111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Armour rods & dampers - LBRA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Multi Circuit Rebuild - LBRA | 0 | 24668.513 | 1085189.7305 | 1202592.9666 | 470359.6269 | 326473.0559 | 1073359.1087 | 0 | 1254809.7287 | 627404.8643 | 0 | 0 | 0 | 0 | 0
| 157 | SWER ACR's | 4556323.4806 | 4780925.3445 | 314249.0628 | 681965.3368 | 2290878.1486 | 4534639.0787 | 8013963.8409 | 12013336.9514 | 5970042.4484 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Line Replacement Projects | 84608.8126 | 45825.0272 | 67159.8949 | 63551.7029 | 11448.2495 | 571.7052 | 0 | 1262507.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | VBRC Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2284458.9612 | 3678415.2576 | 13287588.6542 | 8807938.7942 | 4567354.2654 | 4567354.2654 | 4567354.2654
| 157 | REFCL Fusesavers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL GFNs | 0 | 79070.2243 | 1397186.9128 | 1512934.9395 | 9849924.4092 | 28158541.6355 | 55012095.7829 | 91599097.343 | 68085128.7111 | 120855691.6494 | 76983423.8013 | 63283891.7506 | 26708997.4752 | 5752273.0775 | 0
| 157 | REFCL SCADA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL Protection & Control / Comms | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL balancing units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | REFCL other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Totals | 5035738.882 | 15119247.1141 | 29692273.6178 | 30430409.3032 | 30030429.319 | 45827112.1425 | 72770798.4437 | 104874942.2423 | 77594439.8494 | 125161511.7713 | 90271012.4556 | 72091830.5448 | 31276351.7407 | 10319627.3429 | 4567354.2654
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast expenditure by RIN category: augex table 2.3.4
$ 2021
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| As incurred | Subtransmission Lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | HV Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | HV Feeders - Land Purchases and Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other Assets | 394806.5889 | 10292496.7423 | 29310864.6601 | 29684892.2636 | 27728102.9209 | 41291901.3585 | 64756834.6028 | 91599097.343 | 69339938.4398 | 121483096.5138 | 76983423.8013 | 63283891.7506 | 26708997.4752 | 5752273.0775 | 0
|  | AR&D | 394806.5889 | 10188758.0051 | 26828488.0168 | 26969364.3574 | 17407818.8848 | 12806886.6671 | 8671379.7111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Spacers | 0 | 24668.513 | 1085189.7305 | 1202592.9666 | 470359.6269 | 326473.0559 | 1073359.1087 | 0 | 1254809.7287 | 627404.8643 | 0 | 0 | 0 | 0 | 0
|  | REFCL | 0 | 79070.2243 | 1397186.9128 | 1512934.9395 | 9849924.4092 | 28158541.6355 | 55012095.7829 | 91599097.343 | 68085128.7111 | 120855691.6494 | 76983423.8013 | 63283891.7506 | 26708997.4752 | 5752273.0775 | 0
|  | Totals | 394806.5889 | 10292496.7423 | 29310864.6601 | 29684892.2636 | 27728102.9209 | 41291901.3585 | 64756834.6028 | 91599097.343 | 69339938.4398 | 121483096.5138 | 76983423.8013 | 63283891.7506 | 26708997.4752 | 5752273.0775 | 0
Forecast expenditure by RIN category: repex table 2.2
$ 2021
| ASSET GROUP | ASSET CATEGORY | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| OTHER BY: | VBRC ACR's | 4556323.4806 | 4780925.3445 | 314249.0628 | 681965.3368 | 2290878.1486 | 4534639.0787 | 8013963.8409 | 12013336.9514 | 5970042.4484 | 0 | 0 | 0 | 0 | 0 | 0
| DNSP defined | BUSHFIRE MITIGATION RELATED REPLACEMENT EXPENDITURE | 84608.8126 | 45825.0272 | 67159.8949 | 63551.7029 | 11448.2495 | 571.7052 | 0 | 1262507.9479 | 2284458.9612 | 3678415.2576 | 13287588.6542 | 8807938.7942 | 4567354.2654 | 4567354.2654 | 4567354.2654
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Totals | 4640932.2932 | 4826750.3718 | 381408.9577 | 745517.0396 | 2302326.3981 | 4535210.784 | 8013963.8409 | 13275844.8993 | 8254501.4096 | 3678415.2576 | 13287588.6542 | 8807938.7942 | 4567354.2654 | 4567354.2654 | 4567354.2654
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
Powercor - Bushfire Safety | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management'
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC | 77594.4398 | 125161.5118 | 90271.0125 | 72091.8305 | 31276.3517 | 10319.6273 | 4567.3543
| 168 | Zone SubStation Automation
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## VBRC
Powercor - Bushfire Safety | [6 empty] | Menu
VBRC | [5 empty] | Sheet Check | OK
VBRC Augex
|  |  | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
| Code | Description | Forecast | Forecast | Forecast | Forecast | Forecast
| 167 | Armour rods, dampers & spacers | 0 | 0 | 0 | 0 | 0
| 167 | VBRC other | 0 | 0 | 0 | 0 | 0
| 167 | SWER ACRs
| 167 | Other non-REFCL VBRC
| 167 | REFCL Fusesavers | 0 | 0 | 0 | 0 | 0
| 167 | REFCL GFNs | 42015.5774 | 62758.3255 | 26708.9975 | 5752.2731 | 0
| 167 | REFCL SCADA | 0 | 0 | 0 | 0 | 0
| 167 | REFCL Protection & Control / Comms | 0 | 0 | 0 | 0 | 0
| 167 | REFCL balancing units | 0 | 0 | 0 | 0 | 0
| 167 | REFCL other | 0 | 0 | 0 | 0 | 0
| 167 | REFCL Tranche 3 | 34967.8464 | 525.5662 | 0 | 0 | 0
VBRC Repex
|  |  | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
| Code | Description | Forecast | Forecast | Forecast | Forecast | Forecast
| 167 | Armour rods, dampers & spacers
| 167 | VBRC other | 13287.5887 | 8807.9388 | 4567.3543 | 4567.3543 | 4567.3543
| 167 | SWER ACRs | 0 | 0 | 0 | 0 | 0
| 167 | Other non-REFCL VBRC
| 167 | REFCL Fusesavers
| 167 | REFCL GFNs
| 167 | REFCL SCADA
| 167 | REFCL Protection & Control / Comms
| 167 | REFCL balancing units
| 167 | REFCL other
|  |  | 0 | 0 | 0 | 0 | 0
End of Sheet

## Reset RIN 2.3 Augex (b)
Powercor - Bushfire Safety | [8 empty] | Menu
Reset RIN 2.3 Augex (b) | [7 empty] | Sheet Check | OK
2.3.3 - AUGEX DATA - HV/LV FEEDERS AND DISTRIBUTION SUBSTATIONS
NOTE: DNSP MUST PROVIDE EXPENDITURE INFORMATION ON AN AS INCURRED BASIS.
Volumes (0's)
| PROJECT TYPE | Units | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
DESCRIPTOR METRICS - UNITS ADDED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km
| HV Feeder Augmentations - Underground Cables | Circuit line length in km
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km
| LV Feeder Augmentations - Underground Cables | Circuit line length in km
| Distribution Substation Augmentations - Pole Mounted | Number
| Distribution Substation Augmentations - Ground Mounted | Number
| Distribution Substation Augmentations - Indoor | Number
DESCRIPTOR METRICS - UNITS UPGRADED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km
| HV Feeder Augmentations - Underground Cables | Circuit line length in km
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km
| LV Feeder Augmentations - Underground Cables | Circuit line length in km
| Distribution Substation Augmentations - Pole Mounted | Number
| Distribution Substation Augmentations - Ground Mounted | Number
| Distribution Substation Augmentations - Indoor | Number
| COST METRICS |  | Volumes (0's) 2019-20: TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| Project Type |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
HV Feeder Augmentations - Overhead Lines
HV Feeder Augmentations - Underground Cables
HV Feeder Non-Material Projects
LV Feeder Augmentations - Overhead Lines
LV Feeder Augmentations - Underground Cables
LV Feeder Non-Material Projects
Distribution Substation Augmentations - Pole Mounted
Distribution Substation Augmentations - Ground Mounted
Distribution Substation Augmentations - Indoor
2.3.4 - AUGEX DATA - TOTAL EXPENDITURE
TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| AUGMENTATION CAPEX |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
Subtransmission Substations, Switching Stations, Zone Substations
Subtransmission Lines
HV Feeders
HV Feeders - Land Purchases and Easements
Distribution Substations
Distribution Substations - Land Purchases And Easements
LV Feeders
LV Feeders - Land Purchases And Easements
| Other Assets |  | 69339938.4398 | 121483096.5138 | 76983423.8013 | 63283891.7506 | 26708997.4752 | 5752273.0775 | 0
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3.5 - AUGEX - BY DRIVER
TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| AUGMENTATION CAPEX |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
"Greenfield" driven augex (network expansion capex)
Reinforcement driven augex (augmentation of the existing network)
2.3.6 - AUGEX - GREENFIELDS DRIVEN
TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| AUGMENTATION CAPEX |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
Subtransmission Substations, Switching Stations, Zone Substations
Subtransmission Lines
HV Feeders
HV Feeders - Land Purchases and Easements
Distribution Substations
Distribution Substations - Land Purchases And Easements
LV Feeders
LV Feeders - Land Purchases And Easements
Other Assets
End of Sheet

## Reset RIN 2.2 Repex
Powercor - Bushfire Safety | [9 empty] | Menu
Reset RIN 2.2 Repex | [8 empty] | Sheet Check | OK
2.2.1 - REPLACEMENT EXPENDITURE, VOLUMES AND ASSET FAILURES BY ASSET CATEGORY
| EXPENDITURE |  |  | EXPENDITURE ($0's real June 2021)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
| OTHER BY: enter DNSP defined asset group here | VBRC ACR's |  | 5970042.4484 | 0 | 0 | 0 | 0 | 0 | 0
|  | BUSHFIRE MITIGATION RELATED REPLACEMENT EXPENDITURE |  | 2284458.9612 | 3678415.2576 | 13287588.6542 | 8807938.7942 | 4567354.2654 | 4567354.2654 | 4567354.2654
|  |  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ASSET REPLACEMENTS |  |  | EXPENDITURE ($0's real June 2021) 2019-20: Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
| ASSET FAILURES |  |  | Volumes (0's) 2019-20: Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
End of Sheet