## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input | 100 | A user driven input
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount

## Menu
Powercor - Environmental Capex
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List |  | Inflation
| Menu |  |  |  | Historical Expenditure
| Calculations |  | Outputs/Export
| Forecast Expenditure | OK | Direct Capex | OK
|  |  | Reset RIN 2.2 Repex | OK

## Project List
Powercor - Environmental Capex | [8 empty] | Menu
Project List
Forecast Expenditure by Category
$2019
| Project Title | Type | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Bunding program: multiple sites (in-flight) | Bunding program | 550000 | 950000 | 0 | 0 | 0 | 0 | 0
| CHA concrete bund | Bunding program | 0 | 0 | 1367142.8571 | 0 | 0 | 0 | 0
| FDN concrete bund | Bunding program | 0 | 0 | 1304285.7143 | 0 | 0 | 0 | 0
| HTH concrete bund | Bunding program | 0 | 0 | 1147142.8571 | 0 | 0 | 0 | 0
| AC concrete bund | Bunding program | 0 | 0 | 0 | 984920.6349 | 0 | 0 | 0
| AL concrete bund | Bunding program | 0 | 0 | 0 | 996507.9365 | 0 | 0 | 0
| ART concrete bund | Bunding program | 0 | 0 | 0 | 973333.3333 | 0 | 0 | 0
| BAN concrete bund | Bunding program | 0 | 0 | 0 | 0 | 1042857.1429 | 0 | 0
| BAS concrete bund | Bunding program | 0 | 0 | 0 | 0 | 973333.3333 | 0 | 0
| BGO concrete bund | Bunding program | 0 | 0 | 0 | 0 | 961746.0317 | 0 | 0
| BMH concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 915396.8254 | 0
| CDN concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 996507.9365 | 0
| CME concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 915396.8254 | 0
| CLC concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 1031269.8413 | 0
| DLF concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 0 | 1008095.2381
| DDL concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 0 | 938571.4286
| ECA concrete bund | Bunding program | 0 | 0 | 0 | 0 | 0 | 0 | 1008095.2381
| Noise program: multiple sites (minor works) | Noise program | 45000 | 340000 | 0 | 0 | 0 | 0 | 0
| GLE new transformer and radiator enclosures | Noise program | 0 | 0 | 0 | 3003571.4286 | 3003571.4286 | 0 | 0
| KYM new transformer and radiator enclosures | Noise program | 0 | 0 | 3141666.6667 | 3141666.6667 | 0 | 0 | 0
| WPD new transformer and radiator enclosures | Noise program | 0 | 0 | 3107142.8571 | 3107142.8571 | 0 | 0 | 0
| GL new transformer and radiator enclosures | Noise program | 0 | 0 | 0 | 0 | 2830952.381 | 2830952.381 | 0
| WBE modification to existing transformer enclosure & new radiator enclosure | Noise program | 0 | 0 | 0 | 0 |  | 2558904.7619 | 2558904.7619
|  |  | 595000 | 1290000 | 10067380.9524 | 12207142.8571 | 8812460.3175 | 9248428.5714 | 5513666.6667
End of Sheet

## Inflation
Powercor - Environmental Capex | [11 empty] | Menu
Inflation
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0424 | 1.022 | 1
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 3.549% | 1.21% | 2.39% | 3.016% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.2064 | 1.192 | 1.1641 | 1.13 | 1.1132 | 1.102 | 1.081 | 1.059 | 1.0424 | 1.022 | 1
| Financial Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.615% | 2% | 2.4%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0322 | 1.0119 | 1
| Escalation Selector | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1

## Historical Expenditure
Powercor - Environmental Capex | [10 empty] | Menu
Historical Expenditure
Historical Expenditure by RIN Category (Repex Table 2.2)
$ Nominal
| ASSET GROUP | ASSET CATEGORY | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| OTHER BY: | ENVIRONMENTAL RELATED REPLACEMENT EXPENDITURE | 212288.835 | 161712.45 | 239857.18 | 230651.61 | 111289.47 | -55032.575 | -79854 | 18859 | 103859
DNSP defined
|  | Totals | 212288.835 | 161712.45 | 239857.18 | 230651.61 | 111289.47 | -55032.575 | -79854 | 18859 | 103859
End of Sheet

## Forecast Expenditure
Powercor - Environmental Capex | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast Expenditure by Environmental Category
| Source: Project List |  | $ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 163 | Bunding Program | $ 2021 2019/20: 573340.9022; $ 2021 2020/21: 990316.1037; $ 2021 2021/22: 3980623.9778; $ 2021 2022/23: 3080156.102; $ 2021 2023/24: 3104314.1891; $ 2021 2024/25: 4022321.498; $ 2021 2025/26: 3080156.102
| 163 | Noise Program | $ 2021 2019/20: 46909.7102; $ 2021 2020/21: 354428.9213; $ 2021 2021/22: 6513996.5268; $ 2021 2022/23: 9645033.5314; $ 2021 2023/24: 6082129.3538; $ 2021 2024/25: 5618591.9214; $ 2021 2025/26: 2667499.5722
| 163 | EMF | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 163 | Contamination - Soil | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 163 | Contamination - PCB | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 163 | Contamination - Asbestos | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
|  | Total | $ 2021 2019/20: 620250.6123; $ 2021 2020/21: 1344745.025; $ 2021 2021/22: 10494620.5046; $ 2021 2022/23: 12725189.6335; $ 2021 2023/24: 9186443.5429; $ 2021 2024/25: 9640913.4193; $ 2021 2025/26: 5747655.6742
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast Expenditure by RIN Category (Repex Table 2.2)
$ 2021
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| OTHER BY: | ENVIRONMENTAL RELATED REPLACEMENT EXPENDITURE | 193912.158 | 281413.3367 | 263382.7524 | 124936.4017 | -60755.091 | -86875.2594 | 20132.846 | 108930.7807 | 620250.6123 | 1344745.025 | 10494620.5046 | 12725189.6335 | 9186443.5429 | 9640913.4193 | 5747655.6742
DNSP defined
|  | Totals | 193912.158 | 281413.3367 | 263382.7524 | 124936.4017 | -60755.091 | -86875.2594 | 20132.846 | 108930.7807 | 620250.6123 | 1344745.025 | 10494620.5046 | 12725189.6335 | 9186443.5429 | 9640913.4193 | 5747655.6742
End of Sheet

## Direct Capex
Powercor - Environmental Capex | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management' | 620.2506 | 1344.745 | 10494.6205 | 12725.1896 | 9186.4435 | 9640.9134 | 5747.6557
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC
| 168 | Zone SubStation Automation
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Reset RIN 2.2 Repex
Powercor - Environmental Capex | [9 empty] | Menu
Reset RIN 2.2 Repex | [8 empty] | Sheet Check | OK
2.2.1 - REPLACEMENT EXPENDITURE, VOLUMES AND ASSET FAILURES BY ASSET CATEGORY
| EXPENDITURE |  |  | EXPENDITURE ($0's real June 2021)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
| OTHER BY: enter DNSP defined asset group here | Environmental related expenditure |  | 620250.6123 | 1344745.025 | 10494620.5046 | 12725189.6335 | 9186443.5429 | 9640913.4193 | 5747655.6742
| ASSET REPLACEMENTS |  |  | EXPENDITURE ($0's real June 2021) 2019-20: Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
| ASSET FAILURES |  |  | Volumes (0's) 2019-20: Volumes (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole
˂ = 1 kV; Wood
> 1 kV & < = 11 kV; Wood
˃ 11 kV & < = 22 kV; Wood
> 22 kV & < = 66 kV; Wood
> 66 kV & < = 132 kV; Wood
> 132 kV; Wood
˂ = 1 kV; Concrete
> 1 kV & < = 11 kV; Concrete
˃ 11 kV & < = 22 kV; Concrete
> 22 kV & < = 66 kV; Concrete
> 66 kV & < = 132 kV; Concrete
> 132 kV; Concrete
˂ = 1 kV; Steel
> 1 kV & < = 11 kV; Steel
˃ 11 kV & < = 22 kV; Steel
> 22 kV & < = 66 kV; Steel
> 66 kV & < = 132 kV; Steel
> 132 kV; Steel
Other
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV
> 1 kV & < = 11 kV
˃ 11 kV & < = 22 kV
> 22 kV & < = 66 kV
> 66 kV & < = 132 kV
> 132 kV
Other
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked
|  | > 1 kV & < = 11 kV | for year wooden pole staked
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked
|  | > 22 kV & < = 66 kV | for year wooden pole staked
|  | > 66 kV & < = 132 kV | for year wooden pole staked
|  | > 132 kV | for year wooden pole staked
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | ˃ 11 kV & < = 22 kV ; SWER | per km
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km
|  | > 22 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km
|  | > 1 kV & < = 11 kV | per km
|  | > 11 kV & < = 22 kV | per km
|  | > 22 kV & < = 33 kV | per km
|  | > 33 kV & < = 66 kV | per km
|  | > 66 kV & < = 132 kV | per km
|  | > 132 kV | per km
|  | Other | per km
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans
|  | > 132 kV ; Commercial & Industrial | per number of spans
|  | > 132 kV ; Subdivision | per number of spans
|  | Other | per number of spans
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase
Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA
Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA
Other
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE
˂ = 11 kV ; Switch
˂ = 11 kV ; Circuit Breaker
> 11 kV & < = 22 kV ; Switch
> 11 kV & < = 22 kV ; Circuit Breaker
> 22 kV & < = 33 kV ; Switch
> 22 kV & < = 33 kV ; Circuit Breaker
> 33 kV & < = 66 kV ; Switch
> 33 kV & < = 66 kV ; Circuit Breaker
> 66 kV & < = 132 kV ; Switch
> 66 kV & < = 132 kV ; Circuit Breaker
> 132 kV ; Switch
> 132 kV ; Circuit Breaker
Other
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices
Local Network Wiring Assets
Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
OTHER BY: enter DNSP defined asset group here
End of Sheet