Powercor – Distribution Loss Factors – 2011-12 amendment for NMI 6203811032

Powercor requested approval for an amendment to the site-specific distribution loss factor (DLF) for Oakland's Hill Wind Farm (NMI 6203811032) as follows:

| Previous DLF 2011-12 | Amended DLF 2011-12 |
| --- | --- |
| 0.9086 | 0.9342 |

A copy of the methodology is available on the AER’s website at www.aer.gov.au

Commercial in confidence' information has been withheld:

Oaklands ROAM33 Report 2011-08-11a.pdf (commercial in confidence – withheld)

Revised DLF for OWF - 20110907.pdf (commercial in confidence – withheld)