## Information
Calibration Quantities - Switchgear
Purpose
Present Primary Plants replacement volumes extracted from RIN reported and assets not yet capitalised so that the quantities are suitable for use in prediction of future condition based replacement need.
Context
In "Reporting" tab, Column D - H are condition based replacement quantities reported in Annual RIN.
In "Reporting" tab, Column I are assets quantities replaced but not yet capitalised.
This workbook presents the primary plant quantities that had been replaced in last 5 years and used them in calibration and forecast of repex models.
The average annual primary plant volumes for different types are shown in "Reporting", cells K26 - K29, and is used in the calibration (2015) repex model.

## Reporting
Calculate Replacement Quantities
| Year |  | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Asset not yet capitalised | Total | Average | Summation of type for 5 years
| Financial Year |  | 2016 | 2017 | 2018 | 2019 | 2020 |  |  | Per Year
Reported RIN Quantities
| Equipment | Voltage (kV)
| CB | 66 | [8 empty] | CB | 28
| CB | 132 | 5 |  | 13 | 9 |  |  |  |  | IsolES | 91
| CB | 275 | 1 | [7 empty] | VT | 69
| IsolES | 11 |  |  |  | 1 |  |  |  |  | CT | 24
| IsolES | 66
| IsolES | 132 | 14 | 6 | 39 | 19 | 6
| IsolES | 275 | 3 |  | 3
| VT | 33
| VT | 66 |  | 6 | 6
| VT | 132 | 12 |  | 18 | 18
| VT | 275 | 3 |  |  | 6
| CT | 11
| CT | 66 |  |  | 6
| CT | 132 |  | 6 | 6 | 6
| CT | 275
Repex Model Calibration Quantities
CB | CB - All Voltages |  | 6 | 0 | 13 | 9 | 0 | 23 | 51 | 10.2
IsolES | IsolES - All Voltages |  | 17 | 6 | 42 | 20 | 6 | 61 | 152 | 30.4
VT | VT - All Voltages |  | 15 | 0 | 24 | 24 | 0 | 50 | 113 | 22.6
CT | CT - All Voltages |  | 0 | 0 | 12 | 6 | 0 | 150 | 168 | 33.6