## Cover
Attachment C:
SAPN Emergency Standards Estimate

## SUMMARY
Attachment C: Emergency Standards Estimate
CAPEX ($ Nominal) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | TOTAL
EVM | 108 | 9950.14 |  |  |  | 10058.14
DUFLS/UFLS |  |  | 1500 | 12000 | 11480 | 24980
(Corporate Ohs pre 2022 7.66%) | 8.2728 | 762.1807 |  |  |  | 770.4535
(Corporate Ohs 2022 9.2%) |  |  | 138 | 1104 | 1056.16 | 2298.16
TOTAL Excl Corp Ohs | 99.7272 | 9187.9593 | 1362 | 10896 | 10423.84 | 31969.5265
EVM | 9287.6865
DUFLS/UFLS | 22681.84
TOTAL | 31969.5265
Revenue smoothed ($ Nominal) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | TOTAL
Annual Revenue Requirement (unsmoothed) |  |  |  | 3.384 | 3.399 | 6.783
CAPEX ($ June 2020) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | TOTAL
| 100.6129 | 9103.0148 | 1331.6184 | 10420.5054 | 9644.3043 | 30600.0559
EVM Emergency | 9103.0148
DUFLS/UFLS | 21396.4282
TOTAL | 30499.443
Revenue smoothed ($ June 2020) | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | TOTAL
Expected Revenue (smoothed) |  |  |  | 3.0929 | 3.0376 | 6.1305
Pass Through $ Per Customer pa | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25
Residential |  |  |  |  | 2.1848 | 2.1728
Business |  |  |  |  | 16.1424 | 16.214

## EVM Actuals
Enhanced Voltage Management - Acutal cost from SAP

## DUFLS project estimate
NW-17579 | Dynamic Arming of Under Frequency Load Shedding | Unit Cost | Units | Total Purchases | Labour hrs | Labour $ | Total
Field Services
Item 1.1: Substation | DUFLS
S1-000018-02 | SUBSTATION DESIGN & CONSTRUCTION
S1-000018-02-01 | FIELD SERVICES PROJECT MANAGEMENT
S1-000018-02-01-01 | Project Management |  |  | 0 | 6520 | 961877.8 | 961877.8 | 1206194.7612
S1-000018-02-01-02 | Estimating |  |  | 0 | 44.5 | 6599.35 | 6599.35 | 8275.5849
S1-000018-02-02 | ENGINEERING DESIGN & TECHNICAL SERVICES
S1-000018-02-02-01 | As Built Drawings
| Secondary Design | 32300 | 1 | 32300 | 449 | 64007 | 96307 | 120768.978
S1-000018-02-02-02 | Substation Engineering
| Project/Earthing Engineering |  |  | 0 | 1994 | 295710.2 | 295710.2 | 370820.5908
S1-000018-02-02-04 | Secondary Design |  |  | 0 | 13275 | 1968682.5 | 1968682.5 | 2468727.855
S1-000018-02-02-06 | SCADA Engineering | 112000 | 1 | 112000 | 9300 | 1379190 | 1491190 | 1869952.26
S1-000018-02-02-07 | Protection Engineering |  |  | 0 | 5263 | 780502.9 | 780502.9 | 978750.6366
S1-000018-02-02-08 | Telecommunications Technical | 117600 | 1 | 117600 | 3349 | 496656.7 | 614256.7 | 770277.9018
S1-000018-02-03 | CONSTRUCTION
S1-000018-02-03-02 | Substation Workshop | 182320 | 1 | 182320 | 8034 | 869881.35 | 1052201.35 | 1319460.4929
S1-000018-02-03-03 | Substation Construction | 974220 | 1 | 974220 | 25483.12 | 2759184.818 | 3733404.818 | 4681689.6418
S1-000018-02-03-04 | Commissioning | 216536 | 1 | 216536 | 11861 | 1758986.3 | 1975522.3 | 2477304.9642
S1-000018-02-03-05 | Long Lead Time Material | 2533420 | 1 | 2533420 | 41 | 4188.15 | 2537608.15 | 3182160.6201
S1-000018-02-03-06 | SCADA Field | 92892 | 1 | 92892 | 6140.7 | 664884.2925 | 757776.2925 | 950251.4708
S1-000018-02-03-07 | Telecommunications Field | 65149 | 1 | 65149 | 5358.6 | 580202.415 | 645351.415 | 809270.6744
S1-000018-02-03-10 | Recloser Workshop | 141614 | 1 | 141614 | 1305.4 | 141342.185 | 282956.185 | 354827.056
Sub Total |  |  |  | 4468051 | 98377.32 | 12727707.8105 | 17199948.4505
FS Overheads - Substation (26.3%) | [6 empty] | 4369067.9064
Item 1.1: | Substation Works Total | [5 empty] | 21569016.3569 | 21568733.4885
Item 1.2: Substation | UFLS Expansion
S1-000018-02 | SUBSTATION DESIGN & CONSTRUCTION
S1-000018-02-02 | ENGINEERING DESIGN & TECHNICAL SERVICES
S1-000018-02-02-02 | Substation Engineering
| Project/Earthing Engineering |  |  | 0 | 223 | 33070.9 | 33070.9 | 41470.9086
S1-000018-02-02-04 | Secondary Design |  |  | 0 | 997.24 | 147890.692 | 147890.692 | 185454.9278
S1-000018-02-02-06 | SCADA Engineering | 2800 | 1 | 2800 | 778.96 | 115519.768 | 118319.768 | 148372.9891
S1-000018-02-02-07 | Protection Engineering |  |  | 0 | 409.81 | 60774.823 | 60774.823 | 76211.628
S1-000018-02-02-08 | Telecommunications Technical | 9600 | 1 | 9600 | 256.8 | 38083.44 | 47683.44 | 59795.0338
S1-000018-02-03 | CONSTRUCTION
S1-000018-02-03-02 | Substation Workshop | 13933 | 1 | 13933 | 646.28 | 69975.967 | 83908.967 | 105221.8446
S1-000018-02-03-03 | Substation Construction | 47879 | 1 | 47879 | 1617.84 | 175171.626 | 223050.626 | 279705.485
S1-000018-02-03-04 | Commissioning | 13123 | 1 | 13123 | 872.05 | 129325.015 | 142448.015 | 178629.8108
S1-000018-02-03-05 | Long Lead Time Material | 151533 | 1 | 151533 |  | 0 | 151533 | 190022.382
S1-000018-02-03-06 | SCADA Field | 5080 | 1 | 5080 | 439.77 | 47616.0967 | 52696.0967 | 66080.9053
S1-000018-02-03-07 | Telecommunications Field | 4246 | 1 | 4246 | 410.88 | 44488.032 | 48734.032 | 61112.4761
S1-000018-02-03-10 | Recloser Workshop | 129332 | 1 | 129332 | 188.32 | 20390.348 | 149722.348 | 187751.8244
Sub Total |  |  |  | 377526 | 6840.95 | 882306.7078 | 1259832.7077
FS Overheads - Substation (26.3%) | [6 empty] | 319997.5078
Item 1.2: | Substation Works Total | [5 empty] | 1579843.2155 | 1579830.2155
Item 2: Distribution | DISTRIBUTION DESIGN & CONSTRUCTION
S1-000018-03-04 | Construction | 51319 | 1 | 51319 | 3096 | 383142.3654 | 434461.3654 | 544814.5522
S1-000018-03-04 | Construction | 2984 | 1 | 2984 | 180 | 22274.1598 | 25258.1598 | 31673.7323
Sub Total |  |  |  | 54303 | 3276 | 405416.5252 | 459719.5252
FS Overheads - Substation (26.3%) | [6 empty] | 116802.7594
Item 2: | Distribution Works Total | [5 empty] | 576522.2846 | 576488.2846
Field Services Total | [6 empty] | 23725381.857 | 26097557.1874
| Field Services Total | [5 empty] | 23725381.857 | 26097557.1874
Network Management
S1-000018-01 | NETWORK MANAGEMENT |  |  |  |  | Labour $
| Project Management |  |  | 0 |  |  | 0
0010 | Project Management | 75000 | 1 | 75000 | 1250 | 133883.0625 | 208883.0625 | 240215.5219
0020 | Network Access |  |  | 0 | 300 | 32131.935 | 32131.935 | 36951.7252
0050 | Network Planning - Including Network Innovation | 50000 | 1 | 50000 | 4500 | 481979.025 | 531979.025 | 611775.8787
0090 | Network Telecommunications |  |  | 0 | 500 | 67267.3125 | 67267.3125 | 77357.4094
0160 | SCADA Integration |  |  | 0 | 2250 | 240989.5125 | 240989.5125 | 277137.9394
|  |  |  | 0 |  |  | 0 | 0
Management Sub Total | [6 empty] | 1081250.8475
Business & Corporate Overhead (15.0%) | [6 empty] | 162187.6271
Management Total | [6 empty] | 1243438.4746 | 1243438.4746
Contingencies (10%) | [6 empty] | 0
Network Management Total | [6 empty] | 1243438.4746 | 1367782.3221
Project 2020 Total | [6 empty] | 24968820.3317 | 27465339.5095

## Field Services Estimate
NW-017579 DYNAMIC ARMING OF UNLOAD FREQUENCY LOAD SHEDDING |  | 108535.12 | 14008562.32 | 696678.68 | 3914311.89 | 288887 | 18908439.89 | 4803077.47 | 23711517.36
DUFLS UNIT COSTING |  | 101514.26 | 13104586.29 | 651949.9 | 3585451.75 | 281967.8 | 17623955.74 | 4476801.37 | 22100757.11
SUBSTATION DESIGN & CONSTRUCTION |  | 98418.26 | 12732106.53 | 600630.91 | 3585451.75 | 281967.8 | 17200156.99 | 4369122.49 | 21569279.48
FIELD SERVICES MANAGEMENT |  | 6564.5 | 968477.15 |  |  |  | 968477.15 | 246007.53 | 1214484.68
Project Management | 300616544 | 6520 | 961877.8 |  |  |  | 961877.8 | 244331.3 | 1206209.1
Delivery Project Manager |  | 6000 | 889800 |  |  |  | 889800 | 226020 | 1115820
Safety Management |  | 250 | 37075 |  |  |  | 37075 | 9417.5 | 46492.5
Project Accountant |  | 270 | 35002.8 |  |  |  | 35002.8 | 8893.8 | 43896.6
Estimating | 300581573 | 44.5 | 6599.35 |  |  |  | 6599.35 | 1676.23 | 8275.58
ENGINEERING DESIGN & TECHNICAL SERVICES |  | 33630 | 4984749.28 |  | 229600 | 32300 | 5246649.28 | 1332685.87 | 6579335.15
As Built Drawings | 300617714 | 449 | 64006.98 |  |  | 32300 | 96306.98 | 24461.96 | 120768.94
Substation Engineering | 300617715 | 1994 | 295710.2 |  |  |  | 295710.2 | 75113.98 | 370824.18
Secondary Design | 300617717 | 13275 | 1968682.5 |  |  |  | 1968682.5 | 500069.25 | 2468751.75
SCADA Engineering | 300617719 | 9300 | 1379190 |  | 112000 |  | 1491190 | 378762.26 | 1869952.26
Protection Engineering | 300617720 | 5263 | 780502.9 |  |  |  | 780502.9 | 198257.21 | 978760.11
Telecommunications Technical | 300617721 | 3349 | 496656.7 |  | 117600 |  | 614256.7 | 156021.21 | 770277.91
CONSTRUCTION |  | 58223.76 | 6778880.1 | 600630.91 | 3355851.75 | 249667.8 | 10985030.56 | 2790429.09 | 13775459.65
Substation Workshop |  | 8034 | 869921.52 |  | 182320.11 |  | 1052241.63 | 267245.52 | 1319487.15
Substation Construction |  | 25483.12 | 2759303.89 | 327410.46 | 513614.87 | 133194.6 | 3733523.82 | 948675.35 | 4682199.17
Commissioning |  | 11860.95 | 1758978.89 | 158875.76 |  | 57660 | 1975514.65 | 501795.99 | 2477310.64
Long Lead Time Material |  | 41 | 4188.15 |  | 2533419.84 |  | 2537607.99 | 644552.42 | 3182160.41
SCADA Field |  | 6140.73 | 664916.23 | 54836.15 |  | 38055.6 | 757807.98 | 192425.56 | 950233.54
Telecommunications Field |  | 5358.56 | 580223.13 | 47851.44 |  | 17298 | 645372.57 | 163874.2 | 809246.77
Recloser Workshop |  | 1305.4 | 141348.29 | 11657.1 | 126496.93 | 3459.6 | 282961.92 | 71860.05 | 354821.97
DISTRIBUTION DESIGN & CONSTRUCTION |  | 3096 | 372479.76 | 51318.99 |  |  | 423798.75 | 107678.88 | 531477.63
Construction (PL-XXX) |  | 3096 | 372479.76 | 51318.99 |  |  | 423798.75 | 107678.88 | 531477.63
UFLS EXPANSION |  | 7020.86 | 903976.03 | 44728.78 | 328860.14 | 6919.2 | 1284484.15 | 326276.1 | 1610760.25
SUBSTATION DESIGN & CONSTRUCTION |  | 6840.86 | 882320.23 | 41745.12 | 328860.14 | 6919.2 | 1259844.69 | 320015.7 | 1579860.39
ENGINEERING DESIGN & TECHNICAL SERVICES |  | 2666 | 395367.8 |  | 12400 |  | 407767.8 | 103575.97 | 511343.77
Substation Engineering |  | 223 | 33070.9 |  |  |  | 33070.9 | 8400.41 | 41471.31
Secondary Design |  | 997 | 147855.1 |  |  |  | 147855.1 | 37556.99 | 185412.09
SCADA Engineering |  | 779 | 115525.7 |  | 2800 |  | 118325.7 | 30054.73 | 148380.43
Protection Engineering |  | 410 | 60803 |  |  |  | 60803 | 15444.7 | 76247.7
Telecommunications Technical |  | 257 | 38113.1 |  | 9600 |  | 47713.1 | 12119.14 | 59832.24
CONSTRUCTION |  | 4174.86 | 486952.43 | 41745.12 | 316460.14 | 6919.2 | 852076.89 | 216439.73 | 1068516.62
Substation Workshop |  | 646 | 69948.88 |  | 13933.15 |  | 83882.03 | 21304.1 | 105186.13
Substation Construction |  | 1617.84 | 175179.19 | 20786.22 | 24497.51 | 2594.7 | 223057.62 | 56679.43 | 279737.05
Commissioning |  | 872.05 | 129325.01 | 11680.99 |  | 1441.5 | 142447.5 | 36182.78 | 178630.28
Long Lead Time Material |  | 0 |  |  | 151532.55 |  | 151532.55 | 38489.26 | 190021.81
SCADA Field |  | 439.77 | 47618.16 | 3927.11 |  | 1153.2 | 52698.47 | 13381.27 | 66079.74
Recloser Workshop |  | 188.32 | 20391.23 | 1681.68 | 126496.93 | 1153.2 | 149723.04 | 38027.89 | 187750.93
Telecommunications Field |  | 410.88 | 44489.96 | 3669.12 |  | 576.6 | 48735.68 | 12375 | 61110.68
DISTRIBUTION DESIGN & CONSTRUCTION |  | 180 | 21655.8 | 2983.66 |  |  | 24639.46 | 6260.4 | 30899.86
Construction (PL-XXX) |  | 180 | 21655.8 | 2983.66 |  |  | 24639.46 | 6260.4 | 30899.86

## Revenue summary
SAPN - Revenue and Price Summary - DNSP PTRM - version 4
Year |  |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | Total
Building Block Components ($m Nominal)
| Return on Capital |  |  | 0 | 0.43015 | 0.45952 | 0.89961 | 1.2574 | 3.0467
| Return of Capital (regulatory depreciation) |  |  | 0 | 0.42815 | 0.5165 | 1.0572 | 1.6004 | 3.6023
| Operating Expenditure |  |  | 0 | 0 | 0 | 0 | 0 | 0
| Revenue Adjustments |  |  | 0 | 0 | 0 | 0 | 0 | 0
| Net Tax Allowance |  |  | 0 | 0 | 0 | 0 | 0 | 0
| Annual Revenue Requirement (unsmoothed) |  | 0 | 0 | 0.8583 | 0.97602 | 1.9568 | 2.8578 | 6.6489 | 5.5809 | NPV
Revenue Smoothing ($m Nominal)
Revenue Cap
| Expected Revenue (smoothed) |  | 0 | 0 | 0 | 0 | 3.384 | 3.399 | 6.783 | 5.577 | NPV
| X factors |  |  | 9.398% | 1.813% | 1.789% | 1.789% | 1.789%
Building Block Components ($m Real 2019-20)
| Return on Capital |  |  | 0 | 0.41123 | 0.42954 | 0.82223 | 1.1237
| Return of Capital (regulatory depreciation) |  |  | 0 | 0.40933 | 0.48281 | 0.96629 | 1.4302
| Operating Expenditure |  |  | 0 | 0 | 0 | 0 | 0
| Revenue Adjustments |  |  | 0 | 0 | 0 | 0 | 0
| Net Tax Allowance |  |  | 0 | 0 | 0 | 0 | 0
| Annual Revenue Requirement (unsmoothed) |  | 0 | 0 | 0.82056 | 0.91235 | 1.7885 | 2.5539
Revenue Smoothing ($m Real 2019-20)
Revenue Cap
| Expected Revenue (smoothed) |  | 0 | 0 | 0 | 0 | 3.0929 | 3.0376
| X factors |  |  | 9.398% | 1.813% | 1.789% | 1.789% | 1.789%
Price Path Analysis ($ Nominal)
| Forecast Energy | GWh | 9693 | 9639 | 9664 | 9687 | 9737 | 9819
Weighted Average Price Cap
| Expected Revenue | $m Nominal | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
Revenue Cap
| Expected Revenue | $m Nominal | 0 | 0 | 0 | 0 | 3.384 | 3.399 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.4441% |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0.34754 | 0.34617 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -0.3948% |  | #DIV/0! | Average yearly change
Revenue Yield
| Expected Revenue | $m Nominal | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
Price Path Analysis ($ Real 2019-20)
| Forecast Energy | GWh | 9693 | 9639 | 9664 | 9687 | 9737 | 9819
Weighted Average Price Cap
| Expected Revenue | $m Real | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
Revenue Cap
| Expected Revenue | $m Real | 0 | 0 | 0 | 0 | 3.0929 | 3.0376 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -1.789% |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0.31765 | 0.30936 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -2.609% |  | #DIV/0! | Average yearly change
Revenue Yield
| Expected Revenue | $m Real | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Revenues | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change
| Price Path | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | Total cumulative change
| Annual Percentage Impact on Prices | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | Average yearly change

## Price Impact
Price Impact
| 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Percentage Split
Residential | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53%
Business | 47% | 47% | 47% | 47% | 47% | 47% | 47% | 47% | 47% | 47% | 47% | 47%
Escalated Customer Numbers
Residential | 820898.5036 | 829107.4886 | 837398.5635 | 845772.5491 | 854230.2746 | 862772.5773 | 871400.3031 | 880114.3062 | 888915.4492 | 897804.6037 | 906782.6497 | 915850.4762
Business | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528 | 98528
Pass Through $ | 2023/24: 3384000; 2024/25: 3399000
Pass Through Split $
Residential | 2023/24: 1793520; 2024/25: 1801470
Business | 2023/24: 1590480; 2024/25: 1597530
| 3384000 | 3399000
Pass Through $ Per Customer
Residential | 2023/24: 2.1848; 2024/25: 2.1728
Business | 2023/24: 16.1424; 2024/25: 16.214
Revenue Forecast ex STPIS inc CPI and CoD Forecasts | 2023/24: 799600000; 2024/25: 811500000
Increase of Revenue due to Pass Through | 2023/24: 0.4232%; 2024/25: 0.4189%
Customer Bill
Residential | 2023/24: 974.0546; 2024/25: 978.7633
Business | 2023/24: 8115.4596; 2024/25: 8236.2374
In this period, we propose to commence recovery of these costs over the last two years of this regulatory period through an increased revenue allowance of approximately $3.4 million in each of these years. This represents a 0.4% increase in annual distribution revenue till 2025. This will increase the average annual residential bill by approximately 0.2% or $2.20 per annum.

## Input¦ Escalations
Enter DNSP name 2025-26
| AER Capex Forecast Model |  | Key: | Input | Do not edit cell |  |  | Formula - do not edit
Input¦ Escalations
10. Inflation table setup
|  |  | Year | Month
| First year of forecast regulatory control period (YYYY-YY) |  | 2025-26
| Base year for inputs |  | 2023-24 | December
| Base year for outputs |  | 2025 | June
| 11. Inflation |  | NOTE: please use a one year-lagged CPI series.
|  | CPI for year to December: | 2018 | 2019 | 2020 | 2021 | 2022 (Forecast) | 2023 (Forecast) | 2024 (Forecast)
|  |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | June 2025
| CPI year on year change (%) - lagged one year (actual/estimate) |  | 1.784% | 1.84% | 0.8606% | 3.5% | 3.25% | 2.75% | 2.5%
| June 2025 estimate |  | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-01
| Cumulative Inflation Index |  | 1.0178 | 1.0366 | 1.0455 | 1.0821 | 1.1173 | 1.148 | 1.1767
| Index: Nominal December to Real 2025 June |  | 1.1379 | 1.1176 | 1.1027 | 1.0793 | 1.0441 | 1.0137 | 0.98773 |  | Recalculated - simpler formula
| Real 2023-24 December to Real 2025 June | [8 empty] | 1.0441 | 1.0441
| Index: Nominal December to Real 2020 June |  | 1.0089 | 0.99075 | 0.97769 | 0.95636 | 0.92522 | 0.89841 | 0.87548
0.99075
18 month lag
eg June 2020 uses December 2018 CPI index