## Augmentation
Revised Proposal Data $000
[8 empty] | Expenditure ($000 nom) |  |  |  | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017
|  |  | Unique | Network | Responsible | RIN Tab | Plan | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
Category / Description |  |  | Identifier | Manager | Person |  | Reference | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Jun | Jul-Dec |  | Sub-Trans | Zone S/Stn | HV Feeder | Dist T/F | LV Feeder | Not Aug
Capacity
Upgrade
| Moderate load growth forecast | Connection Point Capacity | 1 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 21118.6435 | 9782.121 | 4669.4244 | 1808.1119 | 2381.4865 | 1760.4594 | 620.5619 | 4369.0687 | 5303.9623 | 1558.7555 | 0 | 0 |  |  | 35% |  |  |  |  | 65% |  | Mannum, Eyre peninsula not growth but replacement. Incl Mt Gambier
|  | Connection Point Capacity - New | 2 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 100% |  |  |  |  | 0%
|  | LV & Distribution Transformers (QoS BAU) | 3 | Planning | P Driver | AUGEX | AMP.1.1.01 | 8567.648 | 8048.0985 | 7033.0753 | 6978.1763 | 7190.9753 | 7217.8835 | 7569.9754 | 7851.5785 | 8028.0185 | 8204.4584 | 8204.4584 | 8380.8984 | [5 empty] | 20% | 0% | 80% |  | Quality of Supply - mainly PV voltage
|  | Distribution Feeders | 4 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 2753.692 | 2830.1435 | 474.0173 | 750.6736 | 2627.9689 | 5567.4528 | 5717.0919 | 2429.7146 | 291.475 | 75.0675 | 551.9637 | 799.7359 |  |  |  |  | 65% |  |  | 35% |  | comprises Cheltenham 33 kV to 11 kV, SWER and feeder upgrades/restring/ties. Exclude 33/11 conversion
|  | NER Compliance (Pwr Factor) | 5 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 100% |  |  |  | 0%
|  | Strategic Network Capacity (Other) | 6 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 4100 | 4100 | 3608.9418 | 3608.9418 | 4269.114 | 4423.1542 | 3762.982 | 3622.4836 | 3621.3565 | 3620.9052 | 3620.8819 | 3623.1129 |  |  | 10% | 20% | 20% |  |  | 50% |  | Design work
|  | Substation Capacity | 7 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 22979.3624 | 21985.8134 | 19392.586 | 16373.7969 | 9761.0132 | 3014.7867 | 3674.959 | 3158.629 | 2155.1487 | 2932.0501 | 2123.9564 | 706.9489 |  |  |  | 60% |  |  |  | 40% |  | Murray Bridge North plus misc upgrades, some replacement element
|  | Substation Capacity - New | 8 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 100% |  |  |  | 0% |  | Mt Barker East (growth)
|  | Subtransmission Network - Country | 9 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 25% |  |  |  |  | 75% |  | Myponga to SqWH, mainly security
|  | Subtransmission Network | 10 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 16619.399 | 10138.246 | 3499.777 | 5338.2881 | 5911.8572 | 5589.4586 | 7209.0812 | 0 | 499.6474 | 999.2947 | 4028.4467 | 5768.6818 |  |  | 80% |  |  |  |  | 20% |  | Athol Park to Woodville new 66, some security as well
|  | Distribution Line - SWER Replacements | 11 |  |  |  |  | 641.018 | 823.758 | 318.1053 | 90.9739 | 57.1878 | 351.3724 | 616.1608 | 618.4728 | 618.2804 | 618.2033 | 618.1994 | 618.5802 |  |  |  |  | 60% | 20% |  | 20% |  | upgrades for recent growth
|  | Voltage Regulation | 12 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 0 | 220.0574 | 1122.2929 | 1396.3213 | 1395.8868 | 1395.7129 | 1395.7039 | 1396.5638 |  |  |  | 50% |  |  |  | 50% |  | Tap changes on sub TFs, partly PV
|  | Land | 13 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 0 | 616.1608 | 1276.3331 | 660.1723 | 0 | 0 | 0 | 1368.87 | 1369.7134 |  |  |  | 100% |  |  |  | 0%
|  | LV Two Way Network (QoS) | 14 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 1100.2871 | 1980.5168 | 1980.5168 | 2860.7465 | 626.3619 | 1702.6457 | 2020.2376 | 635.1839 | 0 | [7 empty] | 100% |  | LV Monitoring, not providing growth capacity
|  | Supply Security (KI) | 15 | Planning | S Fraser | AUGEX | AMP.1.1.01 | 0 | 0 | 0 | 4239.1814 | 12171.945 | 9253.1081 | 1320.3445 | 0 | 0 | 0 | 0 | 0 |  |  |  | 20% | 15% |  |  | 65% |  | single TF and radial subs backup via 11kV switches
|  |  | 16 |  |  | AUGEX
17
|  |  | 18 |  |  | AUGEX
19
20
21
22
23
24
25
26
27
28
29
30
|  | Upgrade |  |  |  |  | subtotal | 76779.7629 | 57708.1804 | 38995.9272 | 40288.431 | 46968.2256 | 40654.5831 | 35134.3683 | 24072.6305 | 23616.4213 | 21424.6853 | 22547.6643 | 22664.2353 | 0
|  | Sub-Trans | [5 empty] | 21097.0444 | 11944.3392 | 4795.0143 | 5264.3638 | 5989.9175 | 5530.0431 | 6360.7598 | 1891.4224 | 2618.2404 | 1707.0907 | 3584.8455 | 4977.2567 | 0
|  | Zone S/Stn | [5 empty] | 14607.6174 | 14011.488 | 12357.34 | 11393.9028 | 9760.9805 | 5930.4863 | 4442.9594 | 3317.8348 | 2715.3039 | 3181.2675 | 4065.2721 | 3216.7872 | 0
|  | HV Feeder | [5 empty] | 2994.5106 | 3153.8481 | 1220.7628 | 1900.1877 | 4422.107 | 6102.2649 | 5036.4543 | 2674.8949 | 1284.6983 | 1143.8969 | 1453.8724 | 1615.5991 | 0
|  | Dist T/F | [5 empty] | 1841.7332 | 1774.3713 | 1470.2361 | 1413.83 | 1449.6326 | 1513.8512 | 1637.2272 | 1694.0103 | 1729.2598 | 1764.5324 | 1764.5316 | 1799.8957 | 0
|  | LV Feeder | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 40540.9056 | 30884.0465 | 19843.3532 | 19972.2844 | 21622.6376 | 19076.6454 | 17477.4007 | 9578.1624 | 8347.5023 | 7796.7875 | 10868.5217 | 11609.5387 | 0
|  | Not augmentation $000 | [5 empty] | 36238.8572 | 26824.1338 | 19152.574 | 20316.1466 | 25345.588 | 21577.9377 | 17656.9676 | 14494.4681 | 15268.9189 | 13627.8978 | 11679.1426 | 11054.6966 | 0
|  | CPI $ 2020 | [7 empty] | 106.6 | 108.4 | 110 | 112.1 | 114.1 | 116.7928 | 119.5491 | 122.3704 | 125.2584 | 128.2145 | 131.2403
|  | CPI Adj $ 2020 | [7 empty] | 1.0704 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526
|  | Sub-Trans | [7 empty] | 5132.3746 | 5541.18 | 6304.8855 | 5820.8295 | 6695.2278 | 1990.8791 | 2755.9154 | 1796.8547 | 3773.3476 | 5238.9759 | 0
|  | Zone S/Stn | [7 empty] | 13226.7588 | 11993.0287 | 10274.2424 | 6242.3292 | 4676.5836 | 3492.2966 | 2858.0828 | 3348.5482 | 4279.0365 | 3385.9356 | 0
|  | HV Feeder | [7 empty] | 1306.6514 | 2000.1054 | 4654.6348 | 6423.1404 | 5301.2863 | 2815.549 | 1352.2516 | 1204.0465 | 1530.3214 | 1700.5521 | 0
|  | Dist T/F | [7 empty] | 1573.6768 | 1488.1735 | 1525.8587 | 1593.4541 | 1723.3176 | 1783.0865 | 1820.1895 | 1857.3168 | 1857.316 | 1894.5397 | 0
|  | LV Feeder | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Augmentation Capex Real $ 2020 000's | [7 empty] | 21239.4616 | 21022.4876 | 22759.6213 | 20079.7531 | 18396.4154 | 10081.8111 | 8786.4393 | 8206.7662 | 11440.0214 | 12220.0034 | 0
|  | Augmentation | [7 empty] | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
|  | Sub-Trans | [7 empty] | 5132374.6187 | 5541180.025 | 6304885.4515 | 5820829.4656 | 6695227.8433 | 1990879.1179 | 2755915.352 | 1796854.7247 | 3773347.5666 | 5238975.9305 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384 | 3111194.5384
|  | Zone S/Stn | [7 empty] | 13226758.8206 | 11993028.6577 | 10274242.4113 | 6242329.1834 | 4676583.6415 | 3492296.5761 | 2858082.8262 | 3348548.1909 | 4279036.4576 | 3385935.6107 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323 | 3472779.9323
|  | HV Feeder | [7 empty] | 1306651.3827 | 2000105.365 | 4654634.7944 | 6423140.4129 | 5301286.2705 | 2815549.0037 | 1352251.6132 | 1204046.5101 | 1530321.4246 | 1700552.1421 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387 | 1720544.1387
|  | Dist T/F | [7 empty] | 1573676.7594 | 1488173.5055 | 1525858.6916 | 1593454.0639 | 1723317.5974 | 1783086.45 | 1820189.4801 | 1857316.804 | 1857315.9674 | 1894539.6943 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792 | 1842489.6792
|  | LV Feeder | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Augmentation Capex Real $ 2020 | [7 empty] | 21239461.5814 | 21022487.5531 | 22759621.3487 | 20079753.1258 | 18396415.3528 | 10081811.1477 | 8786439.2715 | 8206766.2297 | 11440021.4162 | 12220003.3775 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885 | 10147008.2885
|  | Notes | [7 empty] | 21239.4616 2016: 2026/27 to 2039/40 based on the average spend over the 5 year period 2020/21 to 2024/25
LRMC sample shaded

## Replacement
Revised Proposal Data $000 | [5 empty] | Expenditure ($000 nom) |  |  |  | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017 | $000 2017
[6 empty] | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
Asset Replace/Refurbish | [19 empty] | Sub-Trans | Zone S/Stn | HV Feeder | Dist T/F | LV Feeder | Not Aug | bar: 2015/16 to 2019/20
Lines
Planned
|  |  |  | REPEX | Historical | 2018/19: 0 | [6 empty] | 100%
|  | Cable Replacement - Planned | 60 | REPEX | AMP.3.1.09 | 1078.8215 | 1094.638 | 808.1266 | 2043.4167 | 6143.4529 | 9714.6579 | 8802.297 | 874.3962 | 874.3962 | 874.3962 | 874.3962 | 874.3962 |  |  |  |  | 10% |  |  | 90%
|  | Conductor Replacement - Planned | 61 | REPEX | AMP.3.1.10 | 2758.806 | 2369.665 | 1628.8607 | 2810.6086 | 6537.2203 | 9624.8328 | 11222.9286 | 2033.7913 | 2033.7913 | 2033.7913 | 2033.7913 | 2033.7913 |  |  |  |  | 10% |  |  | 90%
|  | Line Ancillary Equipment - Planned (incl LFIs, fences, gates, signs etc) | 62 | REPEX | AMP.3.1.20 | 0 | 0 | 0 | 0 | 0 | 0 | 125.1371 | 378.3914 | 504.3649 | 504.302 | 504.2988 | 504.6095 | [7 empty] | 100%
|  | Line Regulation - Planned (incl regulators, capacitors) | 63 | REPEX | AMP.3.1.19 | 14.058 | 0 | 0 | 0 | 660.1723 | 1540.402 | 253.4176 | 766.2878 | 1021.3992 | 1021.2719 | 1030.0968 | 1039.5683 | [7 empty] | 100%
|  | Overhead Line Components - Planned (incl insulators, crossarms, taps, pole earths) | 64 | REPEX | AMP.3.1.06 | 6048.607 | 9507.4325 | 10425.863 | 10659.0249 | 10664.6532 | 11818.4315 | 5412.8463 | 12399.3238 | 12399.3238 | 12399.3238 | 12399.3238 | 12399.3238 | [7 empty] | 100%
|  | Poles - Planned | 65 | REPEX | AMP.3.1.05 | 19561.4045 | 17708.8755 | 14391.9487 | 14839.9681 | 15980.8688 | 15748.1304 | 6661.9647 | 19713.0551 | 19815.0363 | 19815.0363 | 19815.0363 | 19815.0363 | [7 empty] | 100%
|  | Recloser Refurbishment - Planned | 66 | REPEX | AMP.3.1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 430.9694 | 430.9694 | 430.9694 | 430.9694 | 430.9694 | [7 empty] | 100%
|  | Recloser Replacement - Planned | 67 | REPEX | AMP.3.1.13 | 2075.326 | 2993.703 | 2894.2291 | 2842.7027 | 2881.2768 | 2842.1581 | 1249.1184 | 1227.7349 | 1227.7349 | 1227.7349 | 1227.7349 | 1227.7349 | [7 empty] | 100%
|  | Services Replacement - Planned | 68 | REPEX | AMP.3.1.08 | 757.9035 | 1417.1255 | 1784.164 | 2074.201 | 2422.8203 | 2624.7534 | 1249.1184 | 3382.4458 | 3382.4458 | 3382.4458 | 3382.4458 | 3382.4458 | [7 empty] | 100%
|  | Strategic Line Maintenance Spares | 69 | REPEX | Historical | 47.6865 | 0.1455 | 0.45948 | 0.45948 | 21.7415 | 43.7472 | 20.8186 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Switchgear - Ground Level - Planned | 70 | REPEX | AMP.3.1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Switchgear - Overhead - Planned | 71 | REPEX | AMP.3.1.07 | 1546.022 | 2407.6815 | 2110.0673 | 2382.2453 | 2455.4219 | 2276.8444 | 1249.1184 | 2778.0311 | 2778.0311 | 2778.0311 | 2778.0311 | 2778.0311 | [7 empty] | 100%
|  | Transformers - Planned | 72 | REPEX | AMP.3.1.01 | 1639.611 | 1624.1025 | 1442.5341 | 2819.1253 | 3105.6386 | 1749.0233 | 832.7456 | 2549.9643 | 2549.9643 | 2549.9643 | 2549.9643 | 2549.9643 | [5 empty] | 10% |  | 90%
|  | Poles - Planned plating | 73 | REPEX | AMP.3.1.05 | 2981.338 | 3248.46 | 2727.1739 | 4893.6264 | 6048.7738 | 5249.5133 | 2498.2368 | 6335.9005 | 6331.2348 | 6331.2348 | 6331.2348 | 6331.2348 | [7 empty] | 100%
|  | Recloser Maintenance - Planned | 74 | REPEX | AMP.3.1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Pole Replacement Projects | 75 |  |  | 35.693 | 52.8025 | 25.9694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | CBD ducts & manholes | 76 |  |  | 0 | 0 | 0 | 738.874 | 2499.3334 | 4401.1485 | 832.7456 | 2304.306 | 2304.306 | 2304.306 | 2304.306 | 2304.306 | [7 empty] | 100%
|  | Cables - CBD 11kV PILC cable replacements | 77 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 700.6635 | 1208.6138 | 1208.6138 | 1208.6138 | 1208.6138 | 1208.6138 |  |  |  |  | 10% |  |  | 90%
|  | Services - Aluminium neutral screen service line replacements | 78 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 368.8358 | 557.6454 | 743.2959 | 743.2032 | 743.1985 | 743.6564 | [7 empty] | 100%
100%
|  | Unplanned | [22 empty] | 100%
|  | Cable Replacement - Unplanned | 91 | REPEX | AMP.3.1.09 | 3526.3255 | 3250.205 | 2828.3686 | 3574.6639 | 3639.3669 | 3432.8958 | 1849.0458 | 411.4806 | 411.4806 | 411.4806 | 411.4806 | 411.4806 |  |  |  |  | 10% |  |  | 90%
|  | Line Ancillary Equipment - Unplanned (incl LFIs, fences, gates, signs etc) | 92 | REPEX | AMP.3.1.20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Line Regulation - Unplanned (incl regulators, capacitors) | 93 | REPEX | AMP.3.1.19 | -7.404 | 1.0375 | 4.4324 | 1.5228 | 21.7588 | 32.7617 | 79.9874 | 119.2769 | 119.2398 | 139.0957 | 158.9655 | 159.0635 | [7 empty] | 100%
|  | Overhead Line Components - Unplanned (incl insulators, Xarms, pole earths) | 94 | REPEX | AMP.3.1.06 | 9135.7165 | 9470.686 | 5764.1358 | 5682.5486 | 5467.6116 | 5906.5377 | 5188.2817 | 6107.1296 | 6107.1296 | 6107.1296 | 6107.1296 | 6107.1296 | [7 empty] | 100%
|  | Poles - Unplanned | 95 | REPEX | AMP.3.1.05 | 2092.3285 | 1777.652 | 2222.0268 | 2629.6039 | 2363.6499 | 2472.6518 | 2171.7128 | 1880.3003 | 1880.3003 | 1880.3003 | 1880.3003 | 1880.3003 | [7 empty] | 100%
|  | Recloser Replacement - Unplanned | 96 | REPEX | AMP.3.1.13 | 1666.392 | 1325.8755 | 978.2565 | 1107.3501 | 1269.6102 | 1334.7921 | 1213.5076 | 649.7497 | 649.7497 | 649.7497 | 649.7497 | 649.7497 | [7 empty] | 100%
|  | Services Replacement - Unplanned | 97 | REPEX | AMP.3.1.08 | 3128.9665 | 3428.094 | 3396.5313 | 3467.1046 | 3331.0697 | 3456.9461 | 3114.0302 | 4304.931 | 4304.931 | 4304.931 | 4304.931 | 4304.931 | [7 empty] | 100%
|  | Switchgear - Ground Level - Unplanned | 98 | REPEX | AMP.3.1.03 | 561.7055 | 441.775 | 501.5963 | 540.4742 | 465.1457 | 481.4463 | 437.4106 | 388.5779 | 388.5779 | 388.5779 | 388.5779 | 388.5779 | [7 empty] | 100%
|  | Switchgear - Overhead - Unplanned | 99 | REPEX | AMP.3.1.07 | 2746.3511 | 2597.204 | 1665.4641 | 1698.9102 | 2036.0181 | 2408.232 | 2016.1209 | 3174.8927 | 3174.8927 | 3174.8927 | 3174.8927 | 3174.8927 | [7 empty] | 100%
|  | Transformers - Unplanned | 100 | REPEX | AMP.3.1.01 | 4484.3205 | 4657.315 | 4330.8278 | 4586.656 | 4683.4641 | 4709.2289 | 4596.5365 | 4160.468 | 4160.468 | 4160.468 | 4160.468 | 4160.468 | [5 empty] | 10% |  | 90%
|  | Other | 101 |  |  | 184.1795 | 100.794 | 11.9562 | 194.724 | 182.1054 | 44.0115 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
Substations
|  | Auxillary DC Supplies excl AC - Battery Banks & Chargers | 106 | REPEX | AMP.3.2.08 | 228.1555 | 223.296 | 195.3076 | 276.9691 | 442.0081 | 568.3581 | 597.676 | 569.9893 | 569.9893 | 569.9893 | 569.9893 | 321.1648 | [7 empty] | 100%
|  | Capacitor Banks - CAPACITY UPGRADE? | 107 | REPEX | AMP.3.2.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Circuit Breakers Planned Replacement | 108 | REPEX | AMP.3.2.05 | 6266.1555 | 4494.1915 | 3708.5521 | 9464.2429 | 15953.5524 | 15315.1165 | 12175.7773 | 9164.917 | 9001.8803 | 9735.0413 | 9606.8135 | 8813.3101 |  |  |  | 10% |  |  |  | 90%
|  | Circuit Breakers Planned Refurb | 109 | REPEX | AMP.3.2.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1071.9201 | 1052.8515 | 1138.6013 | 1123.6039 | 1030.7965 |  |  |  | 10% |  |  |  | 90%
|  | Mobile Substations | 110 | REPEX | AMP.3.2.13 | 135.2245 | 0 | 0 | 0 | 0 | 220.0574 | 352.0919 | 265.0598 | 264.9773 | 264.9443 | 264.9426 | 265.1058 | [7 empty] | 100%
|  | Protection Relays (Replace 33kV/66kV Fuses, incl Fault Thrower) | 111 | REPEX | AMP.3.2.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Substation Insurance Spares & Asset Mgt | 112 | REPEX | Historical | 1259.7205 | 1431.882 | 1086.9657 | 1019.2752 | 1357.2785 | 1506.6293 | 1408.3675 | 1413.6522 | 1413.2123 | 1413.0362 | 1413.0271 | 1413.8977 | [7 empty] | 100%
|  | Substation Infrastructure - Civil (incl buildings, structures) | 113 | REPEX | AMP3.2.16 | 314.7875 | 672.1055 | 783.3573 | 1508.2929 | 1845.4027 | 1355.3559 | 1320.3445 | 1325.2989 | 1324.8865 | 1324.7214 | 1324.7129 | 1325.5291 | [7 empty] | 100%
|  | Substation Transformer Repl. | 114 | REPEX | AMP.3.2.01 | 3553.5125 | 2015.8955 | 1859.8655 | 2076.2449 | 3813.596 | 4719.3515 | 4350.9754 | 4820.8971 | 4761.3486 | 5431.8204 | 4582.7031 | 3793.1343 |  |  |  | 10% |  |  |  | 90%
|  | TF Refurb (18665 & 18977) | 115 |  |  | 674 | 419.5 | 46.6522 | 46.6522 | 541.3413 | 1289.5365 | 1496.3905 | 1391.5638 | 1104.0721 | 838.9902 | 838.9848 | 839.5018 |  |  |  | 10% |  |  |  | 90%
|  | Planned Transformer Refurbishment - also done under 18665 | 116 |  |  | 323.409 | 458.8175 | 341.0067 | 0.048853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Surge Arrester | 117 | REPEX | AMP.3.2.03 | 149.0255 | 211.7105 | 220.3642 | 230.5669 | 240.3612 | 279.4729 | 279.4729 | 276.3813 | 303.2509 | 303.2131 | 296.4732 | 188.781 | [7 empty] | 100%
|  |  | 118 | REPEX | AMP.3.2.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Carryover (subs) | 119 | REPEX | --- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | AC Panels + auxilary supply | 120 | REPEX | AMP 3.2.22 | 27.0345 | 63.1005 | 129.528 | 118.5317 | 284.819 | 539.1407 | 591.9545 | 636.1435 | 635.9455 | 635.8663 | 635.8622 | 528.0024 | [7 empty] | 100%
|  | Protection Asset Replacement | 121 | REPEX | AMP.3.2.14 | 2167.657 | 3022.672 | 2377.1061 | 2019.2636 | 2539.7292 | 2272.8322 | 2200.5742 | 2470.1595 | 2514.2695 | 2337.8296 | 2161.3896 | 2205.4996 | [7 empty] | 100%
|  | Unplanned CB Replacement | 122 | REPEX |  | 1252.761 | 862.0935 | 1168.4587 | 1015.275 | 507.3873 | 411.0673 | 411.0673 | 411.9873 | 411.9873 | 411.9873 | 411.9873 | 411.9873 | [7 empty] | 100%
|  | Standby Power Station | 123 | REPEX |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Unplanned Substation Asset Repl - PROTECTION | 124 |  |  | 58.958 | 248.5845 | 551.7896 | 1137.8131 | 1126.2486 | 700.2227 | 704.1838 | 705.7599 | 705.7599 | 705.7599 | 705.7599 | 705.7599 | [7 empty] | 100%
|  | Other (sub cables) | 125 |  |  | 546.693 | 496.434 | 677.908 | 1460.3486 | 1556.173 | 861.633 | 506.1321 | 631.175 | 224.2384 | 233.4835 | 233.482 | 196.5111 | [7 empty] | 100%
|  | Northfield 66kV GIS Switchboard replacement (1/3rd) | 126 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 44.0115 | 1102.7498 | 3705.2393 | 4410.9992 | 1764.3997 | 0 |  |  |  | 10% |  |  |  | 90%
|  | MOD3C Substation Upgrades (trf to 18665) | 127 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Substation Standards Templates and CU Developments | 128 |  |  | 0 | 0 | 0 | 0 | 80.5946 | 80.5946 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Relay Replace on Failure | 129 |  |  | 0 | 0 | 0 | 0 | 117.0781 | 497.0781 | 380 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Cable replacement & Cable Termination Support upgrade (tfr to other) | 130 |  |  | 0 | 0 | 0 | 0 | 126.844 | 483.094 | 356.25 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | GIS Assessment and Refurbishment | 131 |  |  | 0 | 0 | 0 | 0 | 0 | 118.75 | 118.75 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Transformer planned replacement due to condition | 132 |  |  | 0 | 0 | 0 | 0 | 0 | 2232.5 | 2232.5 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 100%
|  | Replace/Refurbish (total) |  |  | total | 83021.2526 | 84095.5525 | 73089.8535 | 89961.3358 | 113413.5885 | 125363.9373 | 91673.1454 | 104395.3178 | 106795.5859 | 108577.5337 | 104784.0681 | 100899.2564
|  | Sub-Trans |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Zone S/Stn |  |  |  | 1049.3668 | 692.9587 | 561.507 | 1158.714 | 2030.849 | 2132.4005 | 1806.7155 | 1755.2048 | 1962.5392 | 2155.5452 | 1791.6505 | 1447.6743 | 0
|  | HV Feeder |  |  |  | 736.3953 | 671.4508 | 526.5356 | 842.8689 | 1632.004 | 2277.2387 | 2257.4935 | 452.8282 | 452.8282 | 452.8282 | 452.8282 | 452.8282 | 0
|  | Dist T/F |  |  |  | 612.3931 | 628.1418 | 577.3362 | 740.5781 | 778.9103 | 645.8252 | 542.9282 | 671.0432 | 671.0432 | 671.0432 | 671.0432 | 671.0432 | 0
|  | LV Feeder |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 2398.1553 | 1992.5513 | 1665.3787 | 2742.161 | 4441.7633 | 5055.4643 | 4607.1372 | 2879.0762 | 3086.4106 | 3279.4166 | 2915.5219 | 2571.5457 | 0
|  | not augmentation $000 |  |  |  | 80623.0973 | 82103.0013 | 71424.4747 | 87219.1747 | 108971.8252 | 120308.473 | 87066.0083 | 101516.2417 | 103709.1753 | 105298.117 | 101868.5462 | 98327.7107 | 0
|  | CPI $ 2020 | [5 empty] | 106.6 | 108.4 | 110 | 112.1 | 114.1 | 116.7928 | 119.5491 | 122.3704 | 125.2584 | 128.2145 | 131.2403
|  | CPI Adj $ 2020 | [5 empty] | 1.0704 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526 | 1.0526
|  | Sub-Trans | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Zone S/Stn | [5 empty] | 601.0126 | 1219.6427 | 2137.6372 | 2244.5285 | 1901.718 | 1847.4988 | 2065.7354 | 2268.8903 | 1885.8609 | 1523.7974 | 0
|  | HV Feeder | [5 empty] | 563.5808 | 887.1895 | 1717.8197 | 2396.9828 | 2376.1993 | 476.6393 | 476.6393 | 476.6393 | 476.6393 | 476.6393 | 0
|  | Dist T/F | [5 empty] | 617.9555 | 779.52 | 819.8677 | 679.7847 | 571.477 | 706.3287 | 706.3287 | 706.3287 | 706.3287 | 706.3287 | 0
|  | LV Feeder | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Repl Augmentation Capex Real $ 2020 000's | [5 empty] | 1782.5489 | 2886.3522 | 4675.3246 | 5321.2959 | 4849.3944 | 3030.4667 | 3248.7034 | 3451.8583 | 3068.8289 | 2706.7653 | 0
|  | Replacement Augmentation | [5 empty] | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
|  | Sub-Trans | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Zone S/Stn | [5 empty] | 601012.6237 | 1219642.6826 | 2137637.1505 | 2244528.5192 | 1901718.0294 | 1847498.7619 | 2065735.4224 | 2268890.3348 | 1885860.9114 | 1523797.3523 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566 | 1918356.5566
|  | HV Feeder | [5 empty] | 563580.766 | 887189.5173 | 1717819.723 | 2396982.7553 | 2376199.3364 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515 | 476639.2515
|  | Dist T/F | [5 empty] | 617955.526 | 779519.9693 | 819867.7287 | 679784.6613 | 571477.0198 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124 | 706328.7124
|  | LV Feeder | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Repl Augmentation Capex Real $ 2020 | [5 empty] | 1782548.9157 | 2886352.1692 | 4675324.6023 | 5321295.9358 | 4849394.3855 | 3030466.7258 | 3248703.3864 | 3451858.2987 | 3068828.8753 | 2706765.3162 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205 | 3101324.5205
|  | Notes | [5 empty] | 1782.5489 2016: 2026/27 to 2039/40 based on the average spend over the 6 year period 2020/21 to 2025/26
LRMC sample shaded

## Opex
Incremental opex is calculated as a proportion of the incremental capex cost.
| Opex proportions by voltage |  |  | Opex profile for new assets
| Voltage | Prop'n |  | Year | 0 | 1 | 2 | 3 | 4
| ST | 1.2% |  | Prop'n | 0% | 40% | 40% | 40% | 100%
| HV bus | 1.2% |  | Lag | -4 | -3 | -2 | -1 | 0
| HV net | 1.6% |  | Annual prop'n | 60% | 0% | 0% | 40% | 0%
| LV bus | 1.6%
| LV net | 1.6%
|  |  | Total | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
|  |  | 2015/16-2019/20 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
Total growth related capex $M 2020 real
| ST |  | 29.4945 | 5.1324 | 5.5412 | 6.3049 | 5.8208 | 6.6952 | 1.9909 | 2.7559 | 1.7969 | 3.7733 | 5.239 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112
| HV bus |  | 54.5175 | 13.8278 | 13.2127 | 12.4119 | 8.4869 | 6.5783 | 5.3398 | 4.9238 | 5.6174 | 6.1649 | 4.9097 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911
| HV net |  | 27.6276 | 1.8702 | 2.8873 | 6.3725 | 8.8201 | 7.6775 | 3.2922 | 1.8289 | 1.6807 | 2.007 | 2.1772 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972
| LV bus |  | 11.3731 | 2.1916 | 2.2677 | 2.3457 | 2.2732 | 2.2948 | 2.4894 | 2.5265 | 2.5636 | 2.5636 | 2.6009 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488
| LV net |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 123.0127 | 23.022 | 23.9088 | 27.4349 | 25.401 | 23.2458 | 13.1123 | 12.0351 | 11.6586 | 14.5089 | 14.9268 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483
Total incremental annual opex $M 2020 real
| ST |  | 0.14639 | 0 | 0.024635 | 0.026598 | 0.030263 | 0.064893 | 0.072034 | 0.054951 | 0.055138 | 0.056831 | 0.032446 | 0.04499 | 0.027871 | 0.042102 | 0.052654 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334
| HV bus |  | 0.32967 | 0 | 0.066373 | 0.063421 | 0.059577 | 0.1403 | 0.12671 | 0.115 | 0.08474 | 0.074327 | 0.068038 | 0.059018 | 0.066323 | 0.070265 | 0.061228 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694
| HV net |  | 0.14563 | 0 | 0.011969 | 0.018479 | 0.040784 | 0.074403 | 0.076854 | 0.082246 | 0.096378 | 0.08446 | 0.04445 | 0.031491 | 0.030197 | 0.033329 | 0.034963 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155
| LV bus |  | 0.079141 | 0 | 0.014026 | 0.014513 | 0.015013 | 0.035588 | 0.036457 | 0.038451 | 0.037993 | 0.038437 | 0.040306 | 0.0409 | 0.040923 | 0.040923 | 0.041281 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781
| LV net |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 0.70083 | 0 | 0.117 | 0.12301 | 0.14564 | 0.31518 | 0.31205 | 0.29064 | 0.27425 | 0.25406 | 0.18524 | 0.1764 | 0.16531 | 0.18662 | 0.19013 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796 | 0.17796
| Augmentation Related Incremental Opex $ 2020 |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| ST |  |  | 0 | 24635.3982 | 26597.6641 | 30263.4502 | 64893.0787 | 72033.5898 | 54951.395 | 55138.3658 | 56830.5432 | 32446.398 | 44989.675 | 27871.0878 | 42101.8363 | 52654.3605 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345 | 37334.3345
| HV bus |  |  | 0 | 66373.3029 | 63420.8224 | 59577.0219 | 140296.8714 | 126707.0817 | 114996.5505 | 84739.7031 | 74327.477 | 68038.0338 | 59018.2096 | 66323.0125 | 70264.7162 | 61227.5325 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379 | 64693.6379
| HV net |  |  | 0 | 11969.4858 | 18478.6872 | 40783.7089 | 74403.0169 | 76853.9388 | 82245.5682 | 96378.0839 | 84460.2507 | 44449.5556 | 31491.3772 | 30196.557 | 33328.7962 | 34963.0111 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342 | 35154.9342
| LV bus |  |  | 0 | 14026.4466 | 14513.2382 | 15012.6491 | 35588.3978 | 36456.5429 | 38451.2307 | 37992.8082 | 38437.3596 | 40305.7115 | 40900.1325 | 40923.4347 | 40923.4266 | 41280.7744 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943 | 40781.0943
| LV net |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Incremental Opex $ 2020 |  |  | 0 | 117004.6335 | 123010.412 | 145636.8301 | 315181.3647 | 312051.1532 | 290644.7444 | 274248.961 | 254055.6304 | 185239.6989 | 176399.3943 | 165314.092 | 186618.7753 | 190125.6784 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008 | 177964.0008
| Notes |  |  | 2016: LRMC sample shaded
Note on D7: James Bennett: was 1.5%, use 80% post efficiency gains.
Note on D8: James Bennett: was 1.5%, use 80% post efficiency gains.
Note on D9: James Bennett: was 2.0%, use 80% post efficiency gains.
Note on D10: James Bennett: was 2.0%, use 80% post efficiency gains.
Note on D11: James Bennett: was 2.0%, use 80% post efficiency gains.

## Demand
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
Split of Demand across Tariff Classes - Maximum Demand at Transmission Exit (from Pricing Model using 2018/18 data) |  | 3 2017/18: MW at Exit
ST | Major Business sub-transmission | 3 2017/18: 73; 4 2018/19: 2.205%
HV Bus | Major Business zone s/stn | 3 2017/18: 71; 4 2018/19: 2.144%
HV line | HV business | 3 2017/18: 176; 4 2018/19: 5.316%
LV Bus | large LV business | 3 2017/18: 809; 4 2018/19: 24.43%
LV line | combines small business and residential | 3 2017/18: 2182; 4 2018/19: 65.9%
[5 empty] | 3311 | 100%
[8 empty] | 2912.5873 | 2920.6757 | 2928.6951 | 2936.7613 | 2944.9206
Table 3.4.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | 0 2014/15: 2819.1461; 1 2015/16: 2826.3744; 2 2016/17: 2840.7647; 3 2017/18: 2827.4007; 4 2018/19: 2885.5996; 5 2019/20: 2898.6093; 6 2020/21: 2904.4065; 7 2021/22: 2910.2153; 8 2022/23: 2916.0357; 9 2023/24: 2921.8678; 10 2024/25: 2927.7115
System maximum Demand at TNIs with growth | [6 empty] | 1447 | 1453.5115 | 1460.0523 | 1466.6225 | 1473.2223 | 1479.8518 | 1486.5112 | 1493.2005 | 1499.9199 | 1506.6695 | 1513.4495 | 1520.26 | 1527.1012 | 1533.9732 | 1540.8761 | 1547.81 | 1554.7751 | 1561.7716 | 1568.7996 | 1575.8592 | 1582.9506
| Growth for year at those TNIs | [6 empty] | 6.5115 | 6.5408 | 6.5702 | 6.5998 | 6.6295 | 6.6593 | 6.6893 | 6.7194 | 6.7496 | 6.78 | 6.8105 | 6.8412 | 6.872 | 6.9029 | 6.9339 | 6.9651 | 6.9965 | 7.028 | 7.0596 | 7.0914
System maximum demand |  | 2819.1461 | 2826.3744 | 2840.7647 | 2827.4007 | 2885.5996 | 2898.6093 | 2905.1208 | 2911.6616 | 2918.2318 | 2924.8316 | 2931.4611 | 2938.1204 | 2944.8097 | 2951.5291 | 2958.2788 | 2965.0588 | 2971.8693 | 2978.7105 | 2985.5824 | 2992.4853 | 2999.4192 | 3006.3844 | 3013.3809 | 3020.4089 | 3027.4685 | 3034.5598
|  |  | 0.2564% | 0.5091% | -0.4704% | 2.058% | 0.4508% | 0.2246% | 0.2251% | 0.2257% | 0.2262% | 0.2267% | 0.2272% | 0.2277% | 0.2282% | 0.2287% | 0.2292% | 0.2297% | 0.2302% | 0.2307% | 0.2312% | 0.2317% | 0.2322% | 0.2327% | 0.2332% | 0.2337% | 0.2342%
Maximum Demand MW split by voltage level contribution
ST |  | 62.1557 | 62.3151 | 62.6324 | 62.3377 | 63.6209 | 63.9077 | 64.0513 | 64.1955 | 64.3404 | 64.4859 | 64.632 | 64.7789 | 64.9263 | 65.0745 | 65.2233 | 65.3728 | 65.5229 | 65.6738 | 65.8253 | 65.9775 | 66.1304 | 66.2839 | 66.4382 | 66.5931 | 66.7488 | 66.9051
HV Bus |  | 60.4528 | 60.6078 | 60.9164 | 60.6299 | 61.8779 | 62.1568 | 62.2965 | 62.4367 | 62.5776 | 62.7191 | 62.8613 | 63.0041 | 63.1475 | 63.2916 | 63.4364 | 63.5817 | 63.7278 | 63.8745 | 64.0219 | 64.1699 | 64.3186 | 64.4679 | 64.618 | 64.7687 | 64.92 | 65.0721
HV line |  | 149.8549 | 150.2392 | 151.0041 | 150.2937 | 153.3874 | 154.0789 | 154.425 | 154.7727 | 155.122 | 155.4728 | 155.8252 | 156.1792 | 156.5347 | 156.8919 | 157.2507 | 157.6111 | 157.9731 | 158.3368 | 158.7021 | 159.069 | 159.4376 | 159.8078 | 160.1797 | 160.5533 | 160.9286 | 161.3055
LV Bus |  | 688.8219 | 690.588 | 694.1041 | 690.8388 | 705.0589 | 708.2377 | 709.8287 | 711.4268 | 713.0322 | 714.6447 | 716.2646 | 717.8917 | 719.5261 | 721.1679 | 722.8171 | 724.4737 | 726.1378 | 727.8094 | 729.4884 | 731.1751 | 732.8693 | 734.5711 | 736.2806 | 737.9978 | 739.7227 | 741.4554
LV line |  | 1857.8607 | 1862.6243 | 1872.1077 | 1863.3006 | 1901.6546 | 1910.2281 | 1914.5193 | 1918.8298 | 1923.1597 | 1927.5091 | 1931.878 | 1936.2666 | 1940.675 | 1945.1032 | 1949.5513 | 1954.0194 | 1958.5076 | 1963.0161 | 1967.5448 | 1972.0939 | 1976.6635 | 1981.2536 | 1985.8644 | 1990.496 | 1995.1483 | 1999.8217
|  | 2819.1461 | 2826.3744 | 2840.7647 | 2827.4007 | 2885.5996 | 2898.6093 | 2905.1208 | 2911.6616 | 2918.2318 | 2924.8316 | 2931.4611 | 2938.1204 | 2944.8097 | 2951.5291 | 2958.2788 | 2965.0588 | 2971.8693 | 2978.7105 | 2985.5824 | 2992.4853 | 2999.4192 | 3006.3844 | 3013.3809 | 3020.4089 | 3027.4685 | 3034.5598
Annual demand increment MW by voltage level |  |  | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
ST |  |  | 0.15937 | 0.31727 | -0.29465 | 1.2832 | 0.28683 | 0.14356 | 0.14421 | 0.14486 | 0.14551 | 0.14617 | 0.14682 | 0.14748 | 0.14815 | 0.14881 | 0.14948 | 0.15016 | 0.15083 | 0.15151 | 0.15219 | 0.15288 | 0.15357 | 0.15426 | 0.15495 | 0.15565 | 0.15635
HV Bus |  |  | 0.155 | 0.30858 | -0.28657 | 1.248 | 0.27897 | 0.13963 | 0.14026 | 0.14089 | 0.14152 | 0.14216 | 0.1428 | 0.14344 | 0.14409 | 0.14474 | 0.14539 | 0.14604 | 0.1467 | 0.14736 | 0.14802 | 0.14869 | 0.14936 | 0.15003 | 0.15071 | 0.15138 | 0.15206
HV line |  |  | 0.38423 | 0.76493 | -0.71038 | 3.0936 | 0.69154 | 0.34613 | 0.34768 | 0.34925 | 0.35082 | 0.3524 | 0.35398 | 0.35558 | 0.35718 | 0.35878 | 0.3604 | 0.36202 | 0.36365 | 0.36529 | 0.36693 | 0.36858 | 0.37024 | 0.37191 | 0.37358 | 0.37526 | 0.37695
LV Bus |  |  | 1.7662 | 3.5161 | -3.2653 | 14.2201 | 3.1787 | 1.591 | 1.5982 | 1.6054 | 1.6126 | 1.6198 | 1.6271 | 1.6344 | 1.6418 | 1.6492 | 1.6566 | 1.6641 | 1.6716 | 1.6791 | 1.6866 | 1.6942 | 1.7018 | 1.7095 | 1.7172 | 1.7249 | 1.7327
LV line |  |  | 4.7636 | 9.4834 | -8.8071 | 38.3539 | 8.5736 | 4.2912 | 4.3105 | 4.3299 | 4.3494 | 4.3689 | 4.3886 | 4.4084 | 4.4282 | 4.4481 | 4.4681 | 4.4882 | 4.5084 | 4.5287 | 4.5491 | 4.5696 | 4.5901 | 4.6108 | 4.6315 | 4.6524 | 4.6733
|  |  | 7.2283 | 14.3903 | -13.364 | 58.1989 | 13.0097 | 6.5115 | 6.5408 | 6.5702 | 6.5998 | 6.6295 | 6.6593 | 6.6893 | 6.7194 | 6.7496 | 6.78 | 6.8105 | 6.8412 | 6.872 | 6.9029 | 6.9339 | 6.9651 | 6.9965 | 7.028 | 7.0596 | 7.0914
Note on M5: James Bennett: not co-incident, but maximum for ecash tariff class exiting at that voltage level
Note on J15: James Bennett: was 2862, extrapolate
Note on N15: James Bennett: from 2020-25 Reset RIN
Note on P21: James Bennett: increments 2019/20 demand by growth at those TNIs that are growing, excludes the demand reductions occurring at other TNIs. Necessary for LRMC claculation.

## LRMC - AIC
Filename: SAPN - 17.2 - Long Run Marginal Cost Model - December 2019 - Public_PJ.xlsx
|  | WACC | Life |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Real framework |  | 2.123% | 50 |  | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
NPV20
Incremental MW for LRMC calculation |  |  |  | MW
| ST |  | 3.6476 |  | 0 | 0.15937 | 0.31727 | -0.29465 | 1.2832 | 0.28683 | 0.14356 | 0.14421 | 0.14486 | 0.14551 | 0.14617 | 0.14682 | 0.14748 | 0.14815 | 0.14881 | 0.14948 | 0.15016 | 0.15083 | 0.15151 | 0.15219 | 0.15288 | 0.15357 | 0.15426 | 0.15495 | 0.15565 | 0.15635
| HV bus |  | 3.5477 |  | 0 | 0.155 | 0.30858 | -0.28657 | 1.248 | 0.27897 | 0.13963 | 0.14026 | 0.14089 | 0.14152 | 0.14216 | 0.1428 | 0.14344 | 0.14409 | 0.14474 | 0.14539 | 0.14604 | 0.1467 | 0.14736 | 0.14802 | 0.14869 | 0.14936 | 0.15003 | 0.15071 | 0.15138 | 0.15206
| HV net |  | 8.7943 |  | 0 | 0.38423 | 0.76493 | -0.71038 | 3.0936 | 0.69154 | 0.34613 | 0.34768 | 0.34925 | 0.35082 | 0.3524 | 0.35398 | 0.35558 | 0.35718 | 0.35878 | 0.3604 | 0.36202 | 0.36365 | 0.36529 | 0.36693 | 0.36858 | 0.37024 | 0.37191 | 0.37358 | 0.37526 | 0.37695
| LV bus |  | 40.4237 |  | 0 | 1.7662 | 3.5161 | -3.2653 | 14.2201 | 3.1787 | 1.591 | 1.5982 | 1.6054 | 1.6126 | 1.6198 | 1.6271 | 1.6344 | 1.6418 | 1.6492 | 1.6566 | 1.6641 | 1.6716 | 1.6791 | 1.6866 | 1.6942 | 1.7018 | 1.7095 | 1.7172 | 1.7249 | 1.7327
| LV net |  | 109.029 |  | 0 | 4.7636 | 9.4834 | -8.8071 | 38.3539 | 8.5736 | 4.2912 | 4.3105 | 4.3299 | 4.3494 | 4.3689 | 4.3886 | 4.4084 | 4.4282 | 4.4481 | 4.4681 | 4.4882 | 4.5084 | 4.5287 | 4.5491 | 4.5696 | 4.5901 | 4.6108 | 4.6315 | 4.6524 | 4.6733
| Total |  | 165.4423 |  | 0 | 7.2283 | 14.3903 | -13.364 | 58.1989 | 13.0097 | 6.5115 | 6.5408 | 6.5702 | 6.5998 | 6.6295 | 6.6593 | 6.6893 | 6.7194 | 6.7496 | 6.78 | 6.8105 | 6.8412 | 6.872 | 6.9029 | 6.9339 | 6.9651 | 6.9965 | 7.028 | 7.0596 | 7.0914
Total growth related capex real |  |  |  | $M
| ST |  |  |  |  | 5.1324 | 5.5412 | 6.3049 | 5.8208 | 6.6952 | 1.9909 | 2.7559 | 1.7969 | 3.7733 | 5.239 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112 | 3.1112
| HV bus |  |  |  |  | 13.8278 | 13.2127 | 12.4119 | 8.4869 | 6.5783 | 5.3398 | 4.9238 | 5.6174 | 6.1649 | 4.9097 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911 | 5.3911
| HV net |  |  |  |  | 1.8702 | 2.8873 | 6.3725 | 8.8201 | 7.6775 | 3.2922 | 1.8289 | 1.6807 | 2.007 | 2.1772 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972 | 2.1972
| LV bus |  |  |  |  | 2.1916 | 2.2677 | 2.3457 | 2.2732 | 2.2948 | 2.4894 | 2.5265 | 2.5636 | 2.5636 | 2.6009 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488 | 2.5488
| LV net |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  |  |  | 23.022 | 23.9088 | 27.4349 | 25.401 | 23.2458 | 13.1123 | 12.0351 | 11.6586 | 14.5089 | 14.9268 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483 | 13.2483
Incremental annual capex |  |  |  | $M
| ST |  |  |  |  | 0.1676 | 0.18095 | 0.20589 | 0.19008 | 0.21863 | 0.065012 | 0.089994 | 0.058676 | 0.12322 | 0.17108 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016 | 0.1016
| HV bus |  |  |  |  | 0.45154 | 0.43146 | 0.40531 | 0.27714 | 0.21481 | 0.17437 | 0.16079 | 0.18344 | 0.20131 | 0.16033 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605 | 0.17605
| HV net |  |  |  |  | 0.061072 | 0.094284 | 0.20809 | 0.28802 | 0.25071 | 0.10751 | 0.059722 | 0.054883 | 0.065537 | 0.071096 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749 | 0.071749
| LV bus |  |  |  |  | 0.071567 | 0.074051 | 0.076599 | 0.074232 | 0.074936 | 0.081292 | 0.082503 | 0.083715 | 0.083715 | 0.084931 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231 | 0.083231
| LV net |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  |  |  | 0.75178 | 0.78074 | 0.89588 | 0.82947 | 0.75909 | 0.42818 | 0.39301 | 0.38071 | 0.47378 | 0.48743 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262 | 0.43262
Incremental opex p.a. |  |  |  | $M p.a.
| ST |  |  |  |  | 0 | 0.024635 | 0.026598 | 0.030263 | 0.064893 | 0.072034 | 0.054951 | 0.055138 | 0.056831 | 0.032446 | 0.04499 | 0.027871 | 0.042102 | 0.052654 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334 | 0.037334
| HV bus |  |  |  |  | 0 | 0.066373 | 0.063421 | 0.059577 | 0.1403 | 0.12671 | 0.115 | 0.08474 | 0.074327 | 0.068038 | 0.059018 | 0.066323 | 0.070265 | 0.061228 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694 | 0.064694
| HV net |  |  |  |  | 0 | 0.011969 | 0.018479 | 0.040784 | 0.074403 | 0.076854 | 0.082246 | 0.096378 | 0.08446 | 0.04445 | 0.031491 | 0.030197 | 0.033329 | 0.034963 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155 | 0.035155
| LV bus |  |  |  |  | 0 | 0.014026 | 0.014513 | 0.015013 | 0.035588 | 0.036457 | 0.038451 | 0.037993 | 0.038437 | 0.040306 | 0.0409 | 0.040923 | 0.040923 | 0.041281 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781 | 0.040781
| LV net |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total incremental costs |  |  |  | $M p.a.
| ST |  | 2.551 |  |  | 0.1676 | 0.20558 | 0.23248 | 0.22034 | 0.28352 | 0.13705 | 0.14495 | 0.11381 | 0.18005 | 0.20352 | 0.14659 | 0.12947 | 0.1437 | 0.15425 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893 | 0.13893
| HV bus |  | 4.2256 |  |  | 0.45154 | 0.49783 | 0.46873 | 0.33671 | 0.35511 | 0.30108 | 0.27578 | 0.26818 | 0.27564 | 0.22836 | 0.23507 | 0.24237 | 0.24631 | 0.23727 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074 | 0.24074
| HV net |  | 2.3354 |  |  | 0.061072 | 0.10625 | 0.22657 | 0.3288 | 0.32511 | 0.18436 | 0.14197 | 0.15126 | 0.15 | 0.11555 | 0.10324 | 0.10195 | 0.10508 | 0.10671 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069 | 0.1069
| LV bus |  | 1.9462 |  |  | 0.071567 | 0.088078 | 0.091113 | 0.089245 | 0.11052 | 0.11775 | 0.12095 | 0.12171 | 0.12215 | 0.12524 | 0.12413 | 0.12415 | 0.12415 | 0.12451 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401 | 0.12401
| LV net |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 11.0582 |  |  | 0.75178 | 0.89774 | 1.0189 | 0.9751 | 1.0743 | 0.74023 | 0.68365 | 0.65496 | 0.72784 | 0.67267 | 0.60902 | 0.59794 | 0.61924 | 0.62275 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059 | 0.61059
Average Incremental Cost
|  |  |  | AIC 20 | 0 2014/15: Δ MW Total; 1 2015/16: 165.4423; 2 2016/17: 161.7947; 3 2017/18: 158.247; 4 2018/19: 149.4527; 5 2019/20: 109.029; 11 2025/26: voltage step
[5 empty] | Δ cost Total | 2.551 | 4.2256 | 2.3354 | 1.9462 | 0 | 11.0582 |  |  |  |  | increment
[5 empty] | Δ MW | ST | HV bus | HV net | LV bus | LV net | Alloc. | $/kW/year | pf | $/kVA/year |  | $/kW | $/kVA
|  |  |  | ST | 0 2014/15: 3.6476; 1 2015/16: 0.056245; 6 2020/21: 0.056245; 7 2021/22: 15.4195; 8 2022/23: 0.95; 9 2023/24: 14.6486; 11 2025/26: 15.4195; 12 2026/27: 14.6486
|  |  |  | HV bus | 0 2014/15: 3.5477; 1 2015/16: 0.054704; 2 2016/17: 0.092654; 6 2020/21: 0.14736; 7 2021/22: 41.5363; 8 2022/23: 0.9; 9 2023/24: 37.3827; 11 2025/26: 26.1168; 12 2026/27: 22.7341
|  |  |  | HV net | 0 2014/15: 8.7943; 1 2015/16: 0.1356; 2 2016/17: 0.22968; 3 2017/18: 0.12979; 6 2020/21: 0.49507; 7 2021/22: 56.2942; 8 2022/23: 0.9; 9 2023/24: 50.6648; 11 2025/26: 14.7579; 12 2026/27: 13.2821
|  |  |  | LV bus | 0 2014/15: 40.4237; 1 2015/16: 0.62331; 2 2016/17: 1.0557; 3 2017/18: 0.59657; 4 2018/19: 0.52641; 6 2020/21: 2.802; 7 2021/22: 69.3166; 8 2022/23: 0.9; 9 2023/24: 62.3849; 11 2025/26: 13.0224; 12 2026/27: 11.7201
|  |  |  | LV net | 0 2014/15: 109.029; 1 2015/16: 1.6812; 2 2016/17: 2.8475; 3 2017/18: 1.609; 4 2018/19: 1.4198; 5 2019/20: 0; 6 2020/21: 7.5575; 7 2021/22: 69.3166; 8 2022/23: 0.9; 9 2023/24: 62.3849; 11 2025/26: 0; 12 2026/27: 0
[5 empty] | 165.4423 | 2.551 | 4.2256 | 2.3354 | 1.9462 | 0 | 11.0582
Note on G3: Real Vanilla WACC as per AER final PTRM: Sheet WACC, cell R19. Excludes rev adjustments, uses cash-flow derivation. Not cell G19, as real vanilla wacc declines from year one under new arrangements File: AER - SA Power Networks revised proposal Nov 20 2019 PTRM

## Standalone Avoidable
Stand-Alone costs of tariff classes ($M pa)
| 2020/21 | 2020/21 |  |  | Tariff Class |  |  |  |  | Tariff Class
Network Level | Cost Pool | Adj Cost Pool | Major Business | HV Business | Large LV Business | Small Business | Residential | Major Business | HV Business | Large LV Business | Small Business | Residential
Sub-Transmission | 60.7542 | 54.6788 | 37% | 36% | 48% | 48% | 98% | 20.2311 | 19.6844 | 26.2458 | 26.2458 | 53.5852
Zone Substation | 132.8998 | 119.6098 | 8% | 11% | 40% | 40% | 86% | 9.5688 | 13.1571 | 47.8439 | 47.8439 | 102.8644
HV Network | 252.5096 | 227.2586 | 3% | 7% | 39% | 39% | 92% | 6.8178 | 15.9081 | 88.6309 | 88.6309 | 209.078
Distribution Transformers | 129.1027 | 116.1924 |  |  | 32% | 32% | 55% | 0 | 0 | 37.1816 | 37.1816 | 63.9058
LV Networks | 113.9141 | 102.5227 |  |  |  | 32% | 90% | 0 | 0 | 0 | 32.8073 | 92.2704
LV Services | 41.7685 | 37.5917 |  |  |  | 32% | 90% | 0 | 0 | 0 | 12.0293 | 33.8325
Customer Related | 28.4785 | 28.4785 |  |  | 1% | 10% | 90% | 0 | 0 | 0.28479 | 2.8479 | 25.6307
Non-System Costs |  | 73.0949 | 53% | 55% | 73% | 73% | 97% | 38.7403 | 40.2022 | 53.3593 | 53.3593 | 70.902
| 759.4274 | 759.4274 | [5 empty] | 75.358 | 88.9517 | 253.5462 | 300.9459 | 652.069
Avoidable costs of tariff classes ($M pa)
| 2020/21 | 2020/21 |  |  | Tariff Class |  |  |  |  | Tariff Class
Network Level | Cost Pool | Adj Cost Pool | Major Business | HV Business | Large LV Business | Small Business | Residential | Major Business | HV Business | Large LV Business | Small Business | Residential
Sub-Transmission | 60.7542 | 54.6788 | -1% | -1% | -3% | -3% | -2% | -0.54679 | -0.54679 | -1.6404 | -1.6404 | -1.0936
Zone Substation | 132.8998 | 119.6098 | -4% | -4% | -4% | -4% | -14% | -4.7844 | -4.7844 | -4.7844 | -4.7844 | -16.7454
HV Network | 252.5096 | 227.2586 |  |  | -4% | -4% | -22% | 0 | 0 | -9.0903 | -9.0903 | -49.9969
Distribution Transformers | 129.1027 | 116.1924 |  |  | -23% | -23% | -36% | 0 | 0 | -26.7243 | -26.7243 | -41.8293
LV Networks | 113.9141 | 102.5227 |  |  |  | -10% | -68% | 0 | 0 | 0 | -10.2523 | -69.7154
LV Services | 41.7685 | 37.5917 |  |  |  | -10% | -68% | 0 | 0 | 0 | -3.7592 | -25.5623
Customer Related | 28.4785 | 28.4785 |  |  | -1% | -10% | -68% | 0 | 0 | -0.28479 | -2.8479 | -19.3654
Non-System Costs |  | 73.0949 |  |  | -2% | -2% | -27% | 0 | 0 | -1.4619 | -1.4619 | -19.7356
| 759.4274 | 759.4274 | [5 empty] | -5.3312 | -5.3312 | -43.986 | -60.5605 | -244.0439