## Assumptions
SA Power Networks - Guaranteed Service Level (GSL) Forecasting - Step Change
ESCoSA Reliability Standards Review Final Decision
ESCoSA - SA Power Networks reliability standards review, Final decision, January 2019, page 35-47
|  | Reliability - duration payments | Continue GSL payments for network reliability with improvements (ESCoSA Final decision page 36); - Duration payments account for 97% of GSL Scheme costs. - Duration payments in their current form will be removed from 1 July 2020. - Payments for one-off outages will be replaced with total annual duration payments, to apply at the end of each regulatory year. - Duration payments will include interruptions on MEDs.
|  | Reliability - frequency payments | Consolidate the frequency payment thresholds to one level instead of three from 1 July 2020 (page 38)
|  | Appointments (late attendance) | Remove the GSL payment for late attendance (page 42)
|  | Connection (timeliness) | Continue the GSL payment for timeliness of new connection (page 43)
|  | Street lights (reported outages) | Continue the GSL payment for repair of faulty street lights, and to further clarify when the five or ten day period begins (page 43)
Assumptions applied
Steps performed to arrive at the average annual step change value;
| [1] | Summarised current GSL scheme payment data, by individual payment obligations
Note: this information is reported to ESCoSA and is available on their website.
https://www.escosa.sa.gov.au/industry/electricity/regulatory-reporting/regulatory-performance-reports
| [2] | Reconcile ESCoSA reported scheme payments with AER RIN reported GSL expenditure total.
There are known timing variances between ESCoSA reporting and AER RIN reporting. The cause of these variances are associated with the timing of transactions and how they are reported. RIN reporting is obtained from our financial accounting system and incorporates accrual accounting. This differs from the information that is prepared for ESCoSA which is based on when payments are made (ie monthly) to customers for the specific payment schemes.
To account for these variances the total RIN reported expenditure, by year, has been pro-rata apportioned across the individual categories included in the ESCoSA Reporting.
| [3] | Escalate to June $2020
The reporting of the 2020-2025 proposal is in June $2020, therefore to calculate and report the average GSL payment in these dollars both the RIN reported values and the ESCoSA values have been escalated from nominal to June $2020.
The rates used to escalate to $June 2020 are included in the CPI escalations worksheet.
| [4] | Recalculate the historical GSL payments for Reliability (duration payments) under the new scheme that will apply from 1 July 2020.
Reliability duration payments account for 97% of all GSL expenditure and is the largest component of the re-calculation. The customer numbers used to calculate the duration payments under the new obligations have been obtained from our pre-defined standard Outage Management System (OMS) based reliability reports. The values that have been used do not factor in the following: • any Force Majeure exclusions (mainly impacts 2016/17) • any phase operations • exclusions related to multiple NMI’s at the same supply address • payments that are currently ‘on-hold’ due to insufficient customer details (eg retailer has not provided the customer's name) to generate a cheque (mainly impacts 2016/17)
| [5] | Calculate the average GSL payments to apply from 1 July 2020 using historical payments and the applications of the new scheme - annual GSL step change to apply.
Where GSL payments will no longer apply in the upcoming regulatory period eg late attendance, the values have not be historically recast.
| [6] | Adjust GSL historical payments calculated under the new scheme to account for movements in customer numbers.
By applying a longer historical average period (10-years compared with five-years) the changes in customer numbers applicable for GSL payments, over the averaging period, has a greater impact on the application of the new scheme.
The new scheme calculation applied in step [5] does not account for changes in customer numbers over the period and does not allow for an increase in the number of customers that will receive a GSL payment in the future.
To account for this the average GSL payments to apply from 1 July 2020 have been adjusted to account for the changes in customer numbers over the same 10-year period.
Rural customer movement has been used as the base for the calculation of customer number movement. These customers would typically receive poorer reliability than urban customers, and consequently under the new GSL payment regime would receive more GSL total duration payment than urban customers.
Customer numbers have increased by about 31,000 on Rural Feeders (or 13%), or by about 124,000 in total (or 16%). We have used the lower percentage to adjust our GSL payment.

## ESCOSA Data
ESCoSA Energy Performance Reports Time Series Tables
[1] Assumption step 1
https://www.escosa.sa.gov.au/industry/electricity/regulatory-reporting/regulatory-performance-reports
LINK: Energy networks performance - time series data
OP 4.1 - SA Power Networks’ Performance Against Timeliness of Appointments
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Number of appointments | 23408 | 22972 | 26813 | 30340 | 32995 | 53338 | 84111 | 52077 | 45931 | 31973 | 30214 | 32369 | 29729 | 20666
Number of appointments where SA Power Networks is more than 15 minutes late | 14 | 12 | 13 | 13 | 2 | 3 | 0 | 0 | 1 | 0 | 2 | 1 | 2 | 1
Percentage of appointments where SA Power Networks is not more than 15 minutes late | 99.9% | 99.95% | 99.95% | 99.96% | 99.99% | 99.99% | 100% | 100% | 99.99% | 100% | 99.99% | 99.99% | 99.99% | 99.99%
Amounts paid to customers where SA Power Networks is more than 15 minutes late | 280 | 240 | 260 | 260 | 40 | 90 | 0 | 0 | 25 | 0 | 50 | 25 | 50 | 25
OP 4.2 - SA Power Networks’ Performance Against Promptness of Connection
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Number of new supply addresses connected | 13423 | 13052 | 13033 | 14933 | 13853 | 14187 | 11585 | 9480 | 10721 | 11901 | 11620 | 11805 | 11789 | 10016
Number of new supply addresses not connected within the prescribed period | 179 | 67 | 172 | 87 | 88 | 82 | 77 | 65 | 121 | 141 | 192 | 238 | 215 | 229
Percentage of new supply addresses connected within the prescribed period | 98.67% | 99.49% | 98.68% | 99.42% | 99.36% | 99.42% | 99.34% | 99.31% | 98.87% | 98.82% | 98.35% | 97.98% | 98% | 97.7%
Amounts paid to customers where SA Power Networks failed to connect new supply addresses within the prescribed period | 16000 | 15150 | 41100 | 17950 | 17150 | 18480 | 19860 | 14560 | 30840 | 37620 | 52620 | 71930 | 60975 | 64610
OP 4.3 - SA Power Networks’ Performance Against Timeliness of Street Light Repairs – Adelaide Business Area and Major Metropolitan Areas
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
No. street light faults reported | 29320 | 31829 | 31450 | 24268 | 31439 | 25090 | 25735 | 22669 | 25648 | 26782 | 27486 | 35181 | 26589 | 26044
No. street light faults not repaired within 5 business days | 1895 | 841 | 609 | 315 | 1159 | 1763 | 1055 | 1361 | 906 | 1795 | 1126 | 3726 | 1022 | 1403
% of street light faults repaired within 5 business days | 93.54% | 97.36% | 98.06% | 98.7% | 96.31% | 92.97% | 95.9% | 94% | 96.47% | 93.3% | 95.9% | 89% | 96% | 95%
Average no. business days to repair street light faults | 3.5 | 2.3 | 3 | 2 | 2.5 | 3.4 | 3.4 | 2.6 | 3.66 | 4.83 | ? | ? | ? | ?
Customer payments where SA Power Networks failed to effect repairs within 5 business days | 142760 | 31620 | 31080 | 15420 | 28260 | 72565 | 43725 | 73830 | 71975 | 255400 | 190650 | 442600 | 154585 | 149435
OP 4.4 - SA Power Networks’ Performance Against Timeliness of Street Light Repairs – Country Areas
Measure | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
No. street light faults reported | 7088 | 6220 | 5455 | 4213 | 5453 | 3947 | 3696 | 3441 | 3657 | 3867 | 4149 | 5212 | 4356 | 4147
No. street light faults not repaired within 10 business days | 100 | 159 | 37 | 25 | 79 | 159 | 60 | 67 | 26 | 27 | 12 | 53 | 23 | 52
% of street light faults reported repaired within 10 business days | 98.59% | 97.44% | 99.32% | 99.41% | 98.55% | 95.97% | 98.38% | 98.05% | 99.29% | 99.3% | 99.71% | 99% | 99% | 99%
Average no. business days to repair street light faults | 4 | 4 | 3 | 3.5 | 4 | 4 | 4.5 | 3.25 | 3.1 | ? | ? | ? | ? | ?
Customer payments where SA Power Networks failed to effect repairs within 10 business days | 2780 | 2840 | 1040 | 600 | 1460 | 2890 | 1250 | 1625 | 800 | 1575 | 425 | 2150 | 1950 | 2950
OP 4.5 - GSL: Frequency of Supply Interruptions
DETAIL | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Frequency of supply >9 and ≤12 interruptions | 3549 | 1041 | 559 | 911 | 2288 | 2653 | 1164 | 1142 | 3258 | 779 | 395 | 3194 | 525 | 290
Payment total | 283920 | 83280 | 44720 | 72880 | 183040 | 238770 | 104760 | 102780 | 293220 | 70110 | 39500 | 319400 | 52500 | 29000
Frequency of supply >12 and ≤15 interruptions | 827 | 426 | 215 | 179 | 1269 | 402 | 883 | 23 | 368 | 58 | 74 | 724 | 19 | 37
Payment total | 99240 | 51120 | 25800 | 21480 | 127520 | 56280 | 123620 | 3220 | 51520 | 8120 | 11100 | 108600 | 2850 | 5550
Frequency of supply >15 interruptions | 70 | 63 | 2 | 0 | 405 | 62 | 0 | 0 | 3 | 12 | 0 | 14 | 0 | 0
Payment total | 11200 | 10080 | 320 | 0 | 64240 | 11470 | 0 | 0 | 555 | 2220 | 0 | 2800 | 0 | 0
OP 4.6 - GSL: Duration of Supply Interruptions
DETAIL | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Duration of supply interruption >12 and ≤15h | 2177 | 2269 | 1379 | 1907 | 3218 | 9980 | 2821 | 6540 | 15235 | 3477 | 2946 | 33711 | 2898 | 10905
Payment total | 174160 | 181600 | 110320 | 152560 | 257440 | 888980 | 253870 | 588680 | 1371150 | 312930 | 592501 | 3371100 | 289800 | 1090500
Duration of supply interruption >15 and ≤18h | 1993 | 896 | 753 | 1065 | 3208 | 7274 | 2917 | 2765 | 9829 | 2870 | 3630 | 25830 | 2211 | 8888
Payment total | 239160 | 107520 | 90360 | 127800 | 384960 | 1017700 | 408320 | 387100 | 1376060 | 401800 | 544500 | 3874500 | 331650 | 1333200
Duration of supply interruption >18 and ≤24h | 6070 | 1189 | 444 | 694 | 1932 | 8121 | 3923 | 6405 | 14457 | 3369 | 3051 | 30048 | 1117 | 5197
Payment total | 971200 | 190240 | 71040 | 111040 | 309120 | 1502185 | 725705 | 1184925 | 2674545 | 623265 | 610200 | 6009600 | 223400 | 1039400
Duration of supply interruption >24h |  | 292 | 281 | 123 | 620 | 8803 | 2520 | 2513 | 9310 | 2793
Payment total |  | 93440 | 89920 | 39360 | 198400 | 3253510 | 932400 | 930130 | 3444700 | 1033410
Duration of supply interruption >24h and ≤48h | 2015/16: 1049; 2016/17: 23576; 2017/18: 460; 2018/19: 1427
Payment total | 2015/16: 424845; 2016/17: 9548280; 2017/18: 186300; 2018/19: 577935
Duration of supply interruption >48h | 2015/16: 52; 2016/17: 7744; 2017/18: 460; 2018/19: 45
Payment total | 2015/16: 31460; 2016/17: 4685120; 2017/18: 41140; 2018/19: 27225
TOTAL | 1384520 | 572800 | 361640 | 430760 | 1149920 | 6662375 | 2320295 | 3090835 | 8866455 | 2371405 | 2203506 | 27488600 | 1072290 | 4068260
Summary - Performance against Guaranteed Service Levels (Customer Payments)
Requirement | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Timeliness of appointments - No more than 15 minutes late | 280 | 240 | 260 | 260 | 40 | 90 | 0 | 0 | 25 | 0 | 50 | 25 | 50 | 25
Promptness of new connections - Within 6 business days | 16000 | 15150 | 41100 | 17950 | 17150 | 18480 | 19860 | 14560 | 30840 | 37620 | 52620 | 71930 | 60975 | 64610
Timeliness of street light repairs - Metro/Other - Within 5 business days | 142760 | 31620 | 31080 | 15420 | 28260 | 72565 | 43725 | 73830 | 71975 | 255400 | 190650 | 442600 | 154585 | 149435
Timeliness of street light repairs - Country - Within 10 business days | 2780 | 2840 | 1040 | 600 | 1460 | 2890 | 1250 | 1625 | 800 | 1575 | 425 | 2150 | 1950 | 2950
Duration of supply interruption >12 and ≤15h | 174160 | 181600 | 110320 | 152560 | 257440 | 888980 | 253870 | 588680 | 1371150 | 312930 | 592501 | 3371100 | 289800 | 1090500
Duration of supply interruption >15 and ≤18h | 239160 | 107520 | 90360 | 127800 | 384960 | 1017700 | 408320 | 387100 | 1376060 | 401800 | 544500 | 3874500 | 331650 | 1333200
Duration of supply interruption >18 and ≤24h | 971200 | 190240 | 71040 | 111040 | 309120 | 1502185 | 725705 | 1184925 | 2674545 | 623265 | 610200 | 6009600 | 223400 | 1039400
Duration of supply interruption >24h | N/A | 93440 | 89920 | 39360 | 198400 | 3253510 | 932400 | 930130 | 3444700 | 1033410 | 456305 | 14233400 | 227440 | 605160
Frequency of supply >9 and ≤12 interruptions | 283920 | 83280 | 44720 | 72880 | 183040 | 238770 | 104760 | 102780 | 293220 | 70110 | 39500 | 319400 | 52500 | 29000
Frequency of supply >12 and ≤15 interruptions | 99240 | 51120 | 25800 | 21480 | 127520 | 56280 | 123620 | 3220 | 51520 | 8120 | 11100 | 108600 | 2850 | 5550
Frequency of supply >15 interruptions | 11200 | 10080 | 320 | 0 | 64240 | 11470 | 0 | 0 | 555 | 2220 | 0 | 2800 | 0 | 0
| 1940700 | 767130 | 505960 | 559350 | 1571630 | 7062920 | 2613510 | 3286850 | 9315390 | 2746450 | 2497851 | 28436105 | 1345200 | 4319830
[5 empty] | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Reliability - duration payments |  |  |  |  | 1149.92 | 6662.375 | 2320.295 | 3090.835 | 8866.455 | 2371.405 | 2203.506 | 27488.6 | 1072.29 | 4068.26
Reliability - frequency payments |  |  |  |  | 374.8 | 306.52 | 228.38 | 106 | 345.295 | 80.45 | 50.6 | 430.8 | 55.35 | 34.55
Appointments (late attendance) |  |  |  |  | 0.04 | 0.09 | 0 | 0 | 0.025 | 0 | 0.05 | 0.025 | 0.05 | 0.025
Connection (delays) |  |  |  |  | 17.15 | 18.48 | 19.86 | 14.56 | 30.84 | 37.62 | 52.62 | 71.93 | 60.975 | 64.61
Street lights (reported outages) |  |  |  |  | 29.72 | 75.455 | 44.975 | 75.455 | 72.775 | 256.975 | 191.075 | 444.75 | 156.535 | 152.385
Total GSL payments |  |  |  |  | 1571.63 | 7062.92 | 2613.51 | 3286.85 | 9315.39 | 2746.45 | 2497.851 | 28436.105 | 1345.2 | 4319.83

## Step Change - 10 Years
SA Power Networks - Guaranteed Service Level (GSL) Forecasting - Step Change (10 year average)
The back casting of new service standard arrangements proposed by ESCoSA have been applied by calculating the cost difference between the old and new obligations based on a 5 year average.
SAPN actual expenditure (nominal, $ million)
[2] Assumption step 2
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| EB RIN 3.2 Operating Expenditure [GSL] ($m, Nominal) | 1297.764 | 7052.285 | 2996.58 | 4762.807 | 9923.975 | 3713.691 | 3389.55 | 25515.3806 | 1867.083 | 4905.3612
ESCoSA Service Standard Framework Categories ($, nominal)
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| Reliability - duration payments | 1149.92 | 6662.375 | 2320.295 | 3090.835 | 8866.455 | 2371.405 | 2203.506 | 27488.6 | 1072.29 | 4068.26
| Reliability - frequency payments | 374.8 | 306.52 | 228.38 | 106 | 345.295 | 80.45 | 50.6 | 430.8 | 55.35 | 34.55
| Appointments (late attendance) | 0.04 | 0.09 | 0 | 0 | 0.025 | 0 | 0.05 | 0.025 | 0.05 | 0.025
| Connection (delays) | 17.15 | 18.48 | 19.86 | 14.56 | 30.84 | 37.62 | 52.62 | 71.93 | 60.975 | 64.61
| Street lights (reported outages) | 29.72 | 75.455 | 44.975 | 75.455 | 72.775 | 256.975 | 191.075 | 444.75 | 156.535 | 152.385
| Total GSL payments | 1571.63 | 7062.92 | 2613.51 | 3286.85 | 9315.39 | 2746.45 | 2497.851 | 28436.105 | 1345.2 | 4319.83
| Variance (timing) | 273.866 | 10.635 | -383.07 | -1475.957 | -608.585 | -967.241 | -891.699 | 2920.7244 | -521.883 | -585.5312 | -2228.7408
Pro-rata apportionment
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| Reliability - duration payments | 949.5395 | 6652.3431 | 2660.3876 | 4478.7716 | 9445.7106 | 3206.5632 | 2990.1278 | 24665.1955 | 1488.295 | 4619.6922
| Reliability - frequency payments | 309.4888 | 306.0585 | 261.8543 | 153.5992 | 367.8535 | 108.7828 | 68.6635 | 386.5517 | 76.8236 | 39.2331
| Appointments (late attendance) | 0.03303 | 0.089864 | 0 | 0 | 0.026633 | 0 | 0.067849 | 0.022432 | 0.069398 | 0.028389
| Connection (delays) | 14.1615 | 18.4522 | 22.7709 | 21.0982 | 32.8548 | 50.869 | 71.4046 | 64.5419 | 84.6308 | 73.3676
| Street lights (reported outages) | 24.5411 | 75.3414 | 51.5671 | 109.338 | 77.5295 | 347.4761 | 259.2862 | 399.0689 | 217.2642 | 173.04
| Total GSL payments | 1297.764 | 7052.285 | 2996.58 | 4762.807 | 9923.975 | 3713.691 | 3389.55 | 25515.3806 | 1867.083 | 4905.3612
| Variance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAPN actual expenditure (June 2020, $ million)
[3] Assumption step 3
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| CPI Escalator | 1.2443 | 1.2093 | 1.1703 | 1.1563 | 1.1293 | 1.0963 | 1.08 | 1.069 | 1.0488 | 1.0274
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | AVERAGE
| EB RIN 3.2 Operating Expenditure [GSL] (June 2020, $ million) | 1614.7662 | 8528.6184 | 3506.9879 | 5507.4344 | 11207.5997 | 4071.2696 | 3660.6115 | 27276.7289 | 1958.1054 | 5039.792 | 7237.1914
ESCoSA Service Standard Framework Categories (June 2020, $ million)
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | AVERAGE
| Reliability - duration payments | 1181.4816 | 8044.9523 | 3113.5318 | 5178.9923 | 10667.4737 | 3515.3122 | 3229.2476 | 26367.8549 | 1560.8511 | 4746.2943 | 6760.5992
| Reliability - frequency payments | 385.0871 | 370.1291 | 306.456 | 177.6132 | 415.4338 | 119.2571 | 74.1545 | 413.2357 | 80.5688 | 40.3083 | 220.53
| Appointments (late attendance) | 0.041098 | 0.10868 | 0 | 0 | 0.030078 | 0 | 0.073275 | 0.023981 | 0.072781 | 0.029167 | 0.040023
| Connection (delays) | 17.6207 | 22.315 | 26.6495 | 24.3967 | 37.1044 | 55.767 | 77.1148 | 68.9973 | 88.7567 | 75.3782 | 65.548
| Street lights (reported outages) | 30.5357 | 91.1134 | 60.3506 | 126.4321 | 87.5576 | 380.9334 | 280.0212 | 426.617 | 227.8561 | 177.7822 | 280.5971
| Total GSL payments | 1614.7662 | 8528.6184 | 3506.9879 | 5507.4344 | 11207.5997 | 4071.2696 | 3660.6115 | 27276.7289 | 1958.1054 | 5039.792 | 7237.1914
| Variance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[4] Assumption step 4
OP 4.6 - GSL: Duration of Supply Interruptions
| DETAIL | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| Duration of supply interruption >12 and ≤15h | 3218 | 9980 | 2821 | 6540 | 15235 | 3477 | 2946 | 33711 | 2898 | 10905
| Payment total | 257440 | 888980 | 253870 | 588680 | 1371150 | 312930 | 294600 | 3371100 | 289800 | 1090500
| Duration of supply interruption >15 and ≤18h | 3208 | 7274 | 2917 | 2765 | 9829 | 2870 | 3630 | 25830 | 2211 | 8888
| Payment total | 384960 | 1017700 | 408320 | 387100 | 1376060 | 401800 | 544500 | 3874500 | 331650 | 1333200
| Duration of supply interruption >18 and ≤24h | 1932 | 8121 | 3923 | 6405 | 14457 | 3369 | 3051 | 30048 | 1117 | 5197
| Payment total | 309120 | 1502185 | 725705 | 1184925 | 2674545 | 623265 | 610200 | 6009600 | 223400 | 1039400
| Duration of supply interruption >24h | 620 | 8803 | 2520 | 2513 | 9310 | 2793
| Payment total | 198400 | 3253510 | 932400 | 930130 | 3444700 | 1033410
| Duration of supply interruption >24h and ≤48h | 2015/16: 1049; 2016/17: 23576; 2017/18: 460; 2018/19: 1427
| Payment total | 2015/16: 424845; 2016/17: 9548280; 2017/18: 186300; 2018/19: 577935
| Duration of supply interruption >48h | 2015/16: 52; 2016/17: 7744; 2017/18: 68; 2018/19: 45
| Payment total | 2015/16: 31460; 2016/17: 4685120; 2017/18: 41140; 2018/19: 27225
| TOTAL | 1149920 | 6662375 | 2320295 | 3090835 | 8866455 | 2371405 | 2203506 | 27488600 | 1072290 | 4068260
| Total duration of supply interruption payments made (based on 1 July 2020 Scheme) | 8978 | 34178 | 12181 | 18223 | 48831 | 12509 | 10728 | 120909 | 6754 | 26462
| 20-30 | 9545 | 18497 | 9667 | 12719 | 28190 | 6724 | 8039 | 46164 | 5369 | 16213
| 30-60 | 5295 | 18138 | 4052 | 5009 | 16938 | 4382 | 2572 | 40445 | 2347 | 6375
| >60 | 936 | 2860 | 359 | 1253 | 1199 | 1409 | 553 | 17720 | 188 | 822
| Total duration of supply interruption payments made (based on 1 July 2020 Scheme) | 15776 | 39495 | 14078 | 18981 | 46327 | 12515 | 11164 | 104329 | 7904 | 23410
Source:
(2008/09 to 2017/18) Information request #037(G) Step Change Confidential
(2018/19) ESCoSA regulatory performance reporting and internal OMS reporting
ESCoSA - SA Power Networks reliability standards review, Final Decision, December 2018.
Re-calculation of historical GSL expenditure using the proposed ESCoSA scheme that will apply for the 2020-2025 RCP.
|  | Thresholds | Payments
|  | 20-30 | 100
|  | 30-60 | 150
|  | >60 | 300
| DETAIL | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| 20-30 | 954500 | 1849700 | 966700 | 1271900 | 2819000 | 672400 | 803900 | 4616400 | 536900 | 1621300
| 30-60 | 794250 | 2720700 | 607800 | 751350 | 2540700 | 657300 | 385800 | 6066750 | 352050 | 956250
| >60 | 280800 | 858000 | 107700 | 375900 | 359700 | 422700 | 165900 | 5316000 | 56400 | 246600
| Total value of duration of supply interruption payments made (based on 1 July 2020 Scheme) | 2029550 | 5428400 | 1682200 | 2399150 | 5719400 | 1752400 | 1355600 | 15999150 | 945350 | 2824150
| 5 Year average (SA Power Networks 2020-25 Regulatory Proposal, January 2019) | 300 2010/11: Averaging Period; 300 2011/12: 2013/14 to 2017/18; 300 2013/14: 5154380
| 10 Year average (SA Power Networks 2020-25 Revised Regulatory Proposal, December 2019) | 300 2010/11: Averaging Period; 300 2011/12: 2009/10 to 2018/19; 300 2013/14: 4013535
[5] Assumption step 5
ESCoSA Service Standard Framework Categories (June 2020, $ million)
|  | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | AVERAGE
| Reliability - duration payments | 2029.55 | 5428.4 | 1682.2 | 2399.15 | 5719.4 | 1752.4 | 1355.6 | 15999.15 | 945.35 | 2824.15 | 4013.535 | ESCoSA revised duration payment scheme, 2013/14 to 2017/18 historical outages have been recast with new obligations.
| Reliability - frequency payments | 385.0871 | 370.1291 | 306.456 | 177.6132 | 415.4338 | 119.2571 | 74.1545 | 413.2357 | 80.5688 | 40.3083 | 238.2244
| Appointments (late attendance) | [11 empty] | ESCoSA removed payment for late attendance.
| Connection (delays) | 17.6207 | 22.315 | 26.6495 | 24.3967 | 37.1044 | 55.767 | 77.1148 | 68.9973 | 88.7567 | 75.3782 | 49.41
| Street lights (reported outages) | 30.5357 | 91.1134 | 60.3506 | 126.4321 | 87.5576 | 380.9334 | 280.0212 | 426.617 | 227.8561 | 177.7822 | 188.9199
| Other | [11 empty] | N/A
| Total GSL payments | 2462.7935 | 5911.9575 | 2075.6561 | 2727.5921 | 6259.4959 | 2308.3574 | 1786.8906 | 16908 | 1342.5316 | 3117.6186 | 4490.0893
[6] Assumption step 6
| Customer Numbers - EB RIN Volumes (0's) | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| CBD | 4734 | 4843 | 4979 | 5105 | 5127.5 | 5113.5 | 5095 | 5291.5 | 5177 | 5151.5
| Urban | 561308 | 580030 | 581698 | 583772 | 590259.5 | 591686.5 | 594736 | 608163.5 | 620832 | 625518
| Short Rurual | 114756 | 108111 | 120434 | 120820 | 117740.5 | 118211.5 | 120275 | 123893.5 | 125931.5 | 134225.5
| Long Rural | 146166 | 143071 | 137042 | 138069 | 138639 | 138927.5 | 138541 | 140951.5 | 142455.5 | 137017.5
|  | 826964 | 836055 | 844153 | 847766 | 851766.5 | 853939 | 858647 | 878300 | 894396 | 901912.5
AVERAGE
| Total GSL Payments under new scheme | 2462.7935 | 5911.9575 | 2075.6561 | 2727.5921 | 6259.4959 | 2308.3574 | 1786.8906 | 16908 | 1342.5316 | 3117.6186 | 4490.0893
| Customer numbers adjusted (Total) | 2685.9987 | 6377.6526 | 2217.6788 | 2901.8023 | 6628.0108 | 2438.0388 | 1876.9284 | 17362.5602 | 1353.8142 | 3117.6186 | 4696.0103
| Customer numbers adjusted (Rural) | 2560.2115 | 6384.1242 | 2186.6395 | 2857.7508 | 6622.3877 | 2434.9702 | 1872.6878 | 17316.4555 | 1356.8179 | 3117.6186 | 4670.9664
10 Year average (2009/10 to 2018/19)
| BASE YEAR GSL payments | 2009/10: 5039.792
| Revised GSL payments on new obligations (10 years) | 2009/10: 4670.9664
| Movement in average | 2009/10: -368.8257
| CPI Escalator | 2009/10: 1.0274
| Average annual negative GSL step change to be applied ($2018/19 SEM Input) | 2009/10: -358.9877

## Revised Proposal
SA Power Networks - Guaranteed Service Level (GSL) Forecasting - Movement to Proposal and AER Draft Decision
|  |  | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | $ pa | SAPN Regulatory Proposal | AER Draft Decision | SAPN Revised Regulatory Proposal
ESCoSA | Actual GSL Payments | $Nominal | 1940.7 | 767.13 | 505.96 | 559.35 | 1571.63 | 7062.92 | 2613.51 | 3286.85 | 9315.39 | 2746.45 | 2497.851 | 28436.105 | 1345.2 | 4319.83 | Base Year | 9634.863 | 9634.863 | 5039.792
ESCoSA | Actual GSL Payments | $June 2020 | 2720.8921 | 1044.3742 | 672.4369 | 713.1448 | 1955.5289 | 8541.4798 | 3058.6695 | 3800.7231 | 10520.2967 | 3010.8963 | 2697.6036 | 30399.0734 | 1410.78 | 4438.2144 | Step Change | -3977.6967 | -4600 | -368.8257
[17 empty] | GSL 2020-25 $pa | 5721.0551 | 5092.6797 | 4670.9664
EB RIN | Actual GSL Payments | $Nominal | 2026.284 | 493.257 | 845.868 | 543.595 | 1297.764 | 7052.285 | 2996.58 | 4762.807 | 9923.975 | 3713.691 | 3389.55 | 25515.3806 | 1867.083 | 4905.3612
EB RIN | Actual GSL Payments | $June 2020 | 2840.8823 | 671.5223 | 1124.1854 | 693.0579 | 1614.7662 | 8528.6184 | 3506.9879 | 5507.4344 | 11207.5997 | 4071.2696 | 3660.6115 | 27276.7289 | 1958.1054 | 5039.792 | 2020-25 Period
[17 empty] | Base Year | 48174.3151 | 48174.3151 | 25198.9601
| Major Event Days (MEDs) | Unit | 2 | 0 | 1 | 3 | 2 | 5 | 2 | 5 | 7 | 3 | 1 | 9 | 0 | 4 | Step Change | -19888.4835 | -23000 | -1844.1283
| USAIDI (MEDs Only) | Unit | 15.6 | 0 | 6.7 | 27.5 | 18.8 | 138.5 | 23 | 57.9 | 113.4 | 28.2 | 8.7 | 329.4 | 0 | 49.6 | GSL opex | 28285.8316 | 25174.3151 | 23354.8318
Customer Numbers
EB RIN | CBD | Unit | 3475 | 3478 | 4323 | 4519 | 4734 | 4843 | 4979 | 5105 | 5127.5 | 5113.5 | 5095 | 5291.5 | 5177 | 5151.5
EB RIN | Urban | Unit | 534705 | 535108 | 544497 | 555238 | 561308 | 580030 | 581698 | 583772 | 590259.5 | 591686.5 | 594736 | 608163.5 | 620832 | 625518
EB RIN | Short Rurual | Unit | 104471 | 104550 | 101838 | 112303 | 114756 | 108111 | 120434 | 120820 | 117740.5 | 118211.5 | 120275 | 123893.5 | 125931.5 | 134225.5
EB RIN | Long Rural | Unit | 136188 | 136290 | 130452 | 142407 | 146166 | 143071 | 137042 | 138069 | 138639 | 138927.5 | 138541 | 140951.5 | 142455.5 | 137017.5
|  | Total | 778839 | 779426 | 781110 | 814467 | 826964 | 836055 | 844153 | 847766 | 851766.5 | 853939 | 858647 | 878300 | 894396 | 901912.5
CALC | GSL Payments New Scheme (customer Adjusted) | $June 2020 |  |  |  |  | 2560.2115 | 6384.1242 | 2186.6395 | 2857.7508 | 6622.3877 | 2434.9702 | 1872.6878 | 17316.4555 | 1356.8179 | 3117.6186
| Average payment under applicable scheme (ie base year) | [5 empty] | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792 | 5039.792
| Average payment under new GSL scheme (SAPN) | [5 empty] | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664 | 4670.9664
CHARTS: Actual and retrospective GSL payments under the exisiting and new schemes ($June 2020) - with MEDs and USAIDI
Note on U5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 5-year average 2013/14 to 2017/18
Note on V5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 10-year average 2008/09 to 2017/18
Note on W5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 10-year average 2009/10 to 2018/19

## CPI Escalations
ASSUMPTIONS - CPI Escalations
Key Assumptions included in modelling:
CPI ESCALATIONS
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
CPI Escalation | Annual change quarter ending 31 Dec | 2.799% | 3.254% | 2.958% | 3.685% | 2.108% | 2.655% | 3.103% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.75%
|  | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20
Reg Year Actual | Escalation from $Reg Nominal to $2019/20 | 1.402 | 1.3614 | 1.329 | 1.275 | 1.2443 | 1.2093 | 1.1703 | 1.1563 | 1.1293 | 1.0963 | 1.08 | 1.069 | 1.0488 | 1.0274 | 1.0113
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AER allowances | $June yyyy to $June 2020 | 1.4169 | 1.3759 | 1.3431 | 1.2885 | 1.2575 | 1.2222 | 1.1828 | 1.1643 | 1.1359 | 1.1036 | 1.0891 | 1.071 | 1.0554 | 1.0357 | 1.0175
Note on J14: eg use for June 2010 to June 2020
Note on O14: eg use for June 2015 to June 2020