## Index
Revenue Reset Information Pro Formas
INDEX | Click on orange box for link to pages
Historic Opex |  | Historic Capex
Table 1.1 | Historic Opex by Category - Summary | Table 3.1 | Historic Capex by Category
1.2 | Historic Opex by Category Year 1 | 3.2 | Historic Capex by Asset Class
1.3 | Historic Opex by Category Year 2 | 3.3 | Historic Capex - Network
1.4 | Historic Opex by Category Year 3 | 3.4 | Historic Capex - Non-Network
1.5 | Historic Opex by Category Year 4
1.6 | Estimated Opex by Category Year 5
1.7 | Estimated Opex by Category Year 6
Forecast Opex |  | Forecast Capex
Table 2.1 | Forecast Opex by Category - Summary | Table 4.1 | Forecast Capex by Category
2.2 | Forecast Opex by Category Year 7 | 4.2 | Forecast Capex by Asset Class
2.3 | Forecast Opex by Category Year 8 | 4.3 | Forecast Capex - Network
2.4 | Forecast Opex by Category Year 9 | 4.4 | Forecast Capex - Non-Network
Commentary |  | Instructions / Definitions
Table 5.1 | Commentary on Opex | Table 6.1 | Opex Instructions
5.2 | Commentary on Historic Capex | 6.2 | Historic Capex Instructions
5.3 | Commentary on Forecast Capex | 6.3 | Forecast Capex Instructions

## Historic Opex Summary
|  | Home |  | Link to Opex instructions - Table 6.1 |  |  | Link to Opex Commentary - Table 5.1
1.1 HISTORIC OPEX by expenditure category
$ million nominal | Financial year | Any part years | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 | Year 6 2013/14 | Total | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent
Maintenance | [10 empty] | Maintenance splits are indicative, based on information contained within SPN's asset management system
Secondary Systems
Labour |  |  | 2.6378 | 2.9326 | 2.8272 | 1.712 | 2.6526 | 2.8694 | 15.6317 | n/a
Materials |  |  | 2.0726 | 0.35906 | 0.74937 | 1.3178 | 1.159 | 1.2538 | 6.9116 | n/a
Sub-Totals |  |  | 4.7104 | 3.2917 | 3.5766 | 3.0298 | 3.8117 | 4.1232 | 22.5434 | n/a
Substations
Labour |  |  | 5.5395 | 8.5506 | 8.5194 | 6.4789 | 7.6323 | 8.2561 | 44.9768 | n/a
Materials |  |  | 4.3524 | 4.7064 | 5.5538 | 5.6374 | 5.217 | 5.6434 | 31.1105 | n/a
Sub-Totals |  |  | 9.8919 | 13.257 | 14.0732 | 12.1163 | 12.8493 | 13.8995 | 76.0873 | n/a
Lines
Labour |  |  | 1.9784 | 2.4922 | 2.2911 | 1.3361 | 2.1247 | 2.2984 | 12.5208 | n/a
Materials |  |  | 1.5544 | 0.62269 | 1.0533 | 1.9136 | 1.3253 | 1.4336 | 7.9029 | n/a
Sub-Totals |  |  | 3.5328 | 3.1149 | 3.3444 | 3.2497 | 3.45 | 3.7319 | 20.4237 | n/a
Communications
Labour |  |  | 0.52757 | 0.36425 | 0.2327 | 0.26422 | 0.36438 | 0.39416 | 2.1473 | n/a
Materials |  |  | 0.41452 | 0.093264 | 0.02632 | 0.26353 | 0.20549 | 0.22229 | 1.2254 | n/a
Sub-Totals |  |  | 0.94209 | 0.45751 | 0.25902 | 0.52776 | 0.56988 | 0.61645 | 3.3727 | n/a
Easements
Labour |  |  | 2.5059 | 0.85729 | 0.024682 | 1.0117 | 1.1544 | 1.2487 | 6.8028 | n/a
Materials |  |  | 1.969 | 4.1291 | 2.3541 | 4.1353 | 3.2429 | 3.5079 | 19.3382 | n/a
Sub-Totals |  |  | 4.4749 | 4.9863 | 2.3788 | 5.147 | 4.3973 | 4.7566 | 26.141 | n/a
Summary
Sub-Total Labour |  |  | 13.1892 | 15.197 | 13.8951 | 10.8029 | 13.9284 | 15.0668 | 82.0794 | n/a
Sub-Total Materials |  |  | 10.3629 | 9.9105 | 9.737 | 13.2677 | 11.1497 | 12.0609 | 66.4886 | n/a
Total Maintenance |  |  | 23.5521 | 25.1074 | 23.632 | 24.0706 | 25.0781 | 27.1277 | 148.568 | 129.0071
Asset Management Support |  |  | 6.2018 | 8.1759 | 5.3341 | 4.8142 | 5.0265 | 5.2029 | 34.7554 | 35.3371 | Fluctuation between 2008/09 and 2010/11 result of: (1) org structure review and (2) ABC survey results
Operations |  |  | 2.8483 | 3.629 | 4.8119 | 5.369 | 5.6291 | 6.0619 | 28.3493 | 17.2562 | Increases in Operations a result in improved understanding of cost centres based on ABC Survet results
OHS |  |  | 0.71222 | 0.6793 | 0.88731 | 0.68236 | 0.71423 | 0.74111 | 4.4165 | 4.8629
Taxes and Charges |  |  | 3.2953 | 5.0835 | 4.7127 | 5.1141 | 5.2727 | 5.3889 | 28.8673 | 25.9949 | Primary reason for increase is land tax (2008/09: $2.4M, 2011/12: $4.0M)
Insurance |  |  | 2.468 | 2.6272 | 2.9999 | 3.7645 | 4.5142 | 5.2045 | 21.5783 | 21.926 | Liability has been increasing because of perceived bushfire risk, SP AusNet’s claim history and increasing capex
Total System Recurrent |  |  | 39.0778 | 45.3024 | 42.3779 | 43.8148 | 46.2349 | 49.727 | 266.5348 | 234.3842
System Non-Recurrent
Asset Works Program |  |  | 10.7923 | 11.2641 | 7.2086 | 3.9393 | 5.6478 | 7.7723 | 46.6244 | 85.2817
Asset Management Support |  |  | 0.97595 | 0.78541 | 1.3826 | 0.97723 | 1.1033 | 1.1277 | 6.3522 | 8.6001
Total System Non-Recurrent |  |  | 11.7683 | 12.0495 | 8.5913 | 4.9165 | 6.7512 | 8.9 | 52.9767 | 93.8818 | Decline reflects realised cost efficiencies in project delivery and reprioritisation of funding towards capex
Non-System
Finance |  |  | 3.0188 | 3.6373 | 2.8351 | 3.4143 | 3.5506 | 3.6604 | 20.1165 | 19.9602
HR |  |  | 0.90427 | 1.1455 | 1.5166 | 0.44655 | 0.46981 | 0.48995 | 4.9727 | 5.3458
IT |  |  | 1.9311 | 5.6665 | 6.6197 | 6.0445 | 6.2244 | 6.3537 | 32.8399 | 30.798 | 2009/10 changed IT service delivery (EBS)
Other |  |  | 6.6364 | 4.5794 | 5.1053 | 3.9292 | 4.0651 | 4.1693 | 28.4849 | 23.4595
Management Fee |  |  | 10.67 | 1.9935 | 4.5949 | 5.965 | 6.2682 | 6.5294 | 36.0211 | 50.0381 | GFC in 2008 caused spike in defined benefit superannuation liability, reversed in 2009
Total Non-System |  |  | 23.1606 | 17.0223 | 20.6717 | 19.7995 | 20.5782 | 21.2028 | 122.4351 | 129.6016
Summary
Self Insurance Costs |  |  | 2.1538 | 2.2332 | 2.2803 | 2.3408 | 2.4134 | 2.4726 | 13.8941 | 13.8952
Inventory Adjustment |  |  | -0.28777 | 1.699 | -1.4332 | -0.30213 | 0.046148 | 0.047302 | -0.23069 | 0.26569 | Have assumed benchmark for final two years of regulatory period
Total Labour | [8 empty] | 0 | 0
Total Maintenance Materials | [8 empty] | 0 | 0
Total Other Materials | [8 empty] | 0 | 0
TOTAL OPEX |  |  | 75.8727 | 78.3064 | 72.4879 | 70.5695 | 76.0238 | 82.3498 | 455.61 | 14.1609
Availability Rebate |  |  | 1.7178 | 1.757 | 2.6097 | 2.1724 | 3.2188 | 3.2898 | 14.7656 | 18.5226
Easement Tax |  |  | 78.379 | 93.2712 | 93.2712 | 99.3422 | 99.3422 | 103.442 | 567.0478 | 578.5762
Grand Total |  |  | 155.9694 | 173.3345 | 168.3688 | 172.0841 | 178.5849 | 189.0816 | 1037.4234 | 1069.1274
Revenue Cap Allowance |  |  | 151.5165 | 166.8388 | 169.9563 | 185.0116 | 189.6262 | 206.178
|  |  | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 | Year 6 2013/14
|  | SOURCE: | REGULATORY ACCOUNTS HISTORIC OPEX SUMMARY |  |  |  | OPEX FORECAST MODEL
Indicative splits only
Note on J61: Nick Cimdins: per Kate J email 21 Jan 13 (saved in Nick C TRR workfolder)

## Hist Opex by Cat. Part Year (hidden)
| Home |  | Link to Opex instructions - Table 6.1
1.2 HISTORIC OPEX by expenditure category
Not applicable to SP AusNet | Any Part Year
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent
Maintenance
Secondary Systems
Labour
Materials
Sub-Totals
Substations
Labour
Materials
Sub-Totals
Lines
Labour
Materials
Sub-Totals
Communications
Labour
Materials
Sub-Totals
Easements
Labour
Materials
Sub-Totals
Summary
Sub-Total Labour
Sub-Total Materials
Total Maintenance
Asset Management Support
Operations
OHS
Taxes and Charges
Insurance
Total System Recurrent
System Non-Recurrent
Asset Works Program
Asset Management Support
Total System Non-Recurrent
Non-System
Finance
HR
IT
Other
Management Fee
Total Non-System
Summary
Self Insurance Costs
Inventory Adjustment
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX
Availability Rebate
Easement Tax
Grand Total
Revenue Cap Allowance
Indicative splits only

## Historic Opex by Category Yr1
| Home |  | Link to Opex instructions - Table 6.1
1.2 HISTORIC OPEX by expenditure categor
Year 1 - 2008/09
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent | [5 empty] | Field maintenance splits have been derived form SP AusNet project types. OMS = Scheduled Maintenance = Routine OMU = Unscheduled Maintenance = Condition based OME = Emergency Maintenance = Corrective.
Maintenance
Secondary Systems
Labour | 1.3409 | 1.2732 | 0.023735 | 2.6378 | n/a
Materials | 1.0536 | 1.0004 | 0.018649 | 2.0726 | n/a
Sub-Totals | 2.3944 | 2.2736 | 0.042384 | 4.7104 | n/a | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Substations
Labour | 2.8159 | 2.6738 | 0.049843 | 5.5395 | n/a
Materials | 2.2125 | 2.1008 | 0.039163 | 4.3524 | n/a
Sub-Totals | 5.0283 | 4.7746 | 0.089006 | 9.8919 | n/a
Lines
Labour | 1.0057 | 0.95491 | 0.017801 | 1.9784 | n/a
Materials | 0.79017 | 0.75029 | 0.013987 | 1.5544 | n/a
Sub-Totals | 1.7958 | 1.7052 | 0.031788 | 3.5328 | n/a
Communications
Labour | 0.26818 | 0.25464 | 0.004747 | 0.52757 | n/a
Materials | 0.21071 | 0.20008 | 0.0037298 | 0.41452 | n/a
Sub-Totals | 0.47889 | 0.45472 | 0.0084768 | 0.94209 | n/a
Easements |  |  |  |  | 0
Labour | 1.2738 | 1.2096 | 0.022548 | 2.5059 | n/a
Materials | 1.0009 | 0.95037 | 0.017716 | 1.969 | n/a
Sub-Totals | 2.2747 | 2.1599 | 0.040265 | 4.4749 | n/a
Summary
Sub-Total Labour | 6.7044 | 6.3661 | 0.11867 | 13.1892 | n/a
Sub-Total Materials | 5.2678 | 5.0019 | 0.093244 | 10.3629 | n/a
Total Maintenance | 11.9722 | 11.368 | 0.21192 | 23.5521 | 19.3801
Asset Management Support |  |  |  | 6.2018 | 5.1516
Operations |  |  |  | 2.8483 | 2.5261
OHS |  |  |  | 0.71222 | 0.72748
Taxes and Charges |  |  |  | 3.2953 | 3.6241
Insurance |  |  |  | 2.468 | 3.188
Total System Recurrent |  |  |  | 39.0778 | 34.5974
System Non-Recurrent
Asset Works Program |  |  |  | 10.7923 | 12.7256
Asset Management Support |  |  |  | 0.97595 | 1.3223
Total System Non-Recurrent |  |  |  | 11.7683 | 14.0479
Non-System
Finance |  |  |  | 3.0188 | 2.9557
HR |  |  |  | 0.90427 | 0.80358
IT |  |  |  | 1.9311 | 4.6156
Other |  |  |  | 6.6364 | 3.523
Management Fee |  |  |  | 10.67 | 7.2148
Total Non-System |  |  |  | 23.1606 | 19.1127
Summary
Self Insurance Costs |  |  |  | 2.1538 | 2.1538
Inventory Adjustment |  |  |  | -0.28777 | 0.041183
Total Labour |  |  |  |  | 0
Total Maintenance Materials |  |  |  |  | 0
Total Other Materials |  |  |  |  | 0
TOTAL OPEX |  |  |  | 75.8727 | 69.953
Availability Rebate |  |  |  | 1.7178 | 2.8725
Easement Tax |  |  |  | 78.379 | 78.691
0
Grand Total |  |  |  | 155.9694 | 151.5165
Indicative splits only

## Historic Opex by Category Yr2
| Home |  | Link to Opex instructions - Table 6.1
1.3 HISTORIC OPEX by expenditure category
Year 2 - 2009/10
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent | [5 empty] | Field maintenance splits have been derived form SP AusNet project types. OMS = Scheduled Maintenance = Routine OMU = Unscheduled Maintenance = Condition based OME = Emergency Maintenance = Corrective.
Maintenance
Secondary Systems
Labour | 1.7511 | 1.1678 | 0.013614 | 2.9326 | n/a
Materials | 0.21441 | 0.14299 | 0.0016668 | 0.35906 | n/a
Sub-Totals | 1.9656 | 1.3108 | 0.01528 | 3.2917 | n/a | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Substations
Labour | 5.1058 | 3.4051 | 0.039693 | 8.5506 | n/a
Materials | 2.8103 | 1.8742 | 0.021848 | 4.7064 | n/a
Sub-Totals | 7.9162 | 5.2793 | 0.061541 | 13.257 | n/a
Lines
Labour | 1.4882 | 0.99248 | 0.011569 | 2.4922 | n/a
Materials | 0.37182 | 0.24797 | 0.0028906 | 0.62269 | n/a
Sub-Totals | 1.86 | 1.2404 | 0.01446 | 3.1149 | n/a
Communications
Labour | 0.2175 | 0.14505 | 0.0016909 | 0.36425 | n/a
Materials | 0.05569 | 0.03714 | 0.00043294 | 0.093264 | n/a
Sub-Totals | 0.27319 | 0.18219 | 0.0021238 | 0.45751 | n/a
Easements
Labour | 0.51191 | 0.3414 | 0.0039796 | 0.85729 | n/a
Materials | 2.4656 | 1.6443 | 0.019168 | 4.1291 | n/a
Sub-Totals | 2.9775 | 1.9857 | 0.023147 | 4.9863 | n/a
Summary
Sub-Total Labour | 9.0746 | 6.0519 | 0.070546 | 15.197 | n/a
Sub-Total Materials | 5.9178 | 3.9466 | 0.046006 | 9.9105 | n/a
Total Maintenance | 14.9924 | 9.9985 | 0.11655 | 25.1074 | 20.3649
Asset Management Support |  |  |  | 8.1759 | 5.4682
Operations |  |  |  | 3.629 | 2.6772
OHS |  |  |  | 0.6793 | 0.76466
Taxes and Charges |  |  |  | 5.0835 | 3.9118
Insurance |  |  |  | 2.6272 | 3.4187
Total System Recurrent |  |  |  | 45.3024 | 36.6056
System Non-Recurrent
Asset Works Program |  |  |  | 11.2641 | 13.2426
Asset Management Support |  |  |  | 0.78541 | 1.3753
Total System Non-Recurrent |  |  |  | 12.0495 | 14.618
Non-System
Finance |  |  |  | 3.6373 | 3.1189
HR |  |  |  | 1.1455 | 0.8431
IT |  |  |  | 5.6665 | 4.8482
Other |  |  |  | 4.5794 | 3.6976
Management Fee |  |  |  | 1.9935 | 7.6902
Total Non-System |  |  |  | 17.0223 | 20.1979
Summary
Self Insurance Costs |  |  |  | 2.2332 | 2.2332
Inventory Adjustment |  |  |  | 1.699 | 0.042701
Total Labour |  |  |  |  | 0
Total Maintenance Materials |  |  |  |  | 0
Total Other Materials |  |  |  |  | 0
TOTAL OPEX |  |  |  | 78.3064 | 73.6973
Availability Rebate |  |  |  | 1.757 | 2.9784
Easement Tax |  |  |  | 93.2712 | 90.1631
Grand Total |  |  |  | 173.3345 | 166.8388
Indicative splits only

## Historic Opex by Category Yr3
| Home |  | Link to Opex instructions - Table 6.1
1.4 HISTORIC OPEX by expenditure category
Year 3 - 2010/11
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent | [5 empty] | Field maintenance splits have been derived form SP AusNet project types. OMS = Scheduled Maintenance = Routine OMU = Unscheduled Maintenance = Condition based OME = Emergency Maintenance = Corrective.
Maintenance
Secondary Systems
Labour | 1.6533 | 1.171 | 0.0029272 | 2.8272 | n/a
Materials | 0.43821 | 0.31039 | 0.00077587 | 0.74937 | n/a
Sub-Totals | 2.0915 | 1.4814 | 0.0037031 | 3.5766 | n/a | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Substations
Labour | 4.9819 | 3.5287 | 0.0088206 | 8.5194 | n/a
Materials | 3.2477 | 2.3004 | 0.0057502 | 5.5538 | n/a
Sub-Totals | 8.2296 | 5.8291 | 0.014571 | 14.0732 | n/a
Lines
Labour | 1.3397 | 0.94896 | 0.0023721 | 2.2911 | n/a
Materials | 0.61594 | 0.43628 | 0.0010906 | 1.0533 | n/a
Sub-Totals | 1.9557 | 1.3852 | 0.0034626 | 3.3444 | n/a
Communications
Labour | 0.13607 | 0.096383 | 0.00024093 | 0.2327 | n/a
Materials | 0.015391 | 0.010902 | 2.7251e-05 | 0.02632 | n/a
Sub-Totals | 0.15146 | 0.10728 | 0.00026818 | 0.25902 | n/a
Easements
Labour | 0.014433 | 0.010223 | 2.5555e-05 | 0.024682 | n/a
Materials | 1.3766 | 0.97507 | 0.0024374 | 2.3541 | n/a
Sub-Totals | 1.391 | 0.98529 | 0.0024629 | 2.3788 | n/a
Summary
Sub-Total Labour | 8.1254 | 5.7553 | 0.014386 | 13.8951 | n/a
Sub-Total Materials | 5.6938 | 4.033 | 0.010081 | 9.737 | n/a
Total Maintenance | 13.8192 | 9.7883 | 0.024468 | 23.632 | 21.0256
Asset Management Support |  |  |  | 5.3341 | 5.7161
Operations |  |  |  | 4.8119 | 2.7942
OHS |  |  |  | 0.88731 | 0.79151
Taxes and Charges |  |  |  | 4.7127 | 4.1581
Insurance |  |  |  | 2.9999 | 3.556
Total System Recurrent |  |  |  | 42.3779 | 38.0415
System Non-Recurrent
Asset Works Program |  |  |  | 7.2086 | 14.3775
Asset Management Support |  |  |  | 1.3826 | 1.4087
Total System Non-Recurrent |  |  |  | 8.5913 | 15.7863
Non-System
Finance |  |  |  | 2.8351 | 3.241
HR |  |  |  | 1.5166 | 0.8711
IT |  |  |  | 6.6197 | 5.015
Other |  |  |  | 5.1053 | 3.8219
Management Fee |  |  |  | 4.5949 | 8.0722
Total Non-System |  |  |  | 20.6717 | 21.0211
Summary
Self Insurance Costs |  |  |  | 2.2803 | 2.2803
Inventory Adjustment |  |  |  | -1.4332 | 0.043601
Total Labour |  |  |  |  | 0
Total Maintenance Materials |  |  |  |  | 0
Total Other Materials |  |  |  |  | 0
TOTAL OPEX |  |  |  | 72.4879 | 77.1727
Availability Rebate |  |  |  | 2.6097 | 3.0412
Easement Tax |  |  |  | 93.2712 | 89.7423
Grand Total |  |  |  | 168.3688 | 169.9563
Indicative splits only
Indicative splits only

## Historic Opex by Category Yr4
| Home |  | Link to Opex instructions - Table 6.1
1.5 HISTORIC OPEX by expenditure category
Year 4 - 2011/12
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent | [5 empty] | Field maintenance splits have been derived form SP AusNet project types. OMS = Scheduled Maintenance = Routine OMU = Unscheduled Maintenance = Condition based OME = Emergency Maintenance = Corrective.
Maintenance
Secondary Systems
Labour | 1.0133 | 0.6985 | 0.0002166 | 1.712 | n/a
Materials | 0.77999 | 0.53767 | 0.00016673 | 1.3178 | n/a
Sub-Totals | 1.7933 | 1.2362 | 0.00038333 | 3.0298 | n/a | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Substations
Labour | 3.8347 | 2.6434 | 0.0008197 | 6.4789 | n/a
Materials | 3.3367 | 2.3001 | 0.00071324 | 5.6374 | n/a
Sub-Totals | 7.1713 | 4.9434 | 0.0015329 | 12.1163 | n/a
Lines
Labour | 0.79079 | 0.54512 | 0.00016904 | 1.3361 | n/a
Materials | 1.1326 | 0.78075 | 0.00024211 | 1.9136 | n/a
Sub-Totals | 1.9234 | 1.3259 | 0.00041115 | 3.2497 | n/a
Communications
Labour | 0.15639 | 0.1078 | 3.3429e-05 | 0.26422 | n/a
Materials | 0.15598 | 0.10752 | 3.3342e-05 | 0.26353 | n/a
Sub-Totals | 0.31237 | 0.21532 | 6.6771e-05 | 0.52776 | n/a
Easements
Labour | 0.59881 | 0.41278 | 0.000128 | 1.0117 | n/a
Materials | 2.4476 | 1.6872 | 0.00052319 | 4.1353 | n/a
Sub-Totals | 3.0464 | 2.1 | 0.00065119 | 5.147 | n/a
Summary
Sub-Total Labour | 6.394 | 4.4076 | 0.0013668 | 10.8029 | n/a
Sub-Total Materials | 7.8528 | 5.4132 | 0.0016786 | 13.2677 | n/a
Total Maintenance | 14.2468 | 9.8207 | 0.0030454 | 24.0706 | 21.8303
Asset Management Support |  |  |  | 4.8142 | 6.0071
Operations |  |  |  | 5.369 | 2.9319
OHS |  |  |  | 0.68236 | 0.8237
Taxes and Charges |  |  |  | 5.1141 | 4.4434
Insurance |  |  |  | 3.7645 | 3.7935
Total System Recurrent |  |  |  | 43.8148 | 39.8299
System Non-Recurrent
Asset Works Program |  |  |  | 3.9393 | 14.4347
Asset Management Support |  |  |  | 0.97723 | 1.4507
Total System Non-Recurrent |  |  |  | 4.9165 | 15.8854
Non-System
Finance |  |  |  | 3.4143 | 3.3859
HR |  |  |  | 0.44655 | 0.90485
IT |  |  |  | 6.0445 | 5.2153
Other |  |  |  | 3.9292 | 3.9714
Management Fee |  |  |  | 5.965 | 8.5185
Total Non-System |  |  |  | 19.7995 | 21.9961
Summary
Self Insurance Costs |  |  |  | 2.3408 | 2.3408
Inventory Adjustment |  |  |  | -0.30213 | 0.044759
Total Labour |  |  |  | 0 | 0
Total Maintenance Materials |  |  |  | 0 | 0
Total Other Materials |  |  |  | 0 | 0
TOTAL OPEX |  |  |  | 70.5695 | 80.0969
Availability Rebate |  |  |  | 2.1724 | 3.1219
Easement Tax |  |  |  | 99.3422 | 101.7928
Grand Total |  |  |  | 172.0841 | 185.0116
Indicative splits only

## Estimated Opex by Category Yr5
| Home |  | Link to Opex instructions - Table 6.1
1.6 HISTORIC OPEX by expenditure category
Year 5 - 2012/13
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent
Maintenance | [5 empty] | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour | 1.4971 | 1.1443 | 0.011213 | 2.6526 |  | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Materials | 0.65413 | 0.5 | 0.0048993 | 1.159
Sub-Totals | 2.1512 | 1.6443 | 0.016112 | 3.8117
Substations
Labour | 4.3848 | 3.2217 | 0.02578 | 7.6323
Materials | 2.9972 | 2.2022 | 0.017622 | 5.217
Sub-Totals | 7.3821 | 5.4239 | 0.043401 | 12.8493
Lines
Labour | 1.209 | 0.90766 | 0.0080423 | 2.1247
Materials | 0.75411 | 0.56614 | 0.0050162 | 1.3253
Sub-Totals | 1.9631 | 1.4738 | 0.013058 | 3.45
Communications
Labour | 0.20264 | 0.15991 | 0.0018225 | 0.36438
Materials | 0.11428 | 0.090184 | 0.0010278 | 0.20549
Sub-Totals | 0.31693 | 0.2501 | 0.0028503 | 0.56988
Easements
Labour | 0.65848 | 0.49139 | 0.0045209 | 1.1544
Materials | 1.8498 | 1.3804 | 0.0127 | 3.2429
Sub-Totals | 2.5083 | 1.8718 | 0.017221 | 4.3973
Summary
Sub-Total Labour | 7.9521 | 5.925 | 0.051378 | 13.9284
Sub-Total Materials | 6.3695 | 4.7389 | 0.041265 | 11.1497
Total Maintenance | 14.3216 | 10.6639 | 0.092643 | 25.0781 | 22.789
Asset Management Support |  |  |  | 5.0265 | 6.3406
Operations |  |  |  | 5.6291 | 3.0898
OHS |  |  |  | 0.71423 | 0.86094
Taxes and Charges |  |  |  | 5.2727 | 4.769
Insurance |  |  |  | 4.5142 | 3.9357
Total System Recurrent |  |  |  | 46.2349 | 41.785
System Non-Recurrent
Asset Works Program |  |  |  | 5.6478 | 15.2346
Asset Management Support |  |  |  | 1.1033 | 1.5004
Total System Non-Recurrent |  |  |  | 6.7512 | 16.735
Non-System
Finance |  |  |  | 3.5506 | 3.5528
HR |  |  |  | 0.46981 | 0.94402
IT |  |  |  | 6.2244 | 5.4474
Other |  |  |  | 4.0651 | 4.1449
Management Fee |  |  |  | 6.2682 | 9.0288
Total Non-System |  |  |  | 20.5782 | 23.1179
Summary
Self Insurance Costs |  |  |  | 2.4134 | 2.4134
Inventory Adjustment |  |  |  | 0.046148 | 0.046148
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX |  |  |  | 76.0238 | 84.0974
Availability Rebate |  |  |  | 3.2188 | 3.2188
Easement Tax |  |  |  | 99.3422 | 102.3099
Grand Total |  |  |  | 178.5849 | 189.6262
Indicative splits only
Note on J60: Nick Cimdins: p.158 Final Decision (converted to nominal)
Note on J61: Nick Cimdins: p.164 Final Decision (converted to nominal)

## Estimated Opex by Category Yr6
| Home |  | Link to Opex instructions - Table 6.1
1.7 HISTORIC OPEX by expenditure category
Year 6 - 2013/14
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Revenue Cap Allowance | Key cost drivers and explanation for material differences over time
System Recurrent
Maintenance | [5 empty] | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour | 1.6194 | 1.2378 | 0.012129 | 2.8694 |  | Other explanations are included on the 'Hist Opex Summary' sheet, where applicable, and in the submission document
Materials | 0.70759 | 0.54086 | 0.0052997 | 1.2538
Sub-Totals | 2.327 | 1.7787 | 0.017429 | 4.1232
Substations
Labour | 4.7432 | 3.485 | 0.027887 | 8.2561
Materials | 3.2422 | 2.3821 | 0.019062 | 5.6434
Sub-Totals | 7.9854 | 5.8672 | 0.046948 | 13.8995
Lines
Labour | 1.3078 | 0.98184 | 0.0086995 | 2.2984
Materials | 0.81574 | 0.6124 | 0.0054262 | 1.4336
Sub-Totals | 2.1236 | 1.5942 | 0.014126 | 3.7319
Communications
Labour | 0.21921 | 0.17298 | 0.0019715 | 0.39416
Materials | 0.12362 | 0.097555 | 0.0011118 | 0.22229
Sub-Totals | 0.34283 | 0.27054 | 0.0030833 | 0.61645
Easements
Labour | 0.7123 | 0.53155 | 0.0048904 | 1.2487
Materials | 2.001 | 1.4932 | 0.013738 | 3.5079
Sub-Totals | 2.7133 | 2.0248 | 0.018628 | 4.7566
Summary
Sub-Total Labour | 8.602 | 6.4092 | 0.055577 | 15.0668
Sub-Total Materials | 6.8901 | 5.1262 | 0.044637 | 12.0609
Total Maintenance | 15.492 | 11.5354 | 0.10021 | 27.1277 | 23.6173
Asset Management Support |  |  |  | 5.2029 | 6.6534
Operations |  |  |  | 6.0619 | 3.2371
OHS |  |  |  | 0.74111 | 0.8946
Taxes and Charges |  |  |  | 5.3889 | 5.0884
Insurance |  |  |  | 5.2045 | 4.0341
Total System Recurrent |  |  |  | 49.727 | 43.5249
System Non-Recurrent
Asset Works Program |  |  |  | 7.7723 | 15.2666
Asset Management Support |  |  |  | 1.1277 | 1.5427
Total System Non-Recurrent |  |  |  | 8.9 | 16.8093
Non-System
Finance |  |  |  | 3.6604 | 3.706
HR |  |  |  | 0.48995 | 0.97912
IT |  |  |  | 6.3537 | 5.6565
Other |  |  |  | 4.1693 | 4.3006
Management Fee |  |  |  | 6.5294 | 9.5136
Total Non-System |  |  |  | 21.2028 | 24.1559
Summary
Self Insurance Costs |  |  |  | 2.4726 | 2.4738
Inventory Adjustment |  |  |  | 0.047302 | 0.047302
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX |  |  |  | 82.3498 | 87.0111
Availability Rebate |  |  |  | 3.2898 | 3.2898
Easement Tax |  |  |  | 103.442 | 115.8771
Grand Total |  |  |  | 189.0816 | 206.178
Indicative splits only
Note on J60: Nick Cimdins: p.158 Final Decision (converted to nominal)
Note on J61: Nick Cimdins: p.164 Final Decision (converted to nominal)

## Forecast Opex Summary
|  | Home |  | Link to Opex instructions - Table 6.1 | Link to Opex Commentary - Table 5.1
2.1 FORECAST OPEX by expenditure category
$ million, real (as of year 6) | Financial year | Year 7 2014/15 | Year 8 2015/16 | Year 9 2016/17 | Total | Key cost drivers and explanation for material differences over time
System Recurrent | [5 empty] | Refer submission document for explanation of escalators which apply across all categories
Maintenance | [5 empty] | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour |  | 3.4363 | 3.4789 | 3.5178 | 10.4331
Materials |  | 1.5015 | 1.5201 | 1.5371 | 4.5586
Sub-Totals |  | 4.9378 | 4.999 | 5.0549 | 14.9917
Substations
Labour |  | 9.8873 | 10.0099 | 10.1217 | 30.0189
Materials |  | 6.7584 | 6.8422 | 6.9186 | 20.5192
Sub-Totals |  | 16.6456 | 16.8521 | 17.0404 | 50.5381
Lines
Labour |  | 2.7525 | 2.7866 | 2.8177 | 8.3568
Materials |  | 1.7168 | 1.7381 | 1.7575 | 5.2124
Sub-Totals |  | 4.4693 | 4.5247 | 4.5752 | 13.5692
Communications
Labour |  | 0.47204 | 0.47789 | 0.48323 | 1.4332
Materials |  | 0.26621 | 0.26951 | 0.27252 | 0.80823
Sub-Totals |  | 0.73825 | 0.7474 | 0.75575 | 2.2414
Easements
Labour |  | 1.4955 | 1.514 | 1.5309 | 4.5404
Materials |  | 4.201 | 4.2531 | 4.3006 | 12.7547
Sub-Totals |  | 5.6964 | 5.7671 | 5.8315 | 17.295
Summary
Sub-Total Labour |  | 18.0436 | 18.2673 | 18.4714 | 54.7823
Sub-Total Materials |  | 14.4438 | 14.6229 | 14.7863 | 43.8531
Total Maintenance |  | 32.4874 | 32.8903 | 33.2578 | 98.6354 | Step up in 2014/15 mosty driven by Corrosion Management program ($3.2M) , with carbon pricing ($0.8M) and comms maintenance ($0.9M) also contributing
Asset Management Support |  | 5.6944 | 6.0368 | 6.1153 | 17.8465 | Innovation program commences in 2014/15 ($0.4M, increasing to $0.7M in 2015/16 and 2016/17), allocated to support
Operations |  | 6.4872 | 6.5975 | 6.7099 | 19.7945 | Planning on establishing a 'Controller Training Simulator' in 2014/15
OHS |  | 2.4219 | 2.4592 | 2.4971 | 7.3782 | $1.6M allocated to OHS for step change related to Security of Critical Infrastructure (Terminal Stations)
Taxes and Charges |  | 5.3889 | 5.3889 | 5.3889 | 16.1668
Insurance |  | 5.7401 | 6.3352 | 6.9969 | 19.0722
Total System Recurrent |  | 58.2199 | 59.7078 | 60.9659 | 178.8937
System Non-Recurrent
Asset Works Program |  | 7.9952 | 8.0326 | 8.5449 | 24.5727
Asset Management Support |  | 1.2521 | 1.2718 | 1.2919 | 3.8159
Total System Non-Recurrent | 0.071737 | 9.2473 | 9.3044 | 9.8368 | 28.3885
Non-System
Finance |  | 3.6926 | 3.7254 | 3.7588 | 11.1767
HR |  | 0.49993 | 0.5101 | 0.52046 | 1.5305
IT |  | 6.9708 | 6.9617 | 6.9525 | 20.885 | IT step changes include network security ($0.3M), SCADA security ($0.2M) and Market Reporting and Operations ($0.2M)
Other |  | 4.1842 | 5.6091 | 5.6297 | 15.423 | $1.4M p.a. opex associated with transitional arrangements to be incurred in 2015/16 and 2016/17
Management Fee |  | 6.6547 | 6.7825 | 6.9127 | 20.35
Total Non-System |  | 22.0023 | 23.5888 | 23.7742 | 69.3652
Summary
Self Insurance Costs |  | 2.0878 | 2.1268 | 2.1629 | 6.3776
Efficiency savings |  | 0 | -0.086218 | -0.76169 | -0.84791
Group 3 roll-in |  | 1.6791 | 1.7466 | 1.765 | 5.1907
Total Labour |  |  |  |  | 0
Total Maintenance Materials |  |  |  |  | 0
Total Other Materials |  |  |  |  | 0
TOTAL OPEX |  | 93.2363 | 96.3883 | 97.7431 | 287.3678
Availability Rebate |  | 3.2898 | 3.2898 | 3.2898 | 9.8693
Easement Tax |  | 100.919 | 103.442 | 100.919 | 305.2801
Debt raising costs |  | 1.5433 | 1.5649 | 1.5872 | 4.6954
Equity raising costs |  | 1.1856 | 1.1192 | 1.0528 | 3.3576
EBSS payments |  | 9.1262 | 16.7714 | 21.1537 | 47.0514
Grand Total |  | 209.3003 | 222.5756 | 225.7456 | 657.6215
| SOURCE: | OPEX MODEL, PTRM and NON-COSTING SUBMISSION TEMPLATES (EBSS)
Indicative splits only
Note on D52: Nick Cimdins: Per Charlotte Coster email to Nick C (saved in Nick C TRR workfolder)
Note on E52: Nick Cimdins: Per Charlotte Coster email to Nick C (saved in Nick C TRR workfolder)
Note on F52: Nick Cimdins: Per Charlotte Coster email to Nick C (saved in Nick C TRR workfolder)
Note on D60: Nick Cimdins: Per Charlotte Coster email to Nick C (saved in Nick C TRR workfolder)
Note on D61: Nick Cimdins: per Kate J email 21 Jan 13 (saved in Nick C TRR workfolder)
Note on E61: Nick Cimdins: per Kate J email 21 Jan 13 (saved in Nick C TRR workfolder)
Note on F61: Nick Cimdins: per Kate J email 21 Jan 13 (saved in Nick C TRR workfolder)

## Forecast Opex by Category Yr7
| Home |  | Link to Opex instructions - Table 6.1
2.2 FORECAST OPEX by expenditure category
Year 7 - 2014/15
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Key cost drivers and explanation for material differences over time
System Recurrent |  |  |  |  | Refer submission document for explanation of escalators which apply across all categories
Maintenance |  |  |  |  | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour | 1.9394 | 1.4824 | 0.014525 | 3.4363
Materials | 0.8474 | 0.64772 | 0.0063467 | 1.5015
Sub-Totals | 2.7868 | 2.1301 | 0.020872 | 4.9378
Substations
Labour | 5.5802 | 4.2653 | 0.041794 | 9.8873
Materials | 3.8143 | 2.9155 | 0.028568 | 6.7584
Sub-Totals | 9.3945 | 7.1808 | 0.070361 | 16.6456
Lines
Labour | 1.5534 | 1.1874 | 0.011635 | 2.7525
Materials | 0.96893 | 0.74062 | 0.007257 | 1.7168
Sub-Totals | 2.5224 | 1.928 | 0.018892 | 4.4693
Communications
Labour | 0.26641 | 0.20363 | 0.0019953 | 0.47204
Materials | 0.15024 | 0.11484 | 0.0011253 | 0.26621
Sub-Totals | 0.41665 | 0.31847 | 0.0031206 | 0.73825
Easements
Labour | 0.844 | 0.64513 | 0.0063213 | 1.4955
Materials | 2.3709 | 1.8123 | 0.017758 | 4.201
Sub-Totals | 3.215 | 2.4574 | 0.024079 | 5.6964
Summary
Sub-Total Labour | 10.1834 | 7.7839 | 0.07627 | 18.0436
Sub-Total Materials | 8.1518 | 6.231 | 0.061054 | 14.4438
Total Maintenance | 18.3352 | 14.0149 | 0.13732 | 32.4874
Asset Management Support |  |  |  | 5.6944
Operations |  |  |  | 6.4872
OHS |  |  |  | 2.4219
Taxes and Charges |  |  |  | 5.3889
Insurance |  |  |  | 5.7401
Total System Recurrent |  |  |  | 58.2199
System Non-Recurrent
Asset Works Program |  |  |  | 7.9952
Asset Management Support |  |  |  | 1.2521
Total System Non-Recurrent |  |  |  | 9.2473
Non-System
Finance |  |  |  | 3.6926
HR |  |  |  | 0.49993
IT |  |  |  | 6.9708
Other |  |  |  | 4.1842
Management Fee |  |  |  | 6.6547
Total Non-System |  |  |  | 22.0023
Summary
Self Insurance Costs |  |  |  | 2.0878
Efficiency savings |  |  |  | 0
Group 3 roll-in |  |  |  | 1.6791
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX |  |  |  | 93.2363
Availability Rebate |  |  |  | 3.2898
Easement Tax |  |  |  | 100.919
Debt raising costs |  |  |  | 1.5433
Equity raising costs |  |  |  | 1.1856
EBSS payments |  |  |  | 9.1262
Grand Total |  |  |  | 209.3003
Indicative splits only

## Forecast Opex by Category Yr8
| Home |  | Link to Opex instructions - Table 6.1
2.3 FORECAST OPEX by expenditure category
Year 8 - 2015/16
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Key cost drivers and explanation for material differences over time
System Recurrent |  |  |  |  | Refer submission document for explanation of escalators which apply across all categories
Maintenance |  |  |  |  | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour | 1.9634 | 1.5008 | 0.014706 | 3.4789
Materials | 0.8579 | 0.65576 | 0.0064254 | 1.5201
Sub-Totals | 2.8214 | 2.1566 | 0.021131 | 4.999
Substations
Labour | 5.6494 | 4.3182 | 0.042312 | 10.0099
Materials | 3.8616 | 2.9517 | 0.028922 | 6.8422
Sub-Totals | 9.511 | 7.2699 | 0.071234 | 16.8521
Lines
Labour | 1.5727 | 1.2021 | 0.011779 | 2.7866
Materials | 0.98094 | 0.7498 | 0.0073469 | 1.7381
Sub-Totals | 2.5536 | 1.9519 | 0.019126 | 4.5247
Communications
Labour | 0.26971 | 0.20616 | 0.0020201 | 0.47789
Materials | 0.1521 | 0.11626 | 0.0011392 | 0.26951
Sub-Totals | 0.42182 | 0.32242 | 0.0031593 | 0.7474
Easements
Labour | 0.85447 | 0.65313 | 0.0063997 | 1.514
Materials | 2.4003 | 1.8348 | 0.017978 | 4.2531
Sub-Totals | 3.2548 | 2.4879 | 0.024378 | 5.7671
Summary
Sub-Total Labour | 10.3097 | 7.8804 | 0.077216 | 18.2673
Sub-Total Materials | 8.2529 | 6.3082 | 0.061811 | 14.6229
Total Maintenance | 18.5626 | 14.1886 | 0.13903 | 32.8903
Asset Management Support |  |  |  | 6.0368
Operations |  |  |  | 6.5975
OHS |  |  |  | 2.4592
Taxes and Charges |  |  |  | 5.3889
Insurance |  |  |  | 6.3352
Total System Recurrent |  |  |  | 59.7078
System Non-Recurrent
Asset Works Program |  |  |  | 8.0326
Asset Management Support |  |  |  | 1.2718
Total System Non-Recurrent |  |  |  | 9.3044
Non-System
Finance |  |  |  | 3.7254
HR |  |  |  | 0.5101
IT |  |  |  | 6.9617
Other |  |  |  | 5.6091
Management Fee |  |  |  | 6.7825
Total Non-System |  |  |  | 23.5888
Summary
Self Insurance Costs |  |  |  | 2.1268
Efficiency savings |  |  |  | -0.086218
Group 3 roll-in |  |  |  | 1.7466
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX |  |  |  | 96.3883
Availability Rebate |  |  |  | 3.2898
Easement Tax |  |  |  | 103.442
Debt raising costs |  |  |  | 1.5649
Equity raising costs |  |  |  | 1.1192
EBSS payments |  |  |  | 16.7714
Grand Total |  |  |  | 222.5756
Indicative splits only

## Forecast Opex by Category Yr9
| Home |  | Link to Opex instructions - Table 6.1
2.4 FORECAST OPEX by expenditure category
Year 9 - 2016/17
Field Maintenance
$ million, nominal | Routine | Condition-Based | Corrective | TOTAL | Key cost drivers and explanation for material differences over time
System Recurrent |  |  |  |  | Refer submission document for explanation of escalators which apply across all categories
Maintenance |  |  |  |  | Forecast maintenance splits based on historical relativities
Secondary Systems
Labour | 1.9854 | 1.5176 | 0.01487 | 3.5178
Materials | 0.86749 | 0.66308 | 0.0064972 | 1.5371
Sub-Totals | 2.8529 | 2.1806 | 0.021367 | 5.0549
Substations
Labour | 5.7125 | 4.3664 | 0.042785 | 10.1217
Materials | 3.9047 | 2.9847 | 0.029245 | 6.9186
Sub-Totals | 9.6172 | 7.3511 | 0.07203 | 17.0404
Lines
Labour | 1.5903 | 1.2156 | 0.011911 | 2.8177
Materials | 0.9919 | 0.75818 | 0.007429 | 1.7575
Sub-Totals | 2.5822 | 1.9737 | 0.01934 | 4.5752
Communications
Labour | 0.27273 | 0.20846 | 0.0020426 | 0.48323
Materials | 0.1538 | 0.11756 | 0.0011519 | 0.27252
Sub-Totals | 0.42653 | 0.32603 | 0.0031946 | 0.75575
Easements
Labour | 0.86402 | 0.66043 | 0.0064712 | 1.5309
Materials | 2.4272 | 1.8553 | 0.018179 | 4.3006
Sub-Totals | 3.2912 | 2.5157 | 0.02465 | 5.8315
Summary
Sub-Total Labour | 10.4249 | 7.9685 | 0.078079 | 18.4714
Sub-Total Materials | 8.3451 | 6.3787 | 0.062502 | 14.7863
Total Maintenance | 18.77 | 14.3472 | 0.14058 | 33.2578
Asset Management Support |  |  |  | 6.1153
Operations |  |  |  | 6.7099
OHS |  |  |  | 2.4971
Taxes and Charges |  |  |  | 5.3889
Insurance |  |  |  | 6.9969
Total System Recurrent |  |  |  | 60.9659
System Non-Recurrent
Asset Works Program |  |  |  | 8.5449
Asset Management Support |  |  |  | 1.2919
Total System Non-Recurrent |  |  |  | 9.8368
Non-System
Finance |  |  |  | 3.7588
HR |  |  |  | 0.52046
IT |  |  |  | 6.9525
Other |  |  |  | 5.6297
Management Fee |  |  |  | 6.9127
Total Non-System |  |  |  | 23.7742
Summary
Self Insurance Costs |  |  |  | 2.1629
Efficiency savings |  |  |  | -0.76169
Group 3 roll-in |  |  |  | 1.765
Total Labour
Total Maintenance Materials
Total Other Materials
TOTAL OPEX |  |  |  | 97.7431
Availability Rebate |  |  |  | 3.2898
Easement Tax |  |  |  | 100.919
Debt raising costs |  |  |  | 1.5872
Equity raising costs |  |  |  | 1.0528
EBSS payments |  |  |  | 21.1537
Grand Total |  |  |  | 225.7456
Indicative splits only

## Historic Capex by Category
3.1 HISTORIC CAPEX by project category |  | Home |  |  |  | Link to Historic Capex Instructions - Table 6.2 |  |  |  |  | Link to Historic Capex Commentary - Table 5.2
$M nominal
Project Category |  |  | Any Part Year | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | TOTAL
|  |  |  | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 (Est) | 2013/14 (Est)
NETWORK
NON-LOAD DRIVEN | Replacements - major stations |  |  | 42.76 | 46.5617 | 48.2782 | 60.3063 | 73.7656 | 88.2803 | 359.9521
| Replacements - other |  |  | 24.2968 | 40.0104 | 35.3023 | 35.8272 | 55.8343 | 30.6433 | 221.9143
| Safety/Compliance |  |  | 15.2833 | 19.776 | 16.8743 | 31.6927 | 24.8585 | 3.1986 | 111.6834
| Other |  |  | 1.7262 | 2.8682 | 2.1871 | 1.1408 | 2.7391 | 1.4765 | 12.1379
NON NETWORK
BUSINESS IT | Information Technology |  |  | 7.3974 | 6.427 | 11.7855 | 11.6662 | 18.144 | 18.9334 | 74.3534
SUPPORT THE BUSINESS | Buildings |  |  | 0.23753 | 0.22653 | 0.13038 | 0.10861 | 0.2268 | 0.23389 | 0.21463
| Motor Vehicles |  |  | 0.96699 | 0.29345 | -0.010301 | 0.1724 | 1.701 | 1.7541 | 1.6097
| Other |  |  | 3.8172 | 2.6389 | 3.0226 | 1.3271 | 2.268 | 1.775 | 2.1463
TOTAL FDC |  |  |  | 4.9284 | 8.4798 | 8.6124 | 10.5838 | 13.2991 | 10.8367 | 56.7401
TOTAL HISTORIC CAPEX (INCLUSIVE OF FDC) |  |  |  | 96.4854 | 118.8021 | 117.5701 | 142.2413 | 179.5372 | 146.2952 | 800.9313
|  |  |  | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 | Year 6 2013/14
|  |  | SOURCE: | Year 1: REGULATORY ACCOUNTS HISTORIC CAPEX BY CATEGORY + FDC FROM UNDERLYING DATA; Year 5: CAPEX FORECAST MODEL + FDC ASSUMPTION (8%)

## Hist Capex by Asset Class
3.2 HISTORIC CAPEX by asset class |  | Home |  |  | Link to Capex Instructions - Table 6.2
$M, Nominal |  | Any Part Year |  | Year 1 2008/09 |  | Year 2 2009/10 |  | Year 3 2010/11 |  | Year 4 2011/12 |  | Year 5 2012/13 (Est) |  | Year 6 2013/14 (Est) |  | TOTAL
Asset class
|  | Cost | FDC | Cost | FDC | Cost | FDC | Cost | FDC | Cost | FDC | Cost | FDC | Cost | FDC | Cost | FDC
Secondary |  |  |  | 11.4769 | 0.93492 | 8.7566 | 1.0634 | 13.2242 | 1.2466 | 18.7417 | 1.3229 | 33.4192 | 2.6735 | 19.1449 | 1.5316 | 104.7636 | 8.7729
Switchgear |  |  |  | 28.7153 | 2.241 | 38.6024 | 3.4487 | 30.2303 | 3.3862 | 27.9769 | 2.7203 | 39.8668 | 3.1893 | 41.4856 | 3.3189 | 206.8773 | 18.3044
Transformers |  |  |  | 10.7731 | 0.31434 | 6.8575 | 0.94993 | 16.3916 | 1.1221 | 23.1133 | 2.1202 | 32.8827 | 2.6306 | 33.7199 | 2.6976 | 123.7382 | 9.8347
Reactive |  |  |  | 1.8978 | 0.16743 | 1.6861 | 0.29382 | 0.46316 | 0.32551 | 1.5974 | 0.4147 | 0.94433 | 0.075546 | 0.84964 | 0.067971 | 7.4385 | 1.345
Transmission Lines |  |  |  | 7.7189 | 0.26768 | 14.815 | 0.95395 | 25.0845 | 1.7894 | 32.3864 | 2.4433 | 24.0512 | 1.9241 | 4.829 | 0.38632 | 108.8849 | 7.7647
Establishment |  |  |  | 10.9997 | 0.4736 | 10.8963 | 0.51137 | 3.9374 | 0.2567 | 11.4769 | 0.4687 | 9.7539 | 0.78031 | 8.9973 | 0.71978 | 56.0614 | 3.2105
Communications |  |  |  | 7.7509 | 0.29533 | 19.5035 | 0.81603 | 4.9026 | 0.28836 | 3.9863 | 0.19796 | 4.635 | 0.3708 | 5.4169 | 0.43336 | 46.1952 | 2.4018
Network Switching Centre |  |  |  | 0.039387 | 7.7035e-06 | 0.054181 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0.093568 | 7.7035e-06
Easements |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Land |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-System |  |  |  | 12.185 | 0.23408 | 9.1459 | 0.4426 | 14.7305 | 0.19762 | 12.3786 | 0.89572 | 20.685 | 1.6548 | 21.0152 | 1.6812 | 90.1403 | 5.106
Subtotal |  |  |  | 91.557 | 4.9284 | 110.3175 | 8.4798 | 108.9642 | 8.6124 | 131.6576 | 10.5838 | 166.2382 | 13.2991 | 135.4585 | 10.8367 | 744.193 | 56.7401
TOTAL CAPEX |  |  |  | 96.4854 |  | 118.7973 |  | 117.5767 |  | 142.2413 |  | 179.5372 |  | 146.2952 |  | 800.9332
| SOURCE: | Cost in each completed year from Regulatory Accounts - Hist Capex Ass Cls (Incurred) sheet. FDC from underlying data
Cost in forecast years from capex forecast model plus assumed 8% FDC

## Hist Capex - Network
3.3 HISTORIC CAPEX - NETWORK - by project
|  |  |  | Home |  |  | Link to Historic Capex Instructions - Table 6.2 |  |  |  | Link to Historic Capex Commentary - Table 5.2
$M nominal
Yearly expenditure by project (inclusive of FDC)
Project ID | Project Description | Commissioning Date | Category^ | Any Part Year | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 (est) | Year 6 2013/14 (est) | TOTAL | REASON FOR PROJECT | Reg Test / Business Case (Y/N) | Reg Test / Business Case Cost Estimate (to be spent current reg period) | Reason for Variance from Cost Estimate / Expected Commissioning Date
Multiple projects make up each program (~400 individual projects) | replacement of 22 kV bays | Multiple commission dates for each program and in some cases, individual projects can have components commissioned at different stages - details on individual projects/programs available on request | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Asset failure risk | Y | 0
| response capability for primary equipment failures |  | Other |  | -0.59865 | 1.1959 | 0.77153 | 0.6533 | 0.10156 | 0.0076488 | 2.1313 | Asset failure risk | Y | 3.0661
| replacement of bulk oil CB's at DDTS |  | Compliance* |  | 0.3074 | 0.014165 | 2.1222 | 4.8994 | 1.9009 | 0 | 9.2442 | Asset failure risk | Y | 10.1389
| Stage 2 development at HOTS |  | Replacements |  | 0 | 0.003493 | 1.4171 | 3.8084 | 2.0664 | 0 | 7.2954 | Asset failure risk | Y | 7.4314
| replacement of post type CT's |  | Compliance* |  | 3.8527 | 6.8152 | 2.4885 | 1.3924 | 1.8424 | 0 | 16.3911 | Compliance | Y | 18.5852
| replacement of 66 kV CB's |  | Replacements |  | 0.14667 | 0.15276 | 0.0078795 | 0.70243 | 2.314 | 1.6996 | 5.0233 | Asset failure risk | Y | 4.6703
| complete refurbishment of ROTS |  | Replacements |  | 0 | 0.010913 | 0.016497 | 3.9963 | 3.7676 | 3.3708 | 11.1621 | Asset failure risk | Y | 17.944 | Reduced material cost and internal as opposed to external labour employed on project contribute to variance
| Surge Arrestor replacement program |  | Replacements |  | 0.91411 | 1.3788 | 0.7767 | 0.4248 | 0.017949 | 0 | 3.5124 | Asset failure risk | Y | 3.3978
| replacement of 500 kV CB's |  | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Asset failure risk | Y | 0
| Redevelopment of BLTS |  | Replacements |  | 3.2885 | 3.0491 | 11.2828 | 16.1808 | 9.7071 | 3.4395 | 46.9478 | Asset failure risk | Y | 46.494
| Response capability for Communications equipment |  | Other |  | 0.026776 | 0.46901 | 0.67517 | 0.10925 | 0.2267 | 0 | 1.5069 | Operational performance | Y | 1.2801
| installation of OPGW |  | Replacements |  | 7.8116 | 19.3459 | 2.994 | 2.0619 | 1.3423 | 0.24383 | 33.7996 | Compliance | Y | 48.7689 | Complex projects. Improved project delivery approach lowers cost plus initial estimate overstated cost.
| Continuing program for communications equipment |  | Replacements |  | 0.039668 | 0.10949 | 1.0484 | 0.70719 | 1.4897 | 0.38624 | 3.7806 | Operational performance | Y | 4.3807
| installation of Radio communication links |  | Replacements |  | 0.00041463 | 0.0017762 | 0.25157 | 0.71561 | 1.8066 | 0 | 2.7759 | Compliance | Y | 3.9286
| Land Management |  | Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance | Y | 0
| mitigation of noise from stations |  | Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance | Y | 0
| Oil containment at stations |  | Compliance |  | 2.2085 | 3.5531 | 0.23848 | 0.14294 | 3.8183 | 0.60112 | 10.5625 | Compliance | Y | 13.9909
| replacement of station air conditioners |  | Compliance* |  | 0.15847 | -0.002162 | 0.0047579 | 0.015102 | 0.34478 | 0.0045569 | 0.52551 | Operational performance | Y | 0.52937
| replacement of station hydrant systems |  | Compliance* |  | 0 | 0.0075367 | 0.2885 | 1.6527 | 2.3262 | 0 | 4.2749 | Operational performance | Y | 4.3393
| response capability for undefined works |  | Other |  | 0.5451 | 0.53975 | 0.2432 | 0.22005 | 1.4466 | 0 | 2.9947 | Operational performance | Y | 4.9355
| Refurbishment of GNTS |  | Replacements |  | 0.00090027 | -0.020382 | 0 | 0.32978 | 9.2044 | 8.5144 | 18.0291 | Asset failure risk | Y | 26.7995 | Savings achieved on transformer procurement and design, plus timing differences
| Refurbishment of GTS |  | Replacements |  | 9.8383 | 3.5802 | 0.094434 | -0.031759 | 0.003773 | 0 | 13.4849 | Asset failure risk | Y | 22.4011 | Reduced transmission supply cost the major contributor to variance
| Refurbishment of HWPS |  | Replacements |  | 1.2296 | 3.6202 | 1.9474 | 2.0803 | 4.8147 | 5.3574 | 19.0496 | Asset failure risk | Y | 22.6558 | Project delays due to availability of Transmission lines in conjunctions with Generators at Hazelwood Power Station
| Refurbishment of HWTS |  | Replacements |  | 0.73492 | 8.1409 | 3.3279 | 0.067409 | 0 | 0 | 12.2712 | Asset failure risk | Y | 15.2164
| Refurbishment of KTS |  | Replacements |  | 12.1692 | 12.2232 | 7.9455 | 1.4443 | 0.59698 | 0 | 34.3791 | Asset failure risk | Y | 43.2043 | Accumulation of various minor construction efficiences achieved on site following the BC revision to complete the works.
| response capability for lines |  | Other |  | -0.019257 | 0.64025 | 0.46279 | 0.11212 | 0.84128 | 0.38867 | 2.4259 | Operational performance | Y | 4.324
| replacement of insulators and fittings |  | Compliance* |  | 2.6226 | 5.9278 | 5.5576 | 10.3334 | 7.5792 | 0.68035 | 32.701 | Asset failure risk | Y | 68.5671 | Project estimate prepared for business case overstated cost and included a large unadjusted risk allowance.
| Refurbishment of MTS |  | Replacements |  | 2.1117 | -0.025509 | 0 | -9.5e-05 | 0 | 0 | 2.0861 | Asset failure risk | Y | 0
| replacement of capacitor banks |  | Replacements |  | 0.13452 | 0.88488 | -0.0063973 | 0 | 0 | 0 | 1.013 | Asset failure risk | Y | 2.1125
| replacement of shunt reactors |  | Replacements |  | 0.30638 | 0.35866 | 0.00066448 | 0 | 0 | 0 | 0.6657 | Asset failure risk | Y | 0.76452
| replacement of SVC thyristors and controls |  | Replacements |  | 1.6244 | 0.73641 | 0.73819 | 1.6161 | 4.1969 | 2.5149 | 11.4269 | Asset failure risk | Y | 12.5136
| replacement of reactive switchgear |  | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Asset failure risk | Y | 0
| synchronous condenser refurbishment |  | Refurbish |  | 0 | 0 | 0.056208 | 0.39604 | 1.4189 | 2.053 | 3.9241 | Asset failure risk | Y | 9.3828 | Complex design required for obsolete equipment coupled with equipment outage constraints.
| Redevelopment of RTS |  | Replacements |  | 0.092736 | 0.41784 | 2.5315 | 3.5414 | 13.2894 | 34.687 | 54.5598 | Asset failure risk | Y | 115.3715 | Delay in Planning Permit approval from the council
| Redevelopment of RWTS |  | Replacements |  | 1.7849 | 0.83824 | 6.0163 | 7.7934 | 8.8993 | 4.5936 | 29.9256 | Asset failure risk | Y | 32.5326
| upgrade station earthing installations |  | Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance | Y | 0
| mitigation methods for EMF standards |  | Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance | Y | 0
| Fall restraints on towers |  | Compliance |  | 0.057718 | 0.023055 | 5.1956 | 11.9132 | 6.8945 | 1.8009 | 25.8849 | Compliance | Y | 46.6772 | Project delayed to manage overall capital program
| management of secondary systems |  | Replacements |  | 0.85226 | 0.55264 | 0.92134 | 0.78353 | 2.739 | 1.0111 | 6.8598 | Compliance | Y | 7.1653
| response capability for secondary equipment |  | Other |  | 0.00031179 | 0.023039 | 0.03445 | 0.046095 | 0.0024745 | 0 | 0.10637 | Operational performance | Y | 0.07704
| replacement of station controls |  | Replacements |  | 2.5952 | 0.64635 | 2.079 | 3.0435 | 6.0352 | 0.25443 | 14.6536 | Operational performance | Y | 24.7488 | Projects delayed due to redesign resulting from adoption of new technology. Also, part project deferred to coordinate with other projects.
| replacement of station AC&DC supplies |  | Replacements |  | 0.58955 | 1.053 | 1.5586 | 2.6552 | 1.9823 | 0 | 7.8385 | Operational performance | Y | 15.3781 | Detailed design took longer than estimated due to need to construct new battery rooms to meet Australian Standards.
| replacement of station EHV protection systems |  | Replacements |  | 0.32435 | 1.2574 | 2.7523 | 6.0954 | 13.1704 | 16.4671 | 40.0669 | Compliance | Y | 58.3876 | Related communications project delayed due to flooding. Delays due to to field test and design resource constraints.
| replacement of station HV protection systems |  | Replacements |  | 0.029669 | 0.54135 | 0.93512 | 0.80081 | 1.5857 | 0.26225 | 4.1549 | Operational performance | Y | 10.1281 | Multiple delay causes including shortage of testers, outage constraints & project dependencies
| replacement of energy metering |  | Replacements |  | 0.10051 | -0.039922 | 0.0078832 | 0.060141 | 0 | 0 | 0.12861 | Operational performance | Y | 0 | Timing - business case had all expenditure completed in prior period
| replacement of station and control centre SCADA |  | Replacements |  | 0.0031854 | -0.00038944 | 0.14435 | -0.020178 | 0 | 0 | 0.12697 | Compliance | Y | 0.20617
| station access control |  | Security |  | 0.062124 | 0 | 0.017668 | 0 | 0 | 0.11164 | 0.19143 | Compliance | Y | 0.055986
| installation of security cameras |  | Security |  | 0.00064386 | -0.0082546 | 0.1343 | 0 | 0 | 0 | 0.12669 | Compliance | Y | 3.2946
| installation of station security fences |  | Security |  | 5.8796 | 3.1235 | 0.73017 | 0.57447 | 0.00079823 | 0 | 10.3085 | Compliance | Y | 12.1751
| works to satisfy Insurance underwriters |  | Compliance |  | 0.13367 | 0.32192 | 0.096563 | 0.13315 | 0 | 0 | 0.6853 | Compliance | Y | 1.9971
| replacement of transformer bushings |  | Replacements |  | 0.10667 | -0.0078135 | 0.44194 | 0.18729 | 0.060092 | 0.71267 | 1.5008 | Compliance | Y | 1.9742
| response capability for transformer failures |  | Other |  | 1.7719 | 0.0001886 | 0 | 1.161e-17 | 0.12044 | 1.0802 | 2.9727 | Operational performance | Y | 12.5041 | New equipment failed and was reworked and delivered late.
| replacement of station service supplies |  | Replacements |  | 0 | 0 | 0.031542 | 0.44855 | 0.031929 | 0 | 0.51202 | Operational performance | Y | 0.47885
| transformer refurbishment |  | Refurbish |  | 0 | 0.049867 | 0.064786 | 3.239 | 3.3318 | 0.57934 | 7.2647 | Asset failure risk | Y | 8.4068
| transformer replacement |  | Replacements |  | 3.3928 | 3.9747 | 5.2456 | 7.73 | 17.6739 | 14.6747 | 52.6917 | Asset failure risk | Y | 59.2443 | Equipment (transformers) cost less than original estimate.
| refurbishment of TTS |  | Replacements |  | 8.3693 | 13.8736 | 13.3242 | 13.0565 | 1.28 | 0 | 49.9037 | Asset failure risk | Y | 52.2246
| commencement of redevelopment of WMTS |  | Replacements |  | -0.011801 | 0 | 0.21662 | 0.49607 | 1.7334 | 12.0107 | 14.445 | Asset failure risk | Y | 40.7595 | Delays in Planning Phase
| BTS Rebuild |  | Replacements |  | 0.20816 | 0 | 0 | 0 | 0 | 0 | 0.20816 | Asset failure risk | Y | 0
| BATS Rebuild |  | Replacements |  | 0.53753 | 0.012883 | 0 | 0 | 0 | 0 | 0.55042 | Asset failure risk | Y | 0
| BETS Rebuild |  | Replacements |  | 0.99086 | 0.34719 | 0.00098729 | 0.018248 | 0.033215 | 0 | 1.3905 | Asset failure risk | Y | 0 | Timing issue due to delays in association with the DSP and ISP inefficiencies and quality of deliverables.
| SHTS Rebuild |  | Replacements |  | 0.40915 | 0.46388 | 0.00037955 | 0 | 0 | 0 | 0.87341 | Asset failure risk | Y | 0
| RCTS Rebuild |  | Replacements |  | 0.59102 | 0.021877 | 0.020243 | 0 | 0 | 0 | 0.63314 | Asset failure risk | Y | 0
| HOTS Rebuild stage 1 |  | Replacements |  | 0.055866 | 0 | 0 | 0 | 0 | 0 | 0.055866 | Asset failure risk | Y | 0
| MBTS Rebuild |  | Replacements |  | 0.25422 | 0.0040417 | 0 | 0 | 0 | 0 | 0.25826 | Asset failure risk | Y | 0
| TGTS Rebuild |  | Replacements |  | 0.10374 | 0 | 0 | 0 | 0 | 0 | 0.10374 | Asset failure risk | Y | 0
| JLTS CB and CT replacements |  | Replacements |  | 0.0012957 | 0 | 0 | 0 | 0 | 0 | 0.0012957 | Asset failure risk | Y | 0
| HOTS Rebuild stage 2 |  | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Asset failure risk | Y | 0
| Tower/Conductor replacements |  | Replacements |  | 5.3249 | 9.0145 | 15.3889 | 11.5875 | 14.7414 | 4.4589 | 60.5163 | Asset failure risk | Y | 64.8735
| SVTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0.045576 | 0 | 0 | 0.045576 | Asset failure risk | Y | 0
| HTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0.072254 | 0.27619 | 1.1482 | 1.4967 | Asset failure risk | Y | 9.4481 | BC value is based on conventional or business-as-usual delivery model. Design and construct delivery model currently being considered.
| Safety Compliance |  | Compliance |  | 0 | 0 | 0 | 0.6359 | 0.1373 | 0 | 0.77319 | Compliance | Y | 0
| New category - 220kv CB replacement |  | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0.48402 | 0.48402 | Asset failure risk
| New category - Oil CB Replacement Program |  | Compliance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance
| New category - replacement of CTs, VTs & CVTs |  | Compliance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance
| New category - Civil infrastructure |  | Replacements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Asset failure risk
| New category - Communications safety and security |  | Compliance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Compliance
|  |  |  | Subtotal | 84.0663 | 109.2162 | 102.6419 | 128.967 | 157.1939 | 123.5988 | 705.6841
^refers to Categories set out in table 3.1 (e.g Augmentation, Replacement etc)
* represents change of category compared to regulatory accounts
[5 empty] | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 | Year 6 2013/14
|  |  |  | SOURCE: | REGULATORY ACCOUNTS HISTORIC NETWORK CAPEX + FDC FROM UNDERLYING DATA |  |  |  | CAPEX FORECAST MODEL + DETAIL UNDERPINNING COMMITTED PROJECTS + FDC ASSUMPTION (8%)
Note on G79: Nick Cimdins: source data incorrect, have fixed link

## Hist Capex - Non-Network
3.4 HISTORIC CAPEX - Non-Network - by project
[5 empty] | Home |  |  | Link to Historic Capex Instructions - Table 6.2 |  |  |  | Link to Historic Capex Commentary - Table 5.2
$M nominal
Yearly expenditure by project (inclusive of FDC)
Project ID | Project Description | Commissioning Date | Category^ |  | Any Part Year | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 (est) | Year 6 2013/14 (est) | TOTAL | REASON FOR PROJECT | Business Case (Y/N) | Business Case Cost Estimate | Reason for Variance from Cost Estimate / Expected Commissioning Date
Multiple projects make up each program (~360 individual projects) | Computer Equipment/Projects | Multiple commission dates for each program and in some cases, individual projects can have components commissioned at different stages - details on individual projects/programs available on request | Information Technology |  |  | 7.3974 | 6.427 | 11.7855 | 11.6662 | 18.144 | 18.9334 | 74.3534 | Purchase of servers, PCs, printers, plotters and other IT related equipment | Y | Unable to aggregate as not all held in SPN's database - individual business cases can be produced on request
| General Equipment and Funiture |  | Other |  |  | 0.30945 | 0.0045835 | 0 | 0 |  |  | 0.31403 | Purchase of furniture items for the office (desks chairs, fridges etc) | Y
| Tools and Equipment |  | Other |  |  | 3.1628 | 2.2775 | 2.2069 | 1.2627 | 2.268 | 1.775 | 12.9529 | Tools and equipment required to perform the maintenance the replacement activities associated with the Network | Y/N* |  | * Not all tools purchases require business case as limits are not met for individual purchases
| Other General Assets |  | Other |  |  | 0.35113 | 0.35684 | 0.81564 | 0.06442 |  |  | 1.588 | All other non system capital expenditure | Y
| Property - Buildings |  | Buildings |  |  | 0.23753 | 0.22653 | 0.13038 | 0.10861 | 0.2268 | 0.23389 | 1.1637 | All costs associated with the fit out and upgrade of non system related buildings | Y
| Vehicles/Plant |  | Motor Vehicles |  |  | 0.96699 | 0.29345 | -0.010301 | 0.1724 | 1.701 | 1.7541 | 4.8777 | Vehicles and specialist plant required to undertake the maintenance on the network | Y
| Recoverable Works Construction |  | Other |  |  | -0.0061279 | 0 | 0 | 0 |  |  | -0.0061279
|  |  |  | Subtotal |  | 12.4191 | 9.5859 | 14.9281 | 13.2743 | 22.3398 | 22.6964 | 95.2437
^refers to Categories in table 3.1 (e.g Information Technology, Motor Vehicles etc)
[6 empty] | Year 1 2008/09 | Year 2 2009/10 | Year 3 2010/11 | Year 4 2011/12 | Year 5 2012/13 | Year 6 2013/14
[5 empty] | SOURCE: | REGULATORY ACCOUNTS HISTORIC NON-NETWORK CAPEX + FDC FROM UNDERLYING DATA |  |  |  | CAPEX FORECAST MODEL + FDC ASSUMPTION (8%)

## Forecast Capex by Category
4.1 FORECAST CAPEX by project category |  | Home |  | Link to Forecast Capex Instructions - Table 6.3
$ million, real (as of year 6)
Project Category |  | Year 7 | Year 8 | Year 9 | TOTAL
|  | 2014/15 | 2015/16 | 2016/17
NETWORK
Replacements - major stations | Replacements - major stations | 98.4923 | 110.7823 | 137.2297 | 346.5044
Replacements - other | Replacements - other | 38.2255 | 38.751 | 44.0742 | 121.0507
Safety/Compliance | Security/Compliance | 16.3205 | 14.9149 | 13.5032 | 44.7385
Other | Other | 0 | 0 | 0 | 0
NON NETWORK
Information Technology | Information Technology | 2.9259 | 3.007 | 3.0705 | 9.0034
Buildings | Buildings | 1.9297 | 1.9274 | 1.3284 | 5.1855
Motor Vehicles | Motor Vehicles | 0.21621 | 0.21902 | 0.2214 | 0.65663
Other | Other | 20.3489 | 14.2863 | 13.2183 | 47.8535
TOTAL FORECAST CAPEX |  | 178.459 | 183.888 | 212.6457 | 574.9927
Source: |  | Capex forecast model

## Forecast Capex by Asset Class
4.2 FORECAST CAPEX by asset class |  | Home |  |  | Link to Capex Instructions - Table 6.3
$ million, real (as of year 6) |  | Year 7 | Year 8 | Year 9 | TOTAL
Asset class |  | 2014/15 | 2015/16 | 2016/17 | (excluding FDC)
Secondary |  | 23.0021 | 26.1343 | 32.9265 | 82.0629
Switchgear |  | 47.2163 | 50.8464 | 64.8668 | 162.9296
Transformers |  | 33.0482 | 37.1076 | 42.6252 | 112.781
Reactive |  | 2.7123 | 1.3871 | 1.2973 | 5.3968
Transmission Lines |  | 18.7026 | 20.2936 | 21.7236 | 60.7199
Establishment |  | 14.3851 | 15.2668 | 16.0432 | 45.6951
Communications (buildings, towers and site infrastructure) |  | 13.9717 | 13.4124 | 15.3244 | 42.7085
Communications (other assets) |  |  |  |  | 0
Easements |  | 0 | 0 | 0 | 0
Land |  | 0 | 0 | 0 | 0
Network Switching Centre |  | 0 | 0 | 0 | 0
IT |  | 20.3489 | 14.2863 | 13.2183 | 47.8535
Buildings |  | 0.21621 | 0.21902 | 0.2214 | 0.65663
Vehicles |  | 1.9297 | 1.9274 | 1.3284 | 5.1855
Other Business support |  | 2.9259 | 3.007 | 3.0705 | 9.0034
TOTAL CAPEX |  | 178.459 | 183.888 | 212.6457 | 574.9927
| Source: | Capex forecast model

## Forecast Capex - Network
4.3 FORECAST CAPEX - NETWORK - by project
[5 empty] | Home |  |  |  | Link to Forecast Capex Commentary - Table 5.3
$ million, real (as of year 6)
Yearly expenditure by project - excluding FDC
Project ID | Project Description | Commissioning Date | Category^ |  | Year 7 2014/15 | Year 8 2015/16 | Year 9 2016/17 | TOTAL |  | REASON FOR PROJECT | Reg Test / Business Case (Y/N) | Reg Test / Business Case Cost Estimate | Reason for Variance from Cost Estimate / Expected Commissioning Date
Multiple projects make up each program (not all of which have been assigned project numbers yet) | replacement of 22 kV bays | Multiple commission dates for each program and in some cases, individual projects can have components commissioned at different stages - details on individual projects/programs available on request | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| response capability for primary equipment failures |  | Other |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of bulk oil CB's at DDTS |  | Compliance* |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Stage 2 development at HOTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of post type CT's |  | Compliance* |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| replacement of 66 kV CB's |  | Replacements |  | 0.44735 | 0 | 0 | 0.44735 |  | Asset failure risk | N/A | 0
| complete refurbishment of ROTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Surge Arrestor replacement program |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of 500 kV CB's |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Redevelopment of BLTS |  | Replacements |  | 0 | 0.78904 | 10.4096 | 11.1986 |  | Asset failure risk | N | 0
| Response capability for Communications equipment |  | Other |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| installation of OPGW |  | Replacements |  | 6.1136 | 6.7447 | 7.1213 | 19.9796 |  | Compliance | N | 0
| Continuing program for communications equipment |  | Replacements |  | 11.4231 | 11.3248 | 13.5751 | 36.323 |  | Operational performance | N | 0
| installation of Radio communication links |  | Replacements |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| Land Management |  | Other |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| mitigation of noise from stations |  | Other |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| Oil containment at stations |  | Compliance |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| replacement of station air conditioners |  | Compliance* |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station hydrant systems |  | Compliance* |  | 2.0574 | 2.1187 | 2.0616 | 6.2377 |  | Operational performance | N | 0
| response capability for undefined works |  | Other |  | 0.20556 | 0 | 0 | 0.20556 |  | Operational performance | N | 0
| Refurbishment of GNTS |  | Replacements |  | 4.4325 | 1.8174 | 0 | 6.2499 |  | Asset failure risk | Y | 3.6785 | Changes in project timing compared to business case
| Refurbishment of GTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Refurbishment of HWPS |  | Replacements |  | 1.544 | 1.7861 | 4.5473 | 7.8775 |  | Asset failure risk | Y | 1.815 | Project delays due to availability of Transmission lines in conjunctions with Generators at Hazelwood Power Station
| Refurbishment of HWTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Refurbishment of KTS |  | Replacements |  | 0 | 0 | 0.93258 | 0.93258 |  | Asset failure risk | N | 0
| response capability for lines |  | Other |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of insulators and fittings |  | Compliance* |  | 1.411 | 1.4392 | 1.4689 | 4.3191 |  | Asset failure risk | N | 0
| Refurbishment of MTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of capacitor banks |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of shunt reactors |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of SVC thyristors and controls |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| replacement of reactive switchgear |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| synchronous condenser refurbishment |  | Refurbish |  | 2.7123 | 1.3871 | 1.2973 | 5.3968 |  | Asset failure risk | N | 9.2593e-06
| Redevelopment of RTS |  | Replacements |  | 32.0128 | 22.7748 | 24.6823 | 79.4699 |  | Asset failure risk | Y | 82.9241
| Redevelopment of RWTS |  | Replacements |  | 3.1995 | 1.0744 | 0.42599 | 4.6999 |  | Asset failure risk | Y | 11.5176 | Changes in project timing compared to business case
| upgrade station earthing installations |  | Other |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| mitigation methods for EMF standards |  | Other |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| Fall restraints on towers |  | Compliance |  | 4.0985 | 4.1156 | 4.1973 | 12.4114 |  | Compliance | N | 0
| management of secondary systems |  | Replacements |  | 7.5231 | 9.1695 | 11.6291 | 28.3217 |  | Compliance | N | 0
| response capability for secondary equipment |  | Other |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station controls |  | Replacements |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station AC&DC supplies |  | Replacements |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station EHV protection systems |  | Replacements |  | 0.24066 | 0 | 0 | 0.24066 |  | Compliance | Y | 6.4056 | Related communications project delayed due to flooding. Delays due to to field test and design resource constraints.
| replacement of station HV protection systems |  | Replacements |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of energy metering |  | Replacements |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station and control centre SCADA |  | Replacements |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| station access control |  | Security |  | 2.2631 | 2.2925 | 0.94021 | 5.4958 |  | Compliance | N | 0
| installation of security cameras |  | Security |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| installation of station security fences |  | Security |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| works to satisfy Insurance underwriters |  | Compliance |  | 0 | 0 | 0 | 0 |  | Compliance | N/A | 0
| replacement of transformer bushings |  | Replacements |  | 0.90412 | 0.92475 | 0.94348 | 2.7723 |  | Compliance | N | 0
| response capability for transformer failures |  | Other |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| replacement of station service supplies |  | Replacements |  | 0 | 0 | 0 | 0 |  | Operational performance | N/A | 0
| transformer refurbishment |  | Refurbish |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| transformer replacement |  | Replacements |  | 11.2891 | 21.9067 | 25.8488 | 59.0446 |  | Asset failure risk | Y/N | 4.7792 | Not all projects have approved business cases in place yet
| refurbishment of TTS |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| commencement of redevelopment of WMTS |  | Replacements |  | 33.6386 | 35.4784 | 37.2563 | 106.3733 |  | Asset failure risk | Y | 114.9426
| BTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| BATS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| BETS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| SHTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| RCTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| HOTS Rebuild stage 1 |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| MBTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| TGTS Rebuild |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| JLTS CB and CT replacements |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| HOTS Rebuild stage 2 |  | Replacements |  | 0 | 0 | 0 | 0 |  | Asset failure risk | N/A | 0
| Tower/Conductor replacements |  | Replacements |  | 6.6092 | 7.2225 | 7.8628 | 21.6945 |  | Asset failure risk | N | 0
| SVTS Rebuild |  | Replacements |  | 0.38236 | 1.5622 | 9.5377 | 11.4822 |  | Asset failure risk | N | 0
| HTS Rebuild |  | Replacements |  | 6.4328 | 14.2268 | 17.8132 | 38.4728 |  | Asset failure risk | Y | 27.6134 | BC value is based on conventional or business-as-usual delivery model. Design and construct delivery model currently being considered.
| Safety Compliance |  | Compliance |  | 0.93802 | 0.95943 | 0.97886 | 2.8763 |  | Compliance | N | 0
| New category - 220kv CB replacement |  | Replacements |  | 5.8602 | 10.1063 | 6.5307 | 22.4972 |  | Asset failure risk | N | 0
| New category - Oil CB Replacement Program |  | Compliance |  | 2.8021 | 1.0869 | 1.1054 | 4.9945 |  | Compliance | N | 0
| New category - replacement of CTs, VTs & CVTs |  | Compliance |  | 1.2329 | 1.7162 | 1.9781 | 4.9273 |  | Compliance | N | 0
| New category - Civil infrastructure |  | Replacements |  | 1.6622 | 1.2378 | 0.89049 | 3.7905 |  | Asset failure risk | N | 0
| New category - Communications safety and security |  | Compliance |  | 1.5787 | 1.1863 | 0.77272 | 3.5377 |  | Compliance | N | 0
|  |  |  | Subtotal | 153.0149 | 164.4482 | 194.8071 | 512.2702
^refers to Categories set out in table 4.1 (e.g Augmentation, Replacement etc)
* represents change of category compared to regulatory accounts
|  |  |  | Source: | Capex forecast model, plus detail on committed projects

## Forecast Capex - Non-Network
4.4 FORECAST CAPEX - Non-Network - by project
[6 empty] | Home |  | Link to Forecast Capex Instructions - Table 6.3
$ million, real (as of year 6))
Yearly expenditure by project - excluding FDC
Project ID | Project Description | Estimated Commissioning Date | Category^ |  | Year 7 2014/15 | Year 8 2015/16 | Year 9 2016/17 | TOTAL | REASON FOR PROJECT | Business Case (Y/N)
Multiple projects make up each program (not all of which have been assigned project numbers yet) | Computer Equipment/Projects | Multiple commission dates for each program and in some cases, individual projects can have components commissioned at different stages - details on individual projects/programs available on request | Information Technology |  | 20.3489 | 14.2863 | 13.2183 | 47.8535 | Purchase of servers, PCs, printers, plotters and other IT related equipment | Project-by-project depending on stage in approval process
| Tools and Equipment |  | Other |  | 2.9259 | 3.007 | 3.0705 | 9.0034 | Tools and equipment required to perform the maintenance the replacement activities associated with the Network
| Property - Buildings |  | Buildings |  | 0.21621 | 0.21902 | 0.2214 | 0.65663 | All costs associated with the fit out and upgrade of non system related buildings
| Vehicles/Plant |  | Vehicles |  | 1.9297 | 1.9274 | 1.3284 | 5.1855 | Vehicles and specialist plant required to undertake the maintenance on the network
|  |  |  | Subtotal | 25.4207 | 19.4398 | 17.8386 | 62.6991
^refers to the categories used in table 4.1 (eg Information Technology, Motor Vehicles etc)
|  |  |  | Source: | Capex forecast model

## Commentary on Opex
5.1 Historic and Forecast Opex Commentary proforma: key cost drivers
This pro forma is designed to allow the TNSP to provide context and background for the quantitative opex templates. | Home
The historic opex tables (1.1 - 1.7) provide a column where the key cost drivers for historic opex should be briefly listed. This commentary pro forma provides opportunity for more detailed explanations regarding material changes in particular expenses over the relevant regulatory period.
The forecast opex tables (2.1 - 2.7) provide a similar column where the key cost drivers for forecast opex should be briefly listed. This commentary pro forma provides the opportunity for more detailed explanations regarding material changes in particular forecast expenses. | Link to Historic Opex Summary - Table 1.1
The commentary should address the following:
>The main cost drivers for the particular opex item (eg changes in CPI, legislative and regulatory requirements, environmental factors). | Link to Forecast Opex Summary - Table 2.1
>Were these increases foreseeable? If not, why not?
>Details of management induced opex efficiencies achieved.
>Major opex risks and mitigation strategies.
>Key Performance Indicators – are these benchmarked against other transmission companies?
In addition, the TNSP is requested to provide:
>Definitions of ‘opex’ and ‘capex’ used by the business. Further, the TNSP should provide definitions for the categories and activities used in the opex templates. These definitions should be added to the definition section in table 6.1
>A discussion on the relationship between opex and capex.
>Details of changes in accounting policies over the past regulatory period and how they may have impacted on opex in general or specific opex items.
Commentary on cost drivers and material changes over the current regulatory period
Refer to section 3.4 of SP AusNet's Revenue Proposal for further discussion of the cost drivers and material changes over the current regulatory period.
Supporting information
Refer section 5.8 of SP AusNet's Revenue Proposal for a discussion on opex-capex trade offs and SP AusNet's policy on the Capitalisation of Overheads
Commentary on cost drivers and material changes affecting the upcoming regulatory period
Refer to chapter 5 of SP AusNet's Revenue Proposal for a detailed explanation of the cost drivers and material changes affecting the next regulatory period.
Supporting information
Refer to Appendices 4E, 4F, 5A, 5B, 5C, 5D, as well as SP AusNet's policies on capitalisation of overhead and property, plant and equipment, for further supporting information

## Commentary on Historic Capex
5.2 Historic Capex Commentary Proforma: reasons for variance
This pro forma is designed to allow TNSP's to provide context and background for the quantitative historic capex templates. | Home
Tables 3.3 & 3.4 provide a column where reasons for capex cost variances may be briefly listed. This pro forma provides the opportunity for more detailed reasons to be given for material differences between actual project costs and amounts included in the regulatory test/business case assessment.
The commentary should address the following:
Link to Historic Capex by category - Table 3.1
>The main reasons for the project being undertaken (eg. demand growth)
>The main reasons for material cost variances for the particular project (eg changes in material costs, legislative and regulatory requirements, environmental factors, technology changes) and whether they were forseeable.
>The main reason for any material variance in commissioning date (e.g delays in supply of materials, environmental approvals etc) and whether they were forseeable.
>How does the project align with the TNSP's asset management strategy/plan?
>Reference to the project's assessment in the TNSP's Annual Planning Reports. | Link to Historic Capex by Asset Class - Table 3.2
>Details of management induced capex efficiencies which have reduced costs.
>Major project risks and strategies undertaken to mitigate them.
Commentary on reasons for variance
For further information in addition to that already provided in the templates, refer to section 3.3 of SP AusNet's Revenue Proposal
Link to Historic Capex - Network - Table 3.3
Supporting information
Refer to Appendices 2A, 3B, plus Plant Strategies, Business Cases and Implementation Reports for further information
Link to Historic Capex - Non-Network - Table 3.4

## Commentary on Forecast Capex
5.3 Forecast Capex Commentary Proforma: reasons for project
This pro forma is designed to provide context and background for the quantitative forecast capex templates, by specifying matters that the AER will take into account in assessing the TNSP’s proposed expenditure. | Home
Table 4.3 provides a column where reasons for the project can be provided. This pro forma provides the opportunity for more detailed reasons to be given for factors influencing the proposed spend, including load growth, planned generation and the range of foreseable scenarios and their probabilities of occuring.
The commentary should address the following: | Link to Forecast Capex by category - Table 4.1
>The theme sets upon which the proposed capex spend is based
> The scenarios derived from the above theme sets and their relevant probabilities.
> Project specific information in addition to the cost information provided in the forward capex templates.
In addition, the TNSP is requested to provide: | Link to Forecast by Asset Class - Table 4.2
>Details of its capital expenditure and approvals processes.
>Details of its overall asset management strategy/plan.
>Relevant Annual Planning Reports.
>Consultants reports on the probabilistic methodology adopted, its assumptions, inputs and detailed information on the outcomes.
Link to Forecast Capex - Network - Table 4.3
Theme sets and Scenarios modelled
Refer to chapter 4 of SP AusNet's Revenue Proposal for a detailed explanation of SP AusNet's capital expenditure forecast, including:
> forecasting methodology
> key assumptions
> a discussion of each major capital expenditure program
Link to Forecast Capex - Non-Network - Table 4.4
Supporting information
Refer to Appendices 2A, 3A, 4A, 4B, 4C, 4D, 4E, 4F, 4G, 4H, plus Plant Strategies, Planning Reports and Business Cases for further supporting information

## Opex Instructions
6.1 OPEX - Instructions and definitions
Note: These definitions are a guide only. TNSPs can adapt the definition section as necessary, given consultation with the AER.
PURPOSE OF INFORMATION AND USE BY THE AER: | The historic worksheets (1.1 to 1.7) are a key input into the AER's assessment of a TNSP's historic opex performance to assist it in establishing a starting point from which to set efficient opex for the next regulatory period. | Home
The forecast worksheets (2.1 to 2.6) are a key input into the AER's assessment of a TNSPs proposed forecast opex.
Key cost drivers for expenditure are important to the AER's understanding of what has happened in the current regulatory period and any step changes in opex claimed for the next regulatory period.
INSTRUCTIONS | Data to be input on the basis of the definitions provided.
All expenditure must relate to the provision of prescribed transmission services.
Key cost drivers for expenditure: reasons for material changes in costs should be expanded upon in the relevant opex commentary proforma.
Templates must be completed in accordance with the instructions contained in the AER's Submission Guidelines and Cost Allocation Guidelines.
Values for years 4 and 5 are estimated values only
All cells must be filled out where possible, especially in relation to any commentary on variances.
DEFINITIONS | Asset Management Support: those operational activities to support the strategic development and ongoing asset management of the network. Asset Management Support has 5 major sub-elements: Grid Planning, Project Support, Network Customer Support, and Operational Support.
Asset works: system non-recurrent expenditure that is required to manage operational risk within an acceptable band
Condition based maintenance: maintenance activities based on inspection/assessment of the condition of an asset.
Corrective maintenance: activities that restore a failed component to an operational state.
Key cost drivers: significant factors driving expenditure such as age and condition of assets, size of network, CPI, labour costs, legislative requirements.
Management Fee: the Service Charge paid to SPI Management Services Pty Ltd
Non-system: all activities not directly related to the operation and maintenance of the network, including administrative, planning and engineering support costs.
OHS: expenditure relating to Health, Safety, Environment and Quality activities
Operations: Network planning, systems, performance monitoring, etc.
Opex: expenditure related to operating and maintaining assets which is not capex.
Routine maintenance: recurrent activities undertaken to maintain assets.
Taxes and Charges: costs associated with owning and managing assets, which include land tax, council rates charges, water charges, electricity bills and permits etc.

## Historic Capex Instructions
6.2 HISTORIC CAPEX - Instructions and definitions
Note: These definitions are a guide only. TNSPs can adapt the definition section as necessary, given consultation with the AER.
PURPOSE OF INFORMATION AND USE BY THE AER: | The templates are key inputs into the AER's assessment of historic capex and will assist in the analysis of the TNSP's forecast capex claim. | Home
Specifying expenditure by project enables the AER to select projects on which to undertake more detailed analysis.
The capex categories are essentially divided between Network and Non-network. Network includes augmentation capex which is subject to the Regulatory Test.
INSTRUCTIONS: | Data to be input on the basis of the definitions provided.
All expenditure must relate to the provision of prescribed transmission services.
Categorisation of capex should be performed according to the primary reason for expenditure.
Capex amounts should be entered exclusive of customer contributions.
Reasons for variance: if actual expenditure materially varies from the amount determined under the Regulatory Test/Business case, or the date of commissioning was later than planned, then reasons should be given on the Historic Capex Commentary pro forma with a brief reference in the 'Reasons for variance' column of Table 3.3 and 3.4.
Templates must be completed according to the instructions contained in the AER's Submission Guidelines.
Values for years 4 and 5 are estimated values only.
All cells must be filled out where possible, especially in relation to any commentary on variances.
DEFINITIONS: | Business case: a detailed cost/benefit analysis undertaken to support an investment.
Capex: expenditure that satisfies one or more of the following requirements - relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
FDC: financing during construction - finance charges up to the point of completion of the project.
Non-system: non-network capex relating to IT, commercial buildings, motor vehicles and tools.
| Other: all other projects associated with the network which provides prescribed transmission services such as response capability enhancements. | 73.66
Project ID: A unique numerical identifier for a given project
Project Description: A short description of the project
Regulatory Test: the test as promulgated by the ACCC to assess augmentation expenditure. A prudency test must be applied to other capex undertaken in the current regulatory period.
Replacements - major stations: replacement or life extension of terminal station assets
Replacements - other: replacement or life extension of all other non terminal station network assets.
Safety/Compliance: projects undertaken to ensure the physical security of assets and compliance with amendments to various technical, safety or environmental legislation.

## Forecast Capex Instructions
6.3 FORECAST CAPEX - Instructions and definitions
Note: These definitions are a guide only. TNSPs can adapt the definition section as necessary, given consultation with the AER.
PURPOSE OF INFORMATION AND USE BY THE AER: | The templates are key inputs into the AER's assessment of forecast capex and will enable an analysis of the proposed expenditure. | Home
Specifying expenditure by project enables the AER to select projects on which to undertake more detailed analysis.
Link to Forecast Capex commentary - Table 5.3
INSTRUCTIONS: | Data to be input on the basis of the definitions provided.
All expenditure must relate to the provision of prescribed transmission services.
Categorisation of capex should be performed according to the primary reason for expenditure.
Capex amounts should be entered on an as-incurred basis, excluding customer contributions.
Customer contributions are to be noted separately.
Templates must be completed according to the instructions contained in the AER's Submission Guidelines.
The TNSP is also requested to provide consultants' reports on the probabilistic methodology adopted, including information on theme sets and scenarios upon which the proposed capex spend is based. Further, details on the consultants assumptions, inputs and detailed information on the outcomes are requested.
DEFINITIONS: | Business case: a detailed cost/benefit analysis undertaken to support an investment.
Capex: expenditure that satisfies one or more of the following requirements - relates to the purchase or construction of a new asset; increases the functionality of the asset; or extends the service life of the asset.
FDC: financing during construction - finance charges up to the point of completion of the project.
Non-system: non-network capex relating to IT, commercial buildings, motor vehicles and tools.
Other: all other projects associated with the network which provides prescribed transmission services such as response capability enhancements.
Project ID: A unique numerical identifier for a given project
Project Description: A short description of the project
Regulatory Test: the test as promulgated by the ACCC to assess augmentation expenditure. A prudency test must be applied to other capex undertaken in the current regulatory period.
Replacements - major stations: replacement or life extension of terminal station assets
Replacements - other: replacement or life extension of all other non terminal station network assets.
Safety/Compliance: projects undertaken to ensure the physical security of assets and compliance with amendments to various technical, safety or environmental legislation.