## Model Parameters
TasNetworks LRMC Model
2024-2029 regulatory control period
Input 1 ¦ Model Parameters
Model Parameter | Value
Asset Life | 40
OpEx as % of CapEx | 4.5%
Source: EB(D) RIN table 3.3
Input 2 ¦ Annual Discount Rates
| 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34
Discount Rate (Nominal Vanilla WACC) | 5.706% | 5.779% | 5.852% | 5.925% | 6.031% | 6.031% | 6.031% | 6.031% | 6.031% | 6.031%
Source: Post Tax Revenue Model
Input 3 ¦ Coincident Demand by Tariff
Network Tariff Code | 2024-25: Tariff Class; 2025-26: Coincident Demand
TAS93 | 2024-25: Residential; 2025-26: 196.3566
TAS87 | 2024-25: Residential; 2025-26: 0
TAS97 | 2024-25: Residential; 2025-26: 2.4654
TAS31 | 2024-25: Residential; 2025-26: 193.9391
TAS41 | 2024-25: Residential; 2025-26: 250.6004
TAS63 | 2024-25: Residential; 2025-26: 0.11858
TAS61 | 2024-25: Residential; 2025-26: 0.61257
TAS94 | 2024-25: Small Business LV; 2025-26: 83.1745
TAS88 | 2024-25: Small Business LV; 2025-26: 20.3565
TAS98 | 2024-25: Small Business LV; 2025-26: 3.5065
TAS22 | 2024-25: Small Business LV; 2025-26: 39.2045
TAS75 | 2024-25: Irrigation; 2025-26: 5.9989
TAS89 | 2024-25: Large Business LV; 2025-26: 37.6386
TAS82 | 2024-25: Large Business LV; 2025-26: 33.5081
TAS84T1 | 2024-25: Large Business LV; 2025-26: 0
TAS84T2 | 2024-25: Large Business LV; 2025-26: 0.26471
TAS84T3 | 2024-25: Large Business LV; 2025-26: 0
TAS84T4 | 2024-25: Large Business LV; 2025-26: 0
TAS15 | 2024-25: Large Business HV; 2025-26: 33.1787
TASSDM | 2024-25: Large Business HV; 2025-26: 41.6166
TASCUS1 | 2024-25: Large Business HV; 2025-26: 43.8863
TAS14T1 | 2024-25: Large Business HV; 2025-26: 0
TAS14T2 | 2024-25: Large Business HV; 2025-26: 0
TASUMS | 2024-25: Unmetered Supply; 2025-26: 4.7404
TASUMSSL | 2024-25: Unmetered Supply; 2025-26: 3.6234
Total | 2025-26: 994.7905
Source: TEC Model
Input 4 ¦ Network Utilisation
Tariff Class | 2024-25: High Voltage Utilisation; 2027-28: Low Voltage Utilisation
| Sub-Transmission Lines | Zone Substations | High Voltage Lines | Distribution Transformers | Low Voltage Lines
Residential | bar: 2024-25 to 2028-29
Small business LV | bar: 2024-25 to 2028-29
Large business LV | bar: 2024-25 to 2028-29
Large Business HV | 2024-25: 1; 2025-26: 1; 2026-27: 1; 2027-28: 0; 2028-29: 0
Irrigation | bar: 2024-25 to 2028-29
Unmetered Supply | bar: 2024-25 to 2028-29
Source: TEC Model

## LRMC Program of Works
TasNetworks LRMC Model
2024-2029 regulatory control period
Input 5 ¦ LRMC Program of Works
INITIATIVE_NAME | INITIATIVE_DESCRIPTION | FUNC_AREA | Driver | % HV LRMC | % LV LRMC | Direct costs | [9 empty] | Overheads | [9 empty] | Total costs | [9 empty] | Added Capacity (kVA)
[6 empty] | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34
R24_D_ND_CAHVF_Angelsea_Dev | Augment Hobart CBD supply for improved interconnection | CAHVF | Augex | 10% | 25% | 336189 | 788306 | 556452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104608.5692 | 245289.295 | 173145.6043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440797.5692 | 1033595.295 | 729597.6043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.4488 | 284.7767 | 201.0191 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R24_D_ND_CAHVF_Aug_Grnd_Mtd_Regulator | Augment Ground Mounted Regulator (Capacity or Voltage Constraint) | CAHVF | Augex | 10% | 0% | 400000 | 0 | 400000 | 0 | 400000 | 408000 | 0 | 408000 | 0 | 408000 | 124464 | 0 | 124464 | 0 | 124464 | 126953.28 | 0 | 126953.28 | 0 | 126953.28 | 524464 | 0 | 524464 | 0 | 524464 | 534953.28 | 0 | 534953.28 | 0 | 534953.28 | 542.9979 | 0 | 542.9979 | 0 | 542.9979 | 553.8579 | 0 | 553.8579 | 0 | 553.8579
R24_D_ND_CAHVF_Augment_HV_Fdr_Trunk | Upgrade Feeder for Capacity (Feeder Constraints) | CAHVF | Augex | 10% | 0% | 146000 | 96000 | 96000 | 96000 | 96000 | 97920 | 108120 | 108120 | 108120 | 108120 | 45429.36 | 29871.36 | 29871.36 | 29871.36 | 29871.36 | 30468.7872 | 33642.6192 | 33642.6192 | 33642.6192 | 33642.6192 | 191429.36 | 125871.36 | 125871.36 | 125871.36 | 125871.36 | 128388.7872 | 141762.6192 | 141762.6192 | 141762.6192 | 141762.6192 | 151.5 | 151.5 | 151.5 | 151.5 | 151.5 | 139.9517 | 154.53 | 154.53 | 154.53 | 154.53
R24_D_ND_CALVF_Augment_LV_Fdr_Capacity | Upgrade LV Feeder for Capacity (Feeder Constraints) | CALVF | Augex | 0% | 50% | 220000 | 220000 | 220000 | 220000 | 220000 | 224400 | 224400 | 224400 | 224400 | 224400 | 68455.2 | 68455.2 | 68455.2 | 68455.2 | 68455.2 | 69824.304 | 69824.304 | 69824.304 | 69824.304 | 69824.304 | 288455.2 | 288455.2 | 288455.2 | 288455.2 | 288455.2 | 294224.304 | 294224.304 | 294224.304 | 294224.304 | 294224.304 | 205.1137 | 205.1137 | 205.1137 | 205.1137 | 205.1137 | 209.216 | 209.216 | 209.216 | 209.216 | 209.216
R24_D_ND_CATXU_Aug_Dist_Sub | Upgrade Ground Mounted Substation (Capacity Constraints) | CATXU | Augex | 60% | 0% | 343095.6 | 343095.6 | 343095.6 | 343095.6 | 343095.6 | 90769.8 | 90769.8 | 90769.8 | 90769.8 | 90769.8 | 106757.6269 | 106757.6269 | 106757.6269 | 106757.6269 | 106757.6269 | 28243.931 | 28243.931 | 28243.931 | 28243.931 | 28243.931 | 449853.2269 | 449853.2269 | 449853.2269 | 449853.2269 | 449853.2269 | 119013.731 | 119013.731 | 119013.731 | 119013.731 | 119013.731 | 209.9999 | 209.9999 | 209.9999 | 209.9999 | 209.9999 | 55.5578 | 55.5578 | 55.5578 | 55.5578 | 55.5578
R24_D_ND_CAZNC_Augment_Zone_SubTrans | Upgrade Sub-Transmission Feeder for Capacity (Feeder Constraints) | CAZNC | Augex | 75% | 0% | 596000 | 596000 | 416000 | 656000 | 564000 | 575280 | 575280 | 575280 | 575280 | 575280 | 185451.36 | 185451.36 | 129442.56 | 204120.96 | 175494.24 | 179004.1248 | 179004.1248 | 179004.1248 | 179004.1248 | 179004.1248 | 781451.36 | 781451.36 | 545442.56 | 860120.96 | 739494.24 | 754284.1248 | 754284.1248 | 754284.1248 | 754284.1248 | 754284.1248 | 1900 | 1900 | 1900 | 1900 | 1900 | 1932.5177 | 1932.5177 | 1932.5177 | 1932.5177 | 1932.5177
R24_D_SB_REGMS_GMS_Replacement of GMS | Replacement of ground mounted substations (Kiosks) | REGMS | Repex | 100% | 0% | 5677 | 5677 | 5677 | 5677 | 5677 | 5677 | 5677 | 5677 | 5677 | 5677 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 1766.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 7443.4553 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
R24_D_OH_RETXL_Replace-OH_Transformer | Replace OH Transformers | RETXL | Repex | 100% | 0% | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 222288.1778 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 69167.1894 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 291455.3672 | 1530 | 1530 | 1530 | 1530 | 1530 | 1530 | 1530 | 1530 | 1530 | 1530
R24_D_CA_SOLCP_Crossover_Extension_OH | CNMAI Non-Major Works Residential Customer Connections | SOLCP | Customer | 0.0359% | 14.59% | 1208293 | 1221941 | 1210429 | 1202222 | 1193469 | 1217338.38 | 1241685.1476 | 1266518.8506 | 1291849.2276 | 1317686.2121 | 375972.4499 | 380219.1616 | 376637.0876 | 374083.3975 | 371359.814 | 378787.0103 | 386362.7505 | 394090.0055 | 401971.8056 | 410011.2418 | 1584265.4499 | 1602160.1616 | 1587066.0876 | 1576305.3975 | 1564828.814 | 1596125.3903 | 1628047.8981 | 1660608.8561 | 1693821.0332 | 1727697.4539 | 65 | 65 | 65 | 65 | 65 | 65.542 | 66.8529 | 68.1899 | 69.5537 | 70.9448
R24_D_CA_SOPOR_Permanent_Residence_OH | CNMAI Non-Major Works Residential Customer Connections | SOPOR | Customer | 0.5396% | 5.208% | 1598457 | 1621567 | 1611296 | 1601025 | 1590754 | 1622569.08 | 1655020.4616 | 1688120.8708 | 1721883.2882 | 1756320.954 | 497375.8801 | 504566.7877 | 501370.8634 | 498174.939 | 494979.0146 | 504878.5949 | 514976.1668 | 525275.6902 | 535781.204 | 546496.8281 | 2095832.8801 | 2126133.7877 | 2112666.8634 | 2099199.939 | 2085733.0146 | 2127447.6749 | 2169996.6284 | 2213396.561 | 2257664.4922 | 2302817.7821 | 3963.6667 | 3963.6667 | 3963.6667 | 3963.6667 | 3963.6667 | 4008.0042 | 4088.1643 | 4169.9276 | 4253.3262 | 4338.3927
R24_D_CA_SOSDI_Subdivision_OH | CSUDN Customer Initiated Subdivisions | SOSDI | Customer | 0.07673% | 3.15% | 584272 | 592719 | 588965 | 585210 | 581456 | 593085.12 | 604946.8224 | 617045.7588 | 629386.674 | 641974.4075 | 181802.0755 | 184430.444 | 183262.3494 | 182093.9436 | 180925.849 | 184544.3659 | 188235.2533 | 191999.9583 | 195839.9575 | 199756.7566 | 766074.0755 | 777149.444 | 772227.3494 | 767303.9436 | 762381.849 | 777629.4859 | 793182.0757 | 809045.7172 | 825226.6315 | 841731.1641 | 520.3333 | 520.3333 | 520.3333 | 520.3333 | 520.3333 | 526.1537 | 536.6767 | 547.4103 | 558.3585 | 569.5256
R24_D_CA_SUPOR_Permanent_Residence_UG | CNMAI Non-Major Works Residential Customer Connections | SUPOR | Customer | 0.3385% | 12.26% | 1693672 | 1718159 | 1707276 | 1696393 | 1685510 | 1719220.2 | 1753604.604 | 1788676.6961 | 1824450.23 | 1860939.2346 | 527002.9795 | 534622.3544 | 531236.0002 | 527849.6459 | 524463.2916 | 534952.5574 | 545651.6086 | 556564.6408 | 567695.9336 | 579049.8522 | 2220674.9795 | 2252781.3544 | 2238512.0002 | 2224242.6459 | 2209973.2916 | 2254172.7574 | 2299256.2126 | 2345241.3368 | 2392146.1636 | 2439989.0868 | 821.6667 | 821.6667 | 821.6667 | 821.6667 | 821.6667 | 830.8577 | 847.4749 | 864.4244 | 881.7128 | 899.3471
R24_D_CA_SUSBD_Subdivision_UG | CSUDN Customer Initiated Subdivisions | SUSBD | Customer | 0.07335% | 3.517% | 6771621 | 6869524 | 6826011 | 6782499 | 6738986 | 6873765.72 | 7011241.0344 | 7151465.8551 | 7294495.1722 | 7440385.0756 | 2107057.5904 | 2137521.0878 | 2123981.5828 | 2110442.3888 | 2096902.8838 | 2138840.9414 | 2181617.7603 | 2225250.1155 | 2269755.1178 | 2315150.2201 | 8878678.5904 | 9007045.0878 | 8949992.5828 | 8892941.3888 | 8835888.8838 | 9012606.6614 | 9192858.7947 | 9376715.9706 | 9564250.29 | 9755535.2958 | 1690 | 1690 | 1690 | 1690 | 1690 | 1708.9039 | 1743.082 | 1777.9436 | 1813.5025 | 1849.7725

## Supporting Calculations
TasNetworks LRMC Model
2024-2029 regulatory control period
Calculation 1 ¦ Voltage Level Coincident Demand
Tariff Class | High Voltage Demand | Low Voltage Demand
Residential | 644.0926 | 644.0926
Small business LV | 146.242 | 146.242
Large business LV | 71.4114 | 71.4114
Large Business HV | 118.6816 | 0
Irrigation | 5.9989 | 5.9989
Unmetered Supply | 8.3639 | 8.3639
Demand by voltage level | 994.7905 | 876.1088
Demand by voltage level (%) | 11.93% | 88.07%
Calculation 2 ¦ Discount Factors
| 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34
Discount factor | 1 | 0.94536 | 0.8931 | 0.84314 | 0.79518 | 0.74995 | 0.70729 | 0.66706 | 0.62911 | 0.59333

## LRMC Calculations
TasNetworks LRMC Model
2024-2029 regulatory control period
Calculation 3 ¦ LRMC Capex
Augex / Repex | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total
High Voltage | 1270568.3716 | 1270845.9441 | 1115885.9751 | 1226488.6146 | 1188464.9746 | 1002354.3614 | 950196.4166 | 1003691.7446 | 950196.4166 | 1003691.7446 | 10982384.5638
Low Voltage | 254426.9923 | 402626.4237 | 326627.0011 | 144227.6 | 144227.6 | 147112.152 | 147112.152 | 147112.152 | 147112.152 | 147112.152 | 2007696.3771
Total | 1524995.3639 | 1673472.3679 | 1442512.9761 | 1370716.2146 | 1332692.5746 | 1149466.5134 | 1097308.5686 | 1150803.8966 | 1097308.5686 | 1150803.8966 | 12990080.9409
Customer Connections | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total
High Voltage | 26494.9334 | 26876.1931 | 26704.1819 | 26533.7263 | 26363.0137 | 26890.274 | 27428.0794 | 27976.641 | 28536.1739 | 29106.8973 | 272910.114
Low Voltage | 949057.1689 | 962047.2519 | 955231.7232 | 949048.631 | 942761.0536 | 961616.2747 | 980848.6002 | 1000465.5722 | 1020474.8836 | 1040884.3813 | 9762435.5407
Total | 975552.1024 | 988923.4449 | 981935.9051 | 975582.3573 | 969124.0673 | 988506.5487 | 1008276.6796 | 1028442.2132 | 1049011.0575 | 1069991.2786 | 10035345.6547
Total Capex | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total
High Voltage | 1297063.305 | 1297722.1372 | 1142590.157 | 1253022.3409 | 1214827.9883 | 1029244.6354 | 977624.496 | 1031668.3856 | 978732.5904 | 1032798.6419 | 11255294.6778
Low Voltage | 1203484.1612 | 1364673.6756 | 1281858.7243 | 1093276.231 | 1086988.6536 | 1108728.4267 | 1127960.7522 | 1147577.7242 | 1167587.0356 | 1187996.5333 | 11770131.9178
Total | 2500547.4662 | 2662395.8128 | 2424448.8812 | 2346298.5719 | 2301816.642 | 2137973.0621 | 2105585.2482 | 2179246.1098 | 2146319.6261 | 2220795.1752 | 23025426.5956
Calculation 4 ¦ LRMC Capex (re-allocated)
Total Capex: re-allocated by coincident demand | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total
High Voltage | 154743.7338 | 154822.3346 | 136314.6012 | 149489.5082 | 144932.8018 | 122792.1238 | 116633.6787 | 123081.2848 | 116765.8779 | 123216.1279 | 1342792.0727
Low Voltage | 2345803.7324 | 2507573.4782 | 2288134.28 | 2196809.0637 | 2156883.8402 | 2015180.9383 | 1988951.5695 | 2056164.825 | 2029553.7482 | 2097579.0473 | 21682634.5229
Total | 2500547.4662 | 2662395.8128 | 2424448.8812 | 2346298.5719 | 2301816.642 | 2137973.0621 | 2105585.2482 | 2179246.1098 | 2146319.6261 | 2220795.1752 | 23025426.5956
Annualised Capex | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total
High Voltage | 9906.174 | 10004.9128 | 8891.6884 | 9842.1561 | 9670.4753 | 8193.1639 | 7782.2487 | 8212.4578 | 7791.0695 | 8221.4551 | 88515.8018
Low Voltage | 150170.475 | 162044.1528 | 149253.1021 | 144634.4824 | 143915.6054 | 134460.6415 | 132710.5169 | 137195.2444 | 135419.6508 | 139958.561 | 1429762.4325
Total | 160076.649 | 172049.0657 | 158144.7905 | 154476.6385 | 153586.0807 | 142653.8054 | 140492.7656 | 145407.7023 | 143210.7203 | 148180.0161 | 1518278.2343
Cumulative Annualised Capex | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total NPV
High Voltage | 9906.174 | 19911.0869 | 28802.7753 | 38644.9313 | 48315.4066 | 56508.5706 | 64290.8193 | 72503.2771 | 80294.3467 | 88515.8018 | 364702.4402
Low Voltage | 150170.475 | 312214.6279 | 461467.73 | 606102.2124 | 750017.8178 | 884478.4593 | 1017188.9762 | 1154384.2207 | 1289803.8715 | 1429762.4325 | 5777428.1701
Total | 160076.649 | 332125.7147 | 490270.5053 | 644747.1437 | 798333.2245 | 940987.0299 | 1081479.7955 | 1226887.4978 | 1370098.2181 | 1518278.2343 | 6142130.6103
Calculation 5 ¦ LRMC Opex
Cumulative Opex | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total NPV
High Voltage | 6963.468 | 13930.4731 | 20064.6301 | 26791.658 | 33313.6341 | 38839.2797 | 44087.7952 | 49626.453 | 54880.9175 | 60425.6433 | 250923.8647
Low Voltage | 105561.168 | 218401.9745 | 321368.0171 | 420224.4249 | 517284.1978 | 607967.34 | 697470.1606 | 789997.5777 | 881327.4964 | 975718.5535 | 3974282.921
Total | 112524.636 | 232332.4476 | 341432.6472 | 447016.0829 | 550597.8318 | 646806.6196 | 741557.9558 | 839624.0307 | 936208.4139 | 1036144.1968 | 4225206.7857
Calculation 6 ¦ LRMC Incremental Capacity
Incremental Capacity by Voltage Level | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | Total NPV
Total Incremental Capacity (kVA) | 11.9217 | 11.5421 | 12.0013 | 11.2573 | 11.8003 | 11.7606 | 11.3641 | 12.0636 | 11.6583 | 12.3637 | 92.0008
Incremental Capacity: High Voltage | 1.4223 | 1.377 | 1.4318 | 1.343 | 1.4078 | 1.4031 | 1.3558 | 1.4392 | 1.3909 | 1.475 | 10.976
Incremental Capacity: Low Voltage | 10.4994 | 10.1651 | 10.5695 | 9.9143 | 10.3925 | 10.3575 | 10.0083 | 10.6244 | 10.2674 | 10.8886 | 81.0248

## LRMC by VL
TasNetworks LRMC Model
2024-2029 regulatory control period
Output 1 ¦ LRMC by Voltage Level
Voltage Level | LRMC ($/kVA pa)
High Voltage | 56.0885
Low Voltage | 120.3546