## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input_Actual | 100 | A user driven input for actual figures
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount
| 100 | AER draft decision
| 100 | RRP change
| 100 | AER adjustments

## Project List-AER DD
United Energy - Augmentation | [8 empty] | Menu
Project List-AER DD
TRUE
105313490.6701
Augmentation Project List
$2019
| Material Code | Project description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total | Solar and comms augex | Bushfire augex | Trad augex or zero
| DOA | Subtransmission fdr works - CBTS | 0 | 0 | 0 | 0 | 0 | 202954.161 | 281086.3048 | 484040.4658 | 0 | 0 | 1
| DOA | BT-MR 66kV - thermal uprate | 0 | 0 | 0 | 0 | 0 | 60005.0638 | 83105.4735 | 143110.5373 | 0 | 0 | 1
| DOA | Upgrade disconnector & droppers switch on TSTS-DC #2 | 0 | 0 | 0 | 0 | 0 | 29705.4779 | 41141.3246 | 70846.8024 | 0 | 0 | 1
| DOA | GWNO combine with EB loop | 0 | 0 | 0 | 0 | 0 | 0 | 205706.6137 | 205706.6137 | 0 | 0 | 1
| DLA | Pole top cap bank temperature switches | 213108.4 | 113108.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | DVY12 new 22kV feeder | 382875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | M32 feeder exit cable upgrade | 239234.5 | 47846.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | HV switch deployment inflight | 59935.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | M11 feeder reconductor | 24326.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | EW14 load transfer | 25800 | 5160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | Install HV switches - FTN14 | 15457.465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | New feeder - MGE | 755564.16 | 755564.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | BH new feeder | 584544.25 | 584544.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | New feeder - OE | 542920.32 | 542920.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | EM01 upgrade | 271460.16 | 271460.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | FSH12 feeder extension | 147945.795 | 147945.795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSA | HV switches - annual program | 191844.03 | 183688.07 | 118825.1817 | 129907.3853 | 129336.0996 | 120604.2521 | 167033.7942 | 665706.7129 | 0 | 0 | 1
| DSA | New feeder - HGS 11 | 0 | 1004855.09 | 650026.3308 | 0 | 0 | 0 | 0 | 650026.3308 | 0 | 0 | 1
| DSA | New feeder - OR | 0 | 813475.66 | 526225.7252 | 0 | 0 | 0 | 0 | 526225.7252 | 0 | 0 | 1
| DSA | MTN supply area - new feeder | 0 | 444289.825 | 287404.709 | 0 | 0 | 0 | 0 | 287404.709 | 0 | 0 | 1
| DSA | Feeder reconductor - FTN | 0 | 233908.185 | 151311.8466 | 0 | 0 | 0 | 0 | 151311.8466 | 0 | 0 | 1
| DSA | KBH35 feeder reconductoring | 0 | 71032.08 | 45949.6327 | 0 | 0 | 0 | 0 | 45949.6327 | 0 | 0 | 1
| DSA | New feeder - RDB | 0 | 0 | 669928.0813 | 732408.772 | 0 | 0 | 0 | 1402336.8534 | 0 | 0 | 1
| DSA | New feeder - FSH 24 | 0 | 0 | 523298.9978 | 572104.3603 | 0 | 0 | 0 | 1095403.3581 | 0 | 0 | 1
| DSA | New feeder - DSH | 0 | 0 | 324866.8269 | 355165.4579 | 0 | 0 | 0 | 680032.2848 | 0 | 0 | 1
| DSA | MR33 load transfer | 0 | 0 | 99801.4296 | 109109.3874 | 0 | 0 | 0 | 208910.817 | 0 | 0 | 1
| DSA | KBH32 feeder reconductor | 0 | 0 | 28974.6095 | 31676.9199 | 0 | 0 | 0 | 60651.5295 | 0 | 0 | 1
| DSA | EM supply area - new feeders (north) | 0 | 0 | 0 | 543947.1017 | 541555.0187 | 0 | 0 | 1085502.1204 | 0 | 0 | 1
| DSA | EM supply area - new feeders (south) | 0 | 0 | 0 | 522829.155 | 520529.9412 | 0 | 0 | 1043359.0962 | 0 | 0 | 1
| DSA | EM supply area - new feeders (east) | 0 | 0 | 0 | 519309.4973 | 517025.7616 | 0 | 0 | 1036335.2589 | 0 | 0 | 1
| DSA | EW12 feeder exit upgrade | 0 | 0 | 0 | 89911.2563 | 89515.8591 | 0 | 0 | 179427.1154 | 0 | 0 | 1
| DSA | New feeder - EB | 0 | 0 | 0 | 0 | 531679.6019 | 495784.4017 | 0 | 1027464.0035 | 0 | 0 | 1
| DSA | Feeder extension - LWN23 | 0 | 0 | 0 | 0 | 101302.6453 | 94463.4159 | 0 | 195766.0612 | 0 | 0 | 1
| DSA | New feeder - LD 34 | 0 | 0 | 0 | 0 | 0 | 493407.9629 | 683357.3668 | 1176765.3297 | 0 | 0 | 1
| DSA | MC new feeder | 0 | 0 | 0 | 0 | 0 | 320522.091 | 443914.8708 | 764436.9618 | 0 | 0 | 1
| DSA | CRM 24 feeder extension | 0 | 0 | 0 | 0 | 0 | 126545.3293 | 175262.0336 | 301807.3629 | 0 | 0 | 1
| DSA | OR 25 upgrade feeder | 0 | 0 | 0 | 0 | 0 | 74263.6898 | 102853.3046 | 177116.9944 | 0 | 0 | 1
| DSA | OAK 22 extension | 0 | 0 | 0 | 0 | 0 | 63866.7743 | 88453.8435 | 152320.6178 | 0 | 0 | 1
| DSA | New feeder BR | 0 | 0 | 0 | 0 | 0 | 0 | 372990.552 | 372990.552 | 0 | 0 | 1
| DSA | DMA12 feeder extension | 0 | 0 | 0 | 0 | 0 | 0 | 260835.9667 | 260835.9667 | 0 | 0 | 1
| DSA | MR15 load transfer | 0 | 0 | 0 | 0 | 0 | 0 | 181907.6775 | 181907.6775 | 0 | 0 | 1
| DSA | BU reconductor | 0 | 0 | 0 | 0 | 0 | 0 | 130371.1981 | 130371.1981 | 0 | 0 | 1
| DSA | NW21 feeder reconductor | 0 | 0 | 0 | 0 | 0 | 0 | 123969.5058 | 123969.5058 | 0 | 0 | 1
| DSA | BR1 feeder exit upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 83516.8971 | 83516.8971 | 0 | 0 | 1
| DSA | DN feeder augmentation | 0 | 0 | 0 | 0 | 0 | 0 | 78168.5408 | 78168.5408 | 0 | 0 | 1
| DSA | MR 24 cable upgrades | 0 | 0 | 0 | 0 | 0 | 0 | 69150.3357 | 69150.3357 | 0 | 0 | 1
| DSA | SR line upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 52100.3027 | 52100.3027 | 0 | 0 | 1
| DSA | BU01 feeder upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 37273.6139 | 37273.6139 | 0 | 0 | 1
| DSJ | Pole transfromer upgrades (200-500KVA) | 1018800.7276 | 1018800.7276 | 659047.5635 | 720513.4852 | 717344.927 | 668914.9333 | 926430.0169 | 3692250.9259 | 0 | 0 | 1
| DSM | Pole transformer upgrades (< 200KVA) | 239300.8728 | 239300.8728 | 154800.2989 | 169237.7137 | 168493.4673 | 157117.9947 | 217604.3907 | 867253.8654 | 0 | 0 | 1
71.73% | PRA | Network communications: 3G shutdown | 0 | 0 | 2051565.9069 | 2051565.9069 | 0 | 0 | 0 | 4103131.8137 | 1 | 0 | 0
| DSA | Demand management - HV feeders | -1298485.02 | -3116815.02 | -2018270.2807 | -920549.394 | 939757.8109 | 1876496.11 | 1747844.2876 | 1625278.5338 | 0 | 0 | 1
| DSA | LV grid battery | 397449 | 181549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSS | Playne N16 Nepean DS - access breach | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSS | Dist sub LV circuit fuse upgrades | 45646.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DSS | DSS P1 - annual program | 1596365.83 | 2588000.04 | 1577754.0827 | 1408069.6441 | 840703.996 | 751773.7322 | 588339.0557 | 5166640.5107 | 0 | 0 | 1
| DSS | DSS P2 - annual program | 1229580.49 | 1244000.04 | 772381.4575 | 844417.4391 | 1226554.7694 | 849602.7471 | 1674083.7064 | 5367040.1195 | 0 | 0 | 1
| DSS | DSS P3 - annual program | 664000 | 795999.96 | 643651.2404 | 1020514.5432 | 1191349.3813 | 1437890.3197 | 1945974.4633 | 6239379.9479 | 0 | 0 | 1
| DSS | Demand management - DSS | 0 | -447909.96 | -386326.5747 | -246373.2575 | -350420.0428 | -914931.5801 | -1764926.1609 | -3662977.616 | 0 | 0 | 1
| DZA | DSH normalisation project | 198510.48 | 198510.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at MR | 113108.41 | 113108.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| DZA | KBH supply area - 2nd transformer | 0 | 0 | 2731152.5025 | 1470653.7779 | 0 | 0 | 0 | 4201806.2804 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at CFD | 0 | 113108.405 | 73168.2033 | 0 | 0 | 0 | 0 | 73168.2033 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at STO | 0 | 113108.405 | 73168.2033 | 0 | 0 | 0 | 0 | 73168.2033 | 0 | 0 | 1
| DZA | EM supply area - new switchboard | 0 | 0 | 0 | 1295278.8312 | 635167.58 | 0 | 0 | 1930446.4112 | 0 | 0 | 1
| DZA | DC supply area - 4th transformer | 0 | 0 | 0 | 0 | 2910845.4698 | 1336906.8474 | 0 | 4247752.3172 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at OR | 0 | 0 | 0 | 79992.2192 | 79640.4423 | 0 | 0 | 159632.6614 | 0 | 0 | 1
| DZA | MTN supply area - 3rd transformer | 0 | 0 | 0 | 0 | 0 | 2985400.382 | 2036495.467 | 5021895.8489 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at FTN | 0 | 0 | 0 | 0 | 79640.4458 | 74263.6931 | 0 | 153904.1389 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at K | 0 | 0 | 0 | 0 | 79640.4423 | 74263.6898 | 0 | 153904.132 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at MGE | 0 | 0 | 0 | 0 | 0 | 74263.6931 | 102853.3091 | 177117.0022 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at EL | 0 | 0 | 0 | 0 | 0 | 74263.6898 | 102853.3046 | 177116.9944 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at GW | 0 | 0 | 0 | 0 | 0 | 0 | 102853.3091 | 102853.3091 | 0 | 0 | 1
| DZA | Automatic load shedding scheme at RBD | 0 | 0 | 0 | 0 | 0 | 0 | 102853.3091 | 102853.3091 | 0 | 0 | 1
| DSA | New feeder - WD | 0 | 0 | 0 | 0 | 362523.3006 | 338048.3227 | 0 | 700571.6233 | 0 | 0 | 1
| PDA | ACR and RCGS Installation | 239529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | ACR and RCGS Installations Phase 3-1 Inflight |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | BR4 ACR and RCGS installation | 228761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch inflight | 191412.035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | HGS33 ACR and RCGS Installations Inflight | 500500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch phase #3 | 250000.02 | 250000.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch phase #2 | 250000.02 | 250000.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch phase #4 | 250000.02 | 250000.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch phase #5 | 250000.02 | 250000.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install RC switch phase #1 | 250000.02 | 250000.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Rogue feeder inflight |  | 499999.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Install NER at K ZSS | 249578.395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | CRM NER installation | 214057.1 | 18171.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Distribution system ACRs - annual program | 483500 | 425000 | 425000 | 425000 | 425000 | 425000 | 425000 | 2125000 | 0 | 1 | 0
| PDD | Conductor clearance surveys on MTN23 and STO21 | 2910.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDD | Online PD monitoring for distribution network | 200000 | 200000 | 200000 | 200000 | 100000 | 0 | 0 | 500000 | 0 | 1 | 0
| PDA | Remote comms to Fuse Saver | 45835.195 | 36000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PDA | Siemens fuse saver - annual program | 177015.655 | 177831.295 | 127031.28 | 127031.28 | 127031.28 | 127031.28 | 127031.28 | 635156.4 | 0 | 1 | 0
| PDD | Line safety-clearances remediation - annual program | 1756860.555 | 2000000 | 1022079.3156 | 1082042.4471 | 397820.5676 | 0 | 0 | 2501942.3303 | 0 | 0 | 1
| PDD | Clashing HBRA | 350000 | 350000 | 129377.1286 | 141443.4571 | 140821.4399 | 131314.1844 | 181866.7757 | 724822.9857 | 0 | 0 | 1
| PDD | ZSS - fault clearances |  |  | 239347.6878 | 261670.3957 | 260519.6638 | 242931.2412 | 336453.535 | 1340922.5235 | 0 | 0 | 1
| PDP | Possum proofing - annual program | 255625 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 2556250.2 | 0 | 1 | 0
| PDH | HV spreaders | 124997.1306 | 124997.1306 | 80858.8491 | 74192.9674 | 58150.3758 | 54224.4787 | 75099.5115 | 342526.1825 | 0 | 0 | 1
| PDL | LV line clashing mitigation | 167450.2972 | 167450.2972 | 108321.1931 | 118423.7447 | 117902.9598 | 109942.9961 | 152268.2282 | 606859.1218 | 0 | 0 | 1
| PDV | Installation of dampers | 112536.7903 | 112536.7903 | 72798.4339 | 79587.9634 | 79237.9643 | 73888.3842 | 102333.516 | 407846.2618 | 0 | 0 | 1
| PRA | Point to Multipoint Radio Netwk Trial | 57121.145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PRA | Distributed Load Shed via ICCP | 45990.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| VMM | Communications devices - annual program | 0 | 0 | 313178.1424 | 327380.5311 | 341125.0536 | 374921.3073 | 533149.2092 | 1889754.2436 | 1 | 0 | 0
| VMM | Communications devices - 5-minute settlement | 0 | 0 | 833248.599 | 616657.6872 | 598252.7252 | 609572.41 | 631983.7437 | 3289715.165 | 1 | 0 | 0
| PQA | DVMS | 700000 | 98900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PQA | Dynamic voltage regulation | 276757.745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PQA | Power quality meters | 54292.06 | 54292.06 | 35120.7671 | 38396.2975 | 38227.4444 | 35646.601 | 49369.6277 | 196760.7376 | 0 | 0 | 1
| PQA | BH BTOS | 18571.475 | 928.555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PQA | Tap Change - Batch 9 | 14801.115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PQA | Power quality rectification capex | 452433.6 | 452433.6 | 292672.8001 | 319968.8625 | 318561.755 | 297054.746 | 411413.2002 | 1639671.3639 | 0 | 0 | 1
| PQA | EL BTOS | 45243.365 | 45243.365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PQA | MC BTOS | 45243.365 | 45243.365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
-68.67% | PQA | Solar Enablement initiative | 0 | 0 | 2249408.5241 | 2871585.3659 | 2608358.2739 | 2775865.8662 | 2249408.5241 | 12754626.5541 | 1 | 0 | 0
| PQA | Terminal station PQ meters (ERTS/ SVTS) | 0 | 90486.725 | 58534.5633 | 0 | 0 | 0 | 0 | 58534.5633 | 0 | 0 | 1
| PQA | DN BTOS | 0 | 45243.365 | 29267.2832 | 0 | 0 | 0 | 0 | 29267.2832 | 0 | 0 | 1
| PQA | BU BTOS | 0 | 22621.68 | 14633.64 | 0 | 0 | 0 | 0 | 14633.64 | 0 | 0 | 1
| PQA | SR BTOS | 0 | 22621.68 | 14633.64 | 0 | 0 | 0 | 0 | 14633.64 | 0 | 0 | 1
| PQA | Terminal station PQ meters (MTS / TSTS) | 0 | 0 | 43900.9233 | 47995.3329 | 0 | 0 | 0 | 91896.2562 | 0 | 0 | 1
| PQA | FSH BTOS | 0 | 0 | 29267.2832 | 31996.8898 | 0 | 0 | 0 | 61264.173 | 0 | 0 | 1
| PQA | BT BTOS | 0 | 0 | 14633.64 | 15998.4431 | 0 | 0 | 0 | 30632.0831 | 0 | 0 | 1
| PQA | HGS BTOS | 0 | 0 | 14633.64 | 15998.4431 | 0 | 0 | 0 | 30632.0831 | 0 | 0 | 1
| PQA | HT BTOS | 0 | 0 | 0 | 31996.8898 | 31856.179 | 0 | 0 | 63853.0688 | 0 | 0 | 1
| PQA | Terminal station PQ meters (RTS / TBTS) | 0 | 0 | 0 | 31996.8898 | 31856.179 | 0 | 0 | 63853.0688 | 0 | 0 | 1
| PQA | EM BTOS | 0 | 0 | 0 | 15998.4431 | 15928.0877 | 0 | 0 | 31926.5309 | 0 | 0 | 1
| PQA | Terminal station PQ meters (HTS / RWTS) | 0 | 0 | 0 | 0 | 47784.2668 | 44558.2152 | 0 | 92342.482 | 0 | 0 | 1
| PQA | GW BTOS | 0 | 0 | 0 | 0 | 31856.179 | 29705.4779 | 0 | 61561.6569 | 0 | 0 | 1
| PQA | SV BTOS | 0 | 0 | 0 | 0 | 15928.0877 | 14852.7373 | 0 | 30780.825 | 0 | 0 | 1
| PQA | DVY BTOS | 0 | 0 | 0 | 0 | 0 | 29705.4779 | 41141.3246 | 70846.8024 | 0 | 0 | 1
| PQA | Terminal station PQ meters (CBTS) | 0 | 0 | 0 | 0 | 0 | 14852.7373 | 20570.66 | 35423.3973 | 0 | 0 | 1
| OTP | Nwk Anl Ptfm - Asset Ovrlld Prot Scheme - PoC | 209442.295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | LV network management - network analytics | 193387.915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | LidarAM | 187500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Frequency control | 130542.525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Early fire start detection and prevention productionising | 53102.045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Storm impact prediction | 48653.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Work order automation - metering | 44251.705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Field comms to DMS remediation | 39826.535 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Early Fire start detection and Prevention PoC | 37613.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | DMS job ptioritisation - storm mode | 30976.195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Self Serve portal enhancements | 22125.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | 10 Sec algorythm enhancements | 17700.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Work order automation - service mains replacements | 17700.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Fuse saver, covered conductor and SWER monitoring | 15488.095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | FLISR 2 communications | 13275.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Phase identification enhancements | 13275.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Spatial visualisation tool | 10293.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Metering RIN reporting automation (Part 1) | 8850.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Work order automation - communications | 8850.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Future grid operational dashboard | 6637.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | LV Management engancements - Ph 2 | 4425.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| OTP | Digital network: network devices | 0 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 6543646.596 | 1 | 0 | 0
| OTP | OT security (network component) | 156442.5 | 260737.48 | 134933.8504 | 147518.4253 | 146869.6925 | 136954.1024 | 189677.9173 | 755953.9879 | 0 | 0 | 1
| OTP | Disturbance recorders and fault detection | 78221.25 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 782212.5 | 0 | 1 | 0
| OTP | Service mains deterioration (field work) | 52147.52 | 104295.04 | 67466.964 | 73759.2551 | 73434.8885 | 68477.0906 | 94839.0132 | 377977.2114 | 0 | 0 | 1
| PDD | CMEN sdoption for other dtructures | 463750.02 | 927500.04 | 299993.2298 | 0 | 0 | 0 | 0 | 299993.2298 | 0 | 0 | 1
| PDD | Installation of armour rods in HBRA | 50000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000 | 0 | 1 | 0
| PDD | Installation of LV service break away devices | 50000 | 100000 | 64688.5643 | 70721.7286 | 70410.7199 | 65657.0922 | 45466.6939 | 316944.7989 | 0 | 0 | 1
| PRA | Remote IED management rollout inflight | 27679.155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PRA | Cross Boundary metering | 0 | 464100 | 300219.6268 | 0 | 0 | 0 | 0 | 300219.6268 | 0 | 0 | 1
| PZA | ZSS DC performance | 315878.06 | 6526.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | Upgrade non-dir BUEF schemes at FSH, DMA and SVW | 85262.455 | 21495.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | DC performance works at K | 64821.91 | 29169.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | CRM ZSS DC Perf - PSD (Design & Supply) | 34663.47 | 5431.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | MGE ZSS DC outstanding works | 23986.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | STO ZSS DC performance outstanding works | 20316.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | BH NER monitoring | 12799.09 | 639.945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | ZSS DC annual program | 319999.98 | 574999.98 | 329911.6778 | 300567.3323 | 239396.4196 | 235380.6756 | 325996.1954 | 1431252.3007 | 0 | 0 | 1
| PZA | Planned outage generation capacity | 0 | 0 | 1364928.6804 | 0 | 0 | 0 | 0 | 1364928.6804 | 0 | 0 | 1
| PZA | Islanding or anti-islanding using synchrophasors | 0 | 0 | 194389.1615 | 212518.8226 | 0 | 0 | 0 | 406907.9842 | 0 | 0 | 1
| PZA | Neutral earthing resistor monitoring | 0 | 0 | 132288.1139 | 144625.9349 | 143989.9223 | 134268.7536 | 185958.7781 | 741131.5028 | 0 | 0 | 1
| PZA | Upgrading of keys as a result of patent expiry | 0 | 0 | 970328.4642 | 1060825.9285 | 0 | 0 | 0 | 2031154.3927 | 0 | 0 | 1
| PZA | Feasibility-improving protection sensitivity (HBRA) | 0 | 0 | 0 | 0 | 0 | 0 | 38855 | 38855 | 0 | 1 | 0
| PDA | NER at DC | 0 | 0 | 0 | 0 | 193629.4798 | 180557.0036 | 0 | 374186.4834 | 0 | 0 | 1
| PZA | DMA REFCL | 1445752.075 | 356779.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | SWER conductor failure detector R&D | 135117.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | MTN REFCL | 449225.06 | 317000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| PZA | REFCL enhancements at MTN, DMA and FSH | 51125 | 109918.75 | 411045 | 352251.25 | 0 | 0 | 0 | 763296.25 | 0 | 1 | 0
| DSA | WD36 feeder upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 108456.2335 | 108456.2335 | 0 | 0 | 1
|  |  | 20951424.3585 | 19855577.7477 | 22453268.501 | 22814263.0697 | 20042558.3814 | 20155181.9123 | 19848218.8056 | 105313490.6701
|  | Solar and comms augex |  |  | 6756130.4915 | 7175918.8102 | 4856465.3719 | 5069088.9027 | 4723270.7961 | 28580874.3724
|  | Bushfire augex |  |  | 1930768.82 | 1871975.07 | 1419723.82 | 1319723.82 | 1358578.82 | 7900770.35
|  | Trad augex |  |  | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 68831845.9477
|  | Trad augex proposed |  |  | 21280993.5471 | 19465543.9969 | 19551524.5438 | 20967071.0714 | 15138959.9763 | 96404093.1356
|  | Trad augex substitute |  |  | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 68831845.9477
|  | Trad augex reduction ratio |  |  | 64.69% | 70.72% | 70.41% | 65.66% | 90.93% | 71.4%
Note on C110: Author: Updated 19/8

## Project List-RRP
United Energy - Augmentation |  |  |  |  | AER draft decision |  |  |  | Menu
Project List-RRP |  |  |  |  | RRP change
Augmentation Project List
$2019
| Material Code | Project description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total | Solar and comms augex | Bushfire augex | Trad augex or zero
| PRA | Network communications: 3G shutdown | 0 | 0 | 2860142.8871 | 2860142.8871 | 0 | 0 | 0 | 5720285.7743 | 1 | 0 | 0
| PDA | Distribution system ACRs - annual program | 483500 | 425000 | 425000 | 425000 | 425000 | 425000 | 425000 | 2125000 | 0 | 1 | 0
| PDD | Online PD monitoring for distribution network | 200000 | 200000 | 200000 | 200000 | 100000 | 0 | 0 | 500000 | 0 | 1 | 0
| PDA | Siemens fuse saver - annual program | 177015.655 | 177831.295 | 127031.28 | 127031.28 | 127031.28 | 127031.28 | 127031.28 | 635156.4 | 0 | 1 | 0
| PDP | Possum proofing - annual program | 255625 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 511250.04 | 2556250.2 | 0 | 1 | 0
| VMM | Communications devices - annual program | 0 | 0 | 1102387.0612 | 1152379.4695 | 1200760.1886 | 1319723.0019 | 1876685.2162 | 6651934.9374 | 1 | 0 | 0
| VMM | Communications devices - 5-minute settlement | 0 | 0 | 833248.599 | 616657.6872 | 598252.7252 | 609572.41 | 631983.7437 | 3289715.165 | 1 | 0 | 0
| PQA | Solar Enablement initiative | 0 | 0 | 2249408.5241 | 2871585.3659 | 2608358.2739 | 2775865.8662 | 2249408.5241 | 12754626.5541 | 1 | 0 | 0
| OTP | Digital network: network devices | 0 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 1308729.3192 | 6543646.596 | 1 | 0 | 0
| OTP | Disturbance recorders and fault detection | 78221.25 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 156442.5 | 782212.5 | 0 | 1 | 0
| PDD | Installation of armour rods in HBRA | 50000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000 | 0 | 1 | 0
| PZA | Feasibility-improving protection sensitivity (HBRA) | 0 | 0 | 0 | 0 | 0 | 0 | 38855 | 38855 | 0 | 1 | 0
| PZA | REFCL enhancements at MTN, DMA and FSH | 51125 | 109918.75 | 411045 | 352251.25 | 0 | 0 | 0 | 763296.25 | 0 | 1 | 0
| DSA | Traditional augex - historical Average | 0 | 0 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 13766369.1895 | 68831845.9477
|  |  | 1295486.905 | 2989171.9042 | 24051054.4001 | 24447838.9884 | 20902193.5164 | 21099983.6068 | 21191754.8127 | 111692825.3245
End of Sheet

## Material Code
United Energy - Augmentation
Material Code
| Material Code | Description
| DLA | HV LINE CAPACITORS
| DOA | SUBTRANS O/HEAD LINE AUGMENTATION
| DSA | DISTRIBUTION SYSTEM AUGMENTATION
| DSJ | POLE TX UPGRADE 200-500KVA
| DSM | POLE TX UPGRADE < 200KVA
| DSS | DISTRIBUTION SUBSTATION SYSTEM
| DZA | ZONE SUBSTATION AUGMENTATION
| PDA | DISTRIBUTION SYSTEM ACR
| PDD | DISTRIBUTION SYSTEM
| PDP | POSSUM PROTECTION
| PQA | QUALITY OF SUPPLY
| PZA | SUBTRANS SYSTEM
| PRA | COMMUNICATIONS
| OTP | OPERATIONAL TECHNOLOGY
| PDH | HV SPREADERS
| PDL | LV LINE CLASHING MITIGATION
| PDV | FIT DAMPERS &/OR ARMOUR RODS
| VMM | 3 PHASE INTERVAL METER INSTALL
End of Sheet

## Inflation
United Energy - Augmentation | [5 empty] | AER draft decision | [5 empty] | Menu
Inflation | [5 empty] | RRP change
| Base Year | 2021
Inflation rates and conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Inflation
| Converstion Factor to 2021 | 1.211 | 1.1698 | 1.1468 | 1.1226 | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0283 | 1.0122 | 1
End of Sheet

## Historical Expenditure
United Energy - Augmentation | [9 empty] | Menu
Historical Expenditure
Historical Expenditure by RIN Category Augex Table 2.3.4
$ Nominal
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 14836717.5 | 21817699.485 | 15513179.6626 | 9565580.0307 | 3850816.4543 | 2764502.4403 | 2381198.4791 | 1394062.14
| As incurred | Subtransmission Lines | 6766007.5 | 4233695.91 | 3704669.495 | 3661901.3962 | 1996006.6208 | 2475430.4007 | 1372340.8561 | 516720.265
|  | HV Feeders | 4116504.96 | 4276599.315 | 4571800.6025 | 2884475.1 | 2254465.3802 | 2242134.2887 | 550664.401 | 711686.89
|  | HV Feeders - Land Purchases and Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations | 12295018.945 | 11533442.76 | 10104356.935 | 8789119.7252 | 4324657.4154 | 1922119.3186 | 3860951.8584 | 5222307.705
|  | Distribution Substations - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders | 1657310.095 | 1160839.385 | 1058720.17 | 1356595.8334 | 1072008.7973 | 1631645.6822 | 1544053.0733 | 410212.13
|  | LV Feeders - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other Assets | 409941 | 654013.79 | 274086.965 | 30096.4883 | 3665968.1858 | 10127030.4433 | 12922772.1058 | 12910771.035
|  | Totals | 40081500 | 43676290.645 | 35226813.83 | 26287768.5738 | 17163922.8539 | 21162862.5738 | 22631980.7737 | 21165760.165
End of Sheet

## Forecast Expenditure
United Energy - Augmentation | [13 empty] | Menu
Forecast Expenditure
Forecast Expenditure by RIN Category Augex Table 2.3.4
$ 2021
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 10738157.4157 | 4225352.8989 | 2988234.2657 | 2547838.52 | 1463324.4866 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| As incurred | Subtransmission Lines | 4110788.2122 | 2190141.3535 | 2675767.5588 | 1468379.4428 | 542392.9069 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | HV Feeders | 3238062.6774 | 2473738.217 | 2423590.7381 | 589200.768 | 747046.2206 | 0 | 0 | 14156213.2728 | 14156213.2728 | 14156213.2728 | 14156213.2728 | 14156213.2728
|  | HV Feeders - Land Purchases and Easements | $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Distribution Substations | 9866516.2857 | 4745280.3746 | 2077676.882 | 4131147.3844 | 5481771.9541 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations - Land Purchases And Easements | $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | LV Feeders | 1522891.4046 | 1176274.0534 | 1763695.1467 | 1652108.3528 | 430593.0398 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders - Land Purchases And Easements | $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Other Assets | 33785.8058 | 4022525.998 | 10946613.3722 | 13827128.1647 | 13552227.5905 | 1332173.2598 | 3073821.0201 | 10575932.9334 | 10983953.8994 | 7337900.768 | 7541291.9937 | 7635662.0301
|  | Totals | 29510201.8014 | 18833312.8954 | 22875577.9635 | 24215802.6326 | 22217356.1985 | 1332173.2598 | 3073821.0201 | 24732146.2062 | 25140167.1722 | 21494114.0408 | 21697505.2664 | 21791875.3029
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
United Energy - Augmentation | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| CBA | Business Supply Projects (>10kVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBE | BUS SUP PROJ>10KVA-LV EXTENS'N | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBG | BUS SUP PROJ>10KVA-GROUND SUBS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBH | BUS SUP PROJ>10KVA-HVCUSTOMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBI | BUS SUP PROJ>10KVA-INDOOR SUBS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBK | BUS SUP PROJ>10KVA-KIOSK SUBST | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBL | BUS SUP PROJ>10KVA-LINEOFMAINS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CBP | BUS SUP PROJ>10KVA-POLE SUBST. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CDA | DUAL & MULTIPLE OCCPY SUPPLIES | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CDP | PIT AT BASE OF REPL P/L POLE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CDX | LV U/G PER METRE RATE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHA | Medium Density Housing | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHH | MEDDENSHOUSING- HV EXTENSION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHL | MEDDENSHOUSING-LV EXT. ONLY | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CLA | New Public Light | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CLJ | PB.LIGHT CAPPROJ-MAJOR SCHEME | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CLN | PB.LIGHT CAPPROJ-MINOR SCHEME | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CMU | NEW U/G SERVICE CONNECTION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CMZ | NEW OVERHEAD SERVICE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CNG | NEW SUSTAINABLE LIGHT - MINOR RD | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CNJ | NEW SINGLE LIGHT - MAJOR ROADS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CNM | NEW SINGLE LIGHT - MINOR ROAD | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CNW | NEW WATCHMAN LIGHTS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRA | SPECIAL CAPITAL / R'CVBLE WRKS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRE | CAP/RECWORKS-SUBT ASSET RELOC. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRP | CAP/RECWORKS-INLINE POLE/STAYS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRS | CAP/RECWORKS-SUB MODIFICATION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRU | CAP/RECWORKS-UNDERGD OF ASSETS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CRV | CAP/RECWORKS-MAJVICROADS RELOC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CSA | Low Density/Small Business Supply (<10kvA) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CSO | LD/SMAL.BUS DEV<10KVA-O/H EXT. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CSU | LD/SMAL.BUS DEV<10KVA-U/G EXT. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DLA | HV LINE CAPACITORS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DOA | SUBTRANS O/HEAD LINE AUGMENTAT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSA | DIST.SYST.AUGMENT (RE-ACTIVE) | 0 | 0 | 14156.2133 | 14156.2133 | 14156.2133 | 14156.2133 | 14156.2133
| DSJ | POLE TX UPGRADE 200-500KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSM | POLE TX UPGRADE < 200KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSS | DIST.SYST.AUG (PRO-ACTIVE TLM) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DZA | ZONE SUBSTATION AUGMENTATION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GEA | GENERAL EQUIPMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GPA | PROPERTY PROJECTS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GPC | PROPERTY ACCOMMODATION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GTA | NON NETWORK TRUCKS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GVA | VEHICLES | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JGA | AMI Meter Ext Anten | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JHA | AMI Access Point / Relay Install | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM1 | INSTALL MTR-1PH,2W | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM2 | INSTALL MTR-1PH,2W,31.5A LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM3 | INSTALL MTR-3PH,4W NO LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM4 | INSTALL MTR-3PH,4W,31.5A LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM5 | INSTALL MTR-3P4W,31.5&2A LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM6 | INSTALL MTR-3PH,4W LVT CNCT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JM8 | INSTALL METER 1PH, 2 WIRE, 2EL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JP2 | REPL MTR(PLAN)-1P,2W,31.5A LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JP3 | REPLACE MTR(PLAN)-3P,4W NO LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JP4 | REPL MTR(PLAN)-3P,4W,31.5A LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JT2 | VT Replmnt (Emrgncy) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| OTP | OPERATIONAL TECHNOLOGY | 80.4364 | 1506.6634 | 1506.6634 | 1506.6634 | 1506.6634 | 1506.6634 | 1506.6634
| PDA | DIST.SYST.PERF-ACR | 679.2205 | 619.9026 | 567.664 | 567.664 | 567.664 | 567.664 | 567.664
| PDB | AMPACT SWITCH LUGS + CONNECTOR | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDD | DISTRIBUTION SYST. PERFORMANCE | 257.0796 | 308.4956 | 308.4956 | 308.4956 | 205.6637 | 102.8319 | 102.8319
| PDH | HV SPREADERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDL | LV LINE CLASHING MITIGATION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDM | Animal Proofing | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDN | NEW SERVICE POLES TO MEET REGS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDP | POSSUM PROTECTION | 262.8639 | 525.7279 | 525.7279 | 525.7279 | 525.7279 | 525.7279 | 525.7279
| PDQ | POSSUM PROTECTION SW, S/S, CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDR | DIST.SYST.PERF-REMOTE.CONT.SW | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDS | BIRD/ANIMAL PROOFING ON NETWOR | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDV | FIT DAMPERS &/OR ARMOUR RODS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PEA | ENVIRONMENTAL MANAGEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PEN | Environmental | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PFA | NETWORK FIRE MIT. CAPITAL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PQA | QUALITY OF SUPPLY | 0 | 0 | 2313.1086 | 2952.9046 | 2682.2233 | 2854.4745 | 2313.1086
| PZA | SUBTRANS SYSTEM PERFORMANCE | 52.5728 | 113.0315 | 422.6852 | 362.2265 | 0 | 0 | 39.9553
| RCA | SUBTRANS/COMM/PROTEC SYST REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHA | TXS, IN-SERVICE FAIL 200 - 500KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHB | TXS, IN-SERVICE FAIL <200KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHD | TRANSFORMER FAILURE GRD/IND SUB | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHE | INDOOR/KIOSK SW, RMU AGE FAULT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHF | LV SWITCHGEAR REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHG | GAS SWITCHES (AGE REPLACEMENT) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHH | HV ISOLATORS (SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHJ | HV ISOLATOR (SINGLE) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHK | KIOSK IN SERV FAIL 300KVA-2MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHL | LV ISOLATORS (SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHM | KIOSK REFURB 100KVA-2MVA NO SW | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHN | KIOSK REFURB 100KVA-2MVA SWITC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHO | LV ISOLATOR (SINGLE) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHP | NETWK HV REPLACEMENT-PROJECT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHQ | Replace Dist. Line Capacitor Controller | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHR | Replace Dist. Line Capacitor Can | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHT | Acr Replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHU | FUSE/JUNCTION BOX REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHV | Replace Dist. Line Capacitor Switch | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RHW | Transformers - DSS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RLG | SUSTAINABLE LANTERN REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RLJ | SINGLE MAIN ROADS P/L REPLACEM | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RLM | SINGLE MINOR ROADS P/L REPLACE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMF | PREMISE FAULTS SERVICE REPLACE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMJ | REPLACE SERVICE (ALTER TERMINA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMK | REPLACE SERVICE (& CUSTOMER MA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RML | INSTALL DISCONNECT DEVICE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMP | SERVICE REPLACEMENT (PLANNED) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RMU | O/H SERVICES REPLACED WITH U/G | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROA | HV ABC REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROF | FARGO SLEEVE REPLACEMENT (3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROH | OPEN WIRE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROI | INSTALL / REPLACE HV FAULT INDICATORS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROJ | LV Open Wire Replacement (route metre) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROL | O/H LINE REPL-LV ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROM | Overhead Conductors | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPA | POLE REPLACE P/L - MAIN ROADS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPB | POLE REPLACE P/L - MINOR ROADS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPH | POLE REPLACEMENT- HIGH VOLTAGE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPL | POLE REPLACEMENT- LOW VOLTAGE | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPS | POLE REPLACEMENT- SUBT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRA | POLE REINFORCEMENT ASSESSMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRH | POLE REINFORCEMENT- HV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRL | POLE REINFORCEMENT- LV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRP | POLE REINFORCEMENT - PL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRR | ALTER ASSETS TO ALLOW POLE REINFORCEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RRS | POLE REINFORCEMENT- ST | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSA | SUBTRANS INSTALL REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSB | Transformers - ZSS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSD | Replace UE Owned Substation Door | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSF | Replace substation Fencing | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSK | Zone Substation HV insulator replacement 66kV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSM | Zone Substation HV insulator replacement 11kV and 22kV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RSS | Surge Diverter Replacement 66kV (set) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUA | DIST. U/G CABLE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUC | UNDERGROUND CABLE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUD | PILLAR TO PIT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUE | PILLAR TO PIT CUST SERVICE ALT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUF | PILLAR TO UEL STD PILLAR REPLA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUG | DIST. U/G CABLE REPL-NON CABUS | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUH | DIST. U/G CABLE REPL-HV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUL | DIST. U/G CABLE REPL-LV | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUP | REPLACE POLE TO PIT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RUS | DIST. U/G CABLE REPL-SUBT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXD | SURGE DIVERTER REPL (SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXF | FUSE UNIT REPL (SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXG | SUB T INSULATOR REPL(SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXH | HV XARMS REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXI | HV INSULATOR REPL (SET OF 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXJ | FUSE UNIT REPL (SINGLE) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXK | SUB T INSULATOR REPL (SINGLE) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXL | LV XARMS REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXM | HV INSULATOR REPL (SINGLE) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXN | HV Crossarm Replacement strain, anchor, termination | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXO | LV Strain, Term, Anch Replace | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXP | POLE TOP ROT LIFE EXTENSION | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXQ | Sub Transmission Crossarm Replacement, strain, anchor termination | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXR | Pole Top Extension HV with crossarm and insulators | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXS | ST XARMS REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXT | REPLACEMENT EX THERMAL SURVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXV | LV INSULATOR REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXW | Pole Top Extension LV with crossarm and insulators | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RXY | STAY WIRE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VM7 | 1 PHASE 1 ELEMENT METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VM8 | 1 PHASE 2 ELEMENT METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VM9 | 3 PHASE METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMF | 1 PHASE 1 CHANNEL INT METER REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VML | 1 PHASE 1 RATE METER REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMM | 3 PHASE INTERVAL METER INSTALL | 0 | 0 | 1990.4501 | 1819.1338 | 1849.9584 | 1983.9303 | 2579.7109
| VMN | 1 PHASE INTERVAL - 1 ELEMENT REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMO | 1 PHASE INTERVAL - 2 ELEMENT REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMP | 1 PHASE 2 CHANNEL INT METER REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMQ | 3 PHASE METER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMR | TIMESWITCH REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMS | 1 PHASE SINGLE RATE METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMT | NEW TIMESWITCH INSTALLED | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMW | 1 PH INTERVAL 1 ELEMENT METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VMX | 1 PH INTERVAL 2 ELEMENT METER INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PDG | NEW MGS Switch installation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GIA | Information Systems Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A10 | MRO Mtr Exch-1P 2W | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A30 | MRO Mtr Exch-3P 4W no LC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| VS0 | Single Ph Basic 2 Elem Purch | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GIS | Information Systems - Software | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GIH | Information Systems - Hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GIC | SCADA - Operations | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PRA | ZSS Security Monitoring Upgrade | 0 | 0 | 2941.1381 | 2941.1381 | 0 | 0 | 0
| Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet